Specification

1.	SPAD chlorophyll meters (x 2)

Category: field equipment

Specifications

•	Portable non-invasive measurements of chlorophyll content

•	Repeatability: Within ±0.3 SPAD unit

•	Built-in data logger

•	Hard carrying case and extra batteries

•	Interface with any GPS receiver

•	GPS cables

•	USB to 9 pin serial adapter

•	Validated chlorophyll measurements by industry standards

•	Device software interface for data download

•	Device should record more than 4 000 measurements

•	Water proof

NB: Items should have at least one-year warrantee

Items should be delivered to ARC-SCW, 600 Belvedere Street, Arcadia, Pretoria, 0083

At least one year warrantee.