NEC3 Engineering and Construction

Short Contract (ECSC3)

| A contract between | Eskom Holdings SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
|  | and |  |
|  | For: The supply, delivery, installation and testing of borehole facilities at Varhoyi Mgodleni Cooperative (VMC) in Williams Town Eastern Cape for a period of three (3) months |  |
| Contents: | Compiled in accordance with CIDB Standard for Uniformity in Fencing Procurement (January 2009 amendments) | Page No. |
| Part C1 | Agreements & Contract Data |  |
|  | C1.1 Form of Offer and Acceptance | [] |
|  | C1.2 Contract Data provided by the Employer | [] |
|  | C1.2 Contract Data provided by the Contractor | [] |
| Part C2 | Pricing Data |  |
|  | C2.1 Pricing assumptions | [] |
|  | C2.2 Price List | [] |
| Part C3 | Scope of Work |  |
|  | C3.1 Works Information | [] |
| Part C4 | Site Information | [] |
| Documentation prepared by: | Sibusiso Mngomezulu |  |

C1 Agreements & Contract Data

# C1.1 Form of Offer and Acceptance

## Offer

The Employer, identified in the Acceptance page signature block on the next page, has solicited offers to enter into a contract for the procurement of:

The supply, delivery, installation and testing of borehole facilities at Varhoyi Mgodleni Cooperative (VMC) in Williams Town Eastern Cape for a period of three (3) months

The tenderer, identified in the signature block below, having examined the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| The offered total of the Prices exclusive of VAT is |  |
| --- | --- |
| Value Added Tax @ 15% is |  |
| The offered total of the Prices inclusive of VAT is |  |
| (in words) Two thousand seven hundred and fifty nine thousand |  |

This Offer may be accepted by the Employer by signing the form of Acceptance overleaf and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity Stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  | Date |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness |  |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an Agreement between the Employer and the tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the Contract, are contained in:

Part 1	Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part 2	Pricing Data

Part 3	Scope of Work: Works Information

Part 4	Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be signed by the duly authorised representative(s) for both parties.

The tenderer shall within one week of receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this Agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the tenderer receives one fully completed copy of this document, including the Schedule of Deviations (if any) together with all the terms of the contract as listed above.

| Signature(s) |  |  | Date |  |
| --- | --- | --- | --- | --- |
| Name(s) | Unathi Pendu |  |  |  |
| Capacity | Acting Programme Manager – Eskom Development Foundation |  |  |  |
| for the Employer | Eskom Holdings SOC Limited Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |
| Name & signature of witness | Sibusiso Mngomezulu |  | Date |  |

## Schedule of Deviations

Note:

- To be completed by the Employer prior to award of contract.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

N/A

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Unathi Pendu |
| Capacity |  |  | Acting Programme Manager – Eskom Development Foundation |
| On behalf of |  |  | Eskom Holdings SOC Ltd;Megawatt Park; Crn Witkoppen & Maxwell Dr, Sunninghill |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

# C1.2 Contract Data

## Data provided by the Employer

| ## Clause |  | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | ## General |  |  |  |
| 10.1 |  | The Employer is (Name): | Eskom Holdings SOC Limited (Reg no: 2002/015527/30), a juristic person incorporated in terms of the company laws of the Republic of South Africa |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |
| 10.1 & 14.4 |  | The Employer’s representative to whom the Employer in terms of clause 14.4 delegates his actions is (Name): | Sibusiso Mngomezulu (Project Manager) |  |  |
|  |  | Address | Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |
| 11.2(13) |  | The Works Information is in | The document called ‘Works Information’ in Part 3 of this contract. |  |  |
| 11.2(12) |  | The Site Information is in | the document called ‘Site Information’ in Part 4 of this contract. |  |  |
| 11.2(12) |  | The site is | Varhoyi Mgodleni Cooperative in Eastern Cape Province of South Africa. |  |  |
| 30.1 |  | The starting date is. | TBA |  |  |
| 11.2(2) |  | The completion date is. | TBC |  |  |
| 13.2 |  | The period for reply is | 1 week |  |  |
| 40 |  | The defects date is | 52 weeks after Completion |  |  |
| 41.3 |  | The defect correction period is | 4 weeks |  |  |
| 50.1 |  | The assessment day is the | 25th of each month. |  |  |
| 50.5 |  | The delay damages are | 0.1% of the Purchase Order Value per day up to maximum of 10% of the Purchase Order value |  |  |
| 50.6 |  | The retention is | 0% |  |  |
| 51.2 |  | The interest rate on late payment is | 0% |  |  |
| 80.1 |  | The Contractor is not liable to the Employer for loss of or damage to the Employer’s property in excess of | the amount of the deductibles relevant to the event described in the applicable “Format ECSC3” policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248 |  |  |
| 82.1 |  | The Employer provides this insurance | as Stated for “Format ECSC3” available on http://www.eskom.co.za/live/content.php?Item_ID=9248 (See Annexure A for basic guidance) |  |  |
| 82.1 |  | The minimum amount of cover for the third insurance Stated in the Insurance Table is: | whatever the Contractor deems necessary in addition to that provided by the Employer. |  |  |
| 82.1 |  | The minimum amount of cover for the fourth insurance Stated in the Insurance Table is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands) |  |  |
|  |  | Does the United Kingdom Housing Grants, Fencing and Regeneration Act (1996) apply? | No |  |  |
| 93.1 |  | The Adjudicator is (Name) | To be appointed when a dispute arises |  |  |
| 93.2(2) |  | The Adjudicator nominating body is: | The Chairman of the Joint Civils Division of the South African Institution of Civil Engineering. (See www.jointcivils.co.za) |  |  |
| 93.4 |  | The tribunal is: | Arbitration. |  |  |
|  |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |
|  |  | The place where arbitration is to be held is | Eskom Megawatt Park, Sunninghill Johannesburg, South Africa |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not State who selects an arbitrator, is | The Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |
|  |  | The conditions of contract are the NEC3 Engineering and Fencing Short Contract (June 2005) and the following additional conditions Z1 to Z11 which always apply: |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry and the Electricity Distribution Industry. |  |  |  |  |
| Z2 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |
| Z2.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |
| Z2.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer. |  |  |  |
| Z2.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |
| Z2.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are those Stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works. |  |  |  |
| Z3 | Ethics |  |  |  |  |
| Z3.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Works or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |  |  |
| Z3.2 | The Employer may terminate the Contractor’s obligation to Provide the Works if the Contractor is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |  |  |
| Z3.3 | If the Employer terminates in terms of this clause, the procedures on termination are those Stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works. |  |  |  |  |
| Z4 | Confidentiality |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to others except where required by this contract. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to others where required by this contract the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Employer. |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Employer. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |
| Z5 | Waiver and estoppel: Add to clause 12.2: |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action Stated in this contract by the Parties or their delegates or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |
| Z6 |  | Health, safety and the environment |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Fencing Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Fencing Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Fencing Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Fencing Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to clause 50 |  |  |  |  |
| Z7.1 | The Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures Stated in the Works Information, showing the correctly assessed amount due for payment. |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |
| Z7.3 | The Contractor is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |
| Z8.1 | Delete from the last sentence in clause 61.1, “unless the event arises from an instruction of the Employer.” |  |  |  |  |
| Z9 | Employer’s limitation of liability; Add to clause 80.1 |  |  |  |  |
| Z9.1 | The Employer liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand). |  |  |  |  |
| Z10 | Termination: Add to clause 90.2, after the words "or its equivalent": |  |  |  |  |
| Z10.1 | or had a judicial management order granted against it. |  |  |  |  |
| Z11 | Addition to Clause 50.5 |  |  |  |  |
| Z11.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits Stated in this Contract Data (if any), the Employer may terminate the Contractor’s obligation to Provide the Works. |  |  |  |  |
|  | If the Employer terminates in terms of this clause, the procedures on termination are those Stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works. |  |  |  |  |

# Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. Details of the insurance itself are available from the internet web link given below.

- For the purpose of works contracts likely to be let under this contract (low value straight forward work), insurance provided by Eskom (the Employer) has been arranged on the basis of “Format ECSC3” as described on the web link given at the foot of this page.

- Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below under the Format ECSC3 and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 82.1.  In terms of clause 82.1 “The Contractor provides    the insurances Stated in the Insurance Table.  The Contractor does not provide an insurance which the Employer is to provide as Stated in the Contract Data”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

- When Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

- Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/live/content.php?Item_ID=9248

Annexure B:	The Employer’s Panel of Adjudicators

The following persons listed in alphabetical order of their surname have indicated their willingness to be included in the Eskom Panel of Adjudicators.  Their CV’s may be obtained by using the contact details provided.

| Name | Location | Contact details (phone & e mail) |
| --- | --- | --- |
| Nigel ANDREWS | Gauteng | +27 11 836-6760 nigela@quoin.net |
| Andrew BAIRD | Gauteng | +27 11 803 3008 andrewbaird@ecsconsult.co.za |
| Christopher BINNINGTON | Gauteng | +27 11 888-6141 cdb@bca.co.za |
| Bruce LEECH | Gauteng | +27 11 290 4000 leech@counsel.co.za |
| Nigel NILEN | Gauteng | +27 11 465 3601; nilences@global.co.za |
| Peter THURLOW | Gauteng | +27 11 787 6226 info@thurlowassoc.com |

Information about the Panel and appointment of the selected Adjudicator is available from Supply Chain Operations management, by contacting Marumo Lekoto (Tel.: +27 (0)11 800 5383)

(Fax :+27 (0)86 667 4012) E-mail: Marumo.Lekoto@eskom.co.za ]

## Data provided by the Contractor (the Contractor’s Offer)

| 10.1 | The Contractor is (Name): |  |
| --- | --- | --- |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
|  | E-mail address |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost for people is |  |
| 63.2 | The percentage for overheads and profit added to other Defined Cost is |  |
| 11.2(9) | The Price List is in | The document called ‘Price List’ in Part 2 of this contract. |
| 11.2(10) | The offered total of the Prices is | R ……………………… (excluding VAT) |

C2 Pricing Data

# C2.1 Pricing assumptions

Entries in the first four columns in the Price List are made either by the Employer or the tendering contractor

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tenderer enters the amount in the Price column only; the Unit, Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for the item of work which is the rate for the work multiplied by the quantity completed, the tenderer enters the rate which is then multiplied by the expected quantity to produce the Price, which is also entered.

All Prices are to be shown excluding VAT unless instructed otherwise by the Employer in Tender Data or in an instruction the Employer has given before the tenderer enters his Prices.

If there is insufficient space in the Price List which follows, State in which document the Price List is contained.

# C2.2 Price List

1.	The above prices exclude VAT

2.	Some items above are estimated quantities, therefore, these quantities may change (increase or decrease) based on the actual requirements.

C3:  Scope of Work

# C3.1 Works Information

    - Description of the works

3.1.1.1 Units of Measurement

- All linear dimensions and measurements shall be metric.

- Angular measurements and geodetic coordinates shall be degrees, minutes and seconds.

- All Cartesian coordinates shall be reported to the nearest millimetre.

- All geodetic coordinates shall be reported to the nearest one thousandth of a second.

3.1.1.2 Permanent Ground Markers

- Five (5) primary control points to be used to demonstrate the extent of the horizontal and vertical coordinates and should be identified within the project area.

- Primary survey stations shall be of stable permanent construction to a pre-approved standard and comprise of Beacons/Monuments for primary control points constructed such that they are made from 200mm diameter x 500mm cylindrical monuments. Cast with a 10mm diameter, 500mm long rebar placed at the centre.

- Secondary control points shall be constructed similar to the primary with a unique identification number engraved in the concrete and the top surface of the beacon painted for easy identification.

- The Contractor should provide the most appropriate marker for each location and the maximum distance between adjacent permanent survey stations shall be not more than 300m.

3.1.1.3 Accuracy

The planimetric coordinates of directly surveyed points shall be correct to +/- 0.02 m rmse (root mean squared error) on carriageways and hard surfaces and +/- 0.010 m rmse on all surfaces in all other areas, when checked from the nearest control point.

- The levels of directly surveyed points shall be correct to within +/- 0.005 m rmse on carriageways and hard surfaces +/- 0.025 m rmse on other surfaces (except on rough ground or otherwise broken surfaces), when checked from the nearest control point.

- All numerical survey information shall be collected to a real value of 0.001 m in the horizontal location and 0.001 m within the vertical location.

- The acceptable survey tolerances are:

-Spot elevations +/- 10 mm within vertical and horizontal locations

-Control point elevations +/- 1 mm within vertical and horizontal locations

3.1.1.4 Survey Grid Parameters

- The survey grid/maximum distance between any two adjacent spot heights shall be 2 m or less for aerial surveys (photogrammetry, lidar etc.)

- For conventional ground-based surveys, cross sections of the roads and all construction sites will be surveyed at intervals of 20m longitudinally and 25m on either side of the centreline transversely.

3.1.1.5 Cadastral Survey/Opening Boundaries

The Contractor shall provide the pegging and confirmation of the perimeter cadastral boundary of the site as provided by the Employer. The placement of pegs and final survey reports for cadastral work shall be provided in strict accordance with the statutory survey regulations of the South African authority, including sign off by any locally registered professionals as required.

3.1.1.6 Detailed Surveying

This will involve surveying of servitudes and the construction site (approx.. 1 kilometer radius). Where an aerial survey method may be used, additional infill ground-based surveys will also be required.

The survey shall be conducted using the WGS 84 coordinate system.

The survey shall be carried out by a professional surveyor registered with the SAGC.

All levels shall relate to the mean average sea level

The Contractor shall be responsible for the identification of local Trig beacons and obtaining Surveyor General cadastral information which shall be included on the deliverable survey data.

- Borehole site survey: The Contractor shall survey the borehole site with an aid of GPS o-ordinates of the site and Geological maps, Google Earth and relevant equipment such as Magnetometer look and find formation that have water bearing properties such as faults or dykes that indicates good formation to find water in. After the discovery of water bearing properties from the faults or dykes in the underground formation, move to the next step of drilling to extract water samples. The size of the area is one kilometre radius. - Borehole drilling: The Contractor shall identify site(s) commence with drilling with the appropriate diameter e.g. 200 to 250mm, to get to the solid rock. The Contractor shall Install casing keep the topsoil from falling in the borehole and drill the borehole further to the appropriate depth e.g., 80 to 120 metres On reaching the required depth, the Contractor shall blow the borehole with correct tools for short period of time e.g. 1 hour or so to extract water samples for next step of testing of potential volume and water properties such as acidity, etc. - Borehole Testing: The extracted water samples will be required to be taken for borehole testing and analysis of water properties in terms of acidity, alkalinity and other chemistry/geo-interpretation to determine water suitability for human consumption and food irrigation. Once completed, a report with test results and recommendation should be submitted prior to the next step of Borehole Full Installation. Hold Point 1: The Contractor shall generate a complete report to determine if the water is suitable for human consumption, food irrigation and how many litres of water it can pump per hour. Nota Bene: The next stage will depend on the report generated. The Contractor shall submit a report with test results and recommendation prior to the next step of Borehole Full Installation. - Borehole Full Installation: The Contractor shall supply, delivery and install complete borehole full installation i.e. pump and all necessary apparatus (3kW solar system). This will include Borehole protection unit for security and warranty. Borehole pump installation - solar: The Contractor supply, deliver and install a complete 3kW solar system completely wired to the borehole. Water storage: The Contractor shall supply and deliver a 5000L water tank. Build or supply a suitable water tank stand and do all necessary pipework. The water tank should be secured and stable enough to withstand prevailing winds.

## 3.2 Invoicing and payment

In terms of core clause 50 the Contractor assesses the amount due and applies to the Employer for payment.  The Contractor applies for payment with a tax invoice addressed to the Employer as follows:

Attention: Project Manager

The Contractor includes the following information on each tax invoice:

- Name and address of the Contractor

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4060199769;

- The total Price for Work Done to Date which the Contractor has completed;

- Other amounts to be paid to the Contractor;

- Less amounts to be paid by or retained from the Contractor;

- The change in the amount due since the previous payment being the invoiced amount - excluding VAT, the VAT and including VAT;

- (add other as required)

The Contractor attaches the detail assessment of the amount due to each tax invoice showing the Price for Work Done to Date for each item in the Price List for work which he has completed.

E-mail: mngomesa@eskom.co.za

3.3	Management meetings

Regular meetings of a general nature may be convened and chaired by the contract manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Project kick-off meeting | At a date that will be agreed upon | Site or MS Teams | Employers’ representative and Contractor |
| Overall contract progress and feedback | Weekly/ Monthly at a date that will be agreed upon | site or MS Teams | Employer’s representative and contractor |

Meetings of a specialist nature may be convened as specified elsewhere in this Scope or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the services.  Records of these meetings shall be submitted to the Employer’s representative by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

3.4	Contractors key persons

The Contractor shall provide:

- Contact details of Contractors key persons (including landline and mobile number)

- Contact details of alternate, suitable key person. An organogram from the Contractor showing Key persons and their lines of authority shall be submitted to the Employer within one(1) week of the contract date. The Contractor shall be required to notify the Employer of the contact details, leave & alternative where applicable in respect of each key person. Any changes in this regard shall be notified in writing in advance or within 1 (one) week of occurring and measures taken to avoid negative impact on the contractor ability to deliver the services.

3.3.1	Identification and communication

All final reports are to be issued in electronic format and hard copy to the Employer’s representative. Draft reports for comment and input are to be submitted to the Employers Agent in electronic format as well. The communication between Contractor and Employer’s Agent will be done via email; telephone and web meetings.

C4:  Site Information

# C4.1: Information about the site at time of tender which may affect the work in this contract

## 4.1. Access limitations

Site hand over meeting will be scheduled to grant access to the contractor. It is to be noted that the site is an open field where cash crops are planted. It is mandatory that all safety requirements will have to be always adhered to..

  - Ground conditions in areas affected by work in this contract

The borehole plant is located within the Nkangeni Village, outside King William’s town. Geographically, the site is located within the vicinity of 32°44'13.8"S 27°22'30.5"E within the Metsimahalo local municipality in the Eastern Cape. Refer to Figure 2.

Figure 2: Site Boundary of the borehole plant

• The site is located within Nkangeni Village in Zeleni

• The extent of the survey shall encompass the area as demarcated in Figure 2 and Error! Reference source not found. (Refer to the attached Nkangeni Village.kmz file for site boundary co-ordinates).

• Wetlands are to be located by the Contractor on site.

• The site is not currently fenced off and is free to access.

# 4.3 Health and safety, the environment and quality assurance

4.3.1	Quality management

4.3.1.1	System requirements

The Contractor shall comply with Quality Management System Requirements ISO 9001

3.7.2	Information in the quality plan

The Contractor shall submit the following:

•	Quality method statement based on scope

•	Quality Policy Approved by top management

•	Quality Objectives Approved by top management

## 4.3.2 Health and safety risk management

## The Consultant shall at all times comply with the health and safety requirements prescribed by law as they may apply to the services.

The Consultant shall comply with the Eskom’s health and safety requirements below:

- SAFETY:

- In terms of Eskom’s SHE Policy (32-94), Eskom adopt a very strict stance on ensuring adherence to prescribed Safety Regulations. Strict compliance with the OHS Act is vital, and ALL submissions required in terms of Contractor Regulations, as contained in the Act, must be received by Eskom. All Service Providers are also expected to adhere to Eskom’s SHE Guidelines (32-524), which must be adhered to at all times, and the successful Service Provider must also sign a Section 37 (2) Agreement, which stipulates our SHE Specifications. NO Tenders will be accepted from any Service Provider who is UNABLE to comply with any Eskom’s SHE requirements.

- Also of extreme importance are Eskom’s Life Saving Rules are non-negotiable health and safety rules which must not be broken under any circumstances. It must be highlighted that Eskom takes a ZERO TOLERANCE stance to violation of these rules. These rules are applicable to any person entering Eskom sites:

- a.	RULE 1: Open, Isolate, Test, Earth, Bond and/or Insulate BEFORE Touch (That is, any plant operating above 1000 V)

- No person may work on any electrical network unless:

- •	he/she is trained is trained and authorised as competent for the task to be done;

- •	a pre-task risk assessment to identify all risks and hazards has been conducted prior to any work commencing;

- •	an equipotential zone is created for each worker on the job site by earthing, bonding, and/or insulating according to approved procedures;

- •	all conducting material is connected together, all staff on site wear electrical safety shoes, and insulating techniques are applied according to standards; and

- •	an authorised person/team leader has certified and shown all staff that the apparatus is safe to work on.

- NB: In the case of live work, this must be conducted according to standards and procedures while maintaining a minimum safe working clearance.

- b.	RULE 2: HOOK UP AT HEIGHTS

- Working at height is defined as any work performed above a stable work surface or where a person puts himself/herself in a position where he/she exposes himself/herself to a fall from or into.

- No person may work at height where there is a risk of falling unless:

- •	A pre-task risk assessment to identify all risks and hazards has been to commencing any work at height;

- •	he/she is appropriately trained;

- •	he/she is appropriately secured during ascending and descending; and

- •	he/she is using an approved fall arrest system where applicable.

- c.	RULE 3: BUCKLE UP

- No work may drive any vehicle on Eskom business and/or on Eskom premises:

- •	unless the driver and all passengers are wearing seat belts.

- d.	RULE 4: BE SOBER

- No person is allowed to work under the influence of drugs and alcohol or may drive any vehicle on Eskom business and/or on Eskom premises:

- “Under the influence” means the use of alcohol, drugs, and/or controlled substance to the extent that individual/s:

- •	faculties are in any way impaired by the consumption or use of the substance; or

- •	is unable to perform in a safe, productive manner; or

- •	has a level of any such substance in their body equal to/ exceeding legal standards;

- •	has a level of alcohol in his/her body greater than 0.02% blood alcohol concentration.

- This includes any level of on illegal substance in the body, irrespective of when used.

- RULE 5: ENSURE THAT YOU HAVE A PERMI T TO WORK

- Where an authorisation limitation exists, no person shall work without the required Permit to Work (PTW), which is governed by the Plant Safety Regulations, Operating Regulations for High Voltage Systems (ORHVS), etc.

- •	No plant is to return to service without cancellation of all permits on that plant in accordance with the procedure.

Except those actions which can only be done by the Employer as a Party to the contract.

State whether attached as a ‘PDF’ file in terms of Eskom’s licence, or to be obtained from either Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or SAICE.