Confirmation of Last Bid submitted

OLT1158780 (Supply and Delivery of various consumable components for Matla Power Station)

This declaration is to confirm the last bid of

(Company name) _____________________________________________________ in the Reverse Auction for the Supply and Delivery of various consumable components for Matla Power Station for the total basket of Goods excluding vat is:

R………………………….…………

This price is fixed and Delivery cost is included.

Signature:_________________________________

Name: _________________ Date: ______________

Designation: _______________________________

Company: _________________________________

Items:

| No: | Material No: | Material description | Quantity | Price Per each (Complete) |
| --- | --- | --- | --- | --- |
| 1 | 0401298 | SLIDE: TYPE: WINDOW STAY; DIMENSIONS: LG 175 MM; MATERIAL: BRS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 40 |  |
| 2 | 0128103 | TIMER, INTERVAL: OPERATION: 0.1-30 S; POTENTIAL: 660 VAC; DELAY ON; PART NO: LA2-DT2, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 1 |  |
| 3 | 0070730 | VALVE, SOLENOID: DESIGN RATING: 3-10 BAR; OPERATED: AIR; MEDIUM: AIR; COMPACT SPOOL; 5 PORTS 2 POSITIONS; TEMPERATURE RANGE -10 TO 60DEG C; COMPLETE WITH MANUAL OVERRIDE FUNCTION; REFERENCE NO: 54190-883; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 8 |  |
| 4 | 0004544 | FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 40 X LG 46 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; PART NO: 3NA3824, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 10 |  |