NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________) |  |
| for | Supply and delivery of MV Switchgears at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC) |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and delivery of MV Switchgears at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC)

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] Rate based |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] Rate based |
|  | The offered total of the amount due inclusive of VAT is | R [●] Rate based |
|  | (in words) [●] Rate based |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

| Clause |  |  |  | ## Statement |  |  | ## Data |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | ## General |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X3: Multiple currencies |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X7: Delay damages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | X17: Low performance damages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | of the NEC3 Supply Contract (April 2013) |  |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  |  | The Purchaser is (name): |  |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  |  | The Supply Manager is (name): |  |  | Lebo Pebane |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | Medupi Power station |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel |  |  | 017 612 6663 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax |  |  | N/A |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e-mail |  |  | pebanel@eskom.co.za |  |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  |  | The goods are |  |  | MV Switchgears |  |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  |  | The services are |  |  | Supply and delivery of MV Switchgears at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC) |  |  |  |  |  |  |  |  |  |  |
| 11.2(14) |  |  |  | The following matters will be included in the Risk Register |  |  | Late delivery, Delivery of a wrong, Obsolete spares/ items |  |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  |  | The Goods Information is in |  |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  |  | The Supply Requirements as part of the Goods Information is in |  |  | Annexure A to this Contract Data |  |  |  |  |  |  |  |  |  |  |
| 12.2 |  |  |  | The law of the contract is the law of |  |  | the Republic of South Africa |  |  |  |  |  |  |  |  |  |  |
| 13.1 |  |  |  | The language of this contract is |  |  | English |  |  |  |  |  |  |  |  |  |  |
| 13.3 |  |  |  | The period for reply is |  |  | Two (2) weeks |  |  |  |  |  |  |  |  |  |  |
| ## 2 |  |  |  | ## The Supplier’s main responsibilities |  |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |  |
| ## 3 |  |  |  | ## Time |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  |  | The starting date is. |  |  | TBC |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  |  | The delivery date of the goods and services is: |  |  | goods and services |  |  |  |  |  |  |  | delivery date |  |  |
|  |  |  |  |  |  |  | 1 | As per purchase order |  |  |  |  |  |  | As per purchase order |  |  |
|  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |
| 30.2 |  |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  |  | As per agreed date on the purchase order |  |  |  |  |  |  |  |  |  |  |
| 31.1 |  |  |  | The Supplier is to submit a first programme for acceptance within |  |  | One (1) week of the Contract Date. |  |  |  |  |  |  |  |  |  |  |
| 32.2 |  |  |  | The Supplier submits revised programmes at intervals no longer than |  |  | Two (2) weeks. |  |  |  |  |  |  |  |  |  |  |
| ## 4 |  |  |  | ## Testing and defects |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  |  |  | The defects date is |  |  | Fifty-two (52) weeks after Delivery. |  |  |  |  |  |  |  |  |  |  |
| 43.2 |  |  |  | The defect correction period is |  |  | To be agreed within 48 Hours, on the first working day from receipt of the Purchaser’s written defects notification |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | except that the defect correction period for |  |  | [●] is [●] weeks |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | and the defect correction period for |  |  | [●] is [●] weeks |  |  |  |  |  |  |  |  |  |  |
| 42.2 |  |  |  | The defects access period is |  |  | Five (5) days |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | except that the defect access period for |  |  | [●] is [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | and the defect access period for |  |  | [●] is [●] |  |  |  |  |  |  |  |  |  |  |
| ## 5 |  |  |  | ## Payment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50.1 |  |  |  | The assessment interval is |  |  | between the twenty-five (25) days of each successive month. |  |  |  |  |  |  |  |  |  |  |
| 51.1 |  |  |  | The currency of this contract is the |  |  | South African Rand |  |  |  |  |  |  |  |  |  |  |
| 51.2 |  |  |  | The period within which payments are made is |  |  | Eight to nine (8-9) weeks after valid invoice is accepted. |  |  |  |  |  |  |  |  |  |  |
| 51.4 |  |  |  | The interest rate is |  |  | the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |  |  |  |
| ## 6 |  |  |  | ## Compensation events |  |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |  |
| ## 7 |  |  |  | ## Title |  |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |  |
| ## 8 |  |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 80.1 |  |  |  | These are additional Purchaser’s risks |  |  | Only the risks under sub-clause 80.1 of the NEC3 SC |  |  |  |  |  |  |  |  |  |  |
| 88.1 |  |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  |  | R0.0 (zero Rand) |  |  |  |  |  |  |  |  |  |  |
| 88.2 |  |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and (2) for all other existing Purchaser’s property the applicable deductible as at contract date |  |  |  |  |  |  |  |  |  |  |
| 88.3 |  |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  |  | R[●] [This is a commercial decision, but consider using the total of the Prices. Delete this note after inserting a Rand amount] |  |  |  |  |  |  |  |  |  |  |
| 88.4 |  |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  |  | R[●] [This is a commercial decision, but consider using at least the total of the Prices. Delete this note after inserting the Rand amount] |  |  |  |  |  |  |  |  |  |  |
| 88.5 |  |  |  | The end of liability date is |  |  | One (1) year after Delivery of the whole of the goods and services. |  |  |  |  |  |  |  |  |  |  |
| ## 9 |  |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 94.1 |  |  |  | The Adjudicator is |  |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Address |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e-mail |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| 94.2(3) |  |  |  | The Adjudicator nominating body is: |  |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |  |  |  |  |
| 94.4(2) |  |  |  | The tribunal is: |  |  | arbitration |  |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  |  | The arbitration procedure is |  |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  |  | The place where arbitration is to be held is |  |  | South Africa |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |  |
| ## 10 |  |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X1.1 |  |  |  | The base date for indices is |  |  | Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  |  | proportion |  | linked to index for |  |  |  |  | Index prepared by |  |  |  |
|  |  |  |  |  |  |  | 85%. |  | Electrical Engineering |  |  |  |  | SEIFSA Table: [G-1] |  |  |  |
|  |  |  |  |  |  |  | 15% |  | non-adjustable |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 100 |  |  |  |  |  |  |  |  |  |  |
| X2 |  |  |  | Changes in the law |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X2.1 |  |  |  | A change in the law of |  |  | [●] is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |  |  |  |  |
| X3 |  |  |  | Multiple currencies |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X3.1 |  |  |  | The Purchaser will pay for these items in the currencies stated |  |  | Items |  |  |  |  | Other currency |  |  |  | Total maximum payment in the currency |  |
|  |  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| X3.1 |  |  |  | The exchange rates are those published in |  |  | [●] on [●] (date) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | The items will be paid in the other currency - to a foreign Bank account nominated by the Supplier - to a valid SARB approved CFC account in South Africa - in accordance with an alternative payment method agreed with the Purchaser before the Contract Date. (select one of the three methods as agreed with the successful tenderer prior to contract award and delete the others and this note) |  |  |  |  |  |  |  |  |  |  |
| X7 |  |  |  | Delay damages |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X7.1 |  |  |  | Delay damages for Delivery are |  |  | Delivery of |  |  |  |  |  | amount per day |  |  |  |  |
| No. | KPA |  |  |  |  | Employer’s Requirement |  |  |  |  | Damages payable by Contractor |  |  |  |  |  |  |
| 1 | On time delivery to Medupi Power Station |  |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | 5% of full purchase order cost for 10days of delay of purchase order up to maximum of 10% of total value. |  |  |  |  |  |  |
| 2 | On time delivery to Medupi Power Station |  |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | Failure to deliver will lead to contract termination. And a contractor will not be considered to do business with Medupi Power Station for two (2) years after termination of a contract |  |  |  |  |  |  |
| X17 |  |  |  | Low performance damages |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X17.1 |  |  |  | The amounts for low performance damages are: |  |  | amount |  |  | performance level |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Contractor’s full cost |  |  | for Premature failure and defects rectification |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 5% of Purchase order value |  |  | for Defects between 32-45 days |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 7.5% of Purchase order value |  |  | for Delays between 46-59 days |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 10% of Purchase order value |  |  | for Delays between 60 days and more |  |  |  |  |  |  |  |
| Z |  |  |  | The additional conditions of contract are |  |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |  |  |  |  |
| Z1 |  |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.1 |  |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.2 |  |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2 |  |  | Joint ventures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.1 |  |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.2 |  |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.3 |  |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3 |  |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.1 |  |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.2 |  |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.3 |  |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.4 |  |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4 |  |  | Confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.1 |  |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.2 |  |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.3 |  |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.4 |  |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.5 |  |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5 |  |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5.1 |  |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6 |  |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6.1 |  |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6.2 |  |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7 |  |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.1 |  |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.2 |  |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.3 |  |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8 |  |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8.1 |  |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9 |  |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.1 |  |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.2 |  |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10 |  |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10.1 |  |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11 |  |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11.1 |  |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12 |  | Ethics |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |  |  |  |  |  |
| Coercive Action |  |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |  |  |
| Collusive Action |  |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |  |  |
| Committing Party |  |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |  |  |  |  |  |
| Corrupt Action |  |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |  |  |  |  |  |
| Fraudulent Action |  |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |  |  |  |  |  |
| Obstructive Action |  |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |  |  |  |  |  |
| Prohibited Action |  |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |  |  |  |  |  |
| Z12.1 |  | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.2 |  | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.3 |  | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.4 |  | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e., a level of 50% of the OEL, i.e., 0.1 regulated asbestos fibres per ml of air measured over a 4-hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means ooccupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means mmeasurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalized to the baseline of a 4-hour continuous period, also applicable to short term exposures, i.e., 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short-term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are affected by an independent, competent, and certified occupational hygiene inspection body, i.e., a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance, the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However, users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler: (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left-hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise, complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) Rate based |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | [●] |
|  |  | 2 | [●] | [●] |
|  |  | 3 | [●] | [●] |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus, other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Material nr | Description | Unit | Rate |
| --- | --- | --- | --- |
| 715353 | RELAY, CONTROL: CONTACT RATING: 10 A; CONTACT ARRANGEMENT: 3NO 3NC; COIL VOLTAGE: 250 V; ACTION: IPST; MOUNT: PANEL OR RAIL; TERMINAL: SCREW; ENCLOSURE RATING: IP20; TYPE: HIGH POWER; SUPPL P/N: FINDER 90.21.0; RELAY CTRL: FINDER 90.21.0; 10 A - 240 V; 2 KV VAC DIELECTRIC STRENGTH; IP20; MV SWITCHGEAR SPARE | EA | R |
| 693482 | RELAY, CONTROL: CONTACT RATING: 6 A; CONTACT ARRANGEMENT: 4 POLE; COIL VOLTAGE: 24 VDC; ACTION: SINLGE PHASE; MOUNT: PLUG IN MOUNT; TERMINAL: 8/11 PIN PLUG 22.5MM WIDE; SCREWLESS TERMINALS OUTPUT: 4 CONTACTS; CONTACT MATERIAL: AGNI + AU; ENCLOSURE RATING: IP 54; SPECIFICATION: IEC 61810-7; TYPE: NON LATCHING RELAY DPDT; OEM P/N: 7S.14.9.024.0220; 24 VDC COIL NON-LATCHING RELAY DPDT; 6 A; 250 V SWITCHING CURRENT DIN RAIL; 4 POLE; DATASHEET REQUIRED UPON RFQ 2 NO + 2 NC; UN 24V; EN 50205 TYPE A | EA | R |
|  | Finder 60.13 220VDC including base | EA | R |
| 575184 | RELAY, CONTROL: CONTACT RATING: 220 V 10 A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 24 VDC; ACTION: SPDT; MOUNT: HORIZONTAL; TERMINAL: 11 PIN; CONTACT MATERIAL: COPPER; TYPE: INTERPOSING; MANUF P/N: 60.13 | EA | R |
| 557334 | BASE, RELAY: MANUF P/N: 94.04; 55.34 | EA | R |
| 737937 | CT:7.2/28/75 KV;400/1 / 1400/1;25KA/3S | EA | R |
| 738511 | CT:12/38/75 KV;800/1, 3000/1;25KA/3S | EA | R |
|  | CT:12/38/75 KV;800/1, 800/1,800/1, 3000/1;25KA/3S | EA | R |
| 738512 | CT:12/38/75 KV;800/1, 100/1, 3000/1;25KA/3S | EA | R |
| M-REQ- 000111546 | CT:7.2/28/75 KV;350/1, 1400/1;25KA/3S | EA | R |
| 738514 | CT:7.2/28/75 KV;1200/1, 1400/1;25KA/3S | EA | R |
| 738487 | CT:7.2/28/75 KV;1400/1;25KA/3S;10/10 VA | EA | R |
| 738488 | CT:7.2/28/75 KV;500/1;25KA/3S;10 / 10 VA | EA | R |
| 738490 | CT:7.2/28/75 KV;300/1 / 300/1;25 KA/3S | EA | R |
| M-REQ- 000111564 | CT:12 KV;3000 A;45KA/3S;10 VA;1; NATURAL | EA | R |
| 738493 | CT:12 KV;3000/1, 3000/1;45KA/3S;10 VA;1; NATURAL | EA | R |
| 738501 | CT:12 KV;2500 A;45KA/3S;15 VA;1; NATURAL | EA | R |
| 737936 | CT:12 KV;2500 A;45KA/3S;10 VA;1; NATURAL | EA | R |
|  | CT:12/38/75 KV;500/1, 3000/1;25KA/3S | EA | R |
|  | CT:12/38/75 KV;500/1, 100/1,3000/1;25KA/3S | EA | R |
| 693356 | TRANSFORMER, CURRENT: POTENTIAL: 7.2/28/75 KV; CURRENT: 350/1, 1400/1; SHORT CIRCUIT CURRENT: 25KA/3S; CORE TYPE: CLASS 10P20, CLASS: 5P15; APPARENT POWER: 10 / 10 VA; COOLING TYPE: NATURAL; INCLOSURE TYPE: RESIN ENCAPSULATED; SPECIFICATION: IEC 60044-1; CURRENT RATIO: 350/1, 1400/1; TYPE: BLOCK TYPE CT; CLASS: CLASS 10P20, CLASS: 5P15; REFERENCE NO: 86179-2; DATASHEET REQUIRED UPON RFQ; RATIO: 350/1; 10VA; CLASS 10P20; R 2.205 OHM ¦ 1400/1; 10VA; CLASS 5P15; R 5.549 OHM; SER NO: 86179-2; BIL: 7.2/28/75KV; 25KA/3S; JOB: MED0501C06 | EA | R |
| 675474 | TRANSFORMER, CURRENT: POTENTIAL: 7.2 KV; CURRENT: 400 A; SHORT CIRCUIT CURRENT: 25KA/3S; CORE TYPE: BURDEN 7.5VA; CLASS 10P10; APPARENT POWER: 7.5 VA; COOLING TYPE: NATURAL; SPECIFICATION: IEC 60044-1; CURRENT RATIO: 400:1; TYPE: BLOCK TYPE; CLASS: 10P10 A; APPLICATION PROTECTON CT; DATASHEET REQUIRED UPON RFQ | EA | R |
| 675667 | TRANSFORMER, CURRENT: POTENTIAL: 12 KV; CURRENT: 600 MA; SHORT CIRCUIT CURRENT: 45KS/3S; CORE TYPE: BURDEN 15VA; CLASS 5P20; APPARENT POWER: 15 VA; PHASE: 1; COOLING TYPE: NATURAL; INCLOSURE TYPE: RESIN ENCAPSULATED; SPECIFICATION: IEC60044-1; CURRENT RATIO: 600:1; TYPE: BLOCK TYPE; CLASS: 5P20; APPLICATION DIFFERENTIAL CT. DATASHEET REQUIRED UPON RFQ | EA | R |
| 675476 | TRANSFORMER, CURRENT: POTENTIAL: 12 KV; CURRENT: 800 A; SHORT CIRCUIT CURRENT: 40KA/3S; CORE TYPE: BURDEN 10VA; CLASS 10P10; APPARENT POWER: 10 VA; PHASE: 1; COOLING TYPE: NATURAL; INCLOSURE TYPE: RESIN ENCAPSULATED; SPECIFICATION: IEC 60044-1; CURRENT RATIO: 800:1; TYPE: BLOCK TYPE; CLASS: 10P20 A; REFERENCE NO: 85793-1; APPLICATION PROTECTION CT; DATASHEET REQUIRED UPON RFQ | EA | R |
|  | CT:12/38/75 KV;800/1, 200/1,3000/1;25KA/3S | EA | R |
|  | CT:12/38/75 KV;600/1, 100/1,2500/1;25KA/3S | EA | R |
| M-REQ- 000251999 | CT:12/38/75 KV;800/1, 800/1,3000/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;150/1, 1400/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;350/1, 350/1;25KA/3S | EA | R |
| 675475 | TRANSFORMER, CURRENT: POTENTIAL: 7.2 KV; CURRENT: 400 A; SHORT CIRCUIT CURRENT: 25KA/3S; CORE TYPE: BURDEN 10VA; CLASS 10P10; APPARENT POWER: 10 VA; PHASE: 1; COOLING TYPE: NATURAL; INCLOSURE TYPE: RESIN ENCAPSULATED; SPECIFICATION: IEC 60044-1; CURRENT RATIO: 400:1; TYPE: BOLCK TYPE; CLASS: 10P10; APPLICATION PROTECTION CT; DATASHEET REQUIRED UPON RFQ | EA | R |
| 675668 | TRANSFORMER, CURRENT: POTENTIAL: 7.2 KV; CURRENT: 400 A; SHORT CIRCUIT CURRENT: 25K/3S; CORE TYPE: BURDEN 10VA; CLASS 5P20; PHASE: 1; COOLING TYPE: NATURAL; INCLOSURE TYPE: RESIN ENCAPSULATED; SPECIFICATION: IEC 60044-1; CURRENT RATIO: 400:1; TYPE: BLOCK TYPE; CLASS: 5P20; APPLICATION DIFFERENTIAL CT. DATASHEET REQUIRED UPON RFQ | EA | R |
|  | CT:7.2/28/75 KV;200/1, 1400/1;25KA/3S | EA | R |
|  | CT:12/38/75 KV;400/1, 2500/1;25KA/3S | EA | R |
|  | CT:12/38/75 KV;600/1, 600/1,600/1,2500/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;150/1, 150/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;100/1,1;25KA/3S,class 1, 2.5VA - core balance | EA | R |
|  | CT:7.2/28/75 KV;100/1,1;25KA/3S,class 0.5, 2.5VA - core balance | EA | R |
|  | CT:7.2/28/75 KV;100/1, 100/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;200/1, 150/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;600/1, 500/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;500/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;50/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;200/1;25KA/3S | EA | R |
|  | CT:7.2/28/75 KV;200/1,200/1,150/1;25KA/3S | EA | R |
| 669283 | LAMP, LIGHT EMITTING DIODE: CURRENT: 15 MA; POTENTIAL: 230 V; MANUF P/N: 3SB3901-1QG; 26X26MM; BULB DIAMETER 10MM; COLOR: SUPER-BRIGHT WHITE; BASE TYPE: BA9S | EA | R |
| 642385 | LIGHT, INDICATING: TYPE: PILOT; POTENTIAL: 220 V; POWER: 0.18 W; COLOR: RED; LAMP STYLE: LED; SUPPL P/N: MRE | EA | R |
| 642386 | LIGHT, INDICATING: TYPE: PILOT; POTENTIAL: 220 V; POWER: 0.18 W; COLOR: WHITE MILKY; LAMP STYLE: LED; MANUF P/N: MRE | EA | R |
| 146535 | LAMP, INCANDESCENT: TYPE: XENON FLASHLIGHT; POWER: 3.6 W; POTENTIAL: 7.2 V; BASE: MINIATURE FLANGE; COLOR: CLEAR; BULB: PR118; 0.75 AMP. | EA | R |
| 581683 | HOLDER, LAMP: TYPE: KA2-2025; LAMP BASE: 230VAC/DC LED; POWER: 2 W; MATERIAL: PLASTIC; OEM P/N: MCBH-001 | EA | R |
| 621474 | HOLDER, LAMP: TYPE: RED LIGHT LED; LAMP BASE: LB4; POWER: 0.99 W; MATERIAL: PLASTIC; APPLICATION: SWITCHGEAR INDICATION LIGHTS; SPECIFICATION: LOVATO-75051414; SUPPL P/N: 8LM2TLB4; VOLTAGE:18-30V AC/DC; MAX 33MA | EA | R |
|  | 220V DC line filters | EA | R |
| 575208 | BREAKER, CIRCUIT: POTENTIAL: 400 V; CURRENT: 10 A; POLE: 2; TYPE: MCB; INTERRUPT CAPACITY: 10 KA; MANUF P/N: EP102 UCC 10A | EA | R |
|  | GE 10A Single Pole MCB + Isolator Unit | EA | R |
| 575168 | BREAKER, CIRCUIT: POTENTIAL: 400 V; CURRENT: 16 A; POLE: 2; COLOR: GRAY; TYPE: MCB; INTERRUPT CAPACITY: 10 KA; MANUF P/N: EP102 UCC 16A | EA | R |
| 575206 | BREAKER, CIRCUIT: POTENTIAL: 400 V; CURRENT: 2 A; POLE: 2; COLOR: GRAY; TYPE: MCB; INTERRUPT CAPACITY: 10 KA; MANUF P/N: EP102 UCC 2A | EA | R |
| 575233 | BREAKER, CIRCUIT: POTENTIAL: 400 V; CURRENT: 2 A; POLE: 1; COLOR: GRAY; TYPE: MCB; INTERRUPT CAPACITY: 10 KA; MANUF P/N: G101C 2A | EA | R |
|  | GE 2A Three Pole MCB | EA | R |
|  | GE 4A Three Pole MCB | EA | R |
|  | GE 6A Double Pole MCB | EA | R |
| 575284 | EARTH LEAKAGE: TYPE: TRIP UNIT; CURRENT: 5 A; POTENTIAL: 550 VAC; LEAKAGE CURRENT: 32 MA; MANUF P/N: EL-EIN-30; COIL VOLTAGE: 690V; MOUNT: PANEL; TERMINAL: 11 X SCREW; CONTACT ARRANGEMNET: 1 NO 1 NC | EA | R |
| 575183 | BREAKER, CIRCUIT: POTENTIAL: 240-415 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: GC63C40; TYPE: MCB; INTERRUPT CAPACITY: 10 KA; MANUF P/N: 674657 | EA | R |
|  | Synchronisation VT Selection Relays | EA | R |
|  | 20V Chop Over DC relay | EA | R |
|  | SIZE 2 CASE, 2B SELF RESETCONTACTS. DC SELF RESET REVERSE FLAG, 220VDC | EA | R |
|  | Contact Protection unit (Snubber) | EA | R |
|  | 40A BOARD DC SELECTION SWITCH | EA | R |
|  | ARC PROTECTION ISOLATING | EA | R |
|  | BUSZONE ISOLATING | EA | R |
|  | DC SUPPLY SELECT | EA | R |
| 715401 | INSULATOR: TYPE: BUSBAR SPOUT/INSULATOR; DIMENSIONS: WD 1000 MM; MATERIAL: RESIN; POTENTIAL: 11 000 V; CURRENT RATING: 2500 A; SUPPL P/N: EIBAE0008-04 | EA | R |
| 715400 | INSULATOR: TYPE: BUSBAR SPOUT; DIMENSIONS: WD 750 MM; MATERIAL: RESIN; POTENTIAL: 11 000 V; CURRENT RATING: 800 - 1250 A; SPECIFICATION: CANTILEVER ID/ESKOM DSP 34-1677; CORROSION/MAT DSP 34-213/34-224; DESIGN TESTS-KIPTS; SPINDLE D-DT-3050; STD SANS/IEC 60383 PART 1; SUPPL P/N: EIBAE0008-01 | EA | R |
| 715360 | INSULATOR: TYPE: BUSBAR SPOUT; DIMENSIONS: WD 1000 MM; MATERIAL: RESIN; POTENTIAL: 11 000 V; CURRENT RATING: 3150 A; SUPPL P/N: EIBAE0008-03 | EA | R |
| 575159 | TERMINAL: TYPE: SPRING LOADED; RATING: 1 KV 32 A; SPECIFICATION: IEC60947-7-1; MATERIAL: POLYAMIDE 6/6; SUPPL P/N: KULT 4; 0.5 MM2 - 4 MM2 STRANDED CONDUCTOR AND SOLID 0.5 TO 6 MM2; WIRE STRIPPING LENGTH: 12 MM; CONNECTION TYPE: (2) SCREW CLAMP, (1) TAPPED HOLE FOR CROSS CONNECTION; MOUNT: RAIL; SCREW TYPE: M4 | EA | R |
| 575220 | TERMINAL: TYPE: SPRING LOADED; RATING: 1 KV 57 A; SPECIFICATION: IEC 60947-7-1; MATERIAL: POLYAMIDE 6/6; MANUF P/N: KULT1; 1.5-10 MM2 STRANDED CONDUCTOR; CONNECTION: (2) SCREW CLAMP; (1) TAPPED HOLE FOR CROSS CONNECTION | EA | R |
| 626361 | BLOCK, TERMINAL: POTENTIAL: 1 KVAC; CURRENT: 16 A; WIRE SIZE: 16 MM2; CIRCUIT: 2; WIDTH: 57 MM; LENGTH: 63 MM; TERMINAL QUANTITY: 1; SUPPL P/N: WDU16 | EA | R |
| 626362 | BLOCK, TERMINAL: POTENTIAL: 275 VAC; CURRENT: 28 A; WIRE SIZE: 4 MM2; CIRCUIT: 2; WIDTH: 27 MM; LENGTH: 30 MM; SPECIFICATION: AKZ4; TERMINAL QUANTITY: 1; REFERENCE NO: 029436-00-00 | EA | R |
| 633978 | CONNECTOR: TYPE: TERMINAL BLOCK; DIMENSIONS: WD 42.5 X HT 42 X THK 6.2 MM; MATERIAL: VINYL; SUPPL P/N: JUK 2.5B; REFERENCE NO: JUK 2.5B; JUK 2.5B, V: 800V, I: 32A, SOLID CROSS SECTION: 0.2 - 4 MILLIMITERS SQUARE, CONNECTION STANDARD IEC 60947-7-1, INSULATION MATERIAL PA66, SCREW TERMINAL BLOCK | EA | R |
| 633980 | CONNECTOR: TYPE: TERMINAL BLOCK; DIMENSIONS: WD 55 X HT 62 X THK 15.2 MM; MATERIAL: VINYL; SUPPL P/N: JUK 35N; REFERENCE NO: JUK 35N; JUK 35N, V: 800V, I: 125A, SOLID CROSS SECTION: 10-35 MILLIMETER SQUARE. CONNECTION STANDARD IEC60947-7-1, INSULATION MATERIAL PA66, SCREW TERMINAL BLOCK | EA | R |
| 633995 | CONNECTOR: TYPE: TERMINAL BLOCK; DIMENSIONS: WD 42.5 X HT 47 X THK 8.2 MM; MATERIAL: POLYSTYRENE; SUPPL P/N: JUK 6N; REFERENCE NO: JUK 6N; JUK 6N, 800V, 57A, 6MM2, SEPARATING PLATE:TS-K | EA | R |
| 636025 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 37 A; SUPPL P/N: JUSLKG6 | EA | R |
| 636027 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 34 A; MANUF P/N: JUSLKG3; WIRE 2.5 MM2; WD 5.2 MM; MOUNTING RAIL DIN 32/35 | EA | R |
| 636028 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 101 A; SUPPL P/N: JUSLKG16; WD 12.5 MM; MOUNTING DIN RAIL 32/35; WIRE 16 MM2 | EA | R |
| 636029 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 34 A; MANUF P/N: JUSLKG5; WD 6.2 MM; MOUNTING RAIL DIN 32/35; WIRE 4 MM2 | EA | R |
| 636032 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 76 A; MANUF P/N: JUSLKG10; WD 10.2 MM; MOUNTING RAIL DIN 32/35; WIRE 10 MM2 | EA | R |
| 636033 | TERMINAL: TYPE: ECONO DIN RAIL EARTH; RATING: 500 V 125 A; WIRE 35 MM2; WIDTH 15.2 MM; MOUNTING RAIL DIN 32/35 | EA | R |
| 575147 | TERMINAL: TYPE: BLOCK; RATING: 800 V; MATERIAL: KPSL; MANUF P/N: KULT6; 8 MM SPRING LOADED; 6 SQ MM; 0.8 NM | EA | R |
| 636026 | TERMINAL: TYPE: RAIL MOUNTED; RATING: 800 V 32 A; SUPPL P/N: JUK3N; WD 5.2 MM; WIRE SIZE 4 MM2 | EA | R |
| 716603 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 400 VAC; CONNECTION TYPE: TERMINAL; DIMENSIONS: DIA 10 LG 35 MM; INTERRUPT CAPACITY: 63 KA; TYPE: NEOZED; CASE MATERIAL: CERAMIC; SPECIFICATION: IEC 60269-3-1; SUPPL P/N: 5SE2 310; REFERENCE NO: 4 001869 005959; CURRENT RATING : 10A; VOLTAGE RATING : 400V AC; APPLICATION CATEGORY : GG; MATERIAL : CERAMIC; BREAKING CAPACITY AT MAXIMUM VOLTAGE RATING : 50KA @ 400V AC, 8KA @ 250V DC | EA | R |
| 575273 | TERMINAL: TYPE: 28 WAY TEST BLOCK; RATING: 300 V 20 A; MANUF P/N: MMLG01; 10094077 | EA | R |
| 645652 | TYPE PK2 4 Way TEST BLOCKS | EA | R |
|  | Current Transducer (0-1A, 4-20mA, Aux supply = 220V AC) | EA | R |
|  | Frequency Transducer (0-110Vac, 4- 20mA, Aux supply = 220V AC) | EA | R |
| 675670 | TRANSDUCER: TYPE: POWER; INPUT: 0-1 A; OUTPUT: 420 MA; POWER SOURCE: 220 VAC; APPLICATION: POWER MEASUREMENTS; SPECIFICATION: EN 60688; SUPPL P/N: MT 440; POWER TRANSDUCER (0-132 V, 0-1 A, 4-20 MA), MT 440-84200 MULTI TRANSDUCER, ISKRA, SN: MT091484 INPUTS: 3B, 11 KV/110 V, 3000 A/1A, I/O1:0.57 MW. DATA SHEET REQUIRED UPON RFQ | EA | R |
| 639166 | TRANSDUCER: TYPE: AUXILIARY EDC/AC; INPUT: 0.1-75 MV; OUTPUT: 4-20 MA; POWER SOURCE: 300 V; MANUF P/N: MI456; REFERENCE NO: T4565115; CAT III; SW 1.08 HW.A | EA | R |
|  | 11kV Digital voltmeter | EA | R |
|  | 6,6kV Digital voltmeter | EA | R |
|  | MTX BUSBAR VT & WINDINGS | EA | R |
|  | CABLE VT CARRIAGE & WINDINGS | EA | R |
|  | MTX BUSBAR VT & WINDINGS | EA | R |
|  | CABLE VT CARRIAGE & WINDINGS | EA | R |
| 120658 | SWITCH, LIMIT: POTENTIAL: 600 V; ACTION: SPDT; ACTUATOR: ROLLER LEVER; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: CI; SUPPL P/N: CHW93053 | EA | R |
| 574419 | HUB, NETWORK: TYPE: ETHERNET; ACCESS TIME: 100MBPS; PORT TYPE: ETHERNET; POTENTIAL: 85-264 VAC; MANUF P/N: PT-7828-R-HV-HV; MODULAR MANAGED; WITH 3 SLOTS FOR 100MBPS MODULES AND 1 SLOT FOR GBPS MODULE; LED DISPLAY ON FRONT PANEL WITH 2 88-300VDC OR 85-264VAC POWER SUPPLIES | EA | R |
| 574420 | HUB, NETWORK: TYPE: ETHERNET; ACCESS TIME: 100MBPS; PORT TYPE: RJ45/ETHERNET; POTENTIAL: 85-264 VAC; MANUF P/N: PT-7728-R-HV-HV; 3 SLOTS FOR MBPS MODULES; 1 SLOT FOR GBPS MODULE; PORTS ON FRONT; LAYER 3 ROUTING MODULAR MANAGED | EA | R |
| 583419 | LUBRICANT: TYPE: SYNTHETIC; FORM: LIQUID; CONTAINER: CAN 500 G; MANUF P/N: ST312-111-001 | EA | R |
| 583420 | LUBRICANT: TYPE: FL; FORM: LIQUID; CONTAINER: CAN 500 G; MANUF P/N: 5008153 | EA | R |
| 664754 | LUBRICANT: TYPE: ELECTRICAL CONTACT; FORM: SPRAY; CONTAINER: AEROSOL 400 ML; MANUF P/N: ALFA YM 3-30; LATEST 16 POINT MATERIAL SAFETY DATA SHEET TO BE SUPPLIED WITH EVERY DELIVERY; KLUBER | EA | R |
| 664746 | LUBRICANT: TYPE: CLEANING; FORM: SPRAY; CONTAINER: AEROSOL 400 ML; SPECIFICATION: REG NM; 143557; MANUF P/N: FOOD NK 1 Z 8-001; FOR SURFACE CLEANING AND DEGREASING AGENT; LATEST 16 POINT MATERIAL SAFETY DATA SHEET TO BE SUPPLIED WITH EVERY DELIVERY; KLUBER | EA | R |
| 673824 | LUBRICANT: TYPE: CLEANING AGENT; FORM: SPRAY; CONTAINER: CANISTOR 400 ML; BASE MATERIAL: LUBRICATING FLUID; KLUBERALFA YM 3-30 SPRAY: SPRAY FOR ELECTRICAL CONTACTS AND ASSEMBLY | EA | R |
| 678588 | LUBRICANT: TYPE: PASTE SPRAY; FORM: SPRAY; CONTAINER: CANISTOR 400 ML; BASE MATERIAL: MOS2 & GRAPHITE; SPECIFICATION: REG NM: 143557; UNIMOLY PA SPRAY; AEROSAL CAN 400ML; ARTICLE NUMBER 081045; TEXTURE: HOMOGENEOUS; SHORT-FIBRE; BLACK COLOUR; HIGHLY CONCETRATED SOLID LUBRICANT PASTE; BASED ON PARAFFIN MINREAL OIL; SILICATE AND A SOLID LUBRICANT MIXTURE (MOS2 AND GRAPHITE) KINEMATIC VISCOSITY OF BASE OIL; DIN 51562 PT. 01/ASTM D-445/ASTM D 7042 | EA | R |

Note:

The contract duration is for 5 years (60 months), all the quantities are subject to change thereof.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

Part 3: Scope of Work	12

C3.1: Purchaser’s Goods Information	13

1	Overview and purpose of the goods and services	Error! Bookmark not defined.

2	Specification and description of the goods	14

2.1	Purchaser’s design	Error! Bookmark not defined.

2.2	Procedure for submission and acceptance of Supplier’s design	15

2.3	Other requirements of the Supplier’s design	15

2.4	Use of Supplier’s design	15

2.5	Manufacture & fabrication	15

2.6	Factory acceptance testing (FAT)	15

2.7	Other tests and inspections and commissioning in place of use	15

2.8	Operating manuals and maintenance schedules	16

3	Supply Requirements	16

4	Specification of the services to be provided	16

5	Constraints on how the Supplier Provides the Goods	16

5.1	Programming constraints	16

5.2	Work to be done by the Delivery Date	16

5.3	Marking the goods	16

5.4	Constraints at the delivery place and place of use	17

5.5	Cooperating with Others	17

5.6	Services & other things to be provided by the Purchaser or Supplier	17

5.7	Management meetings	17

5.8	Documentation control	18

5.9	Health and safety risk management	18

5.10	Environmental constraints and management	19

5.11	Quality	19

5.12	Invoicing and payment	20

5.13	Insurance provided by the Purchaser	20

5.14	Contract change management	21

5.15	Provision of bonds and guarantees	21

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	21

6	Procurement	21

6.1	Subcontracting	21

6.1.1	Preferred subcontractors	21

6.1.2	Limitations on subcontracting	21

6.1.3	Spares and consumables	21

6.1.4	Other requirements related to procurement	22

6.1.5	Cataloguing requirements	22

7	List of drawings	22

7.1	Drawings issued by the Purchaser	22

C3.2	Supplier’s Goods Information	1

# Overview and purpose of the goods and services

Medupi Power Station intend to establish a long-term contract for the supply and delivery of the station Medium Voltage (MV) Switchgear Spares, for a period of five years. This contract is designed to ensure the uninterrupted availability of critical spare parts required for the maintenance and operation of MV switchgear systems at Medupi Power Station, a key asset in our national power generation infrastructure.

The primary objective of this contract is to secure a reliable supply of high-quality spares, which are essential for maintaining the operational efficiency and safety of the MV switchgear. This will help in minimizing downtime, reducing maintenance costs, and extending the operational lifespan of the equipment at Medupi Power Station.

# Specification and description of the goods

The scope of this contract is for Provision of MV Switchgear Spares at Medupi Power Station on as an when required basis.  All spare descriptions with part number are provided on 241-2022881 Appendix A.

Work to be performed by the supplier:

- The Supplier will ensure that the correct spare is supplied and will replace or be liable for damage at his/her cost if the incorrect or defective spare/s is supplied.

- The Employer’s (i.e., Eskom Holdings SOC) acceptance of delivered spare/s does not absolve the Supplier of the liability to supply the correct and/or defect free spare.

- The Supplier may, at the Employer’s discretion, be given access to the plant to verify the information of the installed spare.

- The spare must be exactly the same (e.g., same Part Number) as specified on this SOW and the part number will also be used to perform quality control checks. Notwithstanding the stipulated condition that the Supplier is responsible for verifying the correctness of the spares information provided by the Employer in relation to the existing installed component. This may include the Supplier consulting the original Supplier of the spare to ensure correctness of information provided by the Employer. Where a part has become obsolete, the Supplier will offer a suitable alternative with all the documentations as specified within this SOW to be submitted to the Employer for acceptance before delivery.

- The Employer may at his/her discretion make the Employer’s Engineer or employees or others available to the Supplier for the purpose of soliciting additional information or verifying information as the need arises.

- The Supplier will supply any additional information such as brochure, general arrangement drawing, test certificates, detailed specification, etc.

- The Supplier shall supply preservation and storage procedure(s), where applicable.

- “Estimated Spare Quantities to be Procured over Five-Year Period”, indicated by the Employer in the attached table as one of the subheadings, is the estimated number the Employer may require the Supplier to supply over the contract period. The Supplier may only supply the quantity as specified by the Employer in the individual order instruction.

- If deemed necessary, the Employer may subject the Supplier to a quality assurance assessment at the Supplier’s or sub-Supplier’s premises as part of the technical evaluation or before the contract placement or at any time during the contract period.

- Where the spare requires testing, the Supplier will inform the Employer to invite or make available the Employer’s System Engineer to witness the tests.

- Should the Employer be dissatisfied with all or certain aspects relating to a specific spare tests (including but not limited to suspected inferior quality or non-compliance) the Supplier will make good, rectify the faults or supply a new spare at his/her cost.

- Spares will be opened for inspection, counting and quality control check at the Employer’s stores.

Note! Where the Employer has entered into a National Framework agreement for the supply of any listed items in Appendix A before this contract is in place, those items shall not form part of the contract.

Spares Specification:

Spares Identification

241-2022881 Appendix A lists all the spares to be procured under this SOW. Where the information available on the spares list in Appendix A or that supplied by materials management as catalogued is not sufficient to positively identify the applicable spare, the Supplier shall notify the Employer such that the Employer can assist the Supplier in identifying the correct spare.

The Supplier shall be liable to replace a supplied spare that is found to be defective within the guarantee period.

Spares quantities:

The estimated spares quantities to be provided as stipulated in the purchase order.

## Design, manufacturing, and testing

The required spares shall be the same, in all respects, as the original components. The spares shall also conform to the same specifications as the original components. This includes all aspects such as design, materials and material specifications, manufacturing and manufacturing processes, testing and operating and storage specifications.

## Purchaser’s design

The purchaser does not have designs nor will they design any of the goods specified in document 241-2022881.

## Procedure for submission and acceptance of Supplier’s design

N/A

## Other requirements of the Supplier’s design

N/A

## Use of Supplier’s design

N/A

## Manufacture & fabrication

N/A

## Factory acceptance testing (FAT)

N/A

## Other tests and inspections and commissioning in place of use

The Supplier shall provide datasheets and drawings with the required goods as per work instruction. Quality Control checks will be conducted on delivery of the goods to ensure that the correct item has been delivered

## Operating manuals and maintenance schedules

N/A

# Supply Requirements

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Specification of the services to be provided

supply and delivery of the station Medium Voltage (MV) Switchgear Spares on an as and when required basis for a period of five years

# Constraints on how the Supplier Provides the Goods

## Programming constraints

The delivery date as stipulated to be provisional. This date may change prior to delivery. The Supplier to indicate standing time and storage costs should the Employer delay the delivery date. Proof of actual costs to be provided.

Provision to be made for delays that may be caused owing to items being sourced from outside The Republic of South Africa.

## Work to be done by the Delivery Date

- The spares and components will be supplied to the “goods received” section of the Medupi main store where it will be received by the material management section.   The spares will be delivered with all the required documents and certificates, where required.

- Medupi Stores Working Times:           	Monday — Thursdays: 	07h00 — 16h00

Fridays:                          	07H00 — 12h00

- Supplier to quote the Eskom official purchase order in all delivery notes and invoices.

- Goods must be well packaged and safely transported.

- Eskom to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end-user of the product.

- Rejected goods must be collected and the correct goods supplied within 14 days.

## Marking the goods

Packaging and Marking should be as follows:

- The different spare types are to be packaged separately in such a way that each type can be stored

separately.

- Packaging and labelling of spares should ensure that the spare can be identified without

opening the packaging.

- Where possible the packaging should ensure that parts can be positively identified

through the packaging.  Where this is not possible the packaging should allow opening and

closing of the packaging and still maintain the packaging integrity afterwards.

- Delivery packaging to have the following detail on it as a minimum (removable adhesive sticker

if possible):

•    Order number,

•    A short description of component

•    The stock numbers.

•   Manufacturing date, where possible

## Constraints at the delivery place and place of use

- Supplier / representative must follow Eskom Life Saving Rules when delivering goods to Medupi Power Station.

  - Buckle up

No person may drive any vehicle on Eskom business and/or on Eskom premises:

Unless the driver and all passengers are wearing seat belts

  - Be Sober

The person making a delivery to Medupi power station should not be under the influence of alcohol or substances.

- Medupi power station’s main store operating hours are as follows:

  - Monday — Thursdays: 	07h00 — 16h00

Fridays:                          	07H00 — 12h00

## Cooperating with Others

N/A

## Services & other things to be provided by the Purchaser or Supplier

Medupi Main stores (goods receiving section) shall facilitate the offloading of goods providing relevant lifting equipment required.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly | TBC | Purchaser, Supplier, |
| Overall contract progress and feedback | Monthly | TBC | Purchaser, Supplier, |
| Kick off meeting | Once off | TBC | Purchaser, Supplier, |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

- Each instruction, certificate, submission, proposal, record, acceptance, notification, reply and other communication which this contract requires is communicated in a form which can be read, copied and recorded.

- Writing is in the Language of this contract.

- All reports to be discussed, compiled, and handed in to the Eskom.

- All communications must be printed and filed in the Purchaser file.

- All goods being delivered to Medupi Main Stores must have the following:

• Unique delivery note number per delivery

• Delivery note – must have unique number, date of delivery, items that were delivered (material

number, material short description, serial number and quantity delivered)

• Delivery note must come in duplicates so that one copy is kept at Medupi Main Stores and other

goes with the supplier for invoicing purposes and as a proof of delivery.

- Both copies of delivery notes to be stamped with receiving stamp of Medupi Power Station and

must have the signature of the receiver as well as the receiving personnel full names.

## Health and safety risk management

5.9.1 The Supplier shall comply with the following requirements governing health and safety in Eskom and South Africa:

a)	Basic Conditions of Employment Act No 75 of 1997.

b)	Occupational Health and Safety Act and Regulations No 85 of 1993.

c)	National Road Traffic Act 93 of 1996.

d)	32-37 Eskom Substance Abuse Procedure.

e)	240-62196227 Life- Saving Rules.

f)	32-727 SHEQ Policy

g)	240-62946386 Vehicle and Driver Safety Management Procedure

h)	32-520 Risk Assessment procedure

i)	COIDA Act

5.9.2 Vehicle Safety Management

The Service Provider must comply to the following requirements when planning the route to Medupi Power Station for delivery:

a)	It is the responsibility of the driver to ensure:

- Their passengers wear seat belts whilst the vehicle is in motion.

- Comply with all traffic road rules, safety, direction, and speed signs.

- Ensure that vehicle loads are properly secured prior to moving off.

- Ensure that vehicles are not overloaded.

b)	Service Providers are required to conduct the route risk assessment prior to travelling/driving.

c)	No drivers or operators may text, talk on cell phones or two-way radios whilst driving.

d)	All drivers shall have a valid medical fitness certificate.

e)	The First aid box with valid contents and fire extinguishers must be included in the vehicle, be services annually and inspected monthly. Drivers must be trained on how to use the First aid box and fire extinguishers.

f)	Two triangles must be included in the vehicle and the emergency number be displayed at the back of the vehicle.

g)	Each Project site that is enclosed by demarcation will have system/ process to manage vehicle access to site.

h)	Contractor must maintain their vehicles in a roadworthy condition and a vehicle license must be valid at all times and this is applicable to yellow plant.

i)	Drivers of light vehicles must avoid stopping or parking in the vicinity of machines.  At least 30 (thirty) meters must be left clear between such a vehicle and such a machine.

j)	Contractor vehicles can be subject to inspections by the Client/Agent’s representative.  Vehicles which are not roadworthy will not be permitted to be used on site.

k)	Drivers/operators shall be responsible for the travel-worthiness of all loads conveyed by them.  Precautions shall be taken to secure all loads properly.  Loads projecting from vehicles shall be securely loaded and in daytime a red flag and during darkness a red light or red reflective material shall be attached to the extreme end of such projecting materials.

## Environmental constraints and management

The Supplier shall comply with all applicable environmental laws, permits, regulations and rules, guidelines and Environmental procedures for Eskom.

Supply to ensure that waste receptacles are provided where required. Waste disposal shall be a responsibility of the client.

## Quality

The Contractor conforms to the quality management requirements as per ISO 9001:2015 and the Employer’s Supplier Contract Quality Requirements Specification (240-105658000). The Contractor shall adhere to the following:

During the Pre-Contract Award: Quality Requirements Category 1.

Eskom supplier quality requirements for all existing and potential suppliers and sub-suppliers are classified into four Categories. The following is the minimum documentation for Category 1:

Category 1 Quality Requirements

SECTION A:  Valid certification of Quality Management System by an ISO accredited body

- The supplier shall submit a copy of ISO 9001 (or the latest application revision) certificate.

SECTION B: Evidence of QMS in operation

- Copy of appointment letter & CV/ resume of a Quality Representative for the project.

- Documented information for defined roles, responsibilities and authorities for those who will be working on site, including the organogram.

- Copy of procedure for control of suppliers & subcontractors, and records of previous evaluations and/or monitoring of sub-contractors/suppliers.

- Copy of an internal management system audit report (with NCR, corrective & preventive report).

- Copy of an external management system audit report (with NCR, corrective & preventive report).

- Copy of Customer satisfaction surveys

- Copy of a Quality Plan (including ITP's) on previous project < 2yrs

- Records of Management Review meetings (minutes, attendance registers etc.)

SECTION C: Contract Quality Plan as per Scope of Works (Ref ISO 10005)

Draft Contract Quality Plan for previous similar work conducted.

SECTION D: QCP /ITP (Quality Control Plans) as per Scope of Works

SECTION E: Form A is completed and signed.

Contract Execution

The supplier shall submit the following documents within 30 days or as per stated timeline after the contract date, prior to the commencement of work, for acceptance by Eskom:

 The supplier shall complete a QCP before contract award. This shall be reviewed and signed off by Eskom within 30 days or as per stated timeline after contract award.

 The supplier shall complete a quality control plan and ITP(s) for review and acceptance by Eskom prior to the commencement of any work, inclusive of subcontracted work, within 30 days or as per stated timeline after contract award.

 The sub-supplier QCP/ ITP shall be submitted for review and comment by the supplier and by Eskom within 30 days or as per stated timeline after the award of the tender. All supplier and Eskom comments shall be resolved prior to commencing work.

 The equipment lists and an indication of pressurised components and systems.

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Requirements

- All Electronic invoices must be sent in PDF format only.

- An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

- The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.”

- If there is Cost Price Adjustment (CPA) on your invoice we recommend that you issue a separate invoice for CPA so that if there are any issues on the CPA, the rest of the invoice can be paid while resolving the CPA issues.

- When the GR number is received you can then send the GR number to the FSS contact Centre at FSS@eskom.co.za or 011 800 5060.

- All queries and follow up on invoice payments should made by contacting the FSS Contact Centre:   Tel: 011 800 5060 or email: fss@eskom.co.za

## Insurance provided by the Purchaser

| Name and Surname | Contact Details | e-mail address |
| --- | --- | --- |
| Mr Wiseman Khoza | +27 11 800 6268 | Wiseman.khoza@eskom.co.za |
| MR Krishan Chaithoo | +27 11 800 4455 | ChaithK@eskom.co.za |
| Ms Thembi Mabanga | +27 11 800 6509 | thembi.mabanga@eskom.co.za |
| Ms Mamosidi Katane- Mathibela | +27 11 800 6380 | KataneE@eskom.co.za |
| Mr Velaphi Mabaso | +27 11 800 3836 | Velaphi.mabaso@eskom.co.za |
| Ms Beverley Jemaine-Cain | +27 11 800 3331 | Beverley.jemaine-cain@eskom.co.za |

## Contract change management

In case of compensation event either party will notify the other. Then the NEC 3 SC compensation event process will be followed. No work to be done until Purchaser provide permission.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

The Contractor is required to keep record and submit proof of all the actuals, to be verified at the completion of the Payment Certificate and assessment, should the Service Manager request to do so.

# Procurement

## Subcontracting

### Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

### Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.

### Spares and consumables

Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other consumables which the Purchaser may need at or just after delivery or commissioning of the goods and that it is best the Supplier provide these initially as part of his Providing the Goods and Services

### Other requirements related to procurement

Other requirements such as ASGISA or socio-political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

### Cataloguing requirements by the Supplier

N/A

# List of drawings

## Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

N/A

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za