Project Name: Supply & delivery of Transformer uninhibited virgin insulating oil

Project Address:  Cape Coastal Cluster (EC)

Scope of the project: SUPPLY & DELIVERY OF TRANSFORMER OIL

Eskom Contract’s Manager                                                Eskom’s Health and Safety Manager

Name: ______________________________	              Name: Xolile Myoyo

Eskom’s Procurement Manager                                         Eskom’s Safety Officer

Name: __________________________                            Name: Sibo Zilimbola

Content																			Page

1.	Introduction	3

2.	Supporting Clauses	3

2.1 Scope	3

2.1.1 Purpose	4

2.1.2 Applicability	4

2.2 Normative/Informative References	4

2.2.1 Normative	4

2.2.2 Informative	4

2.3 Definitions	5

2.4 Abbreviations	8

2.5 Related/Supporting Documents	8

3.	Specification	9

3.1 Scope of work	9

3.2 Legal Compliance	9

3.2.1 Section 37(2) (Legal) Agreement	9

3.2.2 Hazardous work by children (Child Labour)	9

3.3 Eskom Requirements	10

3.4 Personnel Health / Hygiene Facilities	11

3.7 Occupational Health, Hygiene and Rehabilitation	13

3.8 Appointments	13

3.9 Roles and Responsibilities	14

3.10 Risk Assessments	14

3.11 Incident Investigation	15

3.12 Emergency Management	15

3.13	Work at Height	16

3.14	Transport /Mobile Plant Equipment	17

Mobile Plant Equipment	17

Hired plant and machinery and vehicles	18

3.15	Hazardous Substance Management	18

Introduction

Eskom’s responsibility and commitment is to ensure a safe working environment is in line with its Safety, Health, Environmental and Quality Policy, along with legislative obligations.

This SHE specification is Eskom’s minimum requirements which are required to be met for the specific contract and for the duration of the contract period by contractors and where required, the delivery organisation.

The contractor is expected to develop a SHE plan which meets these requirements as well as all the relevant applicable legislation they conform to.

Eskom in no way assumes the contractor’s legal responsibilities.  The contractor is and remains accountable for the quality and the execution of his/her health and safety programme for his/her employees and appointed contractor employees.

This SHE specification reflects minimum requirements and should not be construed as all encompassing.

Note 1: All the requirements listed hereunder are in relation to the contract and do not supersede or replace any organizational SHE requirements.

Note 2: In terms of Eskom requirements, a section of this professional contract falls within the requirements of the Construction Regulations.

Although there are requirements listed in this specification that do not pertain directly to air charter, the requirements are expect of an air charter contractor business to conform to. These requirements are in line with Eskom’s Zero Harm value.

Where requirements listed are already in place, then the organisational requirements must be taken cognisance of and listed in the respective SHE plans. If there are any additional Eskom and or legislative requirements listed in the SHE specification, then these must be addressed.

# Supporting Clauses

## 2.1 Scope

This SHE specification lists the legislative and Eskom requirements and where applicable, any requirements pertaining to Local Authorities / Municipal by-laws / Environmental legislation that must be met by the contractor.

### 2.1.1 Purpose

This document will provided a standardised approach to the compilation of SHE specifications throughout Eskom for contracts and standard and NEC 3 contracts

### 2.1.2 Applicability

This SHE specification is applicable to any contracting organisation who intends tendering for the contract.

## 2.2 Normative/Informative References

Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.

### 2.2.1 Normative

- Basic Conditions of Employment Act No 75 of 1997.

- Occupational Health and Safety Act and Regulations No 85 of 1993.

- National Environmental Management Act 107 of 1998.

- National Road Traffic Act 93 of 1996.

- Compensation for Occupational Injuries and Diseases Act 130 0f 1993

- 32-37 Eskom Substance Abuse Procedure.

- ISO 45001 Occupational Health and Safety Management Systems

- ISO 14001 Environmental Management Systems

### 2.2.2 Informative

- 32-726 Mandatory SHE Requirements Contract and Contractor OHS Management

- 240-62196227  Eskom Life Saving Rules

- Tobacco Products Control Act 83 of 1993 (Updated 2011.05.19)

- SANS 1186 Symbolic Safety Signs

- Constitution of the Republic of South Africa No 108 of 1996

- 32-95 Eskom Procedure Manual for Performing Occupational Health & Safety Management & Environmental Management: Conducting EH&S Incident Management.

- 240- 62196227 Life Saving Rules

- 32-520 Occupational Health and Safety Risk Assessment

- SANS 780, Distribution Transformers

- 240-84908008  Standard for Polychlorinated Biphenyls (PCB)

- SANS 0290:2016 The Management, Handling, and Disposal of PCB

- Regulation South Africa GN R549

- SANS 555 Unused and reclaimed mineral insulating oils for transformer and

- switchgear

- NRS 079-1 and Delivery Supply of  Mineral insulating  oil

## 2.3 Definitions

| Definition | Explanation |
| --- | --- |
| Appointed contractor | Means a contractor appointed by the principal contractor |
| Baseline risk assessment | (32-520) baseline operational risks refer to the health and safety risks associated with all standard processes and routine activities in the business |
| Client | Eskom representative (Internal – Asset Owner), also referred to as the contract administrator/custodian or agent or project manager (as defined in the contract). He/she is the person responsible for ensuring that the works or services are executed in terms of the contract, as well as adherence to legislation pertaining to the contract. |
| Competent person | (OHS Act) means any person having the knowledge, training, experience, and qualifications, specific to the work or task being performed, provided that, where appropriate, qualifications and training are registered in terms of the South African Qualifications Authority Act, 1995 (Act No. 58 of 1995) |
| Contractor – includes appointed contractor | means an employer as defined in section 1 of the Act who performs contract work and includes principal contractors |
| Consultant | means a person providing professional advice |
| Duty of care to the environment | (32-136) anybody who causes or has caused or may cause significant pollution or degradation of the environment must take reasonable measures to prevent such pollution or degradation from occurring, continuing, or recurring. If such harm to the environment is authorised by law or cannot reasonably be avoided or stopped, such person must minimise and rectify such pollution or degradation of the environment |
| Employee | (OHS Act) means, subject to the provisions of subsection (2), any person who is employed by or works for an employer and who receives or is entitled to receive any remuneration or who works under the direction or supervision of an employer or any other person |
| Employer | (OHS Act) means, subject to the provisions of subsection (2), any person who employs or provides work for any person and remunerates that person or expressly or tacitly undertakes to remunerate him/her, but excludes a TES (ex labour broker) as defined in section 1(1) of the Labour Relations Act 1956 (Act No. 28 of 1956) |
| Eskom requirements | Eskom requirements flowing from directives, policies, standards, procedures, specifications, work instructions, guidelines, or manuals |
| Hazard | (OHS Act) means a source of, or exposure to, danger |
| Hazard identification | (OHS Act) means the identification and documenting of existing or expected hazards to the health and safety of persons, which are normally associated with the type of construction work being executed or to be executed |
| Health and safety file | (OHS Act) means a file or other record, containing the information in writing required by the construction regulations. |
| Health and safety plan | (OHS Act) means a site, activity or project specific document plan in accordance with the client’s health and safety specifications. |
| Health and safety specification | (OHS Act) means a site, activity or project specific document prepared by the client pertaining to all health and safety requirements related to construction work. |
| Health and safety requirements | means comprehensive health and safety requirements for a contract, project, site, and scope of work. This specification is intended to ensure the health and safety of persons, both workers and the public, and the duty of care to the environment. The health and safety requirements must be specific to each contract, project, site, and scope of work |
| Medical certificate of fitness | (OHS Act) means a certificate specific to the work to be performed and issued by an occupational health practitioner in the form of Annexure 3 of the construction regulations. |
| Medical surveillance | (OHS Act) means a planned programme or periodic examination (which may include clinical examinations, biological monitoring, or medical tests) of employees by an occupational health practitioner or, in prescribed cases, by an occupational medicine practitioner |
| Method statement | (OHS Act) means a written document detailing the key activities to be performed in order to reduce, as reasonably as practicable, the hazards identified in any risk assessment |
| Organisation | may be defined as a group of individuals (large of small) that is cooperating under the direction of executive leadership in accomplishment of certain common objects |
| Pre-job meetings | (34-227) means a meeting that is held prior to the commencement of the day’s work and that is attended by all the relevant employees associated with the work task |
| Principal contractor | (In the text of this document) Means an employer, as defined in section 1 of the OHS Act, who intends to tender for or has signed a contract with Eskom for services rendered. |
| Provincial director | (OHS Act) means the provincial director as defined in Regulation 1 of the General Administrative Regulations under the Act |
| Responsible Manager | Is a Manager of a department, section or operating/business unit who has been appointed as part of the Eskom delegation of authority process with the aim to assist the applicable 16(2) assigned person in executing his/her duties in terms of the Occupational Health and Safety Act |
| Risk assessment | (OHS Act) means a programme to determine any risk associated with any hazard at a construction site in order to identify the steps needed to be taken to remove, reduce, or control such hazard. |
| Site | (34-228) means an Eskom department, unit, complex, building, specific project, work site, or the site where agents, clients, principal contractors, contractors, suppliers, vendors, and service providers provide a service to Eskom, directly or indirectly |
| Service provider | any private person or legal entity that provides any service(s) to Eskom for compensation |
| Task | (34-227) a segment of work that requires a set of specific and distinct actions for its completion |
| Toolbox talks | (34-227) where the team leader, after conducting pre-task planning, shares all the tasks at hand and discusses task allocation, the identified risks, and the control measures with all his/her team members on site before commencing a specific task and documenting the agreed strategy. (This shall be done to ensure common understanding of the tasks, risks, and control measures required.) |
| The Act | (OHS Act) means the Occupational Health and Safety Act No. 85 of 1993, as amended, and the Regulations thereto |
| Visitor | any person visiting a workplace with the knowledge of, or under the supervision of, an employer. |

## 2.4 Abbreviations

| Abbreviation | Description |
| --- | --- |
| BU | Business Unit |
| CE | Chief Executive |
| COID Act | Compensation for Occupational Injuries and Diseases Act |
| CR | Construction Regulations |
| DMR | Driven Machinery Regulations |
| DoL | Department of Labour ( Inspection and Enforcement services – Provincial office) |
| EP | Emergency Preparedness |
| EAP | Employee Assistance Program |
| ERfW | Environmental Regulations for Workplaces |
| GAR | General Administrative Regulations |
| GSR | General Safety Regulations |
| HCS | Hazardous Chemical Substances |
| LDV | Light Delivery Vehicle |
| MSDS | Material Safety Data Sheets |
| NEMA | National Environmental Management Act |
| OHS Act | Occupational Health and Safety Act and Regulations, 85 of 1993 |
| SABS | South African Bureau Standard |
| SANS | South African National Standard |
| SANAS | South African National Accreditation System |
| PCB | Polychlorinated Biphenyl |

## 2.5 Related/Supporting Documents

- Eskom OHS Act section 37 (2) agreement (to be completed by the contract responsible manager).

# Specification

## 3.1 Scope of work

- Supply & delivery of Transformer uninhibited virgin insulating oil

Note: The contractor who will be awarded this contract will be known as the “principal contractor” and any contractor appointed by the principal contractor will be known as the “appointed contractor.

## 3.2 Legal Compliance

### 3.2.1 Section 37(2) (Legal) Agreement

A section 37(2) agreement must be signed between Eskom and the principal contractor at the time of awarding the contract. The principal contractor must ensure that a section 37(2) agreement is compiled between the principal contractor and all their appointed contractors for the contract.

The original copy of the section 37(2) agreement must be retained by the contractor and a copy retained by the responsible manager.

A copy all the agreements must form part of the respective contractor’s SHE file.

### 3.2.2 Hazardous work by children (Child Labour)

The constitution of the Republic of South Africa, in the “Bill of Rights” is clear on the rights of children, especially when it comes to:

- being protected from exploitative labour practices;

- not to be required or permitted to perform work or provide services that

- are inappropriate for a person of that child’s age; or

- place at risk the child’s well-being, education, physical or mental health or spiritual, moral or social development;

and the Basic Conditions of Employment Act, Chapter six Section 43 “Prohibition of employment of children”.

Before resorting to the use of child labour, due consideration must be given to the rights of the child in terms of the constitution. Where work is being performed which is not prohibited in terms of the constitution, then such work must be conducted in terms of the OHS Act “Regulations on Hazardous Work by Children in South Africa” with emphasis on paragraph 2 Purpose and Interpretation. Eskom does not condone the use of child labour and therefore all effort must be exercised and child labour should not be used.

    - OHS Act

The principal contractor and appointed contractors shall have an up to date copy of the OHS Act and regulations which will be available to all employees.

3.2.4 Legislative compliance

All contractors will comply with all the legislation pertaining to this contract being:

- The Constitution of the Republic of South Africa (particularly Section 24 of the Bill of Rights).

- Occupational Health and Safety Act 1993 (Act 85 of 1993) and its Regulations.

- Compensation for Occupational Injures and Diseases Act.

## 3.3 Eskom Requirements

All contractors shall, before commencement of the charter insure that all their employees are familiar with the relevant Eskom SHE documentation that is applicable to charter services.

3.3.1 Appointment of a contractor

The principal contractor will be appointed by Eskom on the awarding of the contract and will be responsible and accountable for all legislative and Eskom requirements for the duration of the contract.

3.3.2 Appointment of sub-contractors

The principal contractor may appoint contractors to assist in the contract. All appointments shall be done in writing and will form part of the SHE plan that is required to be submitted to Eskom. Adequate training and instruction must be given to the appointees and the principal contractor must ensure that all the appointed contractors understand their roles and responsibilities.

3.3.3 SHE policy

A SHE policy is a statement of intent and a commitment by the organisation’s CE and senior management in relation to the relevant SHE roles and responsibilities, the achievement of their strategic objectives, values of integrity, customer satisfaction, excellence, and innovation.

The principal contractor and all appointed contractors, if already not in place, will be required to compile an organisational SHE policy in line with their SHE responsibilities. The policy must be signed by the organisation’s CE or the appointed assistant to the CE OHS Act Section 16(2). The policy must be displayed in a prominent place within the workplace. A copy of the policy must be filed in all the contract SHE files and as an annexure the SHE Plans.

3.3.4 COID

The principal contractor and all his/her appointed contractors shall be registered with an appropriate employment compensation commissioner and have available a valid letter of good standing (LoGS) from such commissioner. The obligation lies with the contractors to ensure that the LoGS remains valid throughout the contract period. A copy of the LoGS must be filed in the entire contract SHE files and as an annexure the SHE Plans.

## 3.4 Personnel Health / Hygiene Facilities

3.4.1 Ablution facilities

When visiting Eskom sites ablution facilities will be available and accessible.

3.4.2 Drinking water

All contractors shall provide suitable drinking water for all their employees I (free of charge) whilst working in the field. Every effort must be made to keep the water as cold as possible.

3.4.3 Camp / office welfare (N/A)

3.4.4 Life Saving Rules

Eskom views health and safety in high esteem and encourages that any organisation who performs work

for Eskom adopt the same view. Six Life Saving rules have been developed that will apply to all Eskom Employees, agents, consultants, and contractors. Failure to adhere to these rules by any Eskom employee or employee of a Principal Contractor or sub-contractor will be considered a serious transgression.

These rules are being implemented to prevent serious injury or death of any employee, labour broker or contractor working in any area within Eskom. If any contractual work will be performed on any Eskom premises (including delivery of the guard huts), then the rules shall be obeyed by any contractor and their employees.

The rules are:

| Rule | Description of rule |
| --- | --- |
| Rule 1 | OPEN, ISOLATE, TEST, EARTH, BOND, AND/OR INSULATE BEFORE TOUCH ( That is plant, any plant operating above 1000 V) |
| Rule 2 | HOOK UP AT HEIGHTS Working at height is defined as any work performed above a stable work surface or where a person puts himself/herself in a position where he/she exposes himself/herself to a fall from or into |
| Rule 3 | BUCKLE UP No person may drive any vehicle on Eskom business and/or on Eskom premises: Unless the driver and all passengers are wearing seat belts. |
| Rule 4 | BE SOBER No person is allowed to be under the influence of intoxicating liquor or drugs while on duty |
| Rule 5 | PERMIT TO WORK Where an authorisation limitation exists, no person shall work without the required permit to work |
| RULE 6 | ENSUR SAFE LIVE WORKING - Ensure all live work basic principles are adhered to, as outlined (for the method being used) in the High Voltage Live Working Standard for the respective division. |

Eskom will take a stance of zero tolerance on these rules. Non-compliance to a Life Saving rule will be considered serious misconduct and will lead to serious disciplinary action, which may include dismissal.  This is to ensure that every person who works on or visits an Eskom work site returns home safely to his or her family.

## 3.7 Occupational Health, Hygiene and Rehabilitation (N/A)

3.7.1 Medicals

Note: Eskom will only accept medical surveillances conducted by an Occupational Health Practitioner who holds a qualification in occupational health.

- Principle contractors must ensure that their and their appointed contractors have a medical surveillance program whereby their employees under go entry, periodic and exit medical fitness examinations.

- In order for the appropriate medical examinations to be conducted, each employee must have a person job specification (profile), which must indicate the description of work, list of hazards and potential occupational exposure limits, physical hazards and required physical attributes.

- For employees working on the contract, medical fitness certificates shall be renewed annually for employees who are not office bound including drivers and once every 3 years for employees that are office bound. This shall be maintained until completion of the contract.

- The Principal Contractor must ensure that his / her employees and sub-contractor employees have undergone pre-entry medical examination before starting work on the contract, should it be for longer than three (3) days.

- The principal contractor shall provide a documented process for managing those employees who are issued with a conditional certificate of fitness.

3.7.2 Health and wellness HIV / Aids(N/A)

## 3.8 Appointments

For the duration of the contract, the principal contractor and all appointed contractors shall appoint competent employees who will meet the requirements of the OHS Act. Where appointments are made, contractors shall ensure that the appointees have been suitably trained and or informed of their responsibilities before getting them to accept such appointment. The relevant statutory appointments shall be made in accordance with the requirements of the OHS Act which includes the requirement of a competent person being appointed in the relevant roles. The statutory appointments should include but not limited to: Incident Investigator, Risk Assessor, Fire Fighter and Evacuation warden, First Aider, 16(2) appointment.

## 3.9 Roles and Responsibilities

All contractors are required to list employee’s roles and responsibilities pertaining to the contract.

## 3.10 Risk Assessments

It is a legal requirement in terms of Section 8 (2)(d) of the OHS Act for an employer to carry out risk assessments to establish what hazards  to the health and safety or persons are attached  to any work which is performed, any article or substance which is, handled, stored, transported. A risk assessment is defined as an identification of the hazards present in an organisation and an estimate of the extent of the risks involved, taking into account whatever precautions are already being taken. It is essentially a three stage process:

- identification of all hazards;

- evaluation of the risks;

- measures to control the risks.

Risk assessments are required to be maintained. This means that significant changes to a process or activity, or any new process or activity should be subjected to a risk assessment and that if new hazards come to light during the work process, then these should also be subjected to risk assessments. Risk assessments for long term processes should be periodically reviewed and updated. Method statements or written safe work procedures are an effective method as information and record of the way jobs / tasks must be performed. Prior to start of work, risk assessments on every job / task are ideal to allow managers and employees to assess any inherent risks that could have been overlooked during the initial risk assessment or any changes that might have occurred in a period of absence. In particular, if a job / task is extended over a day or halted due to inclement weather.

Activity based risk assessments have to be conducted by an appointed and competent person and are included in the project scope of work. The customer and appointed contractors are required to conduct and document detailed risk assessments along the projected construction line to establish further risks before the commencement of construction work site and during continued construction work, to ensure its relevance to changing scope and/or circumstances

The customer shall demonstrate that the site hazards and the contractor’s activity risks, and the mitigating measure have been considered in his risk assessments. All emerging risks and hazards shall be managed during construction work.  Job/task risk assessments shall be conducted on every task prior to start of that job/task.

## 3.11 Incident Investigation

All incidents shall be investigated in terms of OHS Act General Administrative Regulations 8 and 9, using Eskom Procedure 32-95 as a reference, and where injuries as contemplated in sections 24 and 25 have been sustained, be reported to the Department of Labour.

Contractors shall use the standard General Administrative Regulation Annexure 1 “Recording of an Incident” form for all incident investigation reports. The objective of incident investigation, not only being a legal requirement, is to establish why and how the incident occurred, but to find out the real causes of the incident and to decide on precautionary measures that are required to address the causes to prevent any further recurrences of the same or similar incidents.

All incidents relating to the contract (fatalities, lost time, medical treatment, first aid, vehicle accidents, and damage to equipment, near misses and environmental issues) shall be reported and investigated in terms of the section 24, 25, GAR 8 and 9 of the OHS Act. Copies of the investigation reports must be filed in the contract SHE file. All incidents of a serious nature shall be reported to the Eskom contract responsible manager immediately, prior to end of shift. Ensure that competent incident investigators investigate all incidents timeously.

Note 1: Eskom has the right to be involved in any contract related serious incident investigations.

Note 2: If it were found that the customer or his appointed contractors are hiding/not reporting incidents then steps, (which may include disciplinary action) would be taken against the Line Management of the customer and appointed contractor in terms of 32-1034 Eskom Procurement and Supply Management Procedure.

Investigations shall be conducted by a appointed competent investigator who will compile the appropriate incident report form as listed in the OHS Act Annexure 1. A comprehensive and detailed investigation report shall be submitted to the Eskom project manager within 7 days after the incident. The customer must report to customer project manager, by the 2nd of every month, their SHE statistics and those of their appointed contractors for the previous month.

## 3.12 Emergency Management

- The art of emergency preparedness and response is to minimise the effects of any emergency and to restore normal activities as soon as practical. The supplier must develop their own emergency response in their work premises. The Eskom employees attending training must be made aware of the emergency process and the assembly points. Where any office and or site is located within any Local Authorities area, then the plans must include their involvement. Emergency preparedness.

Periodic emergency drills must be undertaken to test the effectiveness of the plan. This must be recorded and provided on request.

3.12.1 Non-Conformance and Compliance

- Any non-compliance to any health and safety requirement in this SHE specification is subject to discipline in terms of the Eskom Procurement and Supply Management Procedure.

- Principal contractors are required to implement a non-conformance procedure (if not already in place) for issuing to contractors for transgressions.  The procedure can include “quality” related non-conformance issues. Similarly, appointed contractors must implement a non-conformance procedure.

- The procedure for the issuing and closing off of non-conformance reports shall be strictly adhered to.

- Contract management must close out non-conformances issued, in not doing so, will not ensure that any recommendations made have been carried out and or implemented.

- Where non-conformances are issued by Eskom, then one of the close-out steps of the procedure will be for the offender to be called on by the contractor responsible manager to explain the non-conformance issued and what they intend doing to prevent a recurrence of the non-conformance.

- Contractor failure to provide adequate PPE to their employees for the tasks being performed and/or to visitors and failure to enforce the wearing of such PPE will be viewed as a transgression of the legislative and Eskom requirement.

# Work at Height

Fall Protection Plan (N/A)

# Transport /Mobile Plant Equipment

All motor vehicles driven / operated by contractors within the project shall, in all respects, comply with the National Road Traffic Act. Designated drivers shall be in possession of the relevant driver’s licence, valid for the class of vehicle. The person so authorised and shall produce such card on request shall keep the driver’s license. When driving on rural roads, care and caution must be exercised due to rough and uneven terrain and reckless third party drivers.

Drivers of construction vehicles and mobile equipment must respect for landowners property and roads. No drivers or operator may text, talk on cell phones or two-way radios whilst driving, unless a hands free kit is used. It is a driver’s responsibility to ensure that the vehicle and or equipment they drive on any road is road worthy and complies with the requirements of the National Road Traffic Act. Whilst on the Eskom project, contractors are not permitted to transport passengers in the back of LDV’s and construction trucks. Proper passenger carrying vehicles must be used.

Contractors shall be solely responsible for the safety and security of any of their vehicles (including private vehicles) on their or landowners premises. All Contractor vehicles shall have organisational identification markers on their vehicles that are permitted to enter the worksite and landowner’s property. Where vehicles, mobile plant and equipment has to be refuelled on site, this will be done under caution and every effort must be made to prevent any spillage and the starting of fires. The vehicles, mobile plant and equipment must be bonded to prevent static build up

### Mobile Plant Equipment

- All drivers of construction mobile plant are to have valid medical fitness certificates.

- The customer shall ensure that his / her employees and those of his subcontractors do not ride on back of mobile plant equipment that is not designed for the conveyance of passengers.

- Drivers / operators must not leave vehicles unattended with the engine running unless the engine power is required for ancillary equipment.

- Where engines are left running, then the vehicle park brake shall be engaged and the wheels chocked.

- Drivers / operators must not park vehicles in unauthorised zones/areas unless they are performing work.

- A current maintenance logbook is required for all cranes and large plant equipment, and shall be available for inspection at any time. The logbook shall be located in the cabin of the crane or plant equipment.

- All servicing and repairs to mobile plant shall be carried out in a designated area. Care shall be taken to prevent ground pollution.

- All waste from servicing must be disposed of in accordance with the environmental legislation.

- Every mobile machine when reversing must have an audible hooter/beeper, which emits loud sounds.

- This includes trucks, cranes, loaders, dumpers backhoes etc.

- Transportation of oil shall at all times be accordance with: National Road Traffic Act of SA (Act 93 of 1996); b) Hazardous Substance Act (Act 15 of 1973) – Section 8; c) SABS CODE rail transportation in SA – Section 11.

- Drums of oil shall be colour coded in accordance with SANS10140-5)

### Hired plant and machinery and vehicles

In the event where contractors do not own the equipment and have hired such, they are still responsible for ensuring all the above requirements for that plant, machine or vehicle is complied with.

# Hazardous Substance Management

Hazardous Chemical Substances

- Employer shall hold and possess a licence to operate as a hazardous chemical substance management.

- The employer shall appoint a competent Hazardous Chemical Controller to monitor, inspect and manage hazardous substances.

- The employee shall ensure all employees are trained in the use, handling and management of hazardous chemicals.

- Employees are trained on the Hazardous Chemical Act and Regulation.

- Employees are made aware of the sources of exposure and effects on employee’s safety and health.

- Employees to be trained on precautions to be taken by employees and types of PPE to be worn to prevent exposure.

- Removal of substances to be done as per the regulation under supervision for the competed person.

- Oil spill kits to be suppled and available on site.  Users to be trained on applying spill kit. Emergency contacts of oil spill cleaners to be readily available to the driver and users of spill kit.

- Supplier must guarantee a zero count PCB level in the form of a certificate.

- Test certificates shall accompany each delivery.

- Delivery shall include the offloading of pellets onto the ground within the identified area.