Specification for Lab chemical storage cabinet

- Lab chemical storage cabinet, double door, fire proof, with shelves, 1200 mm (W), 615 mm (D), 1968 mm (H)

- Lab freezer, upright, -20°C, auto defrost, with warranty

- Lab hand held labelling system/printer, multi-line print

- Full set of micropipettes with stand, single channel