Table A.1: Composite Insulator(s) (220kV and above) technical evaluation criteria for desktop exercise

| Specification Referred to | [2] 240-77125772 Specification for Polymeric Longrod Insulators for AC Transmission Voltages of 220kV and above. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage Class Referred to | All items |  |  |  |  |  |  |
| Level-1 Basic Compliance: Tender Deliverables and Mandatory Technical Requirements |  |  |  |  |  |  |  |
| Activity |  |  | Clause in [2] |  | Compliance |  | Qualification Criteria |
| Is the completed Technical Schedule correctly submitted? |  |  | Annex A Schedule A |  | Yes/No |  | Mandatory requirement |
| Is the test report matrix completed, relevant and submitted? |  |  | Annex A Schedule B i.e. for each specific item |  | Yes/No |  | Mandatory requirement |
| Proof submitted that all required Design and Type testing has been performed at an accredited test facility [13] - OR At the factory and witnessed by an accredited body and supporting information supplied |  |  | Annex A Schedule B i.e. for each specific item |  | Yes/No |  | Mandatory requirement |
| Product meets ESKOM requirements as stipulated in Technical Schedule. No deviations found or deviations identified during detailed evaluation are considered minor i.e., negligible impact on technical and economic performance for the full product life cycle and/or considered correctable before contract award |  |  | Annex A Schedule C i.e., for each specific item |  | Yes/No |  | Mandatory requirement |
| Note: List of deviations and missing information to be made by evaluator for all sections evaluated. |  |  |  |  |  |  |  |
| Level 2 – Scoring/Rating on discretionary items (only submission that passes Level 1) |  |  |  |  |  |  |  |
| Activity |  | Clause in [2] |  | Weight |  | Score |  |
| Proof of 10 years manufacturing experience (at relevant voltages or one class lower) |  | Sect. 9 (v) |  | 10 |  | 10 if > 10 years 5 if > 5 years 2 if < 5 years |  |
| Transport, Handling, Storage and Installation Guidelines |  | Sect. 9 (vi) |  | 10 |  | 0 – No information 5 – Partial Information 10 – Complete Information |  |
| Ability to provide samples letter |  | Sect. 9 (viii) |  | 5 |  | 0 – No information 5 – Acceptable Information |  |
| Detailed Drawings provided |  | Sect. 3.4.2 |  | 25 |  | 0 – No drawing 10 – Partial itemised drawing 25 – Complete itemised drawing |  |
| Production capacity letter |  | Sect. 9 (x) |  | 5 |  | 0 – No information 5 – Acceptable Information |  |
| Allowance for manufacturing, inspections and witnessing of tests letter |  | Sect. 9 (xi) |  | 5 |  | 0 – No information 5 – Acceptable Information |  |
| Confirmation that offered product complies fully with IEC 61109 and IEC 62217 requirements, especially Table 1 of IEC 61109. |  | Sect. 5.1 |  | 20 |  | 0 – No information 10 – Partial information 20 - Acceptable Information |  |
| Sample of QITP for the routine testing |  | Sect. 3.4.3 |  | 5 |  | 0 – No information 5 – Acceptable Information |  |
| Delivery schedules adherence letter |  | Sect. 9 (vii) |  | 5 |  | 0 – No information 5 – Acceptable Information |  |
| Evidence of corona gradient at both live & dead ends ≤ 0.42kV/mm |  | Annex A, Schedule B Item (7) |  | 10 |  | 0 – No information 5 – Partial information 10 – Acceptable Information |  |