SCHEDULE B: TEST MATRIX: ITEM 25 SAP 600013 - LONGROD 765kV, 300KN 31mmkV

|  |  | Item Number as per Annex A convention: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test |  | File name of electronic test report submitted | Applicable page number | Product code used in type test report | Full product code of item offered | Name of test facility and electronic file name of accreditation certificate/evidence | Comments | Outcome Passed /Failed |
| 1 | SANS/IEC1109 DESIGN TEST certificate report ref. no. |  |  |  |  |  |  |  |
| 1a | Tests on interfaces and connections of end fittings |  |  |  |  |  |  |  |
| 1b | Tests on shed and housing material |  |  |  |  |  |  |  |
| 1c | Tests on the core material |  |  |  |  |  |  |  |
| 1d | Assembled core load-time test |  |  |  |  |  |  |  |
| 2 | SANS/IEC1109 TYPE TEST Certificate report ref. no. |  |  |  |  |  |  |  |
| 2a | Dry lightning impulse withstand included |  |  |  |  |  |  |  |
| 2b | Wet power frequency withstand included |  |  |  |  |  |  |  |
| 2c | Mechanical load time tests & tightness of interface included |  |  |  |  |  |  |  |
| 2d | Radio interference tests (IEC60437) |  |  |  |  |  |  |  |
| 3 | Power arc tests (SANS/IEC 61467) |  |  |  |  |  |  |  |
| 4 | Pollution curves as per Section 9 |  |  |  |  |  |  |  |
| 5 | 1000hr Test (IEC 62217) and/or 5000hr Test (IEC TR 62730) |  |  |  |  |  |  |  |
| 6 | Evidence of corona gradients at both live & dead ends ≤ 0.42kV/mm |  |  |  |  |  |  |  |