

ARC Infruitec-Nietvoorbij

Private Bag X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3093

Fax: (021) 809 3400/3592

8 July 2022

**OFFICE OF SUPPLY CHAIN MANAGEMENT**

DESCRIPTION OF SERVICE: **Repair of current installed Irrigator Products Cellphone Control System on our Drink Water Line and Maintenance on four (4) Irrigator Products VSD’s in our Irrigation Pump Houses at Nietvoorbij Research Farm, R44 Klapmuts Road, Stellenbosch, 7600**

**Scope of Work, Conditions for repairs done on Irrigator Products Cellphone Control System and Maintenance on Irrigator Products VSD’s at Irrigation Pump Houses for Nietvoorbij Research Farm**

|  |  |  |  |
| --- | --- | --- | --- |
| **Irrigator Products VSD Maintenance and Repairs at Nietvoorbij Research Farm** | | **Quantity** | **If No, Please Indicate Deviation** |
| **1. Specific Description** | **Compliance to Specification (Yes/No)**  **\*Describe If Specification Differs** |
| Replacing of current Irrigator Products Cellphone controllers to be discussed at mandatory site visit. |  | **2** |  |
| Addition of power supplies with back battery function to current Irrigator Products Cellswitch systems or similar |  | **4** |  |
| Addition of a 16-Bar Pressure Transducer to current Irrigator Products VSD in Main Pump House |  | **1** |  |
| Addition of Cables & Terminals for the following: 1) back-up batteries,  2) pressure transducer  3) cellphone controllers  on/in current Irrigator Products VSD control box & systems |  |  |  |
| Labour Cost on Installation of all Irrigator Products VSD & Cellswitch Systems replacement parts. |  |  |  |
| Installation and Validation of Irrigator Products Systems to ensure working condition. |  |  |  |
| Irrigator Products Ref. Number: ARC080722el-b |  |  |  |
| Compulsory site inspection 10/08/2022 at 11:00  Closing Date 12/07/2022 at 11:00 |  |  |  |
| **2. General** |  | | |
| 2.2 The supplier must perform maintenance and repair work at Nietvoorbij Research Farm, Stellenbosch, 7600 |  |  |  |
| 2.3 Standard manufacturer / product warranty must be provided |  |  |  |

1. **PRICING SCHEDULE FOR REPAIR AND MAINTENANCE ON IRRIGATOR PRODUCTS VSD’S AND CELLPHONE SWITCH CONTROL SYSTEMS AT NIETVOORBIJ RESEARCH FARM**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item description** | **Quantity** | **Unit price** | **Total Price** | |
| Replacing of current Irrigator Products Cellphone controllers to be discussed at mandatory site visit. | **2** |  |  | |
| Addition of power supplies with back battery function to Irrigator Products Cellswitch systems or similar. | **4** |  |  | |
| Addition of a 16-Bar Pressure Transducer to currant Irrigator Products VSD in Main Pump House. | **1** |  |  | |
| Addition of Cables & Terminals for the following:   1. back-up batteries 2. pressure transducer 3. cellphone controllers on/in currant Irrigator Products VSD control box & systems |  |  |  | |
| Labour Cost on Installation of all Irrigator Products VSD & Cellswitch Systems replacement parts. |  |  |  | |
| Installation and Validation of Irrigator Products Systems to ensure working condition. |  |  |  | |
| Irrigator Products Ref. Number: ARC080722el-b |  |  |  | |
|  |  |  |  | |
| **SUBTOTAL** | | | |  | |
| **VAT** | | | |  | |
| **GRANDTOTAL** | | | |  | |

Company name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date and signature:…………………………………………………………………………………………

**Contact: Guillaume Kotzé – kotzeg@arc.agric.za or 083 6272 444**

**NB: Bidders must complete the table below as per the commitment of the RFQ.**

|  |
| --- |
| **AGREE WITH THE ABOVE SPECIFICATION**: We the undersigned submit this RFQ in accordance with the conditions contained in the referenced above RFQ document and attach the documents required: |
| **Bidders representative:…………………………………………………………………….** |
| **Capacity:………………………………………………………………………………………** |
| **Date and signature:…………………………………………………………………………** |

|  |  |  |
| --- | --- | --- |
| **DISAGREE WITH THE ABOVE SPECIFICATION:** | | |
| **PAGE NUMBER** | **CLAUSE NUMBER** | **DEVIATION** |
|  |  |  |
| **Bidders representative and capacit**y ……………………………………………………………………….. | | |
| **Date and signature**………………………………………………………………………………………………………….. | | |

1. **EVALUATION PROCESS & CRITERIA STAGE ONE FOR REPAIR AND MAINTENANCE ON IRRIGATOR PRODUCTS VSD’S AND CELLPHONE SWITCH CONTROL SYSTEMS AT NIETVOORBIJ RESEARCH FARM**

**ADMINISTRATIVE COMPLIANCE EVALUATION OF ALL PROPOSALS**

|  | **Comply with specification. Please indicate Yes or No** | | |
| --- | --- | --- | --- |
|  | **Yes** | **No** | **If no, indicate deviation** |
| **EVALUATION PROCESS: NB: It must be noted that ARC reserve the rights to request for clarification if all the below questions are not answered properly.** |  |  |  |
|  |  |  |  |
| **STAGE ONE: ADMINISTRATION COMPLIANCE** |  |  |  |
| All suppliers are duly lodged will be examined to determine compliance with quoting requirements and conditions. Quotes with obvious deviations from the requirements/conditions, **will be eliminated or disqualified from further adjudication.**  **Mandatory**  Quotes will only be compliant if supplier has submitted the following documents: |  |  |  |
| ***Administrative documents***   1. According to National Treasury SCM Instruction number 4 of 2016/2017, only suppliers who are registered on Central Supplier Database (CSD) may be appointed. Suppliers is therefore encouraged to register their entities on CSD, www.csd.gov.za and such information will be verified through Central Supplier Database (CSD); |  |  |  |
| 1. All SBD documents must be submitted and completed; |  |  |  |
| **Non-Mandatory**   * Valid B-BBEE certificate or sworn affidavit certify by commissioner of oaths. |  |  |  |