STATE INFORMATION TECHNOLOGY AGENCY (SOC) LTD

Registration number 1999/001899/30

REQUEST FOR BID SPECIFICATION

| RFB REF. NO: | 0000001041 |
| --- | --- |
| DESCRIPTION | Appointment of a Service Provider for a once-off servicing fire suppression system at SITA Pretoria buildings namely Centurion, Beta and Numerus including maintenance and support for a period of three (3) years. |
| LINK FOR SUBMISSION | https://ww1.gcommerce.gov.za/iss/login.aspx |
| COMPULSORY SITE VISIT | Date: 21 October 2021 Time: 09:00am SITA Centurion John Vorster Drive, Centurion, Pretoria |
| CLOSING DATE FOR QUESTIONS / QUERIES | 28 October 2021 |
| RFB CLOSING DETAILS | DATE: 05 November 2021 TIME: 11:00 (SOUTH AFRICAN TIME) https://ww1.gcommerce.gov.za/iss/login.aspx |
| RFB VALIDITY PERIOD | 120 DAYS FROM THE CLOSING DATE |

- Notes to the bidders:

- Bidders should submit their bid responses strictly through gCommerce (best experienced through google Chrome) using the following link:  https://ww1.gcommerce.gov.za/iss/login.aspx

- You must ensure that you are registered on the CSD and that all your company details have been updated on the CSD.

- To obtain log in details please call 012 482 2373 or alternatively send an email to (gCommerce resource) with the company MAAA number.

- If you encounter any system problems please call 012 482 2373 or email naledim@intenda.za.com or warrens@intenda.za.com . The help desk only operates from Monday to Friday between 08h00 am to 16h00 pm (closed on Public Holidays)

- gCommerce training will be conducted on Microsoft Teams every Wednesday (except public holidays) Click here to join the meeting

- Please allocate sufficient time to complete your submission as queries may take up to 3 business days to resolve.

- Ensure that you print your submission report and click on “SUBMIT REQUEST” on step 7 before the closing date and time.

- Please note that there is a possibility of unexpected downtime and this can be unique to a specific bidder. Please call the helpdesk to be assisted with such issues.

- Please note on step number 5 on the portal the total price must be inclusive of VAT.

Hand delivered or emailed documents will not be accepted.

# Contents

Annex A:

ANNEX A INTRODUCTION	3

1.	PURPOSE AND BACKGROUND	3

1.1.	PURPOSE	3

1.2.	BACKGROUND	3

2.	SCOPE OF BID	3

2.1.	HIGH LEVEL SCOPE OF WORK	3

2.2.	DELIVERY ADDRESS	4

3.	BID EVALUATION STAGES	4

ANNEX A.1 ADMINISTRATIVE PRE-QUALIFICATION	5

4.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	5

4.1.	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION	5

4.2.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	5

ANNEX A.2 TECHNICAL MANDATORY REQUIREMENTS	6

5.	TECHNICAL MANDATORY	6

5.1.	INSTRUCTION AND EVALUATION CRITERIA	6

5.2.	TECHNICAL MANDATORY REQUIREMENTS	6

5.3.	DECLARATION OF COMPLIANCE	7

ANNEX A.3 SPECIAL CONDITIONS OF CONTRACT (SCC)	8

6.	SPECIAL CONDITIONS OF CONTRACT	8

6.1.	INSTRUCTION	8

6.2.	SPECIAL CONDITIONS OF CONTRACT	8

6.3.	DECLARATION OF ACCEPTANCE	19

ANNEX A.4 COSTING AND PRICING	20

7.	COSTING AND PRICING	20

7.1.	COSTING AND PRICING EVALUATION	20

7.2.	COSTING AND PRICING CONDITIONS	20

7.3.	BID PRICING SCHEDULE	20

7.4.	DECLARATION OF ACCEPTANCE	21

ANNEX A.5  Terms and definitions	22

8.	ABBREVIATIONS	22

ANNEX B BIDDER SUBSTANTIATING EVIDENCE	23

9.	MANDATORY REQUIREMENT EVIDENCE	23

9.1.	BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS	23

9.2.	REGISTRATION AS A FIRE DETECTION SERVICEMAN OR FIRE DETECTION COMMISSIONER	23

9.3.	BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS	23

ANNEX A INTRODUCTION

# PURPOSE AND BACKGROUND

## PURPOSE

The purpose of this request is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids to appoint a service provider for a once off service of the fire suppression systems and a 3 years maintenance contract at SITA Pretoria buildings namely Centurion, Beta and Numerus.

## BACKGROUND

The three SITA data Centres in Pretoria are the largest of all the SITA Data Centres and most of the data processing and printing takes place at these centres.  Some of the network switching Centres is also located at these sites. It is of utmost importance that the current detection and suppression system is serviced by a professional supplier and that must include a 3 years maintenance contract so that the systems can be properly maintained to serve its purpose. SITA have Service level agreements with all Government Departments.  In the case of a major fire disaster at any of these buildings will have catastrophic consequences for the Country and SITA will not be able to deliver essential services to the public of South Africa.  All 3 of the Data Centres have been classified as National Key points.

# SCOPE OF BID

## HIGH LEVEL SCOPE OF WORK

- The bidder must service Automatic Fire Suppression System to include the following:

- Hydro testing of cylinders and certification

- Electrical Actuator- UL Bridge rectifier and Placement Switch

- Sapphire Container valve reconditioning

- Decanting Novec1230 agent

- Novec1230 agent Decanting lost

- Transport Collecting and delivering

- Dismantling of Cylinders.

- Refitting of cylinders and connecting brackets

- Room Integrity Test

- The bidder must maintain the Automatic Fire Suppression System (in accordance with SANS 10139; SANS 10142-1; SANS 50054/EN 54; BS5839; SANS 246; SANS 14520/ISO 14520 SANS 52094/EN 12094 as amended.)

- Hydrotesting of cylinders and certification

- Electrical Actuator- UL Bridge rectifier and Placement Switch

- Sapphire Container valve reconditioning

- Decanting Novec1230 agent

- Novec1230 agent Decanting lost

- Transport Collecting and delivering

- Dismantling of Cylinders.

- Refitting of cylinders and connecting brackets

- Room Integrity Test

## DELIVERY ADDRESS

- The services must be provided at the following physical addresses

| No | Site Name | Physical Address |
| --- | --- | --- |
| 1 | Centurion Data Centre | John Vorster Drive, Centurion, Pretoria |
| 2 | Numerus Data Centre | 35 Hamilton Street, Pretoria |
| 3 | Beta Data Centre | 222 Johannes Ramokhoase, Pretoria |

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

| Stage | Description | Applicable for this bid |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | YES |
| Stage 2A | Technical Mandatory requirement evaluation | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price / B-BBEE evaluation | YES |

ANNEX A.1 ADMINISTRATIVE PRE-QUALIFICATION

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION

- The bidder must comply with ALL of the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to –

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

- Submission of bid response: The bidder has submitted a bid response documentation pack –

    - that was completed and uploaded on the GCommerce system within the stipulated date and time as specified in the “Invitation to Bid” cover page.

- Attendance of briefing session: A Non-Compulsory virtual Briefing session will be held. The bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. The attendance of the briefing session is not compulsory.

Registered Supplier. The bidder is, in terms of National Treasury Instruction Note 3 of 2016/17, registered as a Supplier on National Treasury Central Supplier Database (CSD).

ANNEX A.2 TECHNICAL MANDATORY REQUIREMENTS

# TECHNICAL MANDATORY

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 5.2 by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLY”.

- The bidder must complete the declaration of compliance as per section 5.3 below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| REQUIREMENTS TECHNICAL MANDATORY | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS The bidder must be registered with the Fire Detection Installer Association (FDIA) OR Fire Protection Association of South Africa (FPASA). | Attach to ANNEX B a copy of a valid certificate as proof of registration with the Fire Detection Installer Association (FDIA) OR Fire Protection Association of South Africa (FPASA)to provide fire suppression system servicing and maintenance. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 9.1> |
| - REGISTRATION AS A FIRE DETECTION SERVICEMAN OR FIRE DETECTION COMMISSIONER: All Authorised persons working on Fire Detection Systems or Gas Extinguishing Systems, as well as those manufacturing or servicing firefighting equipment must be registered with the SAQCC Fire. (The registration of authorised persons is a legal requirement of the Department of Labour to enable compliance with the OSHA act) | Attach to Annexure B a copy of the Authorised person’s Registration Card as Gas Suppression Commissioner, as issued by the SAQCC Fire. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 9.2> |
| - BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS The bidder must have provided at least one (1) Fire suppression servicing and maintenance contract in the past four (4) years. within a high availability site. | Provide a reference from at least one (1) customer to whom fire suppression system servicing and maintenance was delivered. NB: SITA reserves the right to verify information provided | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 9.3, table 1> |

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 5.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

ANNEX A.3 SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

- In the event that the bidder qualifies the proposal with own conditions, and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 6.1 (2) above.

- The bidder must complete the declaration of acceptance as per section 6.3 below by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Supplier must enter into a formal written Contract (Agreement) with SITA.

  - Right of Award. SITA reserves the right to award the contract for required goods or services to multiple Suppliers.

  - Right to Audit. SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- DELIVERY ADDRESS. The services must be provided at the following physical addresses

  - Centurion Data Centre: John Vorster Drive, Centurion, Pretoria.

  - Numerus Data Centre: 35 Hamilton Street, Pretoria.

  - Beta Data Centre: 222 Johannes Ramokhoase Street, Pretoria.

- CERTIFICATION, EXPERTISE AND QUALIFICATION

  - The Supplier represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

    - it is committed to provide the Products or Services; and

    - perform all obligations detailed herein without any interruption to the Customer.

  - The Supplier must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services;

  - The Supplier must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Statement of Work or Service Definition;

  - Electrical Work. The Supplier must ensure that Electrical Work is performed as prescribed by the Occupation Health and Safety Act (Act 85 of 1993 as amended), Electrical Regulations 2009, including,

    - The standard of work conforms to SABS SANS 10142-1: The code of practice for wiring of premises; and

  - Mechanical Work. The Supplier must ensure that Mechanical Work is performed as prescribed by the Occupation Health and Safety Act (Act 85 of 1993

    - The standard of work conforms to SABS SANS 10147:2014

    - Any installation or alteration is certified after completion of work by means of a Certificate of Compliance.

- LOGISTICAL CONDITIONS

- In the event that SITA grants the Supplier permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

REGULATORY, QUALITY AND STANDARDS

  - The contractor must adhere to the provisions within the following minimum Standards and Acts during the full period of this contract. It is taken that the contractor is familiar and conversant with these Standards and Acts.

  - The Supplier must for the duration of the contract ensure compliance with ISO/IEC Quality Standards. General Quality Standards, ISO27001, and Protection of Personal Information Act (POPIA).

  - Occupational Health and Safety Act, inclusive of the Regulations contained within this Act, with specific reference to the Lead Regulations, Environmental Regulations, Driven Machinery Regulations, Electrical Machinery Regulations, Electrical Installation Regulations and SANS 10142, and Pressure Equipment Regulations.

  - IEC 61439-1: Low-voltage switchgear and control gear assemblies.

    - Points Act 1980 as National Key amended.

    - Environmental Conservation Act 1989 as amended.

    - SITA’s Health and Safety Policy.

    - SITA’s site access and security policy.

    - SITA’s Change Control Policy.

    - SANS 1910

    - SANS 1475-1

    - SANS 1475-2

    - SANS 10105-1

    - SANS 543

    - SANS 10139:2012

    - SANS 50054

    - SABS/ISO 14520

    - SANS 14001

PERSONNEL SECURITY CLEARANCE

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation;

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

    - Copy of identity document;

    - Copy(ies) of qualification(s) if SITA requires verification thereof;

    - Fingerprints – will be taken electronically;

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by the SSA or DI. The following documentation will be required for the security clearance process:

    - Completed Z204 or DD1057 security clearance application form;

    - Fingerprints;

    - Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

    - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

GUARANTEE AND WARRANTIES

- The Supplier warrants that:

  - The warranty of goods supplied under this contract remains valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract;

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) hours after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period at no expense to SITA;

  - the Product or solution possesses all material functions and features required for SITA’s Operational Requirements;

  - the Service is continued during the term of the Contract;

  - all third-party warranties that the Supplier receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third party suppliers or sub-contractors that have a material adverse effect on the Supplier’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract;

  - any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party;

  - the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

  - any misrepresentation by the Supplier amounts to a breach of Contract.

INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

    - The date of rendering of the last of the Deliverables.

  - If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

HIGH LEVEL SCOPE OF WORK

- The bidder must service Automatic Fire Suppression System to include the following:

- Hydrotesting of cylinders and certification

- Electrical Actuator- UL Bridge rectifier and Placement Switch

- Sapphire Container valve reconditioning

- Decanting Novec1230 agent

- Novec1230 agent Decanting lost

- Transport Collecting and delivering

- Dismantling of Cylinders.

- Refitting of cylinders and connecting brackets

- Room Integrity Test

- The bidder must maintain the Automatic Fire Suppression System (in accordance with SANS 10139; SANS 10142-1; SANS 50054/EN 54; BS5839; SANS 246; SANS 14520/ISO 14520 SANS 52094/EN 12094 as amended.)

- Hydrotesting of cylinders and certification.

- Electrical Actuator- UL Bridge rectifier and Placement Switch.

- Sapphire Container valve reconditioning.

- Decanting Novec1230 agent.

- Novec1230 agent Decanting lost.

- Transport Collecting and delivering.

- Dismantling of Cylinders.

- Refitting of cylinders and connecting brackets.

- Room Integrity Test.

BIDDERS RESPONSIBILITIES

- The bidder will be responsible for at least one site inspection per week. (a register to be signed at security)

- The bidder must carry adequate extinguishing medium (Novec 1230) or must be contracted to refill the largest zone in Sita’s environment. As part of the responsibilities the following should be done :

- The bidder will be held liable for cost or refill charges in case of any accidental discharge of extinguishing medium due to negligence on the bidder’s part.

- The bidder must do a quarterly service and maintenance as per SANS 10139; SANS 10142-1; SANS 50054/EN 54; BS5839; SANS 246; SANS 14520/ISO 14520 SANS 52094/EN 12094 as amended.

- The bidder must respond within 3 hours after a call has been logged.

- The bidder must supply a 24hour call-out service (weekends and public holidays included).

- The bidders must attend a mandatory site inspection of all 3 sites.

- The bidder must provide training to SITA security personnel on how to conduct daily and weekly routine checks. (12 personnel on the 3 sites).

SKILLS TRANSFER AND TRAINING RELATED REQUIREMENTS

  - The contractor must ensure that the SITA technical staff receives the required training to ensure the safe operation of the new equipment.

  - The training provided must explain the root cause and possible solutions to all the alarm events that can be encountered on the new equipment.

  - Training must be provided to ensure that SITA technical staff is conversant with the safe operation of the equipment and conversant in the interpretation of all alarm conditions.

  - The contractor must provide the required training manual to the SITA technical staff.

HUMAN RESOURCES

  - The Contractor must be responsible for its staff and they must be equipped with adequate individual safety equipment and personal protective equipment when executing the task.

  - The Contractor must ensure the skill sets of its staff. Personnel must be well trained with adequate knowledge, highly skilled, be in possession of the relevant trade certificate, and equipped with all necessary tools and testing facilities to ensure correct and professional operation on all equipment and works to comply with this Scope of Work. The staff must have minimum ten years of experience on complex, large electrical distribution systems within Data Centres (or similar high availability environments).

  - Contractor staff that does not meet the above requirements will not be allowed to perform work on this contract and will not be allowed on site. Where the impact is such that the required services cannot be rendered to SITA as required in this document, the contract will be terminated by SITA.

ORIGINAL EQUIPMENT MANUFACTURER SUPPORT

  - It is a requirement that the successful contractor has signed support agreements with the Original Equipment Manufacturers (OEM) or Specialist Contractors for the various high speciality devices such as Change Over Switches.

  - The scope of the support agreement will be such that the OEM or Specialist Contractor will attend to a callout and adhere to the specified SITA Service Level Agreements, where the contractor is unable to resolve the root cause himself or to restore the faulty plant to an operational state within the specified SITA Service Level timelines. The services rendered by these parties will be based on the quoted unit rates.

  - The contractor will submit these signed support contracts to SITA within two weeks of contract signature (unless SITA agrees to an alternative timeframe).

FIRE SUPPRESSION AND FIRE DETECTION SYSTEMS

  - The contractor must take care during his operations not to activate and discharge the automatic fire suppression system. SITA will place the automatic fire suppression system into Manual mode during the contractor’s work on site, should he request SITA to do so. Should the contractor or his sub-contractor(s) manage to activate and discharge the automatic fire suppression system, the refill of the suppression gas / agent shall be for the contractor’s account.

  - The contractor must take care during his operations not to activate the fire detection system and cause an alarm on the fire panel. Should the contractor or his sub-contractor(s) manage to activate the fire detection system and in the process cause an alarm on the fire panel, the callout cost for the fire detection contractor to reset the panel and the air conditioning contractor to restart the air conditioning units shall be for the contractor’s account.

SITA CHANGE CONTROL

  - The contractor must not undertake any work inside a distribution board or any of the major electrical plant components or switch off any power on a distribution board any of the major electrical plant components without an approved SITA change request.

  - The dates for the Change Control requests will depend on SITA suitability. A number of factors influence the Change Control request dates, and could be amongst other reasons other high impact SITA Change request work having a higher priority, SITA client approval, anticipated Grid power interruptions, and freeze periods.

  - Change Control requests will not be considered where testing or high-risk work is to be executed during the same time window at the three scoped sites (Numerus, Beta, and Erasmuskloof). High risk work or testing should thus be staggered over the three sites.

  - Change control windows for Battery maintenance will be allocated for normal time (during the week).

  - Change control windows for Battery Performance test will only be allocated for Sunday hours.

  - Change control windows for UPS unit services will only be allocated for Sunday hours.

  - Change control windows for distribution board services will only be allocated for Sunday hours.

LOSSES

  - The contractor shall be held responsible for any losses caused to SITA due to the contractor’s or his sub contractor’s actions or absence of actions. Damages shall be recovered from outstanding money’s owed to the contractor. Where outstanding moneys are not sufficient to cover the full loss experienced by SITA, the contractor shall be invoiced for the outstanding moneys.

  - Losses to SITA shall be determined and be assigned to the maintenance contractor where the balance of probability is more than 50% that the failure or incident was caused by the maintenance contractor’s actions or absence of action.

  - Examples of losses caused to SITA that shall be recovered from the Contract, could include:

    - Fire suppression system triggered by the actions of the contractor and subsequent a fruitless discharge of gas is resulted.

    - Work is being performed by the contractor inside the SITA Data Centre environment and intentionally or unintentionally Network cabling are damaged which causes Network Traffic loss.

    - Damage to SITA’s property during the execution of work.

  - The contractor must have the required insurance cover in place within two weeks from contract commencement and of sufficient value to cover these types of incidences. SITA shall not interact with the maintenance contractor’s underwriter and shall deduct moneys directly as indicated above.

AS BUILT RECORDS

  - SITA has no As Built records available of the existing fire suppression and detection system.

FINANCIALS

  - Should SITA not be satisfied with the quality of the work performed by the contractor, SITA has the right to reject the work. The Contractor must then redo the work to SITA’s satisfaction at his own cost. No invoices for work under this contract must be submitted to SITA without a QA acceptance, and Certificate of Compliance (where applicable) for the work done. No invoices shall be processed by SITA without a QA acceptance.

  - All works executed against this contract shall be invoiced within thirty days of completion. Late invoices shall not be accepted or paid by SITA.

OCCUPATIONAL HEALTH AND SAFETY

  - The contractor must provide within one month of contract commencement all his technical staff used on the SITA contract’s Occupational Health and Safety Training Certificates.

  - The contractor must provide within one week of contract commencement the details of his occupational health and safety representative for this contract.

  - The contractor must submit a Health and Safety plan to SITA covering the full scope of work under this document for approval within three weeks after signature of the contract. Any changes and or improvements as requested by SITA must be resubmitted within two weeks.

  - A document and agreement as described under Section 37.2 of the Occupational Health and Safety Act must be signed with SITA within two weeks after signature of the contract.

  - The safety of SITA personnel and visitors to SITA premises must be placed first, at all times and great care must be taken not to damage any infrastructure or equipment.

  - Provision of Employees Protective Wear:  The contractor must at all times uphold OHS standards and this include provision of protective wear like Overalls, Electrical gloves, safety shoes, safety goggles, protective helmets etc. to employees deployed at SITA sites.

RATE OF EXCHANGE CONDITIONS

  - SITA reserves the right to use the prevailing exchange rate as at the time of the procurement of the goods. The parties agree that, at the time of the order, the Service Provider will procure an agreed forward exchange contract for the foreign content of the applicable order. Suppliers are expected to take forward cover to cover the foreign exchange risk upon receipt of the order by SITA.

  - The Parties agree that the Standard Bank e-Market trader spot rate of the day will be applicable at the time of issuing the order.

  - Price exchanges due to the fluctuation in the foreign exchange rates will only be applicable to items that are imported from a foreign country. The specific items need to be stipulated/itemized by the supplier.

  - There will be no margins charged relating to the change in price due to the change in foreign exchange.

  - Inflationary adjustments will not be applicable to items linked to foreign exchange movements.

  - Items linked to foreign exchange movements will be linked to the country to which the foreign exchange currency applies.

CONTRACTOR TECHNICAL CONTRACT MANAGER

  - The contractor’s technical contract manager / technical contract coordinator / project manager must be familiar with project management principles, work within high availability environments, and fully conversant with the technical nature of the scope of work under this project/contract.

  - The contractor will submit the details of the contractor’s proposed competent technical contract manager / technical contract coordinator / project manager, within 48 hours after the acceptance of the letter of award, for SITA’s approval.

  - SITA has the right to request an alternative technical contract manager / technical contract coordinator / project manager. The contractor will then resubmit the details of an alternative competent technical contract manager / technical contract coordinator / project manager, within 48 hours after SITA’s request to do so, for SITA’s approval.

  - Should SITA request the contractor to replace the contract manager / technical contract coordinator / project manager during the course of the project / contract with an alternative competent contract manager / technical contract coordinator / project manager for whatever reason, the contractor will do so within 48 hours of SITA’s request.

  - The assignment of an alternative technical contract manager / technical contract coordinator / project manager, or the replacement of a technical contract manager / technical contract coordinator / project manager will have no cost implication to SITA.

CONTRACT TERMINATION

  - This contract will automatically terminate upon either the lapse of the contract duration or exhaustion of the contract/budget amount.

- SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Special Condition of Contract as specified in section 6.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The bidder declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 6.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by bidder: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

ANNEX A.4 COSTING AND PRICING

# COSTING AND PRICING

## COSTING AND PRICING EVALUATION

- In terms of Preferential Procurement Policy Framework Act (PPPFA), the following preference point system is applicable to all Bids:

  - The 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - The 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- This bid will be evaluated using the preferential point system of 80/20, subject to the following conditions –

  - If the lowest acceptable bid price is up to and including R50 000 000 (all applicable taxes included) then the 80/20 preferential point system will apply to all acceptable bids; or

  - If the lowest acceptable bid price is above R50 000 000 (all applicable taxes included) then the 90/10 preferential point system will apply to all acceptable bids;

- The bidder must complete the declaration of acceptance as per section 8.3 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

- Bidder will be bound by he following general costing and pricing conditions will bind bidder and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions. These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

## COSTING AND PRICING CONDITIONS

- SOUTH AFRICAN PRICING

- The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

## BID PRICING SCHEDULE

- Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission on the GCommerce system.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 7.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 7.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

ANNEX A.5  Terms and definitions

# ABBREVIATIONS

CAD		Computer Aided Design

CD		Compact Disc

Excl.		Excluding

Hz		Hertz

ICT		Information and Communication Technology

Incl.		Including

OEM		Original Equipment   Manufacturer

PPPFA	Preferential Procurement Policy Framework Act

SABS		South African Bureau of Standards

SANS		South African National Standards

SITA		State Information Technology Agency

SLA		Service Level Agreement

FDIA             Fire Detection Installer Association

FPASA         Fire Protection Association of South Africa

SAQCC         South African Qualification & Certification Committee

REMRAD	Remote Radio System

ANNEX B BIDDER SUBSTANTIATING EVIDENCE

# MANDATORY REQUIREMENT EVIDENCE

## BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS

Attach a copy of a valid certificate as proof of registration to provide fire suppression system servicing and maintenance with the Fire Detection Installer Association (FDIA) OR Fire Protection Association of South Africa (FPASA) here.

## REGISTRATION AS A FIRE DETECTION SERVICEMAN OR FIRE DETECTION COMMISSIONER

Attach a copy of the Authorised person’s Registration Card as Gas Suppression Commissioner, as issued by the SAQCC Fire here.

## BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

  - The Bidder must provide a reference from at least one (1) customer to whom fire suppression system servicing and maintenance was delivered.

  - Project end-date must be in the past four (4) years within a high availability site.

  - Scope of work must be related.

Table 1: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide reference details from a customer to whom a project for fire suppression system servicing and maintenance was delivered.> | Start Date: End Date: |