REQUEST FOR A PANEL FOR PERFORMANCE EVALUATION, SUPPLY AND DELIVERY OF CHEMICAL COAGULANTS AND SPECIALIZED HANDLING EQUIPMENT FOR WATER AND WASTEWATER TREATMENT WORKS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

CONTRACT NO: UGU-07-1659-2024

| NAME OF BIDDER: |  |
| --- | --- |
| CONTACT PERSON: |  |
| TELEPHONE Nº: |  |
| FAX Nº /EMAIL ADD.: |  |
| ADDRESS: |  |
| BID SUM: |  |

BID CLOSES: 12H00 ON FRIDAY, 22 MARCH 2024

Note:  This bid document must NOT be separated.

Annexures are to be attached to the back of the document.

Table of Contents

Bid Notice	4

UDM / MBD 1	6

UDM /MBD 4	8

UDM/ MBD 6.1	11

UDM/MBD 7.2	17

UDM/MBD 7.2	18

CERTIFICATE FOR PAYMENT OF MUNICIPAL SERVICES	19

COPY OF THE LATEST MUNICIPAL ACCOUNT OR AFFIDAVIT OR LEASE AGREEMENT	21

A.	OFFER……………………………………………………………………………………………………………………………………….22

B.	ACCEPTANCE	23

CONDITIONS OF CONTRACT…………………………………………………………………………………………………………….24

TERMS OF REFERENCE/SPECIFICATION	27

PRICING SCHEDULE…………………………………………………………………………………………………………………………..37

CK DOCUMENT/ID DOCUMENT ………………………………………………………………………………………………………..42

TAX REFERENCE NUMBER AND PIN ………………………………………………………………………………………………….43

JOINT VENTURE AGREEMENT (WHERE APPLICABLE)…………………………………………………………………………44

CERTIFIED VALID BBBEE CERTIFICATE……………………………………………………………………………………………….45

CENTRAL SUPPLIER DATABASE REGISTRATION………………………………………………………………………………...46

SPECIFIC GOALS SUPPORTING DOCUMENTS…………………………………………………………………………………….47

ISO 9001 CERTIFICATION OF MANUFACTURER/SUPPLIER (IN THE NAME OF THE BIDDER)……………….48

CERTIFIED QUALITY MANAGEMENT SYSTEM CERTIFICATE (ISO14001)…………………………………………….49

NSF/ANSI 60 CERTIFICATION OF COAGULANTS/FLOCCULANTS……………………………………………………….50

CERTIFIED QUALITY CONTROL LABORATORY CERTIFICATE:  SANAS ACCREDATION	51

PRE-TENDER PROCESS ATTENDANCE AND RESULTS…………………………………………………………………………52

EXPERIENCE…………..………………………………………………………………………………………………………………………...53

QUALIFICATIONS OF TECHNICAL DIRECTOR AND CHEMIST………………………………………………………………54

EXPERIENCE OF SALES MANAGER…………….……………………………..……………………………………………………….55

PRODUCT PERFORMANCE ASSESSMENT REPORT……………………………………………………………………………..56

# Bid Notice

REQUEST FOR A PANEL FOR PERFORMANCE EVALUATION, SUPPLY AND DELIVERY OF CHEMICAL COAGULANTS AND SPECIALIZED HANDLING EQUIPMENT FOR WATER AND WASTEWATER TREATMENT WORKS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

Contract Ugu-07-1659-2024

Ugu District Municipality invites bids from relevant service providers to be part of a panel of service providers for the supply and delivery of chemical coagulant for water and wastewater treatment for a period of 36 months.

Bid documents are obtainable from the Ugu District Municipality office in Port Shepstone at No. 28 Connor Street as from Thursday,          22 February 2024, at a non-refundable payment of R250.00 (No cheques will be accepted). The bid will also be advertised on the municipality’s website and documents can be downloaded from the website, free of charge.

Bids completed in accordance with the conditions indicated in documents, must be sealed and endorsed with the relevant contract number and be deposited in the official tender box at the foyer of Ugu District Municipality on 96 Marine Drive, Phase 2 Building, Oslo Beach not later than 12h00 on Friday, 22 March 2024, at which time bids will be opened in public. Bids that are submitted late, incomplete, unsigned or by facsimile, electronically, couriered or not completed in black ink will be rejected and not accepted for further evaluation.

Bids submitted must be valid for a period of 90  days.

A compulsory clarification meeting with representatives of the employer will take place at Ugu District Municipality Offices, 96 Marine Drive, Oslo Beach, Port Shepstone, Phase 2 Parking Lot on 01 March 2024 starting at 10H00 and a site visit to the treatment works is scheduled under the specification section of the tender documents, bidders who fail to attend this compulsory meeting will not be considered for further evaluation.

All queries must be directed to Sanele Tenza or Suran Gunpath at  Sanele.Tenza@ugu.co.za or Suran.Gunpath.ugu.co.za.

Functionality, Price, and Preference will be used for evaluation.

Minimum points of 70% must be obtained for eligibility. Bids scoring less than 70% will not be evaluated further. The following, will form criteria utilised for functionality assessment:

| - Experience of the bidder | 20 points |
| --- | --- |
| - Relevant Qualifications of Personnel | 15 points |
| - Experience of Sales Manager | 5 points |
| - Products Performance Evaluation | 15 points |
| - Chemical Manufacturing Facility Management System | 15 points |

Ugu District Municipality subscribes to the Preferential Procurement Regulations 2022, pertaining to the Preferential Procurement Policy Framework Act (PPPFA) principles whereby a bidder’s submission will be evaluated according to the sum of the award of points in respect of the tender value and Specific Goals.

Price and Preference will be used for evaluation. The 80/20 preferential point system will be applicable, with 80 points for price and 20 points for Specific Goals (See below table), in terms of revised Preferential Procurement Regulation in effect from 16 January 2023 Gazette Notice No. 47452 dated 04 November 2022.

Points to be allocated as follows:

|  | Categories | Weight | 80¦20 |
| --- | --- | --- | --- |
| 1 | Ownership | 60% | 12 |
| 2 | Reconstruction & Development Programme | 30% | 6 |
| 3 | Other Specific Goals- | 10% | 2 |
|  |  | 100% | 20 |
| # | Specific Goal(s) | Weight | 80¦20 PP |
|  | Ownership Categories : |  |  |
| 1 | Broad Based Black Economic Empowerment: |  |  |
|  | 1. BBBEE Level 1 | 100% | 12 |
|  | 2.BBBEE Level 2 | 80% | 10 |
|  | 3. BBBEE Level 3 to 8 | 40% | 6 |
| 2 | Promotion of Local Business(s) |  |  |
|  | 1. Enterprise Located within the District Municipality - Rural | 100% | 6 |
|  | 2. Enterprise Located within the District Municipality - Urban | 67.7% | 4 |
|  | 2. Enterprise Located within the Province | 33.3% | 2 |
| 3 | Other Specified Goals |  |  |
|  | 1. Enterprise 100% owned by Youth/Women/Disabled/ Military V | 100% | 2 |

The Council reserves the right not to accept the lowest bid or any bid and reserves the right to accept the whole or part of the bid, or to reject all bids and cancel the notice to tender.

Kindly note: Regulation 44 of Municipal Supply Chain Management Regulations states that the Municipality may not make any award to a person who is in the service of the state.

VO MAZIBUKO

ACTING MUNICIPAL MANAGER

UGU DISTRICT MUNICIPALITY

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF UGU DISTRICT MUNICIPALITY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BID NUMBER: | UGU-07-1659-2024 | CLOSING DATE: | 22 MARCH 2024 | CLOSING TIME: | 12H00 |
| DESCRIPTION | PERFORMANCE EVALUATION, SUPPLY AND DELIVERY OF CHEMICAL COAGULANTS AND SPECIALIZED HANDLING EQUIPMENT FOR WATER AND WASTEWATER TREATMENT WORKS FOR A PERIOD OF THIRTY-SIX (36) MONTHS |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |

MBD    1

BD 1

BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX

SITUATED AT (STREET ADDRESS 	_____

| UGU DISTRICT MUNICIPALITY |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 93 MARINE DRIVE |  |  |  |  |  |  |  |  |
| PHASE 2 BUILDING |  |  |  |  |  |  |  |  |
| OSLO BEACH - BRIEFING SESSION/SITE INSPECTION |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER | CODE |  |  |  | NUMBER |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER | CODE |  |  |  | NUMBER |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS | TCS PIN: |  |  | OR | CSD No: |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] | Yes No |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  | Yes No |  |  |
| ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS ISERVICES IWORKS OFFERED? | Yes No [IF YES ENCLOSE PROOF] |  |  | ARE YOU FOREIGN BASED SUPPLIER FOR THE GOODS ISERVICES IWORKS OFFERED? |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |
| TOTAL NUMBER OF ITEMS OFFERED |  |  |  | TOTAL BID PRICE |  |  |  | R |
| SIGNATURE OF BIDDER | ……………………………… |  |  | DATE |  |  |  |  |
| CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |
| DEPARTMENT | SCM Unit |  | CONTACT PERSON |  |  |  | Mr S. Tenza |  |
| CONTACT PERSON | Ms N Mabaso |  | TELEPHONE NUMBER |  |  |  | 039-688 5700 |  |
| TELEPHONE NUMBER | 039-688 5906 |  | FACSIMILE NUMBER |  |  |  | N/A |  |
| FACSIMILE NUMBER | N/A |  | E-MAIL ADDRESS |  |  |  | Sanele.Tenza@ugu.gov.za |  |
| E-MAIL ADDRESS | Ntabiso.Mzotho@ugu.gov.za |  |  |  |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

1. BID SUBMISSION:

1.1. BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. 1.2. ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED-(NOT TO BE RE-TYPED) 1.3. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

2. TAX COMPLIANCE REQUIREMENTS

2.1 BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS AND ARE REQUIRED TO SUBMIT VALID TAX CLEARANCE CERTIFICATE. 2.2 IN BIDS WHERE CONSORTIA I JOINT VENTURES I SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:                                                              …………………………………………… CAPACITY UNDER WHICH THIS BID IS SIGNED:                       …………………………………………… DATE:                                                                                              …………………………………………...

Please attach copies of the following documents. Failure to provide the following duly completed and up to date documents and certified where applicable will lead to automatic disqualification.

- Company registration documents.

- Tax Reference Number and Pin

- All Declarations Forms

- ID Document (for sole proprietors)

- Joint Venture Agreement (where applicable)

- Proof of payment for Municipal Services

- Central Supplier Database Registration

- ISO 9001 Certification of manufacturer/ supplier- in the name of Bidder

- NSF/ ANSI 60 Certification of Coagulants/ Flocculants

- Certified Quality Managements System Certificate (ISO14001)

- Certified Quality Control Laboratory Certificate – SANAS Accreditation

- Pre-Tender process attendance & results attached.

- Form of Offer

- Pricing Schedule

SBD 4

- BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

  - Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest1 in the enterprise, employed by the state?	YES/NO

    - If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

  - Do you, or any person connected with the bidder, have a relationship

1 the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

with any person who is employed by the procuring institution? YES/NO

    - If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

  - Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?	YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I,               the               undersigned, (name)	in

submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

  - I have read and I understand the contents of this disclosure;

  - I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

  - The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium2 will not be construed as collusive bidding.

  - In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

  - The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

  - There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring

2 Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

……………………………………      ………………………………

Signature		Date

………………………………….        ………………………………

Position                                                     Name of Bidder

MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited. It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE  COMPLETING  THIS  FORM,  TENDERS  MUST  STUDY  THE  GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS,

2022.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 90/10 preference point system.

- The applicable preference point system for this tender is the 80/20 preference point system.

- Either the 90/10 or 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (90/10 system) (To be completed by the organ of state) PART A¦B | Number of points allocated (80/20 system) (To be completed by the organ of state) PART A¦B | Number of points claimed (90/10 system) (To be completed by the tenderer) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- | --- |
| Ownership: |  |  |  |  |
| BBBEE Level 1 | 10¦12 | 5¦6 |  |  |
| BBBEE Level 2 | 8¦10 | 4¦5 |  |  |
| BBBEE Level 3-8 | 4¦6 | 2¦3 |  |  |
| Empowerment |  |  |  |  |
| 1. an EME or QSE which is at least 100% owned by black people; | 4¦0 | 2¦0 |  |  |
| 2. an EME or QSE which is at least 51% owned by black people; | 2¦0 | 1¦0 |  |  |
| 3. an EME or QSE which is at 25% - 50% owned by black people; | 1¦0 | 0.5¦0 |  |  |
| RDP |  |  |  |  |
| 1. Enterprise Located within the District Municipality - Rural | 4¦6 | 2¦3 |  |  |
| 2. Enterprise Located within the District Municipality - Urban | 3¦4 | 1.5¦2 |  |  |
| 2. Enterprise Located within the Province | 1¦2 | 0.5¦1 |  |  |
| Other Specific Goal |  |  |  |  |
| 1. Enterprise 100% owned by Youth/Women/Disabled/ Military V | 2 | 1 |  |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

(i)

MBD 7.2

CONTRACT FORM · RENDERING OF SERVICES

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SERVICE PROVIDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SERVICE PROVIDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

PART 1 (TO BE FILLED IN BY THE SERVICE PROVIDER)

1.	I hereby undertake to render services described in the attached bidding documents to (name of the institution) ............... in accordance with the requirements and task directives I proposals specifications stipulated in Bid Number.......... at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the Purchaser during the validity period indicated and calculated from the closing date of the bid.

2.	The following documents shall be deemed to form and be read and construed as part of this agreement:

(i)       Bidding documents, viz

-         Invitation to bid;

-         Tax clearance certificate;

-         Pricing schedule(s);

-         Filled in task directive proposal;

-      Preference claims for Specific Goal(s) Contribution in terms of the Preferential Procurement Regulations 2022;

-         Declaration of interest.

-         Declaration of Bidder's past SCM practices;

-         Certificate of Independent Bid Determination;

-         Special Conditions of Contract; (ii)      General Conditions of Contract; and (iii)      Other (specify)

3.	I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the services specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

4.	I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

5.	I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

6.       I confirm that I am duly authorized to sign this contract.

NAME (PRINT):............... CAPACITY: ................... SIGNATURE    : ................ NAME OF FIRM: ................ DATE: ..................

WITNESSES

1   ...............

2   ...............

DATE:............

CONTRACT FORM · RENDERING OF SERVICES

PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I..................in my capacity I in my capacity as

……………………………………accept your bid under reference number……………………………………………………………………………….

dated ................for the rendering of services indicated hereunder and/or further specified in the annexure(s).

2.       An official order indicating service delivery instructions is forthcoming.

3.	I undertake to make payment for the services rendered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice.

| DESCRIPTION OF SERVICE | PRICE (ALL APPLICABLE TAXES INCLUDED) | COMPLETION DATE | SPECIFIC GOAL LEVEL OF CONTRIBUTION | MINIMUM THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable) |
| --- | --- | --- | --- | --- |

4.       I confirm that I am duly authorized to sign this contract.

SIGNED AT ............... ON      ..............

WITNESSES

| NAME (PRINT) | ................. |
| --- | --- |
| SIGNATURE | ................ |
| OFFICIAL STAMP |  |

1   ............

2   ............

# CERTIFICATE FOR PAYMENT OF MUNICIPAL SERVICES

DECLARATION IN TERMS OF CLAUSE 112(1) OF THE MUNICIPAL FINANCE MANAGEMENT ACT (NO.56

OF 2003) - (To be signed in the presence of a Commissioner of Oaths)

*FAILURE TO SUBMIT ANY PROOF AS REQUIRED, WILL INVALIDATE THE TENDER

I, _______________________________________, _________________ (full name and ID no.), hereby

acknowledge that according to SCM Regulation 38(1)(d)(i), the Municipality may reject the tender of the tenderer

if any municipal rates and taxes or municipal service charges owed by the Tenderer or any of its

directors/members/partners to Ugu District Municipality, or to any other municipality or municipal entity, are in

arrears for more than 3 (three) months.

I declare that I am duly authorised to act on behalf of __________________________________________ (name

of the firm) and hereby declare, that to the best of my personal knowledge, neither the firm nor any

director/member/partner of said firm is in arrears on any of its municipal accounts with any municipality in the

Republic of South Africa, for a period longer than 3 (three) months.

I further hereby certify that the information set out in this schedule and/or attachment(s) hereto is true and correct.

The Tenderer acknowledges that failure to properly and truthfully complete this schedule may result in the tender

being disqualified.

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Director / Shareholder / partner.....................................................................................................................................................................................................

Physical /residential address of the Director /shareholder / partner..............................................................................................................................................

Municipal Account number(s)........................................................................................................................................................................................................

Physical address of the Business..................................................................................................................................................................................................

Municipal Account number(s)................................    .............................................    .............................................    ..................................................................

.............................................			..........................................................			........................

Signature 				Position 						Date

NB:  Bidders who reside/whose businesses are situated in the rural area and are not liable for any Municipal Payment for Services MUST submit an Affidavit (SAPS) in confirmation of their declaration.

NB: Bidders who are tenants and are not liable for any Municipal Payment for Services MUST submit a valid Lease Agreement

NB: Bidders who reside/operating their businesses in a property situated in an urban/ township area that they do not own or rent MUST submit the Municipal Account for the owner and an Affidavit from the owner confirming same.

COMMISSIONER OF OATHS

Signed and sworn to before me at...................................................................., on this ..........day of ......................................2024

by the Deponent, who has acknowledged that he/she knows and understands the contents of this Affidavit, it is true and correct to the best of his/her knowledge and that he/she has no objection to taking the prescribed oath, and that the prescribed oath will be binding on his/her conscience.

COMMISSIONER OF OATHS STAMP

COMMISSIONER OF OATHS:-

Name & Surname........................................................................................

Signature.....................................................................................................

Position:	................................................................................

Address:..................................................................................

# ATTACH COPY OF THE LATEST MUNICIPAL ACCOUNT OR AFFIDAVIT OR LEASE AGREEMENT

[Failure of a Bidder to submit this will invalidate the bid]

FORM OF OFFER AND ACCEPTANCE

# A.	OFFER

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract in respect of the following works:

REQUEST FOR A PANEL FOR PERFORMANCE EVALUATION, SUPPLY AND DELIVERY OF CHEMICAL COAGULANTS AND SPECIALIZED HANDLING EQUIPMENT FOR WATER AND WASTEWATER TREATMENT WORKS FOR A PERIOD OF THIRTY-SIX (36) MONTHS

Contract Number: UGU-07-1659-2024

The Bidder, identified in the Offer Signature block below, has examined the documents listed in the Specifications and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Bid.

By the representative of the Bidder, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance, the Bidder offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the Conditions of Contract identified in the Contract Data.

The offered total of the prices inclusive of Value Added Tax is: As Per the Pricing Schedule

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document to the Tenderer before the end of the period of validity stated in the Tender Data, whereupon the Tenderer becomes the party named as the Contractor in the Conditions of Contract identified in the Contract Data.

Signature: (of person authorized to sign the bidder):…………………………………………………...........

Name: (of signatory in capitals):…………………………………………………………………………...................

Capacity: (of Signatory):…………………………………………………………………………………….....................

Name of Bidder: (organisation):……………………………………………………………………….................

Address: …………………………………………………………………………………………………................................

Telephone number: 		……………………. Fax number: ………………………………................

Witness

Signature: …………………………………………………………………………………………………

Name: (in capitals):…………………………………………...…Date:……………………………………………

[Failure of a Bidder to fully complete and sign this form will invalidate the bid]

# B.	ACCEPTANCE

By signing this part of the Form of Offer and Acceptance, the Employer identified below accepts the Tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data.  Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the contract are contained in

Part 1	Agreement, and Specifications (Agreement to be finalised after award)

Part 2	Pricing Schedule

and the schedules, forms and documents or parts thereof, which may be incorporated by reference into Parts 1 to 4 above.

Deviations from and amendments to the documents listed in the Specifications and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement. No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be duly signed by the authorised representatives of both parties.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the Tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any). Unless the Tenderer (now Service Provider) within five days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this Agreement, this Agreement shall constitute a binding contract between the parties.

Signature:..................................................................................................................................

Name: (in capitals).....................................................................................................................

Capacity:		................................................................................................................................

Name of Employer (organisation)	........................................................................................

Address: 	…………………………………………………………………………………………....................................

Witness:

Signature: .................................

Name: 		.............................................

Date: 		.............................................

CONDITIONS OF CONTRACT

- DEFINITIONS

The "Ugu District Municipality means the Ugu District Municipality

The ”Contractor" means the person or organisation whose tender is accepted by the Ugu District Municipality.

An "Order" means an official document signed by an authorised employee of Ugu District Municipality and sent by the Ugu District Municipality to the Contractor by post, e-mail or telefax instructing the Contractor to deliver a certain quantity(s) of a Particular chemical product(s) to one or both of the Ugu District Municipality's water works.

- DATE OF COMMENCEMENT

The date of commencement of the Contract will be the date started in the Ugu District Municipality's letter to the contractor accepting his/her tender for this Contractor.

- DURATION OF THE CONTRACT

The Contract will be for period of 3 years (36 months) from the Date of Commencement and will then terminate.

Whilst it is the Ugu District Municipality's intention for the Contract to run its full term 3 years, the strategic importance of the Ugu District Municipality's water and wastewater treatment works and the Ugu District Municipality's statutory obligations to correctly and efficiently operate them means that the Ugu District Municipality may deem it necessary to terminate the Contract in the event of the Contractor's performance not being entirely satisfactory.

The Ugu District Municipality reserves the right to terminate the Contract at any time after a period of 3 months has elapsed from the Date of Commencement and this would be done by the Ugu District Municipality serving 30 days written notice on the Contractor.

In the event of the Ugu District Municipality terminating the Contract at any time after 3 months has elapsed from the Date of Commencement, the Contractor will not be compensated in any way other than that payment would be made by the Ugu District Municipality for all chemical products ordered from and accepted by the Ugu District Municipality.

- ASSIGNMENT

The Contractor shall not sublet nor assign or make over this Contract without written consent of the Ugu District Municipality.

- DELIVERY

Each consignment of chemical product(s) shall be delivered on the dates prescribed by Ugu District Municipality or, if no specific date has been prescribed in the Order, within the maximum time allowed for delivery as stated in the Specification.

- TRANSFER OF OWNERSHIP AND RISK

Ownership of chemical products delivered by the Contractor shall pass to the Ugu District Municipality on payment to the Contractor by the Ugu District Municipality.

The risks associated with all chemical products supplied by the Contractor to the Ugu District Municipality shall remain with the Contractor until such time as they have been delivered to and accepted by the Ugu District Municipality.

- PATENTS AND ROYALTIES

The Contractor shall be responsible for any payment of any royalties and associated expenses and shall be liable for any claims that may arise in respect of any intellectual property rights, patent rights, trademarks, or other protected rights and shall indemnify the Ugu District Municipality against all such events.

- GUARANTEE/ WARRANTY

The Contractor warrants that all goods supplied under by this Contract are satisfactory and are fit for the purpose for which they are required.

The Contractor shall accept responsibility for delivering the correct materials on the required dates and times and shall within 3 days of receipt of notice from the Ugu District Municipality, replace any chemical product and/ or make good and restore any defects and/ or late deliveries.

If at any time, the chemical product(s) supplied and delivered by the Contractor are, in the opinion of the Ugu District Municipality, found to be ineffective and/ or to be not cost effective in the treating of water, the Ugu District Municipality reserves the right to purchase any other chemical product(s) from any Supplier.

- CONTRACT PRICE ESCALATION

As per Schedule of quantity pricing over 36 months.

- TERMS OF PAYMENT

Payment will be made by the Ugu District Municipality to the Contractor with 30 (thirty) days of the end of the month in which the consignment of chemical product(s) was received in good order and certified as such by the Ugu District Municipality's designated manager.

- PENALTIES

In the event of the Contractor failing to deliver the correct chemical product and/ or deliver a consignment on time, the Ugu District Municipality will notify the Contractor by e-mail and/ or telefax of such an occurrence has occurred.

The penalty for incorrect and/ or late delivery will be R1, 000.00 per day per consignment per Order or per part of Order. The amount of Penalty applicable will be deducted by the Ugu District Municipality from the payment that is due to the Contractor.

- SURETY BOND

The Contractor will be required to provide a Surety Bond for the due performance of his obligation s under this Contract.

- LIQUIDATION DAMAGES

In the event of the Ugu District Municipality having served three notices on the Contractor for the failure to deliver the correct chemical product and/ or to deliver timeously, the Ugu District Municipality shall have the right to either Terminate the Contract and/ or call up the Surety which will be deemed to be the payment by the Contractor to the Ugu District Municipality as liquidated damages as a result of default by the Contractor in meeting his/ her obligations to fulfil the Contractual obligations.

- FUNCTIONALITY ASSESSMENT

All Bidders are advised that this Bid is subject to a Functionality Assessment as follows:

| Key aspect of criterion | Basis for points allocation | Score | Max. Points | Verification Method |
| --- | --- | --- | --- | --- |
| Experience of the bidder (A reference letter head of that institution is to be supplied for each successful complete project, signed by HOD department or delegated authority in the institution where the project was undertaken. Only supply contracts where approved reference letters supplied will be considered) | Five Water Services Authority references and value of the contract in the last 5 years. | Good 20 points | 20 | Reference letter with WSA letter head, type of chemicals supplied, Treatment works name and capacity, contract value. |
|  | Three Water Services Authority and value of the contract in the last 5 years. | Fair 12 points |  | Reference letter with WSA letter head, type of chemicals supplied, Treatment works name and capacity, contract value. |
|  | Two or less Water Services Authority and value of the contract in the last 5 years. | Poor 6 points |  | Reference letter with WSA letter head, type of chemicals supplied, Treatment works name and capacity, contract value. |
| Relevant qualifications (Chemistry, Biochemistry, Chemical Engineering, or other relevant qualifications) of a Technical Director and Company Chemists. | >NQF 5 (Technical director or Company Chemist) | Good 15 points | 15 | Certified copy of Qualification to be attached |
|  | NQF 5 | Fair 7.5 points |  | Certified copy of Qualification to be attached |
|  | < NQF 5 | Poor 0 points |  | Certified copy of Qualification to be attached |
| Experience of the Sales Manager. | 5 or more years of experience in sales of similar product. | Good 5 points | 5 | Curriculum Vitae to be attached indicating the contract managed and contract duration. |
|  | 3 or more years of experience in sales of similar product. | Fair 3 points |  | Curriculum Vitae to be attached indicating the contract managed and contract duration. |
|  | Less than 3 years in sales of similar product. | Poor 1 point |  | Curriculum Vitae to be attached indicating the contract managed and contract duration. |
| Performance evaluation of the product to be supplied (Polyelectrolyte, Polyacrylamide, Aluminium Sulphate, Polyaluminium Chloride): Jar Test results of the chemical performance at various site under varying water quality or dewaterability results of Wastewater sludge. Evaluation to comprise of: - Clarified water and filtered water turbidity; less than 5 NTU and 1 NTU respectively. - Dosing performance curve at different dosing concentration pH changes and different dosages; breakpoint coagulation. - Sludge yield comparison to the existing product. - Metal concentration less than SANS 241: 2015 at 10% overdosing. - Pilot scale evaluation of the chemical to be supplied at Raw water turbidity from 10 NTU to >1000NTU. (Conventional Pilot scale plant with capacity > 24 m3/day). - Wastewater sludge dewaterability test results and sludge stability. | Performance evaluation met all the requirements. | Good 15 points | 15 | Performance evaluation report (10 pages maximum) |
|  | Performance evaluation met five (5) criteria. | Fair 8 points |  | Performance evaluation report (10 pages maximum) |
|  | No performance evaluation criteria met. | Poor 0 points |  | Performance evaluation report (10 pages maximum) |
| Chemical manufacturing facility management system i.e., Quality, Environmental, and equipment system (ISO 9001:2015, ISO 14001:2015, SANAS accredited laboratory. | Compliance with all accreditations. | Good 15 points | 15 | Proof of certified and valid certificates. |
|  | No compliance with all three accreditations. | Poor 0 points |  |  |

N.B: Bidders are required to submit supporting documents to score full point.

The minimum qualifying score for functionality is 70%. Bidders whose score is less than 70% will not be eligible for further evaluation.

TECHNICAL SPECIFICATION

- SCOPE OF WORKS

The Tender covers the supply and delivery of chemical coagulant to Ugu District Municipality's water and wastewater treatment works over the period of 3 years (36 months).

Suppliers are allowed to tender for either all sections in the Bill of Quantities or sections of applicable service.

The quantities on the Pricing Schedule shown below are based on estimated quantities for the purpose of evaluation of price and are not final estimated quantities. Tenderer(s) will be appointed on rates only.

- TERMS OF AWARD

All the responsive bidders will be appointed to the panel and their services will be requested on an as and when required basis.  If necessary, bidders will be requested to accept standard rates as proposed by the municipality.

- COMPULSORY PRE-TENDER PROCESS

The tender process is to be carried out as follows.

Prospective Tenderers/Suppliers that are in possession of this tender document must attend a compulsory site inspection, at the time and place stated in the tender advertisement, a copy of which is included in this document.

Thereafter, the tender process for the supply and delivery of the coagulants/flocculants is to take place in two phases as described below.  The tender process for the supply and delivery of the other chemicals is a single stage process and therefore does not include Phase 1.

Phase 1:

Prospective Tenderers/Suppliers that have attended the site inspection referred to above, and that intend to submit a tender for the supply and delivery of the, are required to carry out the following:

- Contact the Ugu District Municipality Mr S Tenza via email: Sanele.Tenza@ugu.gov.za,  Suran Gunpath via email: Suran.Gunpath@ugu.gov.za and Danie Schutte via email: Danie.Schutte@ugu.gov.za plan for a suitable time to meet at the Wastewater and Water Treatment Works depicted on the table below.

| Site | Area | Design Capacity (MLD) | GPS Coordinate | Proposed Dates and time for site briefing meeting |
| --- | --- | --- | --- | --- |
| Bhobhoyi WTW | South | 54 | 30°44'08.7"S 30°23'35.0"E |  |
| Umthavuna WTW | South | 20 | 30°53'35.9"S 30°08'58.8"E |  |
| Weza WTW | South West | 6 | 30°37'28.8"S 29°46'09.5"E |  |
| Harding WTW | South West | 1.2 | 30°35'03.1"S 29°52'30.8"E |  |
| KwaLembe WTW | North | 0.75 | - |  |
| Vulamehlo WTW | North | 5.5 | 30°19'37.9"S 30°19'51.9"E |  |
| KwaNdelu WTW | North | 1.4 | - |  |
| Umbango WWTW | South | 11.5 | 30°44'47.4"S 30°26'15.0"E |  |
| Margate WWTW | South | 8 | 30°51'02.3"S 30°21'50.6"E |  |

- On the above-mentioned days, bidders have to collect the water sample (Raw Water, Treated Water and Wastewater activated sludge sample) and transport to an accredited laboratory to conduct Raw Water Jar Test, Water quality, sludge production, Sludge treatability and stability tests. All samples taken must be properly preserved before being transported to the laboratory. All process parameters and quality must be noted/analysed on the day of sampling; for Water Treatment (Turbidity, water flow rates, pH and Conductivity), Wastewater (Sludge solid content (before and after dewatering), Centrate quality.

- Sample results must be produced within 14 days after sampling.

- Before leaving site, supply Plant Superintendent with the following:

    - 2 (No.) clearly labelled 500 ml samples of each of the chemical products that have been tested and that are to be offered in the tender. The labels must indicate the name of the Prospective Tenderer, the ‘trade’ name of the chemical, the specific gravity, and the date on which the sample was handed over to The Ugu District Municipality’s employee.

    - A copy of a material data sheet pertaining to each of the chemical products.

Phase 1 as described above must be completed on or before 15 March 2024.

Phase 2:

Tenderers/Suppliers prepare their tenders and submit them to The Ugu District Municipality, Ugu District Municipality all in accordance with the conditions of tender.

NOTE:  TENDERS RECEIVED FROM A TENDERER(S)/SUPPLIER(S) THAT HAS NOT COMPLIED WITH THE REQUIREMENTS OF PHASE 1 WILL BE DISQUALIFIED.

- EVALUATION

Chemical evaluation for Coagulant will be done during phase 1 to determine the quantity requirements per site based on the water quality and capacity.

Post-contract award is required to be conducted by the Contractor to constantly monitor the coagulant performance at different Raw water quality and season conditions (water temperature).

- VARIATIONS IN RAW WATER QUALITY

The raw water that is treated by the Ugu District Municipality Water Treatment Works is abstracted from river.  This being the case the quality of the raw water is highly variable and cannot be treated at all times (i.e. all year round) with the same coagulant/flocculent.

It is acknowledged that the pre-tender, on-site, testing referred to above will be carried out by prospective Tenderers on samples of raw water that are available at the time that the tests are carried out.  Tenderers are to base their tenders on the results of the tests.

Tenderers are also required to offer to supply and deliver such alternative coagulants/ flocculants that they, in their experience, recommend will be suitable for use on the wide range of quality of raw water that the Ugu District Municipality is required to treat from time to time.

- QUALITY

The manufacturers of all products offered in the tender shall be ISO certified and copies of the relevant up to date documentation shall be included with the tender.

All coagulants/flocculants offered in the Tender shall be certified in terms of NSF International/ANSI Standard 60: Drinking Water Treatment Chemicals – Health Effects.

A certificate of the chemical composition of each chemical offered shall be submitted with the tender.   Similarly, a certificate of analysis shall accompany each consignment of chemicals made throughout the duration of the contract.  Failure to provide the certificate may result in that delivery not being accepted.

In the event of the results of any tests on chemicals delivered carried out by the Ugu District Municipality’s employees and verified by an independent laboratory, varying from those claimed by the supplier after the on-site tests and submitted with the tender, those chemicals will be rejected and shall be removed forthwith by the supplier and replaced with the correct chemicals.

- SAFETY

The supplier shall supply comprehensive material safety data sheets for each chemical.  At the commencement of the contract, the supplier shall provide comprehensive training of all operators at both water and wastewater treatment works on the correct and safe handling of each chemical.

The supplier shall supply and erect suitable explanatory and appropriate warning signs, in English and Zulu, at or near each area where the chemicals are to be stored and or used by operators.

- DELIVERY

An official order will be placed for each delivery.  Normally, the order will be submitted by fax.

Chemicals are to be delivered to the stations stated on each official order for the chemicals namely:

  - The Umtamvuna Water Works situated approximately 20 km inland of Port Edward on the D1095 (Halfway between Port Edward and Izingolweni)

  - The Bhobhoyi Water Works situated approximately 5km inland of Port Shepstone on the N2 Main Harding road.

  - Park Rynie stores.

  - The Harding Water Treatment Works situated approximately 1km from the Harding Town House.

  - The Weza Water Treatment Works situated approximately 10km inland of Harding Town

Delivery shall be made within 5 working days of the date of the order or on such later date as may be stated on the order.

Delivery is to reach the designated site between the hours of 08:00 and 14:00 on weekdays, excluding Public Holidays, and shall be fully offloaded / discharged before 16h00.

The supplier shall ensure that the Ugu District Municipality’s employees have the name and emergency contact details of a responsible person who can deal with any problem that may arise with a delivery and/or use of a chemical supplied.

Clearly there must always be a supply of each chemical on site so the orders that will be placed with the supplier will be for relatively small quantities.

Tenderers are to state in Table 1 of the Technical Data Sheet, the normal and minimum size of each delivery.

- SUPPLIERS’ STOCKS OF CHEMICALS

The supplier shall, at all times throughout the contract, hold sufficient stock of all chemicals so as to ensure that the Ugu District Municipality’s requirements can be met.

Tenderers are to submit their proposals in this regard with their tenders.  Prior to the award of the contract the stock holding will be negotiated and made a condition of contract.

- CONTAINERS

Each container must be clearly labelled using a weatherproof system of marking.

All containers must be delivered in an undamaged condition and without any leakage having taken place.  Containers that have leaked or are showing signs of leaking will not be accepted and must be removed from site.

- TRANSPORTATION AND HANDLING OF HAZARDOUS CHEMICAL SUBSTANCES

Attention is drawn to the requirements of the Occupational Health and Safety Act and the Regulations pertaining thereto.  Whilst the supplier is obligated to comply with the statutory requirements, and the Ugu District Municipality is not responsible for any acts or omissions of the supplier, the Ugu District Municipality’s employees may instruct the supplier to leave site if they become aware that the supplier is transgressing of the law whilst on the Ugu District Municipality’s property.

With regard to road transportation:

  - The driver must be a certified Hazchem driver.

  - The vehicle must be adequately equipped to offload at the delivery point(s). Vehicles must be equipped with pumps and fittings and hoses as well as appropriate attachments.

  - The vehicle is to comply with all the requirements of the Road Traffic Act and shall carry the requisite signage pertaining to the chemical(s) being carried.

RESOURCES AVAILABLE TO TRANSPORT PRODUCTS TO SITE

Tenderers are required to demonstrate the resources that are available to transport the products to The Ugu District Municipality’s sites by completing Table 2 in the Technical Data Sheet.

- DETERMINATION OF MASS OF CHEMICALS DELIVERED

The mass of all deliveries must be determined on an as sized weighbridge.  A weighbridge at the point of supply is acceptable. Should the supplier not have a weighbridge at the point of supply, details of the weighbridge that is to be used is to be used shall be provided.

The weighbridge(s) that is to be used is to be as sized from time to time and at least annually.  Each time it is as sized, a copy of the certificate is to be supplied with the next delivery of chemicals.

The weighbridge certificate of chemical mass determination is to be supplied with each delivery.

- CURRENT SUPPLY CONTRACTS

Tenderers are required to include with their tender, sufficient information to demonstrate the extent of their experience and competence with the supply and delivery of chemical products similar to those being offered in this tender.  This information is not limited to but shall include:

- The names and contact details of persons responsible for operating water works where the Tenderer has supplied, or is currently supplying, chemical products similar to those now being offered and who can be contacted to provide references on the Tenderers’ past performance with technical support.

- TECHNICAL SERVICE AND SUPPORT

The supply and use of water works chemicals, in particular the coagulants/flocculants, usually requires on-going attention and adjustment in order to minimise costs and optimise the quality of the treated water produced.  The problems are exacerbated by the day-to-day variations in the quality of the raw water abstracted directly from river like Weza, Umtamvuna, Umzumbe and Umzimkulu Rivers etc.

It will be a requirement of this Contract that the supplier of chemical products provides an acceptable “after sales” technical support service.

Tenderers are therefore required to submit the following information with their tenders:

- Description of the resources available to provide routine monthly and ad hoc, emergency, technical support and services.

- Names, qualifications and experience of the person who would be assigned to provide the routine technical support.

- Names, qualifications, and experience of the person who would be assigned to provide the ad hoc, emergency, technical assistance.

- Provision of on-site training of process controllers for handling of water & wastewater treatment chemical and other related hazardous chemicals. Such training shall include issue of certificates as portfolio of evidence of attending such training.

UGU DISTRICT MUNICIPALITY

CONTRACT UGU-07-1659-2024

PRICING SCHEDULE

Pricing Instructions

- The amounts and rates to be inserted in the Pricing Schedule shall be the full inclusive amounts to the Employer for the work described under the several items.  Such amounts shall cover all the costs and expenses that may be required in and for the supply of the work described, and shall cover the costs of all general risks, profits, taxes, training (but excluding value-added tax), liabilities and obligations set forth or implied in the documents on which the Tender is based.

- An amount or rate shall be entered against each item in the Pricing Schedule whether quantities are stated.

The Tenderer shall also fill in a rate against the items where the words "rate only" appear in the amount column. Although no work is foreseen under these items and no quantities are consequently given in the quantity column, the tendered rates shall apply should work under these items be required.

- A contractor may choose to price all items in the Pricing Schedule of sections relevant to their expertise. Where items in the Pricing Schedule are not the Suppliers expertise, N/A must be filled in under those items.

Items against which Nil or zero is entered will be considered fully priced and the Tenderer shall provide the items in question specified at a zero or a nil price.

A Tenderer HAS NOT grouped a number of items together and provides one tender sum for such grouped items. Grouping or bracketing of items will invalidate the Tender.

- The quantities shown in the pricing schedule are specifically for evaluation for price purpose only and are not final quantities. The panel award will be rates based.

- The quantities of work as measured and accepted and certified for payment in accordance with the Conditions of Contract, and not the quantities stated in the Pricing Schedule, will be used to determine payments to the Contractor. The validity of the Contract shall in no way be affected by differences between the quantities in the Pricing Schedule and the quantities certified for payment.

The Pricing Schedule below is based on estimated quantities for the purpose of evaluation of price and are not final estimated quantities. Tenderers will be appointed on rates only:

| Item No. | Description | Unit | Quantity | Rate (Year 1) | Rates (Year 2) | Rates (Year 3) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.00 | SECTION A: PRELIMINARIES |  |  |  |  |  |
| 1.10 | Site assessments | N/A | N/A | N/A |  | N/A |
| 1.11 | Chemical trials | N/A | N/A | N/A |  | N/A |
| 1.12 | Post-Award Chemical performance evaluation. | 1 week/Month |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION A |  |  |  |  |  |  |
|  | Supply and deliver of the following: |  |  |  |  |  |
|  | SECTION B: AREA SOUTH: WATER AND WASTEWATER WATER TREATMENT WORKS: COAGULANT |  |  |  |  |  |
| 2.00 | Bhobhoyi WTW: |  |  |  |  |  |
| 2.10 | Delivery | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 2.11 | Primary Coagulant | Ton | 30 |  |  |  |
| 2.12 | Secondary Coagulant | Ton | 30 |  |  |  |
| 3.00 | Umbango WWTW |  |  |  |  |  |
| 3.10 | Delivery | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  |  |  |  |  |
| 3.11 | Polyacrylamide (25 kg Package) | Ton | 1 |  |  |  |
| 4.00 | Margate WWTW |  |  |  |  |  |
| 4.10 | Delivery | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  |  |  |  |  |
| 4.11 | Polyacrylamide (25 kg Packaging) | Ton | 1 |  |  |  |
| 5.00 | Kwahlongwa WTW |  |  |  |  |  |
| 5.10 | Delivery | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 5.11 | Primary Coagulant | Ton | 2 |  |  |  |
| 5.12 | Secondary Coagulant | Ton | 2 |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION B |  |  |  |  |  |  |
|  | SECTION C: AREA NORTH: WATER TREATMENT WORKS: COAGULANT |  |  |  |  |  |
| 6.00 | Vulamehlo WTW |  |  |  |  |  |
| 6.10 | Delivery | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 6.11 | Primary Coagulant | Ton | 2 |  |  |  |
| 6.12 | Secondary Coagulant | Ton | 2 |  |  |  |
| 7.00 | Kwalembe WTW (Kwandelu WTW + Hlokozi WTW) |  |  |  |  |  |
| 7.10 | Delivery (Kwalembe WTW) | km |  |  |  |  |
|  | Supply liquid coagulant (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 7.11 | Primary Coagulant | Ton | 2 |  |  |  |
| 7.12 | Secondary Coagulant | Ton | 2 |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION C |  |  |  |  |  |  |
|  | SECTION D: AREA SOUTH WEST: WATER AND WASTEWATER WATER TREATMENT WORKS: COAGULANT |  |  |  |  |  |
| 8.00 | Umtavuna WTW |  |  |  |  |  |
| 20.10 | Delivery (Kwalembe WTW) | km |  |  |  |  |
| 20.11 | Supply (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 20.12 | Primary Coagulant | Ton | 2 |  |  |  |
| 20.13 | Secondary Coagulant | Ton | 2 |  |  |  |
| 9.00 | Harding WTW +(Kwambotho WWTW + Kwafodo WWTW + Kwanyuswa Phase 1 &2) |  |  |  |  |  |
| 9.10 | Delivery (Harding WTW) | km |  |  |  |  |
|  | Supply (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 9.11 | Primary Coagulant | Ton | 2 |  |  |  |
| 9.12 | Secondary Coagulant | Ton | 2 |  |  |  |
| 9.13 | Delivery (Kwalembe WTW) | km |  |  |  |  |
| 10.00 | Weza WTW |  |  |  |  |  |
| 10.10 | Delivery | km |  |  |  |  |
|  | Supply (based on pre-tender test results carried out on site) |  | 1 |  |  |  |
| 10.11 | Primary Coagulant | Ton | 2 |  |  |  |
| 10.12 | Secondary Coagulant | Ton | 2 |  |  |  |
| 10.13 | Delivery (Kwalembe WTW) | km |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION D |  |  |  |  |  |  |
|  | SECTION E: WHOLE DISTRICT: ALUMINIUM SULPHATE |  |  |  |  |  |
| 11.00 | Bhobhoyi WTW |  |  |  |  |  |
| 11.10 | Delivery | km |  |  |  |  |
| 11.11 | Aluminium Sulphate | kg | 2000 |  |  |  |
| 12.00 | Umthavuna WTW |  |  |  |  |  |
| 12.10 | Delivery | km |  |  |  |  |
| 12.11 | Aluminium Sulphate | kg | 1000 |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION E |  |  |  |  |  |  |
| 13.00 | SECTION F: PROVISIONAL SERVICES BY MAIN THE MAIN CONTRACTOR: AUXILLARY AND CHEMICAL HANDLING EQUIPMENT |  |  |  |  |  |
| 13.11 | Chemical Dosing pumps (Diaphragm pumps) Max flow: 500 l/h @12 bar | No. | 14 |  |  |  |
| 13.12 | Service of the automatic dosing control unit – Streaming Current Detector (SCD). | No. | 14 |  |  |  |
| 13.13 | Supply of specialized uPVC pipeline for chemical dosing. | No. | 14 |  |  |  |
| 13.14 | Service and repairs to Chemical dosing pumps and clear water transfer pumps. | No. | 14 |  |  |  |
| 13.15 | Pipes, fittings, valves, specialized tools, and ancillaries | No. | 14 |  |  |  |
| 13.16 | Service and calibration of Level monitoring equipment and link to SCADA | No. | 14 |  |  |  |
| 13.17 | Service, supply, replacement, and calibration of specialized Process equipment (Analysis equipment) | No. | 14 |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION F |  |  |  |  |  |  |
| 14.00 | Total from SECTION A |  |  |  |  |  |
| 15.00 | Total from SECTION B |  |  |  |  |  |
| 16.00 | Total from SECTION C |  |  |  |  |  |
| 17.00 | Total from SECTION D |  |  |  |  |  |
| 18.00 | Total from SECTION E |  |  |  |  |  |
| 19.00 | Total from SECTION F |  |  |  |  |  |
| TOTAL TO FORM OF TENDER |  |  |  |  |  |  |

Rates must be provided for all three years

# CERTIFIED CK DOCUMENT OR ID DOCUMENT (FOR SOLE PROPRIETORS)

[Failure of a Bidder to submit this will invalidate the bid]

# TAX REFERENCE NUMBER AND PIN

[Failure of a Bidder to submit this will invalidate the bid]

# JOINT VENTURE AGREEMENT (WHERE APPLICABLE)

[Failure of a JOINT VENTURE Bidder to submit this will invalidate the bid]

# CERTIFIED VALID BBBEE CERTIFICATE

[Bidder that does not submit this will not be awarded BBBEE points]

# CENTRAL SUPPLIER DATABASE REGISTRATION

[Failure of a Bidder to submit this will invalidate the bid]

# SPECIFIC GOALS SUPPORTING DOCUMENTS

[Failure of a Bidder to submit this will invalidate the bid]

# ISO 9001 CERTIFICATION OF MANUFACTURER/SUPPLIER (IN THE NAME OF THE BIDDER)

[Failure of a Bidder to submit this will invalidate the bid]

# CERTIFIED QUALITY MANAGEMENT SYSTEM CERTIFICATE – ISO 14001

# [Failure of a Bidder to submit this will invalidate the bid]

# NSF/ANSI 60 CERTIFICATION OF COAGULANTS/FLOCCULANTS

# [Failure of a Bidder to submit this will invalidate the bid]

# CERTIFIED QUALITY CONTROL LABORATORY CERTIFICATE

# [Failure of a Bidder to submit this will invalidate the bid]

# PRE-TENDER PROCESS ATTENDANCE AND RESULTS

[Non-submission will result in no points being scored]

# EXPERIENCE OF BIDDER – REFERENCE LETTER/S

# [Non-submission will result in no points being scored]

# CV’S AND CERTIFIED QUALIFICATIONS OF TECHNICAL DIRECTOR AND CHEMIST

# [Non-submission will result in no points being scored]

# CV’S OF SALES MANAGER

# [Non-submission will result in no points being scored]

# PRODUCT PERFORMANCE ASSESSMENT REPORT

# [Non-submission will result in no points being scored]