| To whom it may concern | Date | 24 March 2026 |
| --- | --- | --- |
|  | Enquiries | Samuel Sekese |
|  | E-mail address | sekeses@ntcsa.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E2638NTCSAMWP |
| --- | --- |
| Description / Project Title | Esselen 88 kV Emergence Bypass – Civil and Stringing & Cabling works.. |
| Tender Questions Closing Date | 05 April 2026 |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | Could you kindly confirm whether the below will be supplied by NTCSA? SUPPLY & DELIVERYOF EQUIPMENT. SCHEDULE 1. PRIMARY PLANT EQUIPMENT. 1; Supply & Delivery of 132kV bypass isolator; No; 1. 2; Supply & Delivery of 275kV bypass isolator; No; 1. 3; supply & Delivery of 132kV Post Insulator (c10-550,25mm/kv Top PCD=226,Bottom PCD=225); No; 9. 4; Supply & Delivery 132KV Post i=Insulator,c4-550 25mm/kv Top/Bottom PCD=225; No.; 15. 5; Supply & Delivery of 275kV Post Insulator; No; 12. 6; Supply & Delivery of 88KV Polymeric Longrod,120KN,25mm/KV; No; 57. | The attached (on the question section) will be supplied by the Supplier and need to also confirm the lead time. | 25/03/2026 |