Eskom Holdings SOC Ltd

Contract number _____________
project and contract title



	[image: image14.jpg]R Eskom




	


NEC3 Engineering and Construction

Short Contract (ECSC3)

	A contract between


	Eskom Holdings SOC Ltd (Reg No. 2002/015527/30)

	and


	     

	for


	Security guard houses for Distribution GOU

	Contents:
	Compiled in accordance with CIDB Standard for Uniformity in Construction Procurement (May 2010 amendments)
	Page No.

	Part C1
	Agreements & Contract Data
	

	
	C1.1 Form of Offer and Acceptance
	[●]

	
	C1.2 Contract Data provided by the Employer
	[●]

	
	C1.2 Contract Data provided by the Contractor
	[●]

	Part C2
	Pricing Data
	

	
	C2.1 Pricing assumptions
	[●]

	
	C2.2 Price List
	[●]

	Part C3
	Scope of Work
	

	
	C3.1 Works Information
	[●]

	Part C4
	Site Information
	[●]

	
	
	

	Documentation prepared by: 
	[●]

	


C1 Agreements & Contract Data
C1.1 Form of Offer and Acceptance

Offer

The Employer, identified in the Acceptance page signature block on the next page, has solicited offers to enter into a contract for the procurement of:

                                  Security guard houses for Distribution GOU
The tenderer, identified in the signature block below, having examined the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Tender.
By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	The offered total of the Prices exclusive of VAT is 
	R[●]

	Value Added Tax @ 15% is
	R[●]

	The offered total of the Prices inclusive of VAT is
	R[●]

	(in words) [●]



This Offer may be accepted by the Employer by signing the form of Acceptance overleaf and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	For the tenderer:


	(Insert name and address of organisation)


	Name & signature of witness
	
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an Agreement between the Employer and the tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the Contract, are contained in: 

Part 1
Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part 2
Pricing Data

Part 3
Scope of Work: Works Information
Part 4
Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be signed by the duly authorised representative(s) for both parties.

The tenderer shall within one week of receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this Agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the tenderer receives one fully completed and signed copy of this document, including the Schedule of Deviations (if any) together with all the terms of the contract as listed above. 

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	(Insert name and address of organisation)


	Name & signature of witness
	
	
	Date
	


Note: 
If a tenderer wishes to submit alternative tender offers, further copies of this document may be used for that purpose, duly endorsed, ‘Alternative Tender No. _____ ‘
Schedule of Deviations 

Note:

1.  To be completed by the Employer prior to award of contract.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.
	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	Paul Segwe

	Capacity


	
	
	Middle Manager Asset Creation

	On behalf of
	(Insert name and address of organisation)


	
	Eskom SOC LTD
Eskom Academy of Learning

Private Bag X13

Dale road 

Midrand

1685

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 Contract Data
Data provided by the Employer
[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)
1. Please read the relevant clauses in the NEC3 Engineering and Construction Short Contract (April 2013) (ECSC3)
 before you enter data.  The number of the principal clause is shown for most statements however other clauses may also use the same data.  

2. Where the following symbol is used “[●]” - data is required to be inserted.]
Completion of the data in full is essential to create a complete contract.

	Clause
	Statement
	Data

	
	General
	

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1 &

14.4
	The Employer’s representative to whom the Employer in terms of clause 14.4 delegates his actions
 is (Name):
	Thoko Mvelase

	
	Address
	Eskom Academy of Learning, Private Bag X13   Dale Road, Midrand, 1685

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	E-mail address
	 MvelasTO@eskom.co.za

	11.2(11)
	The works are 
	Security guard houses for Distribution GOU

	11.2(13)
	The Works Information is in
	the document called ‘Works Information’ in Part 3 of this contract.

	11.2(12)
	The Site Information is in
	the document called ‘Site Information’ in Part 4 of this contract.

	11.2(12)
	The site is
	Ten separate Eskom offices around Gauteng

	30.1
	The starting date is.
	01 November 2025

	11.2(2)
	The completion date is.
	31 January 2026

	13.2
	The period for reply is
	One week

	40
	The defects date is 
	52 weeks after Completion

	41.3
	The defect correction period is 
	One week

	50.1
	The assessment day is the
	25th of each month.

	50.5
	The delay damages are
	R 1000 per day

	50.6
	The retention is
	5 % of every assessment

	51.2
	The interest rate on late payment is 
	0,5 % per week of delay


	80.1
	The Contractor is not liable to the Employer for loss of or damage to the Employer’s property in excess of
	the amount of the deductibles relevant to the event 

	
	Does the United Kingdom Housing Grants, Construction and Regeneration Act (1996) apply?
	No

	93.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	93.2(2)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body

	93.4
	The tribunal is: 
	arbitration.

	
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	[●] South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	
	The conditions of contract are the NEC3 Engineering and Construction Short Contract (April 2013)

 and the following additional conditions Z1 to Z11 which always apply:

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z2.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z2.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

	Z2.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z2.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works.

	
	

	Z3
	Confidentiality

	Z3.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to others except where required by this contract. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to others where required by this contract the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z3.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Employer.

	Z3.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z3.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Employer.  All rights in and to all such images vests exclusively in the Employer.  

	Z3.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z4
	Waiver and estoppel: Add to clause 12.2:

	Z4.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties or their delegates or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z5
	Health, safety and the environment

	Z5.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z5.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z6
	Provision of a Tax Invoice and interest.  Add to clause 50

	Z6.1
	The Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the correctly assessed amount due for payment.

	Z6.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z6.3
	The Contractor is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z7
	Notifying compensation events

	Z7.1
	Delete from the last sentence in clause 61.1, “unless the event arises from an instruction of the Employer.”

	Z8
	Employer’s limitation of liability; Add to clause 80.1

	Z8.1
	The Employer liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand).

	
	

	Z9
	Termination: Add to clause 90.2, after the words "or its equivalent":  

	Z9.1
	   or had a business rescue order granted against it.

	
	

	Z10
	Addition to Clause 50.5

	Z10.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data (if any), the Employer may terminate the Contractor’s obligation to Provide the Works.

	
	If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works.

	
	

	Z11
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subconsultants or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z11.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z11.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z11.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z11.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


Z12

Insurance
Z _12.1
Replace core clause 82 with the following:

	Insurance cover
	82
	

	
	82.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	82.2
	The Contractor provides the insurances stated in the Insurance Table A, from the starting date until the earlier of Completion and the date of the termination certificate. 

	
	
	INSURANCE TABLE A

Insurance against

Minimum amount of cover or minimum limit of indemnity

Cover provided until

Loss of or damage to the works
The replacement cost where not covered by the Employer’s insurance

The Employer’s policy deductible as at contract date, where covered by the Employer’s insurance
The Employer’s certificate of Completion has been issued

Loss of or damage to Equipment, Plant and Materials

The replacement cost where not covered by the Employer’s insurance

The Employer’s policy deductible as at contract date, where covered by the Employer’s insurance
The Defects Certificate has been issued

The Contractor’s liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Works

Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance

The Employer’s policy deductible as at contract date where covered by the Employer’s insurance
Other property

The replacement cost
Bodily injury to or death of a person 

The amount required by the applicable law

Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law



	
	82.3
	The Employer provides the insurances as stated in the Insurance Table B
INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document



	Z13
	Nuclear Liability

	Z13.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z13.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.3
	Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z13.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z14
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z14.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z14.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z14.3
	The Employer manages asbestos and ACM according to the Standard.

	Z14.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z14.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z14.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z14.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


Data provided by the Contractor (the Contractor’s Offer)
The tendering contractor is advised to read both the NEC3 Engineering and Construction Short Contract (April 2013) and the relevant parts of its Guidance Notes (ECSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on page 31 of the ECSC3 April 2013 Guidance Notes.

Completion of the data in full is essential to create a complete contract.

	10.1
	The Contractor is (Name):
	[●]

	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	E-mail address
	[●]

	63.2
	The percentage for overheads and profit added to the Defined Cost for people is
	[●]%

	63.2
	The percentage for overheads and profit added to other Defined Cost is
	[●]%

	11.2(9)
	The Price List is in
	the document called ‘Price List’ in Part 2 of this contract.

	11.2(10)
	The offered total of the Prices is 
[Enter the total of the Prices from the Price List]:
	R[●] 
excluding VAT
[in words] 
[●] 
excluding VAT


C2 Pricing Data

C2.1 Pricing assumptions
C2.2 Price List
The Price List is as follows and contained in excel document attached

	Item Number
	Description
	Unit of Measure
	Qty
	Rate
	Amount

	
	
	
	
	
	
	

	1
	PRELIMINARIES AND GENERALS
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	1.1
	OVERHEAD FOR PROJECT (This includes Site Establishment Overhead Costs, Office Overheads, Administration Costs etc.)
	SUM
	1
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	1.2
	SHEQ Management, OHSA appointments, Safety File, PPE etc.
	SUM
	1
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	1.3
	Supervisor
	Day
	66
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	1.4
	Safety Officer
	Day
	66
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	1.5
	Rigger
	Day
	66
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	 
	R0.00
	

	
	 
	 
	 
	 
	 
	

	
	STORAGE CONTAINERS
	 
	 
	 
	 
	

	
	 
	 
	 
	 
	 
	

	2
	EARTHWORKS
	 
	 
	 
	 
	

	
	Notes:
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	
	The tenderer must acquaint himself with the nature of the material to be excavated.
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	
	Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	
	Descriptions of earth filling, compaction, etc shall be deemed to include for all necessary testing required in accordance with the SABS 1200 series
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	
	Descriptions of concrete shall be deemed to include all necessary concrete works such as formwork to sides,shattering, chamfering,floating etc.
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	2.1
	SITE CLEARANCE AND PREPARATION
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	2.1.1.
	Clear and Grub -Dig up and remove rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush etc.
	m2
	400
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	2.1.2
	Excavation for slab 
	m3
	27
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	2.1.2
	Compaction of ground surface including breaking down of oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density
	m3
	18
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	2.3
	CONCRETE, FORMWORK AND REINFORCEMENT
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	2.3.1.
	Reinforced concrete
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	2.3.1.1.
	25Mpa concrete slab cast insitu
	m3
	45
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	2.3.1.1
	Supply and intstall Reinforcement Meshwire Ref193
	m2
	180
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	3
	CONTAINER MAIN COMPONENTS
	 
	 
	 
	 
	

	
	
	 
	 
	 
	 
	

	3.1
	Supply and install a complete container with electricity and painting etc. (as per detailed specifications)
	Each
	10
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	4
	Water Reticulation-provision allowed 
	sum
	10
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	5
	Sewer connection-provision allowed
	Sum
	10
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	6
	Sundries
	sum
	10
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	7
	Supply and installation of 10x 9000 BTU aircons
	Each
	10
	 
	R0.00
	

	
	
	 
	 
	 
	 
	

	 
	Subtotal
	 
	 
	 
	R0.00
	

	
	
	
	
	
	
	

	1
	TRANSPORT
	Unit
	Quantity
	Rate
	Amount
	

	1.1
	Personnel transport to site
	km
	4400.00
	 
	 R               -   
	

	1.2
	Transport Truck 9-14 ton with crane
	km
	2200.00
	 
	 R               -   
	

	
	
	
	
	
	R0.00
	


Summary
	Item
	Description 
	Amount

	1
	Preliminaries and Generals
	 R                                                -   

	2
	Works
	 R                                                -   

	3
	Transport
	 R                                                -   

	 
	Total
	 R                                                -   


Entries in the first four columns in the Price List are made either by the Employer or the tendering contractor
If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tenderer enters the amount in the Price column only; the Unit, Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for the item of work which is the rate for the work multiplied by the quantity completed, the tenderer enters the rate which is then multiplied by the expected quantity to produce the Price, which is also entered.
All Prices are to be shown excluding VAT unless instructed otherwise by the Employer in Tender Data or in an instruction the Employer has given before the tenderer enters his Prices.
If there is insufficient space in the Price List which follows, state in which document the Price List is contained.

C3:  Scope of Work
C3.1 Works Information
	Bronkhorspruit, Cullinan, Mnandi, Etwatwa, Daveyton, Mathibestad, Sebokeng, Vosterkroon CNC`s, Benoni and President building currently have no proper guard houses.  
The Cullinan, Vosterskroon and Bronkhorspruit security guard houses are made of wood Wendy house which are currently not in a good condition and doesn`t have ablution and water facilities. Mnandi guard house is made of fibre glass shell, not in good condition, is situated far from the offices and doesn`t have ablution and water facilities.  Etwatwa, Daveyton, Sebokeng, Mathibestad including President building and Benoni office are made of parkhome which are not on good condition and doesn`t have ablution and water facilities.



3.1  Description of the works 
	The scope of work for this project will include: 

· Appointment of a service provider to design, manufacture, supply and install 10 X 6 m security guard houses for Distribution GOU.
· Ground preparations for 10 X 6m containers for guardhouses

· Convert 10 X 6m containers for guardhouses at different sites to have ablution facilities and mini kitchen space, four windows including toilet. 

· Connect to existing electricity, water and sewer facilities
· Installation of 10 x 9000BTU air conditioning units
Deliverables shall include.

a. 10 x 6m container converted guardhouses which are connected to existing electricity and sewer services, commissioning and handover of the works. 
b. Works Supervision 

[image: image1.emf]


     
3.2 quality management system

The Contractor shall be required to provide or maintain a quality management plan, which must be approved by Eskom

The contractor is advised that the employer considers it essential that for a project of this scale the contractor shall provide and maintain a high level of skilled management organization and resources (justified by CV’s), to ensure the successful and timely completion of the contract.  Crucial information is to be provided by the Snr Supervisor Tech Facilities and project manager at tender stage (tender clarification/briefing meeting) and this shall be deemed to define the contractor’s intentions in this respect. It is a requirement that the contractor submits all technical requirements documents as specified by procurement strategy document under technical criteria.
3.3 WEEKLY and monthly PROGRESS reports

3.3.1 Weekly report

The weekly progress report shall be based on the weekly progress meeting by the contractor and the employer represented by the Supervisor or Snr Supervisor or delegation from the employer. The meeting shall focus on a punch list which is derived from the project scope of works as per the project schedule with an objective of tracking contractor’s progress which should be driven by the following items:
1. Past week achieved progress activities.

2. Current week activities.

3. Next week target activities.

4. Commitment to project schedule.

5. Deviation and corrections to the project schedule.

6. Issues and activities adjustment.

7. Risk identification and mitigations.

3.4  Resources

The contractor shall provide adequate resources to execute the work.

3.5  Project Methodology
The Contractor shall submit a detailed proposal outlining methodologies of how he intends executing the work.

3.6 Resource requirements


The Contractor shall ensure that highly skilled personnel (as defined in their submitted and accepted CV’s) are dedicated to the project. 

3.7 implementation plan

            The Contractor is required to submit a detailed implementation plan
2.  Drawings
	N/A 


4. Specifications
	

	No
	Unique Identifier
	Revision
	Document Title



	1
	32 - 94
	0
	Safety Health and Environment Policy 32-94


[image: image2.emf]1_Safety Health &  Environment (SHE) Policy (32-94).pdf



	2
	32 - 136
	0
	Construction Safety Health and Environmental Management


[image: image3.emf]2_Construction  Safety Health and Environmental Management (32-136).pdf



	3
	32-524
	0
	Developing a Safety, Health and Environmental Specification


[image: image4.emf]3_Developing a  Safety, Health and Environmental Specification (32-524).pdf



	4
	34 - 333
	1
	Health and Safety Requirements to be met by Principal Contractors employed by Eskom Distribution 34-333


[image: image5.emf]4_Health and Safety  Requirements to be met by Principal Contractors employed by Eskom Distribution (34-333).pdf



	5
	32 - 421
	1
	Eskom Cardinal Rules 32-421


[image: image6.emf]5_Eskom Cardinal  Rules (32-421).pdf



	6
	Construction Reg 3
	
	Notification of Construction Work to Department of Labour


[image: image7.emf]6_Notification of  Construction Work to Department of Labour.doc



	7
	Construction Reg 4 & 5
	
	Appointment letters for Client representative, Principal Contractor & Contractor


[image: image8.emf]7_Appointment  letters for Client representative, Principal Contractor & Contractor.doc



	8
	OHS Act
	
	Written agreement on OHS Act Section 37(2)


[image: image9.emf]8_Written  agreement on OHS Act Section 37(2).doc



	9 & 10
	34 - 1063
	0
	Expanded Public Works Report 34-1063.


[image: image10.emf]9_Expanded Public  Works Report (34-1063).pdf

  
[image: image11.emf]10_EPWP Report to  be inserted in document 34-1063.xls



	11
	DST 34-961
	0
	Legal appointments and authorizations


[image: image12.emf]11_Legal  appointments and authorizations (34-961).pdf



	12
	SRTI03/2006
	
	Transporting persons on back of vehicles


[image: image13.emf]12_Safety Instr  Transport Contractors.pdf




4.1 Constraints on how the Contractor Provides the Works
	State any constraints on the sequence and timing of work and on the methods and conduct of work including the requirements for any work by the Employer.  
Also include any management related constraints, invoicing and payment procedures some of which have been inserted below as a minimum guide. 
1. Contractor to receive safety access to site prior start of works

2. Working hours on site are between 7h00 to 17h00, any outside working hours to be arranged with the Project Manager.


4.2 Use of standard forms

Provide details of standard forms to be used by the Contractor in the administration of the contract, for example early warning and compensation event notifications.
NEC short contract standard forms will be used for administration of this contract. These will be available from the Project Manager on request.

4.3 Invoicing and payment
The Z clauses make reference to invoicing procedures stated here in this Works Information. Also include a list of information which is to be shown on an invoice.   The following text is provided as a guide; revise to suit actual requirements.
In terms of core clause 50 the Contractor assesses the amount due and applies to the Employer for payment.  The Contractor applies for payment with a tax invoice addressed to the Employer as follows: 

______________________________________________________________________ 

The Contractor includes the following information on each tax invoice:

· Name and address of the Contractor 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· The total Price for Work Done to Date which the Contractor has completed;

· Other amounts to be paid to the Contractor;
· Less amounts to be paid by or retained from the Contractor;

· The change in the amount due since the previous payment being the invoiced amount - excluding VAT, the VAT and including VAT;

· (add other as required)

The Contractor attaches the detail assessment of the amount due to each tax invoice showing the Price for Work Done to Date for each item in the Price List for work which he has completed. 

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

4.4 Records of Defined Cost
In order to substantiate the Defined Cost of compensation events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment.  [See clause 11.2(5) and 63.2].  State in what form these records are to be kept and how accessed by the Employer.
4.6  BBBEE and preferencing scheme

Specify constraints which Contractor must comply with after contract award in regard to any Broad Based Black Economic Empowerment (B-BBEE) or preferencing scheme measures.
4.7  Facilities to be provided by the Contractor
None
4.8 Title to material from excavation and demolition
Not applicable
4.9 Design by the Contractor
None
4.10 Cataloguing requirements by the Contractor
None

5.Requirements for the programme 

The Contractor is required to submit a detailed programme for the works .
6.Services and other things provided by the Employer 

The Employer provides water and electricity as services for the Contractor’s use in carrying out the works, as stated in the Scope.
	Item
	Date by which it will be provided

	Electricity
	Commencement of service

	Water
	Commencement of service

	
	


C4:  Site Information
	Site Information is information about the site at the time of tender which the tendering contractor needs to allow for in his rates and Prices.  The information does not change after contract award, nor does it describe or specify anything which the Parties do during the contract.  It is only referred to during administration of the contract if the Contractor encounters conditions which are different to those described here.  The Contractor will then make a comparison between actual conditions encountered and those described here in his assessment of any additional cost or time he may need to be compensated for in order to complete the works.  Disputes about the difference between the effects of conditions encountered and those which the Contractor allowed for in his Prices will be minimised if the information given here is complete and relevant.  If no information is given the tendering contractor will need to guess what he may encounter thus tendering higher Prices to allow for conditions that may not even exist. 


C4.1: Information about the site at time of tender which may affect the work in this contract
1. Access limitations 
	State if there is any physical, time or other “third party” constraint associated with gaining access to and doing work on the site that may not be immediately apparent from an inspection of the site. 

a. Contractor to receive safety access to site prior start of works

b. Working hours on site are between 7h00 to 17h00, any outside working hours to be arranged with the Project Manager.


     
2.  Ground conditions in areas affected by work in this contract
	If earthworks are included in the Scope of Work, provide details of the ground conditions the Contractor is likely to encounter when doing the work.  This could vary from indicating where a test pit has been opened up for the Contractor to make his own observations to providing full borehole logs and associated geotechnical report.  


     
3.  Hidden and other services within the site 

	Provide details of underground or other hidden services which the Contractor may encounter whilst doing the work.  Instructions about how to deal with them if encountered should be included in the Works Information.


     
4.  Details of existing buildings / facilities which Contractor is required to work on
	If work is to be carried out on existing buildings or facilities Site Information would be the ‘as-built drawings’ of those buildings or facilities.  If these are not a correct statement or not available other means of describing the existing buildings or facilities would have to be used, such as providing photographs 


     
� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za


� Except those actions which can only be done by the Employer as a Party to the contract.


� If June 2005 Edition applies, delete April 2013 and insert June 2005


� State whether attached as a ‘PDF’ file in terms of Eskom’s licence, or to be obtained from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za.












DOCUMENT No. _______
PAGE 3



_1346503560.pdf


 
 
 
 
Kp/pf/format 16May06/edit 1Sep06/voting 9Mar07/authorise 20Apr07/tp/published 10may07 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it 
is in line with the authorised version on the website.   Note: This document has not been through the EDC processes prior to 
authorisation. 


 
 


Contents 


 Page 


1  Introduction ...................................................................................................................................2 


2  Requirements and responsibilities................................................................................................2 


3  Supporting clauses .....................................................................................................................10 


4  Authorisation...............................................................................................................................16 


5  Revisions ....................................................................................................................................16 


6  Development team......................................................................................................................16 


 


 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 2 of 22 
 


1  Introduction 


This procedure provides a framework for better practice and continual improvement in the well-being of 
construction workers and for the elimination of injuries and fatalities through Eskom’s engagement in 
construction as a client/agent and/or contractor.  The objective of this procedure is to ensure a common 
and shared understanding and the consistent implementation of these requirements for construction work. 


This document should be read in conjunction with the divisional documents and with the Occupational 
Health and Safety Act (OHSA), No 85 of 1993, and its Regulations; the Mine Health and Safety Act 
(MHSA), No 29 of 1996, where applicable; and section 28 of the National Environmental Management Act 
(NEMA), No 107 of 1998, which deals with the duty of care in respect of the environment and the 
remediation of environmental damage. 


In terms of Eskom’s Health and Safety and Environmental Policies, Eskom will approach occupational 
safety, health, and environmental issues as a responsible corporate citizen, respecting legislative 
requirements and the views of stakeholders, communities, and staff.  Eskom will strive to minimise 
negative impacts and to ensure safe and healthy practice.  The Chief Executive and management, as 
delegated, are accountable for the safety, health, and environment (SHE) issues in the organisation.  All 
employees must be aware of their SHE roles and responsibilities with respect to themselves, their 
colleagues, members of the public, and the environment. 


2  Requirements and responsibilities 


Eskom, as the employer in terms of section 8 of the OHSA, has the overall accountability and 
responsibility for the health and safety of all persons involved in construction work pertaining to Eskom.  
This is managed by means of various agreements, which are part of the interpretation of this procedure, 
as required in terms of section 37.2 of the OHSA.  In this capacity, Eskom must ensure that all employees 
have their OHSA, MHSA, and NEMA duties explained to them. 


2.1  Client (Eskom) 


The client may appoint an agent on a site-specific and project-specific basis to act on its behalf in terms of 
the duties and responsibilities imposed on the client in terms of legislation and this procedure.  Such 
appointment must be properly documented. 


The client must ensure that the agent it appoints has the necessary competence and resources to perform 
the required duties and, when appointed, will accept the responsibilities imposed on the client by the 
Construction Regulations and, where applicable, by this procedure.  (Refer to Annexure 1.) 


2.1.1  The client must: 


a) As far as is reasonable and practicable, develop a project plan that includes reference to all SHE 
issues. 


b) Ensure that designers are made aware of their roles and responsibilities.  


c) Where applicable, provide to the designer: 


• Eskom-specific SHE criteria to be applied to the designs;   


• the relevant environmental impact assessment report; and  


• The relevant geoscience technical report. 


d)       Ensure that the project team conduct a baseline site and project-specific risk assessment in 
relation to all relevant hazards.  


e)  Prepare and provide the SHE specifications, which must be based on the baseline site risk 
assessment, project-specific risk assessment, and scope of work, identifying the existing and 
potentially significant residual hazards that a competent and resourced contractor would not have 
been expected to know.  The SHE specifications must include: 


• any relevant SHE information about the specific construction work to be performed; and 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 3 of 22 
 


• All the applicable and relevant information contained in the Eskom documents pertaining to 
the project and scope of work.  (Extracts or the entire Eskom document must be included in 
the SHE specification.  Refer to Annexure 3 for additional minimum requirements for SHE 
specifications.)  


f) Ensure that the principal contractors submitting tenders have made provision for the cost of SHE 
measures for the construction work.  


g) Ensure, if a principal contractor intends to use a subcontractor or subcontractors to perform work 
on the construction project, that this arrangement is indicated by the principal contractor during 
the tendering stage or at the commencement of work.  The principal contractor must indicate who 
his/her subcontractors are and provide evidence that the subcontractor(s) have the necessary 
competence and resources to carry out the work safely and to ensure that the duty of care to the 
environment will be discharged. 


h) Ensure that the principal contractor is registered and in good standing with the Compensation 
Commissioner or with a licensed compensation insurer prior to and for the duration of the 
contracted work. 


i) Ensure that tendering principal contractors provide a detailed SHE plan based on the SHE 
specifications provided as well as any other SHE considerations arising from the principal 
contractors’ construction activities.  


j) In cases where internal Eskom departments perform construction work within Eskom, they will be 
regarded as internal service providers.  There must be a formalised documented agreement 
between the two parties – the client and the internal service provider must be identified and their 
roles and responsibilities, as outlined in this procedure, must be stated clearly in the formalised 
agreement.  


k) After the selection and appointment of the principal contractor/internal service provider have been 
concluded, the client and the principal contractor/internal service provider must complete and sign 
the “Notification of Construction Work”.  The principal contractor/internal service provider must 
submit this notification to the Provincial Director prior to the commencement of work and retain 
evidence of such notification.  


l) Audit the work that is being executed against the approved SHE plan at intervals mutually agreed 
upon, but not less than once a month.  


m) All project managers involved in construction work must be registered with the South African 
Council for the Project and Construction Management Professions (SACPCMP) in terms of the 
Project and Construction Management Professions Act, No 48 of 2000. 


n) Ensure that all Eskom employees involved in construction work receive required training as 
determined by a training needs analysis. 


o) Not appoint a principal contractor to perform construction work unless the client is reasonably 
satisfied that the principal contractor the client intends to appoint has the necessary competence 
and resources to carry out the work in a safe and healthy manner and to ensure that the duty of 
care to the environment is discharged.  (Refer to Annexure 2.) 


p) In order to fulfil its responsibility to support both government and Eskom initiatives, provide 
guidance to emerging contractors. 


q) Appoint each principal contractor in writing.  


r) Where a subcontractor or subcontractors are appointed by the principal contractor, ensure that 
the principal contractor supplies the applicable Eskom SHE specifications to the subcontractor(s). 


s) Stop the principal contractor or subcontractor(s) from continuing with work if such work is not in 
accordance with the SHE plan or Eskom requirements.  Any Eskom employee or contractor may 
stop an activity that poses a threat to the health and safety of a person or persons or a risk of 
degradation of the environment.  Any person may report to the client any unsafe or unhealthy 
practice(s) or condition(s) that pose a threat to the environment.  The client must issue non-







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 4 of 22 
 


conformance reports setting out the circumstances giving rise to the stoppage, the actions taken, 
and any corrective measures required. 


t) When there are changes in the scope of work and/or in the work environment (for example, 
amendments to Eskom rules and/or legislative amendments), review (and revise, if necessary) 
the affected sections of the SHE specification and baseline site and project-specific risk 
assessment and provide any such revisions to the principal contractor.  The principal contractor 
must subsequently review (and revise, if necessary) the SHE plan and the activity-based risk 
assessments.  The client must then ensure that the provisions in the SHE plan, or the revised 
SHE plan, are adequate and, provided these are adequate, approve and sign off the plan prior to 
recommencing the work affected by the changed scope. 


u) Ensure that the principal contractors are informed of their responsibility to audit their 
subcontractors on their compliance with the approved SHE plan as per the requirements of the 
SHE file.  Audits must be done at intervals mutually agreed upon, but not less than once a month. 


v) Ensure that no visitor enters a construction site without having first received a risk-based 
induction and, if applicable, thereafter having received the relevant risk-based PPE, where 
reasonably practicable. 


w) Ensure, prior to the commencement of construction work, that all persons involved in any 
construction work have received the client’s project-specific induction training. 


x) Ensure that the principal contractor is made aware of the requirement that he/she hand over the 
SHE file to the client on completion of the construction work.  The SHE file must contain all the 
requirements as per Annexure 4. 


y) Ensure that all contractors are informed of the need for their subcontractors and casual labour to 
receive  the client’s SHE induction training. 


z) Keep documented records of all training provided by Eskom.  


Training 


a) The client must ensure that all principal contractors that are awarded construction projects, as 
well as their employees, have participated in a generic SHE induction training programme. 


b) The client must ensure that site-specific induction training is completed prior to the 
commencement of any construction work. 


c) Induction training must be provided in English or, where necessary, translated into other 
language(s) to ensure that it is understood by all the persons concerned. 


d) All persons on site must be in possession of proof of completion of induction training (for example, 
a safety passport that identifies the holder as having undertaken basic health and safety 
awareness training and allows the holder access to “passport-controlled” workplaces). 


e) The client must by way of the commercial process as well as auditing, ensure that the principal 
contractor’s employees and subcontractors receive task-specific training (for example, ORHVS, 
Plant Safety Regulations, Confined Space Training, and other technical training required). 


f) The client must ensure that all Eskom staff involved in the tender and adjudication process have 
undergone prior training on the Construction Regulations and their roles and responsibilities in 
terms of this procedure.  This training must be included in the respective departmental training 
needs assessments, and it must be aligned with their respective divisional requirements. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 5 of 22 
 
Risk assessment 


During the risk assessment, the following has to be recorded: 


a) Risk assessed/reason for risk assessment 


b) Date of risk assessment 


c) Persons involved in risk assessment (to be recorded in an attendance register)  


Risk assessment process 


a) List all the hazards associated with the area, activity, and project. 


b) Decide who might be harmed and how. 


c) Evaluate the risk, and decide on precautions. 


d)  Record the findings, and implement appropriate control measures. 


e)  Review the risk assessment and update if necessary. 


2.2  Designers 


The designer must: 


a) Demonstrate how the Eskom-specified generic SHE criteria have been integrated into the design. 


b) Provide any information to the client about the design that the principal contractor requires for the 
pricing of the construction work, which will also include SHE information. 


c) Inform the principal contractor via the client, in writing, of any: 


• known or anticipated dangers or hazards relating to the construction work; 


• structural load limitations; and 


• Methods for, and the sequence of, the construction process; and where applicable include a 
geoscience technical report. 


 
 


d) Take into account the hazards relating to any subsequent maintenance of any structure, and 
provide in the design for that work to be performed in a manner that eliminates or minimises the 
risk. 


e) Where practicable, carry out regular inspections in order to ensure compliance with the design 
specifications.   


f) Ensure that all inspection records, as well as all drawings pertaining to the design, are kept and 
are available on site at all times for inspection and audit purposes and inclusion in the SHE file to 
be handed over to the client by the principal contractor upon completion of the project. 


g) Stop any construction work that is not in accordance with the design specifications. 


h) Conduct a final inspection after the completion of the construction work, prior to commissioning, in 
order to ensure proper handover in terms of SHE requirements. 


i) Issue a completion certificate to the principal contractor once satisfied that the 
structure/commissioning of a network has been completed, is safe for use, and poses no threat to 
the health of the end-users and the public. 


j) Ensure that, during the design and concept phase, all ergonomic design principles are considered 
in order to minimise ergonomic hazards during all phases of the project. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 6 of 22 
 
k) Not include anything that necessitates the use of dangerous procedures, processes, or materials 


that may be hazardous to the health and safety of persons and the environment; this must be 
avoided by modifying the design or substituting other materials. 


2.3  Procurement process 


A multidisciplinary team of competent persons, comprising technical, SHE, commercial, financial, vendor 
management, and quality assurance members, must participate in the procurement process throughout. 


2.3.1  Prequalification of principal contractors 


Where specified by Eskom, contractors wishing to obtain vendor status for construction work must be 
prequalified against relevant SHE management criteria for their companies. 


The procurement practitioner must ensure that the procurement process is adhered to in terms of the 
following: 


2.3.2  Pre-tender 


A multidisciplinary team of competent persons, comprising technical, construction project management, 
SHE, commercial, financial, vendor management, and quality assurance members (at a cross-functional 
meeting), must determine the relevant information to be included with the tender enquiry documents.  


a) The client must prequalify all contractors in terms of their SHE competence.  Each contractor’s 
competencies and resources must be assessed in a manner appropriate to the division 
concerned.  An accreditation application document must be completed by all contractors.  On 
submission, the application must be reviewed against the Eskom SHE criteria.  (Refer to 
Annexure 2.) 


b) The Procurement/Commercial Manager must ensure that the following are issued with the 
 enquiry  documents: 


• A clearly defined scope of the construction work to be performed  


• SHE specifications (refer to Annexure 1) incorporating the hazard identification and baseline 
site and project-specific risk assessments 


c) No enquiry document must be issued unless it meets the requirements listed in 2.3.2. 


d) It must be ensured that the SHE plan, including the activity-based risk assessments, is 
 submitted as one of the tender returnables. 


e) At the enquiry clarification meeting, the client/agent must ensure that all the requirements in the 
 SHE specification are explained to the potential tenderers.  It is advisable that this meeting
 be held on the proposed construction site.  Minutes must be taken of this meeting and kept. 


2.3.3  Post-tender 


Tender evaluation 


a) The SHE plan must be evaluated against the SHE specifications that were issued with the 
enquiry documents.  The tender adjudicators must verify that the cost of SHE has been 
incorporated in the tender application. 


b) During the tender clarification meeting, any queries regarding the tendering contractor’s SHE plan 
must be resolved with the applicable tenderer. 


2.3.4  Pre-contract 


Contract negotiations, where applicable, and the signing of the contract: 


a) The content of the SHE plan must be negotiated, agreed, and signed off by the client/agent and 
principal contractor. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 7 of 22 
 
b) After the selection and appointment of the principal contractor have been concluded, the client 


and the principal contractor must complete and sign the “Notification of Construction Work”.  The 
principal contractor must submit this notification to the Provincial Director prior to the 
commencement of work and retain evidence of such notification. 


c) It must be ensured that any contract involving construction work complies with the requirements 
of this procedure and is aligned with the South African construction SHE legislative framework 
and any other applicable legislation. 


2.4  Principal contractors 


2.4.1 The designer must inform the principal contractor, via the client or, if applicable, the appointed 
 agent, in writing, of any known or anticipated dangers or hazards relating to the construction 
 work. 


2.4.2 The client and the principal contractor must be identified and their roles and responsibilities, as 
 outlined in this procedure, must be stated clearly in the formalised agreement in relation to the 
 specific project involving construction work. 


2.4.3 Where internal Eskom business units conduct their own construction work, that is, during 
maintenance, there must be a SHE plan that either refers to existing procedures, including safe 
work procedures relating to that task or if not available, a site and task specific SHE plan must be 
developed prior to the commencement of any construction work.  Activity-based risk assessments 
must be conducted within the area where work will be performed prior to the commencement of 
the work.  The SHE plan must address the risks that had been identified in the risk assessment 
and must be approved and signed off by the client. 


2.4.4 The principal contractor must forward this notification to the Provincial Director prior to the 
 commencement of work and retain evidence of such notification. 


2.4.5 Where multiple contractors perform construction work on the same site, the client or, if applicable, 
 the appointed agent must forward this notification to the Provincial Director prior to the 
 commencement of work. 


2.4.6 The principal contractor must indicate who its subcontractors are (including casual workers and 
 labour-broker employees) and ensure that they have the necessary competence and resources 
 to carry out the work safely and to ensure a duty of care towards the environment.  


2.4.7 The principal contractor must supply his/her client’s SHE specifications to the subcontractor(s).  


2.4.8 The principal contractor must provide the client with a suitable and sufficiently documented SHE 
 plan as per the client’s SHE specification.  (See minimum checklist as per Annexure 3.)  


2.4.9 The principal contractor must ensure that a copy of the approved SHE plan is available on site at 
 all times. 


2.4.10 The SHE plan must contain the following items: 


• Listed information as per the issued SHE specification 


• The hazard identification and activity-based risk assessment  


• Any SHE standards and procedures, including written safe work procedures as indicated in 
the plan 


• All required mandatory appointments as per legislation 


• Résumés containing SHE experience and training of each appointment 


2.4.11 The principal contractor must take reasonable steps to ensure cooperation between all 
 subcontractors. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 8 of 22 
 
2.4.12 The principal contractor must stop the subcontractors if construction work is not in accordance 
 with the SHE plan or if such work poses a threat to the health and safety of persons or a risk of 
 degradation to the environment.  Any person can report unsafe or unhealthy practices or practices 
 that pose a threat to the environment to the principal contractor or the client.  A record must 
 be kept of the stoppage, the actions taken, and any corrective measures that were 
 implemented. 


2.4.13 The principal contractor must ensure that, when there are changes in any phase of the 
 construction project, it reviews and, if necessary, amends the relevant sections of the SHE plan 
 and the activity-based risk assessments in response to the client’s revised SHE specification to 
 ensure that the work is performed in a safe and environmentally friendly manner. 


2.4.14 The principal contractor must ensure, prior to the commencement of work on site, that every 
 subcontractor is registered and in good standing with the compensation fund or with a licensed 
 compensation insurer.  This should remain valid for the duration of the contract. 


2.4.15 The principal contractor must ensure that potential subcontractors submitting tenders have made 
 detailed provision for the cost of health and safety measures during the construction process. 


2.4.16 The principal contractor must ensure, prior to the commencement of construction work, that all 
 persons involved in the construction work as well as the subcontractors have received the 
 client’s SHE induction. 


2.4.17 The principal contractor must ensure, prior to the commencement of construction work, that all 
 persons involved in the construction work as well as the subcontractors have received task- 
 specific training. 


2.4.18 The principal contractors must ensure that a competent person informs, instructs, and trains all 
 employees under their control on any hazard and related work procedures before any work 
 commences and, thereafter, at such times as may be determined by a risk assessment. 


2.4.19 A training needs analysis must be drafted as per a documented training plan.  Ensure that the 
 training is recorded and available during any inspection, audit, or investigation. 


2.4.20 The principal contractor(s) must ensure that they have a SHE file, which must contain all (but is 
 not limited to) documentation listed in Annexure 4.  


2.4.21 The SHE file must be kept on site and made available upon request. 


2.4.22 The principal contractor must hand over a consolidated SHE file to the client on completion of the 
construction work.  The principal contractor must also hand over all drawings, designs, lists of 
materials used, and other applicable information about the completed structure, as well as the list 
of subcontractors, the agreement, and the type of work completed. 


2.4.23 The principal contractor must appoint, in writing, a full-time competent construction supervisor 
with SHE competence to supervise the construction work.  Depending on the size of the project or 
the degree of danger, it may be necessary to appoint a construction safety officer. 


2.4.24 The principal contractor must ensure that consultants undertaking work in the “listed fields of 
 practice” of the Natural Scientific Professions Act, No 27 of 2003, are registered “professional 
 natural scientists”. 


2.4.25 Before the commencement of any construction, principal contractors must appoint, in writing, a 
 competent person to conduct activity-based risk assessments and compile a mitigation plan.  All 
 employees must be informed about the risk assessments and the plan. 


2.4.26 The principal contractor(s) must issue risk-based personal protective equipment (PPE) as a 
 measure of last resort to their employees after mitigating the risk as far as is reasonably 
 practicable.  Recipients of PPE must be trained in the proper use and care and, where necessary, 
 the maintenance of PPE.     


2.4.27 Should the principal contractor or his/her subcontractors invite visitors to the site, they must be 
 held accountable for the provision of PPE to their visitors. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 9 of 22 
 
2.4.28 The appointed construction supervisor must not supervise construction work on any site other 
 than the site for which such supervisor has been appointed.  If a sufficient number of competent 
 employee(s) have been appointed to assist the construction supervisor, then the construction 
 supervisor may supervise more than one site. 


2.4.29 The principal contractors must ensure that an occupational health practitioner screens their 
 employees to ensure that their employees are fit to perform the work.  The principal contractor 
 must prove to the client that his/her employees and subcontractors are on a medical 
 surveillance programme, including entry and exit medical examinations, for the duration of the 
 contract. 


2.4.30 Throughout the project, the principal contractor must ensure, prior to the commencement of 
 planned work, that the following points are addressed in his/her pre-job briefing meetings, 
 including but not limited to: 


• toolbox talks based on the SHE issues pertaining to the construction site;  


• activity-based risk assessments; 


• procedures, including written safe work procedures pertaining to the work activity; 


• control measures pertaining to the work activity; and 


• reinforcement of the selected project SHE requirements applicable to the tasks for that day. 


2.5  Subcontractors 


a) All the responsibilities reflected in the section on the responsibilities of principal contractors, which 
apply to the principal contractor, must apply to the subcontractor. 


b) Subcontractors must cooperate with the principal contractor to enable each of them to commit 
himself/herself to better practice and ensure worker health and safety. 


2.6  Joint ventures 


• There may be occasions when Eskom and other organisations combine resources to carry out a 
joint venture. 


 


• Each company must be liable for its own contraventions and could, therefore, be prosecuted in its 
own name without reference to any of the other companies involved. 


 


• Where the construction work is to be managed jointly with a joint venture partner, the 
requirements imposed on the client in this procedure will also apply to the joint venture.  


 


• Proper management of joint ventures, using an appropriate joint venture agreement that includes, 
in writing, the health and safety arrangements as required in terms of section 37.2 (if applicable) 
of the OHS Act, is critical in managing SHE issues.  


2.7  Statutory appointments 


The principal contractor must compile the statutory occupational health, safety, and environmental 
structure for the contract, and an organogram, and must appoint the relevant people, in writing.  Copies of 
these appointments must be available on site for inspection and audits. 


2.8  Reporting, recording, and investigation of accidents and incidents 


a) Where construction work is done by internal service providers: 


• All accidents and incidents must be reported, recorded, and investigated in accordance with the 
OHSA, the NEMA, the National Water Act (NWA), and the Eskom Procedure for the Reporting 
and Recording and Investigation of Incidents (ESKPVABN9, as revised). 


• The BU will compile case studies on all disabling injuries and fatalities. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 10 of 22 
 
b) Where construction work is done by principal contractors or subcontractors: 


• They must inform the client or the client’s appointed agent about the accident or incident within 
24 hours. 


• They must report all cases as required in terms of legislation. 


• The principal contractor must investigate and record all accidents or incidents as required by 
the OHSA, NEMA, and NWA and table these at the SHE Committee meeting held on site as 
well as any internal process by the principal contractor. 


• The principal contractor must allow the client to participate in any accident or incident 
investigation if it is linked to any activity within the scope of the construction project. 


• The principal contractor must keep on site a record of all accidents and incidents reported in the 
format of the investigation form (OHS Act − Annexure 1). 


• The principal contractor must provide SHE statistics to the client at the end of each month. 


• The principal contractor must provide historical SHE statistics as well as lost-time incident rates 
for the past three years. 


• In the case of fatalities, Eskom will conduct formal investigations. 


2.9  Non-compliance 


a) Eskom views the following at-risk behaviour in a very serious light: 


• Anyone disregarding any requirements contained in the OHSA, NEMA, Eskom Health, Safety, 
and Environmental Policies, this document, site specifications, and approved SHE plans 


• Anyone performing an unsafe act or creating an unsafe condition that could pose a danger to 
such person(s) or to others 


• A principal contractor allowing any of his/her own employees or employees of their 
subcontractors (including casual labourers or labour-broker employees) to work on any site 
without ensuring that each employee has received proper training 


b) Any such person described above will be subjected to a disciplinary process, and if found guilty, this 
may lead to dismissal in the case of an Eskom employee, and in the case of a principal contractor, it 
may result in the cancellation of the contract and blacklisting. 


3  Supporting clauses 


Contents of supporting clauses 


3.1  Scope.......................................................................................................................................11 


3.2  Normative/informative references............................................................................................11 


3.3  Definitions ................................................................................................................................11 


3.4  Abbreviations ...........................................................................................................................15 


3.5  Roles and responsibilities........................................................................................................15 


3.6  Implementation date ................................................................................................................16 


3.7  Process for monitoring.............................................................................................................16 


3.8  Related documents..................................................................................................................16 


 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 11 of 22 
 


Annexures 


Annexure 1  Evaluation of consultants/agents ...............................................................................17 


Annexure 2  Prequalification of contractors....................................................................................18 


Annexure 3  SHE specification .......................................................................................................19 


Annexure 4  Minimum contents of the SHE file ..............................................................................20 


Annexure 5  Classification of hazards (client use only)..................................................................21 


 


3.1  Scope 


3.1.1  Purpose 


This document defines the framework that should be followed to ensure the safety and health of 
construction workers and the general public and the duty of care to the environment. 


3.1.2  Applicability 


This procedure must apply to Eskom Holdings Limited and its divisions, subsidiaries, and contractors 
where construction work is conducted by, or on behalf of, Eskom.  


Where construction work is performed by Eskom Holdings Limited and its divisions, subsidiaries, and 
contractors outside of South Africa, this procedure and any other applicable legislative requirements must 
apply. 


The MHS Act must be applied to any activity associated with tunnelling and underground work. 


3.2  Normative/informative references 


Parties using this procedure must apply the latest edition of the documents listed below: 


• Occupational Health and Safety Act, Act 85 of 1993 


• The National Environmental Management Act, Act 107 of 1998 


• Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 


• Mine Health and Safety Act, Act 29 of 1996  


• National Water Act, Act 36 of 1998 (as amended) 


• Project and Construction Management Professions Act, Act 48 of 2000  


• 32-94, Safety, Health and Environment (SHE) Policy 


• ESKPVABN9:  Reporting, Recording and Investigation of Incidents – Under Review and reallocated a 
new unique number 32-95 


• ESKPVABE4:  Reporting, Recording Investigation and Measuring of Work Injury – Under Review and 
incorporated with the unique number 32-95 


3.3  Definitions 


Note:  where there are no definitions, the Occupational Health and Safety Act, 1993 (Act No 85 of 1993:  
OHSA) or its regulations should be referred to. 


3.3.1 Agent:  means any external person who acts as a representative for the client and has formally 
been appointed as such by the client.  (Internal Eskom departments must not be appointed as 
agent.) 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 12 of 22 
 
3.3.2 Blacklisting:  means placing on an Eskom blacklist any organisation, tenderer, contractor, agent, 


or person regarded as suspicious, untrustworthy, corrupt, or incompetent.  


3.3.3 Client:  means the Eskom 16.2 appointed person directly involved and for whom construction 
work is performed on the basis of a contractual agreement formally entered into with either an 
agent or a principal contractor (external to Eskom).  


Note:  internal arrangements between Eskom departments, BUs, and divisions must be managed by 
SLAs where the SHE requirements of all contracting parties are clearly defined. 


3.3.4 Contractor:  means an employer, as defined in section 1 of the OHSA, who performs 
construction work for the client either directly or through an agent, and includes principal 
contractors. 


3.3.5 Subcontractor:  means a contractor who is employed by a principal contractor and has no direct 
formal contractual agreement of employment with the client. 


3.3.6 Construction work:  means any work in connection with – 


a) the erection, maintenance, alteration, renovation, repair, demolition, or dismantling of, or 
addition to, a building or any similar structure; 


b) the installation, erection, dismantling, or maintenance of a fixed plant where such work 
includes the risk of a person falling; 


c) the construction, maintenance, demolition, or dismantling of any bridge, dam, canal, road, 
railway, runway, sewer, or water reticulation system or any similar civil engineering structure; 
or 


d) the moving of earth, the clearing of land, the making of an excavation, piling, or any similar 
type of work. 


3.3.7 Design:  in relation to any structure, includes drawings, calculations, design details, and 
specifications. 


3.3.8 Designer:  means any of the following persons: 


a)        A person who prepares a design 


b)        A person who checks and approves a design 


c)        A person who arranges for any person at work under his/her control (including an employee 
of his/hers, where he/she is the employer) to prepare a design 


d)        An architect or engineer contributing to, or having overall responsibility for, the design 


e)        A building-services engineer designing details for fixed plant 


f)          A surveyor specifying articles or drawing up specifications 


g)        A contractor carrying out design work as part of a design and build project 


h)        A temporary works engineer designing form work and false work 


i)          An interior designer, shopfitter, and landscape architect 


3.3.9 Duty of care to the environment:  anybody who causes or has caused or may cause significant 
pollution or degradation of the environment must take reasonable measures to prevent such 
pollution or degradation from occurring, continuing, or recurring.  If such harm to the environment 
is authorised by law, or cannot reasonably be avoided or stopped, such person must minimise 
and rectify such pollution or degradation of the environment. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 13 of 22 
 
3.3.10 Employee:  means a person who performs work for an employer.  This includes any person who 


has entered into, or works under, a contract of service, apprenticeship, or learnership with an 
employer, whether the contract is explicit or implicit, oral or in writing, whether the remuneration is 
calculated by time or work done and paid for in cash or in kind, and includes a situation where 
such a person is under the control, instruction, and supervision of Eskom, namely: 


• a casual employee employed for the purpose of the employer’s business; 


• a person who has entered into a contract of service or of apprenticeship or learnership with the 
employer; 


• a person provided to Eskom by a TES (temporary employment service) or a labour broker and 
who works under the control, instruction, and supervision of an Eskom employee; 


• a part-time worker; 


• a temporary worker; 


• an occasional employee; 


• an unattached learner; 


• a bursary-holder while under the supervision of Eskom; 


• any family member or visitor of a teleworker in the event of an incident, if present, and involved 
in performing work for, or on behalf of, the teleworker at the house deemed to be the employee’s 
(section 37); 


• any contractor, where no written agreement is available, as required in terms of section 37(3) of 
the OHSA, will be regarded as an employee; and 


• any contractor’s employees who perform any work under the instruction and/or supervision of an 
Eskom employee, where the instruction given directly resulted in an injury. 


3.3.11 Employer:  means any person who employs or provides work for any person and remunerates 
that person or expressly or tacitly undertakes to remunerate him/her. 


3.3.12 Environment:  means: 


� i) the land, water, and atmosphere of the earth; 
� ii) micro-organisms, plant and animal life; 
� any part or combination of (i) and (ii) and the interrelationships among and between them; 


and the physical, chemical, aesthetic, and cultural properties and conditions of the foregoing 
that influence human health and well-being. 


3.3.13 Hazard:  a hazard is defined as any real or potential condition that can cause illness, injury, 
 death, property damage, or loss of equipment or property.  


3.3.14 Hazard identification:  means the identification and documenting of existing or expected hazards 
to the safety and health of persons, which hazards are normally associated with the type of 
construction work being/to be executed. 


3.3.15 Internal service provider:  means an Eskom department  that performs construction work for 
another Eskom department. Eskom Enterprises Pty Ltd is not regarded as an internal service 
provider. 


3.3.16 Joint venture:   means a strategic alliance between two or more parties to undertake economic 
activity together.  The parties agree to create a new entity (incorporated or unincorporated) 
together by each party’s contribution of equity, and they then share in the profits, losses, and 
control of the enterprise.  The venture may be for one specific project only or a continuing 
business relationship. 


 
3.3.17 Method statement:  means a written document detailing the key activities to reduce the hazards 


identified in any risk assessment.  In the case of internal work, it includes procedures, safe work 
procedures, and work standards. 


3.3.18  Procurement practitioner:  means a qualified buyer who assists the client/agent during the 
 commercial process to enter into contracts for the procurement of goods and services. 


3.3.19 Pollution:  means any change in the environment caused by: 


� substances; 
� radioactive or other waves; or 
� noise, odours, dust, or heat, 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 14 of 22 
 


emitted from any activity, including the storage or treatment of waste or substances, construction, 
and the provision of services, whether engaged in by any person or an organ of state, where that 
change has an adverse effect on human health or well-being or on the composition, resilience, 
and productivity of natural or managed ecosystems or on materials useful to people, or will have 
such an effect in the future. 


3.3.20 Pre-job briefing meetings:  mean a meeting that is held prior to the commencement of the day’s 
work and that is attended by all the relevant staff members associated with the work task.  The 
job, relevant procedures, associated hazards, and safety measures, that is, the task risk 
assessments, must be discussed.  Each employee who attends the briefing must sign the pre-job 
briefing form.  Toolbox talks must be included in the pre-job briefing meetings.  The toolbox topics 
will be based on SHE issues pertaining to the construction site.  The topic contents must be in 
writing. 


3.3.21 Principal contractor:  means an employer, as defined in section 1 of the relevant Act, who 
performs construction work and is appointed by the client or the client’s agent to be in overall 
control and management of a part of, or the whole of, a construction site. 


Note:  where construction work is performed within Eskom by an Eskom internal service provider, 
that individual or department will be regarded as the internal service provider for the purpose of 
this procedure. 


3.3.22 Professional natural scientist:  means any person holding registration as a professional   
natural scientist in terms of the Natural Scientific Professions Act, Act No 27 of 2003. 


3.3.23 Project:  means an activity or a group of activities that has a defined start and end date, a defined 
scope, and a defined sum of money allocated to complete the activities. 


3.3.24 Project manager:  means the person who has the responsibility for the successful planning and 
execution of a project.  The project manager must satisfy the certification requirements set by the 
South African Council for the Project and Construction Management Professions. 


3.3.25 Provincial director:  means the provincial director as defined in regulation 1 of the General 
Administrative Regulations under the relevant Act. 


3.3.26 Risk assessment:  means a programme to determine any hazard at a construction site and to 
identify the steps needed to remove, reduce, or control such hazard. 


3.3.27 Safety, health, and environmental (SHE) specification:  means a documented specification of 
significant residual SHE requirements for a construction site, of which a competent and resourced 
principal contractor or subcontractor would not have been aware.  This specification is intended to 
ensure the health and safety of persons, both workers and the public, and the duty of care to the 
environment.  The client compiles the SHE specification, which must be specific to each 
construction project, site, and scope of work. 


3.3.28 Safety, health, and environmental file:  means a permanent record containing information 
about the SHE management system during construction and all information relating to the post-
construction phase after the handover to the client, so that the client can maintain the works in a 
healthy and safe way. 


3.3.29 Safety, health, and environmental plan:  means a documented plan that addresses the hazards 
identified in the SHE specification and risk assessments of the project work activities of principal 
contractors and subcontractors.  This plan must include any required method statements, safe 
work procedures to mitigate, reduce, or control the hazards identified, SHE rules, and monitoring 
procedures.  It is specific to each construction project undertaken and site where work is done, is 
compiled by the principal contractor or subcontractor, and must be approved by the client or agent 
prior to the commencement of any construction activities on a project.  The principal contractor 
and the client (or agent, where applicable) must both be signatories to the SHE plan once 
negotiated, agreed, and accepted.  This plan has to be regularly updated to take account of any 
changes in project scope and unanticipated conditions. 


3.3.30 Site:  means a specific project site, or the site where the contractor does the work. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 15 of 22 
 
3.3.31 Structure:  means:  


(a) any building, steel or reinforced concrete structure (not being a building), railway line or 
siding, bridge, waterworks, reservoir, pipe or pipeline, cable, sewer, sewage works, fixed 
vessels, road, drainage works, earthworks, dam, wall, mast, tower, tower crane, batching 
plants, pylon, surface and underground tanks, earth retaining structure or any structure 
designed to preserve or alter any natural feature, and any other similar structure; 


 
(b) any form work, false work, scaffold, or other structure designed or used to provide support 


or means of access during construction work; or  
 
(c) any fixed plant in respect of work, which includes the installation, commissioning, 


decommissioning, or dismantling, and where such work involves a risk of a person falling 
two metres or more. 


 
3.3.32 The Act:  means the Occupational Health and Safety Act, No 85 of 1993. 


3.4  Abbreviations 


3.4.1   Ltd:  Limited 


3.4.2   R&S:  Resources and Strategy 


3.4.3   BU:  Business Unit 


3.4.4   COID:  Compensation for Occupational Injuries and Diseases 


3.4.5   MHSA:  Mine Health and Safety Act     


3.4.6   NEMA:  National Environmental Management Act 


3.4.7   NWA:  National Water Act 


3.4.8   OHS:  Occupational Health and Safety 


3.4.9   OHSA:  Occupational Health and Safety Act 


3.4.10  ORHVS:  Operating Regulations for High Voltage Systems 


3.4.11  PC:  Principal Contractor 


3.4.12  PPE:  Personal Protective Equipment 


3.4.13  SACPCMP:   South African Council for the Project and Construction Management Professions 


3.4.14  CS:  Corporate Sustainability 


3.4.15  SHE:  Safety, Health, and Environment 


3.4.16  SLA:  Service-level Agreement 


3.4.17  TES:  Temporary Employment Service 


3.5  Roles and responsibilities 


The Chief Executive, as the employer in terms of the OHSA and in general terms, has the overall 
responsibility and liability for the health and safety of all persons involved at all Eskom construction sites.  
Within the framework of the OHSA, the Chief Executive as the employer may discharge these duties as 
far as is reasonably practicable. 


Eskom and its subsidiaries must take all reasonably practicable steps to prevent construction-related 
incidents and harm to any person, including members of the public, and damage to property and the 
environment. 


The delegated employer, in terms of section 16.2 of the OHSA, on behalf of Eskom, is responsible for 
health and safety during construction work.  This is managed in general terms by means of statutory 
appointments as well as agreements in terms of section 37.2 of the OHSA with regard to mandatory 
requirements. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 16 of 22 
 
There are various ways in which construction work in relation to SHE could be managed.  The person 
requesting that the construction work should be performed on behalf of Eskom (client) may deal with the 
principal contractor directly or appoint an agent to act on his/her behalf.  Should an agent be appointed, all 
the duties and requirements imposed on the client in terms of legislation and this document must apply to 
the appointed agent, unless duties have been excluded contractually by the client.  In that instance, the 
client must be responsible and liable for such excluded duties and requirements. 


Should the principal contractor appoint a subcontractor, the principal contractor would then have the same 
role and responsibility in relation to the subcontractors, in a similar way as the client has in relation to the 
principal contractor. 


3.6  Implementation date 


The implementation date is 1 May 2007. 


3.7  Process for monitoring 


The client (Eskom 16.2 appointed person) or his/her delegated person will monitor compliance with this 
procedure, as described above. 


3.8  Related documents 


Not applicable. 


4  Authorisation 


This document has been seen and accepted by: 


Name Designation 
TS Gcabashe Chief Executive 
PJ Maroga Chief Executive Designate and Managing Director (Transmission Division) 
B Nqwababa Finance Director 
EN Matya Managing Director (Generation Division) 
MM Ntsokolo Managing Director (Distribution Division) 
JA Dladla Managing Director (Key Sales and Customer Service Division) 
CS Neethling Senior General Manager (Office of the Chief Executive) 
Dr SJ Lennon Managing Director (Resources and Strategy Division) 
ME Letlape Managing Director (Human Resources Division) 
PD Mbonyana Managing Director (Corporate Division) 
BA Dames Managing Director (Enterprises Division) 


5  Revisions 


Date Revision Remarks 


January 2007 0 A procedure with reference number 32-136 was developed, 
in alignment with the Eskom documentation requirements. 


6  Development team 


• K Mansingh 


• K Pillay 


• SN Middel 


• R Maharaj 


• B de Klerk 


• D Kekana 


• JA Botha 


• T Nair 


• G Doubell 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 17 of 22 
 


Annexure 1 


Evaluation of consultants/agents 


In terms of the Construction Regulations, section 4(6):  no client must appoint any person as an agent, 
unless the client is reasonably satisfied that the person he or she intends to appoint has the necessary 
competencies and resources to perform the duties imposed on a client by these regulations.  


This questionnaire is supplementary to the general supplier evaluation form and is specifically aimed at 
assessing competence of the consultant/agent to undertake work under the construction regulations.  This 
questionnaire must be completed and returned with all appropriate documents.  This questionnaire will be 
used by Eskom for all potential consultants/agents who intend to perform work for Eskom in terms of the 
construction regulations. 


 


 DESCRIPTION 


A Do you have experience in managing contractors on a construction site?  Yes □  No □  N/A □ 


Please indicate how many years’ experience you have. 


B Of what professional controlling bodies are you a member? 


C Please outline how you would inspect, evaluate, and monitor the principal contractor’s work 
during construction. 


D Please outline how you would ensure that the principal contractor’s health and safety plan is 
implemented. 


E How many permanent employees do you have? 


F Who is the most senior person coordinating health and safety matters, and what is his/her 
experience? 


Name: 


Position: 


Experience: 


G Please supply two written, completed, signed, and dated risk assessments that the company has 
carried out in the last one year.  The assessments should be relevant to your core business and 
for activities broadly the same as the contract for which you are tendering.  Unrelated 
assessments or blank forms are not acceptable. 


H What safety training is given to employees, and up to what level of management is it given? 


TRAINING COURSE                            FOR WHOM                  BY WHOM              


----------------------------                            ----------------------             ------------------- 


----------------------------                            ----------------------             ------------------- 


I What types of safety records do you keep? 


J Have you received any safety non-conformance issued against you by Eskom or any other 
company?  If so, please provide details, and state what action was taken after the issue of such 
non-conformance. 


K Do you organise in-house safety meetings? 


L Do you have an established system for communicating with contractors on safety matters?  
How? 


M Please supply copies of two recent inspections that you have carried out on contractors who 
have worked under your control. 


N Have you carried out work of a similar nature for Eskom before?  If so, please give details. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 18 of 22 
 


Annexure 2 


Prequalification of contractors 


Purpose:  it involves the strategic process of assessing, evaluating, or demonstrating competence and 
resources in terms of health, safety, and environmental practices.   


Contactors will be assessed and evaluated against the following criteria: 


1.  General information: 


This provides an indication of human resource capability to perform work.  A company’s organisational 
chart clearly identifies the various roles within an organisation, that is, who manages the company, what 
the roles of the people within the company are.  


2.  SHE management system: 


• An SHE management system could be explained in a simple document that outlines how a company 
manages SHE issues. 


• An SHE management system usually encompasses elements including, though not limited to, SHE 
policy, training, communication, incident reporting, risk assessments, and the management of high-risk 
activities. 


3.  Operating procedures and practices: 


• A safety manual contains all the SHE policies and procedures of the company.  The larger the 
organisation, the more comprehensive this manual should be. 


• Procedures should be developed for all high- and medium-risk activities undertaken by employees.  
Procedures provide employees and subcontractors with a step-by-step process as to how to undertake 
the work in a safe manner. 


4.  Training and competencies of employees: 


• Has the contractor identified and assessed the type of SHE training that is required for all staff including 
management? 


5.  Communication: 


Assess the contractor’s communication processes and procedures. 


Examples of communication documentation include: 


• minutes of daily meetings highlighting review of daily site conditions; or 


• a sign-off on all documentation (Safe Work Procedures and Job Safety Analysis) on a daily basis. 


6.  Incident management: 


Assess the contractor’s procedures for incident reporting and recording. 


7.  Machinery and equipment: 


Assess and evaluate the contractor’s planned maintenance schedules and inspection checklists. 


8.  Environmental issues: 


• Do the contractor’s employees receive training to ensure that they understand the measures put in 
place to manage risk/hazards, that is, control measures for environmental risks? 


9.  Subcontractor management: 


• Does the contracting company have a formal method of screening subcontractors? 


• How does the contracting company select them? 


• Do they have an accreditation system for their subcontractors? 


10. Membership: 


• Membership of a safety organisation is not a regulatory requirement, but helps to demonstrate an 
organisation’s commitment to health and safety. 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 19 of 22 
 


Annexure 3 


SHE specification 


Minimum requirements for SHE specifications must be task-, project-, and site-specific.  The various 
project tasks have to be defined, the associated hazards identified, and the associated risks listed.  


Where applicable, the SHE specifications must include, but not be limited to, the following: 


• Request from the principal contractor(s) for their current health and safety policy, if one exists 


• Request for details of their resources (including their tools, equipment, vehicles, and manpower) in the 
form of a resource schedule that relates to the project schedule/programme.  Note:  indicate to the 
principal contractor that all relevant resources, for example, tools and equipment, must be inspected 
prior to the commencement of, as well as during, the project.  


• Lockout arrangements 


• ORHVS 


• Plant safety regulations 


• Work permit requirements 


• Operation and maintenance of vehicles 


• Use, storage, and transportation of dangerous goods 


• Use of client’s equipment and services 


• Personal protective equipment 


• Reporting requirements 


• Induction training 


• Medical surveillance and fitness requirements 


• Substance-abuse management 


• Housekeeping 


• Welfare facilities 


• Special tools or equipment 


• Signage 


• Fire fighting and protection 


• First aid 


• Emergency procedure and contact details 


• SHE file:  contents and handover 


• Job observations   


• Cardinal rules 


• SHE plan:  contents and approval 


• Client’s project-specific risk assessment 


• Documentation pertinent to the project 


• Required minimum appointments specific to project (where applicable) 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 20 of 22 
 


Annexure 4 


Minimum contents of the SHE file 


1.  Health and safety specifications, which will include baseline site-specific risk assessments  


2.  Approved SHE plan 


3.  Principal contractor’s health and safety policy 


4.  Agreements as contemplated in section 37(2) of the Act 


5.  The client’s/agent’s project organogram 


6.  The principal contractor’s organogram for the specific project 


7.  A document outlining the delegation of health and safety responsibilities in line with the principal 
contractor’s organogram 


8.  Copies of safe work procedures 


9.  Certificates of compliance for electrical installations 


10. Fall protection plan where applicable 


11. Scaffold plan and inspection records 


12. Drawings and designs 


13. In the case of modifications, the revised SHE specifications and approved SHE plans and relevant 
risk assessments 


14. All applicable letters of appointment  


15. List of contractor employees 


16. Inspection schedule and copies of inspection reports 


17. Evacuation plans and emergency contact details 


18. Training records 


19. Medical examination schedule and surveillance records 


20. Letter of good standing with the compensation fund or licensed compensation insurer 


21. The existing SHE profile of the principal contractor 


22. Non-conformance reports 


23. Disciplinary action records 


24. Incident investigation reports 


25. Minutes of toolbox talks 


26. Minutes of Health and Safety Committee meetings 


27. Monthly audit reports 


28. Personal protective equipment records 


29. Material safety data sheets 


30. Maintenance plans for machinery and equipment 


31. Project close-out/review report 


32. List and contact details of subcontractors, suppliers, and manufacturers 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 21 of 22 
 


Annexure 5 


Classification of hazards (client use only) 


Hazards are normally classified in the following categories. 


Hazard/danger Example Possible effect (on person) 


Physical Radiation 
Fire 
Vibration 
Lighting 
Working in elevated 
positions 
Working in confined spaces 
Electricity 
Dust 
Hazardous locations 


Cancer, burns 
Burns, heat inhalation, radiation effects 
Reynard’s syndrome, muscle atrophy 
Accidents due to inability to see danger 
Falling 
 
Asphyxiation, poisoning, engulfment 
Shock, burns, fire, sparks 
Asthma, fire, dust explosions 
Areas where there could be an explosion or fire 
hazards due to the accumulation of flammable gases 
or substances 


Chemical Gases 
Fumes 
Vapours 
Mists 
Liquids 
Dusts 
Solids 


Poisoning 
Cancer 
Diseases 
Blindness 
Burns 
Infertility 
Dermatitis 


Biological Viruses 
Bacteria 
Pathogens 
Cultures 


Diseases 


Mechanical Moving machinery 
Tools 
Equipment 
Chains 
Gears 
Conveyor belts 
Vehicles 
Forklift trucks 
Lifting equipment 
Vessels under pressure 
Portable gas cylinders 
Ejection of material from 
machinery 
Steam 
Electrical 
Excavation 
Climbing 
Lifting tackle 


Amputations 
Contusions 
Cuts 
Bruises 
Broken bones 
Internal injuries 


Ergonomic Workplace design 
Seating and position 
Repetitive movements 
Lifting and manual handling 
Twisting, bending, and 
uncomfortable movements 
Lighting and ventilation 
Climbing 


Back pain, carpal tunnel syndrome, joint pains, 
infections in tendons, incidents resulting in injuries 
such as bruises, broken bones, etc., epileptic fits 


 







Construction Safety, Health, and Unique identifier: 32-136 
Environmental Management Revision: 0 
 Page: 22 of 22 
 


Annexure 5 
(concluded) 


Psychosocial Stress 
Working hours/shifts 
Crime 
Unchallenging work 


Loss of concentration, resulting in incidents 
Substance abuse 
Injury, post-traumatic stress disorder 
Boredom, loss of concentration 


Behavioural Workplace culture 
Management attitude 
Lack of enforcement 
Low staff morale 
New/unusual task 
Lack of skills 


Non-compliance with standards and procedures, 
resulting in incidents 
 
 
 
Incident if risk is not properly addressed 
Incidents due to inadequate skills 


Environmental Noise 
 
Heat 
 
Cold 
 
Slipping and tripping 
hazards (poor floor 
conditions) 


Noise-induced hearing loss, incidents due to inability 
to hear warning 
Heat exhaustion, infertility 


Loss of normal functional capabilities, resulting in 
incidents 


 
Injury 


 


Hazards can be identified through the following: 


• Physical inspection 


• Interviews 


• Documentation (inventories) 


• Accident/incident investigations 


• Surveys/audits 
After the hazards have been identified, establish as far as reasonably practicable what precautionary 
measures should be taken to eliminate or mitigate the hazards. 






_1346503682.pdf


JFScholtz/May’07 (Rev 1) to ensure traceability 
 
 When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it 
is in line with the authorised version on the website.   Note: This document has not been through the EDC processes prior to 
authorisation. 


 


PROCEDURE 


 


Document Classification: Controlled Disclosure 


Reference: 34-333 


Document Type: DPC 


Revision: 1 


Effective date: MAY 2007 


Total pages: 56 


Title: HEALTH AND SAFETY 
REQUIREMENTS TO BE MET BY 
PRINCIPAL CONTRACTORS 
EMPLOYED BY ESKOM 
DISTRIBUTION  


Revision date: MAY 2010 
 


TESCOD APPROVED 
COMPILED BY APPROVED BY  FUNCTIONAL RESP AUTHORISED BY 


 
Signed 


_   _   _   _   _   _   _    
 
T BARNARD 


 
Signed 


_   _   _   _   _   _   _    
 
S GOVENDER 


 
Signed 


_   _   _   _   _   _   _    
 
A STRAMROOD 


 
Signed 


_   _   _   _   _   _   _    
 
IZAK DU PLESSIS 


Safety Risk  
Co-ordinator  
 


Risk Management 
SC Chairperson 


for TESCOD Business 
Performance -GM 
(Dx) 


Content 


Page 


Foreword..............................................................................................................................................2 


1 Scope ...............................................................................................................................................4 


2 Normative references .......................................................................................................................4 


3 Definitions and Abbreviations...........................................................................................................5 


4 Roles and Responsibilities ...............................................................................................................8 


4.1 Eskom Distribution Departments ............................................................................................8 


4.2 Principal Contractor ..............................................................................................................15 


4.3 Sub-contractors ....................................................................................................................18 


4.4 Emerging Contractors...........................................................................................................19 


4.5 Non-compliance....................................................................................................................19 


Annex A .............................................................................................................................................20 


Annex B (Part 1)  ..............................................................................................................................21 


Health and Safety Specifications, Contract Guidelines and OHS Act Requirements .......................21 


Annex B (Part 2)  Contract Guidelines ..............................................................................................24 


Annex B (Part 3)  OHS Act Requirements ........................................................................................27 


Annex C  Energy Control Unit (ECU) Installations Contract Guidelines ...........................................42 


Annex D  Electricity Dispenser (ED) installations – Contract Guidelines ..........................................44 


Annex E  Acknowledgement of Receipt Form...................................................................................45 


Annex F  Legal Compliance Guide when Appointing Principal Contractors Conducting Work on behalf 
of Eskom Distribution.........................................................................................................................46 


Annex G  List of Eskom Distribution Critical Tasks ...........................................................................47 


Annex H  Example of a Principal Contractor's Monthly Incident/Accident Statistical Report ............48 


Annex I  Health and Safety File .........................................................................................................49 


Annex J  Health and Safety Plan.......................................................................................................51 


Annex K  Typical Health and Safety Inspections to cover the following (where applicable) .............52 


Annex L  Impact Assessment ............................................................................................................53 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 2 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Foreword 


This document sets out the minimum legislative and organisational requirements that are applicable to 
Principal Contractors working at Eskom Distribution sites and premises.  


Revision history 


DATE REV. REMARK 


1997 0 Original issue – Stemmed from the Safety Department. 


April 1999 1 Document revised – at this point the Safety and  
Field Services documents were combined. 


May 2001 2 Document revised and improved from a Legal Liability point of view. 


April 2004 3 Document Title amended; 
Eskom Logo updated; 
Document Reference Number amended to bring it in Line with Corporate 
Identity; 
Following Sections of the Text were revised:  
Section 3 
Section 4.1 
Section 5 
Section 7 
Annexes Included or Revised: 
Annex B – new 
Annex C – new 
Annex D – new 
Annex E – Amended 
Annex F – new 
Annex G – new 
Annex H – Amended 
Annex I – new 
Annex J – new. 


Feb’06 3A Document Re-formatted According to a Standard Template;   
Annex B Part 1 included. 


Sept’06 0 Document Re-formatted According to a Standard Template;  
New Reference Number issued, changed from DISPVABF3 to 34-333;    
Document approved. 


April ’07 0A Document Name Changed;  
Aligned Content of Document to Corporate Document:32-136 
Updated Section 2- Normative References; 
Updated Section 3- Definitions and Abbreviations: 
Updated 3.1. Definitions, specifically: 
Amended 3.1.2. Client  
Amended 3.12. Health and Safety File 
Amended 3.1.13. Amended Health and Safety Plan  
Amended 3.1.14. Amended Health and Safety Specification 
Included 3.1.17. Operating, Construction and Maintenance Contracts, 
Included 3.1.20.  Project Based Contracts; 
The following Sections of the Text were revised: 
Section 4.1.1. Line Management Requesting the Service (The Client), 
specifically: 
Included 4.1.1.1. Project Based Contracts, 
Included 4.1.1.2. Operating, Construction and Maintenance Contracts 
Deleted Previous Heading- Authorisation of persons for the Operation 
and Maintenance of the power system; 
Included New Heading- 4.1.1.3. Eskom High Voltage Authorisations of 
Contractor Staff – also amended contents; 
Amended 4.1.3. Risk Management Department; 
Amended Heading- 4.1.5. Training and Development Department – 
Previously Technology and Development Department; 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 3 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Included 4.1.6. Technical Support Group; 
Amended 4.1.2.3. Procurement Department; 
Amended Section 4.2. Principal Contractor; 
Amended Section 4.3 Sub-contractor; 
Included Section 4.5. Non-compliance; 
Amended Annex B (Part1), specifically: 
Amended B3. Methodology Applied, 
Amended B4.4. Supervision, 
Included B4.5. Working in Prohibited areas, 
Included B4.6. Working under a permit, 
Included B4.7. Working in the vicinity of power lines, 
Included B4.8. Working with Construction Vehicles near power lines, 
Included B4.9. Employing Equipotential portable Earthing, 
Amended B5. Additional relevant information, 
Amended B9. Eskom Distribution Security Measures and General 
Principal Contractor Obligations, 
Amended B28. Fall protection, 
Amended B30. Vehicles and Mobile Equipment; 
Amended Annex E – Acknowledgement of Receipt form; 
Amended Annex I – Health and Safety File; 
Deleted Annex L – Bibliography (included in Section 2 Normative 
References) 


Aug’07 0B Voting. 


Oct’07 1 Document approved. 


Authorisation 


This document has been seen and accepted by: 


Name Designation 
  
I du Plessis Senior Business Performance – General Manager (Dx) 
A Stramrood Divisional Safety Manager (Dx) 
S Govender Dx Group Risk Specialist – Policies and Procedures 
T Barnard Safety Risk Co-ordinator – Eastern Region 


Development team 


List of people involved in the development of the document. 


Donald Kekana 
Peter Sebola 
Vimal Narsai 
Alex Stramrood 
Vusi Ndlovu 
Koos Cornelisen 
Leuba Dikgale 
Piet Cloete 


The last revision was completed by: 


Anesh Boodhram  


Cedric Booth  


David Hird  


Fanie van Jaarsveld 


Frans Lötter 


Jeffrey Mthimkulu 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 4 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


John Saayman 


Koos Kraftt  


Ockert Swanepoel  


Paul Diedericks 


Ted Barnard 


Sivendri Govender 


1. Scope 


1.1 Purpose 


The purpose of this procedure is to set out the minimum legislative and organisational requirements 
that are applicable to Principal Contractors working at Eskom Distribution sites and premises. 


1.2 Applicability 


This procedure is applicable to all Distribution Division sections, departments and units who have 
entered into contractual agreements with Principal Contractors to perform work for them, including 
construction related work.  


2. Normative references 


Parties using this document shall apply the most recent edition of the documents listed below: 


Occupational Health and Safety Act, Act 85 of 1993 


Labour Relations Act, Act 66 of 1995 (as amended) 


Mines Health and Safety Act, Act 29 of 1996 


Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) 


National Environmental Management Act, Act 107 of 1998 


Public Finance Management Act, Act 1 of 1999 (PFMA) 


Energy Control Unit (ECU) Report  


Eskom Contract Works Maintenance and Overhaul and Public Liability Insurance (Policy Number – 
MS ENG 426 5174) 


32-94: Safety Health and Environment (SHE) Policy 


32-136: Construction Safety, Health and Environmental Management 


32-188: Eskom's Procurement & Supply Chain Management Procedure 


34-132: Distribution Fire Risk Management 


34-145:  Assessment Procedure for Authorisation 


34-146:  Authorisation Procedure for Operating on High Voltage Systems 


34-163: Portfolio of Evidence for Authorisation 


34-227: Pre-task Planning and Feedback Process  


34-315: Emergency Preparedness 


34-316: Occupational Health and Safety Committee Systems 


34-332: First Aid Standard  


34-367: Management of Substance Abuse Procedure 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 5 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


34-368: Safety Requirements and the Procurement of Labour from Temporary Employment Services 


34-380: Identifying, Analysing, Documenting and Observing Tasks According to Criticality 


34-403: Risk Management Training  


34-440: Selection, Purchase and Storage of Hazardous Material 


34-444: Procedure for the Use and Maintenance of Portable Earthing Gear 


34-445: Standard for the use of Equipotential Earth Footplates  


34-487: Specification for Portable Earthing Gear 


34-350: The Reporting, Recording, Investigation, Costing and follow-up of Incidents/Accidents  


ESKAMAAE8: Procurement from Black Suppliers by Eskom 


ESKPVAAZ1: Environmental Management Plan Procedure (under review- new ref : 32-248) 


ESKPVAEY6: Operating Regulations for High Voltage Systems (ORHVS) 


DISPVABP6: Procedure for Refusal to Work on the Grounds of Health, Safety and Environmental 
Concerns 


DISASAAN0: Standard for the Labelling of High Voltage Equipment 


DISASABN7: Legal Appointments and Authorisations (under review- new ref: 34- 961) 


DISASABW3: Standard for a Fall Arrest System 


DISASACA2:  Medical Surveillance 


DISASACH6: Symbolic Signs and Colour Coding 


DISPVABK5: Inspection of Fibreglass Extension Ladders 


ESKADAAT6: Procurement from Black Suppliers  


ESKASAAW6: The Care and Maintenance of High Voltage Operating Sticks 


SCSPVABF4: Procedure for Barricading 


SA ENG 426 5174: Eskom Combined Contract Works/ Public Liability and Deductible Policy 


NRS 060: Code of Practice for Clearances for Electrical Systems with Rated Voltages up to and 
including 145Kv, for the Safety of Persons  


SCSASAAW8: Standard for Contractors Working in Close Proximity to Live Apparatus (under review –
new ref: 34-112)  


34-254: Manufacturing Specification for Distribution Equipment Labels 


SCSPVABX4: Procedure for the Handling of Non-conformances 


SCSPVACL6: Procedure for Using Fall Arrest System 


3. Definitions and Abbreviations 


3.1 Definitions 


All definitions in ESKPVAEY6, Operating Regulations for High Voltage Systems are applicable to the 
procedure as well as the following: 


3.1.1  Agent:  Means any person who acts as a representative of a client. 


3.1.2  Client:  Means any person for whom construction work is performed on the basis of contractual 
agreement formally entered into. (Within the Engineering and Customer Services environment the 
term “client” implies the Eskom Distribution employer and within the Eskom Distribution Commercial 
context the term “client” implies the requestor of the service.) 


3.1.3  Competent person:  In relation to construction work, means any person having the knowledge, 
training and experience specific to the work or task being performed: Provided that where appropriate 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 6 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


qualifications and training are registered in terms of the provisions of the South African Qualifications 
Authority Act, 1995 (Act No. 58 of 1995), these qualifications and training shall be deemed to be the 
required qualifications and training. 


3.1.4  Construction work:  means any work in connection with: 


a) the erection, maintenance, alteration, renovation, repair, demolition or dismantling of or addition to 
a building or any similar structure; 


b) the installation, erection, dismantling or maintenance of a fixed plant where such work includes the 
risk of a person falling;  


c) the construction, maintenance, demolition or dismantling of any bridge, dam, canal, road, railway, 
runway, sewer or water reticulation system or any similar civil engineering structure; or 


d) the moving of earth, clearing of land, the making of an excavation, piling, or any similar type of 
work. 


3.1.5  Contractor’s employees:  All those persons employed by the contractor to perform the work 
stipulated in the contract and who are remunerated by the contractor, including sub-contractor 
employees. 


3.1.6  Design:  In relation to any structure includes drawings, calculations, design details and 
specifications. 


3.1.7  Designer:  Means any person who: 


a) prepares a design; 
b) checks and approves a design; 
c) arranges for any person at work under his control (including an employee of his, where he is the 


employer) to prepare a design, as well as; 
d) architects and engineers contributing to, or having overall responsibility for the design; 
e) building services engineers designing details for fixed plant; 
f) surveyors specifying articles or drawing up specifications; 
g) contractors carrying out design work as part of a design and building project; 
h) temporary works engineer designing form work and false work; and 
i) interior designers, shop-fitters and landscape architects. 


3.1.8  Emerging contractor:  A contractor who in terms of Government’s economic policy needs to 
be given equal opportunities. For example a contractor typically listed as a Black Economic 
Empowerment Company (BEE). 


3.1.9  Employer:  Any person who employs or provides work for any person and remunerates that 
person or expressly or tacitly undertakes to remunerate him. 


3.1.10  Fall protection plan:  Means a documented plan, of all risks relating to working from an 
elevated position, considering the nature of work undertaken, and setting out the procedures and 
methods to be applied in order to eliminate the risk. 


3.1.11  Hazard identification:  Means the identification and documenting of existing or expected 
hazards to the health and safety of persons, which are normally associated with the type of 
construction work being executed or to be executed. 


3.1.12  Health and safety file:  Means a file, or other record in permanent form, containing the 
information about the Health and Safety Management System during construction and all information 
relating to the post-construction phase after hand over to the client, so that the client can maintain the 
works in a healthy and safe way. 


3.1.13  Health and safety plan:  Means a documented plan, which addresses hazards, identified and 
includes safe work procedures to mitigate, reduce or control the hazards identified. It is specific to 
each construction project undertaken and site where work is done, is compiled by the Principal 
Contractor or subcontractor, and must be approved by the client or agent prior to the commencement 
of any construction activities on a project. The Principal Contractor and the client (or agent, where 
applicable) must both be signatories to the Health and Safety Plan once negotiated, agreed and 
accepted. This plan has to be regularly updated to take account of any changes in project scope and 
unanticipated conditions. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 7 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


3.1.14  Health and safety specification:  Means a documented specification of all health and safety 
requirements pertaining to the associated works on a construction site, so as to ensure the health and 
safety of persons, both workers and the public. The client compiles the health and safety specification, 
which must be specific to each construction project, site and scope of work.  


3.1.15  Method statement or safe work procedure:  Means a written document detailing the key 
activities to be performed in order to reduce as reasonably as practicable the hazards identified in any 
risk assessment. 


3.1.16  Mandatory:  Includes an agent, a contractor or a sub-contractor for work, but without 
derogating from his status in his own right as an employer or user.  


3.1.17  Operating, Construction and Maintenance Contracts: The scope of works in this type of 
contract is broadly defined and complicates the health and safety specification, safety plan and 
compliance management in terms of the Construction Regulation. 


3.1.18 Principal Contractor:  Eskom Distribution enters into a commercial contract with an 
independent person/registered business to provide a very specific service to the business. The 
Principal Contractor in this instance operates independently, and can at any point in time also render 
services to other companies.  The relationship between Eskom Distribution and the Principal 
Contractor is managed in terms of the conditions stipulated in a contract via the applicable commercial 
and procurement process. (The term does not include sub-contractor(s). The Principal Contractor is 
responsible for ensuring that all sub-contractors working for him adhere to contractual requirements 
and obligations.) 


3.1.19  Principal Contractor and sub-contractor management:  The management of the company 
that the contract is awarded to and their management of their sub-contractors. The relationship 
between the Principal Contractor and the sub-contractor will be governed by the contractual 
arrangements into which they have entered. 


3.1.20 Project Based Contracts: The scope of work is narrowly defined in this type of contract. 


3.1.21  Project Manager:  The Project Manager is the duly authorised Eskom Distribution 
Representative who acts on Eskom Distribution’s behalf as the Administrating officer for the purposes 
of the contract. (The term “Project Manager” in the context of this procedure should be used in its’ 
broader context and should not be restricted to the designation of Project Manager in any specific work 
environment.) 


3.1.22  Risk Auditing System (RAS):  RAS is an Eskom, computer-based auditing system.  With the 
exception of Risk Finance, RAS covers all risk control disciplines such as safety, health, security, 
operating, maintenance, environment and fire. 


3.1.23   Risk Management:  All activities related to accident and disease prevention, fire prevention 
and protection, occupational health and hygiene, damage and loss control, public safety, emergency 
preparedness, security and environmental management. 


3.1.24  Sub-contractor:  A contractor who is contracted in by the Principal Contractor to the 
business. 


3.1.25  Structure:  Means: 


a) any building, steel or reinforced concrete structure (not being a building), railway line or siding, 
bridge, waterworks, reservoir, pipe or pipeline, cable, sewer, sewage works, fixed vessels, road, 
drainage works, earthworks, dam, wall, mast, tower, tower crane, batching plants, pylon, surface 
and underground tanks, earth retaining structure or any structure designed to preserve or alter any 
natural feature, and any other similar structure; 


b) any formwork, false work, scaffold or other structure designed or used to provide support or 
means of access during construction work; or 


c) any fixed plant in respect of work which includes the installation, commissioning, decommissioning 
or dismantling and where any such work involves a risk of a person falling two meters or more;  


3.1.26  Temporary Employment Service: 


(As defined in the (LRA) Labour Relations Act 66 of 1995, Section 198): 


1)  Any person who, for reward, procures for or provides other persons to a client. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 8 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


a) renders service to, or performs work for, the client, and 


b) is remunerated by the Temporary Employment Service. 


2)  For the purposes of this Act, a person whose services have been procured for or provided to a 
client by a Temporary Employment Service is the employee of that Temporary Employment Service, 
and the Temporary Employment Service is that person’s employer. 


3)  Despite subsections (1) and (2), a person who is an independent contractor is not an employee of a 
Temporary Employment Service, nor is the Temporary Employment Service the employer of the 
person. 


NOTE:  Our contract should clearly identify Temporary Employment Services as contractors as per the Labour Relations 
Act and they too shall comply with this procedure. Refer to 34-368 for further information regarding procuring labour from 
a Temporary Employment Service; this document stipulates the specifications for these contracts. 


3.1.27 The company:  Means Eskom Distribution 


3.2 Abbreviations 


3.2.1  GMR:  General Machinery Regulations. 


3.2.2  OHS Act:  Occupational Health and Safety Act, Act 85 of 1993 


3.2.3  ORHVS:  Operating Regulations for High Voltage Systems 


3.2.4  PPE:  Personal protective equipment. 


3.2.5  T & Q:  Technology and Quality department. 


4. Roles and Responsibilities 


Roles and responsibilities relating to the implementation of the document. 


4.1 Eskom Distribution Departments 


The following departments represent the key role players within Eskom Distribution in terms of 
contractor management. 


� Line Management (Representing a Distribution department, as the internal client requesting the 
service) 


� Commercial – Supplier Management and Procurement 
� Risk Management 
� Technology and Quality 
� Training and Development 
� Technical Support 
� Programme Management (Project Managers, Clerk of Works) 


These seven departments must work closely together through the following five phases to ensure the 
successful completion of the contractual requirements: 


Phase 1: Supplier management (Supplier evaluation) 
Phase 2: Tendering phase (Contractor selection) 
Phase 3: Precaution phase (After the selection of the contractor but before the commencement of 
work) 
Phase 4: Execution phase (During the execution of the work) 
Phase 5: Post execution phase (After the completion of the project)  


4.1.1 Line Management Requesting the Service (The client) 


Line Management as the internal Eskom Distribution department wanting to procure a service shall be 
held responsible for providing the Procurement Department with the scope of work and the project 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 9 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


specific technical and safety requirements that need to be met in order to successfully complete the 
project. These project job specific requirements need to be included, by the buyer, in the tender 
documentation in order to ensure that the contract is awarded to a competent contractor.  


4.1.1.1 Project Based Contracts 


These projects contractually have a fixed start and end date and the roles and responsibilities of the 
parties in so far as the Health and Safety Requirements will be binding for that period only. The 
primary health and safety relationship is established between the Principal Contractor and the Project 
Manager.  


At the tender stage, the Client shall prepare and provide a health and safety specification and any 
other information, which might affect the health and safety of any persons carrying out any work for the 
duration of the contract. 


Once the contract has been awarded Line Management (the client) shall nominate a competent 
person (a Project Manager) to co-ordinate all activities relating to health and safety for the duration of 
the contract.  


Thereafter the Eskom Distribution Project Manager shall: 


a) Ensure that the pre-project risk assessment results are included in the design hand over document 
to ensure that all identified risks are known, addressed and managed by the Principal Contractor 
during the contract.  


b) Ensure that the Principal Contractors submitting tenders have made provision for the cost of health 
and safety measures for the construction work.  


c) Ensure, if a Principal Contractor intends to use a subcontractor or subcontractors to perform work 
on the construction project, that this arrangement is indicated by the Principal Contractor during 
the tendering stage or at the commencement of work.  The Principal Contractor must indicate who 
his/her subcontractors are and provide evidence that the subcontractor(s) have the necessary 
competence and resources to carry out the work safely and to ensure that the duty of care to the 
environment will be discharged. 


d) Ensure that the Principal Contractor remains in good standing and is registered with the 
Compensation Commissioner for the duration of the entire contract period as opposed to only 
being registered at the time of the contract being awarded. 


e) Ensure that the Principal Contractor’s site-related appointments are in place and that they are 
specific and indicate for which areas within OHS Act individuals are responsible.  


f) Approve the Principal Contractor’s documented health and safety plan and ensure that it is 
implemented, maintained and available on request, so as to ensure that the Principal Contractor is 
able to manage his/her risks. This will include audits/inspections conducted by the Client/Employer 
at monthly intervals as agreed upon between the Client/Employer and the Principal Contractor. (A 
requirement specifically relating to construction related projects)  


g) After the selection and appointment of the Principal Contractor/Internal Service Provider have been 
concluded, the Client and the Principal Contractor/Internal Service Provider must complete and 
sign the “Notification of Construction Work”.  The Principal Contractor/Internal Service Provider 
must submit this notification to the Provincial Director prior to the commencement of work and 
retain evidence of such notification. Where multiple contractors perform construction work on the 
same site, the client or, if applicable, the appointed agent must forward this notification to the 
Provincial Director prior to the commencement of work. 


h) Not appoint a Principal Contractor to perform construction work unless the Client is reasonably 
satisfied that the Principal Contractor has the necessary competence and resources to carry out 
the work in a safe and healthy manner and to ensure that the duty of care to the environment is 
discharged. 


i) Provide the Principal Contractor with timeous health and safety information when circumstances 
change in the working environment.  


j) Have a signed copy of the contract that was entered into with the contractor working in his/her area 
of responsibility. Share the content of the contract document with the relevant Supervisors in 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 10 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


whose areas of responsibility the contractual work will be completed and the Supervisor shall 
ensure that Annex E is completed and filed for audit purposes. 


k) All Project Managers involved in construction work must be registered with the South African         
Council for the Project and Construction Management Professions (SACPCMP) in terms of the 
Project and Construction Management Professions Act, No 48 of 2000. 


l) Ensure that the Project Management Clerk of Works attends all site meetings. (A requirement 
specifically relating to construction related projects) 


m) Ensure that the Principal Contractors are informed of their responsibility to audit their 
subcontractors on their compliance with the approved Health and Safety plan as per the 
requirements of the Health and Safety file.  Audits must be done at intervals mutually agreed upon, 
but not less than once a month. 


n) Issue the Principal Contractor with a “work stop” or a “non-conformance report” if the Project 
Manager becomes aware of any sub-standard acts or conditions or any non-compliance with 
legislation, regulations or procedural requirements relating to health and safety aspects that are 
not being fulfilled by the Principal Contractor or any of his employees, Sub-contractors or Agents. 
(The work stop order or the non-conformance report shall be restricted to the site where the non-
conformance had occurred) 


o) Refuse any Principal Contractor employee, Sub-contractor or Agent access to its premises if that 
person had committed any unlawful act, any sub-standard working practice or is found to be 
unauthorised or unqualified in terms of the Occupational Health and Safety Act and Eskom 
Authorisations until the non-conformance has been investigated and resolved by the Distribution 
Project Manager. 


p) Implement in each area a contractor ORHVS authorisation tracking system to ensure that the 
necessary re-training takes place prior to the expiry of authorisations. 


q) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate. However the Eskom Distribution representative attending shall be mandated or 
appointed to attend the relevant contractor related incident investigation. Attendance is required 
primarily where Eskom plant and/or equipment are involved in an incident, in these instances the 
matter will be investigated in accordance with Distribution Procedure 34-350. 


r) Ensure that the Project Management Clerk of Works conducts periodic quality assessments at the 
Principal Contractor’s premises, his work places and on his employees to ensure that the 
contractor complies with agreed standards and system performance during the contract period. 


s) Ensure that no visitor enters a construction site without having first received a risk-based induction 
and, if applicable, thereafter having received the relevant risk-based PPE, where reasonably 
practicable. 


t) Ensure, prior to the commencement of construction work, that all persons involved in any 
construction work have received the Client’s project-specific induction training. Ensure that all 
contractors are informed of the need for their subcontractors and casual labour to receive the 
Client’s health and safety induction training. 


u) Ensure that the Principal Contractor is made aware of the requirement that he/she hands over the 
health and safety file to the Client on completion of the construction work.  The health and safety 
file must contain but not limited to all the requirements as per Annex I. 


v) Keep documented records of all training provided by Eskom.  


w) Ensure that the final contractual post-project inspections are undertaken to determine that 
mandatory warrantee inspection requirements are met. 


x) Ensure that where reasonably practical Field Service Officers are involved in the take over process 
to tighten control and assist with quality verifications.  


y) Ensure that the requirements of the contractual agreement are met and if they are not satisfactorily 
met, based on evidence, provide feedback to this effect to the responsible Line Manager and the 
Supplier Management Department to ensure that unscrupulous and poor performing Principal 
Contractors are removed from the approved suppliers list both regionally and nationally. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 11 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.1.1.2 Operating, Construction and Maintenance Contracts 


At the tender stage, the Client shall prepare and provide a health and safety specification and any 
other information, which might affect the health and safety of any persons carrying out any work for the 
duration of the contract. 


The primary relationship is established between the Principal Contractor and Line Management (16(2) 
Appointee). 


Once the contract has been awarded, Line Management (the client) shall nominate a competent 
person (GMR 2(1) Appointee) to co-ordinate all activities relating to health and safety for the duration 
of the contract who shall manage the following functions:  


a) Ensure that the Principal Contractor remains in good standing and is registered with the 
Compensation Commissioner for the duration of the entire contract period as opposed to only 
being registered at the time of the contract being awarded. 


b) Ensure that the Principal Contractors submitting tenders have made provision for the cost of health 
and safety measures for the construction work.  


c) Ensure, if a Principal Contractor intends to use a subcontractor or subcontractors to perform work 
on the construction project, that this arrangement is indicated by the Principal Contractor during 
the tendering stage or at the commencement of work.  The Principal Contractor must indicate who 
his/her subcontractors are and provide evidence that the subcontractor(s) have the necessary 
competence and resources to carry out the work safely and to ensure that the duty of care to the 
environment will be discharged. 


d) After the selection and appointment of the Principal Contractor/Internal Service Provider have been 
concluded, the Client and the Principal Contractor/Internal Service Provider must complete and 
sign the “Notification of Construction Work”.  The Principal Contractor/Internal Service Provider 
must submit this notification to the Provincial Director prior to the commencement of work and 
retain evidence of such notification. Where multiple contractors perform construction work on the 
same site, the Client or, if applicable, the appointed person must forward this notification to the 
Provincial Director prior to the commencement of work. 


e) Not appoint a Principal Contractor to perform construction work unless the client is reasonably 
satisfied that the Principal Contractor the Client intends to appoint has the necessary competence 
and resources to carry out the work in a safe and healthy manner and to ensure that the duty of 
care to the environment is discharged.  


f) Ensure that the Principal Contractor’s site-related appointments are in place and that they are 
specific and indicate for which areas within OHS Act individuals are responsible.  


g) Approve the Principal Contractor’s documented health and safety plan and ensure that it is 
implemented, maintained and available on request, so as to ensure that the Principal Contractor is 
able to manage his/her risks. This will include audits/inspections conducted by the Client/Employer 
at monthly intervals as agreed upon between the Client/Employer and the Principal Contractor. (A 
requirement specifically relating to construction related projects)  


h) Ensure that the Principal Contractors are informed of their responsibility to audit their 
subcontractors on their compliance with the approved Health and Safety Plan as per the 
requirements of the Health and Safety file.  Audits must be done at intervals mutually agreed upon, 
but not less than once a month. 


i) Provide the Principal Contractor with timeous health and safety information when circumstances 
change in the working environment.  


j) Have a signed copy of the contract that was entered into with the contractor working in his/her 
area of responsibility.  


k) Share the content of the contract document with the relevant Supervisors in whose areas of 
responsibility the contractual work will be completed and the Supervisor shall ensure that Annex E 
is completed and filed for audit purposes. 


l) All Project Managers involved in construction work must be registered with the South African         
Council for the Project and Construction Management Professions (SACPCMP) in terms of the 
Project and Construction Management Professions Act, No 48 of 2000. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 12 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


m) Ensure that the GMR 2(7) (a) Appointee or his/her delegate attends site meetings where required. 


n) Issue the Principal Contractor with a “work stop” or a “non-conformance report” if the Manager 
becomes aware of any sub-standard acts or conditions or any non-compliance with legislation, 
regulations or procedural requirements relating to health and safety aspects that are not being 
fulfilled by the Principal Contractor or any of his employees, Sub-contractors or Agents. (The work 
stop order or the non-conformance report shall be restricted to the site where the non-
conformance had occurred). 


o) Refuse any Principal Contractor employee, Sub-contractor or Agent access to its premises if that 
person had committed any serious misconduct, sub-standard working practice or is found to be 
unauthorised or unqualified in terms of the Occupational Health and Safety Act and Eskom 
Authorisations, until the non-conformance has been investigated and resolved by the Distribution 
Project Manager. 


p) Implement in each area a contractor ORHVS authorisation tracking system to ensure that the 
necessary re-training takes place prior to the expiry of authorisations. 


q) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate. However the Eskom Distribution representative attending shall be mandated or 
appointed to attend the relevant contractor related incident investigation. Attendance is required 
primarily where Eskom plant and/or equipment are involved in an incident. In these instances the 
matter will be investigated in accordance with Distribution Procedure 34-350. 


r) Ensure that the Project Management Clerk of Works conducts periodic quality assessments at the 
Principal Contractor’s premises, his work places and on his employees to ensure that the 
contractor complies with agreed standards and system performance during the contract period. 


s) Ensure that no visitor enters a construction site without having first received a risk-based induction 
and, if applicable, thereafter having received the relevant risk-based PPE, where reasonably 
practicable. 


t) Ensure, prior to the commencement of construction work, that all persons involved in any 
construction work have received the Client’s project-specific induction training. Ensure that all 
contractors are informed of the need for their subcontractors and casual labour to receive the 
Client’s Health and Safety induction training. 


u) Keep documented records of all training provided by Eskom. 


v) Ensure that the final contractual post-project inspections are undertaken to determine that 
mandatory warrantee inspection requirements are met. 


w) Ensure that Field Service Officers are involved in the quality and safety verifications.  


x) Ensure that the requirements of the contractual agreement are met and if they are not 
satisfactorily met, based on evidence, provide feedback to this effect to the responsible Project 
Manager and the Commercial Department to ensure that unscrupulous and repeated poor 
performing Principal Contractors are removed from the approved suppliers list, both Regionally 
and Nationally. 


y) Define, in consultation with the Principal Contractor, the number of contractor staff and the type of 
High Voltage Authorisations required by the Principal Contractor to conduct work safely.    


4.1.1.3 Eskom High Voltage Authorisations of Contractor Staff  


a) In order to maximise efficiency of both the Principal Contractor and Eskom Distribution operations, 
the staff of the Principal Contractor shall be appropriately authorised in terms of the High Voltage 
Operating Regulations ESKPVAEY6 in accordance with Distribution Procedure 34-146 to enhance 
their independence to work in restricted areas, and near/or on power lines. The extent of the 
authorisations will be established by the Field Services Centre Manager in whose area of 
responsibility the contractor will be employed. This will be done in the Contract Tender Stage. 


b) Unless specifically stated in a contract it shall not be the responsibility of Eskom Distribution to 
train Principal Contractor employees. 


c) The Distribution Field Service Centre Managers shall authorise the Principal Contractor staff in 
terms of Distribution Procedure 34-146.  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 13 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.1.1.4 Training 


a) The Client must ensure that all Principal Contractors that are awarded construction projects, as 
well as their employees, have participated in a generic Health and Safety Induction Training 
Programme, which are to be completed prior to commencement of any construction work. 


b) The client must ensure that site-specific induction training is completed prior to the commencement 
of any construction work. 


4.1.2 Commercial Department 


4.1.2.1 Distribution Corporate Commercial 


The Distribution Corporate Commercial Department shall devise national mechanisms to effectively 
deal with problematic contractors and share contractor information, good and bad, with other Regions 
to promote reliable contractors and neutralise problematic contractors. 


4.1.2.2 Supplier Management   


The Supplier Management Department shall: 


a) Ensure that the supplier management function qualifies suppliers in accordance with Eskom’s 
Procedure 32-188.   


b) Evaluate prospective contractors in terms of their compliance with applicable commercial, financial, 
quality, technical, environmental, legal, safety capability/capacity and human resources 
requirements, as well as performance ratings (where applicable), as determined by the specific 
functional areas within Eskom Distribution. If prospective contractors do not meet these 
requirements they should not be listed. 


c) Consult with the necessary role players e.g. Risk Management, Environment, Training and 
Development and Technology and Quality etc. before approving suppliers. (Refer to 32-188 
Eskom’s Procurement & Supply Chain Management Procedure.) 


d) Ensure that the contractor database contains sufficient detail in order to accurately portray each 
contractor’s field of expertise and limitations. 


e) Determine the applicability of the Construction Regulations in relation to the nature of the services 
that may be requested in future. 


f) Develop an approved suppliers list for Eskom Distribution. 


g Ensure the removal of qualified suppliers from the approved suppliers list, after receiving 
substantiated motivation from Line Management (the requestor), based on the fact that the 
Principal Contractor’s business track record no longer meets Eskom Distribution’s standards. 


4.1.2.3 Procurement Department 


The Procurement Department shall: 


a) Evaluate prospective contractors in consultation with the relevant Line Manager in terms of their 
compliance with applicable commercial, financial, quality, technical, environmental, legal, safety 
capability/capacity and human resources requirements, as well as performance ratings (where 
applicable), as determined by the specific functional areas within Eskom Distribution, in relation to 
the specific contract. 


b) Determine the applicability of the Construction Regulations in relation to the scope of work. 


c) Obtain the required Health and Safety Specifications and clearly defined Scope of Construction 
Work to be performed from Line Management/the requestor. 


d) Ensure that the Scope of Construction Work to be performed and Health and Safety Specifications 
prescribed by Line Management/the requestor forms part of the tendering information. 


e) Invite all tendering Principal Contractors to attend the pre-project site meeting to ensure that they 
are able to tender having full knowledge of the project criteria. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 14 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


f) Consult with the necessary role players e.g. Risk Management, Environment and Technology and 
Quality etc. in order to establish the competency of the contractor before a contract is awarded and 
to ensure that the specifications of the contract and the project will be met during the execution of 
the contract. The Health and Safety Plan must be evaluated against the Health and Safety 
Specification and verify that the cost of health and safety has been incorporated in the tender 
application. (Refer to 32-188- Eskom’s Procurement & Supply Chain Management Procedure.) 


g) Not appoint a Principal Contractor to perform construction work, unless the client (Eskom 
Distribution Line Management / the requestor) is reasonably satisfied that the Principal Contractor, 
which he or she intends to appoint, has the necessary competencies and resources to carry out 
the work safely. 


h) Ensure that there is written confirmation of insurance cover on all services and construction work 
contract files. 


i) Appoint the Principal Contractor.  


j) Ensure that the content of the Health and Safety Plan is negotiated, where applicable, agreed and 
signed off by the Client/ Agent and Principal Contractor. 


k) Ensure that all contract documentation is properly signed and approved prior to the 
commencement of the contract. This includes ensuring that after the selection and appointment of 
the Principal Contractor have been concluded, the Client and Principal Contractor must complete 
and sign the “Notification of Construction Work”. The Principal Contractor must submit this 
notification to the Provincial Director prior to the commencement of work and retain evidence of 
such notification.  


l) Ensure the provision of the relevant Eskom standards, procedures and processes were the 
Principal Contractor is not in possession of a sophisticate communication system e.g. access to 
the internet. 


m) Incorporate a formal contractor performance appraisal system whereby Project Managers, Clerks 
of Work and Field Service Officers and any other persons who perform a controlling function over 
the contractors may register their appraisals with the Procurement Department. 


n) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate, specifically where the interpretation of contractual clauses have become an issue. 


o) Establish and conduct regular contractor forums, and invite all stakeholders to participate e.g. Risk 
Management, Technology and Quality, Training and Development and Capital Programme, to 
provide an opportunity to share information with them, thereby ensuring that contractors are in 
possession of, and are familiar with, the latest Regional requirements, standards, procedures and 
processes, as well as information on recent accidents that may be used to enhance their own 
safety programmes. This will also give the Region the opportunity to receive feedback from the 
contractors on generic issues.  


4.1.3 Risk Management Department 


The Risk Management Department shall: 


a) Participate in the contractor selection process. 


b) Assist the Project Manager with pre-project risk assessments. 


c) Conduct periodic risk audits at the Principal Contractor’s premises, his work places and on his 
employees to ensure the contractor’s compliance with agreed standards and system performance 
during the contract period. 


d) Consolidate statistics on Principal Contractor related accidents and/or incidents. 


e) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate, and where mandated or appointed to attend. Attendance is primarily required where 
Eskom plant and/or equipment are involved. 


f) Recommend to both Line Management and the Supplier Management Department the removal of 
a qualified Principal Contractor from the approved suppliers list where there is evidence of non-







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 15 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


adherence to OHS Act requirements and where the Principal Contractor has an unacceptably high 
incident rate, during the contract period.  


g) Develop a RAS template to monitor compliance to this procedure. 


4.1.4 Technology and Quality Department 


The Technology and Quality department shall:  


a) Participate in the contractor selection process. 


b) Conduct periodic quality assessments at the Principal Contractor’s premises, his work places, 
material and on his employees to ensure the contractor’s compliance with agreed standards and 
system performance during the contract period. 


c) Monitor contracts during the execution of the project for conformance. 


d) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate, and where mandated or appointed to attend. Attendance is primarily required where 
Eskom plant and/or equipment are involved. 


e) Recommend to both Line Management and the Supplier Management Department the removal of 
a particular contractor from the approved suppliers list where there is evidence of non-adherence 
to Eskom Distribution’s quality standards both during the contract period and after the project was 
handed over. 


4.1.5 Training and Development Department 


a) Provide the necessary training to bring contractors up to Eskom’s level of Authorised Person in 
terms of the Operating Regulations for High Voltage Systems. 


b) Where requested provide contractors with the Eskom list of approved service providers for safety 
training. 


4.1.6     Technical Support Group 


a) Provide the necessary guidance on evaluation and authorisation of contractors for working on HV, 
MV and LV systems. 


b) Carry out RAS audits. 


c) Carry out on site inspections on equipment and materials for compliance in terms of Construction 
Regulations and applicable Standards. 


d) Recommend to both Line Management and the Supplier Management Department the removal of 
a particular contractor from the approved suppliers list where there is evidence of non-adherence 
to Eskom Distribution’s quality standards both during the contract period and after the project was 
handed over. 


e) Participate in contractor related incident investigations where Eskom Distribution is invited to 
participate, and where mandated or appointed to attend. Attendance is primarily required where 
Eskom plant and/or equipment are involved. 


4.2 Principal Contractor 


The Principal Contractor shall: 


a) Ensure that the minimum legislative, regulatory and Eskom Distribution risk management 
requirements are complied with on all Eskom Distribution work sites. 


b) Notify the Provincial Director of the Department of Labour in writing of all construction work if it falls 
within the scope of Regulation 3 of the Construction Regulations. Where multiple contractors 
perform construction work on the same site, the Client or, if applicable, the appointed agent must 
forward this notification to the Provincial Director prior to the commencement of work. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 16 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


c) Be responsible for any risk management matters, standards and legal requirements that may stem 
from his/her contract. 


d) Provide the Eskom Distribution Project Manager and the responsible Line Manager (16(2) 
Appointee) with a copy of his/her Health and Safety Plan. The Health and Safety Plan shall contain 
all (but is not limited to) documentation listed in Annex J. 


e) Demonstrate adequacy and suitability of his/her Health and Safety Plan as per the Clients health 
and safety specification and must ensure that a copy of his/her health and safety plan is available 
on site at all times. 


f) Provide the Eskom Distribution Project Manager with a Health and Safety File which should 
include a record of all drawings, designs, materials used, list of contractor employees, the 
agreement and the type of work to be done. (Refer to Annex I) 


g) Submit to the Eskom Distribution Project Manager and the responsible Line Manager (16(2) 
Appointee) the contractor’s Compensation Commissioner’s registration number and all current 
goodwill certificates before the commencement of work and renewal periods, for record keeping 
purposes. 


h) Appoint a full time competent employee in writing to supervise the construction work and who 
informs, instructs and trains all employees under their control on any hazard and related work 
procedures before any work commences and thereafter, at such times as may be determined by a 
risk assessment. He shall also appoint a full time or part time Construction Safety Officer in writing 
depending on the size of the project or the degree of dangers. 


i) The appointed Construction Supervisor must not supervise construction work on any site other 
than the site for which such Supervisor has been appointed.  If a sufficient number of competent 
employee(s) have been appointed to assist the Construction Supervisor, then the Construction 
Supervisor may supervise more than one site. 


j) A training needs analysis must be drafted as per a documented training plan. Ensure that the 
training is recorded and available during any inspection, audit, or investigation. 


k) Ensure that all appropriate precautions are taken to protect persons present at work or in the 
vicinity of a construction site from all risks, which may arise from such site.  


l) Before the commencement of any construction work the Principal Contractor shall conduct a risk 
assessment, this should be done by a competent person appointed in writing. The risk 
assessment shall form part of the Health and Safety Plan and shall include Public Safety. 


m) Appoint competent staff to perform the work and ensure that all his/her staff are trained on the 
health and safety aspects relating to the work and that they understand the hazards associated 
with all other work being carried out on the premises. 


n) The Principal Contractors must ensure that an Occupational Health Practitioner screens their 
employees to ensure that their employees are fit to perform the work.  The Principal Contractor 
must prove to the client that his/her employees and subcontractors are on a medical surveillance 
programme, including entry and exit medical examinations, for the duration of the contract. 


o) The Principal Contractor must indicate who its Subcontractors are (including casual workers and 
Labour-broker employees) and ensure that they have the necessary competence and resources to 
carry out the work safely and to ensure a duty of care towards the environment. 


p) The Principal Contractor must supply his/her client’s Health and Safety Specifications to the 
Subcontractor(s). 


q) The Principal Contractor must take reasonable steps to ensure cooperation between all   
Subcontractors. 


r) The Principal Contractor must stop the Subcontractors if construction work is not in accordance 
with the Health and Safety Plan or if such work poses a threat to the health and safety of persons 
or a risk of degradation to the environment.  Any person can report unsafe or unhealthy practices 
or practices that pose a threat to the environment to the Principal Contractor or the Client.  A 
record must be kept of the stoppage, the actions taken, and any corrective measures that were 
implemented. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 17 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


s) The Principal Contractor must ensure, prior to the commencement of work on site, that every 
Subcontractor is registered and in good standing with the compensation fund or with a licensed 
compensation insurer. This should remain valid for the duration of the contract. 


t) The Principal Contractor must ensure that potential subcontractors submitting tenders have made 
detailed provision for the cost of health and safety measures during the construction process. 


u) Submit the names of the person(s) charged with OHS Act responsibilities to the Eskom Distribution 
Project Manager. 


v) Submit to the Eskom Distribution Project Manager a record of the names of contractor employees 
working on equipment or the network in his area of responsibility. 


w) Unless specifically stated in the contract it shall not be the responsibility of Eskom Distribution to 
train contractor employees. In terms of OHS Act, Section, 37(2) Eskom contracts out its 
responsibility as the employer. The contractor’s OHS Act 16(2) appointee shall have the 
responsibility.  


x) Ensure that where the Distribution Division is requested to train the contractors’ employees, in 
terms of the Operating Regulations for High Voltage Systems (ORHVS), this request shall be 
managed contractually and the relevant Principal Contractor’s employees shall be trained and 
authorised in terms of the scope of the contractor’s responsibilities for that particular contract. The 
requirements stipulated in Distribution Procedure 34-146 shall apply to the training and 
authorisation of Principal Contractor’s employees.  


y) Ensure that contractor employees are conversant with work procedures and that they adhere to 
such procedures. 


z) The Principal Contractor must ensure, prior to the commencement of construction work, that all 
persons involved in the construction work as well as the subcontractors have received the Client’s 
health and safety induction. 


aa) The Principal Contractor must ensure, prior to the commencement of construction work, that all 
persons involved in the construction work as well as the subcontractors have received task- 
specific training. 


bb) Ensure that all equipment and tools used comply with OHS Act requirements with respect to 
condition, use, care, storage, maintenance and the management thereof.  


cc) The Principal Contractor(s) must issue risk-based personal protective equipment (PPE) as a 
measure of last resort to their employees after mitigating the risk as far as is reasonably 
practicable.  Recipients of PPE must be trained in the proper use and care and, where 
necessary,  the maintenance of PPE.     


dd) Should the Principal Contractor or his/her subcontractors invite visitors to the site, they must be 
held accountable for the provision of PPE to their visitors. 


ee) The Principal Contractor must ensure that Consultants undertaking work in the “listed fields of 
practice” of the Natural Scientific Professions Act, No 27 of 2003 are registered “Professional 
Natural Scientists”. 


ff) Erect its’ own site huts, temporary buildings, storage areas, toilets, fencing and any other     
structure as may be required by it. Any such structures shall be positioned and erected in 
compliance with any instructions from Eskom Distribution and the relevant safety and fire 
prevention requirements. 


gg) Ensure that no alcohol or other intoxicating substance is brought onto the premises. Eskom     
Distribution will not permit the presence of anyone who is or who appears to be under the 
influence of alcohol, or any other intoxicating substance. Contractor employees’ shall avail 
themselves for breathalyzer and drug testing. 


hh) Immediately report all incidents referred to in the OHS Act Section 24, to the Department of 
Labour, to the Eskom Distribution Project Manager and Line Manager (16(2) Appointee). In this 
respect Eskom Distribution obtains an interest in the matter of any formal inquiry conducted in 
terms of Section 32 of the OHS Act. 


ii) The Principal Contractor must keep on site a record of all accidents and incidents reported in terms 
of Section 24 of the OHS Act. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 18 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


jj) Give the Eskom Distribution Project Manager and Line Manager (16(2) Appointee) its full 
participation and co-operation whenever the Company inquires into any matter related to health 
and safety at the premises. 


kk) The Principal Contractor must hand over a consolidated Health and Safety File to the Client on 
completion of the construction work.  The Principal Contractor must also hand over all drawings, 
designs, lists of materials used, and other applicable information about the completed structure, as 
well as the list of subcontractors, the agreement, and the type of work completed. 


ll) On completion of the work or whenever instructed by Eskom Distribution, remove all structures 
erected by it, as directed by the Company and rehabilitate the environment where required by law. 


4.2.1 Principal Contractor Employees 


The Principal Contractor’s employees shall: 


a) Co-operate as closely as possible with their employer in the application of the prescribed health 
and safety measures. 


b) Avoid any act that may endanger their own health and safety or that of fellow employees or 
members of the public who may be affected by their acts or omissions at work. 


c) Adhere to all Legislative requirements, Eskom and/or Distribution standard and procedures, the 
Contractor and the Local Authorities requirements. 


d) Have the right to obtain proper information from their employer regarding health and safety risks 
and health and safety measures related to the work processes. This information should be 
presented in forms and languages, which the workers easily understand. 


e) Use facilities placed at their disposal and not misuse anything provided for their own protection or 
that of others. 


f) Have the right to remove himself/herself from danger when he/she has good reason to believe that 
there is an imminent and serious danger to his/her safety or health, and the duty to inform his/her 
Supervisor immediately. 


g) Have the right and the duty at any workplace to participate in ensuring safe working conditions to 
the extent of their control over the equipment and methods of work adopted as they may affect 
health and safety. 


h) Report to the Eskom Distribution Project Manager any sub-standard acts and/or conditions which 
may come to their attention. 


i) Maintain the surrounding area of the work site in a neat and tidy condition.  


j) Participate in regular Health and Safety meetings. 


4.3 Sub-contractors 


a) In terms of the Construction Regulations, all the duties that the Client has towards the Principal 
Contractor, the Principal Contractor in turn has towards all his/her sub-contractors. It must be 
noted that the Principal Contractor remains accountable and responsible for his/her sub-
contractors.  


b) All the responsibilities reflected in the section on the responsibilities of Principal Contractors, which 
apply to the Principal Contractor, must apply to the Subcontractor. 


c) The relationship between the Principal Contractor and the Sub-contractor will be governed by the 
contractual arrangements into which they have entered. 


d) Whilst the Principal Contractor has overall responsibility for the site, this does not remove from the 
Sub-contractor any of their responsibilities. Any areas of concern should be discussed urgently 
with the Principal Contractor. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 19 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.4 Emerging Contractors 


a) The development of Black or Black Empowering Suppliers/Contractors shall be done in 
accordance with the policy on Procurement from Black Suppliers- ESKADAAT6.  


b) Development areas or areas for improvement shall be identified during the supplier management / 
qualification process. Record shall be kept of the action required and an agreed time period shall 
be given to the supplier/contractor to develop to the required standards in accordance with 
ESKADAAT6.  


4.5 Non-compliance 


a)  Eskom views the following at-risk behaviour in a very serious light: 


• Anyone disregarding any requirements contained in the OHSA, NEMA, Eskom Health, 
Safety, and Environmental Policies, this document, site specifications, and approved 
Health and Safety Plans; 


• Anyone performing an unsafe act or creating an unsafe condition that could pose a danger 
to such person(s) or to others; 


• A Principal Contractor allowing any of his/her own employees or employees of their 
subcontractors (including casual labourers or Labour-broker employees) to work on any 
site without ensuring that each employee has received proper training. 


b) Any such person described above will be subjected to a disciplinary process, and if found guilty, 
this may lead to dismissal in the case of an Eskom employee, and in the case of a Principal 
Contractor, it may result in the cancellation of the contract and blacklisting. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


OHS ACT REQUIREMENTS TO BE MET BY Reference: 34-333 


PRINCIPAL CONTRACOTRS EMPLOYED BY Revision: 1 


ESKOM DISTRIBUTION Page: 20 of 53 
 
 


JFScholtz/May’07 (Rev 1) to ensure traceability 
 
 When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it 
is in line with the authorised version on the website.   Note: This document has not been through the EDC processes prior to 
authorisation. 


Annex A 


 


 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 


ESKOM DISTRIBUTION PROCESS: 


� Line Management, Procurement, Project Management, Risk Management and T&Q need to be involved in finalising contracts. 


� We have shared legal liability based on negligence and contractual agreements. 


� Distribution proper induction and understanding. 


� Principal Contractors report accidents to Eskom and the Regional Risk Managers provide statistics when required. 


� Project Manager to review contract requirements as per the requirements of the contract. 


Legend: 
• BEE – Black Economic Empowerment   


• BWO – Black Woman Owned                               


• LRA – Labour Relations Act                                


 


CONTRACTOR 
 


TEMPORARY 
EMPLOYMENT 


SERVICES 


EMERGING 
MARKET 


 


SUB 
CONTRACTOR 


EMERGING 
CONTRACTOR 


 


♦ Own employer. 


♦ Own COID registration. 


♦ Distribution contract and 
agreement in place. 


♦ Report accidents to us for 
recording keeping 
purposes. 


♦ Own Investigations. 


 


♦ Contracted by 
contractor. 


♦ Contractor elements 
apply. 


 
 


♦ Typical BEE/BWO. 


♦ Social Responsibility. 


♦ We Train. (on request) 


♦ We supervise specific 
tasks for periods of 
time. 


♦ Contractor elements 
apply. 


 


♦ LRA – own 
employer. 


♦ In contradiction to 
OSH Act. 


♦ LRA – over-rides. 


♦ Contractor 
elements apply. 


HOME 
INDUSTRY 
(contractor/ 
employee) 


i.e. Information  
Technology (IT) 


♦ Ideally as per 
Contractor. 


♦ Insurance risk. 


♦ Accident risk. 


♦ Disease risk. 


♦ Equipment and tools 
management and 
servicing. 


CONTRACTOR MANAGEMENT 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


OHS ACT REQUIREMENTS TO BE MET BY Reference: 34-333 


PRINCIPAL CONTRACOTRS EMPLOYED BY Revision: 1 


ESKOM DISTRIBUTION Page: 21 of 1 
 


JFScholtz/May’07 (Rev 1) to ensure traceability 
 
 When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it 
is in line with the authorised version on the website.   Note: This document has not been through the EDC processes prior to 
authorisation. 


Annex B (Part 1) 
(informative) 


Health and Safety Specifications, Contract Guidelines and OHS Act 
Requirements 


Health and Safety Specifications 


1  Purpose 


Specification provides guidance to the Client in relation to the compilation of the required Health and 
Safety Specifications without detracting from his/her other duties and responsibilities as required by 
the Construction Regulations. 


This specification is aimed at helping Line Managers to comply with the requirements of the 
Construction Regulations while protecting the Organisation against potential legal liability risks. 


Site specific specification must be compiled by the Client or Designated employee  


2  Responsibilities 


2.1  Network Services  


From a Distribution Divisional perspective the Network Services Department shall be required to draw-
up specifications as they design projects however other departments may also be required to develop 
Health and Safety Specifications in accordance with their business needs in compliance with the 
Construction Regulations.  


2.2  Capital Programme and Commercial 


The Capital Programme and Commercial Departments shall ensure that all new tenders that are sent 
out include Health and Safety Specifications prior to the conclusion of contracts.  


2.3  Risk Management and Technical Support  


Risk Management and Technical Support Departments shall be responsible for carrying out regular 
audits, inspections and site visits. The focus of these audits, inspections and site visits shall be to 
monitor Contractor compliance to his/her Health and Safety Plan, in accordance with the Construction 
Regulations.  


3  Methodology Applied  


The methodology applied in developing this Health and Safety Specification was based on the 
understanding of the Distribution working environment with regards to the practical application of the 
Construction Regulations.  


A Risk Assessment must be carried out by Project Engineering to determine whether it is a Project 
based Contract or Operating, Construction and Maintenance Contract. 


The work activities involved in the above mentioned projects have repetitive tasks, which includes the 
following:- 


Working above ground level 
Digging of holes (excavation) 
Blasting (the use of explosives) 
Supervision 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 22 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Working in Prohibited areas 
Working under a permit 
Working in the vicinity of power lines 
Working with construction vehicles near power lines  
Employing equipotential portable earthing 


4  Specifications in Relation to the Above Mentioned Work Activities 


4.1  Working Above Ground Level 


The Principal Contractor shall ensure that employees are issued with a Fall Arrest System as the 
minimum personal protective equipment in accordance with the following procedure – SCSPVACL6: 
Procedure for Using Fall Arrest System.  


The Construction team must have an appointed Supervisor when work is performed above ground 
level at all times. 


Ladders shall be in accordance with Eskom specifications and regular inspections shall be conducted. 
For further details refer to DISPVABK5: Inspection of fibreglass extension ladders. 


4.2  Specification for Digging of Holes 


Holes that have been dug shall be safe guarded in order to prevent the risk of people and/or animals 
from falling into those holes.  


4.3  Specification for Blasting 


The use of explosive material shall be in accordance with the following Eskom Distribution Standard- 
SCSASAAY0: Standard for Blasting Under or Adjacent to Eskom Overhead Power lines and 
Substations. 


4.4  Supervision  


Each Contractor construction team shall have an Authorised person in accordance with the Operating 
Regulations for High Voltage Systems or in accordance with the risks that have been identified when 
the plant is handed over by the Authorised person. The competent person shall have knowledge of the 
activities being performed and shall supervise the construction work being undertaken. (See 
ESKPVAEY6 (1.64)) 


4.5  Working in Prohibited Areas (Refer to ESKPVAEY6 (1.54 and 3.03) 


4.6  Working under a Permit (Refer to ESKPVAEY6 (Section8)) 


4.7  Working in the Vicinity of Power lines 


Where work is conducted inside the boundaries of the wayleave or servitude of an existing and 
energized power line, the work will be conducted by a Responsible person (ESKPVAEY6 (1.56)) in 
accordance with ESKPVAEY6 Section 8).  


4.8  Working with Construction Vehicles near Powerlines 


Where work is conducted with the aid of a construction vehicle with an extendable articulated 
component or a conductive body extending device that could encroach the safe working clearance 
tabled in ESKPVAEY6 (5.03.5.2.4), the work is deemed close proximity work as defined and specified  
in ESKPVAEY6 (5.03.5.2.4). 


All construction vehicles will meet the specifications of 34-487 and all work with construction vehicles 
will meet the requirements of Distribution Procedure 34-445. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 23 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.9  Employing Equipotential Portable Earthing 


Where work is to be performed under a permit on Medium or High Voltage Powerlines that has been 
opened, isolated and earthed in terms of ESKPVAEY6 (5.03.5), equipotential earthing will be applied 
by the contractor as specified by the Distribution Procedure 34-444 employing earths specified by 
Distribution Specification 34-487. Any work on apparatus will be conducted in a touch potential free 
working environment as required by the referenced documents. 


5  Additional Relevant Information 


5.1  Compliance to the incident management procedure (34-350). 


� A Flash Report to be submitted within 24 hrs after the incident to the designated Eskom Official 
e.g. the Project Manager, Risk Management Representative; 


� Conduct a Preliminary Investigation within 24 hrs after the incident; 
� Conduct the Formal Investigation within 7 working days after the incident. 


5.2  Compliance to the Operating Regulations for High Voltage Systems / Authorisations Standard.  
For further details refer to Distribution Procedure 34-146: Authorisation Procedure for Operating on 
High Voltage Systems. 


5.3  Principal Contractor to conduct risk assessments prior work execution. For further details refer to 
34-227: Pre-Task Planning and Feedback Process. 


5.4  Notification to be given to the relevant TSC prior to any construction work being undertaken.  
Establish and conduct Health and Safety Committee Meetings. For further details refer to 34-316: 
Occupational Health and Safety Committee Systems. 


5.5  The Principal Contractor shall ensure that at all  times an appointed Supervisor shall oversee all 
construction work. 


5.6  Legal appointments to be done in writing. For further details refer to DISASABN7: Legal 
Appointments and Authorisations. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 24 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Part 2) 


Contract Guidelines 


Note 1:  The foundation on which these guidelines were developed is the Occupational Health and Safety Act and 
related legislation in so far as they may have a bearing on occupational health and safety matters. 


Note 2:  The information covered below may be used as a guideline on Legislative and Risk Management Standards that 
need to be included, as minimum requirements, in an agreement or a contract with a Principal Contractor.  


Note 3:  Depending on the nature of the service required the guidelines below may not be applicable to all contracts.  


1  Scope of Work 


a) Eskom Distribution shall ensure, prior to the tendering process that a risk assessment is carried 
out to determine which occupational health and safety risks are likely to have an influence on the 
execution of the project. This occupational health and safety hazard identification and risk 
assessment is necessary to inform prospective tenders of the health and safety risks attached to 
the project and what preventative action may be taken in order to avoid unnecessary health and 
safety risks.  


b) Following the risk assessment, the preventative activities identified shall be incorporated in the 
tender/contract documents in order to enable prospective Principal Contractors to make provision 
for it in their tenders. 


2  The Nature of the Contractual Relationship 


a) The Principal Contractor shall acknowledge that the relationship between himself/herself and 
Eskom Distribution is for the provision of services as an independent contractor and not as an 
employee of Eskom Distribution, in terms of the Labour Relations Act, Act 66 of 1995 (as 
amended). 


b) The Principal Contractor and/or its’ employees shall in no way be deemed/or regarded as 
employees of Eskom Distribution. 


c) The Principal Contractor will be fully accountable for his/her sub-contractors in terms of contractual 
conditions. 


3  Occupational Health and Safety Agreement 


a) The Principal Contractor shall acknowledge that the contract constitutes an agreement in terms of 
Section 37(2) of the Occupational Health and Safety Act, whereby all responsibilities for health and 
safety matters relating to the contractor and/or its staff, the work that they are to perform on the 
premises/plant and the equipment that they use shall be the responsibility of the Principal 
Contractor. 


b) It shall be the Principal Contractor’s primary obligation to ensure that any person appointed by the 
Principal Contractor in terms of the OHS Act possess the knowledge and/or experience and/or 
qualifications required for such appointment, and shall be familiar with all the relevant provisions of 
the OHS Act.  


c) Where it is a requirement of the OHS Act that any appointments which are to be made by the 
Principal Contractor or any sub-contractor in terms of OHS Act, or any terminations of any such 
appointments, are to be notified to the relevant Divisional Inspector of the Department of Labour, 
within the time specified in the OHS Act, the Principal Contractor shall copy such notifications to 
the Eskom Distribution Project Manager within seven (7) days of submitting the same information 
to the Divisional Inspector of the Department of Labour. 


4  OHS Act Section 10 - Undertaking 


The Principal Contractor must assume responsibility in terms of Section 10 of the Occupational Health 
and Safety Act, for taking the necessary steps to ensure that any article or substance that he/she 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 25 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


designs, manufactures, imports, sells or supplies for use at work is safe and without risk to the health 
when properly used and complies with all prescribed requirements. 


5  Sub-contracting 


a) The Principal Contractor shall enter into written contracts with his sub-contractors in terms of 
section 37(2) of the Occupational Health and Safety Act, whereby all safety procedures and 
arrangements are agreed upon amongst them. 


b) All Sub-contractors have to be approved by Eskom Distribution before they may be appointed by 
the Principal Contractor. 


c) The Principal Contractor shall accept full responsibility for any acts or omissions of his sub-
contractors, when creating a safety, health or environmental hazard. 


6  Compensation for Occupational Injuries and Diseases 


The Contractor shall be required to furnish the Eskom Distribution Project Manager with a statement or 


a goodwill certificate obtained from the Compensation Commissioner’s Office, certifying that the 
Contractor is registered and is in good standing with the Compensation Commissioner’s Office. 


7  Insurance 


Refer to the following Insurance Policy for further details regarding insurance cover offered to 
contractors. 


Policy Number: SA ENG 426 5174: Eskom Combined Contract Works/ Public Liability and Deductible 
Policy. 


8  Indemnities 


Refer to the following Insurance Policy for further details regarding indemnity protection offered to 
contractors. 


Policy Number: SA ENG 426 5174: Eskom Combined Contract Works/ Public Liability and Deductible 
Policy. 


9  Disclosure of Confidential Information 


a) The Principal Contractor shall ensure that he and his employees, including sub-contracted 
employees, shall at all times, treat as confidential, and shall not make unauthorised use of 
information which is disclosed to or acquired by them, regardless of whether such information is 
expressly classified as confidential or not.  


b) The Principal Contractor shall ensure that he and his employees adequately protect any 
confidential information which they may obtain.  


c) The Principal Contractor shall immediately inform the Eskom Distribution Project Manager of any 
event of breach of confidentiality.  


10  Incorporation by Reference in Contracts 


External Standards, Eskom and/or Distribution Procedural documents may be incorporated by 
reference into Eskom’s Conditions of Contract. 


a) Therefore, this procedure supplements Eskom’s Conditions of Contract but shall not be considered 
as including all the responsibilities of Principal Contractors regarding the occupational health and 
safety requirements in terms of the Occupational Health and Safety Act, Act 85 of 1993. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 26 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


b) The overall responsibility for occupational health and safety requirements at the Distribution 
Division sites and work to be carried out on public property of Local Authorities shall remain with 
the Principal Contractor and his sub-contractor/s.  


c) All documents referred to in this procedure will be made available to the Principal Contractor by the 
Procurement Department who will consult with the necessary role players (i.e. Line Management, 
Risk Management, Environmental Management, and/ or other specialist as the need may be). 


d) The Client may however from time to time order variations, alternations, modifications, 
amendments, additions, changes, revisions, cancellations or insertions to health and safety 
requirements to be met by Principal Contractors, via the organisational documentation control 
processes, provided that such requirements are communicated in writing to the other party.  


Note:  No extension of time will be allowed as a result of any action taken by Eskom Distribution  in terms of, point c 
mentioned above, and the Principal Contractor shall have no claim against Eskom Distribution as a result thereof. 
Furthermore, no amendments to Legislation or the Regulations or reasonable amendments to Eskom Distribution’s 
Safety and Operating procedures shall entitle the Principal Contractor to claim any additional costs incurred in complying 
therewith from Eskom Distribution. 


e) If a Principal Contractor considers any of the requirements in the procedure as being too onerous, 
exemption from specific clauses may be requested in writing through the Procurement Department 
who will consult with the relevant role players (i.e. Risk Management, Field Services, Major 
Engineering Works and Capital Programme). 


f) Any difficulty experienced with the interpretation of this procedure may be discussed at any time 
with the Procurement Department who will consult with the necessary role players. 


g) The OHS Act Requirements “Acknowledgement of Receipt form for Principal Contractors” shall be 
completed and signed by the Principal Contractor on award of the contract. (Refer to Annex E) 


11  Payment 


Payment to the Principal Contractor may only be authorised after the final contractual post project 
quality and safety conformance inspection has been completed by the Eskom Distribution Project 
Manager.  


12  Dispute Resolution Mechanisms 


Dispute resolution mechanisms shall be available to parties both during and after the termination of a 
contract in terms of the NEC contract conditions. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 27 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Part 3) 
(continued) 


OHS Act Requirements 


1  Occupational Health and Safety Programme 


a) The Principal Contractor shall have his own approved Health and Safety Policy, which must be 
displayed, at his work site, if practical. 


b) The Principal Contractor shall formulate, implement and maintain an Occupational Health and 
Safety Programme, ensuring that his employees avoid any act, which may endanger their own 
health and safety or that of other persons who may be affected by their conduct. 


c) All aspects concerning occupational health and safety shall be a permanent standing item on all 
relevant site-meeting agendas. 


d) The Principal Contractor’s Occupational Health and Safety Programme shall ensure that his/her 
employees and sub-contractor employees adhere to Eskom Distribution’s Instructions, Standards, 
Procedures and Operating Regulations for High Voltage Systems. The programme shall ensure 
that his/her employees: 


• stay within clearly signed barricading and do not work in close proximity to live apparatus unless if 
live work is performed, 


• only work above ground level under continuous and direct supervision of the contractor’s 
appointed Supervisor, 


• wear appropriate personal protective equipment and/or clothing, 


• refrain from proceeding with the work in the absence of the appointed Supervisor; and  


• adopt Eskom Distribution’s Procedure on the management of substance abuse in its entirety. 


2  OHS Act Legal Appointments 


a) The appointment of Contractors in terms of the applicable legislation will depend on the following 
factors:  


• The duration of the contract. 


• The scope of the contract. 


• The hazards and risks involved in the work. 


Thereafter the successfully appointed Principal Contractor shall draw up an Occupational Health and 
Safety structure for the contract, which will form part of his/her Occupational Health and Safety 
Programme. 


b) Examples of Statutory Appointments required: 


• OHS Act Section 16(2) Employer 


• OHS Act GMR 2 (1) Supervisor of Machinery 


• OHS Act GMR 2 (7) Supervisor of Machinery Assistant 


• OHS Act Section 17 Health and Safety Representative 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 28 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Depending on the nature of the contract the assignations will be expanded. 


3  Safety at Workplaces 


3.1  All appropriate precautions shall be taken: 


a) to ensure that all workplaces are safe and without risk of injury to the health and safety of workers. 


b) to protect persons present at or in the vicinity of a construction site from all risks, which may arise 
from such site. 


3.2  All openings and other areas likely to pose danger to workers shall be clearly indicated. 


4  Means of Access and Egress 


Adequate and safe means of access to and egress from all workplaces shall be provided, indicated 
where appropriate and maintained in a safe condition. 


5  Good Housekeeping on Construction Sites 


a) A suitable housekeeping programme shall be established and continually implemented on each 
construction site which should make provision for: 


1) the proper storage of material and equipment; 


2) the removal of scrap, waste and debris at appropriate interval. 


b) Loose materials, which are not required for use, should not be placed or allowed to accumulate on 
the site so as to obstruct means of access to and egress from workplaces and passages.  


c) All combustible refuse must be removed from the inside of all buildings at the close of each day. All 
other waste must be removed at least once a week. 


d) The construction site should be suitably and sufficiently fenced off and provided with controlled 
access points to prevent the entry of unauthorised persons.  


e) Waste and debris shall not be disposed of from a high place with a chute, unless the chute 
complies with the requirements as set out in Construction Regulation 12(6). 


f) Material left lying about after completion of the contract will be removed by Eskom Distribution and 
the cost debited to the contract price.  


g) Eskom Distribution will not be held responsible for the loss of any material dealt with in this 
manner. 


h) The Principal Contractor must ensure that the work site is kept tidy for the duration of the contract.  


6  Prevention of Unauthorised Entry 


a) Construction sites in built-up areas or along traffic routes should be fenced off to prevent the entry 
of unauthorised persons. 


b) Visitors should not be allowed access to construction sites unless accompanied by or authorised 
by a competent person and provided with the appropriate protective equipment. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 29 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


7  Fire Prevention and Fire Fighting 


a) The Principal Contractor shall take the necessary precautions to prevent fires and/to minimise the 
consequences of fire, while performing work on Eskom Distribution sites and Public property. 


b) Fire extinguishing equipment shall be properly maintained and inspected at suitable intervals by a 
competent person.  


c) Access to fire extinguishers such a hydrants, portable extinguishers and connections for hoses 
shall be kept clear at all times.  


d) All Supervisors and a sufficient number of workers shall be trained in the use of fire extinguishing 
equipment, so that adequately trained personnel are readily available during all working periods. 


e) Workers shall be suitably trained in the action to be taken in the event of fire, including the use of 
means of escape. 


f) Where appropriate, safety symbolic signs shall be provided to indicate clearly the direction of 
escape in the case of fire. 


g) Sufficient and suitable means to give warning in case of fire shall be provided, where this is 
necessary, to prevent danger. Such warning should be clearly audible in all parts of the site where 
persons are liable to work. There should be an effective evacuation plan so that all persons are 
evacuated speedily without panic and accounted for and all plant and processes shut down. 


h) Notices should be posted at conspicuous places indicating:  


1) the nearest fire alarm; 


2) the telephone number and address of the nearest emergency services. 


8  Use and Storage of Flammable Liquids, Solids and Gases 


a) The Principal Contractor shall ensure that none of his/her employees work in an area where the 
vapour of any flammable liquid, solid or gas generated is of such an extent that a potential fire or 
explosion hazard is created, endangering the safety of any persons. 


b) The Principal Contractor shall ensure that all flammable liquids, solids and gases are stored in 
stores built for that purpose.  


c) Secure storage areas should be provided for flammable liquids, solids and gases in order to 
prevent trespassers. 


d) Flammable liquids on site should be stored in a well-ventilated, reasonably fire resistant container, 
cage or room and kept locked with proper access control measures in place. 


e) When decanting, the metal containers should be bonded or earthed. 


f) Gas cylinders should be stored under cover and ± 6 meters from the nearest buildings.  


g) The appropriate type and adequate amount of fire-fighting equipment shall be installed in suitable 
locations around the flammable liquid, solid or gas store.  


h) The appropriate safety symbolic signs shall be affixed at all entrances, prohibiting smoking and 
naked flames.  


i) Combustible materials such as packing materials, sawdust, greasy/oily waste and scrap wood or 
plastic should not be allowed to accumulate in workplaces but should be kept in closed metal 
containers in a safe place. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 30 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


9  Eskom Distribution Security Measures and General Principal Contractor 
Obligations 


a) The Principal Contractor and his/her employees and/or sub-contractor employees shall only 
access and exit premises through the main gate(s) and/or checkpoint(s) designated by Eskom 
Distribution. 


b) The Principal Contractor shall ensure that his/her employees observe the security rules of Eskom 
Distribution at all times and shall not permit any person who is not directly associated with the work 
from entering the premises. 


c) The Principal Contractor and his/her employees shall not enter into any area of the premises which 
is not directly associated with the work. 


d) The Principal Contractor shall ensure that all material, machinery or equipment brought on to the 
premises is registered at the main gate(s) and/or checkpoint(s). Failure to do this may result in a 
refusal by the company to allow the materials, machinery or equipment to be removed from the 
premises. 


e) All belongings, materials, machinery or equipment of the Principal Contractor and his/her 
employees shall be subject, at any time, to spot searches by Eskom Distribution. 


f) The Principal Contractor shall ensure that all road vehicles used on the premises are in a 
roadworthy condition, licensed and insured. All drivers shall have the relevant valid driving 
licenses.  


g) No persons shall be transported in the back of an open vehicle that is not specifically designed for 
carrying people. There will be cases where this is not reasonably practicable, for example, where 
vehicles are driven on site at low speed (less than 40km per hour), and proper seating and 
handrails have been provided.  


In such cases the carrying of persons in the back of such open vehicles could be explicitly allowed, 
after: 


• An assessment has been carried out indicating a very low risk; 


• Mitigating factors have been identified to control the risk; and 


• This has been discussed and agreed upon at the relevant Health and Safety Committee 
meeting. 


h) The Principal Contractor shall ensure that no hindrances, hazards, annoyance or inconvenience is 
inflicted on other Contractors, Eskom Distribution or Tenants. Where such situations are 
unavoidable, the relevant Contractor shall give prior notice to Eskom Distribution.  


10  Health Hazards 


a) Where a worker is likely to be exposed to any chemical, physical, biological hazard/agent and 
climatic conditions to such an extent that it may be dangerous to his/ her health, appropriate 
preventive measures shall be taken against such exposure. 


b) The preventive measures referred to in paragraph (a) should place emphasis on the need to 
eliminate or reduce the hazard at the source and in particular should require: 


1) The replacement of hazardous substances by harmless or less hazardous substances 
wherever possible;  


2) Technical measures applied to the plant, machinery, equipment or process;  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 31 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


3) Control the release of harmful agents or chemicals into the working environment; 


4) Training in manual lifting; 


5) Appropriate protection against climatic conditions likely to jeopardise health; 


6) Proper working posture when workers are required to work in fixed working positions or when 
they are carrying out repetitive work; 


7) Where workers are required to enter any area in which toxic or harmful substances may be 
present, or in which there may be an oxygen deficiency, or a flammable atmosphere, 
adequate measures shall be taken to guard against danger. 


8) Waste shall not be destroyed or otherwise disposed of on a construction site in a manner, 
which is liable to be injurious to health. 


Note:  Where it is not possible to comply with the above mentioned sub-paragraphs, other effective measures, including 
the use of personal protective equipment and clothing shall be applied. 


c) The employer should make arrangements for the identification and assessment by competent 
persons of health hazards presented by the use of different operations, plant, machinery, 
equipment, substances and radiations at the construction site and take appropriate prevention and 
control measures against the identified health risks in conformity with legislative requirements. 


11  Occupational Health Services 


a) The employer shall provide for the setting up of or access to an occupational health service. 


b) All workers shall be subjected to medical surveillance. 


c) Monitoring and control of the working environment and planning of safety and health precautions 
shall be performed in accordance with legislative requirements. 


d) A multiplicity of hazards are present in construction work and every effort shall be made to promote 
awareness of this fact and the need to safeguard health. 


e) Wherever new products, equipment and working methods are introduced, special attention should 
be paid to informing and training workers with respect to the implications for safety and health. 


12  First Aid and Facilities 


a) The Principal Contractor shall ensure that a sufficient number of trained first aiders are appointed 
for the number of employees on site.  


b) Taking into account the type of injuries that are likely to occur on site, the nature of the activities 
performed and the number of employees at such a work site, the Principal Contractor shall ensure 
that the first aid box contains the minimum requirements in accordance with the General Safety 
Regulations. 


c) First aid kits or boxes shall not contain anything besides material for first aid emergencies. 


13  Hazardous Chemical Substances 


a) If the Principal Contractor’s activities in performing the work, involve the handling of any hazardous 
chemicals or substances the Contractor shall implement such precautionary measures as may be 
required by the relevant legislation.  


b) The Principal Contractor must conduct an assessment to determine which employees are exposed 
to which hazardous chemical substances and shall provide the affected employees with the 
required training and personal protective equipment.  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 32 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


c) Training shall also be provided by the Principal Contractor on the correct use, care and limitations 
of such personal protective equipment. 


14  Personal Protective Equipment 


a) The provision and use of personal protective equipment by employees is the Principal Contractor’s 
responsibility. The Contractor shall be responsible to ensure that such equipment is worn at all 
material times. 


b) It is also the responsibility of the Principal Contractor to do a risk assessment to establish what 
type of PPE his employees are required to wear based on the nature of the hazard and the type, 
range and performance of the protection required. 


c) The Principal Contractor shall ensure that contractor employees are trained in the correct use, 
care, maintenance and limitations of PPE.  


d) Workers working alone on construction sites in confined spaces, enclosed premises or in remote 
or inaccessible places should be provided with an appropriate alarm and the means to rapidly 
summons assistance in an emergency. 


e) All personal protective clothing provided by the Principal Contractor to his/her employees should 
clearly display its’ Company logo. 


15  Construction Welfare Facilities 


a) An adequate supply of wholesome drinking water should be provided at or within reasonable 
access of every construction site  


b) The following facilities should, depending on the number of workers and the duration of the work, 
be provided, kept clean and maintained at or within reasonable access of every construction site: 


1) Sanitary and washing facilities or showers. 


2) Facilities for changing and for the storage and drying of clothing. 


3) Accommodation for taking meals and for taking shelter during interruption to work due to 
adverse weather conditions. 


4) Men and women workers should be provided with separate sanitary and washing facilities. 


16  Information and Training 


a) The training of Principal Contractor employees in occupational health and safety matters relevant 
to their work is the responsibility of the Principal Contractor, unless other arrangements have been 
made contractually. 


b) The Principal Contractor shall ensure that his officials and employees are acquainted with all 
relevant provisions of the Occupational Health and Safety Act, the Regulations and the 
requirements of all relevant Environmental Legislation. 


c) The Principal Contractor shall provide his/her employees with information on potential health and 
safety hazards to which they may be exposed at their workplace. 


d) The Principal Contractor shall instruct and train his/her employees in the measures available for 
the prevention, control and protection against those hazards. 


e) No person shall be employed in any work at a construction site unless that person has received 
the necessary information, instruction and training so as to be able to do the work competently and 
safely. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 33 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


f) The information, instruction and training should be given in a language understood by the worker 
and written, oral, visual and participative approaches should be used to ensure that the worker has 
assimilated the material. 


g) The Principal Contractor shall provide his employees with all personal protective equipment and 
the appropriate tools required for the safe and proper execution of the work. 


h) The Principal Contractor shall, if requested to do so by the Procurement Department, demonstrate 
to the satisfaction of the Risk Management Department, that his employees and any sub-
contractors have completed site and job orientation and any other qualifications and safety training 
that may be required by Eskom Distribution. 


i) The Project Manager shall ensure that the Principal Contractor and his staff undergo compulsory 
on site safety induction prior to commencing work on Eskom Distribution work sites. 


17  Symbolic Safety Signs 


The Principal Contractor shall display all the necessary health and safety warning signs in accordance 
with the identified hazards for the applicable work site. (General Administration Regulation 13) 


18  Communication 


The Principal Contractor shall have a system in place to ensure the immediate communication to 
his/her employees and the on-site application, of any new Legislation, Regulations or relevant Eskom 
Distribution Standard that may come into effect during the course of the contract. 


19  Reporting, Recording and Investigation of Accidents and Diseases 


19.1  Reporting 


a) Incidents, accidents and diseases shall be reported to the relevant authorities as stipulated in the 
Occupational Health and Safety Act, the Compensation for Occupational Injuries and Diseases Act 
and the various Environmental Legislation.  


b) These incidents shall also be reported to the Project Manager, within 24 hours after the incident, 
who will be responsible for reporting it to the relevant Distribution Risk Manager. 


c) The Principal Contractor shall collect all safety-related statistics and shall report it to the Eskom 
Distribution Project Manager at the end of each month. 


19.2  Investigations 


a) All incidents and accidents shall be investigated as stipulated in the Occupational Health and 
Safety Act. 


b) Thereafter corrective actions and recommendations agreed upon shall be followed-up on to assess 
the effectiveness of the remedial measures taken.  


19.3  Damage Incidents 


All damage to Eskom Distribution or Contractor buildings, structures, vehicles equipment and the 
environment shall be reported to the Project Manager and investigated promptly by the Contractor to 
ensure that action is taken to minimise possible production delays. 


19.4  Monthly Incident/Accident Statistical Information Reports 


At the end of each month the Principal Contractor on site shall submit the following information to the 
Project Manager and forward a copy to the relevant Eskom Distribution Risk Co-ordinator/Practitioner. 
(see Annex H) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 34 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


19.4.1  Injury types 


a) The number of fatal incidents. 


b) The number of diagnosed and reported occupational diseases. 


c) The number of disabling injuries. 


d) The number of medical incidents. 


e) The number of first aid incidents. 


19.4.2  Incident types 


a) The number of electrical contact incidents. 


b) The number of public incidents. 


c) The number of vehicle incidents. 


d) The number of environmental incidents. 


e) The number of damage incidents. 


f) The number of near-miss incidents. 


The Principal Contractor shall, briefly, provide the relevant details for each incident reported monthly. 


20  Environmental Management 


a) No scrap or refuse shall be left on site. 


b) No fires shall be made for waste destruction. 


c) The Principal Contractor’s hygiene facilities shall be of such a nature that the impact on the 
environment is minimised. 


d) Under no circumstances shall surface or ground water be polluted. 


e) The Polluter Pays Principle (PPP) is now legislated and defined in the National Environmental 
Management Act, Act 107 of 1998. The cost of remedying pollution, environmental degradation 
and consequent adverse health effects shall be paid by those responsible for causing the pollution, 
degradation and adverse health effects. The same shall apply to the cost of preventing, controlling 
or minimising further pollution, or environmental damage, or adverse health effects. 


f) The Principal Contractor shall issue the Project Manager with a list of all hazardous chemical 
substances that he will be using on site. 


g) All hazardous substances at the site shall be adequately stored and accurately identified, 
recorded, labelled and a Material Safety Data Sheet for each chemical shall be available on site. 


h) All waste hazardous substances shall be disposed of at a licensed Class H disposal site. 


i) All environmental incidents shall be reported to the Project Manager and the designated Provincial 
Departments and measures shall be taken to control, minimise and clean up the pollution. 


j) The site shall be kept neat and tidy at all times during the construction period. 


21  Occupational Health and Safety Representatives and Committees 


The Principal Contractor shall appoint Health and Safety Representatives and they shall form part of a 
statutory Health and Safety Committee. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 35 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


22  Notification of Construction Work 


The Principal Contractor who intends to carry out any construction work shall before carrying out that 
work notify the Provincial Director, at the Department of Labour, in writing of the construction work if it 
includes: 


a) The demolition of a structure exceeding 3 meters; 


b) The use of explosives to perform construction work; 


c) The dismantling of fixed plant at a height great than 3 meters; 


Before carrying out that work, notify the Provincial Director in writing when the construction work 


a) Exceeds 30 days or will involve more than 300 person days of construction work; 


b) Included excavation work deeper than 1 meter, and  


c) Includes working at a height greater than 3 metres above the ground or on a landing. 


The notification to the Provincial Director contemplated in sub-regulation (1) of the Construction 
Regulations must be done on a form similar to Annexure A of the said Regulations. 


A Principal Contractor shall ensure that a copy of the contemplated form Annexure A of the 
Construction Regulations is kept on site for inspection by an inspector, client, client’s agent or 
employee. 


23  Site Hand-over 


Before the Principal Contractor starts with the required construction work, the site must be formally 
handed over to the Principal Contractor by Project Manager. During this meeting all occupational 
health and safety requirements applicable are to be defined, confirmed and signed off. 


24  The Identification of Occupational Health and Safety Hazards 


a) The Principal Contractor shall, before proceeding with work, visit and inspect the site and shall 
establish whether there are any additional hazards to the health and safety of persons involved, in 
any work, which is to be performed there. The Principal Contractor shall report any additional 
hazards identified to the Project Management Clerk of Works. 


b) Each person working on a site or visiting a site, and the surrounding community shall be made 
aware of the dangers likely to arise from operations at the site and the precautions to be observed 
to avoid or minimise those dangers. The necessary signage shall be posted at all times. 


25  Reporting for Duty 


The Principal Contractor and/or its’ designated person appointed in terms of Section 16 (2) of the 
Occupational Health and Safety Act shall report to the designated Eskom Distribution Representative 
prior to commencing work at the premises.  


26  On Site Risk Assessments 


a) A risk assessment shall be conducted in accordance with Regulation 7 of the Construction 
Regulations. 


b) An On site toolbox talk including a risk assessment shall be conducted prior to the commencement 
of work. The team leader, after conducting pre-task planning and after facilitating the On site risk 
assessment shall share all the tasks at hand, the identified risks and control measures with all his 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 36 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


team members before commencing a specific task. This shall be done to ensure common 
understanding of the tasks, risks and control measures required. 


27  Supervision of Contractor Employees 


a) The supervision of contractor employees performing construction work shall be executed in terms 
of Regulation 6 of the Construction Regulations. 


b) The Principal Contractor shall ensure that the work is performed under the close supervision of a 
contractor’s employee.  


c) The Principal Contractor shall ensure that the Supervisor has been trained to identify and 
understand the hazards associated with the work and have the authority to ensure that 
precautionary measures prescribed by the OHS Act and Eskom Distribution are implemented.  


d) The Principal Contractor shall strictly enforce discipline against any of his/her employees regarding 
non-compliance by such employee with any health and safety requirement. 


e) The Principal Contractor shall not permit the use of any unsafe machinery, plant, equipment, 
vehicle (including cranes, hoists and forklifts), substances, article, material, tool, protective 
equipment, ladder or scaffolding on Eskom Distribution premises. 


f) The Principal Contractor shall not permit any of his/her employees to use any material, machinery 
or equipment of Eskom Distribution unless the prior written consent of the Company has been 
obtained.  


28  Fall Protection 


The Principal Contractor shall designate a competent person to prepare a fall protection plan, which 
will include a risk assessment of all work carried out from an elevated position. This shall be done in 
accordance with Regulation 8 of the Construction Regulations and DISASABW3: Standard for a Fall 
Arrest System. 


29  Structures 


a) The Designer shall before the contract is put out to tender, make available to the Client (the 
requestor) all relevant information about the design which may affect the pricing of the 
construction. 


b) The Designer shall also be required to inform the Principal Contractor in writing of any known or 
anticipated dangers or hazards related to the construction work. The following information should 
be made available: 


- a geo-science technical report where appropriate; 
- the loading the structure is designed to withstand ; 
- the methods and sequence of construction. 


In accordance with Regulation 9 of the Construction Regulations. 


30  Vehicles and Mobile Equipment 


a) All vehicles and earth-moving or materials-handling equipment should: 


1) be of good design and construction taking into account as far as possible ergonomic principles 
particularly with reference to the seat; 


2) be maintained in good working order; 


3) be properly used with due regard to health and safety; 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 37 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4) be operated by workers who have received appropriate training, by their employers, in 
accordance with legislative requirements. 


5) All drivers have the relevant valid licences. 


b) No vehicles shall carry passengers unless it is specifically designed to do so. 


c) The employer of all drivers and operators of vehicles and earthmoving or materials handling 
equipment shall ensure that the employees are medically fit, trained and tested in accordance with 
legislative requirements. 


d) On all construction sites on which vehicles, earthmoving or material handling equipment are used: 


1) safe and suitable access ways should be provided for them; 


2) traffic should be organised and controlled as to secure their safe operation. 


e) Adequate signalling or other control arrangements or devices should be provided to guard against 
danger from the movement of vehicles and earth moving or material-handling equipment. Special 
safety precautions should be taken for vehicles and equipment when manoeuvring backwards. 


f) The assistance of a trained and authorised signaller should be available when the view of the 
driver or operator is restricted. All involved should understand the signalling code. 


g) The Principal Contractor shall see to it that all his employees obey road traffic signs and speed 
limits at all times.  


h) Any person ignoring or violating traffic rules on site may be prevented from driving on the site or 
even prevented from entering the premises.  


i) When earth-moving or material-handling equipment is required to operate in dangerous proximity 
to live electrical conductors, adequate precautions should be taken, such as isolating the electrical 
supply or erecting overhead barriers of a safe height. 


j) Preventive measures should be taken to avoid the fall of vehicles and earth-moving or materials-
handling equipment into excavations or into water. 


k) Contractor owned construction vehicles and mobile equipment shall be in a roadworthy condition 
at all times in accordance with the National Road Traffic Act. (Refer to Regulation 21 of the 
Construction Regulations for details of all requirements under the heading of Construction vehicles 
and mobile plant.) 


l) Contractor owned vehicles shall display their own company logo on their vehicles used during the 
duration of the Eskom Distribution contract. 


31  Cranes 


Notwithstanding the provisions of the Driven Machinery Regulations promulgated by Government 
Notice No.R.533 of 16 March 1990, as amended, a Principal Contractor shall ensure that where tower 
cranes are used: 


a) account is taken of the effects of wind forces on the structure; 


b) account is taken of the bearing capacity of the ground on which the tower crane is to stand; 


c) the bases for the tower cranes and tracks for rail-mounted tower cranes are firm and level; 


d) the tower cranes are erected at a safe distance from excavations; 


e) there is sufficient clear space available for erection, operation and dismantling;  


f) the tower crane operators are competent to carry out the work safely; and  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 38 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


g) the tower crane operators are physically and psychologically fit to work in such an environment by 
being in possession of a medical certificate of fitness in accordance with Regulation 20 of the 
Construction Regulations. 


32  Excavations 


a) The Principal Contractor shall conform to the requirements as prescribed under the Construction 
Regulation 11 when carrying out any excavation work. 


b) Adequate precautions should be taken in any excavation, shaft, earthworks, underground works or 
tunnel: 


1) By suitable shoring or otherwise, to guard against danger to workers from a fall or 
dislodgement of earth, rock or other material. 


2) To guard against dangers arising from the fall of persons, materials or objects or the inrush of 
water into the excavation, shaft, earthworks, underground works or tunnel. 


3) To secure adequate ventilation at every workplace so as to maintain an atmosphere fit for 
respiration and to limit any fumes, vapour, dust or other impurities to levels which are not 
dangerous or injurious to health and are within limits laid down in legislative requirements. 


4) To enable the workers to reach safety in the event of fire, or an inrush of water or material. 


33  Demolition Work 


a) The Principal Contractor shall conform to the requirements as prescribed under the Construction 
Regulation 12 when carrying out any demolition work. 


b) When the demolition of any building or structure might present danger to workers or to the public: 


1) Appropriate precautions, methods and procedures should be adopted, including those for the 
disposal of waste or residues, in accordance with legislative requirements. 


2) The work should be planned and undertaken only under the supervision of a competent 
person. 


34  Tunnelling 


Any Contractor performing tunnelling activities shall comply with the Tunnelling Regulation as 
published under the Mine Health and Safety Act 1996 (Act No. 29 of 1996) as amended and 
Regulation 13 of the Construction Regulations. 


35  Entering Confined Spaces 


a) When Contractor employees have to enter a confined space or pipe, the Contractor must ensure 
that there is sufficient ventilation before entering the confined space. 


b) Measurements must be taken to see if it is safe to enter and a person must be on standby to 
supervise the process. 


36  Lock out Procedure 


The Principal Contractor must ensure that his/her employees working in substations are trained to do 
so. If required they must get a competent person who is authorised to do lock outs.  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 39 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


37  Scaffolding 


All scaffolding work operations are carried out under the supervision of a competent person who has 
been appointed in writing and that all scaffold erectors, team leaders and inspectors are competent. 


38  Suspended Platforms 


The Principal Contractor shall ensure that all suspended platform work operations are carried out 
under the supervision of a competent person who has been appointed in writing and that all 
suspended platform erectors, operators and inspectors are competent to carry out their work. The 
Principal Contractor shall ensure that proof of their training is kept on site. (In accordance with the 
requirements of the Constriction Regulation 15) 


39  Boatswain’s Chairs 


The Principal Contractor shall ensure that the boatswain’s chair is securely suspended and 
constructed in such a manner to prevent any occupant from falling there from. Ensure inspections are 
carried out prior to use and performance tests are carried out immediately after erection and a visual 
inspection daily. 


40  Material Hoists 


A Principal Contractor shall ensure that every material hoist and its tower have been constructed of 
sound material in accordance with the generally accepted technical standards and are strong enough 
and free from defects.  


41  Welding and Flame Cutting 


The Principal Contractor shall ensure that no welding or flame cutting is undertaken unless: 


a) The person has been fully instructed in the safe use of the equipment and in the hazards that may 
arise. 


b) He must ensure that all electrodes are effectively insulated. 


c) Area adequately ventilated. 


d) The workplace is effectively partitioned off and the relevant warning signs displayed. 


e) The Principal Contractor must ensure that when welding or flame cutting is undertaken, all 
flammable materials are removed or properly covered and that sufficient and suitable fire 
extinguishing equipment is placed at strategic locations. 


42  Hand Tools and Safeguarding of Machinery 


a) Machinery and equipment, including hand tools, should: 


1) be of a good design and construction, taking into account, as far as possible, health and safety 
and ergonomic principles; 


2) be maintained in good working order; 


3) be used only for the work for which they have been designed unless a use outside the initial 
design purpose has been assessed by a competent person who has concluded that such use 
is safe; 


4) be operated only by workers who have been authorised and given appropriate training; 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 40 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


5) be provided with protective safety devices including guards, shields, earths, tools, barricades, 
vehicles, chains, ropes, and all relevant safety signs. 


b) As far as practicable, safe operating procedures should be established and used for all machinery 
and equipment. 


c) Operators of machinery and equipment should not be distracted while work is in progress. 


d) Machinery and equipment should be switched off when not in use and isolated before any major 
adjustment, cleaning or maintenance is done. 


e) Where trailing cables or hose pipes are used they should be kept as short as practicable and not 
allowed to create a safety hazard. 


f) A maintenance programme shall be implemented on all items of equipment and proper records 
shall to be kept of inspections, testings and work performed on these items, as required by the 
Occupational Health and Safety Act. 


g) The Principal Contractor shall be responsible for inspecting and maintaining all his own tools, 
equipment and personal protective equipment.  


h) The Principal Contractor shall enforce the correct application, maintenance and use of the 
equipment and tools. 


43  Explosive Powered Tools 


a) The use of explosive power tools shall be executed in accordance with Regulation 19 of the 
Construction Regulations. 


b) No Principal Contractor shall use or permit any person to use an explosive powered tool, unless: 


1) It is provided with a protective guard around the muzzle end, which effectively confines any 
flying fragments or particles; and 


2) The firing mechanism is so designed that the explosive powered tool will not function unless 


� it is held against the surface with a force of at least twice its weight; and 


� the angle of inclination of the barrel to the work surface is not more then 15 degrees from 
a right angle: 


Provided that the provisions of this sub-regulation shall not apply to explosive powered tools in which 
the energy of the cartridge is transmitted to the bolts, nails or similar relevant objects by means of an 
intermediate piston which has a limited distance of travel. 


44  Electrical Installations and Machinery on Construction Sites 


a) In terms of electrical installations and machinery on construction sites Regulation 22 of the 
Construction Regulations will apply. 


b) All electrical equipment and installations shall be constructed, installed and maintained by a 
competent person, and so used as to guard against danger. 


c) Before construction commences and during the progress thereof adequate steps shall be taken to 
ascertain the presence of and to guard against danger to workers from any live electrical cables or 
apparatus which is under, over or on site. 


d) All parts of electrical installations should be constructed, installed and maintained so as to prevent 
danger of electrical shock, fire and external explosion. 


e) All electrical appliances and outlets should be clearly marked to indicate their purpose and voltage. 


f) A notice or notices should be kept exhibited at suitable places: 


1) Prohibiting unauthorised persons from entering electrical equipment rooms or from handling or 
interfering with electrical apparatus. 


2) Containing direction as to procedures in the case of fire, rescue of persons in contact with live 
conductors and the restoration of persons suffering from electrical shock. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 41 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


3) Specifying the person to be notified in case of electrical accident or dangerous occurrence, 
and indicating how to communicate with him. 


g) Persons having to operate electrical equipment shall be fully instructed as to any possible dangers 
of the equipment concerned. 


h) All electrical equipment should be inspected before it is taken into use to ensure that it is suitable 
for its proposed use. 


i) After the work has been completed on conductors and equipment, the current should only be 
switched on again on the orders of a competent person after the earthing and short-circuiting have 
been removed and the workplace reported safe.  


45  Stacking and Storage of Articles 


a) The stacking and storage of articles on construction sites shall be undertaken in terms of 
Regulation 26 of the Construction Regulations. 


b) The Principal Contractor shall ensure that stacks are safe.  


c) Stacking is to be executed by a person with specific knowledge and experience of this type of 
work.  


46  Vessels Under Pressure 


The Principal Contractor shall ensure that an Approved Inspection Authority tests all compressors and 
other pressure vessels the contractor intends to use on the specific site. Gas cylinders must always be 
stored in an upright position and properly chained. (Vessels Under Pressure Regulations 15, 16 and 
17) 


47  Water Environments 


A Principal Contractor shall ensure that where construction work is done over or in close proximity to 
water he/she shall ensure that measures are taken to prevent employees from falling into the water 
and ensure that rescue equipment is available, in accordance with Regulation 24 of the Construction 
Regulations. 


48  Record Keeping 


It is recommended as a result of, the onerous requirements stemming from the Construction 
Regulations that Line Management (the Client requesting the service) keep copies of all Contractor 
health and safety plans indefinitely depending on the nature of the risks that were identified in the 
required risk assessments. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 42 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex C 
(informative) 


Energy Control Unit (ECU) Installations Contract Guidelines 


These are the requirements that Eskom Distribution should include in its contracts with Principal 
Contractors, who will install or replace energy control units (ECU’s) on its’ behalf, to ensure that the 
practices of the Principal Contractors comply with the applicable Eskom Distribution requirements in 
terms of compliance to the relevant Eskom exemption. 


1  Occupational Health and Safety Act Requirements 


The following clauses based on the Occupational Health and Safety Act must be included in the 
contract. 


1.1  Undertakings 


a) The Principal Contractor must undertake, warrant and assume responsibility for compliance with 
the provisions of the Occupational Health and Safety Act in terms of Section 37(2). 


b) The contract, drawn up by the Procurement Department, must in writing set out the arrangement 
and procedure to ensure compliance by the Principal Contractor with the provisions of the 
Occupational Health and Safety Act. 


1.2  In Practical terms this will entail a Checklist: 


a) Agreed control measures to administer Eskom’s exposure. 


b) Checklist of compliance and submission of a Certificate of Appointment of 16(1) and (2) delegated 
senior persons, competent persons, accredited persons, training and supervision, written work 
procedures, adequate first aid facilities and PPE. 


c) The Principal Contractor must assume responsibility in terms of OHS Act Section 16(1) and if the 
Principal Contractor delegates any duty in terms of OHS Act Section 16(2), a copy of such written 
delegation must immediately be handed over to the Eskom Distribution Project Manager. 


d) The Principal Contractor must be barred from signing any undertaking in terms of OHS Act Section 
10(4) without the written approval of Eskom Distribution. 


e) The Principal Contractor must irrevocably declare that Eskom Distribution shall have an interest in 
any inquiry in terms of Section 31 and 32 into any incident involving the Principal Contractor, its 
employees and/or his sub-contractors. 


2  General Requirements 


2.1  Principal Contractor 


The criteria to be used in determining who a Principal Contractor is, is as follows, “It is any person or 
registered business doing work on behalf of Eskom Distribution”. It is important to clarify this, because 
it would be of no use to Eskom Distribution to conclude a contract with a contractor who in turn will 
enter into a contract with a sub-contractor because the sub-contractor will not be a party in the original 
contract between Eskom Distribution and the Principal Contractor. 


The Principal Contractor must, therefore, agree that he will not sub-contract without Eskom 
Distribution’s written approval.  The policy should, therefore, be that a written contract in terms of OHS 
Act Section 37(2) be entered into between Eskom Distribution and each Principal Contractor and they 
in turn with their Sub-contractors. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 43 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


2.2  Insurance 


a) The Contractor must warrant that his employees are covered in terms of the Compensation for 
Occupational Injuries and Diseases Act, 1993, and that those employees earning in excess of the 
amounts defined in the Act also have adequate cover. 


b) It may also be necessary to look at public liability cover. 


2.3  Other Terms 


The rest of the terms will be those standard in a contract and/or its annexes, and it is preferable that 
the person who signs the contract must be the OHS Act 16(2) delegated person.  This will ensure that 
Eskom Distribution will at all material times deal with the person who is operational and carries 
responsibility in terms of the Occupational Health and Safety Act. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 44 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D 
(informative) 


Electricity Dispenser (ED) installations – Contract Guidelines 


In the case where a Principal Contractor is contracted in to install an Electricity Dispenser (ED) on 
Eskom Distribution’s behalf, the same Contractor may also, for example, accept a contact from the 
customer to connect his electrical installation to the electricity supply and issue the customer with a 
Certificate of Compliance (CoC). 


Eskom Distribution and a Principal Contractor are free to conclude any contract between them.  See 
the minimum requirements as set out in - Energy Control Unit installations contract guidelines. 


The Principal Contractor is not an employee of Eskom Distribution and, therefore is entitled to 
participate in any economic activity of his choice insofar as that does not contravene the 
agreement with Eskom. 


If there is a clause on time management in the contract between Eskom Distribution and the Principal 
Contractor, there is no reason why the Principal Contractor should not accept other work. 


The South African courts have traditionally relied on the so-called “control test” to determine whether 
the relationship between two persons is that of a “master and servant” or that of an “employer and 
independent contractor.” 


In Smith v. Workmen’s Compensation Commissioner 1979(2) SA 51(A) the position was set out as 
follows: 


The legal characteristics of a location conduction operarum (dienstcontract) in Roman-Dutch Law is 
the duty of the employee (locator operatum) to obey the lawful commands, orders or instructions of his 
employer (conductor operarum) has concomitant right under (location conduction operarum) to 
supervise and control the manner in which the employee (location operarum) is to perform his 
services. 


Control is a wide concept.  It includes inter alia the right to decide what work is to be done, the manner 
in which it is to be done, the means to be employed in doing it, the time and place where it is to be 
done. 


The above text must guide Eskom Distribution not to conduct an Employer/Employee relationship in a 
contractual relationship with an Independent Contractor.  The “dominant impression” test of the 
relationship is important.  If the relationship is seen as defined in the above case, then and in that 
event, the Contractor is an employee and this means Eskom Distribution will be vicariously liable for 
the Contractor’s acts and omissions. 


It is therefore advisable to contract with the Principal Contractor in such a manner that he 
retains his independence subject to the arrangement and procedure in terms of Section 37(2) 
of the Occupational Health and Safety Act. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 45 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex E 
(informative) 


Acknowledgement of Receipt Form 


HEALTH AND SAFETY REQUIREMENTS TO BE MET BY PRINCIPAL 
CONTRACTORS EMPLOYED BY ESKOM DISTRIBUTION 


We ………………………………………………………...…………………………………………. have been 
 


engaged by ………………………………………………………………………… to perform work under a 


contract. 


We declare that we have familiarised ourselves with the requirements of the Occupational Health and 


Safety Act and related Legislation. We have also read and understand the health and safety rules 


governing our work at the above mentioned Company and agree to abide by them while on the 


premises. 


I,……………………………………………………………………………do hereby acknowledge having 


received the Distribution Procedure 34-333: Health and Safety Requirements to be met by Principal 


Contractors employed by Eskom Distribution. I undertake to study and abide by these requirements at 


all times. 


Furthermore, we undertake to explain the various rules and regulations to all our employees. 


Signed at:  ………………………………  on the  ….……………  day of  ………………...……  20……. 


 


 


_______________________________ 


Principal Contractor’s Signature 


 


 


_______________________________ 


Eskom Distribution – Project Manager 


 


(The Project Manager shall keep the original on file and a copy shall remain with the Principal 


Contractor) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 46 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex F 
(informative) 


Legal Compliance Guide when Appointing Principal Contractors 
Conducting Work on behalf of Eskom Distribution 


General Matters 
 


Responsible Eskom Distribution Manager dealing with Principal Contractor: 


Name:  …………………………………………..  Designation  …………………………….. 


Department:  …………………………………………………………………………………… 


Details of Principal Contractor:  


Name of Principal Contractor:  …………………………………………………….. 


Contact Person:  ………………………………….  Tel:  ……………………………..……... 


Nature of work performed:  ……………………………………………………………………. 


Duration of Contract:  ………………………………………………………………………….. 


Commencing date:  ……………………….  Completion date:  .…………………………… 


IMPORTANT ISSUES THAT MUST BE IN PLACE 


(Please indicate with a (√) in the Yes or No box to the following questions) 
 Yes 


 


No 
1. Section 37(2) OHS Act written agreement in place? (Reference- 34-333)  


 


 
    


 
 


 2. Is Annexure E “Acknowledgement of Receipt” of 34-333, signed by Contractor? 
 


 


 
    


3. Is the Contractor Registered with Compensation Commissioner (CC)?  
 


 
    


 
 


 4. Has the Contractor paid his/her assessment to CC? (Goodwill Certificates) (Annual 
Payment)  


 


 
    


 
 


 5. Have the Names of the Persons charged with the responsibilities of the Act been 
submitted to the Distribution Project Manager. (Section 16(2) OHS Act)  


 


 
    


6. Have Health and Safety Reps. been appointed? (If employing more than 20 employees)  
 


 
    


 
 


 
 


 


 
7. Is there a person with a valid first aid certificate? (Provide name to Distribution Project 


Manager if more than 5 employees are employed). (Are names submitted to Distribution 
Project Manager- GSR 3)?  


 


 
  8. Is high-risk work being performed as per the Distribution Critical Task List or as identified 


by the Contractor? (Contractor to provide a list of critical tasks that will be undertaken)  


 


 
    


 
 


 9. Are all the employees of the Contractor or Sub-contractors trained? (Obtain proof of 
training records)  


 


 
    


  10. Eskom Distribution will provide Eskom Distribution specialised training where applicable 
(See 34-146)  


 


 
    


11. Does Contractor or Sub-contractor understand their duties in terms of this agreement?  
 


 
    


12. Does the Contractor or Sub-contractor have a Health and Safety programme in place?  
 


 
13. If working in close proximity of live apparatus, is SCSASAAW8 issued to the contractor?  


 


 
    


14. Is Contractor registered with UIF?  
 


 


…………………………………………….                                              ………………………… 
                  Signed                                                                      Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 47 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex G 
(informative) 


List of Eskom Distribution Critical Tasks 


Task Analyses – Most Critical Tasks 


No TASK 


1 Replace a pole mounted transformer 


2 Work with/on extension/single ladders 


3 Work with/on pedestal mounted ladders 


4 Operate a vehicle mounted crane 


5 Operate a vehicle mounted crane with a bucket attached 


6 High voltage operating 


7 Work in live chambers and prohibited areas 


8 Operate metal clad switch gear 


9 Replace a rotten/broker pole (intermediate single pole structure) manually 


 A.  Scenario 1 – Damaged pole still standing in position – Able to climb against 


with ladder (when pole is supported) 


 B.  Scenario 2 – Damaged pole still standing in position – Unable to climb 


against with ladder (partially burnt off, broken off, etc.) 


10 Replace a rotten/broken pole (intermediate single pole structure) with a vehicle 


mounted crane 


11 Build/maintain overhead lines (LV) under energised/dead lines (11/22 kV) 


11a (i) Build overhead lines (LV) under energised lines (11/22 kV) 


11a (ii) Maintain overhead lines (LV) under energised lines (11/22 kV) 


11b (i) Build overhead lines (LV) under dead lines (11/22 kV) 


11b (ii) Maintain overhead lines (LV) under dead lines (11/22 kV) 


12 Work in an energised pillar box – Replace a circuit breaker 


13 Cut a newly constructed line into an energised line (live tapping) 


14 Work with chainsaws (petrol driven) and high cutters (mechanical) 


15 Physical material handling 


16  Vehicle risk management 


17 Install pre-paid meters – Electricity dispenser (ED) and energy control unit 


(ECU) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 48 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex H 
(informative) 


Example of a Principal Contractor's Monthly Incident/Accident Statistical 
Report 


(The frequency of submission to be determined and agreed upon contractually) 


Company Name: ………………………………………………………………………………………… 


Physical Address: ……………………………………………………………………………………… 


Name of the Principal Contractor’s Responsible Person: ……………………………………… 


Year: ……………….. 


 Jan Feb Mar April May June July Aug Sept Oct Nov Dec 


Average Number of 
Employees per month 


            


a)  Injury types 


1.  Fatal incidents 


            


2.  Occupational Diseases             


3.  Disabling injuries             


4.  Medical incidents             


5.  First aid incidents             


b)  Incident types 


1.  Vehicle incidents 


            


2. Environmental 
incidents 


            


3. Damage to property   
incident 


            


4.   Public incidents             


5.   Electrical contact     
      incidents 


            


6.  Near-miss incidents             


Note:  This information should be kept on site. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 49 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex I 
(informative) 


Health and Safety File 


a) Contract appointing Contractor. 


b) Approved Health and Safety Plan. 


c) The Clients/agents project organogram. 


d) Company Health and Safety Policy. 


e) Agreements as contemplated in terms of Section 37(2) of the OHS Act. 


f) Organisational organogram (detailing all statutory appointments).  List all possible appointments.   


OHS Act, Section 17 – Appointment of the Health and Safety Representatives 


Specific Construction Regulation Appointments: 


Regulation 4 (1) (c) – Appointment of the Principal Contractor 
Regulation 4 (5) – Appointment of the Client Agent 
Regulation 5 (3) (b) – Appointment of the Contractor 
Regulation 6 (1) – Appointment of the Construction Supervisor 
Regulation 6 (6) – Appointment of the Construction Site Health and Safety Officer 
Regulation 7 (1) – Appointment of the Construction Site Risk Assessor 
Regulation 8 (1) (a) – Appointment of the Fall Protection Plan Developer 
Regulation 10 (a) – Appointment of the Formwork and Support Work Supervisor 
Regulation 11 (1) – Appointment of the Excavation Work Supervisor 
Regulation 12 (1) – Appointment of the Demolition Work Supervisor 
Regulation 14 (2) – Appointment of the Scaffolding Supervisor 
Regulation 15 (1) – Appointment of the Suspended Platform Supervisor 
Regulation 17 (8) – Appointment of the Material Hoist Inspector 
Regulation 18 (1) – Appointment of the Batch Plant Supervisor 
Regulation 19 (2) (g) (i) – Appointment of the Explosive Powered Tools Issuer 
Regulation 21 (1) (j) – Appointment of the Construction Vehicles and Mobile Plant Inspector 
Regulation 22 (e) – Appointment of the Temporary Electrical Installation controller 
Regulation 26 (a) – Appointment of the Stacking and Storage Supervisor 
Regulation 27 (h) – Appointment of the Fire Extinguisher Inspector 


Copies of relevant Appointment letters. 


Certificates of Compliance for electrical installations. 


Exemptions and/or notifications. 


COID Registration 


� Registration number 
� Letter of good standing 


Risk  assessments and analysis 


� Task analysis  
� Risk assessments  
� Safety work procedures 
� Fall protection plan 
� Fall protection risk assessment 
� Scaffold plan and inspection records 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 50 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


In case of Modifications, the revised Health and Safety Specifications and Approved Health and Safety 
Plans and relevant Risk Assessments 


Evacuation plans and Emergency contact details 


PPE – Personal Protective Equipment 


� List of PPE 
� Issue list  
� Inspection of PPE 
� Material Safety Data Sheets 


Training records 


� The relevant training records of all employees 
� Health and safety induction 
� Risk assessment training 
� Responsible persons (ORHVS) 


Medical Records 


� Proof of medical surveillance plan 


Minutes of all site and statutory meetings 


� Agenda 
� Minutes 


Incident reporting and investigation reports 


� Report of incident to the Department of Labour 
� Report of incident to Eskom Distribution (The Project Manager) 
� Report to COID 
� OHS Act Annexure 1 
� Proof of follow-up and close out of incident recommendations 
� Non conformance reports 
� Disciplinary action records 


Monthly Audit reports 


Maintenance Plans for Machinery and equipment 


Project Close-out/review reports 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 51 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex J 
(informative) 


Health and Safety Plan 


Copy of the Health and Safety Plan 


� It must be available on site 
� It must contain a copy of the organisational organogram specifically depicting the appointment of 


the Construction Supervisor 


OHS Act Appointments 


� Copies of the relevant OHS Act appointments for that specific work site 


List of names of persons working under the supervision of the Construction Supervisor 


Design and work specifications  


� Technical drawings 
� Technical specifications 
� Relevant Eskom Policies, Standards and Procedures 


Risk analysis, Risk profiling and Job Observations 


� Relevant task analysis 
� On-site risk assessments 
� Specific written safe work procedures  
� Personal protective equipment (PPE) 
� Proof of job observations conducted 


Sub-Contractors  


� List sub-contractors  and contract details (where applicable) 
� Proof of sub-contractor competencies 


Site hand over 


� Site hand over certificate on file 
� Relevant authorisations 
� Relevant permits e.g.: 


- ORHVS authorisations 
- Confined spaces 
- Hot work 


Inspections (site specific) 


� Record of relevant / required inspections (site specific) 


Occupational Health and Hygiene Surveys 


� Proof of survey reports (where applicable) 


Incident investigations 


� Copies of the incident report to the Department of Labour 
� Copies of the incident reporting to Eskom Distribution (Project Manager) 
� Copies of report to COID (where applicable) 
� Copies of OHS Act Annexure 1’s 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 52 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex K 


Typical Health and Safety Inspections to cover the following (where 
applicable) 


Note:  This list is not in any order of priority  


a) Fire 


b) First aid box and equipment  


c) Housekeeping 


d) Scaffolding 


e) Dangerous goods 


f) Demolition 


g) Earth leakage control inspection 


h) Electrical hazards 


i) Electrical installations 


j) Ergonomics 


k) Formwork and concreting 


l) Hand tools and equipment 


m) Hazardous substances 


n) Ladders 


o) Portable electrical lights tools and appliances 


p) Powered mobile plan 


q) PPE issue 


r) The use of PPE 


s) Public safety 


t) Roofing 


u) Site establishment 


v) Trenching and excavation 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 53 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex L 


Impact Assessment 


Impact assessment form to be completed for all documents. 


1  Guidelines 


o All comments must be completed. 
o Motivate why items are N/A (not applicable) 
o Indicate actions to be taken, persons or organisations responsible for actions and deadline for 


action. 
o Change control committees to discuss the impact assessment, and if necessary give feedback 


to the compiler of any omissions or errors. 


2  Critical points 


2.1 Importance of this document. E.g. is implementation required due to safety deficiencies, 
statutory requirements, technology changes, document revisions, improved service 
quality, improved service performance, optimised costs.  


Comment: To ensure that Contractors working for Eskom Dx comply with All Legal and Eskom Health 
and Safety Requirements.  


2.2 If the document to be released impacts on statutory or legal compliance - this need to be 
very clearly stated and so highlighted.   


Comment: Document requires compliance to the Occupational Health and Safety Act and the 
Construction Regulations of all Contractors employed by Eskom Distribution. 


2.3 Impact on stock holding and depletion of existing stock prior to switch over. 


Comment: N/A - Does not apply to stock items. 


2.4 When will new stock be available? 


Comment: See comment in 2.3. above 


2.5 Has the interchangeability of the product or item been verified - i.e. when it fails is a 
straight swop possible with a competitor's product? 


Comment: See comment in 2.3. above 


2.6 Identify and provide details of other critical (items required for the successful 
implementation of this document) points to be considered in the implementation of this 
document. 


Comment: Regions are required to hold induction training sessions to bring awareness to the nature 
and content of the document. 


Provide details of any comments made by the Regions regarding the implementation of this 
document. 


Comment: No comments which impact on the contents of the document. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 54 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex L 
(continued) 


3  Implementation timeframe 


3.1 Time period for implementation of requirements.  


Comment: Immediately 


3.2 Deadline for changeover to new item and personnel to be informed of DX wide change-
over. 


Comment: On publication of document 


4  Buyers Guide and Power Office  


4.1 Does the Buyers Guide or Buyers List need updating? 


Comment: No 


4.2 What Buyer’s Guides or items have been created? 


Comment: None  


4.3 List all assembly drawing changes that have been revised in conjunction with this 
document. 


Comment: None  


4.4 If the implementation of this document requires assessment by CAP, provide details 
under 5   


4.5 Which Power Office packages have been created, modified or removed? 


Comment: None  


5  CAP / LAP Pre-Qualification Process related impacts 


5.1 Is an ad-hoc re-evaluation of all currently accepted suppliers required as a result of 
implementation of this document? 


Comment: Yes  


5.2 If NO, provide motivation for issuing this specification before Acceptance Cycle Expiry 
date. 


Comment: Document  


5.3 Are ALL suppliers (currently accepted per LAP), aware of the nature of changes contained 
in this document? 


Comment: Procurement dept to supply copy of contract to Contractors/Supplier 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 55 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex L 
(continued) 


5.4 Is implementation of the provisions of this document required during the current supplier 
qualification period? 


Comment: Yes 


5.5 If Yes to 5.4, what date has been set for all currently accepted suppliers to comply fully? 


Comment: Immediate 


5.6 If Yes to 5.4, have all currently accepted suppliers been sent a prior formal notification 
informing them of Eskom’s expectations, including the implementation date deadline? 


Comment: To be done by Project Managers and Procurement dept. 


5.7 Can the changes made, potentially impact upon the purchase price of the 
material/equipment? 


Comment: No 


5.8 Material group(s) affected by specification: (Refer to Pre-Qualification invitation schedule 
for list of material groups) 


Comment: No  


6  Training or communication 


6.1 State the level of training or communication required to implement this document. (E.g. 
none, communiqués, awareness training, practical / on job, module, etc.) 


Comment: Classroom awareness training 


6.2 State designations of personnel that will require training. 


Comment: All contractor working for Eskom Dx. 


6.3 Is the training material available? Identify person responsible for the development of 
training material. 


Comment: Yes 


6.4 If applicable, provide details of training that will take place. (E.G. sponsor, costs, trainer, 
schedule of training, course material availability, training in erection / use of new 
equipment, maintenance training, etc).  


Comment: Regional Risk Management to do training as and when required. 


6.5 Was Training & Development Section consulted w.r.t training requirements? 


Comment: Yes 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


HEALTH AND SAFETY REQUIREMENTS TO BE  Reference: 34-333 


MET BY PRINCIPAL CONTRACTORS EMPLOYED Revision: 1 


BY ESKOM DISTRIBUTION Page: 56 of 1 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex L 
(continued) 


7  Special tools, equipment, software 


7.1 What special tools, equipment, software, etc will need to be purchased by the Region to 
effectively implement? 


Comment: None 


7.2 Are there stock numbers available for the new equipment? 


Comment: Not applicable  


7.3  What will be the costs of these special tools, equipment, software? None  


8  Finances 


8.1 What total costs would the Regions be required to incur in implementing this document? 
Identify all cost activities associated with implementation, e.g. labour, training, tooling, 
stock, obsolescence  - None  


Comment: 


Document to be submitted to Dx Risk Auditing System Work group for audit questions to be updated. 


Impact assessment completed by: 


Name:  Sivendri Govender & Risk Management Standards Revisions Committee 


Designation: Dx Group Risk Specialist – Policies and Procedures 


 






_1346503831.pdf






1  INTRODUCTION 


This document serves as a Work Instruction for the implementation of the Expanded Public Works Programme 


(EPWP).  The Department of Public Works (DPW) in conjunction with the Department of Minerals and Energy 


(DME) requires information for reporting purposes.  The EPWP Unit within Department of Public Works has to 


report to Cabinet on progress with regard to the implementation of the EPWP.  The EPWP Unit requests 


National, and Provincial Sector Departments, as well as municipalities to report on progress on EPWP 


projects. 


 


The EPWP include labour-intensive infrastructure projects, in providing employment opportunities to local 


unemployed people using labour intensive construction.  Training or skills development to those locally 


employed workers and building cost-effective and quality assets. 


 


2  EXPANDED PUBLIC WORKS PROGRAMME 


2.1  Requirements 
 
Annexure A of this document must form part of Capital Programme contracts provided by the Regional 


Contracts Managers and related staff working on Electrification (households, Schools and Clinics), Sub-


transmission, Minor Reticulation and Refurbishment projects.  If no permanent or temporary people are 


employed, a zero figured report must be submitted. 


 


2.2  Time frame 
 


The EPWP is scheduled to be reported on, to DME on a monthly basis for electrification projects as well as 


quarterly.  Quarterly reports will also be compiled for DPW on Sub-transmission, Minor Reticulation and 


Refurbishment projects. 


 
2.3  Quality 
 
The EPWP project implementation will be done as per the Guidelines for the Implementation of Labour-


intensive Infrastructure Projects under the Expanded Public Works Programme (EPWP).  DME has indicated 


that audits will be conducted on projects to verify the data. 


 


Labour-intensive Infrastructure Projects refers to methods of construction involving a mix of machines and 


labour, where labour, utilising hand tools and light plant and equipment, is preferred to the use of heavy 


machines, where technically and economically feasible. 







2.4  RESOURCES 


 
Divisional Capital Programme will manage the consolidation of the reports received from the regions.  The 


regions Project Managers will be responsible to obtain Annexure A for reporting purposes as part of the close-


out package.  Project Services will be responsible to capture the data. 


 


2.5  REPORTING 
The Minor Reticulation projects will require the contactors to submit this report along with each invoice 


submitted for payment.  Electrification, Sub-transmission and Refurbishment projects will be reported on upon 


completion of projects as per Annexure A of this document that forms part of the close-out documentation 


package.  Annexure A upon completion must be signed off by the contractor. 


 


2.7  EPWP AUDITS 


Audits will be performed by DME on an ad hoc basis after the completion of a project.  The clerk of works 


(COW) to verify that the data reported as per Annexure A is in line with the Safety register signed and this will 


be done on a spot check basis only.  The Contractor will be accountable for the information reported on. 







3  SUPPORTING CLAUSES 


Index of Supporting Clauses 


3.1  Scope........................................................................................................................................... 5 


3.2  Normative/Informative References .............................................................................................. 5 


3.3  Definitions .................................................................................................................................... 6 


3.4  Abbreviations ............................................................................................................................... 7 


3.5  Roles and Responsibilities .......................................................................................................... 7 


3.6  Implementation Date.................................................................................................................... 7 


3.7  Process for monitoring................................................................................................................. 7 


3.8  Related Documents ..................................................................................................................... 7 


Annexure A ......................................................................................................................................... 8 







 


3.1  SCOPE 
The scope of this Works Instruction covers the Expanded Public Works Programmes’ report that forms part of 


the Close-out process for Electrification, Sub-transmission, Minor Reticulation and Refurbishment projects. 


3.1.1  PURPOSE 
The purpose of this document is to ensure a standardised report is completed by the Contractor and submitted 


to the Project Manager upon completion of Electrification, Sub-transmission and Refurbishment projects and 


with each invoice for Minor Reticulation projects. 


3.1.2  APPLICABILITY 
This Work Instruction shall apply throughout Eskom Distribution Regions, its divisions, subsidiaries and entities 


wherein Eskom has a controlling interest. 


3.2  Normative/Informative References 
Parties using this Expanded Public Works Programme – Capital Programme, Work Instruction shall apply the 


most recent edition of the documents listed below: 


� Guidelines for the Implementation of Labour-Intensive Infrastructure.  Projects under the Expanded Public 


Works Programme (EPWP) 


3.2.1  NORMATIVE 
ISO 9001:2000  Quality Management Systems 


3.2.2  INFORMATIVE 
Guidelines for Implementation of Labour-Intensive Infrastructure, Expanded Public Works Programme (EPWP) 


– Capital Programme. 







3.3  DEFINITIONS 


Person days of Work 


Example 
Person 1 worked for 10 days 
Persons 2 and 3 worked for 8 days  
Each and 
Person 4 worked for 3 days 


This refers to the total number of days that an employee 
spends working in a workplace 


The number of people who worked on a project times the 
 Number of days each person worked, 


(1 X 10) + (2 X 8) + (1 X 3) = 29 person-days of work to be 
reported 


Number of Job Opportunities 1 job opportunity = paid work created for an individual on an 
EPWP project for any period of time. In the case of social 
sector projects, learnerships will also constitute job 
opportunities. The same individual can be employed on 
different projects and each period of employment will be 
counted as a job opportunity. 


Average Daily Minimum Wage Refers to the sum of the total wages earned by employees 
within a specific sector divided by the total number of 
employees. 


Permanent Workers Employed from beginning of construction till end of 
construction, thus the entire duration of the project.  This 
does not include permanent people employed by the 
contractors on their payroll. 


Temporary Employment Temporary workers are employed for a fixed period but not for 
the entire duration of the project. 


Demographic Characteristic The definitions contained in the Preferential Procurement 
Regulations of 2001 for these categories of beneficiaries will be 
utilised.  It should be noted that the attributes of workers are 
counted (i.e. A worker can thus fall within all three categories at 
the same time). 


� Youth Refers to workers from age 18 to 35 


� People with disabilities Employment Equity Act 55 of 1998, defines people with 
disabilities as people who have a long-term or recurring 
physical or mental impairment which substantially limits their 
prospects of entry into, or advancement in employment 


� Other People outside the category of Historically Disadvantaged 
Individuals 


Person-Days of Training 1 training day = at least 7 hours of formal training.  The 
number of training person days is the number of people who 
attended training  x number of days of training 


 







3.4  ABBREVIATIONS 
 
3.4.1  BEE:  Black Economic Empowerment 


3.4.1  BWO:  Black Women Owned 


3.4.2  DME:  Department of Minerals and Energy 


3.4.2  DPW:  Department of Public Works 


3.4.3  EPWP:  Expanded Public Works Programme 


3.4.4  EE:  Eskom Enterprise 


3.4.5  MEW:  Major Engineering Works 


3.5  ROLES AND RESPONSIBILITIES 
Eskom Contracts Manager will include the report to the contractors as part of Capital Programme’s contracts.  


The contractor as part of the close-out package will provide the completed report to the Project Manager.  


Project Services will keep the EPWP documents on the project file after capturing the information for the 


monthly report and submit the report to Divisional Capital Programme.  The Project Manager must ensure that 


the EPWP report is completed before sign-off of the last invoice. 


3.6  IMPLEMENTATION DATE 
The implementation date is 1 April 2007 


3.7  PROCESS FOR MONITORING 
The information may be audited by DME upon completion of the project, and thus it will be required that the 


signed safety register as kept by the contractor and be made available by the contractor to either Eskom or 


DME.  No last invoice may be paid until the EPWP report has been submitted. 


NOTE:  THAT THE ABOVE DOCUMENTATION MUST BE KEPT ON THE CONTRACT FILE IN AN AUDITABLE WAY; ADDITIONAL 


INFORMATION OR DOCUMENTS MAY BE ADDED BY THE REGIONS. 


3.8  RELATED DOCUMENTS 
GUIDELINES FOR THE IMPLEMENTATION OF LABOUR-INTENSIVE INFRASTRUCTURE PROJECTS.  PROJECTS UNDER THE 


EXPANDED PUBLIC WORKS PROGRAMME (EPWP) 







4  AUTHORISATION 


THIS DOCUMENT HAS BEEN SEEN AND ACCEPTED BY: 
PETER SEBOLA – CAPITAL PROGRAMME MANAGER - ELECTRIFICATION 


NAME DESIGNATION 


MM NTSOKOLO MANAGING DIRECTOR (DISTRIBUTION DIVISION) 


R STEPHEN GENERAL MANAGER – CAPITAL PROGRAMME 


 


 


5  REVISIONS 


Date Rev. Remarks 


April 2007 0 A work instruction with Unique Identifier           was put 
together and aligned in compliance with the Eskom 
documentation requirements 


6  DEVELOPMENT TEAM 


THIS DOCUMENT WAS SEEN 


AND ACCEPTED BY: 
NAME 


S PRINSLOO ASGISA – PROJECT MANAGER 


A HAMBLY NATIONAL ELECTRIFICATION MANAGER 


 ESKOM – DISTRIBUTION REGIONS 


R  


  


 







Annexure A 
 


EPWP Report to be inserted here 
 






_1346503904.pdf


 When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  


with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 2 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Foreword 
Eskom Distribution regards its responsibilities and duties in terms of the Occupational Health and 
Safety Act as fundamental in providing and maintaining a healthy and safe workplace. 


This Standard provides a framework for the assigning process of employers in terms of Section 16 of 
the Occupational Health and Safety Act within Eskom Distribution. The Chief Executive is accountable 
for the implementation of Safety, Health and Environment in the organisation. The Chief Executive 
may assign his/her direct reports in terms of Section 16(2) and these assignees may in turn assign 
down in terms of Section 16(2) to perform these duties on their behalf.   


This process is managed in general terms by means of various statutory appointments with regard to 
management in terms of Section 16 (2) of the Occupational Health and Safety Act as well as 
agreements in terms of Section 37 (2) of the Occupational Health and Safety Act with regard to any 
mandatory.  


Revision history 


This edition cancels and replaces edition no.3 DISASABN7 – Legal Appointments and Authorisations. 


Date Rev. Compiler Remarks 


Sept 2000 Rev 0  Original document 
 


May 2001 Rev 1  A few new examples of Letters of Appointment have been 
included: 
Annexes D9, 10, 11, 29, 32, 37, 38, 43 
 


February 
2003 


Rev 2  The following sections and/or aspects were affected by this 
revision: 
 
New Eskom logo 


Organisational terminology updated 


Section 3.1.1 


Section 4.2.4 


Annex B  


Annexes D2, D6, D7, D8, D9, D15, D17, D18, D20, D21, 
D23, D24, D29, D36, D38, D39, D40 


 
 


March 2005 Rev 3  The following sections and/or aspects were affected by this 
revision: 
 
Provision was made for all appointments under the 
Construction Regulations 


 
July 2007 A O.Swanepoel New Document format, in line with Corporate Identity; 


Document Reference Number amended to bring in line 
with Organisational Requirements; Changed from 
DISASABN7 to 34-961; 
 
Updated Section 2: Normative References; 
 
Updated Section 3: Definition and Abbreviations, specifically: 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 3 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Section 3.1 Definitions: 
 
Deleted previous 3.1.2. Assignation 
 
Included  3.1.2 Assignor 
 
Included  3.1.6 Machinery 
 
Deleted previous 3.1.7 Legal Appointment 
 
Included 3.1.7 Non Statutory Appointments 
 
Included 3.1.10 Supervision 
 
Updated 3.2 Abbreviations, specifically: 
 
Included 3.2.11 MEW: Major Engineering Works 


Included 3.2.12 NEMA:  National Environmental 
Management Act 107 of 1998, 


Included 3.2.13 OHS Act:  The Occupational Health and 
Safety Act 85 of 1993 


Included 3.2.14 ORHVS: Operating Regulations for High 
Voltage Systems 


Included 3.2.15 TO: Technical Official (previously known as 
Low Voltage Official) 


Included 3.2.16  TSC: Technical Service Centre 


Included 3.2.17 TSG: Technical Service Group 


Included 3.2.18 TSO: Technical Service Officer 


The following sections of the text were revised: 


Amended Section 4 Requirements, specifically: 


Amended Section 4.1 Responsibilities 


Amended Section 4.2 Implementation of the Appointment 
and Authorisation process of 16(2) Assignees in terms of the 
Occupational Health and Safety Act, specifically Deleted
4.2.9 


Amended Section 4.3 General Machinery Regulation (GMR) 


2(1) Supervisor of Machinery and GMR 2(7) (a) Supervisor 
of Machinery Assistant, specifically included 4.3.2 


Amended Section 4.4 Other OHS Act Appointments, 
specifically included 4.4.4 


Amended Section 4.8 Filing of Appointment Letters and 
Organograms 


Deleted previous Annex B – Appointment Reference Table  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 4 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Amended Annex B (previous Annex C –Option 1) - Model 
OHS Act Appointment Reference Table, 
 
Updated/Amended Annex C – Option 2 - Model OHS Act 
Appointment Organogram 
 
Updated/Amended the following Model Letters of 
Appointment: 
 
Annex D1 – Assistant to Chief Executive 
 
Annex D2 - Assistant to Distribution Managing Director 
 
Annex D4 – Supervisor of Machinery (GMR 2(1)) 
 
Annex D5 - Supervisor of Machinery Appointment (GMR 
2(7)(a) 
 
Annex D6 – Appointment of the Principal Contractor –
Construction Regulation 4 (1) (c) 
 
Annex D7 - Appointment of Client Agent – Construction 
Regulation 4 (5) 
 
Deleted previous Annex D8 – Appointment of the 
Construction Supervisor – Construction Regulation 6 (1) and 
Replaced by current Annex D8 – Supervisor of Construction 
Work (CR 6(1)) 
 
Deleted previous Annex D9 – Assistant Construction 
Supervisor – Construction Regulation 6 (2) and Replaced by 
current Annex D9 - Assistant Supervisor of Construction 
Work (Direct Supervision) (CR 6(2)) 
 
Amended Annex D10 - Appointment Construction Site 
Health and Safety Officer - Construction Regulation 6 (6) 


Amended Annex D11 - Appointment of the Construction Site 
Risk Assessor -Construction Regulation 7 (1) 


Amended Annex D12 - Appointment of the Fall Protection 
Plan Developer - Construction Regulation 8 (1) (a) – Made 
appointment Applicable to Distribution Divisional Level 


Deleted previous D13 - Appointment of the Fall Protection 
Plan Supervisor - Construction Regulation 8 (1) (a) and 
Replaced with current Annex D13 - Appointment of the Fall 
Protection Plan Implementer- Construction Regulation 8 (1) 
(b) – Made appointment Applicable to Regional Level 


Deleted previous D14 – Appointment of the Excavation Work 
Supervisor – Construction Regulation 11 (1) 


Included D14 - Inspector of Fall Arrest Systems – C R 8 (2) 
(b), (c) and (d) 


Deleted previous D15 – Appointment of the Demolition Work 
Supervisor - Construction Regulation 12 (1) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 5 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Included D15- Inspector of Unit Link Sticks 


Amended D16- Shiftsman Appointment - General Machinery 
Regulation 4 and Shiftsman Operation of Machinery Guide 
(GMR 4) 


Amended D17 - Health and Safety Representative 
Appointment - Section 17, 18 and 19 


Amended D18 - Employer’s Nominee for Health and Safety 
– Section 19 


Amended D19 - Statutory Health and Safety Committee 
Chairperson Appointment 


Amended D20 - Non-Statutory Health and Safety Committee 
Chairperson Appointment 


Amended D22 - Endorser of Health and Safety 
Representative Inspection Reports Appointment - Section 18 
(g) 
 
Amended D23 - Endorser of minutes of the Occupational 
Health and Safety Committee Meetings Appointment – 
Section 20 


Amended D24 - Incident/Accident Investigator Appointment 
– (GAR 9 (2)) 


Amended D25 - Appointment of Scaffolding Supervisor - 
Construction Regulation 14 (2) 


Amended D26 - Appointment of the Suspended Platform 
Supervisor -Construction Regulation 15 (1) 


Amended D27 - Inspector of Ladders - General Safety 
Regulation 13 A 


Amended D28 - Appointment of Lifting Machinery Operator 
(DMR 18) 


Amended D29 - Appointment of the Material Hoist Inspector 
- Construction Regulation 17 (8) 


Amended D30 - Inspector of Lifting Machinery Appointment 
(DMR 17 & 18) 


Amended D33 - Tester for Emergency Lighting Appointment 
(ERW3) 


Amended D34 - Appointment of the Construction Vehicles 
and Mobile Plant Inspector - Construction Regulation 21 (1) 
(j) 


Amended D35 - Appointment of the Temporary Electrical 
Installation Controller - Construction Regulation 22 (e) 


Included D36 - Appointment of the Temporary Electrical 
Installation Inspector - Construction Regulation 22 (d) 


Amended D37 - Appointment of the Stacking and Storage 
Supervisor -Construction Regulation 26 (a) 


Amended D38 - Appointment of the Fire Extinguisher 
Inspector - Construction Regulation 27 (h) 


Amended D39 - First Aid Co-ordinator Appointment (GSR 
3(4)) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 6 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Deleted previous D40 – Electrical Flameproof Inspector 
Appointment 


Amended D40 - First Aider Appointment (GSR 3(4)) 


Included D41 – Appointment of Electrical Installations in 


Hazardous Locations (EMR 8(7)) - Master Electrician – 


Amended D42 - Installation Electrician Appointment (EIR 9 
(2)) 


Amended D43 - Vessels under Pressure Inspector 
Appointment (VUP 11, 12, 13) 


Amended D44 - Fire Co-ordinator / Fire Warden 
Appointment 


Amended D45 - Responsible for Servicing and Maintenance 
of Fire Equipment 


Included D46 - Regional Head of Emergency Preparedness 
Appointment 


Included D47 - Emergency Preparedness Co-ordinator 
Appointment - Department / Unit / Complex 


Amended D49 - Emergency Preparedness Appointment as 
Evacuation Official 


Included D51 - Hazardous Chemical Substance Unit 
Controller Appointment 


Amended D52- Emergency Preparedness Appointment as 
Transport Co-ordinator 


Updated D57 - Distribution Live Work Authorisation 


Oct 2007 0 O. Swanepoel Document Approved 


Authorisation 


This document has been seen and accepted by: 


Name Designation 
J De Beer Business Performance – Acting General Manager (Dx) 
A Stramrood Division Risk Manager (Dx) 
S Govender Risk Management Study Committee (Chairperson) 
O Swanepoel Safety Risk Co-ordinator – Northern Region 


This Standard shall apply throughout Eskom Distribution Division.  


Development team 


List of people involved in the development of the document: 


Anesh Boodhram  
Cedric Booth 


David Hird 


Fanie van Jaarsveld 


Frans Lötter 


Jeffrey Mthimkulu 


Ockert Swanepoel 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 7 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Paul Diedericks 


Sivendri Govender 


Ted Barnard 


Keywords  


Appointments  


Bibliography 


Not applicable  


1. Scope 


1.1 Purpose 


The purpose of this standard is to ensure that statutory as well as Eskom authorisations comply with 
Legal requirements and non statutory appointments in terms of Eskom’s health and safety 
requirements through the establishment of a standardised approach, and to ensure consistency 
throughout the Distribution Division. 


1.2 Applicability 


This Standard shall apply throughout Eskom Distribution Division.  


2. Normative references 


Parties using this Standard shall apply the most recent edition of the documents listed below: 


DISASABZ7:  First Aid Standard 


DISASACA2: Medial Surveillance 


DPC 34-228:  Health and Safety Representatives Inspection Reports and Guidelines 


DPC 34-350:  Reporting, Recording, Investigating, Costing and Following-up of Incidents/Accidents 


DST 34-132:  Distribution Fire Risk Management 


DST 34-315:  Emergency Preparedness 


DST 34-316:  Occupational Health and Safety Committee Systems 


DST 34-369:  Monitoring of Occupational Hygiene Factors 


DST 34-403:  Risk Management Training 


DST 34-404:  Safe Handling and Storage of Vessels under Pressure 


DST 34-405:  Risk Management Filing System 


ESKPVAEY6: Operating Regulations for High Voltage Systems (ORHVS) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 8 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


3. Definitions and Abbreviations 


3.1 Definitions 


3.1.1  16(2) Assignee:  The Distribution Managing Director, Senior General Managers, all E Band 
Managers, M Band Managers and in exceptional circumstances CCU level Supervisors. 


Note:  The appointment of CCU level Supervisors as OHS Act Section 16(2) assignees should not happen as a norm 
but must be viewed as the exception to the rule within the Eskom Distribution context under the following circumstances: 


a) A CCU level Supervisor may be appointed as an OHS Act Section 16(2) assignee if he/she has 
staff reporting directly to him/her while the M Band Manager to whom the CCU level Supervisor 
reports is permanently stationed in another Region and/ or area. 


b) A CCU level Supervisor stands in for an M Band Manager, during a leave of absence, with full 
delegation of authority. 


3.1.2  Assignor:  To allocate to specific tasks. 


3.1.3  (to) Delegate:  To fully authorise a person to fulfil certain duties and functions on behalf of the 
Assignor. 


3.1.4  Employee:  Any person who is employed by or works for an employer and who receives or is 
entitled to receive any remuneration or who works under the supervision of an employer or any other 
person. 


3.1.5  Employer:  Any person who employs or provides work for any person and remunerates that 
person or expressly or tacitly undertakes to remunerate him. 


3.1.6  Machinery:  Means any article or combination of articles assembled, arranged or connected 
and which is used or intended to be used for converting any form of energy to performing work, or 
which is used or intended to be used, whether incidental thereto or not, for developing, receiving, 
storing, containing, confining, transforming, transmitting, transferring or controlling any form of energy. 


3.1.7  Non Statutory Appointment:  An appointment made in terms of the Distribution Policies 
Procedures and Standards. 


3.1.8  Premises:  Includes any building, vehicle, vessel, train or aircraft, a workplace that the 
employee is capable of visiting and inspecting on a daily basis or a worksite where a person performs 
work. 


3.1.9  Statutory Appointment:  An appointment in terms of a particular Act e.g. OHS Act or NEMA. 


3.1.10  Supervision:  Refers to the overseeing of the actions of a person or persons to a sufficient 
degree so as to prevent any act that could be dangerous or in contravention of any legislation. 


3.1.11  The Act:  In the context of this standard refers to the Occupational Health and Safety Act. 


3.1.12  Work/working:  All physical activities in connection with apparatus excluding operating and 
other non-dangerous activities, which will not affect the health and safety of workers or the operation of 
the apparatus. 


3.1.15  Workplace:  Any premises or place where a person performs work in the course of his/her 
employment. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 9 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


3.2 Abbreviations 


3.2.1  CR:  Construction Regulations 


3.2.2  DMR:  Driven machinery Regulations 


3.2.3  EDFS:  Electricity Delivery Field Services 


3.2.4  EIR:  Electrical Installation Regulations 


3.2.5  EMR:  Electrical Machinery Regulations 


3.2.6  ERW:  Environmental Regulations for workplaces 


3.2.7  GAR:  General Administrative Regulations 


3.2.8  GMR:  General Machinery Regulations 


3.2.9  GSR:  General Safety Regulations 


3.2.10  kV:  Kilovolt  


3.2.11  MEW:  Major Engineering Works 


3.2.12  NEMA:  National Environmental Management Act 107 of 1998 


3.2.13  OHS Act:  The Occupational Health and Safety Act 85 of 1993 


3.2.14  ORHVS:  Operating Regulations for High Voltage Systems 


3.2.15  TO:  Technical Official (previously known as Low Voltage Official) 


3.2.16  TSC:  Technical Service Centre 


3.2.17  TSG:  Technical Service Group 


3.2.18  TSO:  Technical Service Officer  


3.2.19  TSpO:  Technical Specialist Official 


3.2.20  VUPR:  Vessels under Pressure Regulations 


4. Requirements 


Compliance to this standard will be monitored through the Risk Audit System (RAS) and cross- 
reference will be made between this Standard and RAS. 


4.1 Responsibilities 


4.1.1  All OHS Act Section 16(2) appointed Managers shall be responsible for the implementation and 
maintenance of the appointment process in terms of the OHS Act. 


4.1.2  The Risk Management Department shall support Managers in ensuring that the process is 
properly administered and maintained. 


4.1.3  Managers shall be responsible for requesting the appropriate legal appointments to be 
made/withdrawn/changed with the assistance of their Risk Co-ordinator/Practitioner. 


4.1.4  Line Managers shall be responsible for making/changing/withdrawing appointments and/or 
authorisations. 


4.1.5  The responsible Risk Co-ordinator/Practitioner shall furnish Line Management with a list of the 
relevant legal appointments on a quarterly basis for review. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 10 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.1.6  An organogram or index indicating the reporting structure in terms of the OHS Act shall be 
available at all units and shall be kept up to date by the responsible Line Manager supported by the 
Risk Co-ordinator/Practitioner. (Refer to Annex C for an example) 


4.1.7  All Managers shall ensure that the Section 16(2) assignees and all the other OHS Act 
appointees appointed by them receive training regarding their statutory responsibilities and 
requirements and that they conform to those requirements. 


4.1.8  The meeting of all training requirements shall precede the appointment process. 


4.1.9 Where appointments are made by virtue of the position and not the person, then when that 
person either leaves the position, the appointments made during their term of office are still valid. 


4.2 Implementation of the Appointment and Authorisation process of 
Section 16(2) Assignees in terms of the Occupational Health and Safety Act 
(refer to Annex A) 


4.2.1  The Chief Executive 16(1) shall delegate his duties to the Managing Director 16(2). 


4.2.2  The Managing Director shall assign duties and functions in terms of section 16(2) to all the 
General Managers and Senior General Managers. 


4.2.3  The General Manager shall assign duties and functions in terms of Section 16(2) to his/her 
Management team (E-band level Managers). 


4.2.4  The E-band level Managers shall further assign specific statutory duties and functions as 
determined by circumstances to the MMU level Managers. 


4.2.5  If deemed necessary the MMU level Managers shall further assign specific duties and functions 
to the MMM level Managers and even lower, under exceptional circumstances to CCU level 
Supervisors. (Refer to paragraph 3.1.1 above) 


4.2.6  All these assignations are regarded as 16(2) Appointments in terms of the definition of an 
employer as defined in the Occupational Health and Safety Act. Re-stated, this means that any person 
vested and charged with the control and supervision of persons shall be deemed to be the employer of 
such persons.  The appointment process is based on the devolution of authority principle. 


4.2.7  The Managing Director does not appoint and sign all his sub-ordinate 16(2) assignees’ Letters 
of Appointment directly. The appointment and authorisation of all 16(2) assignees shall be from the 
appointed employer, his/her supervisor one level above. With each further delegation the 16(2) 
assignee’s scope of authority as contained in his/her Letter of Appointment shall be very specific in 
terms of his/her statutory duties and functions and area of responsibility. 


4.2.8  The duties and functions of all employers stem from legislation and organisational 
requirements. 


4.3 General Machinery Regulation (GMR) 2(1) Supervisor of Machinery and 
GMR 2(7)(a) Supervisor of Machinery Assistant 


4.3.1  To ensure that the provisions of the Act and the Regulations pertaining to General Machinery 
are complied with, the employer or user of machinery shall appoint, in writing, a competent person who 
is employed in a full time capacity. 


4.3.2  All relevant qualifications shall be filed together with the Letter of Appointment. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 11 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.3.3  These appointments shall be effected by the responsible 16(2) Manager(s) within his/her scope 
of authority and area of responsibility. 


4.3.4  The size of the operation or the quantity of machinery plays a role when the decision has to be 
taken as to who may be appointed in writing to supervise machinery (Refer to Section 2 of GMR). 


4.3.5  If the sum of power generated by machinery on the premises exceeds 1 200 kW, Regulation 
1 (b) to (d) of GMR shall be consulted and adhered to. When the power generated is less than 
1 200 kW the legislature does not specifically address the issue in that it is not stipulated who may be 
appointed. However, in terms of sub-regulation (1) it is required that a person be designated wherever 
machinery is being used and it is logical that any of the competent persons as contemplated in the 
definition may be designated. 


4.3.6  In terms of GMR 2 (7)(a) an employer or user of machinery may designate one or more 
competent persons to assist the supervisor of machinery. 


Note:  A Manager is not able to accredit a person. The person must be accredited through the relevant accreditation 
bodies or institutions. 


When an employee is declared to be a competent person, proof must be given/ obtained of this competency declaration 
by way of official training records as well as practical assessments. 


4.3.7  The assignee should be able to visit the site he/she is supervising on a daily basis. In other 
words Eskom cannot appoint a competent person for a site if that person is unable to visit and inspect 
the site on a daily basis.  


4.4 Other OHS Act Appointments 


4.4.1  Annex B may be used as a guide to ensure that all the relevant OHS Act Appointments are 
made in each department or business unit.  


4.4.2  These appointments shall be effected by the responsible 16(2) Manager within his/her scope of 
authority and area of responsibility. 


4.4.3  The 16(2) Manager shall ensure that all appointees’ are made conversant with and understand 
their duties and functions in terms of their statutory appointments. 


4.4.4  Where the appointment letters do not reflect all the legal requirements in terms of the Act then 
the relevant Section or Regulation shall be attached to that appointment letter. 


4.5 Eskom Authorisations 


4.5.1  These appointments and authorisations stem from Eskom specific Standards or Regulations, 
for example, the ORHVS Regulations. 


4.5.2  Annex B may be used as a guide to ensure that all Eskom Standards that require certain 
appointments to be made are complied with. 


4.5.3  These appointments shall be effected by the responsible 16(2) Manager within his/her scope of 
authority and area of responsibility. 


4.5.4  ORHVS appointments shall be effected by the GMR 2(1) assignees within his/her scope of 
authority and area of responsibility. 


4.5.5  In terms of Principal Contractor employees the Responsible Person Authorisation shall be 
signed by the GMR 2 (1) Appointee within his/her scope of authority and area of responsibility.  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 12 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.5.6  The 16(2) Manager and the GMR 2(1) assignee shall ensure that all appointed employees are 
made conversant with and understand their duties and functions in terms of their appointments. 


4.6 Termination of OHS Act Appointments and Eskom authorisations 


4.6.1  An employee’s OHS Act appointment or Eskom authorisation shall be terminated by the 16(2) 
Manager in consultation with the GMR 2 (1), where required, on any of the following grounds: 


4.6.1.2  If he/she is no longer able to fulfil those duties for example by way of demotion. 


4.6.1.3  On the expiry of his/her term of appointment. 


4.6.1.4  If his/her employment is terminated, either by resignation, separation or retirement or he/she is 
transferred out of the section or department. 


4.6.1.5  If he/she resigns in writing from the position (excluding 16(2)’s and GMR 2(1)’s). 


4.6.2  If any OHS Act Appointee or an Eskom authorised employee wishes to resign he/she shall give 
notice of his/her intention at least one month prior to resignation. 


4.7 Appointment Letters (Refer to the Model Appointment Letters in Annex 
           D) 


All Letters of Appointment shall have as the minimum requirements the following information: 


a) the type of appointment; 


b) the name of the person being appointed; 


c) the date on which the appointment is made; 


d) all duties and functions shall be listed or attached and clearly defined; 


e) the area of responsibility; 


f) the duration of the appointment; 


g) the signature of the appointee/assignee;  


h) the signature of the 16(2) Manager/ user or in terms of the ORHVS the GMR 2 (1). 


All appointment forms are legal documents and all 16(2) Appointees shall ensure that all necessary 
proof of qualification, competencies and capabilities are assessed before appointments are made. 


Note 1:  No appointment form can be comprehensive enough to include all the legal duties an appointee is expected to 
fulfil.  This is true, even where some sections or regulations may create the need for a specific appointment.  One runs 
the risk of leaving out important specific and general duties by trying to list duties comprehensively in a letter of 
appointment.  This practice of listing various Regulations by referring to the Regulation number is a common one. 


Note 2:  There is the danger that a Regulation referred to in the Letter of Appointment may be repealed, altered or 
added to, and that this would not be reflected in the appointment form.  By having the appointment form refer to the 
legislation in a general sense, as well as to a Company’s health and safety systems, this problem is eliminated as the 
wording or systems would be flexible enough to cope with such changes, as well as to unforeseen situations of duty and 
subsequent amendments on relevant forms. 


Note 3:  An appointment consists of more than just the appointment form.  It has legal meaning and requires an 
appointee to consider OHS Act, the Regulations and all other requirements.  Appointments must not be regarded as 
merely a paper exercise, and the forms should include reference to a Company’s safety and health systems. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 13 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


4.8 Filing of Appointment Letters and Organograms 


4.8.1  Legal Appointment letters in terms of OHS Act and Eskom appointment letters and 
authorisations shall be available at all units and filed under the corresponding Risk Management Filing 
section. 


4.8.2  All appointees shall be provided with a copy of his/her appointment letter and shall be 
enlightened regarding his/her duties in terms of OHS Act or Eskom requirements. 


4.8.3  When an employer designates a competent person in terms of GMR 2(1) a copy of the 
appointment letter shall be forwarded to the Divisional Inspector of the Department of Labour. 


4.8.4  The organogram (refer to Annex C - Option 2) and/ or Model OHS Act Appointment Reference 
Table (refer to Annex B - Option 1) for each Region shall be kept both on site and at the Regional Risk 
Managers’ offices for perusal and auditing purposes.  


4.9 Accountability 


An appointment in terms of the OHS Act does not necessarily make an employee criminally liable.  
The OHS Act makes any contravention of its provisions an offence which means that any employee 
who contravenes the Act, can be held criminally liable.  It is only when an appointee has failed to carry 
out a duty imposed on him in terms of his appointment that he will be liable by virtue of his 
appointment. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 14 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex A1 
(normative) 


Flow Diagram for OHS Act 16(1) and 16(2) Statutory Appointments 


 


                    “Accountable Person”  
ESKOM                                     16(1)  


 Assigns duties directly   
 to M.D. 


 


 


                                                                                                          
                                                                                                             “Employer” 
           DISTRIBUTION                                                                          16(2) 
                                                                                                              Assigned by C.E. 


           


           
                         “Employer” 
           REGION                                                                                     16(2)  
                                                                                                              Assigned by M.D. 


           


  


                                                                                   “Employer(s)” 
                                                                                                             16(2) 
                                                                                           Assigned by G.M.     


 


   


       MEW,  
       Field Services,                                                                              “Employer” 
       Network Services,                                                                         16(2) 
       EDFS, Finance, HR,                                                                     Assigned by “E Band Managers” 
       Commercial,  
       Customer Services, etc. 


 


       
             “Employer(s)” 
      TSC’s                                                                          16(2) 
      TSG, Specific Areas                                               Assigned by “M Upper” 
                                                                                       Managers                                            


 
“M Band” Managers 


 
 


 
“E Band” 
Managers 


 
“THE EMPLOYER” 


Chief Executive 
(C.E.) 


 
“General Manager” 


(G.M.) 
 


 
    Managing Director  


Distribution 
(M.D.) 


 
“M Upper” 
Managers 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 15 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex A2 
(normative) 


General Machinery Regulation 2 


a) To ensure compliance with machinery – related provisions of the Act, an employer using 
machinery must appoint, in writing, a person in a full-time capacity as a ‘Machinery Supervisor’. 


b) The person must be a competent person as defined. (Experience/ qualifications) 


c) A kW formula determines the category of competent person. If the sum of power generated by 
machinery plus power from other sources is: 


A:  less than 1200 kW = 


1) qualifications (apprenticeship) + 1 year practical experience; 
2) experience (5 years general + 1 year specific). 


B:  1200 kW to 3000 kW = 


1) qualification (Eng. Diploma = T3/N5/equivalent) + 2 years practical experience; 
2) Graduate engineer + 2 years practical experience + passed exam; 
3) Certificated Engineer. 


C:  3000 kW or more = 


1) Graduate engineer + 2 years practical experience; 
2) Certificated Engineer. 


d) Important to delegate to subordinate competent persons i.t.o. GMR 2(7) (a). 


e) Prime candidate for machinery-related incidents? The Machinery Supervisor will be the first choice 
for investigating machinery related incidents. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 16 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Option 1) 
(informative) 


Model OHS Act Appointment Reference Table 


Note:  Either Annex B (option 1) or Annex C (option 2) may be used. 


Appt.  
No. 


RAS  


Section 


 


OHS Act  


OR ESKOM 
Standard/ 
Procedure  


Appointment Appointee 


1 
 
Section 1  
  


 


Section 16 (2) 
 


Managing Director’s 
Appointment 


Ayanda Noah  


  
   2  


  


Section 16 (2) 
 


General Manager’s / 
Senior General Managers 
Appointment  


Izak Du Plessis 


3 
 Section 16 (2) 


 
Manager’s Appointment Alex Stramrood  


4 
 
 


GMR 2(1) Supervisor of Machinery M Jackson 


5 
 


GMR 2 (7) (a)) 
Supervisor of Machinery 
Assistant Appointment 


L Khumalo 


6  C R 4 (1)(C) Principal Contractor C Snell 


7  C R 4 (5) Appointment of Client Agent J Smith 


8 
 


CR 6 (1) 
Supervisor of Construction 
Work   


A Daniels 


9 
 


CR 6(2) 


Assistant Supervisor of 
Construction Work 


(Direct Supervision) 
M Thomas 


10 
 


C R 6 (6) 
Construction Site Health 
and Safety Officer 


J Zuma 


11  C R 7 (1) Construction Site Risk 
Assessor 


A Visser 


12 
 


C R 8 (1) (a) 
Fall Protection Plan 
Developer - Distribution 
Divisional level 


Gerhard van 
Deventer 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 17 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Option 1) 
(continued) 


 


13 
 


C R 8 (1) (b) 
Fall Protection Plan 
Implementer - Regional 
Level 


I McFadden  


14 
 C R 8 (2) (b), (c) and 


(d) 
Inspector of Fall Arrest 
Systems 


F van Jaarsveld 


15  CR 8  Inspector of Unit Link Sticks C Booth  


16  GMR 4 Shiftmans Appointment  F Lötter  


17 


 
Section 17, 18 &  19 


 


Health and Safety 
Representative 


D Hird  


18 
 


Section 19 
Employer’s Nominee for 
Health and Safety 


P Diedericks  


19 
 


DST - 34-316  
Statutory Health and Safety 
Committee Chairperson 


O Swanepeol  


20 
 


DST - 34-316  
Non-Statutory Health and 
Safety Committee 
Chairperson 


J Mthimkulu 


21 
 


Section 19 (6) 
Co-opted Member to Serve 
on a Statutory Health and 
Safety Committee                                


B Kriel 


22 
 


Section 18 (g) 
Endorser of Health and 
Safety Representative 
Inspection Reports 


H Herbst 


23 


 


Section 20 


Endorser of Minutes of the 
Occupational Health and 
Safety Committee Meetings 
Appointment 


A Kotze 


24 
 


GAR 9 (2) 
Incident/Accident 
Investigator 


A Mthembu  


25  C R 14 (2) Scaffolding Supervisor E Memela 


26 
 


C R 15 (1) 
Suspended Platform 
Supervisor 


E Kunene  


27  GSR 13 A Inspector of Ladders  N Kruger 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 18 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Option 1) 
(continued) 


 


28  DMR 18 Lifting Machinery Operator J Swart 


29  C R 17 (8) Material Hoist Inspector T Hill 


30 
 


DMR 17 & 18 
Inspector of Lifting 
Machinery 


P James 


31 
 


C R 19 (2) (g) (i) 
Explosive Powered Tools 
Issuer 


T Barnard    


32 
 


C R 19 (3) 
Explosive Powered Tools 
Operator  


T Albert 


33 
 


ERW 3 
Tester for Emergency 
Lighting Appointment 


G Venter 


34 
 


C  R 21 (1) (j) 
Construction Vehicles and 
Mobile Plant Inspector 


J Bruce  


35 
 


C R 22 (e) 
Temporary Electrical 
Installation Controller 


D van Rooyen  


36 
 


C R 22 (d) 
Temporary Electrical 
Installation Inspector 


J Meyer 


37 
 


C R 26 (a) 
Stacking and Storage 
Supervisor 


T Mazibuko  


38  C R 27 (h)  Fire Extinguisher Inspector K Robin 


39  GSR 3(4) First Aid Co-ordinator F Smith 


40  GSR 3(4) First Aider G Mphasi 


41 


 


EMR 8(7) 


Appointment for Electrical 
Installations in Hazardous 
Locations  - Master 
Electrician - 


T Baloyi 


42 


 


EIR 9 (2) 


 
Installation Electrician 
Appointment 


T Baloyi 


43 
 


VUP 11, 12 and13 
Vessels under Pressure 
Inspector 


P James 


44 
 


DST- 34-315 
Fire Co-ordinator / Fire 
Warden Appointment 


A Barnard 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: 0 


 Page: 19 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex B (Option 1) 
(continued) 


 


45 
 


DST – 34-132 
Responsible for Servicing 
and Maintenance of Fire 
Equipment 


J John  


46 
 


DST- 34-315 
Regional Head of 
Emergency Preparedness 
Appointment 


S Frank  


47 
 


DST- 34-315 
Emergency Preparedness 
Co-ordinator - Department / 
Unit / Complex 


D Bryne 


48  DST- 34-315 Evacuation Co-ordinator  J Human 


49  DST- 34-315 Evacuation Official G Venter  


50 
 


DST – 34-440 
Hazardous Chemical 
Substance Co-ordinator 


J Du Plessis  


51 
 


DST – 34-440 
Hazardous Chemical 
Substance Unit Controller 


D Black  


52  DST- 34-315 Transport Co-ordinator S Ntombela 


53 
 


DISASACA2 
Responsible for 
Occupational Health 


P Mphasi   


54 
 Distribution Security 


document 
Responsible for Unit 
Security 


M De Jenger 


55 
 ESKPVAEY6 High Voltage Authorisation 


for T.O (LV Work) 
S Fourie  


56 
 ESKPVAEY6 High Voltage Authorisation 


for Distribution/Transmission 
K David  


57 
 ESKPVAEY6 Distribution Live Work 


Authorisation 
D Shange  


58 


 National 
Environmental 
Management Act  
107 of 1998 


Environmental Management  R Kruger  


59   Withdrawal of Appointment  


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 20 of 86 
 


 


Annex C (Option 2) 
(informative) 


Model OHS Act Appointment Organogram 
NOTE — This is a specimen only. 


         G. SMITH 
EMPLOYER 


         


                    


      EVR 3(5)(c) 
K. ROBERTS 


 A. ALEXANDER 
AREA MANAGER-


PMB 
GMR 2(1) - SECT 
16(2) 


 AREA 
GAR 10(1) 


S. SNYDERS 


      


                    


                    


FINANCE 
G. BRUCE 


 ASSET CREATION  CHAIRMAN 
GAR 8/10 


J. McKNIFE 


 ENGINEERING  SALES  ELECTRIFICATION    


                    


AREA OFFICE 
SEC 17 


G. JONES 


       SEC 19(6) 
A. BARNARD 


R. BLOY 
M. JONES 


         


                    


GREYTOWN 
GAR 19(2)-GMR 2(7)(a) 


W.D. CAMERON 


 WARTBURG 
GAR 19(2)-GMR 2(7)(a) 


J.B. SCHOEMAN 


 RICHMOND 
GAR 19(2)-GMR 2 (7)(a) 


D.A. VAN ROOYEN 


 IXOPO 
GAR 10(2)-GMR2(7)(a) 


W.D. CAMERON 


 UNDERBERG 
GAR 10(2)-GMR2(7)(a) 


N. BAILACHE 


 HOWICK 
GAR 10(2)-GMR2(7)(a) 


I. McFADDEN 


 EDENDALE 
 


                    


SEC 19(3)- CR 6(1) 
GAR 9 


D. JOUBERT 


 SEC 19(3)- CR 6(1) 
GAR 9 


J. FAUL 


 SEC 19(3)- CR 6(1)   
GAR 9 


A. MAHER 


 SEC 19(3)- CR 6(1) 
GAR 9 


W. WOLMARANS 


 SEC 19(3)-CR 6(1) 
GAR 9 


M. SCHOEMAN 


 SEC 19(3)-CR 6(1) 
GAR 9 


M. WILSON 


 SEC 19(3)- CR 6(1)) 
GAR 9 


C. HESLOP 


                    


SEC 17 
J. GWAMANDA 


 SEC 17 
J.N. SWART 


 SEC 17 
V. REDDY 


 SEC 17 
J. ELLIS 


 SEC 17 
A. LOUCH 


 SEC 17 
C.BODE 


 SEC 17 
P. CLARK 


                    


CR 6(2) 
D. LEWIS 
P. BRAND 


J. GWAMANDA 


 CR 6(2) 
 


S DU PREEZ 
J. SWART 
N. ZULU 


K. BLIGHT 


 CR 6(2) 
 


V. REDDY 
S. ANDERSON 


C.PORTON 


 CR 6(2) 
J. ELLIS 
B. HILL 


S. KHUBONE 


 CR 6(2) 
R. FERREIRA 


K. BASI 


 CR 6(2) 
C. BODE 


N. FOWLE 
P. SOKHELA 
F. NYUSWA 


 CR 6(2) 
N. RAMPERSAD 


P. CLARK 
N.R. DLAMINI 


B. SHEZI 


                    


DMR 18(5) 
D. LEWIS 


 DMR 18(5) 
N. ZULU 


 DMR 18(5) 
C. PORTON 


 DMR 18(5) 
B. HILL 


 DMR 18(5) 
K. BASI 


 DMR 18(5) 
N. FOWLE 


 DMR 18(5) 
B. SHEZI 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 21 of 86 
 


 


Annex D1 
(informative) 


Model Letters of Appointment 
 


 
 


Assistant to Chief Executive (Section 16(1)) 
Managing Director’s Appointment (Section 16 (2)) 


 
 


The Chief Executive  


I am charged, de facto, with the duty of ensuring compliance with the Occupational Health and 
Safety Act imposed under Section 16(1). 
 
I hereby assign you to assist me in the performance of my duties in terms and by authority of 
Section 16(2) of the Legislation supra. 
 
 
Assignment Restricted to Managing Director 
 
I, (CE)____________________________ do hereby designate ______________________  as 


Principal 16(2) to assist me in the performance of my duties in the following area(s): 


_______________________________________________________________________________


_______________________________________________________________________________ 


 
Designated Responsibilities and Authority 


 
You shall ensure that the Occupational Health Safety Act requirements are implemented and 
maintained in your area of responsibility. 
 
You may assign senior persons who shall report to you in writing to assist you in this responsibility. 
 
 
_____________________                       __________________ 
Section 16(1) Signature                                       Date 
 


 
Acceptance of designation 


 
I, ______________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
This appointment is with effect from _________________ until it is withdrawn in writing. 
 
 
_____________________                      __________________ 
Section 16(2) Signature                                      Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 22 of 86 
 


 


Annex D2 
(continued) 


 


 


 
 


Assistant to the Distribution Managing Director 
General Manager’s / Senior General Manager’s Appointment (Section 16(2)) 


 


Authorised Section 16(2) Assignee  


I am charged, de facto, with the duty of ensuring compliance with the Occupational Health and 
Safety Act imposed under Section 16(1). 
 
I hereby assign you to assist me in the performance of my duties in terms and by authority of 
Section 16(2) of the Legislation supra. 
 
 
Assignment Restricted to General Managers 
 
I, (authorised 16(2)) ___________________do hereby designate___________________, as 16(2) 
to assist me in the performance of my duties in the_____________________________, as the 
General Manager/ Senior General Manager. 
 
 
Designated Responsibilities and Authority 


 
You shall ensure that the Occupational Health and Safety Act requirements are implemented and 
maintained in your area of responsibility. 
 
You may assign senior persons who shall report to you in writing to assist you in this responsibility. 
 
Your duties assigned are in accordance with Section 8 of the Occupational Health and Safety Act. 
 
 
_______________________                            _________________ 
Authorised 16(2) Signature                                            Date 
 


 
Acceptance of Designation 


 
I, ______________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is with effect from ___________________________ until it is withdrawn in writing. 
 
 
________________________                         __________________ 
 Designated 16(2) Signature                                           Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 23 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D3 
(continued) 


 


 
 


Assistant to General Manager 
 


Manager’s Appointment (Section 16(2)) 
 


 


Authorised Section 16(2) Assignee  


I am charged, de facto, with the duty of ensuring compliance with the Occupational Health and 
Safety Act imposed under Section 16(1). 
 
I hereby assign you to assist me in the performance of my duties in terms and by authority of 
Section 16(2) of the Legislation supra. 
 
 
Assignment Restricted to E, MMU, MMM and CCU levels 
 


I, (authorised 16(2)) ._____________________ do hereby designate ________________________ 
as 16(2) to assist me in the performance of my duties in the following area(s): _________________ 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 


 
You shall ensure that the Occupational Health and Safety Act requirements are implemented and 
maintained in your area of responsibility. 
 
You may assign senior persons who shall report to you in writing to assist you in this responsibility. 
 
Your duties assigned are in accordance with Section 8 of the Occupational Health and Safety Act. 
 
 
_______________________                            ________________ 
Authorised 16(2) Signature                                           Date 
 
 
Acceptance of Designation  
 
I, ______________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is with effect from ___________________________ until it is withdrawn in writing. 
 
________________________                            _________________ 
Designated 16(2) Signature                                            Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 24 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D4 
(continued) 


 


 
 


Supervisor of Machinery (GMR 2(1)) 


 
Authorised Section 16(2) Assignee AUTHORIZED SECTION 16 (2) ASSIGNEE: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 


I hereby assign you to assist me in the performance of my duties. 
 


 
 Assignment 
 
I, (authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s):  
_______________________________________________________________________________
_______________________________________________________________________________ 
 
 
 Designated Responsibilities and Authority 


 
In terms of General Machinery Regulation 2(1) of the Occupational Health and Safety Act, an 
employer shall designate a person in a full-time capacity for each premises on or in which 
machinery is used. 
 
You are hereby designated until further notice as the competent person as defined in the General 
Machinery Regulations of Occupational Health and Safety Act in respect of the premises or in 
respect of any machinery used by employees at any premises within the areas assigned. 
 
You shall familiarise yourself with the requirements of the Occupational Health and Safety Act and 
its Regulations and see to it that it is adhered to, with respect to all machinery at the above 
premises. You are to report any deviations you cannot rectify to me immediately in writing for the 
necessary guidance and action. 
 
 
________________________                                                                  __________________ 
Authorised (16)2 Signature                                                                                     Date 
 
 
Acceptance of Designation 


 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from _____________________ until it is withdrawn in writing. 
 
___________________________                          __________________ 
Designated GMR 2(1) Signature                                   Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 25 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D5 
(continued) 


 


 
 


Supervisor of Machinery Assistant Appointment (GMR 2 (7) (a)) 


 
Authorised Section 16(2) Assignee SECTION 16 (2) ASSIGNEE: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s):  
_______________________________________________________________________________
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 


 
In terms of General Machinery Regulation 2(7) (a) of the Occupational Health and Safety Act, an 
employer may designate subordinate competent persons for premises on or in which machinery is 
used. 
 
You are hereby designated until further notice as the competent person as is defined in the General 
Machinery Regulations of Occupational Health and Safety Act for your area of responsibility. You 
are to perform your Occupational Health and Safety Act duties under the control and direction of the 
competent person. (Note: See GMR 2(1) appointment for reference.) 
 
You shall familiarise yourself with the requirements of the Occupational Health and Safety Act and 
its regulations and see to it that it is adhered to, with respect to all machinery in use at the premises 
for your area of responsibility. 
 
Please acknowledge the acceptance of your designation and the receipt of an updated copy of the 
Occupational Health and Safety Act with Regulations. 
 
________________________                                                               __________________ 
Authorised (16)2 Signature                                                                                  Date 


 
Acceptance of Designation 


 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
_______________________________                          _________________ 
Designated GMR 2(7)(a) Signature                                         Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 26 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D6 
(continued) 


 


 
 


Appointment of the Principal Contractor 


CONSTRUCTION REGULATION 4 (1)(C) 


 
Authorised Section 16(2) Assignee SECTION 16 (2 
) ASSIGNEE:  


I, (Client’s Name) hereby appoint (Principal Contractors Name) as the Principal Contractor 
responsible for (Site Address) to carry out the construction work of (Description of Construction 
Work) and if more than one Principal Contractor (Area of Responsibility). 
  
 
Designated Responsibilities and Authority 


 
You shall ensure that you meet all the requirements in terms of the Occupational Health and Safety 
Act and in particular requirements in terms of the Construction Regulations. You shall also ensure 
that all sub contractors appointed by yourself and reporting to you comply with the requirements as 
stipulated in the Construction Regulations. 
 
You shall also ensure that all the information and specifications to ensure that the construction work 
 is carried out in a safe manner are conveyed to all contractors appointed and reporting to you. 
 
You shall further ensure that all records, registers and required lists are maintained and that all 
 persons appointed to carry out tasks as stipulated by these regulations are competent and have the 
 necessary resources to complete their tasks effectively in such a manner that health and safety is 
 not in any manner compromised. 
 
You shall submit a written weekly report on all shortfalls that have not been met in terms of the 
Construction Regulations.  
 
_____________________                                                        __________________ 
 Client’s Signature                                     Date 
 
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Principal contractor) understand the implications of the appointment as detailed above  
and confirm my acceptance. 
 
The appointment is effect from ________________ until it is withdrawn in writing. 
 
_______________________________                                    __________________ 
Principal Contractor’s Signature                   Date 
 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 27 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D7 
(continued) 


 


 
 


Appointment of Client Agent 


CONSTRUCTION REGULATION 4(5) 


 
Authorised Section 16(2) Assignee SECTION 16 (2 
) ASSIGNEE: 
I, (Client’s Name) hereby appoint (Agents Name) as the agent responsible for (Site Address) to 
 manage the construction work of (Description of Construction Work). 
 


Designated Responsibilities and Authority 


 
You shall ensure that all the requirements in terms of the Occupational Health and Safety Act and in 
particular the Construction Regulations are met. You shall also ensure that all appointed contractors 
comply with the requirements as stipulated in the Construction Regulations. 
 


You shall also ensure that all the information and specifications to ensure that the construction work 
 is carried out in a safe manner are conveyed to all appointed contractors. 
 


You shall further ensure that all records, registers and required lists are maintained and shall stop 
 construction work upon identifying any non-compliance by any contractors; this includes stopping 
 any work should the competency of the person carrying out such work be questionable. 
 


 
__________________                                                                   __________________ 
Client’s Signature                                                                                       Date 
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Agent’s Name) understand the implications of the appointment as detailed above and confirm 
my acceptance. 
 
This appointment is with effect from _________________ until it is withdrawn in writing. 
 
 
__________________                                                                _________________ 
Agent’s Signature                                                                  Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 28 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D8 
(continued) 


 


 
 


Supervisor of Construction Work  (CR 6 (1))  


 
Authorised Section 16(2) Assignee: 
 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of CR 6(1). 
 


 
Assignment 
 


I, (Authorised 16(2)) _________________do hereby designate _________________ to assist me in 
the performance of construction work in the following area(s):   
_______________________________________________________________________________
_______________________________________________________________________________ 
 
 


Designated Responsibilities and Authority 
 


You shall make yourself familiar with :- 
 


• The definition of “Construction Work” 


• The definition of “Structure” 


• Construction Regulation 11 – Excavation Work 


• Construction Regulation 12 – Demolition Work 


• You shall ensure that all construction work carried out in your area of responsibility is done so in 
terms of the Construction Regulations and that all the activities related to building work are in 
compliance with the Occupational Health and Safety Act. 


• You shall ensure that all related rules, procedures; permits and supervision are being complied 
with. 


 


__________________________                                                                 ________________ 


Authorised (16)2 Signature                                                                      Date 
 


 
Acceptance of designation 
 
I, ________________________ do hereby accept the above assigned duties and acknowledge that 
I understand the requirements of this designation. 
 
This appointment is with effect from ___________________ until it is withdrawn in writing. 
 
_______________________________                   ________________ 
Supervisor of Construction Work                                                           Date 
Designated CR 6(1))  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 29 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D9 
(continued) 


 


 
 


Assistant Supervisor of Construction Work 
(Direct Supervision) (CR 6(2))  


 
Authorised Section 16(2) Assignee: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 
I, (Authorised 16(2)  ______________________ do hereby designate ____________________  to 
assist me in the performance of construction work in the following area(s):  
_______________________________________________________________________________ 


 
Designated Responsibilities and Authority 
 
You shall supervise all construction work assigned, in your area of responsibility. 
 
You shall perform your duties under the control and direction of the Construction Work Supervisor- 
(CR 6(1) Appointee) 
 


You shall familiarise yourself with : 
 


• The definition of “Construction Work”  


• The definition of “Structure” 


• Construction Regulation 11 - Excavation Work 


• Construction Regulation 12 - Demolition Work. 


• You shall ensure that all the activities related to construction work are in compliance with the 
Occupational Health and Safety Act. 


• You shall ensure that all related rules, procedures, permits and supervision are being complied 
with. 


 
______________________________                                       _________________ 
Authorised (16)2 Signature                                                                  Date 


 


Acceptance of Designation 
 
I,  _____________________ do hereby accept the above assigned duties and acknowledge that I 
understand the requirements of this designation. 
 
The appointment is with effect from ___________   until it is withdrawn in writing. 


_____________________________________             _________________ 
Assistant Supervisor of Construction Work                                     Date 
Designated CR 6(2)  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 30 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D10 
(continued) 


 


 
 


Appointment Construction Site Health and Safety Officer 


CONSTRUCTION REGULATION 6 (6) 


 
Authorised Section 16(2) Assignee SECTION 16 (2 
ASSIGNEE: 
I, (Contractor’s Name), after considering the size of project, degrees of danger and risks associated to 
the project, hereby appoint (Safety Officer’s Name) as the Construction Site Health and Safety 
Officer responsible for (Site Address) to manage all the health and safety issues as required in terms of 
 the Occupational Health and Safety Act. 
 
 
Designated Responsibilities and Authority 
 
You are required in terms of the Construction Regulations to have meaningful input in the design stage 
of the project and compilation of the Health and Safety Plans. 
 
You are required to carry out periodic audits/inspections to ensure that all records, registers and required 
lists are maintained by the relevant responsible persons. 
 
You shall stop any construction work upon identifying any non-compliance by any employee of your 
company or any sub contractors; this includes stopping any work should the competency of the person 
carrying out such work be questionable. 
 
You shall submit a written report on all shortfalls that have not been met in terms of the Construction 
Regulations.  
 
 
_______________________                                                          _________________ 
Contractors Full Signature                                                                          Date 
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Construction Site Health and Safety Officer’s Name) understand the implications of the 


appointment as detailed above and confirm my acceptance. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
_______________________________________                           _________________ 
Construction Site Health and Safety Officer’s  
Signature- CR 6(6)   Date  
  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 31 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D11 
(continued) 


 


 
 


Appointment of the Construction Site Risk Assessor 


CONSTRUCTION REGULATION 7 (1) 


 
Authorised Assignee SECTION 16 (2 
ASSIGNEE: 
I, (Contractor’s Name) hereby appoint (Risk Assessor’s Name) as the construction site risk assessor 
 responsible for (Site Address) to carry out risk assessments prior to the commencement of construction 
 work and any other risk assessment that may be required for the duration of the construction work. 
 
 
Designated Responsibilities and Authority 


 
You shall carry out and document risk assessments prior to the commencement of any work by: 
 
(a) identifying the risks and hazards to which persons may be exposed; 


  
(b) analysing and evaluating the risks and hazards identified; 


  
(c) having a documented plan of work instructions  to mitigate, reduce or control the risks and hazards 


that have been identified; 
  


(d) having a monitoring plan; and 
  


(e) having a review plan. 


 
______________________________                                                 ________________ 
   Authorised 16(2) Signature                                                                       Date 
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Construction Site Risk Assessor’s Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
______________________________                                                ________________                      
Construction Site Risk Assessor’s                                                            Date 
Signature – CR 7(1)                  
 
  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 32 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D12 
(continued) 


 


 
 


Appointment of the Fall Protection Plan Developer 


CONSTRUCTION REGULATION 8 (1) (a) – Distribution Divisional level 


 
Authorised Section 16(2) Assignee SECTION 16 (2 
ASSIGNEE: 
I, (Principal Contractor/Contractor Name/Section 16(2)) hereby appoint (Fall Protection Plan 
Developer’s Name) as the fall protection plan developer responsible for (Site Address) to develop a fall 
protection plan and ensure its implementation. 
 
 
Designated Responsibilities and Authority 


 
Your responsibilities are: 
 
a) to prepare a Fall Protection Plan for Distribution; 
 
b) to assist in development of a Training program to compliment the Fall Protection Plan. 
 
c) to ensure that the Fall Protection Plan and the Training Program is disseminated through out the  
 Division; 
 


 
__________________________________                                                     ______________ 
 Authorised 16(2) / Principal Contractor/                                                                Date       
Contractor Signature                                                          
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Fall Protection Pan Developer’s Full Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
This appointment is with effect from _________________________ until it is withdrawn in writing. 
 
 
_____________________________________                                              ________________                   
Fall Protection Plan Developer’s Signature                               Date 
 
  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 33 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D13 
(continued) 


 
 


 


 


 
 


Appointment of the Fall Protection Plan Implementer 


CONSTRUCTION REGULATION 8 (1) (b) – Regional Level 


 
Authorised Section 16(2) Assignee SECTION 16 (2 
ASSIGNEE: 
I, (Principal Contractor/Contractor Name/Section 16(2)) hereby appoint (Fall Protection Plan 
Implementer’s Name) as the fall protection plan implementer responsible for (Site Address) to ensure 
the implementation and conformance to the fall protection plan.  
 
 
Designated Responsibilities and Authority 


 
You shall ensure that the requirements in terms of the Construction Regulations from Regulation 8 (1)(b) 
up to and including Regulation 8 (5) (g) are implemented.  You have the authority to delegate this 
responsibility to M Band level. 
 
 
_______________________________                                                       _______________ 
Section 16(2)/Principal Contractor’s/                                                                 Date 
Contractor’s Signature               
 
 
Acceptance of Designation 


 
Kindly confirm your acceptance of this appointment by completing the following: 
 
I, (Fall Protection Plan Implementer’s Full Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
This appointment is valid from ____________ to the completion of the stipulated construction work (for 
Contractors) 
  
Or  
 
This appointment is with effect from ____________   until it is withdrawn in writing. (Eskom Employees) 
 
 
_____________________________________                                         ________________ 
Fall Protection Plan Implementer Signature                           Date 
 
  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 34 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D14 
(continued) 


 


 
 


Inspector of Fall Arrest Systems – C R 8 (2) (b), (c) and (d) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of CR 8. 
 


 
Assignment 
 


I, (Authorised 16(2)) ___________________________ do hereby designate __________________ 
to assist me in ensuring that every set of FAS equipment is used by a trained user  in the following 
area(s): ________________________________________________________________________                                                  
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 


You shall ensure that the requirements of CR 8 (b), (c) and (d) are adhered to. 


You shall ensure that all FAS equipment at your unit are in a good working condition. 


You shall inspect FSA equipment three monthly and shall record your findings on a check sheet. 
You shall ensure that persons at you unit are suitably trained to use FAS equipment, this includes 
the rescue equipment and system. 


You are to ensure that all unserviceable FAS equipment are to be securely locked away to 
prevent unauthorised use. 


You are to ensure that FAS Equipment repairs are conducted by an approved authority. 
 
 
_______________________                                                                      _________________ 
Authorised (16)2 Signature                                                                                    Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 


This appointment is with effect from _____________________ until it is withdrawn in writing. 
 
 
_________________________                              _________________ 
Inspector of FAS Designated                                                                                   Date 
CR 8 Signature  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 35 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D15 
(continued) 


 


 
 


Inspector of Unit Link Sticks 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of CR 8. 
 


 
Assignment 
 


I, (Authorised 16(2)) ___________________________ do hereby designate __________________ 
to assist me in  ensuring that every Link Stick used in the following area : ____________________ 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 


You shall ensure that all link sticks are identified with unique numbers 


You shall ensure that all link sticks have the appropriate manufacturer’s kV  rating engraved on 


You shall inspect all link sticks three monthly and shall record your findings in the record sheet. 
You shall ensure that the appropriate protective covering / bag for the link sticks are clean and used  


You are to ensure that all unserviceable link sticks are securely locked away to 


prevent unauthorised use and noted in the record sheet. 


You are to ensure that link stick repairs are conducted by an approved authority. 
 
 
_______________________                                                                     _________________ 
Authorised (16)2 Signature                                                                                    Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 


 


This appointment is with effect from _____________________ until it is withdrawn in writing. 
 
 
_____________________                          __________________ 
Inspector of Link Sticks                                           Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 36 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D16 
(continued) 


 


 
 


Shiftsman Appointment  


General Machinery Regulation 4 


 
Authorised Section 16(2) Assignee SECTION 16 (2) ASSIGNEE: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s):  
_______________________________________________________________________________
_______________________________________________________________________________ 
 
 
 
Designated Responsibilities and Authority 


 
You shall ensure that the requirements of the GMR 4 (1) (2) (3) & (4) are implemented and 
maintained. 
 
You shall ensure that you adequately supervise any machinery under your control during your shift, 
which requires constant attention, including live electrical machinery.  If you have any queries or 
concerns regarding the safety of the machine allocated to you, you are to immediately report these 
queries and/or concerns to the competent, subordinate competent person or the 16(2) Assignee. 
 
Attached to this appointment are the requirements of GMR 4 that you shall implement and maintain. 


 
 
________________________                                                       ________________ 
Authorised (16)2 Signature                                                                      Date 
 
 
Acceptance of Designation 


 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
__________________________                 ________________ 
Designated GMR 4 Signature                            Date 
  
NOTE: Shiftsman Operation of Machinery Guide (GMR 4) must be printed with this Appointment. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 37 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D16 
(continued) 


 


 
 


Shiftsman Operation of Machinery Guide (GMR 4) 


 


Specific Standards 
 


• An employer or user of machinery shall ensure that every person authorised to operate 
machinery is fully aware of the dangers attached thereto and is conversant with the 
precautionary measures to be taken or observed to obviate such dangers. 


 


• If a person operates any machinery which requires constant attention in order to avoid 
accidents, he/she shall under no circumstances leave his/her post while such machinery is in 
operation, unless he/she is relieved by a person who is authorised and competent to operate 
such machinery. 


 


• An employer or user of machinery shall ensure that any machinery which requires constant 
attention in order to avoid accidents is under the supervision of a Shiftsman, who shall at all 
times be present on the premises while such machinery is in operation, and no person shall 
attend to or operate such machinery, except under the general supervision of a Shiftsman. 


 


• No person supervising machinery and no person operating machinery shall, without the 
permission of his/her superior, authorise any other person to do his/her work. 


 


• If machinery threatens or is likely to threaten the safety of persons when it is unexpectedly set in 
motion or made electrically alive, the employer or user of machinery concerned shall take all 
reasonable precautionary measures in order to ensure that such machinery cannot be set in 
motion or made electrically alive, and any person intending to set such machinery in motion or 
make it electrically alive shall take all reasonable precautionary measures in order to ensure that 
the safety of a person is not threatened or likely to be threatened. 


 


• If machinery in operation threatens or is likely to threaten the safety of persons, the person 
supervising or operating such machinery or the employer or user of machinery concerned shall 
stop such machinery or cause it to be stopped. 


 


 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 38 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D17 
(continued) 


 


 
 


Health and Safety Representative Appointment - Section 17, 18 and 19 


 
Authorised Section 16(2) Assignee D SECTION 16 (2) ASSIGNEE: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties in terms of Section 17. 
 


 
Assignment 
 
I, (Authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s): 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Functions and Authority 


 
As the Health and Safety Representative for your area of designation, your functions may include, 
but shall not be limited to: 
a)  Reviewing the effectiveness of the health and safety measures within your area of     


      designation. 


b) Assessing the potential hazards to the health and safety of the employees within your area of 
designation. 


c) Inspecting the workplace and report on such inspection, and the aspects mentioned in (a), (b) 
and (c) above, to the employer. 


d) Participating in the investigations into incidents, within your area of designation, as 
contemplated in Section 18. 


e)   You shall serve on the relevant Health and Safety Committee - Section 19 (2) (a). 


 
________________________                                                         _______________ 
Authorised (16)2 Signature                                                                      Date 
 


 
Acceptance of Designation 


 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from _______________________ for a specified period or until it is 
withdrawn in writing. 
 
_____________________________________                  _______________ 
Designated Section 17,18 and 19 Signature                            Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 39 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D18 
(continued) 


 


 
 


Employer’s Nominee for Health and Safety – Section 19 


 


Authorised Section 16(2) Assignee 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 


I, (Authorised 16(2)) __________________________ do hereby designate ___________________ 
as a member of ____________________Statutory Health and Safety Committee.  
 


 
Designated Responsibilities and Authority 


 


As the Employer nominated Health and Safety nominee, your functions include, but shall not be 
limited to: 
 


• You shall be required to participate in the meeting with the view to initiating, developing, 
promoting, maintaining and reviewing measures to ensure the health and safety of Eskom 
employees. 


 


• You shall be required to attend all meetings. 
 
_______________________                                                           _________________ 
Authorised 16(2) Signature                                                                         Date 


 


Acceptance of Designation   
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
 
_____________________________________                  __________________ 
Employer’s Nominee for Health and Safety                               Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 40 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D19 
(continued) 


 


 
 


Statutory Health and Safety Committee Chairperson Appointment 


 


Authorised Section 16(2) Assignee 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of Section 19. 
 


 


Assignment 
 


I, (Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 


As the Chairperson of the Health and Safety Committee, you shall be required to make yourself 
conversant with Section 19 – Health and Safety Committees and Section 20 – Functions of Health 
and Safety Committee of the Occupational Health and Safety Act as well as the Distribution 
Standard – 34-316 Occupational Health and Safety Committee Systems.  
 
________________________                                    _______________ 
Authorised 16(2) Signature                     Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________________ until it is withdrawn in writing. 
 
_____________________________                      ________________ 
Health and Safety Committee                                    Date 
Chairperson’s Signature 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 41 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D20 
(continued) 


 


 
 


Non-Statutory Health and Safety Committee Chairperson Appointment 


 


Authorised Section 16(2) Assignee 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of Section 19. 
 


 


Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ to assist 
me in the performance of my duties in the following area(s):  _____________________________________ 
_____________________________________________________________________________________. 
 


 
Designated Responsibilities and Authority 


 
As the Chairperson of the Non-statutory Health and Safety Committee, you shall be required to 
make yourself conversant with Section 19 – Health and Safety Committees and Section 20 – 
Functions of Health and Safety Committee of the Occupational Health and Safety Act as well as the 
Distribution Standard – 34-316 Occupational Health and Safety Committee Systems.  
 
 
_______________________                 ________________ 
Authorised 16(2) Signature       Date  
     
 


 


Acceptance of designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________________ until it is withdrawn in writing. 
 
 
__________________________                             ________________ 
Health and Safety Committee                                           Date 
Chairperson’s Signature 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 42 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D21 
(continued) 


 


 
 


Co-opted Member to Serve on a Statutory Health and Safety 
Committee - Section 19 (6)  


 
Authorised Section 16(2) Assignee: 
 
I have been assigned by an authorised16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 
I, (Authorised Sect 16(2)) __________________________ do hereby designate _______________ 
as a co-opted member of the _ ______________________________________________Statutory 
Health and Safety Committee. 
 
 
Designated Functions and Authority 
 
You shall serve on the said committee in an advisory capacity and will not be able to vote on any 
matter discussed at the meeting. 
 
You are co-opted on to the committee by virtue of your particular knowledge in health and safety 
and/ or an advisory member of other matters of relevance to health and safety. 
 
You will be required to attend meetings when requested to do so, for the committee assigned. 
 


 
_________________________                                                             _______________ 
Authorised 16 (2) Signature                                                                            Date 


 


Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
The appointment is with effect from ___________________________ until it is withdrawn in writing. 
 
________________                        ________________ 
Appointee                                            Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 43 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D22 
(continued) 


 


 
 


Endorser of Health and Safety Representative Inspection Reports 
Appointment - Section 18 (g) 


 
 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (Authorised 16(2)) __________________________ do hereby designate ___________________  
to assist me in the performance of my duties in the following area(s):________________________  
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 
 


• You shall familiarise yourself with Section 18 of the Occupational Health and Safety Act and all 
Eskom requirements pertaining to Health and Safety Representative responsibilities. 


 


• You shall endorse all Health and Safety Representatives reports and familiarise yourself with 
their contents. 


 


• You shall report all deviations to the Health and Safety Committee. 
 
 
_______________________                                                              _________________ 
Authorised (16)2 Signature                                                                            Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
This appointment is with effect from _____________________ until it is withdrawn in writing. 
 
 
_____________________                       _________________ 
Section 18 (g) Signature                                 Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 44 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D23 
(continued) 


 


 


 
 


Endorser of Minutes of the Occupational Health and Safety Committee 
Meetings Appointment –Section 20 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 
 


• You shall endorse all Committee Meetings Minutes and familiarise yourself with their contents 
and correct any deviations to standards. 


 


• You shall familiarise yourself with Section 20 and all Eskom requirements pertaining to Statutory 
Health and Safety Committees. 


 
 
_______________________                                                                 ________________ 
Authorised (16)2 Signature                                                                            Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ________________ until it is withdrawn in writing. 
 
 
_________________________________                      _________________ 
Endorser of H & S Committee Minutes                                                        Date 
Section 20 Signature        
 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 45 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D24 
(continued) 


 


 


 
 


Incident/Accident Investigator Appointment – (GAR 9 (2)) 


 


Authorised Section 16(2) Assignee 
 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties in terms of Section 9 (2). 
 
 


Assignment 
 


I, (Authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of incident investigations in the following area(s): 
_______________________________________________________________________________
_______________________________________________________________________________ 
 


 


Designated Responsibilities and Authority 
 


You shall ensure that you investigate all the incidents that occur in accordance with Section 24 and 
Distribution Procedure, Reporting, Recording, Investigating, Costing and follow up of 
Incident/Accidents. 
 
Ensure that you investigate the following: 
 
Investigate incidents that occur on the premises and other Distribution sites: 
 
(i) Record the findings of the investigation on an OHS Act Annexure 1 form. 
 
(ii) Report the findings of all investigations to your Employer and Health and Safety committee. 
 
(iii) Ensure that the Employer and the Chairman of the Health and Safety Committee endorse the  
 record of each incident. 
 
(iv) Keep a register of all incidents – Annexure 1 summary. 
 
_______________________                                                            _________________ 
Authorised (16)2 Signature                                                                          Date 
 


 
Acceptance of Designation 
 
I, ______________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from _________________ until it is withdrawn in writing. 
 
____________________________________                                   ________________ 
Incident/Accident Investigator’s Signature                   Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 46 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D25 
(continued) 


 


 


 
 


Appointment of Scaffolding Supervisor 


CONSTRUCTION REGULATION 14 (2) 
 
Authorised Section 16(2) Assignee: 
 
I, (Section 16(2)/ Principal Contractor/Contractor Name) hereby appoint (Scaffolding 
Supervisor’s Name) as the scaffolding supervisor responsible for (Site Address) to supervise and 
carry out all the necessary inspections in terms of all scaffolding work. 
 


 
Designated Responsibilities and Authority 
 
You shall ensure that when becoming aware of any health and safety hazards in respect to 
 scaffolding work that the necessary precautionary measures are taken and enforced. 
 
You shall on a monthly basis inspect all scaffolding for defects and record your findings on a 
checklist. 
 
You shall further ensure that the requirements of the Construction Regulations are at all times met. 
  
On identifying any shortfalls or hazards convey such information in writing to the Construction 
Supervisor. 
 
Carry out adhoc inspections of scaffolding whilst in use. 
 
 
______________________________                                                         ________________ 
Section 16(2)/ Principal Contractor/                                                                      Date 
Contractors Signature                                  
 
Acceptance of Designation 
 
I, (Scaffolding Supervisor’s Full Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
This appointment is with effect from _____________________ until it is withdrawn in writing. 
 
 
______________________________                              ________________ 
Scaffolding Supervisor’s Signature                                             Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 47 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D26 
(continued) 


 


 


 
 


Appointment of the Suspended Platform Supervisor 


CONSTRUCTION REGULATION 15 (1) 
 
Authorised Section 16(2) Assignee: 
 
I, (Principal Contractor/Contractor Name) hereby appoint (Suspended Platform Supervisor’s 
Name) as the suspended platform supervisor responsible for (Site Address) to supervise and carry 
out all the necessary inspections in terms of all suspended platform work. 
 
 
Designated Responsibilities and Authority 
 
You shall ensure that when becoming aware of any health and safety hazards in respect to 
suspended platform work that the necessary precautionary measures are taken and enforced. 
 
You shall further ensure that the requirements of the Construction Regulations are at all times met. 
 
On identifying any shortfalls or hazards convey such information in writing to the Construction 
Supervisor. 
 
Carry out adhoc inspections of suspended platforms whilst in use. 
 
 
____________________________________                                              _______________ 
Principal Contractor/Contractor’s Signature                                                        Date 


 
Acceptance of Designation 
 
I, (Suspended Platform Supervisor’s Full Name) understand the implications of the appointment 
as detailed above and confirm my acceptance. 
 
This appointment is with effect from _________________ until it is withdrawn in writing. 
 
______________________________________                                           _______________ 
Suspended Platform Supervisor’s Signature                   Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 48 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D27  
(continued) 


 


 


 
 


Inspector of Ladders 


GENERAL SAFETY REGULATION 13 A 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties in terms of GSR 13 A. 
 


 
Assignment 
 
I, (Authorised 16(2)) ___________________________ do hereby designate __________________ 
to assist me in  ensuring that every ladder is inspected and a record kept of the inspections in the 
following area(s): 
______________________________________________________________________________                                                  
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 


 


• You shall ensure that the requirements of GSR 13 A are adhered to. 


• You shall ensure that all ladders at your unit are in a good working condition. 


You shall inspect ladders three monthly and shall record your findings on a check sheet. 


• You shall ensure that persons at you unit are suitably trained to use ladders. 


• You are to ensure that all unserviceable ladders are to be securely locked with unique locks to 
prevent unauthorised use. 


• You are to ensure that ladder repairs are conducted by an approved authority. 
 
 
_______________________                                                                    ________________ 
Authorised (16)2 Signature                                                                                Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 


The appointment is with effect from _____________________ until it is withdrawn in writing. 
 
_____________________________________                            ________________ 
Inspector of Ladders Designated GSR 13 A                                        Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 49 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D28 
(continued) 


 


 


 
 


Appointment of Lifting Machinery Operator (DMR 18) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of DMR 18(11). 
 


 
Assignment 
 


I, (Authorised 16(2)) ___________________________ do hereby designate __________________ 
to assist me in  ensuring that you only operate the following type/category of crane: 
______________________________________________________________________________                                                  
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 


You shall ensure that the requirements of DMR 18 are implemented and maintained. 


You shall conduct a pre-use inspection every time before you use your equipment and record your 
findings on the checklist. 


You shall not operate any of your equipment if the equipment is defective. Defective equipment 
must be immediately reported to your immediate Superior. 
You shall not permit any unqualified and unauthorised persons to operate your equipment. 


When you leave your equipment for what ever reason you shall ensure that: 
 


• There is no unauthorised use. 


• The brakes/stop blocks are applied. 


• The equipment is parked in a safe area. 


• The lifting device is placed on the ground. 


• A load is not left suspended. 
 
_______________________                                                                  _________________ 
Authorised (16)2 Signature                                                                                 Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 


The appointment is with effect from _____________________ until it is withdrawn in writing. 
 
_______________________________                           _________________ 
Operator of Lifting Machinery                                                                              Date 
Designated DMR 18(11)  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 50 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D29 
(continued) 


 


 


 


Appointment of the Material Hoist Inspector 


CONSTRUCTION REGULATION 17 (8) 


 
Authorised Section 16(2) Assignee  
 
I, (Principal Contractor/Contractor Name) hereby appoint (Material Hoist Inspector’s Name) as 
the material hoist inspector responsible for (Site Address) to supervise and carry out all the 
necessary inspections in terms of all material hoists on site. 
 


 
Designated Responsibilities and Authority 


 


You are required to inspect every material hoist used on the construction site as assigned to you in 
accordance to Construction Regulation 17(8).   
 
You shall ensure that when becoming aware of any health and safety hazards in respect to material 
 hoists are identified, that the necessary precautionary measures are taken and enforced. 
 
You shall on identifying any shortfalls or hazards convey such information in writing to the 
Construction Supervisor. 
 
You shall further ensure that the requirements of Construction Regulation 17 are met at all times. 
 
 


_______________________                                                                   _________________ 
Authorised (16)2 Signature                                                                                 Date 
 
 
Acceptance of Designation 
 
I, (Material Hoist Inspector’s Full Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
The appointment is with effect from ______________________ until withdrawn in writing. 
 
 
__________________________________                           __________________ 
Material Hoist Inspector – Section 17(8)                                          Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 51 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D30 
(continued) 


 


 


 
 


Inspector of Lifting Machinery Appointment (DMR 17 & 18) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 


 
For this position you shall have the following duties and responsibilities and ensure that: 
 


• You are registered by Engineering Council of South Africa as a Lifting Machine/ Lifting Gear 
Inspector (Govt. no R158, 18 February 2005). 


 


• All lifting gear is numbered. 
 


• All lifting machinery is numbered. 
 


• All lifting gear and machinery is inspected every three months and your findings are recorded in 
a register. 


 


• All lifting machinery is load tested annually and your findings are recorded in a register. 
 


• All deviations noted are reported to the responsible person. 
 
_______________________                       __________________ 
Authorised 16(2) Signature                                      Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from ________________________ until it is withdrawn in writing. 
 
_____________________________                                                       _________________ 
Inspector of Lifting Machinery                                                                          Date 
DMR 17(2) and 18(5,6,7) Signature               







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 52 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D31  
(continued) 


 


 
 


Appointment of the Explosive Powered Tools Issuer 


CONSTRUCTION REGULATION 19 (2) (g) (i) 


 


Authorised Section 16(2) Assignee 
 
I, (Principal Contractor/Contractor Name) hereby appoint (Explosive Powered Tools Issuer’s 
Name) as the explosive powered tools issuer responsible for (Site Address) to issue, receive and 
record the issuing and receiving of all cartridges and nails or studs. 
 
 
Designated Responsibilities and Authority 
 


• You shall ensure that when becoming aware of any health and safety hazards in respect to 
       Explosive Powered Tools that the necessary precautionary measures are taken and enforced. 
 


• You shall further ensure that the requirements of the Construction Regulations are at all times 
met. 


 


• On identifying any shortfalls or hazards convey such information in writing to the Construction 
       Supervisor. 
 
 
 
______________________________________                                ___________________ 
Principal Contractor’s/Contractor’s Signature                                                Date 
 


 
Acceptance of Designation 
 
I, (Explosive Powered Tools Issuer’s Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
 
This appointment is valid from _______________________ until it is withdrawn in writing. 
 
 
 
___________________________________                   ____________________ 
Explosive power tools issuer’s Signature                                                       Date 
CR 19 (2) (g) (i)                                                                              
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 53 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D32 
(continued) 


 


 
 


Appointment of the Explosive Powered Tools Operator 


CONSTRUCTION REGULATION 19 (3) 


 


Authorised Section 16(2) Assignee 
 
I, (Principal Contractor/Contractor Name) hereby appoint (Explosive Powered Tools 
Operator’s Name) as the explosive powered tools operator responsible for the safe operation and  
handling of  all cartridges and  nails or studs. 
 
 


 


 
Designated Responsibilities and Authority 
 
You shall ensure that when becoming aware of any health and safety hazards in respect to 
Explosive Powered tools that the necessary precautionary measures are taken and enforced. 
 
You shall further ensure that the requirements of the Construction Regulations are at all times met. 
On identifying any shortfalls or hazards convey such information in writing to the Construction 
Supervisor. 
 
 
_______________________________________                                  _________________ 
Principal Contractor’s/Contractor’s Signature                                                Date 
 


 
Acceptance of Designation 
 
I, (Explosive Powered Tools Operator’s Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 
 
This appointment is valid from________________________ until it is withdrawn in writing. 
 
 
______________________________________                        ___________________ 
Explosive Power Tools Operator’s Signature                                                    Date 
CR 19 (3)                                                                            
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 54 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D33 
(continued) 


 


 
 


Tester for Emergency Lighting Appointment (ERW3) 


 
Authorised Section 16(2) Assignee: 
 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 


I hereby assign you to assist me in the performance of my duties in terms of ERW 3 (5).  
 


 
Assignment 
 


I, (Authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of testing the emergency lighting  in the following area(s):  
_______________________________________________________________________________
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 


For this position you shall have the following duties and responsibilities: 
 


• You shall familiarise yourself with Environmental Regulation for Workplaces Regulation 3. 
 


• You shall inspect, test and maintain all sources of emergency lighting to ensure efficient 
operation in your area of appointment, at intervals of not more than three months. 


 


• You shall further be responsible for entering, without delay the results of each inspection and 
test in a record book compiled specifically for this purpose. 


 
 


_______________________                                                                     _________________ 
Authorised (16)2 Signature                                                                                  Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
 


The appointment is with effect ____________________________ until it is withdrawn in writing. 
 
 
___________________________                            _________________ 
Designated ERW 3(5) Signature                                        Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 55 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D34 
(continued) 


 


 
 


Appointment of the Construction Vehicles and Mobile Plant Inspector 


CONSTRUCTION REGULATION 21 (1) (j) 


 
Authorised Section 16(2) Assignee: 
 


I, (Principal Contractor/Contractor Name) hereby appoint (Construction Vehicles and Mobile 
Plant Inspector’s Name) as the construction vehicles and mobile plant inspector responsible for 
(Site Address) to inspect on a daily basis all construction vehicles and mobile plant. 
 
 


 
Designated Responsibilities and Authority 


 


You are required to carry out a daily inspection of all construction vehicles and mobile plants on 
your allocated site and record such inspections in the appropriate register. 
 
You shall ensure that when becoming aware of any health and safety hazards in respect to 
 Construction vehicles and mobile plant that these are reported to the Principal Contractor/ 
Contractor. 
 
You shall familiarise yourself with the Construction Regulations. 
 


 
 


_____________________________________                                           _________________ 
Principal Contractor/Contractor’s Signature                                                       Date 
    


 
Acceptance of Designation 
 
I, (Construction Vehicles and Mobile Plant Inspector’s Name) understand the implications of the 
appointment as detailed above and confirm my acceptance. 
 
 
The appointment is valid from _________________ until it is withdrawn in writing. 
 
__________________________________                               _________________ 
Construction Vehicles and Mobile Plant                                                                Date 
Inspector’s Signature              
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 56 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D35 
(continued) 


 


 
 


Appointment of the Temporary Electrical Installation Controller  


CONSTRUCTION REGULATION 22 (e) 


 
Authorised Section 16(2) Assignee: 
 


I, (Principal Contractor/Contractor Name) hereby appoint (Temporary Electrical Installation 
Controller’s Name) as the temporary electrical installation controller responsible for (Site 
Address). 
 


 
Designated Responsibilities and Authority 


 


You are required to control all temporary electrical installations on the site allocated and to ensure  
that respective installations and electrical machinery meet the requirements of Construction 
Regulation 22.  
 
You shall familiarise yourself with the above Regulation. 
 
 


_______________________________________                                         ________________ 
Principal Contractor’s/Contractor’s Signature                                                     Date 
 


 


Acceptance of Designation 
 
I, (Temporary Electrical Installations Controller’s Name) understand the implications of the 
appointment as detailed above and confirm my acceptance. 
 
 
The appointment is valid from ____________________ until it is withdrawn in writing. 
 
 
____________________________                               _________________ 
Temporary Electrical Installation                                                                          Date 
Controller’s Signature                   
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 57 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D36 
(continued) 


 


 
 


Appointment of the Temporary Electrical Installation Inspector 


CONSTRUCTION REGULATION 22 (d) 


 
Authorised Section 16(2) Assignee: 
 


I, (Principal Contractor/Contractor Name) hereby appoint (Temporary Electrical Installation 
Inspector’s Name) as the temporary electrical installation inspector responsible for (Site Address).  
 
 


 
Designated Responsibilities and Authority 


 


You are required to inspect all temporary electrical installations on site at least once a week and  
electrical machinery on a daily basis before use.  
 
You are to record these inspections in the appropriate register which shall be kept on site. 
 


You shall familiarise yourself with Construction Regulation 22. 
 


 
_______________________________________                                          ________________ 
Principal Contractor’s/Contractor’s Signature                                                         Date 
 


 
Acceptance of Designation 
 
I, (Temporary Electrical Installations Controller’s Full Name) understand the implications of the  
appointment as detailed above and confirm my acceptance. 
 
 
The appointment is valid from _________________ until it is withdrawn in writing. 
 
 
____________________________                               _________________ 
Temporary Electrical Installation                                                                              Date 
Inspector’s Signature                   
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 58 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D37 
(continued) 


 


 
 


Appointment of the Stacking and Storage Supervisor 


CONSTRUCTION REGULATION 26 (a) 


 
Authorised Section 16(2) Assignee: 
 


I, (Principal Contractor/Contractor Name) hereby appoint (Stacking and Storage Supervisor’s 
Name) as the stacking and storage supervisor responsible for (Site Address). 
 
 


 
Designated Responsibilities and Authority 


 


You are required to manage all stacking and storage on site in terms of Construction Regulation 26. 
 
You shall familiarise yourself with the above Construction Regulation. 
 
 
 


_______________________________________                                      _________________ 
Principal Contractor’s/Contractor’s Signature                                                  Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
 


This appointment is valid from ________________________ until it is withdrawn in writing. 
 
 
_______________________________________                             _________________ 
Stacking and Storage Supervisor’s Signature                                         Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 59 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D38 
(continued) 


 


 
 


Appointment of the Fire Extinguisher Inspector 


CONSTRUCTION REGULATION 27 (h) 


 
Authorised Section 16(2) Assignee: 
 


I, (Principal Contractor/Contractor Name) hereby appoint (Fire Extinguisher Inspector’s Name) 
as the fire extinguishing inspector responsible for (Site Address) to carry out all inspections in 
respect to fire extinguishers. 
 
 


 


Designated Responsibilities and Authority 


 


You shall carry out all inspections of all fire fighting equipment that is positioned within your work 
site in terms of Construction Regulation 27. 
 
You shall record your inspections in the appropriate register which shall be kept on site. 
 
You shall familiarise yourself with the above Construction Regulation. 
 
   
 


_______________________________________                                        ________________ 
Principal Contractor’s/Contractor’s Signature                                                      Date 
 


 
Acceptance of Designation 
 
I, (Fire Extinguisher Inspector’s Full Name) understand the implications of the appointment as 
detailed above and confirm my acceptance. 
 


The appointment is valid from ________________ until it is withdrawn in writing. 
 
 
__________________________________                              ________________ 
Fire Extinguisher Inspector’s Signature                                            Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 60 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D39 
(continued) 


 


 


 
 


First Aid Co-ordinator Appointment (GSR 3(4)) 


 


Authorised section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


Assignment 
 
I,(Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
 


Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 


 
 


• Ensuring that all the injuries are treated. 


• Ensuring that all treatments are recorded in the first-aid book/record sheet. 


• Ensuring that certificates at your unit are valid at all times. 


• Ensuring that the first-aid boxes are equipped with the minimum requirements in accordance with 
Organisational requirements. 


• Ensuring that the first-aid box is sign posted indicating location and to whom it is assigned. 


• Ensuring that the first-aid box is unobstructed. 


• Ensuring that all employees in your department are familiar with the fact that you are the First-Aider and 
with the exact location of the box. 


• Ensure that the names of the appointed First Aiders are displayed on the box with details of how to get 
hold of them in the event of an emergency. (Discretion is allowed in the marking of boxes) 


• You shall familiarise yourself with the General Safety Regulation 3. 
 


_______________________                            _________________ 
Authorised 16(2) Signature                                                                                   Date 
 
 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge  
that I understand the requirements of this designation. 
 
 
The appointment is with effect from _____________________ until it is withdrawn in writing. 
 
__________________________                                                              __________________ 
First aid Co-ordinator                                          Date 
GSR 3(3)(a)(b) and 4 Signature 
 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 61 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D40 
(continued) 


 


 
 


First Aider Appointment (GSR 3(4)) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties in terms of GSR 3. 
 


 
Assignment 
 
I, (Authorised 16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of  first aid inspections/checks in the following area(s):  _________ 
_______________________________________________________________________________
_______________________________________________________________________________ 
 


 
Designated responsibilities and authority 
 
You shall ensure that the first aid box which is assigned to you is stocked with the legally required 
contents, and that you inspect these boxes on a monthly basis and record your findings. 
 
You shall treat all injuries/illnesses in accordance with your training received. 
 
You shall ensure that all treatments are recorded in the first aid book/record sheet. 
 
You shall familiarise yourself with General Safety Regulation 3. 
 
 
_______________________                                                                    ________________ 
Authorised (16)2 Signature                                                                                 Date 
 
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is with effect from _____________________ until it is withdrawn in writing. 
 
 
___________________________                          _________________ 
Designated GSR 3(4) Signature                                       Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 62 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D41 
(continued) 


 


 


 
 


  Appointment for Electrical Installations in Hazardous Locations (EMR 8(7))  


- Master Electrician – (Internal Use) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 
 


• You shall familiarise yourself with the EMR 8 requirements. 
 


• You shall examine and test all applicable electrical machinery at intervals not exceeding 2 
years. 


 


• You shall enter the results of the tests and examinations into the record book. 
 
 
_______________________                                                                     _________________ 
Authorised (16)2 Signature                                                                                   Date 
 


 
Acceptance of Designation 
 
I, ___________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is effective from _____________________ until it is withdrawn in writing. 
 
 
____________________________                           _________________ 
Designated EMR 8(7) Signature                                                                         Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 63 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D42 
(continued) 


 


 
 


Installation Electrician Appointment (EIR 9 (2)) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
______________________________________________________________________________ 
______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
You shall ensure that the requirements of the Electrical Installation Regulations are complied with. 
 
Specific responsibilities: 
 


• Exercise general supervision on a full-time basis over the installation work which is not 
performed by you, whilst it is in progress. 


• Ensure that the work is done in a safe manner and in accordance with all safety standards and 
by-laws. 


• Inspect and test all completed work prior to making application for the connection of the 
electrical installation to the electrical supply. 


• Complete a certificate of compliance if no exemption has been obtained from this requirement. 
 
________________________                                                                _________________ 
Authorised (16)2 Signature                                                                                 Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is in effect from ___________________ until it is withdrawn in writing. 
 
 
_______________________________                           ________________ 
Designated EIR 9(2) Signature                                       Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 64 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D43 
(continued) 


 


 
 


Vessels under Pressure Inspector Appointment (VUP 11, 12, 13) 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 
 


• You shall familiarise yourself with the legal requirements under the Regulations for Vessels 
under Pressure. 


 


• You shall examine and test all pressure vessels at intervals not exceeding 36 months. 
 


• You shall enter the results of the test and examinations in the record book. 
 
 
________________________                                                                     ________________ 
Authorised (16)2 Signature                                                                                    Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is in effect from ______________________ until it is withdrawn in writing. 
 
 
____________________________                               ________________ 
Vessels Under Pressure                                                                                         Date 
Regulation 11, 12, 13 Signature                                                                       
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 65 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D44 
(continued) 


 


 
 


Fire Co-ordinator / Fire Warden Appointment 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 


• You shall ensure that the requirements of ERW 9 are complied with. 


• You shall ensure that all the fire fighting equipment is in a good working condition. 


• You shall inspect all your fire fighting equipment once a month and record your findings on a 
checklist. 


• *You shall ensure that your team members are trained in all the potential health and safety 


hazards associated with fires. 


• *You shall ensure that all your team members are trained in the safe use of all fire fighting 


protective equipment as well as breathing apparatuses. 


• You shall inspect all your fire protective equipment on a monthly basis and record the findings in 
the appropriate register. 


• You shall ensure that all detection and protection systems are inspected and maintained by an 
approved authority. 


• You shall ensure that a copy of the annual service record of the fire equipment at the relevant 
unit is filed in relevant section of the Risk Management Filing System. 


Note: * - These are only applicable where fire teams exist. 
 
________________________                                                                         _______________ 
Authorised (16)2 Signature                                                                                       Date 
 
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from _______________________ until it is withdrawn in writing. 
 
_______________________                                ________________ 
Fire Co-ordinator Signature                                              Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 66 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D45 
(continued) 


 


 
 


Responsible for Servicing and Maintenance of Fire Equipment 


 
Authorised Section 16(2) Assignee 


 
I have been assigned by an authorised Sect 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 


I, (Authorised 16(2) ____________________________ do hereby designate ______________ to 
assist me in the performance of servicing and maintenance of the relevant fire equipment in : 
_______________________________________________________________________________ 
 
 
Designated Functions and Authority 
 
You shall service the fire equipment in terms of the Distribution Fire Risk Management Standard as 
required. 
 
You shall carry out inspections of fire equipment as and when required and furnish a report to the 
relevant Line Manager on the state of the equipment inspected. (This does not remove the 
inspections required by the relevant units) 
 


Notwithstanding Vessels Under Pressure Regulations, you shall ensure that all fire extinguishers 
are pressure tested. 
 
You shall furnish the Regional Risk Management Department with a copy of a certificate certifying 
that the pressure testing of the extinguishers is carried out by a contractor authorised to do so in 
terms of SANS 1475. 
 


____________________________                                                             ________________ 
Authorised Sect 16 (2) Signature                                                                            Date 
 
 


Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is effect from ___________________________ until it is withdrawn in writing. 
 
__________                                  ________________ 
Appointee                                           Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 67 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D46 
(continued) 


 


 
 


Regional Head of Emergency Preparedness Appointment  


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
For this position you shall have the following duties and responsibilities: 
 
You shall: 


• ensure that effective and tested emergency action plans are in place in all departments/units 
within your Region. 


• ensure that the Regions plan is in co-ordination with the Distribution Divisional plan.  


• keep the Divisional Manager informed as to the state of readiness of emergency action plans. 


• ensure that the local police, ambulance, fire brigade and medical services are incorporated in 
your emergency plans. 


 
_______________________                                                                          _______________ 
Authorised (16)2 Signature                                                                                       Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from _________________________ until it is withdrawn in writing. 
 
 
______________________________                              ________________ 
Head of EP Appointee’s Signature                                              Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 68 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D47 
(continued) 


 


 
 


Emergency Preparedness Co-ordinator Appointment  


Department / Unit / Complex 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _____________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 


• You shall ensure that a user-friendly emergency procedure is drawn up, implemented and 
maintained for your area of responsibility. 


• You shall ensure that your plan compliments other buildings and/or surrounding 
industry/establishments. 


• You shall ensure that the local police, ambulance, fire brigade and medical services are 
incorporated in your emergency plans. 


• You shall ensure that the emergency procedures are being complied with. 


• You shall ensure that all the role players are well informed regarding their duties in the event of 
an emergency. 


• You shall ensure that emergency drills are carried out on a regular basis and record your 
findings. and hold post mortem meeting. 


• You are responsible for co-ordinating the emergency procedure during an emergency. 
 
_______________________                                                                     ________________ 
Authorised (16)2 Signature                                                                                   Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from ____________________ until it is withdrawn in writing. 
 
 
_________________________                          _________________ 
EP Co-ordinator’s Signature                                         Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 69 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D48 
(continued) 


 


 
 


Emergency Preparedness Appointment as Evacuation Co-ordinator 
 
 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I,(Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 
 
Duties include: 
 


• Ensuring that there is an effective evacuation procedure with sufficient properly trained 
members who can take effective action during emergencies. 


• There are floor plans available indicating all the escape routes and alternative routes. 


• Ensuring that evacuation officials are trained and kept in state of preparedness. 


• Monitoring and co-ordinating evacuation activities. 


• Reporting to E.P. Co-ordinator as soon as the area has been cleared. 
 
_______________                                                                                      ________________ 
Authorised 16(2)                                                                                                      Date 
 
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from ____________________ until it is withdrawn in writing. 
 


________________________________                              ________________ 
Evacuation Co-ordinator’s Signature                                          Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 70 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D49 
(continued) 


 


 
 


Emergency Preparedness Appointment as Evacuation Official 
 
 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 
I, (Authorised16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  _______________________ 
_______________________________________________________________________________ 
 


 
Designated Responsibilities and Authority 


 
Duties include: 
 


• Ensuring the safe evacuation of all persons from your area of responsibility. 


• You are required to inspect the building/ area for total evacuation during an emergency. 


• You shall also be charged with the responsibility of inspecting all evacuation routes in your area 
and reporting on these to the Emergency Preparedness Co-ordinator, at monthly intervals. 


 
 
_______________                                                                                          _______________ 
Authorised 16(2)                                                                                                        Date 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is with effect from ______________________ until it is withdrawn in writing. 
 


___________________________                                ________________ 
Evacuation Official’s Signature                                              Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 71 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D50 
(continued) 


 


 


 
 


Hazardous Chemical Substance Co-ordinator Appointment 


 


Authorised Section 16(2) Assignee 
 


I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 


I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 


I, (Authorised16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s):  ______________________ 
______________________________________________________________________________ 
 


 


Designated Responsibilities and Authority 


You shall ensure that the requirements of the Hazardous Chemical Substances Regulations are being 
implemented and maintained. 
 


You shall consult with the Health and Safety Committee and Health and Safety Representatives on 
the following issues and implement and/or make recommendations to the Principal 16(2) Assignee. 
• Information and training in accordance with the relevant Material Safety Data Sheets  


• Assessment of potential exposure 


• Air monitoring 


• Medical Surveillance 


• Respirator zone 


• Records 


• Control of exposure to hazardous substances 


• Personal Protective Equipment and facilities 


• Prohibitions 


• Labelling, packaging, transportation and storage 


• Disposal of hazardous substances 
 
_________________________                                                                           __________________ 


Authorised (16)2 Signature                                                                                Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and acknowledge that I 
understand the requirements of this designation. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
____________________________________                      _________________ 
Designated HCS Co-ordinator’s Signature                                      Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 72 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D51 
(continued) 


  
 


 
 


Hazardous Chemical Substance Unit Controller Appointment 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 


I hereby assign you to assist me in the performance of my duties. 
 


 
Assignment 
 


I,(Authorised16(2)) __________________________ do hereby designate ___________________ 
to assist me in the performance of my duties in the following area(s):  ______________________ 
______________________________________________________________________________ 
 


 


Designated Responsibilities and Authority 


 


• You shall familiarise yourself with Distribution Standard –  34-440 Selection Purchase and 
Storage of Hazardous Material   


• Good housekeeping shall be employed by all business units/departments that receive and 
      store hazardous materials. 


• No containers shall be left lying about.  


• Specific storage areas shall be clearly marked and demarcated. 


• Each container of hazardous material shall be labelled, tagged and marked. 


• Containers shall be protected against physical damage and shall be stored in enclosed 
      storage areas. 


• Records shall be kept of all hazardous material stored on site and strict inventory control shall 
      be maintained. 
 
 
_________________________                                                                            ___________________ 


Authorised (16)2 Signature                                                                                  Date 
 


 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from ___________________ until it is withdrawn in writing. 
 
_________________________________                         __________________ 
Designated HCS Controller’s Signature                                         Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 73 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D52 
(continued) 


 


 
 


Emergency Preparedness Appointment as Transport Co-ordinator 


 


Authorised Section 16(2) Assignee 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  
______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 
 
Duties include: 
 


• The organising and managing of all transportation during emergencies. 
 


• The control of all traffic entering and leaving Eskom premises. 
 


• To co-ordinate the acquisition of transport in accordance to the department/ unit EP Plan. 
 
 
_______________                                                                                         _________________ 
Authorised (16)2                                   Date 
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
 
The appointment is with effect from _______________________ until it is withdrawn in writing. 
 
 
 
_______________________________                               _________________ 
Transport Co-ordinator’s Signature                                           Date 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 74 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D53 
(continued) 


 


 
 


Responsible for Occupational Health 


 
Authorised Section 16(2) Assignee: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 


I, (Authorised 16(2) ____________________________ do hereby designate _________________ 
to assist me in the performance of occupational health in :  _______________________________ 
______________________________________________________________________________ 
 
 
Designated Functions and Authority 
 
You shall carry out periodical health screening in terms of DISASACA2 -Medical Surveillance 
Standard.  
 
You shall carry out pre-employment and exit medicals. (Refer to DISASACA2) 
 


You shall furnish a copy of your current/re-newel receipt of registration with the South African 
Nursing Council. (To be attached to this appointment) 
 
You shall ensure that all the medical requirements in terms of the Hazardous Chemical Substances 
Regulations in terms of the Occupational Health and Safety Act No 85 of 1993 are complied with. 
 
 
________________________                                                                       _______________ 
Authorised 16 (2) Signature                                                                                     Date 
 


 


Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from ________________________ until it is withdrawn in writing. 
 
 
__________                                                                                                    ______________ 
Appointee                                                  Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 75 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D54 
(continued) 


 


 
 


Responsible for Unit Security 


 
Authorised Section 16(2) Assignee: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
I hereby assign you to assist me in the performance of my duties. 
 
 
Assignment 
 


I, (Authorised 16(2) ____________________________ do hereby designate ______________ to 
assist me in ensuring that the security of:  ____________________________________________ 
______________________________________________________________________________ 
 
 
Designated Functions and Authority 
 
You shall be responsible for ensuring that all Eskom assets at your unit are kept in a secure 
manner. 
 
You shall ensure that your unit’s buildings are secured at the end of shift. 
 
Where applicable, you shall have access control at your respective unit/workplace. 


 
 
________________________                                                                      ________________ 
Authorised 16 (2) Signature                                                                                     Date 
 


 


Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
The appointment is with effect from ________________________ until it is withdrawn in writing. 
 
 
_________                                                                                                ________________ 
Appointee                                                    Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 76 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D55 
(continued) 


 


 
 


High Voltage Authorisation for T.O (LV Work) 


 


Recommended by 
 
 


 
Supported by 
 
I,(Authorised 16(2)) __________________________ do hereby designate ____________________ 
to assist me in the performance of my duties in the following area(s):  
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 
 
In terms of the Operating Regulations for Low Voltage Systems you are hereby authorised to 
perform the duties as defined below: 
 
All details not applicable must be deleted: 
 
*1.56         Responsible Person restricted to, for example, line work only, cable work only etc.) 
                 Circuit-breaker reset and change 
                 Meter change 
                 Tamper reset 
                 220/380 V cable joints 
                 220/380 V bundle conductor repair 
 
*2.01.3.3  Operating on excluded systems (state apparatus) 
                 220/380 V networks 
                 (If restricted to area state area) 
 
*4.02.4     Right to possess keys for (state category/type of key) 
                General area key 
 
*5.01        To supervise persons undergoing training 
                220/380 V network only  
 
*5.9          Testing of equipment (if restricted state tests and/or apparatus and/or voltage) 
                 220/380 V network only 
________________________                                                            __________________ 
Authorised (16)2 Signature                                                                              Date 
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and 
acknowledge that I understand the requirements of this designation. 
 
______________________________                                                ____________________ 
Authorization for L.V.O. Signature                                      Date 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 77 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D56  
(continued) 


 


 
 


High Voltage Authorisation for Distribution/Transmission 


 


Personal Details 
 
REGION: 
FSC/TSC/TSG: 
NAME: 
UNIQUE NUMBER: 
DESIGNATION: 


 


Designated Responsibilities and Authority 
 
In terms of the Operating Regulations for High Voltage Systems you are hereby authorised to 
perform the duties as defined below: 
 


1.56 
 
Responsible person restricted to: (for example, line work only, cable work only) 
 


2.01.3.3 Operating on excluded systems (state apparatus) 
 


2.03.2 Transmission of messages 
 


2.03.3.1 Accept of pre-authorised instructions 
 


2.03.3.1 Taking permission to operate (if restricted state feeders) 
 


2.07.1 Checking of phasing (if applicable state restriction) 
 


3.01.2 Access to prohibited areas / live chambers/restricted area (if restricted state which 
areas/chambers) 


3.03 Supervise persons working in Prohibited/Restricted Areas. (if restricted state which areas and / 
or nature of work) 
 


4.02.4 Right to possess keys for (state category/type of key) 
 


5.01 To perform SWITCHING/LINKING/SAFETY TESTING/EARTHING (state voltage range and/or 
specific feeders) 
 


5.02.2 Supervising of persons working in live chambers (if restricted state which chambers and / or 
nature of work) 
 


5.03.6.1 To handover (if restricted state apparatus) 
 


5.05.2 Replace D.O.F.I. (if restricted state feeders and/or voltages) 
 


5.9 Testing of equipment (if restricted state which tests and/or apparatus and/or voltage) 
 


6.04 Restoration of supply (if restricted state feeders/substations/voltages) 
 


6.05 Establish a temporary local control (if restricted state feeders / substation / voltages) 


8.02.3.1 Issues work permits (if restricted state voltages and/or nature of work) 
 


8.02.7 Supervise work without a permit (if restricted state voltages and/or nature of work) 
 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 78 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Note: Where Regions require additional authorisations for other ORHV Regulations then they are permitted 
to add the relevant Regulations and all details that are not applicable must be deleted. 


 
Note:     This authority supersedes all previous authorities 


 


Recommended by:  


 
NAME: 
 
SIGNATURE: 
 
DATE: 
 
 


Authorised by:    


 


NAME: 
 
SIGNATURE: 
 
DATE: 
 


 


Acceptance of designation 


 
 
I __________________________________ understand the authorisation detailed above and I 
accept the duties and responsibilities set out therein. 
 
SIGNATURE: 
 
DATE: 
 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 79 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D57 
(continued) 


 
 


Distribution Live Work Authorisation 


 


Personal Details 
 
AREA: 
FSC/TSC/TSG: 
NAME: 
UNIQUE NUMBER: 
DESIGNATION: 


 


Designated Responsibilities and Authority 
 
In terms of ESKOM’s Operating Regulations for High Voltage Systems and Standards for High 
Voltage Live-Working you are hereby authorised and appointed to perform the following duties: 
 
1. You are hereby appointed in the …………………………………………… areas as an Authorised 
Person for the following duties: 
A. To be in charge of live work in terms of Regulation 7.01.1 


• Gloving method limited to attached procedures 


• Stick method limited to attached procedures 


• Barehand method limited to attached procedures 


• Aerial method limited to attached procedures 


B. To perform live work in terms of Regulation 7.01.2 


• Gloving method limited to attached procedures 


• Stick method limited to attached procedures 


• Barehand method limited to attached procedures 


• Aerial method limited to attached procedures 


C. To be deputised as person in charge in terms of Regulation 7.02.4 


• Gloving method limited to attached procedures 


• Stick method limited to attached procedures 


• Barehand method limited to attached procedures 


• Aerial method limited to attached procedures 


2. You are issued with Operating Regulation Book Number……………………….. 


 


In terms of Regulation 4.02.4 you are issued with the following keys to carry out the 


above duties 


     


3. 


 


Note: This authorisation supersedes all previous authorisations 


 


• All items not applicable must be deleted. 


• Authorisations are valid for three years. 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 80 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


 


 


Recommended by:    
 
NAME: 


SIGNATURE: 


DATE: 


 


Authorised by:    


NAME: 


SIGNATURE: 
DATE: 
EXPIRY DATE: 
 
Acceptance by: 
 


I understand the authorisation detailed above and I accept the duties and responsibilities set out 


therein. 


NAME: 


SIGNATURE: 


DATE: 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 81 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D58 
(continued) 


 
 


Environmental Management Appointment 


 


Authorisation 
 
Name: ______________________________________         Unique number: __________________ 
 
You are hereby appointed as responsible person for environmental management in terms of the 
National Environmental Management Act, No. 107 of 1998, in the following area/s: 
_______________________________________________________________________________
_______________________________________________________________________________
_______________________________________________________________________________ 
 
 
Designated Responsibilities and Authority 
 
Duties include: 
 


• You shall ensure that all environmental issues relevant to your line of business as indicated in 
the Distribution Group Environmental Accountability Matrix, as amended, are being addressed. 


• You shall ensure that environmental responsibilities as detailed in the environmental 
accountability matrix are communicated, assigned and understood by the relevant personnel 
within your line of business. 


• You shall ensure that progress in attaining the Distribution Group Environmental Key 
Performance Indicators are reported on a monthly basis through the specified channels of 
communication. 


• You shall actively monitor your line of business to ensure that new issues are dealt with in a 
proactive manner that supports the business’s objectives. 


• You shall ensure that you and your staff are familiar and comply with the requirements of the 
National Environmental Management Act, No. 107 of 1998, and all other applicable 
Environmental Legislation. 


 
__________________                                 ________________ 
Employer’s Signature                                                                     Date  


          
 
Acceptance of Designation 
 
I, ____________________________ do hereby accept the above assigned duties and acknowledge 
that I understand the requirements of this designation. 
 
The appointment is with effect from __________________________ until it is withdrawn in writing. 
 
This appointment supersedes all previous appointments. 
 
____________________              _________________ 
Appointee’s Signature                Date 
 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 82 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex D59 
(continued) 


 


 
 


Withdrawal of Appointment 


 
Authorised Section 16(2) Assignee: 
 
I have been assigned by an authorised 16(2) with the duty of ensuring compliance with the 
Occupational Health and Safety Act within my area of responsibility. 
 
 
 
Withdrawal 
 


I, (Authorised 16(2)) ____________________________ do hereby advise  ___________________  
that  your appointment/s:  
________________________________________________________________________ 
________________________________________________________________________         
have been withdrawn with effect of ____________________________________________. 
 
 


 
I would like to thank you for your dedication and the efficient manner in which you carried out your 
duties with regard to the above appointment/s. 
 
 
 
 
 
 
________________________                                                                      _______________ 
Authorised 16 (2) Signature                                                                                    Date 
 
 
 
 


 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 83 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex E 


Impact assessment 


Impact assessment form to be completed for all documents. 


1  Guidelines 


o All comments must be completed. 
o Motivate why items are N/A (not applicable) 
o Indicate actions to be taken, persons or organisations responsible for actions and deadline for action. 
o Change control committees to discuss the impact assessment, and if necessary give feedback to the compiler 


of any omissions or errors. 


2  Critical points 


2.1 Importance of this document. E.g. is implementation required due to safety deficiencies, statutory 
requirements, technology changes, document revisions, improved service quality, improved service 
performance, optimised costs.  


Comment: Statutory Requirement and Business Assigning of specific responsibilities.  


2.2 If the document to be released impacts on statutory or legal compliance - this need to be very clearly 
stated and so highlighted.   


Comment: Appointments compiled in terms of the Occupational Health and Safety Act requirements as well as 
Employers responsibilities (Section 8) 


2.3 Impact on stock holding and depletion of existing stock prior to switch over. 


Comment: NONE – N/A  


2.4 When will new stock be available? 


Comment: NONE – N/A  


2.5 Has the interchangeability of the product or item been verified - i.e. when it fails is a straight swop 
possible with a competitor's product? 


Comment: NONE – N/A  


2.6 Identify and provide details of other critical (items required for the successful implementation of this 
document) points to be considered in the implementation of this document. 


Comment: NONE – N/A  


2.7 Provide details of any comments made by the Regions regarding the implementation of this document. 


Comment: (N/A during commenting phase) 







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 84 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex E 
(continued) 


3  Implementation timeframe 


3.1 Time period for implementation of requirements.  


Comment: Immediately after publication. 


3.2 Deadline for changeover to new item and personnel to be informed of DX wide change-over. 


Comment: Immediately after publication 


4  Buyers Guide and Power Office  


4.1 Does the Buyers Guide or Buyers List need updating? 


Comment: NONE – N/A  


4.2 What Buyer’s Guides or items have been created? 


Comment: NONE – N/A  


4.3 List all assembly drawing changes that have been revised in conjunction with this document. 


Comment: NONE – N/A  


4.4 If the implementation of this document requires assessment by CAP, provide details under 5 NONE 


4.5 Which Power Office packages have been created, modified or removed? 


Comment: NONE – N/A  


5  CAP / LAP Pre-Qualification Process related impacts 


5.1 Is an ad-hoc re-evaluation of all currently accepted suppliers required as a result of implementation of this 
document? 


Comment: NONE – N/A  


5.2 If NO, provide motivation for issuing this specification before Acceptance Cycle Expiry date. 


Comment: Not applicable to contents of document. 


5.3 Are ALL suppliers (currently accepted per LAP), aware of the nature of changes contained in this 
document? 


Comment: NONE – N/A  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 85 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex E 
(continued) 


5.4 Is implementation of the provisions of this document required during the current supplier qualification 
period? 


Comment: NONE – N/A  


5.5 If Yes to 5.4, what date has been set for all currently accepted suppliers to comply fully? 


Comment: N/A  


5.6 If Yes to 5.4, have all currently accepted suppliers been sent a prior formal notification informing them of 
Eskom’s expectations, including the implementation date deadline? 


Comment: N/A  


5.7 Can the changes made, potentially impact upon the purchase price of the material/equipment? 


Comment: NO 


5.8 Material group(s) affected by specification: (Refer to Pre-Qualification invitation schedule for list of 
material groups) 


Comment: NONE 


6  Training or communication 


6.1 State the level of training or communication required to implement this document. (E.g. none, 
communiqués, awareness training, practical / on job, module, etc.) 


Comment: Dissemination by Regional Document Controllers 


6.2 State designations of personnel that will require training. 


Comment: NONE 


6.3 Is the training material available? Identify person responsible for the development of training material. 


Comment: NONE 


6.4 If applicable, provide details of training that will take place. (E.G. sponsor, costs, trainer, schedule of 
training, course material availability, training in erection / use of new equipment, maintenance training, 
etc).  


Comment: NONE 


6.5 Was Training & Development Section consulted w.r.t training requirements? 


Comment: N/A  







DOCUMENT CLASSIFICATION: CONTROLLED DISCLOSURE 


LEGAL APPOINTMENTS AND  Reference: 34-961 


AUTHORISATIONS Type: DST 


 Revision: A 


 Page: 86 of 86 
 


 When downloaded from the EDS database, this document is uncontrolled and the responsibility rests with the user  
to ensure it is in line with the authorised version on the database. 


Annex E 
(continued) 


7  Special tools, equipment, software 


7.1 What special tools, equipment, software, etc will need to be purchased by the Region to effectively 
implement? 


Comment: NONE 


7.2 Are there stock numbers available for the new equipment? 


Comment: N/A  


7.3  What will be the costs of these special tools, equipment, software? N/A 


8  Finances 


8.1 What total costs would the Regions be required to incur in implementing this document? Identify all cost 
activities associated with implementation, e.g. labour, training, tooling, stock, obsolescence  NONE 


Comment: 


………………………………………………………………………………………………………………………. 


………………………………………………………………………………………………………………………. 


………………………………………………………………………………………………………………………. 


Impact assessment completed by: 


Name:  Sivendri Govender  & Risk Management Standards Revisions Committee 


Designation: Dx Group Risk Specialist – Policies and Procedures 


 






_1346503762.pdf


TR/formatted 06 May 2008/voting 10 May 2008/re-published 14.05.09 


 
 


 


 
 


Directive  


 


Reference: 32-421 


Revision: 1 


Total pages: 8 


Revision date: 1 September 2010 


Title: Eskom Cardinal Rules 


 


Classification: Controlled 
Disclosure 


 


Content 


 Page 


 
1  Introduction ...................................................................................................................................2 


2  Directive statement .......................................................................................................................2 


3  Supporting clauses .......................................................................................................................4 


4  Authorisation.................................................................................................................................7 


5  Revisions ......................................................................................................................................7 


6  Development team........................................................................................................................8 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 2 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


1  Introduction 


Eskom is committed to health and safety excellence, which forms an integral part of our operations.  
Eskom and its subsidiaries will conduct business with respect and care for people to ensure that no 
operating condition, or urgency of service, endangers the life of anyone or causes injury or damage to 
the environment. Eskom is committed to preventing all work related injuries. 


At-risk behaviour leads to incidents.  Cardinal Rules are non-negotiable safety rules that have been 
created to enforce zero tolerance of serious at-risk behaviours.  These rules have been determined in 
terms of the consequences of the behaviours they describe, that is, if a particular set of behaviours or 
actions has a very high probability of causing disabilities or fatalities when performed.  


Eskom Cardinal Rules complement our existing safety best practices and address safety 
procedures to be followed at all locations. 


Five Cardinal Rules have been developed that will apply to all Eskom employees, agents, consultants, 
and contractors.  


 


2  Directive statement 


Cardinal Rules are safety rules that describe such extreme behaviour that all reasonable employees 
would agree that anyone knowingly and wilfully violating one of them is putting his/her life and any 
other lives in jeopardy and should be dealt with seriously. It must be noted that this does not detract 
from the requirements for safe behaviour for all other work related activities. 


 


2.1 The Eskom Cardinal Rules 


 


RULE 1:  OPEN, ISOLATE, TEST, EARTH, BOND, AND/OR INSULATE BEFORE TOUCH 


(That is, any plant operating above 1 000 V) 


 


No person may work on any electrical network unless: 


• he/she is trained and authorised as competent for the task to be done; 


• a pre-task risk assessment to identify all risks and hazards has been conducted prior to any 
work commencing; 


• an equipotential zone is created for each worker on the job site by earthing, bonding, and/or 
insulating according to approved procedures; 


• all conducting material is connected together, all staff on site wear electrical safety shoes, and 
insulating techniques are applied according to standards; and  


• the authorised person (team leader) has certified and shown all team members that the 
apparatus is safe to work on. 


 


NB:  in the case of live work, work is to be conducted according to standards and procedures 
while maintaining minimum safe working clearance. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 3 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


RULE 2:  HOOK UP AT HEIGHTS 


 


Working at height is defined as any work performed above a stable work surface or where a person 
puts himself/herself in a position where he/she exposes himself/herself to a fall from or into.  


 


No person may work at height where there is a risk of falling unless: 


• a pre-task risk assessment to identify all risks and hazards has been conducted prior to 
commencing any work at height; 


• he/she is appropriately trained; 


• he/she is appropriately secured during ascending and descending; and 


• he/she is using an approved fall arrest system where applicable. 


 


RULE 3:  BUCKLE UP 


 


No person may drive any vehicle on Eskom business and/or on Eskom premises: 


• unless the driver and all passengers are wearing seat belts. 


 


RULE 4:  BE SOBER 


 


No person is allowed to work under the influence of drugs and alcohol.  


 


“Under the influence” means the use of alcohol, drugs, and/or a controlled substance to the extent 
that: 


• the individual’s faculties are in any way impaired by the consumption or use of the substances; 
or 


• the individual is unable to perform in a safe, productive manner; or 


• the individual has a level of any such substance in his/her body that corresponds to or exceeds 
accepted medical/legal standards; or 


• the individual has a level of alcohol in his/her body that is greater than 0.02% blood alcohol 
concentration. 


This includes any level of an illegal substance in the body, irrespective of when the substance was 
used. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 4 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


RULE 5:  ENSURE THAT YOU HAVE A PERMIT TO WORK 


 


Where an authorisation limitation exists, no person shall work without the required Permit to Work 
(PTW), which is governed by the Plant Safety Regulations, Operating Regulations for High Voltage 
Systems (ORHVS), etc. 


• No plant is to be returned to service without the cancellation of all permits on that plant in 
accordance with procedure. 


 


NB:  in the case of live work, a “live work declaration form” is to be completed by the 
authorised person who is the person responsible for the safe execution of work according to 
relevant standards and procedures. 


 


3  Supporting clauses 


Index of supporting clauses 


2.1 The Eskom Cardinal Rules.........................................................................................................2 


3.1 Scope..........................................................................................................................................4 


3.2 Normative/informative references...............................................................................................5 


3.3 Definitions ...................................................................................................................................5 


3.4 Abbreviations ..............................................................................................................................5 


3.5 Roles and responsibilities...........................................................................................................5 


3.6 Consequences of violating a Cardinal Rule ...............................................................................6 


3.7 Guidelines for implementation ....................................................................................................6 


3.8 Process for monitoring................................................................................................................7 


3.9 Related documents.....................................................................................................................7 


 


3.1 Scope  


This directive shall apply to all Eskom sites with the intention of promoting a safe working environment 
for all Eskom employees, agents, consultants, and contractors. 


 


3.1.1 Purpose 


This directive clarifies Eskom’s intention to enforce “zero tolerance” with respect to behaviour resulting 
in serious risk at the workplace. 


 


3.1.2 Applicability 


This directive shall apply throughout Eskom Holdings Limited, its divisions, subsidiaries, and entities 
wherein Eskom has a controlling interest, unless specifically exempted by the Eskom Executive 
Committee (EXCO), where the business transacted may be of a completely different nature to the core 
business of Eskom. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 5 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


3.2 Normative/informative references 


Parties using this directive shall apply the most recent edition of the documents listed below: 


 


3.2.1 Normative  


32-196: Eskom Disciplinary Code 


32-197: Eskom Disciplinary Procedure 


ESKPVAEY6: Operating Regulations for High Voltage Systems 


GGR 0992: Plant Safety Regulations (Low Voltage Regulations) 


 


3.2.2 Informative  


32-94: Eskom Health, Safety, and Environment Policy 


Occupational Health and Safety Act 85 of 1993 


National Road Traffic Act 93 of 1996 


 


3.3 Definitions 


Cardinal Rule:  a rule that, if not adhered to, has the potential to cause serious harm to people. The 
consequences of violating this rule will result in a disciplinary process. 


 


3.4 Abbreviations 


3.4.1 CE:  Chief Executive 


3.4.2 MD:  Managing Director 


3.4.3 EDC:  Eskom Documentation Centre 


 


3.5 Roles and responsibilities 


3.5.1 The Sustainability and Innovation Department shall: 


(a) ensure communication of the Cardinal Rules throughout Eskom Holdings Limited, its divisions, 
subsidiaries, and entities wherein Eskom has a controlling interest; and  


(b) ensure that the Assurance and Forensic Department monitor implementation of this procedure. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 6 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


3.5.2 All business units 


The management at business unit level shall be responsible for: 


 


• implementing the Eskom Cardinal Rules in their business units; 


• communicating to all their employees the importance of compliance with the Eskom Cardinal 
Rules and the consequences of non-compliance with them.  This includes communicating 
Cardinal Rules to all new employees; 


• developing awareness material and managing the distribution thereof; 


• receiving sign-off by all employees on their understanding and the implications of the Eskom 
Cardinal Rules and retaining copies thereof; 


• developing additional Cardinal Rules for their specific high-risk activities if required; and 


• identifying, recording, and investigating non-compliance with any of the Eskom Cardinal Rules. 


 


3.5.3 Safety/Risk Managers 


Safety/Risk Managers shall be responsible for keeping record of all non-compliances with the Eskom 
Cardinal Rules as well as other defined site-specific cardinal rules and requirements. 


 


3.6 Consequences of violating a Cardinal Rule 


In terms of general health and safety in Eskom, if any of the Cardinal Rules are not adhered to, it will 
result in a disciplinary process in accordance with the Eskom Disciplinary Code and Procedure, which 
will have the power of dismissal.  


 


It must be highlighted that Eskom takes a ZERO TOLERANCE stance to violation of these rules and 
will, therefore, push for a sanction of dismissal during a disciplinary hearing. 


 


3.7 Guidelines for implementation 


1.   Communicate the rule and the objective behind the rule.  This is to ensure that employees 
comply with the rules. 


2.   Measure understanding and document acknowledgement of Cardinal Rules. 


3.   Make sure that all procedures, equipment, and training are in place and that any barriers to 
compliance are addressed. 


4.   Track and publish statistics for Cardinal Rule violations. 


5.   Ensure that there has been proper implementation and communication prior to invoking 
disciplinary processes.  The role of supervisors and middle management in the implementation 
process is crucial. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 7 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


3.8 Process for monitoring 


It is recognised that this directive requires a comprehensive roll-out in Eskom.  Each division is 
required to have a process through which Cardinal Rule requirements are communicated and 
implemented.  This includes receiving sign-off by all employees on their understanding and the 
implications of the Eskom Cardinal Rules and retaining copies thereof.  Enforcement of Eskom 
Cardinal Rules will commence on 1 September 2008.  


Business units are responsible for ensuring the understanding of, and compliance with, Cardinal 
Rules, and Assurance and Forensic Department will audit the implementation of, and adherence to, 
this directive.  


 


3.9 Related documents 


None. 


 


4  Authorisation 


This directive has been seen and accepted by:  


Name Designation 
PJ Maroga Chief Executive 
B Nqwababa Finance Director 
ME Letlape Managing Director (Human Resources Division) 
E Johnson Chief Officer (Networks & Customer Service) 
MM Ntsokolo Managing Director (Transmission Division) 
JA Dladla Managing Director (Special Project 2010) 
Dr SJ Lennon Managing Director (Corporate Services Division) 
BA Dames Chief Officer (Generation) 
A Noah Managing Director (Distribution Division) 
Dr B Mothebedi Acting Managing Director (Enterprises Division) 
 


5  Revisions 


Date Rev. Remarks 


1 August 2008. 0 The document with reference number 32-421 was 
developed and approved. 


3 December 2008 1 Annexure 1: Acknowledgement of Eskom Cardinal Rules
of this document was removed. The references made to 
Annexure 1 in paragraphs 3.5.2 and 3.8 were also 
removed. 


 







Unique identifier: 32-421 
Revision: 1 


Directive for: 
Eskom Cardinal Rules 


Page: 8 of 8 
 


 


CONTROLLED DISCLOSURE 


 
 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 


6  Development team 


Kerseri Pather 


Malcolm Fawkes 


Jace Naidoo 


Alex Stramrood 


Tony Paterson 






_1346503617.pdf


TR/formatted 12.02.09/voting 06.03.09/edited 12.03.09/authorisation 26.03.09/published 05.05.09 


 


 
 


Guideline 
 


 


 


Content  


 Page 


1  Introduction ...................................................................................................................................2 


2  Document content.........................................................................................................................2 


3  Supporting clauses .....................................................................................................................46 


4  Authorisation...............................................................................................................................49 


5  Revisions ....................................................................................................................................50 


6  Development team......................................................................................................................49 


 


When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the database. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 2 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


1 Introduction 


Eskom’s responsibility and commitment to ensure a safe working environment are in line with our 
Safety, Health, and Environmental Policy, along with legislative obligations.  The objective of this 
guideline is to outline the requirements appropriate to the Construction Regulations and to ensure that 
a common approach is adopted when engaging in construction work. 
 


2 Document content 


1. INTRODUCTION 


1.1 Project works information, scope of work, and other details 


1.1.1 Location:  the works information should sufficiently define or refer to where the works will be 
conducted, for example, cadastral maps for power lines, for substations as pointed out on site during 
the clarification or negotiation meeting, etc.  Any risks associated with the location known to the project 
engineer or other representatives of the employer/client (for example, land surveyor) are to be 
conveyed in the works information or as defined in the minutes of the clarification or negotiation 
meeting.  Record the address and identification of specific structures; reference to the contracts/other 
contractual documentation (works information) where the exact detail is contained. 
 


1.1.2 Project description/detailed scope of work:  the works information should contain a 
scope of work, which in summary provides the extent of the works and deliverables on the project.  
Attached or referred to in this, further detail is required to define the works, for example, the bill of 
quantities, specifications, standards, drawings, procedures, processes, information requirements, etc.  
Any risks associated with the design, technology used, or its constructability that an experienced 
contractor could not reasonably anticipate, known to the project engineer or other representatives of 
the employer/client, are to be conveyed in the works information or as defined in the minutes of the 
clarification or negotiation meeting.  The nature of construction activities involved:  reference to the 
contracts/other contractual documentation (works information) where the exact detail is contained. 
 


1.1.3 Programme details 
 


• (For engineering and construction contracts only):  for evaluation and assessment of the cycle:  
SHE plan one month prior to commencement of work.  SHE plan assessed by the employer’s SHE 
agent and approved by the project manager is required prior to work commencing and preferably 
prior to site establishment. 


 


• Time acceptable for preparation of SHE plan:  dependent on the contractor – taking into account 
the realisation of the construction programme. 


 


• Anticipated date for the commencement and completion of work on site.  This is as per contract – 
it is important that the execution phase of the project is not “hurried”, that is, the construction 
period is reasonable, any fast-tracking properly defines the additional resources/teams, and the 
contractor conveys how associated risks are mitigated. 


 


1.1.4 Site details 
 
Schematic layout of project site, including site plans/services and surrounding land uses or any 
sensitive features.  Refer to 1.1.1. 
 


1.2 Client/agent and principal contractor:  details, accountabilities, and 
responsibilities 


If there is any specific appointment/responsibility below that is not applicable, that 
appointment/responsibility should be removed (as long as it is not a legally required 
appointment/responsibility). 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 3 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
There might be instances where one person may be fulfilling the responsibility of more than one role.  
 
Provide the Eskom project organogram, (insert project structure) for example, refer to the capital 
investment process, acquire customer value chain, and network asset creation value chain 
documentation here. 


1.2.1 Client’s/agent’s representative:  Eskom overall project/programme manager:  
name  


The overall programme manager is the overall accountable person for the overall management of the 
project both on and off site. 
 
If applicable:  if an agent is to be appointed, appointment as per the OHS Act, CR 4(5) as an agent 
representative by the client representative.  The programme manager may delegate duties to a project 
manager, project coordinator, and clerk of works, internal or external to Eskom. 


1.2.2 Eskom project manager:  name  


The project manager as defined in the contract is responsible for managing the contract with the 
principal contractor and ensures that the SHE specifications are developed and issued with tender 
enquiries and that the principal contractor’s SHE plan is approved prior to commencement of work.  
He/she must ensure that all the statutory requirements, Eskom and SHE specifications, and SHE plan 
requirements are adhered to by the principal contractor and (if applicable) its subcontractors at all 
times. 


1.2.3 Project/site manager:  name  


The project/site manager is a delegated responsible person appointed in terms of the OHS Act by the 
section 16(2)-delegated responsible person.  He/she is responsible for the overall SHE control of the 
project, especially on site. 


1.2.4 Designer, project engineer, and technology and quality officer    


The designer is the person responsible for ensuring that technologies, designs, and their application 
provide for SHE-compliant assets during and after their construction. 
The project engineer is responsible for the development of the SHE specifications for the project and 
the overall management of the project design application as well as for ensuring the management of 
the compliance of the completed works with the design during and after construction on site in 
conjunction with the project supervisor and under the auspices of the project manager. 
The project engineer is the person responsible for ensuring that the employer’s professional and legal 
obligations with respect to the implementation of the design are fulfilled. 
The technology and quality officer is the person responsible for ensuring that the material delivered 
and used on the project is to the employer’s specifications. 
 


1.2.5 Eskom:  project health and safety manager/practitioner:  name  


The responsibility of the health and safety manager/practitioner is to provide assurance, as well as to 
advise, assist, and support the project manager, supervisor, and project engineer in the management 
of the health and safety issues on the project, which includes ensuring proper coordination among the 
various contractors.  The SHE manager/practitioner will also be responsible for assisting in the 
development of site- and project-specific SHE specifications and for ensuring that SHE specifications 
are issued with enquiry documents and that the contractor’s SHE plans are submitted, evaluated, and 
approved.  He/she will be responsible for auditing and ensuring compliance with legal requirements.  


1.2.6 Eskom:  environmental control officer:  name   


Note:  this position may be a permanent position on the project organogram, or it may be a service 
rendered by a line division (which may be managed by a service-level agreement). 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 4 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


The responsibility of the environmental control officer is to provide assurance and advice and to assist 
and support the Eskom project manager, supervisor, and project engineer in the management of the 
environmental issues on the project, which includes ensuring that environmental documentation is 
issued with enquiry documents and ensuring compliance with the record of decision (ROD) and the 
environmental management plan (EMP). 
 


1.2.7 Principal contractors 


The principal contractor primarily carries accountability and responsibility for the health and safety of 
his/her employees and his/her subcontractors within his/her working area, as contemplated by section 
37(2) of the OHS Act.  None of the additional safety requirements specified by the client/agent reduce 
the principal contractor’s accountability and responsibility for the health and safety of his/her 
employees and subcontractor employees within his/her working area. 
 


1.2.8 Principal contractor and sub-contractor supervisors 


a) The principal contractor shall ensure that the performance of all specified work is supervised,    
throughout the contract period, by a sufficient number of competent appointed representatives of 
the principal contractor and/or subcontractor, who have experience in the type of work specified. 


Note:  no work may commence and/or continue without the presence of appointed supervisor 
appointees during performance of the contracted work.  


In determining the number of appointed competent supervisors, the nature and scope of work being 
performed shall be taken into consideration. 


b) It must also be noted that the required appointed construction supervisor (OHS Act CR 6.1) may 
not leave the site unless there is a sufficient number of appointed competent subordinate 
supervisors (OHS Act CR 6.2) on site to assist with supervision.  


 
c) The principal contractor’s site manager/supervisor shall provide a list of names and contact 


telephone numbers of all his/her strategic employees as well as the subcontractor’s employees on 
site.  This list shall be updated as and when new subcontractors commence on site. 


 
d) The principal contractor’s site manager/supervisor shall keep a record of all employees, including 


the subcontractor’s employees, including date of induction, relevant skills, and licences, and be 
able to produce this list at the request of the Eskom project manager.  These records shall be filed 
in the SHE file. 


 
e) The principal contractor shall ensure that his/her managers and supervisors give clear and 


unambiguous instructions for the work in hand to the personnel for whom they are responsible.  
The instructions shall include, but not necessarily be limited to: 


 


• description of the objective/scope of work; 


• sequence of work/method statements; 


• hazard identification and risk assessment (prior to commencement of work); 


• precautionary/preventative measures that are to be taken; and 


• identification of sensitive features that may be impacted on by the project. 
 


1.2.9 Principal contractor and subcontractor SHE practitioner 


The appointment of a full-time SHE practitioner is required for the duration of the contracted work.  The 
contractor’s SHE practitioner shall assist and support the contractor’s construction manager to ensure 
that the contractor’s SHE responsibilities are fulfilled and that there is compliance with the SHE 
specifications and SHE plan. 
 
In determining the number of appointed competent SHE practitioners, the nature and scope of work 
being performed shall be taken into consideration. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 5 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


1.2.10 Contractor employees on the project 


a) The principal contractor is responsible for adequately informing his/her employees and 
subcontractors of all relevant information of the Eskom-issued work information, SHE 
specifications, and the principal contractor’s SHE plan. 


 
b) Employees are responsible for their own health and safety and that of their co-workers in their 


area.  They must be made aware of their responsibilities during induction and awareness 
sessions, some of which are: 


 


• familiarising themselves with their workplaces and health and safety procedures; 


• working in a manner that does not endanger them or cause harm to others; 


• ensure that work area is kept tidy; 


• reporting all incidents/accidents and near misses; 


• protecting fellow workers from injury; 


• reporting unsafe acts and unsafe conditions; 


• reporting any situation that may become dangerous; and 


• carrying out lawful orders and obeying health and safety rules. 
 
c) Every person responsible under 16.1 and 16.2 must have undergone general Eskom SHE 


induction training before work commences under their auspices, and every employee of the 
principal contractor, subcontractor, and employer’s staff involved in the project must undergo site 
induction before entry onto site, commencement of the contracted work, and for specific tasks.  
Principal contractor and subcontractor employees shall have documented verification of completed 
induction training.  


 
d) It must be highlighted to all employees that anyone who becomes aware of any person 


disregarding a safety notice, instruction, or regulation shall immediately report this to the person 
concerned.  If the person persists, stop the person from working, and report the matter to the 
Eskom project manager or supervisor and the principal contractor supervisor immediately. 


 
e) No person shall damage, alter, remove, render ineffective, or interfere with anything that has been 


provided for the protection of the site or for the health and safety of persons. 
 
f) No person under the influence of alcohol, drugs, or medication (in a state of intoxication) or any 


other condition that may render him/her incapable of controlling himself/herself or other persons 
under his/her charge shall be allowed to enter the site. 


 
g) All safety and warning signs must be obeyed at all times. 
 
h) Entering or leaving the site may only be done via the official designated walkways; do not take 


short cuts.  Follow designated walkways to and from your workplace.  Walk, do not run, and be 
alert to motor vehicle traffic and mobile equipment. 


 
i) All employees must adhere to the SHE and other site-specific rules. 
 
j) If any of the principal contractor’s employees or his/her subcontractor employees have 


transgressed any of the requirements of the SHE specification, SHE plan, or site rules, then the 
employee will be removed from site and his/her site access revoked.  The principal contractor 
must follow a process of disciplinary action, which shall include retraining/inducting the employee 
(at the cost of the principal contractor), and provide proof thereof to the Eskom site/project 
manager.  On the satisfaction of the Eskom site/project manager, the employee will be allowed 
back on site. 


 
Client/agent and contractor accountabilities and responsibilities shall be clearly defined. 
 


Contractors shall adhere to the requirements as laid out in sections 8 and 9 of the 
Occupational Health and Safety Act. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 6 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


The contractor, when appointed, carries prime accountability and responsibility for the health, safety, 
and welfare of his/her employees and their subcontractors within their working area.  None of the 
additional health, safety, and welfare requirements specified by the client reduce the contractor’s 
accountability and responsibility for the health, safety, and welfare of his/her employees and 
subcontractor employees within their working area. 
 
The contractor is responsible for informing personnel, including employees and subcontractors, of all 
relevant information of the project SHE schedule and the contractor’s SHE plan. 


 
The contractor shall take prime responsibility for all aspects of environmental management associated 
with the project activity for which he/she is responsible. 
 


2. LEGAL AGREEMENT 


In terms of section 37(2) of the OHS Act, it shall be required of every contractor to sign an agreement 
with Eskom.  


 


3. CLIENT AND CONTRACTOR ORGANISATIONAL STRUCTURES 


Provide the contractor’s organisational SHE structure (organogram).  


 


4. APPOINTMENTS  


The contractor, as defined in the contract, shall ensure that all site-related appointments are in place 
and that they are specific and indicate for which areas within the OHS Act individuals are responsible.  
 
The contractor shall provide a project/site organogram listing the legal appointees and shall ensure 
that the organogram is updated as and when appointments change. 
 
The contractor shall ensure that all his/her appointees are made aware of their accountabilities and 
responsibilities in terms of their appointment and that he/she advises and assists these appointees in 
the execution of their duties. 
 
Copies of any appointments made by the contractor shall be included in the health and safety plan and 
be provided to the client/agent. 
 
Typical examples of statutory appointments as and when required: 


• OHS Act:  section 16(1) Employer  


• OHS Act:  section 16(2) Employer 


• OHS Act:  GMR 2(1) Supervisor of Machinery 


• OHS Act:  GMR 2(7) Supervisor of Machinery Assistant 


• OHS Act:  section 17 Health and Safety Representative 


• OHS Act:  section 19 Health and Safety Committee Member (if there are two or more H&S 
representatives, then there will be an H&S committee) 


•   Chairperson of Health and Safety Committee 


•   OHS Act:  GSR 3 First-aiders 


•   OHS Act: GSR 5(1) Person that Pronounces and Certifies a Confined Space Safe for the 
Duration of Work being Conducted (Applicable for Confined Spaces) 


• OHS Act:  DMR 17(2) Goods Hoist Inspector 


• OHS Act:  GAR 9(2) Incident/Accident Investigator 


• OHS Act:  DMR 18(11) Lifting Machinery Operator (Appointment or Permit) 


• OHS Act:  DMR 18(5) Lifting Machinery Inspector 


• OHS Act:  DMR 18(10)(e) Lifting Tackle Inspector 


• OHS Act:  EMR 9 Portable Electrical Equipment Inspector 


• OHS Act:  VUP 10 Portable Gas Container Inspector 


• OHS Act:  VUP 13(1)(b) Pressure Vessels Inspector 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 7 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• OHS Act:  Lifts, Escalators and Passenger Conveyor Regulations (6)(1) – Competent 
person to examine and maintain lift, escalator, or passenger conveyor 


• OHS Act:  HCS 3(3) Hazardous Chemical Substances Co-coordinator 


• OHS Act:  Asbestos Regulation 21 Person Registered as an Asbestos Contractor 
(Asbestos AIA) by the Department of Labour 


• OHS Act:  CR 4(1)(c) Appointment of the Contractor by the Eskom Client (to be done 
when contract is awarded) 


• OHS Act:  CR 5(3)(b) Subcontractor Appointment by the Contractor (if appointing 
subcontractors) 


• OHS Act:  CR 6(1) Construction Supervisor (appointed by the contractor’s OHS Act 
section 16.2 assignee)  


• OHS Act:  CR 6(2) Assistant Construction Supervisor (appointed by the contractor 16.2 
appointee)  


• OHS Act:  CR 6(6) Construction Health and Safety Practitioner 


• OHS Act:  CR 7(1) Person to Compile Risk Assessments 


• OHS Act:  CR 8(1)(a) Competent Person to Compile Fall Protection Plan  


• OHS Act:  CR 10(a) Person to Supervise Formwork and Support Work 


• OHS Act:  CR 11(1) Person to Supervise Excavation Work  


• OHS Act:  CR 12(1) Demolition Work Supervisor 


• OHS Act:  CR 12(11) Responsible Person in the Use of Explosives and Development of 
the Method Statements 


• OHS Act:  CR 15(1) Suspended Platform Supervisor 


• OHS Act: CR 15(8)(c) Competent Person to Conduct Performance Test of Suspended 
Platforms 


• OHS Act:  CR 14(2) Scaffolding Supervisor 


• OHS Act:  CR 17(1) Material Hoist Inspector 


• OHS Act:  CR 18(1) Batch Plant Supervisor 


• OHS Act:  CR 19(2)(b) Explosive-powered Tool Inspector 


• OHS Act:  CR 19(2)(g)(i) Person Responsible for Issuing and Collection of Explosive-
powered Tools Cartridges and Nails or Studs 


• OHS Act:  CR 21(1)(j) Construction Vehicle and Mobile Plant Inspector 


• OHS Act:  CR 22(e) Temporary Electrical Installation Controller 


• OHS Act:  CR 26(a) Stacking and Storage Supervisor 


• OHS Act:  CR 27(h) Firefighting Equipment Inspector 


• Eskom requirement – Emergency Planning Co-coordinator  


• Eskom requirement – Fire official 


• Environmental officer – each contractor shall appoint and provide a full-time suitably 
qualified and competent environmental officer (EO) for the duration of the work, with a 
minimum average ratio of one EO per 500 employees.   


 
NOTE:  the actual appointments shall be communicated to the health and safety manager on site and 
shall include a copy of the appointment letter, a curriculum vitae, and relevant certificates of 
competence for the proposed role.  


Where construction work is conducted on sites governed by mining legislation, the appropriate 
equivalent appointments and assignments shall be made. 
 
Depending on the nature of the contract, the assignations will be expanded. 


5. COMPETENCE AND TRAINING 


The aim of this section is to outline Eskom’s expectations in respect of the scope of the training that 
the contractor and subcontractor employees receive.  The scope of the training includes, but is not 
limited to, the type of work being performed and the relevant procedures.  Additional to the 
requirements will be that the contractors and subcontractors will have the appropriate qualifications, 
certificates, and tickets and will be under competent supervision.  Records of all training and 
qualifications of all contractor employees must be kept.  The contractor shall for the duration of the 
contract, maintain comprehensive records of all employees under his/her control (including all 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 8 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


employees of the subcontractor) attending induction training.  Acknowledgement of receiving and 
understanding the induction must be signed by all persons receiving the induction. 
 


When there is an amendment to the Acts and/or to the regulations, SHE specification, and SHE plan, 


all affected staff shall undergo the relevant retraining as soon as reasonably practicable. 


 


General 


The contractor shall ensure that all his/her employees and his/her contractor’s employees working on 
the site are adequately trained in the type of work/tasks to be performed.  The training shall extend to 
include relevant procedures, hazard identification, and risk assessment.  They shall have the 
appropriate qualifications, certificates, and tickets and shall be under competent supervision.  Copies 
of records of appropriate training and qualifications for all employees must be kept and maintained. 


Site induction 


The contractor shall ensure that all his/her employees, agents, and contractors have undergone the 
project safety induction programme prior to commencing work on site. 


Appropriate time must be set aside for training (induction and other) of all employees. 


Prior to induction, all employees must undergo a pre-employment medical examination and must be 
found fit for duty.  A copy of the certificate of fitness must be presented for permanent record at the 
induction centre and kept at site offices for permanent record. 


All employees and visitors on site shall have proof of induction training.  


 
General construction site induction carried out by the contractor 


The contractor shall ensure that all his/her employees and subcontractor employees undergo general 
work induction with regard to the approved SHE plan, general hazards prevalent on the construction 
site, construction risk assessment, rules and regulations, and other related aspects.  The induction 
should also include identification of sensitive features such as wetlands/vlei areas, red data species, 
graves, etc. 
 


Job-specific induction carried out by the contractor/subcontractor supervisor on the 
site 


The contractor is required to ensure, before an employee commences work on the project, that the 
supervisor in control with responsibility for the employee has informed the employee of his/her scope 
of authority, any hazards associated with the work to be performed, as well as the control measures to 
be taken.  This will include man-task specifications and the discussion of any standard task 
procedures or hazardous operational procedures to be performed by the employee.  The contractor is 
to ensure that the supervisor has satisfied himself/herself that the employee understands the hazards 
associated with any work to be performed by conducting task/job observations. 
 
Proof of job-specific induction signed by inductor and trainee must be submitted to the Safety 
Department before an access permit will be issued. 


 
Visitors to the site 


Visitors to the site shall be required to undergo and comply with site-specific safety induction 
requirements prior to being allowed access to the site. 


All visitors must remain in the care and custody of a person (host) who has been properly inducted.  
No visitors are permitted to undertake any construction work of any nature. 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 9 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Toolbox talk 


Contractors are expected to have a daily toolbox meeting.  The meeting is expected to be brief and 
concise.  Subjects/topics are applicable to the job/task at hand.  Near misses, accidents, and up-and-
coming work are to be discussed along with suggestions and comments.  These meetings can be 
used as a training meeting with a central idea of educating employees.  
 


6. SUBCONTRACTOR MANAGEMENT 


6.1 Contractor accountabilities for their subcontractors  


When subcontractors are appointed, the contractor shall inform the client/agent and obtain his/her 
approval.   
 
When contractors appoint subcontractors, the contractors would then have the same role and 
responsibility in relation to the subcontractors as the client/agent has in relation to the principal 
contractor. 
 
Contractors are directly accountable for the actions of their subcontractors.  The contractor will also be 
responsible for initiating any remedial action (recovery plan) that may be necessary to ensure that the 
contractor complies with all requirements. 
 
The principal contractor shall provide any subcontractor who is making a bid or is appointed to perform 
construction work with the relevant sections of the documented SHE specification, who would, in turn, 
provide the client/agent with a SHE plan for approval. 
 
The contractor shall carry out audits on the subcontractor at least monthly to ensure that his/her SHE 
plan is being implemented and maintained.  
 
Eskom may conduct audits on subcontractors.  Any non-conformances/findings/observations found in 
these audits shall be raised and discussed with the relevant contractor (with whom the subcontractor is 
contracted). 


 
The client/agent shall stop any contractor and/or the contractor shall stop any subcontractor from 
executing construction work that poses a threat to the safety and health of persons or the environment 
or non-compliance with the approved SHE plan. 
 
Contractors shall have a work coordination process in place that will prevent any conflict occurring 
between individual site activities and subcontractor activities. 
  
The work coordination process provides the management arrangements for reviewing, controlling, and 
monitoring each subcontractor and his/her individual work packages while he/she is present and 
working on the project site.  
 
The work coordination process should identify the overall SHE working requirements that a contractor 
and subcontractor will need to provide to the project to enable assessment of their procedure and 
controls.  The work coordination process will allow the work to proceed without risk to the health and 
safety of the contractor’s personnel, other contractors operating in the vicinity, visitors, delivery 
personnel, and the client’s personnel present on the site. 


 


6.2 Subcontractor SHE plan 


The subcontractor shall prepare a SHE plan based on the SHE specifications that shall be provided by 
the principal contractor. 
 
The SHE plan must detail specific plans and programmes for implementing the health, safety, and 
environmental requirements of the contract.  The SHE plan may be a collection of actual documents and 
manuals and should include, where applicable, the following as a minimum: 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 10 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• The principal contractor(s)’ and their subcontractor(s)’ SHE policies 


• Indication of competent supervision on site (CVs to be included) 


• Duties and safety responsibilities of all appointed persons on the project 


• Selection, placement, and training procedures, including induction and ongoing training, in 
“basic safe work” and occupational health and safety training for newly hired or promoted 
supervisors 


• Occupational health and safety communications and meetings, including daily safe task 
instructions and project safety meetings 


• Assessment of subcontractors, including requirements for safety plans 


• Safety awareness promotions 


• Nomination of personnel to carry out safety inspections.  The task may be shared with other 
duties and provided within the resources of individual gangs and may be rotated. 


• Contractor senior management involvement with the company’s staff in consultative processes 
and daily management safety walkabouts 


• Rules and regulations, including safety procedures that the contractor has in place for 
recurring work activities 


• Control of dangerous and hazardous substances 


• System of hazard identification and risk control, such as risk assessments, daily safe task 
instructions, and communication 


• Design control (if applicable) 


• Audits to ensure compliance with safety plans 


• Daily site safety inspections and audits.  The auditing role may be shared with other duties or 
provided within the resources of individual groups.  The role may be rotated. 


• Inspection of plant, tools, and equipment prior to introduction to site and regularly thereafter 


• Accident incident reporting, recording, investigation, and analysis, which ensure that corrective 
action is taken and that this action is communicated to report initiators 


• Medical and first-aid arrangements 


• Evacuation and emergency planning 


• Rehabilitation procedures that encourage an early return to work 


• Substance abuse programme 


• Record keeping, including details of what is kept and for how long 


• Detailed financial allocation for health and safety 


• Monitoring mechanisms 


• Site meeting arrangements 


• Audit arrangements 


• Maintenance arrangements of machinery and equipment 


• Designer interaction arrangements 


• Workers’ welfare facilities 


• Arrangements for induction and toolbox talks  


• Training arrangements 


• Letter of good standing with a compensation insurer 


• Performance review and improvements on the project 


• Past health and safety performance statistics of the company (at least two years) 


• Applicable standards, legislation, and guidelines to be adopted 


• Details of the interface between the client/agent and the contractor 


• Specific procedures, methods, and work instructions to be applied 


• Personal protective equipment provision and rules 


• Transport safety 


• Occupational health and hygiene arrangements, including, but not limited to respiratory and 
hearing protection, alcohol and drug policies, health assessments, smoking, and first aid 


• Management of subcontractors – the client/agent requires the same from subcontractors as it 
does from contractors 


• Training and competence regarding SHE 


• Legal appointments 


• Medical examinations for all employees 


• Working hours – compliance with Labour Relations/Basic Conditions of Employment Act 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 11 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


The SHE plan shall be submitted to the client/agent for review and approval and, once accepted, shall not 
be amended without prior consultation and acceptance by the client/agent. 


 


 


7. FORUMS FOR SHE COMMUNICATION 


Occupational Health and Safety Act, sections 17, 18, 19, and 20  


The contractor shall provide a communication strategy outlining how he/she intends to communicate 
SHE issues to his/her staff and, where appropriate, his/her subcontractors and their staff, the mediums 
he/she will employ, and how he/she will measure the effectiveness of his/her SHE communication. 


The contractor shall ensure that safety representatives and a committee shall be formed and shall 
perform all statutory functions. 


Every meeting conducted on site shall include SHE as a standing agenda point, and minutes of these 
meetings shall be available on site at all times.  


Attendance lists shall be kept for all the health and safety meetings. 


Matters that are discussed include, but are not limited to the following: 
 


• Accident/safety incidents 


• Accident investigations (including near misses) and close-out of recommendations 


• Audit findings and close-out 


• Hazardous materials/substances 


• Work procedures 


• Protective clothing/equipment 


• Housekeeping 


• Work permits 


• Non-conformances 


• Emergency preparedness 


• Traffic control 


• Medicals 


• Training 


• Forthcoming high-hazard activities 


• General SHE issues 


• Matters arising from contractors’ SHE meetings 


8. LEGAL COMPLIANCE 


Contractors on the project site shall comply, as a minimum, with all relevant legislation, South African 
National Standards, or international standards and with the client’s policies and procedures, which 
include, but are not limited to the following: 
 


• The Constitution of the Republic of South Africa (particularly section 24 of the Bill of Rights)  


• Occupational Health and Safety Act 1993 (Act 85 of 1993) and its regulations 


• National Environmental Management Act 1998 (Act 107 of 1998) 


• Environment Conservation Act 1989 (Act 73 of 1989) 


• National Water Act 1998 (Act 36 of 1998) 


• Conservation of Agricultural Resources Act 1983 (Act 43 of 1983) 


• Civil and Building Work Act 


• Mine Health and Safety Act 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 12 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• COID Act  


• Any other applicable South African legislation 


• Applicable South African National Standards (SANS) 


• Applicable international standards 


• Operating Regulations for High-voltage Systems 


• Plant Safety Regulations (Low-voltage Regulations) 


• Construction SHE Management Procedures 


• Work-at-height Procedures 


• Incident Management Procedures 


• Eskom SHE Policy 


• Eskom Cardinal Rules  
 
It is the duty of the contractor(s) and their subcontractor(s) to ensure that they are familiar with all the 
necessary SHE legislation required for implementation on this project. 
 
Eskom has implemented five rules that apply to all Eskom employees and contractors.  These are as 
follows: 
 


• Rule 1 – Open, isolate, test, earth, bond, and/or insulate before touch 


• Rule 2 – Hook up at height 


• Rule 3 – Buckle up 


• Rule 4 – Be sober  


• Rule 5 – Ensure that you have a permit to work 
 


These Cardinal Rules are non-negotiable health and safety rules that must not be broken under any 
circumstances.  Eskom takes a ZERO TOLERANCE stance to violation of these rules.  
 
The contractor shall compile a legal register listing all applicable legislation and standards that may 
have an impact on the scope of work that he/she is performing on this project.  The register shall be 
updated on a regular basis. 
 
The client/agent is entitled to stop work and issue non-conformance reports whenever health, safety, 
or environmental violations are observed for both contractors and/or their subcontractors.  Any costs 
incurred as a result of such work stoppage and standing time shall be for the contractor’s account.  
Any non-conformances/findings/observations found during audits/inspections on subcontractors shall 
be raised, discussed, and resolved with the relevant contractor (with whom the subcontractor is 
contracted). 


 


9. CONTRACTOR’S SITE FACILITIES 


9.1 The aim of this section is to outline how the contractor’s site facilities 
should be managed 


• Temporary facility layout plan 
Include information here. 


 
• Dining room facilities 


Include information here. 


 
• Change rooms 


Include information here. 


 
• Ablution facilities 


Include information here. 


 
• Site sheds, offices, and amenities 


Include information here. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 13 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


• Lay-down and storage 
Include information here. 


 
• Site access 


Include information here. 


 
• Temporary site services 


Include information here. 


 
• Installation and maintenance of temporary construction electrical supply, 


lighting, and equipment 
            Include information here. 


 
• Adjacent land uses/surrounding property exposures 
      Include information here. 


 
• Boundary and access control/public liability exposures (remember:  the 


employer is also responsible for the OH&S of non-employees affected by 
his/her work activities) 


      Include information here. 


 
• Health risks arising from neighbouring as well as own activities and from the 


environment, for example, threats by dogs, bees, snakes, lightning, allergies, 
etc. 


      Include information here. 


 


9.2 Project and site rules 


The following basic safety rules should be taken into consideration: 
 


• Approved hard hats and safety glasses. 
 


• Steel-toe/safety-toe work boots. 
 


• Additional eye protection shall be worn when job-specific hazards dictate. 
 


• Hearing protection shall be worn when entering all operations areas and areas posted 
as hearing protection areas or when using equipment that produces noise levels in 
excess of 85 decibels. 


 


• Respiratory protection shall be worn when performing tasks that dictate the need for 
such equipment. 


 


• Good housekeeping practices shall be continually maintained and work areas left in a 
clean and safe condition at the end of each shift. 


  


• Smoking policy:  smoking is permitted in designated areas only.   
 


• Risk assessment will determine the need for fall protection when working from height. 
 


• Only trained, certified personnel shall operate aerial lifts, forklifts, or motorised 
equipment. 


 


• Ladders must be properly constructed and kept in good repair.  Ladders shall be the 
proper length and type for the task.  All ladders shall be identified and registered. 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 14 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• All scaffolding will be constructed per SANS standards and OHS Act regulations.  
Each person responsible for working on an elevated platform shall visually identify that 
scaffolding has been inspected and tagged by a competent person prior to each shift. 


 


• Compressed gas cylinders must be stored and used in the upright position and 
properly secured at all times; protective caps shall be in place when cylinders are not 
in use, and gauges shall be removed prior to transportation of cylinders. 


 


• All guards for personnel or equipment protection shall be kept in place and shall not be 
modified or tampered with. 


 


• All floor and wall openings must be protected by adequate and firmly fixed means (that 
is, coverings, guardrails, and toe plates). 


 


• Employees shall not walk or work under suspended loads. 
 


• Equipment must be shut off and parking brakes engaged when the equipment is being 
lubricated, refuelled, or adjusted. 


 


• All excavations must meet Construction Regulations requirements and must comply 
with the project minimum standards for barricading, and adequate access and egress 
must be provided for excavations. 


 


• Lockout/tag-out procedures must be followed when performing work on piping, 
mechanical equipment, electrical services, etc. that has the potential for the release of 
stored hazardous energy. 


 


• Take into consideration areas that require a permit to work. 
 


• Access to safety equipment must be kept clear at all times.  A clear area must be 
maintained around fire hydrants at all times. 


 


• All safety and warning tags and/or signs shall be observed. 
 


• Posted speed limits must be observed. 
 


• All incidents/injuries, no matter how minor, must be reported to the client/agent and 
recorded in writing. 


 
Note:  ensure compliance in terms of the requirements of the OHSA, Eskom requirements, and the 
COID Act. 


• Consider a crane’s rated capacity when engaging in lifting work. 
 


• Obtain the necessary permits.  
 


• Bins provided on site must be utilised for all waste. 
 


• Illegal drugs, alcohol, firearms, or other dangerous substances shall not be allowed on 
the project.  Reporting for work under the influence of an illegal drug, alcohol, or other 
dangerous substance is not permitted. 


 


• All contractors’ employees must undergo full medical examination prior to any work on 
site. 


 


• Do not use cellular phones in areas where cellphone usage is prohibited. 
 


• When walking through the site or to personal work areas, use recognised 
thoroughfares.  Do not take short cuts or walk on uneven ground surfaces. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 15 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


• Vehicles and traffic rules – refer to the section on “CONSTRUCTION VEHICLES AND 
MOBILE PLANT” for requirements. 


 


• All fire extinguishers shall be: 
 


o clearly labelled; 


o conspicuously numbered; 


o entered in a register; 


o inspected monthly by a competent person; and 


o tested and serviced at recommended intervals by an accredited supplier. 


o Results must be entered in the register and signed by a competent person. 


o No open or unattended fires are allowed within the construction site. 


 


10. ACCESS CONTROL TO THE CONSTRUCTION SITE 


The contractor in collaboration with the client’s/agent’s representative will ensure that proper access 
control is in place and functional at all times on and off the construction site. 


The contractor and his/her subcontractors shall adhere to the site traffic plan to ensure the safe 
movement of all construction-related mobile plant – attach/refer to the traffic plan. 


This plan is to be reviewed at the monthly safety meeting to ensure its applicability. 


Contractors shall adhere to the pedestrian and vehicle routings as provided by the client’s/agent’s 
representative to ensure the correct route along which employees may proceed when coming on or 
going off shift, and they shall inform their employees accordingly. 


All security requirements shall be highlighted at the induction given by the client/agent. 


All contractors are to strictly adhere to all security requirements on the premises as laid down by the 
client/agent. 


The project/site security arrangements are:  (this can be included here or referenced to another 
document) 


 


11.  CONSTRUCTION VEHICLES AND MOBILE PLANT 


a) All motor vehicles operated by contractors within the area shall, in all respects, comply with the 
Road Traffic Ordinance and Road Traffic Act.  Designated drivers shall be in possession of a 
driver’s licence, valid for the class of vehicle.  The driver’s licence shall be kept by the person so 
authorised, and he/she shall produce such card on request. 


 
b) All drivers of construction vehicles and mobile plant are to have medical certificates of fitness to 


determine physical and psychological fitness.  Each project site will have a system/process to 
manage vehicle access to the site.  This process/system must be defined here.  


 
c) The speed limit within the bounds of the construction site is _____ km/h.  (To be completed by the 


project team.) 
 


d) No drivers or operators may talk on a cellphone or two-way radio while driving, unless a hands-
free kit is used. 


 
e) It is the responsibility of the driver to ensure that: 
 


• he/she and his/her passengers wear seat belts while the vehicle is in motion; 


• he/she complies with all safety, direction, and speed signs; 


• vehicle loads are properly secured and loaded onto vehicles; and 


• vehicles are not overloaded. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 16 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
f) All requirements with regard to the transportation of tools/equipment/material and persons on the 


back of construction vehicles must be adhered to: 


• If contractors are to be transported on the back of construction vehicles, those vehicles 
are to be fitted with canopies that meet the required SANS standards. 


• Tools, equipment, and material are to be secured in order to prevent movement. 


• Fixed and firmly secured seats with seat belts – adequate for the number of passengers 
being transported. 


• Construction vehicles are to be fitted with rollover bars as per SANS standards. 


• The driver and all passengers are to be seated with seat belts fastened while the vehicle is 
in motion. 


 
g) The contractor shall ensure that his/her employees and those of his/her subcontractors do not:  


• ride on the back of elevators, cranes, or other mobile plant equipment; 


• leave vehicles unattended with the engine running; and 


• park vehicles in unauthorised zones/areas. 


 
h) Eskom reserves the right to search any vehicle on the premises or when entering or leaving the 


premises. 


i) The contractor shall be solely responsible for the safety and security of any of his/her vehicles 
(including private vehicles) on the premises. 


j) The contractor shall attach identification markers on all of his/her vehicles that are permitted to 
enter the site. 


k) A current maintenance logbook is required for all cranes and large plant equipment and shall be 
available for inspection at any time.  The logbook shall be located in the cabin of the crane or plant 
equipment. 


l) The contractor is to ensure that visibility (for example, switching on of lights, reflectors, barricades 
equipped with lights, etc.) is enhanced on all construction vehicles and mobile plant in order to 
identify the location of the vehicles or plant. 


m) The contractor must maintain his/her vehicles in a roadworthy condition and have a valid licence.  
These vehicles shall be subject to inspection by the client’s/agent’s representative.  Vehicles that 
are not roadworthy will not be allowed onto the site. 


n) In the event where the contractor and his/her subcontractor do not own the equipment, the 
contractor is still responsible for ensuring that all conditions are complied with by all of his/her 
subcontractors or hire companies. 


o) Drivers/operators shall be responsible for the travel-worthiness of all loads conveyed by them.  
Precautions shall be taken to lash all loads properly.  Loads projecting from vehicles shall be 
securely loaded, and in daytime, a red flag and, during darkness, a red light or red reflective 
material shall be attached to the extreme end of such projecting material. 


p) All servicing and repairs must be carried out by the contractor in a designated area. 


q) All waste from servicing must be disposed of in accordance with environmental legislation. 


r) Every mobile machine whose vision is impaired when reversing must have a siren/hooter that 
sounds when the machine is reversing.  This includes trucks, cranes, loaders, etc. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 17 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


s) Operators have great difficulty in seeing light vehicles behind their machines.  Drivers of light 
vehicles must avoid stopping or parking in the vicinity of machines.  At least 30 (thirty) meters 
must be left clear between such a vehicle and such a machine. 


12. OCCUPATIONAL HEALTH, REHABILITATION, AND HYGIENE  


The aim of this section is to stipulate Eskom’s requirements with regard to occupational health and 
hygiene practices expected from the contractors and their subcontractors. 


 
Workers’ compensation 


The contractor must submit proof of registration and a letter of good standing with the compensation 
fund or with a licensed compensation insurer for his/her company and each of his/her subcontractors.  
This must remain valid for the duration of the contract.  The letter of good standing must reflect the 
name of the contractor and/or subcontractor company. 


 
HIV/Aids awareness programme 


An HIV/Aids awareness programme will be implemented by the employer.  This will include voluntary 
counselling and testing (VCT) of individuals prior to initial commencement of work at the site and 
HIV/AIDS awareness training and access to ongoing support for affected individuals.  The contractor 
shall ensure that his/her employees and his/her subcontractor employees are aware of this 
requirement.  


 
Protection against dehydration and heat exhaustion 


Contractors shall take into consideration and mitigate dehydration and exhaustion of employees. 


 
Protection from wet and cold conditions 


Contractors shall take into consideration and mitigate inclement and extreme weather conditions. 


 
Employee health and wellness programme 


Contractors shall submit details of their employee health and wellness programme as part of their 
health and safety plan, which should include a medical surveillance programme and an employee 
assistance programme as detailed below. 
 


Medical surveillance programme  


• The contractor must ensure that his/her employees and subcontractor employees shall be 
registered on a medical surveillance programme and shall be in possession of a valid medical 
health certificate.  A certificate of fitness is also required that is relevant to the type of work (risk-
based) that the employee will be carrying out.  


 


• The contractor must ensure that his/her employees and subcontractor employees have undergone 
pre-entry medical examination before starting work on site should it be for longer than three (3) 
days.  An exit medical examination must be done by all employees before leaving the site. 


 


• The certificate shall be issued before commencement of work and shall be presented at induction.  
If the contractor does not provide proof of valid certificates of fitness for his/her employees and 
subcontractor employees, then Eskom will not give those employees site access. 


 


• The certificate shall be renewed at permitted legal intervals but as a minimum; annually (for 
employees who are not office-bound, including drivers) and once every three years (for employees 
who are office-bound) (until completion of the project), at which stage an exit medical examination 
shall be conducted, unless otherwise advised by the occupational health practitioner.  


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 18 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• All employees shall be issued with the required medical records to prove medical status at the 
time of exiting the construction project.  


 


• The contractor shall provide a documented process for managing those employees who are 
issued with a conditional certificate of fitness.  


 


• In instances where sick leave is taken for a period of one week or more, the contractor shall 
institute an arrangement that employees need to sign a declaration indicating that they did not 
suffer any illness or injuries that occurred in the period of absence that may affect their ability to 
work on site. 


 
Note:  Eskom will only accept medical surveillances conducted by an occupational health practitioner who holds a 
qualification in occupational health.  


Emergency care 


• A list of emergency numbers must be posted at phones and in every office.  The contractor must 
ensure that his/her employees and subcontractor employees are familiar with the emergency 
numbers and also are provided with stickers with the emergency numbers printed on them to 
place inside their hard hats.  


 


• Eskom has established a contract with Euro Assistance for all employees and its contractor 
employees for emergency medical assistance needed while on duty anywhere in South Africa.  
The telephone number is 0861 2ESKOM or 0861 237566.  


 


• Contractors shall have one first-aid box for the first five persons and, thereafter, one for every 50 
or team of workers on site or part thereof. 


 


• More first-aid boxes shall be provided if the risks, distance between work teams, or workplace 
requirements require it (it should be available and accessible for the treatment of injured persons 
at that workplace). 


 


• Minimum contents of a first-aid box:  


  
In the case of shops and offices, the quantities stated under items 1, 8, 9, 10, 14, 15, 17, and 18 
may be reduced by half. 
  


Item 1:  wound cleaner/antiseptic (100 ml) 
Item 2:  swabs for cleaning wounds 
Item 3:  cotton wool for padding (100 g) 
Item 4:  sterile gauze (minimum quantity 10) 
Item 5:  one pair of forceps (for splinters) 
Item 6:  one pair of scissors (minimum size 100 mm) 
Item 7:  one set of safety pins 
Item 8:  four triangular bandages 
Item 9:  four roller bandages (75 mm x 5 m) 
Item 10:  four roller bandages (100 mm x 5 m) 
Item 11:  one roll of elastic adhesive (25 mm x 3 m) 
Item 12:  one non-allergenic adhesive strip (25 mm x 3 m) 
Item 13:  one packet of adhesive dressing strips (minimum quantity 10 assorted sizes) 
Item 14:  four first-aid dressings (75 mm x 100 mm) 
Item 15:  four first-aid dressings (150 mm x 200 mm) 
Item 16:  two straight splints 
Item 17:  two pairs large and two pairs medium disposable latex gloves 
Item 18:  two CPR mouth pieces or similar devices 
 


• A prominent notice or sign in a conspicuous place at a workplace (SANS 1186-approved signs to 
indicate location of first-aid boxes), indicating where the first-aid box or boxes are kept as well as 
the name and contact details of the first-aider of such first-aid box or boxes. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 19 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• The contractor and subcontractor shall ensure that alternative arrangements shall be made for 
possible incidents occurring after normal working hours. 


 


• Where services are not available from the medical centre or where there is no medical centre, the 
contractor shall make alternative arrangements for any medical assistance.  Proof of this must be 
made available in the contractor’s SHE plan. 


 
Employee assistance programmes (EAP) 


Where contractors and subcontractors do not have EAP service providers, Eskom’s EAP service 
provider is available to provide assistance.  All costs are to be borne by the contractor.  Details are:  
ICAS – tel. no.:  0800 611 059. 


 
Welfare 


The following welfare facilities must be provided for in a clean and suitable condition, unless 
agreement with the client’s/agent’s representative has been confirmed regarding the use of existing 
facilities: 
 


• Shower facilities 


• Sanitary facilities 


• Changing facilities 


• Eating areas 


• Drinking water at strategic locations on site 


• Safe pedestrians walkways 
 
Water for drinking/consumption purposes shall be drawn only from taps in mess areas and ablution 
blocks and at points on site marked “drinking water”. 
 
No equipment or system shall be connected to the drinking water system without prior approval of the 
client’s/agent’s representative. 
 
The contractor will be required to provide his/her own accommodation for the workers. 
 


Food hygiene  


Storage, distribution, and transportation of food 
  
The storage, distribution, and transportation of foodstuffs shall be such as to prevent damage, 
contamination, or deterioration of the foodstuffs or of materials that come into contact with them.  
Methods of preservation and necessary controls shall, within the limits of good commercial practice, be 
such as to protect the product from deterioration and contamination and from becoming a public health 
hazard. 
 
Stores shall be proofed against rodents, insects, and birds and shall be kept in a hygienic condition. 
 
Food that requires special storage conditions, such as controlled atmosphere, temperature, or relative 
humidity, shall be stored under appropriate conditions, and records shall be kept of the storage 
conditions. 
 
Vehicles used for the transportation or distribution of food shall be clean, free from any odours, 
weatherproof, and easy to clean, and in the case of vehicles with refrigeration, the refrigeration unit 
shall be adequate to maintain the food at the required temperature.  Food shall not be transported in 
the same container or unit as non-food items, unless it can be demonstrated that the non-food items 
present no risk of contamination to the food. 
 


 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 20 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Training 
 
Management shall arrange for all food handlers to receive adequate and continued training in the 
hygienic handling of food and in personal hygiene so that they know what precautions to take to 
preclude contamination of food.  
 


Protective clothing 
 
All persons who handle unpacked food shall be provided with clean protective clothing in sound 
condition.  Management shall be responsible for the cleaning and issuing of protective clothing and 
shall ensure that protective clothing is not removed from the premises for cleaning, repair, or other 
purposes without authorisation and that such clothing, when not in use, is kept in a change room, 
central store, or locker.  
 
The use of gloves in the handling of foodstuffs shall be limited to cases where foodstuffs are to be 
protected from possible contamination by the worker. 
 


 


13. HOUSEKEEPING 


a) The contractor and his/her subcontractor shall maintain a high standard of housekeeping within 
the site.  Prompt disposal of waste materials, scrap, and rubbish is essential.  Stipulate as to 
whether waste separation and removal are for the account of the contractor or for Eskom.  Refer 
to what the requirements are in the EMP. 


b) Adequate care must be taken by the contractor to ensure that storage and stacking are correctly 
and safely carried out. 


c) Before stacking any material, the contractor, subcontractor, or their employees must consult the 
Eskom project/site manager for allocation of a stacking area. 


d) Materials/objects shall not be left unsecured in elevated areas; falling objects may cause serious 
injuries/fatalities. 


e) Nails protruding through timber shall be bent over or removed so as not to cause injury. 


f) All packaging material, including boxes, pallets, crates, etc., to be removed from the work area 
immediately. 


g) Meal rooms shall be kept in a clean and tidy manner. 


h) On completion of his/her work, the contractor is responsible for clearing his/her work area of all 
materials, scrap, temporary buildings, and building bases to the satisfaction of the client/agent. 


i) In cases where an inadequate standard of housekeeping has developed, compromising safety and 
cleanliness, everyone has the responsibility to bring it to the attention of the Eskom project/site 
manager.  The Eskom project/site manager has the right to instruct the contractor and his/her 
subcontractor to cease work until the area has been tidied up and made safe.  Neither additional 
costs nor extension of time to the contract shall be allowed as a result of such a stoppage.  Failure 
to comply will result in site cleaning by another cleaning contractor company at the cost of the 
contractor. 


j) The contractor shall carry out regular safety/housekeeping inspections (at least weekly) to ensure 
maintenance of satisfactory standards.  The contractor shall document the results of each 
inspection and shall maintain records for viewing. 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 21 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


14. SIGNAGE 


The contractor(s) shall use all symbolic safety signage that conforms to the requirements of SANS 
and/or applicable legislative requirements. 


The display of the following signs is mandatory: 


• For contractors with site establishment:  the contractor company sign must be posted at their 
site offices to reflect the name and contact details of the construction supervisor, health and 
safety manager/practitioner, first-aider, health and safety representative, and evacuation.  


 


• “Radioactive material” symbolic signs at radioactive storage areas. 


• The location of every first-aid box, fire extinguisher, and emergency exit is to be clearly 
indicated by means of a sign. 


• At the entrance to premises where machinery is used:  restricted access on “Authorised 
person only” signs on entry. 


• When in use, an explosive-powered tool shall have a sign warning people of its use. 


The contractors shall provide the signage where work is conducted and where unauthorised entry is 
prohibited and/or where alerting and cautioning passers-by to be aware of potential dangers.  


15. PERSONAL PROTECTIVE EQUIPMENT (PPE) 


In terms of section 8 of the OHS Act, the duty of the employer is to take steps to eliminate or mitigate 
(hierarchy of control measures) any hazard or potential hazard to the safety or health of employees 
before resorting to PPE. 


The contractor’s employees at the construction site, including visitors, shall use the following SANS- or 
the relevant internationally recognised authority-approved risk-based PPE at all times, as a minimum:  


• Head protection (hard hat) 


• Steel-toe capped safety boots 


• Eye protection.  Wearing of impact safety spectacles with side shields.  Prescription glasses 
must comply with the same standard, or cover impact safety spectacles must be worn over 
them. 


• Long-sleeved and long pants protective clothing 


• High-visibility vests 


• Refer to General Safety Regulation 2 of the OHS Act. 
 


However, if there are particular activities/areas/risk assessments that require a specific type of PPE, 
that specific PPE requirement must be adhered to (for example, for dusty environments – eye goggles; 
for welding – welding helmet; etc.). 


The contractor shall ensure that his/her employees understand why the personal protective equipment 
is necessary and that they use it correctly. 
 
Strict non-compliance measures must be administered for any employee not complying with the use of 
PPE, and he/she shall be removed from the site. 
 
The use of safety belts (work positioning belt with a work positioning lanyard) is strictly prohibited.  
Only Eskom-approved fall arrest/fall prevention equipment must be used when conducting work in 
elevated positions. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 22 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Welders, brazers, cutters, and aiders shall wear suitable eye protection, gloves, and apron spats, and 
screens shall be provided to protect onlookers and passers-by. 
 
Suitable impact-resistant eye protection shall always be worn for grinding, chipping, and chasing, and 
screens shall be provided to protect onlookers and passers-by. 
 
When working with hazardous chemical substances (for example, acids or caustic substances), 
suitable eye protection, gloves, and special overalls shall be worn. 
 
Suitable eye protection shall be worn by all persons, including visitors, to any designated eye 
protection area. 
 
Ear protection shall be worn in any designated noise zone. 
 
Suitable respirators shall be provided where gas and/or dust could pose a hazard. 
 


Notices and signs 


All equipment brought onto the construction site (including motorised equipment, for example, a 
bobcat) that requires PPE to be worn during operation must have the relevant PPE mandatory sign(s) 
attached. 


Symbolic signs (to comply with SANS 1186) indicating the type and use of PPE will be placed at all 


entry points to the construction site. 


Issue, replacement, and control of PPE 


The principal contractor must provide a detailed programme on the issuing, maintenance, and 


replacement of PPE for all his/her employees and subcontractors on site.  


 
The principal contractor is required to keep an updated register of all PPE issued, including that of 
his/her employees and subcontractors. 
 


Training 


All users of PPE shall be trained, assessed, and declared competent for the specific personal 
protective equipment.  
 
Documented training records for all training shall be maintained. 
 


16. HAZARDOUS MATERIALS/CHEMICALS MANAGEMENT 


The contractor(s) shall describe how hazardous substances, as defined in the Hazardous Chemical 
Substances Regulations (OHS Act), will be managed. 


Prior to any hazardous chemical substances (HCS) being brought onto the site or produced on the 
site, the contractor shall supply the Eskom project manager with the following: 


1. Material safety data sheets (MSDS) in accordance with the requirements of the OHS Act – 
Regulations for Hazardous Chemical Substances 


2. Purpose for bringing the hazardous substance onto the site 


3. Proposed arrangements for safe storage 


4. Proposed methods for handling/usage 


5. Proposed method of disposal 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 23 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


6. Hazard communication/training plan  


The information is to be provided at least two (2) working days prior to the expected delivery on site. 


The Eskom project manager shall approve the use of any hazardous substance after receiving the 
above information. 


No HCS is to be brought onto the site until the Eskom project manager’s approval has been received. 


All HCS containers to be clearly labelled.  Containers that are not marked will not be allowed.  No HCS 
to be stored in food or drink containers. 


Users of an HCS to wear/use the correct PPE as per the HCS material safety data sheet. 


Users of an HCS to be adequately trained in the HCS that they are handling. 


The contractors to have and maintain a register with all the HCS that they have on site. 


Flammable and combustible liquids 


Proposals to store fuel on site must have written approval from the Eskom project manager.  The 
volumes of fuel allowed to be stored will depend on site conditions and statutory regulations. 


A maximum of 40 litres of fuel is allowed to be stored.  Anything greater than 40 litres is to be stored in 
a flammable/combustible liquid store. 


Adequate numbers of dry chemical fire extinguishers, each with a minimum capacity of 4.5 kg, shall be 
provided, installed, and maintained. 


Before a machine is refuelled, the motor must be stopped.  Refuelling shall take place at designated 
safe areas, and appropriate warning signs shall be installed.  Suitable drip trays must be used to 
prevent spillage at the filling nozzle. 


All fuel storage areas must comply with the following requirements: 


1) Storage should be well clear of buildings. 


2) Storage areas must be kept free from all combustible materials. 


3) All danger signs must be prominently displayed, that is: 


• Flammable Liquid; 


• No Smoking; 


• No Naked Flames; and 


• Hazchem identification. 


4) Adequate firefighting equipment must be available. 


5) Diesel tanks will be installed in a bunded area; the bunded area must be able to contain 110% 
of tank capacity. 


6) The bunded area shall be of a concrete or steel construction. 


7) The bunded area shall have a drain valve. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 24 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


8) No other material/equipment shall be stored in the bunded area. 


9) See Construction Regulation 23 of the OHS Act. 


Explosives 


Explosives shall not be brought onto the site or be used without the express permission of the relevant 
Eskom project/site manager. 


Explosives or detonators shall not be stored on the site. 


Detonators and other explosives shall never be carried in the same box. 


The provisions of all relevant Acts and Regulations shall be strictly observed. 


Compressed gas cylinders 


(General Safety Regulation 9 and SANS 1548) 


The following requirements apply to all gas cylinder storage: 


1) Contractors shall establish storage areas as approved by the Eskom project manager. 


2) Storage areas should be well clear of buildings. 


3) The storage areas shall be fenced, shaded, stable, and solid surfaces. 


4) For security and ventilation purposes, a wire mesh fence should surround the storage area.  Keep 
the enclosure locked. 


5) All danger signs must be prominently displayed at storage areas, for example: 


• No Smoking; and 


• No Naked Flames. 


6) A protective covering must be provided. 


7) Adequate ventilation must be provided.  


8) Storage areas must be kept free from all combustible materials; no other materials must be stored 
in the cylinder enclosure. 


9) Full cylinders must be kept apart from empty cylinders so that it will not be necessary to open 
valves to check whether cylinders are empty or full. 


10) Cylinders must always be chained separately in an upright position, and special stands must be 
used for cylinders. 


11) Cylinders must be stored in rows with an aisle in-between for easy removal in the event of fire. 


12) Mark empty cylinders clearly, and move to approved storage areas. 


13) Adequate firefighting equipment must be available. 


14) Cylinders for different gases must be stored separately. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 25 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


15) Flammable and oxidising gases must not be stored together; greases and oils must never be 
allowed to come into contact with oxygen. 


16) Only flame-proof electrical lighting should be used, if required. 


17) Cylinders will only be allowed on site in an approved trolley, properly secured, and with a chain.  


18) All gas cylinder torches to have flashback arrestors fitted on both sides. 


17. MACHINERY, TOOLS, AND EQUIPMENT 


The aim of this section is to outline the process used by Eskom project management team to ensure 
that all equipment brought onto site by the principal contractor and his/her subcontractors is 
appropriate to the task being performed and in good condition. 
 
a) The contractor shall ensure that all machinery, tools, and equipment are identified and safe to be 


used and are maintained in a good condition. 
 
b) All machines driven by means of belts, gear wheels, chains, and couplings shall be adequately 


guarded.  A machine is guarded when persons cannot gain inadvertent access to the moving 
parts. 


 
c) The principal contractor shall ensure that all machinery, tools, and equipment are listed on an 


inventory list, which is handed to Security with a copy kept on site. 
 
d) All machinery, tools, and equipment to be regularly inspected at least monthly or as required by 


legislation and risk assessments; registers of tools shall be kept in the safety file.  The equipment 
should be numbered or tagged so that it can be properly monitored and inspected. 


 
e) All machinery, tools, and equipment must have the necessary approved test or calibration 


documentation, where applicable, prior to being brought onto the premises, and the records shall 
form part of the SHE plan. 


 
f) All fuel-driven equipment must be inspected by the Eskom SHE practitioners prior to mobilising it 


on site. 
 
g) All fuel-driven equipment must be properly maintained in accordance with the manufacturer’s 


recommendations and legal requirements. 
 
h) The contractor shall supply, at his/her cost, all items of plant and equipment necessary to perform 


the work, unless otherwise indicated. 
 
i) The client/agent reserves the right to inspect items of plant or equipment brought to site by the 


contractor for use on this contract.  Should the client/agent find that any item is inadequate, faulty, 
unsafe, or in any other way unsuitable for the safe and satisfactory execution of the work for which 
it is intended, the client/agent shall advise the principal contractor in writing, and the principal 
contractor shall forthwith remove the item from the site and replace it with a safe and adequate 
substitute.  In such cases, the principal contractor shall not be entitled to extra payments or 
extensions of time in respect of delay caused by the client’s/agent’s instructions. 


j) The principal contractor/subcontractor will ensure that he/she has all the necessary registers to 
record all tools and equipment. 


k) All employees shall be competent when operating or using machines and tools. 


• Have a valid certificate. 


• Have proof of any form of task-related training. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 26 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


18. MACHINE GUARDING 


a) An assessment should be conducted in writing to ensure that all machines and tools are fitted 
with a guard, and the assessment should be kept in the safety file. 


b) The machine or tool should be guarded to prevent limbs or loose clothing from getting under, 
into, above, or around the dangerous moving parts. 


c) Every shaft, pulley, wheel gear, sprocket, coupling, clutch, friction drum, spindle end screw, key, 
bolt on a revolving shaft, driving belt, chain rope, or similar object shall be securely fenced or 
guarded. 


d) Guards should form a permanent part of the machine or tool and be easy to remove, non-
corrosive, rigged, and as far as reasonable heat-resistant. 


e) Machine guards must be painted on the outside in the same colour as the machine or tool. 


f) The inside of guards and moving or rotating parts must be painted orange. 


g) All guards must be inspected by a competent person on a monthly basis as well as by users 
prior to use.  These inspections and proof of corrective action taken must be recorded and kept 
on site. 


Record keeping 


A register should be used that indicates the name, the number of the machine or tool, and the number 
of guards. 


The register should be kept in the safety file. 


19. HAND TOOLS AND PNEUMATIC TOOLS 


a) All hand tools (hammers, chisels, spanners, etc.) must be recorded in a register and inspected 
by the supervisor on a monthly basis as well as by users prior to use. 


b) All pneumatic tools should be numbered, recorded, and inspected at least monthly as well as by 
users prior to use.  The revolutions per minute must be measured in accordance with the 
manufacturer’s specifications. 


c) Tools with sharp points in toolboxes must be protected with a cover. 


d) All files and similar tools must be fitted with handles. 


e) The principal contractor must have a policy on makeshift tools on site. 


f) It is illegal for a pneumatic tool to be operated by using a compressed gas cylinder.  Pneumatic 
equipment shall only draw supply from mobile air compressors or from compressed air lines 
installed within the premises after gaining permission the client’s/agent’s representative. 


g) When using the interlocking type of connection of an air line, connectors shall be secured with 
wire clips through holes provided to prevent accidental disconnection. 


h) Compressed air shall NOT be used for any purpose other than that for which it is provided.  
Compressed air should not be used to remove dust from clothing. 


i) Hoses to be orderly routed and elevated, if required, in order to prevent tripping hazards. 


Record keeping 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 27 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• Checklist for hand tools 


• Checklist for air tools, including records of the measurement of revolutions on grinders 


• Gas cylinder trolley checklist 


• Register 


20. BOILERS, PRESSURISED SYSTEMS, AND VESSELS UNDER 
PRESSURE 


a) The principal contractor shall ensure that all vessels under pressure are inspected by an 
approved inspection authority, and he/she shall be in possession of the manufacturer’s 
certificate. 


b) All pressure vessels shall be provided with at least one safety valve, and such safety valve 
should be kept locked. 


c) The vessel under pressure should be provided with a manufacturer’s plate. 


d) The vessel under pressure should be fitted with a pressure gauge in pascal and the maximum 
permissible operation pressure marked with a red line on the dial. 


Record keeping 


• Inspection registers for vessels under pressure 


• The certificate from the manufacturers 


• Registration certificate of an approved inspection authority 


21. EXPLOSIVE-POWERED TOOLS 


Written permission to use these tools on site must be obtained by the Eskom project/site manager. 


a) Only certified, competent, appointed personnel (CR Regulation 19 (1)) are allowed to operate 
explosive-powered tools on site.   


b) A valid permit must be obtained before commencement of work.  


c) Safety signs and barriers must be erected before explosive-powered tools are used. 


d) Users should be issued with suitable protective equipment. 


e) Cartridges and explosive-powered tools to be stored separately. 


f) Refer to the requirements of the Construction Regulation 19 of the OHS Act. 


Record keeping 


Register for the issue and return of cartridges. 


22. LIFTING MACHINES AND LIFTING TACKLE 


a) A risk assessment shall be conducted prior to commencing with the task to identify the risk 
involved, and appropriate mitigation measures must be put in place. 


b) If it is the principal contractor’s intention to use lifting machines on site, it should be indicated in 
the principal contractor’s SHE plan as well as the inspection so that the Eskom project/site 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 28 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


manager can conduct an inspection when equipment is brought onto site.  If his/her intention is 
to use a subcontractor, he/she must enter the name of the subcontractor in the notification letter 
to the Department of Labour.  


c) All lifting machine operators shall be competent to operate a lifting machine.  They must be in 
possession of a valid permit. 


d) Whenever use is made of an external contractor to do lifting work, the principal contractor must 
ensure that the operator is competent, and if the principal contractor is satisfied with the 
operator’s competence after looking at his/her portfolio, he/she should issue a temporary permit 
to the operator.  


e) The principal contractor should verify whether the lifting machines have been examined and a 
performance test done. 


f) The training should have been done according to the code of practice by a provider registered 
with the Department of Labour. 


g) Before using any lifting machines or tackle, the operator should inspect it/them. 


h) All lifting machines shall be examined and subjected to a performance test by an accredited 
person/company at intervals not exceeding 12 months. 


i) All lifting tackle should be examined by an accredited person/company at intervals not 
exceeding three months. 


j) Refer to the requirements of the Driven Machinery Regulation 18 and Construction Regulation 
17 and 20 of the OHS Act. 


k) All lifting tackle should be recorded in a register. 


l) All hooks shall be fitted with a safety latch/catch. 


m) A management control system should be implemented to ensure that only an operator who is 
competent can draw lifting machines and forklifts. 


n) All lifting tackle should be conspicuously and clearly marked with identification particulars and 
the maximum mass load for which it is designed. 


o) No person shall be moved or supported by means of a lifting machine, unless such a machine is 
fitted with a cradle approved by an inspector. 


p) A risk assessment should be conducted prior to starting with the task. 


q) Account should be taken of wind forces. 


r) Lifting machines are erected taking into account a safe distance from excavations. 


s) When working in close proximity to power lines, the contractor must apply for a permit.  Refer to 
Eskom Plant Safety Regulations and/or Operating Regulations for High-voltage Systems and 
Electrical Machinery Regulation 15 of the OHS Act. 


t) Account should be taken of the bearing capacity of the ground. 


u) Principal contractors and their employees shall keep out from under suspended loads, including 
excavators, and between a load and a solid object where they might be crushed if the load 
should swing or fall.  They shall not pass or work under the boom or any crane or excavator. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 29 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


v) Contractors and their employees shall ensure that crane loads are not carried over the heads of 
any workmen. 


w) Guide ropes to be used to prevent loads from swinging. 


Record keeping 


• Record books and test certificates of lifting machines and tackle should be kept in the safety file. 


• A copy of the risk assessment should be kept in the safety file. 


• A certificate of approval shall be obtained from the Department of Labour inspector. 


• Register of all lifting machines and tackle on site (for inspection purposes). 


• Training certificates and certificates of fitness for operators of the equipment. 


23. WORKING AT HEIGHT  


Working at height is a high-risk activity, and as such, all precautions including, but not limited to Eskom 
and legislative requirements must be taken to prevent incidents while working at height.  All users of 
height safety equipment for working at height shall be trained, assessed, and declared competent for 
the specific height safety equipment and associated structures.  
 
a) A task-/job-specific fall protection plan shall be developed and approved by a competent person for  
    any activity where there is a risk of a fall.   
 
b)  The fall protection plan shall include a task-/job-specific risk assessment and requirements relating  
      to the following: 


• Training programme for employees working from a fall risk position 


• Appointments and authorisations 


•  The procedure addressing the inspection, testing, and maintenance of all fall protection 
equipment 


• The processes for evaluation of the employees’ medical fitness necessary to work in a fall 
risk position and the records thereof (medical surveillance programme) 


• Equipment use and specification 


• Fall prevention, fall arrest, and fall rescue 


• Method statements or safe work procedures/task analysis/work instruction 
 


c)   The fall protection plan and its requirements shall be integrated into the health and safety plan. 
 
d)    Adherence to the fall protection plan is mandatory. 
 
e) The fall protection plan shall be suitably amended in accordance with the risk assessment, 


equipment technology, standards, and legislation. 
 
f) When working at height, appropriate PPE as determined by the risk assessment and written safe 


work procedure/task analysis/work instruction shall be used at all times. 
 
g) The type of personal protective equipment to be used must be appropriate to the activity and 


provide adequate hand, eye, face, foot, and head protection. 
 
h) Work restraint methods must be used before placing workers in fall arrest situations. 
 
i) “Working at height” shall be indicated on all job specifications of employees who are expected to 


work at height and shall be taken into account in all medical and psychological 
assessments/surveillances. 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 30 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


j) All fall arrest protection equipment shall comply with SANS Standards and other recognised 
international standards. 


 
k) All height safety equipment purchased shall conform to relevant national standards, international 


standards, statutory requirements, and approved Eskom divisional-specific requirements. 
 
l) All portable ladders used on the site shall be in compliance with the OHS Act and Regulations. 


m) All scaffolding used shall comply with the OHS Act and Regulations as well as SANS 10085. 


 


24. EXCAVATIONS, TRENCHES, AND FLOOR OPENINGS 


a) Digging, excavation, or driving a peg, pile, or spike into the ground by the contractor may not 
commence without written authorisation from the client’s/agent’s representative. 


 
b) Prior to commencing work on any excavation or trench, utility owners shall be contacted and 


advised of the proposed work and to determine the location of all underground installations, that is, 
sewer, telephone, water, fuel, electric, etc.  Overhead hazards shall be assessed and dealt with 
prior to commencement of work. 


 
c) Adequate precautions shall be taken by the contractor to prevent slumping of excavations, as well 


as to prevent rocks and loose material falling onto workers. 
 
d) All excavations done by the contractor are to be clearly demarcated and barricaded to prevent 


accidental access. 
 
e) Only solid barricading will be used in areas where a fall hazard is present.  Solid barricading 


and/or hole covers shall be provided around all holes or openings to prevent any person being 
injured as a result of a fall.  Danger tape may only be used as a pre-warning to make the solid 
barricading more visible and to prevent persons from coming close to the danger area. 


 
f) Barricading must be placed as close as reasonably possible to the excavation. 
 
g) If an excavation or trench endangers the stability of buildings or walls, shoring, bracing, or 


underpinning will be provided.  Excavations and trenches that are adjacent to backfilled 
excavations or trenches, or that are subject to vibrations from railroad traffic, road traffic, blasting 
in open-cast mining, or the operation of machinery (for example, shovels, cranes, trucks), must be 
secured by a support system, shield system, or other protective system (that is, sheetpile shoring, 
bracing). 


 
h) Where it is impracticable to provide fixed guard railing, effective removable barriers shall be 


provided at all unguarded openings in guard railings or floors, and these shall be maintained in 
position at all times until the hazard no longer applies. 


 
i) Warning signs and flashing warning lights at night shall be displayed in suitable positions to warn 


any persons approaching the area of the location and extent of any excavation. 
 
j) No material to be within 3 m of the excavation edges. 
 
k) All excavations must be on register and inspected daily before work commences and after 


inclement weather by the contractor’s appointed competent person, declared safe, and his/her 
findings noted in the said register.  Client/agent to review the said register on a predetermined 
frequency not exceeding seven (7) days. 


 
l) While work is being performed in an excavation, there shall be a supervisor at all times. 
 
m) Every twelve meters, there shall be an escape ladder in all excavations. 
 
n) Requirements in Construction Regulation 11 of the OHS Act shall apply as well. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 31 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
o) No work shall commence in an excavation, unless the excavation has been declared safe by the 


competent person. 


25. EXPLOSIVES 


a) Requirements of the Explosives Regulations of the OHS Act shall be adhered to. 
 
b) A copy of the written permission from the Chief Inspector of the Department of Labour shall be 


obtained before use of any explosive material – refer to the requirements in Explosives Regulation 
13 of the OHS Act. 


 
c) Requirements for the transporting and storage of explosives to be in accordance with Explosives 


Regulation 13.4 of the OSH Act and SANS 100228 “Code of Practice for the Identification and 
Classification of Dangerous Substances and Goods” (published by the South African Bureau 
of Standards). 


 
d) Should blasting be necessary during the construction phase, the necessary authorisation must be 


secured from the relevant local municipality.  Adjacent landowners must be notified prior to the 
blasting activities on site. 


 
e) The construction operations may necessitate that ground and rock be blasted.  Prior to a blast, a 


siren will have to be sounded.  Warning flags will have to be displayed at the entrance to the area 
of the blast, and guards will be placed at strategic points. 


 
f) Should the contractor be required to carry out blasting operations, he/she is to fully acquaint 


himself/herself with, and adhere to, the blasting procedures and legislation.  Every blast must be 
cleared with the appropriate client’s/agent’s representative before charges are placed. 


 
g) Only a licensed operator is allowed to blast. 


26. BARRICADING (GUARDING OF EXCAVATIONS, TRENCHES, AND 
FLOOR OPENINGS) 


In areas where the restriction or prevention of unauthorised persons/members of the public/passers-by 
is required, the barricading requirements shall be adhered to. 


Requirements for barricading (if risk assessments require more stringent mitigation measures, then 
those stringent measures shall apply): 


• The name and contact detail of the person and contractor company responsible for the barricading 
shall be posted on the actual barricading. 


• All barricading shall be of the rigid type. 


• All openings and edges must be barricaded with solid barricading to withstand an impact of at 
least 100 kg. 


• Only solid (scaffolding or standalone) barricading with orange “snow netting” will be allowed. 


• Ballards (containers filled with liquid) can be used as solid barricading (exempted for use inside 
power plant units). 


• Physical barriers to prevent persons falling into openings in floors, stairwells, staircases, open-
sided buildings, and any structure in the course of erection where dangerous openings exist. 


• Contractors must pre-plan the delivery of floor grating, stair treads, landings, and handrails to 
ensure safe access and protection for persons working on structures. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 32 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


No danger tapes are allowed for barricading purposes. 


 


The contractor’s barricading standard must accompany the SHE plan. 
 


27. PERMIT TO WORK 


Contractors must adhere to the approved Eskom permit-to-work system to control identified high-risk 


activities.  There will be only one permit-to-work system (Eskom) on the construction site. 


 
If the type of work requires that contractors must be trained, competence-assessed, and authorised in 
writing to perform the duties of an authorised or responsible person as contemplated in the applicable 
Eskom regulations, for example: 
 


• Operating Regulations for High-voltage Systems; 


• Plant Safety Regulations; 


• hot work; 


• radiation; and 


• confined space work. 
 


The client’s/agent’s representative is to provide more details on the permit-to-work system for the 


specific work to be conducted by the principal contractor. 


28. RADIOGRAPHY, ULTRASONIC, OR NON-DESTRUCTIVE TESTING 
(NDT) 


The contractor carrying out radiography, ultrasonic, or other non-destructive testing (NDT) on the site 
must comply with the requirements of the relevant legislation, codes of practice, and any specific 
client/agent procedures.  In particular, the contractor shall ensure the following: 


 


• No radioactive sources may be brought onto site without prior written consent of the 
client/agent. 
 


• Where a statutory appointment exists, he/she has appointed, in writing, a suitably qualified 
and experienced radiation protection officer to provide advice on the observance of the law 
and other relevant health and safety matters. 


 


• Radiography areas are clearly identified by the erection of suitable barriers, sirens, warning 
notices, and/or flashing lights.  Vehicles transporting radioactive material shall be clearly 
identified. 


 


• Radiation operators must submit proof of certification. 


• Sources must be stored according to legal requirements. 


• All contractors must be informed of X-ray activities. 


• X-ray work may only commence with a valid permit to work. 


 
Refer to requirements in: 


• Eskom Standard:  Radioactive Sources for Non-nuclear Stations  


• SANS code of practice: 100228:  “Code of Practice for the Identification and Classification of 
Dangerous Substances and Goods” 


   


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 33 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


29. WORKING NEAR PUBLIC ROADS 


Necessary precautionary and preventive safety measures shall be taken where persons are required 
to work on or near roadways.  Consideration shall be given to the wearing of high-visibility vests, and 
protection by red cones or flags during daylight and use of red or amber flashing lamps at night. 


Work areas must be adequately barricaded so as to prevent unauthorised access. 


Road traffic warning signs shall be placed well ahead of the work area. 


30. WORK STOPPAGE 
 
Outline the conditions under which work will be stopped and the process to be followed to ensure that 
the worksite is rendered safe.  The conditions that lead to work stoppages are based on:  
 


• management of change – this is when there are changes to the work environment (for example, 
climatic changes) and construction work (for example, modifications to the design), in any phase 
of the construction project, and/or amendments with regard to Eskom rules and regulations and/or 
legislative amendments; 


 


• unsafe acts/behaviours; and  
 


• unsafe conditions. 
 
The process to be followed is: 


• the relevant activity must be stopped. 
 
The Eskom site/project manager and/or principal contractor and his/her subcontractors shall 
immediately remove the workforce from the work area and correct the health and safety deficiencies 
by allowing only the people in the area who are competent to make the area safe.  
 
The principal contractor and his/her subcontractors shall ensure that no other work is being performed 
during this time.  Should the estimated time from the outset to make the area safe where life-
threatening/imminent danger situations exist, then the area shall be suitably barricaded and 
signposted with the wording “Unsafe Area – Authorised Access Only”. 


• The Eskom site/project manager shall review the affected parts/sections of the SHE specification 
with the purpose of providing sufficient SHE information to the principal contractor. 


 


• The principal contractor shall then revise the relevant sections in the SHE plan to accommodate 
the changes.  


 


• The Eskom site/project manager must ensure that the revised provisions in the SHE plan are 
adequate and must approve them before the work activity is commenced. 


 
Before the workforce is allowed back in the area, the principal contractor and his/her subcontractors 
shall ensure that: 


• the area is reinspected by the contractor safety practitioner and supervisor and note corrective 
actions taken; and 


• declare the area safe for work by signing off on the “work stoppage” notice issued by the Eskom 
site/project manager. 


Refer to the requirements of Construction Regulation 4(e) of the OHS Act. 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 34 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


31. HAZARD AND RISK MANAGEMENT 


  The aim of this section is to do the following: 
 


• Highlight the construction site SHE risks and hazards (reference must be made to the EIA, 
EMP, ROD, and the client’s/agent’s baseline hazard identification). 


• Request the contractor and his/her subcontractors to identify hazardous and potentially 
hazardous work operations.  The contractor needs to demonstrate that the site hazards and 
the contractor’s activity risks and the mitigating measure have been considered in his/her risk 
assessments. 


• There must be method statements or written safe work procedures for all the contractor 
activities. 


• Emerging risks and hazards must be managed during construction work.  


 
Activity-based risk assessments must be conducted by an appointed and competent person of the 
contractor. 


 
Preliminary hazard identification shall be conducted by the contractor prior to work beginning on site. 


 
Site-specific health and safety hazards 


In complying with the requirements of Regulation 4(1)(b) of the Construction Regulations of the OHS 
Act, the Eskom site/project manager will outline the site-specific health and safety hazards pertaining 
to the environment and physical conditions that the contractor will be exposed to in performing his/her 
work on site. 


This section shall be reviewed by the project manager, the client and/or agent, and the design team to 
make it project-/site-specific. 


The Eskom project manager will make all reasonable efforts to ensure that the information provided is 
complete and correct.  However, the contractor shall make his/her own assessment of the hazards and 
risks associated with the work under the contract. 


The site- and project-specific hazards are listed below in this SHE specification in order to make 
potential contractors aware of the hazards. 


It is, however, pointed out to the contractor that the list may not be totally comprehensive, and it is the 
duty of each contractor to ensure that all the hazards are identified, before and during the project, and 
the necessary activity-based risk assessments are carried out.  These risk assessments shall form 
part of the SHE plan that will be passed on for scrutiny and approval by the client’s/agent’s 
representative. 


Hazardous and potentially hazardous work operations and emerging risks 


The contractor shall identify hazards and potentially hazardous work operations.  For each work 
operation identified, the contractor shall supply a risk assessment, which shall: 


• describe the operation to be performed in the sequence of the basic job steps; 


• identify and rank the hazard or potential hazard; 


• describe how the hazard will be managed; and 


• identify the responsible person for each mitigation action. 


There must be method statements and written safe work procedures for all activities. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 35 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


During construction work, the contractor, his/her subcontractors, or the Eskom representative may 
identify emerging hazards and risks.  For each such newly identified hazard or risk, the Eskom project 
manager shall review the baseline site hazard identification and the relevant section(s) of the SHE 
specification.  The revised SHE specification and hazard identification shall be submitted to the 
contractor, who will review his/her own risk assessments and relevant sections of the SHE plan, as 
well as those of the subcontractors.  The contractor will prepare and submit both documents to the 
Eskom project manager for approval. 


The contractor and his/her subcontractors shall not proceed with the work/operation in hazardous 
areas until the client’s/agent’s representative has reviewed the risk assessment and has approved and 
signed the revised SHE plan and issued a valid permit to work and work as per Eskom’s Plant Safety 
Regulations (GGS0992) and/or ORHVS Regulations (ESKPVAEY6). 


The contractor shall, on a daily basis and for every task to be performed, conduct a pre-task risk 
assessment with all employees involved in the task(s).  The pre-task risk assessment will form the 
basis of the daily pre-job brief/toolbox talks prior to the start of work.  Proof of communication as well 
as confirmation that it was received and understood by all will be noted on a standard form, which will 
be kept at the job site during the job execution.  The completed signed pre-task risk assessment form 
will be filed in the contractor’s safety file. 


Risk assessment (additional guidelines) 


Activity-based risk assessments must be conducted and approved by the contractor’s competent 
person before any activity begins on site and must be updated regularly to ensure their relevance to 
changing scope and/or circumstances. 


The intent is zero tolerance of unsafe acts and conditions on the construction site through the 
assessment of risk of each operation executed by the contractor and the provision of the necessary 
means to eliminate or minimise the risk to ensure a healthy and safe working environment. 


The process involves input from the site manager, supervisor(s), safety practitioner, and the specialist 
artisans for the job as well as the health and safety representative for the workplace concerned.  
Additional operation-specific risk assessments are required for certain tasks throughout the project. 


Guidelines for actual steps involved in an operation-specific risk assessment are as follows: 


• Each activity is listed. 


• Specific hazards are identified and listed against each activity. 


• The magnitude of each risk is rated as low, medium, or high. 


• All known documentary and supervisory controls are listed, for instance, what safe work 
procedures exist for scaffolds and ladders. 


• The relevance, effectiveness, and sufficiency of these controls are assessed. 


• In the event of deficient controls for the particular activity, actions to be taken will be recorded 
and safe working procedures drawn up. 


• Persons responsible for implementing and supervising the task are to be identified, nominated, 
and duly assigned. 


• Persons responsible for monitoring the task and carrying out the planned job observation must 
be nominated. 


• The completed risk assessment must be handed to the Eskom site/project manager’s 
representative for comment and scrutiny. 


Names of workmen who have received instruction on the work content and the sequence of the 
activities listed in the risk assessment are to be recorded to obtain their confirmation of comprehension 
of their roles (signature or other markings).  This instruction must be done through an interpreter if 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 36 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


required and recorded on the pre-job brief (daily safe task instructions), with reference to applicable 
risk assessments. 


 


32. SAFE WORK PROCEDURES AND PRACTICES 


The aim of this section is to provide an indication of the activities that require safe work procedures 
and practices. 
 
There must be written safe work procedures for all activities.  Risk assessments should refer to the 
safe work procedures.  A safe working procedure should be written when: 
 


• designing a new job or task; 


• changing a job or task; 


• introducing new equipment or substances; and 


• reviewing a procedure when problems have been identified, for example, from near miss 
incidents or an accident/incident investigation.  


The safe working procedure should identify: 


• The level of supervision required for the task 


• The training and qualifications required by the workers to perform the task 


• the supervisor for the task or job and the employees who will undertake the task;  


• the tasks that are to be undertaken that pose risks;  


• the equipment and substances that are used in these tasks;  


• the control measures that have been built into these tasks;  


• the personal protective equipment to be worn; and 


• actions to be undertaken to address safety issues that may arise while undertaking the task.  


33. HIGH-RISK ACTIVITIES 
 
When the contractor and/or his/her subcontractors are working in an area where a high health and 
safety hazard exists, the contractor shall: 


a) ensure that permanent and adequate on-site supervision is available for the entire duration of 
the work that is being conducted; 


b) ensure the use of safety standbys in areas of high-risk activities and activities that fall within 
the scope of the permit-to-work system; and 


c) provide, erect, and maintain all the required barricading, lighting, flags, flashing lights, or other 
safety control equipment to enable operations to proceed in a safe manner. 


The contractor shall maintain, at all times, defined access ways, which are clear of objects or 
obstructions, so as to allow for emergency vehicle entry. 


The contractor shall provide any temporary protective shielding required for protecting nearby 
operations from the construction activities at his/her own cost.  


High-risk activities shall include, but shall not be limited to the following: 
 


• Dealing with existing structures  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 37 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• Location of existing services 


• Loading and offloading of trucks 


• Aggregate/sand and other materials delivery 


• Manual and mechanical handling 


• Lifting and lowering operations 


• Protection from overhead power lines 


• Layering and bedding of trench floor 


• Installation of pipes in trenches 


• Backfilling of trenches 


• Protection against flooding 


• Working at Heights  


• Working in close proximity to Power Lines 
 


34. SHE PLAN 


The SHE plan must detail specific plans and programmes for implementing the health, safety, and 
environmental requirements of the contract.  The SHE plan may be a collection of documents and 
manuals and should include, where applicable, the following as a minimum: 


 


• SHE policies 


• Applicable standards, legislation, and guidelines to be adopted 


• Commitments to government approvals and project licences 


• SHE objectives 


• Allocation of responsibilities and authorities 


• Details of the interface between the client/agent and the contractor 


• Specific procedures, methods, and work instructions to be applied 


• Risk assessments  


• Safety awareness promotions 


• Personal protective equipment provision and rules 


• Rehabilitation procedures to encourage an early return to work 


• Transport safety 


• Occupational health and hygiene arrangements, including, but not limited to respiratory and 
hearing protection, alcohol and drug policies, health assessments, smoking, and first aid 


• Monitoring of employee exposure to occupational stressors as identified in the risk assessments 


• Safety meeting schedules 


• Management of subcontractors – client/agent requires the same from subcontractors as it does 
from contractors 


• Training and competence regarding SHE 


• Incident reporting, investigation, and recording 


• Audit, review, and management feedback 


• Letter of good standing – Workmen’s Commissioner 


• Legal appointments 


• Medical examinations for all employees 


• SHE personnel presence on site 


• Crisis and emergency response arrangements 


• Maintenance, inspection, and testing of construction vehicles, machinery, equipment, and 
substances 


• Working hours – compliance with Labour Relations/Basic Conditions of Employment Act 


• The SHE plan shall be submitted to the client/agent for review and approval and, once 
accepted, shall not be amended without prior consultation and acceptance by the client/agent. 


35. EMERGENCY PREPAREDNESS  


The contractor and his/her subcontractors shall develop a site-specific emergency response plan.   
 
Using the Eskom site-specific emergency plan, the contractor, together with his/her subcontractors, 
will develop their own emergency response plan (as a guideline) for both site and offices and submit 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 38 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


this plan to the Eskom project manager for approval.  It may be decided that one site-specific 
emergency response plan be used for all contractors.  He/she will ensure that his/her employees and 
his/her subcontractor employees are trained on this plan. 
 
Periodic emergency drills will be undertaken by Eskom; however, the contractor must initiate his/her 
own emergency drills with permission from the Eskom project manager.  This must be recorded and 
provided on request. 
 


36. FIRE RISK MANAGEMENT 


Contractors must develop a fire safety procedure for the specific construction site prior to commencing 
work. The procedure must take into consideration the size of the site, the type of work being done (for 
example, cutting, welding, grinding, etc.), and the amount of combustible materials.  It must be 
developed in accordance with the hot work permit of the Eskom Plant Safety Regulations, Eskom fire 
risk management requirements, and all other applicable regulations.  All workers entering and working 
on the construction site need to be trained in fire safety and any duties they are required to perform.  
Pre-existing fire systems in buildings shall be maintained during construction whenever possible.  Any 
changes must be approved by the client/agent. 


 
Fire safety plan  
 
The fire safety plan shall include the following: 
  
a) The designation and organisation of site personnel to carry out fire safety duties, including fire 


watch service, if applicable  
 
b) The emergency procedures to be used in the case of fire, including: 


• sounding the fire alarm; 


• notifying the Fire Department;  


• instructing site personnel; 


• firefighting procedures; and  


• integrating with existing emergency procedures 
 
c) The control of fire hazards in and around the building  
  
d) Maintenance of firefighting facilities 


 
Fire alarm shutdowns 
 
Contractors must inform the client/agent in writing seven days prior to any part of a fire system being 
shut down.  
 


Alternate procedures  
 
When required by the client/agent, contractors will develop alternate procedures to follow during a fire 
alarm shutdown.  


 
Occupied buildings and/or portion  


In the event that fire systems are removed from service, a trained and qualified person will stand at the 
fire alarm panel and be in communication with the person(s) doing the work and be capable of 
reinitiating the system in the event that a fire alarm device is activated.  


 
Or  
 
Alternate warning device(s) will be used with procedures posted on all floors by elevators and 
entrances, stating that the fire alarm is out of service, the building/area affected, duration of shutdown, 
how to activate the alternate warning device(s), to call the Fire Department, and to call Security.  Fire 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 39 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


panels must be tagged as to what has been removed from service and the Fire Department and 
monitoring station notified.  Fire watch personnel must be stationed in the building to patrol the 
affected area(s) and be in communication with each other.  
 
In the event that smoke detectors and/or heat detectors or sprinkler systems are removed from 
service, the fire panel must be tagged as to what has been removed from service.  Fire watch 
personnel must be stationed in the affected area(s) and check the fire panel once per hour when the 
affected area is not occupied.  


 
Unoccupied buildings  


In the event that fire systems are removed from service, alternate warning devices will be used with 
procedures posted at each entrance, stating “Authorised Personnel Only”, how to activate the warning 
device(s), to call the Fire Department, and to call Security.  Fire panels must be tagged as to what has 
been removed from service.  Fire watch personnel will patrol the affected area(s) and check fire 
panel(s) once per hour.  
 
In the event that smoke detectors and/or heat detectors or sprinkler systems are removed from 
service, the fire panel must be tagged as to what has been removed from service.  Fire watch 
personnel will patrol the affected area(s) and check the fire panel(s) once per hour.  


 


Cutting, welding, and hot work   
 
Prior to cutting or coring of concrete suspended slabs, cast in place or pre-cast walls, and slab on 
grade, the contractor must either X-ray the slab or, if X-ray is not feasible, provide other approved 
alternate methods for determining live electrical wiring concealed in the slab or walls.  Signage shall be 
posted to ensure that no one enters the affected area during X-raying.  
 
When welding or cutting work is performed, an adequate number of approved fire extinguishers shall 
be provided by the contractor.  The contractor shall provide a thirty minute fire watch after the 
operations have ended to ensure that no fire starts.  


 
Eskom fire safety guidelines  


a) Fire alarms  


Fire systems must never be removed from service in an occupied building, unless a trained and 
qualified person is standing at the fire alarm panel who is capable of reinitiating the system and who is 
in communication with persons performing the work or alternate procedures are taken to ensure that 
all persons in the building can be informed promptly should a fire occur, and the Fire Department, 
including Eskom Security, is notified.  


 
b) Fire watch  


Except where the building is provided with a fire alarm system or similar equipment acceptable to the 
Manager:  Occupational Health and Safety, fire watch patrols with tours at intervals of not more than 
one hour apart shall be provided while the fire alarm system is not in operation.  
 
c) Construction sites  


a) Fire safety plan:  prior to the commencement of construction or building alterations, a fire safety 
plan shall be prepared for the construction site.  
 
b) Fire warning:  a suitable means of alerting site personnel to a fire shall be provided and must be 
capable of being heard in all areas of the building.  
 
c) Portable extinguishers:  suitable extinguishers must be available at the construction site and, in 
cases of hot work, be readily available at the location.  
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 40 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


d) Combustible liquid and flammable liquid storage:  storage of combustible and flammable liquid at 
the construction site is not permitted unless stored in approved flammable cabinets or outdoors away 
from the buildings.  
 
e) Fire watch:  fire watch (with tours at intervals of not more than one hour apart) shall be provided 
when a portion of a building is occupied while construction operations are taking place, with provision 
for the fire watch to sound the alarm and notify the Fire Department and Eskom Security (except 
where the building and construction sites are provided with a fire alarm system or similar equipment 
acceptable to the Manager:  Occupational Health and Safety).  
 
f) Smoking restrictions:  smoking is not permitted indoors, at entrances to buildings, or near air intake 
systems as per Eskom policy and legislation requirements.  


 
Fire protection system shutdown procedures 


In the event of any shutdown of fire protection equipment or parts thereof, the manager of 
maintenance and operations and the electrical foreman should be given seven days’ notice via email 
with confirmation of schedule within two days of the original notice.  Managers of security and 
occupational health and safety should be given three days’ notice via email for fire watch requests.  
The building occupants should be given three days’ notice via email (all notes) of any shutdown of fire 
protection equipment or parts thereof.  
 
An attempt to minimise the impact of inoperative equipment must be made (that is, where portions of a 
fire alarm system, sprinklers, and standpipe system are taken out of service, the remaining portions 
will be maintained).  Assistance and direction for specific situations should be sought from the 
manager of maintenance and operations and the electrical foreman and should be in accordance with 
the accepted Eskom fire safety guidelines and the fire safety plan for the building.  
 
In the event of bells and pull stations being removed from service in an occupied building, facilities 
management staff (person in charge of the work) will be responsible to post procedures at affected pull 
stations, elevators, and entrances.  Assistance and direction for specific situations should be sought 
from the manager of occupational health and safety and should be in accordance with the accepted 
Eskom fire safety guidelines and the fire safety plan for the building.  


 
Procedures to be followed in the event of shutdown of any part of a fire protection system are as 
follows:  
 


a) On request, electrical staff will verify in person the work to be done, contact the monitoring 
station if necessary, isolate the required fire protection system, place an information tag on the 
fire alarm panel, and inform the electrical foreman that the system has been isolated.  


b) The electrical foreman will notify the security supervisor to begin the fire watch. 


c) Security staff or another reliable person will patrol the affected area(s) at least once per hour. 


d) On request, electrical staff will verify in person that work has been completed, contact the 
monitoring station if necessary, restore the fire protection system, remove the information tag, 
and inform the electrical foreman that the system has been restored.  


e) The electrical foreman will notify the security supervisor to end the fire watch. 


 


37. ENVIRONMENTAL MANAGEMENT 


The following environmental criteria need to be complied with by any contractor before performing 
work. 
 
Reference to the project environmental management plan (EMP). 


 
Spillage of hazardous chemical substances 


A register of hazardous chemical substances and material safety data sheets should be kept on site.  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 41 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


Herbicide usage 


A herbicide register for usage is to be compiled and maintained and a copy handed to the project 
leader/environmental advisor on completion of the project/contract.  The application of herbicides has 
to be in accordance with the Fertilisers, Farm Feeds, Agricultural Remedies, and Stock Remedies Act 
No. 36 of 1947.  Only approved and tested herbicides with a low environmental risk shall be used.  
Only registered pest control operators may apply herbicides on a commercial basis.  All staff applying 
herbicides must be trained in the application of herbicides. 


 
Fire hazard 


The contractor shall ensure that staff are educated in fire prevention and will be held responsible for 
avoiding the risk of fire.  No area is to be denuded of vegetation to create firebreaks or to prevent or 
make fires.  No open fires are allowed on site.  The contractor must ensure that operations are in 
compliance with statutory requirements at all times. 


 
Waste management 


General wastes generated shall be delivered to a centralised collection facility for disposal by the 
project.  Hazardous wastes remain the responsibility of the contractor from the point of generation to 
the point of disposal (that is, the cradle-to-grave approach).  All waste shall be segregated into the 
various waste stream fractions.  These can be divided into two main waste-producing activities:  
general waste and construction waste.  Waste segregation will cover both these main waste-producing 
activities.  Waste shall be segregated into the following waste streams as a minimum: 
 


• Compactable 


• Un-compactable 


• Building rubble 


• Process waste 


• Scrap metal 


• Hazardous waste (Lamps etc.) 
 
The contractor shall source recycled products wherever practicable and shall inform the engineer of 
any recycled products being utilised on site. 
 
The contractor shall develop a site waste management plan for the site under his/her control.  This 
shall include identifying all waste streams, the sources of those waste streams, the quantities of waste 
generated (by volume and/or by mass), the potential for recycling within those waste streams, and the 
quantity of waste recycled or reused elsewhere.  This proportion of waste recycled to waste generated 
will form part of the performance audit of contractors. 
 
The contractor shall develop and utilise waste manifest documentation for delivery to the centralised 
waste collection point.  This documentation shall detail the type of waste being moved, the quantity of 
waste, the source of the waste, the date, the responsible person from the waste generator, and the 
signature of acceptance from the responsible person at the centralised waste collection point.  
 
No waste shall be burned or buried on site. 


 
Material requirement 


The use of any material or property belonging to a specific landowner will not be undertaken prior to 
arrangements with the applicable landowner.  Written proof of such agreement has to be handed to 
the project leader/co-coordinator for record keeping. 


 
 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 42 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Dust and noise 


The contractor shall monitor dust and noise caused by mobile equipment, generators, and other 
equipment during construction.  Factors such as wind can often affect the intensity to which these 
impacts are experienced. 
 
To ensure that noise does not constitute a disturbance during construction activities, all construction 
works shall occur between specific working hours.  This must be stipulated in the contract.  
 
Mitigation measures are to be implemented as required/agreed on with the project 
leader/environmental advisor. 
 
Dust suppression measures must be in place to reduce the dust caused by the movement of heavy 
vehicles. 


 
Environmental incidents 


All environmental incidents such as pollution (air, water, land, noise, etc.), bird kills, animals killed, 
plants destroyed, public complaints, etc. must be reported to the project leader and/or environmental 
advisor within 24 hours of their occurrence. 
 
All environmental incidents occurring on site must be recorded, detailing how each incident was dealt 
with.  Proof thereof must be kept in an incident register. 
 
The contractor will be held liable for any infringement of statutory requirements of the Environmental 
Conservation Act, No. 73 of 1989, or any other relevant legislation.  


 
Water 


No construction is allowed within the 1:100 year floodlines.  Should any pollution of the watercourse 
occur, the Department of Water Affairs and Forestry must be notified immediately. 
 
Water usage on site has to be verified with the substations’/power stations’ responsible person and the 
project leader/environmental advisor to ensure compliance with legislation.  Borehole water must be 
verified for human consumption fitness.  All incidents related to water contamination are to be reported 
within 24 hours. 
 
Chemical toilets may not be in close proximity of the drainage lines/ways. 


 
Signing off of the contract 


No project should be signed off before the business unit or department has given assurance that no 
environmental liabilities exist.  The responsible person, project leader, or environmental advisor shall 
carry out a physical inspection before acceptance of work done. 
 
No invoice is to be processed before work is accepted. 
 
The contractor shall be conversant with, and in the course of carrying out the works, the contractor 
shall comply with, the provisions of all Acts, regulations, ordinances, by-laws, standards, codes, rules, 
and requirements of public, municipal, and other authorities. 


The project team may at any time without notice to the contractor examine and investigate the 
contractor’s compliance with all applicable legislation and the environmental management conditions. 


At all times during the execution of the works, the contractor shall preserve and protect the natural 
environment in the general area of the site and the external areas that may be affected by his/her 
operations. 


Environmental protection shall include, but not be limited to, the following issues: 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 43 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


• Noise pollution  


• Gaseous emissions  


• Noxious and/or offensive odours  


• Liquid waste collection 


• Solid waste separation and collection 


In the event of any perceived conflict between the “environmental laws” and the contract documents, 
the contractor shall, prior to commencing the work, refer such conflict to the project management team 
for clarification. 


Without limiting the contractor’s responsibilities under the applicable legislation, the work shall be 
conducted in such a manner as to ensure the following: 


• No substance that can harm or is likely to harm the environment is to be allowed to leak, spill, 
or escape from any container or storage area. 


• No oil or other effluent is permitted to escape into the drainage system and/or local storm 
water system. 


• No oil or other effluent is permitted to escape into the ground and cause soil contamination. 


• All powdered pollutants generated during execution of the work are contained to prevent air 
pollution. 


• No sediment generated is permitted to escape into the drainage system and/or local storm 
water system. 


• No harmful solids or liquids are permitted to spill from containers while in transit on the 
premises. 


• All oil-based waste material shall be kept segregated and placed in sealed 200 litre drums.  
This material shall be disposed of through a recognised oil recycling company.  


• All water-based waste material shall be kept apart.  Small amounts shall be collected and 
stored in 200 litre containers.  Large amounts shall be pumped into a bulk tanker for disposal.  
Prior to disposal, all water-based material shall be sampled to allow analyses to be carried out.  


 


38. AUDITING  


Eskom reserves the right to conduct unannounced audits on contractors. 
 


Compliance and approval of contractor’s SHE plan  


The contractor’s SHE plan will be audited against a compliance checklist so as to confirm compliance 
with the requirements in the Eskom SHE specifications.  Once there is compliance, only then will the 
contractor’s SHE plan be approved by the client/agent.  The implementation of the SHE plan shall be 
assessed by conducting a systems and physical conditions evaluation. 
 


Contractor SHE performance evaluation  


Eskom shall evaluate contractor SHE performance on an ongoing basis against the Eskom 


requirements.  


 


Internal audits 


Contractors are required to conduct internal audits on both their employees and their subcontractors 


on the implementation of their SHE plan on a monthly basis or when the scope of work changes.  A 


summary of the findings and the proposed corrective actions shall be submitted to the Eskom 


project/site manager on the last day of the audit.  The report shall be submitted within one week after 


completion of the audit. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 44 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
Third-party legal compliance verification audits 


If contractors have a third-party legal compliance verification audit that is to be conducted on the site 


activities, then a copy of the summary of the findings and the proposed corrective actions shall be 


submitted to the Eskom project/site manager.  The written report shall be submitted within one week 


after the completion of the audit. 


 


SHE plan audits 


There will be monthly audits conducted by Eskom on the principal contractor(s) and/or subcontractors.  
These audits shall be attended by the contractor’s site manager or his/her representative.   
 
If there are any findings/non-compliances identified in these audits, work will be stopped for that 
specific principal contractor and subcontractor company.  Refer to the section on “Work stoppage” in 
this SHE specification. 
 


39. INCIDENT MANAGEMENT 


The contractor shall have an incident reporting system that is compatible with Eskom’s requirements and 
all applicable legislation.  Any incident or near miss involving the clients, contractors, or third-party’s 
personnel, property, plant, or equipment shall be reported as soon as reasonably practicable, but not later 
than 24 hours, to the client’s/agent’s representative, irrespective of whether injury to personnel or damage 
to property or equipment resulted.  
 
The contractor shall ensure compliance with Eskom incident management processes for reporting and 
investigation of incidents. 


The contractor shall investigate the causes of all incidents and shall within two working days, provide the 
client/agent with the results of the investigation and recommendations on how to prevent a recurrence.  
 
The client/agent shall have a right to designate a representative to participate in the investigation at the 
client’s/agent’s sole discretion. 
 
The principal contractor shall keep on site/at the workplace a record of all accidents and incidents 
reported in the form of the OHS Act Annexure 1 investigation form as referenced in the OHS Act 
(Incident Investigation Report).  


The principal contractor shall provide SHE-related statistics to the client at the end of each month.  


Eskom reserves the right to conduct an independent investigation in any incident.  


40. MONTHLY/WEEKLY STATISTICAL REPORTS  


Contractors shall report all incidents to Eskom as per the Eskom Incident Management Procedure and 
shall include the following as a minimum: 


• Incidents:  lost time, medical, first aid, near misses reported 


• Manpower numbers per principal contractor and subcontractor company 


• Actual man-hours worked 


• Status on incidents investigated and recommendations closed out 


• Status on audits conducted and findings closed out 


 


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 45 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


41. OMISSIONS FROM THIS SHE SPECIFICATION 


By drawing up this SHE specification, Eskom has endeavoured to address the most critical aspects 
relating to SHE issues in order to assist the contractor in adequately providing for the health and safety 
of employees on site.  Further risks identified by Eskom or its agents will be included in the contract 
works information and/or relayed at the clarification or negotiation meeting. 
 
Should Eskom not have addressed all SHE aspects pertaining to the work that is tendered for, the 
contractor needs to include these in the SHE plan and inform Eskom of such issues when submitting 
the tender. 
 


42. SHE FILE 


The contractor must have a SHE file in which records of this specification and the SHE plan are kept.   
 
All information required in the specification and plan, for the duration of the principal contractor and 
subcontractor’s contract, is to be recorded in the file. 
 
The SHE file shall be maintained by the contractor(s) on the construction site. 
 
The contractor shall also record in the SHE file: 
 


• information about removal or dismantling of installed plant and equipment; 


• hands-on information about equipment needing cleaning and maintenance, for future purposes; 


• nature, location, and markings of services; and 


• as-built drawings. 


 
The file must be kept on site and must be available on request for audit and inspection purposes. 
 
At the end of the contractor’s contract, the SHE file shall be handed over to the client/agent. 
 


43. HOURS OF WORK 


All work conducted on site shall fall within the legal requirements in accordance with the Basic 
Conditions of Employment Act.  
 
Contractors will notify their Eskom supervisor(s) of any work that needs to be performed after hours 
according to the agreed arrangements.  (The notification needs to be submitted timeously.)  Where 
applicable, the notification should include proof of application for extended overtime to the Department 
of Labour and/or the letter of approval from the Department of Labour. 
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 46 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


3 Supporting clauses 


Index of supporting clauses 


3.1  Scope.......................................................................................................................................46 


3.2  Normative/informative references............................................................................................46 


3.3  Definitions ................................................................................................................................47 


3.4  Abbreviations ...........................................................................................................................48 


3.5  Roles and responsibilities........................................................................................................49 


3.6  Process for monitoring.............................................................................................................49 


 


3.1 Scope 


This document provides the minimum requirements in the form of a guideline for the development of a 
SHE specification for construction work that is specific to the scope of work, site, and type of project. 


3.1.1 Purpose 


The purpose of this guideline: 
 


• is to assist the client/agent in drawing up site-specific SHE specifications that will indicate to all 
potential contractors the SHE requirements on the project on which their planning for the 
management of SHE will be based and thus to produce their SHE plan; and 


• ensure that all project personnel and site-based contracting companies are aware of, and comply 
with, the SHE rules and regulations for construction contracts. 


  


3.1.2 Applicability 


This document shall apply throughout Eskom Holdings Limited, its divisions, subsidiaries, and entities 
in which Eskom has a controlling interest.  This guideline is applicable to Eskom employees and 
contractors affected by activities of, or on behalf of, Eskom. 


3.2 Normative/informative references 


Parties using this document shall apply the most recent edition of the documents listed below. 


3.2.1 Normative  


32-94    Eskom SHE Policy 


32-136    Eskom Construction Safety, Health, and Environmental Procedure 


Act No. 28 of 1956  Labour Relations Act, 1956 


Act No. 15 of 1973  Hazardous Substances Act, 1973 


Act No. 6 of 1981  Marine Pollution (Control and Civil Liability) Act, 1981 


Act No. 85 of 1993   Occupational Health and Safety Act, 1993 


Act No. 130 of 1993  Compensation for Occupational Injuries and Diseases Act, 1993  


Act No. 29 of 1996   Mine Health and Safety Act, 1996 


Act No. 93 of 1996  National Road Traffic Act, 1996 


Act No. 41 of 1987  Electricity Act, 1987 


Act No. 75 of 1997  Basic Conditions of Employment Act, 1997 


Act No. 36 of 1998  National Water Act, 1998 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 47 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Act No. 101 of 1998  National Veld and Forest Fire Act, 1998 


Act No. 107 of 1998  National Environmental Management Act, 1998 


Act No. 46 of 1999  Nuclear Energy Act, 1999 


Act No. 2 of 2000  Promotion of Access to Information Act, 2000 


Act No. 15 of 2003  Explosives Act, 2003 
 


3.2.2 Informative   


Eskom’s Plant Safety Regulations  GGS0992  


ORHVS Regulations   ESKPVAEY6 


3.3 Definitions 


Agent:  means any person or department that acts as a representative for the client and has formally 
been appointed as such by the client.  The agent is a company/organisation/person that is external to 
Eskom.  Eskom cannot be appointed as an agent. 


Client:  means the Eskom 16.2-appointed person directly involved and for whom construction work is 
performed on the basis of a contractual agreement formally entered into with either an agent or a 
principal contractor (external to Eskom).  


Note:  internal arrangements between Eskom departments, business units, and divisions must be 
managed by service-level agreements where the SHE requirements of all contracting parties are 
clearly defined. 


Contractor:  means an employer, as defined in section 1 of the OHSA, who performs construction 
work for the client either directly or through an agent and includes principal contractors and the 
subcontractor. 
 
Employer:  means any person who employs or provides work for any person and remunerates that 
person or expressly or tacitly undertakes to remunerate him/her. 
 
Eskom requirements:  Eskom requirements flowing out of directives, policies, standards, procedures, 
specifications, work instructions, guidelines, or manuals. 


 
Fall arrest system:  a system used to arrest an employee in a fall from an elevated working level.  It 
consists of an anchor point, connectors, and a body harness and may include a lanyard, deceleration 
device, lifeline, or suitable combinations of these, BUT excludes body belts.  The entire system must 
be capable of withstanding the tremendous impact forces involved in stopping or arresting the fall.  
 
Fall prevention equipment:  means equipment used to prevent persons from falling from an elevated 
position, including personal equipment, body harnesses, body belts, lanyards, lifelines or physical 
equipment, guardrails, screens, barricades, anchorages, or similar equipment. 
 


Fall protection plan:  means a documented plan of all risks relating to working from an elevated 
position, considering the nature of work undertaken and setting out the procedures and methods to be 
applied in order to eliminate the risk. 


 
On site/site:  any workplace where the contractor or his/her employees perform contract-related work. 
 
Pre-job brief meetings:  a meeting that is held prior to the commencement of the day’s work with all 
relevant personnel associated with the work task in attendance.  The job, relevant procedures, 
associated hazards, and safety measures, that is, the task risk assessments, shall be discussed.  
Each employee who attends the briefing shall sign an attendance register.  The toolbox topics will be 
based on SHE issues pertaining to the construction site.  The topic contents shall be in writing. 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 48 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Principal contractor (PC):  means an employer, as defined in section 1 of the Act, who performs 
construction work and is appointed by the client or the client’s agent to be in overall control and 
management of a part of, or the whole of, a construction site. 


Note:  where construction work is performed within Eskom by an Eskom internal service provider or a 
subsidiary, that individual or department will be regarded as principal contractor for the purpose of this 
guideline. 


Project manager:  means the person who has the responsibility for the successful planning and 
execution of a project.  The project manager must satisfy the certification requirements set by the 
South African Council for the Project and Construction Management Professions. 


Risk assessment:  means a programme to determine any hazard at a construction site and to identify 
the steps needed to remove, reduce, or control such hazard. 


Safety, health, and environmental (SHE) specification:  means a documented specification of 
significant residual SHE requirements for a construction site, which a competent and resourced 
principal contractor or subcontractor would not have been aware of.  This is to ensure the health and 
safety of persons, both workers and the public, and duty of care for the environment.  The client/agent 
compiles the SHE specification, which shall be specific to each construction project. 


Safety, health, and environmental file:  means a permanent record, containing the information on 
the SHE management system during construction and all information relating to the post-construction 
phase after the handover to client, so that the client can maintain the works in a healthy and safe way. 


Safety, health, and environmental plan:  means a written plan that addresses hazards identified 
during a risk assessment as well as the identified impacts in the SHE specification.  This would include 
safe work procedures to mitigate, reduce, or control the hazards identified.  It is specific to each 
construction project undertaken, is compiled by a principal contractor or subcontractor, and must be 
approved by the client or agent.  Both the principal contractor and the client (or agent where 
applicable) shall be signatories to the SHE plan once acceptable. 
 
Subcontractor:  means a contractor who is employed by a principal contractor and has no direct 
formal agreement of employment with the client/agent. 
 


3.4 Abbreviations 


AIA:  approved inspection authority 


CE:  Chief Executive 


COID Act:  Compensation for Occupational Injuries and Diseases Act 


CR:  Construction Regulations 


DMR:  Driven Machinery Regulations 


EAP:  employee assistance programme 


EDC:  Eskom Documentation Centre 


EMR:  Electrical Machinery Regulations 


EMP:  environmental management plan 


EIA:  environmental impact assessment 


GAR:  General Administrative Regulations 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 49 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


GMR:  General Machinery Regulations 


GSR:  General Safety Regulations 


HCS:  hazardous chemical substances 


ICAS:  International Counselling and Advisory Services 


MD:  Managing Director 


MSDS:  material safety data sheet 


PPE:  personal protective equipment 


ROD:  record of decision 


SHE:  safety, health, and environment 


OHS Act:  Occupational Health and Safety Act 


ORHVS:  Operating Regulations for High-voltage Systems 


SANS:  South African National Standards 


VUP:  vessels under pressure 


3.5 Roles and responsibilities 


The employer must ensure that the relevant information in this guideline is communicated to all Eskom 
supervisors and employees and any other person involved in Eskom’s activities to which this guideline 
applies.  Where applicable, each division will be responsible for the development of its own supporting 
documents in order to comply with this guideline.  
 


3.6 Process for monitoring 


The client (Eskom 16.2-appointed person) or his/her delegated person will monitor compliance with 
this guideline. 


4 Authorisation 


This document has been seen and accepted by: 
Name Designation 


PJ Maroga Chief Executive 
I du Plessis Acting Finance Director 
BA Dames Chief Officer (Generation and Generation Primary Energy Divisions) 
MM Ntsokolo Managing Director (Transmission Division) 
A Noah Managing Director (Distribution Division) 
JA Dladla Managing Director (Office of the Chief Executive ) 
E Johnson  Chief Officer (Network and Customer Services) 
Dr SJ Lennon Managing Director (Corporate Services Division) 
E Pule Acting Managing Director (Human Resources Division) 
B Conradie  
M Koko 


(Acting) Managing Director (Enterprises Division) 
(Acting) Managing Director (Engineering) 


K Lakmeeharan 
P Dukashe 


(Acting) Managing Director for System Operator 
(Acting) Managing Director (Nuclear) 


T Govender Managing Director (Generation Division) 
V Nemukula Acting Managing Director (Primary Energy Division) 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 50 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


5 Revisions 


Date Rev. Remarks 


April 2009 


 


0 A guideline with reference number 32-418 was 
developed in alignment with the Eskom 
documentation requirements. 


 


6 Development team 


This guideline was developed with input from the following members: 
 


• K Pillay  (Corporate Services Division) 


• S Govender  (Distribution Division) 


• K Mansingh  (Enterprises Division) 


• B de Klerk  (Transmission Division) 


• A Botha  (Enterprises Division)) 


• N Makhoali  (Generation Division) 


• SN Middel  (Corporate Services Division) 


• M Bhagwanth  (Transmission Division) 


• D de Bruin (Properties) 


• R Nkuna (Corporate Services Division) 


• M Maynard (Distribution Division) 


• G Wilson (Generation Division) 


 


 


 


 


 


 


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 51 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Annexure 1: Framework/Template for Developing a Construction Safety, Health, and 
Environmental Specification 


1 Introduction 


When carrying out construction work, this framework can be used as the minimum 
requirements to ensure the safety and health of all persons as well as the duty of care to the 
environment.  
 
The safety, health, and environmental (SHE) specification shall be prepared by the 
client/agent for inclusion in all tender and contract documentation for construction work.  This 
will guide the client/agent in evaluating the contractor’s competence and resources based on 
the tender submission in order to do the work safely as well as to ensure that the costs 
related to the compliance with SHE, as well as the specifications, are taken into 
consideration at tender stage. 
 
The SHE specifications must include all relevant SHE information about the specific 
construction work to be performed and all the applicable and relevant information contained 
in the Eskom documents pertaining to the project and scope of work.  (Extracts or the entire 
Eskom document must be included in the SHE specification.)   
 
This specification is governed by the Occupational Health and Safety Act, 1993 (Act No. 85 
of 1993) as well as all other legislation applicable to construction work. 
   
Environmental management shall be taken into consideration when drafting the SHE 
specifications. 
  


2 Document content 


1. INTRODUCTION 


 


1.1 Project and scope of work details  


 
Description of project and specific scope of work details. 


 


1.2 Project accountabilities and responsibilities 


 
Client/agent and contractor accountabilities and responsibilities shall be clearly defined. 


 
 


2. LEGAL AGREEMENT 


In terms of section 37(2) of the OHS Act, it shall be required of every contractor to sign an agreement 
with Eskom.  


 


3. CLIENT AND CONTRACTOR ORGANISATIONAL STRUCTURES 


Provide the contractor’s organisational SHE structure (organogram). 
 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 52 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


4. APPOINTMENTS  


Ensure that the all site-related appointments are in place and that they are specific and indicate for 
which areas within the OHS Act individuals are responsible.  


5. COMPETENCE AND TRAINING 


 
5.1 The contractor shall ensure that all his/her employees and his/her subcontractor employees 
undergo induction training. 
 
5.2 The contractor shall ensure that all his/her staff are adequately trained to perform the tasks 
allocated to them and that there is the requisite amount of supervision at all times to maintain safe 
work practices and standards, particularly where semi-skilled personnel are involved. 
 
5.3 The contractor shall identify all training needs and incorporate the Eskom and plant-specific 
training into the SHE plan. 
 
5.4 Visitors to the site shall undergo and comply with site-specific safety induction prior to being 
allowed access to the site. 


 
 


6. SUBCONTRACTOR MANAGEMENT 


 


6.1 Contractor accountabilities for their subcontractors  


 
When subcontractors are appointed, the contractor shall inform the client/agent and obtain his/her 
approval.   
 
When contractors appoint subcontractors, the contractors would then have the same role and 
responsibility in relation to the subcontractors as the client/agent has in relation to the principal 
contractor. 
 
The principal contractor must indicate who his/her subcontractors are and provide evidence that the 
subcontractor(s) has/have the necessary competence and resources to carry out the work safely and 
to ensure that the duty of care to the environment will be discharged. 


 


6.2 Subcontractor SHE plan  


The subcontractor shall prepare a SHE plan based on the SHE specifications that shall be provided 
by the principal contractor. 


 


7. FORUMS FOR SHE COMMUNICATION 


 
The principal contractor(s) and their subcontractor(s) will have to provide a communication strategy 
outlining how they intend to communicate SHE issues to their staff, the media they will employ, and 
how they will measure the effectiveness of their SHE communication. 


 


8. LEGAL COMPLIANCE 


   
8.1 It is the duty of the contractor to ensure that it is familiar with the requisite SHE legislation. 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 53 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


8.2 Eskom Cardinal Rules  
Cardinal Rules are non-negotiable health and safety rules that must not be broken under any 
circumstances. 
 
8.3 Legal register 
The contractor shall compile a legal register listing all applicable legislation that may have an impact 
on the scope of work. 
 
8.4 Non-conformances 
The client/agent is entitled to stop work and issue non-conformance reports whenever health, safety, 
or environmental violations are observed for both contractors and/or their subcontractors.   


 


9. CONTRACTOR’S SITE FACILITIES 


9.1 The contractor must outline how the site facilities should be managed.  This 
should include, but not be limited to the following: 


• Temporary facility layout plan 
• Dining room facilities 


• Change rooms 


• Ablution facilities 


• Site sheds, offices, and amenities 


• Laydown and storage 


• Site access 


• Temporary site services 


• First-aid facilities  
• Adjacent land uses/surrounding property exposures 


• Boundary and access control/public liability exposures (remember:  the employer is also 


responsible for the OH&S of non-employees affected by their work activities) 


• Health risks arising from neighbouring as well as own activities and from the environment, for 


example, threats by dogs, bees, snakes, lightning, allergies, etc. 
 


9.2 Project and site rules 


Define the rules that are over and above the internal regulations and procedures of Eskom and 
relevant legislation that will ensure zero harm to persons and the environment.  These rules shall be 
specific to the project and site.  
 
 


10. ACCESS CONTROL TO THE CONSTRUCTION SITE 


 
The contractor, in collaboration with the client/agent, shall ensure that proper site access control is in 
place and functional at all times. 


 
 


11. CONSTRUCTION VEHICLES AND MOBILE PLANT 
  
All motor vehicles operated by contractors shall comply with the Road Traffic Ordinance as well as 
Eskom requirements. 
 


 


12. OCCUPATIONAL HEALTH, REHABILITATION, AND HYGIENE 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 54 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Stipulate the project requirements with regard to occupational health and hygiene practices expected 
from the contractors and their subcontractors. 


 
 


13. HOUSEKEEPING  


Contractors shall maintain a high standard of housekeeping within the site. 


 


14. SIGNAGE 


The contractor(s) shall use all symbolic safety signage that conforms to the requirements of SANS 
and/or applicable legislative requirements. 


 


15. PERSONAL PROTECTIVE EQUIPMENT (PPE) 


The contractor must provide a detailed programme on the issuing, training, maintenance, and 
replacement of PPE.  


 


16. HAZARDOUS MATERIALS/CHEMICALS MANAGEMENT 


The contractor(s) shall describe how hazardous substances, as defined in the Hazardous Chemical 
Substances Regulations (OHS Act), will be managed. 


 


17. MACHINERY, TOOLS, AND EQUIPMENT 


Contractors must ensure that all equipment brought on site is in good condition and appropriate to the 
task being performed.  


18. MACHINE GUARDING 


Contractors shall ensure that all machinery used is suitable for the purpose for which it is used and 
that it is installed, operated, and maintained in such a manner as to prevent the exposure of persons to 
hazardous or potentially hazardous conditions or circumstances. 


19. HAND TOOLS AND PNEUMATIC TOOLS 


Contractors shall ensure that all hand and pneumatic tools are suitable for the purpose for which they 
are used and be recorded on a register and inspected by the supervisor on a monthly basis as well as 
by users prior to use. 


20. BOILERS, PRESSURISED SYSTEMS, AND VESSELS UNDER 
PRESSURE 


Contractors shall ensure that all vessels under pressure are inspected by an approved inspection 
authority and shall be in possession of the manufacturer’s certificate. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 55 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


21. EXPLOSIVE-POWERED TOOLS 
 
Contractors shall ensure that explosives shall not be brought onto the project site or be used without 
the written permission of the employer.  Use of explosives shall only be permitted with an approved 
licence. 


 


22. LIFTING MACHINES AND LIFTING TACKLE 


Contractors shall conduct a risk assessment prior to commencing with the task to identify the risk 
involved and appropriate mitigation measures. 


23. WORKING AT HEIGHT  


All precautions including, but not limited to, Eskom and legislative requirements must be taken to 
prevent incidents while working at height.  
 
Persons may only work from a fall risk position if: 


• a working-at-heights risk assessment has been completed for the work to be conducted; 


• a safe work procedure/task analysis and work instruction, approved by a competent person, 
 are in place; 


• a fall rescue plan, along with necessary equipment and trained rescuers, is in place; 


• appropriate training, as determined by the risk assessment, has been provided; and 


• appropriate height safety equipment and personal protective equipment have been issued to 
 the individual. 


 
Where work in an elevated position is necessary, preference shall be given to fall prevention measures 
such as, but not limited to, effective barricading and the use of work platforms. 


 


24. EXCAVATIONS, TRENCHES, AND FLOOR OPENINGS 


Requirements in Construction Regulation 11 of the OHS Act shall apply. 
 
All excavations must be on register and inspected daily before work commences and after inclement 
weather by the contractor’s appointed competent person, declared safe, and his/her findings noted in 
the said register.  The client/agent shall review the said register on a predetermined frequency not 
exceeding seven (7) days. 


Any ground operations, which may include digging, excavation, or driving a peg, pile, or spike into the 
ground by the contractor and his/her subcontractors, may not commence without written authorisation 
from the engineer. 


25. EXPLOSIVES 


Requirements of the Explosives Regulation of the OHS Act shall be adhered to.  A specific method 
statement shall be provided for each blasting operation and as required by the contract. 


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 56 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


26. BARRICADING (GUARDING OF EXCAVATIONS, TRENCHES, AND 
FLOOR OPENINGS) 


In areas where the restriction or prevention of unauthorised persons/members of the public is required, 
stringent barricading requirements shall be adhered to, and mitigation measures shall apply. 


27. PERMIT TO WORK 


Contractors must adhere to the approved Eskom permit-to-work system to control identified high-
risk activities, for example, hot work and confined space. 


28. RADIOGRAPHY, ULTRASONIC, OR NON-DESTRUCTIVE TESTING 
(NDT) 


Contractors carrying out radiography, ultrasonic, or other non-destructive testing (NDT) on the site 
shall comply with the requirements of the relevant legislation, codes of practice, and any specific 
client/agent procedures.   


 


29. WORKING NEAR PUBLIC ROADS 


Necessary precautionary and preventive safety measures shall be taken where persons are required 
to work on or near roadways. 


30. WORK STOPPAGE 


Where work will be stopped, appropriate processes shall be followed to ensure that the work site is 
rendered safe.   


 


31. HAZARD AND RISK MANAGEMENT 
 
The employer/project manager of the project shall ensure that the project team conducts a baseline 


site and project-specific risk assessment in relation to all relevant site hazards and should address 


existing and potentially significant residual hazards that a competent and resourced contractor would 


not have been expected to know.  This risk assessment should be included in the project-specific SHE 


specification, which is specific to the project and scope of work.  The 16.2-appointed person closest to 


the construction work who acts as the representative of the client has to ensure that the above is in 


place prior to contract award. 
  
The contractor shall demonstrate that the site hazards and the subcontractor’s activity risks and the 
mitigating measures have been considered in his/her risk assessments.  


 


32. SAFE WORK PROCEDURES AND PRACTICES 


There must be written safe work procedures for all activities.  Risk assessments should refer to the 
safe work procedures. 


  


 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 57 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


33. HIGH-RISK ACTIVITIES 
 
When the principal contractor and/or his/her subcontractors are working in an area where a high health 
and safety hazard exists, the principal contractor shall take additional precautions. 


 
 


34. SHE PLAN  
 
All contractors shall develop a suitable and sufficient SHE plan for their contract delivery.   
 
Contractors have the responsibility through their safety, health, and environment plan (SHE) to provide 
specific information that should comprise the following:  
 


• A safe system of work for the overall work package 


• Method statements covering how individual work elements will be completed 


• Risk assessments for each work element 
 


 


35. EMERGENCY PREPAREDNESS  


The contractor(s) shall develop a site-specific emergency preparedness plan to take into consideration 
an adequate level of preparedness, response, and recovery to prevent or minimise the impact of an 
emergency situation pertaining to human life and property. 
 
The emergency preparedness plan must address all the geographic locations where project work 
scope is undertaken and where project personnel are sent. 


 
 


36. FIRE RISK MANAGEMENT 


Contractors shall develop fire safety and evacuation procedures for areas of the project construction 
site for which they are responsible prior to commencing work.  The procedure must take into 
consideration the size of the site and types of work being done  
 
 


37. ENVIRONMENTAL MANAGEMENT 


Contractors shall ensure duty of care towards the environment by: 
 


• ensuring compliance with all environmental legislation (zero legal contraventions); 


• ensuring compliance with all Eskom environmental policies, procedures, guidelines, etc.; 


• ensuring landowner satisfaction through timeous consultation with landowners; and 


• demonstrating environmental competence of staff through appropriate training where their 
activities could impact on the environment. 


A waste management plan shall be established in order to provide guidelines for the proper storage, 
handling, and disposal of waste generated by the project during the course of construction.   
 


 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 58 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


38. AUDITING  


The contractor’s SHE plan shall be audited in order to ensure compliance with the requirements in the 
Eskom SHE specifications.  
  
Define the basis under which SHE auditing is to be conducted on the project.   
 
Specify the timing, participation in, and scope of the audits.   
 
Detail the means by which improvement actions are tracked, followed up, closed out, and 
communicated to appropriate staff. 


Eskom reserves the right to conduct unannounced audits on contractors. 
 
 


39. INCIDENT MANAGEMENT  


The contractor shall have an incident reporting system that is compatible with Eskom’s requirements and 
all applicable legislation.  Any incident, near miss involving the clients, contractors, or a third party’s 
personnel, property, plant, or equipment shall be reported as soon as reasonably practicable, but not later 
than 24 hours, to the client’s/agent’s representative, irrespective of whether injury to personnel or damage 
to property or equipment resulted.  The contractor shall investigate the causes of all incidents and shall 
within two working days, provide the client/agent with the results of the investigation and 
recommendations on how to prevent a recurrence.  The client/agent shall have a right to designate a 
representative to participate in the investigation at the client’s/agent’s sole discretion. 


 
 


40. MONTHLY/WEEKLY STATISTICAL REPORTS  


Contractors shall report all incidents to Eskom as per the Eskom Incident Management Procedure (32-


95). 


 
 


41. OMISSIONS FROM THIS SHE SPECIFICATION 


By drawing up this SHE specification, Eskom has endeavoured to address the most critical aspects 
relating to SHE issues in order to assist the contractor in adequately providing for the health and safety 
of employees on site. 
 
Should Eskom not have addressed all SHE aspects pertaining to the work that is tendered for, the 
contractor needs to include them in the SHE plan and inform Eskom of such issues when submitting 
the tender. 
 


 


42. SHE FILE 


The contractor must have a SHE file in which records of this specification and the SHE plan are kept.   
 
All information required in the specification and plan, for the duration of the contract of the principal 
contractor and subcontractors, is to be recorded in the file. 
 
The SHE file shall be maintained by the contractor(s) at the construction site. 
 


 


43. HOURS OF WORK 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 59 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


All work conducted on site shall fall within the legal requirements in accordance with the Basic 
Conditions of Employment Act.  The client/agent is to be notified of any exemptions granted in terms of 
section 50 of the Basic Conditions of Employment Act. 


 


 


Annexure 2 – 37(2) AGREEMENT 


 
     WRITTEN AGREEMENT ON 


 
OCCUPATIONAL HEALTH AND SAFETY 


 
In accordance with the provisions of section 37(2) 


of the Occupational Health and Safety Act 85 of 1993 
 
 


 
 
 


AS ENTERED INTO AND BETWEEN 
 
 
 


………………………… (Eskom Division/ Business Unit) 
(hereinafter referred to as “the Client”) 


 
 
 
 
 


AND 
 
 
 
 
 


……………………………………………….. 
(hereinafter referred to as “the Contractor”) 


 
 
 
 
 
 
 
 
 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 60 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


   1. Contractor details 
 
 
Company name:  
 
Compensation Fund number: 
 
Address: 
  
 
Tel/fax numbers:  
 
Contact details:  
 
1. CEO:  tel. no.:                                                    Email: 
 
2. SHE Manager/Officer:  tel. no.:                       Email: 
 
3. Site Manager:  tel. no.:    Email:   
 
   
    2. Reporting 
 
 
2.1 The Contractor and/or his designated person appointed in terms of section 16(2) of the 
Occupational Health and Safety Act, 85 of 1993 (“the OHS Act”), shall ensure that all access 
requirements of the Client of the Contractor are being complied with prior to access. 
 
2.2 The Contractor shall ensure that the following are in place before commencing with any work or 
activities on the Client’s/ Principal Contractor’s premises: 
a. This agreement is signed by both parties. 
b. The Contractor’s health and safety plan is handed to, and approved by, the Principal Contractor. 
c. All personnel have attended all relevant SHE induction/orientation. 
d. A risk assessment was done on the work to be done and a copy handed to the Principal 


Contractor SHE Representative/Project Manager. 
e. A permit to work is obtained for all work that requires a permit. 
f. Access requirements with regard to vehicles, personnel, machinery, articles, substances, etc. are 


complied with.  
g. All the required legal appointments are made, and copies are included in the Contractor’s health 


and safety plan. 
 
 
    3. Warranty of compliance 


 
3.1 In terms of this agreement, the Contractor warrants that he agrees to the arrangements and 
procedures as prescribed by the Principal Contractor and as provided for in terms of section 37(2) of 
the Occupational Health and Safety Act 85 of 1993, as amended, and regulations (“the OHS Act”) for 
the purposes of compliance with the OHS Act.   
 
3.2 The Contractor acknowledges that this agreement constitutes an agreement in terms of section 
37(2) of the OHS Act, whereby all responsibility for health and safety matters relating to the work the 
Contractor, his employees, and/or subcontractors are to perform on the premises shall be the 
obligation of the Contractor.  
 
3.3 The Contractor further warrants that he and/or his employees undertake to maintain such 
compliance with the OHS Act.  Without derogating from the generality of the above or from the 
provisions of the said agreement, the Contractor shall ensure that the clauses as described hereunder 
are at all times adhered to by himself and his employees. 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 61 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


3.4 The Contractor hereby undertakes to ensure that the health and safety of any other person on the 
premises are not endangered by the conduct and/or activities of all his employees while they are on 
the premises of the Client of the Principal Contractor. 
 
 
      4. Contractor an employer 


 
The Contractor shall be deemed to be an employer in his own right while on the Client premises of the 
Principal Contractor.  In terms of section 16(1) of the OHS Act, the Contractor shall accordingly ensure 
that the requirements of the OHS Act are complied with by himself and/or his nominated Chief 
Executive Officer. 
 
 
      5. Appointments and training 


 
5.1 The Contractor shall appoint competent persons as per section 16(2) of the OHS Act.  Any such 
appointed persons shall be trained on any occupational and safety matter and the OHS Act provisions 
pertinent to the work that is to be performed under their responsibility.  Copies of any appointments 
made by the Contractor shall be included in the health and safety plan and be provided to the Principal 
Contractor. 
 
5.2 The Contractor shall further ensure that all his employees are trained on the health and safety 
aspects relating to the work and that they understand the hazards associated with such work being 
carried out on the Client’s premises.  Without derogating from the foregoing, the Contractor shall, in 
particular, ensure that all his users or operators of any materials, machinery, or equipment are properly 
trained and declared competent in the use of such materials, machinery, or equipment. 
 
5.3 Notwithstanding the provisions of the above, the Contractor shall ensure that he, his appointed 
responsible persons, and employees are, at all times, familiar with the provisions of the OHS Act, as 
amended, and the regulations made under it, and that they comply with the provisions. 
 
 
     6. Supervision, discipline, and reporting 


 
6.1 The Contractor shall ensure that all work is performed under strict supervision and that no unsafe 
or unhealthy work practices are permitted.  Discipline regarding health and safety matters shall be 
strictly enforced against any of his employees regarding non-compliance by such employees with any 
health and safety matters. 
 
6.2 The Contractor shall further ensure that his employees report to him all unsafe or unhealthy work 
situations immediately after they become aware of the same and that he, in turn, immediately reports 
these to the Principal Contractor and/or his representative. 
 
6.3 Contractors shall exercise strict supervision over industrial relations, ensure a sound industrial 
relations climate, and ensure compliance with all relevant labour legislation.  The control and 
management of misconduct and unacceptable behaviour shall include: 
a. the use of abusive, derogatory, and offensive language; 
b. racially-abusive language; 
c. assault or threat of assault; and 
d. sexual harassment. 
 
 


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 62 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


7. Access to applicable legislation 


 
The Contractor shall ensure that he has an updated copy of all applicable legislation and that this is 
accessible to his appointed responsible persons and employees.   


8. Cooperation 


 
8.1 The Contractor and/or his responsible persons and employees shall provide full cooperation and 
information if and when the Principal Contractor or his representative inquires into occupational health 
and safety issues concerning the Contractor.  It is hereby recorded that the Principal Contractor and 
his representative shall, at all times, be entitled to make such inquiry. 
 
8.2 Without derogating from the generality of the above, the Contractor and his responsible persons 
shall make available to the Principal Contractor and his representative, on request, all and any 
checklists and inspection registers required to be kept by him in respect of any of his materials, 
machinery, and equipment. 
 
 


9. Work procedures 


 
9.1 The Contractor shall be entitled to utilise the procedures, guidelines, and other documentation as 
used by the Principal Contractor for the purposes of ensuring a healthy and safe working environment.  
The Contractor shall then ensure that his responsible persons and employees are familiar with and 
utilise the documents. 
 
9.2 The Contractor shall implement and enforce safe work practices as required from him as an 
employer, and he shall ensure that his employees and subcontractors are made conversant with the 
contents of these practices and that they adhere to such procedures. 
 
9.3 The Contractor shall ensure that work for which a permit is required is not performed by his 
employees or subcontractors prior to the obtaining of such a permit and that any changes to work 
methods described in the permit are approved by the permit issuer before changes are made. 
 
 


10. Health and safety meetings 


 
10.1 If required in terms of the OHS Act, the Contractor shall establish his own health and safety 
committee(s) and ensure that his employees, being the committee members, hold health and safety 
meetings as often as may be required by the Act.   
 
10.2 The Contractor is also required to attend monthly SHE meetings held by the Principal 
Contractor and to be represented by his SHE Official and Site Manager. 
 
 


11. Compensation registration 


 
The Contractor shall ensure that he has a valid registration with the Compensation Commissioner as 
required in terms of the Compensation for Occupational Injuries and Diseases Act 130 of 1993 and 
that all payments owing to the Commissioner are discharged.  The Contractor shall further ensure that 
the cover shall remain in force while any such employee is present on the premises. 
 
 


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 63 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


12. Medical examinations 


 
The Contractor shall ensure that all his employees undergo routine medical examinations and that 
they are medically fit for the purpose of the work they are to perform. 
 
 


13. Incident reporting and investigation 


 
13.1 All incidents referred to in section 24 of the OHS Act shall be reported by the Contractor to the 
Department of Labour.  All incidents shall also immediately be reported to the Principal Contractor’s 
SHE Manager.  The Principal Contractor shall further be provided with copies of any written 
documentation relating to any incident. 
 
13.2 The Principal Contractor retains an interest in the notification of any incident as described above, 
as well as in any formal investigation and/or inquiry conducted in terms of section 32 of the OHS Act 
into such incident. 
 
 


14. Subcontractors 


 
14.1 The Contractor shall notify the Principal Contractor of any Subcontractor he may wish to perform 
work on the Client’s premises.  It is hereby recorded that all the terms and provisions contained in this 
clause shall be equally binding on the Subcontractor prior to the Subcontractor commencing with the 
work.  Without derogating from the generality of this paragraph: 
a. the Contractor shall ensure that training as discussed in point 5 above is provided prior to the 


Subcontractor commencing work on the Client’s premises; 


b. the Contractor shall ensure that work performed by the Subcontractor is done under strict 


supervision and discipline as described in point 6 above; 


c. the Contractor shall inform the Principal Contractor of any health and safety hazard and/or issue that 


the Subcontractor may have brought to his attention; and 


d. the Contractor shall inform the Principal Contractor of any difficulty encountered with regard to 


compliance by the Subcontractor with any health and safety instruction, procedure, and/or legal 


provision applicable to the work the Subcontractor performs on the Client’s premises. 
 
 
     15. Security and access 


 
15.1 The Contractor and his employees shall only access and exit the premises through the 
checkpoint(s) designated by the Client.  The Contractor shall ensure that his employees observe the 
security rules of the Client at all times and shall not permit any person who is not directly associated 
with the work to enter the premises. 
 
15.2 The Contractor and his employees shall not enter any area of the premises that is not directly 
associated with the work. 
 
15.3 The Contractor shall ensure that all materials, machinery, or equipment brought by him onto the 
premises are registered at the checkpoint(s).  Failure to do this may result in a refusal by the Client to 
allow the materials, machinery, or equipment to be removed from the premises. 
 
 
     


 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 64 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  16. Fire precautions and facilities 


 
16.1 The Contractor shall ensure that an adequate supply of fire protection and first-aid facilities is 
provided for the work to be performed on the Client’s premises, save that the parties may mutually 
make arrangements for the provision of such facilities. 
 
16.2 The Contractor shall further ensure that all his employees are familiar with fire precautions at the 
premises, which include fire alarm signals and emergency exits, and that those precautions are 
adhered to. 
 
 
    17. Hygiene and cleanliness 


 
The Contractor shall ensure that the area where the work is performed is, at all times, maintained to 
reasonably practicable levels of hygiene and that he maintains the surrounding area of the work site to 
a reasonably practicable level of cleanliness.  In this regard, no loose materials shall be left lying 
around unnecessarily, and the work site shall be cleared of waste material regularly and on completion 
of the work. 
 
 
    18. No nuisance 


 
18.1 The Contractor shall ensure that neither he nor his employees undertake any activity that may 
cause environmental impairment or constitute any form of nuisance to the Client and/or his 
surroundings. 
 
18.2 The Contractor shall ensure that no hindrance, hazard, annoyance, or inconvenience is inflicted 
on other Contractors, the Principal Contractor, or tenants.  Where such situations are unavoidable, the 
Contractor shall give prior notice to the Principal Contractor. 
 
 
     19. Intoxication not allowed 


 
No intoxicating substance of any form shall be allowed on site.  Any person suspected of being 
intoxicated shall not be allowed on the site, save that any person required to take medication shall 
notify the relevant responsible person thereof, as well as the potential side effects of the medication. 
 
 
      20. Personal protective equipment 


 
The Contractor shall ensure that his responsible persons and employees are provided with adequate 
personal protective equipment (PPE) for the work they may perform and in accordance with the 
requirements of general safety regulation 2(1) of the OHS Act.  The Contractor shall further ensure 
that his responsible persons and employees wear the PPE issued to them at all material times. 
 
 
       21. Plant, machinery, and equipment 


 
21.1 The Contractor shall ensure that all the plant, machinery, equipment, and/or vehicles he may wish 
to utilise on the employer’s premises are, at all times, of sound order and fit for the purpose for which 
they are intended and that they comply with the requirements of section 10 of the OHS Act. 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 65 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


21.2 In accordance with the provisions of section 10(4) of the OHS Act, the Contractor hereby 
assumes the liability for taking the necessary steps to ensure that any article or substance that he 
erects or installs at the premises or manufactures, sells, or supplies is safe and without risks to health 
when properly used. 
 
 
        22. No usage of the Client’s equipment 


 
The Contractor hereby acknowledges that his employees shall not be permitted to use any materials, 
machinery, or equipment of the Client unless the prior written consent of the Client has been obtained, 
in which case the Contractor shall ensure that only those persons authorised to make use of the same 
have access thereto. 
      23. Transport 


 
23.1 The Contractor shall ensure that all road vehicles used on the premises are in a roadworthy 
condition, are licensed, and are insured.  All drivers shall have relevant valid driver’s licences, and no 
vehicle shall carry passengers unless it is specifically designed to do so.  All drivers shall adhere to the 
speed limits and road signs on the premises. 
 
23.2 In the event that any hazardous substances are to be transported on the premises, the Contractor 
shall ensure that the requirements of the Hazardous Chemical Substances Act, 15 of 1973 are 
complied with at all times. 
 
 
      24. Clarification 


 
In the event that the Contractor requires clarification of any of the terms or provisions of this 
agreement, he should contact the SHE Manager of the Principal Contractor. 
 
 
      25. Duration of agreement 


 
This agreement shall remain in force for the duration of the work to be performed by the Contractor 
and/or while any of the Contractor’s workmen are present on the Client’s premises. 
 
 
     26. Headings 


 
The headings as contained in this agreement are for reference purposes only and shall not be 
construed as having any interpretative value in them, nor any indication as to the meaning of the 
contents of the paragraphs contained in this agreement. 
 
 
Thus done and signed  
 
on……………………………………… 
 
…………………………………………… 
for and on behalf of Eskom 
 
on ……………………………………… 
 
…………………………………………… 
for and on behalf of the Contractor. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 66 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 3 − CHECKLIST FOR ADMINISTRATIVE AND LEGAL 
REQUIREMENTS 


 
OHS Act section/ 


regulation 
Subject Requirements 


Construction 
regulation 3 


Notice of carrying 
out construction 
work 


Department of Labour notified 
Copy of notice available on site 


General admin. 
regulation 4 


*Copy of OH&S Act 
(Act 85 of 1993) 


Updated copy of Act and regulations on site 
Readily available for perusal by employees 


COID Act,  
section 80 


*Registration with 
compensat. insurer 


Written proof of registration/letter of good standing 
available on site 


Construction 
regulations 4 and 
5(1) 


SHE specification 
and programme  


SHE spec. received from Client and/or his Agent on his 
behalf 
OH&S programme developed and updated regularly 


Section 8(2)(d), 
construction 
regulation 7 


*Hazard 
identification and 
risk assessment 


Hazard identification carried out/recorded 
Risk assessment and plan drawn up/updated 
RA plan available on site 
Employees/Subcontractors informed/trained 


Section 16(2) *Assigned duties 
(managers) 


Responsibility of complying with the OH&S Act 
assigned to other person(s) by CEO  


Construction 
regulation 6(1) 


Designation of 
person responsible 
on site 


Competent person appointed in writing as 
Construction Supervisor with job description 


Construction 
regulation 6(2) 


Designation of 
assistant for above 


Competent person appointed in writing as 
Assistant Construction Supervisor with job description 


Sections 17 and 
18 
General 
administrative 
regulations 6 and 
7 


*Designation of 
Health and Safety 
Representatives 


More than 20 employees − one H&S Representative, 
one additional H&S Representative for every 50 
employees or part thereof 
Designation in writing, period and area of responsibility 
specified in terms of GAR 6 and 7  
Meaningful H&S Representative reports 
Reports actioned by management 


Sections 19 and 
20 
General 
administrative 
regulation 5 


*Health and Safety 
Committee(s) 


H&S Committee(s) established 
All H&S Representatives shall be members of H&S 
Committees 
Additional members are appointed in writing 
Meetings held monthly, minutes kept 
Actioned by management 


Section 37(1) and 
(2) 


*Agreement with 
mandatories/ 
(Sub)contractors 


Written agreement with (Sub)contractors 
List of (Sub)contractors displayed  
Proof of registration with compensation insurer/letter of 
good standing 
Construction Supervisor designated 
Written arrangements regarding H&S Representatives 
and H&S Committee  
Written arrangements regarding first aid 


Section 24 and 
general admin. 
regulation 8 
COID Act, 
sections 38, 39, 


*Reporting of 
incidents 
(Dept. of Labour) 


Incident Reporting Procedure displayed 
All incidents in terms of section 24 reported to the 
Provincial Director, Department of Labour, within three 
days (Annexure 1)(WCL 1 or 2) and to the Client and/or 
his Agent on his behalf 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 67 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


and 41 Cases of occupational disease reported 
Copies of reports available on site 
Record of first-aid injuries kept 


General Admin. 
regulation 9 


*Investigation and 
recording of 
incidents 


All injuries that resulted in the person receiving medical 
treatment other than first aid are recorded and 
investigated by investigator designated in writing 
Copies of reports (Annexure 1) available on site  
Tabled at H&S Committee meeting 
Action taken by site management 


Construction 
regulation 8 


Fall prevention and 
protection 


Competent person appointed to draw up and supervise 
the fall protection plan 
Proof of appointee’s competence available on site 
Risk assessment carried out for work at heights 
Fall protection plan drawn up/updated 
Available on site 


Construction 
regulation 8(5) 


Roof work Competent person appointed to plan and supervise roof 
work  
Proof of appointee’s competence available on site 
Risk assessment carried out 
Roof work plan drawn up/updated 
Roof work inspection before each shift; inspection 
register kept 
Employees medically examined for physical and 
psychological fitness; written proof on site 


Construction 
regulation 9 


Structures Information regarding the structure being erected 
received from the designer, including: 
- geoscience technical report where relevant; 
- the design loading of the structure; 
- the methods and sequence of construction; and 
- anticipated dangers/hazards/special measures to 
construct safely 
Risk assessment carried out 
Method statement drawn up 
All above available on site 
Structures inspected before each shift; inspections 
register kept 


Construction 
regulation 10 


Formwork and 
support work 


Competent person appointed in writing to supervise 
erection, maintenance, use, and dismantling of support 
and formwork 
Design drawings available on site 
Risk assessment carried out 
Support and formwork inspected: 
- before use/inspection; 
- before pouring of concrete; 
- weekly while in place; and 
- before stripping/dismantling 
Inspection register kept 


Construction 
regulation 14 


Scaffolding Competent persons appointed in writing to: 
- erect scaffolding (Scaffold Erector(s)); 
- act as Scaffold Team Leaders; and 
- inspect scaffolding weekly and after inclement weather 
(Scaffold Inspector(s)) 
Written proof of competence of above appointees 
available on site 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 68 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Copy of SABS 085 available on site  
Risk assessment carried out  
Inspected weekly/after bad weather; inspection 
register(s) kept 


Construction 
regulation 15 


Suspended 
platforms 


Competent persons appointed in writing to: 
- control the erection of suspended platforms;  
- act as Suspended Platforms Team Leaders; and 
- inspect suspended scaffolding weekly and after 
inclement weather  
Risk assessment conducted 
Certificate of authorisation issued by a registered 
professional engineer available on site/copy forwarded 
to the Department of Labour  
The following inspections of the whole installation 
carried out by a competent person: 
- After erection and before use 
- Daily prior to use  
Inspection register kept 
The following tests to be conducted by a competent 
person: 
- Load test of whole installation and working parts every 
three months 
- Hoisting ropes/hooks/load-attaching devices quarterly 
Tests logbook kept 
Employees working on suspended platform medically 
examined for physical and psychological fitness; written 
proof available 


Construction 
regulation 11 


Excavations Competent person(s) appointed in writing to supervise 
and inspect excavation work 
Written proof of competence of above appointee(s) 
available on site 
Risk assessment carried out  
Inspected: 
- before every shift; 
- after any blasting; 
- after an unexpected fall of ground; 
- after any substantial damage to the shoring; and 
- after rain  
Inspections register kept 
Method statement developed where explosives will be/ 
are used 


Construction 
regulation 12 


Demolition work Competent person(s) appointed in writing to supervise 
and control demolition work 
Written proof of competence of above appointee(s) 
available on site 
Risk assessment carried out  
Engineering survey and method statement available on 
site 
Inspections to prevent premature collapse carried out 
by competent person before each shift  
Inspection register kept 


Construction 
regulation 17 


Materials hoist Competent person appointed in writing to inspect the 
material hoist 
Written proof of competence of above appointee 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 69 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


available on site 
Materials hoist to be inspected weekly by a competent 
person  
Inspections register kept 


Construction 
regulation 19 


Explosive-powered 
tools 


Competent person appointed to control the issue of the 
explosive-powered tools and cartridges and the service, 
maintenance, and cleaning  
Register kept of above 
Empty cartridge cases/nails/fixing bolts returns recorded 
Cleaned daily after use  
Work areas are demarcated! 


Construction 
regulation 18 


Batch plants Competent person appointed to control the operation of 
the batch plant and the service, maintenance, and 
cleaning  
Register kept of above 
Risk assessment carried out 
Batch plant to be inspected weekly by a competent 
person  
Inspections register kept 


Construction.  
regulation 20/ 
driven machinery 
regulations 18 
and 19 


Cranes and lifting 
machines equipment 


Competent person appointed in writing to inspect 
cranes, lifting machines, and equipment 
Written proof of competence of above appointee 
available on site 
Cranes and lifting tackle identified/numbered 
Register kept for lifting tackle 
Logbook kept for each individual crane 
Inspection:  
- All cranes − daily by operator 
- Tower crane(s) − after erection/six-monthly 
- Other cranes − annually by competent person 
- Lifting tackle (slings/ropes/chain slings, etc.) − daily or 
before every new application 


 *Inspection and 
maintenance of 
electrical installation 
and equipment 
(including portable 
electrical tools) 


Competent person appointed in writing to inspect/test 
the installation and equipment 
Written proof of competence of above appointee 
available on site 
Inspections: 
- Electrical installation and equipment inspected after 
installation, after alterations, and quarterly  
Inspection registers kept 
Portable electric tools, electric lights, and extension 
leads must be uniquely identified/numbered 
Weekly visual inspection by user/issuer/storeman 
Register kept 


Construction 
regulation 26/ 
general safety 
regulation 8(1)(a) 


*Designation of 
Stacking and 
Storage Supervisor 


Competent person(s) with specific knowledge and 
experience designated to supervise all stacking and 
storage 
Written proof of competence of above appointee 
available on site 


Construction 
regulation 27/ 
environmental 
regulation 9 


*Designation of a 
person to coordinate 
emergency planning 
and fire protection 


Person(s) with specific knowledge and experience 
designated to coordinate emergency contingency 
planning and execution and fire prevention measures 
Emergency evacuation plan developed: 
- Drilled/practised  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 70 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


- Plan and records of drills/practices available on site 
Fire risk assessment carried out 
All fire-extinguishing equipment identified and in 
register 
Inspected weekly  
Inspection register kept 
Serviced annually 


General safety 
regulation 3 


*First aid Every workplace provided with sufficient number of first-
aid boxes (required where five persons or more are 
employed) 
First aid freely available 
Equipment as per the list in the OH&S Act 
One qualified first-aider appointed for every 50 
employees (required where more than 10 persons are 
employed) 
List of First-aid Officials and certificates  
Name of person(s) in charge of first-aid box(es) 
displayed 
Location of first-aid box(es) clearly indicated 
Signs instructing employees to report all  
injuries/illness, including first-aid injuries 


General safety 
regulation 2 


Personal safety 
equipment (PSE) 


PSE risk assessment carried out 
Items of PSE prescribed/use enforced 
Records of issue kept 
Undertaking by employee to use/wear PSE 
PSE remains property of employer; not to be removed 
from premises − GSR 2(4) 


General safety 
regulation 9 


*Inspection and use 
of welding/flame 
cutting equipment 


Competent person(s) with specific knowledge and 
experience designated to inspect electric arc, gas 
welding, and flame cutting equipment 
Written proof of competence of above appointee 
available on site 
All new vessels checked for leaks; leaking vessels NOT 
taken into stock, but returned to supplier immediately 
Equipment identified/numbered and entered into a 
register 
Equipment inspected weekly  
Inspection register kept 
Separate, purpose-made storage available for full and 
empty vessels 


Hazardous 
chemical 
substances 
(HCS) 
regulations/ 
construction 
regulation 23 


*Control of storage 
and usage of HCS 
and flammables 


Competent person(s) with specific knowledge and 
experience designated to control the storage and usage 
of HCS (including flammables) 
Written proof of competence of above appointee 
available on site  
Risk assessment carried out 
Register of HCS kept/used on site 
Separate, purpose-made storage available for full and 
empty containers 


Vessels under 
pressure 
regulations 
 


Vessels under 
pressure (VUP) 


Competent person(s) with specific knowledge and 
experience designated to supervise the use, storage, 
maintenance, statutory inspections, and testing of VUPs 
Written proof of competence of above appointee 
available on site 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 71 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Risk assessment carried out 
Certificates of manufacture available on site 
Register of VUPs on site 
Inspections and testing by approved inspection 
authority (AIA): 
- after installation/re-erection or repairs; and 
- every 36 months 
Register/log kept of inspections, tests, modifications, 
and repairs 


Construction 
regulation 21 


Construction 
vehicles and earth-
moving equipment 


Operators/drivers appointed to: 
- carry out a daily inspection prior to use; and 
- drive the vehicle/plant that they are competent to 
operate/drive 
Written proof of competence of above appointees 
available on site  
Record of daily inspections kept 


General safety 
regulation 13A 


*Inspection of 
ladders 


Competent person appointed in writing to inspect 
ladders 
Ladders inspected at arrival on site and weekly 
thereafter  
Inspections register kept 
Application of the types of ladders (wooden, aluminium, 
etc.) regulated by training and inspections and noted in 
register 


General safety 
regulation 13B 


Ramps Competent person appointed in writing to supervise the 
erection and inspection of ramps  
Inspection register kept 
Inspected daily and noted in register 


 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 72 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


ANNEXURE 4 − CHECKLISTS FOR TRAINING AND COMPETENCE 
REQUIREMENTS 


    


Subject Requirement 


*Company 
OH&S Policy 
(section 7(1)) 


Policy signed by CEO and published/circulated to employees 
Policy displayed on employee noticeboards 
Management and employees committed 


*Company/ 
Site OH&S 
Rules 
(section 
13(a)) 


Rules published 
Rules displayed on employee noticeboards 
Rules issued and employees effectively informed or trained:  written proof 
Follow-up to ensure that employees understand/adhere to the policy and rules 


*Induction 
and Task 
Safety 
Training 
(section 
13(a)) 


All new employees receive OH&S induction training 
Training includes task safety instructions 
Employees acknowledge receipt of training  
Follow-up to ensure that employees understand/adhere to instructions 


*General 
OH&S 
Training 
(section 
13(a)) 


All current employees receive specified OH&S training:  written proof 
Operators of plant and equipment receive specified training 
Follow-up to ensure that employees understand/adhere to instructions 


*Occupational 
Health and 
Safety 
Promotion 


Incident experience board indicating, for example: 
* number of hours worked without an injury; and  
* number of days worked without an injury 
Mission, vision, and goal 
Star grading − board kept up to date 
Safety posters displayed and changed regularly 
Employee noticeboard for OH&S notices 
Site OH&S competition 
Company OH&S competition 
Participation in regional OH&S competition 
Suggestion scheme 


 
 
 
 
 
 
 
 
 
 
 
 
 
 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 73 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
 


ANNEXURE 5 − CHECKLISTS FOR PUBLIC SAFETY, SECURITY 
MEASURES, AND EMERGENCY PREPAREDNESS REQUIREMENTS 


  


Subject Requirement 


*Notices and 
signs 


Notices and signs at entrances/along perimeters indicating “No Unauthorised 
Entry” 
Notices and signs at entrance instructing visitors and non-employees what to do, 
where to go, and where to report on entering the site/yard with directional signs, for 
example, “Visitors to report to Office” 
Notices and signs posted to warn of overhead work and other hazardous activities, 
for example, general warning signs 


* Site 
safeguarding 


Nets, canopies, platforms, fans, etc. to protect members of the public passing/ 
entering the site 


*Security 
measures 


Access control measures/register in operation 
Security patrols after hours during weekends and holidays 
Sufficient lighting after dark 
Guard has access to telephone/mobile/other means of emergency communication 


*Emergency 
preparedness 
 


Emergency contact numbers displayed and made available to Security and guard 
Emergency evacuation instructions posted on all noticeboards (including employees’ 
noticeboards) 
Emergency contingency plan available on site/in yard 
Doors open outwards/unobstructed 
Emergency alarm audible all over (including in toilets) 
Adequate number of employees trained to use firefighting equipment 
Emergency evacuation plan available, displayed, and practiced 
(See section 1 for designation and register) 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 74 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  


ANNEXURE 6 − CHECKLISTS FOR PPE REQUIREMENTS 


  


Subject Requirement 


*PPE needs 
analysis 


Need for PPE identified and prescribed in writing 
PPE remains property of employer; not to be removed from premises − GSR 
2(4) 


*Head protection All persons on site wearing safety helmets, including subcontractors and visitors 
(where prescribed)  


*Foot protection All employees on site wearing safety footwear, including gumboots for concrete/ 
wet work and non-slip shoes for roof work 
Visitors to wear same on request or where prescribed 


*Eye and face 
protection 


Eye and face (also hand and body) protection (goggles, face shields, welding 
helmets, etc.) used when operating the following: 
* Jack/kango hammers   
* Angle/bench grinders 
* Electric drills (overhead work into concrete/cement/bricks) 
* Explosive-powered tools 
* Concrete vibrators/pokers 
* Hammers and chisels 
* Cutting/welding torches 
* Cutting tools and equipment 
* Guillotines and benders 
* Shears 
* Sanders and sanding machines 
* CO2 and arc welding equipment 
* Skill/bench saws 
* Spray-painting equipment, etc. 


*Hearing 
protection 


Hearing protectors (muffs, plugs, etc.) used when operating the following: 
* Jack/kango hammers 
* Explosive-powered tools  
* Wood/aluminium working machines, for example, saws, planers, routers 


*Hand protection Protective gloves worn by employees handling/using the following: 
* Cement/bricks/steel/chemicals 
* Welding equipment 
* Hammers and chisels 
* Jack/kango hammers, etc. 


*Respiratory 
protection 


Suitable/efficient prescribed respirators worn correctly by employees handling/ 
using the following: 
* Dry cement 
* Dusty areas 
* Hazardous chemicals 
* Angle grinders  
* Spray painting, etc. 


*Fall prevention 
equipment 


Suitable fall arrest/fall protection equipment correctly used by persons working at 
height, for example: 
* Scaffolding 
* Riggers 
* Lift shafts 
* Edge work 
* Ring beam edges, etc. 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 75 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Other methods of fall prevention applied, for example, catch nets 


*Protective 
clothing 


All jobs requiring protective clothing (overalls, rain wear, welding aprons, etc.) 
identified and clothing worn 


*PPE issue and 
control 


Identified equipment issued free of charge 
All PPE maintained in good condition (regular checks) 
Workers instructed in the proper use and maintenance of PPE 
Commitment obtained from wearer accepting conditions and to wear the PPE 
Record of PPE issued kept in H&S file 
PPE remains property of employer; not to be removed from premises − GSR 
2(4) 


  
  


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 76 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  


 


ANNEXURE 7 − CHECKLISTS FOR HOUSEKEEPING REQUIREMENTS 


 
Subject  Requirement 


*Scrap removal system All items of scrap/unusable offcuts/rubble and redundant material 
removed from working areas on a regular basis (daily) 
Scrap/waste removal from heights by chute/hoist/crane 
Nothing thrown/swept over sides 
Scrap disposed of in designated containers/areas 
Removal from site/yard on a regular basis 


*Stacking and storage 
 
 
 
 
 
 
 
 
 
 
(See section 1 for 
designation and 
register) 


Stacking: 
* Stable, on firm, level surface/base 
* Prevent leaning/collapsing 
* Irregular shapes bonded 
* Not exceeding three times the base 
* Stacks accessible 
* Removal from top only 
Storage: 
* Adequate storage areas provided 
* Functional – for example, demarcated storage areas/racks/bins, etc. 
* Special areas identified and demarcated, for example, flammable gas, 
cement, etc. 
* Neat, safe, stable, and square 
* Store/storage areas clear of superfluous material 
* Storage behind sheds, etc. neat/under control 
* Storage areas free from weeds, litter, etc. 


*Waste control/ 
reclamation 


Reusable offcuts and other reusable material removed daily and kept to 
a minimum in the work areas 
All reusable materials neatly stacked/stored in designated areas (nails 
removed/bent over in reusable timber) 
Issue of hardware/nails/screws/cartridges, etc. controlled and return of 
unused items monitored 


*Subcontractors 
(housekeeping) 


Subcontractors required to comply with housekeeping requirements 


 
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 77 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  
  
  


ANNEXURE 8 − CHECKLISTS FOR WORKING AT HEIGHTS 
REQUIREMENTS ((iinncclluuddiinngg  rrooooff  wwoorrkk)) 


  
Subject Requirement 


**OOppeenniinnggss  Unprotected openings adequately guarded/fenced/barricaded/catch nets installed  


  Roof work discontinued when bad/hazardous weather 
Fall protection measures (including warning notices) when working close to edges 
or on fragile roofing material 
Covers over openings in roof of robust construction/secured against displacement  


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 78 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  
  
  


ANNEXURE 9 − CHECKLISTS FOR SCAFFOLDING/FORMWORK/ 
SUPPORT WORK REQUIREMENTS 


 


Subject Requirement 


*Access/system 
scaffolding 
 
 
 
 
 
 


Foundation firm/stable  
Sufficient bracing 
Tied to structure/prevented from side or cross movement 
Platform boards in good condition/sufficient/secured 
Handrails and toe boards provided 
Access ladders/stairs provided 
Area(s) under scaffolding tidy 
Safe/unsafe for use signs 
Complying with OH&S Act/SABS 085 


*Free-standing 
scaffolding 


Foundation firm/stable  
Sufficient bracing 
Platform boards in good condition/sufficient/secured 
Handrails and toe boards provided 
Access ladders/stairs provided 
Area(s) under scaffolding tidy 
Safe/unsafe for use signs 
Height to base ratio correct 
Outriggers used/tied to structure where necessary 
Complying with OH&S Act/SABS 085 


*Mobile 
scaffolding 


Foundation firm/stable  
Sufficient bracing 
Platform boards in good condition/sufficient/secured 
Handrails and toe boards provided 
Access ladders/stairs provided 
Area(s) under scaffolding tidy 
Safe/unsafe for use signs  


*Mobile 
scaffolding 


Wheels/swivels in good condition 
Brakes working and applied 
Height to base ratio correct 
Outriggers used where necessary 
Complying with OH&S Act/SABS 085 


*Suspended 
scaffolding 


Outriggers securely supported and anchored 
Correct number of steel wire ropes used 
Platform as close as possible to the structure 
Handrails on all sides 
All winches/ropes/cables/brakes inspected regularly and replaced as prescribed 
Scaffolding complies with OHS Act (Act 85/93) 
Winch(es) maintained by competent person(s) 


*Formwork/ 
support work 


All components in good condition 
Foundation firm/stable 
Adequate bracing/stability ensured 
Good workmanship/uprights straight and plumb 
Good cantilever construction 
Safe access provided 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 79 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Areas under support work tidy 
Same standards as for system scaffolding 


*Special 
scaffolding 


Special scaffolding, for example, cantilever, jib, and truss-out scaffolds erected to 
an acceptable standard and inspected by specialists 


*Edges and 
openings 


Edges barricaded to acceptable standards 
Manhole openings covered/barricaded 
Openings in floor/other openings covered, barricaded/fenced 
Stairs provided with handrails 
Lift shafts barricaded/fenced off 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 80 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  


ANNEXURE 10 − CHECKLISTS FOR LADDERS  


  


Subject Requirement 


*Physical 
condition/use and 
storage 
 
 
 
 


Stepladders − hinges/stays/braces/stiles in order 
Extension ladders − ropes/rungs/stiles/safety latch/hook in order 
Extension/straight ladders secured or tied at the bottom/top 
No joined ladders used 
Wooden ladders are never painted, except with varnish 
Aluminium ladders NOT to be used with electrical work 
All ladders stored on hooks/racks and not on ground 
Ladders protrude 900 mm above landings/platforms/roof 
Fixed ladders higher than 5 m have cages/fall arrest system 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 81 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  


ANNEXURE 11 − CHECKLISTS FOR SAFETY AND SWITCHING 
PROCEDURES 


  
EElleeccttrriicciittyy  ((aass  ppaarrtt  ooff,,  oorr  aaddddiittiioonnaall  ttoo,,  tthhee  mmaannuuaall  ““SSaaffeettyy  aanndd  SSwwiittcchhiinngg  PPrroocceedduurreess  
ffoorr  EElleeccttrriiccaall  IInnssttaallllaattiioonnss””  −−  sseeee  aattttaacchheedd  ddooccuummeenntt))    


Subject Requirement 


*Electrical 
distribution 
boards and earth 
leakage  


Colour-coded/numbered/symbolic sign displayed 
Area in front kept clear and unobstructed 
Fitted with inside cover plate/openings blanked off/no exposed “live” conductors/ 
terminals/door kept closed 
Switches/circuit breakers identified 
Earth leakage protection unit fitted and operating  
Tested with instrument:  test results within 15 to 30 milliamps 
Aperture/opening(s) provided for the plugging in and removal of extension leads 
without the need to open the door 
Apertures and openings used for extension leads to be protected against the 
elements and, especially, rain 


*Electrical 
installations and 
wiring 


Temporary wiring/extension leads in good condition/no bare or exposed wires 
Earthing continuity/polarity correct: 
Looking at the open connectors to connect the wiring, the word “brown” 
has the letter ‘R’ in it, so the b‘R’own wire connects to the ‘R’ight-hand 
connector.  “Blue” has the letter ‘L’ in it, so the b‘L’ue wire connects to the 
‘L’eft-hand connector 
Cables protected from mechanical damage and moisture 
Correct loading observed, for example, no heating appliance used from lighting 
circuit, etc. 
Light fittings/lamps protected from mechanical damage/moisture 
Cable arrestors in place and used inside plugs 


*Physical 
condition of 
electrical 
appliances and 
tools 


Electrical equipment and tools: (this includes all items plugging into a 16 amp 
supply socket)  
Insulation/casing in good condition 
Earth wire connected/intact where not of double insulated design 
Double insulation mark indicates that no earth wire is to be connected 
Cord in good condition/no bare wires/secured to machine and plug 
Plug in good condition, connected correctly, and correct polarity 


  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 82 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 12 − CHECKLISTS FOR EMERGENCY AND FIRE 
PREVENTION AND PROTECTION REQUIREMENTS 


 


Subject Requirement 


*Fire-extinguishing 
equipment 
 
 
 
 


Fire risks identified and on record 
The correct and adequate fire-extinguishing equipment available for the 
following: 
* Offices 
* General stores 
* Flammable store 
* Fuel storage tank(s) and catchment well 
* Gas welding/cutting operations 
* Where flammable substances are being used/applied 
* Equipment easily accessible 


*Maintenance Fire equipment checked minimum monthly, serviced yearly 


*Location and 
signs 


Fire-extinguishing equipment: 
* Clearly visible  
* Unobstructed 
* Signs posted including “No Smoking”/“No Naked Lights” where required 
(Flammable store, gas store, fuel tanks, etc.) 


*Storage, issue, 
and control of 
flammables (incl. 
gas cylinders) 


Storage area provided for flammables with suitable doors, ventilation, bund, etc. 
Flammable store neat/tidy and no Class A combustibles  
Decanting of flammable substances carried out in ignition-free and adequately 
ventilated area  
Container bonding principles applied  
Only sufficient quantities issued for one task or one day’s usage 
Separate, special gas cylinder store/storage area 
Gas cylinders stored/used/transported upright and secured in trolley/cradle/ 
structure and ventilated 
Types of gas cylinders clearly identified as well as the storage area and stored 
separately 
Full cylinders stored separately from empty cylinders 
All valves, gauges, connections, threads of all vessels to be checked regularly 
for leaks 
Leaking acetylene vessels to be returned to the supplier IMMEDIATELY 


*Storage, issue, 
and control  of 
hazardous 
chemical 
substances (HCS)  
  


HCS storage principles applied:  products segregated 
Only approved, non-expired HCS to be used 
Only the prescribed PPE shall be used as the minimum protection 
Provision made for leakage/spillage containment and ventilation 
Emergency showers/eye wash facilities provided 
HCS under lock and key controlled by designated person 
Decanted/issued in containers as prescribed with information/warning labels 
Disposal of unwanted HCS by accredited disposal agent 
No dumping or disposal of any HCS on or inside the storage area or anywhere 
else on the project site 
All vessels or containers to be regularly checked for leaks 


  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 83 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 


ANNEXURE 13 − CHECKLISTS FOR EXCAVATIONS  


  


Subject Requirement 


*Excavations 
deeper than 1.5 m 
 


Shored/braced to prevent caving/falling in 
Provided with an access ladder 
Excavations guarded/barricaded/lighted after dark in public areas 
Soil dumped at least 1 m away from edge of excavation 
On sloping ground, soil dumped on lower side of excavation 
All excavations are subject to daily inspections 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 84 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


  


ANNEXURE 14 − CHECKLISTS FOR TOOLS 


  


Subject Requirement 


*Hand tools Shovels/spades/picks: 
* Handles free from cracks and splinters 
* Handles fit securely 
* Working end sharp and true 
Hammers: 
* Good quality handles, no pipe or reinforcing steel handles 
* Handles free from cracks and splinters 
* Handles fit securely 
Chisels:  
* No mushroomed heads/heads chamfered 
* Not hardened 
* Cutting edge sharp and square 
Saws:     
* Teeth sharp and set correctly 
* Correct saw used for the job 


*Explosive-
powered tools 
 
 
 
 


Only used by trained/authorised personnel 
Prescribed warning signs placed/displayed where tool is in use 
Work area must be properly isolated/demarcated during use of tool 
Inspected at least monthly by competent person and results recorded 
Issue and return recorded, including cartridges/nails, and unused cartridges/ 
nails/empty shells recorded 
Cleaned daily after use 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 85 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 15 − CHECKLISTS FOR CRANES 


  


Subject Requirement 


*Tower crane 
 
 
 
 
 
 
 


Only operated by trained authorised operator with valid certificate of training 
Structure − no visible defects 
Electrical installation good/safe 
Crane hook:  throat pop marked/safety latch fitted/functional 
SWL/MML displayed 
Limit switches with back-up switches fitted/operational 
Access ladder fitted with backrests/fall arrest system installed 
Lifting tackle in good condition/inspection colour-coding 
Lifting tackle checked daily 


*Mobile crane 
 
 
 
 
 
 
 
 


Only operated by trained authorised operator with valid certificate of training  
Rear-view mirrors  
Windscreen visibility good 
Windscreen wipers operating effectively 
Indicators operational 
Hooter working 
Tyres safe/sufficient tread/pressure visibly sufficient 
No missing wheel nuts 
Headlights, taillights operational 
Reverse alarm working and audible and known by all employees 


*Mobile crane 
continued 
 
 
 
 
 
 
 
 
 


Grease nipples and grease on all joints 
No oil leaks 
Hydraulic pipes visibly sound/no leaks 
No corrosion on battery terminals 
Boom visibly in good condition/no apparent damage  
Cable/sheaves greased/no visible damage/split wires/corrosion and checked 
daily 
Brakes working properly 
Crane hook:  throat pop marked/safety latch fitted/functional 
SWL/MML displayed 
Bypass valves operational 
Deflection chart displayed/visible to operator/driver 
Outriggers functional/used 


*Gantry crane Only operated by trained authorised persons 
Correct slinging techniques used 
Recognised/displayed on chart signals used 
Logbook kept/up to date 
Prescribed inspections conducted on crane and lifting tackle and checked daily 
“Crane overhead” signage, where applicable 
Crane hook:  throat pop marked/safety latch fitted/functional 
SWL/MML displayed/load-limiting switches fitted/operational 


  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 86 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 16 − CHECKLISTS FOR BUILDER’S HOIST 


 


Subject Requirement 


*Builder’s hoist 
 
 
 
 
 
 
 
 


“Hoist in Operation” sign displayed 
General construction strong and free from patent defects 
Tower:   
* Adequately secured/braced 
* At least 900 mm available for over-travel 
* Barricaded at least 2 100 mm high at ground level and floors 
* Landing place provided with gate at least 1 800 high 
Platform:  
* No persons conveyed on platform 
* Steel wire ropes with breaking strength of six times maximum load 
* Signal systems used, which may include two-way radio connection 
* Goods prevented from moving/falling off 
* Effective brake capable of stopping and holding maximum load 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 87 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 17 − CHECKLISTS FOR TRANSPORT AND MATERIALS 
HANDLING EQUIPMENT  


  


Subject Requirement 


*Site vehicles All site vehicles, dumpers, bobcats, loaders, etc. checked daily before use by 
driver/operator 
Inventory of vehicles used/operated on site 
Inspection by means of a checklist/results recorded  
No persons riding on equipment not designed or designated for passengers 
Site speed limit posted, enforced, and not exceeded 
Drivers/operators trained/licensed and carrying proof 
No unauthorised persons allowed to drive/operate equipment  


*Conveyors Conveyor belt nip points and drive gear guarded 
Emergency stop/lever/brake fitted, clearly marked and accessible, and tested to 
be functional under full load 


  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 88 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 18 − CHECKLISTS FOR SITE PLANT AND MACHINERY 


  


Subject Requirement 


*Brick cutting 
machine 


Operator trained 
Only authorised persons use the machine 
Emergency stop switch clearly marked and accessible 
Area around the machine dry and slip/trip-free/clear of offcuts 
All moving drive parts guarded/electrical supply cable protected 
Operator using correct PPE − eye/face/hearing/foot/hand/body 


*Electric arc 
welder 


Welder trained 
Only authorised/trained persons use welder 
Earth cable adequately earthed to work 
Electrode holder in good condition/safe 
Cables, clamps, and lugs/connectors in good condition 
Area in which welding machine is used is dry/protected from wet 
Welder using correct PPE − eye/face/foot/body/respirator 
Correct transparent screens and warning signs placed 


*Woodworking 
machines 


Operators trained 
Only authorised persons use machines 
Provided with guards 
Guards used 
Operators using correct PPE − eye/face/feet/hearing 
Circular saws strictly operated according to prescribed methods and settings 
Only prescribed saw blades (cross-cut, ripping blade, smooth cut, aluminium) 
shall be used for various applications 


*Compressors Relief valves correctly set and locked/sealed 
Maximum safe working pressure (MSWP) indicated on face of pressure gauge, 
not on glass cover  
All drives adequately guarded 
Receiver/lines drained daily 
Hoses good condition/clamped, not wired 
Compressed air NEITHER used to dust off clothing/PPE/work areas NOR on 
bare skin 


*Concrete mixer/ 
batch plant 


Top platform provided with guardrails 
Dust abatement methods in use 
Operators using correct PPE − eye/hands/respirators 
All moving drive parts guarded 
Emergency stops identified/indicated and accessible 
Area kept clean/dry/and free from tripping and slipping hazards 
Operators overseer identified and crane signals displayed and used 


*Gas welding/ 
flame 
cutting equipment 


Only authorised/trained persons use the equipment 
Torches and gauges in good condition 
Flashback arrestors fitted at cylinders and gauges 
Hoses in good condition/correct type/all connections with clamps  
Cylinders stored, used, and transported in upright position, secured in trolley/ 
cradle/structure 
All cylinders regularly checked for leaks; leaking cylinders returned immediately 
Fire prevention/control methods applied/hot work permits 


  
  
  







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 89 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


ANNEXURE 19 − CHECKLISTS FOR PLANT AND STORAGE YARDS/SITE 
WORKSHOPS SPECIFICS  


  
Subject  Requirement  


Section 8(2)(1) 
General machinery 
regulation 2(1): 
supervision of the use 
and maintenance of 
machinery 


Person(s) with specific knowledge and experience designated in 
writing to supervise the use and maintenance of machinery 
Critical items of machinery identified/numbered/placed on 
register/inventory 
Inspection/maintenance schedules for above-mentioned 
Inspections/maintenance carried out to above schedules 
Results recorded 


General machinery 
regulation 9(2):  notices 
regarding operation of 
machinery 


Schedule D Notice posted in work areas 


Vessels under pressure 
regulation 13(1)(b): 
supervision of the use 
and maintenance of 
vessels under pressure 
(VUP) 


Person(s) with specific knowledge and experience designated in 
writing to supervise the use and maintenance of VUPs 
VUPs identified/numbered/placed on register/manufacturer’s plate 
intact 
Inspection/maintenance schedules for above-mentioned 
Inspections/maintenance carried out to above schedules 
Results recorded/test certificates available 


Lockout procedure Lockout procedure in operation 


Ergonomics Ergonomics survey conducted – results on record 
Survey results applied 


Demarcation and colour-
coding 


Demarcation principles applied 
All services, pipes, electrical installation, stop-start controls, 
emergency controls, etc. colour-coded to own published or SABS 
standard 
Employees trained to identify colour-coding 


Portable and bench 
grinders 


Area around grinder clear/trip/slip-free  
Bench grinders mounted securely/grinder generally in good 
condition/no excessive vibration 
On/off switch/button clearly demarcated/accessible 
Adequate guards in place 
Tool rest – secure/square/maximum 2 mm gap, perpendicular to 
drive shaft 
Stone/disk − correct type and size/mounted correctly/dressed 
Use of eye protection enforced 


Battery storage and 
charging 


Adequately ventilated, ignition-free room/area/“no smoking” 
sign(s) 
Batteries placed on rubber/wooden surface 
Emergency shower/eye wash provided 
No acid storage in area 
Prescribed methods in place and adhered to when charging 
batteries 


Ancillary lifting equipment Chain blocks/tirfors/jacks/mobile gantries, etc. identified/ 
numbered on register 
Chains in good condition/links no excessive wear/checked daily 
Lifting hooks – throat pop marked/safety latch fitted 
SWL/MML marked/displayed 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 90 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Presses/guillotines/shears Only operated by trained/authorised persons 
Interlocks/lockouts fitted/PPE worn or used at all times 


  
  


ANNEXURE 20 − CHECKLISTS FOR WORKPLACE ENVIRONMENT, 
HEALTH, AND HYGIENE REQUIREMENTS 


  


Subject Requirement 


*Lighting Adequate lighting in places where work is being executed, for example, stairwells 
and basements 
Light fittings placed/installed causing no irritating/blinding glare 
Stroboscopic effect eliminated (not only reduced) where moving objects or 
machinery is used 


*Ventilation Adequate ventilation/extraction/exhausting in hazardous areas, for example, 
chemicals/adhesives/welding/petrol or diesel/motors running and in confined 
spaces/basements  


*Noise Tasks identified where noise levels exceed 85 dB at any one time 
All reasonable steps taken to reduce noise levels at the source 
Hearing protection used where noise levels could not be reduced to below 85 dB 


*Heat stress Measures in place to prevent heat exhaustion in heat stress problem areas, for 
example, steel decks, when the WBGT index reaches 30 (see environmental 
regulation 4) 
Cold drinking water readily available at all times 


*Ablutions Sufficient hygiene facilities provided − one toilet per 30 employees (national 
building regulations prescribe chemical toilets for construction sites) 
Toilet paper available 
Sufficient showers provided 
Facilities for washing hands provided 
Soap/cleaning agent available for washing hands 
Means of drying hands available 
Lock-up changing facilities/area provided 
Ablution facilities kept hygienic and clean 


*Eating/cooking 
facilities 


Adequate storage facilities provided 
Weather-protected eating area provided, separate from changing area  
Refuse bins with lids provided 
Facilities kept clean and hygienic  


*Pollution of 
environment 


Measures in place to minimise dust generation 
Accumulation or littering of empty cement pockets, plastic wrapping/bags, 
packing materials, etc. prevented 
Spillage/discarding of oil, chemicals, and dieseline into storm water and other 
drains or into existing or newly dug holes/cavities on site expressly prohibited 


*Hazardous 
chemical 
substances 
 
 


All substances identified and list available, for example, acids, flammables, 
poisons, etc. 
Material safety data sheets (MSDS) indicating hazardous properties and 
emergency procedures in case of incident on file and readily available 
Substances stored safely 
Expiry dates meticulously checked where applicable 


 
 
 
 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 91 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


 
 


ANNEXURE 21 − IMPORTANT LISTS AND RECORDS TO BE KEPT  


 
The following are lists of several records that are to be kept in terms of the construction 
regulations.  The lists are as follows: 
 


1 List of appointments 
2 List of record-keeping responsibilities 
3 Inspection checklist 


 
These lists and documents are to be used as a point of reference to determine which 
components of the Act would be applicable to a particular site or task or project, as was 
intended under paragraph 1 (“Preamble”) above. 
 
 
1.   LIST OF APPOINTMENTS 


ITEM REGULATION APPOINTMENT RESPONSIBLE 
PERSON 


1. 4(1)(c) Principal Contractor for each phase or 
project 


Client 


2. 5(3)(b)  Contractor Principal 
Contractor 


3. 5(11) Contractor Contractor 
4. 6(1) Construction Supervisor  Contractor 
5. 6(2) Construction Supervisor subordinates  Contractor 
6. 6(6) Health and Safety Officer   Contractor 
7. 7(1) Person to carry out risk assessment Contractor 
8. 7(4) Trainer/instructor Contractor 
9. 8(1)(a) Fall Protection Planner Contractor 


10. 10 (a) Formwork and Support Work Supervisor  Contractor 
11. 10(e) + (f) Formwork and Support Work Examiner Contractor 
12. 11(1) Excavation Supervisor Contractor 
13. 11(3)(b)(ii)(b) Professional Engineer or Technologist Contractor 
14. 11(3)(k) Explosives Expert Contractor 
15. 12(1) Supervisor Demolition Work Contractor 
16. 12(2) + (3) Demolition Expert Contractor 
17. 12(11) Explosives Expert Contractor 
18. 14(2) Scaffold Supervisor Contractor 
19. 15(1) Suspended Platform Supervisor Contractor 
20. 15(2)(c) Compliance Plan Developer Contractor 
21. 15(8)(c) Suspended Platform Expert Contractor 
22. 15(13) Outrigger Expert Contractor 
23. 17(8)(a) Material Hoist Inspector Contractor 
24. 18(1) Batch Plant Supervisor Contractor 
25. 18(7) Batch Plant Operator Contractor 
26. 19(2)(b) Power Tool Expert Contractor 
27. 19.2(g) (i) Power Tool Controller Contractor 
28. 20(f) Tower Crane Operator Contractor 
29. 21(1)(d)(i) Construction Vehicle and Mobile Plant 


Operator 
Contractor 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 92 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


30. 21(1)(j) Construction Vehicle and Mobile Plant 
Inspector 


Contractor 


31. 22(d) Temporary  Electrical Installations 
Inspector 


Contractor 


32. 22(e) Temporary Electrical Installations 
Controller  


Contractor 


33. 26(a) Stacking and Storage Supervisor Contractor 
34. 27(h) Fire Equipment Inspector Contractor 


 
 
2.   LIST OF RECORD-KEEPING RESPONSIBILITIES 
 
 
ITEM CR RECORD TO BE KEPT RESPONSIBLE 


PERSON 


1. 3(3) Notification to Provincial Director – Annexure A 
available on site 


Principal 
Contractor 


2. 4(3) Copy of Principal Contractor’s health and safety plan 
available on request 


Client 


3. 5(6) Copy of Principal Contractor’s health and safety plan 
as well as each Contractor’s health and safety plan 
available on request 


Principal 
Contractor 


4. 5(7) Health and safety file opened and kept on site 
(including all documentation required in terms of 
OHSA and regulations) available on request 


Every Contractor 


5. 5(8) Consolidated health and safety file handed to Client 
on completion of construction work; to include all 
documentation required in terms of OHSA and 
regulations and records of all drawings, designs, 
materials used, and similar information on structure 


Principal 
Contractor 


6. 5(9) Comprehensive and updated list of all contractors on 
site, the agreements between the parties, and the 
work being done 
Included in health and safety file and available on 
request  


Principal 
Contractor 


7. 6(7) Keep record on the health and safety file of the input 
by Construction Safety Officer [CR 6(7)] at design 
stage or on the health and safety plan 


Contractor 


8. 7(2) Risk assessment − available on site for inspection Contractor 
9. 7(9) Proof of health and safety induction training Every employee 


on site 
10. 8(3) Construction Supervisor [CR 6(1)] has latest updated 


version of fall protection plan [CR 8(1)] 
Contractor 


11. 9(2)(b) Inform Contractor in writing of dangers and hazards 
relating to construction work 


Designer of 
structure 


12. 9(3) All drawings pertaining to the design of structure on 
site available for inspection 


Contractor 


13. 9(4) Record of inspections of the structure [first two years 
– once every six months; thereafter − yearly] 
available on request 


Owner of 
structure 


14. 9(5) Maintenance records − safety of structure − available 
on request 


Owner of 
structure 


15. 10(d) Drawings pertaining to the design of formwork/ Contractor 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 93 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


support work structure − kept on site, available on 
request 


16. 11(3)(h) Record of excavation inspection − on site available 
on request 


Contractor 


17. 15(11) Suspended platform inspection and performance test 
records 
Kept on site; available on request 


Contractor 


18. 17(8)(c) Material hoist daily inspection entered and signed in 
record book kept on the premises 


Contractor 


19. 17(8)(d) Maintenance records for material hoist − available on 
site 


Contractor 


20. 18(9) Records of batch plant maintenance and repairs 
On site available for inspection 


Contractor 


21. 19(2)(g)(ii) Issuing and collection of cartridges and nails or studs 
(explosive-powered tools) recorded in register – 
recipient signed for receipt as well as return  


Contractor 


22. 21(1)(j) Findings of daily inspections (prior to use) of 
construction vehicles and mobile plant 


Contractor 


23. 22(d) Record of temporary electrical installation inspections 
[once a week] and electrical machinery [daily before 
use] in a register and kept on site 


Contractor 


24. 27(l) Fire evacuation plan Contractor 
 
 
 3.   INSPECTION CHECKLIST 
 
 


Employer particulars 
Employer:  
Registered name of enterprise:  
Trade name of enterprise:  
Company registration no.:  
SARS registration no.:  
UIF registration no.:  
COIDA registration no.:  
Relevant SETA for EEA purposes:  
Industry sector:  
Bargaining council:  
Contact person:  
Address of premises:  
Postal address:  
Telephone number:  
Fax number:  
Email address:   
Chief Executive Officer:  
Chief Executive Officer address:  
Competent person:  
Maximum power demand (in KW):  
Health and Safety Representatives:  
Activities, products manufactured, 
and services rendered: 


 


Raw materials, materials, and 
chemical/biological substances: 


 







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 94 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


Total number of employees:                 
 


Male:                              
Female: 


 
 
 


Contractor particulars 


Contractors:   
     


Site address:  


Contracts Manager:  


Managing Director:  


Competent persons:   


CR 14:  SCAFFOLDING:   


CR 15:  SUSPENDED SCAFFOLDING:   


CR 17(6):  MATERIAL HOIST(S):   


CR 18(1):  BATCH PLANT:   


CR 8(1)(a):  FALL PROTECTION:   


CR 11(1)(1):  EXCAVATION WORK:   


CR 12:  DEMOLITION WORK:   


CR 19(2)(b):  EXPLOSIVE-POWERED 


TOOLS 


  


CR 26(a):  STACKING    


 
 


INSPECTION 
SECTION/REGS ITEM CHECKED N/A YES NO 


 
  


 
APPOINTMENTS 


      


CR 6(1) Supervisor:       


CR 6(2) Assistant Supervisor:       


S 17(1) Health and Safety Representative: (ratio)       


S 19(1) Health and Safety Committees       


CR 12(1) Demolition Director       


   
DOCUMENTS 


      


GAR 9(1) Records of incidents       


GAR 4 Copy of the Act       


GAR 7  Safety reps report       


GAR 8 Safety Committee minutes       


DMR 18(7) Lifting machinery log (crane)       


CR 3(3) Notification of construction work       


CR 7(2) Risk assessment       


CR 7(9)(e) Proof of the health and safety induction training       


CR 11(13)(h) Inspection of excavation (records)       


CR 20(g) Crane operator medical certificate       


CR 21(11) Mobile plant operator medical certificate    







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 95 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


CR 18(9) Batch plant repairs and maintenance records       


CR 22(d) Temporary electrical installation record       


CR 5(7) Health and safety file       


CR 15(11) Suspended platforms' performance records       


CR 17(b) and (c ) Material hoists record book       


     


IMPROV.  
NOTICE 


Scaffolding logbook       


CR 21(1)(d)(ii) Medical certificate of fitness       


CR 21(1)(I) Construction vehicle and mobile plant register       


CR 22(d) Electrical installation and machinery register       


   
INCIDENTS 


     


GAR 8(1) S 24 Reported      


GAR 9(1) Recorded     
Investigated  
Action taken 


     


   
PUBLIC SITE 


     


FR 2(1) Sanitary facilities      


CR 28(1) (c) Changing facilities for each sex      


CR 25(d) Perimeter fence and no admittance      


CR 25(e) Overhead protection netting/falling objects      


NB Notice Pedestrian warning      


   
PERSONAL SAFETY EQUIPMENT 


     


  Items issued:      


GSR 2(3) Items required:      


S 23 (What is the payment on each item?)      


 
  


 
SAFETY PLANS 


    


   
FIRST AID 


   


GSR 3(6) Name(s) of first-aider(s):    


CR 4(1)(3) Client's health and safety specification      


CR 5 Principal Contractor’s SHE plan      


   
FIRE HAZARD AND PRECAUTIONS 


     


GSR 4 Flammables used, waste, hot work, diesel, fuel, gas      


ER 9(1) Portable extinguishers      


   
ELECTRICAL INSTALLATIONS AND MACHINERY 


     


 CR 22  Guarding and PPE to electrical installations      


   
ILLUMINATION 


     


ER 3(6) Dangerous places and signage as well      


  Housekeeping      


ER 6(2)(b), Clear space storage    







Manual For Developing A Construction Safety, 
Health, and Environmental Specification 


Unique identifier: 32-524 
 


 Revision: 0 
 Page: 96 of 96 
 


 


CONTROLLED DISCLOSURE 
 When downloaded from the EDS database, this document is uncontrolled, and the responsibility rests with the user  


to ensure that it is in line with the authorised version on the database. 


(c), (d) 


ER 6(3) Disposal of waste      


   
EXCAVATIONS 


     


CR 11(3)(l) Barricades (plus illumination!)      


CR 11(3)(c) Safe depth shoring/bracing      


CR 11(1)(a) Monitored      


CR 11(3)(h) Excavation inspection record      


     


   
GUARDING 


     


ER 6(2)(f) Floor openings (plus illumination!)      


  Floor slab sides, shafts (plus illumination!)      


  
 
SITE EQUIPMENT     


 


GSR 13A(a) Ladder condition, secured      


IMPROV Scaffold condition, secured      


  
Platforms number of boards condition − support 1.25 − 
toe boards     


 


IMPROV Handrails      


  
 
SITE MACHINES     


 


DMR 3(2)(3) Circulars, guards, riving knives      


DMR 2(a) Mixers guarded      


  
 
ELECTRIC POWER     


 


EMR 6(1) Supply board, condition EL relay test     
 


GMR 3(1) Condition of tools, leads, plugs, etc.      


  
 
LIFTING MACHINE/TACKLE     


 


DMR 18(8) Lifting of persons      


DMR 18(8) Condition, securing of load      


  
 
EXPLOSIVE-POWERED TOOLS     


 


CR 19(1) Safe use and storage      


IMPROV Warning notice      


  
 
ROOF WORK     


 


CR 8(1) Safety equipment and precautions      


CR 8(2) Fall protection plan      


CR 8(3) Updated fall protection plan      


  
 
ASBESTOS CEMENT   


 


AR 10(a)  Suitable tools    


 


WARNING:  under no circumstances shall any work of any nature whatsoever 
on any ASBESTOS material be undertaken unless the work is entrusted and 
mandated to a “REGISTERED ASBESTOS CONTRACTOR” in terms of the 
asbestos regulations [CR 12(9)]. 


 






_1342242790.doc
[image: image1.jpg]R Eskom








Eskom Holdings Limited (reg no:2002/015527/06) a juristic person incorporated in terms of the Company Laws of the Republic of South Africa, with its registered office at Megawatt Park, Maxwell Drive, Sandton

OCCUPATIONAL HEALTH AND SAFETY ACT, ACT 85 OF 1993


CONSTRUCTION REGULATION 4 (5) 


APPOINTMENT OF THE CLIENT AGENT


........................................................................................................ (Employer’s representative’s name)


I, ........................................................................... (Employer’s full name-represented by Line Manager) hereby appoint  ...................................................................... (Employer’s representative’s full name) as the agent responsible for  ........................................................................................... (Site address) to manage the construction work of................................................................................... (Description of construction work.) 


You shall ensure that all the requirements in terms of the Act and in particular in terms of the Construction Regulations are met. You shall also ensure that all appointed contractors comply with the requirements as stipulated in the Construction Regulations.


You shall also ensure that all the information and specifications to ensure that the construction work is carried out in a safe manner are carried over to all appointed contractors.


You shall further ensure that all records, registers and required lists are maintained and shall stop construction work upon identifying any non-compliance by any contractors; this includes stopping any work should the competency of the person carrying out such work be questionable.


This appointment is valid from ...................................................... (date) to the completion of the stipulated construction work.


………………………………...................





.................................


Signature of Employer - represented by Line Manager



Date


Kindly confirm your acceptance of this appointment by completing the following:


I, ...........................................................................................  (Employer’s representative’s full name) understand the implications of the appointment as detailed above and confirm my acceptance.


………………………………..................





.................................


Signature of Employer’s representative





Date


Eskom Holdings Limited (reg no:2002/015527/06) a juristic person incorporated in terms of the Company Laws of the Republic of South Africa, with its registered office at Megawatt Park, Maxwell Drive, Sandton

OCCUPATIONAL HEALTH AND SAFETY ACT, ACT 85 OF 1993


CONSTRUCTION REGULATION 4 (1) (c)


APPOINTMENT OF THE PRINCIPAL CONTRACTOR


.................................................................................................................. (Principal contractor’s name)


I,   ......................................................................... (Employer’s full name-represented by Line Manager) hereby appoint   .................................................................................... (Principal contractor’s full name) as the principal contractor responsible for   ....................................................................... (Site address) to carry out the construction work of   ................................................................................. (Description of construction work and if more than one principal contractor, area of responsibility.) 

You shall ensure that you meet all the requirements in terms of the Act and in particular in terms of the Construction Regulations. You shall also ensure that all contractors appointed by yourself and reporting to you comply with the requirements as stipulated in the Construction Regulations.


You shall also ensure that all the information and specifications to ensure that the construction work is carried out in a safe manner are carried over to all contractors appointed and reporting to you.


You shall further ensure that all records, registers and required lists are maintained and that all persons appointed to carry out tasks as stipulated by these regulations are competent and have the necessary resources to complete their tasks effectively in such a manner that health and safety is not in any manner compromised.


This appointment is valid from ......................................................... (date) to the completion of the stipulated construction work.


You shall submit a written weekly report on all shortfalls that have not been met in terms of these regulations. 


………………………………............






.................................


Signature of Employer - represented by Line Manager



Date


Kindly confirm your acceptance of this appointment by completing the following:


I,  .......................................................................................................... (Principal contractor’s full name) understand the implications of the appointment as detailed above and confirm my acceptance.


………………………………........






.................................


Signature of Principal contractor






Date


OCCUPATIONAL HEALTH AND SAFETY ACT, ACT 85 OF 1993


CONSTRUCTION REGULATION 5 (3) (b)


APPOINTMENT OF THE  CONTRACTOR


....................................................................................................................... (Sub-Contractor’s Name)


I,   ........................................................................................................ (Principal contractor’s full name) hereby appoint .................................................................................................... (Contractor’s full name) as the contractor responsible for ....................................................................................... (Site address) to carry out the construction work of ..................................................................................... (Description of construction work.) 

You shall ensure that you meet all the requirements in terms of the Act and in particular in terms of the Construction Regulations. You shall also ensure that all contractors appointed by yourself and reporting to you comply with the requirements as stipulated in the Construction Regulations.


You shall also ensure that all the information and specifications to ensure that the construction work is carried out in a safe manner are carried over to all contractors appointed and reporting to you.


You shall further ensure that all records, registers and required lists are maintained and that all persons appointed to carry out tasks as stipulated by these regulations are competent and have the necessary resources to complete their tasks effectively in such a manner that health and safety is not in any manner compromised.


This appointment is valid from .................................................................... (date) to the completion of the stipulated construction work.


You shall submit a written weekly report on all shortfalls that have not been met in terms of these regulations. 


………………………………..........





.................................


Signature of Principal contractor





Date


Kindly confirm your acceptance of this appointment by completing the following:


I,  ....................................................................................................................... (Sub-Contractor’s full name) understand the implications of the appointment as detailed above and confirm my acceptance.


……………………………….......





.................................


Signature of Sub-Contractor






Date

[image: image1.jpg][image: image2.jpg]R Eskom





_1342243880.xls
Sheet1

		ESKOM - EPWP - MONTHLY REGISTER OF WORKERS

				Month of report

				Contractor Name:

				Project name:						Note: Must be unique name (Don't use the same name for two projects

				Province:

				Total Project Expenditure for month:						Note: Invoice or contract amount

				Physical Outputs:						Note: (Km's line, no of Trfmr's, connections etc)

				Project number:						Note: Must be unique number (Don't use the same number for two projects

				Contract Number:

				Invoice Number:

				Project Start Date:

				Project End Date:

				Certified by Project Manager:

				Date of certification:

				Job creation								OR

		No		First Name		Initials		Last Name (Surname)		ID		Date of Birth		Gender 
(Male-M)
(Female-F)		Has Disability 
(Yes-Y)
(No-N)		Education Level		Start date		Number of days worked		Daily Wage		Total Wages for the Month

		Total:
30												Total
Male:0
Female:0		Total
Yes:0
No:0						0				0

		0		EXAMPLE		E		ONLY		7207135345088		1972-07-13		M		N		Not Known		Don’t fill in		18		120		2160

		1																								0

		2																								0

		3																								0

		4																								0

		5																								0

		6																								0

		7																								0

		8																								0

		9																								0

		10																								0

		11																								0

		12																								0

		13																								0

		14																								0

		15																								0

		16																								0

		17																								0

		18																								0

		19																								0

		20																								0

		21																								0

		22																								0

		23																								0

		24																								0

		25																								0

		26																								0

		27																								0

		28																								0

		29																								0

		30																								0



&R&P



Sheet2

		





Sheet3

		






_1346503499.pdf


pn/pf/format (0.1) 27Mar06/edit 3Apr06/edit 25May06/final 15Oct06/sign 28Nov06 


 
 


 


 
 


Policy  


 


Unique identifier: 32-94 


Document type: EPL 


Revision: 0 


Effective date: January 2007 


Total pages: 10 


Title: Safety, Health, and Environment 
(SHE) Policy 


Revision date: January 2010 
 


COMPILED BY FUNCTIONAL RESP AUTHORISED BY 
 
 
 
................................………. 
W Poulton 
General Manager, 
Corporate Sustainability 
and Chair, Sustainability 
Liaison Committee 


 
 
 
................................………. 
S Lennon 
Managing Director 
(Resources and Strategy 
Division) 


 
 
 
................................………. 
TS Gcabashe 
Chief Executive 
Eskom Holdings Limited 


Content 


 Page 


1  Introduction ...................................................................................................................................2 


2  Policy statement ...........................................................................................................................2 


3  Supporting clauses .......................................................................................................................3 


4  Authorisations ...............................................................................................................................7 


5  Revisions ......................................................................................................................................7 


6  Development team........................................................................................................................7 


7  Distribution....................................................................................................................................7 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 2 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


1  Introduction 


The strategic intent of Eskom Holdings Limited is to build the powerbase for sustainable growth and 
development − generating a sustainable foundation for growth and creating value for stakeholders and 
society, while reducing the safety, health, and environmental impact of our operations.  Through this 
policy, we commit ourselves to excellence in safety, health, and the environment and confirm to all 
employees, contractors, visitors, stakeholders, and the public that we will conduct our business in a 
caring, responsible manner.  We will implement sustainable strategies to develop and manage the 
entire electricity value chain so as to deliver high-quality, affordable electricity in a changing business, 
social, natural, and political environment, without compromising future sustainability. 


We will continuously advance our business practices in line with international best practice, legislative 
requirements, and corporate best practice innovations.  The implementation of this policy will be 
measured progressively to ensure sustainable excellence in safety, health, and environmental 
management.  Accountability for safety, occupational health, and environmental management will be 
held by the Board of Directors, including the Chief Executive.  Compliance with the Safety, Health, and 
Environment Policy and applicable regulations shall be the responsibility of every employee and 
contractor. 


2  Policy statement 


2.1  Policy principles (guiding principles by which we operate) 


• We are committed to safety, health, and environmental excellence and will conduct business with 
respect and care for people and the environment and, in so doing, will ensure that adequate 
resources are available for SHE management. 


• We believe that all injuries and occupational illnesses, as well as safety and environmental 
incidents, are preventable, and our goal for all is zero.  We will also promote off-the-job safety for 
all our employees. 


• We will engage key stakeholders, including employees and organised labour, on all elements of 
SHE issues.  


• We will continuously appraise our SHE performance with the objective of continuous sustainable 
improvement. 


• We will ensure that SHE is an integral part of our operations and that no operating condition, or 
urgency of service, can justify endangering the life of anyone or cause injury or damage to the 
environment. 


• Management in each business will be responsible for educating, training, and motivating 
employees and contractors in relation to SHE issues. 


• We will work with suppliers and customers to integrate SHE issues into their operations, and 
contractors working under our supervision, or on Eskom premises, will comply with this policy. 


• This policy will apply wherever Eskom operations exist or Eskom operates, including subsidiaries. 


• This policy will apply during the evaluation of all contracts, projects, and proposals. 


2.2  Policy 


Eskom, as a provider of energy and associated services, will: 


1. establish appropriate management systems to address safety, occupational health, and 
environmental issues with a view to minimising risk and ensuring duty of care and the 
management of pollution and environmental degradation, performance monitoring, and continuous 
improvement; 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 3 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


2. comply with all legislative and policy requirements and, in the absence of appropriate principles, 
set standards to meet the objectives of this policy; 


3. promote open communication on SHE issues with employees and all stakeholders; 


4. educate, train, motivate, and develop its employees in terms of occupational health, safety, and 
environmental issues; 


5. provide and maintain a safe and healthy work environment and protect individuals against risk 
associated with occupational health and safety arising out of Eskom’s business; and 


6. contribute towards sustainable development through cost-effective resource use and efficient 
production, distribution, and use of energy. 


Details relating to the implementation of these elements are included in Annexure A. 


2.3  Supporting documents 


Additional policies and procedures may be developed in support of the aims and objectives of this 
document and are seen as equal in stature.  Provisions of this document will apply to all policies 
developed in terms of this clause, except where specifically stated.  Controlled documents developed 
in terms of this clause are listed in Annexure B. 


3  Supporting clauses 


Index of supporting clauses 


3.1  Scope.........................................................................................................................................3 


3.2  Normative/informative references..............................................................................................4 


3.3  Definitions ..................................................................................................................................4 


3.4  Abbreviations .............................................................................................................................5 


3.5  Roles and responsibilities..........................................................................................................5 


3.6  Implementation ..........................................................................................................................6 


3.7  Process for monitoring...............................................................................................................6 


3.8  Related documents....................................................................................................................6 


 


Annexures 


Annexure A  Strategies for the implementation of the Safety, Health, and Environment 
(SHE) Policy .....................................................................................................................................8 


Annexure B  Supporting documents...............................................................................................10 


 


3.1  Scope 


3.1.1  Purpose 


This policy serves as the basis for environmental, occupational health, and safety management in the 
Eskom Group inside and external to South Africa and relevant subsidiaries and to ensure uniformity in 
the application thereof in all applicable operations. 


3.1.2  Applicability 


This policy shall apply throughout Eskom Holdings Limited and its divisions, subsidiaries, and entities 
wherein Eskom has a controlling interest, including identified contractors, suppliers and service 
providers, and customers of Eskom and Eskom subsidiaries, where significant impacts and risks may 
occur. 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 4 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


Where Eskom has significant influence in entities and/or operations, including instances where Eskom 
may be contractors, this policy will be applied in those areas directly under the control of Eskom, and 
due process will be followed to influence the entity or operation to comply with the requirements of this 
document. 


3.2  Normative/informative references 


Parties using this policy shall apply the most recent edition of the documents listed below: 


• The United Nations Global Compact 


• Constitution of the Republic of South Africa Act, No 108 of 1996 


• International Conventions, including but not limited to Basel, Kyoto, etc. 


• National legislation, including but not limited to NEMA, OHSA, and COID 


• SANS 14001: 2005, Environmental management systems − Specification with guidance for use 


3.3  Definitions 


3.3.1  Compliance audit:  any audit designed in such a way that it will measure/evaluate compliance 
with legal and Eskom requirements, including identified good practices. 


3.3.2  Contractor:  registered business or employer to whom a contract is awarded to conduct 
business on behalf of Eskom. 


3.3.3  Controlling interest: 


a) the ownership or control (directly or indirectly) of more than 50% (fifty per cent) of the voting share 
capital of the relevant undertaking; 


b) the ability to direct the casting of more than 50% (fifty per cent) of the votes exercisable at general 
meetings of the relevant undertaking on all, or substantially all, matters; or 


c) the right to appoint or remove directors of the relevant undertaking holding a majority of the voting 
rights at meetings of the Board on all, or substantially all, matters. 


3.3.4  Incident (environmental related):  "incident” means an unexpected sudden occurrence, 
including a major emission, fire, or explosion, leading to serious danger to the public or potentially 
serious pollution of, or detriment to, the environment, whether immediate or delayed. 


3.3.5  Environment:  the surroundings within which humans exist and that are made up of: 


i) the land, water, and atmosphere of the earth; 
ii) micro-organisms and plant and animal life; 
iii) any part or combination of (i) and (ii) and the interrelationships among and between them; 


and the physical, chemical, aesthetic, and cultural properties and conditions of the foregoing that 
influence human health and well-being. 


3.3.6  Event:  SHE happenings reported by BUs to groups and ELC, including all media and 
occurrences and issues in contravention of legislation and within legal parameters. 


3.3.7  Hazard:  means a source of, or exposure to, danger. 


3.3.8  Incident (occupational health and safety related):  undesired accidental event that results in 
injury, damage, or loss. 


3.3.9  Occupational health and safety:  includes occupational hygiene, occupational safety, 
occupational medicine, fire safety, and public safety and emergency preparedness. 


3.3.10  Pollution:  means any change in the environment caused by: 


i) substances; 
ii) radioactive or other waves; or 
iii) noise, odours, dust, or heat; 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 5 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


emitted from any activity, including the storage or treatment of waste or substances, construction, and 
the provision of services, whether engaged in by any person or an organ of state, where that change 
has an adverse effect on human health or well-being or on the composition, resilience, and 
productivity of natural or managed ecosystems or on materials useful to people, or will have such an 
effect in the future. 


3.3.11  Risk:  the probability that injury or damage will occur. 


3.3.12  Safety:  the management and control of associated risks to provide an environment that is safe 
for people to work in. 


3.3.13  Significant influence:  the power to participate in the financial and operating policy decisions 
of the entity, but not control over those policies. 


3.3.14  Subsidiary:  Eskom Enterprises and the line divisions, should they become incorporated, or 
any other company in which Eskom Holdings Limited is a holding company controlling a majority of the 
votes (that is, more than 50%). 


3.3.15  Sustainability:  the integration of sustainable development into business strategy, practices, 
and operations. 


3.3.16  Sustainable development:  meeting the needs of the present without compromising the ability 
of future generations to meet their own needs.  Sustainable development is also defined as the 
integration and consideration of three pillars, namely, economic, social, and environmental issues. 


3.4  Abbreviations 


3.4.1  BSC:  Board Sustainability Committee 


3.4.2  COID:  Compensation for Occupational Injuries and Disease 


3.4.3  ELC:  Environmental Liaison Committee 


3.4.4  ExCo SSC:  Executive Committee Sustainability Sub-committee 


3.4.5  GMCS:  General Manager Corporate Sustainability 


3.4.6  EXCO:  Executive Management Committee  


3.4.7  OHSA:  Occupational Health and Safety Act 


3.4.8  OHSLC:  Occupational Health and Safety Liaison Committee 


3.4.9  SHE:  Safety, Occupational Health, and Environment 


3.4.10  SLC:  Sustainability Liaison Committee 


3.4.11  CTAD:  Corporate Technical Audit Department 


3.4.12  BUs:  Business Units 


3.5  Roles and responsibilities 


3.5.1    The Chief Executive, as the Chief Safety Officer of Eskom, has the accountability to ensure 
that this policy is implemented. 


3.5.2 Managing Directors shall be responsible and accountable for the development, 
implementation, and performance of the appropriate SHE management systems in their 
respective divisions. 


3.5.3 The General Manager Corporate Sustainability (GMCS) shall establish mechanisms to ensure 
an Eskom coordinated and aligned approach to SHE management and shall ensure that 
issues relating to SHE performance are monitored and recorded.  All areas of the organisation 
shall report on sustainability issues, and the GMCS shall complement the assurance function 
provided by CTAD to the SLC, ExCo SSC, and the BSC. 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 6 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


3.5.4 Each business unit manager shall provide his/her Managing Director with the assurance that 
all SHE issues that are appropriate to his/her business are being addressed.  Each Managing 
Director will, in turn, provide the Chief Executive with a letter of assurance to this effect. 


3.5.5 Supervisors shall be responsible for SHE issues at work.  This primarily means the prevention 
of accidents and injury to staff, contractors, and visitors and prevention of damage to the 
environment.  It shall be the supervisors’ responsibility to issue clear and explicit working 
instructions and to ensure, through good supervision, that work is carried out in accordance 
with SHE rules, practices, and instructions. 


3.5.6 Supervisors who are responsible for SHE at a work site shall be trained accordingly.  
Managers shall satisfy themselves that this training is adequate and that the supervisors’ 
knowledge regarding SHE management is kept up to date. 


3.5.7 Employees have a duty as a condition of employment to reasonable care for their own safety 
and health and the safety and occupational health of their fellow workers and other persons 
who may be affected by their work. 


3.5.8 Employees and contractors shall report all incidents, near misses, unhealthy situations, unsafe 
acts and/or conditions, dangerous occurrences, legal contraventions, risks, pollution, etc. that 
come to their attention.  


3.5.9 Employees, contractors, and visitors shall wear all necessary personal protective equipment 
provided and ensure that it is kept in good condition. 


3.5.10 Each BU manager is to ensure that inspections and audits are conducted in the workplace to 
ensure SHE system success and to monitor effectiveness of safety programmes and 
continuous improvement. 


3.6  Implementation 


The implementation date is 1 January 2007. 


3.7  Process for monitoring 


Detailed monitoring requirements are through CTAD, the Environmental Liaison Committee, and the 
Occupational Health and Safety Liaison Committee. 


3.8  Related documents 


This policy works in conjunction with the Eskom Sustainability Strategy ESG 32-167.  It supersedes 
the following documents: 


• ESKPBAAD6, Environmental Management Policy 


• ESKPBABN0, Eskom Occupational Heath and Safety Policy 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 7 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


4  Authorisations 


This policy has been seen and accepted by: 


Name Designation 


TS Gcabashe Chief Executive 
B Nqwababa Finance Director 
EN Matya Managing Director (Generation Division) 
PJ Maroga Managing Director (Transmission Division) 
MM Ntsokolo Managing Director (Distribution Division) 
JA Dladla Managing Director (Key Sales and Customer Service Division) 
NL Angel Managing Director (External Relations Division) 
Dr SJ Lennon Managing Director (Resources and Strategy Division) 
ME Letlape Managing Director (Human Resources Division) 
PD Mbonyana Managing Director (Corporate Division) 
BA Dames Managing Director (Enterprises Division) 


5  Revisions 


Date Rev Remarks 


January 1995 5 Original number EVD1011. 


A policy with reference number ESKPBAAD6 was developed 
and published on the Eskom Documentation System. 


November 1997 6 ESKPBAAD6 was revised and published. 


March 2001 7 ESKPBAAD6 was revised and published. 


January 1995 0 A directive with reference number ESKADAAQ9 was 
developed and published on the Eskom Documentation 
System. 


July 1999 1 ESKADAAQ9 was revised and published. 


October 2003 0 ESKADAAQ9 was converted into a policy, allocated a new 
reference number ESKPBABN0, developed, and published. 


October 2005 0 The contents of policies ESKPBAAD6 and ESKPBABN0 
were revised and incorporated into one policy, which was 
reallocated reference number 32-94 in accordance with the 
Eskom documentation requirements. 


6  Development team 


This document has been developed on behalf of the Environmental Liaison Committee, the 
Occupational Health and Safety Liaison Committee, and the Sustainability Liaison Committee, 
members of which have contributed at all levels of development. 


7  Distribution 


This policy is a public document and shall be published on the Eskom external website.  Copies of the 
single-page summary of this policy, signed by the Chief Executive and Managing Directors, shall be 
displayed in strategic places. 


 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 8 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


Annexure A 


Strategies for the implementation of the Safety, Health, and Environment 
(SHE) Policy 


1 Establishing appropriate management systems to address safety, occupational health, 
and environmental issues with a view to minimising risk and ensuring continual 
improvement.  This will include the prevention of pollution and environmental 
degradation and, where sustainable, will be supported by: 


• ensuring compliance with SANS ISO 14001 or other appropriate quality standards; 


• integrating SHE issues into all aspects of the organisation; 


• determining, managing, and measuring the SHE impacts of Eskom activities; 


• monitoring, managing, and reporting incidents, accidents, and events; 


• setting and reviewing SHE performance targets; 


• ensuring that compliance audits are conducted; 


• ensuring the thorough investigation of accidents and incidents and taking appropriate 
corrective actions in case of deviations to prevent recurrence of similar incidents; 


• researching and instituting ways to improve SHE operations and impacts; 


• including environmental and safety considerations in procurement processes; 


• reporting on performance in terms of this policy; 


• benchmarking performance against other utilities; and 


• divisions will establish and implement procedures for identifying significant risks and 
impacts along the extended electricity value chain, as appropriate, in order to 
communicate and encourage continual improvement in SHE practices beyond the 
traditional boundaries of the Eskom group, for example, with contractors. 


2 Complying with all legislative and policy requirements and, in the absence of 
appropriate principles, setting standards to meet the objectives of this policy will be 
supported by: 


• ensuring that all legally required occupational health and safety and environmental 
factors and modern practices are taken into account in the design, construction, 
operation, and maintenance of all plant, machinery, equipment, and places of work; 


• taking best practice and local needs and conditions into account when setting 
standards; 


• while operating outside of South Africa (SA), local legislation or other mandatory 
standards will be applied if these exceed Eskom policy, without derogating from the 
local laws; 


• while operating outside of SA, where standards imposed by local legislation are lower 
that those specified by Eskom, Eskom standards and policies and SA legislation will 
be used, without derogating from the local laws; 


• in the absence of local legislative requirements while operating outside of SA, 
applying Eskom policy and South African legislative requirements to operations; 


• ensuring that the required statutory appointments are in place and that these 
appointees fulfil their duties in terms of the relevant legislation and standards; and 


• ensuring that incidents and events are reported to the necessary authorities as 
required by legislation and when appropriate. 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 9 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


Annexure A 
(concluded) 


3 Promoting open communication on SHE issues with employees and other stakeholders 
will be supported by: 


• communicating with employees, communities, and other concerned parties and 
stakeholders about Eskom’s SHE programmes and performance; and 


• publishing verified SHE-related information, including major incidents or legal 
contraventions, in the Eskom Annual Report. 


4 Educating, training, motivating, and developing its employees about safety, 
occupational health, and environment issues will be supported by:  


• ensuring that employees are aware of safety, occupational health, and environmental 
standards, rules, procedures, regulations, codes, and guidelines; 


• communicating on lessons learnt from incidents from a SHE perspective and revising 
procedures or policy where appropriate; 


• encouraging staff to develop a sense of SHE responsibility; and 


• giving due recognition to individuals and business units for exemplary occupational 
health, safety, and environmental performance. 


5 Providing and maintaining a healthy and safe work environment and protecting 
individuals against risk to occupational health and safety arising out of Eskom’s 
business will be supported by: 


• providing, evaluating, and maintaining all operational procedures and methods of work 
in the light of experience and new knowledge to proactively improve the management 
of occupational health, safety, and environmental risks; 


• ensuring that all the risks are identified and that measures are taken and implemented 
as may be reasonably practicable to eliminate or mitigate any hazard or potential 
hazard to employees before resorting to personal protective equipment; 


• maintaining discipline; and 


• ensuring that managers are accountable. 


6 Contributing to sustainable development through efficient resource use and efficient 
production, distribution, and use of energy will be supported by: 


• striving for cost-effective and efficient production, transport, and use of energy, by 
monitoring performance, setting targets, and highlighting the impact of inefficient 
operations; 


• promoting the efficient use of materials, products, and services; and 


• sharing lessons learnt and striving for continual improvement. 







Safety, Health, and Environment  Unique identifier: 32-94 
(SHE) Policy Revision: 0 
 Page: 10 of 10 
 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user to ensure it is in line  
with the authorised version on the website.   Note: This document has not been through the EDC processes prior to authorisation. 


Annexure B 


Supporting documents 


Following are policies and procedures developed in terms of paragraph 2.3: 


Policy/procedure  


• Climate Change Policy 


• Renewable Energy Policy  


• Land Policy  


• Environmental Procedure  


• Health and Safety documents  


 






_1342248687.pdf


SOUTHERN REGION 
TECHNICAL / SAFETY INSTRUCTION 


 
 
Date:  31st January 2007 Enquiries: Maryeen Maynard
 Tel: (043) 703-2547


TECHNICAL / SAFETY BULLETIN: SRTI03/2006 
 


TRANSPORTING PERSONS ON BACK OF VEHICLES 
 
PURPOSE: 
This instruction provides for Eskom’s requirements concerning the transportation of 
persons on the back of vehicles. 


BACKGROUND: 
Occupational Health and Safety Act requires that an employer provides safe working 
conditions and implicitly requires that transportation of staff to site is done so safely. 


However, Eskom has observed an increase in the number of contractor vehicle 
accidents/incidents with regards to the transportation of contractor employees to and from 
Eskom sites. The unsafe transportation of workers at the back of the contractors’ vehicles 
is the root cause of many of these accidents/incidents with resulting fatalities. In addition, 
vehicles not designed to carry passengers are being used to transport employees, tools and 
equipment simultaneously at the back of vehicles. 


ESKOM PROCEDURES AND SPECIFICATIONS: 
National 
As a result of the above, and now defined in the Eskom Vehicle and Driver Safety 
Management Procedure (32-93 December 2006), the employer (as defined in the Labour 
Relations Act 28 of 1956) is to assign specific or general duties, in order to implement and 
comply with vehicle safety, and is responsible for (among other things): 


 Ensuring that no employees, including contractor employees, when performing work 
for Eskom, will be transported in the back of open vehicles. There will be cases where 
exceptions may be allowed for practical reasons e.g. where vehicles are driven on 
site, at low speeds (less than 40km per hour) and proper seating and handrails have 
been provided. These exceptions will only be explicitly allowed after: 


o an assessment has been carried out indicating a very low risk; 


o mitigating factors have been identified to control the risk; 


o discussions and agreement at the Health and Safety Committee meeting; 







o these have been defined, and are contained in a formal written division or BU’s 
own policy, including the appropriate mitigating factors; 


o such a policy has been communicated to all employees and contractors; 


Such risk assessment reports, including the findings/outcomes, must be available at 
all times for audit purposes. 


 Ensuring that no employees, including contractor employees, when performing work 
for Eskom, will be transported in the back of vehicles closed by means of canopies, 
unless provided with proper seating and safety belts. 


Regional 
Further supplementing this procedure, the Eskom Southern Region’s Generic Health and 
Safety Specification for Contractors will require that the Principal Contractor refers to and 
complies with the requirements of the National Road Transport Regulations, 200 as well as 
CR 21(2) and no persons are to be transported at the back of vehicles unless the vehicle: 


 Is provided with a canopy with proper seating and safety belts;  


 Is driven on site at a low speed of less than 40km/hour and proper seating and 
handrails have been provided; 


And: 


 an assessment has been carried out indicating a very low risk; 


 mitigating factors have been identified to control the risk; 


 it has been discussed and agreed upon at a health and safety committee meeting; 


In addition, all vehicles are to be provided with a serviced portable fire extinguisher and a 
vehicle first aid kit at all times and tools and equipment are to be secured. 


REQUIREMENTS: 
Therefore, to summarise Eskom’s requirements, including from its consultants and 
contractors: 


1. All persons are to be transported to, from and on site under safe conditions. 


2. This shall include, but not be limited to the following: 


2.1. Where persons are transported at the back of vehicles, the vehicle is: 


2.1.1. to have a canopy, sufficiently secure and strong (e.g. with a roll cage), with 
proper seating and safety belts; or 


2.1.2. to be driven at low speeds, less than 40 kilometers per hour, and have 
proper seating and handrails; 


and the following procedure has to have been complied with: 


2.1.3. an assessment has been carried out indicating a very low risk; 


2.1.4. mitigating factors have been identified to control the risk; and 


2.1.5. these have been discussed and agreed upon at a health and safety 
committee meeting. 







2.2. All vehicles are to be provided with a serviced portable fire extinguisher and a 
vehicle first aid kit at all times. 


2.3. Tools, equipment, material and other similar items are to be properly separated 
and secured in all vehicles. 


RESPONSIBILITIES: 
Programme Management 


 Applications to deviate from the prescribed requirements or to be compensated in lieu 
of costs are to be tabled with the relevant Project Manager. 


Risk Management 
 Unauthorised exceptions or deviations to the above requirements are to be submitted to 


Risk Management. 


 Assessments of safe transportation of persons will form part of the RAS auditing 
process. 


Procurement 
 All future contracts or existing contracts that are modified are to include compliance 


with the above requirements.  


GENERAL: 
 The above in no way diminishes or detracts from the responsibility of the 


employer/contractor to provide generally safe transportation of persons.  


 Implementation of the above requirements is with immediate effect. 


 All future contracts will explicitly or by implication require compliance with the above 
requirements.  


 Eskom will have a zero tolerance approach to any contractor found contravening 
Eskom’s stance indicated above. Should they be found to be in contravention of the 
above requirements, Eskom reserves the right to treat it as breach of contract in terms 
of the relevant contract conditions.  


 


 
 
 
 
 






_1342242837.doc
[image: image1.jpg]R Eskom








WRITTEN AGREEMENT ON


OCCUPATIONAL HEALTH AND SAFETY


In accordance with the provisions of section 37(2)


of the Occupational Health and Safety Act 85 of 1993


AS ENTERED INTO AND BETWEEN


Eskom Holdings Limited (reg no:2002/015527/06)

(hereinafter referred to as “the Client”)


AND


………………………………………………..


(hereinafter referred to as “the Contractor”)

		Contractor details:



		Company name:



		Compensation Fund number:



		Address:



		Tel/fax numbers:



		Contact details:



		CEO:  tel. no.:

		E-mail:



		SHE Manager/Officer: tel. no.:

		E-mail:



		Site Manager:  tel. no.:

		E-mail:





    2. Reporting


2.1 The Contractor and/or his designated person appointed in terms of section 16(2) of the Occupational Health and Safety Act, 85 of 1993 (“the OHS Act”), shall ensure that all access requirements of the Client of the Contractor are being complied with prior to access.


2.2 The Contractor shall ensure that the following are in place before commencing with any work or activities on the Client’s/ Principal Contractor’s premises:


a. This agreement is signed by both parties.


b. The Contractor’s health and safety plan is handed to, and approved by, the Principal Contractor.


c. All personnel have attended all relevant SHE induction/orientation.


d. A risk assessment was done on the work to be done and a copy handed to the Principal Contractor SHE Representative/Project Manager.


e. A permit to work is obtained for all work that requires a permit.


f. Access requirements with regard to vehicles, personnel, machinery, articles, substances, etc. are complied with. 


g. All the required legal appointments are made, and copies are included in the Contractor’s health and safety plan.


3. Warranty of compliance


3.1 In terms of this agreement, the Contractor warrants that he agrees to the arrangements and procedures as prescribed by the Principal Contractor and as provided for in terms of section 37(2) of the Occupational Health and Safety Act 85 of 1993, as amended, and regulations (“the OHS Act”) for the purposes of compliance with the OHS Act.  


3.2 The Contractor acknowledges that this agreement constitutes an agreement in terms of section 37(2) of the OHS Act, whereby all responsibility for health and safety matters relating to the work the Contractor, his employees, and/or subcontractors are to perform on the premises shall be the obligation of the Contractor. 


3.3 The Contractor further warrants that he and/or his employees undertake to maintain such compliance with the OHS Act.  Without derogating from the generality of the above or from the provisions of the said agreement, the Contractor shall ensure that the clauses as described hereunder are at all times adhered to by himself and his employees.


3.4 The Contractor hereby undertakes to ensure that the health and safety of any other person on the premises are not endangered by the conduct and/or activities of all his employees while they are on the premises of the Client of the Principal Contractor.


4. Contractor an employer


The Contractor shall be deemed to be an employer in his own right while on the Client premises of the Principal Contractor.  In terms of section 16(1) of the OHS Act, the Contractor shall accordingly ensure that the requirements of the OHS Act are complied with by himself and/or his nominated Chief Executive Officer.


5. Appointments and training


5.1 The Contractor shall appoint competent persons as per section 16(2) of the OHS Act.  Any such appointed persons shall be trained on any occupational and safety matter and the OHS Act provisions pertinent to the work that is to be performed under their responsibility.  Copies of any appointments made by the Contractor shall be included in the health and safety plan and be provided to the Principal Contractor.


5.2 The Contractor shall further ensure that all his employees are trained on the health and safety aspects relating to the work and that they understand the hazards associated with such work being carried out on the Client’s premises.  Without derogating from the foregoing, the Contractor shall, in particular, ensure that all his users or operators of any materials, machinery, or equipment are properly trained and declared competent in the use of such materials, machinery, or equipment.


5.3 Notwithstanding the provisions of the above, the Contractor shall ensure that he, his appointed responsible persons, and employees are, at all times, familiar with the provisions of the OHS Act, as amended, and the regulations made under it, and that they comply with the provisions.


6. Supervision, discipline, and reporting


6.1 The Contractor shall ensure that all work is performed under strict supervision and that no unsafe or unhealthy work practices are permitted.  Discipline regarding health and safety matters shall be strictly enforced against any of his employees regarding non-compliance by such employees with any health and safety matters.


6.2 The Contractor shall further ensure that his employees report to him all unsafe or unhealthy work situations immediately after they become aware of the same and that he, in turn, immediately reports these to the Principal Contractor and/or his representative.


6.3 Contractors shall exercise strict supervision over industrial relations, ensure a sound industrial relations climate, and ensure compliance with all relevant labour legislation.  The control and management of misconduct and unacceptable behaviour shall include:


a. the use of abusive, derogatory, and offensive language;


b. racially-abusive language;


c. assault or threat of assault; and


d. sexual harassment.


7. Access to applicable legislation


The Contractor shall ensure that he has an updated copy of all applicable legislation and that this is accessible to his appointed responsible persons and employees.  


8. Cooperation


8.1 The Contractor and/or his responsible persons and employees shall provide full cooperation and information if and when the Principal Contractor or his representative inquires into occupational health and safety issues concerning the Contractor.  It is hereby recorded that the Principal Contractor and his representative shall, at all times, be entitled to make such inquiry.


8.2 Without derogating from the generality of the above, the Contractor and his responsible persons shall make available to the Principal Contractor and his representative, on request, all and any checklists and inspection registers required to be kept by him in respect of any of his materials, machinery, and equipment.


9. Work procedures


9.1 The Contractor shall be entitled to utilise the procedures, guidelines, and other documentation as used by the Principal Contractor for the purposes of ensuring a healthy and safe working environment.  The Contractor shall then ensure that his responsible persons and employees are familiar with and utilise the documents.


9.2 The Contractor shall implement and enforce safe work practices as required from him as an employer, and he shall ensure that his employees and subcontractors are made conversant with the contents of these practices and that they adhere to such procedures.


9.3 The Contractor shall ensure that work for which a permit is required is not performed by his employees or subcontractors prior to the obtaining of such a permit and that any changes to work methods described in the permit are approved by the permit issuer before changes are made.


10. Health and safety meetings


10.1
If required in terms of the OHS Act, the Contractor shall establish his own health and safety committee(s) and ensure that his employees, being the committee members, hold health and safety meetings as often as may be required by the Act.  


10.2
The Contractor is also required to attend monthly SHE meetings held by the Principal Contractor and to be represented by his SHE Official and Site Manager.


11. Compensation registration


The Contractor shall ensure that he has a valid registration with the Compensation Commissioner as required in terms of the Compensation for Occupational Injuries and Diseases Act 130 of 1993 and that all payments owing to the Commissioner are discharged.  The Contractor shall further ensure that the cover shall remain in force while any such employee is present on the premises.


12. Medical examinations


The Contractor shall ensure that all his employees undergo routine medical examinations and that they are medically fit for the purpose of the work they are to perform.


13. Incident reporting and investigation


13.1 All incidents referred to in section 24 of the OHS Act shall be reported by the Contractor to the Department of Labour.  All incidents shall also immediately be reported to the Principal Contractor’s SHE Manager.  The Principal Contractor shall further be provided with copies of any written documentation relating to any incident.


13.2 The Principal Contractor retains an interest in the notification of any incident as described above, as well as in any formal investigation and/or inquiry conducted in terms of section 32 of the OHS Act into such incident.


14. Subcontractors


14.1 The Contractor shall notify the Principal Contractor of any Subcontractor he may wish to perform work on the Client’s premises.  It is hereby recorded that all the terms and provisions contained in this clause shall be equally binding on the Subcontractor prior to the Subcontractor commencing with the work.  Without derogating from the generality of this paragraph:


a. the Contractor shall ensure that training as discussed in point 5 above is provided prior to the Subcontractor commencing work on the Client’s premises;


b. the Contractor shall ensure that work performed by the Subcontractor is done under strict supervision and discipline as described in point 6 above;


c. the Contractor shall inform the Principal Contractor of any health and safety hazard and/or issue that the Subcontractor may have brought to his attention; and


d. the Contractor shall inform the Principal Contractor of any difficulty encountered with regard to compliance by the Subcontractor with any health and safety instruction, procedure, and/or legal provision applicable to the work the Subcontractor performs on the Client’s premises.


15. Security and Access

15.1 The Contractor and his employees shall only access and exit the premises through the checkpoint(s) designated by the Client.  The Contractor shall ensure that his employees observe the security rules of the Client at all times and shall not permit any person who is not directly associated with the work to enter the premises.


15.2 The Contractor and his employees shall not enter any area of the premises that is not directly associated with the work.


15.3 The Contractor shall ensure that all materials, machinery, or equipment brought by him onto the premises are registered at the checkpoint(s).  Failure to do this may result in a refusal by the Client to allow the materials, machinery, or equipment to be removed from the premises.


16. Fire Precautions and Facilities

16.1 The Contractor shall ensure that an adequate supply of fire protection and first-aid facilities is provided for the work to be performed on the Client’s premises, save that the parties may mutually make arrangements for the provision of such facilities.


16.2 The Contractor shall further ensure that all his employees are familiar with fire precautions at the premises, which include fire alarm signals and emergency exits, and that those precautions are adhered to.


17. Hygiene and Cleanliness

The Contractor shall ensure that the area where the work is performed is, at all times, maintained to reasonably practicable levels of hygiene and that he maintains the surrounding area of the work site to a reasonably practicable level of cleanliness.  In this regard, no loose materials shall be left lying around unnecessarily, and the work site shall be cleared of waste material regularly and on completion of the work.


18. No Nuisance

18.1 The Contractor shall ensure that neither he nor his employees undertake any activity that may cause environmental impairment or constitute any form of nuisance to the Client and/or his surroundings.


18.2 The Contractor shall ensure that no hindrance, hazard, annoyance, or inconvenience is inflicted on other Contractors, the Principal Contractor, or tenants.  Where such situations are unavoidable, the Contractor shall give prior notice to the Principal Contractor.


19. Intoxication not allowed

No intoxicating substance of any form shall be allowed on site.  Any person suspected of being intoxicated shall not be allowed on the site, save that any person required to take medication shall notify the relevant responsible person thereof, as well as the potential side effects of the medication.


20. Personal Protective Equipment

The Contractor shall ensure that his responsible persons and employees are provided with adequate personal protective equipment (PPE) for the work they may perform and in accordance with the requirements of general safety regulation 2(1) of the OHS Act.  The Contractor shall further ensure that his responsible persons and employees wear the PPE issued to them at all material times.


21. Plant, Machinery, and Equipment

21.1 The Contractor shall ensure that all the plant, machinery, equipment, and/or vehicles he may wish to utilise on the employer’s premises are, at all times, of sound order and fit for the purpose for which they are intended and that they comply with the requirements of section 10 of the OHS Act.


21.2 In accordance with the provisions of section 10(4) of the OHS Act, the Contractor hereby assumes the liability for taking the necessary steps to ensure that any article or substance that he erects or installs at the premises or manufactures, sells, or supplies is safe and without risks to health when properly used.


22. No usage of the Client’s Equipment

The Contractor hereby acknowledges that his employees shall not be permitted to use any materials, machinery, or equipment of the Client unless the prior written consent of the Client has been obtained, in which case the Contractor shall ensure that only those persons authorised to make use of the same have access thereto.


23. Transport


23.1 The Contractor shall ensure that all road vehicles used on the premises are in a roadworthy condition, are licensed, and are insured.  All drivers shall have relevant valid driver’s licences, and no vehicle shall carry passengers unless it is specifically designed to do so.  All drivers shall adhere to the speed limits and road signs on the premises.


23.2 In the event that any hazardous substances are to be transported on the premises, the Contractor shall ensure that the requirements of the Hazardous Chemical Substances Act, 15 of 1973 are complied with at all times.


24. Clarification


In the event that the Contractor requires clarification of any of the terms or provisions of this agreement, he should contact the SHE Manager of the Principal Contractor.


25. Duration of Agreement

This agreement shall remain in force for the duration of the work to be performed by the Contractor and/or while any of the Contractor’s workmen are present on the Client’s premises.


26. Headings

The headings as contained in this agreement are for reference purposes only and shall not be construed as having any interpretative value in them, nor any indication as to the meaning of the contents of the paragraphs contained in this agreement.


Thus done and signed: 


		for and on behalf of Eskom


.................................................

PRINT NAME

		..............................................

SIGNATURE

		...........................................

DATE





		for and on behalf of the Contractor


.................................................

PRINT NAME

		..............................................

SIGNATURE

		...........................................

DATE





PAGE  

1

Written Agreement Sect 37.2 OHS Act Apr10.doc



[image: image1.jpg]
_1342242681.doc
NOTIFICATION OF CONSTRUCTION WORK
Regulation 3 of the Construction Regulations, 2003


		



		



		
1.
(a)
Name and postal address of principal contractor:



		







		



		

(b)
Name and telephone number of principal contractor’s contact person:



		







		



		
2.
Principal contractor’s compensation registration number:



		






		



		
3.
(a)
Name and postal address of client:



		







		



		

(b)
Name and telephone number of client’s contact person or agent:



		







		



		
4.
(a)
Name and postal address of designer(s) for the project:



		







		



		

(b)
Name and telephone number of designer’s contact person:



		







		



		
5.
Name and telephone number of principal contractor’s construction supervisor on site appointed in terms of regulations 6 (1):



		






		



		
6.
Name/s of principal contractor’s sub-ordinate supervisors on site appointed in terms of regulation 6 (2):



		






		



		
7.
Exact physical address of the contruction site or site office:



		






		



		
8.
Nature of the construction work:



		






		






		






		



		
9.
Expected commencement date: 




		



		
10.
Expected completion date: 




		



		
11.
Estimated maximum numer of persons on the construction site:



		






		



		
12.
Planned number of contractors on the construction site accountable to principal contractor:



		






		



		
13.
Name(s) of contractors already chosen:



		






		






		






		



		



		


		

		




		Principal Contractor

		

		Date



		

		

		



		


		

		




		Client

		

		Date



		





•
THIS DOCUMENT IS TO BE FORWARDED TO THE OFFICE OF THE DEPARTMENT OF LABOUR PRIOR TO COMMENCEMENT OF WORK ON SITE.


•
ALL PRINCIPAL CONTRACTORS THAT QUALIFY TO NOTIFY MUST DO SO EVEN IF ANOTHER PRINCIPAL CONTRACTOR ON THE SAME SITE HAD DONE SO PRIOR TO THE COMMENCEMENT


