| List of desired items for the boardroom refurbishments |  |
| --- | --- |
| PICTURES | DESCRIPTION |
|  | ACCESS CONTROL biometric reader |
|  | 15 compartment steel cellphone lockers comprising of combination locks for each compartment therein |
|  | Bolted heavy-duty shelving, with solid pine decking. (2000mm H x 2000mm W x 600mm D) |
|  | Aluminum venetian blind, size to fit window with 25 x 0.21mm thick slats including 25 x 25mm high matching aluminum powder coated top and bottom tracks with stainless steel separator pins, cord locks and roller pins, blinds to be fitted inside reveal to lintel |
|  | Recessed low brightness luminaires with double parabolic louvres. Output to be min 3x14W T5 for 600x600mm fittings. |
|  | Wall mounted air conditioner |
|  | IP Dome Camera. To be monitored at the control room |
|  | Meeting room tables: Work top finish: 22mm particle board with Iceberg White Deacon Edging: Matching PVC flat edge 2mm Leg Frame: Metal |
|  | High back-office chairs: Back: Black netting |
|  | Aluminum shopfront at 1700mm wide passage inclusive of glazed and frosted Double door size 1200mm x 2850mm |
|  | Grade 304 stainless steel Rack and Cam pinion door closer with sliding track arm. Non handed with a maximum 180 degree non hold opening as standard. Power adjustable by spring, latching and damping action. |
|  | Kitchen space at the SCM Evaluation rooms (cupboards, sink, microwave, and boiler) |
|  | Noise reduction voice activated voice recorders |