Date: 2022-09-07

RFQ no: RFQ-ITSC-059552

Enquiries: MARGARET BALAKA

Tel: 13 753 7074

Email: BalakaG@arc.agric.za

RFQ closing date: 2022-09-16

Time: 11:00: AM

**Compulsory briefing Session:**

Date: 09/09/2022

Time: 13:00 PM

Venue: MASIA

**Address details**

**Delivery address**

**Name of institute: Institute for Tropical and**

**Subtropical Crops**

**ARC-ITSC**

Masia Community Centre

Residential address:

Stand number 277

Masia Tshikwarani

0944

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Description** | **Quantity** | **Unity** |
| **1** | Automation and wiring of Boreholes (Electrical cable from The solar grid to borehole-16mm3 core x270 (pump protection relay motoscope 2.2 kw, orange electrical box x 500 mm and COC) | **1** | **Ea.** |
| **2** | Borehole Pump , motor, control box 2.2 kw, HDP pipe (32mm X 200mm class 10), rope (SKI, Nylon 10mmx 200m) and fittings (base plate,3x32mm compression male adaptors,2x32mm galvanised elbow male and female, 4score 200m 6mm submersible cable ,x cable joint, 2x packets of cable ties,2x insulation tapes, 4x thread tapes) | **1** | **Ea.** |
| **3** | Borehole Cage 1,5 m (L) x 1,5 m (W) x 1,5 m (H) with lockable steel-lid of 4mm,see attached pictures for specification | **1** | **Ea.** |
| **4** | Refurbishment of 40kl elevated steel tank,see attached pictures | **1** | **Ea.** |
| **5** | Constructing reinforced boxed concrete tank stand 13 m (L) x3,5 m (W)X1m (H),see attached detailed specification | **1** | **Ea.** |
| **6** | Plumbing (Supply of water from the borehole to the 40kl elevated steel tank and to the nursery hpldings | **1** | **Ea.** |

Terms:

1. You are kindly requested to submit a written quotation to Agricultural

Research Council as per below or attached terms of reference (TOR􀍛s).

2. The above specified goods/services should be delivered/rendered to:

**Name of institute: Institute for Tropical and**

**Subtropical Crops**

Masia Community Centre

Residential address:

Stand number 277

Masia Tshikwarani

0944

3. The particulars of the guarantee that will apply to the goods quoted for,

With particular regard to the period and extent of the warranty must be

Clearly stated. Where services are required, service providers must submit

Documentation pertaining the relevant experience.

4. You’re written quotation must be deposited or email depending on the instructions given in the email.

5. All price quotations that have a rand value of R30, 000-00 to R1 000 000.00

Including VAT, will be evaluated by applying the 80/20 principle as

Prescribed by the Preferential Procurement Policy Framework Act 5 of

2000 and its Regulations. The lowest acceptable price will score

80 points:

PO Box 8783, PRETORIA, 0001

Tel: +27 (0)12-457-2000, Fax: VAT No: 4140125313

6. Standard conditions:

6.1 The validity of the quotations must be indicated.

6.2 Prices quoted should be in South African Rand and inclusive of VAT costs

Such as delivery, insurance, taxes, etc.

6.3 No price adjustments or amendment of the delivery particulars contained

In paragraph 2 will be considered by the ARC.

6.4 The supplier accepts full responsibility for the proper execution and

Fulfilment of the goods/services quoted for.

6.5 ARC reserves the right to accept or reject any special terms and

Conditions that may qualify the goods/services to be provided

6.6 Quotes should be submitted on an official letterhead and duly signed

6.7 Goods and services should be supplied/rendered upon receipt of a

Purchase order from the ARC

6.8 The General Conditions of Contract issued by National Treasury are

Applicable.

6.9 The ARC supply chain management code of conduct is applicable.

6.10 SBD Forms must be signed and returned together with the quotation if

Your price is above R10 000.00, failure to comply will result to

Disqualification of your quotation.

6.11 Only quotation from suppliers who are requested to quote shall be

Evaluated and considered.

6.12 Your quotation must indicate the delivery date.

6.13 The ARC reserve the right to do due diligence on the quotations.

6.14 The ARC reserve the right to benchmark prices quoted

Thank you in anticipation

Supply Chain Management: ARC