| ITEM | PAYMENT REFERS | DESCRIPTION | UNIT | QUANTIT Y | RATE R | AMOUNT R |
| --- | --- | --- | --- | --- | --- | --- |
|  | SABS | PRELIMINARY AND GENERAL |  |  |  |  |
|  | 1200 A |  |  |  |  |  |
|  | 8.3 | FIXED-CHARGE ITEMS |  |  |  |  |
| 1.1 | 8.3.1 | Contractual Requirements | Sum | 1 |  |  |
| 1.2 | 8.3.2 | Establish Facilities on the Site : |  |  |  |  |
|  |  | a) Facilities for Engineer (SABS 1200 AB) |  |  |  |  |
| 1.3 | PSAB | Nameboards | Sum | 1 |  |  |
| 1.4 | PSAB | Survey Facilities | Sum | 1 |  |  |
|  |  | b) Facilities for Contractor |  |  |  |  |
| 1.5 |  | Offices and storage sheds | Sum | 1 |  |  |
| 1.6 |  | Workshops | Sum | 1 |  |  |
| 1.7 |  | Laboratories | Sum | 1 |  |  |
| 1.8 |  | Living accommodation | Sum | 1 |  |  |
| 1.9 |  | Ablution and latrine facilities | Sum | 1 |  |  |
| 1.10 |  | Tools and equipment | Sum | 1 |  |  |
| 1.11 |  | Water supplies, electric power and communications | Sum | 1 |  |  |
| 1.12 |  | Dealing with water (Subclause 5.5) | Sum | 1 |  |  |
| 1.13 |  | Access (Subclause 5.8) | Sum | 1 |  |  |
| 1.14 |  | Plant | Sum | 1 |  |  |
| 1.15 |  | Allow for land surveyor to set out all structures, lines etc. | Sum | 1 |  |  |
| 1.16 | 8.3.3 | Other fixed-charge obligations | Sum | 1 |  |  |
| 1.17 | 8.3.4 | Remove Engineer's and Contractor's Site establishment | Sum | 1 |  |  |
|  |  | on completion |  |  |  |  |
| 1.18 | PA | All work to ensure compliance with the provisions of the | Sum | 1 |  |  |
|  |  | OSH Act 85 of 1993 and Regulations R1010 as published |  |  |  |  |
|  |  | in Government Gazette on 18 July 2003. This item shall |  |  |  |  |
|  |  | include all costs to provide a safety plan including the |  |  |  |  |
|  |  | mentoring thereof, auditing thereof and reporting to the |  |  |  |  |
| 1.19 | PB | All work to ensure compliance with the provisions of the | Sum | 1 |  |  |
|  |  | Environmental management plan. |  |  |  |  |
|  | 8.4 | TIME-RELATED ITEMS |  |  |  |  |
| 1.20 | 8.4.1 | Contractual Requirements | Sum | 1 |  |  |
| 1.21 | 8.4.2 | Operate and maintain facilities on the Site: |  |  |  |  |
|  | 8.4.2.1 | a) Facilities for Engineer for duration of construction |  |  |  |  |
|  |  | (SABS 1200 AB) |  |  |  |  |
|  | PSAB | Nameboards | Sum | 1 |  |  |
| 1.22 | PSAB | Survey Facilities | Sum | 1 |  |  |
| 1.23 | 8.4.2.2 | b) Facilities for Contractor for duration of construction, |  |  |  |  |
|  |  | except where otherwise stated |  |  |  |  |
| TOTAL CARRIED FORWARD |  |  |  |  |  |  |

| ITEM | PAYMENT REFERS | DESCRIPTION | UNIT | QUANTIT Y | RATE R | AMOUNT R |
| --- | --- | --- | --- | --- | --- | --- |
| TOTAL BROUGHT FORWARD |  |  |  |  |  |  |
| 1.24 |  | Offices and storage sheds | Sum | 1 |  |  |
| 1.25 |  | Workshops | Sum | 1 |  |  |
| 1.26 |  | Laboratories | Sum | 1 |  |  |
| 1.27 |  | Living accommodation | Sum | 1 |  |  |
| 1.28 |  | Ablution and latrine facilities | Sum | 1 |  |  |
| 1.29 |  | Tools and equipment | Sum | 1 |  |  |
| 1.30 |  | Water supplies, electric power and communications | Sum | 1 |  |  |
| 1.31 |  | Dealing with water (Subclause 5.5) | Sum | 1 |  |  |
| 1.32 |  | Access (Subclause 5.8) | Sum | 1 |  |  |
| 1.33 |  | Plant | Sum | 1 |  |  |
| 1.34 | 8.4.3 | Supervision | Sum | 1 |  |  |
| 1.35 | 8.4.4 | Company and head office overhead costs | Sum | 1 |  |  |
| 1.36 | 8.4.5 | Other time-related obligations | Sum | 1 |  |  |
| 1.37 | PA | All work to ensure compliance with the provisions of the | Sum | 1 |  |  |
|  |  | OSH Act 85 of 1993 and Regulations R1010 as published |  |  |  |  |
|  |  | in Government Gazette on 18 July 2003. This item shall |  |  |  |  |
|  |  | include all costs to provide a safety plan including the |  |  |  |  |
|  |  | mentoring thereof, auditing thereof and reporting to the |  |  |  |  |
|  |  | Engineer, on a regular basis. |  |  |  |  |
| 1.38 | PB | All work to ensure compliance with the provisions of the | Sum | 1 |  |  |
|  |  | Environmental management plan. |  |  |  |  |
|  |  | COMMUNITY LIASION OFFICER |  |  |  |  |
| 1.48 |  | Allowance for R 230 000 for CLO reimbursement. | PC | 1 | R110,000.00 | R110,000.00 |
| 1.49 |  | Attendance, charges, etc., on item 1.48 | % | 110000 |  |  |
| TOTAL FOR SECTION 1 CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

| ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 2 |  | WATER INTERVENTIONS - WARDS 1,10,11,16 & |  |  |  |  |
|  |  | 17 |  |  |  |  |
| 2.1 |  | BOREHOLES PUMP HOUSE STRUCTURE |  |  |  |  |
|  |  | Construction of Borehole Top Structure |  |  |  |  |
| 2.1.1 |  | Allow for all Manhole excavations, construction, lockable | no | 3 |  |  |
|  |  | steel cover and finishing. Complete as per the drawing |  |  |  |  |
| 2.2 |  | MECHANICAL & ELECTRICAL EQUIPMENT |  |  |  |  |
| 2.2.1 |  | Treat plant scheme for a single rising main | no |  |  | Rate Only |
| 2.2.2 |  | Supply and installation of two submersible pump capable | no | 3 |  |  |
|  |  | of pumping 8m3/hr at a head of 105m directly coupled to |  |  |  |  |
|  |  | 2.2KWH 3 phase motor, with pump suction inlet at 100m |  |  |  |  |
|  |  | metres below ground level including control panel, |  |  |  |  |
|  |  | electrodes, electrode cable, underground cables, float |  |  |  |  |
|  |  | switch and various installation accessories |  |  |  |  |
|  |  | DISTRIBUTION INFRASTRUCTURE, BULK & |  |  |  |  |
|  |  | RETICULATION NETWORK |  |  |  |  |
| 2.3 |  | SITE CLEARANCE |  |  |  |  |
|  |  | Site Clearance |  |  |  |  |
| 2.3.1 |  | Clear and grub vegetation and trees of girth up to 1m | m | 18000 |  |  |
|  |  | along the route of the mainline (within working servitude |  |  |  |  |
|  |  | and excluding trees to be relocated) |  |  |  |  |
| 2.4 |  | EARTHWORKS & BEDDING |  |  |  |  |
|  |  | EARTHWORKS (PIPE TRENCHES) |  |  |  |  |
|  |  | Excavation, in all materials for trenches 0,7m wide, |  |  |  |  |
|  |  | backfill, compact and dispose of surplus unsuitable |  |  |  |  |
|  |  | material, for pipes up to 160mm nominal diameter for the |  |  |  |  |
|  |  | following depths below. Rate to include for all temporary |  |  |  |  |
|  |  | works including benching, shoring and dewatering where |  |  |  |  |
|  |  | Over Up to and including |  |  |  |  |
| 3.4.1 |  | a) 0.0m 1.0m | m | 13500 |  |  |
| 3.4.2 |  | b) 1.0m 2.0m | m | 4500 |  |  |
| 3.4.3 |  | c) 2.0m 3.0m | m |  |  | Rate Only |
| 3.4.4 |  | Extra over Items for excavation in intermediate material | m3 |  |  | Rate Only |
| 3.4.5 |  | Extra over Items for excavation in hard rock | m3 |  |  | Rate Only |
| 3.4.6 |  | Hand excavation and backfill in soft material to prove | m3 |  |  | Rate Only |
|  |  | existing services to a maximum depth of 2m (Rate to |  |  |  |  |
|  |  | include for all temporary works including benching, |  |  |  |  |
|  |  | shoring and dewatering where necessary): |  |  |  |  |
| 3.4.7 |  | Excavate unsuitable material from trench bottom and | m3 |  |  | Rate Only |
|  |  | dispose |  |  |  |  |
|  |  | Make up deficiency in backfill material, |  |  |  |  |
| 3.4.8 |  | a) From other necessary excavations on site | m3 |  |  | Rate Only |
| 3.4.9 |  | b) From designated borrow pits | m3 |  |  | Rate Only |
| 3.4.10 |  | c) By importation from commercial sources | m3 |  |  | Rate Only |
| 3.4.11 |  | b) From designated borrow pits | m3 |  |  | Rate Only |
| 3.4.12 |  | c) By importation from commercial sources | m3 |  |  | Rate Only |
| TOTAL CARRIED FORWARD |  |  |  |  |  |  |

| ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| TOTAL BROUGHT FORWARD |  |  |  |  |  |  |
| 3.4.13 |  | d) By sieving from excavated materials | m3 |  |  | Rate Only |
|  |  | Unstable trench bottom |  |  |  |  |
| 3.4.14 |  | Supply and install 19 mm crushed stone | m3 |  |  | Rate Only |
| 3.4.15 |  | Supply and install geotextile filter blanket (Grade A6) | m2 |  |  | Rate Only |
|  |  | BEDDING |  |  |  |  |
|  |  | Provision of bedding from trench excavation of: |  |  |  |  |
| 3.4.16 |  | Selected fill and granular material | m3 |  |  | Rate Only |
|  |  | Provision of bedding from approved borrow pits |  |  |  |  |
|  |  | including all costs for additional handling and |  |  |  |  |
|  |  | transport. |  |  |  |  |
| 3.4.17 |  | Selected fill and granular material | m3 |  |  | Rate Only |
|  |  | Provision of bedding from commercial or off site |  |  |  |  |
|  |  | sources of. |  |  |  |  |
| 3.4.18 |  | Selected fill and granular material | m3 |  |  | Rate Only |
| 3.5 |  | PIPELINE |  |  |  |  |
|  |  | Supply, handle, lay, bed on bedding for flexible |  |  |  |  |
|  |  | pipes, join, test and disinfect, HDPE PE 100 potable |  |  |  |  |
|  |  | water pipeline, complete with Plasson or Magnum |  |  |  |  |
|  |  | Couplings, according to SABS ISO 4427 |  |  |  |  |
|  |  | HDPE Class 16 |  |  |  |  |
| 3.5.1 |  | 20mm dia. | m |  |  | Rate Only |
| 3.5.2 |  | 25mm dia. | m |  |  | Rate Only |
| 3.5.3 |  | 32mm dia. | m |  |  | Rate Only |
| 3.5.4 |  | 50mm dia. | m | 4500 |  |  |
| 3.5.5 |  | 63mm dia | m | 1500 |  |  |
| 3.5.6 |  | 90mm dia. | m | 2000 |  |  |
| 3.5.7 |  | 110mm dia. | m | 10000 |  |  |
|  |  | SPECIALS AND FITTINGS FOR PIPELINE |  |  |  |  |
|  |  | HDPE Fittings |  |  |  |  |
| 3.5.8 |  | 20mm dia. | No |  |  | Rate Only |
| 3.5.9 |  | 25mm dia. | No |  |  | Rate Only |
| 3.5.10 |  | 32mm dia. | No |  |  | Rate Only |
| 3.5.11 |  | 50mm dia. | No | 45 |  |  |
| 3.5.12 |  | 63mm dia. | No | 15 |  |  |
| 3.5.13 |  | 90mm dia. | No | 20 |  |  |
| 3.5.14 |  | 110mm dia. | No | 100 |  |  |
| 3.5.15 |  | Supply and install Standpipes, complete as detailed on the | No | 8 |  |  |
|  |  | drawings |  |  |  |  |
| 3.5.16 |  | Concrete supports to steel pipeline | No |  |  | Rate Only |
| TOTAL CARRIED FORWARD |  |  |  |  |  |  |

| ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| TOTAL BROUGHT FORWARD |  |  |  |  |  |  |
|  |  | Tanks |  |  |  | Rate Only Rate Only Rate Only Rate Only Rate Only Rate Only Rate Only Rate Only Rate Only R 8,000,000.00 |
| 3.5.17 |  | 10 000 Litre water storage Jojo tank including necessary | No |  |  |  |
|  |  | plumbing fittings and constructing the plinth complete |  |  |  |  |
|  |  | Construction of Tank Stand |  |  |  |  |
| 3.5.18 |  | Allow for all brick work, excavations, construction, and | No |  |  |  |
|  |  | finishing. Complete as per the drawing |  |  |  |  |
|  |  | Valves |  |  |  |  |
| 3.5.19 |  | Supply and install non return valve, complete as detailed | No |  |  |  |
|  |  | on the drawings |  |  |  |  |
| 3.5.20 |  | Scour valve chamber complete with valve and pipe fitting | No |  |  |  |
|  |  | and specials to detail as per drawing. Works include |  |  |  |  |
|  |  | excavation in all materials for Scour Valve chambers and |  |  |  |  |
|  |  | structure, backfill, compact and dispose of |  |  |  |  |
| 3.5.21 |  | Air valve chamber complete with valve and pipe fitting | No. |  |  |  |
|  |  | and specials to detail as per drawing. Works include |  |  |  |  |
|  |  | excavation in all materials for Scour Valve chambers and |  |  |  |  |
|  |  | structure, backfill, compact and dispose of |  |  |  |  |
|  |  | Markers |  |  |  |  |
| 3.5.22 |  | Pipeline markers for water line routes indication | No | 18 |  |  |
| 3.6 |  | STORAGE FACILITIES |  |  |  |  |
|  |  | Construction of 30kl including Tank Stand |  |  |  |  |
| 3.6.1 |  | Supply, install 30 kl capacity rectangular pressed steel | No |  |  |  |
|  |  | Tank with a 9m high stand including a bladder, walkway |  |  |  |  |
|  |  | and landing platforms. |  |  |  |  |
| 3.7 |  | ELECTRICAL AND MECHANICAL - SUPPLY AND |  |  |  |  |
|  |  | INSTALLATION |  |  |  |  |
| 3.7.1 |  | Allow for a complete installation of a Four Panel Solar | No |  |  |  |
|  |  | Panel Structure including foundation structure complete |  |  |  |  |
|  |  | with all necessary electrical installation as per the drawing |  |  |  |  |
| 3.8 |  | FENCING |  |  |  |  |
| 3.8.1 |  | Steel Palisade Fence around boreholes | Sum | 1 |  |  |
| 3.8.2 |  | Supply and Installation of Steel Palisade Fence around | Sum |  |  |  |
|  |  | Elevated JoJo |  |  |  |  |
| 3.8.3 |  | Steel Palisade Fence around 30KL Tank | Sum |  |  |  |
| 3.11 |  | WATER TREATMENT WORKS PLANT |  |  |  |  |
| 3.11.1 |  | Allow provisional sum for upgrading Mshudu plant to | Sum | 1 | R 8,000,000.00 |  |
|  |  | augment supply Masondo and Ndwangu |  |  |  |  |
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

| ITEM | DESCRIPTION | AMOUNT |
| --- | --- | --- |
| SECTION 1 SECTION 2 | PRELIMINARY AND GENERAL WATER INTERVENTIONS - WARDS 9 & 13 SUB-TOTAL 1 ADD CONTIGENCIES AT 10% SUT-TOTAL 2 ADD 15% VAT |  |
| TOTAL AMOUNT |  |  |