{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":117,"n_cols":3,"rows_kept":117,"merged":[[1,0,1,2],[23,0,23,2],[43,0,43,2],[63,0,63,2],[74,0,74,2],[90,0,90,2],[107,0,107,2]]}
["Description","Quantity","Cost (ex VAT)"]
["Telescope A - White Light Observations"]
["60mm Universal Telescope\nlunt LM60MT or exact equivalent",1]
["12mm blocking filter (diagonal)\nAccessory of Telescope A",1]
["6 inch dovetail bar \nAccessory of Telescope A",1]
["6 inch white light solar  wedge \nAccessory of Telescope A",1]
["Polarising Filter for white light wedge \nAccessory of Telescope A",1]
["Sol Searcher\nAccessory of Telescope A",1]
["Zoom eye-piece\nAccessory of Telescope A",1]
["Eye-piece set\nAccessory of Telescope A",1]
["1.5 inch, 90 degree star diagonal \nAccessory of Telescope A",1]
["2 inch feather touch focuser\nAccessory of Telescope A",1]
["174mm CMOS Monochrome Imaging Camera; accesorry of Telescope A\nZWO ASI 174 mm Camera – or exact equivalent",1]
["Electronic Automatic Focuser; accesorry of Telescope A\nZWO EAF - or exact equivalent",1]
["Other - as required"]
[]
[]
[]
[]
["TOTAL TELESCOPE A",null,"(ex VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["Telescopes B1 and B2 - Ha and CaK Observations"]
["80mm Universal Telescope\nlunt LM80MT or exact equivalent",2]
["18mm blocking filter (diagonal)\nAccessory of Telescopes B1 and B2",2]
["Dovetail bar and ring set assembly\nAccessory of Telescopes B1 and B2",2]
["Double Stack Filter\nAccessory of Telescope B1",1]
["CalciumK module B1800 2-inch diagonal\nAccessory of Telescope B1",1]
["0.8x Field Flattener\nAccessory of Telescope B1",2]
["Zoom eye-piece\nAccessory of Telescopes B1 and B2",2]
["2 inch feather touch focuser\nAccessory of Telescope B1 and B2",2]
["174mm CMOS Monochrome Imaging Camera; accesorry of Telescope B1 and B2\nZWO ASI 174 mm Camera – or exact equivalent",2]
["Electronic Automatic Focuser; accesorry of Telescope B1 and B2\nZWO EAF - or exact equivalent",2]
["Other - as required"]
[]
[]
[]
[]
["TOTAL TELESCOPES B1 and B2",null,"(ex VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["Telescope C - Ha Observations"]
["230mm Solar Telescope – Lunt LS230THa - or exact equivalent",1]
["B3400 Blocking Filter (Diagonal)",1]
["12 inch dovetail bar \nAccessory of Telescope C",1]
["Sol Searcher\nAccessory of Telescope C",1]
["Zoom eye-piece\nAccessory of Telescope C",1]
["2 inch feather touch focuser\nAccessory of Telescope C",1]
["174mm CMOS Monochrome Imaging Camera; accesorry of Telescope C\nZWO ASI 174 mm Camera – or exact equivalent",1]
["Electronic Automatic Focuser; accesorry of Telescope C\nZWO EAF - or exact equivalent",1]
["Cleaning Kits",5]
["Other - as required"]
[]
[]
[]
[]
[]
["TOTAL TELESCOPE C",null,"(ex VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["Mount and Accessories"]
["Centre Balanced Equatorial Mount - \niOptron  - CEM120 - or exact equivalent",1]
["Aluminium permanent pier - accessory of Equatorial Mount",1]
["Heavy duty tripod - accessory of Equatorial Mount ",1]
["Adapter(s) if required"]
[]
[]
["MOUNT & ACCESSORIES",null,"(ex VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["Critical Spares"]
["174mm CMOS Monochrome Imaging Camera; accesorry of Telescope C\nZWO ASI 174 mm Camera – or exact equivalent - spare cameras",2]
["Electronic Automatic Focuser; accesorry of Telescope C\nZWO EAF - or exact equivalent - spare auto focuser ",2]
["Centre Balanced Equatorial Mount - \niOptron  - CEM120 - or exact equivalent - spare mount",1]
["80mm Universal Telescope\nlunt LM80MT or exact equivalent - Spare of Telescope B",1]
["2-inch White Light Solar Wedge",1]
["18 mm Blocking Filter (Diagonal)",1]
["Calcium K module B1800 2-inch diagonal",1]
["Other - as required"]
[]
[]
[]
["SPARES",null,"(ex VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["Delivery"]
["Delivery of all goods to SANSA Hermanus (all inclusive)",2]
[]
[]
[]
[]
[]
[]
["DELIVERY",null,"(ex VAT)"]
[]
[]
["TOTAL (EX VAT)"]
["VAT"]
["TOTAL (INCL VAT)"]
[]
[]
["Description","Quantity","Cost (ex VAT)"]
["On-site Installation Support (Optional) – if bidder has the capability to provide installation support, complete this section (will not form part of the formal evaluation)."]
["Installation support (5 days)",1]
["Travel and accomodation Costs (5 days)",1]
["Other - as required"]
[]
[]
[]
[]
["INSTALLATION SUPPORT",null,"(ex VAT)"]
["INSTALLATION SUPPORT ",null,"(incl VAT)"]