Employer’s Name

Tender number _____________
project & contract title: RIPON TRACTION SUBSTATION DEFECTIVE CONCRETE FOUNDATIONS




Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	2

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	3


Part 4: Site Information
Core clause 11.2(16) states 
“Site Information is information which
· describes the Site and its surroundings and

· is in the documents which the Contract Data states it is in.”
In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.
1. General description
Ripon Substation is s traction station, located within the Transmission Southern Grid (Blue Crane Route Local Municipality, Sarah Baartman District Municipality, Eastern Cape) and all NTCSA rules and regulations shall be adhered to when operating in this area. The site is shared between NTCSA and Transnet. The coordinates are as follows:

33.077531S 25.846946E.
[image: image1.png]



Figure 1: Ripon Traction Substation Along the N10

[image: image2]
[image: image3.png]SulbdElfon = NTCSA

b

Middlewater
Kommadagga

Klipfontein...
Bracefield

Makna(dé

Riebeek-East

Addo|Elephant
National/Park

Bellevue
Ngweba s z
Paterson

Alicedale

Sidbury

'Addo
Helpmekaar, Matjesfontein
Buyskloof
Ncanarha

‘Alexandfia ™.

ndal, o

Reserve.
Cannon (RS




Figure 2: Ripon Traction Substation Relative to Surrounding Areas

2. Existing buildings, structures, and plant & machinery on the Site
The existing cracked concrete foundations currently support gantry structures that carry live electrical equipment. Contractor to have a Method Statement considering the aforementioned statement. 
3. Subsoil information
None available. 
4. Hidden services
Before any excavation is commenced, it will be the responsibility of the Contractor to ascertain from the “Engineering Assistant” the position of any existing services on site.  Once these are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account.

5. Other reports and publicly available information

None. 


Part C4: Site Information
PAGE 3
C4 ecc3 Site Information

[image: image4.png]


