PASSENGER RAIL AGENCY OF SOUTH AFRICA

## Trading as Metrorail

SCOPE OF WORK – Calibration of Alcohol detection machines (Mark X

Service provider to calibrate 30 (thirty) mark X alcohol detection machines in 2(two) batches of 15(fifteen) machines.

The internal memory of instruments shall be set after each calibration to indicate, the correct date of calibration.

The date on the calibration certificate should correspond with the date on the machine.

The date and time of the machine must be checked and re-set if required.

The machine to be set to only save positive tests.

A calibration certificate to be issued stating the following:

- Instrument serial number.

- calibration date.

- next calibration date and

- calibration procedure

Calibration certificate to be signed by a competent person

| Service | Quantity | Unit price (including VAT) | Total |
| --- | --- | --- | --- |
| Calibration | 30 |  |  |
| Repair | 1 |  |  |
| Battery back up | 30 |  |  |
| Labour per hour | 1 |  |  |
| Total |  |  |  |

Bill of Quantities: Calibration and maintenance of Mark X alcohol detection machines.