eskom holdings SOC ltd

Contract No. _________

contract title: Supply and delivery OF LOW VoLtAGE SWITCHGEAR SPARES at Medupi Power Station for 36 Months on an as and when required basis (ADHOC)




	[image: image1.jpg]R Eskom






NEC3 Supply Contract (SC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Supply and delivery OF LOW VOLTAGE SWITCHGEAR SPARES at Medupi Power Station for 36 Months on an as and when required basis (ADHOC)

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Purchaser
	[●]

	C1.2b
	Contract Data provided by the Supplier
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

SUPPLY AND DELIVERY OF LOW VOLTAGE SWITCHGEAR SPARES AT MEDUPI POWER STATION FOR 36 MONTHS ON AN AS AND WHEN REQUIRED BASIS (ADHOC)
The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	Mr Z Witbooi
	
	

	Capacity


	General Manager: Medupi Power Station
	
	

	for the Purchaser


	Eskom Holdings SOC Limited

Medupi Power Station

Private Bag x9003

LEPHALALE

0555


	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	Mr Z Witbooi

	Capacity


	
	
	General Manager

	On behalf of
	(Insert name and address of organisation)


	
	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X3:        Multiple currencies

	
	
	X4:

Parent company guarantee

	
	
	X7:

Delay damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	017 612 6663

	
	Fax No.
	N/A

	10.1
	The Supply Manager is (name): 
	Lebo Pebane

	
	Address
	Medupi Power Station

	
	Tel
	014 762 2422

	
	Fax
	N/A

	
	e-mail
	pebanel@eskom.co.za

	11.2(13)
	The goods are 
	Electrical Low Voltage switchgear room System Spares

	11.2(13)
	The services are 
	SUPPLY AND DELIVERY OF LOW VOLTAGE SWITCHGEAR SPARES AT MEDUPI POWER STATION FOR 36 MONTHS ON AN AS AND WHEN REQUIRED BASIS (ADHOC)

	11.2(14)
	The following matters will be included in the Risk Register
	All risks will be identified prior, addressed and registered during the risk register meeting that will take place as agreed between the parties

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	2 weeks

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	
	As per purchase order
	As per purchase order

	
	
	
	
	

	
	
	
	
	

	30.2
	The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date.
	As per agreed date on purchase order

	31.1
	The Supplier is to submit a first programme for acceptance within 
	1 weeks of the Contract Date.

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	2 weeks.

	4
	Testing and defects
	

	42
	The defects date is 
	52 weeks after Delivery.

	43.2
	The defect correction period is 
	To be agreed within 48 hours, on the first working day from receipt of the purchaser’s written defects notification

	
	
	

	
	
	

	42.2
	The defects access period is  
	5 days

	
	
	

	
	
	

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25 day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 
(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance
	

	80.1
	These are additional Purchaser’s risks  
	N/A

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	R0.0 (zero Rand)

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event 
and

(2) for all other existing Purchaser’s property the applicable deductible as at contract date 


	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	R[●]
[This is a commercial decision, but consider using the total of the Prices.  Delete this note after inserting a Rand amount]

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	R[●]
[This is a commercial decision, but consider using at least the total of the Prices.  Delete this note after inserting the Rand amount]

	88.5
	The end of liability date is 
	1 year after Delivery of the whole of the goods and services.

	9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	1st Floor, Maisels Chamber, 4 Protea Place, Sandton

	
	Tel No.
	011 320 0600

	
	Fax No.
	011 320 0533

	
	e-mail
	[●]

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	 South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes.

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	15%.
	Fixed portion 
	SEIFSA Table

	
	
	60%.
	Electrical Engineering
	SEIFSA Table

	
	
	25%.
	Transportation
	SEIFSA Table

	
	
	
	
	

	
	
	1.00


	
	

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	[●] is a compensation event if it occurs after the Contract Date

	X3
	Multiple currencies
	

	X3.1


	The Purchaser will pay for these items in the currencies stated
	Items
	Other currency
	Total maximum payment in the currency

	
	
	[●]
	TBC
	     

	
	
	[●]
	     
	     

	
	
	[●]
	     
	     

	X3.1
	The exchange rates are those published in
	[●] on [●] (date)

	
	
	The items will be paid in the other currency 
- to a foreign Bank account nominated by the Supplier 

- to a valid SARB approved CFC account in South Africa

- in accordance with an alternative payment method agreed with the Purchaser before the Contract Date.

(select one of the three methods as agreed with the successful tenderer prior to contract award and delete the others and this note)

	X4
	Parent company guarantee
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	Late delivery of spares
	5% of full cost for 10days of delay of purchase order value up to maximum of 10% of total value.

	
	
	

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for Eskom

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

· undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B

Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 44 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 44 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation.


Annexure A:
Supply Requirements
[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010
 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]
	Group
	Category
	Term
	Delivery Place

	E
	departure
	EXW
	

	F
	main carriage unpaid
	FCA, FAS, FOB
	

	C
	main carriage paid
	CFR, CIF, CPT, CIP
	

	D
	arrival
	DAT, DAP, DDP
	


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information
The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]
	1. The requirements for the supply are
	[State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing]

	2. The requirements for transport are 
	[State the extent to which the Supplier transports the goods and the mode of transport]

	3. The delivery place is
	[State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here]

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	

	
	Checking packing and marking before dispatch
	

	
	Contracting for transport
	

	
	Pay costs of transport
	

	
	Arrange access to delivery place
	

	
	Loading the goods
	

	
	Unloading the goods
	

	For international procurement
	Undertake export requirements
	

	
	Undertake import requirements
	

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Test results and maintenance manuals

	For  international procurement
	Licences, authorisations and other formalities associated with export of the goods 

	
	Air Waybill or Bill of Lading with associated landing, delivery and forwarding order 

	
	The Bill of Entry endorsed by the importation authority

	
	Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay

	
	Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable

	
	Specify other import documents required by authorised officials. 


All other information NOT pertinent to the above is given in the balance of the Goods Information
C1.2 Contract Data

Part two - Data provided by the Supplier
[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)
Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

1. Please read both the NEC3 Supply Contract (SC3)
 and the relevant parts of its Guidance Notes (SC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	     

	11.2(11)
	The tendered total of the Prices is
	R     , 

      (in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	TBC

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	TBC

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	[●]
	[●]

	31.1
	The programme identified in the Contract Data is contained in:
	TBC

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	     %


C1.3 Forms of Securities 

Pro formas for Bonds & Guarantees

For use with the NEC3 Supply Contract (SC3)

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]
The conditions of contract stated in the Contract Data Part 1 may include the following Options:

Option X4:
Parent company guarantee

These Options require a bond or guarantee “in the form set out in the Goods Information”. 

Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Goods Information.

The organisation providing the bond / guarantee does so by copying the pro forma document onto it’s letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Purchaser within the time stated in the contract.  

Pro forma Parent Company Guarantee (for use with Option X4)

(to be reproduced exactly as shown below on the letterhead of the Supplier’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton


Johannesburg
	Date:
	


Dear Sirs,

Parent Company Guarantee for Contract No  

With reference to the above numbered contract made or to be made between 

	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton


Johannesburg 
	(the Purchaser) and

	[Insert registered name and address of the Supplier]


	(the Supplier), for

	[Insert details of the goods and services from the Contract Data]


	(the goods and services).

	I/We the undersigned 
	

	on behalf of the Supplier’s parent company (name)
	

	of physical address
	


and duly authorised thereto do hereby unconditionally guarantee to the Purchaser that the Supplier shall Provide the Goods and Services in accordance with the above numbered Contract.

1. If for any reason the Supplier fails to Provide the Goods and Services, we hereby agree to Provide the Goods and Services at no additional cost to the Purchaser.

2. If we fail to comply with the terms of this Deed of Guarantee, the Purchaser may itself procure such performance (whether or not the Agreement be formally determined).  The Purchaser is to notify us and we shall indemnify the Purchaser for any additional cost or expense it incurs.

3. Our liability shall be as primary obligor and not merely as surety and shall not be impaired or discharged by reason of any arrangement or change in relationship made between the Supplier and the Purchaser and/or between us and Supplier; nor any alteration in the obligations undertaken by the Supplier or in the terms of the Agreement; nor any indulgence, failure, delay by you as to any matter; nor any dissolution or liquidation or such other analogous event of the Supplier.

4. The Purchaser shall not be obliged before taking steps to enforce the terms of this Deed of Guarantee to obtain judgement against the Supplier in any court or other tribunal, to make or file any claim in liquidation (or analogous proceedings) or to seek any remedy or proceed first against the Supplier.

5. This Deed of Guarantee shall be governed by and construed in accordance with the laws of the Republic of South Africa and we hereby submit to the non-exclusive jurisdiction of the High Court of South Africa.

	Signed at
	
	on this
	
	day of 
	
	20__


	Signature(s)
	
	

	Name(s) (printed)
	
	

	Position in parent company


	
	

	Signature of Witness(s)


	
	

	Name(s) (printed)
	
	


 below on the letterhead of the Bank providing the Bond / Guarantee)
Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	[●]


C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Item nr
	Description
	Unit
	Quantity
	Rate
	Price

	1
	Contactor, Size M, 22 kW, 50A, 230V AC Coil, 1NO + 1NC
	ea
	10
	
	

	2
	Voltmeter , 0-500V, Redline @ 400V
	ea
	5
	
	

	3
	Voltmeter , 0-750V, Redline @ 690V
	ea
	5
	
	

	4
	Spacer
	kg
	10
	
	

	5
	Spring
	kg
	10
	
	

	6
	Spring Washer (M8)
	kg
	20
	
	

	7
	M12 X 60 Hex Head Screw
	kg
	20
	
	

	8
	M12 X 70 Hex Head Screw
	kg
	20
	
	

	9
	Spring Washer (M12)
	kg
	20
	
	

	10
	Flat Washer (M12)
	kg
	20
	
	

	11
	M12 Hex Nut
	kg
	20
	
	

	12
	230VAC/24VDC 10A POWER SUPPLY
	ea
	2
	
	

	13
	RELAY BASE
	ea
	4
	
	

	14
	24VDC RELAY'S 3 C/O
	ea
	4
	
	

	15
	Contactor block 4POL,2C+2O DIN EN 50005
	ea
	2
	
	

	16
	Auxiliary contactor 2C+2O 230V AC
	ea
	2
	
	

	17
	Contactor 18,5KW/400V, AC 230V, 50HZ
	ea
	2
	
	

	18
	Standard lamp 18W, 230V AC with socket and door position switch, width= 682mm
	ea
	6
	
	

	19
	NH-fuse 00/125A
	ea
	24
	
	

	20
	Short-circuit signalling contact
	ea
	2
	
	

	21
	Fuse terminal
	ea
	3
	
	

	22
	Contactor
	ea
	4
	
	

	23
	Control relay
	ea
	2
	
	

	24
	RELAY, XTRM10A40 (DIL ER-40 40E)
	ea
	11
	
	

	25
	BREAKER, CIRCUIT LV A9F44210
	ea
	3
	
	

	26
	EARTH LEAKAGE, A9Q11225
	ea
	3
	
	

	27
	CONTACTOR,  LC1F185
	ea
	4
	
	

	28
	BREAKER, CIRCUIT LV, NSX100N
	ea
	4
	
	

	29
	BREAKER, CIRCUIT LV, NSX250F
	ea
	4
	
	

	30
	Auxiliary Relay, 220V DC, 3NO+1NC
	ea
	10
	
	

	31
	Auxiliary Trip Relay, 4 Pole, 230V AC, 2NO + 2NC
	ea
	10
	
	

	32
	Auxiliary Relay, 230V DC, 2NO+2NC
	ea
	10
	
	

	33
	Auxiliary Trip Relay, 4 Pole, 24V DC, 3NO + 1NC
	ea
	10
	
	

	34
	Interposing Relay, 4 Pole, 24V DC, 2NO +2NC
	ea
	10
	
	

	35
	Electronic Overload Relay, 1NO+1NC, 22A - 110A
	ea
	10
	
	

	36
	Electronic Overload Relay, 1NO+1NC, 22A - 110A
	ea
	10
	
	

	37
	Diode Terminal
	ea
	10
	
	

	38
	Contactor 3-pole, 220V AC
	ea
	5
	
	

	39
	Contactor, Size T, 12kW 25A, 230V AC Coil
	ea
	10
	
	

	40
	Contactor, Size M, 22 kW, 50A, 230V AC Coil, 1NO+1NC
	ea
	10
	
	

	41
	Contactor, Size M, 45 kW, 50A, 230V AC Coil, 1NO + 1NC
	ea
	10
	
	

	42
	Contactor, 110kW, 205A, 230V AC Coil, 1NO&1NC
	ea
	10
	
	

	43
	Auxiliary Switch Block, 1NO, 1NC
	ea
	10
	
	

	44
	Auxiliary Switch Block, 1NO, 1NC
	ea
	10
	
	

	45
	Thermal Overload Relay Adaptor, Size 1
	ea
	10
	
	

	46
	Contactor, Size T, 11kW 25A, 230V AC Coil
	ea
	12
	
	

	47
	Contactor, 230V AC Coil, 1NO+1NC
	ea
	10
	
	

	48
	Thermal Overload Relay, 1NO+1NC, 0.16A - 0.26A
	ea
	10
	
	

	49
	Thermal Overload Relay, 1NO+1NC, 1A - 1.5A
	ea
	10
	
	

	50
	Thermal Overload Relay, 1NO+1NC, 1.3A - 1.9A
	ea
	10
	
	

	51
	Thermal Overload Relay, 1NO+1NC, 2.5A - 4A
	ea
	10
	
	

	52
	Thermal Overload Relay, 1NO+1NC, 4A - 6.3A
	ea
	10
	
	

	53
	Thermal Overload Relay, 1NO+1NC, 5.5A - 8.5A
	ea
	10
	
	

	54
	Thermal Overload Relay, 1NO+1NC, 8A - 12A
	ea
	10
	
	

	55
	Thermal Overload Relay, 1NO+1NC, 10A - 16A
	ea
	10
	
	

	56
	Thermal Overload Relay, 1NO+1NC, 14.5A - 18A
	ea
	10
	
	

	57
	Thermal Overload Relay, 1NO+1NC, 21A - 26A
	ea
	10
	
	

	58
	Voltage Monitoring Relay (380V)
	ea
	5
	
	

	59
	Contactor, Size M, 45kW, 95A, 230V AC Coil, 1NO+1NC
	ea
	10
	
	

	60
	Contactor 110 kW, 205A, 230V AC Coil, 1NO + 1NC
	ea
	10
	
	

	61
	Contactor 400kW, 700A, 230V AC Coil, 1NO + 1NC
	ea
	5
	
	

	62
	Stop Push Button and Holder, Red, Plastic
	ea
	20
	
	

	63
	Start Push Button and Holder, Green, Plastic
	ea
	20
	
	

	64
	Lamp Test Push Button and Holder, Yellow, Plastic
	ea
	20
	
	

	65
	Running Indication Pilot Lamp, Red
	ea
	10
	
	

	66
	Stopped Indication Pilot Lamp, Green
	ea
	10
	
	

	67
	Breaker Racked in, Yellow
	ea
	40
	
	

	68
	Fault Indication Pilot Lamp, Amber
	ea
	40
	
	

	69
	Stop Push Button Auxiliary Switch Block, 1NC
	ea
	20
	
	

	70
	Start Push Button Auxiliary Switch Block, 1NO
	ea
	20
	
	

	71
	Direct Lamp Holder + Base up to 380V, 2W max
	ea
	40
	
	

	72
	Direct Lamp Holder + Base + Resistor up to 230V, 2W max
	ea
	40
	
	

	73
	Electronic Overload Relay Adaptor, Size 2
	ea
	10
	
	

	74
	Fuse Cartridge, 10A
	ea
	40
	
	

	75
	Fuse Cartridge, 16A
	ea
	40
	
	

	76
	Fuse Cartridge, 2A
	ea
	40
	
	

	77
	Fuse Cartridge, 4A
	ea
	40
	
	

	78
	Fuse Cartridge, 6A
	ea
	40
	
	

	79
	Fuse Cartridge, 16A
	ea
	40
	
	

	80
	Fuse Cartridge, 25A
	ea
	40
	
	

	81
	Fuse Cartridge, 2A
	ea
	40
	
	

	82
	Fuse Cartridge, 6A
	ea
	40
	
	

	83
	Fuse Cartridge,   16A
	ea
	40
	
	

	84
	Fuse Link / Cartridge, 2A
	ea
	40
	
	

	85
	Fuse Cartridge, 4A
	ea
	40
	
	

	86
	IP00 Fuse Base, 32A , Black, Front
	ea
	20
	
	

	87
	IP00 Fuse Base, 32A, AC, Black, Front
	ea
	20
	
	

	88
	Neutral Solid Link, 32A, White
	ea
	20
	
	

	89
	IP00 Fuse Base, 32A , AC, Black, Front
	ea
	20
	
	

	90
	IP00 Fuse Base, 32A, White, Front
	ea
	20
	
	

	91
	Fuse Link / Cartridge, 100A, Size NH 000
	ea
	20
	
	

	92
	Fuse Cartridge, 315A, Size NHA 2
	ea
	20
	
	

	93
	M-PACT ACB, Size 1, 630A, 50kA, 6 C/O, 5NO+3NC
	ea
	4
	
	

	94
	M-PACT ACB, Size 1, 800A, 50kA, 6 C/O, 5NO+3NC
	ea
	4
	
	

	95
	M-PACT ACB, Size 1, 1250A, 50kA, 6 C/O, 5NO+3NC
	ea
	4
	
	

	96
	M-PACT ACB, Size 1, 1600A, 50kA, 6 C/O, 5NO+3NC
	ea
	4
	
	

	97
	M-PACT ACB, Size 1, 3200A, 50kA, 6 C/O, 5NO+3NC
	ea
	4
	
	

	98
	M-PACT Shunt Trip (ST), 220/250V AC/DC
	ea
	4
	
	

	99
	M-PACT Closing Coil (CC), 220/250V AC/DC
	ea
	4
	
	

	100
	M-PACT Motorised Spring Charging Unit (MOP), 230V AC
	ea
	4
	
	

	101
	Moulded Case Circuit Breaker, 7A, FDN36MC007ED, 50kA
	ea
	5
	
	

	102
	Moulded Case Circuit Breaker, 12.5A, FDN36MC012ED, 50kA
	ea
	5
	
	

	103
	Moulded Case Circuit Breaker, 20A, FDN36MC012ED, 50kA
	ea
	5
	
	

	104
	Moulded Case Circuit Breaker, 30A, FDN36MC030ED, 50kA
	ea
	5
	
	

	105
	Moulded Case Circuit Breaker, 16A, FDN36TD016ED, 50kA
	ea
	5
	
	

	106
	Moulded Case Circuit Breaker, 32A, FDN36TD032ED, 50kA
	ea
	5
	
	

	107
	Moulded Case Circuit Breaker, 40A, FDN36TD040ED, 50kA
	ea
	5
	
	

	108
	Moulded Case Circuit Breaker, 50A, FDN36TD050ED, 50kA
	ea
	5
	
	

	109
	Moulded Case Circuit Breaker, 63A, FDN36TD063ED, 50kA
	ea
	5
	
	

	110
	Auxiliary Switch Block, 1NC
	ea
	20
	
	

	111
	Auxiliary Switch Block, 1NC
	ea
	20
	
	

	112
	Auxiliary Switch Block, 1NC
	ea
	20
	
	

	113
	Moulded Case Circuit Breaker, 400A, FGN36AA400LLF, 50kA
	ea
	5
	
	

	114
	Moulded Case Circuit Breaker, 80A, FEN36TA080JF, 50kA
	ea
	5
	
	

	115
	Moulded Case Circuit Breaker, 100A, FEN36TA100JF, 50kA
	ea
	5
	
	

	116
	Moulded Case Circuit Breaker, 250A, FEN36TD250KF, 50kA
	ea
	5
	
	

	117
	Moulded Case Circuit Breaker, 160A, FEN36TA160JF, 50kA
	ea
	5
	
	

	118
	Moulded Case Circuit Breaker, 400A, FGN3036BM400LLF, 50kA
	ea
	5
	
	

	119
	Moulded Case Circuit Breaker, 50A, FEN36MC050JF, 50kA
	ea
	5
	
	

	120
	Moulded Case Circuit Breaker, 100A FEN36MC100JF, 50kA
	ea
	5
	
	

	121
	Moulded Case Circuit Breaker, 160A, FEN365MC160JF, 50kA
	ea
	5
	
	

	122
	Moulded Case Circuit Breaker, 250A,FEN36MC250KF, 50kA
	ea
	5
	
	

	123
	Switchable Rating Plugs for Trip
	ea
	10
	
	

	124
	Moulded Case Circuit Breaker, 80A, FEN36MC080JF, 50kA
	ea
	5
	
	

	125
	Moulded Case Circuit Breaker, 125A, FEN36MC125JF, 50kA
	ea
	5
	
	

	126
	Moulded Case Circuit Breaker, 3A, FDN36MC003ED, 50kA
	ea
	5
	
	

	127
	Door Handle Mechanism for MCCB
	ea
	4
	
	

	128
	MCB, 1 Pole,  2A, 10kA
	ea
	10
	
	

	129
	MCB, 1 Pole,  4A, 10kA
	ea
	10
	
	

	130
	MCB, 1 Pole,  6A, 10kA
	ea
	10
	
	

	131
	MCB, 1 Pole,  10A, 10kA
	ea
	10
	
	

	132
	MCB, 1 Pole,  16A, 10kA
	ea
	10
	
	

	133
	MCB, 1 Pole,  20A, 10kA
	ea
	10
	
	

	134
	MCB, 1 Pole,  25A, 10kA
	ea
	10
	
	

	135
	MCB, 1 Pole,  32A, 10kA
	ea
	10
	
	

	136
	MCB, 1 Pole,  40A, 10kA
	ea
	10
	
	

	137
	MCB, 1 Pole,  50A, 10kA
	ea
	10
	
	

	138
	MCB, 1 Pole,  63A, 10kA
	ea
	10
	
	

	139
	MCB, 3 Pole, 2A, 10kA
	ea
	10
	
	

	140
	MCB, 3 Pole, 4A, 10kA
	ea
	10
	
	

	141
	MCB, 3 Pole, 6A, 10kA
	ea
	10
	
	

	142
	MCB, 3 Pole, 10A, 10kA
	ea
	10
	
	

	143
	MCB, 3 Pole, 16A, 10kA
	ea
	10
	
	

	144
	MCB, 3 Pole, 20A, 10kA
	ea
	10
	
	

	145
	MCB, 3 Pole, 25A, 10kA
	ea
	10
	
	

	146
	MCB, 3 Pole, 32A, 10kA
	ea
	10
	
	

	147
	MCB, 3 Pole, 40A, 10kA
	ea
	10
	
	

	148
	MCB, 3 Pole, 50A, 10kA
	ea
	10
	
	

	149
	MCB, 3 Pole, 63A, 10kA
	ea
	10
	
	

	150
	Loadbreaker Disconnector, 40A, Dilos 1 (4P)
	ea
	5
	
	

	151
	NH 000 Lateral Auxiliary Switch Block, 2P C/O
	ea
	5
	
	

	152
	Door Handle & Shaft (Black)
	ea
	4
	
	

	153
	Fused Loadbreak Disconnector, 125A, Size NH 000, 50kA
	ea
	5
	
	

	154
	Fused Loadbreak Disconnector, 160A, Size NH 00, 50kA
	ea
	5
	
	

	155
	Fulos 3 -  Fused Loadbreak Disconnect DIN NH2, 400A
	ea
	5
	
	

	156
	Door Handle Mechanism for NH 000
	ea
	4
	
	

	157
	Door Handle Mechanism for NH 3
	ea
	4
	
	

	158
	Worm Drive Lateral Auxiliary Switch Block, 1NO+1NC
	ea
	10
	
	

	159
	Selector Switch, 3 Poles, 2 Positions (Main Supply, Standby Supply)
	ea
	5
	
	

	160
	Voltage Transducer (Cable), 0-500V In, 4 - 20mA Out, 230V AC Supply
	ea
	10
	
	

	161
	Current Transducer, 0-60A In / 4 - 20mA Out
	ea
	10
	
	

	162
	Voltmeter Selector Switch - Phase-to-Phase
	ea
	5
	
	

	163
	Selector Switch, 3 Pole, 2 Positions (Local, Remote)
	ea
	5
	
	

	164
	Trip/ Neutral/ Close Selector Switch (Pad lockable)
	ea
	5
	
	

	165
	Ammeter, 0 - 1 - 2/1A, 48 mm Square
	ea
	5
	
	

	166
	Ammeter, 0 - 15 - 30/1A, 48 mm Square
	ea
	5
	
	

	167
	Ammeter, 0 - 20 - 40/1A, 48 mm Square
	ea
	5
	
	

	168
	Ammeter, 0 - 3 - 6/1A, 48 mm Square
	ea
	5
	
	

	169
	Ammeter, 0 - 10 - 20/1A, 48 mm Square
	ea
	5
	
	

	170
	Ammeter, 0 - 5 - 10/1A, 48 mm Square
	ea
	5
	
	

	171
	Ammeter, 0 - 7.5 - 15/1A, 48 mm Square
	ea
	5
	
	

	172
	Ammeter, 0 - 2 - 4/1A, 48 mm Square
	ea
	5
	
	

	173
	Ammeter, 0 - 30 - 60/1A, 48 mm Square
	ea
	5
	
	

	174
	Ammeter, 0 - 100 - 200/1A, 72 mm Square
	ea
	5
	
	

	175
	Ammeter, 0 - 150 - 300/1A, 72 mm Square
	ea
	5
	
	

	176
	Ammeter, 0 - 250 - 500/1A, 72 mm Square
	ea
	5
	
	

	177
	Ammeter, 0 - 350 - 750/1A, 72 mm Square
	ea
	5
	
	

	178
	Ammeter, 0 - 40 - 80/1A, 72 mm Square
	ea
	5
	
	

	179
	Ammeter, 0 - 50 - 100/1A, 72 mm Square
	ea
	5
	
	

	180
	Ammeter, 0 - 75 - 150/1A, 72 mm Square
	ea
	5
	
	

	181
	Current Transformer, 1/1A, 2.5VA, Class 1
	ea
	6
	
	

	182
	Current Transformer, 10/1A, 2.5VA, Class 1
	ea
	6
	
	

	183
	Current Transformer, 100/1A, 2.5VA, Class 1
	ea
	6
	
	

	184
	Current Transformer, 1250/1A, 10VA, Class 10P10
	ea
	6
	
	

	185
	Current Transformer, 1250/1A, 15VA, Class 1
	ea
	6
	
	

	186
	Current Transformer, 15/1A, 2.5VA, Class 1
	ea
	6
	
	

	187
	Current Transformer, 150/1A, 3.75VA, Class 1, 71mm ID
	ea
	6
	
	

	188
	Current Transformer, 1600/1A, 10VA, Class 10P10
	ea
	6
	
	

	189
	Current Transformer, 1600/1A, 15VA, Class 1
	ea
	6
	
	

	190
	Current Transformer, 2/1A, 2.5VA, Class 1
	ea
	6
	
	

	191
	Current Transformer, 20/1A, 2.5VA, Class 1
	ea
	6
	
	

	192
	Current Transformer, 250/1A, 5VA, Class 1, 71mm ID
	ea
	6
	
	

	193
	Current Transformer, 3/1A, 2.5VA, Class 1
	ea
	6
	
	

	194
	Current Transformer, 30/1A, 2.5VA, Class 1
	ea
	6
	
	

	195
	Current Transformer, 3200/1A, 10VA, Class 10P10
	ea
	6
	
	

	196
	Current Transformer, 3200/1A, 15VA, Class 1
	ea
	6
	
	

	197
	Current Transformer, 40/1A, 2.5VA, Class 1
	ea
	6
	
	

	198
	Current Transformer, 400/1A, 5VA, Class 1, 71mm ID
	ea
	6
	
	

	199
	Current Transformer, 5/1A, 2.5VA, Class 1
	ea
	6
	
	

	200
	Current Transformer, 50/1A, 2.5VA, Class 1
	ea
	6
	
	

	201
	Current Transformer, 7.5/1A, 2.5VA, Class 1
	ea
	6
	
	

	202
	Two Way Test Terminal (ways 1 - 2), 24A, 400V, 2.5 mm²
	ea
	100
	
	

	203
	F650, Digital Bay Controller, 220V DC (GE Multilin)
	ea
	10
	
	

	204
	MM300, Motor Management Relay, 12 BI, 4 Outputs, 220V AC
	ea
	100
	
	

	205
	28  Way Test Block (ways 1 - 28)
	ea
	20
	
	

	206
	Four Way Test Block (ways 1 - 4)
	ea
	20
	
	

	207
	DC Fail Flag Relay, 220V DC, 2P C/O
	ea
	20
	
	

	208
	Voltage Transformer, 230V/63V, 1 Phase, 30VA
	ea
	5
	
	

	209
	Voltage Transformer, 400V/110V, 3 Phase, Y/Y, 50VA
	ea
	5
	
	

	210
	Voltage Transformer, 690V/110V, 3 Phase, Y/Y, 50VA
	ea
	5
	
	

	211
	Voltage Transformer, 690V/400V, 3 Phase, Y/Y, 1.5kVA
	ea
	5
	
	

	212
	Voltage Transformer, 400V/63V, 1 Phase, 30VA
	ea
	5
	
	

	213
	DC Shunt, Class 0,5;  75mV 200A
	ea
	5
	
	

	214
	Current Transducer, 220V DC, 75mV In / 4 - 20 mA Out
	ea
	10
	
	

	215
	Voltage Transducer (Busbar), 260V DC In / 4 - 20mA Out
	ea
	10
	
	

	216
	Ammeter 0/200/400A
	ea
	3
	
	

	217
	Voltmeter 0 - 200A, DC
	ea
	3
	
	

	218
	ELDAC Relay / Annunciator Combination
	ea
	4
	
	

	219
	ELDEC/ELCOR Combination 15 - 70mA Instantaneous with plug-in CT
	ea
	4
	
	

	220
	Petroleum Jelly 
	kg
	50kg
	
	

	225
	1600/5A Ammeter
	ea
	3
	
	

	226
	1600/5A Current Transformers
	ea
	3
	
	

	233
	10A FUSES (DC)
	ea
	24
	
	

	234
	16A FUSES (DC)
	ea
	24
	
	

	235
	230VAC PANEL EXTRACTION FAN
	ea
	2
	
	

	236
	2A FUSES
	ea
	30
	
	

	237
	FUSE HOLDERS
	ea
	4
	
	

	238
	FUSED ISOLATOR
	ea
	6
	
	

	239
	DIN FUSE
	ea
	24
	
	

	240
	DIN FUSE
	ea
	24
	
	

	241
	HIGH SPEED DIN FUSE
	ea
	24
	
	

	242
	CYLINDRICAL FUSE HOLDERS
	ea
	8
	
	

	243
	MECHANICAL INTERLOCK
	ea
	4
	
	

	244
	AUX. CONTACT BLOCK
	ea
	4
	
	

	245
	230VAC BRAKE CONTACTOR
	ea
	2
	
	

	246
	230VAC HEATER CONTACTOR
	ea
	2
	
	

	247
	0.35-0.5A THERMAL OVERLOAD RELAY
	ea
	4
	
	

	248
	0.9-1.25A THERMAL OVERLOAD RELAY
	ea
	4
	
	

	249
	THERMAL OVERLOAD RELAY
	ea
	4
	
	

	250
	1.8...2.5 A THERMAL OVERLOAD RELAY
	ea
	4
	
	

	251
	3.5-5A THERMAL OVERLOAD RELAY
	ea
	4
	
	

	252
	THERMAL OVERLOAD RELAY
	ea
	4
	
	

	253
	RELAY MOUNTING BASE
	ea
	4
	
	

	254
	RELAY MOUNTING BASE
	ea
	4
	
	

	255
	1N/O & 1N/C AUX. SWITCH
	ea
	6
	
	

	256
	GREEN START PUSHBUTTON N/O
	ea
	4
	
	

	257
	RED STOP PUSHBUTTON N/C
	ea
	4
	
	

	258
	PRO-V SIMOCODE
	ea
	5
	
	

	259
	20-200A CURRENT MODULE
	ea
	5
	
	

	260
	DIGITAL EXTENTION MODULE
	ea
	5
	
	

	261
	ANALOG EXTENTION MODULE
	ea
	5
	
	

	262
	2.5m CONN. CABLE
	ea
	2
	
	

	263
	100A MCCB
	ea
	2
	
	

	264
	DOOR INTERLOCK HANDLE
	ea
	2
	
	

	265
	230VAC SHUNT TRIP
	ea
	4
	
	

	266
	AUX. SWITCH
	ea
	4
	
	

	267
	WITHDRAWABLE ACB
	ea
	2
	
	

	268
	4 WAY PANEL MOUNT DISCONNECT TEST BLOCK
	ea
	2
	
	

	269
	4A FUSES
	ea
	30
	
	

	270
	50VA 3 PHASE400/230VAC CONTROL TFM.
	ea
	2
	
	

	271
	4/POLE 30mA ELU
	ea
	4
	
	

	272
	6A S/POLE MCB
	ea
	4
	
	

	273
	10A S/POLE MCB
	ea
	4
	
	

	274
	16A S/POLE MCB
	ea
	4
	
	

	275
	25A S/POLE MCB
	ea
	4
	
	

	276
	32A S/POLE MCB
	ea
	4
	
	

	277
	6A D/POLE MCB
	ea
	4
	
	

	278
	10A D/POLE MCB
	ea
	4
	
	

	279
	20A D/POLE MCB
	ea
	4
	
	

	280
	25A D/POLE MCB
	ea
	4
	
	

	281
	32A S/POLE MCB
	ea
	4
	
	

	282
	63A 4/POLE MCB
	ea
	4
	
	

	283
	AC1 LIGHTING CONTACTOR 230VAC
	ea
	4
	
	

	284
	6A FUSES
	ea
	24
	
	

	286
	72mm AMMETER 0-10-20/1A
	ea
	2
	
	

	287
	72mm AMMETER 0-5-10/1A
	ea
	2
	
	

	288
	INCOMER PROTECTION RELAY 7SJ64 (F07)
	ea
	2
	
	

	289
	96mm AMMETER 0-1600/5A
	ea
	2
	
	

	296
	CURRENT TRANDUCER 230VAC 5A I/P 4-20mA O/P
	ea
	2
	
	

	297
	CURRENT TRANSDUCER 1A 230VAC 4-20mA
	ea
	2
	
	

	298
	230VAC SURGE PROTECTORS
	ea
	2
	
	

	299
	ELCORE 55
	ea
	4
	
	

	300
	ELSEC 30 30mA EARTH LEAKAGE RELAY
	ea
	4
	
	

	301
	GREEN LED LIGHT 24VDC
	ea
	2
	
	

	302
	LWP C.T. CL1 10VA 10/1A
	ea
	2
	
	

	303
	LWP C.T. CL1 10VA 5/1A
	ea
	2
	
	

	306
	RED LED LIGHT 24VDC
	ea
	2
	
	

	307
	RING C.T. 1600/1A 5P10 57mm 10VA
	ea
	2
	
	

	308
	S5 RING C.T. 1600A/5A CL. 1 10VA
	ea
	2
	
	

	312
	VOLTAGE TRANSDUCER  230VAC I/P 4-20mA O/P
	ea
	2
	
	

	317
	HN-Disconnector Gr. 00, 160A for mounting plate assembling
	ea
	2
	
	

	318
	Discharger 4-pole
	ea
	2
	
	

	319
	Circuit breaker 20A
	ea
	5
	
	

	320
	Fault signal switch
	ea
	2
	
	

	321
	Circuit breaker 2A
	ea
	4
	
	

	322
	Circuit breaker 6A
	ea
	4
	
	

	323
	Circuit breaker 1A
	ea
	5
	
	

	324
	Circuit breaker 10A
	ea
	5
	
	

	325
	THERMISTOR 1S+1OE AC 230V
	ea
	2
	
	

	326
	NEOZED- fuse socket 3 pole AC400V/DC250V 16A
	ea
	2
	
	

	327
	Under voltage relay 3 AC 690/400 V
	ea
	2
	
	

	328
	Circuit breaker 16A
	ea
	2
	
	

	329
	Circuit breaker 4A
	ea
	2
	
	

	330
	Circuit breaker 8A
	ea
	5
	
	

	331
	Contactor 55kW/400V, Us=230V AC
	ea
	2
	
	

	332
	Contactor 7,5KW/400V, 1S, AC 230V, 50/60HZ
	ea
	2
	
	

	333
	Contactor fehlt 45KW/400V, AC 230V, 50HZ
	ea
	2
	
	

	334
	Auxiliary contactor 24 V DC
	ea
	2
	
	

	335
	Contactor 3KW/400V, 1O+2C, AC 230V 50/60HZ
	ea
	2
	
	

	336
	Contactor 4KW/400V, 1C+2O, AC 230V 50/60HZ
	ea
	2
	
	

	337
	Voltmeter 0-500V 72mmx72mm
	ea
	2
	
	

	338
	Ammeter 0-400A 72mmx72mm
	ea
	2
	
	

	339
	Ammeter 0-75A 72mmx72mm
	ea
	2
	
	

	340
	Power circuit breaker 3-pole with
	ea
	2
	
	

	341
	Contact with 1O
	ea
	5
	
	

	342
	Contact with 1C
	ea
	5
	
	

	343
	Door rotary handle red-yellow
	ea
	2
	
	

	344
	CIRCUIT BREAKER SCALE. S0, FOR MOTOR PROTECTION,  CLASS 10, A-ACT. 9...12,5A, N-ACT. 163A SCREW CONNECTION, STANDARD BREAKING CAPACITY, WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	345
	Device adapter for RiLine60 800/1600 A 60mm 100A
	ea
	2
	
	

	346
	CIRCUIT BREAKER SCALE. S3, FOR MOTOR PROTECTION, CLASS 10, A-ACT. 80...100A,N-ACT. 1235A SCREW CONNECTION, STANDARD BREAKING CAPACITY
	ea
	2
	
	

	347
	AUXILIARY CONTACT, 1C+1O, FOR CIRCUIT BREAKER, SCALE S00...S3
	ea
	2
	
	

	348
	OM-Adapter for RiLine60 800/1600 A 45mm 25A
	ea
	2
	
	

	349
	CIRCUIT BREAKER SCALE S0, FOR MOTOR PROTECTION CLASS 10, A-ACT. 7...10A N-ACT. 130A WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	350
	Connection adapter for RiLine60
	ea
	2
	
	

	351
	CIRCUIT BREAKER SCALE S3, FOR MOTOR PROTECTION STANDARD BREAKING CAPACITY
	ea
	2
	
	

	352
	CIRCUIT BREAKER SCALE S00, FOR MOTOR PROTECTION, CLASS 10, A-ACT.0,35...0,5A, N-ACT.6,5A SCREW CONNECTION, STANDARD BREAKING CAPACITY, WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	353
	RiLine60 device adapter 12A
	ea
	2
	
	

	354
	CIRCUIT BREAKER SCALE S00, FOR MOTOR PROTECTION, CLASS 10, A-ACT.0,45...0,63A,N-ACT.8,2A SCREW CONNECTION, STANDARD BREAKING CAPACITY, WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	355
	CIRCUIT BREAKER SCALE S00, FOR MOTOR PROTECTION, CLASS 10, A-ACT. 1,1...1,6A, N-ACT. 21A SCREW CONNECTION, STANDARD BREAKING CAPACITY, WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	356
	CIRCUIT BREAKER SCALE S00, FOR MOTOR PROTECTION, CLASS 10,
	ea
	2
	
	

	357
	CIRCUIT BREAKER SCALE S00, 0,9...1,25A WITH AUXILIARY
	ea
	2
	
	

	358
	Voltmeter- switch 3x Phase to Phase, 3x Phase to N with neutral position
	ea
	2
	
	

	359
	Ampere meter- switch for measurement with converter rotary switching possible
	ea
	2
	
	

	360
	Transformer 400A/1A 5VA
	ea
	2
	
	

	361
	1-Phase transformer 400V/230V 2,5kVA
	ea
	2
	
	

	362
	Transformer 75A/1A 5VA
	ea
	2
	
	

	363
	SAFETY SWITCH 3n/o 1n/c
	ea
	2
	
	

	364
	Circuit breaker 16A
	ea
	3
	
	

	365
	Link relay with LED completely mounted
	ea
	2
	
	

	366
	Air condition for board mounting part installation
	ea
	2
	
	

	367
	RCD 2 Pole 16A / 30mA
	ea
	2
	
	

	368
	Key switch plane O+I with bracket
	ea
	2
	
	

	369
	Key switch RONIS LOCK switch position 0-I 
	ea
	2
	
	

	370
	Three Phase Monitor Relays
	ea
	2
	
	

	371
	LED test element/series cont.mod
	ea
	1
	
	

	372
	NEOZED Fuse
	ea
	2
	
	

	373
	Signal lamp red
	ea
	2
	
	

	374
	Signal lamp green
	ea
	2
	
	

	375
	Interface relay
	ea
	2
	
	

	376
	Power contactor
	ea
	2
	
	

	377
	Universal Measuring Device
	ea
	2
	
	

	378
	Main switch
	ea
	2
	
	

	379
	Push button
	ea
	2
	
	

	380
	Current transformer
	ea
	2
	
	

	381
	Contactor auxiliary contacts 2NO+2NC 75KW/400V/AC-3, AC/DC-OPERATION UC 220...240V
	ea
	2
	
	

	382
	Device adapter for RiLine60 800/1600 A 60mm 250A
	ea
	2
	
	

	383
	RiLine60 device adapter 25A
	ea
	2
	
	

	384
	Circuit breaker for plant protection 100-125A with AS
	ea
	2
	
	

	385
	CIRCUIT BREAKER SCALE S0, 11...16A WITH AUXILIARY CONTACT 1C/1O
	ea
	2
	
	

	386
	CIRCUIT BREAKER SCALE S3, A-ACT.80...100 A,N-ACT.1235A MOTOR PROTECTION TO 100KA, LASS 10, SCREW CONNECTION, HIGHER BREAKING CAPACITY
	ea
	2
	
	

	387
	CIRCUIT BREAKER SCALE S00, A-ACT. 0,7...1A WITH AUXILIARY CONTACT 1C+1O
	ea
	2
	
	

	389
	Monitoring Device UC:110-340VDC/ 95-240VAC UE max. 690/400V
	ea
	2
	
	

	390
	Miniature circuit-breaker 2pol. 10A
	ea
	2
	
	

	391
	Auxiliary contact 1CO
	ea
	2
	
	

	392
	Miniature circuit-breaker 2pol. 6A
	ea
	2
	
	

	393
	auxiliary contact for RCD 1S+1O
	ea
	2
	
	

	394
	Dehnguard M modular surge arrester for TT-/TN
	ea
	2
	
	

	395
	Adapter
	ea
	2
	
	

	396
	Indicator lamp red/IP66/flat
	ea
	4
	
	

	397
	indicator lamp red LED
	ea
	4
	
	

	398
	Indicator lamp white/IP66/flat
	ea
	4
	
	

	399
	Motor protection switch 16-20A
	ea
	2
	
	

	400
	Auxiliary contact 1S+1O
	ea
	2
	
	

	401
	Auxiliary contact 1NO+1NC
	ea
	2
	
	

	402
	NH-fuse 00/63A
	ea
	2
	
	

	403
	Isolating circuit breaker 3pole IN=800A to 690V 50/60Hz, 2S,2O
	ea
	2
	
	

	404
	Fuse load-break switch sz.00
	ea
	2
	
	

	405
	Motor protection switch 1-1,6A
	ea
	2
	
	

	406
	Current transformer
	ea
	2
	
	

	407
	Under voltage relay with delay
	ea
	2
	
	

	408
	Current monitoring - current transformer 1 Phase AC, 2-20A,
	ea
	2
	
	

	409
	Soft starter DS6, 22kW 280-480VAC 50/60Hz
	ea
	2
	
	

	410
	Double stick terminal 4mm2
	ea
	2
	
	

	411
	Earthing terminal 4mm2
	ea
	2
	
	

	412
	Terminal 6mm2
	ea
	2
	
	

	413
	Universal-PE-terminal USLKG to 6mm2
	ea
	2
	
	

	414
	HRC in -line fuse disconnector sice 00 HRC fuse
	ea
	2
	
	

	415
	Miniature circuit breaker
	ea
	2
	
	

	416
	HRC-leanstreamer size 1
	ea
	2
	
	

	417
	Indicator light with holder
	ea
	2
	
	

	418
	Lamp holder BA 9s 
	ea
	2
	
	

	419
	LED-lamp
	ea
	2
	
	

	420
	Indicator light with holder
	ea
	2
	
	

	421
	Low voltage relay
	ea
	2
	
	

	422
	Residual Current Monitor
	ea
	2
	
	

	423
	Auxiliary switch block
	ea
	2
	
	

	424
	Contactor
	ea
	2
	
	

	425
	Relay
	ea
	2
	
	

	426
	Socket
	ea
	2
	
	

	427
	Panel Ventilator
	ea
	2
	
	

	428
	Incoming filter
	ea
	2
	
	

	429
	Roof Vent
	ea
	2
	
	

	430
	Regulator
	ea
	2
	
	

	431
	Temp regulator
	ea
	2
	
	

	432
	Ammeter and rubber seal
	ea
	2
	
	

	433
	Voltmeter and rubber seal
	ea
	2
	
	

	434
	Non Automatic Circuit Breaker
	ea
	2
	
	

	435
	Circuit breaker SO
	ea
	2
	
	

	436
	Circuit breaker SO
	ea
	2
	
	

	437
	Circuit breaker SO
	ea
	2
	
	

	438
	Residual current circuit breaker
	ea
	2
	
	

	439
	Short-circuit signalling contact
	ea
	2
	
	

	440
	Push Button
	ea
	2
	
	

	441
	Thermostat
	ea
	2
	
	

	442
	Current Transformer
	ea
	2
	
	

	443
	Control Transformer
	ea
	2
	
	

	444
	Summation Current Transformer
	ea
	2
	
	

	445
	Process signal isolator
	ea
	2
	
	

	446
	Thyristor controller
	ea
	2
	
	

	447
	Local operating/indicating unit
	ea
	2
	
	

	448
	Z-diodes
	ea
	2
	
	

	450
	Door interlock system
	ea
	2
	
	


.
	The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Contents

2Part 3: Scope of Work


3C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


42.1
Purchaser’s design


42.2
Procedure for submission and acceptance of Supplier’s design


52.3
Other requirements of the Supplier’s design


52.4
Use of Supplier’s design


52.5
Manufacture & fabrication


52.6
Factory acceptance testing (FAT)


52.7
Other tests and inspections and commissioning in place of use


52.8
Operating manuals and maintenance schedules


53
Supply Requirements


54
Specification of the services to be provided


55
Constraints on how the Supplier Provides the Goods


55.1
Programming constraints


55.2
Work to be done by the Delivery Date


55.3
Marking the goods


55.4
Constraints at the delivery place and place of use


55.5
Cooperating with Others


65.6
Services & other things to be provided by the Purchaser or Supplier


65.7
Management meetings


65.8
Documentation control


65.9
Health and safety risk management


75.10
Environmental constraints and management


75.11
Quality


75.12
Invoicing and payment


85.13
Insurance provided by the Purchaser


85.14
Contract change management


85.15
Provision of bonds and guarantees


85.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


96
Procurement


96.1
Subcontracting


96.1.1
Preferred subcontractors


96.1.2
Limitations on subcontracting


96.1.3
Spares and consumables


96.1.4
Other requirements related to procurement


96.1.5
Cataloguing requirements


97
List of drawings


97.1
Drawings issued by the Purchaser


xC3.2
Supplier’s Goods Information




Overview and purpose of the goods and services
.

Specification and description of the goods
As per Specification attached.

Purchaser’s design
The required spares shall be the same, in all respects, as the original components. The spares shall also conform to the same specifications as the original components. This includes all aspects such as design, materials and material specifications, manufacturing and manufacturing processes, testing and operating and storage specifications.

Procedure for submission and acceptance of Supplier’s design

The following information to be provided with the spares:

a) Documentation detailing the technical characteristics of the procured spare item. This may be in the form of data sheet or brochure. The Employer reserves the right to reject the documentation if it is not deemed sufficient.

b) Supply preservation and storage procedures of goods, where applicable.

c) Any spares information which has been omitted which is deemed relevant for spares identification, storage, maintenance, etc.
d) Shelf life of all spares to be specified as part of provided information.
Other requirements of the Supplier’s design
In instances where the Supplier uses another company, other than the item OEM, to provide required information, this should be declared in advance to the Employer.
Use of Supplier’s design

Where equipment or spares, including the whole assembly, have been upgraded/ modified the Supplier shall indicate this to the Employer as part of the tender. The Employer shall be made aware immediately where the upgrade/modification to the component is only identified subsequent to the tender being issued. The detailed compatibility to the existing component shall be indicated. This includes hardware, firmware and software upgrade/modification.

If the components to be supplied will be obsolete, or envisaged to be obsolete, in the 5 years subsequent to tender being issued, the Supplier shall indicate this to the Employer and indicate viable alternatives thereof. Written evidence from the OEM shall be submitted to the Employer stating the year in which the component will/has become obsolete.

Manufacture & fabrication

The Supplier should be in a position of valid OEM letter stating that the Supplier is the authorised distributer or repairer of the equipment.
Factory acceptance testing (FAT)

N/A

Other tests and inspections and commissioning in place of use

The test certificates for Switchgear spares should be supplied to the End user (Eskom), at any given time upon it being requested.

Operating manuals and maintenance schedules

The maintenance schedules, datasheets and operating manuals for each components should be provided for during the delivery of the Switchgear components.

Supply Requirements

The Supplier should conform or comply with the following requirements listed below:

a)  No incorrect, damaged or faulty spares will be accepted.
b)  All the spares will be inspected before payment could be processed.
c)  Where applicable; test certificates, material certificate, manuals, data sheet and signature shall be provided as required. 
Specification of the services to be provided

The Supplier shall be liable to replace a supplied spare that is found to be defective within the guarantee period.

Constraints on how the Supplier Provides the Goods

Programming constraints 

The following shall be included in the Supplier’s program:

a) The delivery date as stipulated to be provisional. This date may change prior to delivery. The Supplier to indicate standing time and storage costs should the Employer delay the delivery date. Proof of actual costs to be provided.

b) Provision to be made for delays that may be caused owing to items being sourced from outside The Republic of South Africa.
Work to be done by the Delivery Date

All required spares to be delivered to the Employer 4 weeks from the day the purchase order is placed by the Employer. The Employer may request, in writing, that a spare be expedited quicker if its delivery in 4 weeks may lead to a delay that may result in undesirable consequences (loss of production, loss of revenue and/or safety to personnel or environment) to the Employer.

Marking the goods 
All supplied spares shall be labelled and marked in way that are to be easily identifiable. And also the supplied spares shall be packaged in such a manner that they may be easily transported and stored for an extended period of time without resulting in damage to the packaged components. This includes preventing damage due to moisture ingress, especially for electronic components. Where possible, silica gel/desiccant may be included to ensure protection against moisture for at least 3 months. However, this inclusion should not lead to damage to the component.
Constraints at the delivery place and place of use
Deliveries must be directed to Stores Building, Medupi Generation warehouse.

Cooperating with Others

N/A

Services & other things to be provided by the Purchaser or Supplier
Stores need to be informed of the delivery, in order to arrange for the offloading of the goods.

Management meetings

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Documentation control

All delivery documentation will be kept by Materials Management (Receiving Section) and be filed on the central cabinet according their numerical order numbers.

Health and safety risk management

The Supplier shall comply with the health and safety requirements of the Purchaser.

Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints required by the Purchaser.

Quality

The Supplier shall comply with the quality assurance requirements from the Purchaser. The supplier will provide a complete Quality Plan in accordance with the requirements of QM-58 (Supplier Contract Quality Requirements Specification).
Invoicing and payment
Details on how to submit invoices and additional information: 
· Ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for. 

· The words 'TAX INVOICE"
· Name, address and VAT registration number of supplier.
· *Name, address and VAT registration number of recipient.
· Eskom's name has to be reflected as Eskom Holdings SOC Ltd.
· Eskom's VAT number 4740101508.
· Tax Invoice number and date issued. 
· A full proper description of the goods and/or services supplied.
*The quantity or volume of goods or services supplied.
*These two requirements do not apply where the consideration (VAT inclusive amount) is less than R3 000,00.

· All Electronic invoices must be sent in PDF format only. 

· Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time. 

· Your E-mail may contain more than one PDF file (e.g. 2 invoices on 2 separate PDF files in one e-mail) 

· With effect from 16 November 2014, send all invoices in PDF straight from your system to an Eskom email address (see email addresses below) 

· For Foreign invoices, suppliers will still be required to physically deliver hard copies of original documents to the respective documentation management centres even though you have e-mailed those invoices (Eskom is still seeking clarity from the South African Reserve Bank regarding e-invoicing for Foreign Invoices or invoices in foreign currency. Current requirements are that these manual invoices should still be submitted. You can send the invoice copy to the email addresses indicated below). 
· Tax Requirement 

· A PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.) 

· An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy. 

· The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices and statements sent electronically are tamperproof.” 
· If there is Cost Price Adjustment (CPA) on your invoice we recommend that you issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues. 

· Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom through the park invoice report. 

· Your company can request a park invoice report from the Finance Shared Services (FSS) contact centre which can then be followed up and corrected. You are welcome to forward the details of invoices corrected to the FSS contact centre. 

· Email addresses for invoice submission: 

Local Eskom invoices: invoiceseskomlocal@eskom.co.za   

Foreign Eskom invoices:  invoiceseskomforeign@eskom.co.za 

If your Invoice is not submitted immediately after you have delivered goods or rendered a service, it might happen that you will only get paid within 90 days after receipt of your Invoice without Eskom paying any interest on late payment 

Refer to Station Specific information Item 22.13. 

· You do not require a goods receipt (GR) number to submit your invoices. When the GR number is received you can then send the GR number to the FSS contact centre
· All queries and follow up on invoice payments should made by contacting the FSS Contact Centre: 

· Tel: 011 800 5060 

· e-mail: fss@eskom.co.za 

PLEASE NOTE 

· That if your Invoice Amount is different than our Order value, it will delay payment.  It is important that the line numbers, as per the Order reflect on your Delivery Note and Invoice. It is strongly recommended that if there are any discrepancies on the Invoice, it must be sorted out with the Buyer BEFORE it is submitted for payment.
· No invoice will be submitted to any Eskom Warehouse personnel. Only in cases were invoices are used as a delivery note

VALUE ADDED TAX:
VAT is applicable to this order and "TAX INVOICES" in compliance with the Value Added Tax Act no. 89 of 1991 must be submitted for payment.

Insurance provided by the Purchaser
Contract change management 
Any major Scope change or amendments will be dealt with as per section 6 of the contract core clauses.
Provision of bonds and guarantees

Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Procurement
Subcontracting
Preferred subcontractors

Limitations on subcontracting

Spares and consumables
Other requirements related to procurement

Cataloguing requirements by the Supplier
Where applicable Material numbers need to be clearly visible on item and invoice. 

Data Capturing Forms are part of the returnables at completion of spares manufacturing.
List of drawings

Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  

	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

As per price list



� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2010, Paris, January 2011


� Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 24
C2 SC3 Cover

