{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":264,"n_cols":8,"rows_kept":264,"merged":[[3,5,3,6]]}
[]
[{"$nulls":4},"HV AIS outdoor Disconnnectors and Earthing Switches for Eskom Transmission - from 275 kV to 765 kV"]
[]
[{"$nulls":4},"Live Tank Outdoor Disconnnectors and Earthing Switches from 275 kV to 765 kV; Electronic Online Condition Monitoring","Please indicated with \"X\""]
[null,"Item","Arranged","SAP numbers","        Description","Offered (X)","Not Offered (X)","Unit Price"]
[]
[null,1,1,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch  1050BIL 4300mm spacing"]
[null,2,2,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1050BIL 4300mm spacing"]
[null,3,3,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1050BIL, 4300mm spacing"]
[null,4,4,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1050BIL 4300mm spacing"]
[null,5,5,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1050BIL 4300mm spacing"]
[null,6,6,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1050BIL, 4300mm spacing"]
[null,7,7,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1050BIL, 4300mm spacing"]
[null,8,8,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Double  Earthing Switch 1050BIL, 4300mm spacing"]
[]
[null,9,1,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch  1050BIL 5500mm spacing"]
[null,10,2,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1050BIL 5500mm spacing"]
[null,11,3,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,12,4,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1050BIL 5500mm spacing"]
[null,13,5,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1050BIL 5500mm spacing"]
[null,14,6,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,15,7,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,16,8,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Double  Earthing Switch 1050BIL, 5500mm spacing"]
[]
[null,17,1,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Without Earthing Switch 1050 BIL, 6700 mm spacing"]
[null,18,2,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Right Hand Earthing Switch1050 BIL, 6700 mm spacing"]
[null,19,3,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Left Hand Earthing Switch 1050 BIL, 6700mm spacing"]
[null,20,4,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Double Earthing Switch 1050 BIL 6700mm spacing"]
[null,21,5,null,"275 kV 3150A 50 kA 220VDC Motor Operated Disconnector Without Earthing Switch 1050 BIL, 6700 mm spacing"]
[null,22,6,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Right Hand Earthing Switch 1050 BIL, 6700 mm spacing"]
[null,23,7,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Left Hand Earthing Switch 1050 BIL, 6700 mm spacing"]
[null,24,8,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Double Earthing Switch 1050 BIL, 6700 mm spacing"]
[]
[null,25,1,null,"275kV 3150A 50kA 110VDC Motor Operated 2-phase Disconnector Without Earthing Switch  1050BIL 5500mm spacing"]
[null,26,2,null,"275kV 3150A 50kA 110VDC Motor Operated 2-phase Disconnector Right Hand Earthing Switch 1050BIL 5500mm spacing"]
[null,27,3,null,"275kV 3150A 50kA 110VDC Motor Operated 2-phase Disconnector Left Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,28,4,null,"275kV 3150A 50kA 110VDC Motor Operated 2-phase Disconnector Double Earthing Switch 1050BIL 5500mm spacing"]
[null,29,5,null,"275kV 3150A 50kA 220VDC Motor Operated 2-phase Disconnector Without Earthing Switch 1050BIL 5500mm spacing"]
[null,30,6,null,"275kV 3150A 50kA 220VDC Motor Operated 2-phase Disconnector Right Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,31,7,null,"275kV 3150A 50kA 220VDC Motor Operated 2-phase Disconnector Left Hand Earthing Switch 1050BIL, 5500mm spacing"]
[null,32,8,null,"275kV 3150A 50kA 220VDC Motor Operated 2-phase Disconnector Double  Earthing Switch 1050BIL, 5500mm spacing"]
[]
[null,33,1,null,"275kV 3150 A 50 kA 220/110 VDC In-line Motor Operated Disconnector Without Earthing Switch 1175 1050 BIL"]
[null,34,2,null,"275 kV 3150 A 50 kA 220/110 VDC In-line Motor Operated Disconnector Without Earthing Switch 1175 BIL"]
[]
[null,35,1,null,"275kV 3150A 50kA 110VDC  31 mm/kV Motor Operated Pantograph Disconnector Without Earthing Switch 1050BIL  "]
[null,36,2,null,"275 kV 3150 A 50 kA 110 VDC  31 mm/kV Motor Operated Pantograph Disconnector With Earthing Switch 1050BIL  "]
[null,37,3,null,"275 kV 3150 A 50kA 220 VDC 31 mm/kV Motor Operated Pantograph Disconnector Without Earthing Switch 1050BIL  "]
[null,38,4,null,"275 kV 3150 A 50 kA 220 VDC 31 mm/kV Motor Operated Pantograph Disconnector With Earthing Switch 1050BIL  "]
[]
[null,39,1,null,"275kV 3150A 50kA 110VDC 31mm/kV Motor Operated Pantograph Disconnector Without Earthing Switch 1175 BIL  "]
[null,40,2,null,"275kV 3150A 50kA 110VDC 31mm/kV Motor Operated Pantograph Disconnector With Earthing Switch 1175 BIL  "]
[null,41,3,null,"275kV 3150A 50kA 220VDC 31mm/kV Motor Operated Pantograph Disconnector Without Earthing Switch 1175 BIL  "]
[null,42,4,null,"275kV 3150A 50kA 220VDC 31mm/kV Motor Operated Pantograph Disconnector With Earthing Switch 1175 BIL  "]
[]
[null,43,1,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 1050 BIL, 4300mm spacing)"]
[]
[null,44,2,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 1050 BIL, 5500 mm spacing)"]
[]
[null,45,3,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 1050 BIL, 6500 6700 mm spacing)"]
[]
[null,46,1,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch 1175 BIL 4300mm spacing"]
[null,47,2,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1175 BIL 4300mm spacing"]
[null,48,3,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 4300mm spacing"]
[null,49,4,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1175 BIL 4300mm spacing"]
[null,50,5,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1175 BIL 4300mm spacing"]
[null,51,6,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1175 BIL, 4300mm spacing"]
[null,52,7,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 4300mm spacing"]
[null,53,8,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Double  Earthing Switch 1175 BIL, 4300mm spacing"]
[]
[null,54,1,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Withot Earthing Switch 1175 BIL 5500mm spacing"]
[null,55,2,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1175 BIL 5500mm spacing"]
[null,56,3,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 5500mm spacing"]
[null,57,4,null,"275kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1175 BIL 5500mm spacing"]
[null,58,5,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1175 BIL 5500mm spacing"]
[null,59,6,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1175 BIL, 5500mm spacing"]
[null,60,7,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 5500mm spacing"]
[null,61,8,null,"275kV 3150A 50kA 220VDC Motor Operated Disconnector Double  Earthing Switch 1175 BIL, 5500mm spacing"]
[]
[null,62,1,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Without Earthing Switch 1175 BIL, 6700 mm spacing"]
[null,63,2,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Right Hand Earthing Switch1175 BIL, 6700 mm spacing"]
[null,64,3,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 6700mm spacing"]
[null,65,4,null,"275 kV 3150 A 50 kA 110 VDC Motor Operated Disconnector Double Earthing Switch 1175 BIL 6700mm spacing"]
[null,66,5,null,"275 kV 3150A 50 kA 220VDC Motor Operated Disconnector Without Earthing Switch 1175 BIL, 6700 mm spacing"]
[null,67,6,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Right Hand Earthing Switch 1175 BIL, 6700 mm spacing"]
[null,68,7,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Left Hand Earthing Switch 1175 BIL, 6700 mm spacing"]
[null,69,8,null,"275 kV 3150 A 50 kA 220 VDC Motor Operated Disconnector Double Earthing Switch 1175 BIL, 6700 mm spacing"]
[]
[null,70,1,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 4300 mm spacing)"]
[null,71,2,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 4300 mm spacing)"]
[null,72,3,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 5500 mm spacing)"]
[null,73,1,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 5500 mm spacing)"]
[null,74,2,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 6500 6700 mm spacing)"]
[null,75,3,null,"275kV 50kA 110/220 VDC Hand Operated Earthing Switch (Double Separately Mounted, 1425 1175 BIL, 6500 6700 mm spacing)"]
[null,76,4,null,"275kV 50kA 110/220VDC Hand Operated Earthing Switch (Double  2-phase Separately Mounted, 1425 1050 BIL, 6500 5500 mm spacing)"]
[]
[null,77,1,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 5500mm spacing"]
[null,78,2,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,79,3,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,80,4,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 5500mm spacing"]
[null,81,5,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 5500mm spacing"]
[null,82,6,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,83,7,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,84,8,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 5500mm spacing"]
[]
[null,85,1,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 6500mm spacing"]
[null,86,2,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,87,3,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,88,4,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 6500mm spacing"]
[null,89,5,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 6500mm spacing"]
[null,90,6,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,91,7,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,92,8,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 6500mm spacing"]
[]
[null,93,1,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 7010mm spacing"]
[null,94,2,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,95,3,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,96,4,null,"400kV 3150A 50kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 7010mm spacing"]
[null,97,5,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 7010mm spacing"]
[null,98,6,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,99,7,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,100,8,null,"400kV 3150A 50kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 7010mm spacing"]
[]
[null,101,1,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 5500mm spacing"]
[null,102,2,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,103,3,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,104,4,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 5500mm spacing"]
[null,105,5,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 5500mm spacing"]
[null,106,6,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,107,7,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 5500mm spacing"]
[null,108,8,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 5500mm spacing"]
[]
[null,109,1,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 6500mm spacing"]
[null,110,2,null,"400kV 4000 3150 A 50 63 kA110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,111,3,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,112,4,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 6500mm spacing"]
[null,113,5,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL,6500mm spacing"]
[null,114,6,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,115,7,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 6500mm spacing"]
[null,116,8,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 6500mm spacing"]
[]
[null,117,1,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425BIL, 7010mm spacing"]
[null,118,2,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,119,3,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,120,4,null,"400kV 4000 3150 A 50 63 kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425BIL, 7010mm spacing"]
[null,121,5,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425BIL,7010mm spacing"]
[null,122,6,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,123,7,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425BIL, 7010mm spacing"]
[null,124,8,null,"400kV 4000 3150 A 50 63 kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425BIL,7010mm spacing"]
[]
[null,125,1,null,"400 kV 3150 A 63 kA 110 VDC Motor Operated 2-phase Disconnector Without Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,126,2,null,"400 kV 3150 A 63k A 110 VDC Motor Operated 2-phase Disconnector Right Hand Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,127,3,null,"400 kV 3150 A 63 kA 110 VDC Motor Operated 2-phase Disconnector Left Hand Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,128,4,null,"400 kV 3150 A 63 kA 110 VDC Motor Operated 2-phase Disconnector Double Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,129,5,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated 2-phase Disconnector Without Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,130,6,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated 2-phase Disconnector Right Hand Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,131,7,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated 2-phase Disconnector Left Hand Earthing Switch 1550 BIL, 6500 mm spacing"]
[null,132,8,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated 2-phase Disconnector Double Earthing Switch 1550 BIL, 6500 mm spacing"]
[]
[null,133,1,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Without Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,134,2,null,"400 kV 4000 A 63k A 110 VDC Motor Operated Disconnector Right Hand Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,135,3,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Left Hand Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,136,4,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Double Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,137,5,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Without Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,138,6,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Right Hand Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,139,7,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Left Hand Earthing Switch 1550 BIL, 5500 mm spacing"]
[null,140,8,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Double Earthing Switch 1550 BIL, 5500 mm spacing"]
[]
[null,141,1,null,"400kV 4000A 63kA 110VDC Motor Operated Disconnector Without Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,142,2,null,"400kV 4000A 63kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,143,3,null,"400kV 4000A 63kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,144,4,null,"400kV 4000A 63kA 110VDC Motor Operated Disconnector Double Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,145,5,null,"400kV 4000A 63kA 220VDC Motor Operated Disconnector Without Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,146,6,null,"400kV 4000A 63kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,147,7,null,"400kV 4000A 63kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[null,148,8,null,"400kV 4000A 63kA 220VDC Motor Operated Disconnector Double Earthing Switch 1575 1550 BIL, 6500mm spacing"]
[]
[null,149,1,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Without Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,150,2,null,"400 kV 4000A 63 kA 110 VDC Motor Operated Disconnector Right Hand Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,151,3,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Left Hand Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,152,4,null,"400 kV 4000 A 63 kA 110 VDC Motor Operated Disconnector Double Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,153,5,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Without Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,154,6,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Right Hand Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,155,7,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Left Hand Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[null,156,8,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Disconnector Double Earthing Switch 1575 1550 BIL, 7010 mm spacing"]
[]
[null,157,1,null,"400kV 3150A 50kA 110VDC Motor Operated Pantograph Disconnector  Without Earthing Switch 1425BIL "]
[null,158,2,null,"400kV 3150A 50kA 220VDC Motor Operated Pantograph Disconnector  Without Earthing Switch 1425BIL "]
[null,159,3,null,"400kV 3150A 50kA 110VDC Motor Operated Pantograph Disconnector  With Earthing Switch 1425BIL "]
[null,160,4,null,"400kV 3150A 50kA 220VDC Motor Operated Pantograph Disconnector  With Earthing Switch 1425BIL "]
[]
[null,161,1,null,"400 kV 3150 A 63 kA  110 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1425 BIL "]
[null,162,2,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1425 BIL "]
[null,163,3,null,"400 kV 3150 A 63 kA  110 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1425 BIL "]
[null,164,4,null,"400 kV 3150 A 63 kA 220 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1425 BIL "]
[]
[null,165,1,null,"400 kV 4000 A 63 kA  110 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1425 BIL "]
[null,166,2,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1425 BIL "]
[null,167,3,null,"400 kV 4000 A 63 kA  110 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1425 BIL "]
[null,168,4,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1425 BIL "]
[]
[null,169,1,null,"400 kV 4000 A 63 kA  110 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1550 BIL "]
[null,170,2,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Pantograph Disconnector Without Earthing Switch 1550 BIL "]
[null,171,3,null,"400 kV 4000 A 63 kA  110 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1550 BIL "]
[null,172,4,null,"400 kV 4000 A 63 kA 220 VDC Motor Operated Pantograph Disconnector With Earthing Switch 1550 BIL "]
[]
[null,173,1,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 BIL, 5500 mm spacing)"]
[null,174,2,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 BIL, 6500 mm spacing)"]
[null,175,3,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1425 BIL, 7010 mm spacing)"]
[null,176,4,null,"400 kV 63 kA 110/220 VDC Hand Operated 2-phase Earthing Switch (Separately Mounted, 1425 BIL, 6500 mm spacing)"]
[null,177,5,null,"400 kV 63 kA 110/220 VDC Hand Operated Single-phase Earthing Switch (Separately Mounted, 1425 BIL)"]
[]
[null,178,1,null,"400kV 63kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1575 1550 BIL, 5500mm spacing)"]
[null,179,2,null,"400kV 63kA 220VDC Hand Operated Earthing Switch (Separately Mounted, 1575 1550 BIL, 5500mm spacing)"]
[null,180,3,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1550 BIL, 6500 mm spacing)"]
[null,181,4,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Separately Mounted, 1550 BIL, 7010 mm spacing)"]
[null,182,5,null,"400 kV 63 kA 110/220 VDC Hand Operated Earthing Switch (Single-phase Separately Mounted, 1550 BIL)"]
[]
[null,183,1,null,"550kV 4000A 63kA 110VDC Motor Operated Disconnector Without Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,184,2,null,"550kV 4000A 63kA 110VDC Motor Operated Disconnector Right Hand Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,185,3,null,"550kV 4000A 63kA 110VDC Motor Operated Disconnector Left Hand Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,186,4,null,"550kV 4000A 63kA 110VDC Motor Operated Disconnector Double Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,187,5,null,"550kV 4000A 63kA 220VDC Motor Operated Disconnector Without Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,188,6,null,"550kV 4000A 63kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,189,7,null,"550kV 4000A 63kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[null,190,8,null,"550kV 4000A 63kA 220VDC Motor Operated Disconnector Double Earthing Switch 1425 1550 BIL, 5500mm & 6500 mm spacing"]
[]
[null,191,1,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Without Earthing Switch 2100BIL,11000mm spacing"]
[null,192,2,null,"880 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL,11000mm spacing"]
[null,193,3,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL,11000mm spacing"]
[null,194,4,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Double Earthing Switch 2100BIL,11000mm spacing"]
[null,195,5,null,"880 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 2100BIL,11000mm spacing"]
[null,196,6,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL,11000mm spacing"]
[null,197,7,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL,11000mm spacing"]
[null,198,8,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Double Earthing Switch 2100BIL,11000mm spacing"]
[]
[null,199,1,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Without Earthing Switch 2100BIL, 14000mm spacing"]
[null,200,2,null,"880 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,201,3,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,202,4,null,"800 765 kV 3150A 50kA 110/220 VDC Motor Operated Disconnector Double Earthing Switch 2100BIL, 14000mm spacing"]
[null,203,5,null,"880 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Without Earthing Switch 2100BIL, 14000mm spacing"]
[null,204,6,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,205,7,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,206,8,null,"800 765 kV 3150A 50kA 220VDC Motor Operated Disconnector Double Earthing Switch 2100BIL, 14000mm spacing"]
[]
[null,207,1,null,"765 kV 4000A 50 kA 220 VDC Motor Operated Disconnector Without Earthing Switch 2100BIL,11000 mm spacing"]
[null,208,2,null,"765 kV 4000A 50 kA 220 VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL,11000 mm spacing"]
[null,209,3,null,"765 kV 4000A 50 kA 220 VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL, 11000 mm spacing"]
[null,210,4,null,"765 kV 4000A 50 kA 220 VDC Motor Operated Disconnector Double Earthing Switch 2100BIL, 11000 mm spacing"]
[]
[null,211,1,null,"800 765 kV 4000A 63 50 kA 110/220 VDC Motor Operated Disconnector Without Earthing Switch 2100BIL,14000mm spacing"]
[null,212,2,null,"880 765 kV 4000A 63 50 kA 110/220 VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL,14000mm spacing"]
[null,213,3,null,"800 765 kV 4000A 63 50 kA 110/220 VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,214,4,null,"800 765 kV 4000A 63 50 kA 110/220 VDC Motor Operated Disconnector Double Earthing Switch 2100BIL, 14000mm spacing"]
[]
[null,215,1,null,"880 765 kV 4000A 63kA 220VDC Motor Operated Disconnector Without Earthing Switch 2100BIL, 14000mm spacing"]
[null,216,2,null,"800 765 kV 4000A 63kA 220VDC Motor Operated Disconnector Right Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,217,3,null,"800 765 kV 4000A 63kA 220VDC Motor Operated Disconnector Left Hand Earthing Switch 2100BIL, 14000mm spacing"]
[null,218,4,null,"800 765 kV 4000A 63kA 220VDC Motor Operated Disconnector Double Earthing Switch 2100BIL, 14000mm spacing"]
[]
[null,219,1,null,"800 765 kV 50kA 110 / 220VDC Hand Operated Earthing Switch (Separately Mounted, 2100 BIL, 11000mm spacing) Single ES"]
[null,220,2,null,"800 765 kV 63kA 110 / 220VDC Hand Operated Earthing Switch (Separately Mounted, 2100 BIL, 14000mm spacing) Single ES"]
[]
[null,221,1,null,"Electronic Online Condition Monitoring and/or Integrated Diagnostic Devices"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}