REQUEST FOR QUOTATION FORM FOR GOODS

AND SERVICES

AGRICULTURAL RESEARCH COUNCIL (ARC)

RFQ No:		12136

Enquiries: 		Mr Theo Gropp

Tel:			082 439 2067

RFQ Closing Date: 07/02//2022 before 12:00

1.	You are kindly requested to submit a written quotation to Agricultural

Research Council as per below or attached terms of reference (TOR’s).

| Description | Quantity | UOM |
| --- | --- | --- |
| Control unit interface for glasshouses to connect to central computerized monitoring system: COOLING SYSTEM: Supply controller and interface. Unit must be installed as a key turn project. Installation, commissioning and programming required. 1 year supervisory maintenance. Preliminaries & General: The Tenderer shall allow whatever cost he may consider necessary for transporting all equipment, travel and accommodation. The Tenderer shall allow for a fixed tender price for the duration of this project. The Tenderer shall allow whatever cost he may consider necessary for a qualified Project Manager for the duration of the project. The Tenderer shall allow for the following: 1. Full Site PPE, HVAC Consultants at site meetings (Proper reflective Jackets and ventilated Hard hats) and Storage space for PPE. 2. First Aid Box on Site 3. H&S file including all appointments, registers, safe work procedures and training material 4. Risk Assessments 5. H&S Supervisor 6. H&S Representative 7. H&S Protective clothing for workers. 1 year guarantee to be supplied. | 1 | Ea |
| Compulsory site meeting is scheduled as follows: Place: ARC-Small Grain Institute R76, Lindley Road Bethlehem Date: 31 January 2022 Time: 11:00 Tel: 058 307 3400 |  |  |

2.	The above specified goods/services should be delivered/rendered to:

Name of Institute	: ARC-Small Grain Institute

Address		: 11 Km on Lindley Road

Blydskapweg

Bethlehem

3.	The particulars of the guarantee that will apply to the goods quoted for,

with particular regard to the period and extent of the warranty must be

clearly stated. Where services are required, service providers must submit

documentation pertaining the relevant experience.

4.	Your written quotation must be emailed to: mahlabar@arc.agric.za

5.	All price quotations that have a rand value of R30,000-00 to R1 000 000.00

including VAT, will be evaluated by applying the 80/20 principle as

prescribed by the Preferential Procurement Policy Framework Act 5 of

2000 and its Regulations. The lowest acceptable price will score

80 points, the 20 BBBEE points will be allocated as follows:

| B-BBEE Status Level of Contributor | 80/20 |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 16 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant Contributor | 0 |

6.	Standard conditions:

6.1	The validity of the quotations must be indicated.

6.2	Prices quoted should be in South African Rand and inclusive of VAT costs

such as delivery, insurance, taxes, etc.

6.3	No price adjustments or amendment of the delivery particulars contained

in paragraph 2 will be considered by the ARC.

6.4	The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted for.

6.5	ARC reserves the right to accept or reject any special terms and

conditions that may qualify the goods/services to be provided.

6.6	Quotes should be submitted on an official letterhead and duly signed

6.7	Goods and services should be supplied/rendered upon receipt of a

purchase order from the ARC

6.8	The General Conditions of Contract issued by National Treasury are

applicable.

6.9	The ARC supply chain management code of conduct is applicable.

6.10	SBD Forms must be signed and returned together with the quotation, failure to comply will result to disqualification of your quotation.

6.11	Only quotation from suppliers who are requested to quote shall be

evaluated and considered.

6.12	Your quotation must indicate the delivery date.

6.13	The ARC reserve the right to do due diligence on the quotations.

6.14	The ARC reserve the right to benchmark prices quoted.

Thank you in anticipation

Supply Chain Management: ARC

Date: 24/01/2022