Eskom Holdings SOC Limited

Contract number

Weather Mast Structure and Instrumentations


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	
	

	C3.1
	Employer’s Works Information
	35

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	35


C3.1: Employer’s works Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s works Information
2
1
Description of the works
4
1.1
Executive Overview
4
1.1.1
Background
4
1.1.2
Scope of work for the dismantling and decommissioning of the current 96m guyed lattice mast on site
6
1.2
Employer’s objectives and purpose of the works
6
1.2.1
Project Purpose
6
2
Management and Start Up
7
2.1
Management Meetings
7
2.2
Documentation / Documentation Control / Configuration Management
8
2.2.1
Documentation
8
2.2.2
Documentation Control
8
2.3
Health and Safety Risk Management
9
2.3.1
General
9
2.3.2
Matimba Permit to Work System
9
2.3.3
SHE documentation required from the Contractor at tender
10
2.3.4
Health and Safety Plan (Construction Regulations)
10
2.3.5
Occupational Health and Safety Act 1993, Section 37
10
2.4
Housekeeping
11
2.5
Barricading
11
2.6
Hazardous Waste
11
2.7
Environmental Management
11
2.8
Quality Assurance Requirements
12
2.8.1
Quality Management System
12
2.8.2
Quality Documents Submitted with the Tender
12
2.8.3
Quality Documents Submitted after the Contract Date
12
2.8.4
Contract Quality Management Plan Requirement
13
2.8.5
Quality Control Plan
13
2.8.6
Access to the Contractor’s and Subcontractor(s) Premises and Facilities
14
2.8.7
Inspection and Testing
14
2.8.8
Quality Records
14
2.9
Program / Programming Constraints
15
2.9.1
Purpose
15
2.9.2
Scope
15
2.9.3
Requirements
15
2.9.4
Definition of Plans
15
2.9.5
Contractor’s Skilled Staff
15
2.9.6
One Plan to be submitted
15
2.9.7
Plans to be submitted
15
2.9.8
Documentation
16
2.10
Invoicing and Payment
16
2.11
Insurance provided by the Employer
16
2.12
Contract Change Management
16
3
Engineering and The Contractor’s Design
17
3.1
Employer’s Design
17
3.1.1
System Support and Performance Characteristics
17
3.2
Completion
17
3.2.1
Completion of the Whole of the Works
17
4
Procurement
17
4.1
People
17
4.1.1
Minimum requirements of people employed on the Site
17
4.2
Subcontracting
17
4.2.1
List of Proposed Sub-Contractors
17
5
CONSTRUCTION
18
5.1
Employer’s Site entry and security control, permits, and Site regulations
18
5.2
Health and safety facilities on Site
18
5.3
Publicity and progress photographs
18
5.4
Contractor’s Equipment
18
5.5
Site services and facilities
18
5.6
Facilities provided by the Contractor
19


1 Description of the works
1.1 Executive Overview 
1.1.1 Background 

The 96-meter high 450S WEBB guyed mast is supported at three positions by the action of anchors. The support of the mast occupies a radius of 78m from the centre of the mast. Vertical support to the mast is provided by the mast foundation and the vertical force component of a series of 12mm diameter guyed ropes. Horizontally, the mast is supported by the guy ropes. The separation distance between the levels is 12m apart vertically. The arrangement of the guy ropes is anchored at 20m, 50m and 78m positions at ground level with reference from the base of the mast (shown in Fig 1 and Fig 2 below). The 96-meter-high weather mast is equipped with a data logger, a wind monitor, a barometric pressure gauge, a rain gauge, temperature probes, and radiation shields.

[image: image1.emf]
Figure 1: Matimba 96m 450S Webb Guyed mast layout
[image: image2.png]VIEW SHOWING VERTICAL MISALIGNMENT

XY

o\

W 1775

e

”k‘\‘\‘ l% |

‘NN 2
NV /4

H. LAWRENCE CONSULTING cc

VIEW SHOWING CLOSE UP OF ANEMOMETER

Ref: WORD - 05-204-08 PHOTOGRAPHS-02 — MATIMBA

300ft — 96.0m WEATHER MAST @ MATIMBA POWER STATION




 Figure 2: Current condition of the mast

1.1.2 Scope of work for the dismantling and decommissioning of the current 96m guyed lattice mast on site

The contractor responsible for dismantling the current weather mast must perform the following:

· Notify the provincial director in writing as per the Occupational Health and Safety Act and Regulations 85 of 1993, Construction Regulations, Section 3

· Provide to Eskom a detailed Risk assessment of the dismantling process of the 96m guyed lattice mast as per the scope of work provided by the contractor. 

· Comply with the Occupational Health and Safety Act and Regulations 85 of 1993, Construction Regulations, Section 12 regarding Demolition of work 

· Conduct a geotechnical investigation to ensure that the soil has sufficient bearing capacity to support the equipment that will be used to dismantle the mast. 
· Provide Eskom with a detailed method statement report signed off by the Contractor’s appointed Structural Engineer (PrEng) The method statement must describe all activities in detail.
· Provide Eskom with a detailed schedule of activities and estimated duration.

· Provide Eskom with geotechnical investigation report signed off by the Contractor’s appointed structural engineer (PrEng).
· Before dismantling, the contractor must remove all instrumentations from the mast without damaging them.
· The dismantling of the current mast must be done in a safe manner 
· Dismantle the mast structure into small sections that can be transported to the waste sorting area.
· The contractor must remove all weather instrumentations to an area pointed out by the client
· The contractor must remove all weather mast structures and transport them to a waste sorting area.
1.2 Employer’s objectives and purpose of the works

1.2.1 Project Purpose
The purpose of this project is to dismantle and decommission the current 96m guyed lattice mast structure which is unsafe to climb.

2 Management and Start Up

2.1 Management Meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Project Kick-Off Meeting
	Once, before contract start 
	Matimba Power Station
	Contractor’s Project Manager, Project Supervisor and other attendees at the discretion of the contractor.

Employer’s Project Team

	Progress Meeting
	Daily
	Matimba Power Station
	Contractor’s Project Manager or Project Supervisor

	Risk Management Review 
	Daily 
	Matimba Power Station
	Contractor’s Project Manager or Project Supervisor


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature, and the progress of the works. Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting. 
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions. 
2.2 Documentation / Documentation Control / Configuration Management

2.2.1 Documentation

2.2.1.1 General

Documentation requirements covers the life cycle of the project from the initial engineering stages through to installation and commissioning. Not only must these documents be comprehensive and complete but comply too strict document control and revision procedures. 

All the drawings issued by the Employer for this contract is copyright protected and not copied by the Contractor.
2.2.1.2 Documentation Management System

All documentation maintained and updated until Completion. Any changes propagated automatically to all related documentation. All documentation forms an integral part of the documentation system. 

The KKS plant position codes are identified in the documentation. KKS codes, down to third level, to be used on all Eskom documentation. The Contractor to include the Project Manager accepted drawing head on all drawings submitted to the Project Manager. The format of all documents submitted to Eskom (project manager or lead engineer) for acceptance. 

2.2.2 Documentation Control

The Contractor implements a comprehensive document control system for all documents, their revision status and of the document status in relation to the “as built” and "as designed” plant status. Procedures, document control, flow diagrams and indexes are included in this system. The drawing register contains the following information and submitted monthly, in a Microsoft Excel format, to the Project Manager:

· Drawing number (Employer and makers number)

· Revision

· Approval status

· Location of drawing at that stage

· Drawing KKS number

· Drawing description

· Sheet number

2.3 Health and Safety Risk Management

2.3.1 General

The Contractor complies with the following:

·   Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety Specifications for Contractors (PA/270/003) attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderers to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

·   Compliance with Eskom & Matimba No Smoking Policy

·   Adhere to the OHS Act 85 of 1993

·   All staff will undergo Safety Induction, presented by Matimba Risk Management Department

       Employer’s site regulations as stipulated in Form PA/270/003, covering the following:

·   Clean lines

·   Storage of material

·   Safety precautions and fire prevention

·   Permits to work

·   Other Contractor's work

·   Representation of sub-Contractors

·   Maintenance staff to witness erection/demolishing
·   Supervision

·   Handing over of works
·   Contractor's Site

2.3.2 Matimba Permit to Work System 

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she at all times comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, are trained and on successful completion of Matimba’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

· The conditions of permits and cautionary notices are strictly adhered to

·    The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

· The safe work procedures as laid down by Matimba Power Station and as determined by the Risk Assessment, shall be followed

· The workers register and cautionary notices are discussed daily with workers 

2.3.3 SHE documentation required from the Contractor at tender
The Contractor shall provide the following documents in terms of Health, Safety and Environmental performance, should the Contractor not provide this information it will be assumed that it does not exist:

2.3.4 Health and Safety Plan (Construction Regulations)

The Contractor shall compile a Health and Safety Plan, filed in a Health and Safety File. Healthy and safety file should be compiled in line with attached healthy and safety file guideline index.

2.3.5 Occupational Health and Safety Act 1993, Section 37

The Contractor shall comply with the following:

·   The Occupational Health and Safety Act, 1993, and all Regulations made there under.

·   All Employer Safety and Operating Procedures, which are attached hereto.

The Contractor acknowledges that he is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes to not allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

· Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

· Supply the Employer Safety Officer with copies of all appointments in respect of Employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

· Do safety audits at the Contractor's premises, its workplaces and on its Employees.

· Refuse any Employees, sub-Contractor, or agent of the Contractor access to its premises if such person is found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

· Issue the Contractor with a work stoppage should Employer become aware of any unsafe working procedures, conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

2.4 Housekeeping
Working areas cleaned daily. All electrical cables and hoses routed so as not to cross over floors, walkways, and roads.  All equipment packed neatly without interference to access.  

2.5 Barricading

Access to danger zones is done using handrail type guards of at least 1,2 meters high, able to block access to the danger zone. Symbolic safety signs depicting “Danger” and “No entry” attached to the guards.

2.6 Hazardous Waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5.
2.7 Environmental Management

Matimba has an Environmental Policy, PP/240/001, to which the Contractor and his employees must adhere. It is the responsibility of the Contractor to ensure that he obtains copies of the Matimba Environmental Policy, the legal register applicable to his area of responsibility, the aspect register and the Matimba procedures (applicable to the Contractor’s area of responsibility) and to familiarize themselves on such procedures, within 30 days from the date of commencement of work at Matimba, to assist the Contractor and his/her employees to prevent pollution and to comply with legislative requirements. Copies of the above-mentioned documents shall be obtained from the Project Manager or Environmental Officer on the first day prior to commencement of work at Matimba. The Contractor shall submit proof to the Environmental Officer of Matimba that he and his employees has done all the necessary training on procedures and Policies supplied to them and that they do understand the contents of the procedures, registers and policies and will always adhere to them. 

The non-adherence to the Matimba Environmental policy and rules could result in the termination of this contract.

2.8 Quality Assurance Requirements
2.8.1 Quality Management System

The Contractor shall implement and maintain a quality management system that as a minimum meets the requirements of Generation Standard GGS 0462 Quality Management for Engineering and Construction Works. If the Contractor is registered, the appropriate ISO 9001:2000 Registration certificate of compliance must be supplied with the tender. 
The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Works Information.

The Contractor notifies the Project Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and subcontracts. 

2.8.2 Quality Documents Submitted with the Tender

The Contractor submits a copy of his quality policy and quality system procedures relevant to the Works.

The Contractor also submits a typical quality control plan.

The Project Manager evaluates the Contractor’s capabilities with regards to quality assurance and quality control based on these submissions and the performance history of the Contractor. The Project Manager performs pre-award assessments where necessary, giving further information to aid the selection process.

2.8.3 Quality Documents Submitted after the Contract Date

Contractor submits a fully detailed Quality Assurance Programme (QAP) for acceptance by the Project Manager within four weeks of the Contract Date.

The documents submitted by the Contractor shall include the following:

·   Copy of the Quality Manual

·   Copy of the Quality System Procedure

·   Copy of the Contract Quality Management Plan

·   Copy of Quality Control Plans

·   Copy of the proposed index of the QA/QC, inspection and test records

The Contractor will further submit the following documents during the course of the contract:

·   Non-conformance reports (NCR’s) raised by the Contractor
·   Notification of any planned changes to the Contractor’s quality manual, quality system procedures, contract quality management plan or quality plan for acceptance by the Project Manager prior to implementation

·   Concession/production permit applications and supporting documentation 

·   Data books and/or data packages

2.8.4 Contract Quality Management Plan Requirement
The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

·   Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

·   Establishes communication channels between the Contractor and the Project Manager in respect of quality and the integration of such with prescribed contract communication channels

·   Identifies items or activities for which quality control plans will be prepared 

·   Identifies the areas or processes requiring special controls

·   Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure 

·   Identifies the documents which are to be submitted to the Project Manager

·   Identifies the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Project Manager but will not be greater than one year.

2.8.5 Quality Control Plan 

The Contractor quality control plans cover inspection and test proposals for items or activities to be supplied as part of the works.

The quality control plan indicates the following as appropriate:

·   The identification of the item

·   The material

·   A list of the sequence of operations including inspections and tests

·   The identification of the specification, drawings or procedures for each operation

·   The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number

·   The inspections and tests the Contractor has nominated for hold and witness points

·   Provision for inspections and tests nominated by the Project Manager

The quality control plans are reviewed by the Project Manager to allow for insertion of his specific requirements, including hold and witness points, prior to commencement of work. The Contractor does not commence work until the Project Manager accepts. 

2.8.6 Access to the Contractor’s and Subcontractor(s) Premises and Facilities
The Contractor and/or its subcontractor gives access to the Supervisor and/or the Authority/Agency and the Regulator where appropriate to their premises and facilities at reasonable times to conduct quality assessments, audits, surveillances, and inspections to establish compliance with the contractual requirements.

2.8.7 Inspection and Testing

The Contractor gives at least 24 hours advance notification to the Supervisor or the Authority for inspection/test and hold or witness points, which require their attendance. The Contractor confirms readiness for inspection at least 24 hours prior to the test.

The Contractor ensures that all work has been fully inspected, accepted, and documented prior to requesting any inspection by the Supervisor.

2.8.8 Quality Records

The Contractor prepares and submits to the Project Manager an Index of QA/QC and inspection and test records prior to the commencement of work.

The Project Manager determines which documents are to be submitted during the performance of work and reviews the index and request changes if required. The Contractor conforms to the Index approved by the Project Manager
The Contractor ensures all records identify the items, equipment and/or activities to which they pertain and collates indexes and securely stores the records in such a manner that they are readily retrievable.

The Contractor implements appropriate administrative controls to limit access to prevent inadvertent loss of or damage to records.

The Contractor stores all quality records. The Contractor only destroys or discards quality records with the approval of the Project Manager.

The Contractor presents on completion of the works all quality records in the form of a data package. The package is indexed and shows the entire contents.

2.9  Program / Programming Constraints 
2.9.1 Purpose

The purpose of the program and planning is to define the Employers requirements for the time, cost and resource planning and control when using the NEC contract.

2.9.2 Scope

All project programming and contract progress monitoring for projects is based on NEC contract conditions.

2.9.3 Requirements

Compliance with all requirements as defined in this document.

2.9.4 Definition of Plans

“Plans to be submitted” is defined as the collective submission of a programme, forecast rate of payment (FRP) schedule and resource schedule.

2.9.5 Contractor’s Skilled Staff

The Contractor makes available, for the duration of the contract, skilled planning personnel to work with and liaise with the Project Manager as required.

2.9.6 One Plan to be submitted
The Contractor submits only one programme, which incorporates the programmes of all his sub-contractors. The interface points between his different subcontractors, as well as the interface points between the individual subcontractor’s works and the Contractor’s works are clearly indicated. Project Key Milestones as supplied by the Project Manager, are incorporated into the programme as per the NEC Core Clause 31.2.

Likewise, the Project Manager only accepts one forecast rate of invoicing and resource schedule.

2.9.7 Plans to be submitted

At the period stated in the Contract Data, the Contractor submits his programme for the Project Manager’s acceptance.

A summary programme (Hammock) provided where the summarised activities including the possession dates, and major interfaces of services and or other contracts logically required for the completion of the contract clearly shown.

2.9.8 Documentation
The Contractor submits all programming documentation described in this procedure.  The layout of reports is agreed with the Project Manager.

Although the Project Manager does not intend duplicating the Contractor’s program and progress reporting effort, portions or high-level extraction’s of the Contractor’s programme may be used in an overall project programme if this is deemed necessary for control purposes.

2.10 Invoicing and Payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to:

Invoiceseskomlocal@eskom.co.za and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)
After each and every assessment the contractor need to compile the invoice, original copy must be submitted to Account Payables in Matimba P/S and  the copy must be submitted to the Project Manager for payment purposes.

All invoice should be submitted by 25th of every month for payments in local currency (ZAR), commercial invoices for payments in foreign current should be submitted by 19th every month.

Invoices can be handed in or submitted electronically

2.11 Insurance provided by the Employer

As per NEC insurance cover clause 80.1

2.12 Contract Change Management 

Any change to the contract changes management should be discussed and be approved by the employers Project Manager.

3 Engineering and The Contractor’s Design
3.1 Employer’s Design

3.1.1 System Support and Performance Characteristics

3.1.1.1 Supportability

The technical service and support should be fully supported from resources within the Republic of South Africa.
3.1.1.2 Reliability 

The successful contractor shall provide a service that will not impact on the reliability and availability of Matimba Power Station.

3.2 Completion

3.2.1 Completion of the Whole of the Works

Completion of the whole of the works is defined as follows:

· 96m guyed lattice mast dismantled and decommissioned 

· Weather mast structure and instrumentations stored properly 
· All documentation and drawings updated and integrated into the Employer’s documentation

· All maintenance documentation, check sheets and procedures are updated and integrated into the Employer’s documentation 

4 Procurement
4.1 People
4.1.1 Minimum requirements of people employed on the Site
·  All people employed to Provide the Works shall have South African Citizenship

·  If international employees will be employed to Provide the Works they shall have official work permits

·  All people employed to Provide the Works shall be trained on health and safety

·  All people employed to Provide the Works shall be trained on doing risk assessment

4.2 Subcontracting

4.2.1 List of Proposed Sub-Contractors

The Contractor indicates on a list as shown below, the names of any sub-contractors whose services may be used to provide the works.  The Contractor provides a short description of the work it is proposed to sub-contract to each, together with an approximate value of the work to be executed by each. 

Where the sub-contractor will be required to do physical work on site the Contractor provides details on the experiences of the mentioned sub-contractor as well as a list of references involving work of a similar nature.

Notwithstanding the inclusion of a sub-contractor’s name below, the Contractor obtains the written acceptance of the Project Manager prior to the employment of such sub-Contractor on the Site. 

5 CONSTRUCTION

5.1 Employer’s Site entry and security control, permits, and Site regulations

The Contractor complies with the following:

· Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety Specifications for Contractors (PA/270/003).

· Compliance with Eskom & Matimba No Smoking Policy

· Adhere to the OHS Act 85 of 1993

· All staff will undergo Safety Induction, presented by Matimba Risk Management Department

· Always adhere to Eskom Cardinal Rules
· The Contractor must conform to the access control requirements as set out in the document called “Health and Safety Practices for Contractors at Matimba Power Station”.

· The Contractor must conform to the requirements set out in the document called “Eskom Environmental Practices and Standards”.

· Names and Identity numbers are required seven working days before the contract starts. Photocopies of Identity documents are also required.

· Lost permits will be paid for by the Contractor to Protective Services at a cost of R100-00 per lost permit.

· Only work vehicles with an approved permit will be allowed on site. No private vehicles will be allowed on site.

· Arrangements must be made with the Employer’s Representative well in advance to allow sub-contractors on site.

· The transport of any equipment onto site must be declared and documented at Protective Services to facilitate the future removal thereof.

· At least one supervisor shall be authorized as a Responsible Person in terms of the Eskom Plant Safety Regulations to take out Permits to Work on plant.
5.2 Health and safety facilities on Site 

· The Medical Station is available on site during normal working hours. The afterhours emergency telephone number is 014-763-8311 or from a Matimba phone the extension is 5000 that can be phoned for assistance.

· Fire protection and rescue services are available on site 24 hours per day.

5.3 Publicity and progress photographs 

Cameras and publishing of progress photographs is prohibited
5.4 Contractor’s Equipment
The contractor shall register all their equipment and declare all their belongings at the security gate upon arrival. Unregistered belongings upon arrival will not be allowed to be removed offsite.

5.5 Site services and facilities

Employer will provide: 

· Power 

· Water

· Waste disposal

5.6 Facilities provided by the Contractor
· All transport
· Accommodation if needed is for the Contractor’s own account.

· All tools must be provided by the Contractor for the works.
· All workshop machinery must be provided by the Contractor for the works.
· All office equipment must be provided by the Contractor for the works.
· Telephone bills will be paid by the Contractor.
· The Contractor must provide working procedures for each activity to the Employer’s Representative at least 1 week before work may proceed. This procedure will include “Safe working procedures”.

· The Contractor must provide all the material needed for the works. The safeguarding, care and security of all equipment and materials while the Contractor is performing the works is the responsibility of the Contractor.

· All redundant Contractor’s material must be moved to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap must be cleared of site daily.


Part C3: Scope of Work
1
C3 ecc3 Cover page


