TERMS OF REFERENCE

SUPPLY AND DELIVERY OF MODULAR PREFAB STRUCTURES, INCLUDING CONNECTION OF SERVICES (ELECTRICITY AND WATER SUPPLY) – QUEEN NONESI CAMPUS

- BACKGROUND

The Ikhala TVET College – Queen Nonesi Campus situated in Gqebenya Village Lady Frere is lacking classrooms and teaching venues including computer labs.

The college intends to expand the campus by building Modular Prefab Structures as part of its expansion to accommodate the additional number of students.

- SCOPE OF WORK

- 3 X no. of Computer Labs (to accommodate 35 students per each Lab)

- Server room

- 3 teaching venues/classrooms (2 in these classrooms to be designed as a hall that have a soundproof divider to create 2 classrooms that will accommodate 30 students per venue).

- Installation of a power skirting

- Electric DB board

- Air conditioners per each computer lab

- White board

- Structures to be constructed on top of the concrete floor slab

- Floor slab to be reinforced and be 20mpa

- Installation of gutters to be directed to and pure water to JOJO Tanks

- Prefab material to be unsaturated material

- Fitted with notice boards on the outside

- Each venue to fitted with fire extinguishers

- Roof type to be a pitched roof

- Provide veranda in front of classrooms and doors.

- PROJECT LOCATION

This project is located at Queen Nonesi Campus situated in Gqebenya Village Lady Frere.

- PROJECT DURATION

The project expected duration is approximately 6 months from date of award (Subject to the final scope of works).

- PROJECT TEAM STRUCTURE

The project team will consist of the Client (Ikhala TVET College) represented by the following

- Facilities & Records Manager,

- Campus Manager/delegated official

- Admin Officer (Facilities Officer)

- 3 members Project Steering Committee (PSC)

- Community Liaison Officer (CLO).

- METHODOLOGY

See specification attached

- SKILLS TRANSFER

- Not applicable in this project.

- TIME FRAMES

| PROCESS | CONCLUDED BY: |
| --- | --- |
| SITE BRIEFING (Queen Nonesi Campus) | IKHALA |
| IKHALA COLLEGE: | IKHALA |

- PREFERENCE POINT SYSTEM

The tender will be evaluated on the 80/20 Preference Points system as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000, and Points will be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with legislation.

- EVALUATION PROCESS TO BE FOLLOWED

Evaluation of proposals – All proposals will be evaluated by a team for functionality, price and B-BBEE. Based on the results of the evaluation process, Ikhala College will approve the awarding of the contract to successful tenderer.

A two-phase evaluation process will be followed.

- The first phase, Technical Proposal, includes functionality, local presence and experience relevant to the nature of the project.

- The functionality evaluation will be based on the criteria as listed underneath.

- Pricing Proposals will only be considered after functionality phase has been adjudicated and accepted. Only proposals that achieved a minimum qualification score of 60% for functionality will be evaluated further using the preference points system.

- The 80/20 preference point system will be used where 80 points will be dedicated to price and 20 points to B-BBEE status.

- Proposals with functionality points of less than the pre-determined minimum overall percentage of 60% and less than 50% on any of the individual criteria will be eliminated from further evaluation.

- EVALUATION CRITERIA

Evaluation Criteria as stipulated in the Tender Document

- COST OF PROPOSAL

- Tenderers are expected to fully acquaint themselves with the conditions, requirements and specifications of this Request for Proposal (RFP) before submitting proposals.

- Each tenderer assumes all risks for resource commitment and expenses, direct or indirect, of proposal preparation and participation throughout the RFP process.

- Ikhala College will not be responsible directly or indirectly for any costs incurred by tenderers.

13.	PRICING PROPOSAL

Price needs to be provided in South African Rand (excl. VAT), with details on price elements that are subject to escalation and exchange rate fluctuations, if any, clearly indicated.

Only firm prices* will be accepted during the tender validity period. Non–firm prices** (including prices subject to rates of exchange variations) will not be considered.

*Firm price is the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax which, in terms of a law or regulation is binding on the contractor and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

**Non-firm price is all prices other than “firm” prices.

- VALIDITY PERIOD OF PROPOSAL

Each proposal shall be valid for a minimum period of 90 days calculated from the closing date.

- COMPULSORY BRIEFING SESSION

Compulsory site briefing is scheduled for the 09 February 2023 @ 10:00am at Ikhala TVET College, Gqebenya Location, on R410 to Cacadu (18km from Queenstown/Komani)  as follows.

| SITE | DATE | TIME |
| --- | --- | --- |
| Ikhala Tvet College: Queen Nonesi Campus | 09 February 2023 | 10:00 am |

- CLOSING DATE

23 February 2023 @11:00am as indicated in the advert.