# CONTRACT DATA

A contract between

SENTECH, Sender Technology Park, Radiokop, Octave Road, Honeydew,  and

## ____________________________________________________________________________________ ____________________________________________________________________________________

APPOINTMENT OF A SUITABLY QUALIFIED AND EXPERIENCED CONTRACTOR TO RENDER WATERPROOFING SERVICES AT SENTECH’S CONSTANTIA   TRANSMITTER SITE.

Bid Number: XX

# Contents

Part C1: Agreements and contract data

Form of Offer and Acceptance

Contract Data provided by the Sentech

Contract Data provided by the Supplier

Part C2: Pricing Data

Part C3: Scope of Work

Conditions of Contract (available separately)

PART C1: AGREEMENTS AND CONTRACT DATA –

# Form of Offer and Acceptance Offer

Sentech, identified in the acceptance signature block, has solicited offers to enter into a contract for the APPOINTMENT OF A SUITABLY QUALIFIED AND EXPERIENCED CONTRACTOR TO RENDER WATERPROOFING SERVICES AT SENTECH’S CONSTANTIA TRANSMITTER SITE.

The Bidder, identified in the offer signature block, has examined the documents listed in the Tender Data and addenda thereto as listed in the Bid schedules, and by submitting this offer has accepted the conditions of the Bid.

By the representative of the Bidder, deemed to be duly authorized, signing this part of this form of offer and acceptance, the Bidder offers to perform all of the obligations and liabilities of the Bidder under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

## THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF APPLICABLE

TAXES; (in the Bids applicable currency).

### _______________________________________________________________________ (amount in words);

### ________________________________________________________________________(amount in figures)

NB: The Prices quoted above is the total Bid offer inclusive of all applicable costs, escalation and taxes for the Contract duration. The price must be carried over from the price breakdown / schedule of rates provided in the Bid document. In the event that there is a conflict between the amount in words and the amount in figures, the amount in words shall govern.

This offer may be accepted by Sentech by signing the acceptance part of this form of offer and acceptance and returning one copy of this document to the Bidder before the end of the period of validity stated in the Tender Data, whereupon the Bidder becomes the party named as the Bidder in the conditions of contract identified in the Contract Data.

Bidder’s Signature(s) ___________________________

Signed by the Bidder at ____________ on this the __________ day of _____________ 20__________

Name(s)  _________________________________  ___________________________________________

### Capacity ___________________________________  __________________________________________

Address (Domicillium)

## Acceptance

By signing this part of this form of offer and acceptance, Sentech accepts the Bidder’s offer. In consideration thereof, Sentech shall pay the Bidder the amount due in accordance with the conditions of contract identified in the Contract Data. Acceptance of the Bidder’s offer by the signature by Sentech shall form an agreement between Sentech and the Bidder upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1 Agreements and contract data, (which includes this agreement)

Part C2 Pricing data

Part C3 Scope of work.

and drawings and documents or parts thereof, which may be incorporated by reference into Parts C1 to C3 above.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto as listed in the Bid schedules as well as any changes to the terms of the offer agreed by the Bidder and the employer during this process of offer and acceptance, are contained in the schedule of deviations attached to and forming part of this agreement. No amendments to or deviations from the said documents are valid unless contained in this schedule of deviations.

Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Sentech’s Signature(s) ________________________________

Signed by Sentech at ____________ on this the __________ day of _____________ 20__________

Name(s) _________________________________

Designation_______________________  ___________________________________________

### SENTECH SOC LIMITED,

Sender Technology Park

Octave Road, Radiokop

Honeydew

Johannesburg

### Date ___________________

Upon acceptance by Sentech of the Bidder's offer, a contract will come into existence.

SCHEDULE OF DEVIATIONS

Notes:

- The extent of deviations from the Bid documents issued by the Sentech before the Bid closing date is limited to those permitted in terms of the conditions of Bid.

- A Bidder’s covering letter shall not be included in the final contract document. Should any matter in such letter, which constitutes a deviation as aforesaid, become the subject of agreements reached during the process of offer and acceptance, the outcome of such agreement shall be recorded here.

- Any other matter arises from the process of offer and acceptance either as a confirmation, clarification or change to the Bid documents and which it is agreed by the Parties becomes an obligation of the contract shall also be recorded here.

- Any change or addition to the Bid documents arising from the above agreements and recorded here shall also be incorporated into the Contract.

1. 	Subject

### Details________________________________________________________________________

2. 	Subject

### Details_________________________________________________________________________

3. 	Subject

### Details__________________________________________________________________________

4. 	Subject

### Details__________________________________________________________________________

By the duly authorised representatives signing this schedule of deviations, Sentech and the Bidder agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the Tender Data and addenda thereto as listed in the Bid schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the Bidder and Sentech during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the Bid documents and the receipt by the Bidder of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this agreement.

# Contract Data

Part one - Data provided by Sentech given in all contracts

1. The Purchaser is

## SENTECH SOC LIMITED,

Sender Technology Park

Octave Road

Radiokop

Honeydew

Johannesburg

### 2. General

The National Treasury General Conditions of Contract for goods and services (NT GCC, 2010) or General Conditions of Contract for Works (2015) as issued by National Treasury and the Construction Industry Development Board of the Republic of South Africa apply, respectively.

The goods are specified in the Scope of Work.  The Special Conditions of Contract (SCC) are stipulated in the Tender Data.

3. Goods information:

The Goods Information is in the document called “Scope of Work” and in the documents and drawings referred to by it.

4. Terms of Delivery

The Terms of Delivery are contained in the General Conditions of Contract (GCC) and Special Conditions of Contract.

5. Language

The language of this contract is English.

### 6. Governing Laws and Jurisdiction

The Contract shall be governed by and interpreted according to the laws of the Republic of South Africa.

In the event of a conflict between or inconsistency in the laws applicable in the various provinces of the Republic of South Africa, the law as applied and interpreted in the Gauteng Province shall prevail.

The parties irrevocably submit to the exclusive jurisdiction of the South Gauteng High Court, Johannesburg in respect of any action or proceeding arising from this Bid.

This Bid and all contracts emanating there from will be subject to the General Conditions of Contract issued in accordance with Treasury Regulation 16A published in terms of the Public Finance Management Act, 1999 (Act 1 of 1999). The Special Conditions of Contract are supplementary to that of the General Conditions of Contract. Where, however, the SCC are in conflict with the GCC, the SCC shall prevail.

### 7. Sub-contracting post award

A Bidder awarded a Bid may only enter into a subcontracting arrangement with the approval of Sentech. The successful bidder may not subcontract more than 25% of the value of the contract to any other enterprise that does not have an equal or higher B-BBEE status level of contributor than the Bidder concerned, unless the contract is subcontracted to an EME that has the capability and ability to execute the subcontract.

### 8. Transformation Plan

A transformation plan is a record of activities an entity intends to undertake to improve its BBBEE Level through Ownership, Management and Control; Skills Development; Enterprise and Supplier Development and Socio-Economic Development.

Sentech reserves the right to request a BBBEE transformation plan with clearly defined timelines and milestones if the recommended bidder does not meet Sentech’s transformation goals. These milestones must be achieved over the term of the contract. This transformation plan shall be submitted within 10 working days from the written request, failing which Sentech reserves the right to withdraw its appointment of the preferred recommended Bidder.

9. Warranty

The warranty period is 12 months after Delivery.

### 10. Payment

The method and conditions of payment are contained in the Tender Data, GCC and SCC.

The interest on late payment is 0 % per complete week of delay.

### 11. Rate of Exchange, Currency Fluctuations and Currency

All bid prices quoted shall be in South African Rands (ZAR). If prices are in a foreign currency, the rate of exchange quoted shall remain fixed throughout the term of the agreement. Bidders will bear the risk of and all cost/s associated with currency fluctuations, therefore Bidders shall be required to manage such risk in their bid price.

### 12. General - Prices

All prices shall be quoted in ZAR.

Unless written approval has been obtained from Sentech, no adjustment in contract prices will be made.

Applications for price adjustment must be accompanied by documentary evidence in support of any adjustment.

### 13. Price Negotiations

Sentech reserves the right to negotiate market related prices and discounts. If market-related prices are not agreed to, Sentech reserves the right to terminate the negotiations and invite the next ranked Bidder for negotiations or cancel the Bid.

14. Liabilities indemnities and insurance

Insurance is required from the Bidder in respect of delivery and transportation where applicable.

### 15. Disputes

Should any dispute, disagreement or claim arise between the parties ("the dispute") concerning this Agreement, the parties shall try to resolve the dispute by negotiation. This entails one party inviting the other party to meet and attempt to resolve the dispute within fourteen (14) days from the date of the written invitation.

If the dispute has not been resolved by such negotiation as referred to in this clause above, the Parties shall submit the dispute to the Arbitration Foundation of Southern Africa ("AFSA") for administered mediation, upon the terms set out by the AFSA secretariat.

Failing such resolution, the dispute shall be resolved by arbitration in accordance with the rules and procedures of AFSA by an arbitrator appointed by AFSA.  Where the arbitration route is followed, the dispute must be adjudicated within Johannesburg in the English language and finally resolved in accordance with the rules of AFSA, by an arbitrator or arbitrators appointed by that Foundation.

The provisions of this clause shall not preclude any party from obtaining relief from a Court of competent jurisdiction. To this extent, the Parties hereby consent to the jurisdiction of the South Gauteng High Court, Johannesburg, South Africa. The provisions of this clause shall continue to be binding on the Parties, notwithstanding any termination or cancellation of this Agreement.

### 16. Termination

Sentech shall have the right, at its sole and exclusive discretion, upon written notice to the Bidder, to terminate this Agreement, in whole or in part should the Bidder fail to perform any of its obligations or deliver any deliverable timeously or should Sentech not be satisfied with the quality of any service/s in terms of this Agreement, to the satisfaction of Sentech.

Sentech shall furthermore have the right, as a result of such termination, to appoint a third party to perform the obligations of the Bidder in terms of the Agreement and the Bidder indemnifies Sentech against all costs incurred by Sentech in appointing such third party to fulfil the obligations of the Bidder.

Sentech shall have the right, at its sole and exclusive discretion, to terminate this Agreement, at any time, upon 30 (thirty) days’ written notice to the Bidder.

17. Contract Term

This Agreement will run for a period of 2 months.

This Agreement may be extended by agreement between Sentech and the successful Bidder prior to the expiration of the Agreement should this be required.

### 18. Supplier Due Diligence

Sentech reserves the right to conduct supplier due diligence at any time pre, during and post the contract period.  This may include announced or unannounced site visits.

### 19. Cession

Sentech shall be entitled to cede, delegate, assign, charge, transfer or otherwise dispose of this Agreement or any rights or obligations therein in whole or in part, upon prior written notice to the Bidder.

### 20. Monitoring and Evaluation

The service delivery and performance of the Bidder will be monitored and evaluated by Sentech at all relevant times. In the event that the Bidder defaults in any manner or form, Sentech reserves the right to blacklist the Bidder on the National Treasury Database of Prohibited Suppliers and Tender Defaulters, and to take such further steps as may be warranted in the circumstances which steps shall be determined at Sentech’s sole and exclusive discretion.

### 21. Protection of Personal Information Act No. 4 of 2013 (“POPI”)

Sentech is POPI compliant and the Bidder will ensure that it conducts itself within the prescripts of the prescribed legislation.

Should Sentech need to collect Personal Information by law or in consideration of the Tender, and the Bidder fail to provide the Personal Information when requested, Sentech may refuse to accept the relevant services from the Bidder, and the Bidder will be notified in this event.

By agreeing to the terms of this Agreement, the Bidder voluntarily authorizes Sentech to process its’ personal information (including its’ name, credit card & banking details, physical address, telephone numbers, reference letters & any other information it has provided to Sentech) for purposes of Tendering and contracting.

The Bidder consents to the transfer of such personal information to third parties.

This consent is effective immediately and will endure until the relationship between the Bidder and Sentech has been terminated.

The Bidder indemnifies and holds Sentech harmless against any loss, whether direct or indirect, arising out of the failure to process any of its’ personal data in accordance with applicable laws.

22. Delay damages

As stipulated in the Special Conditions of Contract.

Sentech's Representative is

Name: Mr. Zunaid Adams

Address: SENTECH SOC LIMITED

Sender Technology Park

Octave Road

Radiokop

Honeydew

2040

Johannesburg

Tel No. 011 471 4400

Sentech's Representative is the Executive: Legal and Regulatory.

# Contract Data

Part two - Data provided by the Bidder

Statements given in all contracts

The Bidder is:

Name   	 	 	 	 	 	 	 	 	 	 	 	 Address

a company / close corporation / partnership duly incorporated in accordance with the laws of the Republic of South Africa.

PART C2: PRICING DATA

| ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 2.1 | SANS1200 A | SECTION 1: PRELIMINARY AND GENERAL |  |  |  |  |
|  |  | Fixed-charge items: |  |  |  |  |
| 2.1.1 |  | Establishment: Contractual requirements, facilities for the contractor and other contractual obligations | Sum | 1 |  |  |
| 2.1.2 |  | Insurance required by the contractor other than that provided by the Employer, if any. | Sum | 1 |  |  |
| 2.1.3 |  | Occupational Health and Safety obligations in terms of Sentech Health and Safety specifications. | Sum | 1 |  |  |
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  | R |

| ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 2.2. |  | SECTION 2: Waterproofing Works |  |  |  |  |
|  |  | CONTRACTOR’S SPECIFICATIONS |  |  |  |  |
| 2.2.1 |  | Existing waterproofing to be stripped and cleaned off the roof before applying new layer of waterproofing. Strip existing waterproofing membrane and dispose at contractor's own disposal site | M2 | 402.3 |  |  |
| 2.2.2 |  | Demolish screeds where falls are insufficient, clear all full-bore drains, and of blocked, inspect by camera for repairs, & Apply new screeds to improved falls, | M2 | 402.3 |  |  |
| 2.2.3 |  | Once the screed is clean and dry apply a coat of bituminous primer and allow curing. | M2 | 402.3 |  |  |
| 2.2.4 |  | Carry out waterproofing using 4mm dual reinforced torch-on waterproofing membrane. Apply to all roof areas incorporate turn-up flashing details throughout. Use 75mm side-laps and 100mm end laps. Use fully bonded method and NOT spot bonding. | M2 | 402.3 |  |  |
| 2.2.5 |  | Seal all terminating edges of the waterproofing membrane using polyester reinforced liquid mastic flashing strips, 200mm wide. | Sum | 1 |  |  |
| 2.2.6 |  | Remove all full-bore outlet leaf guards and steel rings. Cut, dress and seal all waterproofing deep into the throat of the outlets. Reinstate the steel rings and leaf guards as found once these have been cleaned and painted | Sum | 1 |  |  |
| 2.2.7 |  | Coat the whole roof using Reflect, a fibred liquid aluminium coating which offers U.V protection and thermal insulation properties. (Silver Kote) | M2 | 402.3 |  |  |
| 2.2.8 |  | Wall Preparation and Waterproofing | M2 | 920 |  |  |
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  | R |

TABLE: FINAL SUMMARY OF THE WORKS

| ITEM | DESCRIPTION | RATE | AMOUNT |
| --- | --- | --- | --- |
| 2.1 | SECTION 1 | PRELIMINARY AND GENERAL |  |
| 2.2 | SECTION 2 | WALL AND ROOF WATERPROOFING |  |
| NETT TOTAL OF TENDER |  |  |  |
| CONTIGENCIES @10% |  |  |  |
| ADD 15% VALUE ADDED TAX |  |  |  |
| AMOUNT CARRIED TO FORM OF OFFER AND ACCEPTANCE |  |  |  |

Please note that there will be no upfront payments

# PART C3: SCOPE OF WORK

# SENTECH’S GOODS INFORMATION

APPOINTMENT OF A SUITABLY QUALIFIED AND EXPERIENCED CONTRACTOR TO RENDER WATERPROOFING SERVICES AT SENTECH’S CONSTANTIA   TRANSMITTER SITE.

| Item No | Site Name |  | Height (m) |  |
| --- | --- | --- | --- | --- |
| 1 | CONSTANTIA |  |  |  |
| Directions: |  |  |  |  |
| Co-ordinates: |  |  |  |  |

TECHNICAL REQUIREMENTS

- INTRODUCTION

APPOINTMENT OF A SUITABLY QUALIFIED AND EXPERIENCED CONTRACTOR TO RENDER WATERPROOFING SERVICES AT SENTECH’S CONSTANTIA   TRANSMITTER SITE.

- SCOPE OF WORK

Scope Of Work

Concrete Roof: - Erect safety measures that is lifeline and scaffolding. - Existing waterproofing to be stripped and cleaned off the roof before applying new layer of waterproofing. Strip existing waterproofing membrane and dispose at contractor's own disposal site - Demolish screeds where falls are insufficient. - Clear all full-bore drains, and of blocked, inspect by camera for repairs, - Apply new screeds to improved falls, - Carry out waterproofing using 4mm dual reinforced torch-on waterproofing membrane. - Apply to all roof areas incorporate turn-up flashing details throughout. Use 75mm side laps and 100mm end-laps. Use fully bonded method and NOT spot bonding. - Seal all terminating edges of the waterproofing membrane using polyester reinforced liquid mastic flashing strips, 200mm wide. - All surfaces shall be prepared, and waterproofing applied strictly in accordance with the manufacturer technical data sheet. - All work shall be carried out by a pre-qualified contractor, who is well trained in the application of the specific, documented, waterproofing agent. - All surfaces to which the new waterproofing is to be applied, shall be smooth, clean, dry, and free from irregularities. - Remove all oils, grease & contaminants and abrade surface - Remove all full-bore outlet leaf guards and steel rings. Cut, dress and seal all waterproofing deep into the throat of the outlets. Clean, Paint and Reinstate the steel rings and leaf guards. - Inspect full-bore pipes with camera and clear to ensure full drainage - All substrate cracks and surface imperfections are to be filled, sealed and dry prior to screeding the entire roof that is affected. - Supply and install new screeds were directed to minimum falls of 1:100, mixed with crystalline add-mixture, average 120mm thick - Preparation of walls and waterproofing of all walls. - Clean and apply crack filler where necessary on the damaged walls before painting. - The walls are to be painted or using a rubber-based paint matching the existing colour.

SITE ACCESS

Access to Sentech sites is mostly by means of gravel roads. In some instances, the roads may be paved with a bituminous surface in other instances maybe concrete or concrete strips roads. The contractors are requested to use 4 x 4 vehicles to access our sites.

Although we try our best to maintain these roads as best as possible some of the paved and concrete roads cannot be accessed with an ordinary vehicle.

Some may be very steep in places with very tight turns which would make access difficult for ordinary vehicles.

The mast and Sentech’s property and buildings are fenced off to restrict unauthorized entry.

3.3. SAFETY REQUIREMENTS

- Appointed service provider will be required to compile a health and safety file in line with Sentech requirements which will be communicated upon appointment, and such should be submitted to the Sentech OHS Specialist within 7 days after issue of the Purchase Order/Safety File Specification (instruction to be received from the Infrastructure Services Manager via email).

- Competent mast climbers– Valid mast climbing certificate for each employee to be signed to the project.

- Medical fitness – Valid certificate of fitness (medical) issued by Occupational Medical Practitioner only for all employees to be assigned to the project

- Work method – Detailed safe working methodology on undertaking assigned task in line with the requirements

- Public liability – valid construction/project public liability insurance

- Health and safety compliance assurance – Company’s Health and Safety compliance undertaking by the CEO/Managing Director

- COID / FEM registration for injury on duty cases

  - COMMUNICATION PROTOCOL

    - SITE HAND OVER MEETING

- This is the official hand over of the site to the contractor for the duration of the contract. This is the first meeting on site of all the relevant parties who will be involved in the contract for its entire duration.

    - PROGRESS MEETINGS

- The intervals of progress meetings should be decided at the first site hand over meeting. The Infrastructure Services Manager shall carry out additional intermediate site inspections.

    - SENTECH LINE OF REPORTING PROBLEMS

- Any problem, which may arise during the contract, should be reported immediately to the Infrastructure Services Manager.

- If the Infrastructure Manager is not available, it should be reported directly to the Operations Manager.

  - QUALITY ASSURANCE

- Quality assurance inspection will be carried out at all the key dates and milestones established at the site handover meeting.

- The Infrastructure Services Manager or Sentech trade tested rigger shall carry out site inspections before, during and upon completion of the contract.

  - EXECUTION PROGRAMME

- Timeous completion of the project is of utmost importance for Sentech.

- To ensure and to assist the contractor to monitor his or her own progress, he or she will be required to provide Sentech with a detailed execution schedule when providing a quotation.

- This schedule should be in the Bar Chart format.

- It should highlight the following key information but not limited to:

- NAME OF SITE

- ACTIVITY DESCRIPTION

- ACTIVITY DURATION

- DATES FOR KEY MILESTONES DURING THE EXECUTION OF THE PROJECTS.

The key milestones are of paramount importance. Key dates will determine the dates on which Sentech’s responsible Infrastructure Services Manager and local Sentech Rigger will conduct site inspections.

- Photos must be taken before, during and after as part of in-progress reporting by the contractor

- Milestones will include times such as but not limited to:

- Milestone 1:

- When the surface preparation has been completed.

- Milestone 2:

- Quality inspection must be conducted on completion of each coat of paint before applying the next coat.

- Milestone 3:

- As soon as one section received its final coat of paint, a quality inspection should be conducted before moving to the next section.

  - CONSTRAINTS

- The duration of tall mast maintenance projects is heavily dependent on the prevailing weather conditions. Due to the location of many of Sentech’s sites weather conditions are unpredictable.

- Occupational Health & Safety regulations determine that mast work can only be performed under specific weather conditions.

- Inclement weather conditions remain the single biggest constraints to timeous completion of mast painting projects.

- It should be borne in mind that in addition to normal inclement conditions some sites may be affected by high winds and mist at certain times of the day.

- Contractors are therefore urged to familiarize themselves with the historic prevailing weather conditions of the specific region.

- The contractors must therefore allow for inclement weather-related delays in theirs schedule. Any inclement weather days and consequential inclement weather days accumulated during this contract will be granted as extension of time as there will be no monetary compensation.

  - SENTECH HOUSE RULES

- It is the responsibility of the contractor to familiarize himself with Sentech House Rules for external contractors working on a Sentech site.

- The site must be kept clean at all times. All debris and any other foreign material must be disposed of at a designated landfill site where required.