TERMS OF REFERENCE

Nature of Service:  Fire Equipment Maintenance

1.	SPECIFICATION

The HSRC seeks to appoint a company that will render fire equipment supply and servicing services for a period of twelve (12) months (estimated start date 05 January 2026) in the Sweetwaters office (Old bus depot, Mbubu Rd, Sweetwaters, PMB, 3201) based on the following:

- Fire Alarm supply and installation

- Annual fire extinguisher test and refill

- Supply and install fire escape plan

- Provide spares when needed after testing

2.	MANDATORY REQUIREMENTS (Bidders who do not comply with the below requirements will be disqualified)

- SAQCC certification; (Company SANS 10139 Registration), or Registration with Fire Protection Association of Southern Africa or relevant – Provide valid certificate

- COID certificate (A copy of a valid Letter of Good standing from the Compensation Commissioner (note, proof of registration with the compensation commissioner will not be accepted).

- Company PSIRA registration, provide valid certificate

- Registration with CIDB and must have a grading of 1SF

- Provide proof of insurance liability of at least R500 000.00 per occurrence

- One or more technicians in the employ of the tenderer must have a diploma in Occupational Health and Safety- Provide proof of certification

- Provide at least three contactable references where similar services were rendered – complete table 1 below:

Table 1

| Name of Company | Telephone | Contact Person | Services Rendered | Contract value | Contract period |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |

3. PRICING SCHEDULE

| SCOPE OF WORK | DETAILS | QTY |  |  | Price per |  |  | UNIT PRICE |  |  | TOTAL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | unit | kg |  |  |  | (excl VAT) |  |  | (excl VAT) |
| To Service | 9.0kg DCP fire extinguishers | 13 |  |  |  |  | R |  |  |  |  |
|  | 4.5kg DCP fire extinguishers | 5 |  |  |  |  | R |  |  |  |  |
|  | 2.5kg DCP fire extinguishers | 3 |  |  |  |  | R |  |  |  |  |
|  | 1.0kg DCP fire extinguishers | 13 |  |  |  |  | R |  |  |  |  |
|  | 5.0kg CO2 fire extinguisher | 1 |  |  |  |  | R |  |  |  |  |
|  | 2.0kg CO2 fire extinguishers | 10 |  |  |  |  | R |  |  |  |  |
|  | Fire Hose Reel | 3 |  |  |  |  | R |  |  |  |  |
| To Pressure Test | 9.0kg DCP fire extinguishers | 4 |  |  |  |  | R |  |  |  |  |
|  | 4.5kg DCP fire extinguishers | 5 |  |  |  |  | R |  |  |  |  |
| Hydro Test | 2.0 CO2 fire extinguishers | 3 |  |  |  |  | R |  |  |  |  |
| To Recharge | Nitrogen refills | 9 |  |  |  |  | R |  |  |  |  |
|  | ABC powder refills (9.0kg x 2)(4.5kg x 4. | 36 |  |  |  |  | R |  |  |  |  |
|  | CO2 refills (2.0kg x 6) | 12 |  |  |  |  | R |  |  |  |  |
| Spares | Head O - rings | 9 |  |  |  |  | R |  |  |  |  |
|  | Ffeta neck rings | 12 |  |  |  |  | R |  |  |  |  |
|  | Instruction labels | 3 |  |  |  |  | R |  |  |  |  |
| To Supply and Install | J.Brackets | 18 |  |  |  |  | R |  |  |  |  |
|  | 5.0kg CO2 bracket | 1 |  |  |  |  | R |  |  |  |  |
|  | 2.0kg CO2 bracket | 10 |  |  |  |  | R |  |  |  |  |
|  | 1902 ABS Fire hydrant symbolic signage | 3 |  |  |  |  | R |  |  |  |  |
|  | 1902 ABS Red arrow symbolic signage | 3 |  |  |  |  | R |  |  |  |  |
|  | 1902 ABS Fire extinguisher symbolic signage | 26 |  |  |  |  | R |  |  |  |  |
|  | 1902 ABS Red arrow symbolic signage | 26 |  |  |  |  | R |  |  |  |  |
|  | Travel, Installation and sundries | 1 |  |  |  |  | R |  |  |  |  |
|  | Fire Escape Plan | 1 |  |  |  |  | R |  |  |  |  |
|  | Fire Alarm plus installation | 1 |  |  |  |  | R |  |  |  |  |
| Total |  |  |  |  |  |  | R |  |  |  |  |

| Servicing | Year 1 |
| --- | --- |
| Service and hydro test, pressure test, and to recharge |  |
| Supply and install fire alarm |  |
| Fire escape plan |  |
| Supply and install (spares & signs) |  |
| Total |  |

Total price for 1-year Service Level Agreement (vat inclusive). Please include escalations   R_________________________

Annexure A.

56 - Staff offices

10 - Toilets

11 - Storage areas

03 - Kitchens

SMT (Office 1 -11)

Main Block (Office 12 – 35)

Admin (Office 43 – 50)

Bottom Block (Office 59 – 69)

Clinic (Office 71 – 79)

Lab (Office 51 – 56)

Pharmacy (Office 80 – 81)