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1 Overview and purpose of the goods and services
Scope

This Scope of Work specifies the non-critical pump spares to be supplied by the Supplier on an as-and-when-required basis, including the conditions for acceptance. The requirements contained herein do not replace or supersede Eskom procurement procedures, which shall continue to apply throughout the procurement and contract execution process.

Purpose

The purpose of this document is to clearly define the Scope of Work and provide the necessary technical information, supply requirements, delivery requirements, and acceptance criteria for the procurement of non-critical pumps for Kusile Power Station.
2 Specification and description of the goods
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”
Documentation 

The following are the Supplier’s requirements: 

a. The Supplier will supply any additional information such as brochure, general arrangement drawing, certificates, detailed specification, data sheet, Settings Document for programmable electronic cards etc. Check sheets or drawings for quality inspections.

b. The Supplier provides the Employer with additional spares information if so, required by the end-user

c. The supplier shall supply the preservation, storage, and handling procedures, where applicable.

d. The Supplier must ensure that all components supplied must be individually packed in such a way as to protect the parts during transport and storage. The packaging must also include the necessary labels to identify the items.

e. The spare must be to the exact same specification as installed in the plant and specified on this scope of work document. Notwithstanding the stipulated condition that the Supplier is responsible for verifying the correctness of the spare’s information provided by the Employer in relation to the existing installed spare. This may include the Supplier consulting the original supplier of the spare to ensure correctness of information provided by the Employer.

f. The Supplier will ensure proper handling of the spares (from procurement of equipment, storage, and transportation).

g. The Employer may make clarification sessions available to either prospective Supplier/s to further assist the prospective Supplier’s to meet the requirements of the work to be performed by the Supplier.
2.1 Purchaser’s design
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

Each spare is identifiable by means of an Eskom SAP Material number (as is used in the Power Station), part description, OEM and/or OEM part number.
2.2 Procedure for submission and acceptance of Supplier’s design

N/A

Obsolescence 

The Supplier notifies the Purchaser immediately upon becoming aware that any Pump, component, spare part or equipment offered under this Contract will become obsolete, discontinued or unavailable during the Contract period.

No replacement item is supplied without the Purchaser's acceptance.

The Supplier ensures continued availability of spare parts and technical support for a minimum period of five (5) years after the last supply of the affected item, unless otherwise accepted by the Purchaser. The Supplier gives the Purchaser not less than twelve (12) months written notice of any planned discontinuation or obsolescence of Goods supplied under this Contract.

The notification includes:

• Details of the affected item

• The reason for obsolescence through an OEM letter

• The expected date of discontinuation

• The impact on supply and support; and

• A proposal for an equivalent or superior replacement item.

Acceptance of spares 

Spares Identification

The spares to be procured under this SOW shall be identifiable or marked by means of the following.

a. Eskom SAP Material number (as is used in the Power Station)

b. Part description 

c. OEM and/ or OEM part number 

Packaging

The Supplier packages, labels, handles and transports the Goods in a manner that prevents damage, deterioration, corrosion, contamination and moisture ingress during handling, transportation and storage. 

The packaging is suitable for the mode of transport and anticipated storage conditions at the delivery location. 

Each package is clearly marked with: 

• Contract number

• Purchase order number

• Description of the Goods

• Quantity

• Manufacturer's name

• Item number or part number and Eskom SAP Material number

• Serial Number

• Physical address of Kusile Power Station and the Supplier

• Contact details of the Supplier

• Delivery notes number

• Handling and storage instructions where applicable. 

Pump assemblies and components are securely packed and protected against impact, vibration and environmental exposure. All openings, machined surfaces and exposed components are protected against damage and corrosion. The Supplier is responsible for any loss of or damage to the Goods resulting from inadequate packaging until delivery and acceptance by the Purchaser.
All spares shall be packaged and placed on a pallet crate for ease of handling.

Where possible, packaging to be such that procured spares can be positively identified through the packaging. Where this is not possible, the packaging to be such that it allows opening and closing of packaging and still maintain the packaging integrity thereafter.

Different spare types shall be packaged separately such that each spare type can be stored separately. Packaging shall be such that the spare can be identified without opening the packaging. Packaging shall be of material that will not be damaged, to an extent possible, by harsh weather conditions during transportation. If that is not possible, then the packaging shall be protected against such conditions.

Acceptance of spares

1. The Purchaser accepts the spares only after confirming that they:

· Comply with the technical specifications and requirements of the Contract

· Are new, unused and free from defects, damage, corrosion and deterioration

· Are supplied in the correct quantities and configurations as specified in the Purchase Order

· Are accompanied by all required documentation, including certificates of conformity, test certificates, data sheets and manufacturer's instructions, where applicable

· Are correctly labelled and packaged in accordance with the Contract requirements;

· Are compatible and interchangeable with the intended Pump assemblies and associated equipment

· Have passed any inspection or verification required by the Purchaser

· Meet the required quality, performance and material specifications

· Are covered by the warranty requirements stated in the Contract; and

· Are fully traceable to the manufacturer through serial numbers, batch numbers, part numbers, or other unique identification markings, where applicable. 

2. The Supplier shall provide all documentation necessary to demonstrate traceability of the spares to the original manufacturer and manufacturing source.

3. The warranty period for accepted spares shall commence on the date of acceptance by the Purchaser and shall remain valid in accordance with the warranty provisions of the Contract.

4. The Purchaser may reject any spares that are damaged, defective, non-compliant, not traceable to the original manufacturer, not covered by the required warranty, or not accompanied by the required documentation.

5. Acceptance by the Purchaser does not relieve the Supplier of its obligations in respect of defects, warranties, traceability, or compliance with the Contract.

6. All the spares will be inspected and accepted by Engineering and/or OEM Technician before payment could be processed.

7. Upon delivery of the goods at the Eskom stores, an inspection of goods and the receipt must be conducted by the end-user within 10 working days after delivery.

8. The Supplier must supply the Purchaser with warrantee certificates, test certificates and the complete data book of spares at the time of delivery which shall be uploaded into the SAP system Goods Receipt document as per Work Instruction, Receive Materials - 240-54820279.

9. The Supplier must deliver the goods as per the agreed to delivery times
2.3 Other requirements of the Supplier’s design
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

2.4 Use of Supplier’s design
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

2.5 Manufacture & fabrication

Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

2.6 Factory acceptance testing (FAT)

The Supplier shall inform and invite the Purchaser’ end-user including Performance & Test and Quality Technicians for Factory Acceptance Tests to verify compliance with the Contract specifications. The tests shall include visual inspection, dimensional verification, motor and nameplate verification, balance checks and a mechanical run test. Test reports and certificates shall be submitted to the Purchaser before delivery. Non-conforming Pumps shall be repaired, replaced or retested at the Supplier's cost.

The notification for the FAT to the Purchaser must be within 48 hours from date of Test. 

In addition to Core Clause 40 and 41, Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

2.7 Other tests and inspections and commissioning in place of use
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

2.8 Operating manuals and maintenance schedules

Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

Provision of Operating Manuals

The Supplier shall:

· Provide comprehensive operating manuals for all equipment/materials supplied under this contract.

· Ensure manuals are: 

· Clear, complete, and written in English (or agreed language)

· Supplied in both hard copy and electronic format (PDF or equivalent)

· Include, at a minimum: 

· Equipment description and specifications

· Installation instructions

· Operating procedures (normal and emergency)

· Preservation procedures

· Safety guidelines and precautions

· Troubleshooting guidance

Maintenance Schedules

The Supplier shall:

· Provide detailed maintenance schedules for all supplied equipment.

· Clearly define: 

· Preventive maintenance intervals (daily, weekly, monthly, annual)

· Required tools, consumables, and spare parts

· Maintenance procedures and checklists

· Ensure schedules align with: 

· Manufacturer recommendations

Applicable industry standards
3 Supply Requirements
The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser. 
In addition to Core Clause 11.2(16) 11.2(8), Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

4 Specification of the services to be provided
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

5 Constraints on how the Supplier Provides the Goods
5.1 Programming constraints 

In addition to clause Core 31, also refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”

5.2 Work to be done by the Delivery Date
Supply, test, package, preserve, document and deliver the Pumps and associated spares, complete with all required quality records, certificates, warranties and technical documentation, in accordance with the Scope and by the Delivery Date.

5.3 Marking the goods 

Material to be clearly marked, labelled, and packed according to the required specifications
5.4 Constraints at the delivery place and place of use

Deliveries shall comply with site security, safety and access requirements. The Supplier shall coordinate delivery arrangements with the Purchaser, provide safe off-loading, and ensure that the Goods are suitable for the environmental and operating conditions at the place of use.

· Supplier to make delivery arrangements prior to the delivery date to ensure delivery logistics are planned and confirmed to avoid unnecessary delays.

· End user will determine the offloading point at the time of delivery.

· Offloading will be done by the purchaser.
5.5 Cooperating with Others

Refer to Core clause 23 

The Supplier shall co-operate with the Purchaser, the Purchaser's representatives, other suppliers, contractors and service providers to ensure the efficient execution of the Contract.

5.6 Services & other things to be provided by the Purchaser or Supplier
Workshop

The Supplier and his sub-suppliers are required to have suitable premises with the required tools and equipment to be able to conduct the scope of work. Eskom reserves the right to inspect the workshop premises to make sure that it is kept up to standard. 

Equipment Required

The Supplier and his sub-suppliers must possess the tools and equipment to satisfy the requirements for the scope.
5.7 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	As and When required
	Kusile PS / MS Teams
	Purchaser, Supplier, and or Others

	Overall contract progress and feedback
	As and When required
	Kusile PS / MS Teams
	Purchaser, Supplier, and or Others

	Kick – Off meeting
	First week after the contract signature date
	Kusile PS / MS Teams
	Purchaser, Supplier, and or Others

	
	
	
	


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

5.8 Documentation control

In addition to the below, also refer to “Supplier Quality Management: Specification Unique Identifier: 240-105658000 Revision: 3”

The standard NEC forms to be used by the Supplier in the administration of the contract, such as early warning and compensation event notifications are to be submitted to the Purchaser and shall be on the NEC

document format which shall be made available to the Supplier by the Purchaser
All formal contractual communication shall be in the form of properly compiled letters or forms attached to emails and not as a message not the email itself Emails shall only be used to follow up on formal contractual

communication or for information purposes only.

All formal contractual communication shall have a reference number in a chronological sequence.

A formal email will be set-up for this specific contractual communication.

All applicable codes, standards, and relevant acceptance criteria documents are available at the work location, and Eskom representatives on site shall have on-going access to this information. Workplace documentation shall be available in English and in any workforce-appropriate language.
5.9 Health and safety risk management
The Supplier shall comply with the health and safety requirements [stated here or contained in Annexure 
Kusile Power Station OHS Specification for Supply and Delivery of Non- Critical Pumps Scope of Work. Document Identifier KUS-20260911 Rev 1” to this Goods Information].
5.10 Environmental constraints and management
The Supplier shall comply with the environmental criteria and constraints [stated here or contained in Annexure Kusile Power Station Environmental Specification Document Identifier KUS-20250797 Rev 1 ]
5.11 Quality

The Supplier shall comply with the quality criteria and constraints [stated here or contained in Annexure “Supplier Quality Management: Specification Unique Identifier: 240-105658000 Revision: 3”
5.12 Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to invoiceseskomlocal@eskom.co.za  and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager; 

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

In terms of core clause 50 the Supplier assesses the amount due and applies to the Purchaser for payment. The Supplier applies for payment with a tax invoice addressed to the Purchaser as follows: 

Procedure for invoice submission and payment

All Electronic invoices must be sent in PDF format only. 

An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.” 

All queries and follow up on invoice payments should made by contacting the FSS Contact Centre:   

Tel: 011 800 5060 or email:fss@eskom.co.za

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

5.13 Insurance provided by the Purchaser
Refer to section 8 of the core clauses.
5.14 Contract change management 
Refer to section 6 of the Core Clauses

5.15 Provision of bonds and guarantees

N/A
5.16 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Refer to Core Clause 63.2 and 11.2.4

6 Procurement
6.1 Subcontracting
6.1.1 Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.
tbc
6.1.2 Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.  

tbc
6.1.3 Spares and consumables
Refer to “Kusile Power Station Supply and Delivery of Non - Critical Pumps for a Period of Five (5) Years on an As and When Required Basis Unique Identifier: KUS – 202608107 Revision: 1”.

6.1.4 Other requirements related to procurement
Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.
tbc
6.1.5 Cataloguing requirements by the Supplier
State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Supplier (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

7 List of drawings

7.1 Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  
	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.
It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.



This section could also be compiled as a separate file.
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