Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

Request for quotation: RFQ-015880

Closing Date: 	30 June 2023 at 11h00

VAT Registration:	4140125313

Delivery address: Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

COMPULSORY SITE BRIEFING – 23 JUNE 2023 AT 11:00

Request for Quotation for Area Light at NRE-AE

Good day

- You are kindly requested to submit a written quotation to the Agricultural Research Council per the specifications below.

Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za

  - SPECIFICATION IN DETAIL

Specifications for Area Light at NRE-AE

Contents 1. Terrain Lamp 2 1.1 Galvanised Lamp pole 2 1.2 Hole and concrete 2 1.3 Flood light 2 1.4 Cable 3 1.5 Electricity: General 3 2. Standards & dimensions 3 3. Compulsory requiremets 3 4. Duration of a project 4 5. Owenership 4 ## 1.1 Galvanised Lamp pole - Pole designed in accordance with SABS 0214-1987. - Off the shelf lamp post must be used. - Tubular steel material is grade 300 MPA to SABS 657 with welding also conforming to SABS standards. - Minimum height of pole: 7m - Pole and all ancillary items are hot dipped galvanized to SABS 763 specifications. - Base plate 400 x 400 x 4 mm thick, which is attached to the pole shaft by means of 2 x M 16 hook bolts. - Single cable entry 100 x 50 mm wide is provided 400 mm below ground level. - A hinged flush-mounted door with the poles with Allan cap screw as door-locking method. ## 1.2 Hole and concrete - Hole for post: 800 mm deep. ## 1.3 Flood light Type A - Two poles of 3 x LED flood light 100 W with built in driver - IP 65 Rating - Fitting/housing: Cast Aluminium - Concrete for post: 25 MPa - Flood light must be switched with a day/night sensor off and on. Type B - 4 x LED flood light 150 W with built in driver - IP 65 Rating - Fitting/housing: Cast Aluminium - Concrete for post: 25 MPa - Flood light must be switched with a day/night sensor off and on. ## 1.4 Cable - Electric source for the lights will be determined the date of the compulsory site meeting. - Cable rooting will be determined at the compulsory site meeting. ## 1.5 Electricity: General The electricity Certificate of Compliance must be supplied when the wiring is completed, and electricity restored before final payment will be considered. - The cable sizes, circuit breaker sizes, cable lengths, etc. must be verified by the Contractor and agreed upon by the Engineer and must be in compliance with the National Building Regulations. - All equipment must comply with SANS standards. - All equipment to be installed according to SANS 10142. - All cables must be installed according to SANS 10142. # Standards & dimensions - All work to comply with the National Building Regulations & Building Standards Act SANS 0400 1990 (or latest). Local council requirements and all relevant specifications and codes are to be adhered to. - Indicated dimensions to be taken in preference to scaling. Overall dimensions (external) to take precedence. - All dimensions, levels and heights to be checked on site and any discrepancies to be reported to the Engineer before any work takes place. - All dimensions on drawings and documents to be checked before commencing of any work and/or compiling of tenders. # Compulsory requirements 2.1. References - Three traceable references of similar work must be provided. (Name and contact information of clients.) 2.2. Guarantee - All work and material will carry a one-year guarantee by the contractor. 2.3. Construction Industry Development Body - Contractors must be certified as CIBD 2EP 2.4. Site briefing - Site briefing attendance is Compulsory. 2.5. Contingency 10% of the project value will be set aside for any unforeseen. NOTE: contingency amount belongs to ARC therefore it’s within our right to use it. # Duration of project - Duration of project will be agreed on in the contract document. - Duration of project will be determined at the compulsory site meeting. - One day extension can be considered for each rainy day if more than 5 mm rain/24 hours were measured on site. This will have to be approved by the Engineer. - Start of project: Official site handover. - Date of Completion: Final site inspection and if all the items on the snag list were successfully addressed. # Ownership - The contractor will be responsible for safekeeping of all building materials and tools until the official completion of site handover back to the ARC..

- Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below:

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A

Requirements (Administrative):

(NOTE: Failure to provide the below-listed documents May lead to disqualification)

| Description | Comply | Do Not Comply |
| --- | --- | --- |
| 1. Submission of original valid Tax pin or a Tax Compliance Status letter issued by the South African Revenue Services |  |  |
| 2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4) |  |  |
| 3. Local Content Declaration (Annex C, D, E) |  |  |
| 4. Only bidders registered on the Central Supplier Database (CSD) will be considered. Bidders shall include the CSD registration number with the bid proposal. |  |  |
| 5. BBBEE Certificate or Sworn Affidavit |  |  |

- All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A

- Administrative Requirements:

  - Valid Tax Pin issued by the South African Revenue Services (SARS).

  - Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.

  - Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

  - The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

  - The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

  - Your written quotation must be emailed to   KubhekaL@arc.agric.za

  - Standard conditions:

  - The validity of the quotations must be indicated.

  - Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

  - No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

  - The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

  - ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

  - Quotes should be submitted on official letterhead and duly signed.

  - Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

  - The General Conditions of Contract issued by the National Treasury are applicable.

  - The ARC supply chain management code of conduct is applicable.

  - Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

  - Your quotation must indicate the delivery date.

  - The ARC reserves the right to do due diligence on the quotations.

  - The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka

Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za

Supply Chain Management: ARC