Specification for doors to tunnels #10 and #11

Supply and Install two aluminum and glazed glass doors to tunnels #10 and #11 with the following specification:

800mm wide x 2035mm high, CLIP 44, single hinged doors with frame all round including threshold @ bottom (glazed with 6.38mm clear laminated safety glass)

Doors should be glazed to block out light

Framing: Clip 44

Wind load: 1000pa external / 600pa internal

Powder coating: New Silver PC

Glazing: 6.38mm clear laminated safety glass

Installer must be a certified installer of glass and aluminum doors with an AAAMSA certification