SUPPLY AND DELIVER SAMPLE STORAGE - LABORATORY REFRIGERATOR

The ARC is seeking a bidder to supply and deliver a laboratory refrigerator to store essential oil samples.  The fridge must come with LED Electronic Control, Energy Efficiency A++ and easily maintain the temperature between 2 to 8oC.

Technical details

Single Hinged Glass Door;		Yes

Automatic Defrost:			Yes

Magnetic Door Gasket:			Yes

Pre-set temperature:			3.5 oC or 4 oC

Number of adjustable Shelves:		3 or more

Plastic Coated Shelves:			Yes

Volume:				300 L or less

Position: 				Upright

LED temperature display:		Yes

Door Lock with Key			Yes

Accessories:

- Digital temperature monitoring system (fridge compatible)

Other requirements

- Delivery to ARC-NRE, Arcadia campus.

- The fridge complies with ISO 9001 or related EU manufacturing standards.

- WARRANTY should be at least 24 months (2 years) or more from the date of purchase