Plant growth chamber with controlled temperature and humidity specification

- Plant growth chamber, 100-150 L, temperature controlled (approx. 0-45°C), with lights