| To whom it may concern | Date | 26 August 2026 |
| --- | --- | --- |
|  | Enquiries | Supplier Clarification Questions |
|  | E-mail address | makumej@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E1256CXMWPR |
| --- | --- |
| Description / Project Title | TO ENGINEER, PROCURE AND CONSTRUCT A WATER ELECTROLYSIS HYDROGEN GENERATION PLANT, WHICH MUST BE INTEGRATED WITH THE EXISTING RENEWABLE POWER PLANT FOR “GREEN H2 PRODUCTION” AT ERIC ROSHERVILLE FOR A PERIOD OF THREE (3) YEARS. |
| Tender Questions Closing Date |  |

| Item | Reference: | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- | --- |
|  |  | May you please assist by clarifying the required certification for qualitative technical point 1.2.7 Person responsible for issuing the CoC for H2 installations. In our requirements we have asked for CV of the team, our criteria states: Evaluation of the CV’s will be to ensure that qualified personnel with the relevant experience (experience must be relevant to H2 generation and balance of plant (BoP) design and construction) are included during the design, construction, commissioning, and operation of the plant. The CV’s must show 5 years related experience and projects executed while performing at the level required by the scope (i.e 5 years’ experience as a lead discipline engineer), work performed on H2 generation and balance of plant (BoP), relevant qualifications (certified copies of certificate to be provided) and registration statue where relevant. The following CV’s must be provided as a minimum. | The required certification is what is prescribed in the Occupational Health and Safety Act 1993 Electrical Installation CoC For the electrical installation forming part of the hydrogen plant: Required Registration The person issuing the Electrical CoC must be registered with the Department of Employment and Labour as one of the following: Master Installation Electrician (MIE) Installation Electrician (IE) Electrical Tester for Single Phase Installations (limited scope) Hazardous Area (Ex) Certification Because hydrogen is a highly flammable gas: Competency Required Hazardous Area Classification Specialist Ex Inspector Specialist trained in IEC/SANS 60079 standards Expected Knowledge Zone classification Explosion protection concepts Intrinsically safe systems Ex-rated electrical equipment |  |
|  |  | Given the technical complexity of the tender and the substantial work still required to complete a comprehensive and fully compliant submission, we would appreciate an extension of the tender closing date. We therefore kindly request that the closing date be extended until 2026 September/October to allow sufficient time for the completion and finalisation of the submission. | An initial tender period of 64 days was selected due to the complexity of the turnkey solution and level of detail required in the submission. This tender period was extended based on multiple requests from the market, increasing the tender period from 64 days to 78 days. The tender period was then extended a second time resulting in a total tender period of 107 days. It is the belief of the technical team that this tender period is sufficient for suppliers to conclude all agreements with suppliers and prepare a comprehensive and competitive bid. The tender period starting 13 May 2026 and ending 28 August 2026 is deemed sufficient for suppliers to conclude all necessary agreements and prepare a comprehensive and competitive bid. Therefore, the request for extension will not be granted. |  |