THE SUPPLY AND DELIVERY OF SPARES FOR AIRCONS, BATTERIES, PTM AND ELECTRICAL MAINTENANCE DEPARTMENTS ON “AS AND WHEN REQUIRED BASIS” AT ARNOT POWER STATION FOR A PERIOD OF 60 MONTH
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CONTROLLED DISCLOSURE
When downloaded from the EDMS, this document is uncontrolled and the responsibility rests with the user to ensure it is in line with the authorised version on the system.

[bookmark: _Toc240454746]Introduction
The supply and delivery of spares for the Aircon, batteries maintenance, PTM and electrical
maintenance departments on “as and when required basis”
[bookmark: _Toc240454747]Supporting Clauses
SCOPE
· [bookmark: _Toc228877398][bookmark: _Toc228877440][bookmark: _Ref228785086]The supply and delivery of spares for the Aircon, batteries maintenance, PTM and electrical
maintenance departments on “as and when required basis”
· The spares include but are not limited to, contactors, circuit breakers, fuses, gloves, ammeters, transducers, relays, limit switches, stove plates, overload relays, stove switches and any other electrical spares as contained in the price list.
· All spares must comply with relevant national standards.
· Supplier to provide warranty and guarantee periods for all spares as stipulated in the contract documentation.
· Supplier to provide manufacturer’s catalogues, datasheets, and installation manuals.
· All items shall be new, unused, and free from defects.
· Packaging shall be robust and suitable for storage and transportation.
· Each item shall be clearly labelled with description, part number, batch/serial number, and handling instructions.
· Delivery shall be in accordance with the agreed delivery schedule. Any deviations must be communicated and approved by the Purchaser.
· All spares shall be delivered to Arnot power station, Electrical maintenance department.
· Suppliers to comply with	SANS 10147 (Code of Practice for the handling and disposal of refrigerants), Pressure Equipment Regulations (PER); and SANAS 347 and other applicable standards and certification requirements.

[bookmark: _Toc240454748]Purpose
The purpose for this Scope & Technical Evaluation Criteria is for input into the commercial package for tendering for the supply and delivery of electrical spares contract.
[bookmark: _Ref228599044][bookmark: _Ref228599049][bookmark: _Toc240454749]Applicability
Applicable to Arnot Power station.
[bookmark: _Toc240454750]Normative/Informative References
Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.
[bookmark: _Toc240454751]Normative
The supply and delivery of spares for the Aircon, batteries maintenance, PTM and electrical
maintenance departments.
[bookmark: _Toc240454752]Definitions
	Definition
	Description

	Critical
	Refers to equipment whose failure in service would have an appreciable probability of causing loss of availability of generating plant and or of causing unsafe conditions for personnel or both


[bookmark: _Toc240454753]Classification 
Controlled Disclosure: Controlled Disclosure to external parties (either enforced by law, or discretionary).
[bookmark: _Toc240454754]Abbreviations
	Abbreviation
	Description

	QC
	Quality Check

	SAP
	Systems Application Programme

	PTM
	Protection, Testing & Metering



[bookmark: _Toc240454755]Roles and Responsibilities
Technical Support Services is responsible for Quality Checks on all delivered goods.
[bookmark: _Toc228877414][bookmark: _Toc228877456][bookmark: _Toc228877416][bookmark: _Toc228877458][bookmark: _Toc228877417][bookmark: _Toc228877459][bookmark: _Toc228877418][bookmark: _Toc228877460][bookmark: _Toc240454756]Process for monitoring
Follow materials management goods receipt process for QC
[bookmark: _Toc240454757]Related/Supporting Documents
NEC3 SC - Goods information
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