BID SPECIFICATION

# COVER PAGE (SUMMARY)

ANNEXURE 1

TECHNICAL AND PRICING REQUIREMENTS

BIDDERS MUST SUBMIT ANNEXURE 1 TOGETHER WITH THE MAIN BID DOCUMENT

| BID NUMBER: | RFB 2522-2021 |
| --- | --- |
| PUBLICATION DATE: | 09 December 2021 |
| CLOSING DATE: | 24 January 2022 |
| CLOSING TIME: | 11:00AM |
| RFB DESCRIPTION: | APPOINTMENT OF A SERVICE PROVIDER FOR THE DESIGN OF A NATIONAL DIGITIZED INTEGRATED WATER & SANITATION MONITORING SYSTEM FOR THE DEPARTMENT OF WATER & SANITATION FOR A PERIOD OF 12 MONTHS. |

PROSPECTIVE BIDDERS MUST REGISTER ON NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE PRIOR TO SUBMITTING BIDS.

Contents

ANNEX A:	INTRODUCTION	4

1.	PURPOSE AND BACKGROUND	4

1.1.	PURPOSE	4

2.	SCOPE OF BID	5

2.1.	SCOPE OF WORK	5

2.2.	DELIVERY ADDRESS	6

3.	REQUIREMENTS	6

3.1.	SOLUTION GENERAL REQUIREMENTS	6

3.2.	SPECIAL REQUIREMENTS PER FOCUS AREA FUNCTIONALITY	7

3.2.1.	Water Resources	7

3.2.2.	Water Resources Infrastructure Assets	7

3.2.3.	Water Sector Regulation	8

3.2.4.	Revenue Management	9

3.2.5.	Sanitation Services	9

3.2.6.	Water Services	9

3.3.	PROJECT AND SERVICES REQUIREMENTS	10

3.3.1.	SERVICE DELIVERY SCHEDULE AND PERFORMANCE METRICS	10

3.3.2.	Capacity Building and skills transfer	11

4.	BID EVALUATION STAGES	12

ANNEX A.1:	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	13

5.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	13

5.1.	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION	13

5.2.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	13

6.	TECHNICAL MANDATORY REQUIREMENT	14

6.1.	INSTRUCTION AND EVALUATION CRITERIA	14

6.2.	TECHNICAL MANDATORY REQUIREMENTS	14

6.3.	DECLARATION OF COMPLIANCE	15

7.	TECHNICAL FUNCTIONALITY EVALUATION REQUIREMENTS	15

7.1.	INSTRUCTION AND EVALUATION CRITERIA	15

7.2.	TECHNICAL FUNCTIONALITY REQUIREMENTS	16

ANNEX A.2:	SPECIAL CONDITIONS OF CONTRACT (SCC)	21

8.	SPECIAL CONDITIONS OF CONTRACT	21

8.1.	INSTRUCTION	21

8.2.	SPECIAL CONDITIONS OF CONTRACT	21

8.3.	DECLARATION OF COMPLIANCE	27

ANNEX A.3:	COSTING AND PRICING	28

9.	COSTING AND PRICING	28

9.1.	COSTING AND PRICING EVALUATION	28

9.2.	COSTING AND PRICING CONDITIONS	28

9.3.	BID PRICING SCHEDULE	29

Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission on the GCommerce system	29

9.4.	DECLARATION OF ACCEPTANCE	29

10.	ABBREVIATIONS	30

ANNEX B:	BIDDER SUBSTANTIATING EVIDENCE	31

11.	MANDATORY REQUIREMENT EVIDENCE	31

11.1	BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS	31

11.2 PRODUCT / SERVICE FUNCTIONAL REQUIREMENT	31

ANNEX C: ADDENDUM 1	32

Description	32

1.	Water Resources	32

2.	Water Resources Infrastructure Assets	33

3.	Water Sector Regulation	36

4.	Revenue Management	38

5.	Sanitation services	39

6.  Water Services	40

INTRODUCTION

# PURPOSE AND BACKGROUND

## PURPOSE

The purpose of this RFB is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for “The assessment and design a national digitized integrated water and sanitation monitoring system for the Department of Water and Sanitation (DWS) for a period of 12 months”.

1.2 BACKGROUND

As a growing economy and population, South Africa requires effective water management to keep up with the demand for energy and food and to ensure access to safe water and adequate sanitation. Appropriate tools are required to assess water challenges, risks, and options for solutions. Informed water management decisions need systematic and innovative ways to measure and monitor changes in water quality and availability across the entire water value chain.

The landscape of water and sanitation monitoring is continually evolving and thus the practice, processes and tools are inevitably subject to the influence of prevailing and emerging digital technologies such as Internet of Things (IoT) and “big data” analytics. These innovations can be applied in reshaping, enhancement, and development of tools for unlocking solutions for complex water assessment and management challenges such as those associated with temporal and spatial water variability, increasing demand against a finite supply, wastage, and inequitable access.

To align itself with Government’s policy on the ushering of the fourth industrial revolution (4IR), Department of Water and sanitation (DWS) must position itself to take advantage of these innovations to improve operations across its water management value chain (Figure 1-1). Data acquisition and information management are central in effective water management and they also present greater opportunities for rapid adoption and application of digital innovations. Therefore, the Department views water monitoring space as a suitable and priority area for leveraging the transformation and implementation of digital technologies across all operations. The Department has thus initiated a National Digitized Integrated Water and Sanitation Monitoring Systems Project in the Chief Directorate of Water Information Management within the Water Resource Management Branch.

The aim of the National Digitized Integrated Water and Sanitation Monitoring Systems Project is to develop a sector-wide digitized integrated water and sanitation monitoring system consisting of innovative water quantity and quality status measurement, data, and information management (acquisition, real-time transmission, reception, processing, dissemination, archiving etc) and communication modules linking various components in the water and sanitation information management value chain. The National Digitized Integrated Water and Sanitation Monitoring Systems Project supports objectives of Chapter 13, Section 13.1 of the National Water Resources Strategy 2 by ensuring adequate, accurate and current data is collected and processed for better decision-making. It also supports the 2016 Sanitation Policy Position 32, that an Integrated National Sanitation Information System will be implemented and managed to monitor, report, evaluate and regulate the entire water and sanitation sector in the country. The system will be aligned with information management systems of DWS, National Treasury, CoGTA and other government agencies. However, the aim of this Request for Bid (RFB) is to solicit proposals for the assessment and detailed design of the national digitised integrated water and sanitation monitoring system.

The national digitised water and sanitation monitoring system is complex and integrated with diverse sub-systems covering end to end of the water monitoring value chain, each of which includes the processes of acquisition, transmission, reception, processing, archiving and dissemination of data. Building or implementation of the designed water and sanitation monitoring system is out of scope of this RFB.

Figure 1-1

# SCOPE OF BID

## SCOPE OF WORK

The project will deliver a detailed design of a national integrated digital water and sanitation monitoring system.

The scope of work is as follows:

  - To assess the existing technology applications and gaps across the entire water and sanitation information value chain from observation and measurement, to data and information dissemination.

  - To assess water & sanitation monitoring and information management practitioners’ tools and system’s needs; Evaluate, validate, and develop user requirements and user journeys.

  - To conduct a market study and due diligence on national water monitoring and information management digital solutions and/or platforms, including a shortlist of solution in order of affordability, cost analysis, scalability, best practice and international footprint, ease of integration and security.

  - To build, document and optimize the business processes for water resource monitoring and information management.

  - To develop a governance framework for the use and management of the system to ensure optimal use and information sharing.

  - To design a comprehensive national integrated digitized water and sanitation monitoring system.

  - To provide capacity building and training, skills, and technology transfer to nominated officials under different focus area.

  - To describe in detail a process to successfully build/assemble/acquire the system.

  - To develop a detailed proposed implementation plan for the designed National Digitized Integrated Water and Sanitation Monitoring System.

## DELIVERY ADDRESS

Department of Water and Sanitation Sedibeng Building 185 Francis Baard Street Pretoria Gauteng 0002

REQUIREMENTS

## SOLUTION GENERAL REQUIREMENTS

The envisaged national digitized integrated water and sanitation monitoring system (also referred to as the solution) must comply with the following general requirements:

- The solution should include a digitised integrated system which will cover all components of water and sanitation monitoring from collection of data to dissemination across the water and sanitation monitoring value chain.

- The solution should comply with various applicable guidelines and standards of monitoring (instrumentation) as well as DWS and State Information Technology Agency (SITA) ICT applicable standards. All water quality data must adhere to the existing South African National Accreditation System (SANAS) water quality accreditation requirements.

- The solution should integrate a hybrid approach of split ownership between DWS and Service Provider to spread the risk attributed to total ownership by DWS. While installation, operation and maintenance are expected to be split, the solution must, however, reflect total data ownership by DWS.

## SPECIAL REQUIREMENTS PER FOCUS AREA FUNCTIONALITY

The envisaged national digitized integrated water and sanitation monitoring system must comply with the following special requirements per focus area:

### Water Resources

- The solution must be capable of using wireless sensor networks as well as in-situ terrestrial sensor network systems

- The solution must have capability to use unmanned aerial vehicles (drones)

- The solution must have Geographical Information Systems (GIS) integration capabilities

- The solution must have South African based water quality observation systems and other space-based sensor systems capabilities

- The solution must have online and offline data capturing mobile application (APP) systems

- The solution must have cloud and on-site based monitoring systems capabilities

- The solution must have online mobile application systems linked to functional databases for data storage and further quality checks

- The solution must be capable of linking to secure database systems for processing and reporting

- The solution must have incident water quality management protocol for early warning on determinants of concern

- The solution must have rain/storm water monitoring capabilities

- The solution must have flood management early warning capabilities

- The solution must have drought status early warning capabilities

- The solution must be capable of near-real time monitoring of managed aquifer recharge and water quality.

- The solution must be capable of integrating crowd sourcing/citizen science water monitoring approaches.

### Water Resources Infrastructure Assets

- The solution must have online monitoring capabilities

- The solution must have supervisory control and data acquisition (SCADA) capabilities

- The solution must be capable of utilising analytics tools for process of optimization

- The solution must have inter-process automation or control capabilities

- The solution must integrate with internal resources and platforms developed for working with digital infrastructure

- The solution must enable digital technologies to be incorporated across business and operations processes

- The solution must have advanced analytics for decision making capabilities

- The solution must have identification and electronic tagging of hidden assets (e.g., underground pipes) capabilities

- The solution must have smart pipeline system capabilities

- The solution must be capable of enabling remote operations

- The solution must have valve automation capabilities

- The solution must be capable of real time Bulk Pipe Monitoring

- The solution must have flow metering and reporting capabilities

- The solution must have specialized business information system capabilities (Knowledge Management, Artificial Intelligence, Expert Systems such as decision-making features and virtual reality if needed)

- The solution must have predictive modelling features

- The solution must have stakeholder engagement facilities

- The solution must be capable of incident recording (cause-and effect analyses)

- The solution must have Recording of Remaining Economic Lifespan of Assets (recording and management) capabilities

- The solution must be capable of doing verification of strategic asset (reservoirs, pipelines, dams etc) using mobile applications (APPs)

- The solution must be capable of integrating smart metering to measure volumes correctly and improve consistency of meter readings

- The solution must have dam safety surveillance system capabilities

- The solution must provide for real time monitoring of conveyance systems (canals, pipes, reservoirs, and pump stations).

### Water Sector Regulation

- The solution must be capable of remotely assessing complaints to improve response time

- For Wastewater Treatment Works, the solution must have capability to monitor the discharging water quality points and interface with the existing systems under regulation

- Solution must have capability to monitor high risk water users in terms of water quality and quantity on annual basis

- The solution must have capability to monitor all water users issued with licenses

- The solution must monitor the volume of water that has been used without an authorisation in a particular property

- The solution must monitor the flow from pump stations versus the dam capacity of the wastewater treatment works

- The solution must monitor the reuse of water in terms of water quality, and the volumes of water that are going for reuse which are supposed to be going into the system.

- The solution must monitor industrial water use that goes into our wastewater treatment works. This will assist in monitoring on how much is going to the wastewater treatment work and what quality

- The solution must monitor drinking water quality (blue drop) and wastewater quality (green drop). This will be more regular than the current audit monitoring that being done once a year

- The solution must have capabilities to monitor abstraction by local municipalities according to what is in the license condition and interface with existing systems.

- The solution must be able to link with available systems, such as Hydronet, WAS, IRIS, WARMS etc.

- The solution must have an upload functionality for documents to be uploaded and to be available in field/ on site

- The solution must have an early warning system for compliance, e.g., for entities, licences etc.

- The solution must incorporate an automation of water use volumes reporting (metering data) for all water use sectors.

### Revenue Management

- The solution must have capability to monitor meter readings remotely using smart meters. Revenue Management currently depends on infrastructure management to collect meter readings manually.

- The solution must have capability to authenticate customer data to improve veracity of data collected by customers

- The solution must be capable of rationalizing and integrating database systems used in Revenue Management that have similar objectives to streamline access to information and minimize duplication and proliferation of data sources.

- The solution must improve the document management system used in Revenue Management by automating the process of storing/archiving of documents to minimize human intervention.

### Sanitation Services

- The solution must have capability to monitor status of sanitation in the country in terms of access to sanitation. Since this data is with institutions such as COGTA and Human Settlements, the solution must be capable of integrating with the external source systems to enable the department to monitor how many households have been served by each municipality or how many sanitation facilities have been delivered or projected

- The solution must have capability to monitor groundwater quality parameters that are relevant to sanitation services. The ability to monitor the impact of on-site sanitation facilities on groundwater quality will assist with safe sanitation management

- The solution must automate a sanitation technology assessment tool already developed for assessment of new sanitation technologies

- The solution must provide for monitoring and detection of pits that need emptying and activities that are taking place with regard to emptying as well as quantity of sludge emptied

- The solution should provide means of collection of data on how feacal waste is safely disposed or reused

- The solution must have capability to monitor river and groundwater water levels as well as water quality where the discharging is taking place

- The solution must provide for means on how sanitation hygiene and hand washing facilities access data is collected.

### Water Services

- The solution must have capability to monitor wastewater discharge quantity and quality by municipalities

- The solution must be capable of monitoring wastewater quality and capacity of treatment plants

- The solution be capable of monitoring drinking water quality

- The solution must be able to monitor all grant funding allocations and expenditure including MIG, WSIG and RBIG funding

- The solution must be able to monitor status of water and sanitation services reliability in all Municipalities including households without access to infrastructure

- The solution must be able to link with GIS to capture infrastructure information (new and old) and assist with development of Asset Management Plans

- With regards to groundwater, the solution should be able to provide information on aquifers, measure or provide information on how much groundwater resources are depleted or recharged at any given time, have measuring devices on certain aquifers to always provide real time data on status of aquifers/groundwater

- The solution must monitor any illegal connections on any bulk or normal supply or reticulation system

- The solution must be able to measure pipe pressure at any given time, to avoid pipe breaks

- The solution must be able to monitor if any bulk or ordinary meter is faulty

- The solution must have capability to accommodate Bulk, zone and customer meters for measuring the actual water use and water loss.

- The solution must be capable of detecting major leaks or pipe burst in real time

- The solution must interface with other Water Use Efficiency potential systems such as Water Administration system, Irri-drop for agriculture sector, No drop system, International Water Association Water Balance (IWA) for Local Government

- The solution must integrate with operational schematics of all water supply distribution network systems (major irrigation schemes, Water Supply municipality systems,) including meters (smart meters) captured on GIS maps and photos, to provide a layout map of the infrastructure.

## PROJECT AND SERVICES REQUIREMENTS

### SERVICE DELIVERY SCHEDULE AND PERFORMANCE METRICS

The key deliverables of the project to be completed by the bidder within twelve (12) months are given below:

| TASK | DELIVERABLE |
| --- | --- |
| - Assess existing digital technological status (including gaps) of water monitoring systems and practice across the entire water monitoring and information management value chain. | Comprehensive Assessment Report |
| - Assess water monitoring and information management practitioners’ tools and systems needs - Evaluate, validate and develop user requirements and user journeys | A User Requirements Specification/ Report documenting the needs and user journeys of water and sanitation monitoring personnel and information managers in respect of water and sanitation monitoring systems |
| - Conduct market study and due diligence to determine availability and affordability of as suitable digital technology solutions or platform and best practices for application in the water monitoring and information management environment | Market study and Due Diligence Report on national water monitoring and information management digital solutions and/or platforms, including a shortlist of solution in order of affordability, cost analysis, scalability, best practice and international footprint, ease of integration and security. |
| - Build, document and optimize the business processes for water resource monitoring and information management | Business process optimization report including business process architectures and maps |
| - Develop a governance framework for the use and management of the system to ensure optimal use and information sharing | Governance framework report detailing governance of the use, data sharing, information sharing and management of data and the systems |
| - Design a comprehensive national integrated digitized water and sanitation monitoring system | Detailed Design and solution architecture of a National Digitized Integrated Water and Sanitation Monitoring System |
| - Provide capacity building and training, skills, and technology transfer to nominated officials under each focus area. | Implementation of Capacity building programme and plan provided. |
| - Describe in detail a process to successfully build/assemble/acquire the system | Detailed description of the build/assemble/acquire process of the National Digitized Integrated Water & Sanitation Monitoring System |
| - Develop a detailed proposed implementation plan for the designed National Digitized Integrated Water and Sanitation Monitoring System | Provide a detailed proposed implementation plan for the designed National Digitized Integrated Water and Sanitation Monitoring System |

### Capacity Building and skills transfer

The purpose of capacity building and training will be to provide training, skills, and technology transfer to the Department (DWS) nominated officials based on different focus areas of the project. This is a key component of the project, not only because it will serve to develop the competence and expertise of the officials, but also because it will establish a common understanding of technical aspects between the service provider and the client (DWS), thereby contribute to the overall success of the project and related activities.

Capacity building forms a critical part of the bid; Therefore, the bid must contain a clear programme for capacity building in line with the scope of work of the project. The successful implementation of the proposed training will be assessed primarily based on feedback from nominated officials who participated and a concise training report from the service provider, which will include conclusions on the success of the training and recommendations for further training that may be required.

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | Yes |
| Stage 2A | Technical Mandatory requirement evaluation TM | Yes |
| Stage 2B | Technical Functionality requirement evaluation | Yes |
| Stage 3 | Special Conditions of Contract verification | Yes |
| Stage 4 | Price / B-BBEE evaluation | Yes |

ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION

- The bidder must comply with ALL the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

- If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to-

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

- Submission of bid response: The bidder has submitted a bid response documentation pack –

- that was completed and uploaded on the GCommerce system within the stipulated date and time as specified in the “Invitation to Bid” cover page.

- Attendance of briefing session:  Virtual non-compulsory briefing session will be conducted.

- Registered Supplier. The bidder is, in terms of National Treasury Instruction Note 4A of 2016/17, registered as a Supplier on National Treasury Central Supplier Database (CSD).

# TECHNICAL MANDATORY REQUIREMENT

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 6.2 below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLY”.

- The bidder must complete the declaration of compliance as per section 6.3 below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| TECHNICAL MANDATORY REQUIREMENTS | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS The bidder must have provided the assessment and design of a national digitized integrated water and sanitation monitoring system project to at least two (2) customers in the last ten (10) years covering the following aspects: - Integration and implementation of water & sanitation monitoring systems - Business analysis - System analysis - System design - Market Study and due diligence for large projects - Testing and Maintenance | Provide in Annex B references from at least two customers to whom the assessment and design of a national digitized integrated water and sanitation monitoring system project were delivered in the last ten years. The scope must cover at least six (6) projects as indicated. - Integration and implementation of water & sanitation monitoring systems - Business analysis - System analysis - System design - Market Study and due diligence for large projects - Testing and Maintenance NB: SITA reserves the right to verify information provided | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.1, table 1> |

| - PRODUCT / SERVICE FUNCTIONAL REQUIREMENT The bidder must confirm compliance to the functional Product / Service Functional requirements for the for the Design of a National Digitized Integrated Water & Sanitation Monitoring System | The bidder must confirm that they comply with the Product / Service Functional Requirements by completing Annex C: Addendum 1. | <provide unique reference to locate substantiating evidence in the bid response in Section 11.2 – see Annex C, Addendum 1> |
| --- | --- | --- |

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 6.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

# TECHNICAL FUNCTIONALITY EVALUATION REQUIREMENTS

## INSTRUCTION AND EVALUATION CRITERIA

  - The bidder must complete in full all the TECHNICAL FUNCTIONALITY requirements.

  - The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”.

  - Evaluation per requirement. The evaluation (scoring) of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

  - Functionality will be evaluated by conducting the following:

  - Desk Top Evaluation of TECHNICAL FUNCTIONALITY REQUIREMENTS (Stage 2B)

  - Weighting of requirements: The score for the desktop evaluation of TECHNICAL FUNCTIONALITY REQUIREMENTS will be calculated as follows:

- Each Bidder will be evaluated on each individual requirement as indicated in the tables in sections 7.2 below.

- The value scored for each requirement will be multiplied with the specified weighting for the relevant requirement to obtain the percentage achieved for each requirement.

| No. | Technical Functionality requirements | Weighting |
| --- | --- | --- |
| 1. | Methodology | 35% |
| 2. | Team Leader Experience | 25% |
| 3. | Team Capability | 30% |
| 4. | Capacity Building and Training | 10% |
| TOTAL |  | 100 % |

  - Minimum threshold. The individual scores will be converted to a cumulative percentage and only those bidders that achieve or exceed the minimum threshold score of 60% will be eligible to proceed to the next stage. i.e. Price evaluation.

## TECHNICAL FUNCTIONALITY REQUIREMENTS

| No. | Technical Functionality Requirements (per environment) | Weighting | Minimum threshold per Functional environment | Proof of Evidence required |
| --- | --- | --- | --- | --- |
| 1. | Methodology: Bidder to provide detailed proposal covering the following elements: - Reflects the scope of work in Compliance to the Terms of Reference (ToR), - Level of detail of the methodology and methods statements in the proposal for special requirements per focus area, - Comprehensive process mapping to illustrate project design and personnel task allocations, - Attention to project management and resource allocation, - Inclusion of Organogram - Innovative approaches and ideas. Scoring criteria; Points values. All 6 items addressed; 5. 5 items addressed; 4. 4 items addressed; 3. 3 items addressed; 2. <2 items addressed; 1. | 35% | 21% | Provide detailed Proposal which contains a methodology chapter <provide unique reference to locate substantiating evidence in the bid response – Annex B, section 11.3> |
| 2. | TEAM LEADERS EXPERIENCE Considers the technical expertise and professional skills of the team leaders, regional knowledge, and proven conceptual abilities. A team leader should have experience of at least 10 years in: • Systems integration • Business analysis • System analysis • System design • Market study and due diligence for large projects • Implementation and coding • Testing and maintenance Scoring criteria; Points values. ≥15 years on any 6 items plus some knowledge / experience of the other 1 item; 5. 11 to 14 years on any 5 items plus some knowledge / experience of the other 2 items; 4. Minimum of 10 years on any 4 items plus some knowledge / experience of the other 3 items; 3. 7 to 9 years on any 3 items; 2. <7 years on any 2 items.; 1. | 25% | 15% | Attach as Annexure CV of team leaders not longer than three pages, of all team leaders for each specific focus area. CV must clearly state years of experience in each field, professional skills, accomplishments in relation to projects and their duration, and contactable references) <provide unique reference to locate substantiating evidence in the bid response – Annex B, section 11.3> |
| 3. | Team Capability: Considers the technical and professional skills of the key team members, regional knowledge relevant and proven conceptual abilities. Key team members should have at least 3 years of experience in the following: - Water & sanitation systems Integration. - Business analysis; System design. - System analysis. - Water & sanitation monitoring systems Implementation. - Testing and maintenance, - Market study and due diligence for large projects. Scoring criteria; Points values. Minimum 5 years of the key team members on all 6 items. The combination of skills should cover all items; 5. Minimum 4 years of the key team members on any 5 items The combination of skills should cover all items; 4. Minimum 3 years of the key team members on any 4 items The combination of skills should cover all items; 3. Minimum 2 years of the key team members on any 3 items; 2. Minimum 1 year of the key team members on any 2 items.; 1. | 30% | 18% | Attach as an Annexure an organogram/project team mapping and allocation of key team members per focus area. Attach as Annexure CV of team members not longer than three pages, of all team leaders for each specific focus area. CV must clearly state years of experience in each field, professional skills, accomplishments in relation to projects and their duration, and contactable references) <provide unique reference to locate substantiating evidence in the bid response – Annex B, section 11.3> |
| 4. | Capacity Building and Training Considers the provided detailed proposed methods and programme for capacity building, training and skills transfer, including timeframes, number of staff, methods for skills transfer and resources required which have been accommodated for in the costing. Proposed skills transfer methods and programme should cover the following aspects: - In line with the scope of the project. - Timeframes. - Number of staff - Mapping out of resources required and accommodated for in the costing. Scoring criteria; Points values. Shows innovation in ensuring successful transfer of skills to DWS staff; 5. Provides detailed methodology of training and capacity building covering all 4 aspects; 4. Provides methodology but covers 2 aspects; 3. Training in a workshop but covers 1 aspect; 2. Training in a workshop format only; 1. | 10% | 6% | Proposal should contain a chapter on skills transfer and capacity building. <provide unique reference to locate substantiating evidence in the bid response – Annex B, section 11.3> |
| TOTAL |  | 100 % | 60% |  |

- Minimum threshold. To be eligible to proceed to the next stage of the evaluation the bid must achieve a minimum threshold score of 60%.

- Minimum threshold per functional. To be eligible to proceed to the next stage of the evaluation must achieve the minimum threshold per functional environment as indicated in the table above.

- Provide unique reference i.e. document name/number, page and paragraph number, to locate substantiating evidence in the bid response – see Annex A.7

- SITA reserves the right to verify information / evidence provided by the Bidder.

SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

  - Award to multiple bidders.

- In the event that the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 8.1(2) above.

- The bidder must complete the declaration of acceptance as per section 8.3 below by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Supplier must enter into a formal written Contract (Agreement) with the Department of Water and Sanitation

  - Right of Award. DWS reserves the right to award the contract for required goods or services to multiple Suppliers.

  - Right to Audit. SITA/DWS reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- DELIVERY ADDRESS. The supplier must deliver the required products or services at the DWS office as indicated in Section 2.2, Delivery Address

- DELIVERY SCHEDULE

  - The scope of work (Section 2.1) and Section 3 (Requirements) must be completed within 12 months after the contract has been awarded to the offices of DWS as indicated in Section 2.2

  - The Supplier is responsible to perform the work as outlined in the following Breakdown Structure (WBS):

| WBS | Statement of Work | Delivery Timeframe |
| --- | --- | --- |
|  | Comprehensive Assessment Report | 1 month |
|  | A User Requirements Specification/ Report documenting the needs and user journeys of water and sanitation monitoring personnel and information managers in respect of water and sanitation monitoring systems | 1 month |
|  | Market study and Due Diligence Report on national water monitoring and information management digital solutions and/or platforms, including a shortlist of solution in order of affordability, cost analysis, scalability, best practice and international footprint, ease of integration and security. | 1 month |
|  | Business process optimization report including business process architectures and maps | 1 month |
|  | Governance framework report detailing governance of the use, data sharing, information sharing and management of data and the systems | 1 month |
|  | Detailed Design and solution architecture of a National Digitised Integrated Water and Sanitation Monitoring System | 3 months |
|  | Detailed description of the build/assemble/acquire process of the National Digitised Integrated Water & Sanitation Monitoring System | 2 months |
|  | Provide a detailed proposed implementation plan for the designed National Digitized Integrated Water and Sanitation Monitoring System | 2 months |

- SUPPLIER PERFORMANCE REPORTING

  - The Supplier will report on a weekly basis to DWS during the design, installation and implementation phase of the project; weekly written reports are to be presented to the DWS on the progress of the preceding week until installation process has been completed.

  - Quarterly meetings to be scheduled between SITA/Client and service provider and also ADHOC meetings from both sided.

  - The Supplier is required to generate regular reports as outputs during the maintenance and support cycle within the following service levels (the report type will drive the service level agreement; definition of the content of each report type will be finalised at the time of concluding the contracted service level agreement).

- CERTIFICATION, EXPERTISE AND QUALIFICATION

  - The Supplier represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

    - it is committed to provide the Products or Services; and

    - perform all obligations detailed herein without any interruption to the Customer.

  - The Supplier must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services;

  - The Supplier must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Statement of Work or Service Definition;

  - Original Equipment Manufacturer (OEM) or Original Software Manufacturer (OSM) work. The Supplier must ensure that work or service is performed by a person who is certified by Original Equipment Manufacturer or Original Software Manufacturer.

- LOGISTICAL CONDITIONS

  - Hours of work, 08h00 – 16h30.

  - Provision to be made for work which will be Saturday and Sunday at the Head Office for two weekends.

  - In the event that SITA grants the Supplier permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

  - Tools of Trade. The Supplier must bring their necessary tools of trade in order for them to perform their duties adequately.

  - On-site and Remote Support. The Supplier must give off-site and remote support, and only when off-site support is not sufficient, then on-site support will be required upon approval by SITA representative.

  - Support and Help Desk. After hours helpdesk support is required for the period of the first three months per site during weekdays including weekends and public holidays.

- REGULATORY, QUALITY AND STANDARDS

  - The Supplier must for the duration of the contract ensure compliance with ISO/IEC General Quality Standards, ISO27001, and Protection of Personal Information Act (POPIA).

  - The Supplier must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001

  - The water quality monitoring systems solution capabilities must be based on South African National Accreditation System (SANAS) requirements.

- PERSONNEL SECURITY CLEARANCE

  - The Supplier personnel who are required to work with GOVERNMENT CLASSIFIED information or access government RESTRICTED areas must be a South African Citizen and at the expense of the Supplier be security vetted (pre-employment screening, criminal record screening and credit screening).

  - The Supplier must ensure that the security clearances of all personnel involved in the Contract remains valid for the period of the contract.

  - The Supplier must provide proof of security vetting.

- CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another

Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a

Party has access because of Services provided in terms of this Contract and in which

a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of

contractual or other negotiations, which could reasonably be expected to prejudice

the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to

endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information,

know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade

secrets, of a Party, the disclosure of which would be likely to cause harm to the

commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could

reasonably be expected either to put the Party at a disadvantage in contractual or

other negotiations or to prejudice the Party in commercial competition; or

    - information the disclosure of which would be likely to prejudice or impair the safety

and security of a building, structure or system, including, but not limited to, a

computer or communication system; a means of transport; or any other property; or

a person; methods, systems, plans or procedures for the protection of an individual

in accordance with a witness protection scheme; the safety of the public or any part

of the public; or the security of property; information the disclosure of which could

reasonably be expected to cause prejudice to the defence of the Republic; security

of the Republic; or international relations of the Republic; or plans, designs,

drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms

of the Promotion of Access to Information Act, 2000; and information which a Party

has a statutory or common law duty to disclose or in respect of which there is no

reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

- GUARANTEE AND WARRANTIES:

The Supplier warrants that:

  - The warranty of goods supplied under this contract remains valid for twelve (12)

months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier;

  - as at Commencement Date, it has the rights, title and interest in and to the Product

or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and

workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be

repaired or replaced within 3 (three) days after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period at no expense to SITA;

  - the Product possesses all material functions and features required for SITA’s

Operational Requirements;

  - the Product remains connected or Service is continued during the term of the

Contract;

  - all third-party warranties that the Supplier receives in connection with the Products

including the corresponding software and the benefits of all such warranties are

ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third-

party suppliers or sub-contractors that have a material adverse effect on the

Supplier’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding,

    - pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract;

  - any Product sold to SITA after the Commencement Date of the Contract remains

free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Product and Manuals supplied in connection with the Contract

does not infringe any Intellectual Property Rights of any third party;

the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to DWS as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

  - any misrepresentation by the Supplier amounts to a breach of Contract.

- INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to DWS's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of DWS's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use DWS’s Intellectual Property for the benefit of any entities other than DWS without the written consent of DWS, which consent may be withheld in DWS's sole and absolute discretion. Except as otherwise requested or approved by DWS which approval is in DWS sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

    - the date of rendering of the last of the Deliverables.

  - If so required by DWS, the Supplier must certify in writing to DWS that it has either returned all DWS Intellectual Property to DWS or destroyed or deleted all other DWS Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

  - Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

  - Provide DWS with the compliant safety file.

- SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF COMPLIANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Special Condition of Contract as specified in section 8.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The bidder declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 8.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by bidder: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

COSTING AND PRICING

# COSTING AND PRICING

## COSTING AND PRICING EVALUATION

- In terms of Preferential Procurement Policy Framework Act (PPPFA), the following preference point system is applicable to all Bids:

  - the 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - the 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- This bid will be evaluated using the preferential point system of 80/20, subject to the following conditions –

  - If the lowest acceptable bid price is up to and including R50 000 000 (all applicable taxes included) then the 80/20 preferential point system will apply to all acceptable bids; or

  - If the lowest acceptable bid price is above R50 000 000 (all applicable taxes included) then the 90/10 preferential point system will apply to all acceptable bids;

- The bidder must complete the declaration of acceptance as per section 9.4 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

- Bidder will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions. These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

## COSTING AND PRICING CONDITIONS

- SOUTH AFRICAN PRICING.

The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

- BID EXCHANGE RATE CONDITIONS. The bidders must use the exchange rate provided below to enable SITA to compare the prices provided by using the same exchange rate:

| Foreign currency | South African Rand (ZAR) exchange rate |
| --- | --- |
| 1 US Dollar | R 16,12 |
| 1 Euro | R 18,29 |
| 1 Pound | R 21,51 |

## BID PRICING SCHEDULE

# Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission on the GCommerce system

SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 9.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 9.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

ANNEX A.4 TERMS AND DEFINITIONS

# ABBREVIATIONS

| 4IR | Fourth industrial revolution |
| --- | --- |
| APP | Application |
| BSCOM | Bid Specification Committee |
| CSD | Central Supplier Database |
| CV | Curriculum Vitae |
| DWS | Department of Water and Sanitation |
| GIS | Geographical Information System |
| IoT | Internet of Things |
| IRIS | Integrated Regulatory Information System |
| IWS | International Water Association |
| OEM | Original Equipment Manufacturer |
| OSM | Original Software Manufacturer |
| PPPFA | Preferential Procurement Policy Framework Act |
| RFB | Request for Bid |
| SANAS | South African National Accreditation System |
| SCADA | supervisory control and data acquisition |
| SCC | Special Conditions of Contract |
| SITA | State Information Technology Agency |
| WAS | Water Allocation System |
| ZAR | South Africa Rand |

BIDDER SUBSTANTIATING EVIDENCE

# MANDATORY REQUIREMENT EVIDENCE

## BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

- The bidder must provide references from at least two customers to whom the assessment and design of a national digitized integrated water and sanitation monitoring system project were delivered in the last ten years. The project must cover at least six aspects as indicated on the requirement.

- Project end-date must be current or not older than 10 years from date this bid is advertised,

- Scope of work must be related.

Table 1: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide the details of the scope for the assessment and design of a national digitized integrated water and sanitation monitoring system. | Start Date: End Date: |
| 2 | <Company name> | <Person Name> <Tel> <email> | Provide the details of the scope for the assessment and design of a national digitized integrated water and sanitation monitoring system. | Start Date: End Date: |

## 11.2 PRODUCT / SERVICE FUNCTIONAL REQUIREMENT

The bidder must confirm that they comply with the Product / Service Functional Requirements for a National Digitized Integrated Water and Sanitation Monitoring System by completing Annex C: Addendum 1.

Failure to comply with this requirement will lead to disqualification.

11.3	PRODUCT / SERVICE FUNCTIONAL REQUIREMENT

The bidder must attach the substantiating evidence for the criteria on Technical Functional Requirements as indicated in section 7.0 here:

- ANNEX C: ADDENDUM 1

NB:  The bidder must confirm that they comply with the following Technical Mandatory Functional Requirements as indicated below as this will be legal contractual binding:

| ### Description | - Service Requirements | Indicate Yes= Comply /No= Not Comply |
| --- | --- | --- |
| ### Water Resources | - The solution must be capable of using wireless sensor networks as well as in-situ terrestrial sensor network systems - The solution must have capability to use unmanned aerial vehicles (drones) - The solution must have Geographical Information Systems (GIS) integration capabilities - The solution must have South African based water quality observation systems and other space-based sensor systems capabilities - The solution must have online and offline data capturing mobile application (APP) systems - The solution must have cloud and on-site based monitoring systems capabilities - The solution must have online mobile application systems linked to functional databases for data storage and further quality checks - The solution must be capable of linking to secure database systems for processing and reporting - The solution must have incident water quality management protocol for early warning on determinants of concern - The solution must have rain/storm water monitoring capabilities - The solution must have flood management early warning capabilities - The solution must have drought status early warning capabilities - The solution must be capable of near-real time monitoring of managed aquifer recharge and water quality. - The solution must be capable of integrating crowd sourcing/citizen science water monitoring approaches. |  |
| ### Water Resources Infrastructure Assets | - The solution must have online monitoring capabilities - The solution must have supervisory control and data acquisition (SCADA) capabilities - The solution must be capable of utilising analytics tools for process of optimization - The solution must have inter-process automation or control capabilities - The solution must integrate with internal resources and platforms developed for working with digital infrastructure - The solution must enable digital technologies to be incorporated across business and operations processes - The solution must have advanced analytics for decision making capabilities - The solution must have identification and electronic tagging of hidden assets (e.g., underground pipes) capabilities - The solution must have smart pipeline system capabilities - The solution must be capable of enabling remote operations - The solution must have valve automation capabilities - The solution must be capable of real time Bulk Pipe Monitoring - The solution must have flow metering and reporting capabilities - The solution must have specialized business information system capabilities (Knowledge Management, Artificial Intelligence, Expert Systems such as decision-making features and virtual reality if needed) - The solution must have predictive modelling features - The solution must have stakeholder engagement facilities - The solution must be capable of incident recording (cause-and effect analyses) - The solution must have Recording of Remaining Economic Lifespan of Assets (recording and management) capabilities - The solution must be capable of doing verification of strategic asset (reservoirs, pipelines, dams etc) using mobile applications (APPs) - The solution must be capable of integrating smart metering to measure volumes correctly and improve consistency of meter readings - The solution must have dam safety surveillance system capabilities - The solution must provide for real time monitoring of conveyance systems (canals, pipes, reservoirs, and pump stations). |  |
| ### Water Sector Regulation | - The solution must be capable of remotely assessing complaints to improve response time - For Wastewater Treatment Works, the solution must have capability to monitor the discharging water quality points and interface with the existing systems under regulation - Solution must have capability to monitor high risk water users in terms of water quality and quantity on annual basis - The solution must have capability to monitor all water users issued with licenses - The solution must monitor the volume of water that has been used without an authorisation in a particular property - The solution must monitor the flow from pump stations versus the dam capacity of the wastewater treatment works - The solution must monitor the reuse of water in terms of water quality, and the volumes of water that are going for reuse which are supposed to be going into the system. - The solution must monitor industrial water use that goes into our wastewater treatment works. This will assist in monitoring on how much is going to the wastewater treatment work and what quality - The solution must monitor drinking water quality (blue drop) and wastewater quality (green drop). This will be more regular than the current audit monitoring that being done once a year - The solution must have capabilities to monitor abstraction by local municipalities according to what is in the license condition and interface with existing systems. - The solution must be able to link with available systems, such as Hydronet, WAS, IRIS, WARMS etc. - The solution must have an upload functionality for documents to be uploaded and to be available in field/ on site - The solution must have an early warning system for compliance, e.g., for entities, licences etc. - The solution must incorporate an automation of water use volumes reporting (metering data) for all water use sectors |  |
| ### Revenue Management | - The solution must have capability to monitor meter readings remotely using smart meters. Revenue Management currently depends on infrastructure management to collect meter readings manually. - The solution must have capability to authenticate customer data to improve veracity of data collected by customers - The solution must be capable of rationalizing and integrating database systems used in Revenue Management that have similar objectives to streamline access to information and minimize duplication and proliferation of data sources. - The solution must improve the document management system used in Revenue Management by automating the process of storing/archiving of documents to minimize human intervention |  |
| ### Sanitation services | - The solution must have capability to monitor status of sanitation in the country in terms of access to sanitation. Since this data is with institutions such as COGTA and Human Settlements, the solution must be capable of integrating with the external source systems to enable the department to monitor how many households have been served by each municipality or how many sanitation facilities have been delivered or projected - The solution must have capability to monitor groundwater quality parameters that are relevant to sanitation services. The ability to monitor the impact of on-site sanitation facilities on groundwater quality will assist with safe sanitation management - The solution must automate a sanitation technology assessment tool already developed for assessment of new sanitation technologies - The solution must provide for monitoring and detection of pits that need emptying and activities that are taking place with regard to emptying as well as quantity of sludge emptied - The solution should provide means of collection of data on how feacal waste is safely disposed or reused - The solution must have capability to monitor river and groundwater water levels as well as water quality where the discharging is taking place - The solution must provide for means on how sanitation hygiene and hand washing facilities access data is collected. |  |
| ### 6. Water Services | - The solution must have capability to monitor wastewater discharge quantity and quality by municipalities - The solution must be capable of monitoring wastewater quality and capacity of treatment plants - The solution be capable of monitoring drinking water quality - The solution must be able to monitor all grant funding allocations and expenditure including MIG, WSIG and RBIG funding - The solution must be able to monitor status of water and sanitation services reliability in all Municipalities including households without access to infrastructure - The solution must be able to link with GIS to capture infrastructure information (new and old) and assist with development of Asset Management Plans - With regards to groundwater, the solution should be able to provide information on aquifers, measure or provide information on how much groundwater resources are depleted or recharged at any given time, have measuring devices on certain aquifers to always provide real time data on status of aquifers/groundwater - The solution must monitor any illegal connections on any bulk or normal supply or reticulation system - The solution must be able to measure pipe pressure at any given time, to avoid pipe breaks - The solution must be able to monitor if any bulk or ordinary meter is faulty - The solution must have capability to accommodate Bulk, zone and customer meters for measuring the actual water use and water loss. - The solution must be capable of detecting major leaks or pipe burst in real time - The solution must interface with other Water Use Efficiency potential systems such as Water Administration system, Irri-drop for agriculture sector, No drop system, International Water Association Water Balance (IWA) for Local Government - The solution must integrate with operational schematics of all water supply distribution network systems (major irrigation schemes, Water Supply municipality systems,) including meters (smart meters) captured on GIS maps and photos, to provide a layout map of the infrastructure. |  |

I, the bidder (Full names)………………………………………………….representing (company name)…………………………………………………………….. Hereby confirm that I comply with the above Technical Mandatory Requirements and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

……………………………….

Signature

Designation: