BID:  RLM/DTIS/0116/2020/21: APPOINTMENT OF A CONTRACTOR TO PERFORM MAINTENANCE OF POWER TRANSORFMERS AT VARIOUS SUBSTATIONS AS AND WHEN REQUIRED FOR A PERIOD OF THREE (3) YEARS

STANDARD FOR POWER TRANSFORMER REFURBISHMENT AND REPAIRS ONSITE AND OFFSITE

ANNEXURE B: PRICING SCHEDULE

BID:  RLM/DTIS/0116/2020/21: APPOINTMENT OF A CONTRACTOR TO PERFORM MAINTENANCE OF POWER TRANSORFMERS AT VARIOUS SUBSTATIONS AS AND WHEN REQUIRED FOR A PERIOD OF THREE (3) YEARS

PRICING INSTRUCTIONS

- Measurement and payment shall be in accordance with the relevant provisions of clause 8 of each of the SABS 1200 Standardised Specifications referred to in the Scope of Work. The Preliminary and General items shall be measured in accordance with the provisions of SABS 1200-A, General.

- The units of measurement described in the Bills of Quantities are metric units. Abbreviations used in these Bills of Quantities are as follows:

%		=	percent

h			=	hour

ha		=	hectare

kg		=	kilogram

kl		=	kilolitre

km		=	kilometre

km-pass		=	kilometre-pass

kPa		=	kilopascal

kW		=	kilowatt

l			=	litre

m		=	metre

mm		=	millimetre

m2		=	square metre

m2-pass		=	square metre-pass

m3		=	cubic metre

m3-km		=	cubic metre-kilometre

MN		=	meganewton

MN.m		=	meganewton-metre

MPa		=	megapascal

No.		=	number

Prov sum	=	Provisional sum

PC sum		=	Prime Cost sum

R/only		=	Rate only

Sum		=	lump sum

t			=	ton (1000 kg)

W/day		=	Work day

- Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance is made for waste.

- The prices and rates in these Bills of Quantities are fully inclusive prices for the work described under the items. Such prices and rates cover all costs and expenses that may be required in and for the execution of the work described in accordance with the provisions of the Scope of Work, and shall cover the cost of all general risks, liabilities, and obligations set forth or implied in the contract data, as well as additional work that may have to be carried out.

- It will be assumed that prices included in these Bills of Quantities are based on Acts, Ordinances, Regulations, By-laws, International Standards and National Standards that were published 28 days before the closing date for tenders. (Refer to www.stanza.org.za or www.iso.org for information on standards).

- Where the Scope of Work requires detailed drawings and designs or other information to be provided, all costs associated therewith are deemed to have been provided for and included in the unit rates and sum amount tendered such items.

- An item against which no price is entered will be considered to be covered by the other prices or rates in the Bills of Quantities. A single lump sum will apply should a number of items be grouped together for pricing purposes.

- The quantities set out in these Bills of Quantities are approximate and do not necessarily represent the actual amount of work to be done. The quantities of work accepted and certified for payment will be used for determining payments due and not the quantities given in the Bills of Quantities.

- Reasonable compensation will be received where no pay item appears in respect of work required in the Bills of Quantities in terms of the Contract and which is not covered in any other pay item.

- The short descriptions of the items of payment given in these Bills of Quantities are only for the purposes of identifying the items. More details regarding the extent of the work entailed under each item appear in the Scope of Work.

- Descriptions in the Bills of Quantities are abbreviated and comply generally with those in the SABS 1200 Standardised Specifications.

- All prices and rates entered in the Bills of Quantities must be excluding Value Added Tax (VAT). VAT will be added last on the summary page of the Bill of Quantities.

BILL OF QUANTITIES

GENERAL NOTES

Tenderers must complete the Bills of Quantities and detail unit rate and total amount for each item. All rates and prices exclude VAT.

Any discrepancies which might occur between the specification, the Bills of Quantities and the drawings must immediately be brought to the attention of the Engineer and the tenderer should indicate at the time of tendering whether provision has been made in the tender price covering such discrepancies.

The “Total” shall constitute the tender price for adjudication.

Note:

Tenderers are advised to check their item extensions and total additions as arithmetic errors occurring in the priced Bills of Quantities cannot be considered as having an effect on the tender amount.

No alterations, erasure or addition is to be made in the text of the Bills of Quantities. Should any alteration, erasure or addition be made it will not be recognised but the original wording of the Bills of Quantities will be adhered to.

The Engineer will check the completed Bills of Quantities and reserves the right to adjust any individual price and to rectify any discrepancy whilst the total tender price as quoted remains unaltered.

The quantities given in the Bills for cable, cable markers, earth wire laid with cable, sleeves and excavations cannot be regarded as exact and are subject to measurement on site after completion of the service and adjustments will be made according to the unit rates given in the Bills.

The sundry materials associated with the Switchgear will not be re-measurable and the tenderer must therefore allow for the supply of all necessary sundries for the successful execution and completion of the installation.

BID:  RLM/DTIS/0116/2020/21: APPOINTMENT OF A CONTRACTOR TO PERFORM MAINTENANCE OF POWER TRANSORFMERS AT VARIOUS SUBSTATIONS AS AND WHEN REQUIRED FOR A PERIOD OF THREE (3) YEARS

| PHASE 1 : Workshop Transformer Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 1 | Site Establishment | sum |  |  |  |  |
| 1.1.1 | Establish site |  | 1 |  |  |  |
| 1.1.2 | Rent 44 ft container Establish site |  | 1 |  |  |  |
| 1.1.3 | Portable Office 4m x5m Establish site |  | 1 |  |  |  |
| 1.1.4 | Portable flushable toilet |  | 1 |  |  |  |
| 2 | Transport and Rigging |  |  |  |  |  |
| 2.1.1 | Hydraulic crane hire 0-40 tons | each | 1 |  |  |  |
| 2.1.2 | Hydraulic crane hire 41-60 tons | each | 1 |  |  |  |
| 2.1.3 | Hydraulic crane hire 61-80 tons | each | 1 |  |  |  |
| 2.1.4 | Hydraulic crane hire 81-100 tons | each | 1 |  |  |  |
| 2.1.5 | Hydraulic crane truck 50 ton with boom reaching 40 metres. | each | 1 |  |  |  |
| 2.1.6 | Hydraulic crane truck 100-160 ton with boom reaching 50 metres. | each | 1 |  |  |  |
| 2.1.7 | Hydraulic crane truck 160-300 ton with boom reaching 50 metres. | each | 1 |  |  |  |

| PHASE 1 : Workshop Transformer Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 2 | Transport and Rigging |  |  |  |  |  |
| 2.2.1 | Rigging of transformer on and Off the Low-bed 0-40 tons using a crane | each | 1 |  |  |  |
| 2.2.2 | Rigging of transformer on and Off the Low-bed 0-40 tons using jacking system | each | 1 |  |  |  |
| 2.2.3 | Rigging of transformer on and Off the Low-bed 41-60 tons using a crane | each | 1 |  |  |  |
| 2.2.4 | Rigging of transformer on and Off the Low-bed 41-60 tons using jacking system | each | 1 |  |  |  |
| 2.2.5 | Rigging of transformer on and Off the Low-bed 61-80 tons using a crane | each | 1 |  |  |  |
| 2.2.6 | Rigging of transformer on and Off the Low-bed 61-80 tons using jacking system | each | 1 |  |  |  |
| 2.2.7 | Rigging of transformer on and Off the Low-bed 81-100 tons using a crane | each | 1 |  |  |  |
| 2.2.8 | Rigging of transformer on and Off the Low-bed 81-100 tons using jacking system | each | 1 |  |  |  |
| 2.3.1 | Transport of transformer to workshop (per km) | each | 1 |  |  |  |

| PHASE 1 : Workshop Transformer Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 3.1 | Inspections and Analysis - Active Part |  |  |  |  |  |
| 3.1.1 | Untank active parts and assess | each | 1 |  |  |  |
| 3.1.2 | Conduct preliminary test on transformer active parts | each | 1 |  |  |  |
| 3.1.3 | Conduct oil and gas analysis | each | 1 |  |  |  |
| 3.1.4 | Conduct furanic analysis | each | 1 |  |  |  |
| 3.1.5 | Conduct physical paper analysis | each | 1 |  |  |  |
| 3.2 | Inspections and Analysis - Tank |  |  |  |  |  |
| 3.2.1 | Inspect tank | each | 1 |  |  |  |
| 3.2.2 | Inspect all motors and coolers | each | 1 |  |  |  |
| 3.2.3 | Inspect all pressure relief devices | each | 1 |  |  |  |
| 3.2.4 | Inspect conservator | each | 1 |  |  |  |
| 3.2.5 | Inspect all valves and piping | each | 1 |  |  |  |
| 3.2.6 | Inspect all radiator fins | each | 1 |  |  |  |

| PHASE 1 : Workshop Transformer Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 4 | Bushings |  |  |  |  |  |
| 4.1 | Conduct preliminary tests on all bushings. For condenser type bushings, Tan Delta/Partial Discharge test are required (issue test certificate) | each | 1 |  |  |  |
| 4.2 | Take oil samples from bushings and have them analysed (with supervision from Rustenburg Local Municipality) | each | 1 |  |  |  |
| 4.3 | Drain oil, dismantle and inspect all the bushings | each | 1 |  |  |  |
| 5 | On-load tap changer (Box-type) |  |  |  |  |  |
| 5.1 | Open front cover and inspect the defects | each | 1 |  |  |  |
| 5.2 | Remove all contact epoxy boards and inspect for cracks or any other defects | each | 1 |  |  |  |
| 5.3 | Remove barrier boards and inspects for cracks and effects | each | 1 |  |  |  |
| 5.4 | Inspect pressure relays for defects and check settings | each | 1 |  |  |  |
| 5.5 | Inspect mechanical drive mechanism for defects | each | 1 |  |  |  |
| 5.6 | Record transitional resistor value and compare with the name plate information where applicable | each | 1 |  |  |  |
| 5.7 | Inspect all contacts and shafts for wear and defects | each | 1 |  |  |  |

| PHASE 1 : Workshop Transformer Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 6 | On-load tap changer (Cylinder-type) |  |  |  |  |  |
| 6.1 | Open and drain oil from the diverter switch | Each | 1 |  |  |  |
| 6.2 | Dismantle and untank the diverter switch | Each | 1 |  |  |  |
| 6.3 | Inspect and test diverter switch | Each | 1 |  |  |  |
| 6.4 | Test the diverter tube for leaks | Each | 1 |  |  |  |
| 7 | Reporting |  |  |  |  |  |
| 7.1 | Supply full detailed report and recommendations | Each | 1 |  |  |  |
| 7.2 | Scrap copper price must be provided and indicated as a savings on all quotations | Each | 1 |  |  |  |
|  | TOTAL |  |  |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 1 | Site Establishment |  |  |  |  |  |
| 1.1.1 | Allow for complying with all General and Special Conditions of Contract, labour requirements, site establishment , water and sanitary facilities, first aid services, electrical services |  | 1 |  |  |  |
| 1.1.2 | Allow for the storage and safe keeping of all materials and equipment including the provision of insurances as stipulated in the Conditions of Contract. Allow for 24 hour security for the duration of the contract. |  | 1 |  |  |  |
| 1.1.3 | Allow for marking-up a full set of drawings to show the exact positions of cables, transformer earthing etc. These "As Built" drawings must be handed to the engineer at commissioning of the equipment. Also all maintenance manuals, including all technical literature, test certificates and wiring diagrams as per specification. |  | 1 |  |  |  |
| 1.1.4 | Allow for training for Rustenburg Local Municipality staff during installation and commissioning of complete installation. |  | 1 |  |  |  |
| 1.2 | Any additional item(s), not shown in the schedules that the tenderer consider essential and wish to detail and price. (Provide full details) |  | 1 |  |  |  |
| 1.3 | Additional Item a |  |  |  |  |  |
| 1.4 | Additional Item b |  |  |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 2 | Onsite maintenance/service/repairs (work to be done) |  |  |  |  |  |
| 2.1 | Onsite risk and condition assessment | each | 1 |  |  |  |
| 2.2 | High pressure wash the transformer to remove all oil and dirt from the transformer as well as the plinth | each | 1 |  |  |  |
| 2.3 | Re-gasketing of main tank | each | 1 |  |  |  |
| 2.4 | Re-gasketing of bushings | each | 1 |  |  |  |
| 2.5 | Remove and Install new bushings where required | each | 1 |  |  |  |
| 2.6 | Re-gasketing of tap changer chamber | each | 1 |  |  |  |
| 2.7 | Tap changer service/maintenance | each | 1 |  |  |  |
| 2.8 | Oil purification [regeneration], | each | 1 |  |  |  |
| 2.9 | Oil drainage and top up | each | 1 |  |  |  |
| 2.1 | Radiator fins inspection and maintenance | each | 1 |  |  |  |
| 2.11 | Dehydrating Breather Maintenance/Service | each | 1 |  |  |  |
| 2.12 | Changing of Silica Gel Dessicant | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 3 | Active parts |  |  |  |  |  |
| 3.1 | Dismantle yoke and remove faulty windings | each | 1 |  |  |  |
| 3.2 | Check , clean and overhaul core | each | 1 |  |  |  |
| 3.3 | Renew core bolt and clamp insulation as required | each | 1 |  |  |  |
| 3.4 | Strip and rewind coils using copper with a purity of 99.9% or better | each | 1 |  |  |  |
| 3.5 | Conduct preliminary test on new coils | each | 1 |  |  |  |
| 3.6 | Pre-press winding(s) to specification | each | 1 |  |  |  |
| 3.7 | Reassemble and dry core and windings | each | 1 |  |  |  |
| 3.8 | Conduct pre-test to ensure correct ratios and resistances | each | 1 |  |  |  |
| 3.9 | Fit and tape harnessing for final dry-out | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 4 | Tank and parts |  |  |  |  |  |
| 4.1 | Drain oil from tank and clean and inspect tank. | each | 1 |  |  |  |
| 4.2 | Overhaul and re-gasket tank and parts (valves, pumps, inspection plate, coolers etc.) | each | 1 |  |  |  |
| 4.3 | Overhaul and pressure test all coolers (issue test certificate) | each | 1 |  |  |  |
| 4.4 | Overhaul cooling motors and fans (issue test certificate) | each | 1 |  |  |  |
| 4.5 | Overhaul, test and fit Buchholz relay (issue test certificate) | each | 1 |  |  |  |
| 4.6 | Service all pressure devices, supply and fit new micro switches to all of them (issue test certificate) | each | 1 |  |  |  |
| 4.7 | Inspect, clean and test all associated cable work | each | 1 |  |  |  |
| 4.8 | Overhaul, re-gasket and replace all seals on conservator gauges and conservator tank | each | 1 |  |  |  |
| 4.9 | Check and service conservator bag | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 5 | Bushings |  |  |  |  |  |
| 5.1 | Conduct preliminary tests on all bushings. For condenser type bushings, Tan Delta/Partial Discharge test are required (issue test certificate) | each | 1 |  |  |  |
| 5.2 | Draw oil samples from bushings and have them analysed (with supervision from Rustenburg Local Municipality) | each | 1 |  |  |  |
| 5.3 | Replace seals and gaskets and clean porcelain shells | each | 1 |  |  |  |
| 5.4 | Assemble and fill with oil where applicable | each | 1 |  |  |  |
| 5.5 | Final test the bushings (issue test certificate) | each | 1 |  |  |  |
| 6 | On-load tap changer (Box-type) |  |  |  |  |  |
| 6.1 | Open front cover and inspect the defects | each | 1 |  |  |  |
| 6.2 | Remove all contact epoxy boards and inspect for cracks or any other defects | each | 1 |  |  |  |
| 6.3 | Remove barrier boards and inspects for cracks and effects | each | 1 |  |  |  |
| 6.4 | Inspect pressure relays for defects and check settings | each | 1 |  |  |  |
| 6.5 | Inspect mechanical drive mechanism for defects | each | 1 |  |  |  |
| 6.6 | Record transitional resistor value and compare with the name plate information where applicable | each | 1 |  |  |  |
| 6.7 | Inspect all contacts and shafts for wear and defects | each | 1 |  |  |  |
| 6.8 | Repair/replace tap changer contacts where necessary | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 7 | On-load tap changer (Cylinder-type) |  |  |  |  |  |
| 7.1 | Open and drain oil from the diverter switch | each | 1 |  |  |  |
| 7.2 | Dismantle and Detank the diverter switch | each | 1 |  |  |  |
| 7.3 | Inspect, test and overhaul diverter switch | each | 1 |  |  |  |
| 7.4 | Replace all faulty parts | each | 1 |  |  |  |
| 7.5 | Test the diverter tube for leaks | each | 1 |  |  |  |
| 7.6 | Assemble and re-tank diverter switch for final reconnection to the active parts | each | 1 |  |  |  |
| 8 | Auxiliaries |  |  |  |  |  |
| 8.1 | Supply new silica gel breather where applicable | each | 1 |  |  |  |
| 8.2 | Check and replace pressure relief devices | each | 1 |  |  |  |
| 8.3 | Check and service Dry-Keep unit where required | each | 1 |  |  |  |
| 8.4 | Check and test transformer protection indicators | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 9 | Final Assembly |  |  |  |  |  |
| 9.1 | Check and tighten all parts of the active parts and final tank | each | 1 |  |  |  |
| 9.2 | Draw vacuum | each | 1 |  |  |  |
| 9.3 | Break the vacuum and test fit all parts {bushings. tap changer (box type) and ancilliary parts} | each | 1 |  |  |  |
| 9.4 | Draw vacuum and fill transformer with oil | each | 1 |  |  |  |
| 10 | Test transformer as per SANS 60076 (part 1,2,3,4,5 and 10) included tests are as follows: |  |  |  |  |  |
| 10.1 | Electrical Tests to be performed |  |  |  |  |  |
| a) | Induced over voltage | each | 1 |  |  |  |
| b) | Separate source over potential | each | 1 |  |  |  |
| c) | No-load | each | 1 |  |  |  |
| d) | Load losses and impedance voltage | each | 1 |  |  |  |
| e) | No load loss [Copper and Iron losses] | each | 1 |  |  |  |
| f) | Cellulose moisture content | each | 1 |  |  |  |
| g) | Insulation resistance | each | 1 |  |  |  |
| h) | Winding resistance | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 10.1 | Electrical Tests to be performed |  |  |  |  |  |
| i) | Voltage/Turns ratio and Phase displacement | each | 1 |  |  |  |
| j) | Zero phase Impedance | each | 1 |  |  |  |
| k) | Transformer Tan Delta and Capacitance | each | 1 |  |  |  |
| l) | Magnetising current | each | 1 |  |  |  |
| m) | Core ground insulation | each | 1 |  |  |  |
| 10.2 | Remove paper sample and test for DP | each | 1 |  |  |  |
| 10.3 | Draw oil sample for SANS 555 report from bulk oil | each | 1 |  |  |  |
| 10.4 | Draw oil sample for full DGA, moisture and KV report | each | 1 |  |  |  |
| 11 | Transport to site and offload |  |  |  |  |  |
| 11.1 | Transport of transformer to site (per km) | each | 1 |  |  |  |
| 11.2 | Offload transformer at site | each | 1 |  |  |  |
| 12 | Rigging and Installation |  |  |  |  |  |
| 12.1 | Provide malthoid on plinth where required | each | 1 |  |  |  |
| 12.2 | Install unit at selected site: 0 – 40 tons | each | 1 |  |  |  |
| 12.3 | Install unit at selected site: 41 – 80 tons | each | 1 |  |  |  |
| 12.4 | Install unit at selected site: 81 – 100 tons | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 13 | On – site activities |  |  |  |  |  |
| 13.1 | Drain oil and prepare auxiliary parts for spray painting with original paint | each | 1 |  |  |  |
| 13.2 | Wait to dry and load transformer and parts for transport to site | each | 1 |  |  |  |
| 13.3 | Draw a vacuum for 48 hours | each | 1 |  |  |  |
| 13.4 | Supply virgin oil (per litre) where applicable | each | 1 |  |  |  |
| 13.5 | Fill oil under vacuum | each | 1 |  |  |  |
| 13.6 | Connect the HV and MV bushings | each | 1 |  |  |  |
| 13.7 | HV Busbar/Conductor Clamps | each | 1 |  |  |  |
| 13.8 | HV Conductor (Centipede) where required | m | 1 |  |  |  |
| 13.9 | HV Conductor (Hare) to Surge Arrestors | m | 1 |  |  |  |
| 13.10 | Solid Copper Busbar 160mm x 12mm between MV TX bushing and cable termination | m | 1 |  |  |  |
| 13.11 | Flexible clamp for Solid Copper Busbar 160mm x 12mm onto MV bushing | each | 1 |  |  |  |
| 13.12 | Provide MV Busbar/Conductor Clamps wher required | each | 1 |  |  |  |
| 13.13 | Tubular Aluminium busbar clamps (inclusive of end cap on one side) | each | 1 |  |  |  |
| 13.14 | Connect MV Conductor (Bull) | m | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 13 | On – site activities |  |  |  |  |  |
| 13.15 | Supply, Install surge arrestors brackets where required | each | 1 |  |  |  |
| 13.16 | Connect the auxilliary wiring to the marshalling kiosk | each | 1 |  |  |  |
| 13.17 | Connect the NECR/Aux transformer and transformer earth lead | each | 1 |  |  |  |
| 13.18 | Remove existing plinth | each | 1 |  |  |  |
| 13.19 | Install new concrete plinth (25MPA) | each | 1 |  |  |  |
| 13.20 | Remove existing marshalling kiosk | each | 1 |  |  |  |
| 13.21 | Remove existing termination structure | each | 1 |  |  |  |
| 13.22 | Supply & install complete cable support structure for cable terminations & cable supports. Required foundations, bolts, nuts, indication signage and earthing to be included | each | 1 |  |  |  |
| 13.23 | Corrosion protection paint to steel | litre | 1 |  |  |  |
| 13.24 | Supply and install galvanized holding down bolts for steel structures | each | 1 |  |  |  |
| 13.25 | Install new removable barrier welded mesh fence with frame | m² | 1 |  |  |  |
| 13.26 | 70mm² CCS conductor and connect onto main earth grid using exothermic welding only | m | 1 |  |  |  |
| 13.27 | Test and verify earthmat integrity | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 14 | Control and Low Voltage cables where required |  |  |  |  |  |
|  | Adhoc purchases |  |  |  |  |  |
| 14.1 | 7 Core - 2.5mm² | m | 1 |  |  |  |
| 14.2 | 12 Core - 2.5mm² | m | 1 |  |  |  |
| 14.3 | 4 Core - 2.5mm² | m | 1 |  |  |  |
| 14.4 | 4 Core - 16mm² | m | 1 |  |  |  |
| 14.5 | 4 Core - 4mm² | m | 1 |  |  |  |
| 14.6 | 19 Core - 2.5mm² | m | 1 |  |  |  |
| 14.7 | 4 Core - 1.5mm² (screened) | m | 1 |  |  |  |
| 14.8 | Cable racking - 300mm wide | m | 1 |  |  |  |
| 14.9 | 7 Core - 2.5mm² termination | each | 1 |  |  |  |
| 14.10 | 12 Core - 2.5mm² termination | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
|  | Adhoc purchases Adhoc purchases |  |  |  |  |  |
| 14.11 | 4 Core - 2.5mm² termination | each | 1 |  |  |  |
| 14.12 | 4 Core - 16mm² termination | each | 1 |  |  |  |
| 14.13 | 4 Core - 4mm² termination | each | 1 |  |  |  |
| 14.14 | 19 Core - 2.5mm² termination | each | 1 |  |  |  |
| 14.15 | 4 Core - 1.5mm² termination | each | 1 |  |  |  |
| 14.16 | Verification of all control and protection circuits and the supply of as-built drawings | sum | 1 |  |  |  |
| 14.17 | Terminate 500 mm² x 1c Cu Cable | each | 1 |  |  |  |
| 14.18 | Joint 500mm² x 1c Cu Cable | each | 1 |  |  |  |

| PHASE 2: Workshop Transformer Repairs/Refurbishment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 15 | On site Testing |  |  |  |  |  |
| 15.1 | Electrical Test to be performed |  |  |  |  |  |
|  | a) Induced over voltage | each | 1 |  |  |  |
|  | b) Separate source over potential | each | 1 |  |  |  |
|  | c) No-load | each | 1 |  |  |  |
|  | d) Load losses and impedance voltage | each | 1 |  |  |  |
|  | e) No load loss [Copper and Iron losses] | each | 1 |  |  |  |
|  | f) Cellulose moisture content | each | 1 |  |  |  |
|  | g) Insulation resistance | each | 1 |  |  |  |
|  | h) Winding resistance | each | 1 |  |  |  |
|  | i) Voltage/Turns ratio and Phase displacement | each | 1 |  |  |  |
|  | j) Zero phase Impedance | each | 1 |  |  |  |
|  | k) Transformer Tan Delta and Capacitance | each | 1 |  |  |  |
|  | l) Magnetising current | each | 1 |  |  |  |
|  | m) Noise level test | each | 1 |  |  |  |
|  | n) Core ground insulation | each | 1 |  |  |  |
| 15.2 | Draw oil sample for DGA report | each | 1 |  |  |  |
| 16 | Liven up and Handover to Rustenburg Local Municipality | each | 1 |  |  |  |
|  | TOTAL |  |  |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 1 | Site Establishment | sum |  |  |  |  |
| 1.1.1 | Establish site according to sub – clause 4.7.1 |  | 1 |  |  |  |
| 1.1.2 | Rent 44 ft container Establish site |  | 1 |  |  |  |
| 1.1.3 | portable Office 4m x 5m Establish site |  | 1 |  |  |  |
| 1.1.4 | Portable flushable toilet |  | 1 |  |  |  |
| 1.2 | Allow for complying with all General and Special Conditions of Contract, labour requirements, site establishment , water and sanitary facilities, first aid services, electrical services | month | 1 |  |  |  |
| 1.3 | Allow for the storage and safe keeping of all materials and equipment including the provision of insurances as stipulated in the Conditions of Contract. Allow for 24 hour security for the duration of the contract. | month | 1 |  |  |  |
| 1.4 | Allow for marking-up a full set of drawings to show the exact positions of cables, transformer earthing etc. These "As Built" drawings must be handed to the engineer at commissioning of the equipment. Also all maintenance manuals, including all technical literature, test certificates and wiring diagrams as per specification. | sum | 1 |  |  |  |
| 1.5 | Allow for training for Rustenburg Local Municipality staff during installation and commissioning of complete installation. | no of ppl | 10 |  |  |  |
| 1.6 | Any additional item(s), not shown in the schedules that the tenderer consider essential and wish to detail and price. (Provide full details) |  | 1 |  |  |  |
| 1.7 | Additional Item a |  |  |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 1 | Site Establishment |  |  |  |  |  |
| 1.8 | Additional Item b |  |  |  |  |  |
| 1.9 | Additional Item c |  |  |  |  |  |
| 1.1 | Additional Item d |  |  |  |  |  |
| 2.1 | Onsite maintenance/service/repairs (work to be done) |  |  |  |  |  |
| 2.1.1 | Onsite risk and condition assessment | each | 1 |  |  |  |
| 2.1.2 | High pressure wash the transformer to emove all oil and dirt from the transformer as well as the plinth | each | 1 |  |  |  |
| 2.1.3 | Re-gasketing of main tank | each | 1 |  |  |  |
| 2.1.4 | Re-gasketing of bushings | each | 1 |  |  |  |
| 2.1.5 | Remove and Install new bushings where required | each | 1 |  |  |  |
| 2.1.6 | Re-gasketing of tap changer chamber | each | 1 |  |  |  |
| 2.1.7 | Tap changer service/maintenance | each | 1 |  |  |  |
| 2.1.8 | Oil purification [regeneration], | each | 1 |  |  |  |
| 2.1.9 | Oil drainage and top up | each | 1 |  |  |  |
| 2.1.10 | Radiator fins inspection and maintenance | each | 1 |  |  |  |
| 2.1.11 | Dehydrating Breather Maintenance/Service | each | 1 |  |  |  |
| 2.1.12 | Changing of Silica Gel Dessicant | each | 1 |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 2.1 | Onsite maintenance/service/repairs (work to be done) |  |  |  |  |  |
| 2.1.13 | Fans and fan motors service/ maintenance and ensure correct rotation | each | 1 |  |  |  |
| 2.1.14 | Remove old and install new fans where required | each | 1 |  |  |  |
| 2.1.15 | Remove old and install new fan motors where required | each | 1 |  |  |  |
| 2.1.16 | Oil circulation pumps and motors service/maintenance | each | 1 |  |  |  |
| 2.1.17 | Remove old and install new oil circulation pumps where required | each | 1 |  |  |  |
| 2.1.18 | Conservator inspection and Service | each | 1 |  |  |  |
| 2.1.19 | Buchollz Inspection and Service | each | 1 |  |  |  |
| 2.1.20 | Winding Temperature Indicator Service and test | each | 1 |  |  |  |
| 2.1.21 | Test, calibrate and adjust the indicators | each | 1 |  |  |  |
| 2.1.22 | Oil Temperature Indicator Test and Service | each | 1 |  |  |  |
| 2.1.23 | Spray paint the whole transformer | each | 1 |  |  |  |
| 2.1.24 | Paint the bushings to match the phases | each | 1 |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 2.1 | Onsite maintenance/service/repairs (work to be done) |  |  |  |  |  |
| 2.1.25 | Installation of drain valves where required | each | 1 |  |  |  |
| 2.1.26 | Service, test and calibrate the thermometers | each | 1 |  |  |  |
| 2.1.27 | Service, test and calibrate winding temperature indicators | each | 1 |  |  |  |
| 2.1.28 | Remove old OTI and replace with new OTI where required | each | 1 |  |  |  |
| 2.1.29 | Remove old WTI and replace with new WTI where required | each | 1 |  |  |  |
| 2.1.30 | Remove old buchholz and replace with new buchholz where required | each | 1 |  |  |  |
| 2.1.31 | Test Internal neutral CT where applicable | each | 1 |  |  |  |
| 2.1.32 | Service and test magnetic type oil level gauge | each | 1 |  |  |  |
| 2.1.33 | Remove old and replace with new magnetic type oil gauge where required | each | 1 |  |  |  |
| 2.1.34 | Supply and install new HV surge arrestor brackets where required | each | 1 |  |  |  |
| 2.1.35 | Supply and install new MV surge arrestor brackets where required | each | 1 |  |  |  |
| 2.1.36 | Supply and Install new HV surge arrestors | each | 1 |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 2.1 | Onsite maintenance/service/repairs (work to be done) |  |  |  |  |  |
| 2.1.37 | Supply and install new MV surge arrestors | each | 1 |  |  |  |
| 2.1.38 | Maintain, service and replace filter of the mobile online moisture removal where required | each | 1 |  |  |  |
| 2.1.39 | Maintain, service and calibrate online gas monitoring unit where required | each | 1 |  |  |  |
| 2.1.40 | Remove contaminated crusher stones and replace with new where required | each | 1 |  |  |  |
| 2.1.41 | Maintenance of the aux/NEC/NEC transformer | each | 1 |  |  |  |

| PHASE 3 : Transformer Service/Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Supply Rate | Labour Rate | Total Item Cost |
| 3 | On Site tests |  |  |  |  |  |
| 3.1.1 | Winding Resistance Test | each | 1 |  |  |  |
| 3.1.2 | Transformer Turns Ratio Test | each | 1 |  |  |  |
| 3.1.3 | Phase Displacement | each | 1 |  |  |  |
| 3.1.4 | Insulation Resistance Test | each | 1 |  |  |  |
| 3.1.5 | Porality Index (PI) | each | 1 |  |  |  |
| 3.1.6 | No load losses test | each | 1 |  |  |  |
| 3.1.7 | Full load losses | each | 1 |  |  |  |
| 3.1.8 | Zero sequence impedance | each | 1 |  |  |  |
| 3.1.9 | Induced overvoltage with partial discharge | each | 1 |  |  |  |
| 3.1.10 | Tan Delta Test | each | 1 |  |  |  |
| 3.1.11 | Transformer Oil Break Down Test | each | 1 |  |  |  |
| 3.1.12 | Magnetic Balance Test | each | 1 |  |  |  |
| 3.1.13 | Draw routine oil sample | each | 1 |  |  |  |
| 3.1.14 | Dissolve Gas Analysis (DGA) | each | 1 |  |  |  |
| 3.1.15 | Full set of the above tests 3.1.1 to 3.1.14 | set | 1 |  |  |  |
|  | TOTAL |  |  |  |  |  |

Tender Number: ____________________________________________________

Tenderer’s Authorized Signatory: _______________________	_______________________

Name and Surname			Signature

Name of Company: __________________________________________________