Eskom Holdings SOC Ltd

CONTRACT   NUMBER 

	[image: image18.jpg]R Eskom






     NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	

	PROVISION OF

	Maintenance and repairs of current systems including Adhoc installations requests contract for Security Systems for Megawatt Park, Eskom Academy of Learning, Grootvallei Nature Reserve, and Eskom Research & Innovation Centre

	
	

	Contents:


	
	

	Part C1
	Agreements & Contract Data
	

	Part C2
	Pricing Data
	

	Part C3
	Scope of Work
	

	
	
	

	PR No. 
TENDER NO. 
CONTRACT NO.46000………
	

	
	

	
	 

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 


	[3]

	C1.2a
	Contract Data provided by the Employer
	[9]

	C1.2b
	Contract Data provided by the Contractor

	[1]

	
	
	


C1.1 Form of Offer & Acceptance

C1.1 Form of Offer and Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Maintenance and repairs of current systems including Adhoc installations requests contract for Security Systems for Megawatt Park, Eskom Academy of Learning, Grootvallei Nature Reserve, and Eskom Research & Innovation Centre

The contractor, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the contractor, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the contractor offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	The offered total of the Prices exclusive of VAT is 
	R

	Value Added Tax @ 15% is
	R

	The offered total of the Prices inclusive of VAT is
	R

	(in words) 



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the contractor before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the contractor becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:


	

	Name & signature of witness
	
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the contractor’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the contractor’s Offer shall form an agreement between the Employer and the contractor upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the contractor and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The contractor shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the contractor receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	Amos Mboweni

	
	

	Capacity


	General Manager: Eskom Real Estate

	
	

	for the Employer


	Eskom Holding SOC 
Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	Name & signature of witness
	
	
	Date
	


Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A contractor’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the contractor agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the contractor and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the contractor of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the contractor:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	Amos Mboweni

	Capacity


	
	
	General Manager: Eskom Real Estate 

	On behalf of
	
	
	Eskom Holding SOC 

Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	

	
	

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options
	

	
	
	X2

Changes in the law

	
	
	X18:
Limitation of liability

X19:     Task Order

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Service Manager is (name): 
	Charmaine Mokoena

	
	Address
	Megawatt Park, Maxwell Drive

	
	Tel
	011 800 5778

	
	e-mail
	masombcn@eskom.co.za

	11.2(2)
	The Affected Property is
	Eskom Megawatts Park, EAL, Grootvalei and ERIC 

	11.2(13)
	The service is 
	Maintenance and repairs of current systems including Adhoc installations requests contract for Security Systems for Megawatt Park, Eskom Academy of Learning, Grootvallei Nature Reserve, and Eskom Research & Innovation Centre

	11.2(14)
	The following matters will be included in the Risk Register
	N/A

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	3 working days

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	One (1) weeks of the Contract Date

	3
	Time
	

	30.1
	The starting date is.
	01 June 2026

	30.1
	The service period is
	36 months

	4
	Testing and defects
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and  if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	N/A

	83.1


	The Employer provides these insurances from the Insurance Table
	as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance).

	83.1  


	The Employer provides these additional insurances
	as stated for “Format TSC3” available on 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance)

	83.1
	The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	83.1
	The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is:
	whatever the Contractor deems necessary in addition to that provided by the Employer.



	83.1


	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	Three (3) weeks.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.



	12
	Data for secondary Option clauses
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design, plan and specification,

· Defects due to manufacture and fabrication outside the Affected Property, 

· loss of or damage to property (other than the Employer’s property, Plant and Materials),

· death of or injury to a person and

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	1 (One) month after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	Two working days of receiving the Task Order

	Z
	The additional conditions of contract are
	Z1 to Z11 always apply.

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Ethics

	Z4.1
	Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action).

	Z4.2
	The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices.   

Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice.

	Z4.3
	Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93.

	
	

	Z5
	Confidentiality

	Z5.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z5.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z5.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z5.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z5.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z6
	Waiver and estoppel: Add to core clause 12.3:

	Z6.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z7
	Health, safety and the environment:  Add to core clause 27.4

	Z7.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z7.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z8
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z8.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z8.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z8.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z9
	Notifying compensation events

	Z9.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z10
	Employer’s limitation of liability

	Z10.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z10.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z11
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z11.1
	   or had a business rescue order granted against it.


Annexure A:
Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below. 

1. Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

2. The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.   

3. The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

4. Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

5. If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

6. Further information and full details of all Eskom provided policies and procedures may be obtained from: 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
C1.2 Contract Data

Part two - Data provided by the Contractor
	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	11.2(8)
	The direct fee percentage is
	100%

	
	The subcontracted fee percentage is
	0%

	11.2(14)
	The following matters will be included in the Risk Register
	Strike and Industrial Action, Incliment Weather


	11.2(15)
	The Service Information for the Contractor’s plan is in:
	To be submitted to the Service Manager

	24.1
	The key people are:
	

	
	1

Name:
	

	
	

Job:
	

	
	

Responsibilities:
	

	
	

Qualifications:
	

	
	

Experience:
	

	
	2

Name:
	

	
	

Job
	

	
	

Responsibilities:
	

	
	

Qualifications:
	

	
	

Experience:
	

	
	
	

	
	
	CV's (and further key person's data including CVs) are in the tender submission.

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	PART 2: PRICING DATA

	11.2(19)
	The tendered total of the Prices is
	


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	4


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Contractors or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list
The rates and Prices entered for each item includes for all work and other things necessary to complete the items.

	
	
	
	

	
	
	
	
	
	


Part 3: Scope of Work

1. PROVISION AND SERVICING OF SECURITY EQUIPMENT & SUPPLY AND INSTALL
DESCRIPTION OF THE ITEMS FOR SECURITY EQUIPMENT
Background Information
 Eskom Real Estate (ERE) is mandated to manage the four major corporate properties, three of which are located in the Gauteng region, with the fourth being a nature reserve situated in Limpopo. These properties are currently occupied by Eskom employees and serve critical operational functions within the organization. The management and oversight of these assets fall under the purview of the ERE Operations.

To ensure the safety and integrity of these facilities, robust security protocols must be implemented. A key component of these protocols is the deployment of advanced security technologies designed to manage, monitor, and control access and egress across all four sites. These systems are essential for safeguarding Eskom’s assets, personnel, visitors, vehicles, and equipment from criminal activities and vandalism.

The integration of technology within the security infrastructure is vital for loss prevention and for mitigating risks associated with nefarious behaviour. Furthermore, these systems must be capable of recording incidents and maintaining comprehensive audit trails to support legal and regulatory compliance. In certain cases, the implementation of such security systems is mandated by the National Treasury’s Supply Chain Management (SCM) policy.
2.
Description of Service or product. 

Eskom Real Estate needs to establish a comprehensive contract for the maintenance and repairs of current systems including new ad-hoc installations requests contract for Security Systems. This contract shall be for the four corporate sites which are Megawatt Park, Eskom Academy of Learning, Grootvallei Nature Reserve, and Eskom Research & Innovation Centre for all Security Systems infra-structure, for both software and hardware for a period of 36 months. 

The contract shall ensure that maintenance and repairs of current systems including Adhoc installations requests shall be aligned to the sites current infra-structure, as well as improvements as listed under the scope. 

2.1 Daily maintenance Tasks:

· Conduct frequent inspection of security system components
· Perform routine maintenance tasks (e.g. cleaning, testing, software updates & firmware bi-annually).

· Repair or replace faulty components

· Test system or device functionality

· Offer technical support troubleshooting

· Perform upgrades and modifications as requested

· Clean and calibrate biometric devices quarterly

· Clean camera lenses and housing quarterly or as and when required
· Check camera positioning and focus monthly or as and when required

· Test recording and playback functionality monthly

· Test door controllers and locks monthly

· Review access logs quarterly.


2.2 Labour manpower
· A dedicated team of a site technician and assistant site technician shall be permanently appointed to service MEGAWATT PARK and rotate between Eskom academy of Learning (EAL) & Eskom Research and Innovation Centre (ERIC) to conduct the above daily maintenance tasks.

· Therefore, the site technician and Assistant shall operate daily from Megawatt Park, proceed to EAL for a day and ERIC respectively to discharge daily maintenance tasks
· The site technicians will be responsible for the installation of any adhoc request, replacement, maintenance or repairs invoiced monthly under Monthly maintenance flat rate to be determined. 

The specification shall ensure that redundancy for future development must be built into the design for any technological advancements or storage requirements for data integrity during audit purposes. There shall be very stringent gatekeepers for this contract to go out tender, this is to ensure that we have made the best selection for an accredited service provider with a reputable track record. 

The tenderer shall be expected to have verifiable Proof of Concept (POC’s) of major security systems solutions for corporate buildings that their organizations have successfully completed. The service provider shall have valid accreditation with mandatory bodies, in the security industry, specifically for the technical experience. 

Furthermore, we shall be perusing certification of their key personnel, for compliance to the industry’s mandatory requirements, as well as Eskom’s best interests for our system’s integrity. It would be prudent to pursue a Non-disclosure Agreement (NDA) between Eskom and the successful bidder.
2.  Specification of Product or Goods 

The following is a list of the existing security systems currently deployed at Megawatt Park (MWP), Eskom Research & Innovation Centre (ERIC), and Eskom Academy of Learning (EAL). The scope of the proposed contract shall encompass all listed systems, equipment, and technologies currently in use at these sites. However, the contract shall not be limited to these items alone; it will also include any additional systems and equipment that may be present onsite during the contract period and allow the new technology to be implemented where current technological equipment is outdated (no more supplied).
Furthermore, the contract will extend to cover all future ad-hoc requests acquisitions and installations, as outlined in the service description. This ensures that the service provider is responsible for the full lifecycle support—maintenance, repair, and integration—of both existing and newly procured.  

	MWP Integrated CCTV System:                   Supply & Installation
	

	Device
	Make
	Quantity 
	Price

	Pelco Box camera
	IMP1110-1
	198
	

	Pelco Dome camera
	IXE10LW
	125
	

	AXIS PTZ camera
	Axis
	12
	

	AXIS camera
	Axis
	285
	

	AXIS PTZ Controller
	Axis
	1
	

	Pelco PTZ Controller
	Pelco
	1
	

	Hikvision PTZ camera
	Hikvision
	1
	

	TVT PTZ camera
	TVT
	1
	

	TVT camera
	TVT
	1
	

	Hikvision camera
	Hikvision
	1
	

	NUUO IP Plus NVR 
	Nuuo 
	1
	

	NUUO 8160 NVR 
	Nuuo 
	1
	

	Switches PoE 24 Port
	Netgear
	24
	

	Switches Fibre 24 Port
	Netgear
	2
	

	Core Switch 24 Port Fibre
	Hewlette Packart
	1
	

	48 Port PoE
	Hewlette Packart
	1
	

	24Port PoE Switch 
	Hewlette Packart
	18
	

	Computers
	 
	8
	

	Fiber Media Converters
	Fiber Converter
	20
	

	Wireless Nano Stations
	Ubiquti
	18
	

	NUUO Mini 2 - NVR 
	Nuuo 
	16
	

	NUUO 8160 NVR 
	Nuuo 
	12
	

	Mass Storage System 2PB
	VNX
	1
	

	4TB Hard drives
	Western Digital
	224
	

	43-inch Display Screen
	Samsung
	21
	

	65’ Smart Signage Display Screen
	Samsung
	1
	

	ACCESS CONTROL BOOMS AND TURNSTILES
	

	Booms 
	Turnstar
	30
	

	Spike barrier
	Turnstar
	2
	

	Turnstiles Full Hight Industrial
	Turnstar
	10
	

	Waist Height Turnstiles
	Turnstar
	51
	

	Glass PWD Gates automated
	Turnstar
	13
	

	Glass Man traps
	Flow System
	3
	

	 
	

	Xray Scanners and Metal Detectors
	

	Xray Scanners 
	HABSacn
	11
	

	Walk through Metal Detectors
	HABSacn
	11
	

	 
	 
	 
	

	EBI Access Control MWP
	

	Tema Power Supply
	Honeywell EBI
	38
	

	Tema Server
	Honeywell EBI
	38
	

	A08 Controller 
	Honeywell EBI
	240
	

	A08 Controller PSU, Battery & Enclosure
	Honeywell EBI
	240
	

	Fingerprint Readers
	Sagem
	169
	

	Card Readers
	HiD
	207
	

	ACCESS CONTROL HONEYWEEL/EBI
	

	MWP Integrated Bus Management System
	

	RAC-ClockWatch Bus Managemnet Server
	RAC
	1
	

	RAC-ClockWatch Bus Managemnet Workstation
	RAC
	3
	

	Full Height Double Turnstile
	Boom Gate
	6
	

	RAC-ClockWatch Integrated Controller
	RAC
	6
	

	RAC-ClockWatch Integrated ControllerPSU, Battery & Enclosure
	RAC
	6
	

	Fingerprint Readers
	Sagem
	12
	

	RAC-ClockWatch Integrated handheld Controller
	RAC
	2
	

	 
	

	 
	 
	 
	

	 
	

	ERIC Building CCTV system
	

	Nuuo Network Video Recorder
	Nuuo
	6
	

	Nuuo Storage 4TB
	 
	32
	

	AXIS camera
	Axis/TVT/Hikvision
	95
	

	AXIS PTZ 
	Axis/TVT/Hikvision
	1
	

	Core Switch 24 Port Fibre
	Hewlette Packart
	1
	

	Switches PoE 24 Port
	Netgear
	6
	

	Switches PoE 8 Port
	Netgear
	4
	

	55/ 43 Inch Display Screen
	Samsung
	4
	

	Video Display Controller
	 
	4
	

	UPS system
	 
	4
	

	 
	

	Perimeter Electric Fence 2,4Km
	

	i7 Nemtek System Controller
	Nemtek
	1
	

	Nemtek Software 
	Nemtek
	1
	

	Nemtek Energiser 
	Nemtek
	4
	

	Nemtek Energiser LCD controller
	Nemtek
	1
	

	Nemtek fence management software
	Nemtek
	1
	

	Wireless Networks
	Nemtek
	8
	

	20line installed electric fence(meter)
	Nemtek
	2400
	

	200Ah Battery
	Forbatt
	8
	

	Gate motors
	
	1
	

	ELECTRIC FENCE 
	

	EBI Access Control ERIC Building
	

	Tema Power Supply
	Honeywell EBI
	8
	

	Tema Server
	Honeywell EBI
	8
	

	A08 Controller 
	Honeywell EBI
	60
	

	A08 Controller PSU, Battery & Enclosure
	Honeywell EBI
	60
	

	Fingerprint Readers
	Sagem
	30
	

	Card Readers
	HiD
	90
	

	ACCESS CONTROL
	

	ERIC Building RAC-ClockWatch Access Control 
	

	RAC-ClockWatch Access Control Server
	RAC
	1
	

	RAC- ClockWatch workstation
	RAC
	1
	

	RAC- ClockWatch Controller 
	RAC
	1
	

	RAC Controller PSU, Battery & Enclosure
	RAC
	1
	

	Face recognition
	RAC
	1
	

	Waist height turnstile
	RAC/ Turnstar
	1
	

	Door siren
	RAC
	1
	

	Emergency break glass
	RAC
	1
	

	Access cards & accessories
	HID
	1
	

	Access card printer & accessories
	
	1
	

	Video Intercoms
	
	1
	

	EAL CCTV system
	

	Nuuo Network Video Recorder
	Nuuo
	21
	

	Nuuo Storage 
	 
	24
	

	AXIS camera
	Axis
	336
	

	AXIS PTZ 
	Axis
	1
	

	Bosch Camera
	Bosch
	70
	

	Switches PoE 24 Port
	Netgear
	14
	

	Switches PoE 8 Port
	Netgear
	48
	

	43 Inch Display Screen
	Samsung
	6
	

	Video Display Controller
	 
	4
	

	EAL CCTV system
	

	RAC-ClockWatch Access Control 
	

	RAC-ClockWatch Access Control Server
	RAC
	1
	

	RAC- ClockWatch workstation
	RAC
	2
	

	RAC- ClockWatch Controller 
	RAC
	45
	

	RAC Controller PSU, Battery & Enclosure
	RAC
	45
	

	Fingerprint Readers
	Sagem
	0
	

	Card Readers
	HiD
	90
	

	RAC-ClockWatch Access Control 
	

	RAC-ClockWatch Meal Management System
	

	RAC-ClockWatch Meal Management Server
	RAC
	1
	

	RAC- ClockWatch workstation
	RAC
	4
	

	RAC- ClockWatch Meal Management Kiosk
	RAC
	2
	

	RAC Controller PSU, Battery & Enclosure
	RAC
	45
	

	Waist height Turnstile
	Turnstar
	3
	


	New ad-hoc requests
	
	

	Description
	Make
	Quantity
	Price

	New CCTV Cameras
	Latest on the market compatible with the current systems
	1
	

	Integrated Access Control Systems ((IACS)
	Latest on the market compatible with the current systems
	1
	

	1. Video monitoring & Surveillance camera (PTZ etc
	
	1
	

	2. CCTV Dome/Bullet cameras
	
	1
	

	3. Push -To-Exit button (gates, firedoors etc)
	
	1
	

	4. Emergency Exits (Glass-break system or pull handle for emergency escape)
	
	1
	

	55-inch Display Screens with frameless or ultra-narrow bezel video wall 
	Latest on the market compatible with the current systems
	1
	

	Human Interface device (HID) Access Cards
	Latest on the market compatible with the current systems
	1
	

	Single sided Card printer ribbon (Cartridge)
	Latest on the market compatible with the current systems
	1
	

	PVC White printable adhesive cards per pack of 100
	
	1
	

	Eskom Laptop/ equipment permit
	Check Cataloguing 
	1
	

	PVC card holders
	Check Cataloguing
	1
	

	Eskom blue Lanyards
	Check Cataloguing
	1
	

	

	Labour Cost

	Description
	Quantity
	Rate
	Amount

	1. Site Technician
	1
	
	

	2. Assistant Site technician
	1
	
	

	3. Engineer
	1
	
	

	4. Call out (after hours)
	1
	
	

	5. Monthly maintenance flat rate
	1
	
	


3. Motivation

Eskom Real Estate needs to comply with the National Building Regulations & standards and shall include all critical aspects of the Occupational Health & Safety as well as Security requirements both physical and technical. The Security Systems Contract shall ensure the protection of the occupants, visitors, assets and all associated equipment, as well as the valuables for each property.

The security equipment needs to be serviced and maintained in order to operate optimally, to prevent the life span of the equipment being degraded and to cover the costs of call – outs in the event of system failure. Maintenance also ensures inter alia, systems availability, serviceability, reliability and reduces repair costs and repair times.

Furthermore, the maintenance contract for the equipment for all ERE corporate sites is also intended to achieve optimised operational expenditure on maintenance operations and to ensure the maintenance history of all serviced equipment is kept in a database that will assist the department to make informed decisions when the equipment is obsolete and/or requires to be reclaimed or disposed-off.

	


4. Benefits to Eskom

This contract shall enable Eskom Real Estate to provide a safe, professional, and functional work environment for office occupants, visitors, and contractors in all four Corporate Properties. In addition, the contract shall enable the organization to manage and maintain the functionality of the technical security system’s infra-structure which will aid in eliminating losses from criminal elements, security breaches and vandalism.
· Sound equipment database Management

· The integration of maintenance operations at all ERE Sites will offer optimal Opex Management.

· The equipment will operate optimally thereby increasing availability and limiting system downtime.

· Reduction of reactive maintenance

· Maintenance service history and Serial numbered parts, 

· Reliability data: MTBF, MTTB (mean time to breakdown), MTBR (mean time between removals), 

· Maintenance and repair documentation and best practices, 

· Warranty/guarantee documents. 

5. Scope of work/supply 

The new concept of having the systems to work remotely at a Centralized Control facility at Megawatt Park will be the key to the objective of this contract. The contract shall ensure that the following security systems infra-structure, shall be serviced and maintained for functionality at each above-mentioned site and information will be transferred to the Centralized Control Centre. 

The scope shall identify systems that are currently in use, which forms part of the daily security functionality, within the department. The Eskom Real Estate Security mandate will be to protect and safeguard all the business operations within the four Corporate Properties based in Gauteng and Limpopo.
Therefore, all new installations will be added to Eskom’s inventory and maintained for the duration of the contract.
6. Access Control 

· Boom gates, spikes, security booths per site

· Touchless access control, (optional temperature sensing)

· Emergency Exits per site.

· Emergency Evacuation Systems per site

· Visitor Management Systems functionality available to all sites

· Centralized Monitoring and Management capabilities for all the sites, including local functionality.

· Software Licenses to be owned by Eskom (Pass keys).

· Recording of access control data storage for 72 months minimum per site

· Lifecycle refurbishment/upgrade for hardware 

· Scanning devices X-ray Machines 

7. Electric Fence

· Solar back-up

· Battery replacements

· Lifecycle refurbishment/upgrade

· Warning devices, sounders, intrusion detection system

· Centralized Monitoring capabilities for all the four Corporate Properties
· Energizers and gate motors
8. CCTV

· Centralized Monitoring capabilities for all the four Corporate Properties system’s integrity with tiered Access for operating system i.e. Management, Supervisor and Operator levels.

· Recording devices and data storage for footage for 12 months.

· Software licenses and Pass keys shall be owned by Eskom.

· Lifecycle repairs/upgrade for hardware.

· Night detection with early warning capabilities as an improvement.

· Inside all the critical areas, including plant rooms.
· Software update/ upgrade

· Night vision capability cameras 
9. Alarm or Panic Systems

· Emergency system for response, any threats, medical incidents within the properties.

· Alert system for First Aider responses, Fire and Evacuation Wardens

· Public announcement (PA) systems

10. Contractual Obligations:

· SLA shall be in place to ensure that we have weekly system inspection and reports for all the above security systems.

· System’s integrity to be intact, the system shall operate on a stand-alone basis, separate to other Building Operating Systems.

· Systems training on operations at different levels for Management, Supervisory and Operator levels.

· Response time in case of breakdown to be quoted within 2hrs during working hours as well as outside normal office hours.

· 24hrs Emergency or breakdown service

· Method statement and risk assessments for regular work activities performed at any site.

· Adherence to Eskom’s Safety Policies including Safety Adherence and ensure compliance to regulations relating to the management of any declared pandemic.

· SLA timeline requirements in terms of agreed timelines and emergency callouts need to be met or penalty clauses of 10% to monthly contract values apply if scope or conditions of contract are not met (instituted by non-conformance notice, or early warning notice).
· Spares shall be kept on site as specified in the Bill of Quantities.

· The contracting supplier must be able to perform those activities within their company resources and can only sub-contract work to a maximum of 10% of contract value, dependent on prior written approval by Eskom representative to secure a competent, credible, registered engineering service for any civil or structural work.

· Any work performed should provide a warranty of

· 6 months for workmanship or repairs

· 12 months for new installations

· Payment certificates for completed work can only be accepted against a registered & traceable asset with relevant certificate and warranty in place.

· The SLA time frames for repairs must not exceed 4hrs or meet agreed time frames indicated in task/work orders issued. 

· Penalties will be applied as stipulated in the NEC3 terms services contract.

· Eskom reserves the right to obtain or request any other supplier quotes to secure a competitive or market related pricing.

· A weekly work schedule for planned/preventative maintenance activities will be issued and must be accepted/signed and completed within each week to allow for billing thereof.

· A list of reactive maintenance request /in form of task or work orders for any unforeseen breakdowns are issued on daily basis and corrected within same day or within 4hrs time frame.
The tenderer shall submit pricing for the supply of material and equipment as per the schedule contained herein. The tenderer shall also provide pricing for the labour rates to deliver such a service to each site. Pricing under the labour rates must also include overtime costs, call out fees as well as travel costs to each site. 

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	2

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	13


C3.1: Employer’s service Information
1. Description of the service
1.1. Executive overview 

The works amongst others consist of supervision, labour, plant and equipment necessary to carry out security equipment maintenance services.

1.1 Employer’s requirements for the service
The Contractor shall provide labour and tools to carry out the Employer’s requirements.

A. SECURITY

The names and identity numbers of all workmen engaged in the work are to be submitted when the contract is awarded, and shall be amended as required. The contractor shall nominate a responsible person who will be in charge for each site, and who must be present at all times whilst work is in progress
B. OCCUPATIONAL HEALTH AND SAFETY REQUIREMENTS

Contractor must comply with the provisions of the OHS Act & it’s regulations and Eskom SHEQ requirements  and other applicable legislation.

C. APPOINTMENT OF RESPONSIBLE PERSONS

The contractor shall cause all work to be carried out under general Supervision of a responsible person appointed by the Contractor in writing in accordance with the provisions of the Regulations made in terms of the Occupational Health Act  and Safety Requirements to be met be the Contractor and Sub-Contractor employed by Eskom 

A copy of the letter of appointment and of the appointee’s written acceptance thereof shall be lodged with the Facilities Manager before any work on site shall commence.

In addition, the Contractor shall provide the Services Manager with the names of any safety representatives appointed in terms of Section 4.2.1.3 of the abovementioned Act and who has been given the responsibility of any site or sites falling under the terms of this contract.

D. CONTRACT REQUIREMENTS:

The company must ensure that workers/employees’ salaries/wages are according to Government Gazette for all persons employed on Eskom sites. None payment of staff salaries/wages will be considered a serious breach in terms of this contract as it has adverse effect on the services to be rendered.
· Supplier must ensure that they have the necessary equipment to provide the services required from the start and end date of the contract.
· Supplier must ensure that only SABS approved building and electrical material/products are being used.

· The contractor will be expected to attend monthly contract management meetings.

· In order to promote local job creation contractors will be required to source from the local communities within the area as per Eskom Zonal boarders 

· Supervisors to ensure that times sheets are signed by contractor’s employees  all times.

Non-conformance to the above will result in the following consequences:

Eskom reserves the right to cancel the contract immediately and replace with another service provider. All costs incurred as a result of such action will be recovered from the outgoing contractor. 



LEADERSHIP VISIBILITY:

· Eskom will carry out random inspections at the sites and evaluation visits.

· The directors or senior managers of the company must visit sites at least once per month.

UNIFORM: 

· Wearing of uniform/PPE &COVID-19 PPE is compulsory;

· The following PPE must be issued to the employees where necessary  

· Mask covers both nose and mouth 
· Safety gloves; 

· Uniforn/ overalls; and
· Safety boot 
· Helmet
· Hearing Aid
· Goggles
NB: All PPE must be serviced /washed 
1.2 Interpretation and terminology

N/A

2. Management strategy and start up.

2.1. The Contractor’s plan for the service

The Contractor shall ensure that the service is supervised at all time. Wherein the Director of the Contractor is not directly managing the works, the Director is expected to visit the site once a month and complete an inspection form which will include recommendation on the improvement of the provision of service. The Service Manager reserves the right to request the aforementioned copied of inspection. 

2.2. Management meetings

Meetings will be scheduled by the Eskom Real Estate should a need arises.

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Regular meetings of a general nature may be convened and chaired by the Service Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Site Operations challenges
	Weekly
	Eskom offices (respective site)
	Site Supervisors and Supplier

	Operations challenges
	Monthly
	Eskom offices MWP
	Service manager, Site Supervisors and the Supplier

	Risk register and compensation events
	As required
	Eskom offices
	Both parties

	Overall contract progress and feedback
	Quartely
	Eskom offices
	Both parties


2.3. Contractor’s management, supervision and key people

•
The Contractor keeps up to date organogramme on site showing his people and their lines of authority / communication.

•
The Contractor keeps a daily attendance register, which must be signed off by the Contractor on monthly basis and filed for audit purposes.

2.3.1 Annual\Sick\Maternity\Family responsibility leave:

· When a staff member is off sick or on leave, Contractor must arrange for reliever, which will be paid by the Contractor and not the employee who is on leave.

· Payment for the reliever will be for the Contractor and not the employee who is on leave.


2.3.2 Absence:

· When a staff member is absent, Contractor must arrange for reliever, which will be paid by the Contractor and not the employee who is absent.

2.3.3 Employee Salaries:

· Salaries of all the contractor staff must be in their bank accounts on the last working day of the month.  Non-compliance will be considered as breach of contract.

· Salaries and bonuses paid to the workers must be in accordance with the minimum prescribed wages as per the Labour Relations Act.

· Payslips for each employee is compulsory and it must be according to the labour law standards.


2.3.4 Job Output:

· No alcohol, fire arms, knifes and other life threatening objects are allowed on the Eskom premises. 

· Adherence to Eskom Code of Ethics.
2.3.5 Contractor’s responsibility:

· In the execution of his duties, it is expected of the supplier to comply with Eskom Distribution Standard entitles Occupational Health Contractors Reference ESKASAAP4 (Rev1) (copy available on request).

· The Contractor must comply with the Occupational Health and Safety Act and Compensation of Occupational Injuries and Safety Act and Compensation of occupational Injuries and Diseases Act.

· All the supplier’s employees must be registered for UIF, Provident Fund and Workman’s Compensation.

· Induction is compulsory and will be done yearly by Eskom, but the Contractor will be liable for transport to the venue.

· Yearly medicals are compulsory and proof must be handed in. 


2.3.6 Uniforms and protective clothing
· The contractor will supply all his staff with clothing of uniform colour and styles, clearly marked with the Company’s name:

· It is the Contractor’s responsibility to maintain the clothing in a neat, tidy and clean condition at all times.

· All machine operators will be equipped with safety helmets, eye and ear protectors and safety boots.  

· The Contractor shall ensure that all staff members are wearing the correct uniform at all times whilst on site.

· Head gear/hats will be standardized and shall be considered part of the staff member uniform.  However, hats are not required to be worn at all times.

All of the above must be in the correct sizes to fit the employee. Employees will not be allowed on Eskom premises without the correct PPE. 

2.4. Provision of bonds and guarantees

N/A
2.5. Documentation control

All contractual Documentation must have relevant contract number and Purchase Order Number as reference as per Eskom Holdings SOC Limited Standards . Contractual communications will be in the form of properly compiled letters, letters attached to emails, emails, NEC3 template and urgent contractor meetings can be in the form of sms. The use of sms’s, emails does not override the use of applicable and relevant NEC3 standard templates, forms and Eskom Holdings SOC Limited procedures.

2.6. Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

Each invoice shall contain the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Purchase order number;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Employer’s name should be stated Eskom Holdings SOC Limited
· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Electronic submission of invoices via e-mail: 

Details on how to submit invoices and additional information: 

· Ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for. 

· All Electronic invoices must be sent in PDF format only. 

· Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time. 

· Only one PDF file per email. (one invoice or debit note or credit note) 
· Send all invoices in PDF straight from your system to an Eskom email address (see email addresses below) 

· For Foreign invoices, suppliers will still be required to physically deliver hard copies of original documents to the respective documentation management centers even though you have e-mailed those invoices (Eskom is still seeking clarity from the South African Reserve Bank regarding e-invoicing for Foreign Invoices or invoices in foreign currency. Current requirements are that these manual invoices should still be submitted. You can send the invoice copy to the email addresses indicated below). 
· Please ensure that you comply with the tax Requirement for submitting invoices electronically. 
· Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom through the park invoice report. 

· Your company can request a park invoice report from the Finance Shared Services (FSS) contact centre which can then be followed up and corrected. You are welcome to forward the details of invoices corrected to the FSS contact centre. 

· Email address for invoice submission: 

invoiceseskomlocal@eskom.co.za
2.7. Contract change management 

No additional requirement to than what has already been specified.

2.8. Records of Defined Cost to be kept by the Contractor

For the purpose of Compensation Events the Contractor keeps provide a copy of the invoice/quotation to the Employer.

2.9. Insurance provided by the Employer
The insurance provided by the Employer, is addressed under the contract data.

2.10. Training workshops and technology transfer

The Contractor provides his employees with relevant training for them to execute the Service in accordance with the contract.

2.11. Design and supply of Equipment

This shall be in occordance with the specification that accompanies this document.
2.12. Things provided at the end of the service period for the Employer’s use

2.12.1
Equipment

Not applicable.

2.12.2
Information and other things

Not applicable.

2.13. Management of work done by Task Order

Not applicable.

3. Health and safety, the environment and quality assurance

Eskom has an approved procedure which provides employees/contractors with guidance regarding the management of incidents. This is a business procedure that requires all employees/contractors to adhere to and comply with.

Any incident that occurs within the business should be communicated using the Flash report. The Flash report should be completed and reported within 24 hours to the Facilities Manager,Security Manager and SHEQ  Manager.
3.1. Life Saving Rules  

Due to the importance to safe life’s and apparatus of Eskom it is recommended that if a contractor abuse any Life Saving Rules, all work allocated to the contractor will immediately put on hold until final outcome with investigation. Safety is the combined responsibility of the team and therefore team leader or team will be punished together. There are five Life Saving Rules rules that may not be broken by the Team Leader and his/her team.
The five Eskom Life Saving Rules are as follows:

Rule 1:*Open, isolated, tests, earth, and bond and/or insulate before touch*

Rule 2:*Hook up at height*

Rule 3:*Buckle Up*

Rule 4*Be Sober*

Rule 5:*Ensure that you have a permit to work*

3.2. Specifications

The attached documents form part of this legal binding contract, the Contractor confirms that he has familiarized himself with all the embedded documents from 1 to 19 as indicated.
Do not print and send them when returning this contract
	 No
	Unique Identifier
	Revision
	Document Title



	1
	32 - 727
	2
	Safety, Health, Environment and Quality (SHEQ) Policy 32-727

[image: image1.emf]1_Eskom SHEQ Policy  32-727.pdf



	2
	32 - 136
	6
	Construction Safety Health and Environmental Management

[image: image2.emf]2_Construction  Safety Health and Environmental Management (32-136).pdf



	3
	32-524
	0
	Developing a Safety, Health and Environmental Specification

[image: image3.emf]3_Developing a  Safety, Health and Environmental Specification (32-524).pdf



	4
	32 - 421
	1
	ESKOM CODE OF ETHICS – 32-757 ;Eskom Life saving rules 32-421


[image: image4.emf]Code of Ethics  Procedure 32-757.pdf

 Attach Doc for Life saving rules

	5
	Construction Reg 3
	
	Notification of Construction Work to Department of Labour

[image: image5.emf]6_Notification of  Construction Work to Department of Labour.doc



	6
	Construction Reg 4 & 5
	
	Appointment letters for Client representative, Principal Contractor & Contractor

[image: image6.emf]7_Appointment  letters for Client representative, Principal Contractor & Contractor.doc



	7 & 8
	OHS Act
	
	Written agreement on OHS Act Section 37(2) & Standard Clause

[image: image7.emf]8_Written  agreement on OHS Act Section 37(2).doc

  [image: image8.emf]9_Standard clause  Eskom Contracts Sect 37 OHS Act.doc



	9, 10 & 11
	34 - 1063
	0
	Expanded Public Works Report 34-1063.

[image: image9.emf]10_34-1063 EPWP  Works Instruction.pdf

  [image: image10.emf]11_EPWP Guidelines  Second edition 2005.pdf

  [image: image11.emf]Eskom EPWP report  template rev 6.xls



	12
	32 - 95
	6
	ENVIROMENTAL, OCCUPATIONAL HEALTH and SAFETY INCEDENT MANAGEMENT PROCEDURE


[image: image12.emf]Adobe Acrobat  Document



	13
	32 – 520
	2
	OCCUPATIONA HEALTH & SAFETY RISK ASSESSMENT PROCEDURE


[image: image13.emf]Adobe Acrobat  Document



	14
	240-43848327
	1
	EMPLOYEES’ RIGHT OF REFUSALTO WORK IN AN UNSAFE SITUATION PROCEDURE

[image: image14.emf]Adobe Acrobat  Document



	15
	240-73419711
	2
	

	16
	DST 34-961
	0
	Legal appointments and authorizations

[image: image15.emf]13_Legal  Appointments and Authorisations-34-961.pdf



	17
	TPC 41-55
	
	Transporting persons on back of vehicles

[image: image16.emf]14_Transporting of  Passengers on the back of LDV's, Trucks and Mini Buses TPC41-55.pdf



	18
	Quality requirements
	
	QM 58 link[image: image17.emf]QM-58 Supplier  Contract Quality Requirements Specification.pdf




The contractor is to supply confirmation of access to the Eskom Web in order to access standards, procedures and bulletins. The contractor must supply his access number or must supply his rervice to be done
For further details please contact, Johan Scholtz Tel: (011) 629 5624 Fax :086 662 9438 email: scholtjf@eskom.co.za

Acknowledgement by Contractor

I/We, ………………………………………… do hereby acknowledge having read and understood the above Annexed documents from 1 to 12 in Part C3 of this contract.

I/We undertake to study and abide by these requirements at all time.  

Signed at: ……………………………………… on the ……………….. day of ………………………….20……
4.  Constraints on how the Contractor Provides the Works

4.1 Quality Control

1. An approved NEC SOW specific Method Statement  for the contract duration is to be implemented in conjunction with, and to the approval of, the Project Manager.

2. The Contractor needs to submit a Method statement indicating how the SOW activities shall be executed quality to ensure that the works are done according to specification for each task order issued;

3.  The Contractor is required to employ a competent Supervisor or Foreman on site for the duration of the project to implement workmanship quality checks.  .

4.  Eskom will do inspections and quality checks on installations completed by the Contractor prior to hand-over of each project, but this does not relieve the contractor from doing 1st line inspections and doing quality work.

4.2  Quality Engineering

a.   All construction and installation methods are to comply with the Power Delivery Engineering standard requirements as contained in the National and Provincial Standards on the Distribution Technology websites;

b. The Contractor shall comply with the Project Specifications included in the NEC document. Any changes proposed during the contract phase shall notify the Project Manager who will        allow the Project Change Request approval process;

c. Eskom Holdings SOC Limited’s representative must be allowed access to the site at any time during the contract to carry out an inspection of the works.

d.  The contractor shall ensure the material used for cleaning is SABS approved;

4.3  General Quality requirements

1. Compliance with the provisions of this clause in no way relieves the Contractor of the final responsibility to furnish an acceptable product and/or services;

2.The Contractor agrees to control and professionally  preserve and store appropriate documents, records and recordings to guarantee the traceability of the services rendered and inspection thereof, as per the Contract.

3. The Contractor agrees to implement all necessary improvements for the installation, production and organisation deemed necessary to meet the requirements of the order.

4. The delivered product and / or service shall be uniform in Quality and condition, sound and free from defects, consistent with good industry practices and adhere to the requested Eskom requirements, without deviation.

5. Eskom shall have the right to conduct surveys and perform surveillance of the Contractor’s and Sub- Contractor’s facilities to evaluate their capability to comply with the requirements necessary to conform to contractual requirements.

6. Eskom reserves the right to review , inspect and audit , at reasonable times , any or all parts of the Contractor’s QMS as well as documents associated with the service provision of the work included in the contract , at the Contractor’s premises or elsewhere . Verification by Eskom shall not absolve the Contractor of the responsibility to provide acceptable product and / or services, nor shall it preclude subsequent rejection by Eskom.

7. The services must comply with the agreed specifications and the applicable directives and technical standards set out in the Scope of Work and Specifications. Defects notified by Eskom shall be remedied by the Contractor upon demand by Eskom without undue delay and at no extra cost. The Contractor shall continuously monitor and identify non-conformances, both internal and external, as signals of opportunities for improvement making process and other relevant changes to prevent recurrence 

8. The Contractor shall further identify potential problems before they occur by identifying deviations in patterns or trends in product, service or process performance.

9. Nothing contained in the Contract shall relieve in any way the Contractor from the obligation of Quality control thereof.

10. The Contractor guarantees that the quantity and Quality of the delivered product/services comply with the requirements of the contract and/or relevant specifications.

11. The Contractor shall prove its ability to relate to the proposed scope of work which establishes the manner in which the Contractor intends to perform the Contract.

12. The Contractor shall, on request, prove its organisational, logistics and support resources to ensure the requirements of the contract can be achieved.

13. Eskom reserves the right to assess and measure , in the selection process, the qualifications , capability and competence of the key staff (assigned personnel ) in relation to the scope of work and to interview any / all Contractors to confirm the Quality evaluation.

14. The personnel of the Contractor, who will be conducting the service, will be available on a continuous basis until the conclusion of the project.

15. The Contractor shall demonstrate experience in comparable projects or specific aspects of the project and / or performance in similar projects.

16. The Quality of the service / product and the contents thereof will be in accordance with prescribed standards.

17. For the duration of the Contract , the Contractor shall  ensure that suitably experienced people are assigned to perform designated work 

18. Prior to the commencement of the management of the Professional services, the Contractor must have scrutinised Eskom’s requirements with specific focus on , inter alia , its  policies and practises.

19.  It is the Contractor’s obligation to ensure that his/her operations and the products and/or services it provides to Eskom comply with any applicable statutes and or regulations. Any non-compliance by the Contractor and the resultant corrective actions shall be the responsibility of the Contractor.

20.  The Contractor shall ensure that he/she  complies with the Scope of Work and that appropriate quality requirements (as in the main contract) are included in subcontracts placed by the Contractor to ensure sub-contractor’s compliance with the Scope of Work ,if and when  applicable

21. The Contractor shall:

a) Support Eskom’s effort to monitor, verify and / or witness any activities associated with the service at any reasonable time.

b) Comply with Eskom requests for documentation, records, inspections and witnessing. Eskom participation in audits, appraisals, assessment of plan and verification shall be conducted at no extra cost to Eskom.

c) Where applicable, the Contractor shall ensure that Eskom has access to all work procedures, quality records and to all supporting documentation through provision of access to view and photocopy as required to support verification of work scope requirements. Access shall include the ability to photograph Eskom equipment, systems, system components, materials, as required.

d) Provide access to all quality related information pertaining to activities performed by the Contractor or sub-contractor(s), which Eskom might not have participated in the witnessing of quality assurance or control thereof. (This refers to inspections, audits, or any part of the Contractor’s QMS , performed by the Contractor on its own sub-contractors, if applicable ).

e) Ensure above requirements (a-d) are communicated down to and accepted by sub-contractors if and when applicable.

f) Utilise detailed review of the work scope to determine deliverables, including deliverable quality activities identified and delivery schedules.
23. The Contractor shall allow Eskom the right to:

a). Oversee Contractor audit programs by participating in selected audits as an observer and by assessing Contractor at key work stages. Eskom will coordinate with the Contractor to develop an oversight schedule aligned with Contractor audit schedule.

b) Access to any audit reports (if any)

c) Conduct independent quality audits during all phases of the contract and the Contractor shall provide all resources to support these activities.

d). Have electronic and hard copy access to all method statement; procedures, documentation other quality records relating to the service provision including but not limited to data extracts.(if applicable)

e) The Supplier shall comply with the Quality requirements as set out in the latest edition of  Eskom QM-58 document, Supplier Contract Quality Requirements Specification, as well as all applicable legislation included in or referred to in this document.

f) The supplier shall ensure that all personnel have attended necessary training for equipment to be used;

5. Performance Management

•
The Contractor’s Performance will be assessed in accordance with a Performance Appraisal Process.

· All the work will be done as per the Scope of works and plan schedules for the project/work that needs to be prioritised will be shared with the supplier by the Project manager or the Site Supervisors for each respective site.

LOW PERFORMANCE DAMAGES
	Item No.
	Key Performance Area
	Key Performance Indicator
	Key Performance Targets
	Penalties

	1


	Service Performance Management 
	React within 1 hour to diagnose the root cause
	100% Compliance
	3 consecutive non-conformances will result in    R 250 penalty, 
amount payable the following month.

	
	
	Critical work to be completed within 4 hours (CCTV cameras in strategic areas, access control system (boom-gates, doors, PAC ,faulty plugs, power supply,etc)
	100% Compliance 
	3 consecutive non-conformances will result in    R 250 penalty,
 amount payable the following month.

	
	
	Maintain 80% for closure of defects vs logged defects 
	80% Compliance – measured monthly 
	2 consecutive non-conformances will result in    R 5000 penalty, 
amount payable the following month.

	2
	Statutory Inspection Compliance 
	Maintain statutory compliance
	100% Compliance
	2 consecutive non-conformances will result in    R 5000 penalty, 
amount payable the following month.
2 consecutive non-conformances will result in termination 
of the contract.

	3
	Safety, Health and Environmental Contravention 
	Safety, health and environment standards are regularly monitored, reviewed and maintained in accordance with all legal and regulatory requirements
	0 contravention 
	3 consecutive non-conformances will result in termination
 of the contract.

	4
	Availability of spares 
	Provide well maintained equipment
	100% availability during any random inspection/audit
	3 consecutive non-conformances will result in    R 5000 penalty, 
amount payable the following month.

	5
	Employee Compensation and Benefits
	Payment of Employee salaries/wages, Provident Fund, UIF, COIDA, etc. as per the agreed date
	100% Compliance
	2 consecutive non-conformances will result in    R 5000 penalty, 
amount payable the following month. 

4 consecutive non-conformances will result in termination 
of the contract


6. Construction Safety 

•
The Contractor shall be responsible for ensuring that all equipment supplied and used and all work carried out under this contract shall be in accordance with the Occupational Health and Safety Act (Act 85 of 1993) and regulations remaining in force, as may be amended from time to time.

•
In addition, the Contractor shall comply with other Safety application provisions of Government, Provincial, Municipal Safety Laws, Building, 
•
The Contractor shall accept full responsibility for the means, methods, sequence or procedures of work for safety precautions or programmes incident to the work of the contractor. 

•
The Contractor is required to submit a working methodology statement with regards to the Safety Standards •
The Contractor shall indemnify the employer  against responsibility for safety on the site of the works.

•
The Contractor shall enter into an agreement to complete the work required  in accordance with the provisions of all pertinent legislation and in particular with the provisions of the Occupational Health and Safety Act (Act 85 of 1993) and the regulations promulgated there under.

•
Reference of the Safety Methodology Statement can be found in the Government Occupational Health and Safety Act (Act 85 of 1993) and Construction Regulations Document which is available publicly.

•
The safety of the Contractors personnel and employees acquire precedence over the provision of service.

7. Compensation for Occupational Injury and Diseases Act

•
The Contractor shall submit with his tender proof of adherence to the above act.  


General Environmental Management Requirements 

•
All environmental legal Liabilities and claims arising from the negligent activities of the Contractor shall be for the Contractors expense.

8. Waste Disposal

The supplier shall ensure:

•
That waste is disposed of on a permitted / legal waste site, for the applicable waste type, in terms of the Environment Conservation Act, 73 of 1989 and the National Environmental Waste Management Act (Act 59 of 2008).

•
That a disposal certificate (waste manifest) is obtained, if hazardous waste was disposed-of.  

•
That where appropriate, waste is recycled or re-used.

9. Title to site materials

The Contractor ensures that during the period of procurement and installation, all materials and part of the plant are suitably stored on site in such a manner as to prevent damage by weather, fire, manhandling, corrosion, theft and any other peril. The cost of providing necessary protection, storing, handling and security is borne by the Contractor for the duration of this contract.

The Contractor returns all un-used spares to the Employer store.

10. Working on the Affected Property

10.1 Employer’s site entry and security control, permits, and site regulations

Refer to the Scope of Works above.
10.2 People restrictions, hours of work, conduct and records

    Refer to the Scope of Works above.

Contractor’s regular working hours

    The Contractor’s Regular Working Hours, in terms of the contract, Refer to the Scope of works above.

Health and safety facilities on the Affected Property

          Refer to the Health and Safety Documents attached.

10.3 Environmental controls, fauna & flora

          Refer to the ERE environmental control documents.

10.4 Records of Contractor’s Equipment

          Refer to the Scope of Works above.

          The Contractor is responsible for maintaining the asset register equipment on site and shall be audited    by the Employer from time to time.

10.5 Equipment provided by the Employer
             None

10.6 Site services and facilities

10.6.1 Provided by the Employer
Facility for the tools and working station to perform work as per the Scope of works.

10.6.2 Provided by the Contractor
             The Contractor will provide everything else as per the Scope of works and the BOQ.
10.7 Control of noise, dust, water and waste 

None 

10.8 Hook ups to existing works

Refer to the Scope of Works

10.9 Tests and inspections

Tests and Inspections will be conducted on a regular basis as per the Employers request.
11 List of drawings

11.1 Drawings issued by the Employer

The site drawings shall be issued by the Employer on request.

� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA


17

_1569670714.pdf


EDC TR formatted 16.01.2014                  32-4 
Rev 6 Document Template 


Procedure  


 


Title: Occupational Health & Safety Risk 
Assessment Procedure 


Document Identifier:  32-520 


 Alternative Reference 
Number: 


 N/A 


 Area of Applicability: Eskom Holdings SOC 
Limited 


 Functional Area: Occupational Health and 
Safety 


 Revision: 2 


 Total Pages: 21 


 Next Review Date: January 2019  


 Disclosure 
Classification: 


Controlled Disclosure 


 


Compiled by  Functional Responsibility  Authorized by  


      


Ntokozo Ngubane 


Senior Advisor 


Sustainability Systems 


 Kerseri Pather 


General Manager 


Sustainability Systems 


 Steve Lennon 


Group Executive 
Sustainability Division 


 


Date:  Date:  Date:  


      







Occupational Health & Safety Risk Assessment Procedure  Unique Identifier:  32-520 


Revision:  2 


Page:  2 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


Content 


Page 


1. Introduction .................................................................................................................................................. 3 


2. Supporting Clauses ..................................................................................................................................... 3 


2.1 Scope ................................................................................................................................................. 3 


2.1.1 Purpose .................................................................................................................................. 3 


2.1.2 Applicability ............................................................................................................................ 3 


2.2 Normative/Informative References ..................................................................................................... 3 


2.2.1 Normative ............................................................................................................................... 3 


2.2.2 Informative ............................................................................................................................. 4 


2.3 Definitions ........................................................................................................................................... 4 


2.4 Abbreviations ...................................................................................................................................... 8 


2.5 Roles and Responsibilities ................................................................................................................. 8 


2.5.1 Group Executive (Strategy and Risk Management) .............................................................. 8 


2.5.2 Responsible managers .......................................................................................................... 9 


2.5.3 Project and contract managers .............................................................................................. 9 


2.5.4 Sustainability Division ............................................................................................................ 9 


2.5.5 On-site SHE personnel ........................................................................................................ 10 


2.5.6 Joint ventures ....................................................................................................................... 10 


2.6 Process for Monitoring ..................................................................................................................... 10 


2.7 Related/Supporting Documents ....................................................................................................... 10 


3. OCCUPATIONAL HEALTH AND SAFETY RISK ASSESSMENT PROCEDURE .................................... 11 


3.1 Types of Occupational Health and Safety Risk assessments.......................................................... 11 


3.1.1 Baseline risk assessment .................................................................................................... 11 


3.1.2 Issue-based risk assessments ............................................................................................. 12 


3.1.3 Continuous risk assessment ................................................................................................ 14 


3.1.4 Health risk assessment (HRA) ............................................................................................. 14 


4. Acceptance ................................................................................................................................................ 20 


5. Revisions ................................................................................................................................................... 20 


6. Development Team ................................................................................................................................... 21 


7. Acknowledgements ................................................................................................................................... 21 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  3 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


 Introduction 1.


Eskom has adopted a value of Zero Harm.  This requires all business to be conducted with respect 
and care for people and the environment.  Safety, health, environment, and quality (SHEQ) 
management is an important part of all operations within Eskom and exists to prevent harm to both 
people and the environment.  


Occupational Health and Safety (OHS) risk assessment ensures that Eskom can identify, predict, 
evaluate, and control the actual and potential impact it’s operations may have on the health, safety, 
environment, socio-economic conditions, and cultural heritage of the country.  The risk assessment 
process allows for the risks, causes, and consequences to be identified and controlled.  In turn, this 
will minimise the negative impact and maximise the benefits of its activities.  This promotes 
compliance with legal requirements and the principles of occupational health and safety. 


 


 Supporting Clauses 2.


2.1 Scope 


2.1.1 Purpose 


This document describes the mandatory processes, requirements, and advisory guidance for 
managing occupational health and safety hazards and risks.  The aim of this procedure is to 
ensure and facilitate the effective management of hazards and risks. 


Compliance with this procedure is mandatory in its area of applicability. 


2.1.2 Applicability 


This document shall apply throughout Eskom Holdings SOC Limited, its divisions, subsidiaries, and 
entities in which Eskom has a controlling interest.  In cases where Eskom does not have a 
controlling interest, this procedure shall apply if no such similar document exists. 


 


2.2 Normative/Informative References 


Parties using this document shall apply the most recent edition of the documents listed in the 
following paragraphs. 


2.2.1 Normative 


[1] 240- 49308149: Process Control Manual for Occupational Health and Safety Management 
[2] 32-136:  Contractor Health and Safety Requirements Standard 
[3] 240-62582234: OHS Roles and Responsibilities and Statutory Appointments  
[4] 32-391:  Integrated Risk Management Frameworks and Standards 
[5] 32-727:  Safety, Health, Environment, and Quality (SHEQ) Policy 
[6] 32-86: Enterprise Risk and Resilience Policy 
[7] ISO 31000:2009:  International Risk Management Standard 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  4 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


[8] ISO/IEC Guide 73:2009:  Vocabulary for Risk Management 
[9] MHS Act:  Mine Health and Safety Act, Act 29 of 1996 
[10] OHS Act:  Occupational Health and Safety Act, Act 85 of 1993 
[11] OHSAS 18001:  Occupational Health and Safety Management Systems, Requirements. 


2.2.2 Informative 


[12] ISO 9001:  Quality Management Systems. 


 


2.3 Definitions 


2.3.1 Assurance 


Assurance is a process that provides confidence that objectives will be achieved with a tolerable 
level of residual risk. 


2.3.2 Communication and consultation 


Continual or iterative process that an organisation conducts to provide, share, and/or obtain 
information and to engage in dialogue with stakeholders regarding the management of risk. 


2.3.3 Consequence 


Outcome of an event/exposure affecting objectives. 


2.3.4 Control 


Measure that is modifying risk. 


Note 1:  controls include any process, policy, device, practice, or other actions which modify risk. 


Note 2:  controls may not always exert the intended or assumed modifying effect. 


2.3.5 Control owner 


Person nominated as accountable for the assurance of the control to ensure that both the design 
and the operation of the control are effective.  The names of control owners are recorded in risk 
registers. 


2.3.6 Event 


Occurrence of, or change in, a particular set of circumstances. 


2.3.7 Exposure 


Extent to which an organisation is subjected to an event. 


2.3.8 External context 


External environment in which the organisation seeks to achieve its objectives. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  5 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2.3.9 Frequency 


Measure of the likelihood of an event, expressed as a number of events or outcomes per defined 
unit of time. 


2.3.10 Hazard 


Potential source of harm. 


2.3.11 Hazard identification 


Process of finding, recognising, and describing hazards. 


2.3.12 Internal context 


Internal environment in which the organisation seeks to achieve its objectives. 


2.3.13 Level of risk 


Magnitude of a risk expressed in terms of the combination of consequences and their likelihood. 


2.3.14 Likelihood 


Chance of something happening. 


2.3.15 Monitoring 


Continuous checking, supervising, critically observing, or determining the status in order to identify 
change from the required or expected level of performance. 


2.3.16 Probability 


Measure of the chance of occurrence expressed as a number between 0 and 1, where 0 is 
impossibility, and 1 is absolute certainty. 


2.3.17 Residual risk 


Risk remaining after risk treatment. 


2.3.18 Review 


Activity undertaken to determine the suitability, adequacy, and effectiveness of the subject matter 
to achieve established objectives. 


2.3.19 Risk 


Effect of uncertainty on objectives.   


A risk with a negative consequence can be the result of human interaction with a hazard. 


Note 1:  an effect is a deviation from the expected – positive and/or negative. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  6 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


Note 2:  objectives can have different aspects such as financial, health and safety, and 
environmental goals and can apply at different levels such as strategic, organisation-wide, project, 
and product and process levels. 


Note 3:  risk is often characterised by reference to potential events, a consequence or a 
combination of these, and how they can affect the achievement of objectives. 


Note 4:  risk is often expressed in terms of a combination of the consequences of an event or a 
change in circumstances and the associated likelihood of an occurrence of the risk. 


2.3.20 Risk acceptance 


Informed decision to take a particular risk. 


2.3.21 Risk analysis 


Process to comprehend the nature of risk and to determine the level of risk. 


2.3.22 Risk assessment 


Overall process of hazard and identification, risk analysis, and risk evaluation. 


2.3.23 Risk evaluation 


Process of comparing the results of the risk analysis to risk criteria to determine whether the level 
of risk is acceptable or tolerable. 


2.3.24 Risk management 


Coordinated activities to direct and control an organisation with regard to risk. 


2.3.25 Risk management framework 


Set of components that provide the foundations and organisational arrangements for designing, 
implementing, monitoring, reviewing, and continuously improving the risk management processes 
throughout the organisation. 


2.3.26 Risk management information system 


The database operated by Eskom that holds all risk management information, including all risk 
registers, risk treatment plans, and risk management plans. 


2.3.27 Risk management plan 


Document in the risk management framework, specifying the approach to, the management 
elements of, and resources to be applied to, the management of risk. 


2.3.28 Risk management process 


Systematic application of management policies, procedures, and practices to the tasks of 
communicating, consulting, establishing the context, identifying, analysing, evaluating, treating, 
monitoring, and reviewing risk. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  7 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2.3.29 Risk matrix 


Tool for ranking and displaying risks by defining ranges for the consequences and likelihood. 


2.3.30 Risk owner 


Person with the accountability and authority for managing the risk and any associated risk 
treatment.  With regard to Occupational Health and Safety; and in line with the OHS Act, 
designated 16.1 and 16.2 appointees have this accountability.  This includes the Responsible 
Manager as defined in 240-62582234. 


2.3.31 Risk profile 


Description of a set of risks. 


2.3.32 Risk register 


Record of information about identified risks. 


2.3.33 Risk reporting 


Form of communication intended for particular internal or external stakeholders to provide 
information about the current state of risk and its management. 


2.3.34 Risk sharing 


Form of risk treatment involving the agreed distribution of risk with other parties. 


2.3.35 Risk tolerance 


Organisation’s readiness to bear the risk after risk treatment in order to achieve its objectives. 


2.3.36 Risk treatment 


Process of developing, selecting, and implementing measures to modify risk. 


2.3.37 Stakeholders 


The people and organisations that may affect, be affected by, or perceive themselves to be 
affected by, a decision or activity. 


2.3.38 Task owner 


The person nominated as accountable for the completion of a risk treatment action. 


 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  8 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2.4 Abbreviations 


Abbreviation Explanation 


AIA  Approved inspection authority 


BU Business unit 


CBRA Contractor baseline risk assessment 


COID Act Compensation for Occupational Injuries and Diseases Act, 1993 (Act No. 130 
of 1993) 


HAZOP Hazards of operations 


HRA Health risk assessment 


IRM Integrated risk management 


LTIR Lost-time injury rate 


OHS Occupational health and safety 


OHS Act Occupational Health and Safety Act 85 of 1993 


OHS RAWG Occupational Health and Safety Risk Assessment Working Group 


OHSSC Occupational Health and Safety Steering Committee 


ORHVS Operating Regulations for High Voltage Systems 


OU Operating unit 


PSR Plant Safety Regulations 


RACI Responsible, accountable, consulted, and informed 


SHE Safety, health, and environment 


SHEQ               Safety, health, environmental, and quality 


SMAT Safety management audit technique 


 


2.5 Roles and Responsibilities 


Eskom and its subsidiaries shall take all reasonably practicable steps to manage risks to an 
acceptable level. 


2.5.1 Group Executive (Strategy and Risk Management) 


The Group Executive (Strategy and Risk Management) is accountable for the overall direction and 
function of Eskom’s risk management programme and reports back directly to the Holdings Board, 
through the Board Risk Management Committee. 


The Risk and Resilience Strategic Function has developed a common Eskom Enterprise Risk & 
Resilience framework, supported by appropriate methodologies, one common language, and an 
executive sponsor (GE – Strategy and Risk Management). 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  9 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2.5.2 Responsible managers  


The Responsible managers of the various operating units, service functions, and strategic 
functions in Eskom are responsible for, and committed to, the implementation of the OHS risk 
management standards; including the Occupational Health and Safety Risk Assessment 
Procedure.  These aspects include coordinating the risk management strategy, ensuring 
compliance with these standards, and the planning and implementation of the procedure in their 
operating units, service functions, and strategic functions, as well as projects.   


Responsible managers are responsible for the development of baseline OHS risk assessments 
and all other associated risk assessments for all activities and processes in their operating units, 
the implementation of risk treatment plans, and for ensuring that risk registers are kept up to date. 


The Responsible managers are accountable for the monitoring and reviewing of OHS risks, for the 
assurance of controls, and for the completion of risk treatment tasks. 


� Risk owners (16.1 and 16.2 appointees and those delegated with authority, for example, 
OU/BU responsible managers) are responsible for ensuring that the assessment of that risk is up 
to date and is properly recorded in risk registers.  


� Control owners should ensure that appropriate and periodic assurance takes place to check 
that the controls on which the organisation relies are in place, are effective, and cannot be cost-
effectively improved. 


� Task owners will have treatment actions to complete by an agreed date.  Of course, these 
tasks can be delegated, but the accountable manager will remain fully responsible for their 
completion. 


2.5.3 Project and contract managers  


Project managers and contract managers are responsible for ensuring that OHS risk assessments 
are conducted during the design phases of the project and for ensuring that baseline risk 
assessments are conducted for all project and construction activities in their operating units.  
Project managers should ensure that all contractors working on the projects are informed of, and 
comply with, Eskom’s risk assessment requirements prior to the commencement of construction as 
well as during construction. 


2.5.4 Sustainability Division 


Sustainability Division’s Sustainability Systems and Climate Change Department is responsible for 
providing support to divisions in terms of the interpretation and understanding of the legal and 
procedural requirements of this procedure. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  10 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2.5.5 On-site SHE personnel 


SHE personnel on site are responsible for providing support within their operating units, service 
functions, and strategic functions in terms of the interpretation and understanding of the 
requirements of this procedure for their specific processes and activities.  They will have to ensure 
assurance through the periodic verification of control measures and their effectiveness.  SHE 
personnel are also responsible for assisting and supporting Responsible managers in fulfilling their 
duties by providing necessary advice, expertise, and administrative support where required and 
agreed to by both parties. 


2.5.6 Joint ventures  


There may be occasions when Eskom and other organisations combine resources to carry out a 
joint venture.  Unless otherwise stipulated, where the work is to be managed jointly with a joint-
venture partner, the requirements imposed on the responsible manager in this procedure will also 
apply to the joint venture and will also be indicated in the memorandum of understanding as such, 
unless the joint venture contractual agreement specifies, in writing, the health and safety 
arrangements as required in terms of section 37.2 (if applicable) of the OHS Act. 


2.6 Process for Monitoring 


The Occupational Hygiene and Safety Steering Committee(OHSSC) and Occupational Health and 
Safety Risk Assessment Workgroup members are responsible for providing guidance on the risk 
management process. Responsible managers and OHS personnel are responsible for the day-to-
day coordination of risk management activities and information sharing between operating unit, 
service, and strategic functions.  


Compliance with the requirements of this procedure has to be reviewed internally by the operating 
unit, service function, and/or strategic function at least annually as part of an internal review 
process.  


Records shall be audited by the Assurance and Forensic Department or any person appointed on 
its behalf at planned intervals.  The focus areas of such monitoring process will include training in 
OHS risk assessment, previous risk assessment reviews, general adherence to the OHS risk 
assessment process, and determining the adequacy of risk assessment. 


 


2.7 Related/Supporting Documents 


240-70044602 Occupational health and safety risks assessment template. 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  11 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


 OCCUPATIONAL HEALTH AND SAFETY RISK ASSESSMENT PROCEDURE  3.


3.1 Types of Occupational Health and Safety Risk assessments 


3.1.1 Baseline risk assessment 


� Baseline risk assessment refers to the OHS hazards and risks that are identified and 
assessed before the inception of a new project and commencement of operations.  The 
baseline risk assessment shall include both routine and non-routine tasks. 


� The output of baseline risk assessments is a set of OHS risk profiles, per operation and/or 
process and/or activity, which is used to prioritise action programmes. 


� The OHS baseline risk assessments template 240-70044602 shall be the tool used to 
perform baseline risk assessments within Eskom Holdings.  


a) Project baseline risk assessments 


i. Client risk assessment 


-     The OHS Act, Construction Regulations 5.1, and Mine Health and Safety Act 
(section 11) require the client to provide the principal contractor or his or her agent 
with any information that might affect their health and safety while performing work 
on behalf of the client. 


-     The baseline risk assessment should be submitted as part of the tender documents 
or during negotiations, so that the potential contractor can make provision for the 
cost of health and safety measures during construction. 


-      A multidisciplinary risk assessment needs to be performed during the planning or 
design phase of the project, so as to eliminate hazards and implement OHS 
engineering controls before the project is executed amongst other controls that will 
enhance our ability to achieve the desired objectives. 


-     Baseline risk assessments should take into consideration hazards and risks that 
could have an impact beyond the site borders as well as external factors that could 
affect the health and well-being of persons on site and employees off site (for 
example, roads). 


-     The baseline risk assessment must be periodically reviewed based on, for example, 
project life-cycle changes, incident trend analysis or changes to scope of work, and 
newly introduced risks due to residual risks. 


ii. Contractor baseline risk assessment (CBRA) 


-     The contractor shall, based on the client risk assessment, develop a baseline risk 
assessment for all planned activities, which shall form part of the OHS plan 
submitted to the client. 


-     The contractor baseline risk assessment will be an essential consideration during 
the tender evaluation/ adjudication/negotiation and/or clarification processes prior to 
contract award. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  12 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


-      A contractor baseline risk assessment must be carried out for all planned project 
elements/activities/tasks regardless of the frequency and duration with which those 
tasks are expected to be carried out. 


-     The contractor baseline risk assessment must be periodically reviewed based on, 
for example, changes to scope of work, changes to work 
methods/procedures/equipment, organisational changes (including personnel), 
incident trend analysis, or new/revised technology. 


-     The CBRA shall be submitted to the client at the agreed times. 


b)  Baseline risk assessments for routine tasks 


-      Baseline risk assessments need to be developed for routine activities that the 
business performs on a daily basis.  These will assist the business in developing 
treatment measures such as standard operating procedures or work instructions to 
reduce the hazards and risk attached to these activities. 


-      Occupational exposures with potential health effects must be identified, assessed, 
documented, treated, and communicated. 


-     The hazards and control measures from this baseline risk assessment shall be 
communicated to all affected employees, so as to inform them of hazards attached 
to the work they are to perform. 


-     The hazards identified from this baseline shall be incorporated in employee man-job 
specifications, so that proper medicals can be conducted. 


-     This baseline risk assessment shall be reviewed periodically based on, for example, 
changes in the scope of work, new technology, etc. 


3.1.2 Issue-based risk assessments 


� Although most standard activities should already be covered by a baseline risk 
assessment, the circumstances surrounding the activities may vary from day to day; 
therefore, each task or activity needs to be assessed and analysed before work starts. 


� Issue-based risk assessment can also be conducted for a specific hazard, for example, fire 
risk assessment. 


� All relevant stakeholders need to be involved when an issue-based risk assessment is 
conducted. 


� Issue-based risk assessment looks at assessing the risks attached to each activity and 
hazard; for instance, if chemicals were identified as part of the baseline risk assessment, 
the task-specific risk assessment needs to assess and analyse each chemical individually. 


� If there is no baseline risk assessment, the issue-based risk assessment must cover all 
aspects of the job, the core activity, as well as circumstances. 


� Issue-based risk assessment needs to be performed prior to every activity or task, and it 
shall be informed by the baseline risk assessment. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  13 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


� The issue-based risk assessment is essential for the development/review of SOPs/SWPs, 
method statements, emergency plans, and so forth, as it addresses work-specific hazards 
and risks. 


� On construction projects, the contractor shall conduct the issue-based risk assessments 
and submit them to the client prior to the commencement of work. 


� The client shall sign acknowledgement that risk assessments have been reviewed; 
however, this does not absolve the contractor of his/her duties in terms of the OHS Act. 


a) Pre-task (daily) risk assessment 


- As part of the issue-based risk assessment, there is a requirement that a pre-
task risk assessment be conducted before any task, as circumstances may 
change, for example, the weather and site location. 


- The pre-task risk assessment is also required as part of the work permit, 
required by the Life-saving Rules, ORHVS, and PSR. 


- The pre-task risk assessment shall be completed as part of the pre-job 
planning processes by the responsible and authorised person(s), together with 
all the people who will perform the task. 


- The pre-task risk assessment shall be conducted at the location where the 
activity takes place to ensure that all circumstances can be evaluated properly. 


- All people who participate in the activity must be trained on the contents of the 
risk assessment to ensure that they understand the hazards associated with 
the task. 


- A qualitative, simple checklist method is advisable for a pre-task risk 
assessment, as staff at all levels in the organisation should be able to perform 
this task with quality.  As a minimum, the checklist should consider the 
following areas: 


o Work area 


o Unsafe conditions 


o Environmental conditions 


o Health conditions 


o Condition of PPE, tools, and equipment 


o Ergonomics risks 


o Personal risks 


o Emergency response risks 


o Work permit (ORHVS, PSR) 


- When circumstances change during the course of the activity, activities must 
be stopped, and risk assessments must be again updated and discussed with 
all involved in the task. 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  14 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


3.1.3 Continuous risk assessment 


Occupational health and safety risk assessments should take place continuously, as an integral 
part of day-to-day health and safety management.  This form of risk assessment is an important 
tool for ensuring the reduction of OHS hazards and risks in the workplace, as it addresses day-to-
day changes in the activity. 


It is the duty of all supervisors to ensure that effective continuous risk assessment actually takes 
place in the workplace.  The employer must ensure that all employees are competent to perform 
continuous risk assessments. 


3.1.4 Health risk assessment (HRA) 


The health risk assessment shall be conducted for all activities, and the process shall be led by 
Occupational Hygiene (OH) professionals. 


The HRA shall consider, but not be limited to, the type, health effects, physical form, and route of 
entry of the stressor(s), exposure patterns, and the effectiveness of the existing controls. 


The outcome of the HRA shall inform the OH monitoring programme, medical surveillance 
programme, training, and PPE matrix. 


 


3.2.  Occupational Health and Safety Risk Assessment Process 


Note:  before conducting risk assessments, proper planning and preparation shall be done. 


3.2.1. Communication and consultation 


� Conduct a stakeholder analysis to define the relevant stakeholders, their roles, and 
communication needs. 


� Identify who is exposed to risks, who is responsible and accountable for the management 
of risk (risk owner), who needs to be included in the risk analysis process, and who needs 
to be consulted and informed. 


� Communicate information on OHS risks to management, the employees, and other 
affected stakeholders. 


3.2.2. Hazard identification and context setting 


� Determine the scope, purpose, or objective of risk assessment. 


� List all the activities that are to be performed by the business, taking into account third-
party stakeholders such as the community. 


� Identify hazards or stress factors that have an impact on the health and safety of 
employees, the environment, and third-party stakeholders.  Note:  hazards are generally 
tangible and can be seen, heard, felt, measured, smelt, or determined through the use of 
one’s senses. 


 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  15 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


� Classify the OHS hazards into one of these broad areas (but not limited to them): 


o    Physical, for example, light, heat and cold, or vibration 


o    Chemical, for example, hazardous substances, poisons, vapours, or dust 


o    Biological, for example, plants, bacteria, parasites, or viruses 


o    Mechanical/electrical, for example, working from heights or plant and 
equipment 


o    Ergonomic, for example, posture, weight, or repetition 


o    Psychological, for example, stress, boring/repetitive work, or 
violence/aggression 


3.2.3. Risk identification 


� Identify risks attached to listed hazards, and list the implications and causes of such risks. 


� Describe the risks in terms of an event, changes in a situation, circumstances, and how 
these lead to consequences. 


� Record the identified risks in the risk registers, with the following information: 


o A description of the risk, its possible cause, and consequence 


o The risk owner (typically a responsible manager) 


o The risk category (safety or health) 


3.2.4. Assess and Analyse risk 


� This is a step where risks are analysed in order to determine the effectiveness of existing 
control measures and implement further control measures to minimise the consequences 
of those risks for the health and safety of employees and the environment. 


� Both qualitative and quantitative techniques can be used to assess and analyse risks, for 
example, qualitative incident investigation reports or quantitative data/measurements. 


3.2.4.1. Determine existing controls 


-     Through walk-throughs, inspections, records, interviews, and observations, existing 
controls are recorded. 


-     Controls will include systematic controls and elimination, engineering, 
administrative, or personal protective equipment controls. 


 


 


 


 


 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  16 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


3.2.4.2. Determine consequence rating  


When determining the consequences of the risk, take into account existing controls and their 
adequacy and effectiveness. 


Consequence 
rating 


Description 


 Health and safety 


6 Multiple fatalities  


5 Fatality or life-threatening health effects 


4 Lost-time injury; Irreversible health effects/occupational disease with 
permanent consequence 


3 Medical treatment case; occupational disease with reversible/non-
permanent effect 


2 First-aid treatment case and temporary discomfort case 


1 No injuries or health effects (near misses) 


 


3.2.4.3. Determine likelihood rating of risk 


The likelihood considers the probability that the consequences will be experienced will occur as 
well as the frequency of exposure to the hazard. 


This is determined by using the likelihood table below: 


Score Descriptor Safety Occupational hygiene 


   Exposure Probability of 
exceeding OEL 


1 Highly 
unlikely 


� < 5% probability, or 


� occurrence requires   
exceptional 
circumstances, or 


� exceptionally unlikely, 
even in the long-term 
future, or 


� only occurs as a “100-
year event” 


Rare (once a 
year) 


 


No exposure (or 
exposure < 10% of 
OEL) 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  17 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


2 Unlikely � > 5% probability, or 


� may occur, but not 
anticipated, or 


� occur in “years to 
decades” 


could  


Short periods of 
time, a few times 
per day/ 
intermittent 
(once in six 
months, three 
months, or a 
month) 


Low exposure (< 
50% of OEL) 


 


3 Possible � > 20% probability, or 


� may occur shortly, but 
a distinct probability it 
will not, or 


� could occur within 
“months to year(s)” 


Continuous for 
between one and 
two hours (often/ 
weekly) 


Moderate exposure 
(chronic exposure > 
50% of OEL or acute 
exposure ≥ OEL) 


4 Likely � > 50% probability, or 


� balance of probability 
it will occur, or 


� could occur within 
“weeks to months” 


Continuous for 
between two and 
four hours 
(frequent/daily) 


High exposure 
(chronic exposure > 
OEL, or exposure 
exceeding OEL-
STEL) 


5 Unavoidable � 99% probability, or 


� impact is occurring 
now, or 


could occur within 
“days to weeks” 


Continuous for 
eight-hour shift 


 


Very high exposure 
(chronic  exposure > 
2 x OEL or exposure 
exceeding OEL-C) 


 


 


 


 


 


 


 


 


 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  18 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


3.2.4.4. Determine risk rating 


Plot the consequence and the likelihood on the risk matrix below to determine the risk priority level. 


 


 


 


 


 


 


 


 


 


 


 


 


3.2.5. Evaluate risk 


� Rank the risks in different categories based on the level of risk that has been determined 
as well as the effectiveness of the current risk controls, that is, very high, high, medium, or 
low, using the qualitative method below: 


Priority Risk 
ranking 


Action required 


I Very 
high 


Immediate action required 


II High Strong mandatory action 
required 


III Medium Action required, possibly 
at administrative level 


IV Low Minor or no action 
required 


 


� Test the identified risk against safe limits, internal requirements, and external requirements, 
including legislation and other requirements, limits and conditions of authorisations issued 
for that activity, and any other possible requirements to ascertain whether the risk exists or 
not. 


C
on


se
qu


en
ce


s 
6 III II I I I 


5 III II II I I 


4 IV III II I I 


3 IV III II II I 


2 IV IV III II II 


1 IV IV III III III 


  1 2 3 4 5 


  Likelihood 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  19 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


� Depending on the risk ranking, determine the degree of control and tolerance against the 
defined limits. 


� Determine whether the risk is acceptable; if acceptable, no further assessment is required. 


3.2.6. Eliminate and reduce risk 


� Develop a risk management strategy to treat the impact, consequence and/or 
likelihood/exposure of assessed risks. 


� Establish the actions to be taken, where the highest-order type of preventive measure will 
be the most effective and sustainable, using the hierarchy of control. 


� Different approaches can be taken that are aligned with the agreed risk-tolerance level.  
Consider treatment/ hierarchy of control measures in terms of the following priorities: 


o Risk elimination or avoidance totally removing the risk. 


o Risk reduction:  involves methods that minimise either the impact or the 
likelihood of a risk, or a combination of both. 


o Risk sharing/transfer:  means causing another party to accept the risk fully, for 
example, by transferring the risk to a contractor who is better equipped to 
deal with the risk. 


o Risk tolerance or risk retention:  involves accepting the risk as it occurs.  This 
is a viable option for minor risks where the total “cost” of treatment exceeds 
the expected benefits in terms of loss reduction. 


3.2.7. Monitor risk 


� On a continuous basis, review/re-analyse the identified risks and control measures at 
intervals determined by the applicable legislative requirements or if there is a change in the 
risk. 


� Where a frequency of review is not prescribed by specific regulations or standards, the risk 
assessment shall be reviewed every two years. 


3.2.8. Report risk 


� Document all assessment results irrespective of the risk rating. 


� Risk assessments shall be discussed with all employees, and implementation of control 
measures is to be supervised. 


� The risk assessment shall be reported to all affected stakeholders to ensure that corrective 
measures are implemented. 


 


 


 


 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  20 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


3.3. Training and Support 


A major component of implementation is the awareness and training of all staff members in the 
OHS risk management processes in Eskom.  Divisions and projects should have a training plan 
that covers the following: 


� Awareness briefings for all staff members 


Training for OHS personnel, line managers, project managers, and contractor managers in the 
principles of OHS risk management, line management responsibilities, and the use of risk 
assessment tools. 


 


 Acceptance 4.


This document has been seen and accepted by: 


Name Designation 


Alex Stramrood Senior Manager OHS (Operational) 


Jace Naidoo Senior Manager OHS (Contractor and Skills Development)  


Occupational Health Safety Steering Committee 
 


Distribution SHEQS Managers Committee 
 


Generation SHE Managers Forum 
 


 


 Revisions 5.


Date Rev. Compiler Remarks 


September 2009 0 Sandile Seme New procedure 


August 2011 1 Pulane Raophala This document was compiled to 


address the PCM in line with the 


objectives of the Back to Basics 


project.  Changes to the document 


include alignment with the mapped 


business process. 


January 2014 2 Ntokozo Ngubane The document was due for revision 


and was developed to standardise the 


OHS risk assessment processes in 


Eskom and to align them with IRM. 


 







Occupational Health and Safety Risk Assessment Procedure Unique Identifier:  32-520  


Revision:  2 


Page:  21 of 21 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorised version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC 
Limited, Reg No 2002/015527/06. 


Hard copy printed on: 2 July 2014 


 


 Development Team 6.


The following people were involved in the development of this document: 


• Ntokozo Ngubane                 


• Pulane Raophala                


• Fiona Moletsane         


• Linda Maqashalala                 


• Kgosi Modiole                    


• Dave Seleme                                


• Eric Mohlodine                       


• Thulani Cekwani                   


• Xolile Myoyo                          


• Punky Mhlongo                   


• Mathula Thulare                     


 


 Acknowledgements 7.


• Lwazi Mbhele                        


• Mxolisi Thanjekwayo 


• Keith Rodseth 


• Phindi Shabalala. 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 






_1714812592.pdf


 


Title: Code of Ethics Procedure  


Unique Identifier: 


 


32-757 


 


Alternative Reference Number: 


 


Not applicable 


 


Area of Applicability: 


 


Eskom-wide 


 


Functional area 


 


Regulation and 
Legal Division 


 


Revision: 


 


1 


 


Total Pages: 


 


28 


 


Next Review Date: 


 


July 2017 


Disclosure Classification: CONTROLLED 
DISCLOSURE 


 


 
 


 


Procedure  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  2 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
 o


f 2
8


 


 
CONTENTS         PAGE 
                   


 


1.       Introduction ................................................................................................................................ 3 


2.       Supporting Clauses ................................................................................................................... 3 


2.1  Scope ......................................................................................................................................... 3 


2.2     Normative/Informative References............................................................................................. 3 


 2.3     Definitions .................................................................................................................................. 4 


2.4   Abbreviations ............................................................................................................................ 9 


2.5  Roles and Responsibilities ........................................................................................................ 9 


2.6    Process for Monitoring ............................................................................................................ 13 


2.7    Related/Supporting Documents ............................................................................................... 13 


3        Supplementary Code Procedure .............................................................................................. 13 


3.1  Business Courtesies ................................................................................................................ 14 


3.2  Conflicts of Interest .................................................................................................................. 17 


3.3  Relationships With Eskom’s Stakeholders ............................................................................... 17 


3.4  Harassment and Sexual Harassment ...................................................................................... 19 


3.5 Private Work ............................................................................................................................. 20 


3.6 Eskom Information, Confidentiality and Intellectual Property .................................................... 20 


3.7 Health, Safety and the Environment ......................................................................................... 22 


3.8 Protection and Proper use of Eskom assets ............................................................................. 23 


3.9 Donations and Expenses Related to Political Parties ............................................................... 25 


3.10 Non-Adherence to the Code Of Ethics, Supplementary Code Procedure, and Eskom 


 Policies and Procedures ........................................................................................................... 24 


4.      Acceptance ............................................................................................................................... 28 


5.      Revisions .................................................................................................................................. 28 


6.      Development Team .................................................................................................................. 28 


7.      Acknowledgements .................................................................................................................. 28 


 
 
 
 
 
 
 
 
 
 
 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  3 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


3
 o


f 2
8


 


 
 
1.   INTRODUCTION 
 


 To help directors and employees stay on track and live up to the Eskom values, a 
Code of Ethics ‘The Way’ has been implemented. It is necessary to develop a 
procedure to assist directors and employees with the application of the Code in their daily 
activities and decision-making.  


 
2.   SUPPORTING CLAUSES 
 


2.1  SCOPE 
 


2.1.1  Purpose 
The purpose of the Code of Ethics Procedure is to deal with specific ethics 
issues in the workplace, and provide guidance on how to address these. 
The procedure is not intended to provide an exhaustive list of the ethical issues, 
or to be all-encompassing about the “do’s and don’ts”, but highlights those that 
were identified as a concern to Eskom, and that Directors and employees are 
required to understand and comply with. 
 


2.1.2  Applicability 
 


This document shall apply to Eskom Holdings SOC Limited, its divisions and its 
subsidiaries, and shall include the Eskom Board of directors and subsidiary 
Boards.  
    


2.2  NORMATIVE/INFORMATIVE REFERENCES 
Parties using this document shall apply the most recent approved edition of the 
documents listed in the following paragraphs: 
 
2.2.1 Normative 


 


[1] ISO 9001 Quality Management Systems. 
[2] Eskom’s Code of Ethics, ‘The Way’,  32-527 
[3] Eskom’s Disciplinary Code Standard; 32-1112 
 


2.2.2  Informative 
 


[1] The Companies Act (Act 71 of 2008), as amended 
[2] Eskom Life Saving Rules, 32-421 
[3] The Promotion of Access to Information Act (Act 2 of 2000) 
[4] King Code and Report on Governance for South Africa (King III) 
[5] Prevention and Combating of Corrupt Activities Act (Act 12 of 2004) 
[6] The Promotion of Access to Information Act (Act 2 of 2000) 
[7] Public Finance Management Act (Act 1 of 1999) 
[8] Conflict of Interest Policy; 32-173 
[9] Private Work Procedure; 32-762 
[10] Declaration of Interests Procedure; 32-225 
[11] Procurement and Supply Chain Management Policy; 32-1033 
[12] Procurement and Supply Chain Management Procedure; 32-1034 
[13] Information Security Policy; 32-85 
[14] Occupational Health and Safety Risk Assessment Procedure; 32-520 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  4 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


4
 o


f 2
8


 


 
 


[15] Behavioural Safety Observations; 32-407 
[16] Sexual Harassment Policy; 32- 1115 
[17] Grievance Procedure; 32-1114 
[18] Whistle-blowing Policy; 32-250 
[19] Fraud Prevention Policy; 32-689 
[20] Crime Prevention and Response Policy; 32-232 
[21] Eskom’s PAIA Manual (Eskom website) 
  


2.3 DEFINITIONS 
 


The following definitions are important when dealing with specific ethics issues in the 
workplace.  
  
2.3.1 Bribes and kickbacks: include anything provided directly or indirectly for the 
  purpose of improperly obtaining or rewarding favourable treatment. 
 
2.3.2 Business courtesy: a business courtesy means a gift, or favour from a person 


or an entity, regardless of whether or not there is a business relationship 
between Eskom and that person or entity.  A business courtesy may be a 
tangible or an intangible benefit, such as non-monetary gifts, meals, drinks, 
entertainment, hospitality, recreation, attendance prizes, transportation, 
discounts, tickets, passes, promotional items or the use of a donor's time, 
materials or equipment.   
 


2.3.3 Life Saving Rules: The Life Saving Rules are defined as rules that can protect 
people from serious harm when adhered to. These rules also describe such 
extreme behaviour that all reasonable employees would agree that anyone 
guilty of knowingly and wilfully violating one of them is putting his/her job in 
jeopardy and such person will be dealt with in accordance with Eskom’s 
Disciplinary Code and Disciplinary Procedure. 
 


2.3.4 Controlled disclosure: means disclosure to external parties, either enforced by 
  law, or discretionary. 


 
2.3.5 Code of Ethics: a Code of Ethics highlights the ethical values, such as respect, 


honesty, compassion, etc. that explain what behaviour is good and right in the 
workplace.  It sets the standard of ethical behaviour within the organisation, and 
guides employees with making ethical decisions.  “The Way”, Eskom’s Code of 
Ethics (32-527), explains what behaviour is acceptable within Eskom, and 
highlights how the Eskom values must be lived in the workplace.  Eskom’s 
ethical values and standards were identified through stakeholder engagement. 
 


2.3.6  Compassionate: the ability to be kind-hearted, caring and understanding. 
 
2.3.7  Director(s): director means a member of the board of Eskom Holdings SOC 
 
2.3.8  Limited, or a Board of its subsidiary, or an alternate director of such board, and 


includes a person occupying the position of a director or alternate director, by 
whatever name designated, or a prescribed officer; or a person who is a 
member of a committee of the board or of the audit committee, irrespective of 
whether or not the person is also a member of such board. 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  5 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


5
 o


f 2
8


 


 
 


2.3.9   Discrimination: means making or seeing a distinction, or differentiating 
between persons, which results in their being treated unfavourably based on  
prejudice, especially regarding race, colour, age, gender, sexual orientation, 
religion, culture, language, disability or any other grounds.   


 The Constitution prohibits unfair discrimination.  Fair discrimination is permitted 
with regard to the redressing of past injustices.  Eskom supports a workplace 
that is free from unfair discrimination as per the Constitution.  It furthermore 
appreciates and values the diversity of its workforce, and does not discriminate 
on the basis of race, colour, age, gender, sexual orientation, religion, culture, 
language, disability or any other grounds. 


 
2.3.10 Employees: also referred to as staff members.  Employees mean individuals 


employed by Eskom Holdings SOC Ltd divisions and Eskom subsidiaries on a 
permanent basis, Eskom learners, and fixed-term employees, which include 
temporary employees, part-time employees, casual employees and occasional 
employees.   
 


2.3.11 Eskom: means Eskom Holdings SOC Limited, its divisions and its subsidiaries 
 
2.3.12 Entertainment: is provided by outside parties for the purpose of relaxation and 


recreation.  Typical examples in Eskom include functions or sports events 
arranged by suppliers, or invitations or tickets given to employees to attend big 
sports events.  Eskom employees may only participate in such events or 
functions if their participation has been formally approved in writing in terms of 
the Division’s Delegation of Authority, and is in compliance with Eskom’s Conflict 
of Interest Policy (32-173), and other applicable standards, policies and 
procedures. 
 


2.3.13 Ethics: means distinguishing between what is right and wrong in order to do 
what is right in the interaction with stakeholders.  Doing what is right is also 
interpreted as doing what is good, or avoiding doing harm. 
 


2.3.14 Ethical behaviour: means desirable, acceptable conduct (actions and 
decisions) that will bring about (consequences/outcome) what is good and right 
in the interaction with others.  Therefore, behaviour is ethical when due 
consideration is given, not only to that which is good for oneself, but also to what 
is good for others.  In order to do what is good and right, ethical values must be 
used in decision making and conduct.   


  For example, when I tell the truth, and I treat my manager and colleagues with 
respect, my actions/behaviour has a positive effect on me, my manager and my 
colleagues.  As a result of my behaviour, they feel respected and they can 
trust me because I am honest.  The outcome is good, because I have behaved 
ethically.  Eskom’s Code of Ethics describes the desirable, acceptable, ethical 
behaviour that is required of all employees, both in their personal conduct at 
work, as well as in their relationships with Eskom’s stakeholders. 


 
2.2.15  Ethical decision-making: every person interacts with someone or something 


(e.g. environment) on a daily basis.  This interaction is based on decisions which 
have consequences, whether positive or negative.  Ethical decision-making is 
characterised by decisions based on ethical values and principles. Therefore, 
ethical decision-making can also be referred to as responsible decision-making. 


 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  6 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


6
 o


f 2
8


 


 
 
Ethical decision-making means the following has been done as part of the 
decision-making process, before the interaction takes place: 
 
a) Identify the stakeholders who will be affected by the decision; 
b) Consider the consequence/effect of the decision on each stakeholder; 
c) Proceed with the option/solution that will promote what is good (or will  


avoid doing harm) or will have the least negative effect on all the 
stakeholders. 
Before making a decision, place yourself in the position of the other 
stakeholder (person or animal or entity or the environment, etc.), and ask 
yourself: if this decision is applied to me, how will I feel about it?  Will I see 
the decision as good and right and as not doing harm? 
 


2.3.15 Ethical dilemma: means having to decide between two or more right courses of 
action, or choose between two or more ethical values that cannot all be lived up 
to in a particular situation.  
 


2.3.16 Ethical values: mean the universally accepted norms and standards for ethical 
judgement and behaviour, such as honesty, respect and fairness. 


 


2.3.17 Facilitation payments: mean the gratuities paid to officials (usually government 
employees) to expedite a service or routine administrative action that these 
individuals ordinarily perform.  Eskom prohibits these payments.  


2.3.18 Favouritism: means the practice of showing favour to, or giving preference to 
some person or group, to the detriment or at the expense of another person or 
group that is entitled to equal treatment or an equal opportunity.  Favouritism will 
not be condoned in Eskom because each person must be valued as an 
individual and as an important member of the team (see also the definition of 
nepotism). 


2.3.19  
a)  When one perceives the actions of a colleague or manager or supervisor  
  as favouritism, it is very important to address this in the right manner: 
b) Try to establish whether the perceived favouritism is a reality or a 


perception.  In Eskom, one has to accept the fact that not all people will be 
close friends, yet it remains unacceptable for personal preferences to 
harm the values of respect, trust and fairness that Eskom wants to create 
within the organisation.   


c) Try to determine whether your experience of being discriminated against 
affects the broader Eskom environment and harms the organisational 
culture. For example, does it affect the morale within the department as 
well?  Does it negatively affect Eskom’s reputation for being an ethical 
organisation? 


d) Try to determine whether you can do anything to find a reasonable 
solution to the issue.  Could you find a way to present your case in a non-
threatening, constructive manner to the person whom you see acting 
unfairly? 


e) Talk this over with an ethics advisor in the Ethics Office, or if you prefer, 
with your direct manager or supervisor.  Try to find a solution that would 
build trust and foster transparency, rather than secrecy, gossip and 
negativity. 


 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  7 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


7
 o


f 2
8


 


 
 


2.3.20 Gifts: are items and services of value, which are given by outside parties, or 
among Eskom divisions, Business Units and subsidiaries.   
 


2.3.21 Gratuities: mean the rewards or incentives provided in exchange for, or in 
recognition of, the completion or delivery of work, a product or an achievement.  
Eskom employees are rewarded through Eskom’s incentive scheme process,  
and this is why employees may not accept any money, gift vouchers, rewards or 
incentives from external parties.  For example, if a customer wants to recognise 
exceptional service received from an Eskom employee, that customer should 
inform the employee’s manager, so that the employee can be rewarded through 
the proper Eskom channels. 
 


2.3.22 Hospitality: means the relationship between a guest and a host that makes that 
guest feel welcome and cared for.  It is also the act or practice of being 
hospitable, that is, the reception and entertainment of guests, visitors or 
strangers, with goodwill. 


 
2.3.23 Manager: includes a supervisor and means any employee who has staff 


members reporting directly to him/her. 
 
2.3.24  Nepotism: is a specific form of favouritism.  It means showing favour or 


preference towards relatives based upon that relationship, rather than on an 
objective evaluation of ability or suitability.  For example, offering employment to 
a relative, in spite of the fact that others are better qualified and willing to 
perform the job, is regarded as a form of nepotism, which is not allowed in 
Eskom.  (A relative in this context is someone who is related through blood, 
marriage or adoption.)   


 
2.3.25 Private work: includes private interests, and means any employment or 


commercial activity, or any other interests embarked on by an employee outside 
the scope of his/her Eskom employment.  Information about and requirements 
for private work are addressed in the Private Work Procedure 32- 762. 


 
2.3.26 Prescribed Officer: means a person who, within a company, performs any 


function that has been designated by the minister in terms of section 66 10) of 
the Companies Act, Act 71 of 2008: 
2.3.26.1  a person who, despite not being a director of a particular company if  


that person   
 (a)  exercises general executive control over the management of the 


whole or  a significant portion of the business and activities of 
the company; or  


(b)  regularly participates to a material degree in the exercise of 
general executive control over and management of the whole, or 
a significant portion, of the business activities of the company; 


 2.3.26.2   irrespective of any particular title given by the company  
a) to an office held by the person in the company or  
b) a function performed by that person for the company.” 
 


2.3.27 Professionalism: in Eskom, directors and employees demonstrate 
professionalism by paying attention to detail, demonstrating expertise in 
their fields, rendering excellent quality services, behaving above 
reproach, and giving their best to Eskom at all times.   







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  8 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


8
 o


f 2
8


 


 


2.3.28 Promotional items: mean items with no significant, lasting or 
commercial value (they usually cost R100 or less) that are often widely 
distributed, and usually display a person’s or firm’s name, logo, etc.   
Examples include calendars, desk pads, lanyards; conference 
pens/writing pads, and conference bags. 
 


2.3.29 Respect: respect is demonstrated when you show consideration for, or 
appreciate someone or something.  For example, appreciating colleagues and 
staff members; being considerate to customers’ needs and expectations.  When 
an employee or director shows respect, he/she treats others in the same 
manner in which he/she wants to be treated.  Respect also means that others’ 
assets are treated in the same way in which the employee or director expects 
others to treat his/her personal assets. 


 
2.3.30 Senior management: means an Eskom employee at E-Band level or above, 


and a subsidiary employee at a similar level. 
 
2.3.31 Stakeholder(s): broadly defined, stakeholder(s) mean any group, individual or 


thing (e.g. environment) that can affect, or is affected by, the achievement of the 
organisation’s objectives.  Eskom’s stakeholders include its shareholder, Board 
of Directors, employees, organised labour, customers, suppliers, the public, the 
environment and the communities in which Eskom operates. 


 
2.3.32 Supplier(s): means any person or entity that does business with Eskom or 


tenders to do business with Eskom, or is registered on Eskom’s supplier 
database, such as consultants, contractors, subcontractors and providers of 
goods and services. 


 
2.3.33 Values: mean your core beliefs, which define who you are, what you believe in 


and what is important to you.  Values influence your behaviour and motivate 
your decisions.  For example, if you value honesty, you will always tell the truth.  


   Values apply not only to individuals but also to organisations.  Eskom’s core 
values are referred to as ZIISCE: zero harm, integrity, innovation, sinobuntu, 
customer satisfaction and excellence.  These values describe what is important 
to the organisation, what it stands for and what it believes in.  Eskom’s directors 
and employees represent the organisation, and are in fact “Eskom”.  Therefore, 
directors and employees ought to demonstrate the Eskom values in their day-to-
day decisions and actions.  Eskom’s Code of Ethics guides employees on living 
these Eskom values, as well as the other ethical values that Eskom has 
adopted. 
It is very important for every employee and director to decide whether or not 
he/she believes in, and can live up to the Eskom values and ethical standards 
adopted in Eskom’s Code of Ethics.  No one can leave personal values at home, 
and adopt other values when at work.  If an employee or director does not 
believe in the Eskom values and ethical standards, then Eskom might not be the 
right organisation for that employee or director.   
 


   Eskom’s values defined: 
 


 Zero Harm – Protecting, the Eskom Way 
  To constantly work safely and without harming employees, customers, 


suppliers, our    country and its people and the environment. 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  9 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


9
 o


f 2
8


 


 
 


 Integrity – Acting, the Eskom way 
  To constantly act in a respectful, professional manner that promotes trust, 


loyalty,   transparency, discipline and a commitment to honesty and 
fairness at all times. 


 


 Innovation – Thinking, the Eskom way 
  To foster an environment that nurtures innovative people who are 


committed to continuous improvement through creative ethical solutions. 
 


 Sinobuntu – Caring, the Eskom Way 
  To provide direction and support and to appreciate and value our 


workforce and show care for our assets, customers, suppliers and our 
country.  


 


 Customer Satisfaction – Serving, the Eskom way      
To be passionate about and committed to service delivery of the highest 
standards that exceeds our internal and external customers’ expectations. 


 


 Excellence – Working, the Eskom way 
To continuously strive to be the best through exceptional performance, 
through   employee satisfaction and through effective ethics in supplier 
relationships. 
 


2.3 ABBREVIATIONS 
 


Abbreviation Description 


DOA Delegation of Authority 


EAP Employee Assistance Programme  


GRMD Group Risk Management Department 


P&SCM Procurement and Supply Chain Management  


DE Divisional Executive 


GE Group Executive 


EXCO Eskom’s Executive Management Committee 


PAIA Promotion of Access to Information Act 


BU Business Unit 


 
 
2.4 ROLES AND RESPONSIBILITIES 


 
Eskom is committed to maintaining the highest ethical standards and principles in all its 
business undertakings, and requires the same from its directors and employees in 
fulfilling their Eskom responsibilities.   
 
 
 
 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  10 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
0
 o


f 2
8


 


 
 
2.5.1 Director and employee responsibilities 
 


2.5.1.1  Compliance with Eskom's Code of Ethics, Code of Ethics Procedure 
and ethics-related policies is required of all directors and employees of 
Eskom. 


2.5.1.2  Directors and employees must therefore be familiar with Eskom's Code 
of Ethics, Code of Ethics Procedure and ethics-related policies, and 
receive proper training in these. 


2.5.1.3   Directors and employees must request detailed information from 
managers, supervisors and policy custodians regarding the policies and  
 
procedures affecting their work, and ensure that they understand and 
comply with these. 


2.5.1.4   Directors and employees must use the Code of Ethics to guide their 
actions and decisions, especially when in doubt, or if there are no rules 
or policies which apply to the specific situation. 


2.5.1.5   If directors or employees have questions or concerns, they should ask 
for advice (see “Finding your way – where to get more guidance”, 
paragraph 3.11 below).  


2.5.1.6  Directors or employees must use the appropriate channels to report 
unethical behaviour, crime, irregularities and grievances.  Compliance 
with the Protected Disclosures Act and Eskom’s Whistle-blowing Policy,  
is imperative so that Eskom can protect directors and employees, who 
have reported suspected illegal activities and violations of the Code of 
Ethics, against any form of victimisation or occupational detriment. 
 


2.5.1.7  Stay on track the Eskom way by – 


 living up to the Eskom values through the Code of Ethics; 


 leading by example;  


 behaving above reproach; 


 taking accountability for their actions and decisions; 


 not tolerating or ignoring unethical behaviour in others; and 


 protecting Eskom’s image and reputation. 
 


2.5.2 Managerial responsibilities 
 
    In addition to their general rights and responsibilities as employees of Eskom, 


managers and supervisors have additional responsibilities resulting from their seniority 
and the nature of their managerial/supervisory duties.  
2.5.2.1. Managers and supervisors are required to –  


 
a) make a personal commitment to act in accordance with the Code of 


Ethics(32-527), communicate this commitment to staff members, and lead 
by example; 


b) guide staff members to behave in accordance with the Code of Ethics; 
c) identify ethics risks in the department, section and/or BU, and establish 


ways to mitigate these risks, and to address potential contraventions of the 
Code of Ethics;  


d) take appropriate action to correct behavioural deviations; and  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  11 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
1
 o


f 2
8


 


 
 


e) enforce disciplinary action when appropriate. 
 


2.5.2.2. Managers and supervisors are required to ensure that their staff members 
 (employees) are:  
 


a) in possession of the Code of Ethics and/or the Code brochure, “The Way – 
Living the Eskom Values through our Code of Ethics” and/or the Code’s 
quick reference guide “How to find the Way”; and  


b) sensitised to the Code of Ethics, Supplementary Code Procedure and 
ethics-related policies, through staff dialogue sessions facilitated by 
managers and supervisors.  Employees have to know how to apply the 
Code of Ethics and ethical standards in their specific work environments 
(presentation material is available from the Ethics website). 
 


2.5.2.3.   Managers and supervisors are accountable for ensuring that all new 
employees attend their division’s induction programme, as well as 
attending formal ethics training workshops. 
 


2.5.2.4.   Managers and supervisors are accountable for ensuring that all employees 
attend a formal ethics workshop at least every three years.   


2.5.2.5.   Managers and supervisors are required to give their staff members 
opportunities to discuss ethics issues and concerns, formally (for example, 
staff meetings) and also informally (one-to-one meetings). It is 
recommended that “ethics” should be a standing agenda item for staff 
meetings, so as to encourage ethics dialogue. 
 


2.5.2.6.   Managers and supervisors are required to assist staff members with the 
following:  
a) addressing ethics issues and concerns; and/or  
b) reporting unethical behaviour and violations of the law and policies, 


so that incidents can be investigated and appropriate action taken 
against those who victimise employees who report acts of 
misconduct.   


2.5.2.7.   Managers and supervisors may not, under any circumstances, victimise 
staff members who report unethical behaviour and/or violations of the law 
and policies. Such behaviour will lead to disciplinary action. 


2.5.3  Other role players’ responsibilities  


2.5.3.1. Eskom’s Board and EXCO members set the tone from the top, so they  
are required to demonstrate exemplary ethical leadership in word and 
deed.   


2.5.3.2.   Human resources practitioners are required to ensure that new employees 
receive the Code of Ethics as part of the sign-on documentation given to 
them on the first day of employment.  (The various formats of the code are 
available from the Ethics website, the Ethics Office and Eskom’s 
Hyperwave system. New employees must also be registered to attend an 
induction programme within one month of joining Eskom. 


2.5.3.3.   All individuals providing a service to Eskom must be made aware of, and 
are expected to adhere to, Eskom’s standards of conduct. Therefore, 
Procurement and Supply Chain Departments are required to ensure that 
suppliers receive a copy of the Code of Ethics or the code brochure  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  12 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
2
 o


f 2
8


 


 
 
(formal one-pager available from the Ethics website, Hyperwave system or  
the Ethics Office) as part of the contract documentation received from 
Eskom.  The Code of Ethics Procedure should be made available on 
request (document available from the Ethics website, Ethics Office).   


 
2.5.3.4.   The Code of Ethics and the Code of Ethics Procedure will be available on 


request to all stakeholders.  These requests must be referred to the Ethics 
Office. 


2.5.3.5.   The Ethics Office must develop material on ethics training and provide 
training to the relevant trainers and ethics co-ordinators, so that they can 
assist with ongoing ethics awareness and training in their respective 
working environments.  These interventions must be monitored and 
reported to EXCO and the Eskom Board. 
 


2.5.3.6.   Apart from the employees’ and directors’ commitment to ethical behaviour, 
and the role that managers and supervisors play in instilling an ethical 
culture through ethics awareness, communication, training and disciplinary 
action for non-compliance, the functionaries mentioned below are 
responsible for further entrenching an ethical culture in the organisation.   
 
2.5.3.6.1  Assurance and Forensics Department 


 
 Determines whether or not Eskom’s network of risk 


management, control and corporate governance 
processes, as designed and represented by management, 
is adequate and functioning as intended.  


 Ensures that fraud deterrence programmes and a forensic 
investigation function are in place to ensure that the 
opportunity for crime and irregularities is reduced to its 
lowest possible risk.  This includes managing the 
investigation of incidents reported through various 
channels, maintaining accurate statistics on crime and 
irregularities within the organisation, and reporting these to 
EXCO and the Eskom Board. 


   The Assurance and Forensics Department is the custodian 
of Eskom’s whistle-blowing channel to report crime and 
irregularities.  The department manages the external crime 
line, ensuring that this resource is confidential, and that all 
incidents reported are analysed in order to refer these for 
investigation and resolution by the appropriate 
department(s) and managers. 


 
2.5.3.6.2 Human Resources Division – Industrial Relations 


Ensures that grievances are effectively addressed and that 
disciplinary action is taken against employees in terms of 
Eskom’s Disciplinary Code and Procedure.   


 
2.5.3.6.3  Human Resources Division – HR Shared Services Unit  
   


Conducts exit interviews and analyses the data to identify 
trends and to recommend retention strategies. The trends in  
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  13 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
3
 o


f 2
8


 


 
the recommended strategies (monthly data and 
Eskom/Divisional quarterly reports) are shared with the  
Divisional HR Managers, to ensure that the strategies are 
revised, where possible, to address the concerns. 
   


2.5.3.6.4    The ethics sponsors and co-ordinators in each Division 
 


Ethics sponsors are responsible for establishing and 
maintaining an ethics support structure in each of the 
respective Divisions through the appointment of ethics co-
ordinators, and for monitoring the performance of the ethics 
co-ordinators.   
The roles and responsibilities of the ethics co-ordinators must 
be clearly defined in their letters of appointment, and included 
in job compacts to ensure that ethics awareness initiatives,  
ethics training and ethics compliance areas are attended to in 
every department/section/BU in the respective Divisions.   


   
2.6   PROCESS FOR MONITORING 


 
2.6.1  Refer to section 2.5, “Roles and responsibilities” for monitoring. 
 
2.6.2  Internal audit will conduct regular audits, to ensure compliance with this 


procedure. 
 
2.6.3  The Code of Ethics Procedure will be reviewed on a regular basis to ensure that   


emerging ethics issues are addressed. 
 


2.7 RELATED/SUPPORTING DOCUMENTS 
 


2.7.1 The following forms are referred to in this procedure, and are available as  
indicated in brackets after each form: 
 
a) Electronic declaration of interests form for employees (Declaration of 


Interest   Forms website on eforms intranet site) 
b)  Manual declaration of interests form for employees who do not have access 


to a computer (Ethics website) 
c)  Declaration of interest form for Board members (Board website) 
d)  Declaration of business courtesies for Board members (Board website) 
e)  Electronic declaration of business courtesies for the Eskom Group 
 


3. SUPPLEMENTARY CODE PROCEDURE 
 


This procedure is not intended to provide an exhaustive list of ethics issues, or to be all-
encompassing on the “do’s and don’ts”, but instead highlights the ethics issues that were 
identified as a concern to Eskom.   
It is important to note that the respective Eskom Group/Division/Subsidiary may create specific 
rules on any of the ethics issues. However, these rules must be contained in a 
Group/Divisional/Subsidiary standard authorised by the respective Executive, and the standard 
should highlight the same or a higher standard than the Code of Ethics Procedure, but not lower.  
For example, theCode of Ethics Procedure provides clear guidelines on business courtesies. 
If a Division decides to prohibit the offering or acceptance of business courtesies owing to the 
high risk these entail in their specific business, then a directive or standard must be established,  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  14 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
4
 o


f 2
8


 


 
 
prohibiting business courtesies in that specific Division.  A Division may not, however, create a 
directive or standard that overrides the specific requirements in this Procedure, for example by 
allowing any form of business courtesies, at any value and not maintaining courtesy registers.   


3.1    BUSINESS COURTESIES 


3.1.1 Eskom is committed to fair, objective and transparent business dealings, and for 
this reason care must be taken when accepting or offering any business 
courtesies, as defined. 


3.1.2 Business courtesies are used for building good business relationships, and are 
offered as a kind gesture and to show courteousness or respect.  Business 
courtesies may only be offered or accepted for these reasons. 
 


3.1.3 Directors and employees may not offer or accept business courtesies that are 
intended to influence a person’s objectivity or business decisions (conflict of 
interest) improperly, or to bribe someone, or to create a feeling of obligation, or 
to gain favour above another.   
 


3.1.4 Business courtesies may not negatively affect Eskom’s image and reputation. 
The value of a business courtesy must not exceed R500.  This specification has  
been included to assist directors and employees with identifying an expensive 
courtesy.  Therefore, the value of any business courtesy exceeding R500 is 
considered expensive and inappropriate, and may not be offered or accepted. 
 


3.1.5 It is important to note that the value of the gift is not the only guideline.  An 
inexpensive courtesy may also be unacceptable if the motive for giving or 
accepting it, is not ethical, if a business courtesy is offered frequently by a 
particular supplier or if section 3.1.3 and/or 3.1.4 applies. 
 


3.1.6 Directors and employees may not offer or accept money, gratuities, facilitation 
payments, bribes or kickbacks.   


 
3.1.7 Gift vouchers may not be offered to, or accepted from, customers and suppliers 


as this is similar to receiving or offering money.  Gift vouchers may only be 
offered to Eskom employees by Eskom employees (i.e. internally within Eskom), 
on condition that the purpose and value of the gift vouchers are clearly 
stipulated in a policy, procedure or the Division’s Delegation of Authority (DOA) 
document.  For example, the DOA can state that in the case of an employee 
resigning, a gift or gift voucher to the value of Rx for every year of completed 
service, may be given up to a maximum value of Rxx. 


 
3.1.8 With regard to an event/function organised by a supplier for the purpose of 


offering a business courtesy, directors and employees may not travel to the 
event or sleep over at the cost of the supplier in order to attend the event. 


 
3.1.9 Directors and employees are not only bound by Eskom's policies and regulations 


concerning business courtesies, but must also be aware of, and not transgress, 
similar regulations that are binding on the recipient of business courtesies 
offered by Eskom. 


 
3.1.10 Compliance with these regulations will assist directors and employees with 


making ethical decisions about business courtesies.  However, if employees or  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  15 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
5
 o


f 2
8


 


 


directors are in doubt whether a courtesy will be acceptable, they must contact 
the Ethics Office for advice or obtain prior permission from managers (or the 
Chairman of the Board for directors) before giving or accepting business 
courtesies.  
 


3.1.11 DEs may apply more stringent rules to the offering and acceptance of business 
courtesies in their respective Divisions, arising from the nature of their business 
and/or conflict situations.  These may include the prohibition of any business 
courtesies, whether offered or received.  However, these regulations have to be  
documented in a Group/Divisional/Subsidiary policy, the policy must state to 
whom it applies, and must be communicated and implemented in that Division.  
 


3.1.12 Eskom gifts and entertainment that are not classified as business 
courtesies 


 
The following are not defined as business courtesies, and must be dealt with in 
terms of the respective Eskom Divisions’ Delegation of Authority documents and 
the applicable Eskom policies and procedures for internal gifts and 
entertainment.  These documents must specify the acceptable practice in the 
Divisions, including the cost of gifts and entertainment relating to the following: 
 
a) Birthday gifts for employees and managers; 
b) Secretaries’ and Bosses’ Day gifts and functions; 
c) Year-end functions;  
d) Baby showers, kitchen teas, wedding gifts, retirement, etc; 
e) Sponsorships;  
f) Donations. 


 
3.1.13 Business Courtesy Register 
 


3.1.13.1 All business courtesies, both offered and received, excluding 
promotional items as defined,   have to be recorded in the electronic 
business courtesy registers within seven days of offering or receiving 
the courtesy, and have to be approved by the respective manager in 
terms of the DOA. Directors should declare their business courtesies 
on the electronic form, available from the Board website, which is 
signed off by the Chairman of the Board. 


3.1.13.2  Group/Divisions, Business Units and Departments may establish and 
maintain manual business courtesy registers for employees who do 
not have access to computers, provided that such a register complies 
with the minimum requirements set out in this policy and in particular 
with paragraph 3.1.13.3 – 3.1.13.6.  


3.1.13.3 The following information must be recorded in the register:  
a) The date the courtesy was offered/received,  
b) A description of the courtesy,  
c) The approximate value of the courtesy,  
d) The name of the recipient,  
e) The name of the person, firm or Group/Division/BU/Department 


offering the courtesy and their relationship to the recipient,  
f) The reason for offering/accepting the courtesy,  
g) The name, title and signature of the manager who authorised the 


courtesy.  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  16 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
6
 o


f 2
8


 


 
h) Task grade. 


 
Example: 


 


Date 
receiv
ed 


Descripti
on 


Rand
/ 


value 


Recipi
ent 


Offered by, 
and the 
relationship
: 


Motivati
on 


Manager’
s 
verificati
on of 
approval 


TTas
k 
gra
de 
 
 
 


Approve
d/ 
Rejected  
 
 
 
 


Comm
ent 


 
 
 


02/11/
08 
 


Attended 
a golf 
day – 
registrati
on fee, a 
spot 
prize and 
refreshm
ents 
were 
included. 


R35
0 


Jane 
Doe 


T-Systems 
– Eskom 
Supplier > 
maintaining 
and hosting 
the 
Department’
s website. 


Annual 
team 
building 
event – 
Eskom 
clients 
invited. 


 
 


 


James 
Ark 


GM 
(XXX) 


 Approved   


 
 


3.1.13.4 Courtesy registers must be regularly reviewed by senior management 
as well, and should be done monthly or every three months, 
depending on the type of business.  In areas where the offering and 
acceptance of business courtesies are frequent, senior management 
should review the registers every two weeks.  


3.1.13.5 Courtesy registers must also be inspected by ethics co-ordinators, 
internal auditors or compliance functionaries (or their successors in 
title) to ensure compliance with the requirements of the procedure.   


3.1.13.6 It is important that the register is simply not be seen as a control 
to ensure that all business courtesies are recorded, neither 
should it create the assumption that unacceptable business 
courtesies may be offered or received as long as they are 
recorded. The objectives of the courtesy registers are to provide 
transparency, to demonstrate commitment to ethical business 
practices and to protect the image and reputation of Eskom, its 
directors and employees by ensuring that directors and employees 
only offer and accept business courtesies that are ethical and 
acceptable. 


 
3.1.14 Decline a business courtesy in an ethical manner 


 
3.1.14.1 When a director or employee is offered a courtesy that is not 


acceptable in terms of Eskom’s Code of Ethics and this procedure, the 
director or employee has to decline the offer with a polite explanation 
that Eskom’s ethical standards prohibit the acceptance of the 
courtesy.  This will also enable the giver to understand and comply 
with Eskom’s Code of Ethics and ethical standards in future. 


 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  17 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
7
 o


f 2
8


 


 
 
3.1.14.2 If the director or employee is in a public arena when offered the 


courtesy and cannot decline the courtesy at that moment, for example  
 when on stage at a ceremony, then the director or employee may 


accept the business courtesy initially on behalf of Eskom.  When the 
Board or a manager determines that the business courtesy accepted 
by a director or employee should not have been accepted, the director 
or employee should return the business courtesy to the donor with  


 a polite explanation that Eskom’s policy prohibited keeping such 
courtesy.   


3.1.15 If a director or employee is offers or has accepted unacceptable 
business courtesies, the appropriate disciplinary process must be 
followed. 


 
3.2 CONFLICTS OF INTEREST 


 


3.2.1 A conflict of interest arises when an employee or director’s objectivity and/or the 
decisions to be taken on behalf of the organisation, are compromised by the 
personal interests of the individual.   
 


3.2.2 A conflict of interest may be a direct (actual) conflict, a perceived conflict or a 
potential conflict.  Any of these circumstances can result in unethical behaviour, 
as conflicts undermine fairness, objectivity and transparency, which violate 
Eskom’s Code of Ethics.  Conflicts of interest can also negatively affect 
productivity, as well as Eskom’s and the employee’s and director’s image and 
reputation.  As a result, Eskom’s stakeholders lose trust in the organisation and 
in its directors and employees.   


 


3.2.3 The “trust test” can be performed by directors and employees to determine 
whether or not the individual is in a conflict-of-interest situation.  Ask yourself 
whether Eskom, the Board, your colleagues, customers, suppliers or members 
of the general public would see your decision as fair and objective (trust your 
judgement), if they knew that you were in that specific situation.  


 


3.2.4 Directors and employees must read and comply with Eskom’s Conflict of Interest 
Policy; 32-173, which provides detailed information about and the requirements 
relating to conflicts of interest. 
 


3.3 RELATIONSHIPS WITH STAKEHOLDERS 


3.3.1   Eskom is committed to treating its customers, suppliers and other stakeholders 
with respect by being compassionate, and by considering the rights, dignity and 
well-being of its stakeholders in day-to-day interactions.   


3.3.2   Eskom is committed to providing support to economic and social projects, 
particularly in the communities where it operates, as well as enhancing the 
quality of life in communities. These corporate social investments are managed 
by Eskom’s Development Foundation. 


3.3.3   In the spirit of giving, Eskom has also launched the i-Volunteer programme.  
This initiative allows an opportunity to all those interested in service, to give their 
time to those in need. In this way, colleagues will show that they are not only 
guardians of the Eskom brand and committed to giving of their best through  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  18 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
8
 o


f 2
8


 


 


service at Eskom, but are also using their talents to help others be the best they 
can be. 
 


3.3.4  Relationships with suppliers 


3.3.4.1  Eskom does not support child labour, and will not do business with 
entities that make use of child labour. (The International Labour 
Organisation defines child labour as “work situations where children are 
compelled to work on a regular basis to earn a living for themselves and 
their families, and as a result are disadvantaged educationally and 
socially; where children work in conditions that are exploitive and 
damaging to their health and to their physical and mental development; 
where they are separated from families, often deprived of educational 
and training opportunities; and they are forced to lead prematurely adult 
lives”.) 


3.3.4.2  Goods and services must be procured on Eskom’s behalf on the basis 
of the constitutional and ethical principles of fairness, equitability, 
transparency, competitiveness and cost-effectiveness.  Suppliers 
engaging in a competitive tendering process have to be treated with 
fairness and equality so that no one supplier is unfairly given any 
competitive advantages that will influence the ranking of suppliers and 
the awarding of orders and/or contracts. 


3.3.4.3  Directors and employees must comply with Eskom’s Procurement and 
Supply Chain Management Procedure, 32-1034, which sets out 
Eskom’s Procurement and Supply Chain Management (P&SCM) 
processes, and defines the legal, commercial and ethical framework 
within which Eskom’s directors, employees, and in particular its supply 
chain practitioners, must conduct supply chain activities in Eskom. 


3.3.4.4  In order to demonstrate integrity, Eskom’s directors and employees may 
not accept any discount on personal purchases that could be seen to 
be offered because of a supplier’s relationship with the employee or 
director or with Eskom, unless the same discount is available to all 
other members of the public.  Similarly, Eskom's purchasing power may 
not be misused for personal benefit to buy goods, materials or services 
at terms not available to all Eskom employees.   


3.3.4.5  It is unethical for directors and employees to force a concession, which 
would not otherwise be obtainable, from a supplier or any other 
stakeholder for personal benefit.  


3.3.4.6 The proprietary data and confidential information of a supplier or 
potential supplier must also be protected.  Directors and employees are 
responsible for complying with supplier-imposed limitations governing 
the use of supplier information, including documents and computer 
software.   


3.3.4.7  All directors, employees, suppliers and others acting on Eskom’s behalf 
are prohibited from providing, attempting to provide or offering to 
provide kickbacks; and from soliciting, accepting or attempting to accept 
a kickback.   


3.3.4.8  No form of improper influence, bribery or unethical conduct by 
employees, directors, suppliers or customers shall be tolerated and  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  19 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


1
9
 o


f 2
8


 


 


   such conduct must be reported to Eskom’s Whistle-blowing hot-line 
(0800 11 27 22). 


 
3.3.4.9  Failure of suppliers to adhere to Eskom’s ethical standards and the 


Code of Ethics   Procedure pertaining to suppliers, must be reported to 
the supplier management functionary in the relevant Division, or the 
supplier management functionary in the Commercial Division for 
investigation. 


3.3.4.10 A supplier found to be engaging in unethical practices and in 
contravention of Eskom’s ethical standards will be subject to a supplier  


  disciplinary process for committing an act of misconduct in accordance 
with Eskom’s Procurement and Supply Chain Management Procedure, 
32-1034. 


 
3.3.5 Relationships with the media 


 
3.3.5.1 Eskom is committed to engaging proactively with the media in an ethical 


and professional manner, in order to meet its obligations to communicate 
with the public and stakeholders, proactively informing the relevant 
media of important developments in the life of the company, and 
responding promptly to media enquiries about Eskom, electricity and the 
energy industry.  Except for designated media liaison staff members or 
spokespersons, Eskom directors and employees may not make any 
comment to members of the print and/or electronic media, or any other 
public communications medium, nor disseminate Eskom material to the 
members of the media.  Consult the Corporate Affairs Division or its 
successor in title) regarding the relevant policies and procedures relating 
to this matter.  
 


3.3.5.2  Information about Eskom that is restricted, confidential, proprietary or 
sensitive may not be revealed to a supplier or potential supplier or to 
any other stakeholder, unless written authorisation has been obtained 
from senior management.   


 
3.4 HARASSMENT AND SEXUAL HARASSMENT 


 


3.4.1  All Eskom directors and employees, as well as any other individuals dealing with 
Eskom, have the right to be treated with dignity and respect, and Eskom 
commits itself to providing a work environment that is free of harassment and 
sexual harassment.  In addition to being unethical, sexual harassment is also 
prohibited because it is unlawful, and against public policy. 


 
3.4.2  Harassment means verbal or physical conduct that shows hostility or aversion 


to an individual (whether an employee, customer, supplier, etc.) because of that 
person’s race, skin colour, religion, gender, national origin, age, class, disability 
or sexual orientation. 


 
3.4.3 Sexual harassment means unwelcome sexual advances, requests for sexual 


favours, and other verbal, non-verbal or physical conduct of a sexual nature. 
  


3.4.4 Harassment and/or sexual harassment may involve the following: 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  20 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
0
 o


f 2
8


 


 
 


3.4.4.1 Has the purpose or effect of creating an intimidating, hostile or 
offensive work environment; 


 
3.4.4.2 Has the purpose or effect of unreasonably interfering with an 


individual’s work performance; 
 
3.4.4.3 Adversely affects an individual’s employment opportunities. 
 


3.4.5 Anyone has the right at any time to raise the issue of sexual, or any other 
harassment without fear of discrimination, victimisation or retaliation/ reprisal. 
Anyone subjected to any form of harassment or sexual harassment, suspecting 
harassment, or anyone subjected to victimisation as a result of reporting this 
misconduct, must report this to his/her manager or supervisors or to any of the 
following: 


 


 Ethics Office 


 Human resources consultants/managers 


 Union representatives 


 Employee wellness practitioners 


 Employee relations practitioners 


 Industrial relations practitioners 


 Forensic Services 


 Occupational Health practitioners 
 


3.4.6 Any director or employee engaging in harassing behaviour (whether 
towards another employee, supplier, or customer, etc.) is subject to 
disciplinary action, including dismissal.   


 
3.4.7 See to Eskom’s Sexual Harassment Procedure for more information. 
 


3.5 PRIVATE WORK 
 


Private work could have a negative impact on an employee’s ability to perform his/her 
Eskom duties, and/or create a conflict of interest, or create a conflicting interest when 
an employee has to choose between Eskom’s interests and those of the employee.  For 
this reason, employees have to comply with the Private Work Procedure and ensure 
that private work does not interfere with the employee’s duty to act in Eskom’s best 
interests. It should be noted that the private work policy is being reviewed to move away 
from allowing private work in most cases. 
 


3.6 ESKOM INFORMATION, CONFIDENTIALITY AND INTELLECTUAL PROPERTY 
 


3.6.1 Confidential information refers to information that strictly belongs to an 
individual or entity, or information classified as such.  Confidential information 
may include, but is not limited to, employee records, financial data, proposals 
and vendor supply data.   


3.6.2 Directors and employees may not disclose any confidential information to other 
persons, unless required to do so by law, or in the performance of Eskom duties, 
or unless prior written permission has been obtained.   
 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  21 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
1
 o


f 2
8


 


 
3.6.3 Directors and employees must ensure that all Eskom documents are classified 


according to the level of protection, and appropriately dealt with in accordance 
with the Procedure for the Handling of Classified Items, 32-143 and the Asset 
and Information Classification Procedure, 32-363. 


 
3.6.4 If Eskom information is not classified according to the level of protection, it must 


be treated as confidential, and therefore may only be disclosed when written 
approval has been obtained from either the custodians of the information, or 
from senior management. 
 


3.6.5 Eskom views remuneration information as confidential and the information must 
be treated in accordance with the Sharing of Eskom Remuneration Procedure, 
32-27. 
 


3.6.6  Eskom's conditions of employment also require the protection of intellectual 
property and proprietary information. These include patents, trademarks, 
copyrights and trade secrets.  It also applies to any other information over which 
Eskom has control.  The obligation not to disclose proprietary information still  
applies after an employee has left Eskom’s service.  Employees, who develop 
any creative work or software as part of their Eskom duties, do so in the course 
of their employment, and such information, work, etc. belongs to Eskom.   


 
3.6.7  Information resources mean all data and information, as well as the hardware, 


software, people and procedures involved in the storage, processing and output 
of such information.  This includes data networks, servers, PCs, storage media, 
printers, photocopiers, fax machines, supporting equipment, fall-back equipment 
and back-up media.   


 
3.6.8  Information resources are critical Eskom assets, which require a high level of 


protection against accidental or unauthorised modifications, disclosure and/or 
destruction, as well as to ensure the confidentiality, integrity and availability of 
Eskom’s information resources.  For this reason, Eskom has developed the 
Information Security Policy 32-85, with which directors, employees and users of 
the information resources, as well as service providers to Eskom have to 
comply. Though Eskom permits incidental personal use of its information 
resources, directors and employees should be aware that such use is subject to 
the terms and conditions contained in this policy and other applicable policies, 
and the Code of Ethics. 
 


3.6.9  An employee's use of Eskom's computer hardware and software for further 
education is permitted, provided all of the following requirements are met:  
 The employee is enrolled for an approved course.  
 The equipment will be used only after working hours.  
 The use of a computer is specifically required by the course.  
 The manager responsible for the equipment approves of its use for this 


purpose.  
 The use of a computer for educational purposes does not supersede 


business priority.  
 No computer charges will accrue to the employee's cost centre as a result 


of the course work. 
 


3.6.10  Insider trading is the improper exploitation by a director or an employee of 
privileged information, from any source, to secure profit for him/her or for others  







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  22 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
2
 o


f 2
8


 


 
 
through dealings in securities, commodities, property or any other assets.  It is 
unethical and, where it concerns publicly traded securities, is likely to be illegal.  
Imparting privileged information that makes it possible for someone to undertake 
insider trading, or to secure a profit, is a serious matter.  If deliberate, it is likely  
 
to be illegal.  If negligent, it is potentially a disciplinary matter, and could also be 
subject to civil action.  
 


3.6.11  In public places or in social groups, employees and directors must avoid 
conversations about Eskom's plans, problems or business, unless these are  


  already public knowledge.  Gossip has a way of being overheard and interpreted 
incorrectly, which could ultimately jeopardise Eskom’s image and reputation.  


  
3.6.12 Eskom is committed to providing information in a manner that enables persons 


to obtain records about the organisation as swiftly, inexpensively and effortlessly 
as possible, in terms of the Promotion of Access to Information (PAIA) Act of 
2000.  Directors and employees must use the Eskom PAIA Manual (www. 
eskom.co.za) to guide stakeholders on requesting information from Eskom.  


 
3.7  HEALTH, SAFETY AND THE ENVIRONMENT 


3.7.1 Eskom is committed to excellence in the management of safety, health and the 
environment and undertakes to all employees, contractors, visitors, stakeholders 
and the public that it will conduct its business in a caring, responsible manner.  
Eskom will continuously advance its business practices in line with international 
best practice, legislative requirements and corporate best-practice innovations.   


3.7.2 In order to assist Eskom with keeping this commitment, directors, employees 
and suppliers are required to ensure that their work environments and actions 
reflect these commitments.  Compliance with Eskom’s Safety, Health, 
Environment and Quality (SHEQ) Policy, 32-727 is therefore essential.  A safe 
and secure work environment also means a workplace free from violence and 
intimidation.   


3.7.3 All employees, persons who contract with Eskom, and persons who enter Eskom 
sites are required to comply with Eskom’s Life Changing Rules for Safety 
(Eskom Life Saving Rules Directive, 32-421), which are as follows: 


Rule 1: Open, isolate, test, earth, bond, and/or insulate before touch. 


Rule 2: Hook up at heights. 


Rule 3: Buckle up. 


Rule 4: Be sober. 


Rule 5: Ensure that you have a permit to work. 


3.7.4 Eskom takes a zero-tolerance stance to violations of the Life Saving Rules and 
the following serious “at risk” behaviours: 


 No person may work on any electrical network unless he/she is trained and 
authorised as competent for the task to be done. 


 No person may work at height where there is a risk of falling, unless the 
person is appropriately trained. 


 No person may drive any vehicle on Eskom business unless authorised. 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  23 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
3
 o


f 2
8


 


 
 


 No person is allowed to work under the influence of drugs and alcohol (see 
the Substance Abuse Procedure, 32-37). 


3.7.5 Employees are advised to report without delay any non-compliance with the Life 
Saving Rules, as well as situations that pose a danger to others or damage to 
property.  Reports should be made to management at business unit levels.   


3.7.6 Always remember that no operating condition, or urgency of service, can justify 
endangering the life of anyone or causing injury or damage to the environment. 
 


3.7 PROTECTION AND PROPER USE OF ESKOM ASSETS 
 


3.8.1 The assets and property of Eskom, its customers and its suppliers, must be 
treated with the same respect as that with which directors and employees would  
treat their own personal assets and property. The manner in which Eskom 
assets are used and cared for affects the financial well-being of the organisation 
and the quality of its service to customers and the public.  Directors and 
employees therefore have a direct interest in and responsibility for ensuring that 
assets are properly safeguarded and used wisely and effectively. 


3.8.2 Assets and resources must be protected against loss, damage, theft, abuse and 
misuse, (must be used strictly for their intended purpose). Financial statements, 
records and expense reports must be accurate and complete.  Eskom property 
may not be used for personal or outside activities, nor be disposed of, without 
the relevant written authorisation. It should be noted that taking any Eskom 
property without prior permission is regarded as theft and an employee or 
director engaging in such action is subject to immediate disciplinary action as 
well as any other appropriate action. Any damage, abuse or misuse of assets 
and resources must be reported to management, or through the whistle-
blowing/hot-line 0800 11 27 22, so that it can be investigated and appropriate 
disciplinary action can be taken. 


3.8.3 Examples of assets include, but are not limited to, the following: 
equipment, supplies, tools, inventory, cash and cash equivalents, computer 
systems and equipment, computer software, vehicles, travel and subsistence 
allowances.  Other types of Eskom property that are included in the above 
category for the purpose of the Code of Ethics and this document, but that are 
not necessarily “assets” in the accounting sense, include records or reports, 
proprietary information, intellectual property or other sensitive materials and e-
mail, as well as SMS or voice mail communications when using a telephone that 
is the property of Eskom.  Eskom time (i.e. time spent on the job, travelling on 
business, conducting business activities or otherwise representing the 
organisation) and overtime are also considered an Eskom asset.   


3.8.4 Eskom is responsible for properly recording and reporting financial information, 
and for maintaining effective systems of internal control. All the accounting, 
reporting and control procedures established by Eskom must be followed.  Be 
accurate, timely and complete in preparing and maintaining records and reports.  


3.8.5 It is Eskom policy to advise customers and suppliers of any clerical or accounting 
errors as they become known, and to effect prompt correction of errors through 
credits, refunds or other mutually acceptable means.  


 


 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  24 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
4
 o


f 2
8


 


 


3.8.6 Expenditure 


Since Eskom is the custodian of public funds, it is essential for directors and 
employees to ensure that all revenue, expenditure, assets and liabilities are 
managed efficiently in Eskom’s and the country’s best interests, and to avoid 
irregular, fruitless and wasteful expenditure.  In particular, Eskom directors and 
employees have to comply with the Public Finance Management Act, No. 1 of 
1999 as amended by the Public Finance Management Act, No. 29 of 1999.  
 
3.8.6.1   Expenditure allowed for business purposes is that considered to be 


reasonable and necessary for fulfilling Eskom duties.  
  Expenditure considered lavish or extravagant will not be tolerated, 


approved or reimbursed.  
 
3.8.6.2   A few questions that Eskom directors and employees should ask when 


utilising budgets are the following: 
 


3.8.6.2.1 Does the way that I am spending my budget make the most 
efficient possible use of public resources, in order to serve 
Eskom’s and the public’s interests? 


3.8.6.2.2 If costs were revealed in the media, would the public accept 
all my expenses as legitimate? 


3.8.6.2.3 Am I avoiding rationalisations that attempt to justify the 
unethical use   of budgets? 


3.8.6.2.4 Am I complying with Eskom’s and my Division’s policies, 
procedures and DOA?  


 
3.8.6.3 Reservations for airline tickets, car rentals and lodging must be 


arranged through an Eskom-authorised travel agent, in accordance with 
the applicable travel policies, Eskom’s Conditions of Service dealing 
with allowances, etc. and the respective Division’s Delegation of 
Authority. 


 
3.8.6.4  Eskom employees may use frequent-traveller credits accumulated in 


their personal capacity, as a result of their travelling on Eskom 
business, as long as no additional cost is incurred by Eskom to earn 
those credits, and it is in Eskom’s best interests to travel.  It is essential 
for all travel to be necessary and scheduled in a manner that is cost-
effective to Eskom and not seen as abuse of public funds.   


 
3.8.6.5  It is quite easy to try to justify and rationalise the unethical use of travel 


budgets by arguing that it is a legitimate perk to travel and stay in lavish 
accommodation during official trips. However, the determining factor 
should always be whether certain travel arrangements and costs are  


 indeed necessary for the director or employee to fulfil official duties in 
Eskom’s best interests. 


 
 
 
 
 
 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  25 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
5
 o


f 2
8


 


 
 


3.9  DONATIONS AND EXPENSES RELATED TO POLITICAL PARTIES 
 


3.9.1   Eskom shall not support, directly or indirectly, any political party or candidate 
for political office. Therefore, directors and employees may not offer or give 
any Eskom funds or property as donations, directly or indirectly, to any 
political party, candidate or campaign. 
 


3.9.2 Directors and employees who attend political party rallies, meetings, 
conferences, etc. do so in their private capacities. Eskom funds may not be 
used for expenses related to such political events. 


 
3.9.3 If it is in Eskom’s best interests to attend the event/function referred to in  


clause 3.9.2 above, then a written motivation for treating the costs as a 
business expense must be submitted to, and approved by, the Chief  
Executive (for employees), or the Chairman of the People and Governance 
Committee of the Board for the Chief Executive and directors’ requests. 


 
3.10   EMPLOYEE WELLNESS 


 
3.10.1 There is only one way to treat people: fairly and respectfully.  Eskom respects 


and values the cultural diversity and uniqueness of each employee. 
  A successful business is built by valuing and maximising one another’s’ 


abilities, and respecting differences, including limitations and strengths.   
 
3.10.2 Directors and employees are required to show respect by being 


compassionate, and by being considerate of the rights, dignity and well-being 
of all their colleagues.  Directors and employees are therefore prohibited from 
discriminating against fellow employees, in word or deed, on any basis, 
including, but not limited to, race, age, gender, language, religion, sexual 
orientation, or on account of a disability.  All interactions must be based on 
mutual respect.  When behaviour is unwelcome to even one person, it 
poisons the entire working environment.  


 
3.10.3 Eskom will not discriminate against members of the public, suppliers, 


competitors, government officials or other parties in its business dealings.  
Eskom will also not tolerate any form of xenophobia (fear of, and 
discrimination against, foreigners) and will be objective when investigating 
cases involving foreign nationals. 


3.10.4 With regard to its human resources, Eskom is committed to reinforcing the 
principle of humane employment practices and, in particular, to – 


 eliminating discrimination; 
 recognising the employee’s inalienable right to organise and negotiate 


conditions of employment; and all other labour rights;  
 conducting union/organised labour and union member dealings in a  
 respectful manner; and 
 promoting equal opportunities for training and personal development. 
 


3.10.5 Eskom also respects its employees' personal privacy, but it does expect them 
to be law abiding and to conduct their personal affairs like good and  


 
 







D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  26 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
6
 o


f 2
8


 


 
 
  responsible citizens, especially where any indiscreet or antisocial behaviour 


could affect the individual's performance or reflect badly on Eskom.  
 


3.10.6 Employee Assistance Programme (EAP) 
 


3.10.6.1 Eskom realises that balancing the demands of work and family 
life is not easy. For this reason, Eskom has implemented the 
Employee Assistance Programme to provide employees with 
professional support in dealing with matters such as financial 
issues and work-related stress. 


3.10.6.2 The primary goal of the EAP is to inform and skill employees to 
take ownership of their well-being (physical, psychological and 
social), and to give them the necessary support to make informed 
decisions about their work and personal lives.  For assistance, 
call ICAS toll-free on 0800 611 059. 


 
3.11 WHERE TO GET MORE GUIDANCE – “Finding your way” 


 
3.11.1 It is obviously impossible to cover every conceivable situation in which you 


may have to deal with questions concerning procedures and ethics.  Eskom 
has issued very detailed policies and guidelines on most of the subjects 
discussed in this document, and where applicable, have been highlighted for 
easy reference.  Compliance with Eskom’s policies and procedures is the  
primary basis for ethical actions and decisions. If neither the Code of Ethics, 
“The Way”, this Procedure nor the specific policies and procedures seem to 
offer sufficient guidance, you should consult the Ethics Office. 


   
3.11.2 Ethics Office 
 
  Eskom’s Ethics Office has been established to assist the organisation with 


maintaining high standards of corporate governance by setting the 
frameworks, standards and rules for ethical behaviour in the organisation. 
The Ethics Office provides an ethics advisory service to directors and 
employees to assist them with dealing appropriately with ethical issues and 
dilemmas in their work environments.  Directors and employees can contact 
the Ethics Office on e-mail: ethics@eskom.co.za 


 
3.11.3 Other resources for advice 
 


Directors must report and/or discuss ethics issues with the Chairman of the 
Board.  EXCO and Management Operations Committee members must report 
and/or discuss ethics issues with the Chief Executive. 
Other resources to which employees can turn for advice are listed in the 
correct order below.  Every effort must be made to ensure that confidentiality 
and employee anonymity are maintained, and that employees do not fear 
retribution, or are not subjected to any form of victimisation. 
 
3.11.3.1 Manager or supervisor  


He/she should usually be approached first, as he/she could give 
timely and appropriate guidance in the context of the issue raised.  
Where the manager or supervisor is unable to address the issue  
 



mailto:ethics@eskom.co.za





D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  27 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
7
 o


f 2
8


 


 
raised, or may be personally involved, or if an employee wishes to 
do so, the initial contact may be made at a higher level of managerial 
authority that would be able to make an impartial and objective 
assessment of the issue involved, and resolve the matter fairly.  
Disciplinary action may be appropriate where confidentiality has not 
been respected.  
 


3.11.3.2 Your Divisional or Business Unit's HR manager/practitioner, IR 
manager/practitioner, or the BU manager  


 
3.11.3.3 The Corporate Legal Department or Corporate IR Department 
  
3.11.3.4 Your Divisional Executive 
 


3.11.4 Reporting crime, irregularities and unethical behaviour 
 


3.11.4.1 All directors and employees are required to disclose crimes, 
irregularities, and unethical behaviour by utilising the reporting 
mechanisms listed below. These mechanisms represent the  


 “employer” and as such, disclosures made in good faith to these will 
be regarded as protected disclosures, subject to compliance with 
Eskom’s Whistle-blowing Policy, 32-250. 


 
3.11.4.2 Reporting mechanisms 


 Directly to the responsible line manager  
 Eskom’s toll-free hotline 0800 11 27 22  
 Forensic website 
 Forensic investigator on standby 
 E-mail (investigate@eskom.co.za) 
 Security staff members 
 


3.11.4.3 All reports received via the aforementioned mechanisms must be 
treated with the strictest confidentiality. 


   
3.11.4.4 Reports of crimes and/or irregularities received must be routed to the 


Assurance and Forensics Department, where such reports will be 
analysed and screened for appropriate action. All reports warranting 
a forensic investigation will be investigated by this department, and 
action on the findings must be taken by the responsible line 
management.  


 
3.11 NON-ADHERENCE TO THE CODE OF ETHICS, CODE OF ETHICS PROCEDURE  


AND ESKOM POLICIES AND PROCEDURES 
 


3.12.1   Eskom's ethical conduct as an organisation is the outcome of the ethical 
behaviour of its directors and employees, who as individuals are responsible  


  and accountable for the nature of the decisions they make.  Unethical conduct 
is against the common good.   


 
3.12.2  Eskom has implemented its Code of Ethics, “The Way”, procedures and 


guidelines to help directors and employees make ethical decisions, and 
maintain an ethical culture in the workplace. These include specific ethics- 



mailto:Investigate@eskom.co.za





D
o


c
u


m
e
n


t T
itle


 


 Code of Ethics Procedure Unique Identifier:  32-757 


 Revision:  0 


 Page:  28 of 28 


 
 


 


When downloaded from the EDC website, this document is uncontrolled and the responsibility rests with the user  
to ensure that it is in line with the authorised version on the website. 


 


U
n
iq


u
e
 Id


e
n


tifie
r: 


3
2
-4


 


R
e
v
is


io
n
: 


5
 


P
a
g


e
: 


2
8
 o


f 2
8


 


 
  related Policies, the various Policies and Procedures issued by specific 


departments, the Conditions of Service, the Disciplinary Code (32-1112), the 
Disciplinary Procedure (32-1113), the Grievance Procedure (32-1114), specific 
standards and rules, as well as other agreements with the trade unions and 
external stakeholders.  


 
3.12.3 Compliance with the Code of Ethics, Code of Ethics Procedure, legislation, 


Eskom policies and procedures, and specific standards and rules, is critical in 
order to maintain an ethical culture.  Therefore, adhering to these is not 
optional, but the way directors and employees should do business at Eskom.  


 
 Non-compliance will result in disciplinary action. Eskom will protect employees, 


who have reported suspected violations, against any form of victimisation or 
occupational detriment in terms of Eskom’s Whistle-blowing Policy (32-250). 


 
3.12.4  Eskom also reserves the right to refuse to reappoint ex-Eskom employees if 


their services were terminated due to disciplinary action or due to resignation 
during a pending disciplinary action against them. 


 
3.12.5 Managers and supervisors have to ensure that rules are applied consistently 


throughout the organisation, that appropriate action is taken at all times to 
correct behavioural deviations, and that disciplinary action is enforced, when 
appropriate. 


 
3.12.6 Eskom directors and employees comply, not because of fear of the 


consequences, but from an inner conviction that they do what is ethical.   
 


4.   ACCEPTANCE 
 
   This document has been seen and accepted by EXCO. 
 
5. REVISIONS 
 


Date Rev. Compiler Remarks 


November 2010 0 Ethics Office team New document  


July 2014 0 Ethics Office team Periodic review  


 
6.   DEVELOPMENT TEAM 
 


The Code of Ethics Procedure was developed by the Ethics Office with inputs from the 
following key role players: 


 Assurance and Forensics Department 


 Managerial level employees and key internal stakeholders 


 Ethics co-ordinators 


 Organised labour 
 


7.  ACKNOWLEDGEMENTS 


 Language Services  


 Legal Department  


 Corporate Governance Office 






_1569670749.pdf


Document Template 32-4 Revision 7 


 
Procedure  


 


Title: Employees’ Right of Refusal to 
Work in an Unsafe Situation 
Procedure  


 


 


 


Document Identifier: 240-43848327 


 Alternative Reference 
Number: 


N/A 


 Area of Applicability:  Eskom Holdings SOC Ltd  


 Functional Area: Sustainability  


 Revision: 1 


 Total Pages: 10 


 Next Review Date: June 2020  


 Disclosure 
Classification: 


Controlled Disclosure 


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  2 of 10 


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 


Content 


Page 


1. Introduction ............................................................................................................................... 3 


2. Supporting Clauses .................................................................................................................. 3 


2.1 Scope ............................................................................................................................... 3 


2.1.1 Purpose ................................................................................................................. 3 


2.1.2 Applicability ........................................................................................................... 3 


2.1.3 Effective date ......................................................................................................... 3 


2.2 Normative/Informative References ................................................................................... 3 


2.2.1 Normative .............................................................................................................. 4 


2.2.2 Informative............................................................................................................. 4 


2.3 Definitions ........................................................................................................................ 4 


2.4 Abbreviations ................................................................................................................... 5 


2.5 Roles and Responsibilities ............................................................................................... 5 


2.6 Process for Monitoring ...................................................................................................... 6 


2.7 Related/Supporting Documents ........................................................................................ 6 


3. Employees’ Right of Refusal to Work in an Unsafe Situation Procedure ................................... 6 


3.1 General ............................................................................................................................ 6 


3.2 Standard Procedure for when an Employee Exercises his or her Right of Refusal to 
Work in the case of an Unsafe Work Situation .................................................................. 7 


3.3 Participation by Subject-Matter Specialist ......................................................................... 8 


3.4 Report .............................................................................................................................. 9 


3.5 Victimisation Prohibited .................................................................................................... 9 


4. Acceptance ............................................................................................................................... 9 


5. Revisions .................................................................................................................................. 9 


6. Development Team ................................................................................................................ 10 


7. Acknowledgements ................................................................................................................ 10 


 


 


     


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  3 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


1. Introduction 


Eskom is committed to health and safety excellence, which forms an integral part of its operations.  
Eskom and its subsidiaries will conduct business with respect and care for people to ensure that no 
operating condition or urgency of service endangers the life of anyone or causes injury or damage 
to the environment.  


Although the Bill of Rights entrenched in the South African Constitution makes no specific 
reference to health and safety in the workplace, the rights relevant to health and safety in the 
workplace include the right to life, the right to a safe and healthy environment, and labour rights. 


Employees have a duty to take reasonable care of their health and safety and the health and 
safety of other persons, to cooperate with the employer, to carry out lawful orders, to report unsafe 
situations and incidents, and engage in a manner following the behavioural safety observations 
elements (SMAT), which will ensure that unsafe behaviour does not continue or repeat itself.   


The aim of this Procedure is to ensure that an environment is created that promotes Zero Harm by 
empowering employees and contractors to take responsibility for their own safety and that of 
others. 


2. Supporting Clauses 


2.1 Scope 


This Procedure shall apply to all Eskom sites with the intention of promoting a safe working 
environment for all Eskom employees (permanent, non-permanent, employees placed by a 
Temporary Employee Services provider (TES), learners, and bursary students), agents, 
consultants, and contractors. 


2.1.1 Purpose 


This Procedure clarifies Eskom’s intention to ensure that no one is exposed to unsafe conditions or 
is in a position, with respect to any behaviour, that can result in serious risk at the workplace. 


2.1.2 Applicability 


This Procedure shall apply throughout Eskom Holdings SOC Ltd divisions and subsidiaries. 


2.1.3  Effective date 


1 July 2015. 


2.2 Normative/Informative References 


Parties using this document shall apply the most recent edition of the documents listed in the 
following paragraphs. 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  4 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.2.1 Normative 


[1] Occupational Health and Safety Act 85 of 1993. 


[2] 32-727:  Eskom, Safety, Health, Environment and Quality Policy. 


[3] 32-407 Behavioural Observation Procedure. 


2.2.2 Informative 


[4] DPC 34-846:  Operating Regulations for High-voltage Systems. 


[5] GGR 0992:  Plant Safety Regulations (Low-voltage Regulations). 


[6] GGR 0568:  Pulverised Fuel Firing Regulations. 


[7] ISO 9001 Quality Management Systems. 


[8] NEMA 107:  National Environmental Management Act.  


[9] MHSA:  Mine Health and Safety Act. 


 


2.3 Definitions 


2.3.1 Absolute (or strict) requirement: A requirement designed for a safe working environment, 
which means that the particular duty must be complied with, irrespective of cost or likelihood 
of injury.  


2.3.2 Unsafe situation: Any situation involving an unsafe act from an individual or an unsafe 
condition. 


2.3.3 Safety rules: Rules designed to prevent accidents and injuries when followed. 


2.3.4 Contractor: Any employer formally contracted (directly or indirectly) by Eskom and who 
performs work or supplies a service, product, equipment, or material for the purposes of 
advancing   Eskom’s business and other interests. This includes personal 
contractors/consultants and third-party contractors (vendors, suppliers, agents, joint 
ventures, principal contractors and subcontractors). 


2.3.5 Suppliers: Any person or organisation that supplies any product, equipment, or material; 
and this includes courier services. 


2.3.6 Agents: Any person who acts as a representative for Eskom (as the client), as defined in 
the OHS Act. (With specific reference to the Construction Regulations). 


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  5 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.7 Joint ventures: An entity formed through a decision and agreement to work together 
between two or more persons, parties, and/or organisations to undertake an economic 
activity together and which entity is managed by means of this agreement.  The parties 
agree to create a new entity by both contributing equity, and they then share in the 
revenues, expenses, and control of the enterprise. 


2.3.8 Treat: to apply/administer a process to improve or remedy a risk/hazard/unsafe condition(s) 
or situation(s). 


2.3.9 Mitigate : to control/prevent a hazard from causing harm and to reduce a risk/hazard/unsafe 
condition(s) or situation(s). 


2.3.10 Eliminate: to remove/eradicate a risk/hazard/unsafe condition(s) or situation(s). 


2.3.11 Workplace: Any premises or place where a person performs work in the course of his      
employment. 


2.3.12 Behavioural Safety Observation (SMAT): Technique use to assess and address the 
actual safe and unsafe behaviours of people in the workplace; as well as workplace 
conditions - which are caused by the actions or non-actions of employees, contractors or 
their supervisors. 


2.4 Abbreviations 


Abbreviation Explanation 


BU  Business Unit 


EDC Eskom Documentation Centre 


ExCo Executive Committee 


H&S Health and safety 


OH&S Occupational Health and Safety 


OU Operating Unit 


TES Temporary Employee Services  


SMAT Safety Management Audit Technique 


2.5 Roles and Responsibilities 


2.5.1 The Sustainability Systems Department (OH&S): The OH&S Department shall review the 
Procedure every five years or as required by the OHS Steering Committee. 


2.5.2 Group and divisional executives: Group and divisional executives are responsible for 
ensuring adherence to this procedure within their respective groups/divisions. 


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  6 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.5.3 Operating units/ Business units: The management at Business Unit level shall be 
responsible for: 


• implementing this Procedure; 


• communicating to all their employees, contractors, and contractor employees the 
importance of compliance with this Procedure; and the consequences of non-
compliance.  This includes communicating duty of care and refusal to perform an unsafe 
task to all new employees and new contractors; 


• implementing a monitoring process for ensuring understanding of, and compliance with, 
duty of care and refusal to perform an unsafe task; and 


• ensuring understanding of, and compliance with, the requirements of this Procedure.  


 


2.6 Process for Monitoring 


Compliance with the requirements of this Procedure has to be audited by the Operating/Business 
Unit, 


Service Function and/or Strategic function at least annually as part of an internal review process.  
All records have to be audited by Assurance and Forensics Department or any person appointed 
by it to do so, on its behalf, at its discretion and at a frequency determined by it.  


The focus areas of such monitoring will include the following: 


• Self-assessments at BU/OU level (at intervals not exceeding three months) 


• Auditing by Audit and Forensics Department  


 


2.7 Related/Supporting Documents 


2.7.1 Refusal to work in an unsafe workplace. (Unique identifier 240-53716047). 


 


3. Employees’ Right of Refusal to Work in an Unsafe  Situation Procedure 


3.1 General 


The employer has the duty to inform each person of his or her right to refuse unsafe work, which 
includes that every employee shall, at work:   


a) take reasonable care of his or her own health and safety and that of any other person who may 
be affected by his or her acts or omissions; 


b) co-operate in order to enable that any duty or requirement, including absolute (or strict) 
requirements imposed on the employer in order to achieve a safe workplace, are performed 
and complied with; 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  7 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) carry out any lawful order given to him or her and obey the health and safety rules and 
procedures laid down by his or her employer or by anyone authorised to do so by the employer 
in the interest of health and safety; 


d) if any situation that is unsafe or unhealthy comes to his or her attention, as soon as practicable 
take immediate preventative and corrective action and report such situation to his or her 
employer or to the health and safety representative for his or her workplace or section thereof, 
as the case may be, who shall, in turn, report it to the employer; and 


e) exercise the duty so as not to interfere with, damage, misuse or intentionally or recklessly 
interfere with anything that is provided in the interest of health or safety. 


3.2 Standard Procedure for when an Employee Exercis es his or her Right of Refusal to 
Work in the case of an Unsafe Work Situation  


Where an employee is directed, required, or instructed to perform a task in relation to equipment, a 
machine, device, thing, or physical condition and he or she reasonably believes in good faith that 
the: 


a) equipment, machine, device, or thing; or 


b) physical condition of the workplace;  


 


c) is in contravention of any health and safety requirement, may endanger, endangers, causes an 
undue hazard, or may cause an undue hazard to his or her health and safety, (collectively 
referred to as an unsafe work condition) or those of his or her co-worker or any person, such 
an employee has the right to refuse to perform such a task until such time as it has been 
corrected and made safe.  


d) The employee may refuse to return to perform such a task until the unsafe work condition(s) 
has/have been mitigated, treated or eliminated.  


e) An employee cannot refuse to work when high-risk work condition(s) and processes form part 
of his or her normal contractual duties, where following approved safe work procedures will 
ensure a safe working environment.  (Example:  a live line worker involved in live line work 
following safe work procedures). 


f) Should any employee at any time reasonably believe, in good faith, that the performance of 
work or a task is unsafe, the following procedures shall apply: 


 Stage 1:   


1. The employee will immediately notify to the supervisor about the details of the unsafe 
condition or unsafe act. The supervisor shall give the situation immediate attention.    


2. The employee will explain to the supervisor (or his nominated team leader) and, where 
available, the applicable health and safety representative the reasons for believing that the 
work to be performed is unsafe. The employee has the right to invite his/her union 
representative. 


3. The employee(s) shall remain in a safe place. 


4. The supervisor shall investigate the unsafe situation together with the applicable employee 
and the applicable health and safety representative responsible for that particular area.  







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  8 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


5. The task risk assessment is to be reviewed to address the concerns of the employee and to 
outline the corrective actions in order to mitigate/treat/eliminate the unsafe situation.  


Alternatively, if it is found that the perceived threat is unfounded, the supervisor shall give a 
clearance notice to the employee, co-signed by the applicable employee, indicating that the 
identified perceived threat has been thoroughly investigated and that the situation has been 
declared to be safe.  (See form referenced in Paragraph 2.7.1.) 


6. If emergency action is required to correct an unsafe situation that constitutes an immediate 
threat to employees or any other person, only qualified and properly instructed employees 
or persons will be permitted to correct such unsafe condition.  Every possible effort must be 
made to control the hazard while this is being done.  


7. When the issue has been resolved and the appropriate corrective action has been taken, 
the employee shall return to work.  If the issue has not been resolved, proceed to the 
following stage. 


 


 


 Stage 2 


The manager of that section or, if not readily available, any other person with the necessary 
knowledge, skills, and experience who understands the task and associated risks must then 
review the risk assessment and mitigation plans and, where necessary, make changes to 
further reduce/treat/eliminate the risk.  If the issue is resolved and the appropriate corrective 
action has been taken, the employee shall return to work. 


If the issue has not been resolved, then the work will be considered as unsafe and cannot 
continue until the applicable Responsible Manager (BU/OU Manager) have introduced all 
steps to ensure the work place is safe as defined in the Occupational Health and Safety Act, 
Eskom’s policies, procedures and best practices. 


3.3 Participation by Subject-Matter Specialist  


If a supervisor requests that a subject-matter specialist should participate in the resolution of an 
issue, the BU Responsible Manager: 


a) must ensure the appointment of the appropriate subject-matter specialist to enter the 
workplace for the purpose of participating; 


b) must give every reasonable assistance necessary to enable participation by the subject-matter 
specialist; and  


c) shall: 


i. ensure that the necessary steps are taken to make the workplace healthy and safe; and 


ii. jointly advise the employees of the steps that are being taken 


 


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  9 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.4 Report 


The supervisor, together with the subject-matter specialist (if applicable), must prepare a report as 
stipulated in form referenced in Paragraph 2.7.1, which must be tabled and discussed at the next 
Statutory Health and Safety Committee meeting.  The chairperson of the Health and Safety 
Committee must enter the refusal to work into the register and ensure that all events involving any 
person exercising his or her right of refusal to work in unsafe situations have been recorded in the 
minutes of the Health and Safety Committee.  


3.5 Victimisation Prohibited  


Employees who exercise their right to refuse to work in accordance with the steps set out in this 
Procedure are protected by the Occupational Health and Safety Act. Therefore, no employer or 
person acting on behalf of an employer shall: 


a) dismiss or threaten to dismiss an employee; 


b) discipline or suspend or threaten to discipline or suspend an employee; 


c) impose any penalty on an employee; or 


d) intimidate or coerce an employee 


Solely because the employee has acted in compliance with the applicable requirements set out in 
this Procedure.  


Notwithstanding this, any employee who without good reason refuses to work and who fails to 
follow this Procedure may be dealt with in terms of Eskom’s applicable policies and procedures. 


4. Acceptance 


This document has been seen and accepted by: 


Name Designation 


Neo Tsholanku General Manager Legal  


Phillip Mashego  Senior Manager Human Resources 


OHS Steering Committee  


 


5. Revisions 


Date Rev. Compiler Remarks 


June 2015 1 SN Middel Confirmed still valid. Revision date 
updated 


August 2013 0 SN Middel  


 


 







Employees’ Right of Refusal to Work in an 
Unsafe Situation Procedure  


 


Unique Identifier:  240-43848327 


Revision:  1 


Page:  10 of 10  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


6. Development Team 


The following people were involved in the development of this document: 


• SN Middel 


• W Madonsela  


• S Isaacs 


• M Thanjekwayo 


 


7. Acknowledgements 


• S Govender 


• S Isaacs 






_1569670678.pdf


SM/EDC/Formatted 28.05.2015/TR re-formatted 17.07.2015                                                                                               
Document Template 32-4 Revision 7 


 
Procedure  


 


Title: Environmental, Occupational 
Health and Safety Incident 
Management Procedure  


 


 


Document Identifier: 32-95 


 Alternative Reference 
Number: 


 Not Applicable  


 Area of Applicability:  Eskom Holdings SOC Ltd  


 Functional Area: Environmental, 
Occupational Health and 
Safety  


 Revision: 6 


 Total Pages: 68 


 Next Review Date: November 2020  


 Disclosure 
Classification: 


Controlled Disclosure 


Compiled by   Functional Responsibility   Authorized by  


       


S.N. Middel 


Senior OHS Consultant 


Sustainability Systems 


  K. Pather 


General Manager 


Sustainability Systems 


 T. Govender 


Group Executive 


Transmission and 
Sustainability 


 


Date:   Date:  Date:  


       







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  2 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Content 


Page 


1. Introduction ............................................................................................................................... 3 


2. Supporting Clauses .................................................................................................................. 3 


2.1 Scope ............................................................................................................................... 3 


2.1.1 Purpose ................................................................................................................. 3 


2.1.2 Applicability ........................................................................................................... 3 


2.1.3 Effective date ......................................................................................................... 4 


2.2 Normative/Informative References ................................................................................... 4 


2.2.1 Normative .............................................................................................................. 4 


2.2.2 Informative............................................................................................................. 5 


2.3 Definitions ........................................................................................................................ 6 


2.4 Abbreviations ................................................................................................................. 20 


2.5 Roles and Responsibilities ............................................................................................. 21 


2.6 Process for Monitoring .................................................................................................... 22 


2.7 Related/Supporting Documents ...................................................................................... 22 


3. Document content: Environmental, Occupational Health and Safety Incident Management 
Procedure ............................................................................................................................... 23 


3.1 Incident Identification ...................................................................................................... 23 


3.2 Initiation and Execution of Emergency Response ........................................................... 23 


3.3 Notification and Reporting to Relevant Stakeholders ...................................................... 24 


3.4 Incident Prioritisation ...................................................................................................... 27 


3.5 Classification and Recording of Incidents ....................................................................... 37 


3.6 Incident investigation ...................................................................................................... 41 


3.7 Management of Safety Measures ................................................................................... 49 


3.8 Incident close-out ........................................................................................................... 51 


3.9 Incident Communication ................................................................................................. 51 


3.10 Guidance to chairpersons during disciplinary hearings related to environmental, 
occupational health and safety incident management..................................................... 52 


4. Acceptance ............................................................................................................................. 53 


5. Revisions ................................................................................................................................ 54 


6. Development Team ................................................................................................................ 55 


7. Acknowledgements ................................................................................................................ 55 


Appendix A – Process flow to determine repeat environmental incidents ...................................... 56 


Appendix B: Environmental, Occupational Health and Safety Metrics ........................................... 57 


Appendix C: Classification Criteria for Environmental Incidents .................................................... 59 


Appendix D: NEMA Section 30 Incident Classification and Reporting Guidance ........................... 61 


Appendix E: The following criteria will assist the reader with interpreting certain incidents 
classifications ......................................................................................................................... 63 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  3 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


1. Introduction 


Eskom’s SHEQ Policy sets out principles and rules that underpin the way in which Eskom 
approaches occupational health and safety, the environment and quality.  


The effective management of incidents is required so as to achieve the above. Incident 
management is an integral function of risk management. The aims and objectives of incident 
management are as follows: 


a) Reduce risk and prevent any recurrence of incidents. 


b) Ensure that incidents are managed effectively. 


c) Ensure that incidents are classified and recorded accurately. 


d) Ensure prompt and appropriate investigation. 


e) Promote the proactive use and value of near-miss incident reporting. 


f) Improve the quality of occupational health, safety, and the environment by learning from 
incidents, including near-misses.  


g) Share incident information. 


h) Report to external and internal stakeholders, as appropriate. 


i)      Promote the analysis of trends, and review practices accordingly. 


j)      Involve and communicate information to all stakeholders.  


Incident management is not a mechanism for assigning blame or monitoring staff performance, but 
rather a way of identifying and addressing areas for improvement in order to reduce future risks. 
Eskom is committed to Zero Harm as an Eskom value, which forms an integral part of its 
operations. This supports the value of Zero Harm to people and the environment. 


2. Supporting Clauses 


2.1 Scope 


2.1.1 Purpose 


This document describes the high-level intention and requirements for the effective management of 
incidents that occur during the course of Eskom’s business that result in, or could result in, 
occupational diseases/illnesses, fatalities, injuries, near-misses, and/or environmental damage. 


2.1.2 Applicability 


This document shall apply throughout Eskom Holdings SOC Ltd, its groups/ divisions, subsidiaries, 
and entities in which Eskom has a controlling interest. In cases where Eskom does not have a 
controlling interest, this procedure shall apply if no such similar document exists.   


This document is applicable to Eskom employees, contractors and members of the public affected 
by activities of, or on behalf of, Eskom.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  4 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


For the purpose of Eskom benchmarking with other organisations, the applicable Responsible 
Manager may use the relevant classification criteria required for such benchmarking process.  


In the case where a site consists of multiple employers, for Eskom reporting purposes, this 
procedure must be complied with.  


For interpretation of requirements related to environmental, occupational health and safety 
incidents, this document will supersede any other procedures and instructions. 


2.1.3  Effective date 


The document is applicable as of date of signature.   


2.2 Normative/Informative References 


Parties using this document shall apply the most recent edition of the documents listed in the 
following paragraphs. 


2.2.1 Normative 


[1] 240-62582234: OHS Roles and Responsibilities and Statutory Appointments Standard  


[2] 32-727: Eskom, Safety, Health, Environment, and Quality Policy 


[3] 32-123: Eskom Emergency Planning Procedure 


[4] 32-124: Eskom Fire Risk Management Standard 


[5] 32-256: Emergency Response Procedure – Communications  


[6] 240-52599304: Process Control Manual (PCM) for Environmental Management 


[7] 240-51122806: Process Control Manual (PCM) for Incident Management  


[8] 240-49308149: Process Control Manual (PCM) for Occupational Health and Safety 
Management 


[9] Aviation Act 74 of 1962 


[10] National Water Act 36 of 1998 


[11] Occupational Health and Safety Act 85 of 1993 


[12] Labour Relations Act 66 of 1995 


[13] Medicine and Related Substance Control Act 101 of 1965 


[14] Mine Health and Safety Act 29 of 1996 


[15] Compensation for Occupational Injuries and Diseases Act 130 of 1993 


[16] Basic Conditions of Employment Act 75 of 1997 


[17] National Health Act 61 of 2003 


[18] National Environmental Management Act 107 of 1998. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  5 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.2.2 Informative 


[1] 240-47560170: Process Control Manual (PCM) for Quality Management 


[2] 240-51367318: Process Control Manual (PCM) for Assurance and Advisory Audits  


[3] 32-450: Safety and Occupational Hygiene Performance Management 


[4] ISO 14001 Environmental Management System Standard 


[5] ISO 9001 Quality Management Systems 


[6] OHSAS 18001 Occupational Health and Safety Systems 


[7] EPM0060: Measurement Specification Document for Headcount 


[8] Criminal Procedures Act 51 of 1977 


[9] Electricity Act 41 of 1987 


[10] Explosives Act 15 of 2003 


[11] Inquest Act 58 of 1959 


[12] Law of Evidence Amendment Act 45 of 1988 


[13] National Road Traffic Act 93 of 1996. 


 


The legislation is not exhausted and/ or not limited to the legislation listed above. 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  6 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3 Definitions 


2.3.1 Accident:  Any unplanned event, arising out of, and in the course of, an Eskom or 
contractor employee’s employment and resulting in human injury, illness, or death of the 
employee, including environmental damage and/or pollution or degradation, as well as 
death of, or injury to, any member of the public. 


2.3.2 Acute stress: Acute stress reaction/disorder/psychological shock/mental shock will be a 
work-related  psychological condition (incident) when diagnosed by a medical practitioner 
following a terrifying or traumatic work-related event, for example, but not limited to, an 
incident involving assault, hijacking, armed robbery, explosion, being trapped in a confined 
space or elevator, or a motor vehicle accident. 


2.3.3 Analysis:  The process of breaking down a complex topic into smaller parts to gain a better 
understanding of it. 


2.3.4 Announcement:  An internal Eskom communication informing the business of Eskom 
and/or contractor employee work-related fatalities. 


2.3.5 Athletic activities sponsored by Eskom SOC Lt d: All Eskom-sponsored athletic activities 
involving physical exercises. These include any vigorous or energetic actions and any 
physical activity or exertion associated with exercise, sport or games. 


2.3.6 Auditing: A systematic, independent, and documented process for obtaining audit evidence 
and evaluating it objectively to determine the extent to which audit criteria are fulfilled and 
includes the following: 


a)  First-tier audit: audit process conducted within the means of the OU/BU and by the 
OU/BU.   


b)  Second-tier audit: audit assurance process conducted at an OU/BU by assurance 
providers, for example, Sustainability Systems Department, A&FD auditing, or any other 
OU/BU as an internal independent party within Eskom. 


c)  Third-tier audit: audit process conducted at an OU/BU, Group/Divisional, or Eskom level 
by an independent external function. 


2.3.7 Bursary holder: A temporary worker who works during holidays or according to another 
similar arrangement as part of his/her training; also regarded as a casual worker and is 
under the supervision and/or direction of an employer. 


2.3.8 Call-out: Where an employee responds to a formal request to perform work outside normal 
working hours, in terms of the relevant level 1 Eskom policies. 


2.3.9 CARAT principles: Principles relating to the quality of data or information, requiring 
data/information to be: 


     C – complete; 
     A – accurate; 
     R – relevant; 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  7 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


     A – accessible; and 
     T – Timely 


2.3.10 Case study: A management tool for sharing the details of an incident, which include the 
incident description, findings, root cause analysis, and environmental, occupational health 
and safety measures. 


2.3.11 Classification: A process of determining whether the incident is a near-miss, first-aid, 
medical, lost time injury, fatality, public injury, public fatality, property damage, significant 
environmental incident (legal contravention, legal contravention in terms of the OHD 
(Operational Health Dashboard)), emergency incident in terms of section 30 of NEMA and 
section 20 of the National Water Act, or environmental event. 


2.3.12 Controlled disclosure: Controlled disclosure to external parties (either enforced by law or 
discretionary), which needs to be approved by the Legal Department. 


2.3.13 Close-out: The final step in the process to verify that all incidents have been properly 
investigated, all root causes have been addressed appropriately, identified safety measures 
have been effectively implemented and all relevant information has been captured 
according to CARAT principles on the SAP EH&S system. 


2.3.14 Communication: A process that allows an exchange of information by various methods 
and that may require feedback. 


2.3.15 Commuting: Travelling by any means from the employee’s permanent place of residence 
to a regular place of work and back. Commuting ends when you enter workplace 
boundaries. 


2.3.16 Contractor (also referred to as a mandatory as per section 1 of the OHS Act): For the 
purpose of this document, any employer formally contracted (directly or indirectly) by Eskom 
and who performs work and supplies a service, product, equipment or material for the 
purposes of advancing Eskom’s business or other interests is classified as a contractor. 
This includes Eskom board members, personal contractors (that is, consultants) and third-
party contractors (that is, vendors, suppliers, agents, joint ventures, principal contractors 
and subcontractors). Further definitions relevant to this include the following: 


a) Agent:  any person who acts as a representative for Eskom as the client, as defined in 
the OHS Act and Construction Regulations. 


b) Consultant:  any person, whether self-employed or not, who provides advice or a service 
in a particular area of expertise 


c) Courier service:  any legal entity contracted (directly or indirectly) for the delivering of 
messages, packages, and/or mail. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  8 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


d) Joint venture:  an entity formed through a decision and agreement to work together 
between/among two or more persons, parties, and/or organisations to undertake an 
economic activity together and which entity is managed by means an agreement. The 
parties agree to create a new entity by both/all contributing equity, and they then share in 
the revenues, expenses, and control of the enterprise. 


e) Principal contractor:  an employer that is appointed in a formal agreement or contract 
with Eskom for the supply of a product, material, or service. This implies that the 
principal contractor has overall control and management of a part or the whole of the 
actions and resources required to ensure that contractual obligations are met. 


f) Subcontractor:  an employer that is appointed in a formal agreement or contract with an 
Eskom principal contractor or another subcontractor and has no direct, formal 
contractual agreement with Eskom. The relationship between these entities exists, 
however, in order to satisfy an agreement between a principal contractor and a 
subcontractor, or a subcontractor and another subcontractor, in order to fulfil the 
contractual obligations that form part or are the whole of the agreement or contract with 
Eskom for the supply of a product, material, or service for the purposes of advancing 
Eskom’s business interests. 


g) Supplier:  any person or organisation that supplies any product, equipment, or material. 


2.3.17 Contractor employee: Any employee employed by a contractor (that is, either a principal 
contractor or a subcontractor) to perform work for Eskom. 


2.3.18 Crime: An illegal/prohibited action (act) or omission that constitutes an offence that may be 
prosecuted by the state and is punishable by law. 


2.3.19 Disability: A condition that resulted from a disease/an illness, a trauma, or a health or 
safety-related incident and/or condition that prevents the person from performing his/her 
regular/normal individual functions/duties. This could be categorised as either a permanent 
partial, permanent total, or temporary disability: 


i. Both eyes; 
ii. One eye and one hand, or one eye and one arm, or one eye and one foot, or one eye 


and one leg; 
iii. Any two of the following not on the same limb: hand, foot, arm, or leg; 
iv. Hearing loss in one or both ears. 


 
a) Permanent total disability: an injury, other than one that results in death, that 
permanently and totally incapacitates an employee from following any gainful occupation or 
that results in the loss of use of any of    the following in any one incident: 


 
b) Permanent partial disability: an injury, other than one that results in death or 
permanent total disability, but that results in the complete loss of use of any member or part 
of a member of the body or any permanent impairment of functions of the body or part of it, 
regardless of any pre-existing disability of the injured member or impaired body function. 
This definition excludes the following: 
 


i.  Inguinal hernia; 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  9 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


ii.  Loss of fingernails or toenails; 
iii.  Loss of tip of finger without bone involvement; 
iv.  Loss of teeth; 
v.  Disfigurement.  


 
2.3.20 Employee: A person who has entered into, or works under, a contract of service, 


apprenticeship, or learner ship with an employer, whether the contract is express or implied, 
oral or in writing, whether the remuneration is calculated by time or work done and paid for 
in cash or in kind, or tacitly (by tacit agreement), and includes cases where such a person is 
under the control, instruction, and supervision of his/her employer, namely: 
a) Permanent employee , which includes: 


i. Full-time employees who work regular/normal working hours on a continuous basis;  
ii. Part-time employees who work a five-hour period daily on a continuous basis;  
iii. A person referred to as a learner (18.1) or an apprentice in the Conditions of Service 


for Bargaining Unit Employees. 
b) Non-permanent employee , which includes the following: 


i. Any person placed through a temporary employment service, including a labour 
broker/personnel agency, on a contractual basis, to perform work and who is 
remunerated by the temporary employment service and works under the control, 
instruction, and supervision of Eskom as the employer.  


  Note:   Medical surveillance of labour broker employees must be conducted by the 
labour broker according to the occupational risk exposure profile. Furthermore, the 
labour broker must provide a valid fitness for duty certificate to the SHEQ Department.  


ii. A bursar refers to an Eskom Holdings Limited employee who studies at a University, 
University of Technology or Technical Vocational Education and Training College by 
means of a full or part time further study bursary and is contractually bound to remain 
in Eskom’s employment on completion of such studies for a period determined by 
Eskom. 


iii. A casual employee refers to an individual employee who is a non-permanent worker, 
works less than 24 hours in any month and do not qualify for fringe benefits that does a 
once –off job or come in occasionally to do work for an employer when required.  


iv. Occasional employees who are employed for more than three successive calendar 
days for a specific purpose or a period not longer than six months and whose services 
will be terminated when the purpose has been accomplished or the period expires and 
shall include persons employed on a temporary basis for relief purposes. 


v. A vacation student under the supervision and/or direction of an employer, which 
includes university students, university of technology students, and matriculants who 
do not hold an Eskom bursary. 


vi. Any person employed in terms of a fixed-term contract.  
 
Note 1:  An apprentice, for the purpose of this document, means a person in training while 
on an Eskom site or any other site under Eskom’s supervision. 
Note 2:  An employee only has one employer at any given time. The employer is the 
person with whom he/she is in a contractual relationship of employment, even when 
he/she performs his/her contractual obligations for another person. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  10 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Note 3: A pensioner is not regarded as an employee, as the employee-employer 
relationship does not exist. 
Note 4:  For the purpose of the Mine Health and Safety Act, any contractor employee 
performing work on a defined mining site is regarded as an Eskom employee. 


2.3.21 Environment: Environment means the surroundings within which humans exist and that 
are made up of: 


a) The land, water, and atmosphere of the earth; 
b) Micro-organisms and plant and animal life; 
c) Any part or combination of (a) and (b) and the interrelationships among and between 


them; and 
d) The physical, chemical, aesthetic, and cultural properties and conditions of the foregoing 


that influence human health and well-being. 


2.3.22 Environmental aspect: Element of an organisation’s activities or products or services that 
can interact with the environment. 


2.3.23 Environmental impact: Any change to the environment, whether adverse or beneficial, 
wholly or partially resulting from an organisation’s environmental aspects. 


2.3.24 Environmental legal contravention – incident : Incidents  where a provision of 
environmental legislation (national, provincial, or local) and/or condition of an environmental 
approval (for example, environmental authorisation, water use licence, waste licence, 
licence in terms of the National Forests Act) or any other legal document issued in terms of 
environmental legislation is contravened.  


Note: Environmental legislation refers to legislation or legal requirements that has/have, or 
potentially has/have, an impact on activities interacting with the physical environment as 
defined in NEMA, including, but not limited to, events that result in either air pollution, 
sterilising the soil, or destroying rare, endangered, or protected fauna or flora (as set out in 
the NEMA: Biodiversity Act or provincial environmental ordinances) or result in making any 
water resource unfit for its original purpose, such as domestic, agricultural, or industrial use, 
or reduce the water quality to such a state that human intervention is required to restore it to 
its original quality. 


2.3.25 Environmental, occupational health and safet y incident: An incident that could, or does, 
result in human injury or illness, environmental pollution and/or degradation, excluding: 


a) Property damage where there was no potential for injuries or environmental damage; 
b) Crime-related incidents where there was no potential for injuries or environmental 


damage; and 
c) Motor vehicle accident incidents where the vehicle was stationary and unoccupied or any 


incidents of windscreen chips/tyre damage, with no serious or potential consequences. 


Note:  There can only be one near-miss incident per event, notwithstanding the number of 
people involved. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  11 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.26 Environmental, occupational health and safet y incident feedback report: It is a 
management tool for sharing the incident description and immediate lessons learnt. 


2.3.27 Environmental legal contravention - incident  in terms of the Operational Health 
Dashboard (OHD): These are specific cases of environmental legal contravention- 
incidents that are considered of very high significance to Eskom in that they have a very 
high environmental impact or business impact or illustrate a significant failure of business 
systems. They are identified in terms of the criteria below. If any one of the criteria below is 
relevant to a specific contravention of environmental legislation, then that environmental 
legal contravention - incident is classified as an “environmental legal contravention - 
incident in terms of the Operational Health Dashboard (OHD)”: 


a) The environmental legal contravention – incident: Results in formal censure from 
government.  These are a compliance notice, a directive, a fine (including a NEMA 
section 24g), prosecution. 


b) Is not reported through the initial notification to the applicable department. 
c) Is considered a repeat environmental legal contravention (using the process flow found 


in Appendix A of this document).  
Note:  This criterion can only apply if the previous incident was classified as an 
environmental legal contravention incident. 
d) The “safety” (corrective and preventative) measure is not implemented within 30 days 


after the due date.  
 


2.3.28 Event: An event is any observable or extraordinary phenomenon or occurrence. An event 
could be the product of a chain of occurrences. 


2.3.29 Environmental event: Where an incident results in an environmental consequence that is 
low/minimum or minor/moderate as per the priority matrix provided in this document. 


2.3.30 Fatality: A fatality is an incident occurring at work, or arising out of, or in connection with, 
the activities of persons at work, or in connection with the use of plant or machinery, in 
which, or in consequence of which, any person (that is, employee, contractor, or member 
of the public) dies, regardless of the time intervening between the injury and/or exposure to 
the cause and death. The date of the incident will reflect the date on which the incident 
occurred, irrespective of the date of death.  


Note:  This excludes the death of a person (employee or contractor employee) while at the 
workplace and on duty who dies as a consequence of any activity not directly related to the 
course and scope of the deceased’s employment (for example, death from natural causes, 
etc.). 


2.3.31 First-aid injury: An incident which resulted in a work related injury that requires first aid 
treatment and does not require further treatment by a medical professional. Therefore the 
following will be regarded as First Aid treatment cases where: 
a) No medication is required; 
b) No subsequent medical treatment is required; 
c) No referral to a medical professional (i.e. Medical doctor, Nurse, or Paramedic) is 


required and; 
d) The affected employee is able to resume work after the injury has been treated. (See 


3.5.1 for classification requirements). 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  12 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.31 Flash report: It is a notification document informing the business of an incident that has 
occurred. 


2.3.32 Home/permanent place of resident:  A person’s physical address at which legal 
proceedings may be instituted. 


2.3.33 Horseplay: Rough or boisterous play or pranks that occur at the workplace. Horseplay can 
be activities such as joking that includes physical contact, playing around, racing, grabbing, 
foolish vehicle operation, and social pressure to participate in unsafe acts, harassment and 
unauthorized contests. 


2.3.34 Oil Spill incident: Any hydrocarbon (oil, diesel, jet fuel, etc.) spillage refers to the release 
of liquid petroleum hydrocarbon into the environment (includes soil and water) which could 
or does result in environmental damage, and/or pollution or degradation.  All ‘insignificant’ 
spills as per the outcome of the spill assessment table (document number 240-47176039) 
should not be considered as incidents, where the table is correctly applied. 


2.3.35 Immediate action: Steps taken after the incident in order to contain or minimise further 
damage/injuries. 


2.3.36 Immediate causes: The sub-standard acts and/or conditions or factors that directly 
precede an incident. In most cases, they can be detected by our senses (that is, they can 
be seen, heard, smelled, touched, and sometimes tasted). These causes are readily 
apparent or evident and immediately precede the contact in a causation sequence/model. 


2.3.37 Incident management: Incident management is an integral function of risk management 
and is aimed at reducing the impact of incidents, enabling corrective action to be taken and 
changed practice to be introduced. It also allows for learning from the incidents that have 
occurred to prevent similar incidents from happening or to mitigate their impact. This 
includes the effective communicating, reporting, measurement, recording and investigation 
of incidents. 


2.3.38 Irregular place of work: Any other workplace, excluding the regular place of work. 


2.3.39 Lay-down area: Any physical space allocated to a contractor or other service provider for 
the purpose of storage of material or equipment or development of associated infrastructure 
required to supply a service or function. 


2.3.40 Lost-time injury (LTI): A work injury, including a fatality, that arises out of, and in the 
course of, employment and that renders the employee or contractor unable to perform 
his/her regular/normal work on one or more full calendar days or shifts other than the day or 
shift on which the injury occurred. 


Note: Normal work refers to any work where a person can perform his/her normal duties 
without restriction. This will apply if a person is booked off sick by a medical practitioner 
(e.g. acute stress), registered psychologist (e.g. post-traumatic stress disorder), and/or 
psychiatrist and it will be regarded as lost time. 


This also includes, but is not limited to, the following: 


a) Amputation or permanent loss of the use of a limb or part of it is classified as a lost- 
time injury. 


b) All bone fractures are classified as lost-time injuries, even if no time was lost. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  13 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) Any incident that occurs while an employee is off duty and where he/she, because of the 
situation at that time and his/her expertise, puts himself/herself on duty in order to save a 
life, or to protect Eskom’s property, or to conduct any duty during an emergency 
situation, in this way furthering Eskom’s business. Such an incident will be regarded as a 
lost-time injury. 


d) This includes restricted duty as per definition. 


2.3.41 Lost-time injury rate (LTIR): The LTIR is a proportional representation of the work related 
fatalities, lost-time, excludes the Occupational Diseases and Third Party at Fault incidents 
(incidents including any motor vehicle or crime-related incidents ascribed solely to another 
party being at fault), and all passengers in commuting incidents. It is used internationally as 
an indicator or measure of health and safety performance. The figure 200 000 refers to the 
average number of hours worked by 100 employees in one year. The LTIR reflects a rough 
estimate of the percentage of the workforce that suffered a lost time injury incident based on 
a 12-month moving index.  


2.3.42 Lessons learnt: Valuable information to be shared immediately after an incident has 
occurred in order to create awareness and to prevent reoccurrence of a similar incident. 


2.3.43 Machinery: Means any article or combination of articles assembled, arranged, or 
connected and that are used, or intended to be used, for converting any form of energy to 
perform work or that are used, or intended to be used, whether incidental thereto or not, for 
developing, receiving, storing, containing, confining, transforming, transmitting, transferring, 
or controlling any form of energy. 


2.3.44 Management: Management comprises of directing and controlling a group of one or more 
people or entities for the purpose of coordinating and harmonising that group towards 
achieving a goal. Management often encompasses the deployment and manipulation of 
human resources, financial resources, technological resources, and natural resources. 


2.3.45 Medical injury: An incident that results in a work injury where active treatment (excluding 
prophylactic treatment that is intended to prevent disease or infection) is rendered by a 
medical practitioner or an occupational health nurse practitioner within a 24-hour period, 
and medication is prescribed, dispensed, and/or applied. The affected employee is able to 
resume work after the injury has been treated. 
Note: Treatment, for the purpose of this document, excludes any diagnostic or 
examination procedure or method used in the establishment of the extent of injuries or 
illnesses (for example, X-rays or scans). 
 


2.3.46 Medical observation: Medical observation includes observation at a hospital or medical 
facility as well as any observation by any other person under the instruction of a medical 
practitioner. The following conditions are relevant: A blow on the head; a blow on the 
abdomen, the inhalation of harmful gases and/or any other case where a medical practitioner 
deems observation necessary.  


      Where people are under medical observation: 
 


a) If, after medical observation for less than 48 hours from the time of injury (or a 
suspected injury known to have a delayed effect), the person is able to resume 
regular/normal duties, the case shall not be considered a lost time injury. The physician 
shall verify that the injury was relatively slight and that the person can return to work 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  14 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


without any permanent impairment or temporary total disability – the injury shall be 
classified as a medical treatment case; 


b) However, if the person is admitted for observation and medical treatment or medication 
is administered after the first 24 hours following the incident, the injury shall be 
classified/re-classified as a lost time injury; and 


c) If the person is unable to continue with his/her regular/normal duties after a medical 
observation, the condition shall be classified as a lost time injury. 
 


2.3.47 Member of the public: Any person who is not regarded as an Eskom employee or a 
contractor employee in any manner, including visitors and minors. Any family member or 
visitor of a teleworker in the event of an incident if present and involved in performing work 
for, or on behalf of, the teleworker at the house deemed to be the employee’s house will be 
regarded as a member of the public. 
Note: A visitor is any person visiting a workplace with the knowledge of, or under the 
supervision of, an employee. This could include a minor.  


2.3.48 Metrics: It is the calculation methodology for a key performance for a specific discipline 
(refer to Appendix B for EH&S measurements). 


2.3.49 Minor: A person who is under the age of 18, at which age one legally assumes adulthood 
and is legally granted the rights afforded to adults in society. According to the South African 
Constitution (section 28), child (that is, a minor) means a person under the age of 18 years. 


2.3.50 Motor vehicle accident: An accident involving mobile equipment used for furthering 
Eskom’s business. This excludes incidents where the vehicle was stationary and 
unoccupied, or any incidents of windscreen chips with no serious or potential 
consequences. 


2.3.51 Near-miss incident: Any OHS event that did not result in human injury or illness, but that 
had the potential, under different circumstances, to cause human injury or illness. 


2.3.52 NEMA section 30 incidents: An unexpected, sudden and uncontrolled release of a 
hazardous substance, including from a major emission, fire or explosion, that causes, has 
caused or may cause significant harm to the environment, human life or property. 


NWA section 20 control of emergency incident:  Includes any incident or accident in 
which a substance -   
a) pollutes, or has the potential to pollute, a water resource or 
b) has, or is likely to have, a detrimental effect on a water resource. 


 
2.3.53 Noise-induced hearing loss (NIHL) incident: Where an individual experiences a bilateral 


sensorineural hearing loss with a confirmed percentage hearing loss of 10% or more 
measured from the baseline, which must be based on two diagnostic audiograms, as per 
Instruction 171 issued by the Compensation Commissioner. 


 
2.3.54 Nuisance:  Nuisance is the bringing of a bodily part or organ to an abnormally excited or 


sensitive condition. 
 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  15 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.55 Number of days lost through lost-time injury : The total number of full calendar days that 
an injured person is unable to perform his/her regular/normal duties as a result of a work 
injury. The total does not include the day on which the injury occurred or the day on which 
the injured person returned to work, but it does include the intervening Saturdays, Sundays, 
public holidays, or plant-shutdown days. In a case where the injured person’s service was 
terminated, the number of days lost would be determined by the medical practitioner 
involved. 


2.3.56 OHS event: Where an incident could or does result in a human injury or illness. 


2.3.57 Occupational disease/illness: Any confirmed disease/illness arising out of, and in the 
course of, an employee’s employment and that is listed in Schedule 3 of the COID Act or 
any other condition as determined by an occupational medical practitioner. In the case of 
employees placed through a labour broker, the onus is on the relevant OU/BU to ensure 
that the pre-employment medical examinations are done. 


2.3.58 Operating unit/business: Any defined unit within the Eskom environment, operating as an 
operational unit. In the context of this document and in terms of health and safety, any 
reference to an OU/BU includes a defined unit within any Eskom group, division and its 
subsidiaries. 


2.3.59 Operating/business unit manager: The Responsible Manager at an operating/business 
unit. 


2.3.60 Pensioner: A pensioner is a person who has retired and now collects a pension. It is, 
accordingly, implied that the person has stopped employment completely. 


2.3.61 Plant: This includes fixtures, fittings, implements, equipment, tools, appliances, and 
anything that is used for any purpose in connection with such plant. 


2.3.62 Post-traumatic stress disorder/syndrome: A mental disorder/syndrome certified by a 
qualified psychiatrist, following exposure to an extreme traumatic work-related event or 
stressor. 
Note:  Where a person is booked off or placed on restricted duty, the medical certificate 
must be issued by a psychiatrist. 


 
2.3.63 Pre-existing condition/medical impairment : An incident arising out of, and in the course 


of, employment shall be considered as:  
 


a) Non-work related if the incident arises solely  as a result of a pre-existing 
condition/medical impairment and if a worker without such a condition/medical impairment 
would not have suffered such an incident; or  


b) Work-related if the incident arises where the pre-existing condition/medical impairment 
may have been a contributing factor.  


Note:  The decision with regard to the impact/implication of such pre-existing 
condition/medical impairment must be confirmed by an Eskom medical practitioner. 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  16 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.64 Property damage: Damage to Eskom’s assets. 


2.3.65 Public fatality: The death of a member of the public. 


2.3.66 Public incident: Direct or indirect exposure to Eskom’s product or activities caused by sub-
standard acts and/or conditions that result in, or have the potential to cause, physical harm 
to members of the public, damage to property, or interruption of business. 


 
2.3.67 Public Recordable Fatality Incident (PRFI, p reviously called public Sustainability 


Index fatality) 
a) A PRFI is an incident resulting in the electrocution of a member of the public by coming 


into contact with Eskom apparatus, but excluding electrocution resulting from criminal 
activities. Minors being electrocuted as a result of criminal activity will be regarded as a 
public recordable fatality incident; or 


b) Any work-related incident where an Eskom employee or contractor is responsible for the 
death of a member of the public, excluding incidents where a member of the public was 
solely at fault. 


2.3.68 Recordable incident 
a) Any injury that must be recorded in terms of the OHS Act (General Administrative 


Regulations, section 9), as well as section 23 of the MHSA, as well as public fatalities 
that meet the following criteria:  


b) Minors being electrocuted as a result of criminal activity. 
c) Any other fatality involving a member of the public.  
d) Any other work-related incident where an Eskom employee or contractor is responsible 


for the death of a member of the public. 


2.3.69 Recording: The process of capturing data or translating information into a format stored on 
a storage medium (often referred to as a record) for the collection of data. 


 
2.3.70 Repeat incident 


2.3.71.1 OHS incident 
Any incident where there is clear evidence that the incident is of the same type and with the 
same root cause(s).  
A repeat incident applies to incidents involving employees, contractors and/or members of the 
public that reoccurred at least within a three-year period: 


a) All incidents within the same OU/BU; 
b) All lost-time injuries within the same Eskom Group/Division or Subsidiary;  
c) All fatalities at all Eskom sites, including subsidiaries. 


 
2.3.71.2 Environmental incident 
Any incident where there is clear evidence that the incident is of the same type and with the 
same root cause(s). 


 
2.3.71 Repeat Environmental legal contravention – i ncident: The following must be true, using 


Appendix A for an environmental legal contravention – incident to be classified as a repeat: 


 


a)  Did the incident take place within 12 months of the previous environmental legal      
contravention - incident? 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  17 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


b) Did environmental legal contravention-incident take place within the same BU  (for 
example, transmission grid, Distribution operating unit, power station, Group Capital 
project)? 


c) Is the environmental legal contravention - incident related to the same section of 
legislation and/or  the same licence condition, previously classified as a legal 
contravention - incident? 


d) Is the environmental legal contravention -incident related to the same root cause ? 
e) Have the safety measures (corrective and preventive actions) identified to address the 


previous incident been implemented as per the agreed time frames, such that there was 
an opportunity to prevent the present environmental legal contravention - incident? 


 
2.3.72 Reportable incidents: An incident, as defined in section 24(1) and section 25 of the OHS 


Act, as well as the MHSA, section 23, but including a traffic incident on a public road and 
electrical contact incidents involving members of the public. This includes the uncontrolled 
exposure of persons to occupational hygiene stress factors. It also includes significant 
environmental incidents (NEMA section 30, NWA section 20, incidents, and legal 
contraventions) that have caused, or may cause, significant pollution or degradation of the 
environment, and incidents that are, or have resulted, in contravention of legislation. 


2.3.73 Restricted duty: A work-related injury or illness that results in an employee/contractor 
being unable to fully perform one or more of his/her routine functions for a full working day 
from the day after the injury or illness has occurred and certified by a qualified medical 
practitioner. All restricted-duty incidents will be regarded as lost-time injuries.  


Note 1: Where the term “light duty” is used, it will be regarded (by implication) as  restricted  
duty, and therefore, the injured is regarded as not fit for normal duty as specified in the first 
medical or any other medical report.  


Note 2: OU/BU to ensure, in cases where an individual is on restricted duty for a period of 
14 days or more, that such cases must be reported to the Department of Labour. 


2.3.74 Responsible Manager: Any person appointed as a manager in terms of the Roles and 
Responsibility Procedure (240-62582234). 


2.3.75 Risk management: Risk management is the human activity that integrates the recognition 
of risk, risk assessment, developing strategies to manage it, and mitigation of risk using 
managerial resources, with the objective to reduce different risks to an acceptable level. 


2.3.76 Root cause (basic or underlying cause): The underlying, deeper, more fundamental 
cause(s) that allow(s) the immediate cause(s) to exist, which include(s) human (personal) 
and workplace factors. 


2.3.77 Regular place of work: That part of the workplace where the employee’s office/workstation 
is, and/or he/she will, for example: 


 
a) Report for duty and/or regularly attend meetings; 
b) Receive his/her job cards and/or principal work instructions; 
c) Perform his/her administrative functions; 
d) Performing work / receiving training at the same venue for more than five consecutive 


working days.  
 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  18 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.78 Safety measures (corrective and/or preventiv e actions/recommendations): Actions 
identified to correct and/or prevent the reoccurrence of an incident. 


2.3.79 Secondment: Any employee performing work (including training, lecturing/facilitating) at 
another OU/BU or external company, which is part of a formal written arrangement. 


2.3.80 Serious incident:  
a) Any incident that results in a person being admitted to ICU for more than three days; 


and/or 


b) Any incident involving persons where a dangerous substance was spilled, the 
uncontrolled spill of any substance under pressure took place, machinery or any part of it 
fractured or failed, resulting in flying, falling, or uncontrolled moving object(s), where 
machinery was released out of control, and uncontrolled release of energy (e.g. steam 
release, electrical, etc.). 


2.3.81 Severity indicator: An indicator recording the number of lost-time injuries (including 
restricted duty days) according to their severity and measured in accordance with the 
number of calendar days lost and is classified in periods of one to three days, four to 13 
days, or ≥ 14 days.  
Note: In case a person is booked off as a result of work-related injury, it must be captured 
as accident leave. 


2.3.82 Severity rate: The severity rate provides a proportional representation of the calendar days 
lost through lost-time and restricted duty injuries as a percentage of the number of working 
hours worked (based on a 12-month moving index). It is an indication of the seriousness of 
the fatalities and injuries experienced in terms of days lost, according to COID Act 
schedules, where the number of days lost for a fatality equals 6 000 days. 


2.3.83 Significant environmental Incident: Where an incident results in an environmental 
consequence that is “major” or “serious/critical” as per the priority matrix within this 
document or is an environmental legal contravention-incident, environmental legal 
contravention - incident in terms of the OHD, or a NEMA section 30 and NWA section 20 
incidents. 


2.3.84 Site: The location of an event, structure, or object, whether actual, abandoned, or an 
archaeological site, decommissioned site, present or planned, and whether it has defined 
boundaries or not (refer to definition of workplace boundaries). 


2.3.85 Team-building or sports days: Any event with the aim of promoting the enhancement of 
working relationships and/or employee well-being that has been organised by Eskom, a 
contractor, or stakeholder, and permission to attend the event has been granted by the 
employer prior to the event. 


2.3.86 Business function/ event/meeting: Any event with the aim of conducting/promoting 
Eskom business including award functions. 


2.3.87 Supervision: An action necessary, by a competent person appointed in the role of 
supervisor, to ensure: 
a) The performance of work activities; 
b) The health and safety of any person at work and/or any person  affected by activities 


 arising out of, or in connection with, the activities of persons at work, or in connection with 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  19 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 the use of plant or machinery. 


2.3.88 Temporary disability: A disability that is of a temporary nature. 


2.3.89 Temporary place of residence: A non-permanent place of residence utilised by an 
employee while on Eskom business for five consecutive days or less. 


2.3.90 Total recordable injury rate (TRIR): The TRIR is a proportional representation of the work 
related fatalities, occupational diseases/illnesses, lost-time and medical injuries, excluding 
all passengers in commuting incidents. It is used internationally as an indicator or measure 
of health and safety performance. The figure 200 000 refers to the average number of hours 
worked by 100 employees in one year. The TRIR reflects a rough estimate of the 
percentage of the workforce that suffered a recordable incident based on a 12-month 
moving index.  


2.3.91 Type of contact: It is the primary exposure, source of energy, substance or environmental 
impact that resulted from an incident or a near-miss incident.  This includes the identification 
of the manner in which the contact occurred i.e. General Agency. 


2.3.92 Work: Means work as an employee or as a self-employed person, and for such purpose an 
employee is deemed to be at work during the time that he is in the course of his 
employment, and a self-employed person is deemed to be at work during such time as he 
devotes to work as a self-employed person. 


2.3.93 Work injury: Injury to Eskom and/or contractor employees, arising out of, and in the course 
of, employment, including occupational diseases/illnesses and exposures reportable in 
terms of sections 24 of the OHS Act. 


2.3.94 Work-related incident: Any incident occurring at any workplace, arising out of, or in 
connection with, the activities of persons at work (whether authorised or not authorised), or 
in connection with the use of plant or machinery, or any incident referred to that has to be 
investigated under section 12 of the Aviation Act, 1962 – Civil Aviation Regulations, 2011. 
Incidents happening within the workplace boundaries as a result of hazards present in the 
workplace should be regarded as work-related.   
Note 1:  Incidents involving contractor employees will only be regarded as Eskom work-
related incidents if the service provider to the contractor was performing work within the 
contracted scope between Eskom and the principal contractor or the principal contractor 
and the subcontractor, whether it occurred on site or not.  
Note 2:  Whether the incident is work-related or not, it must be reported to the 
Compensation Commissioner. 
 


2.3.95 Working hours of exposure: Calculation of working hours must be consistent with 200 
hours per employee per month. 


2.3.96 Workplace: Any premises or place where a person performs work in the course of his/her 
employment, including a private home or portion of it, in the case of telework, a campsite, a 
lay-down area, a temporary place of residence, a vehicle, aircraft, train, boat, or vessel. 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  20 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


2.3.97 Workplace boundaries: On Eskom property, the boundaries of the workplace include the 
area where a person enters through any defined first point of entry, for example, entrance, 
gate, boom, etc. The actual point of entry/exit will be the point where Eskom actively 
exercises control over such site, entrance/exit area, gate, or boom.  
 


In the case of a lease agreement, the first access point where a person enters through any 
defined first point of entry, for example, entrance, gate, boom, etc will be regarded as the 
boundary of the leased premises.  


In the absence of the above, any area up to the point where the employee actual workplace     
boundary will be where the employee enters or leaves his/her vehicle or public transport. 


 
2.3.98 Telework or working from home: Work performed by an employee at his/her home, in the 


course and scope of his/her employment, for the employer as formally agreed and/or 
directed by the employer. During the time that such work is performed, the appropriate area 
(either predefined or the house and/or property as a whole) will be regarded as the 
“workplace”. The onus is on the Responsible Manager to ensure a safe working 
environment, and he/she is obliged to conduct an assessment in order to ensure, as far as 
reasonably practicable, the identification of obvious potential hazards related to telework.  
Note:  The supervisor is to conduct a risk assessment on the “workplace” in any suitable 
manner as appropriate for the particular circumstances at that time. 
 


2.3.99 Work-related travel: It is when an employee is travelling for or on behalf of Eskom. 


 


2.4 Abbreviations 
Abbreviation Explanation 


AEL Atmospheric Emission Licence 


A&FD Audit and Forensic Department 


CC Compensation Commissioner  


DEA Department of Environmental Affairs 


DoL  Department of Labour  


EEIC Eskom Environmental Incident Committee 


Eskom  Eskom Holdings SOC Limited  


Exco  Executive Committee  


H&S Health and Safety 


HR Human Resources 


ICU  Intensive Care Unit  


INO  Initial Notification of Occurrence  


LTI Lost-Time Injury 


LTIR Lost-Time Injury Rate 


Manco Management Committee 


MHSA Mine Health and Safety Act 


NEMA National Environmental Management Act 


NIHL Noise-Induced Hearing Loss 


NPA National Prosecuting Authority 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  21 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Abbreviation Explanation 


NWA National Water Act 


OEL Occupational Exposure Limit 


OH Occupational Hygiene 


OHD Operational Health Dashboard 


OHS Occupational Health and Safety 


OHS Act Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 


OU/BU Operating Unit/Business Unit 


PCM Process Control Manual 


PHL Percentage Hearing Loss 


PPE Personal Protective Equipment 


PRFI Public Recordable Fatality Incident  


RCat Root Cause Analysis Technique (IRCATM RCat) 


SAIOH Southern African Institute for Occupational Hygiene 


SAP Systems, Applications, and Products in Data Processing 


SAP EH&S SAP Environmental Health and Safety (system) 


SDIC Safety Data Integrity Committee  


SHEQ  Safety, Health, Environment and Quality 


SOC State-Owned Company  


TRIR Total Recordable Injury Rate 


WCL Workman’s Compensation Letter  


2.5 Roles and Responsibilities 


Eskom Holdings SOC Ltd and its subsidiaries shall take all reasonably practicable steps to prevent 
all incidents and harm to any person and the environment, including members of the public and 
damage to property. 


The Responsible Managers shall be responsible for: 


a) Implementing this procedure; 


b) Communicating to all their employees, contractors and contractor employees the importance 
of compliance with this procedure and the consequences of non-compliance. This includes 
communicating duty of care and refusal to perform an unsafe task to all new employees and 
new contractors; 


c) Implementing a monitoring process for ensuring understanding of, and compliance with, duty 
of care and refusal to perform an unsafe task; and 


d) Ensuring understanding of, and compliance with, the requirements of this procedure.  


 Note: Joint ventures: there may be occasions when Eskom and other organisations combine 
resources to carry out a joint venture. Unless otherwise stipulated, each company in the joint 
venture must be liable for its own contraventions and could, therefore, be prosecuted in its own 
name, without reference to any of the other companies involved. 


Feedback on defined incidents in this procedure is given to following committees: 


a) Environmental incidents – EEIC and/or Environmental Steering Committee. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  22 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


b) Occupational Health and Safety – OHS Steering Committee and Manco. 


2.6 Process for Monitoring 


Compliance with the requirements of this procedure shall be audited as per the first- to third-tier 
audit process, as defined. The OU/BU is responsible for its own monitoring; all other assurance 
providers will monitor compliance with this procedure. Incident information on SAP EH&S, reports 
and supporting documentation must be readily available from the Responsible Manager for 
auditing and verification purposes. In the case where a manual Incident Register/ Occurrence Book 
is in use the onus is on the Responsible Manager to ensure that an effective verification process is 
in place. During the process of Incident Prioritisation (see 3,4), the Responsible Manager is to 
provide a process in relation to the specific need of his/her area of responsibility that will specify 
the manner in which and by whom, prioritisation of incidents will take place.   


2.7 Related/Supporting Documents 


Parties using this document shall apply the most recent edition of the documents listed below:  


[1] Annexure 1: as required by the OHS Act – document number 240-100003427. 


[2] OHS Incident Investigation Report template – document number 240-77046688. 


[3] WCL forms. 


[4] EEIC environmental legal contravention - Incident closure certificate – document number 240-
76507067.  


[5] NEMA Section 30 Emergency Incident Report Template – can be obtained from the DEA 
website. 


[6] Spill assessment table – document number 240-47176039. 


[7] Spill assessment feedback form – document number 240-47176095. 


[8] AEL incidents: Initial report in terms of NEMA Section 30 – document number 240-7667761.  


[9] Atmospheric Emission Licence Practice Note – document number ENV15-R071.  


 


 


 


 


 


 


 


 


  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  23 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3. Environmental, Occupational Health and Safety In cident Management Procedure 


The following steps describe the process of incident management and are described in detail in the 
remainder of the document:  


1. Incident identification.  
2. Initiation and execution of emergency response. 
3. Notification and reporting to relevant stakeholders.  
4. Incident prioritisation. 
5. Classification and recording of incidents.  
6. Incident investigation.  
7. Management of safety Measures - Implementation and monitoring of safety measures of 


incidents. 
8. Incident Close-out. 
9. Incident Communication – occurs throughout the incident management process and is not 


necessarily a standalone step. 


3.1 Incident Identification 


Identify or recognise that an incident has occurred. There are two types of identification or 
recognition, that is, direct observation and indirect observation. 


To ensure identification of incidents, the Responsible Manager should provide employees with 
knowledge and skills as well as foster a culture and environment that motivate employees to 
immediately identify incidents as they occur. 


Direct observation includes seeing the incident happening or being involved in the incident. For 
occupational disease incidents, direct observation refers to medical surveillance conducted by the 
occupational health practitioner. 


Indirect observation includes learning of the incident through, for example, complaints, feedback, 
or information provided by internal stakeholders (for example, Eskom employees or contractor 
employees) or external stakeholders (for example, authorities, members of the public, etc.). 


Environmental incidents are identified through direct observation and indirectly through audits, 
reviews, a compliance notice, a directive, a fine (including a section 24(g)) and/or prosecution from 
the authority. Incidents identified through indirect observation shall be managed in SAP EH&S 
parallel to the OU/BU audit tracking process. 


3.2 Initiation and Execution of Emergency Response 


a) Emergency response includes, but is not limited to, the following: 


i. Rescue operations. 


ii. Ensuring that the scene is safe during and after the incident. 


iii. Providing emergency care (that is, first-aid treatment) to the injured to stabilise him/her 
and prevent further injury and obtaining medical assistance, where necessary and/or 
applicable.  


b) Activate the appropriate emergency response actions in terms of the site emergency 
preparedness plan/procedure. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  24 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) In the event that the incident may result in significant pollution or degradation of the 
environment, reasonable measures must be taken to prevent such pollution or 
environmental degradation from occurring, continuing or recurring.  


d) In order to prepare for proper emergency response, the Responsible Manager must assess 
the potential risks and develop a suitable response plan to address the risks. In the event of 
an incident, emergency care must be provided in accordance with the emergency response 
plan for the area. 


e) The supervisor/manager must ensure that the injured person is transported to the 
doctor/hospital and that the relevant Employers Report (WCL) is duly completed.  


f) The supervisor/manager must ensure that a copy of the person’s identity document is 
available to the treating doctor/hospital, which will facilitate prompt treatment. The 
supervisor/manager may accompany the employee to the doctor/hospital, with the purpose 
of the supervisor/manager ensuring that the injured receives the best medical care and that 
the relevant medical reports are completed correctly. 


g) The OU/BU Responsible Manager to ensure that specific work instructions relating to 
emergency response are available on site and executed accordingly.  


h) Emergency response includes collection of evidence which will assist in establishing the   
root cause. When collecting evidence, take cognisance of the 5 P’s (people, position, parts, 
paper and process evidence). 


i) Collection and preservation of evidence: 
i. Immediate actions at the scene following an incident can disturb or potentially remove   


vital physical items and information important to the investigation. 
ii. The responsible manager is responsible for ensuring that complete and correct evidence 


and records are identified, collected, recorded, and obtained, archived, stored and 
preserved to support the investigation of the incident. 


iii. The Responsible Manager must take steps to preserve physical items, computer data and 
other relevant information until the incident investigation begins. 


iv. No person should be allowed to remove, disturb or tamper with any evidence until 
authorised to do so by the responsible manager or regulatory authority. 


 


3.3 Notification and Reporting to Relevant Stakehol ders 


All environmental, occupational health and safety incidents must be reported. If information is not 
readily available, the available information must be used and an updated notification must be 
distributed to all stakeholders as more information becomes available. The Action and 
responsibility requirements (See 3.4.4) under the Incident Prioritisation section must be referenced 
to identify who needs to be notified.  


Note:  In the case of incidents involving crime and firearm-related incidents, the relevant Security 
Department at the OU/BU, as well as the Eskom Corporate Security Risk Management 
Department, must be notified. 


3.3.1 Internal stakeholders to be notified for envi ronmental, occupational health and safety 
related incidents include the following: 


a)  All incidents  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  25 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


i. Supervisor.  


ii. Responsible Manager. 


iii. Occupational health and safety and environmental representative. 


iv. Safety and/or Environmental Department. 


v. Occupational Health Department (if applicable). 


vi. If applicable, Fire Management or Emergency Control Department.  


b)  Specific incidents  


i. In the case of a fatality or a serious incident, notify local Management and Sustainability   
Systems Department immediately. 


ii. In the case of receiving any notification in terms of the OHS Act, sections 30, 31, or 32, or 
in the case of a summons received from the NPA, or where there is a possibility of liability, 
immediately notify the Sustainability Systems and Legal Departments. 


iii. In the case of significant environmental incidents, (e.g. legal contravention - incident, 
NEMA section 30 incident and NWA section 20 incident), the incident must be reported 
within 24 hours or as soon as reasonably practicable after knowledge of the incident within 
the OU/BU, to the divisional EEIC representative and to Sustainability Division: 
Environmental Management Department (refer to Appendix D for further guidance). 


iv. All AEL emission exceedance notifications and investigation reports must be submitted to 
the Sustainability Division: Environmental Management Department for review prior to 
reporting and submitting all documents to the authorities. Reference document: Initial 
report in terms of NEMA Section 30 – document number 240-7667761. 


3.3.2 Eskom employees performing work temporarily a t another Eskom OU/BU 


a) The Responsible Manager at the OU/BU where the incident occurred shall report to the 
relevant stakeholders. 


b) The affected employee’s own OU/BU Responsible Manager is responsible for reporting the    
incident to the CC. 


3.3.3 Eskom employees performing work at another or ganisation 


If an incident occurs during regular/normal work, the reporting to the CC must be done by the 
original OU/BU, although the external organisation (where reasonably practicable) must assist with 
completing the documentation for submission to the CC. 


3.3.4 Notification requirements for employee and co ntractor fatalities 


a) The OU/BU must provide to the Sustainability Systems Department, immediately or within 
24 hours, detailed information relating to the circumstances of the incident, including details 
of the  deceased’s next of kin, in order that an announcement can be compiled for 
communication to Eskom’s Board, Exco, Manco, and the rest of the organisation.  


b) The fatality announcement to be sent throughout Eskom must be signed off by the Group 
Executive or the acting Group Executive. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  26 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) Only the Eskom Communication Department and/or the Eskom spokesperson may disclose 
information to the media and/or the public. 


d) Information can only be released to any external party after verification by the Eskom Legal 
Department. 


3.3.5 Notification requirements for occupational di seases 


Where an occupational disease/illness is confirmed by an Eskom occupational medical health 
practitioner, the Responsible Manager, supervisor, and occupational health and safety and 
environmental representative must be informed immediately. 


Management of occupational diseases: 


a) Incidents to be recorded on SAP EH&S and then each case will be discussed at the OU/BU 
statutory committees as required by law.  


b) On a quarterly basis have a standing item to discuss confirmed occupational diseases at the 
Group/ Divisional SHEQ meetings discussing trends, merging issues and management 
interventions. 


c) Once per year have a standing item at Manco Ops/Exco to discuss confirmed cases and 
actions. 
 


3.3.6 Notification to authorities and interested an d affected parties of environmental 
incidents 


a) An alarm report in terms of NEMA section 30 and an initial notification in terms of NWA 
section 20 must be submitted to the relevant authority within 24 hours or as soon as 
reasonably practicable after knowledge of the incident, as specified in Appendix D.  


 
b) All environmental legal contravention - incidents must be reported to the relevant authorities 


and interested and affected parties as stipulated in the condition of a licence and/or 
legislation. 


 
3.3.7 Capture Initial Notification 


3.3.7.1 Capture and communicate the initial notific ation 


a) Initial reports are reports that are submitted by any individual who is reporting an incident to 
the relevant OU/BU Environmental, Occupational Health and Safety Department. They can 
be provided in any form, for example, email, OU/BU internal flash report or INO.  


b) Initial reports are brief and limited to an outline of the known facts (that is, date, time, place, 
what happened, immediate actions taken, persons involved, and preliminary findings). 


c) Eskom’s occupational health staff or external medical practitioners shall, where reasonably 
practicable, be responsible for initially assessing the injury sustained and/or disease/illness 
contracted by a person in Eskom’s employment, arising out of, and/or in the course of, 
his/her employment. 


d) Eskom’s environmental practitioner shall, where reasonably practicable, be responsible for 
initially assessing the environmental damage arising out of the incident. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  27 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


e) The Responsible Manager must ensure that the initial notification is communicated as per 
the time frames specified in the Action and responsibility requirements table (see 3.4.4).  


3.4 Incident Prioritisation 


From the initial reports, the Responsible Manager, in conjunction with, and advised by, the 
occupational health and safety and environmental practitioner, must use the matrices provided  
from table 3.4.1 to 3.4.3 to determine the priority rating of an incident. The Responsible Manager is 
responsible for ensuring that all those involved in the prioritisation of incidents are in a position to 
understand and use the relevant matrices.  


The priority rating is utilised to: 


a) Ensure that appropriate management of the incident takes place; 
b) Determine the level of action following notification of the incident; 
c) Assist Responsible Managers with prioritising and classifying incidents; and 
d) Provide clear direction about the incident reporting and communication requirements. 


Steps involved in incident prioritisation: 


Step 1  


Determine the actual or potential outcome, consequence, and severity of the incident by using the 
Consequence table (3.4.1). Note: For OHS, use the actual outcome  for injuries and the potential 
outcome  for near-miss incidents.   


Step 2  


Determine the likelihood of a recurrence of this incident by using the Likelihood table (3.4.2). 
Repeat incidents must increase the likelihood profile of the incident. 


Step 3  


Quantify the level of risk associated with the incident by assigning a priority rating to the incident. 
Using the information obtained in Steps 1 and 2 of this process use the Priority matrix (3.4.3) to 
determine the priority rating. 


Step 4  


Determine the appropriate action to be taken, as described in the Action and responsibility 
requirements table (3.4.4). 


Step 5  


If the severity of the incident changes, that is, lost-time injury to a fatality or environmental legal 
contravention to OHD, the priority rating of the incident must be reviewed and amended, where 
necessary, including updating relevant information in SAP EH&S. 


  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  28 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.4.1 Consequences table 


Consequences  Low/minimum  Minor  Moderate  Major  Critical  
Fatalities/injur ies 
to Eskom and/or 
contractor 
employees  


First-aid or 
medical 
treatment case. 


Lost-time injury 
where fewer 
than 14 days 
were lost. 


OHS Act section 
24 (a) (excluding 
fatality).   


A single 
fatality, a 
serious 
incident (see 
definition of 
Serious 
Incident).  


Multiple 
fatalities. 


Occupational 
Hygiene 
Incidents  


Resulted in 
irritation or 
nuisance  


Resulted in 
single reversible 
occupational 
illness  


Resulted in 
multiple reversible 
occupational 
illness  


Resulted in 
single 
permanent 
disability/ 
irreversible 
occupational 
illness. 


Note: All NIHL 
cases where 
the PLH shift 
of between 
6.4% and 10% 
will be 
regarded as 
incidents and 
need to be 
investigated in 
terms of SANS 
10083. 


Resulted in 
multiple 
permanent 
disability/ 
irreversible 
occupational 
illnesses. 


Note: All 
NIHL cases 
where the 
PLH shift of 
10% and 
greater will be 
regarded as 
incidents and 
need to be 
investigated 
in terms of 
SANS 10083. 


Fatalities/injuries 
to members of 
the public  


First-aid or 
medical 
treatment case. 


Incidents that 
resulted in 
hospitalisation 
(not ICU). 


Incidents that 
resulted in 
hospitalisation 
(ICU). 


A single 
fatality. 


Multiple 
fatalities. 


Occupational 
Hygiene near-
miss incidents 
(within the same 
OU/BU) 


 


 


Potential to result 
in irritation or 
nuisance.  


Potential to 
result in single 
reversible 
occupational 
illness. 


Potential to result 
in multiple 
reversible 
occupational 
illnesses. 


 


Potential to 
result in single 
permanent 
disability/ 
irreversible 
occupational 
illness.  See 
note 4 below. 


 


Potential to 
result in 
multiple 
permanent 
disability/ 
irreversible 
occupational 
illnesses.  
See note 4 
below. 


Eskom and/or 
contractor 
employee near-
miss incidents 
(within the same 
OU/ BU)  


Could have 
resulted, or 
previously did 
result, in a first-
aid or medical 
treatment case. 


Could have 
resulted, or 
previously did 
result, in a lost-
time injury 
where fewer 
than 14 days 
were lost. 


Could have 
resulted, or 
previously did 
result, in a lost-
time injury where 
14 days or more 
were lost. 


Could have 
resulted, or 
previously did 
result, in a 
single fatality 
or a serious 
incident. 


Could have 
resulted, or 
previously did 
result, in 
multiple 
fatalities.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  29 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Note 1:  Multiple means more than one.  


Note 2:  Where there are multiple injuries in the same incident with the same injury classification, 
the next consequence level needs to be adopted. 


Note 3:  Where there are multiple injuries in the same incident with different injury classification, the 
most serious injury classification will determine the consequence level to be adopted.  


Note 4:  All NIHL cases where the PLH shift is between 3.2% but less than 6.4% will be regarded 
as near-miss incidents and need to be investigated in terms of SANS 10083. (The given PLH-shift 
of 3, 2 % is the summation of the contributions to the PLH of 0.8% at 2 kHz, 0.3% at 3 kHz, 0.1% 
at 4 kHz plus 2% as listed in the table 1, plus 2 %). 


 


 


 


Consequences  Low/minimum  Minor  Moderate  Major  Critical  


Environmental - 
incidents  


Little or no 
ecological effect 
and no 
measurable 
impact on human 
health. 


Minor ecological 
effect. 
Ecological 
damage can be 
remedied within 
six months. 
Minor hazard to 
humans in the 
immediate 
vicinity. 


Aspect could 
result in a 
moderate 
uncontained or 
sustained 
environmental 
release, impacting 
the local 
environment only.  
Ecological 
damage can be 
remedied in less 
than one year. 
Health hazard to 
humans in the 
immediate vicinity, 
but not resulting in 
critical or fatal 
injury/illness. 


Aspect could 
result in a 
major 
uncontained or 
sustained 
environmental 
release, 
impacting the 
regional 
environment 
only. 


Ecological 
damage can 
be remedied 
within 1 year. 
Health hazard 
to humans in 
the immediate 
vicinity 
resulting in 
critical or fatal 
injury/illness. 
Incident gives 
rise to a legal 
contravention. 


Aspect has a 
recognised 
global 
environmental 
impact. 
Widespread 
or permanent 
local 
ecological 
damage. 
Remediation 
would take 
longer than 
one year. 
Could result 
in a major 
public health 
hazard. 
Magnitude is 
unknown. 
Incident gives 
rise to a legal 
contravention. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  30 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.4.2 Likelihood table 


Probability 
Categories 


Likelihood or recurrence 
of event  


Description  


Frequent, 
almost certain 


One or more times per 
month 


Is expected to occur again either immediately or within a short 
period of time (that is, within the next few weeks). 
 


Likely Occurs once per month Will probably occur in most circumstances (several times a 
year). 


Possible Occurs once per year or 
every two years 


Possibly will recur or may occur at some time (may happen 
every one to two years). 


Unlikely Occurs more than once 
within 10 years 


Possibly will recur or could occur at some time (may happen 
every three to ten years).  


Rare Occurs once after 10 
years or once in a lifetime 


Unlikely to occur or may occur only in exceptional 
circumstances (may happen every 10 to 100 years). 


3.4.3 Priority matrix 


 


Consequence/severity  


Low/ minimum Minor Moderate Major  Critical 


Likeli hood  Frequent, 


almost certain 
Moderate Moderate High Extreme Extreme 


Likely Low Moderate High Extreme Extreme 


Possible Low 
 Moderate  


Moderate Extreme Extreme 


 


Unlikely Low Low Moderate Extreme Extreme 


Rare Low Low Moderate Extreme Extreme 


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  31 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.4.4 Action and responsibility requirements 


  


 Low Moderate High Extreme 


Levels of 
management to 
be informed 


Need to inform 
middle manager and 
environmental 
practitioner (for 
environmental 
incidents). 


Need to inform 
OU/BU management. 
OU/BU environmental 
manager/ practitioner 
(for environmental 
incidents). 


Immediately inform 
Group Executive and 
his/her direct reports 
for OHS incidents. 
 
Environmental 
incidents - Notify the 
divisional EEIC 
representative and/or 
senior environmental 
manager and 
Sustainability 
Systems Department. 
 


 


 


Immediately inform the 
Chief Executive, Group 
Executive and 
Sustainability Systems 
Department for OHS 
incidents. 
 
Environmental 
incidents - Notify the 
Group Executive, 
divisional EEIC 
representative and/or 
senior environmental 
manager (and 
Sustainability Systems 
Department. 
 
Note: For occupational 
diseases inform the 
Group Executive.  


Levels of 
management to 
be informed of 
near- miss 
incidents 


Inform immediate 
supervisor or 
Responsible 
Manager. 


Inform immediate 
supervisor or 
Responsible 
Manager.  


Inform immediate 
supervisor and 
OU/BU Responsible  
Manager 


Immediately inform 
OU/BU Responsible 
Manager and 
Sustainability Systems 
Department. 


Employer 
investigation 
requirements 


Initiate investigation 
process within 7 
calendar days. 
Complete 
investigation within 
30 calendar days or 
as soon as 
reasonably 
practicable (see 
Note 3 below). 
 


Initiate investigation 
process within 7 
calendar days. 
Complete 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable (see Note 
3 below).  


Initiate investigation 
process within 48 
hours. Complete 
Investigation within 
30 calendar days or 
as soon as 
reasonably 
practicable (see Note 
3 below). 
 
 


Initiate investigation 
process within 24 
hours. Complete 
Investigation within 30 
calendar days or as 
soon as reasonably 
practicable (see Note 3 
below). 
 


 
Employer 
Investigation 
requirements for 
near-miss 
incidents, 
including 
Occupational 
Hygiene near-
miss incidents. 
(Note: Life-saving 
Rule violation will 
be investigated as 
per Life-saving 
Rule Procedure) 


No investigation 
required, remedial 
corrective action 
must be 
implemented. OHS 
Responsible 
Manager in the 
OU/BU shall analyse 
trends and 
investigate negative 
trends of concern. 


No investigation 
required, remedial 
corrective action must 
be implemented. 
OHS Responsible 
Manager in the 
OU/BU shall analyse 
trends and investigate 
negative trends of 
concern. 


Initiate investigation 
process within 7 
calendar days. 
Complete employer 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable (see Note 
3 below).  


Initiate investigation 
process within 7 
calendar days. 
Complete employer 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable (see Note 3 
below). 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  32 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


  


 Low Moderate High Extreme 
Chairperson of 
Employer 
investigation. 


Chaired by a person 
who is at least at 
Supervisor level.  
For occupational 
diseases, there must 
be at least a SAIOH 
registered 
Occupational 
Hygiene 
Technologist in the 
committee. 


Chaired by a 
person who is at 
least at MPS14 
level. For 
occupational 
diseases, there 
must be at least a 
SAIOH registered 
Occupational 
Hygiene 
Technologist in the 
committee. 


Chaired by a person 
who reports directly to 
the OU/BU manager 
who is at least at M17 
level.  For 
occupational diseases, 
there must be at least 
a SAIOH registered 
Occupational Hygiene 
Technologist in the 
committee. 


OU/BU responsible 
manager to appoint an 
independent 
chairperson (from 
another OU/BU as an 
investigator (at M17 to 
E-band level) in writing.  
Note 1:  The chairperson 
to liaise with 
Sustainability Systems 
on:  
1. the independent 
subject matter 
specialist(s);  
2. attendance by a 
Sustainability Systems 
representative; and  
3. on the legal 
investigation process 
which is to follow.  
 
Note 2 : For 
occupational diseases, 
there must be at least a 
SAIOH registered 
Occupational Hygiene 
Technologist on the 
committee. The 
chairperson for 
occupational disease 
related incident 
investigations, could be 
an independent 
manager from the same 
BU.  


Chairperson of 
near-miss 
investigation. 


No investigation 
required. 


No investigation 
required 


Chaired by an 
immediate   
Responsible Manager 
who is at least MPS14. 
For occupational 
diseases, a completed 
OH investigation 
guidance form should 
be evaluated by the 
SAIOH registered 
Occupational Hygiene 
Technologist prior the 
investigation. 


 


Chaired by direct report 
to the OU/BU manager 
(that is, power station, 
regional, or grid 
manager) at least M17 
level. For occupational 
diseases, a completed 
OH investigation 
guidance form should be 
evaluated by the SAIOH 
registered Occupational 
Hygiene Technologist 
prior the investigation. 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  33 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


  


 Low Moderate High Extreme 


 
Environmental 
investigation 
requirements 


Initiate investigation 
process within 7 
days. Complete 
investigation within 
30 calendar days or 
as soon as 
reasonably 
practicable. 
Investigation team 
shall be determined 
by OU/BU, in 
consultation with the 
OU/BU 
environmental 
practitioner. 


Initiate investigation 
process within 7 
days. Complete 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable. 
Investigate using root 
cause identification 
methodology). 
Investigation team 
shall be   determined 
by OU/BU, in 
consultation with the 
OU/BU environmental 
practitioner. 


Initiate investigation 
process within 48 
hours. Complete 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable. 
Investigate using root 
cause identification 
methodology. 
Investigation team 
and chairperson shall 
be determined by 
OU/BU, in 
consultation with the 
divisional EEIC 
representative, where 
needed, and/or 
Sustainability 
Systems Department. 


Initiate investigation 
process within 
24 hours. Complete 
investigation within 30 
calendar days or as 
soon as reasonably 
practicable. 
Investigate using root 
cause identification 
methodology. 
Investigation team and 
chairperson shall be 
determined by OU/BU, 
in consultation with the 
divisional EEIC 
representative, where 
needed, and/or 
Sustainability Systems 
Department. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  34 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


  


 Low Moderate High Extreme 


 
Classification 
and recording 
requirements  


 
Initial classification 
and recording of 
incidents must be 
done on SAP EH&S 
within 48 hours. Any 
change in 
classification must 
be done immediately 
when new 
information is 
available. Confirm 
classification during 
the investigation 
process. 
Fields to be 
completed for near-
miss incidents:  
entry type, 
Division/Group, 
date, time, short 
description of the 
event, work area, 
*accident location, 
involved person/s, 
*accident details, 
classification tab 
page, general 
agencies, occ. 
Hygiene agencies,  
type of contact 
immediate actions 
taken. 


 
Initial classification 
and recording of 
incidents must be 
done SAP EH&S 
within 48 hours.  Any 
change in 
classification must be 
done immediately 
when new information 
is available. Confirm 
classification during 
the investigation 
process. 
Fields to be 
completed for near-
miss incidents:  entry 
type,  Division/Group, 
date, time, short 
description of the 
event, work area, 
*accident location, 
involved person/s, 
*accident details, 
classification tab 
page, general 
agencies, occ. 
Hygiene agencies,  
type of contact 
immediate actions 
taken.  


 
Initial classification 
and recording of 
incidents on SAP 
EH&S must be done 
within 48 hours. 
Any change in 
classification must be 
done immediately 
when new information 
is available. Confirm 
classification during 
the investigation 
process. 
Fields to be 
completed for near-
miss incidents:  entry 
type,  Division/Group, 
date, time, short 
description of the 
event, work area, 
*accident location, 
involved person/s, 
*accident details, 
classification tab 
page, general 
agencies, occ. 
Hygiene agencies,  
type of contact 
investigation results, 
root cause analyses, 
safety measures, 
flash report details, 
immediate corrective 
actions, preliminary 
findings, lessons 
learnt.  


 
Initial classification and 
recording of incidents 
on SAP EH&S must be 
done within 48 hours. 
Any change in 
classification must be 
done immediately 
when new information 
is available. Confirm 
classification during the 
investigation process. 
Fields to be completed 
for near-miss incidents:  
entry type, 
Division/Group, date, 
time, short description 
of the event, work area, 
*accident location, 
involved person/s, 
*accident details, 
classification tab page, 
type of contact, general 
agencies, occ. Hygiene 
agencies, investigation 
results, root cause 
analyses, safety 
measures, flash report 
details, immediate 
corrective actions, 
preliminary findings, 
lessons learnt. 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  35 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


  


 Low Moderate High Extreme 


OHS Incident 
communication   


Notify the SHEQS 
department and 
local line 
management in 
writing immediately 
or no later than 24 
hours. Communicate 
the SAP EH&S 
Flash report to 
OU/BU management 
within 48 hours. The 
lessons learnt for 
OHS incidents with 
common 
causes/themes must 
be consolidated and 
circulated within the 
OU/BU on a 
quarterly basis. 


Notify the SHEQS 
department and local 
line management in 
writing immediately or 
no later than 24 
hours.  Communicate 
the SAP EH&S Flash 
report to 
Sustainability 
Systems Department 
and to management 
of the applicable 
Group/Division within 
48 hours. 
 
The lessons learnt for 
OHS incidents with 
common 
causes/themes must 
be consolidated and 
circulated within the 
Group/ Division on a 
quarterly basis. 


Notify the SHEQS 
department and local 
line management in 
writing immediately or 
no later than 24 
hours.  Communicate 
the SAP EH&S Flash 
report to 
Sustainability 
Systems Department 
and to management 
of the applicable 
Group/Division within 
48 hours. 
 
The OU/BU must, 
within three working 
days of the incident 
occurring, ensure that 
the lessons learnt are 
compiled and 
circulated within the 
Group/ Division. 


Notify the SHEQS 
department, local line 
management and 
Sustainability in writing 
immediately or no later 
than 24 hours.  
Communicate the SAP 
EH&S Flash report to 
Sustainability Systems 
Department and 
management of the 
applicable 
Group/Division within 
48 hours. 
The OU/BU must, 
within three working 
days of the incident 
occurring, ensure that 
the lessons learnt are 
compiled and 
forwarded to the 
Sustainability Systems 
Department to be 
distributed Eskom-
wide. 


Near-miss 
incident 
communication 


No communication 
of flash report 
required. 
 
Create awareness 
based on trends. 
 


No communication of 
flash report required.  
 
Create awareness 
based on trends. 
 


Notify the SHEQS 
department and local 
line management in 
writing immediately or 
no later than 24 
hours.  Communicate 
the SAP EH&S Flash 
report to 
Sustainability 
Systems Department 
and within the 
Group/Division within 
48 hours. 
 
The OU/BU must, 
within three working 
days of the incident 
occurring, ensure that 
the lessons learnt are 
compiled and 
circulated within the 
Group/ Division.  


Notify the SHEQS 
department, local line 
management and 
Sustainability in writing 
immediately or no later 
than 24 hours.  
Communicate the SAP 
EH&S Flash report to 
Sustainability Systems 
Department and within 
the Group/Division 
within 48 hours.  
The OU/BU must, 
within three working 
days of the incident 
occurring, ensure that 
the lessons learnt are 
compiled and 
forwarded to the 
Sustainability Systems 
Department to be 
distributed Eskom-
wide. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  36 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 


Note 1:  For reference to root cause analysis requirements, see 3.6.2 a).  


Note 2:  Specific action must be taken for NEMA section 30 and NWA section 20 incidents 
as specified in Appendix D, legislation and/or guidelines.  


Note 3:  The onus is on the OU/BU manager to provide evidence for the reasons why the 
Employer’s incident investigation could not be completed in 30 days. 


 Low Moderate High Extreme 


Environmental 
Incident 
communication 


Notify the 
environmental 
department and line 
management in 
writing immediately 
or no later than 24 
hours. 
 
Communicate the 
SAP EH&S Flash 
report to the relevant 
person(s) at the 
OU/BU within 48 
hours. 
 
The lessons learnt 
may be shared 
within OU/BU on a 
six monthly basis 
when necessary. 
Case studies may 
be shared within the 
OU/BU when 
necessary. 


Notify the 
environmental 
department and line 
management in 
writing immediately or 
no later than 24 
hours. 
 
Communicate the 
SAP EH&S Flash 
report to the relevant 
person(s) at the 
OU/BU within 48 
hours. 
 
The lessons learnt 
may be shared within 
OU/BU on a six 
monthly basis when 
necessary. 
 
Case studies may be 
shared within the 
OU/BU when 
necessary. 


Notify the 
environmental 
department (including 
the relevant EEIC 
representative for 
significant 
environmental 
incidents) and line 
management in 
writing immediately or 
no later than 24 
hours. 
 
Communicate the 
SAP EH&S Flash 
report to the relevant 
person(s) at the 
OU/BU within 48 
hours. 
 
The lessons learnt for 
LC’s and OHD’s must 
be compiled and 
submitted to 
Sustainability 
Systems within 3 
months of the incident 
being classified in 
order to be shared 
Eskom-wide. 
 
Once the 
investigation details 
are updated on SAP 
EHS, a case study 
must be generated for 
LC’s and OHD’s and 
shared with the 
OU/BU and/or 
Group/Division within 
14 working days of 
finalising the 
investigation report.  
Environmental event 
case studies may be 
shared within the 
OU/BU. 


Notify the 
environmental 
department (including 
the relevant EEIC 
representative for 
significant 
environmental 
incidents) and line 
management in writing 
immediately or no later 
than 24 hours. 
 
Communicate the SAP 
EH&S Flash report to 
the relevant person(s) 
at the OU/BU within 48 
hours. 
 
The lessons learnt for 
LC’s and OHD’s must 
be compiled and 
submitted to 
Sustainability Systems 
within 3 months of the 
incident being 
classified in order to be 
shared Eskom-wide. 
 
Once the investigation 
details are updated on 
SAP EHS, a case 
study must be 
generated for LC’s and 
OHD’s and shared with 
the OU/BU and/or 
Group/Division within 
14 working days of 
finalising the 
investigation report.  
Environmental event  
case studies may be 
shared within the 
OU/BU. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  37 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Note 4 : The lessons learnt for public fatalities and injuries with common causes can be 
consolidated and circulated within the OU/BU on a quarterly basis. 


Note 5: *accident is the SAP EH&S field name but in the case of a near-miss these fields 
will be completed with the incident location and incident details. 


3.5 Classification and Recording of Incidents 


Environmental, occupational health and safety incidents must be classified, prioritised, and 
recorded in the SAP EH&S system according to the CARAT principles. The SAP EH&S system is 
the only acceptable system for the capturing of incident information. Contractor employees working 
under the Mine Health and Safety Act will be classified and recorded as contractor employees and 
not as Eskom employees for the purposes of this document. 


3.5.1 Classification  


The following must be considered when classifying occupational health and safety incidents: 


3.5.1.1 Classification of OHS incidents:  


Classification of incidents is based on the severity of the injuries. In order to classify an incident as 
either a First aid or Medical case, the defining factor will be the evidence collected related to the 
treatment received, as established during the investigation process.   


3.5.1.2 Type of relationship with the person:  


The aim of classifying the type of relationship with the person is to determine whether the 
person(s) involved in the incident was/were an Eskom employee(s), contractor employee(s), or 
member(s) of the public.  


Appendix E will also assist in interpretation of certain OHS incident classification. 


3.5.1.3 Work-relatedness: in order to classify the work status and to determine whether the 
incident arose out of, or in connection with, the person at work, and one needs to consider the 
work-relatedness of an incident. Unless otherwise specified in this procedure, as a general rule, an 
affirmative answer to all of the following questions is required: 


a) Did the incident or exposure occur at any workplace or within workplace boundaries?  


b) Did it arise out of, or in connection with, the activities of persons at work, or as a result of a 
hazard present in the workplace? 


c) Did it occur in the course of a person’s employment?  


d) Did it result, or could it have resulted, in personal injury or health impairment?  


3.5.1.4 Responsible Unit (OU/BU) 


Eskom employees:  determine with which legal entity the employee(s) involved in an incident had 
a contractual relationship. In the case of an Eskom employee, an incident must be captured 
against the OU/BU/ subsidiaries based on the employee’s cost centre at the time of the incident. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  38 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Contractor employees:  if an incident must be recorded against the OU/BU/subsidiary with which 
the contractor has a contractual relationship with.  


Repeat incidents:  determine and indicate whether the incident is a repeat of a previous incident, 
as per definition. 


3.5.1.5 Classification of environmental incidents 


All environmental incidents must be classified using the criteria in the table in Appendix C in order 
to determine if the incident is an environmental event, environmental legal contravention incident, 
or environmental legal contravention incident in terms of the Operational Health Dashboard (OHD). 
NEMA section 30 incidents can be classified using the guidance provided in Appendix D. The 
outcome of the classification must then be completed on SAP EH&S. 


If the incident is classified by the OU/BU as an environmental legal contravention - incident or an 
environmental legal contravention incident in terms of the OHD, the incident must be reported to 
EEIC via the divisional EEIC representative, within the same month the incident occurred, where 
practicable. EEIC will review and confirm environmental legal contravention incident and 
environmental legal contravention incident in terms of the OHD. 


In terms of classifying oil spill incidents, the spill classification form must be completed and 
electronically attached to the incident in SAP EH&S. The form is registered as spill assessment 
table (document number 240-47176039). This table must be completed with the spill assessment 
feedback form (document number 240-47176095), which can be used as the investigation report 
for all spills and electronically attached to the incident in SAP EH&S document management 
system. 


3.5.1.6 Reclassified incidents 


Reclassified incidents must be communicated by means of an updated SAP EH&S Flash report to 
relevant internal stakeholders, together with an explanation for the reclassification. Supporting 
documentation or proof must be made available for incident classification, verification, and audit 
purposes and electronically attached to the incident in SAP EH&S. 


3.5.1.7 Clarification regarding incident classifica tion of occupational health and safety 
related incidents 


Where clarification is required for occupational health and safety incident interpretation of rules and 
examples for the classification of incidents or in order to resolve disputes, the Responsible 
Manager must send all relevant information to the Sustainability Systems Data Integrity Committee 
(SDIC) for review, who will evaluate information and provide direction as per the Terms of 
Reference of the SDIC. 


3.5.1.8 Classification dispute and appeal process 


In order to deal with disputes or clarification, the following committees are established at an Eskom 
level.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  39 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


a) Classification dispute and appeal process – OHS incidents 


   OHS incidents requiring clarification must be tabled at the Eskom Safety Data Integrity   
Committee (SDIC), which will be reviewed in terms of this procedure and/ or other relevant 
documentation.    


b) Classification dispute and appeal process – envi ronmental incidents 


   Disputes or appeals regarding classification of environmental incidents must be submitted to   
the EEIC to be tabled at the ESC, which will review the incident in terms of this procedure 
and/ or other relevant documentation. 


 
3.5.2 Recording 


3.5.2.1 General requirements 


All work related occupational health and safety incidents must be recorded on SAP EH&S. 


All non-work related occupational health and safety incidents which occur within workplace 
boundaries must be recorded on SAP EH&S and it is not necessary to communicate the flash 
report. It is the prerogative of the Responsible Manager on what to do with the available 
information after the investigation.  


The following generally agreed principles must be followed: The date on which the incident 
occurred, as opposed to the date of subsequent reclassification on severity, for example, 
deterioration of condition or death or outcome of EEIC decision for environmental incidents will be 
used for reporting purposes. 


Any preceding incident, including an occupational disease/illness, that occurred as a result of 
exposure to the same agent or environmental factor, impacting the same body part or target organ 
on a different occasion and resulting in similar symptoms or health effects, must be reported and 
recorded as a new/different incident. 


3.5.2.1.1 Scanning and attaching relevant documenta tion 


Scan and attach all relevant documentation (for example, the initial notification report, SAP EH&S 
system-generated Flash report, Eskom Internal Investigation Form/ Report, OHS Act Annexure 1, 
safety measure implementation supporting evidence, WCL2 and 4, photographs) on SAP EH&S, 
which must be marked as confidential and for internal use only.  


Note: OHS Act Annexure 1 must not be marked as confidential and for internal use only. 


3.5.2.2 Recording of environmental incidents 


All environmental incidents must be captured and recorded in detail on SAP EH&S following the 
detailed processes outlined within this document.  All incidents must also reflect the applicable 
legislation or permit and the applicable section within the respective legislation that was 
contravened.  


All environmental incidents must be investigated according to investigation requirements in this 
document, and safety measures must be implemented successfully in order to close the incident. 
Safety measures for all significant incidents must be captured and managed on SAP EHS. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  40 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


For environmental events, the safety measure information does not need to be captured on SAP 
EH&S, but must be attached electronically in SAP EH&S document management system in the 
form of a corrective action table in the investigation report. The corrective action table must be 
signed by the environmental practitioner in confirmation that the event has been closed 
successfully at OU/BU level. The incident can be closed on SAP EH&S. 


3.5.2.3 Recording of emission incidents 


All emission exceedances that exceed the periods allowed for start-up, maintenance, upset 
conditions and shut-down as specified in the station specific AELs must be reported and managed 
as incidents, as detailed in the Atmospheric Emission Licence Practice Note. 


3.5.2.4 Recording of OHS incidents 


3.5.2.4.1  Recording of occupational diseases or il lnesses: 


Occupational diseases/illnesses will be recorded against the OU/BU to which the employee 
belongs at the date of diagnosis, unless it can be proven that the occupational disease/illness 
was caused by the activities of another OU/BU, as described in the section on “Previous 
Group/Division/OU/BU” below.  


3.5.2.4.2 Previous Group/Division/OU/BU:  


With regards to incidents that occurred during employment at another Group/Division/OU/BU 
where the current employer has sufficient proof or historical information that the involved employee 
was injured/exposed prior to starting employment at the current OU/BU, he/she must communicate 
the incident to the previous OU/BU and the Sustainability Systems Department 


The following must be noted: 


a) If the previous Group/Division/OU/BU still exists, the incident must form part of its OH&S 
performance measure.  


b) If the previous Group/Division/OU/BU no longer exists, the incident must be included in the 
OH&S performance measure of the Group/Divisional head office of the previous 
Group/Division/OU/BU. 


c) If the previous employer is an external company, the incident must be recorded, but not    
included, in Eskom’s performance measures. 


d) If there is no proof or no historical information available to determine the 
Group/Division/OU/BU responsible for the exposure, the current Group/Division/OU/BU 
must report the incident as part of its own performance measures. 


3.5.2.4.3 Previous Eskom employees:  in the case of incidents involving previous Eskom 
employees, where no relevant medical records exist, such person(s) must be recorded and 
included in Eskom’s performance measures. The following must be noted: 


If this person’s previous Group/Division/OU/BU in Eskom still exists, the previous 
Group/Division/OU/BU must include the incident in SAP EH&S system and report on it; and if this 
person’s previous Group/Division/OU/BU in Eskom no longer exists, the incident must be included 
in the performance measures of the previous Group/Division head office of the previous employer. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  41 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.5.2.4.4 Previous incidents:  if an incident develops into a more severe incident at a later stage, 
such an incident must be reclassified based on the current available information and proof (for 
example, a medical becomes an LTI), and it must be recorded against the employee’s OU/BU that 
was relevant at the time when the incident occurred. 


3.5.2.4.5 Training:  an incident that occurred on site at a training facility or in transit to a training 
facility (whether internal or external) must be recorded against the OU/BU that employs the person. 


3.5.2.4.6 Telework:  an incident involving an employee working from home (telework) on a 
temporary or permanent basis will be recorded against the OU/BU that employed such a person, 
provided that the work was performed with the formal approval of the applicable supervisor and 
that proof is given that the work actually performed at the time of the incident arose out of, and in 
the course of, his/her duties. 


3.6 Incident investigation 
3.6.1 General 


a) All investigation reports must be considered controlled disclosure documents as per the    
Eskom document management requirement. 


b) All environmental, health and safety incidents must be investigated, excluding non-work 
related incidents occurring outside workplace boundaries. 


c) During the investigation of repeat incidents, ineffective safety measures for previous 
incidents must be considered.  


d) Where there are investigations, hearings, or inquiries initiated by the DoL or Department of 
Mineral Resources, Department of Energy, and South African Police Services, the 
Responsible Manager must inform the Sustainability Systems and Legal Departments, 
where a legal representative will be appointed as part of the investigation, hearing, or 
inquiry.  


e) In the case of incidents involving crime, the OU/BU Security Department and Eskom 
Security Risk Management from Sustainability Systems Department must be involved in 
both the employer’s investigation and the Corporate Legal investigation.  


f) The employer’s investigation report (Annexure 1 in terms of the OHS Act) must be 
completed by the OU/BU appointed Investigating Committee’s chairperson (investigator) 
and signed off by the applicable OU/BU responsible manager as the representative of the 
employer/user.  


g) The results of the OHS investigation must be captured on the Eskom internal investigation 
template:  Form 240-77046688.    


h) All investigation results must be documented, reviewed (where necessary), and captured on 
SAP EH&S, including root cause analysis and identified safety measures. The root cause 
analysis worksheet must be electronically attached to the incident in SAP EH&S. 
Investigations by government agencies could also trigger a review of the initial incident 
information captured. 


i) Records must be kept by the OU/BU of all OHS Act section 24 incidents, lost-time injuries, 
and medical treatment cases on the Annexure 1 form (as required in the OHS Act – General 
Administrative Regulations for Recording and Investigation of Incidents) for all employees, 
contractors, and members of the public. All investigation reports must be kept and archived 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  42 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


for at least 25 years, unless another period has been specified in legislation or in any court 
proceedings that may ensue. All reports describing an incident involving a minor must be 
kept and archived for at least three years after such a person becomes an adult. 


j) To determine an estimated cost of an incident, the Compensation Commissioner Cost 
calculations should be utilised. 


k) All reports must be kept safe and secure. 
l) The completed Annexure 1 form, as required in terms of the OHS Act – (General 


Administrative Regulations for Recording and Investigation of Incidents), may be made 
available to a third-party on request and in consultation with the Eskom Legal Department. 


m) Chapter 23 of the MHSA Regulations sets out the manner in which incidents are to be 
reported to the Mine Health and Safety Inspectorate on the following forms: SAMRASS 1, 2, 
4, and 9 as per Chapter 21 of the MHSA Regulations, as may be required, in consultation 
with the Eskom Legal Department.  


3.6.2 Environmental incidents 


All environmental incidents, regardless of their classification, must be investigated within the 
OU/BU using a root cause analysis in order to determine the root cause of the incident.  


 
a) The focus of the investigation for environmental legal contravention - incidents should be the 


reason or root cause, direct cause, and contributory cause for the contravention. The 
investigation shall also include which legislation/permit (including the specific section within 
legislation) was contravened in addition to the technical details of the incident. 


b) The investigation team/committee and chairperson for significant environmental incidents 
shall be appointed by the OU/BU, in consultation with the EEIC divisional representative. 
The investigation team will require input from the OU/BU SHEQ manager as well as 
involvement of supervisors, engineers, chemical services, contractor representatives, etc., 
where applicable. Subject matter specialist(s) and consultants for particular fields may also 
be required for certain incident investigations; specialist(s) involvement in the investigation 
can be determined by the EEIC representative or OU/BU manager. A detailed investigation 
report should be generated and captured on SAP EH&S as well as circulated to the 
divisional EEIC representative and Sustainability Systems Department, on request. 


Note:  For investigations of environmental legal contravention - incidents in terms of the OHD, 
the respective EEIC representatives shall be involved. 
c) Investigations of environmental events shall involve the environmental practitioner(s) of the 


OU/BU as well as the relevant supervisor or contractor representative where the incident 
occurred. Expertise from relevant fields, for example, engineering, chemical services, or the 
contractor representative, etc., can be requested, depending on the type of incident being 
investigated. 
 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  43 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


The root cause analysis process used by the OU/BU should consider the following principles:  


i.Determine the type of incident, what occurred (sequence of occurrence), when and where 
the incident occurred. 


ii. Identify consequences and impacts.  
iii.Determine the risk of the incident reoccurring using the root cause analysis likelihood and 


consequence table.  
iv.Determine the immediate cause(s). 
v. Identify root causes, taking into consideration human, workplace, and natural factors (who, 


what, and why). 
vi.Identify system failures (procedure non-conformance, training, plant failure, etc.).  


3.6.3 OHS incidents 


a) Regardless of the work-relatedness or not of an incident that occurs within the workplace 
boundaries, such an incident must be investigated to identify any possible contributing 
causes and to make recommendations on preventing any repeat incidents. 


b) The investigation of non-work related incidents that do not occur at the workplace, 
including non-work related commuting incidents is not required. In some cases an 
investigation can be requested by the Responsible Manager where the Responsible 
Manager has a very good reason to request such an investigation (where Eskom has an 
interest to understand the reasons/root causes) with permission from an Employee. 
These lessons could be shared in the organisation to prevent repeat incidents. 


c) It must be noted that the employer does not have the mandate to investigate incidents 
that occurred at an employee’s home, unless the person was performing work from 
home (defined as telework) at the time of the incident, in which case the incident would 
be regarded as work-related. 


d) Eskom investigations will consist of an OU/BU investigation, or depending on the severity of 
the incident (as determined in the incident prioritisation section), a corporate investigation 
will be held. 


e) Employer’s investigation under the MHSA must be conducted as set out in section 11(5), as 
revised, of the MHSA.  


f) Root cause analysis techniques 
i. A root cause analysis technique (RCat) must be used for all employee and contractor 


OHS investigations. 
ii. Other techniques may be used supplementary to the RCat.  
iii. The root cause analysis report will be used as a source document for presentation 


purposes. 


3.6.3.1 Employer’s investigation 


3.6.3.1.1 OU/BU investigations (excluding serious a nd fatality investigations) 


The Investigation Committee should consist of the following, given the nature of the incident: 


a) A chairperson (appointed in writing by the Employer) as the investigator of the incident, 
which must be at a level defined in the Action and responsibility requirement table 3.4.4, 
provided there is no conflict of interest.  


b) Where applicable, a subject matter specialist(s) may be appointed by the OU/BU. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  44 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Note : In the case of a serious incident or a fatality, the representative from Sustainability 
Systems and/or, if applicable, the independent subject matter specialist(s) as determined by 
Sustainability Systems will also be a member of the committee.  


c) Representatives from all entities, where multiple organisations and/or Groups/Divisions are 
involved in an incident. 


d) The relevant supervisor/manager under whose supervision the incident occurred shall be 
the first person to give evidence related to the incident and will be allowed to remain in 
attendance at the investigation as an observer, provided there is no conflict of interest. 


e) Applicable health and safety representative, as required by the OSH Act. 
f) If available, the applicable Full Time Health and Safety Representative, as per Health and 


Safety Agreement. The onus is on the OU/BU to extend the invitation to the applicable Full 
Time Health and Safety Representative. 


g) The applicable union representative as per Eskom’s recognised trade unions may 
participate during the employer’s investigation, including the process of evidence collection, 
investigation, formulation of findings and safety measures. Limited to one representative per 
recognised trade union. 


h) Environmental Department representative, if applicable. 
i) EEIC representative if applicable. 
j) Applicable BU OHS Department representative.  
k) The relevant witnesses.  


The Investigation Committee chairperson is responsible for the process of evidence collection, 
investigation, formulation of findings, identification of root causes, formulation of safety measures, 
compilation of an investigation report, and completion of Annexure 1 (OHS Act).  


Note 1 : In the case of a committee member that needs to testify as a witness, such a member 
needs to be excluded from the investigation sitting until such time as he/she has given his/her 
testimony and the chairperson can exercise his/her prerogative to allow such a person to become 
a member of the committee.  


Note 2: The investigation may not continue if either the chairperson, the Responsible Manager (or 
his/her delegate) and the subject matter specialist(s) determined by the chairperson is not present.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  45 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Note 3: Sustainability Systems Department, as well as an identified subject matter specialist(s), 
may attend as observers on the invitation of the most senior persons appointed under the MHSA or 
relevant legal representation.  


Note 4:  The initiation of the incident investigation must not be delayed due to the unavailability of 
any witness.  


Note 5: Corporate OHS (Sustainability Systems) has the prerogative to participate, as it may deem 
fit and consulted with the relevant OU/BU Responsible Manager, in any incident investigation 
notwithstanding the priority rating or incident classification. Corporate OHS (Sustainability 
Systems) may also request, through the relevant management structures, any incident 
investigation report and consult on the contents of such a report.  Corporate OHS (Sustainability 
Systems) may lead any investigation at the request of any senior manager.  


Note 6 : The site owner, where an incident occurred, has the right of access to any employer’s 
investigation report and may consult on the contents of such a report which shall be requested 
through the relevant management structures. The employer (Responsible Manager) is responsible 
for informing the applicable site owner of all incidents that incurred on site. Where applicable, the 
reporting mechanism must be stipulated in the SHE specifications and reflected in the SHE plan. 


 


Public incidents  


a) Public fatalities: 


i. In the case of fatalities that involve members of the public, a corporate legal investigation 
must be conducted. The OU/BU must notify Sustainability Systems and Legal 
Department immediately. 


ii. The Legal Department will appoint an attorney from Eskom’s panel of attorneys to chair 
the investigation. The OU/BU must immediately mobilise a team who will collect 
evidence and assist in conducting the corporate legal investigation. Sustainability 
Systems will assist the corporate legal chairperson during investigation and oversee the 
collection of evidence, statements, conducting of root cause analysis, and completing 
the investigation  


iii. In the case of electrical related incidents which occurred beyond point of supply or 
involving electrical related criminal activities (theft), the onus is on the OU/BU to conduct 
its own investigation and if there is any reason to believe that a corporate legal 
investigation is required, the OU/BU need to provide a motivation accompanied by 
supporting documentation to the Sustainability and Legal department for a decision. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  46 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


b) Non-fatal public incidents:  


i. In the case of all other incidents involving members of the public where there were 
injuries (excluding fatalities), an employer’s investigation must be conducted, chaired by 
a person appointed by the OU/BU Responsible Manager. 


 Note: This includes incidents beyond point of supply. 


ii. If, at the conclusion of an employer’s investigation, there is/are any reason(s) to believe 
that potential liability on Eskom’s part exists, the chairperson of that Investigation 
Committee, together with the OU/BU manager, must provide the Corporate Legal 
Department with the applicable investigation report, evidence related to the incident, 
completed root cause analysis worksheet, and reasons for requesting the appointment of 
an independent legal chairperson. The Legal Department will assess the information 
provided and indicate whether liability exists and whether a corporate legal investigation 
needs to be conducted.    


 Note: This includes incidents beyond point of supply. 
 
3.6.4 Corporate investigations 


3.6.4.1 Corporate specialist investigation (employe e and contractor serious incidents) 


Sustainability Systems Department will: 
a) Appoint and mobilise an independent investigation subject matter specialist to facilitate and 


coordinate the collection of evidence, statements, root cause analysis to support the 
OU/BU-appointed chairperson/investigator (see paragraph 3.6.3.1.1 a); and  


b) The OU/BU employer’s investigation chairperson/investigator must provide the investigation 
final report as per the OHS investigation report template (240-77046688) within 10 working 
days after conclusion of the investigation to Sustainability Systems Department. The 
independent subject matter specialist(s) (referred to in a) above), will provide a separate 
technical report to Sustainability Systems Department.  


c) If there is potential liability, the Corporate Legal Department and Sustainability Systems 
must be provided with a motivation of such possible liability in order to advise the OU/BU 
on the way forward.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  47 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.6.4.2 Corporate legal investigation (fatalities) 


3.6.4.2.1 General 


a) In the case of employee and contractor fatalities, Sustainability Systems Department will 
initiate a corporate legal investigation and mobilise a team immediately, who will facilitate 
and coordinate the collection of evidence to support  the OU/BU-appointed chairperson of 
the employer’s investigation (see paragraph 3.6.3.1.1 a), take statements, conduct root 
cause analysis, and complete the investigation chaired by an independent legal person.  


b) A safety culture perception survey, when required, may be conducted (to form part of 
feedback to Manco/Exco during the close-out presentation). 


c) In case of an employee fatality, Eskom flags must be flown half-mast at Megawatt Park and 
at the main site office where the fatality occurred (if flags are available) for 7 consecutive 
days. 


Note 1:  At the discretion of the Chief Executive, in the case of multiple fatalities, additional 
memorial-related interventions may be executed. When available, the Chief Executive is to 
visit the site where the fatality occurred. 


Note 2:  In the case where the MHSA applies, the investigation process set out in it will be 
followed. Thereafter, a corporate investigation may continue, as may be required by Eskom. 


3.6.4.2.2 Corporate Legal Investigation Committee ( fatalities) 


The Corporate Legal Investigation Committee, as determined by Sustainability Systems 
Department, will be structured and limited to the following members: 


a) Core committee members  


i. Chairperson – a legal practitioner formally appointed by the Eskom Legal Department. 
ii. In cases where the incident resulted in a fatality of an Eskom employee(s) and/or 


contractor employee(s), the Responsible Manager, appointed in terms of section 16(2) of 
the OHS Act, or his/her delegated person, in whose area the incident occurred, must be a 
member of the Corporate Legal Investigation Committee. 


iii. Sustainability Systems Department representative. 
iv. The OU/BU employer’s investigation chairperson (appointed investigator) 
v. OU/BU occupational health and safety manager or nominee. 
vi. OU/BU senior management representative (provided that he/she has no direct 


involvement in the particular incident). 
vii. Representatives from other divisions in cases involving multiple divisions, 
viii. The local statutory health and safety representative. 
ix. The applicable full-time health and safety representative. 
x. A human resources representative. 
xi. In the case where the MHSA applies, the following members may be included as 


committee members: 4(1) employer’s representative, 3(1) (a) mine manager, and 2.13.1 
engineering manager (mining equipment)/mine engineer.  


 
 
 
 
 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  48 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


b) Members  
i. If available, the Eskom A&FD representative/nominee, who performs the role of providing 


independent assurance to Exco. 
ii. A subject matter specialist(s), as determined by the committee, to advise the chairperson. 
iii. If applicable, a representative of the Eskom Security Risk Management Department.  
iv. The Eskom-recognised trade union member representing the affected employee(s) may 


participate during the employer’s investigation, including the process of evidence 
collection, investigation, formulation of findings, and recommendations. 


c) Observers  


       Any other person whom the chairperson allows on a formal application. 


Note:  The chairperson may grant permission to any observer at his/her own discretion to   
ask questions during the investigation. 


d) Witnesses  


i. An overview of the incident to be provided to the committee by the OU/BU appointed 
investigator (see paragraph 3.6.3.1.1 a) with the assistance of the applicable subject 
matter specialist(s).  


ii. The relevant person appointed as supervisor or safety team leader, under whose 
supervision the incident occurred, as the first witness. 


iii. Depending on the case, the relevant OHS Act section GMR 2(1) person appointed for 
plant-related incidents. 


iv. In case of contractor fatalities, the contractor management representative have the right to 
be present while his or her employee is giving evidence.  


v. Any person who witnessed the incident. 
vi. Any other person with any other evidence related to the incident. 
vii. Any other person identified by the committee. 


Note:  A witness may be recalled to answer further questions from the committee, as 
determined by the chairperson. 


e) Inquiries, investigation and hearings initiated by government agencies  


i. National, provincial, and regional government agencies have the legal authority to inquire 
into, or investigate, certain incidents. 


ii. Any inquiry or investigation by any of these agencies should be preceded by giving proper 
notice to the organisation.  


iii. When any of the following notices are received: 
• Compliance and/or pre-compliance notice issued by the DEA or provincial or district 


municipal environmental authority; 
• Notifications issued by the DoL (in terms of the OHS Act, sections 31 and 32 and 


section 56 of COID Act – Application for Increased Compensation); and 
• Where the MHSA applies, the Mine Health and Safety Inspectorate may convene an 


investigation in terms of section 60 of the MHSA and/or an inquiry in terms of section 
65 of the MHSA; 


• The OU/BU must immediately inform the Sustainability Systems and Legal 
Departments of such notice or requests received by providing a copy of the notice, 
relevant investigation report, and supporting documents.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  49 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


iv. Requests by government agencies for access to the site’s investigation reports and 
related materials must be made in writing and reviewed with Eskom’s Legal Department 
before they are granted, as may be applicable.  


v. Employees have the right not to incriminate Eskom or themselves. 
vi. In the case of incidents involving contractor employees, the investigation will require the 


contractor’s involvement. 
vii. In the case where a contractor does not cooperate during any part of the Eskom 


investigation, in terms of contractual and legal obligations, Eskom shall take further steps 
to ensure that the immediate and root causes of the incident have been identified and to 
ensure that workable safety measures are identified and implemented and that actions 
that will prevent the repeat of such an incident are implemented in order for Eskom to fulfil 
its legal obligation. 


viii. When required, all persons must be available and cooperate during any investigation by 
the Department of Labour or NPA. 


f) Contractor employer’s investigation report  


In the case of incidents involving contractor employees, the contractor must investigate 
those as an employer in his/her own right (employer’s investigation) and generate a report. 
The report and Annexure 1 must be submitted to the applicable OU/BU or on request to the 
Department of Labour by the contractor. 


Eskom may participate during these investigations 


Note:  All reports related to investigations, with the exception of Annexure 1, must be marked 
and treated as confidential and for internal use only. 


3.7 Management of Safety Measures 


3.7.1 Implementation and Monitoring of safety measu res of incidents 


a) There must be at least one safety measure for each root cause identified during the 
investigation. 


b) The Investigation Committee must consider the following hierarchy of control when 
formulating safety measures: 
i. Engineering control for the purpose of designing/redesigning in order to eliminate the risk. 
ii. Barriers to isolate/insulate between the source and employees or animals. 
iii. The provision of personal protective equipment should be the last resort. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  50 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) Planned start and completion (end) dates for all safety measures must be clearly defined  
and   must be: 
i. Specific;  
ii. Measureable;  
iii. Achievable;  
iv. Realistic, with clearly allocated responsibilities; and  
v. Timeous, with clear deadlines. 


d) Safety measures and restart criteria/conditions that have to be completed before operations 
may resume must be clearly identified in the investigation report. Other safety measures (for 
example, longer-term system-related improvements or evaluations) often have a completion 
date that extends beyond the start-up date. 


e) Identify potential risks that can influence the achievement of the safety measures, and 
document in the investigation report how these risks should be mitigated. 


f) All safety measures must be verified by the person responsible in order to determine 
effective implementation. Documentary evidence of the implemented safety measures must 
be available and attached electronically to the incident in SAP EH&S before the safety 
measure is closed on SAP EH&S. 


g) Where a safety measure that has been implemented is deemed ineffective and, therefore, 
unsuccessful, the safety measure(s) must be revised by the Investigation Committee and 
implemented. An alternative safety measure must be identified to address the root cause(s). 


h) The revised safety measure must be approved by the chairperson of the Investigation 
Committee, and the report must be revised accordingly. The chairperson must provide the 
motivation and/or justification for the decision. The previous ineffective safety measure must 
be closed out on SAP EH&S and a new safety measure identified and captured on SAP 
EH&S. 


i) Risk assessment must be done to ensure that any safety measure that constitutes an 
improvement does not create an additional risk or increase the existing risk. 


j) To ensure the prompt follow-up and close-out of safety measures from an incident 
investigation report, periodic status reports must be provided from SAP EH&S to site 
management until all recommendations have been acted on and closed out. 


k) The Statutory Occupational Health and Safety/SHEQ Committee meetings must also track 
the safety measures, target dates, and responsible person(s) identified during investigations 
and note, in the minutes, the discussion points on the progress made with the 
implementation of safety measures. The minutes must be kept for at least three years. 


l) The OU/BU manager, as the Responsible Manager, is responsible for reviewing/analysing 
the recommendations made in the incident investigation report, assigning responsibilities to 
the relevant applicable Responsible Manager s, and providing the necessary resources to 
implement the recommendations made, within a reasonable time frame that does not 
expose persons to risk for an unnecessarily long period, and to prevent recurrence of the 
incident. 


m) After implementation of all OHS safety measures for incidents with an extreme priority 
rating, the Responsible Manager must ensure that an independent and objective person, 
who was not involved in the investigation, must verify the effectiveness of the safety 
measure/s implemented within three months after the planned end date of the safety 
measures. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  51 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


3.7.2 Safety measures for significant environmental  incidents 


a) All significant environmental incidents must have safety measures developed using the 
general principles provided above and captured on SAP EH&S. 


b) The Responsible Manager is responsible for ensuring that the safety measures are 
implemented.  


 
3.7.3 Safety measures for environmental events 
 


a) Environmental events do not require safety measures to be captured in SAP EH&S; 
however, the corrective action table should determine what actions need to be implemented, 
who is responsible for the implementation, and time frames for implementation, as 
prescribed in the general principles above.  


b) The responsible environmental practitioner will sign of the corrective action table, indicating 
that the corrective actions have been implemented. Once this has been completed, the 
document must be electronically attached to the incident in SAP EH&S in order for the 
environmental manager/advisor to verify and close the incident. 


 
3.8 Incident close-out 


a) Close-out is the final step in the incident management process. The action of closing out an 
incident signifies that all safety measures have been effectively implemented, lessons learnt, 
case studies effectively communicated and all relevant documents attached.  


b) The incident must then be closed out in SAP EH&S as an action.  
c) All environmental legal contravention - incidents and contravention - incidents in terms of the 


OHD must have a closure certificate completed (document number 240-76507067). 
 


3.9 Incident Communication 
The following are the communication means for environmental, occupational health and safety 
incidents: 


a) Initial incident notification reports are reports that are submitted by any individual who is 
reporting an incident to the relevant OU/BU Environmental, Occupational Health and Safety 
Department. They can be provided in any format, that is, email, OU/BU Flash report, or INO.  


b) The SAP EH&S Flash report is the formal notification informing all relevant stakeholder/s 
(specified in the Action and responsibility requirements table 3.4.4) that an incident has 
occurred.  


c) Fatality announcement – Sustainability Systems Department will send out an SMS and an 
announcement for employee and contractor work-related fatalities. 


d) The memorial wall shall be updated with relevant information. 
e) Environmental, occupational health and safety incident feedback report (lessons learnt) – 


the incident feedback report must state the lessons learnt, which need to be shared as per 
the Action required table in order to create awareness and to prevent reoccurrence. The 
Responsible Manager where the incident occurred is responsible for compiling an incident 
feedback report for all OHS incidents. In the case of incidents where the priority rating is 
extreme the incident feedback report must be communicated to the Sustainability Systems 
Department for further distribution to all relevant stakeholders. 


f) When compiling the lessons learnt, consider the following: 
i. The lessons should be those lessons that are obvious (not necessarily the root causes, 


as they might not be available at the time of communication). 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  52 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


ii. They must only cover a few main points. 
iii. Focus on positive points as well.  
iv. Protect the individuals by excluding names and places or any other information that could 


be sensitive. Where reasonably practicable, use photos that are relevant to the incident. 
Be sensitive towards the reader. Do not include any sensitive photos or information. 


v. The OU/BU must ensure that this information is disseminated to all affected and 
interested parties who could benefit from the feedback. The OU/BU Responsible 
Manager must ensure that the effectiveness of shared lessons learnt is monitored. 


vi. The communication of the lessons learnt should not be delayed by waiting for the incident 
investigation outcome/report. Lessons learnt are, therefore, not findings or 
recommendations. 


g) Manco/Exco fatality and environmental legal contrav ention – incident in terms of the 
OHD presentations  


i. Presentations must be made to Exco/Manco on all employee and contractor fatalities and 
environmental legal contravention – incidents in terms of the OHD by the relevant 
Group/Divisional executive or delegated senior manager. 


ii. Any additional and/or amended information provided at Exco/Manco must be updated on 
SAP EH&S and a revised case study must be republished immediately on the Eskom 
publication tool, i.e Hyperwave. 


h) Case studies must be published for the following in cidents:  


i. Case studies must be published for all occupational health and safety incidents rated with 
a priority rating of extreme, high, and/or moderate. In the case of near-miss incidents, 
publish those rated as extreme. 


ii. Public fatalities and injuries (excluding public crime-related incidents and incidents that 
occurred beyond point of supply) with a priority rating of extreme, high, and/or moderate. 


For the above incidents, after the investigation has been completed, the findings, the root cause 
analysis, and the safety measures captured on SAP EH&S; the case study must be generated and 
formally communicated within the OU/BU within five working days after finalising the report. The 
OU/BU must ensure that all case studies are published on an Eskom publication site i.e 
Hyperwave, which will be linked to the OHS website or appropriate Eskom wide communication. 


3.10 Guidance to chairpersons during disciplinary h earings related to environmental, 
occupational health and safety incident management 


Transgression of any of the following will be treated as misconduct: 


a) If misleading information is deliberately supplied or information is deliberately withheld.  
b) If evidence is wilfully withheld, removed, disturbed, tampered with, or distributed without the 


relevant permission.  
c) If a witness or any person involved in the incident investigation process is victimised or 


intimidated. 
d) If notification of the incident is not given within the specified time frames. 
e) If prioritisation of the incident is deliberately, wilfully manipulated to indicate a lower priority. 
f) If any incident is not fully investigated within the time frames specified. 
g) If incidents are deliberately, wrongfully classified. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  53 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


h) If any incident is not recorded.  
i) If safety measures are not implemented within the time frames agreed and captured in SAP 


EH&S. 
j) If the effectiveness of safety measures is not assessed within the required time. 


Note 1:  The collection of evidence for the purpose of the disciplinary process must be conducted 
separately from the environmental, occupational health and safety incident investigation process.  


Note 2:  The disciplinary process must collect its own evidence 


 
Acceptance 


This document has been seen and accepted by: 


Name Designation 


Neo Tsholanku                      General Manager Legal and Compliance 


Alex Stramrood                     Senior Manager: OHS Manager (Operational) 


Deidre Herbst                       Senior Manager: Environmental Manager 


Dr Penny Mkalipe                  Senior Manager: Health and Wellness 


Piet Nkuna                             Manager: Compensation for Occupational Injuries and Diseases Act  


OHS Steering Committee Members 


Environmental Steering Committee Members 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  54 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


4. Revisions 


Date Rev. Compiler Remarks 


November 2015 6 SN Middel Clarification required as requested by 
the Legal Department with regard to 
the investigation process into cases of 
serious incidents and fatalities in so 
far as alignment with the employer 
investigation and the corporate 
investigation process.  To clarify the 
corporate investigation process for 
incidents where no injuries occurred 
or in the case of third party 
investigations with serious 
consequences for the business.  


April 2015 5 SN Middel OHS Steering Committee raised a 
concern regarding the practicality of 
managing incidents at the operational 
level as some of the processes are 
complex. This initiated a procedure 
review. During the review the 
following issues were identified for 
improvement and to simplify:  
1) Near-miss incident reporting and 


investigation process.  
2) Clarify certain definitions. .  
3) Review incident notification time 


frame. 
4) Management of occupational 


diseases. 
5) Incident prioritization.  
6) Classification of certain 


incidents 
28 February 2013 4 SN Middel Changes in incident management 


steps, corporate investigation 
process, and expansion of 
environmental incident process. 


31 October 2011 3 K Terblanche This document was compiled to 
address the PCM and in line with the 
objectives of the Back to Basics 
project. 


18 February 2010 2 SN Middel and K 
Terblanche 


Correction of document and 
application date of document. 


15 February 2010 1 SN Middel Withdrawn due to technical reasons 
and incorrect application date of 
document. 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  55 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


5. Development Team 


The following people were involved in the development of this document: 


• SN Middel 


• Sue Fourie 


• Nirasha Rajdeo  


• Mthoko Zondi 


• Martin van Aswegen 


6. Acknowledgements 


• Daniel Mphuthi 


• Sheryl Isaacs  


• Paul Faloona 


• Meisie Sindane  


• Keith Rodseth  


• Pulane Raophala  


• Mikateko Chauke  


• Punky Mhlongo  


• Phindile Dlamini 


• Cathy Boshoff  


• Amanda Qithi   


• Pilasande Qika  


• Revive Nkuna  


• Wandile Katoo  


• Mike Mathekga  


• Ndiaphe Modau 


• Zizo Tshisela  


• Mpapadi Monyela 


• Laetitia Smith 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  56 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Appendix A – Process flow to determine repeat envir onmental incidents 


Questions to be asked: 


 


Did the incident take place within 12 months of the previous environmental legal contravention - 
incident? 


 
Yes 


 
No (then not a repeat) 


  


Did environmental legal contravention-incident take place within the same BU  (for example, 
transmission grid, Distribution operating unit, power station, Group Capital project)? 


Yes  
No (then not a repeat) 


  


Is the environmental legal contravention - incident related to the same section of legislation and/or  
the same licence condition, previously classified as a legal contravention - incident? 


Yes  
No (then not a repeat) 


  


Is the environmental legal contravention -incident related to the same root cause ?  


Yes 
 
No (then not a repeat) 


 
 
 


Have the safety measures (corrective and preventive actions) identified to address the previous incident 
been implemented as per the agreed time frames, such that there was an opportunity to prevent the 
present environmental legal contravention - incident? 


 
 
Yes (then a repeat) 


 
 
No (then not a repeat) 
 


  


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  57 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Appendix B: Environmental, Occupational Health and Safety Metrics 


B.1 Environmental metrics 


Metrics Calculation 


Contravention of 
environmental legislation 


Total number of contraventions of environmental legislation over 
the previous 12-month period (12-monthly moving index) and 
financial year to date. 


Contraventions of 
environmental legislation in 
terms of the OHD 


The total number of contraventions in terms of the OHD over the 
previous 12-month period (12-monthly moving index) is used as 
the key performance indicator and is reported against a set 
“target”, “alarm”, and “critical”, as well as financial year to date. 


B.2 OHS metrics 


Metrics Calculations 


Fatalities (employee and 
contractor) 


Total number of fatalities as a result of work-related incidents 
that occurred in a 12-month period measured against a set 
target of zero. 


Note: Fatalities excludes the Occupational Diseases and Third 
Party at Fault incidents (incidents including any motor vehicle or 
crime-related incidents ascribed solely to another party being at 
fault). Third Party at Fault incidents must be confirmed by the 
Safety Data Integrity Committee (SDIC) at Group Sustainability 


Lost-time injury rate (LTIR) LTIR = (total number of lost-time injuries x 200 000) / (total 
number of employee work hours). The figure 200 000 refers to 
the average number of hours worked by 100 employees in one 
year, where: 
• total number of lost-time injuries is the sum of all the lost-


time injuries that occurred over a 12-month period; and 
• total number of employee work hours is the sum of all 


employee work hours over a 12-month period, and 
measured against a set target. 


Note: The LTIR figure excludes the Occupational Diseases and 
Third Party at Fault incidents (incidents including any motor 
vehicle or crime-related incidents ascribed solely to another 
party being at fault). Third Party at Fault incidents must be 
confirmed by the Safety Data Integrity Committee (SDIC) at 
Group Sustainability.   


Public Recordable Fatality 
Incidents (PRFI)  


The total number of PRFI (public recordable fatality incidents) 
that occurred in a 12-month period measured against a set 
target of zero.  


Severity indicator Measured in accordance with the number of calendar days lost 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  58 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


and restricted days, classified in periods of one to three days, 
four to 13 days, or ≥ 14 days. 


Metrics Calculation  


Severity rate Severity rate = (the number of calendar days lost x 200 000) / 
(total number of employee work hours), where: 
• the number of days lost is the sum of all the calendar days 


lost and restricted days over a 12-month period; and 
• total number of employee work hours is the sum of all 


employee work hours over a 12-month period. 


Total public fatalities The total number of public fatalities that occurred in a 12-month 
period measured against a set target of zero. 


Total Recordable Injury Rate 
(TRIR) 


TRIR = (total number of recordable incidents x 200 000) / total 
number of employee work hours). The figure 200 000 refers to 
the average number of hours worked by 100 employees in one 
year, where: 
• total number of recordable incidents  is  the  sum  of  all 


recordable incidents that occurred in a 12-month period; and 
• total number of employee work hours is the sum of all 


employee work hours over a 12-month period and measured 
against a set target. 


Note: The TRIR figure excludes Third Party at Fault incidents 
(incidents including any motor vehicle or crime-related incidents 
ascribed solely to another party being at fault). Third Party at 
Fault incidents must be confirmed by the Safety Data Integrity 
Committee (SDIC) at Group Sustainability.   


 


 


 


 


 


 


 


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  59 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Appendix C: Classification Criteria for Environmental Incidents  


EEIC criteria for classification of environmental i ncidents  
Element  N/a Yes No 
1. Did the incident result in a contravention of any environmental legislation and/or 
condition of a licence? 


   


2. Did the incident result in either sterilising the soil or destroying rare, endangered, 
or protected fauna or flora? 


   


3. Did the incident result in making any water resource unfit for its original purpose 
such as domestic, agricultural, or industrial use or reduce the water quality to such a 
state that human intervention is required to restore it to its original quality? 


   


4. Did Eskom fail to take reasonable measures to prevent pollution or degradation 
from occurring? 


   


5. Did Eskom fail to prevent pollution or degradation from continuing?    
6. Did Eskom fail to implement measures to prevent pollution or degradation from 
recurring? 


   


7. Did Eskom fail to implement measures to contain and minimise the effects of the 
incident on the environment and on the health, safety, and property of persons? 


   


Specify legislation, applicable section within legislation, and licence condition that were contravened. 


 


Classification  
If “Yes” to any of the questions, classify incident as legal contravention, if “No” to all 
of the questions, classify as an event. 


  


If classified as a legal contravention, check again st the following criteria to  


determine whether the incident is an OHD. 


Criteria   Yes No  
1. The environmental legal contravention results in formal censure from government.  
These are a compliance notice, a directive, a fine (including a section 24g), prosecution. 


  


2. The environmental legal contravention is not reported through the initial notification to the 
applicable department. 


  


3. The environmental legal contravention is considered a repeat environmental legal 
contravention (using the process flow found in Appendix A of this document). Note:  This 
criterion can only apply if the previous incident was classified as an environmental legal 
contravention. 


  


4. The “safety” (corrective and preventative) measure is not implemented within 30 days 
after the due date.  


  


OHD event (any shaded area marked)    


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  60 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  61 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Appendix D : NEMA Section 30 Incident Classification and Reporti ng Guidance 


This section must be read in conjunction with NEMA Section 30.  Emission incidents must be 
classified and reported in terms of the requirements of the Atmospheric Emission Licence, in 
conjunction with NEMA section 30 (as per the Atmospheric Emission Licence Practice Note). 


Classification guidance 


For an incident to be a section 30 Emergency incident, the following must apply: 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  62 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Action required for NEMA Section 30 Incidents and N WA Section 20 Incidents 


This section must be read in conjunction with the applicable legislation. 


1. Determine if the incident is a NEMA Section 30 or NWA section 20 incidents by using the 
Appendix D above, applicable legislation and by consulting the Sustainability Division: 
Environmental Management Department. 


2. Submit initial notification to the Sustainability Division: Environmental Management 
Department, Department of Environmental Affairs and/or Department of Water and Sanitation. 


3. Notify relevant stakeholders as prescribed in this procedure, including interested and affected 
parties. 


4. Initiate investigation within 24 to 48 hours.  The timeframe for initiating investigations must be 
determined by using the priority rating matrix and the associated actions in the action required 
table within this document. 


5. Summit follow-up report to DEA and Sustainability Division: Environmental Management 
Department with investigation results (prelim or final) on the DEA template within 14 days of 
the NEMA Section 30 incident occurring.  For NWA Section 20 incidents, a follow-up letter 
containing investigation results and corrective actions must be completed and submitted to the 
Department of Water and Sanitation as soon as the investigation is concluded.  Sustainability 
Division: Environmental Management Department must be consulted prior to final reports 
being communicated to the authorities. 


Provide additional information to authorities once investigation is concluded and/or corrective and 
preventative actions are implemented. 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  63 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


Appendix E 


E.1 The following criteria will assist the reader w ith interpreting certain incidents 
classifications: 


a) Occupational diseases 


i. Any contractor diagnosed with an occupational disease/illness, where this is proven to be 
due to exposure on an Eskom site, must be recorded and included in Eskom’s 
performance measures. 


ii.  In the case of a pensioner diagnosed with an occupational disease/illness, such 
disease/illness must be reported in terms of section 25 of the OHS Act. Any medical 
practitioner who examines or treats a person for a disease/illness described in the COID 
Act or any other disease/illness that he/she believes arose out of, or in connection with, 
that person’s employment shall, within the prescribed period and in the prescribed 
manner, report the case to the person’s employer and to the chief inspector and inform the 
person accordingly; the incident must be recorded and included in Eskom’s performance 
measures. 


iii.  If an employee, during the exit medical assessment, is diagnosed with an occupational 
disease/illness, the incident will be recorded against the last OU/BU in which he/she was 
employed. 


 
b) Secondment  


An incident that involves an employee seconded to another OU/BU within Eskom and/ or 
its subsidiaries will be recorded against the OU/BU that employs that employee and where 
the cost of the employee is captured. Working hours will be allocated to the OU/BU that 
employs the employee, unless the individual’s cost centre is amended by agreement and 
processed within the SAP HR system to reflect the OU/BU to which he/she has been 
seconded.   


An incident that occurred during regular/normal work while the employee was transferred/ 
seconded to organisations external to Eskom (including Eskom Enterprises (Pty) Ltd) will 
be recorded against the OU/BU from which that person was transferred. 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  64 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


c) Travel-related incidents 


i. Commuting includes the following: 


• Travel, by any means, from the permanent place of residence to a regular place of work 
and/or back, and shall not be regarded as work-related travel.  


• When an employee makes use of a pool or rented vehicle during commuting or for 
private use, it is not regarded as work-related travel. 


• Where the employer provides transport that is free of charge, directly or indirectly, and 
the vehicle was driven by an Eskom employee who was an authorised driver, and the 
incident occurred between the time when an employee boarded the provided vehicle at 
the point of departure and the time when he/she arrived at the destination, will be 
regarded as work-related for the driver but in the case of the passengers it shall be 
regarded as non-work-related. All these incidents will be investigated in terms of Action 
and responsibility requirements table (see 3.4.4). 


ii. Work-related travel   


        The following will be regarded as work-related travel:  


• Eskom employee is travelling between the employee’s permanent place  of residence 
and an irregular place of work. 


• Eskom employee is travelling between a temporary place  of residence and regular 
place or irregular place of work. 


• Employees travelling between a regular or an irregular place of work for the purpose of 
buying food within a reasonable distance (as determined by the supervisor) and where 
an Eskom canteen is not available. 


If an Eskom employee is involved in an incident while travelling on personal business or for 
personal reasons to and from a regular or an irregular place of work, or deviates from an 
accepted regular/normal work-related route, that incident which occurred on the deviated 
part of the trip/route, will not be regarded as work-related. 


 
Temporary accommodation:  all incidents related to an employee while on a business trip 
that occurred at the hotel or temporary accommodation (Eskom-owned or not) will not be 
regarded as work-related, unless the premises were used for official work activities at the 
time of the incident. Each incident that results in a fatality or a serious incident must be 
investigated, findings and lessons learnt identified, and the incident presented to the 
applicable Divisional SHEQ Committee. The lessons learnt must be communicated 
throughout the division and the investigation report forwarded to Eskom Sustainability 
Systems and Legal Departments.   
An incident occurring where an employee staying at temporary accommodation, which 
does not provide meal(s), and the employee is required to go and purchase a meal, then 
the incident will be regarded as work related. This is not applicable to contractor 
employees.  


d) Call out travel related incidents:  any incident that occurs while an employee is responding 
to a call out duty: 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  65 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 
i. Travelling directly to the work place from either home or from another place, as 


circumstances may dictate, will be regarded as work related. (This must be interpreted 
within the requirements of the level 1- HR policies/ procedures). 


 
ii. On the return journey, travelling directly from the workplace going home will be regarded 


as work related; however, traveling to any other destination will be regarded as private and 
therefore classified as not work related. 


 
e) Eskom employees without a regular place of work:  an incident involving an Eskom 


employee who has no regular place of work shall be considered work-related if the incident 
occurred between his/her permanent place of residence and return from his/her duties for 
the day, excluding deviation of route or activities of a private nature. This is not applicable to 
contractor employees.  


 
g) An incident involving an Eskom employee who travels locally or abroad for business  


purposes, occurring while on the journey, shall be considered work-related, except if it 
occurred: during personal activities; during deviations for personal reasons, from a 
reasonably direct route of travel; or in the course of activities neither necessitated by the 
journey nor in the interest of the employer. 


 
h) Contractor travel incidents:  all incidents occurring on an Eskom site involving a contractor 


will be regarded as an Eskom-related contractor incident and recorded as such if it is within 
the scope of work. Contractor vehicle incidents occurring off-site or between sites where 
travelling is excluded from the contract will not be classified as an Eskom-related contractor 
incident. Each incident that results in a fatality or a serious incident must be investigated by 
the contractor, who will be requested to present the investigation findings and lessons learnt 
to the applicable Group/Divisional SHEQ Committee. The lessons learnt must be 
communicated throughout the division and the investigation report forwarded to Eskom 
Sustainability Systems and Legal Departments. 


 
i) Incidents occurring in parking areas:  any incident occurring in any parking area deemed to be 


reasonable for business-related purposes shall be considered as work-related.  
 


j) Entertainment by, or as, a customer/client:  an incident involving an employee while 
formally entertaining or being entertained as a customer/client in the interest of the 
employer, for example, for the purposes of receiving, discussing, or promoting business, 
shall be regarded as work-related.   
 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  66 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


k) Rules with regard to Work-relatedness/non-work-r elatedness of other general 
incidents: 


i. Voluntary work:  this will include any activity performed by any person on a voluntary 
basis, provided that the voluntary work is conducted in the interests of Eskom or its 
subsidiaries as part of its community development programme, and shall be regarded as 
work-related. Note:  Section 22 of the COID Act provides that an incident shall be deemed 
to have arisen “out of and in the course of employment” if the employee was so acting for 
the purposes of, or in the interests of, or in connection with, the business of his/her 
employer. 


ii. Business function/event/meeting: an incident occurring during any formal, pre-arranged 
business function/event/meeting paid for by Eskom, even if it was held outside the 
regular/normal workplace and/or working hours will be regarded as a work-related incident. 
Note:  Whether the incident is work related or not, it must be recorded on SAP EHS and 
reported to the Compensation Commissioner.  


iii. Incidents arising from team-building or sport days:  any incident that arises from 
participating in formally arranged team-building or sports days, including travelling, whether 
intended to be a team-building event or not, will be regarded as a non-work-related 
incident. However, an incident involving an individual who, in the course of performing 
his/her duty, organised or facilitated such an event will be regarded as work-related. Note:  
Whether the incident is work related or not, it must be recorded on SAP EHS and reported 
to the Compensation Commissioner.  


iv. Athletic activities sponsored by Eskom:  an incident resulting from participation in 
athletic activities will not be regarded as a work-related incident. However, an incident 
involving an individual who, in the course of performing his/her duty, organised or facilitated 
such an event will be regarded as work-related. 


Note:  Whether the incident is work-related or not, it must be recorded on SAP EHS 
reported to the Compensation Commissioner.  


v. Incidents from biokinetic exercises:  an incident resulting from official biokinetic exercises 
shall be classified as work-related if the incident occurred during working hours.  


vi. Shower room/ablution facility incidents: an incident that occurs while an employee is 
proceeding to or from a shower or ablution facility or that occurs while he/she is taking a 
shower or otherwise using washroom facilities on the premises before, during, or after 
working hours shall be regarded as work-related if the use of such facilities was 
necessitated by the employee’s work. However, if the incident occurred in respect of 
washing facilities relating to the person’s place of residence, for example, a camp, the 
incident will be considered non-work-related.  


vii. Incidents occurring during lunch and rest brea ks:  an incident that occurs during an 
employee’s specifically defined lunch break or other specifically defined off-duty period 
shall be considered non-work-related, unless it arises as a result of hazards within Eskom’s 
control in the work area.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  67 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


 Note:  A specifically defined lunch or rest break refers to either a set time or a time 
reasonably deemed to be a lunch or rest break by a manager or supervisor. If a horse play 
incident occurred during a lunch or rest break, the horse play incident will be regarded as 
work related.  


viii. Physical violence at work:  all incidents of violence at work must be investigated to 
establish whether the violence was work-related or related to personal issues. If the incident 
is related to personal issues, it should be classified as non-work-related.  


ix. Playing around (Horseplay) at work:  all incidents involving playing around at work are 
regarded as work-related.  


 x. Purposely inflicted and/or premeditated inciden ts:  an incident where a person purposely 
inflicted harm or injury to himself or herself shall be considered work-related if it arises out 
of, and in the course of, employment. If the incident is unrelated to the injured person’s work, 
it shall be considered a non-work-related incident. 


 xi. Incidents arising from activities necessitated  by external events:  an incident due to an 
activity or response necessitated by an external event, for example, firefighting, cleaning up 
debris, or repairing equipment, shall be classified as work-related, provided that it arises out 
of, and in the course of, the employee’s duties. 


     Note:  The person must be fully trained in performing that activity, and it must be in line with   
the employee’s appointed duties. 


xii. Exposure to temperature extremes:  an incident resulting from exposure to temperature 
extremes (heat or cold) that could or did lead to the symptoms of a related condition is a 
work-related incident if it arises out of, and in the course of, employment. 


xiii. Skin irritation and infections:  skin lesions, allergic reactions, sensitisation, atopic 
dermatitis, or infection-related incidents are classified as work-related if they arise out of, 
and in the course of, employment. This will include skin cancer where an employee was 
exposed to the sun or any other stress factor that, according to a medical practitioner, could 
have been the cause of the cancer. 


xiv. Inguinal hernia:  an inguinal hernia (right, left, or bilateral hernia in the groin) shall be 
considered a work-related injury only if it is precipitated by an impact, sudden effort, or 
severe strain and meets all of  the following conditions: 


• A clear record exists of an incident such as a slip, trip, fall, sudden effort, or overexertion. 
• Actual pain was experienced in the hernia region at the time of the incident. 
• The immediate pain was so acute that the injured was forced to stop work for long 


enough to draw the attention of his/her supervisor or fellow employees.  
• The attention of a physician was secured within 12 hours. 
• There is no evidence of a congenital hernia defect. 


 







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  68 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


xv. Back injuries and strains: a back injury or strain shall be considered a work-related injury if it 
meets all of the following conditions: 


• It is caused by an incident such as a sudden effort or overexertion or blow on the back or a 
slip, trip, or fall that is clearly and formally recorded. 


• The incident that caused the back condition was reported to the supervisor immediately or 
not later than at the end of the shift on which it occurred. 


• The physician treating the case is satisfied, after a complete review of the circumstances of 
the incident, that the injury could have arisen from the said incident and that the disability 
did not exist prior to the incident. 


xvi. Muscular disability:  muscular disabilities such as bursitis, tenosynovitis, etc. are work-related 
injuries if they arise out of, and in the course of, employment.  


xvii. Illness from antitoxin, vaccines, or drugs:  illness resulting solely from a reaction to an 
antitoxin, vaccine, or drug during the treatment of an employee shall be classified as a non-
work-related incident, excluding any individual exposed as part of his/her duty, for example, 
sewerage workers, medical staff, first-aiders, or proto team members. 


xviii. Vector-borne/transmitted diseases/illnesses or death:  when an employee contracts a 
vector-borne disease/illness that is endemic to his/her regular/normal place of residence and 
workplace, the disease/illness will be regarded as non-work-related. When an employee, 
whose regular/normal place of residence is not located in a defined endemic area, is deployed 
in an endemic area where he/she contracts the disease/illness, the disease/illness will be 
regarded as work-related. The Compensation Commissioner could apply the same criteria 
when considering compensation claims. 


xix. Animal and insect bites:  incidents involving animal bites and insect bites/stings are regarded 
as work-related when they arise out of, and in the course of, employment. 


xx. Death of animals:  incidents resulting in the death of animals and/or protected birds due to 
Eskom’s activities or products must be reported, recorded on SAP EH&S, investigated, and 
lessons learnt shared.  


xxi. Death from undetermined origin:  where a fatality occurs where the death of the person may 
have resulted either from an illness or from an incident following the illness, the incident shall 
be considered work-related only if it is the opinion of the attending medical practitioner (for 
example, medical practitioner engaged or authorised by the employer) that the illness arose 
out of, or in connection with, the deceased’s duties or was aggravated by the deceased’s 
work. 


xxii. Food and water poisoning:  incidents resulting from poisoning, where the food and/or water 
was provided free of charge or subsidised by the employer to the employees from internal 
sources or external sources managed by means of a formal agreement, shall be considered 
work-related, unless proven that the individual was negligent.  


xxiii. Security incidents: incidents involving contractor security personnel involved in any incident 
unrelated to their scope of work or guarding their own assets at the contractor dedicated site 
will not be classified as Eskom-related incidents. Each incident that results in a fatality or a 
serious incident must be investigated by the contractor, who will be requested to present the 
investigation findings and lessons learnt to the applicable Group/ Divisional SHEQ Committee. 
The lessons learnt must be communicated throughout the division and the investigation report 
forwarded to Eskom Sustainability Systems and Legal Departments.  







Environmental, Occupational Health and Safety 
Incident Management Procedure 


Unique Identifier:  32-95 


Revision:  6 


Page:  69 of 68  


 


CONTROLLED DISCLOSURE 


When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the 
user to ensure it is in line with the authorized version on the system. 


No part of this document may be reproduced without the expressed consent of the copyright holder, Eskom Holdings SOC Ltd, 
Reg No 2002/015527/30. 


 


xxiv. Subcontractor or principle contractor inciden ts involving external service providers:  
incidents involving subcontractors or principle contractors’ external service providers will not 
be regarded as work-related incidents for Eskom.  


General note 1: Injuries where the person ignores a  medical certificate, cancellation of lost 
time injury and reclassification of original assess ment: Following treatment for a work injury, the 
attending physician issues a medical certificate entitling the injured to recuperate. If the employee 
feels he/she can carry on with his/her work, he/she should ask the doctor to reassess his medical 
fitness and cancel the medical certificate before he/she returns to work and to inform the relevant 
responsible manager / Eskom medical practitioner accordingly. The cancelled certificate should 
indicate the date of cancellation and the reasons for cancellation of the original certificate. This 
incident must be reported to the Compensation Commissioner to prevent the lost days’ wages being 
refunded to the employer (Eskom). 


General note 2: Doubtful degree of disability:  If in doubt about the degree of disability, the 
classification of an injury shall be based on the decision of the attending medical practitioner. 


General note 3. Second opinion regarding disability /injury:  In the event that a responsible 
manager doubts the opinion of the attending physician regarding the severity of the injury of an 
injured employee, the responsible manager is entitled to (within a period of 72 hours)  refer the 
employee to the Eskom doctor  for a second opinion. The injured shall be obliged to co-operate and 
the second opinion shall take precedence if differing from the first opinion. The attending physician 
should at all times act in the best interests of the patient. Contractors should handle second opinion 
based on their policies and procedures 






