{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["optical assistive devices"],"not_rendered":{"external_links":1,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"optical assistive devices","index":0,"n_rows":114,"n_cols":19,"rows_kept":114,"merged":[[0,0,0,18],[1,0,1,8],[1,9,1,14],[1,15,1,16],[1,17,1,18],[2,0,2,8],[2,9,2,14],[4,0,4,8],[5,0,5,1],[5,2,5,8],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,0,14,8],[20,0,20,8],[21,0,21,8],[24,0,24,8],[29,0,29,8],[32,0,32,8],[37,0,37,8],[43,0,43,8],[44,0,44,8],[45,1,45,18],[51,1,51,8],[56,1,56,8],[61,1,61,8],[70,0,70,8],[71,1,71,8],[75,0,75,8],[76,1,76,8],[79,0,79,8],[80,1,80,8],[87,0,87,8],[88,1,88,8],[94,0,94,8],[95,1,95,8],[101,0,101,8],[102,0,102,8],[103,1,103,8],[108,0,108,8],[109,1,109,8],[112,0,112,8]],"flags":["formulas_cached_only"]}
[" PRICING SCHEDULE: OF GT/GDH/127/2024 AS A SUPPLEMENTARY TENDER TO GT/GDH/032/2022 THE SUPPLY AND DELIVERY OF OPTICAL ASSISTIVE DEVICES TO THE GAUTENG DEPARTMENT OF HEALTH INSTITUTIONS ENDING ON 31 AUGUST 2026."]
[{"$nulls":9},"PROVIDE A COST BREAKDOWN AS A PERCENTAGE OF TOTAL UNIT PRICE",{"$nulls":7},"IS PRODUCT IMPORTED OR MANUFACURED LOCALLY?"]
[{"$nulls":9},"COST BREAKDOWN (PER ITEM)",{"$nulls":5},"RULING DATE"]
["ITEM NO","SAP NO","ITEM DESCRIPTION","UNIT OF MEASURE","TENDER PRICE/UNIT","STATE PACKAGING /BOX QUANTITY","BRAND","LEAD TIME (DAYS)","COMPLY YES / NO","DIRECT MATEIRAL: % IMPORTED","DIRECT MATERIAL: % LOCAL CONTENT","%DIRECT LABOUR","% TRANSPORT","% OTHER OVERHEADS AND %PROFITS","%TOTAL","RATE OF EXCHANGE","ADJUSTMENT FREQUENCY","IMPORTED","LOCALLY MANUFACTURED"]
["OPTICAL ASSISTIVE DEVICES"]
["ABBREVIATIONS"]
["PSSP",": Public Service Spectacle Packages"]
["PMMA",":  Polymethylmethacrylate"]
["MGP",": Medium Gas Permeable"]
["HGP",": High Gas Permeable"]
["ZYL",": Plastic Frame"]
["BILATERAL",": Both Eyes"]
["BC",": Base Curve"]
["DIA",": Diameter"]
["SINGLE VISION PACKAGE (with or without fixed tint)"]
["PUBLIC SERVICE SPECTACLE PACKAGES (COMPLETE- FRAME+ CR-39/ORGANIC LENSES)"]
["ITEM 1",116890,"PSSP SINGLE VISION(Standard) with Zyl Frame CODE  91001: RANGE:SPH +4.00D/-6.00D Cyl < -2.00DC","Each"]
["ITEM 2",116892,"PSSP SINGLE VISION(Standard) with Metal Frame CODE  91021:  RANGE:SPH +4.00D/-6.00D Cyl < -2.00DC","Each"]
["ITEM 3",116895,"PSSP SINGLE VISION(Surfaced) with Zyl Frame  CODE  91101:                                                                                          RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC","Each"]
["ITEM 4",116897,"PSSP SINGLE VISION(Surfaced) with Metal Frame  CODE 91121:                                                                            RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC","Each"]
["BIFOCALS PACKAGE (with or without fixed tint)"]
["PUBLIC SERVICE SPECTACLE PACKAGES (COMPLETE- FRAME+ CR-39/ORGANIC LENSES)"]
["ITEM 5",116899,"PSSP BIFOCALS (Flat Top) with Zyl Frame   CODE 91301:                                                                                                   RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC (+1.50 to +3.00)","Each"]
["ITEM 6",116900,"PSSP BIFOCALS (Flat Top) with Metal Frame  CODE  91321:                                                                                         RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC (+1.50 to +3.00)","Each"]
["PUBLIC SERVICE SPECTACLE PACKAGES (Replacement lenses to original PSSP frame – Per lens)"]
["ITEM 7",116913,"PSSP SINGLE VISION (Standard) on Zyl & Metal Frame CODE  91011:  RANGE:SPH +4.00D/-6.00D Cyl < -2.00DC ","Each"]
["ITEM 8",116914,"PSSP SINGLE VISION (Surfaced) on Zyl & Metal Frame  CODE  91111   RANGE:SPH +4.00D/-6.00D Cyl < -2.00DC","Each"]
["ITEM 9",116915,"PSSP FT Bifocal  (Standard) on Zyl &Metal Frame  CODE  91211                                                                               RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC(+1.50 to +3.00)","Each"]
["ITEM 10",116916,"PSSP FT Bifocal (Surfaced)  on Zyl &Metal Frame  CODE  91311:                                                                              RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC(+1.50 to +3.00)","Each"]
["PUBLIC SERVICE SPECTACLE PACKAGES (Replacement Frames to original PSSP lenses)"]
["ITEM 11",116917,"Zyl Frame ONLY  CODE   91401:   Includes transfer to identical Zyl frame                         ","Each"]
["ITEM 12",116918,"Metal Frame ONLY   CODE  91431:    Includes transfer to identical Metal frame                         ","Each"]
["BILATERAL SPECTACLES FRAME+LENSES PACKAGE(READY MADE) Dioptric powers from 1.00D"]
["ITEM 13",116919,"Spectacles (UNISEX FRAME)    Bilateral CR 39, scratch resistant lenses from  18.00D to -18.00D in 0.50D steps                                                                                                                                                                                                                                                                                                                                                                                                                                          ","Each"]
["ITEM 14",116920,"Spectacles (ADULT  MALE FRAME) Bilateral CR 39, scratch resistant lenses from  +18.00D to -18.00D in 0.50D steps                                                                                                                                                                                                                                                                                                                                                                                                                                         ","Each"]
["ITEM 15",116921,"Spectacles (ADULT  FEMALE FRAME)  Bilateral CR 39, scratch resistant lenses from +18.00D to -18.00D in 0.50D steps","Each"]
["ITEM 16",139382,"Bilateral Unisex CR 39, scratch resistant lenses  (Ready Made) from                  +10 to.00 D - +18.00D in 1.00D steps","Each "]
["CONTACT LENSES (HARD AND SOFT) "]
["ITEM 17",116923,"HARD CONTACT LENS*   CODE:24022:  PMMA/MGP/HGP   Powers Sph Pl to +/- 10.00D, Cyl <-10.00   Water content >38%  DIAMETER AND BASE CURVE RANGE :PER PRACTITIONER’S ORDER","Each"]
["ITEM 17.1",117299,"Contact lens case","Each"]
["ITEM 17.2",117301,"Trial lens set(supplier to furnish practitioners with trial lens set- starter kit) ","Each"]
["ITEM 17.3",117302,"Hydrogen peroxide solution (hard) -250ml ","Each"]
["ITEM 17.4",117304,"Soaking solution for hard contact lenses(120ml)","Each"]
["LOW VISION"]
["MAGNIFIERS"]
["ITEM 18","Hand held magnifier with LED light- illuminated pocket magnifier which is 400 mm, has attachable filters which allow choice of ideal colour of light to suite vision requirement, with case and strap for attaching to belt"]
["ITEM 18.1",116986," 3x mag","Each"]
["1ITEM 18.2",116987," 4x mag","Each"]
["ITEM 18.3",116988,"12x mag","Each"]
["ITEM 18.4",116989,"6x mag","Each"]
["ITEM 18.5",116990,"90 mm 2.5 x mag","Each"]
["ITEM 19","Hand held magnifier with standard light- Compact illuminated pocket magnifier with highest image quality and scratch resistance lenses, aspherical  light –weight lens, with a large lens diameter and must provide a large field of view. Lenses must be coated on both sides "]
["ITEM 19.1",116982,"pocket torch 3x mag","Each"]
["ITEM 19.2",116983,"pocket torch 5x mag","Each"]
["ITEM 19.3",116984,"pocket torch 7x mag","Each"]
["ITEM 19.4",116985,"pocket torch 10x mag","Each"]
["ITEM 20","Hand Held non-illuminated magnifier- light weight"]
["ITEM 20.1",116979," 2x mag","Each"]
["ITEM 20.2",116982," 2.5 xmag","Each"]
["ITEM 20.3",116981,"3x mag","Each"]
[]
["ITEM 21","Stand Magnifier – battery handle with filament bulb, provides bright, even illumination of the reading text"]
["ITEM 21.1",116971,"rectangular head 3x mag","Each"]
["ITEM 21.2",116972,"Torch head 4x mag","Each"]
["ITEM 21.3",116973,"Torch head 5x mag","Each"]
["ITEM 21.4",116974,"6x mag head","Each"]
["ITEM 21.5",116975,"7x mag head","Each"]
["ITEM 21.6",116976,"torch head 10x mag","Each"]
["ITEM 21.7",116977,"12.5x mag head","Each"]
["ITEM 21.8",116978,"Stand magnifier – battery handle with LED illumination with unlimited service life and do not require changing","Each"]
[]
["ITEM 22","Stand Segment Bright Field Magnifier- illuminated, aspheric Makrolux with LED light."]
["ITEM 22..1",116967," with no additional lenses","Each"]
["ITEM 22.2",116968,"with additional lenses","Each"]
["ITEM 22.3",116969,"Stand Segment Bright Field Magnifier-Non-illuminated with menus zoom","Each"]
[]
["ITEM 23"," Magnification Non illumination"]
["ITEM 23.1",116965,"Ruler magnifier, light weight 2x magnification","Each"]
["ITEM 23.2",116966,"Round the neck chest magnifier-light weight 2x magnification","Each"]
[]
["ITEM 24","Head –borne and clip on magnifier- this clips into the existing spectacle frame"]
["ITEM 24.1",116959," 1.7 x mag","Each"]
["ITEM 24.2",116960," 2x mag","Each"]
["ITEM 24.3",116961," 2.5 x mag","Each"]
["ITEM 24.4",116962,"  3x mag","Each"]
["ITEM 24.5",116963,"  4x mag","Each"]
["ITEM 24.6",116964," 7x mag","Each"]
[]
["ITEM 25","High Plus Prismatic Spectacles ( Half-eye readers with built in prism and high plus adds)"]
["ITEM 25.1",116952," +4.00D","Each"]
["ITEM 25.2",116954," +6.00D","Each"]
["ITEM 25.3",116955," +8.00D","Each"]
["ITEM 25.4",116957,"  +10.00D","Each"]
["ITEM 25.5",116958,"  +12.00D","Each"]
[]
["ITEM 26","High Plus Prismatic Spectacles (Full-eye readers with built in prism and high plus adds)"]
["ITEM 26.1",117004," +4.00D","Each"]
["ITEM 26.2",117003," +6.00D","Each"]
["ITEM 26.3",116948," +8.00D","Each"]
["ITEM 26.4",116949," +10.00D","Each"]
["ITEM 26.5",116951," +12.00D","Each"]
[]
["TELESCOPES"]
["ITEM 27","Monocular telescopes- hand held near and distance focusable telescopes"]
["ITEM 27.1",116997," 3x mag , 20 degrees field view","Each"]
["ITEM 27.2",116996,"4x mag, 12 degrees field of view","Each"]
["ITEM 27.3",116995," 6x mag, 16 degrees field of view","Each"]
["ITEM 27.4",116994," 8x mag, 21 degrees field of view","Each"]
[]
["ITEM 28","Spectacle telescopes"]
["ITEM 28.1",116993,"spectacle telescope 2x mag for distance","Each"]
["ITEM 28.2",116992,"spectacle telescope 2x mag for near","Each"]
[]
["ITEM 29",116991,"Ultraviolet Shields- UV  filters which fit over prescription spectacles- absorbs ultra violet radiation to 400 nm","Each"]