Eskom Holding SOC Ltd

                                                                                       Contract number _____________
Design, Engineering, Procurement, Construction, Construction Management, Start-up, Commissioning, Performance Testing, Operator and Maintenance Training, and two (2) years of Operation and Maintenance of a 36MWac Solar Photovoltaic (PV) Plant at Tutuka Power Station

Part C4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1 of 10 

	C4
	Site Information
	2 of 10

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	10


Part C4: Site Information
1. General Description

Tutuka Power Station (Tutuka PS) is an operational coal-fired power generation facility located approximately 25 km north of Standerton in the Mpumalanga Province, South Africa. The Power Station is accessible via the R39 and R38 Provincial and National access routes. The Tutuka Power Station falls within the LEKWA Local Municipality in Mpumalanga Province.
The Station consists of six (6) coal-fired generating units with associated auxiliary plants, coal handling systems, ash handling infrastructure, workshops, administration buildings, water treatment systems, and switchyards.

The Site for this Contract is located within the secure Tutuka PS boundary, under Eskom ownership and control. The Site is accessed via the main station security gate off link road connecting Routes R39 and R38 Provincial and National access routes. All vehicular movement is subject to Eskom site access protocols, induction, and security screening.
The approximate GPS coordinates of Tutuka Power Station are 26°46'43.0"S 29°21'07.0"E
(-26.778611, 29.351944)
The immediate surroundings include:

· Coal stockyards to the east and northeast.

· Ash disposal facilities and associated pipelines to the west and Northwest.

· Existing buildings, workshops, and administration blocks located within the main plant area.

· 765kV and 132 kV transmission infrastructure in and around the station precinct.

· Various internal roads, drains, and cable trenches forming part of the station layout.

A Site Layout Plan and Boundary Drawing identify all relevant features and are referenced in the Works Information.
[image: image1.png]



The PV Site is located within the secured boundary of Tutuka Power Station, located on portions 4, 10, 11 and 12 of the farm Pretorius Vley 374 IS, near Standerton within the LEKWA Local Municipality in Mpumalanga Province, and includes:
· The 36MWac Solar Photovoltaic (PV) Plant area

· Associated equipment and infrastructure

· Access roads, perimeter fencing, drainage areas

· Safety zones, switching yards, LV/MV reticulation points

· Tutuka Power Station operational facilities relevant to the Service
21 SG Code:

[image: image2.png]Tutuka PV facility

0
1

074

0

1
1

0
0

i0

40

t

4[0;0
410

7
|

000003

R AR ERE

0|0

i0000003:7400012‘

0

sfofojofofoTfo]ofofe][3i7

S 000

0

O[T s[0 0

T
T

0

T 01 |s]o

T





[image: image3.png]Alternative (preferred site) Latitude Longitude i
Western Section 26° 46'58.894' S 29°21"10.338"E
| 26°47'07475"S 29°21"11.189"E
[26°47'06.482'S 29°21"06.721"E
Eastern Section 26°46'53433'S 29°21"10.905"E
26°46'51.518"S 29°21"34.948"E
26°46'52.133'S 29°21"34.782'E
26°46'52917"S 29°21"34.844"E
26°46'57.251"S 29°21'34522'E
26°46'59.182'S 29°21'33.723"E
26°47'00.237" S 29°21'33.576" E
26°47'01.215'S 29°21'33.450"E
26°47'01.919'S 29°21'33441"E |
26° 47'03.159" S 29°21'33637"E i
26°47'03609' S 29°21'33799'E |
26° 47'04.058" S 29°21'34.015"E 1
26° A7'10.346" S 29°21'33548'E I
26°47'10.921"S 29°21'33.383'E ;
26°47'12.249"S 29°21'32.780"E i
26° 47" 12562" S 29°21'32680'E i
26°47'07.972" S | 29°21'12.324'E !
Tutuka PV substation 26° 46'53.355" S 29°21'11.882'E
26°46'53.290" S 29°21'126%0" E
26° 46'53.899" S 29°21"12733'E

26° 46'53.967" S

29°2111.945"E





[image: image4.png]| Power Line: Starting Point (Om) — 26° 46' 53656" S 29°21"11.086"E

| 250m 26°46'46310°S 29°21'09570"E
L

500m 26°46'46.984" S 29°21'00.548" E

End Point (510m) - start of underground cable ! 26°46'47010°S 29°21'00.196"E





Drawing Layout of PV Plant
[image: image5.png]LEGEND

I

Nof modules per MVA: 4,440
Power Peak: 1,110 kWWp

L
|

3 w0100
s W0 700
¥ asoezarn
i) Ss100620

Tutuka site border coordinates (WG 29)

Zaeeea 1)

esvas i)
g ol
Zaeea 2500

o)

ESKOM HOLDING LIMITED
GROUP TECHNOLOGY
ESKOM ENTERPRISES PARK.

e o e —t—r————

Eskom

Tutuka PV Prant
Indicativo Layout
Poycrstaiine
P Moduion





Facility Sensitivity Maps
[image: image6.png]1378
Tutuka Solar Energy Facility

Environmental sensitvy and layout map

Legend

‘Secondary roads

== ke Power ation
E o portens

Layout Pla

Site Access Route

| 111324V Power Line

= = Underground Cable

[ Access fo the site

[0 Laydown Consiruction Area

[ &M Buiding

I Proposed PV Plant Substation

[ Proposed Connection Poirt
PV sie

Environmental sensitivity
Wetiand (No-go area)
Wetland Buffer (30m_No-go area)

loe eckionis Grassiand
(High Ecological Sensitvity

I Hermannia depressa Grassland
(Low Ecological Sensituiy)

| Arisida biparita Degraded Grassland
(Low Ecological Sensitivity)

High Avfauna Senstvy
[ Medium - High Avifauna Sensitvty
Medum - Low Avifauna Sensiiviy





The Site falls within a controlled, high-security Eskom operational environment. All Contractor personnel require pre-authorisation, security vetting and induction.
2. Site Weather Data

2.1. One-in-ten-year-return weather data obtained from SA Weather Bureau for Ermelo station
If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the Services and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

ERMELO WO (2015-2024)
Coordinates: -26.4977, 29.983800000000

Altitude: 1774m

	
	One-in-ten-year-return

	Month
	Cumulative rainfall (mm)
	Number of days with rain more than 10mm
	Number of days with min air temp < 0 °C
	Number of days with snow lying at 08:00 CAT

	January  
	258.2
	8
	0
	No Data

	February 
	208
	7
	0
	No Data

	March    
	141.6
	4
	0
	No Data

	April    
	162
	8
	0
	No Data

	May      
	31.8
	1
	1
	No Data

	June     
	26
	1
	5
	No Data

	July     
	7.4
	0
	9
	No Data

	August   
	24.8
	1
	3
	No Data

	September
	42.8
	2
	1
	No Data

	October  
	107
	4
	1
	No Data

	November 
	166.6
	5
	0
	No Data

	December 
	292.2
	11
	0
	No Data


Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

All site information contained in this document must be read in conjunction with the Tutuka Solar PV Plant Functional Specification, which supersedes and complements the requirements herein. The Functional Specification provides the definitive technical, operational, interface, and performance requirements for the Solar PV Plant, and the Contractor shall ensure full compliance with its provisions when interpreting, designing, planning, or executing any works associated with this Contract.

3. Existing buildings, structures, and plant & machinery on the Site
Tutuka PS is a brownfield facility, and the Contractor will be working adjacent to or interfacing with existing operational infrastructure. All works associated with the Solar PV Plant shall be undertaken with full regard to the requirements, interface points, and performance obligations defined in the Tutuka Solar PV Plant Functional Specification (FS), which forms an integral part of this Site Information.

3.1. Existing Buildings and Structures

· Turbine Hall Buildings (Units 1–6)

· Boiler Houses for Units 1–6

· Control Room and Auxiliary Electrical Buildings

· Coal Conveyors, Transfer Towers, and Coal Handling Facilities

· Water Treatment Plant and Demineralisation Facilities

· Auxiliary Cooling Fans and Cooling Towers, Cooling Water Canals, and Pump Houses

· Workshops, Stores, and Maintenance Facilities

· Administration Buildings and Security Facilities
The Contractor shall ensure that all interfaces between the Solar PV Plant infrastructure—including inverter stations, cabling routes, earthing systems, and grid-tie connections—are fully coordinated with the above structures as per the Tutuka Solar PV Plant Functional Specification.
3.2. Existing Plant & Machinery

· Turbines, boilers, transformers, MCCs, and HV/LV switchgear

· Elevated pipe racks and cable trays

· Existing mechanical, electrical, and control system hook-up points (as per project-specific design requirements)

· Operational valves, pumps, fans, compressors, and fuel-handling equipment
In accordance with the Tutuka Solar PV Plant Functional Specification the Contractor shall integrate new PV-related electrical and control equipment with the existing plant without disrupting station operations. The Tutuka Solar PV Plant Functional Specification defines the required technical interfaces, including SCADA, protection, metering, and HV interconnection requirements.
3.3. As-Built Information

The Contractor shall refer to the Tutuka Solar PV Plant Functional Specification in conjunction with these as-built records to verify interface points, protection coordination limits, cabling capacities, and allowable tie-in locations for the PV Plant infrastructure. 

· General Arrangement (GA) of main plant buildings

· Cable routing and trench layouts

· Mechanical P&I diagrams (station-level)

· Structural and civil foundations for areas adjacent to the Works

· Electrical single-line diagrams and existing equipment schedules

4. Subsoil information
Tutuka PS is constructed on soil formations typical of the Mpumalanga Highveld region. The predominant geology comprises:

· Residual soils underlain by weathered shale and sandstone.
· Sections of dolerite intrusions.
· Variable in-situ bearing capacity in previously disturbed (brownfield) areas.
The following geotechnical information is available for the Site and shall be relied upon by the Contractor:

· Borehole logs and geotechnical investigation reports.
· Laboratory test results for natural ground and compacted fill.
· Soil profile descriptions for areas around cooling towers, coal handling, and auxiliary plant zones.
· Groundwater table readings historically ranging between 2.5 m – 6 m below natural ground level.
For PV plant foundations (module support structures, inverter pads, cable trenching, and earthing), the Contractor shall ensure that all assumptions and design approaches remain consistent with both the available geotechnical data and the structural design requirements stated in the Tutuka Solar PV Plant Functional Specification. Where no geotechnical information exists for new work areas, the Contractor is to assume the soil conditions are consistent with the data provided unless indicated otherwise and the Contractor shall be responsible to undertake its own geotechnical studies.

5. Hidden services 

Tutuka PS contains extensive underground services due to its age and complexity. These include:

· Electrical HV/LV underground cables in concrete-encased trenches

· Instrumentation and control cabling

· Fire water mains, potable water piping, and raw water supply infrastructure

· Stormwater drainage pipes, manholes, culverts, and oily water drainage systems

· Effluent and ash-water return pipelines

· Sewerage pipelines and septic connections

Where the exact location of buried services cannot be verified, the Contractor must:

· Assume services exist in all working areas.

· Perform utility detection scanning prior to any excavation.

· Protect and support existing services in accordance with Eskom standards.

PV-related trenching, DC/AC cable routing, fibre runs, earthing grid extensions, and inverter station placements shall be carried out strictly in accordance with the routing and protection requirements detailed in the Tutuka Solar PV Plant Functional Specification, particularly where existing buried services may impose restriction
6. Other reports and publicly available information

The following additional information is available and is relevant to the Contractor’s planning, method of working, and programme development The Contractor shall ensure that environmental and stormwater-related requirements for the PV Plant, including panel wash-water management, stormwater diversion, and erosion protection, comply with the provisions of the Tutuka Solar PV Plant Functional Specification and applicable authorisations:

6.1. Environmental & Hydrological Reports

· Tutuka PS Environmental Authorisation (EA) Records

· Local hydrological data for stormwater management where applicable.
· Pollution control dam capacity studies and catchment flow maps where applicable.
6.2. Mapping & Surveys

· Topographical survey maps where applicable.
· Mpumalanga Department of Mineral Resources geological mapping where applicable.
· Updated aerial imagery of the power station precinct (2023)
These mapping resources must be used together with the platform layout, solar field configuration, and inverter station positions as specified in the Tutuka Solar PV Plant Functional Specification to validate final positioning, levels, and alignments.
6.3. Infrastructure & Wayleaves

· Servitude and wayleave records for transmission lines and pipelines crossing the station boundary

· SANRAL and Provincial Roads Department mapping of the R35 road corridor
All wayleave-dependent PV infrastructure—such as overhead line tie-ins, fencing, or access roads—shall be designed and constructed consistent with the clearances and constraints identified in the Tutuka Solar PV Plant Functional Specification.


Part C4: Site Information
Page 4 of 10
C4 TSC3 Site Information

