{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["COVER SHEET","REVISION CONTROL","DEFINITIONS","NOTES","Terminal List Points"],"not_rendered":{"images":1,"defined_names":3},"read":"whole","date_system":"1900"}

{"sheet":"COVER SHEET","index":0,"n_rows":20,"n_cols":3,"rows_kept":20,"merged":[[0,0,1,0],[0,1,1,1],[2,0,2,2],[3,0,3,2],[4,0,13,0],[7,1,9,1],[15,0,16,0],[15,1,16,1],[15,2,16,2],[19,0,20,0],[19,1,20,1],[19,2,20,2]]}
[null,"Strategy Document","Group Technology"]
[null,null,"Engineering"]
["TITLE:  MEDUPI POWER STATION N2H2 PLANT"]
["TERMINAL POINTS (TP)"]
[" ","Template Identifier:","N/A"]
[null,"Unique Identifier:","348-10124242"]
[null,"Alternative Reference Number:","N/A"]
[null,"Area of Applicability:","Medupi Power Station N2H2 Plant"]
[null,null,"Strategy Document"]
[null,null,"TERMINAL POINTS (TP)"]
[null,"Revision:",1]
[null,"Date issued","2025-08-21"]
[null,"Disclosure Classification:","CONTROLLED DISCLOSURE"]
[]
["Compiled by","Accepted by","Authorised by"]
["Matswele Molabe","Zak Jiyane","Rofiwha Nemutandani"]
[]
[]
["Mechanical Enigneer"," Engineering Design Work Lead","Project Engineering Manager"]
["Date: ……………………………","Date: ……………………………","Date: ……………………………"]

{"sheet":"REVISION CONTROL","index":1,"n_rows":11,"n_cols":4,"rows_kept":11,"merged":[[0,0,0,3],[4,0,4,3]]}
["TP Revision Control"]
["Revision No:","Revised by: ","Date","Key Updates"]
[1,"Matswele Molabe","2025-08-21","TP draft"]
[]
["TP Approval"]
["Name ","Designation ","Date","Signature"]
["Zak Jiyane","Engineering Design Work Lead"]
["Banele Mbendane","Lead Discipline Engineer – Electrical "]
["Mdu Shozi","Lead Discipline Engineer - C&I "]
["Morapeli Matjoi","Lead Discipline Engineer – LPS"]
["Tau Chokoe  /  Justin Padiachy","Lead Discipline Engineer – Civil "]

{"sheet":"DEFINITIONS","index":2,"n_rows":63,"n_cols":3,"rows_kept":63,"merged":[[0,0,0,2],[14,0,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,0,55,2],[56,1,56,2],[57,1,57,2],[58,1,58,2],[59,1,59,2],[60,1,60,2],[61,1,61,2],[62,0,62,2],[63,0,63,2],[64,0,64,2],[65,0,65,2],[66,0,66,2],[67,0,67,2],[68,0,68,2],[70,0,70,2],[71,0,71,2],[72,0,72,2]]}
["PACKAGE KEY"]
["Package Number","Abbreviation","Description"]
[]
["E = ENGINEER (ESKOM)"]
["P20E = H2 CONTRACTOR-GENERATING UNIT"]
["P20F = H2N2 CONTRACTOR-INTEGRATED SCOPE-CONSTRUCTION, COMMISSIOING AND INTEGRATE OF SCOPE C"]
{"$rows_empty":8}
["ABBREVIATIONS"]
["H2","Hydrogen"]
["HP","High Pressure"]
["N2","Nitrogen"]
["WTP","Water Treatment Plant"]
{"$rows_empty":36}
["DEFINITIONS"]
["Blanked","Refers to  deliberately cutting of flow in pipeline"]
["Compressor","Refers to a mechanical device that increases the pressure of a gas by reducing its volume"]
["Terminal","Refers to a section where solid,fluid, gas or liquid destination ends in a process or structure "]
["Pit","Refers to a large construction hole in the ground"]
["Valve","Refers to a device that regulates, directs, or controls the flow of a fluid, gas osr slurry"]
[]
["NOTES"]

{"sheet":"NOTES","index":3,"n_rows":7,"n_cols":7,"rows_kept":7,"merged":[[0,0,1,6],[2,0,2,6],[3,1,3,5],[4,1,4,5],[5,1,5,5],[6,1,6,5],[7,1,7,5],[14,0,14,6]]}
["MEDUPI POWER STATION \nN2H2 PLANT"]
[]
["TP REGISTER"]
["NOTES","NOTE DESCRIPTION",{"$nulls":4},"COMMENTS"]
[1]
[]
[2]

{"sheet":"Terminal List Points","index":4,"n_rows":19,"n_cols":9,"rows_kept":19}
[]
["Descipline ","Package","Medium","TP","Location","Description","Drawing No","Alternative Drawing No","Remarks"]
["LPS","P20F","NITROGEN"," TP-03-20C-001","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 1 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN"," TP-03-20C-002","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 2 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN"," TP-03-20C-003","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 3 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN"," TP-03-20C-004 ","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 4 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN"," TP-03-20C-005 ","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 5 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN"," TP-03-20C-006 ","blanked before isolating valve from Tank to Main N2 Supply line","TO CONDENSATE RESERVE TANK 6 ((Package 3, Terminal Point))","0.84/65861","0.84/503","Latest"]
["LPS","P20F","NITROGEN","TP-06-20C-001","blanked before isolating valve from Tank to Main N2 Supply line","TO WATER TREATMENT PLANT (Package 6, Terminal Point)","0.84/65861","0.84/503","Latest"]
["LPS","P20F","WATER","TP-04-03-03","terminal point located in Pit next to the Hydrogen and Nitrogen designated location","FIRE WATER RING VALVE PIT AA/AA1","0.84/392",null,"might be supercided, Employer to share atest"]
["LPS","P20F","WATER","TP-04-03-210","terminal point located in Pit next to the Hydrogen and Nitrogen designated location","POTABLE WATER RING VALVE PIT AA/AA1","0.84/72",null,"might be supercided, Employer to share atest"]
["LPS","P20F","WATER","TP-04-20-120","Water Treatment Plant (WTP)","Demi Water Supply","0.84/57"]
["LPS","P20F","AIR","TP-04-20-001","Compressor House (South Side)","Instrumer or Control Air Supply","0.84/12867"]
["LPS","P20E","HYDROGEN","TP-03-20-001","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 6 hydrogen System Supply","0.84/86","0.84/2749"]
["LPS","P20E","HYDROGEN","TP-03-20-002","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 5 hydrogen System Supply","0.84/86","0.84/2749"]
["LPS","P20E","HYDROGEN","TP-03-20-003","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 4 hydrogen System Supply","0.84/86","0.84/2749"]
["LPS","P20E","HYDROGEN","TP-03-20-004","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 3 hydrogen System Supply","0.84/86","0.84/2749"]
["LPS","P20E","HYDROGEN","TP-03-20-005","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 2 hydrogen System Supply","0.84/86","0.84/2749"]
["LPS","P20E","HYDROGEN","TP-03-20-006","blanked / isolating valve from H2 Supply line to H2 HP Red Station","Unit 1 hydrogen System Supply","0.84/86","0.84/2749"]