IR Thermometer specification

- Both non-contact and contact measuring

- Optical resolution Distance to spot ratio: 50:1

- Thermal resolution: 0.1C

- Accuracy: ± 2% of reading or 2C

- Repeatability: ± 1C

- Large and backlit LCD display

- Contactless measuring available from -60°C up to 1000°C

- Contact measuring (thermocouple type K) available from -64°C up to 1400°C

- Dual laser for better targeting

- Functions MIN, MAX, DIFFERENCE, AVERAGE, T, DATA LOGGER

- Temperature noise alarm (MIN/MAX)