SPECIFICATION – GPS data loggers

1. GPS data loggers

Description:

A device that can supplement any experiment with automated data collection and GPS tracking to determine precisely where measurements were taken.

Must have sensors that reduce the equipment setup time and allow field officers to intuitively and electronically collect accurate experimental data.

USB Module to connect data logger via USB cable to PC or Mac, or a Wi-Fi Module and rechargeable battery and AC power operated. The device must be modern enough to be able to connect to any Wi-Fi-enabled device (Smart Phone, Tablet, Computer, etc)

Data Logger should sampling rate minimum of 25.0 milliseconds to 31.0 days or more.

Touch screen, camera function to capture images and point location features