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	To whom it may concern
	Date
	21/09/2026

	
	Enquiries
	Sinethemba Galane

	
	E-mail address
	GalaneSL@eskom.co.za


Dear Sir/Madam
	Request for Enquiry Number
	E2647GXLPMEDR

	Description / Project Title
	SUPPLY AND DELIVERY OF DIESEL GENERATOR SPARES, BULK DIESEL FUEL SUPPLY SYSTEM SPARES, AND USED OIL SYSTEM SPARES FOR MEDUPI POWER STATION

	Tender Questions Closing Date
	21/09/2026



	Item 
	Questions 
	Answers 
	Clarity Published Dates 

	1
	Good day Sinethemba,
Please assist with the following clarifications regarding tender E2647GXLPMEDR:
1. Please confirm whether the clarification meeting on 14 September 2026 starts at 10:30 or 14:00, as both times appear in the tender documents.
1. The NEC C2.2 price schedule is blank, and no editable itemised BOQ/Excel price schedule was included. Please issue the controlled price schedule and confirm the required submission format.
1. Please confirm whether pricing is required for all 66 SOW items, the 50% miscellaneous-spares allowance and the handling fee, including how these will form part of the evaluated tender price.
1. Please confirm whether the applicable preference system is 80/20 or 90/10 and provide the completed specific-goals table and point allocations.
1. Please identify the BOQ items subject to local-content requirements and provide the completed SBD 6.2 designation and threshold information.
1. The technical returnables refer to the supply and refurbishment of pulleys, while the supplied Project Spec BRA relates to boiler-feed-pump hydraulic-coupling spares. Please issue the corrected technical reference and baseline risk assessment for this scope.
1. Please provide the missing exact OEM/model/order-code information and relevant drawings or datasheets, particularly for items 7, 10, 28, 29, 30, 33, 34, 35, 52 and 61.
1. Please confirm whether “Manual Glove Valve” in items 26 and 27 is the correct description, and provide a clean description for item 30.
1. Please confirm whether the two-week delivery period applies to every purchase order and how longer OEM manufacturing or imported-item lead times will be treated.
1. Please confirm the governing warranty/defects period, as the SOW requires 24 months from delivery plus 12 months after installation, while the NEC records a 52-week defects period.
Your assistance will be appreciated.
	
1. Clarification Meeting Time
An addendum was issued to correct the clarification meeting details. The clarification meeting was held on 14 September 2026 at 10:30, and the meeting link was also sent to you.
1. NEC C2.2 Price Schedule and BOQ
The NEC price schedule was amended accordingly, and an editable Excel BOQ has been uploaded to both the Tender Bulletin and the E-Tender Portal for ease of access. Tenderers are required to complete and submit the pricing schedule in the prescribed format.
1. Pricing Requirements
Tenderers are required to provide pricing for all items contained in the BOQ, including your proposed percentage for miscellaneous spares allowance as detailed in the pricing schedule.
1. Preference Point System
The applicable preference point system for this enquiry is 80/20. The relevant specific goals and point allocations are contained in the tender documentation.
1. Local Content Requirements
Please refer to the invitation to tender, the local content percentages are included.
1. Technical Reference Documentation, OEM Information, Drawings and Datasheets, Descriptions for Items 26, 27 and 30
The detailed list containing the OEM/model/order-code information for all items will be published and made available to all tenderers.
1. Lead times
Tenderers are requested to provide their best achievable lead times for the respective items. Any extended OEM manufacturing or import lead times should be clearly indicated in the tender submission.
1. Warranty / Defects Period
The applicable warranty requirement is 24 months, as stipulated in the Scope of Work. 

We trust that the above clarifies your queries. Any further questions should be submitted in writing, and I will be happy to assist.
	21/09/2026

	2
	Dear Ms Galane,
 
Tecpronit Switzerland is currently reviewing tender E2647GXLPMEDR concerning diesel generator, bulk diesel fuel supply system and used-oil system spares for Medupi Power Station.
 
We are evaluating the opportunity together with potential international equipment manufacturers and supply partners.
 
Before proceeding, we would appreciate clarification regarding participation by foreign manufacturers / suppliers and the requirements for local South African representation or subcontracting.
 
In particular, could you please confirm whether an international manufacturer may participate through a South African authorised distributor / consortium partner and whether any further addenda have been issued following the briefing session.
 
Kind regards,

	Dear 
Thank you for your enquiry and interest in Tender No. E2647GXLPMEDR for the supply and delivery of diesel generator spares, bulk diesel fuel supply system spares, and used oil system spares for Medupi Power Station Generation
Please note that the Invitation to Tender permits participation by both local and foreign entities, either as individual tenderers or as members of a Joint Venture (JV) or consortium, provided that all tender requirements and eligibility criteria are met. The relevant JV/consortium documentation must be completed and submitted where applicable, including confirmation of the rights and obligations of the participating parties and the designation of a lead member.  
Accordingly, an international manufacturer may participate through an authorised South African distributor, consortium partner, or joint venture arrangement. Any such arrangement should be clearly disclosed in the tender submission and all applicable tender returnables completed by the participating entities. Where subcontracting is proposed, the details of the subcontracting arrangement must also be declared in the tender documentation. 
The tender documentation further contains provisions applicable to foreign suppliers, including specific requirements relating to foreign goods and services, taxation declarations, and payment of foreign commitments. Foreign suppliers should ensure that all applicable returnables are completed in accordance with the requirements contained in the ITT.  
With regard to your enquiry on addenda, please note that any addenda issued form part of the tender documentation and are published through the official Eskom Tender Bulletin / E-Tendering platform. Tenderers are responsible for ensuring that they have obtained and considered all addenda issued prior to tender closing. At this stage, please refer to the E-Tendering platform for the latest version of the tender documentation and any issued amendments. 
We trust the above clarifies your enquiry.

	

	3
	Hi Sinethemba


I would like to find out our site manager is in the area of the Power Station would it be possible for him to come and speak to you about a few questions we have regarding the items on the contract if it would be fine can we please arrange for a gate pass 

	Good day,

Thank you for your email. Unfortunately, I am unable to accommodate in-person meetings regarding this tender. In order to ensure fairness, transparency, and that all tenderers receive the same information, please submit any clarification questions in writing via email. I will gladly review your queries and provide a written response.

Thank you for your understanding.
	

	4
	Dear Sinethemba

I hope you are well.

Please clarify if it the supply and delivery of Petroleum products (i.e. Diesel)

	Good day Benita,

Kindly refer to the Scope of Work document on the tender bulletin and e-tender portal, which contains the detailed specifications and requirements of the goods to be supplied under this tender. The document outlines the full scope, technical requirements, and deliverables expected from the successful supplier. I trust that the information provided in the Scope of Work will address your query. 

I hope the above is clear.
	

	5
	Hi 

On the invitation to tender it has the time of 
10:30 and for 14:00 I have attached the document below 


Would it be possible for you to share the recording of the teams meeting if possible 


Thank you 

	Good day,

Please note that an addendum was issued on the 9th of September  to clarify that, unfortunately, I am not able to share the recording of the briefing session. Should you have any queries or require further clarification regarding the tender, kindly submit your questions via email. We will review your enquiry and provide the necessary assistance and clarification in due course.
Thank you for your understanding and cooperation.

	

	6
	Hi Sine,


Thank you for the informative briefing this morning. I'd like to raise a few clarifying points:
1. Vendor Registration: 


I am currently in the process of registering as an Eskom Vendor. Should this registration not be finalized by the tender submission deadline, will my bid be disqualified on that basis?


2. Financial Track Record
My company was registered in 2019 but only began trading this year, so it has limited financial history. Would a letter from my accountant, confirming the company's financial status, be acceptable in lieu of extensive financials? I would also welcome guidance on any mechanisms Eskom has to support small or start-up enterprises in this regard. With the contract award, I am sure that I will be able to provide a valid bank guarantee.


3. Experiential letters


Similarly, the company does not have requisite experience but the undersigned director and our technical part-time team have individual experience. In this case, will the CVs assist?


4. BBBEE Certificate


Is a CIPC-generated BBBEE certificate acceptable for this tender?


Your assistance is highly appreciated.


Regards

	Good day 
Thank you for your email and for your interest in Tender E2647GXLPMEDR.
Please find our responses to your queries below:
1. Vendor Registration
Vendor registration is not mandatory at the time of tender submission. Eskom only requires the successful tenderer to have a vendor number prior to contract award. Should your tender be successful and you do not yet have an Eskom vendor number, Eskom will assist with the vendor registration process and facilitate the creation of a vendor number before contract award.
2. Financial Track Record
The financial requirements applicable to this tender are detailed in the Invitation to Tender and include the submission of financial statements and related supporting documentation. In the case of entities with limited trading history, suppliers are encouraged to submit all available financial information as well as any supporting documentation that may assist Eskom in assessing the financial standing of the business, including a letter from an accountant where applicable. Such information will be considered as part of the overall financial assessment process. 
3. Experiential Letters
Tenderers are required to demonstrate compliance with the functionality requirements of the tender, which include supply experience and proof of similar equipment supply experience. Supporting documentation such as reference letters, company experience, CVs of key personnel, and evidence of individual technical expertise may be submitted to support the tenderer's capability and experience. However, all submissions will be evaluated in accordance with the criteria stipulated in the tender documents.
4. B-BBEE Certificate
A valid B-BBEE certificate issued by a SANAS-accredited verification agency, a sworn affidavit, or a CIPC affidavit (where applicable in terms of the B-BBEE Codes) may be submitted for purposes of claiming preference points. Tenderers should ensure that the submitted document complies with the applicable B-BBEE requirements. 
We trust that the above clarifies your queries. Should you require any further clarification, kindly direct your questions in writing through the enquiry process.
Warm regards,
	21/09/2026

	7
	Good day Ms Galane
I trust that you are well. We are requesting that you provide us with data sheets or images of line item 40 & 41 on the scope of work document. Our potential supplier (which is the original OEM) has indicated that the data sheet will provide the necessary info to enable them to provide us with a quotation, kindly refer to the email below.
In your response kindly eply to all 
Regards

	Good day,

Thank you for your email.

Unfortunately, we are unable to provide any additional datasheets or images for Items 40 and 41 beyond the information that has already been made available. Kindly note that an updated detailed list of the items to be supplied has been issued and published on both the Eskom Tender Bulletin and the E-Tender Portal for all tenderers to access. Tenderers are requested to base their submissions on the information contained in the updated documents.
Please refer to the updated documentation available on the Tender Bulletin and E-Tender Portal, which contains the latest information applicable to this enquiry.

I trust that the above clarifies the matter.


Warm regards

	21/09/2026

	9
	Kindly provide additional technical information for Item 35 – Diesel Fuel Supply Pump/Motor, including pump details, motor details, coupling information and applicable datasheets to enable an accurate quotation.

	Provided
	29/09/2026

	10
	Good day Sinethemba,

Clarification request 2.

Item 7: Solenoid Valve 1" DanFoss.
The description provided is insufficient.
Kindly provide us the full description ,part number or pictures.

Many thanks

	Good day

Please note that Item No. 7 (Material No. 01XJN10 AA201 – Solenoid Valve 1") has been removed from the Scope of Work and should therefore be disregarded. An addendum will be issued accordingly. Tenderers are not required to submit pricing for this item. Should a tenderer include pricing for the item, such tender shall not be disqualified. However, Eskom will exclude the item from the commercial and price evaluation to ensure evaluation on a common basis. Should the successful tenderer have included the item in its submission, Eskom will formally communicate its removal and agree the final scope and contract value prior to contract placement

Warm regards
Sinethemba Galane

	01/10/2026

	11
	Gooday Mrs Galane.

Could you kindly assist us with additional technical information regarding the following items?
We have reviewed all documents published under the tender-bulletin and checked for any updated scope of work, addendums, comments, or clarifications. 
However, the following items are still unclear and require further technical information for us to proceed accurately.

Please provide any available details or pictures listed below:

Item no.	KKS	Short Description	Additional info	OEM / Original construction contractor	OEM Part No / Data Sheet	SAP Material number
7	01XJN10 AA201	Solenoid Valve	1"

????????????	DanFoss	????????	???????? 

	On Item 32 Under OEM “’OEM  “AVK” we have engaged with the OEM and They responded that “This Check Valve” is not the Part of their SCOPE of WORK.

	Item 7: Can you please give us more details of the solenoid valve???? And the Part number if you have it??
	(  Solenoid valve type, Valve size / connection size, Operating pressure range, Voltage and power requirements, Material of construction, Flow rate / Cv value, IP rating, etc)

Please provide any available details or pictures listed below:

We would appreciate your assistance and look forward to your response.

Kind regards
	Good day

Please note that Item No. 7 (Material No. 01XJN10 AA201 – Solenoid Valve 1") has been removed from the Scope of Work and should therefore be disregarded. An addendum will be issued accordingly. Tenderers are not required to submit pricing for this item. Should a tenderer include pricing for the item, such tender shall not be disqualified. However, Eskom will exclude the item from the commercial and price evaluation to ensure evaluation on a common basis. Should the successful tenderer have included the item in its submission, Eskom will formally communicate its removal and agree the final scope and contract value prior to contract placement

Warm regards
Sinethemba Galane

	01/10/2026
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