NEC3 Engineering & Construction Contract

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | : Unit 2-6 Diesel Generator Fire Protection Insert title of the works |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| Part C4 | Site Information | [●] |
| CONTRACT No. | [Insert at award stage] |  |

Part C1: Agreements & Contract Data

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Employer | [●] |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer`

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

# Unit 2-6 Diesel Generator Fire Protection

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the Options which do not apply

| Options A | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Sub total | R [●] |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number (if applicable) |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Works Information

Part C4		Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 ECC3 Contract Data

# Part one - Data provided by the Employer

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.

- Some ECC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining ECC3 options are identified by shading in the left-hand column.  If the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

| ## Clause |  | ## Statement | ## Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |  |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option |  |  |  |  |  |  |  |
|  |  |  | A: Priced contract with activity schedule |  |  |  |  |  |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |  |  |  |  |
|  |  | and secondary Options |  |  |  |  |  |  |  |
|  |  |  | X2 Changes in the law |  |  |  |  |  |  |
|  |  |  | X5: Sectional Completion |  |  |  |  |  |  |
|  |  |  | X15: Limitation of Contractor’s liability for design to reasonable skill and care |  |  |  |  |  |  |
|  |  |  | X16: Retention |  |  |  |  |  |  |
|  |  |  | X18: Limitation of liability |  |  |  |  |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |
|  |  | of the NEC3 Engineering and Construction Contract, April 2013 (ECC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |  |  |  |
| 10.1 |  | The Employer is (Name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |
| 10.1 |  | The Project Manager is: (Name) | Sikhulile Chokoe |  |  |  |  |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |  |  |  |  |
|  |  | Tel | [●] |  |  |  |  |  |  |
|  |  | Fax | [●] |  |  |  |  |  |  |
|  |  | e-mail | [●] |  |  |  |  |  |  |
| 10.1 |  | The Supervisor is: (Name) |  |  |  |  |  |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |  |  |  |  |
|  |  | Tel No. | [●] |  |  |  |  |  |  |
|  |  | Fax No. | [●] |  |  |  |  |  |  |
|  |  | e-mail | [●] |  |  |  |  |  |  |
| 11.2(13) |  | The works are | Matimba Power Station: Unit 2-6 diesel generator fire protection |  |  |  |  |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | - Incremental Weather (ash dust, rain, wind, hailstorm, heatwave) - Labour strike - Community Unrest - Working at heights - Working in confined space - Electrocution - Snakes - Monkeys |  |  |  |  |  |  |
| 11.2(15) |  | The boundaries of the site are | Matimba Power Station Unit 2-6 diesel generator fire protection |  |  |  |  |  |  |
| 11.2(16) |  | The Site Information is in | Part 4: Site Information |  |  |  |  |  |  |
| 11.2(19) |  | The Works Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |  |  |  |  |
| 13.1 |  | The language of this contract is | English |  |  |  |  |  |  |
| 13.3 |  | The period for reply is | 3 working days |  |  |  |  |  |  |
| ## 2 |  | ## The Contractor's main responsibilities | Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 3 |  | ## Time |  |  |  |  |  |  |  |
| 11.2(3) |  | The completion date for the whole of the works is | 6 months |  |  |  |  |  |  |
| 11.2(9) |  | The key dates and the conditions to be met are: | Condition to be met |  |  |  | key date |  |  |
|  |  |  | 1 | [●] |  |  | [●] |  |  |
|  |  |  | 2 | [●] |  |  | [●] |  |  |
|  |  |  | 3 | [●] |  |  | [●] |  |  |
| 30.1 |  | The access dates are: | Part of the Site |  |  | Date |  |  |  |
|  |  |  | 1 | Unit 2-6 |  | As per the accepted schedule |  |  |  |
|  |  |  | 2 |  |  |  |  |  |  |
|  |  |  | 3 | [●] |  | [●] |  |  |  |
| 31.1 |  | The Contractor is to submit a first programme for acceptance within | 2 weeks of the Contract Date. |  |  |  |  |  |  |
| 31.2 |  | The starting date is | 1/02/2027 |  |  |  |  |  |  |
| 32.2 |  | The Contractor submits revised programmes at intervals no longer than | 1 week |  |  |  |  |  |  |
| 35.1 |  | The Employer is not willing to take over the works before the Completion Date. |  |  |  |  |  |  |  |
| ## 4 |  | ## Testing and Defects |  |  |  |  |  |  |  |
| 42.2 |  | The defects date is | 52 weeks after Completion of the whole of the works. |  |  |  |  |  |  |
| 43.2 |  | The defect correction period is | 5 working days |  |  |  |  |  |  |
| ## 5 |  | ## Payment |  |  |  |  |  |  |  |
| 50.1 |  | The assessment interval is | between the 25th day of each successive month. |  |  |  |  |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand. |  |  |  |  |  |  |
| 51.2 |  | The period within which payments are made is | [●] weeks. |  |  |  |  |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |
| ## 6 |  | ## Compensation events |  |  |  |  |  |  |  |
| 60.1(13) |  | The place where weather is to be recorded is: | Matimba Power Station |  |  |  |  |  |  |
|  |  | The weather measurements to be recorded for each calendar month are, | the cumulative rainfall (mm) |  |  |  |  |  |  |
|  |  |  | the number of days with rainfall more than 10 mm |  |  |  |  |  |  |
|  |  |  | the number of days with minimum air temperature less than 0 degrees Celsius |  |  |  |  |  |  |
|  |  |  | the number of days with snow lying at 09:00 hours South African Time |  |  |  |  |  |  |
|  |  |  | and these measurements: |  |  |  |  |  |  |
|  |  | The weather measurements are supplied by | The South African Weather Service |  |  |  |  |  |  |
|  |  | The weather data are the records of past weather measurements for each calendar month which were recorded at: | Matimba Power Station |  |  |  |  |  |  |
|  |  | and which are available from: | the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer |  |  |  |  |  |  |
| 60.1(13) |  | Assumed values for the ten-year return weather data for each weather measurement for each calendar month are: | As stated in Annexure A to this Contract Data provided by the Employer. Note: If this arrangement is used, delete the rows above for 60.1(13) and delete this note. |  |  |  |  |  |  |
| ## 7 |  | ## Title | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 8 |  | ## Risks and insurance |  |  |  |  |  |  |  |
| 80.1 |  | These are additional Employer's risks | None |  |  |  |  |  |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |  |  |  |  |
| A |  | Priced contract with activity schedule |  |  |  |  |  |  |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |  |  |  |  |
| W1.1 |  | The Adjudicator is | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body. |  |  |  |  |  |  |
| W1.4(2) |  | The tribunal is: | arbitration. |  |  |  |  |  |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
|  |  | The place where arbitration is to be held is | Gauteng, South Africa |  |  |  |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |  |  |  |  |
| X1 |  | Price adjustment for inflation |  |  |  |  |  |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| X5 |  | Sectional Completion |  |  |  |  |  |  |  |
| X5.1 |  | The completion date for each section of the works is: | Section |  | Description |  |  | Completion date |  |
|  |  |  | 1 |  | Design review |  |  | 21 days after contract start date |  |
|  |  |  | 2 |  | Unit 2 and as built drawings |  |  | 30 days after completion date of design review |  |
|  |  |  | 3 |  | Unit 3 and as built drawings |  |  | 60 days after completion date design review |  |
|  |  |  | 4 |  | Unit 4 and as built drawings |  |  | 90 days after completion date design review |  |
|  |  |  | 5 |  | Unit 5 and as built drawings |  |  | 120 days after completion date design review |  |
|  |  |  | 6 |  | Unit 6and as built drawings |  |  | 150 days after completion date design review |  |
|  |  |  | 7 |  | Completion certificate and Handover file |  |  | 180 days after contract start date |  |
| X5 & X6 |  | Sectional Completion and bonus for early Completion used together |  |  |  |  |  |  |  |
| X6.1 X5.1 |  | N/A |  |  |  |  |  |  |  |
| X5 & X7 |  | Sectional Completion and delay damages used together |  |  |  |  |  |  |  |
| X7.1 X5.1 |  | Delay damages for late Completion of the sections of the works are: | section |  | Description |  |  |  | Amount per day |
|  |  |  | 1 |  | Design review |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 2 |  | Unit 2 and as built drawings |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 3 |  | Unit 3 and as built drawings |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 4 |  | Unit 4 and as built drawings |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 5 |  | Unit 5 and as built drawings |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 6 |  | Unit 6and as built drawings |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  |  | 7 |  | Completion certificate and Handover file |  |  |  | 2% per day up to the maximum of 10% of the section value. |
|  |  | Remainder of the works |  |  |  |  |  |  |  |
|  |  | The total delay damages payable by the Contractor does not exceed: | 2% per day up to the maximum of 10% of the contract value. |  |  |  |  |  |  |
| X7 |  | Delay damages (but not if Option X5 is also used) |  |  |  |  |  |  |  |
| X7.1 |  | Refer to section X5 |  |  |  |  |  |  |  |
| X15 |  | Limitation of the Contractor’s liability for his design to reasonable skill & care | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| X16 |  | Retention (not used with Option F) |  |  |  |  |  |  |  |
|  |  | The retention percentage is | 5% |  |  |  |  |  |  |
| X18 |  | Limitation of liability |  |  |  |  |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to: | The total of the Prices |  |  |  |  |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to: | the amount of the deductibles relevant to the event |  |  |  |  |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date. |  |  |  |  |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to: | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design which arise before the Defects Certificate is issued, - Defects due to manufacture and fabrication outside the Site, - loss of or damage to property (other than the works, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |  |  |  |  |  |
| X18.5 |  | The end of liability date is | (i) 5 years after the defects date for latent Defects and (ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter. A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect. |  |  |  |  |  |  |
| Z |  | The Additional conditions of contract are | Z1 to Z15 always apply. |  |  |  |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager. |  |  |  |  |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |  |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |
| Z4 | Confidentiality |  |  |  |  |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager. |  |  |  |  |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |
| Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |
| Z7.1 | Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |
| Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |  |  |  |  |
| Z8.1 | Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”. |  |  |  |  |  |  |  |  |
| Z9 | Employer’s limitation of liability |  |  |  |  |  |  |  |  |
| Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |
| Z9.2 | The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |
| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |
| Z10.1 | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |
| Z11 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |
| Z11.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |

| Z12 | Ethics |  |
| --- | --- | --- |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| Affected Party |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |
| Coercive Action |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |
| Collusive Action |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |
| Committing Party |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees, |
| Corrupt Action |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |
| Fraudulent Action |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |
| Obstructive Action |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |
| Prohibited Action |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |
| Z12.2 | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |
| Z12.3 | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |
| Z13 | Insurance |  |
| Z 13.1 | Replace core clause 84 with the following: |  |

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Contractor provides the insurances stated in the Insurance Table A. |
|  | 84.3 | The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate. |
|  |  | ### INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the works, Plant and Materials; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance. Loss of or damage to Equipment; The replacement cost. Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract; Loss of or damage to property Employer’s property The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance Other property The replacement cost Bodily injury to or death of a person The amount required by applicable law. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law. |
| Z 13.2 |  | Replace core clause 87 with the following: The Employer provides the insurances stated in the Insurance Table B. |
|  |  | #### INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z14 | Nuclear Liability |  |
| --- | --- | --- |
| Z14.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z14.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.3 | Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z14.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z15 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4-hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z15.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z15.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are affected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z15.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z15.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted to declare the area safe. |  |
| Z15.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z15.6 | The Contractor continues to Provide the Services, without additional control measures presented on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z15.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

C1.2 Contract Data

# Part two - Data provided by the Contractor

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left-hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

- Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

- The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data

- Where a form field like this [      ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise, complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | % |
|  | The subcontracted fee percentage is | % |
| 11.2(18) | The working areas are the Site and |  |
| 24.1 | The Contractor's key persons are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key persons data including CVs) are appended to Tender Schedule entitled . |
| 11.2(3) | The completion date for the whole of the works is |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(19) | The Works Information for the Contractor’s design is in: |  |
| 31.1 | The programme identified in the Contract Data is |  |
| A | Priced contract with activity schedule |  |
| 11.2(20) | The activity schedule is in |  |
| 11.2(30) | The tendered total of the Prices is | (in figures) (in words), excluding VAT |
|  | ## Data for Schedules of Cost Components | Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013). |
| A | Priced contract with activity schedule | Data for the Shorter Schedule of Cost Components |

C1.3 Forms of Securities

# Pro formas for Bonds & Guarantees

## For use with the NEC3 Engineering & Construction Contract

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]

The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X4:	Parent company guarantee

Option X13:	Performance Bond

Option X14:	Advanced payment to the Contractor

Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:	Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.

The Contractor shall guarantee his ASGI-SA Obligations by providing the Employer with an ASGI-SA Guarantee in the form provided here.

[Note to contract compiler:  If there are no ASGI-SA Obligations in this contract, delete the above statement]

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.

# Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)

| Eskom Holdings SOC Limited Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]

Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]

Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]

# In this Guarantee the following words and expressions shall have the following meanings:-

  - “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

  - “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

  - “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

  - “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

  - “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

  - “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

  - “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

  - “Project” - means the…………………………………..

# At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

# A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

  - be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

  - state the amount claimed (“the Demand Amount’);

  - state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

# Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

  - is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

  - is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

# The Bank’s obligations in terms of this Guarantee:

  - shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

  - shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

# Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract.

# Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

# This Guarantee:

  - shall expire on the Expiry Date until which time it is irrevocable;

  - is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

  - shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

  - shall be regarded as a liquid document for the purpose of obtaining a court order; and

  - shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

  - Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

# The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________		Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________		Bank Signatory: ___________________

Witness: ________________________		Witness: _________________________

# Part 2: Pricing Data

ECC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A |  |
| C2.2 | The activity schedule |  |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract, (ECC3) Option A states:

| Identified and defined terms | 11 11.2 | (20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (27) The Price for Work Done to Date is the total of the Prices for - each group of completed activities and - each completed activity which is not in a group. A completed activity is one which is without Defects which would either delay or be covered by immediately following work. |
|  |  | (30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract. |

This confirms that Option A is a lump sum form of contract where the work is broken down into activities, each of which is priced by the tendering contractor as a lump sum.   Only completed activities are assessed for payment at each assessment date; no part payment is made if the activity is not completed by the assessment date.

# Function of the Activity Schedule

Clause 54.1 in Option A states: “Information in the Activity Schedule is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Activity Schedule but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Activity Schedule.  The Activity Schedule is only a pricing document.

# Link to the programme

Clause 31.4 states that “The Contractor provides information which shows how each activity on the Activity Schedule relates to the operations on each programme which he submits for acceptance”.  Ideally the tendering contractor will develop a high-level programme first then resource each activity and thus arrive at the lump sum price for that activity both of which can be entered into the activity schedule.

# Preparing the activity schedule

Generally, it is the tendering contractor who prepares the activity schedule by breaking down the work described within the Works Information into suitable activities which can be well defined, shown on a programme and priced as a lump sum.

The Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in his activity schedule and be priced accordingly.

It is assumed that in preparing his activity schedule the Contractor:

- Has taken account of the guidance given in the ECC3 Guidance Notes pages 19 and 20;

- Understands the function of the Activity Schedule and how work is priced and paid for;

- Is aware of the need to link the Activity Schedule to activities shown on his programme;

- Has listed and priced activities in the activity schedule which are inclusive of everything necessary and incidental to Providing the Works in accordance with the Works Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

- Has priced work that he decides not to show as a separate activity within the Prices of other listed activities in order to fulfil the obligation to complete the works for the tendered total of the Prices.

- Understands there is no adjustment to the lump sum Activity Schedule price if the amount, or quantity, of work within that activity later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event.

An activity schedule could have the following format:

| Part Number | ITEMS: | UOM | Total Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Components Detection |  |  |  |  |
|  | Soteria/XP95 3-C DINI/O Unit in Housing Transp Lid | ea | 4 |  |  |
|  | Cable PH120 Stranded 2 Core 1mm | m | 480 |  |  |
|  | Conduit Straight Bosal 20mm x 4m | ea | 60 |  |  |
|  | Saddle Hospital Assembly Conduit Galv. 25mm | ea | 180 |  |  |
|  | Adaptor Conduit Male Bosal Galvanised 25mm | ea | 92 |  |  |
|  | Box Conduit Round S/Ent Straight Bosal 2 Way 25mm | ea | 20 |  |  |
|  | Box Bosal Angle Cond Rnd S/Entry 90 Deg 2 Way 25mm | ea | 20 |  |  |
|  | Coupling Connectors Bosal 25mm | ea | 28 |  |  |
|  | Pipe Bender Bosal 25mm | ea | 4 |  |  |
|  | Switch Pressure Potter PS10-1 15NB | ea | 4 |  |  |
|  | Switch Flow Potter VSR-2 50NB | ea | 4 |  |  |
|  | Sundries (Cable ties, Glands, Wall plugs, Numbering, Signage etc.) | Sum | 1 |  |  |
|  | Man Power Installation | Per unit | 4 |  |  |
|  | Sub-Total |  |  |  |  |
|  | CIVIL WORKS MATIMBA-UNIT 2-6 Diesel Generator |  |  |  |  |
| BUNDWALL | BUILD AND ERECT MAXIBRICK BUNDWALL 740mm HIGH X 6041mm LONG AND 4100mm WIDE WITH 2000mm X 2000mm DIESEL BUND-SEALED OF AT JOINT | sum | 1 |  |  |
| CONCRETE 1 | STEEL REINFORCED CONCRETE AS PER SPECIFICATION-CONCRETE WILL BE MIXED ON SITE | sum | 1 |  |  |
| STAIRS | 5 X SETS OF STAIRS INSIDE AND OUTISDE BUNDED AREAS | sum | 1 |  |  |
| CONCRETE 2 | CONCRETE CAST FOR OUTSIDE DIESEL AREA | sum | 1 |  |  |
| PLINTHS | CONCRETE PLINTHS WITH MOUNTING BRACKETS FOR 2 X PIPES 50mm EACH | sum | 1 |  |  |
| FIREWALL | BUILD FIREWALL WITH MAXIBRICK AT HEIGHT OF 6.5 METERS between bund 5 and 6 | sum | 1 |  |  |
| SCAFFOLDING | ERECT SCAFFOLDING FOR THE BUILDING OF THE FIREWALL-FOR ERECTION AND HIRE OFF SCAFFOLDING-INSTALLED BY TRAINED SCAFFOLDING PERSONEL | sum | 1 |  |  |
| ACCESS HOLE | BREAK OUT NEW ACCESS FOR DRAIN -200mm X 200mm X 200mm FOR PIPE ACCESS AND MAKE NEAT WITH COVER | sum | 1 |  |  |
| FENCE | CLEARVU FENCE | sum | 1 |  |  |
|  | Sub-Total |  |  |  |  |
|  | Deluge system piping |  |  |  |  |
|  | T-Red. JIS FL SANS1123 1600/3 FF Galv. 300- | Each | 5 |  |  |
|  | Gasket Klinger C4324 SANS1123 1600 FF 3mm | Each | 10 |  |  |
|  | Screw Hex Steel Gr8.8 E.G. M24 X 100mm | Each | 120 |  |  |
|  | Nut Hex Steel Gr8.8 E.G. M24 | Each | 120 |  |  |
|  | Washer Flat Steel E.G. M24 X 4mm | Each | 240 |  |  |
|  | Valve 100NB rising spindle UL/FM PN16 | Each | 5 |  |  |
|  | Reducer Con. Fl/Thd No 50 100-50NB | Each | 5 |  |  |
|  | Support Brackets | Each | 40 |  |  |
|  | General Valve and Zone Indication Signs | Each | 5 |  |  |
|  | Gasket Klinger C4324 SANS1123 1600 FF 3mm | Each | 10 |  |  |
|  | Nut Hex Steel Gr8.8 E.G. M16 | Each | 80 |  |  |
|  | Washer Flat Steel E.G. M16 X 3mm | Each | 160 |  |  |
|  | Screw Hex Steel Gr8.8 E.G. M16 X 60mm | Each | 80 |  |  |
|  | Valve 80NB rising spindle UL/FM PN16 | Each | 10 |  |  |
|  | Reducer Con. Fl/Thd No 50 80-50NB | Each | 10 |  |  |
|  | Spool Piece 80NB Flanged to Flanged 1/2" Socket | Each | 10 |  |  |
|  | Valve Deluge INBAL FM Hyd with Trim 80NB | Each | 5 |  |  |
|  | Alarm Motor and Gong UL/FM App c/w Y-Strainer | Each | 5 |  |  |
|  | Nipple Barrel Steel SANS62 BSPT Galv. 15NB | Each | 10 |  |  |
|  | Hose Braided ½" BSP StainlStee 610mm (L) ul listed | Each | 5 |  |  |
|  | Nut Hex Steel Gr8.8 E.G. M16 | Each | 240 |  |  |
|  | Washer Flat Steel E.G. M16 X 3mm | Each | 480 |  |  |
|  | Screw Hex Steel Gr8.8 E.G. M16 X 60mm | Each | 240 |  |  |
|  | Bracket Support Wall/Structure | Each | 120 |  |  |
|  | General Deluge and Zone Indication Signs | Each | 5 |  |  |
|  | Nozzle Viking 12869 VK810 4.1(59) 15 NB or Eq | Each | 35 |  |  |
|  | Pipe Steel SANS62 M.W. Thrd. BSPT Galv. 50NB | Each | 85 |  |  |
|  | Elbow 90 Deg. Steel SANS14 F/F BSPT Galv. 50NB | Each | 110 |  |  |
|  | T-Equal Steel SANS14 F/F BSPT Galv. 50NB | Each | 10 |  |  |
|  | T-Reducing Steel SANS14 F/F BSPT Galv. 50-15NB | Each | 30 |  |  |
|  | T-Reducing Steel SANS14 F/F BSPT Galv. 50-25NB | Each | 5 |  |  |
|  | Union Steel SANS14 BSPT Galv. 50NB | Each | 35 |  |  |
|  | Elbow 90 Deg. Steel SANS14 F/F BSPT Galv. 25NB | Each | 10 |  |  |
|  | Elbow Reducing 90Deg. SANS14 F/F Galv. 25-15NB | Each | 10 |  |  |
|  | T-Reducing Steel SANS14 F/F BSPT Galv. 25-15NB | Each | 50 |  |  |
|  | T-Equal Steel SANS14 F/F BSPT Galv. 25NB | Each | 5 |  |  |
|  | Valve Ball 1-pce 316SS F/F Red. Bore Lockable 50NB | Each | 5 |  |  |
|  | Union Steel SANS14 BSPT Galv. 25NB | Each | 25 |  |  |
|  | Socket Steam BS1740/SANS62 BSP Galv. 25NB | Each | 25 |  |  |
|  | Pipe Steel SANS62 M.W. Thrd. BSPT Galv. 25NB | Each | 55 |  |  |
|  | Socket Steam BS1740/SANS62 BSP Galv. 15NB | Each | 50 |  |  |
|  | Pipe Steel SANS62 M.W. Thrd. BSPT Galv. 15NB | Each | 5 |  |  |
|  | Channel Cabstrut P1000T 28x14mm Slots Galv. 6m | Each | 25 |  |  |
|  | Hanger Beam Swivel Cabstrut Galv. M8/M10 | Each | 110 |  |  |
|  | Nut Spring Channel M8 | Each | 110 |  |  |
|  | Rod Threaded Gr4.8 E.G. M8 X 1m | Each | 80 |  |  |
|  | Hanger Pipe Cabstrut P75/50 Galv. M8 | Each | 50 |  |  |
|  | Hanger Pipe Cabstrut P75/25 Galv. M8 | Each | 60 |  |  |
|  | Clamp 2 piece Cabstrut TP30/40 30-40mm 25NB | Each | 100 |  |  |
|  | Clamp 2 piece Cabstrut TP50/60 50-60mm 50NB | Each | 150 |  |  |
|  | Sprinkler Pendent VK331 K4.2 QR 93 Deg. 15NB | Each | 50 |  |  |
|  | Sundries | Each | 5 |  |  |
|  | Man Power Intsallation | Per unit | 5 |  |  |
|  | Sub-Total |  |  |  |  |
|  | PRELIMINARIES AND GENERALS |  |  |  |  |
|  | Site Establishment/ De-Establishment | sum | 1 |  |  |
|  | Office/ Container Rental | Months | 3 |  |  |
|  | SHE Cost, Safety Files | Once-off | 1 |  |  |
|  | PPE including | sum | 1 |  |  |
|  | Medicals (entry and exit) | sum | 1 |  |  |
|  | TRANSPORT PERSONEL DAILY | Months | 3 |  |  |
|  | Accomodation | Months | 3 |  |  |
|  | LDV/ Mini truck | Months | 3 |  |  |
|  | Sub-Total |  |  |  |  |
|  | Project Management, Quality, SHE, Planner, Welder, Supervision |  |  |  |  |
|  | Project management |  |  |  |  |
|  | Project Manager Part Time | Sum | 1 |  |  |
|  | Site Manager Full Time | Sum | 1 |  |  |
|  | SHEQ Officer Part Time | Sum | 1 |  |  |
|  | Quality Officer Part Time | Sum | 1 |  |  |
|  | Planner/Scheduler Part Time | Sum | 1 |  |  |
|  | Engineering |  |  |  |  |
|  | Mechanical Engineering Design review | sum | 1 |  |  |
|  | Configuration Control | sum | 1 |  |  |
|  | ECSA Engineer Sign Off | sum | 1 |  |  |
|  | Documentation and Drawings | sum | 1 |  |  |
|  | Sub-Total |  |  |  |  |
|  | GRAND TOTAL |  |  |  |  |

C2.2 the activity schedule

Use this page as a cover page to the Contractor’s activity schedule.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Employer’s works Information

Contents

Part 3: Scope of Work	1

C3.1: Employer’s works Information	2

1	Description of the works	5

1.1	Executive overview	5

1.2	Employer’s objectives and purpose of the works	5

1.3	Interpretation and terminology	5

2	Management and start up.	5

2.1	Management meetings	5

2.2	Documentation control	6

2.3	Health and safety risk management	6

2.4	Environmental constraints and management	7

2.5	Quality assurance requirements	7

2.6	Programming constraints	7

2.7	Contractor’s management, supervision and key people	7

2.8	Invoicing and payment	7

2.9	Insurance provided by the Employer	8

2.10	Contract change management	8

2.11	Provision of bonds and guarantees	8

2.12	Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor	8

2.13	Training workshops and technology transfer	8

3	Engineering and the Contractor’s design	9

3.1	Employer’s design	9

3.2	Parts of the works which the Contractor is to design	9

3.3	Procedure for submission and acceptance of Contractor’s design	9

3.4	Other requirements of the Contractor’s design	9

3.5	Use of Contractor’s design	9

3.6	Design of Equipment	9

3.7	Equipment required to be included in the works	10

3.8	As-built drawings, operating manuals and maintenance schedules	10

4	Procurement	11

4.1	People	11

4.1.1	Minimum requirements of people employed on the Site	11

4.1.2	BBBEE and preferencing scheme	11

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	11

4.2	Subcontracting	11

4.2.1	Preferred subcontractors	11

4.2.2	Subcontract documentation, and assessment of subcontract tenders	11

4.2.3	Limitations on subcontracting	12

4.2.4	Attendance on subcontractors	12

4.3	Plant and Materials	12

4.3.1	Quality	12

4.3.2	Plant & Materials provided “free issue” by the Employer	12

4.3.3	Contractor’s procurement of Plant and Materials	12

4.3.4	Spares and consumables	12

4.4	Tests and inspections before delivery	13

4.5	Marking Plant and Materials outside the Working Areas	13

4.6	Contractor’s Equipment (including temporary works).	13

4.7	Cataloguing requirements	13

5	Construction	14

5.1	Temporary works, Site services & construction constraints	14

5.1.1	Employer’s Site entry and security control, permits, and Site regulations	14

5.1.2	Restrictions to access on Site, roads, walkways and barricades	14

5.1.3	People restrictions on Site; hours of work, conduct and records	14

5.1.4	Health and safety facilities on Site	14

5.1.5	Environmental controls, fauna & flora, dealing with objects of historical interest	14

5.1.6	Title to materials from demolition and excavation	14

5.1.7	Cooperating with and obtaining acceptance of Others	15

5.1.8	Publicity and progress photographs	15

5.1.9	Contractor’s Equipment	15

5.1.10	Equipment provided by the Employer	15

5.1.11	Site services and facilities	15

5.1.12	Facilities provided by the Contractor	15

5.1.13	Existing premises, inspection of adjoining properties and checking work of Others	15

5.1.14	Survey control and setting out of the works	16

5.1.15	Excavations and associated water control	16

5.1.16	Underground services, other existing services, cable and pipe trenches and covers	16

5.1.17	Control of noise, dust, water and waste	16

5.1.18	Sequences of construction or installation	16

5.1.19	Giving notice of work to be covered up	16

5.1.20	Hook ups to existing works	16

5.2	Completion, testing, commissioning and correction of Defects	17

5.2.1	Work to be done by the Completion Date	17

5.2.2	Use of the works before Completion has been certified	17

5.2.3	Materials facilities and samples for tests and inspections	17

5.2.4	Commissioning	17

5.2.5	Start-up procedures required to put the works into operation	17

5.2.6	Take over procedures	18

5.2.7	Access given by the Employer for correction of Defects	18

5.2.8	Performance tests after Completion	18

5.2.9	Training and technology transfer	18

5.2.10	Operational maintenance after Completion	18

6	Plant and Materials standards and workmanship	19

6.1	Investigation, survey and Site clearance	19

6.2	Building works	19

6.3	Civil engineering and structural works	19

6.4	Electrical & mechanical engineering works	20

6.5	Process control and IT works	20

6.6	Other [as required]	20

7	List of drawings	21

7.1	Drawings issued by the Employer	21

C3.2	Contractor’s Works Information	22

# 1 Description of the works

## 1.1 Executive overview

Diesel generators provide essential backup power to both the generating units and the overall station in the event of a total system blackout. At Matimba Power Station, these generators serve as standby power sources and remain available 24 hours a day. Each generating unit is equipped with its own dedicated diesel generator, with an additional generator serving the station, providing a total of seven diesel generators installed on site. They also supply power to Unit and Station auxiliary systems during black-start operations.

The diesel generators are located at the 0 m level on the southern exterior of the turbine building for Units 2, 3, 4, 5, and 6. Each generator is supported by an individual diesel day tank, with an approximate storage capacity of 1000 litres.

This part of the document describes the Works Information for the supply, installation, testing, commissioning and handover of the automatic fixed fire protection and detection systems including all associated works for the diesel generators and their respective diesel day tanks for Units 2, 3, 4, 5, and 6 at Matimba Power Station.

These fire protection systems operate independently within the plant and are critical to maintaining safe and reliable plant operations, supporting the continuous production of electricity.

## 1.2 Employer’s objectives and purpose of the works

The purpose of this project is to provide the automatic fixed fire protection and detection system for 2-6 units diesel generators including all associated works at Matimba Power Station. The objective of the project is to ensure compliance is achieved for safety and statutory regulations including Employer requirements.

## 1.3 Interpretation and terminology

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| EOD | Electrical Operating Department |
| FM | FM Global insurance company |
| KKS | ###### Kraftwerk-Kennzeichnung system developed by the VGB (Germany) Power Plant Classification System |
| kPa | kilo Pascal |
| Mm/min | millimetres per minute |
| NEC | New Engineering Contract |
| NFPA | National Fire Protection Association |
| SANS | South African National Standards |

The following definitions are used in this Works Information:

| Definition | Description |
| --- | --- |
| Fire | Rapid chemical reaction that produces heat and light; sustained burning as manifested by any or all the following: light, flame, heat, and smoke; stationary flame with the flammable mixture fed into the reaction zone. Note Hydrogen flames are nearly invisible in daylight and are without smoke, unless other materials are entrained in the flames |
| Fire Detection | A device designed to automatically detect the presence of fire and initiate an alarm system and other appropriate action |
| Fire Protection | Method of providing for fire control or fire extinguishment |
| KKS coding | Plant location coding system used at Matimba Power Station as detailed in Matimba Procedure PS/178/003, Plant KKS Coding, Hardware Breakdown Structure and plant labelling |
| Nozzle | Closed head low velocity devices used in general purpose applications |
| Sprinkler | Closed head low velocity devices used in general purpose applications |

# 2 Management and start up

## 2.1 Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Project Kick-Off Meeting | Once, before contract start | Matimba Power Station | Employer’s and Contractor’s Representatives |
| Risk register and review | Weekly | Microsoft Teams | Contractor SHEQ Officer and Project Manager |
| Toolbox sessions | Every-day before commencing of work | Project Site Offices | All the Contractor’s employees |
| Compensation events | As and when required | To be confirmed | Employer’s and Contractor’s Representatives |
| Overall contract progress and feedback | Weekly | Microsoft Teams | Employer’s and Contractor’s Representative |

The Contractor reports the overall progress and as a minimum requirement, the following is

addressed:

- Contractor’s current activity progress and planned finish dates.

- Contractor’s programme agenda compared for delays and milestone targets.

- Health, safety, environmental and quality Management.

- The progress of any other relevant activities.

- To discuss any technical or commercial issues.

- Problem areas or concerns.

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## 2.2 Documentation control

Documentation requirements cover the life cycle of the project from the initial engineering stages through to handover and include operating, maintenance and the training documentation. Not only must these documents be comprehensive and complete but must comply with strict document control and revision procedures.

The Contractor plans the supply of the documentation during various project stages and provides the documents in accordance with the key scheduled project milestone dates. All engineering documentation is submitted as per the Employers Part 3: Scope of Works requirements. A document is thus any written or pictorial information describing, defining, specifying or certifying activities, requirements, procedures or results. All contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the email itself.

All project documents must be submitted to the Project Manager with transmittal note according to Project / Plant Specific Technical Documents and Records Management Work Instruction (240-76992014). To portray a consistent image, it is important that all documents used within the project follow the same standards of layout, style and formatting as described in the Work Instruction. The Contractor is required to submit documents as electronic and hard copies, and both copies must be delivered to the Project Manager with a transmittal note.

In addition, the Contractor be provided with the following standards which must be adhered to:

- Project Plant Specific Technical Documents - Handover Works Instruction 240-124341168

- Project Documentation Deliverable Requirement Specification 240-65459834.

- Technical Documentation Classification and Designation Standard 240-54179170.

- Project/ Plant Specific Technical Documents and Records Management Work Instruction 240-76992014.

### Document Submission

All the drawings issued by the Employer for this contract is copyright protected and are not to be copied by the Contractor. The Contractor submits all documentation on a formal transmittal form in triplicate to the Project Manager. All manuals, documents and engineering documentation shall be presented in British English. The documents submitted is required to comply with the Employer’s requirements. Where relevant, Eskom templates are to be used. Documents are to be submitted in PDF as well as editable form.

The Contractor must submit the Master Document List to the Employer monthly for tracking purposes irrespective of whether there are updates or not. The MDL includes list of drawings and documents, and it contains the following minimum information for each document:

- Date of submission

- Transmittal number

- Transmittal title

- Document description

- Document number

- Document Type

- Revision number

- Document Approval Status

- Document Authorisation Status (i.e. Accepted with Comments, Not Accepted with Comments, or Accepted)

### Documentation Review and Turn-around

The Employer has a minimum seven working days to review and consolidate review comments for documentation submitted by the Contractor. The Contractor also has a minimum seven working days to respond and / rectify as per the comments by the Employer.

    - Documentation Management System

A comprehensive documentation management system is provided as stipulated in the Employer’s Part 3: Scope of Works requirements and the configuration management section. All documentation is maintained and updated until Completion. Any change is propagated automatically to all related documentation. All documentation forms an integral part of the documentation system.

The Contractor includes the Project Manager accepted drawing headers on all drawings submitted to the Project Manager. The format of all documents is submitted to the Project Manager for acceptance.

Automatic prevention of duplication of numbering or ambiguity is built into the system.

Drawing Requirements

The creation and control of all Engineering Drawings must be in accordance with Employer’s Part 3: Scope of Works requirements, the latest revision of 240-86973501: Engineering Drawing Standards – Common Requirements.

The Contractor must provide detailed “As Required” arrangement/dimensional drawings for each part of Work to be done. No work will commence without acceptance of these drawings communicated in writing by the Project Manager of the Employer.

Upon Completion the Contractor must submit detailed “As-built” drawings. The “As-built” drawings are subject to the Employer’s Engineering representative comments and acceptance. All drawings must indicate new installation/modified parts as well as adequate existing pipework to which the items are connected. This must be done in sufficient detail to easily identify the location of the installation.

    - Configuration Management Plan

The Contractor must prepare a configuration management (CM) plan utilizing the ISO 10007 as a

reference guide for all works under this scope of work. The CM plan shall include the following:

- A complete and comprehensive description of the Contractor’s document numbering conventions and revision schema.

- A description of the electronic data management system(s) that the Contractor will use for the management of documents and/or configuration items.

- A description of the baselines that will be established and the content of these baselines.

- The release procedure for product configuration information.

- The procedure for the control of changes prior to the establishment of baselines as well as after.

- The method for processing changes, emanating both internally and from sub-suppliers.

- The method for collecting, recording, processing, and maintaining the data necessary for producing configuration status accounting records.

- The definition of the content and format for all configuration status accounting reports.

- A list of audits which will be conducted to ensure adherence to the CM plan.

    - Plant Configuration

The Contractor must apply the Kraftwerk-Kennzeichen system (KKS) codification system to uniquely identify the systems, components and sub-components constituting the plant according to the Employer’s KKS Key Part Standard (240-109607736 Eskom KKS Key Part Standard) and KKS Coding Standard (240-93576498 Coding Standard). The Employer will provide level 1 KKS codes to the Contractor.

The Contractor must ensure a full familiarization with the standard and concepts of KKS system. The Contractor is responsible for codification of plant, equipment and components which the Contractor shall supply.

The specific code for each item of the plant, equipment, measuring point, junction box, cable etc. is to appear on all documents, drawings, maintenance schedules etc.

A list of all KKS codes used by the Contractor must be provided according to Employer standard

documentation. The allocation of the KKS codes is to be approved by Employer prior assembling of the plant (plant breakdown structure).

All designs, testing, commissioning, operating maintenance and training documentation and databases are to be suitably and comprehensively marked, cross-referenced, and indexed with the allocated KKS codes.

The Contractor must ensure that the codification assigned to plant is consistently maintained throughout the design cycle, e.g. the KKS codes indicated in the O&M manuals are consistent with the KKS codes indicated in the original process and instrumentation diagram.

    - Plant Labelling

The Contractor must manufacture and install labels according to the Plant Labelling Standard 240-71432150.

Any abbreviations to plant descriptions shall be prepared in accordance with the Employer’s abbreviation standard (240-109607332 Eskom Plant Labelling Abbreviation Standard).

Detailed equipment list or label lists with the service legends and including the KKS Code shall be prepared by the Contractor and submitted to the Employer for review and comment before commencing the manufacture of the labels. On plant areas where labels do not make ergonomic sense, the Contractor must request the Project Manager to consult Matimba Configuration Management for guidance as per communication turnaround timelines.

It is the Contractor’s responsibility to book for KKS inspections to obtain a Permanent KKS certificate prior to commissioning of system/s.

The Contractor must obtain individual KKS certificates for mechanical, electrical, civil and C&I works. The Contractor must conduct pre-booking inspections to ensure that documentation aligns with the plant.

The Contractor must be responsible to ensure that labels are fixed in such a way that operation and maintenance is not hampered, and the labels are visible. Where the fixing method is not clear (deviation from the norm) the Contractor must propose a solution to fix the labels which will have to be reviewed and accepted by Matimba Configuration Management before installation.

Acceptance of the fixing method by Matimba Configuration Management shall not absolve the Contractor from the responsibility to ensure that the fixing method will remain intact for the life of the plant. It is the responsibility of the Contractor to ensure that there are experienced KKS practitioner personnel for the purpose of this works.

## 2.3 Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in Annexure ___________ to this Works Information.

    - General

In carrying out its obligations to the Employer in terms of this contract, which obligations include, amongst others, to Provide the Works; using Plant, Materials and Equipment; and whilst at the site for any reason, the Contractor is the “Employer” in terms of the Occupational Health and Safety Act, No. 85 of 1993, in respect of its activities and in relation to its employees, agents, Subcontractor/s and mandatories.

The Contractor does not consider itself under the supervision or management of the Employer regarding compliance with the Safety Health and Environmental requirements.

Furthermore, the Contractor does not consider himself to be a subordinate or under the supervision of the Project Manager in respect of these matters. The Contractor is responsible for the supervision of its employees, agents, Subcontractors and mandatories and takes full responsibility and accountability for ensuring that they are competent, aware of the Safety Health and Environmental requirements, whilst executing the works in accordance with the Safety Health and Environmental requirements.

The Contractor ensures compliance with, amongst others:

- The provisions of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations (as amended), binding in terms thereof;

- The latest versions of standards, procedures, specifications, rules, systems of work and requirements of the Employer, copies of which are provided to the Contractor on request.

- The Health and Safety Plan prepared by the Contractor in accordance with the Employer’s Safety Health and Environmental Specification – 240-149136837 and requirements.

- The provisions of the National Environmental Management Act (as amended) and all regulations in force from time to time in terms of that Act,

The Contractor ensures that its employees, agents, Subcontractors and mandatories comply with the provisions of the Occupational Health and Safety Act, No. 85 of 1993, and all applicable regulations binding in terms thereof as well as the Employer’s Safety Health and Environmental Specification: 240-149136837 whilst making use of plant, materials and equipment and whilst at the Site for any reason whatsoever.

The Contractor implements a comprehensive health and safety management system, based on the OHSAS 18001 requirements for utilisation at the project.

The Contractor appoints a person, qualified and competent in accordance with the safety health and environmental requirements, as the liaison with the Employer’s Project Safety, Health and Environment Manager/Officer or delegated person for all such matters as pertaining related to safety, health and environment. The Contractor ensures that such a person is contactable 24 hours a day and is registered with a registered professional council approved by the Principal Director of the Department of Labour, as per the requirements of the latest Construction Regulations, inclusive of all exemptions and amendments pertaining thereto.

The Contractor hereby indemnifies the Employer and holds the Employer harmless in respect of any and all loss, costs, claims, demands, liabilities, damage, penalties or expenses that may be made against the Employer and/or suffered or incurred by the Employer (as the case may be) as a result of, any failure of the Contractor, its employees, agents, Subcontractors and mandatories to comply with their obligations, and/or the failure of the Employer to procure the compliance by the Contractor, its employees, agents, Subcontractors and/or mandatories with their responsibilities and/or obligations in terms of or arising from the Occupational Health and Safety Act, No. 85 of 1993.

The Contractor acknowledges that he is fully aware of the requirements of all requirements and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer’s Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

- Supply the Employer’s Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

- Supply the Employer’s Safety Officer with copies of all appointments in respect of Employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

- Do safety audits at the Contractor's premises, its workplaces and on its Employees.

- Refuse any Employees, sub-Contractor or agent of the Contractor access to its premises if such person are found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

- Issue the Contractor with a work stop order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

    - Mandatory Agreements

The Contractor confirms that:

- In terms of sections 37(1) and 37(2) of the OHSA, the Employer is relieved of any and all of its responsibilities and liabilities pertaining to the activities performed by the Contractor (and its employees, agents, Subcontractors and mandatories) relating to the works; the use of plant, materials and equipment; and whilst at the Site for whatsoever reason.

- The Contractor confirms that, in terms of the Construction Regulations, Regulation 6, it is hereby mandated as the designer and must perform all duties required of a designer. (This will be applicable only where the Contractor is required to do design work as part of their Scope).

The Contractor confirms that he has been provided with sufficient information regarding the health and safety arrangements applicable to the works, the use of Plant, Materials and Equipment, as well as at the Site.

In addition, the Contractor ensures that:

- Prior to the Contractor commencing with any operations/ activities relating to the works and/or prior to gaining access to the Site, the Contractor concludes a written mandatory agreement with the Employer in terms of Section 37(2) of the OHSA and 5(1)(k) under the construction regulations. The agreement constitutes a record of the written arrangements and procedures between the Contractor and Employer regarding health and safety.

- As far as is reasonably practicable, the safety and absence of risks to health in connection with the production, processing, use, handling, storage or transport of articles or substances is maintained;

- As far as is reasonably practicable, all hazards pertaining to the health and safety of persons and harm to the environment that are attached to any work which is performed, any article or substance which is produced, processed, used, handled, stored or transported and any plant or machinery which is used in its business, is clearly identified and, as far as is reasonably practicable, further establishes what precautionary measures should be taken with respect to such work, article, substance, plant or machinery in order to protect the health and safety of persons and or harm to the environment, and provides the necessary means to apply such precautionary measures;

- Such information, instructions, training and supervision as may be necessary to ensure, as far as is reasonably practicable, the health and safety at work of its employees, agents, Subcontractors and mandatories is provided.

- As far as is reasonably practicable, no employee, agent, Subcontractor and transports any article or substance or operates any plant or machinery, unless the precautionary measures contemplated in section 2.3.3 below, or any other precautionary measures which may be prescribed have been taken;

- Such measures as may be necessary in the interest of health & safety, and the environment are enforced.

- Work is performed and that plant, materials or equipment is used under the direct supervision of a person trained to understand the hazards associated with it and who has the authority to ensure that precautionary measures required by the Employer are implemented; and

- All employees are informed of the scope of their authority as contemplated in OHSA.

    - Health and Safety Obligations

In addition to the mandatory agreements, the Contractor:

- Ensures that all statutory appointments (as required in terms of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations binding in terms thereof, as amended) and other appointments required in terms of the Employer’s Safety Health and Environmental Specification – 240-149136837 and SHE Requirements Procedure (32-726) are in place and that all appointees are cognisant of their duties and responsibilities in terms of such appointments;

- Ensures that such appointees execute their duties and responsibilities as required by such an appointment.

- Ensures that all personnel brought by itself onto site (including employees of Contractors and Subcontractors) are suitably qualified and trained for the performance of the task, duties and functions, which are allocated to them;

- Immediately reports any occupational or other injuries, near miss events, property damage, environmental related incidents as well as any potential threat to the health and safety of individuals at the works or on the site, as soon as he becomes aware thereof, to the Project Manager; Complies with the Employer’s Occupational Health and Safety Incident Management Procedure – 32-95 and Environmental Incident Management Procedure – 240-133087117 relating to the reporting and investigation of incidents. The classification of incidents contained in such document are considered final and are applied by the Contractor relating to any incidents/ injuries relating to its employees, agents, Contractors, Subcontractors and mandatories whilst on Site;

- Conducts a risk assessment regarding the utilisation of PPE and thereafter ensure that PPE of good quality is issued (at its own cost) to its employees, agents, Contractors, Subcontractors and mandatories prior to such individuals accessing the site, alternatively performing activities related to the works at the site, as specified in the Eskom PPE Specification - 240-44175132.

    - Eskom Life Saving Rules (240-62196227)

Rule 1: OPEN, ISOLATE, TEST, EARTH, BOND, AND/OR INSULATE BEFORE TOUCH

With the aim to ensure a safe electrical work environment, no person may work/operate on, around or near any electrical network, line or apparatus, electrically connected to the power system and/or electrically charged and/or not electrically charged unless:

- He/she is trained and authorised as competent for the task to be done.

- There is a valid permit to work where required and they are being supervised by a competent person.

- A pre-task risk assessment to identify all risks and hazards has been conducted before any work commences.

- He/she follows the requirements on OPEN, ISOLATE, TEST, EARTH, AND CREATE AN EQUIPOTENTIAL ZONE BEFORE TOUCH, based on applicable/related standards, procedures and outcome of risk assessment fit for the type of work or task to be performed.

- The work area shall be within the equipotential zone, with the working earth visible at all times.

- The authorised person has physically shown all team members that the apparatus is safe to work on;

- He/she makes the specific electrical environment safe before performing the work; and

- All the appropriate PPE (including face shield and insulated gloves for 1low voltage work) are worn.

Note: The equipotential zone is only applicable for work being done on medium and high voltage apparatus.

Rule 2: HOOK UP AT HEIGHTS

Working at height is a significant part of work in Eskom Holdings and is regarded as a high-risk activity, and as a result all precautions must be taken to prevent incidents while working at height. Wherever reasonably practicable, preference must be given to the performance of work at ground level as opposed to work in an elevated position. Where work in an elevated position is necessary, the requirements in this document shall apply.

No person may work at height where there is a risk of falling unless:

- A Fall Protection Plan has been developed by a trained fall protection plan developer and communicated to all employees working at height based on the scope of work/task.

- He/she is medically fit to work at height.

- He/she is trained in accordance with Eskom’s requirements for working at height

- A pre-task-specific work at height risk assessment to identify all risks and hazards has been conducted and communicated to all participants before commencing any work of this nature.

- He/she appropriately conducts work as determined by the risk assessment.

- He/she is appropriately secured during ascending and descending where applicable; and

- He/she is using an Eskom-approved fall arrest system where applicable.

Rule 3: BUCKLE UP

Where required, the proper wearing of seat belts for any driver, operator and passenger is mandatory in all vehicles/equipment when driving and/or travelling for Eskom business purposes. The driver is obligated to ensure that he/she as well as all passengers are properly seated and wearing their seatbelts at all times while being transported in the vehicle, as per Eskom specifications.

Note: This rule is applicable on any road or parking lot, irrespective of the speed, and when the vehicle moves in a forward or backward direction.

Rule 4: BE SOBER

No person who is under the influence or who appears to be under the influence of intoxicating liquor or drugs will be permitted to enter or remain on an Eskom site or conduct Eskom business or drive/operate a vehicle/equipment for Eskom business purposes.

This includes any level of alcohol or the presence of any drugs, controlled substances, and/or illegal substances in the body that impairs or could impair mental and physical functioning, irrespective of when the substance was used.

Rule 5: ENSURE THAT YOU HAVE A PERMIT TO WORK

Where an authorisation limitation exists, no person shall work without the required Permit to Work (PTW), which is governed by for example the:

  - Plant Safety Regulations; or

  - Operating Regulations for High Voltage Systems (ORHVS) (handover or permit); or

  - Low Voltage Operating Regulations; or

  - Any other activity where a permit is required, for example, driver and statutory permits.

No apparatus is to be returned to service without the cancellation of all permits on that plant in accordance with procedure, unless permission is granted for a particular plant to be returned to service with permits still open, like in the case of redundant systems.

NOTE: In the case of live work, a “Live Work Declaration Form” is to be completed by the authorised person, who is the person responsible for the safe execution of work according to relevant standards and procedures. Outline the key principles or rules to support the implementation of the standard statement.

RULE 6: ENSURE SAFE LIVE WORKING

To ensure safe live work, each live worker shall:

- Ensure all live work basic principles are adhered to, as outlined (for the method being used) in the High Voltage Live Working Standard for the respective division.

- Observe and maintain the minimum approach distance (MAD).

- Only perform live work (never mix live and dead work on the same site at the same time – Refer to ORHVS Section 7 and 5 handouts respectively).

NOTE: In the case of live work, a “live work declaration form” is to be completed by the authorised person, who is the person responsible for the safe execution of work according to relevant standards and procedures. Outline the key principles or rules to support the implementation of the standard statement.

      - Consequences of Violating a Life-Saving Rule

In terms of general health and safety in Eskom, if any of the Life-Saving Rules are violated, it will be treated as serious misconduct, and result in a disciplinary process in accordance with the Eskom Disciplinary Code and Procedure.

It must be highlighted that Eskom takes a ZERO TOLERANCE stance to violation of these rules.

Depending on the circumstances, Eskom reserves the right, where a Contractor manager/supervisor allows the violation of a Life-Saving Rule, to suspend the Contractor’s activities while determining an appropriate sanction.

Where a Contractor employee allegedly violates a Life-Saving Rule, the Contractor shall immediately remove the employee from the site and initiate the disciplinary process. The Contractor shall investigate any violation of a Life-Saving Rule and initiate the disciplinary process within five (5) working days of the violation. The Contractor shall furnish Eskom with a copy of the sanction after the disciplinary process

    - Matimba Permit to Work System

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she always comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, are trained and on successful completion of Matimba’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

- The conditions of permits and cautionary notices are strictly adhered to

- The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

- The safe work procedures as laid down by Matimba Power Station and as determined by the Risk Assessment, shall be followed

- The workers register and cautionary notices are discussed daily with workers

    - Health and Safety Plan (Construction Regulations)

The following will be required after contract reward:

The Contractor shall compile a Health and Safety Plan, filed in a Health and Safety File, comprising of the following:

- Proof of the contracting company’s own Health and Safety Policy

- Proof of appointments, assignments and designations as required in terms of the Occupational Health and Safety Act, No 85 of 1993

- Proof of Risk Assessments regarding Hazards identified and proof of training of own employees regarding controls derived from the risk assessment

- Proof of Safe Work Procedures that derived out of the Risk Assessments

- Proof of the contracting company’s own Emergency Plan that will deal with their own emergencies on site

- Proof of a Fall Protection Plan, if required to perform work at elevated levels developed by a competent person appointed by the contracting company

- Proof of “Notification to perform Construction Work” – a copy of the notification addressed to the Department of Labour as required Regulation 3 of the Construction Regulations

- Proof of an Induction Program (it is advised that the Matimba SHE Rules as a Guide) and an attendance register signed by its employees prior the commencement of any construction work on site

- Proof of the contracting company’s employees Medical Fitness Certificate. (Must still be valid – one year. May only have been issued by an occupational health practitioner)

- Proof of Contractors weekly Health and Safety Rep Inspections regarding its own site and where detached work is performed

- Proof of Personal Protective Equipment (PPE) issued to Contractor’s employees

- Proof of contracting company’s Accident/Incident Reporting and Investigation System

- Proof of checklists and where applicable test certificates, regarding Contractor’s tools, equipment, machinery, mobile equipment, vessels under pressure and any other applicable checks required by the Act

- A “Section 37(2) Agreement with Mandatory” needs to be drawn up by the Employer and co-signed by the Contractor before work can commence

- The Contractor shall ensure that his Subcontractors do also have a Health and Safety File and that it must be accepted by the Contractor.

- The Safety Officer employed by Matimba Power Station will audit these Health and Safety Plans to ensure compliance with the provisions of the Act.

In terms of Clause 4 (b) of the Construction Regulations, the Employer points out the hazards or risks that is associated with the works, as indicated in Appendix B, to the Contractor. The hazards or risks it are however not limited to this list.

The Contractor shall comply with the health and safety requirements contained in SHE/OHS Specification and the approved safety file.

The 37-2 agreement to be signed by Contractor and Employer representatives

The SHE/OHS professional conducts internal audits at planned intervals to monitor compliance to the contractual health and safety requirements.

In addition to the requirements of the applicable laws governing the occupational health and safety, Matimba Power Station OHS requirements particular to the service and the Affected Property for this contract shall be adhered to for the duration of the contract.

The minimum requirements for the Contractor to gain access to Matimba Power Station include the but not limited to:

- Valid Medical fitness certificate

- Police clearance

- Identification document (RSA ID or equivalent)

- National Drivers Licence (applicable to drivers)

- Proof of Matimba Power Station Safety Induction

- Applicable risk-based PPE

- Valid letter of good standing always (COIDA)

- Adherence to the Eskom Life-saving rules 3 and 4, Be Sober and Buckle up

BUCKLE UP Rule 3:

No person may drive any vehicle on Eskom business and/or on Eskom premises:

Unless the driver and all passengers are wearing seat belts

BE SOBER Rule 4:

No person is allowed to be under the influence of intoxicating liquor or drugs while on duty

## 2.4 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in Annexure ________

The Contractor shall adhere to all requirements as set out in 240-146112716: Environmental management

requirements for Contractors.

The Contractor provides an Environmental Management Plan applicable during the execution of the Works. The plan provides a guideline on the environmental management of the handling of the works. All waste is handled in an environmentally friendly manner. The Contractor conforms to the “polluter pays principle”, duty of care and other NEMA principles.

The Contractor conforms to all requirements dictated in the document as well as the National Environmental Management Act (NEMA, Act No. 107 of 1998) and the National Environmental Management Waste Act (NEMWA, Act No. 59 of 2008). This is achieved by undertaking inspections, audits, monitoring and reviews, conducted internally by the Contractor and externally by the Project Manager.

The Contractor ensures that all environmental authorization obligations, applicable legislative requirements and Employer’s specific requirements are fulfilled. This includes all national, provincial and local environmental legislation and requirements.

The Contractor issues monthly, Environmental Management Performance and Expenditure Reports to the Project Manager.

The Contractor conducts their environmental management based on the ISO 14001 requirements and implement their environmental management practices accordingly.

Contractor must submit and get approval for:

- A Method Statement

- Environmental policy committing to environmental compliance and duty of care or pollution prevention commitments.

- Asbestos Risk Assessment

- Environmental Aspect and Impact register

- Appointment of Environmental Officer

- Environmental Management Plan

- A list of hazardous chemical substances to be utilised on site accompanied by Safety Data Sheet (SDS)

- Proof of asbestos training/competency for workers who will handle or remove ACMs.

- A Waste Management Plan showing how asbestos, general and hazardous/chemical waste will be handled.

- An Emergency Preparedness and Response Plan (EPRP) covering hydrogen leaks, KOH spills, and asbestos exposure.

All environmental procedures, as listed above, are site-specific and submitted to the Employer for acceptance by the Project Manager before the commencement of construction activities. The Employer provides a copy of the environmental authorisation and Environmental Management Plan to the Contractor for the drafting of the above procedures.

Waste Management

All waste management activities, which includes procurement of control measures, handling and disposal or processing of all waste forms generated on the Contractor’s site, are conducted according to Matimba Power Station Waste Management Procedure – PS/244/001, and all requirements of the Employer as per the Environmental Management Programme. The Contractor must implement proper waste segregation at source, with clearly labelled containers for general, recyclable and hazardous waste. No on-site burning, burying, or uncontrolled disposal of waste is permitted. All costs associated with waste management are the responsibility of the Contractor. Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

Rehabilitation

The Contractor rehabilitates both its lay-down and construction site including all disturbed areas under their jurisdiction and or as directed by Supervisor at the end of the project. The Contractor submits to the Project Manager a rehabilitation plan and schedule at least 2 weeks before finalisation of the works for acceptance by the Project Manager. All rehabilitation costs are the responsibility of the Contractor.

Hazardous Waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Hazardous waste which includes amongst others, chemical containers, oily rags, contaminated soil, and asbestos, must be stored in bunded, secure areas. No hazardous waste may be stored for a period of more than 90 days on the Matimba premises. Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate is submitted to the Project Manager/Matimba Environmental Officer.

Water Management

The Contractor must implement measures to prevent water pollution, including protecting stormwater drains, preventing contamination of natural watercourses, and ensuring that no hydrocarbons, chemicals, electrolyte solutions, or wastewater enter the environment. Drip trays must be used under all stationary equipment, and spill kits must be readily available. Washing, rinsing, or disposal of liquid waste must only occur at designated, approved facilities. All process-related water including water from cleaning, flushing or testing must be collected, contained, and disposed of in line with Matimba’s Water Management Procedures and legal requirements. Any spills must be reported and managed in accordance with the Environmental Incident Management Procedure.

Air Quality Management

The Contractor must implement controls to minimise dust, emissions and fugitive releases during construction, installation, and demolition activities. Dust suppression practices such as water spraying, temporary coverings, or wind-break barriers must be applied in exposed or disturbed areas. Equipment and vehicles must be well maintained to prevent excessive exhaust emissions. Any work generating fumes, smoke or gases (e.g., welding, cutting, or handling chemicals) must be conducted with appropriate ventilation systems. During decommissioning of the old hydrogen plant particularly where asbestos components exist, air quality monitoring must be conducted, and only approved asbestos handling procedures and licensed Contractors may be used.

Biodiversity Management

The Contractor must ensure that construction activities do not negatively impact local flora, fauna or habitats within and around the Matimba Power Station area. Sensitive areas including protected species, nesting sites, trees or natural vegetation must be identified and avoided. No vegetation clearing may occur without approval from the Matimba Environmental Officer. Should fauna be encountered (e.g., reptiles, small mammals or birds), work must stop and the Matimba Environmental Officer must be notified for safe relocation by trained personnel. The Contractor must prevent soil erosion and disturbance to natural surfaces through proper stabilisation, erosion control and rehabilitation measures. All work must comply with NEMBA regarding the protection of indigenous and protected species, and no hunting, killing, trapping or collection of animals or plants is permitted. Rehabilitation of disturbed areas must be completed at the end of the project.

Housekeeping Requirement

The Contractor must always maintain a clean and orderly site. Materials must be stored safely in designated areas, and walkways must remain free of obstructions. Work areas must be cleared of waste, scrap materials, and debris daily. Tools, equipment, and chemicals must be stored neatly and securely when not in use. Any potential pollution sources such as chemical storage, fuel areas, or waste zones must be clearly demarcated, weather-protected, and inspected regularly. Good housekeeping forms part of the environmental compliance audits conducted by Matimba SHEQ Department.

Environmental Management

Matimba has an Environmental Policy, PP/240/001, to which the Contractor and his employees must adhere. It is the responsibility of the Contractor to ensure that he obtains copies of the Matimba Environmental Policy, the legal register applicable to his area of responsibility, the aspect register and the Matimba procedures (applicable to the Contractor’s area of responsibility) and to familiarize themselves on such procedures, within 30 days from the date of commencement of work at Matimba, to assist the Contractor and his/her employees to prevent pollution and to comply with legislative requirements. Copies of the above-mentioned documents shall be obtained from the Project Manager or Environmental Officer on the first day prior to commencement of work at Matimba. The Contractor shall submit proof to the Environmental Officer of Matimba that he and his employees has done all the necessary training on procedures and Policies supplied to them and that they do understand the contents of the procedures, registers and policies and will always adhere to them.

## 2.5 Quality assurance requirements

The Contractor shall implement and maintain a quality management system that as a minimum meets the requirements of 240-105658000 - Supplier Quality Management: Specification. If the Contractor is registered, the appropriate ISO 9001:2015 Registration certificate of compliance must be supplied with the tender.

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Works Information.

The Contractor notifies the Project Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub-contracts.

    - Quality Documents Submitted with the Tender

The Contractor submits a copy of his quality policy and quality system procedures relevant to the Works. The Contractor also submits a typical quality control plan.

The Project Manager and Quality Engineer evaluate the Contractor’s capabilities with regards to quality assurance and quality control based on these submissions and the performance history of the Contractor. The Project Manager and Quality Engineer perform pre-award assessments where necessary, giving further information to aid the selection process

    - Quality Documents Submitted after the Contract Date

Contractor submits a fully detailed Quality Assurance Programme (QAP) for acceptance by the Project Manager within four weeks of the Contract Date.

The documents submitted by the Contractor shall include the following:

- Data Book index

- Copy of the Quality Manual

- Copy of the Quality System Procedure

- Copy of the Contract Quality Plan

- Copy of Quality Control Plans

- Copy of the proposed index of the QA/QC, inspection and test records

The Contractor will further submit the following documents during the contract:

- Non-conformance reports (NCR’s) raised by the Contractor

- Notification of any planned changes to the Contractor’s quality manual, quality system procedures, contract quality management plan or quality plan for acceptance by the Project Manager prior to implementation

- Concession/production permit applications and supporting documentation

- Data books and/or data packages

    - Contract Quality Management Plan Requirement

The Contractor prepares a contract quality plan using template for a Contract Quality Plan (240-43921804):

- Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

- Establishes communication channels between the Contractor and the Project Manager in respect of quality and the integration of such with prescribed contract communication channels

- Indicates how specific subcontractors will be monitored

- Identifies items or activities for which quality control plans will be prepared

- Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

- Identifies the areas or processes requiring special controls

- Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

- Identifies the documents which are to be submitted to the Project Manager

- Identifies the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Project Manager but will not be greater than one year.

## 2.6 Programming constraints

### General

The Contractor submits a single integrated Level 3 programme that incorporates all the work to be performed including that of his subcontractor’s. The interfaces between subcontractors as well as the interfaces between subcontractors and the Contractor are clearly identified. Project key dates are incorporated into the programme.

    - Computerised Planning

Microsoft Projects is the only planning tool which the Employer accepts for this project; therefore, the plan submitted to the Employer must be converted or submitted in this format. The Project Manager does not intend duplicating the Contractor’s planning and scheduling; however, the Accepted Programme is used in the Employer’s internal integrated and Master project programmes for project control purposes, updating and monitoring. The Project Manager requires one project programme to be used and updated during the execution of the Works. This ensures that any changes, deviations to the programme can be carried out on the agreed programme and monitored. The initial programme supplied to the Employer after Contract award is fully resource loaded.

Any changes that are required to be made to the Project/Programme i.e. scope changes, delays and the like, are recorded through the Employer’s change process and documentation, where all parties agree to the changes and sign.

The Contractor and Project Manager agree on the format of how the updates are done, and the frequency of the updates i.e., such as on a weekly basis, or at any other time as required by the Contractor, or as instructed by the Project Manager.

Planning and Scheduling Levels

All planning and scheduling are done based on the Critical Path Method (CPM). The Contractor uses activity codes to define interfaces to be agreed upon between Project Manager and Contractor. The Contractor’s programme shows the actual critical path clearly.

The schedule layout considers the accepted WBS, reflecting the manner the works are to be performed as per the Contractor’s Method Statement and how activities are to be summarised, reported and monitored.

The programme includes:

- Major milestones, interface dates, access dates and key dates (for the new plant, existing plant and between subcontractors).

- The duration of major activities and their relationship to one another.

- Identified long-lead material items.

- Responsibility assignments for accomplishing project objectives end product is a time scaled bar-chart programme developed using logic network.

This programme is separated by unit, by plant area, by phase, by WBS. The work within each plant area is broken down by engineering discipline, procurement, delivery, construction by the Contractor, start-up and commissioning. The programme is resource-loaded and it forms the basis for progress measurement, progress curves and histograms for each discipline within a plant area. This is used for Evaluations and for the accepted programme after contract award. This is saved and used as the original.

The Contractor’s Forecasted Rate of Invoicing (FRI) also aligns with the resource loading on the programme.

    - Planning Programmes

The Contractor develops a contract programme which includes a bar chart conforming to the project master programme dates included and sufficient detail to indicate the Contractor’s intention for executing the works. This programme covers major items relating to design, procurement, manufacture, delivery, erection, start-up and commissioning. The critical path is clearly shown.

Key milestones, access dates, interface dates and commissioning key dates are clearly identified in the contract programme, including access dates and release of terminal points that involve the Employer or Others.

The programme makes provision for site related preparation such as site establishment, safety induction and medical clearance of the entire Contractor’s staff that will be working on site.

## 2.7 Contractor’s management, supervision and key people

All designs must be signed off by an ECSA registered Professional Engineer; registered in the applicable discipline.

All personnel must be qualified in the position they will be occupying. All welders will be tested by a qualified welder from Matimba Power Station before commencing with the works.

An organogram needs to be submitted before commencing with the works indicating the key personnel as well as up to date certification for the position being filled.

If key personnel are changed in the organogram the Contractor must notify the Project Manager in writing of the changes. Contractor must submit the updated organogram and all associated certified documents as required in section 2.3, within 7 days of the Contractors’ change.

## 2.8 Invoicing and payment

There are no additional requirements to the invoicing and payment clauses in Section 5 of the core clauses.

At each assessment interval, the Contractor submits to the Project Manager a forecast rate of invoicing that includes all the expected payments by the Employer to the Contractor on a month-by-month basis.

The Contractor addresses the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- The registered name of the Contractor

- The VAT registration number of the Contractor

- The address of the Contractor

- The Employer’s contract number

- The VAT registration number of the Employer

- The value of the invoice split into payments as per the activity schedule as indicated in the Price Lists.

- Any retention monies to be deducted from the invoice

- Any interest payable

- Escalation formula used where applicable

All invoices in PDF format are emailed straight from your system to an Eskom email address.

- Email addresses for invoice submission: Invoiceseskomlocal@eskom.co.za. The Project Manager is copied when submitting invoices.

- All queries and follow up on invoice payments are made by contacting the FSS Contact Centre: 
Tel: 011 800 5060 or e-mail: fss@eskom.co.za

- For Foreign invoices, the Contractor is required to physically deliver hard copies of original documents to the Project Manager even though the Contractor has e-mailed those invoices.

- The Contractor ensures compliance with the tax Requirement for submitting invoices electronically.

- If there is Cost Price Adjustment (CPA) on your invoice, the Employer recommends that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving CPA issues.

- The base invoice number needs to be mentioned on the CPA invoice.

- Electronic invoicing does not guarantee payment but ensures visibility of all invoices and ensures that no invoices get lost. If the Goods Receipt (GR) is not done the invoice is parked and the system automatically sends an e-mail to the Project Manager to do the goods receipt. This is also tracked by the Employer through the parked invoice report.

The Contractor can request a parked invoice report from the Finance Shared Services (FSS) Contact Centre which can then be followed up and corrected. The Contractor is allowed to forward the details of invoices corrected to the FSS Contact Centre

## 2.9 Insurance provided by the Employer

As stated in the Employer`s Conditions of Contract all Risk Insurance Policy is available on request from Eskom Group Insurance, to be dealt with in accordance with ECC3 Core Clause 87.1, 87.2 and 87.3 and additional requirements are also stipulated in the Z Clauses.

The insurance policies and procedures will form part of the Contract Data and any reference to this will be contained in the Contract Data.

## 2.10 Contract change management

The Contractor or the Project Manager notifies each other of any event which may lead to a change in agreed terms of this contract. Changes are be dealt with in accordance with the conditions set out in the Contract Data and NEC3 ECC.

All project changes, impacting Scope, Cost and Time, follow the internal Governance committee processes (Technical, Investment & Commercial) for approval and is the responsibility of the Project Manager.

## 2.11 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

## 2.12 Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor

The Contractor submits the following for compensation event assessment:

- Quotation indicating Current market rate if not included in the short schedule of cost components

- Labour time sheets

- Early warning to the Project Manager

- Project Manager‘s Instruction

- Percentage fee applied

- Cost Price Adjustment (CPA) Calculation where short schedule of cost components rates was utilised

- Signed Record of Decisions (ROD) or design change request form for Project Management design changes

- Revised program where key date and completion date is affected

- Revised program if Contractor is instructed to accelerate by the Project Manager

- Invoice from supplier and service providers

## 2.13 Training workshops and technology transfer

    - General

The Contractor provides training on the equipment and systems included as part of the Works to the various categories of the Employer’s technical staff for the duration of the works.

Training provided by the Contractor is directly applicable to the actual equipment supplied for the Works. Generalised training based on similar equipment is not acceptable. All training will consist of both theoretical and practical training. The training is to be structured such that competency tests are done at the end of the training sessions on all the training participants.

The local facility for training provided by the Employer is suitably sized air-conditioned room that accommodates six to ten trainees as well as trainee and trainer desks, an overhead projector and flipchart or white board. Matimba Engineering and Maintenance personnel should be adequately trained to be able to maintain the new equipment over its entire design life.

At design freeze, the Contractor submits to the Project Manager for acceptance a detailed training programme as well as a prospectus for each course. The training schedule is incorporated in the Accepted Programme.

Training is scheduled such that at full scope training courses are provided, as a minimum, after the completion of each unit, to accommodate all relevant personnel as required.

A certificate of satisfactory completion to be issued to employees who successfully completed the training.

The Employer’s training requirements are as follows:

- The Provision of detailed training manuals incorporating all aspects of the training that will be provided to the Project Manager for acceptance.

- Initial training of Employer’s personnel in the operation, calibration and maintenance of the works.

- The Contractor provides formal theoretical training to the Employer’s personnel in the operation, maintenance and general running of the Works and equipment before commencing testing and commissioning of the works. The disciplines to be trained are operating, maintenance (electrical, mechanical, control and instrumentation), engineering and chemistry personnel. The Contractor shall present sufficient training interventions to accommodate all above-mentioned personnel.

The following is the minimum requirements for such training:

- Theory of processes

- Plant and component description, layout and design

- Controls, interlocks and alarms

- Plant operation and control:

  - Prestart up procedures

  - Start-up procedures

  - Normal operating procedures

  - Routine test and inspection procedures

  - Normal and emergency shutdown procedures

  - Emergency and alarm conditions

  - Cleaning procedures

  - Long-term storage procedures

- Operational problems:

  - Troubleshooting

  - Loss of supply (e.g. electrical power)

- Dangers and precautions

- Recommended settings (electrical, mechanical, control and instrumentation)

- Test and inspection plans (electrical, mechanical, control and instrumentation)

- Inspection and Maintenance Procedures (electrical, mechanical, control and instrumentation):

  - During plant operation

  - During shut down periods

- Special tools and equipment:

  - Requirements

  - Training

- Fault Finding:

  - Items to inspect

  - Typical observations and/or deviations

  - Recommended corrective actions

- Recommended spares (electrical, mechanical, control and instrumentation):

  - Item description

  - Part number/type

  - Supplier

  - Drawing designation

  - Quantity installed on plant

  - Recommended stock

- Lubrication schedule

- Items to inspect

- Typical observations and/or deviations

- Recommended corrective actions

During the testing, commissioning and handing over of the works, it is also incumbent on the Contractor to provide practical training to the Employer’s personnel in the operation, maintenance and general running of the works and Equipment.  For this purpose, the Project Manager reserves the right to allocate certain staff to the Contractor’s team during erection and commissioning period.

The Contractor declares the staff as competent, in writing, to operate, calibrate and maintain the Contractor’s plant and equipment prior to hand over or provide supervision for the period.

    - Training Documentation

The Contractor provides all course material including manuals. All course material is in English and includes all third-party documentation. A copy of the training documentation is supplied to each trainee with an additional three (3) master sets for the Employer’s library and training department. All training material is also supplied in an electronic format for easy reference.

Training manuals are continuously updated by the Contractor up to the date of issue of the Defects Certificate for the whole of the works.

    - Operating, Maintenance and Engineering Training Manuals

The Contractor provides Operating, Maintenance and Engineering Training Manuals.

The quantity of manuals to be supplied is as follows:

| · | Synopsis (Manual) | - | 1 copy |
| --- | --- | --- | --- |
| · | First Draft | - | 1 copy |
| · Final Draft/Pre Print Proof |  | - | 1 copy |
| · | Final Manual | - | 3 copies |

All documentation is also to be handed over in an electronic format for easy reference.

# 3 Engineering and the Contractor’s design

The scope of work covers the following:

- The design review, supply and installation of the designed automatic fixed fire detection and protection on Unit 2, 3,4,5,6 diesel generator and associated day tanks at Matimba Power Station.

- Procurement, supply and fabrication of plant & material necessary to execute the work according to the approved design.

- Delivery of materials to Matimba Site.

- Storage of all plant & material on Matimba Site

- Install automatic fire protection system compliant to the National Fire Protection Association (NFPA 850, 13 and 15) and SANS 10287,1128-2 and 240-54937450 fire protection and life safety standard, 240-54937448 fire detection and life safety design and 240-54937439 fire protection/detection assessment standards

- All structural, civil, builders work, plumbing and drainage, mechanical and electrical, control and instrumentations work required for the protection system.

- All plant & material that requires painting (all to be painted in red).

- Building bund of bricks, mortar and drainage to NFPA and SANS standards.

- Building a fire barrier between units 2 and 3 diesel generators.

- Successful incorporation of new systems into existing fire protection system.

- Supply, erection and dismantling of all scaffolding required.

- Connecting the pressure/flow switches to the existing fire detection system for alarming purposes in the control rooms and EOD.

- Manufacturing and installation of KKS numbers on all the standard components e.g. valve, flow switches etc.

- Commission and testing of installed fire detection and protection system.

- Submit as-built drawings, completion certificates and handover data file

## 3.1 Employer’s design

3.1.1 Mechanical Works

The Contractor does not design but review the design and installation of the designed automatic fixed fire protection system in reference to:

- SANS standards; GSP36-980; N. PMZ45-392.

- NFPA 850. NFPA13, NFPA 15 and SANS 10139.

- 11TH Edition ASIB Rules

- ASME B31.1 (2000 Edition) – Power Plant Piping.

- Eskom Manual for fire protection of coal-fired power stations, reference N.PMZ 45- 392 dated 2008-03-28.

Specific fixed fire protection design requirements:

Area - Outside Turbine Hall

Design Code - NFPA 850

Type of System - Deluge System

Nozzles - Medium Velocity Sprayers

Detectors - 68°C Conventional Sprinkler

Sprayer Spacing - Purpose Designed

Design Density - 10,2l/min/m²

System Interface - Connected to Existing Fire Ring Main

Electrical interface - Flow / Pressure switch at control valve

Operation - Automatic

Minimum Flow - 59.16 L/min

Minimum Nozzle Pressure - 140kP

K Factor - 5

The new system must be linked to the existing fire protection system and connect to the fire detection system network through the fire detection panel at all the relevant units. The connection to the fire detection panel must be through the pressure/flow switch.

The newly installed fire protection system must be of such a nature, that it should last the lifetime of the remaining life of Matimba Power Station (35 years), accepting that periodic maintenance and testing could be required on the installation. The system must always be 100% available and reliable.

This system must be installed as a separate fire system with a valve station inclusive of as a minimum an isolation valve, Deluge valve, pressure gauges, pressure/flow switches and alarm gong for each diesel generator. The flow switch or pressure switch must be connected to the fire detection and alarm panel in the all the relevant control rooms for alarming purposes in case of fire.

The new fire protection system pipes and equipment must be installed in such a method, not to hinder existing and obstruct maintenance activities in the diesel generator areas.

3.1.1.1 Sprinkler design

Fire protection systems should be installed for a minimum of (10.2 mm/min) density over an enclosed area of 186m2 Sprinklers is preferred to be rated at 68°C, but contractor must confirm temperature rating via ambient measurement of current conditions in areas where the fire protection installed will be installed. Positioning of Sprinklers to avoid obstruction should be as per NFPA 13- Standard for the Installation of Sprinkler Systems.

3.1.1.2 Pipe work and Support

The installation of the pipe and flanges must be able to withstand an operating pressure of 1200Kpa. The pipes must be supported at intervals not exceeding 2.5 m for piping up to 50 mm Nominal Bore (NB) and all other piping shall be supported at 4.5 m intervals. The sprinkler spacing must be according to SANS 10287: Automatic sprinkler installations for fire-fighting purposes.

It must be possible to isolate any system so that the fire protection can be removed to allow for unhindered access for maintenance in that area. The fire mains must not hamper the access to any other equipment on site, including the existing fire protection equipment.

3.1.1.3 Valves

The control valve design is Factory Mutual (FM) approved for equipment standardization. The isolation valves must have rising spindles. In both cases the valves (Inbal valves & Butterfly Valve (if used)) must be FM approved. Water will be provided to the new system from new 80mm diameter deluge control valves located in the vicinity of the diesel generators.

3.1.2 Civil works

The Contractor shall review all existing civil and structural designs provided by the Employer and shall formally adopt these designs as their own. This shall include issuing a Design Acceptance Certificate confirming that:

- The designs have been fully reviewed and are fit for purpose;

- The designs comply with all applicable standards and project requirements;

- Full professional and legal responsibility for the designs is assumed by the Contractor.

The Contractor shall be responsible for all additional civil and structural design work required for the safe, reliable, and complete operation of the fire protection system. This includes, but is not limited to:

- Foundations, plinths, and equipment bases.

- Structural steel supports and pipe racks.

- Pipe supports, anchors, and thrust blocks.

- Masonry works.

- Drainage and stormwater management systems.

- Modifications and tie-ins to existing infrastructure.

The Contractor shall verify all site conditions, existing structures, levels, and interfaces prior to construction and shall be responsible for ensuring that the design is suitable for actual site conditions.

All civil and structural designs shall be carried out in accordance with:

- SANS 10160 (all parts – Basis of structural design and actions).

- Relevant SANS structural design codes (including steel and concrete).

- Eskom Standard 240-56364545 – Structural Design and Engineering Standard.

- Applicable international standards where required.

Concrete Works:

- All concrete works shall be designed and constructed in accordance with Eskom’s 240-56364545 - Structural Design and Engineering Standard, SANS 10100, and SANS 2001-CC1.

- Minimum strength for structural concrete to be used is 35 MPa with a water/cement ratio not exceeding 0.42 and a minimum cementitious content of 350kg/m3.

- The drying shrinkage of concrete shall not exceed 0.040%, when tested in accordance with SANS 6085.

- Below ground concrete foundations and stub columns shall have a minimum concrete cover of 60mm. The surface bed shall have a minimum concrete cover of 40mm.

- Unless otherwise noted on the drawings, all exposed corners are chamfered 25 x 25mm.

- No "cold joints", resulting from any discontinuity of any pour, is permitted.

- The Contractor to submit, prior to the casting of any concrete, to the Project Manager the following for review and acceptance:

- Concrete mix designs, concrete-mix trial test cube results and all other required test results.

- Detailed construction method statements.

Structural Steel:

The Contractor to ensure that all final construction drawings are accepted as per Eskom’s design review processes prior to beginning construction and that compliance is maintained to all specifications for material grades that are fabricated and erected. This includes fabrication and erection tolerances, testing parameters and corrosion protection required for steel structures and their supporting elements.

The Contractor is required to submit to the Project manager, steel grade certificates, fabrication drawings, welder’s certificates and quality and test plans for review prior to fabrication.

All structural steel work must be designed, manufactured, and erected in accordance with all relevant SANS and Eskom specifications. The Contractor shall take note of the following requirements:

- All structural steel members, except purlins and girts as well as other secondary members like connection cleats and plates and anti-sag bars, shall be from Steel EN 10025-2-S355JR (Grade S355JR).

- Purlins and girts may be from cold-formed lipped angle, channel, or Z-sections. Due to inaccessibility for initial and subsequent brush or spray-painting purlins and girts shall be made from pre-galvanized sheet or hot dip galvanized after fabrication.

- Equal angles up to 50x50 mm that are commonly made of commercial quality steel shall not be used as primary (main) structural members. Sections made from commercial steel quality can be used, if in accordance with the designer’s specification, as secondary elements like anti-sag bars and as connection cleats.

- Plates forming part of primary structural members and primary member connections shall be of Grade S355JR steel.

- All structural steel elements, metal grating, stair treads and fasteners that are required to be hot dipped galvanized shall conform to SANS 121. Also refer to Eskom’s corrosion specification which shall be adhered to by the Contractor.

- Hand railing, floors, platforms, and walkways are required to be provided with kick plates 100mm x 6mm.

- Only coded welders are to perform all welding works. Supporting welding documentation must be submitted to the Project Manager for review and acceptance prior to construction. Note: All welding is required to comply with AWS D1.1.

- All welding joints are required to be inspected using visual aids and/or non-destructive tests as indicated below:

- Butt welds 100% ultrasonic NDT.

- Fillet welds 20% MPI.

- Or as directed by the Contractor and agreed with the Project Manager.

Masonry Works:

All masonry shall comply with SANS 2001 CM1.

Construction Monitoring and Professional Engineering Certification of the works.

The Contractor’s ECSA Registered Professional Engineer / Technologist responsible for the design of civil and structural works is to provide construction monitoring on the works in accordance with the provision of normal and additional services as per “Guideline Scope of Services and Tariff of Fees for Persons Registered in terms of the Engineering Profession Act 2000”, for construction monitoring of the execution of the works. Construction monitoring includes but not limited to:

- Review a sample of each important work procedure and construction material and other technical submissions such as construction method statements, inspection and test plans and quality control and quality assurance plans.

- Attending site meetings and maintaining adequate presence on the construction site to review samples of works and important completed work prior to enclosure or on completion as appropriate.

- Provide the Project Manager with technical interpretation of the plans and specifications when required.

- General inspection of materials and equipment for compliance with the design documentation for adherence to National and International standards.

- Provides the Project Manager with updated design documentation (drawings and specifications) where changes are required to ensure integration with existing works and where design changes are required due to unforeseen site conditions.

- Prepares and, on completion of the work, provides the Project Manager with As-Built drawings and a final (updated) design report signed by the Contractor’s ECSA registered Professional Engineer / Technologist.

- Conduct a final inspection of the completed work prior to commissioning.

- Certifies the works as complete, that design intent is achieved during construction, and the works are safe for commissioning and use in accordance with the design specifications   by issuing a completion certificate i.e., Professional Engineering Certificate (PEC), in terms of the Construction Regulations, 2014, Occupational Health and Safety Act 1993, SANS 10400.

3.1.3 C&I Works

The Contractor is responsible for installing and the layout of all C&I Cabling installation required. All cables must be rated 2-hour fire resistant (PH120). The required installed cabling must be from the pressure switch to the closest fire detection panel, which is at the relevant unit control room, though the alarms must be relayed to EOD using the building management interface

3.1.4 Testing and Commissioning

After completion of installation, the Contractor must carry out commissioning and performance testing of the fixed fire protection and detection system installed on the diesel generators refer to section 5 of the document for additional commissioning requirements. Commissioning shall include verification of correct installation, functional testing of all detection devices, control valves, alarms, manual and automatic actuation, and all interfaces with existing plant systems. System integrity, pressure and continuity tests shall be conducted. All commissioning activities shall be undertaken in accordance with Eskom standards, relevant SANS/NFPA requirements, and approved design documentation. Commissioning records, test reports, as-built drawings, compliance certificates, and operation and maintenance manuals shall be submitted to the Employer for review, witnessing, and final acceptance.

3.1.5 As-built drawings, operating manuals and maintenance.

On completion of the installation the Contractor must submit the as-built design to the Employer for acceptance in line with the drawing requirements stipulated in Section 2.2 of the documents. As a minimum the following documentation will be included when the design is presented to the Employer:

- Piping and instrumentation diagrams

- General arrangement and layout drawings

- Detail design drawings

- System description

- Operating and control philosophy

- Technical specifications

- Design calculations

- Equipment lists

- Number of sprinklers per system

- Installation Sequence

- Complete bill of materials

- Temperature rating of detection bulbs

## 3.2 Parts of the works which the Contractor is to design

The Contractor must conduct a design review of the existing designs from the  Employers. The Contractor must produce and submit workshop details from overall drawings provided by the Employer to the Project Manager and to design temporary works to enable the supply and installation of the designed automatic fixed fire detection and protection on Unit 2, 3,4,5,6 diesel generator and associated day tanks at Matimba Power Station.

  - 3.3 Procedure for submission and acceptance of Contractor’s design

The Contractor’s drawings which are to be submitted to the Project Manager for acceptance, will undergo an internal review process by the Employers’ Engineering team refer to section 2.2 for the document management process and associated quality requirements in section 6 of the document.

All design change management must be performed in accordance with the latest revision of the Eskom Project Engineering Change Management Procedure (240-53114026) and the Employer must ensure that Contractor is provided with latest revisions of this procedure. Any uncertainty regarding this procedure should be clarified with the Employer. All design/drawing reviews will be conducted according to the Design Review Procedure (240-53113685).

## 3.4 Other requirements of the Contractor’s design

The Contractor must verify all documentation and drawing requirements for his designs/installation requirements with the Project manager prior to final submission; for example, codification (configuration management), of Plant and Materials indicated in various sections of this document.

Coding of the design must be based on the latest revision of 240-93576498 KKS Coding Standard and the Employer must undertake the coding in line with its standards. The KKS coding must be applied during the design review stage(s) and cross referenced to all arrangement drawings, schematics, instructions, and manuals and where practical to spare parts list/manuals. The Contractor must include allocated coding to the electronic design drawings.

The Employers KKS Standard will be used to allocate codes to the plant or system included in the works. Plant Coding will be undertaken by the Employer and as such the Contractor must make available the following documentation to code:

- Mechanical

- Piping and Instrumentation Diagrams (P&IDs)

- Isometric drawings

- Interface list

- Process flow diagrams (PFDs)

- Equipment specifications

- C&I

- C&I architecture drawings and (P&ID)

- C&I Cubicle GA

- Cable block diagrams

- Remote control station lists

- Cable schedules

- Civil

- Site layouts

- Building layouts

- Building sectional layouts

- Building floor plans per level

- Underground services layouts

- Cable rack & support

The Employer will assign a coding technician who will interact with the Contractor in coding the plant as listed above. The Contractor must provide personnel to be based at the Contractors offices for labelling requirements during installation activities. It is also the responsibility of the Contractor to consistently apply the KKS codes throughout the rest of the technical documentation.

The Contractor must ensure that all documentation is coded (as per the codes assigned by the technician) prior submission to Employer for review.

The Contractor must also manufacture and install KKS labels to identified plant items as per list supplied by the Employer. Labels must be manufactured and installed according to the Employer’s KKS Plant Labelling and Equipment Descriptions Standard. The labelling standard must be supplied as part of the enquiry documents.

## 3.5 Use of Contractor’s design

The Employer shall be granted, upon full payment, the non-exclusive right to the intellectual property and designs of the system and installation details as per core clause 21 and 22.

## 3.6 Design of Equipment

Details of the Contractor’s design or proposed design of Equipment/Temporary Works needed during construction must be shared with the Project Manager, not necessarily for his acceptance but as an assurance that the Equipment will be able to allow the Contractor to provide the Works efficiently and without delay.  For example, a tunnel boring machine, or specialised shuttering for a bridge or caisson. The liability for such design and use of the Equipment/Temporary works remains that of the Contractor.

## 3.7 Equipment required to be included in the works

The Contractor must note that the works will be at the remote area, mobile toilets and mobile storage tank for drinking water must be taken into consideration. All equipment for the works will be the responsibility of the contractor. For e.g., specialized rigging requirements, mobile generator for power supply, bush clearing, and welding.

## 3.8 As-built drawings, operating manuals and maintenance schedules

All documentation, including reports, manuals, etc. shall be in the English language.

- Manuals: The technical, training, operating and maintenance manuals are provided for each type of a functional unit.

- Technical manuals include all technical data as well as the technical data and leaflets of each individual component provided. Where generic manuals are provided, an addendum is provided indicating the applicable project specific components.

Documentations are of a good quality and cover the following as a minimum:

- Technical descriptions of the equipment and component parts

- General arrangement drawings

- Installation instructions with drawings or pictures

- Operating and maintenance instructions for all components

- Detailed parts lists (accompanied by exploded view type drawings clearly detailing the part and uniquely identifying it)

- The Contractor compiles Data Books progressively for all manufacturing and construction/erection inspections, operating manuals and test records and documents for every piece of plant required in producing the works. The Contractor submits data books to the Project Manager for their review for all Plant and Materials and work undertaken with the applicable requirements and specifications.

- General Arrangement Drawings

- Electrical single-line diagrams

- Electrical schematic drawings

- Wiring diagrams (including panel layouts and loop diagrams).

- Plant arrangements.

- Piping layouts.

- Equipment lists

- Mechanical drawings,

- P&ID’s drawings,

- Spool drawings,

- Isometric drawings,

- Process flow drawing,

Any special instructions pertaining to storage of spare parts, or their shelf life is included in the maintenance manual. All drawings requested for component location, dismantling and reassembly for maintenance are included in the maintenance manual. All special tools required for operating and maintenance of the equipment are presented in a form of a schedule in the operating and maintenance manual, respectively. The content of the training manual is based on the content of the technical, operating and maintenance manuals.

The documents are reviewed by the Project Manager for correctness and conformance to the accepted design.

“As Built” documentation is deemed as a part of the works, hence Completion is not certified until such documentation is accepted by the Project Manager.

# 4 Procurement

  - 4.1 People

### 4.1.1 Minimum requirements of people employed on the Site

- All people employed to Provide the Works shall have South African Citizenship or a valid workers permit if not South African nationals.

- Superiors should have experience in the magnitude of the work.

### 4.1.2 BBBEE and preferencing scheme

N/A

### 4.1.3 Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

## 4.2 Subcontracting

### 4.2.1 Preferred subcontractors

N/A

### 4.2.2 Subcontract documentation, and assessment of subcontract tenders

- The Contractor submits the proposed Contract Data for each subcontracting for acceptance to the Project Manager. The Contractor provides a short description of the work it is proposed to sub-contract to each, together with an approximate value of the work to be executed by each. The Contractor will provide details of previous works and references of work done by the intended

- The Contractor prepares subcontracting document as according to the NEC3 Contract.

- The Contractor informs the Project Manager when intending to subcontract some of the works from the contract scope.

- The Contractor takes note that their Subcontractors Safety Files will be accepted by the Contractor Safety Manager before it will be handed to the Matimba SHE practitioner/Officers for verification of compliance before any work commence. Proof of acceptance by the Contractor’s Safety Manager needs to be in the Safety file when handed over to Matimba SHE Practitioners for verification.

- The Contractor only employs qualified Subcontractors.

### 4.2.3 Limitations on subcontracting

      - It is required that the Contractor demonstrates evidence of projects worked on which are applicable to the C&I systems affected by this project.

      - In the event of the Contractor not having the necessary experience required on these systems, the Contractor shall subcontract the work to a third-party company who complies to these requirements.

      - It would be beneficial for the Contractor to provide as much as possible evidence of projects where he or she had worked on the same C&I systems.

      - No more that 30% of the total contract value may be subcontracted.

### 4.2.4 Attendance on subcontractors

N/A

## 4.3 Plant and Materials

### 4.3.1 Quality

All equipment supplied by the Contractor shall be in accordance with the standards mention in section 6 of this document. It is the responsibility of the Contractor to ascertain the condition of any used equipment or materials, transport to site, corrosion protection, as well as any spares compatibility issues that may present itself in the future.

The Contractor must not use Plant or Materials which are generally recognised as being unsuitable or otherwise to be avoided for the purpose for which they are intended.

Only components of high reliability are utilised, with a proven operating history, to enable the Plant to achieve required reliability and availability. Plant and Material design, engineering, and manufacture accord with the best modern practice applicable to high-grade products of the type to be furnished, to ensure the efficiency and reliability of the works and the strength and suitability of the various parts for the works.

Plant and Materials withstand ambient conditions and the variations of temperature arising under working conditions without distortion, deterioration, or undue strains in any part.

All parts are made accurately, and where practicable, to standard gauges to facilitate replacement and repairs. Like parts are interchangeable.

No repair of defective Plant and/or Materials is permitted without the Project Manager’s acceptance and any such repair, if accepted, is carried out in accordance with the Employer’s requirements.

The Contractor ensures that co-ordinated and formally documented management system is in place for the assurance of quality as specified in ISO 9001, Quality management Systems – Requirements.

The Project Manager is free to specify hold and witness points during the installation and on-site testing stages of the project. The Contractor issues preliminary notification of such hold and witness points by four days advance notice to the Project Manager and confirms such hold and witness points at least four days prior to the activity.

Documentation regarding quality procedures is submitted within thirty days of Contract Award. The Project Manager reviews and comments on the acceptability of these documents within the period for reply. If controlled copies of these documents have been submitted to the Employer, then the controlled copy numbers may be quoted in the submission.

### 4.3.2 Plant & Materials provided “free issue” by the Employer

N/A

### 4.3.3 Contractor’s procurement of Plant and Materials

- The Contractor supplies and uses suitable and sufficient construction plant, tools and equipment and materials as may be required to carry out the works efficiently.

- The Contractor always provides protection for all plant and materials from damage or loss due to weather, fire, theft, unexplained disappearance or similar.

- The Contractor always protects from damage, due to the Contractor’s service to provide the Works, all plant and materials and equipment and all items on the site that are the property of the Employer or Others.

- The Contractor provides or manages, as part of works everything necessary for the receiving, inspection, safe keeping and storage, issuing, handling, management and administration of all plant and materials purchased by the Contractor.

- The Contractor provides through the Project Manager and relevant Construction Management personnel the documentation for the warranties from suppliers of all any relevant plant and material used in the execution of the works.

- The Contractor arranges all shipments of Plant and Materials and consigns all such shipments to himself as consignee at the project shipping address, freight fully prepaid. The Contractor makes demurrage agreements and settlements with carriers for his shipments.

### 4.3.4 Spares and consumables

- The Contractor must provide a comprehensive maintenance programme covering the entire operational lifespan of the Plant. This programme shall include a complete list of components, along with model numbers, serial numbers, and detailed technical descriptions. The list must also identify all critical spare parts necessary for ongoing operation and maintenance.

- The submission shall include a corresponding price list for all components and spare parts, indicating their availability throughout the Plant's lifespan. All quoted prices must be inclusive of packaging, delivery to and offloading at Site, as well as inspection, testing, and adequate protection against corrosion, damage, and weathering during both transit and storage.

- The Contractor must supply warranties for all components of the new Plant. During the warranty period, the Contractor shall be responsible for the repair or replacement of any defective or damaged components, provided that no evidence of negligence or misuse by the Employer is established.

- Furthermore, the Contractor must ensure timely attendance to breakdowns and other warranty-related issues. The Contractor must respond to breakdown notifications within 24 hours and commence on-site repair work within 48 hours of notification, unless otherwise agreed upon in writing with the Employer. All repairs under warranty shall be carried out at no additional cost to the Employer.

  - 4.4 Tests and inspections before delivery

The Contractor arranges and carries out all tests and inspections of the plant, including Factory Acceptance Test (FAT) as required by the Employer before delivery to site.

All inspections and testing to be performed in accordance with the Quality Control Procedure (QCP) developed by the Contractor.

The Employer will be provided access to the Contractor’s premises for the purpose of:

- Establishing compliance with the contractual requirements by means of inspections, surveillance, and audits.

- Witnessing the performance of any tests.

The Employer will inspect equipment forming part of the Plant before they are released from the Contractor’s premises at his discretion. This inspection entails a thorough check to ensure complete compliance with this specification including schedules, design drawings and other applicable standards.

The Contractor obtains clearance from the Employer or the Employer’s agent before despatching of the equipment. This factory release inspection does not release the Contractor of any of his obligations under the contract.

The Employer is entitled delegate a representative to attend and witness such test and inspections; therefore, the Contractor gives the Employer a written notice of not less than twenty-one (21) days indicating the location, date, and time of when such is carried out.

The Contractor provides and carries all costs associated with organization, execution and repetition of tests and inspections. Costs of travel and accommodation shall be borne by the Employer unless stated otherwise.

The Contractor must submit all certificates of tests and inspections report to the Employer within seven (7) days completion of tests and inspections.

## 4.5 Marking Plant and Materials outside the Working Areas

All Plant and Material paid for by the Employer must be clearly labelled as being the Employer’s property.

The Contractor must manufacture and install KKS labels to identified plant items as per list supplied by the Employer. Labels must be manufactured and installed according to the Employer’s KKS Plant Labelling and Equipment Descriptions Standard. The labelling standard must be supplied as part of the enquiry documents.

## 4.6 Contractor’s Equipment (including temporary works).

The Contractor is liable for all plant & equipment in the designated area under his control. The Employer will not take any responsibility for any loss or damage to the equipment. See also section 3.6 above relating to the design phase of the Contractor’s Equipment.

## 4.7 Cataloguing requirements by the Contractor

The Contractor provides all cataloguing information for the Employer to register, operate and maintain the completed works within the Employer’s asset management system.

Cataloguing information includes but not limited to:

- Description of component with KKS number,

- Bill of material including spares and consumables,

- Equipment description, manufacturing details, model numbers, serail number, and performance data

- Process and instrumentation diagrams,

- Range, calibration factors, calibrations certificates, data sheets, etc., for all control and instrumentation equipment,

- Electrical diagrams,

- General arrangement and installation drawings and instructions,

- Operating procedures and instructions for normal and emergency conditions, including flow Diagrams,

- Maintenance procedures and instructions for specific plant and equipment,

- All drawings required for component location, dismantling and re-assembly for maintenance,

- Equipment details such as make, model, type, specifications, etc,

- Detailed parts lists and ordering instructions pertaining to storage of spare parts or to their shelf life,

- Exploded view type drawings clearly detailing the part and uniquely identifying it, technical descriptions of the equipment and component parts,

- Troubleshooting and fault-finding guide,

- Safety procedures and instructions,

- All special tools and equipment required for maintaining and operating the works.

The Contractor must submit cataloguing as per documentation submission and recording specifications. All cataloguing data is subject to Employer’s verification and acceptance prior works handover.

# 5 Construction

## 5.1 Temporary works, Site services & construction constraints

### 5.1.1 Employer’s Site entry and security control, permits, and Site regulations

Access Permit- Matimba Power Station is declared a National Key Point Installation

.The Contractor must comply with the following:

- Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety

- Specifications for Contractors (PA/270/003).

- Compliance with Eskom & Matimba No Smoking Policy

- Adhere to the OHS Act 85 of 1993

- All staff will undergo Safety Induction, presented by Matimba Risk Management Department

- Always adhere to Eskom Cardinal Rules.

- The Contractor must conform to the access control requirements as set out in the document called.

- “Health and Safety Practices for Contractors at Matimba Power Station”.

- The Contractor must conform to the requirements set out in the document called “Eskom Environmental

- Practices and Standards”.

- Names and Identity numbers are required seven working days before the contract starts. Photocopies of

- Identity documents are also required. This must be arranged with the Employer’s Representative.

- Lost permits will be paid for by the Contractor to Protective Services at a cost of R300-00 per lost permit.

- Only work vehicles with an approved permit will be allowed on site. No private vehicles will be allowed on

- Site.

- Arrangements must be made with the Employer’s Representative well in advance to allow sub-.

- Contractors on site.

- The transport of any equipment onto site must be declared and documented at Protective Services in

- Order to facilitate the future removal thereof.

- At least one supervisor shall be authorized as a Responsible Person in terms of the Eskom Plant Safety Regulations to take out Permits to Work on plant.

### 5.1.2 Restrictions to access on Site, roads, walkways and barricades

The Contractor shall adhere to site procedures for roads, walkways, and barricades.

Access to the site is controlled and it is governed by the terms and conditions lay down by Matimba Power Station security officials. The proposed site will be shown to the Contractor during the site meeting or clarification meeting by the Employer.

The Contractor liaises with the Matimba SHE Practitioner/Officers for Safety Induction prior work to commence.

After induction the Contractor will be issued with a copy of the attendance register for the induction attended. This proof of induction will be used by the Employer to verify attendance prior to signing the Personal Site Access document.

The Contractor’s employees take the signed site access documents to security reception official to finalize their site access.

The Contractor ensures that all its employees carry their site access forms with them all the time.

The Contractor is subjected to alcohol testing on a daily basis.

The Contractor submits his application for vehicle permit to the Project Manager. The personnel and vehicles entering and leaving the site are subjected to routine searches.

The Contractor obtains a “Gate Removal Permit” from the Project Manager before materials and equipment can be removed from site. The “Gate Removal permit” gives itemised list of materials and equipment to be removed from site.

The Contractor ensures that a tool list is available on the day of arrival and that all tools are captured on the tool list. The tool list is handed over to the Reception Security official that will stamp the tool list. The tool list is kept safe and used when tools needs to be remove from site.

This message is handed over to any Subcontractor working on Matimba Power Station.

### 5.1.3 People restrictions on Site; hours of work, conduct and records

Restrictions and hours of work may apply at Matimba Power Station. The Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time. These records may be required in the event of a compensation event for assessment purpose or other cause.

- The Medical Station is available on site during normal working hours. The afterhours emergency telephone number is 014-763-8311 or from a Matimba phone the extension is 5000 that can be phoned for assistance.

- Fire protection and rescue services are available on site 24 hours per day.

- The Contractor provides a First Aid service and SHE representative to his employees and Sub-Contractors. In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities may be available. Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life-threatening situations. The Employer recovers the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

Normal working hours must be maintained as far as possible. The normal working hours on site will be from 07:00am to 16:30pm Monday to Friday. Should the Contractor wish to work outside these normal working hours, he should notify the Project Manager in writing.

The Contractor will only be allowed to work outside the specified hours once the Project Manager has approved the request in writing.

### 5.1.4 Health and safety facilities on Site

Eskom Matimba shall ensure that adequate and sufficient facilities are provided to all employees, Business Partner employees and visitors.

- All facilities are clearly identified and demarcated (i.e., sanitation, changing rooms, dining-rooms, drinking water, eating areas and seating/ resting areas, in all respective areas of work.

- All facilities shall be provided in a reasonably practicable condition by Eskom Matimba.

- All persons shall, before and after use, make every facility conducive for continuous use by others.

- All facilities must be checked, cleaned and always maintained and used for reason provided for, if any deviation report to Support services manager- 8393.

- Vandalism or misuse of any facilities is Prohibited! employees involved in such act shall be restricted to access site.

### 5.1.5 Environmental controls, fauna & flora, dealing with objects of historical interest

The Contractor identifies the environmental aspects and impacts associated with the works and keeps an updated register after approval by the Employer's safety department.

The Contractor takes precautions not to disturb any fauna and/or flora (plant or site vegetation) for any purpose, injure or kill any animals, including snakes. The construction site is kept clean and free of litter that can attract pest animal species.

Use of herbicide on site is subject to approval by Employer's safety department. The application must be according to set specifications and under supervision.

The Contractor shall submit an EMP indicating plans for managing environmental aspects. The Contractor includes in his method statements and risk assessments, mitigation measures for environmental impacts and aspects.

The Contractor shall comply with the Employer's site SHE specification, the site Environmental Procedure and any other procedures from the Employer and site pertaining to environmental management

### 5.1.6 Title to materials from demolition and excavation

As per Clause 73.2 the Contractor has no title to materials from excavation and demolition. Contractor will remove all redundant material and equipment to an area that will be identified by the Project Manager.

### 5.1.7 Cooperating with and obtaining acceptance of Others

The Contractor shares a working space with others when required and co-operate with others in obtaining and providing information required in connection with the works as per core clause 25.1, refer to clause 11.2 (10) for the definition of Others.

### 5.1.8 Publicity and progress photographs

Matimba Power Station is a National Key Point. The Contractor adheres to all the requirement of the National Key Points Act 102 of 1980. Cameras and publishing of progress photographs is prohibited. If photographs are required for reporting or progress, an application for a camera permit must be submitted to the Project Manager for approval by the Power Station General manager.

### 5.1.9 Contractor’s Equipment

- The Contractor provides all Equipment that is required to complete the works.

- The Contractor ensures that all his construction labour and equipment remain within the fenced off allocated construction area.

- The Contractor ensures that any staff, labour, or equipment moving outside his allocated construction site does not obstruct the normal operation of the power station.

- Any additional access routes required are coordinated with the Project Manager.

- The Contractor keeps daily records of his equipment used on Site and the Working Areas (distinguishing between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times.

- All Equipment used by the Contractor in Providing the Works comply with the General Machinery Regulation 4 of the Occupational Health and Safety Act (Act 85 of 1993).

- Any electrical Equipment, or appliances, used by the Contractor conforms to the applicable OHS Act safety standards and is maintained in a safe and proper working condition. The Project Manager has the right to stop the Contractor's use of any electrical Equipment, or appliance, which, in the opinion of Project Manager, does not conform to the foregoing. Inspection of equipment/appliance will be done as required by OSH Act.

- The Contractor shall register all their equipment and declare all their belongings at the security gate upon arrival. Unregistered belongings upon arrival will not be allowed to be removed offsite.

- The Contractor must provide working procedures for each activity to the Employer’s Representative at least 2 weeks before work may proceed. This procedure will include “Safe working procedures.”

- The Contractor must provide all the material needed for the works. The safeguarding, care and security of all equipment and materials while the Contractor is performing the works is the responsibility of the Contractor.

- At least one person in the service of the Contractor shall be certified competent to inspect scaffolding needed by the Contractor for the works. Certificates as proof of this will be handed to the Employer’s Representative after contract award before the starting date.

- All redundant Contractor’s material must be moved to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap must be cleared of site daily.

- All transport i.e., Tractors, Trucks, L.D.V.’s

- Accommodation is for the Contractor’s own account.

- All tools must be provided by the Contractor for the works.

- All workshop machinery must be provided by the Contractor for the works.

- All office equipment must be provided by the Contractor for the works.

- Any special tools and equipment to be used on site for the execution of the works is the responsibility of the Contractor.

- The employer will not assist the Contractor with the off-loading of equipment, plant, and material.

    - 5.1.10 Equipment provided by the Employer

No Equipment will be supplied by the Employer.

### 5.1.11 Site services and facilities

      - Site yard and security

- It is required, for the proper co-ordination and execution of the works that the Contractor has an office on Site for the duration of the contract.

- A site is made available to the Contractor for his yard within the Power Station security area. The proposed site is shown to the Contractor during site meeting or clarification meeting. The yard is a raw site and will be used by the Contractor for the establishment of his offices, workshop and stores.

- The Contractor includes in his establishment rates for all further treatment and maintenance of the facilities that he considers necessary for his entire operation throughout his period of occupation and under all weather conditions. The Contractor also includes for all security fencing, security and access arrangements.

- The yard is always kept clean and tidy; this includes all workshops and storage areas under the control of the Contractor. Maintenance of the yard is the Contractors responsibility and is for the Project Managers acceptance.

- The Contractor’s plan for the layout of his yard area is accepted by the Project Manager prior to occupying the yard and the Contractor does not occupy any site area other than that allocated to him.

- The Contractor complies with the environmental policy given in the Site Regulations.

- The Contractor provides, erects and maintains for his own use adequate size office accommodation and stores together with such drainage, lighting, heating, and hot and cold-water services as may be required. Provision is also made for adequate parking area adjacent to all the aforesaid structures.

- The Contractor dismantles and clears the yard of all such temporary structures and associated foundations and infrastructure at the direction of the Project Manager on Completion of the whole of the works.

- The Contractor’s yard is subject to periodic inspection by the Project Manager/delegated person.

- The location of the nearest sewer manhole, power distribution point, portable water connection storm water channel and road access point is indicated by the Employer. The Contractor is responsible for connection to the closest point of supply.

- The Contractor will be responsible for providing its own security to protect the equipment and spares that will be utilised for the doing the work, any material that are lost will be the responsibility of the contractor to replace.

      - Supply of electricity

Electricity will be made available for construction purposes free of charge from power points which will be indicated by the Project Manager. The Contractor will be responsible for the provision of the reticulation system from the point of supply. Both 220 (AC) Volt and 380 (AC) Volt are available on request. All points of supply requested by the Contractor are provided in terms of quantity and location at the discretion of the Project Manager. No guarantees of power supply quality are given and power supply breaks of some duration may occur without warning.

The Contractor makes arrangements at his own expense to improve continuity and quality of power where necessary for any reason and no claim of any nature relating to power failures is considered. No connection is made to the permanent installation at the Power Station without the prior acceptance of the Project Manager. The power supply is managed in accordance with the latest revision of the Employer‘s safety regulations, Operating Regulations for High-Voltage Systems and Plant Safety Regulations.

      - Lighting

Area lighting immediately outside the boiler and turbine houses and stairway lighting is provided by the Employer. The Contractor at his own expense provides temporary local lighting in accordance with the requirements of the Occupational Health and Safety Act where necessary. The Project Manager provides no local lighting. All construction lighting is the responsibility of the Contractor.

      - Water

Water is made available on request free of charge from water points on site. The Contractor supplies at his own cost all connections, fittings, piping work, temporary plumbing and pumps necessary to lead water from the Employer’s points of supply to the various points where it is required. The Contractor is responsible for maintaining his equipment and to removal at Completion of the whole of the works.

The Project Manager does not guarantee continuity of supply, and the Contractor makes his own provision for standby supplies to maintain continuity of work. Claims of any nature relating to discontinuity of water supply are not considered.

Water wastage due to un-maintained pipe works or fittings provided by the Contractor will be calculated and will be for the cost of the Contractor.

      - Roads and vehicles

Main access roads are surfaced and complete and may be used by the Contractor with the necessary care. The Employer maintains the Site roads, described above, to a fair condition. Any costs incurred by the Project Manager from damage caused to underground services, structures, etc as a result of the Contractor not using the prescribed routes is recovered from the Contractor. The Contractor provides temporary access points from the prescribed routes and roads to the points where the Contractor is required to perform work, having first obtained permission in writing from the Project Manager.

All vehicles used on site, by the Contractor will be road worthy and fitted with fire extinguishers as required.

All road signs, traffic laws and regulations on site shall be adhered to by the Contractor. Contractor’s employees failing to comply with the above will be denied access onto site.

    - 5.1.12 Facilities provided by the Contractor

      - Compressed air

The Contractor provides at his own cost, all connection fittings and pipe-work necessary to lead the

compressed air from the point of supply to the various points where it is required. Such fittings must be compatible with the Employer’s fittings so that galvanic corrosion of pipework is prevented. The Contractor is required to maintain all his connections and remove them on completion of the works. Compressed air wastage due to un-maintained pipework or fittings provided by the Contractor will be calculated and the cost will be recovered from Contractor.

      - Housekeeping

Working areas are cleaned daily. All electrical cables and hoses are routed to not cross over floors and walkways. All equipment is packed neatly without interference to access. All excess scaffolding material is removed from working areas after the scaffolding has been erected.  Scrap bins are available on the zero-meter level and emptied daily by the Employer.

      - Barricading

The Contractor must ensure that barricading is visible and should not obstruct operations.

Access to danger zones is done using handrail type guards of at least 1,2 meters high, able to block access to the danger zone. Symbolic safety signs depicting “Danger” and “No entry” are attached to the guards.

      - Radiographic examinations

When radiographic tests are performed in the plant, the danger area is barricaded. Workers are made aware of this fact, and the Radiographic technicians ensure that no person is within or enter the danger area prior to commencing of or during the tests by public announcement according to the procedure. See relevant procedure PA/272/001.

      - Ventilation

The Contractor is responsible for adequate ventilation of the works.

The Contractor shall provide everything else necessary for Providing the Works

#### Sanitary Facilities and Refuse

The Contractor is to supply own sanitary facilities at the Contractor’s yard and construction area.

A refuge control system will be established by the Contractor. All waste and refuge are collected and disposed of as directed by the Project Manager, at the Power Station refuse disposal site.

#### Telecommunications

Neither a network point nor a telephone is available on site. Should the Contractor require one, he is to make his own arrangements with relevant authorities.

Should the Contractor wish to use radio communication equipment on site, he makes his own arrangements with the relevant authorities. In this case, he is requested to liaise with the head of security at the station to ensure that there is no interference with existing channels or equipment.

      - Scaffolding

All scaffolding erected complies with procedure PS/031/001. At least one person in the Contractor’s service shall be competent to inspect scaffolding in the case where the Contractor himself needs scaffolding. Certificates must be handed in at the Project Manager after contract award. The Contractor is responsible for the supply, erection and dismantling of scaffolding.

### 5.1.13 Existing premises, inspection of adjoining properties and checking work of Others

The Contractor, in conjunction with the Project Manager inspects the site prior to possession. Any defects established during this inspection are listed on the possession certificate. The Contractor is responsible for any defect or damage to plant not listed on the possession certificate which occurred during installation.

### 5.1.14 Survey control and setting out of the works

The Contractor must establish survey control points and the setting out of the works as per designs and submit control points/benchmarking points indicating the coordinates to the Employer prior to construction or excavation activities in a PDF and CAD format which is compatible with Bentley MicroStation.

The Contractor shall be required to do underground scans prior to any excavation work being done. The results of the scans shall be submitted to the Employer in a PDF and CAD format which is compatible with Bentley MicroStation. Any damage caused to existing services shall be repaired by the Contractor at his own expense

### 5.1.15 Excavations and associated water control

For all excavations the area needs to be scanned using underground scanning by the Contractor to prevent damaging existing services. All excavations will comply with the regulations and Eskom Safety, Health, Environmental and risk requirements

### 5.1.16 Underground services, other existing services, cable and pipe trenches and covers

The Contractor ensures that the necessary tests are done to identify whether there are any underground services before digging any trenches or excavations can be done.   A risk assessment shall be conducted with the inclusion of Project Manager and the relevant Eskom Supervisors before and groundwork can be started.

For all excavations, the area needs to be scanned using underground scanning by the Contractor to prevent damaging existing services.

### 5.1.17 Control of noise, dust, water and waste

- The Contractor must comply with the Occupational Health and Safety Act 85 of 1993, the requirements of the Hazardous Chemical Agents Regulations and/or other international best practices, pertain to all Hazardous Chemical Agents.

- The Contractor must comply with the Occupational Health and Safety Act 85 of 1993, the Noise-Induced Hearing Loss Regulations.

- The Contractor maintains a high standard of cleanliness during the conduct of his activities at Matimba Power Station. This includes areas allocated for storage of materials, site offices etc. in accordance with the requirements.

- The Contractor keeps these areas clean and free from accumulation of waste materials and refuse regardless of the source.

- The Contractor is responsible for the prompt removal of all waste to a licensed disposal facility. For the purpose hereof, “waste” any matter, whether liquid or solid or any combination thereof, which is a by-product, emission, residue or remainder of any process or activity carried out in connection with the works and which is not reused on the Site in the ordinary course of carrying out the works within 7 working days of production.

- The Contractor provides an adequate number of marked bins and containers at offices, in yards, at workshops and on the Site for the temporary storage of waste. The waste bins must be fitted with a tamper proof closing device to prevent monkeys and other wild animals from opening them. These bins and containers are subject to the acceptance of the Project Manager.

- The Contractor is required to segregate certain items of waste by type.

- Bins and containers are emptied, and waste removed to the designated area at least once a week. All the temporary storage areas for bins and containers are kept tidy and must not constitute a nuisance to others.

- The Contractor takes all required steps to avoid spillage of waste alongside the bins and containers during removal and disposal thereof.

- All waste that cannot be contained in either a bin or container is placed on a temporary waste site which the Project Manager identifies. The waste is removed as soon as possible but, in any event, at least once a week. No burning of waste is allowed at the Matimba Power Station.

- Hazardous waste is dealt with in accordance with the safety, health and/or environmental requirements of the works and the Contractor is solely responsible for the proper disposal thereof. Hazardous waste will be disposed of at an authorised landfill site. Waste manifest will be kept for record keeping and hand over at the end of the Project.

### 5.1.18 Sequences of construction or installation

The Contractor must submit a comprehensive schedule for all the design and construction works to the Employer at contract commencement for acceptance. This schedule will be used for the sequence of construction or installation, Contractor must communicate all changes to the Project Manager in writing for acceptance whether they affect the time, cost or quality of the Works or not.

### 5.1.19 Giving notice of work to be covered up

Not applicable

### 5.1.20 Hook ups to existing works

Hook up drawings to be provided by the Contractor.

## 5.2 Completion, testing, commissioning and correction of Defects

### 5.2.1 Work to be done by the Completion Date

On or before the Completion Date the Contractor must have done everything required to Provide the Works

enabling the Employer to take over and use the Fire Protection and Detection Plant for its intended purpose as per the Works information requirements.

The Project Manager cannot certify Completion until all the work has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

### 5.2.2 Use of the works before Completion has been certified

The Employer will not use the works before the Completion has been certified.

### 5.2.3 Materials facilities and samples for tests and inspections

The Contractor carries out all tests and inspections of the plant, as required by the Employer’s Works Information. The Contractor provides all equipment, material, labour and carries all costs associated with organization, execution and repetition of tests and inspections. The Contractor submits all certificates of tests and inspections report to the Employer within seven (7) days completion of tests and inspections. All mandatory tests and inspections to be carried out in the presence of the Employer. The Employer reviews and accepts the test procedures, results, certification documents.

### 5.2.4 Commissioning

After completion of installation, the Contractor shall carry out commissioning and performance testing of the fixed fire protection and detection system installed on the diesel generators. Commissioning shall include verification of correct installation, functional testing of all detection devices, control valves, alarms, manual and automatic actuation, and all interfaces with existing plant systems. System integrity, pressure and continuity tests shall be conducted. All commissioning activities shall be undertaken in accordance with Eskom standards, relevant SANS/NFPA requirements, and approved design documentation. Commissioning records, test reports, as-built drawings, compliance certificates, and operation and maintenance manuals shall be submitted to the Employer for review, witnessing, and final acceptance.

### 5.2.5 Start-up procedures required to put the works into operation

The Contractor will be required to do plant checks to ensure that the material used, and workmanship complies with the specified requirements. The Employer’s Engineer will be attending whilst doing this. The results of those checks shall, if so ordered, be made available to the Employer’s Engineer.

The Contractor will work with the Appointed Operator of the plant to put the Works into operation after it has

been safety cleared.

The plant will only be put in operation after relevant safety clearances for all plant and material has been issued by the Contractor and signed off by the Project Manager and Employer’s Engineer.

The Contractor will be required to provide the Employer with the relevant start-up procedures.

### 5.2.6 Take over procedures

The maintenance and guarantee period will commence on the date of hand-over, which is the date of certification of completion of the works.

Hand-over will not occur until:

- Testing and commissioning report has been submitted and approved.

- Operating and maintenance manuals have been submitted and approved.

- The certificate of compliance (electrical) has been received.

- All "as-built" drawings (prints and electronic copies) have been submitted and approved.

As a minimum, the Contractor is required to supply:

- Two (2) sets of prints of each of the "as built" drawings and two sets of a drawing showing the construction of the major items with parts listed and reference numbers for ordering spares.

- Two (2) sets of prints of each of the diagrams of electrical wiring connections.

- electronic copies with PDF and Soft copies version (software recommended by the Employer) of above prints compatible with Employers software (MicroStation)

Additional requirements may be listed in the technical specifications.

### 5.2.7 Access given by the Employer for correction of Defects

The Project Manager arranges for the Employer to allow the Contractor access to and use of a part of the works which has been taken over if needed to correct a Defect as per Clause 43.4 that will be communicated 21 days prior to access requirements.  After the works have been put into operation, the Employer may require the Contractor to undertake certain procedures before such access can be granted, these requirements will be communicated by the Employer when required.

### 5.2.8 Performance tests after Completion

Upon completion of installation, the contractor shall carry out performance testing and commissioning of the fixed fire protection and detection system installed on the diesel generators. The test shall confirm correct activation, alarm and interlock functionality , detection response, and overall system compliance with relevant standards and project specifications. Test results shall be documented and submitted to the Project Manager and Employers’ Engineer for approval.

### 5.2.9 Training and technology transfer

    - General

The Contractor provides training on the equipment and systems included as part of the Works to the various categories of the Employer’s technical staff for the duration of the works.

Training provided by the Contractor is directly applicable to the actual equipment supplied for the Works. Generalised training based on similar equipment is not acceptable. All training will consist of both theoretical and practical training. The training is to be structured such that competency tests are done at the end of the training sessions on all the training participants.

The local facility for training provided by the Employer is suitably sized air-conditioned room that accommodates six to ten trainees as well as trainee and trainer desks, an overhead projector and flipchart or white board. Matimba Engineering and Maintenance personnel should be adequately trained to be able to maintain the new equipment over its entire design life.

The number of personnel to be trained is as per the table below:

| Department | Number of personnel to be trained |
| --- | --- |
| Operators | 4 |
| Maintenance | 4 |
| Engineering | 1 |

The Contractor submits to the Project Manager for acceptance a detailed training programme as well as a prospectus for each course. Course material is provided for the number of trainees as per the table above.

The training schedule is incorporated in the Accepted Programme.

.

Training is scheduled such that at full scope training courses are provided, as a minimum, after the completion of each unit, to accommodate all relevant personnel as required.

A certificate of satisfactory completion to be issued to employees who successfully completed the training.

Training of Maintenance Personnel

Maintenance personnel will be trained in all components and functions of the Plant i.e., Method of maintenance, fault finding, correction, routine maintenance. Training will include familiarisation with documentation (maintenance plan, procedures etc.).

Training of Maintenance Operators

Operators will be trained and declared competent on the new systems. This will include familiarisation with documentation including drawing configuration logic, as well as operator interface familiarisation e.g., operational functions, alarms etc. The Contractor makes provision for training of all operators, for every shift.

Engineering Training

Formal engineering training will be provided on basic Plant design, capabilities, and procedures upfront, prior to design freeze. Thereafter, training will be on-job training throughout the design process. The overview design and control/interface functions will be covered by this training. The engineering team should be trained sufficiently to enable them to work as part of the implementation team on and off site.

During the testing, commissioning and handing over of the works, it is also incumbent on the Contractor to provide practical training to the Employer’s personnel in the operation, maintenance and general running of the works and Equipment.  For this purpose, the Project Manager reserves the right to allocate certain staff to the Contractor’s team during erection and commissioning period.

The Contractor declares the staff as competent, in writing, to operate, calibrate and maintain the Contractor’s plant and equipment prior to hand over or provide supervision for the period.

    - Training Documentation

The course material is in English and includes all third-party documentation. A copy of the training documentation is supplied for each trainee with an additional three (3) master sets for the Employer’s library and training department.

The training dates are included and shown in the Accepted Programme. The supply of drafts, pre-print proofs and printed copies of training documentation is planned by the Contractor in such a way that the required training is complete before commissioning of the Plant.

Training manuals are continuously updated by the Contractor up to the date of issue of the Defects Certificate for the whole of the works.

### 5.2.10 Operational maintenance after Completion

Not applicable

# Plant and Materials standards and workmanship

This section of the Works Information contains all the specifications for the work which is left behind; the permanent works.

  - 6.1 Investigation, survey and Site clearance

Not Applicable

  - 6.2 Building works

Not Applicable

## 6.3 Civil engineering and structural works

Employer Standards & Guidelines

| Number | Title |
| --- | --- |
| 240-55944466 | Supplier Contract Quality Requirement’s Specification. |
| 240-109607332 | Eskom Plant Labelling Abbreviation Standard |
| ENS0002 | AKZX Plant Location Coding Standard |
| 240-54937450 | Fire Protection & Life Safety Design Standard |
| 240-56737448 | Eskom Fire Detection and Life Safety Design Standard |
| 1017822 | Matimba functional location KKS coding and labelling works instruction |
| 240-49230111 | Hazard and Operability Analysis (HAZOP) Guideline (Rev 1) |
| 240-30008949 | Safety, Health and Environmental Specifications for Contractors |
| 240-28463367 | SHE Organization |
| 240-62196227 | Life Saving Rules |
| 240-56364537 | Design of steel structures standards |
| 240-56364545 | Structural design and engineering standard |
| 240-57127953 | Execution of site preparation and Earthworks Standard |
| ESK SCAAC6 | Specification for the Identification of Pipelines and Vessels |
| 240-56030558 | Centrifugal Pumps Specification |
| 240-56355843 Rev 1 | Pressure Measurement Systems Installation Standard |
| 240-56355888 Rev 1 | Temperature Measurement Systems Installation Standard |
| 240-71432150 | Plant Labelling and Equipment Description Standard |
| 240-53113685 | Design Review Procedure |
| 240-106628253 | Standard for Welding Requirements on Eskom Plant |
| 240-56356376 | On-site Commissioning for Low Pressure Systems Standard |
| 240-105020315 | Standard for Low Pressure Valves |
| 240-123801640 | Standard for Low Pressure Pipelines |
| 240-106365693 | Standard for the External Corrosion Protection of Plant, Equipment and Associated Piping with Coatings |

External Standards

| Number | Title |
| --- | --- |
| SANS 10400 | The application of the National Building Regulations |
| SANS 1200 | Standardised specification for civil engineering construction |
| SANS 2001 Series | Construction works |
| SANS 10100-1 | The structural use of concrete Part 1: Design |
| SANS 10139 |  |
| SANS 10100-2 | The structural use of concrete Part 2: Materials and execution of work |
| SANS 10160-1 | Basis of structural design and actions for buildings and industrial structures Part 1- Basis of structural design |
| SANS 10160-2 | Basis of structural design and actions for buildings and industrial structures Part 2- Self-weight and imposed loads |
| SANS 10160-6 | Basis of structural design and actions for buildings and industrial structures Part 6- Actions induced by cranes and machinery |
| SANS 10162-1 | The structural use of steel Part 1: Limit-states design of hot- rolled steelwork |
| SANS 10162-2 | The structural use of steel Part 2: Cold-formed steel structures |
| SANS 10400 | The application of the National Building Regulations |
| SANS 1200 | Standardised specification for civil engineering construction |
| SANS 2001 Series | Construction works |
| SANS 10100-1 | The structural use of concrete Part 1: Design |
| SANS 10100-2 | The structural use of concrete Part 2: Materials and execution of work |
| SANS 10160-1 | Basis of structural design and actions for buildings and industrial structures Part 1- Basis of structural design |
| SANS 10160-2 | Basis of structural design and actions for buildings and industrial structures Part 2- Self-weight and imposed loads |
| SANS 10160-6 | Basis of structural design and actions for buildings and industrial structures Part 6- Actions induced by cranes and machinery |
| SANS 10162-1 | The structural use of steel Part 1: Limit-states design of hot- rolled steelwork |
| SANS 10162-2 | The structural use of steel Part 2: Cold-formed steel structures |
| SANS 282 | Bending dimensions and scheduling of steel reinforcement for concrete |
| SANS 920 | Steel bars for concrete reinforcement |
| SANS 50025 | Hot rolled products of structural steels |
| SANS ISO 4427 | Polyethylene (PE) pipes for water supply – Specifications |

## 6.4 Electrical & mechanical engineering works

| Title | Tick if publicly available |
| --- | --- |
| Construction Regulations & Occupational Health and Safety Act |  |
| Quality Assurance ISO 9000 parts 1 to 3 |  |
| SANS standards; GSP36-980; N. PMZ45-392. |  |
| ASME B31.1 (2000 Edition) – Power Plant Piping |  |
| GGR 0992 plant safety regulations |  |
| Recommended Practice for Fire Protection for Electric Generating Plants and High Voltage Direct Current Converter Stations, NFPA 850 |  |
| Standard for Water Spray Fixed Systems for Fire Protection, NFPA 15, NFPA13 |  |
| NFPA documents referenced in NFPA 850, |  |
| SANS 14 Malleable cast iron fittings threaded to ISO 7-1 |  |
| SANS 719 Electric welded low carbon steel pipe 200NB and above |  |
| SANS 10287 Automatic sprinkler installations for fire-fighting purposes |  |
| Internal and/or external protective coatings for steel tubes ― Specification for hot dip galvanized coatings applied in automatic plants - SANS 32 |  |
| Hot dip galvanized coatings on fabricated iron and steel articles — Specifications and test methods – SANS 121 |  |
| Steel Pipes, SANS 62 |  |
| Pipe Flanges, SANS 1123 |  |
| SANS 1123 Steel pipe flanges |  |
| 36-1126 Specification for corrosion protection for mechanical items of plant |  |
| Matimba Construction Regulations (PS/270/005) |  |
| Matimba Safety guide for contractors (PA/270/003) |  |
| Matimba SHEQ Policy (PS/270/083) |  |
| The management of waste in Matimba Power Station (PS/244/001) |  |
| Matimba legal register ( PG/ 240/003) |  |
| Contractor's Temporary Electrical Equipment Supply (PAM/233/002) |  |
| Matimba De-commissioning procedure (PA/233/008) |  |
| Matimba Scaffolding procedures (PS/031/001) |  |
| Matimba Power Station, Plant KKS Coding, Hardware Breakdown Structure and plant labelling PS/178/003 |  |
| SANS 1109 Pipe threads where pressure tight joints are made on the threads |  |
| Manual for Fire Protection of Coal Fire Power Stations, N-PMZ 45-392 |  |
| Eskom KKS Guidelines, OPG0163 (GGG1016), |  |
| Eskom KKS, Power Plant Classification System, OPS0014 |  |
| Specification for Corrosion Protection of Mechanical Items of Plant, ESKSCAAB8 |  |
| - Identification of contents of Pipelines and Vessels, - ESKSCAAC6 |  |
| Specification for Low Pressure Valves, GGSS 0423 |  |
| Pressure Testing of Steel Pipelines, GGP 0448 |  |
| Specification for Medium Pressure Pipelines, GGSS 0690 |  |
| 36-945 Work instruction for process (P&ID, PFD, PPFD and SPFD), Hydraulic and d Pneumatic Drawings |  |
| 36-980 - Fire Detection guideline for fossil and hydro power stations |  |

## 6.5 Process control and IT works

None

## 6.6 Other [as required]

Not Applicable

# List of drawings

## 7.1 Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |
| --- | --- | --- |
| C013-MTB-009 |  | Automatic fire protection to generator hydraulic nodded drawings(unit 2) |
| C013-MTB-010 |  | Automatic fire protection to generator hydraulic nodded drawings(unit 3) |
| C013-MTB-011 |  | Automatic fire protection to generator hydraulic nodded drawings(unit 4) |
| C013-MTB-012 |  | Automatic fire protection to generator hydraulic nodded drawings(unit 5) |
| C013-MTB-012 |  | Automatic fire protection to generator hydraulic nodded drawings(unit 6) |
| 0.58/11645 | 2 | Connecting Mains to Gen Transformer Yard Unit1 |
| 0.58/18469 | 1 | Unit 2 Protection Unit & Service Transformer |
| 0.58/19637 | 1 | Unit 2 Protection to Gen Transformer plans |
| 0.58/18468 | 2 | Unit 2 Turbine house connecting mains |
| 0.58/22153 | 2 | Unit 1: Fire Control Schematic Diagram |
| 0.58/24829 | 18 | Unit 3 TBN house connection mains to Gen Transformer yard |
| 0.58/23417 | 18 | Unit 4 Connecting mains to Gen Transformer |
| 0.58/24990 | 12 | Unit 6 connecting mains Gen Transformer yard |
| 0.58/23819 | 12 | Unit 5 Unit & Service Transformer HV system |
| 0.58/23827 | 12 | Unit 5 200NB Fire main aux bay |
| 0.58/23828 | 12 | Unit 5 200NB fire main @ ‘M’ row col |
| 0.58/10073 | 2 | Unit 1 – Fire Control Schematic Diagram |
| 0.58/22135 | 2 | Unit 1 – Fire Control Schematic Diagram |
| 0.58/22154 | 1 | Units 2,3&4 – Fire Control Schematic Diagram |
| 0.58/22155 | 1 | Units 5 & 6 – Fire Control Schematic Diagram |
| 0.58/0029 | 1 | Fire detection loop drawings |

# C3.2	Contractor ’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical subheadings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file.

# Part 4: Site Information

Core clause 11.2(16) states

“Site Information is information which

- describes the Site and its surroundings and

- is in the documents which the Contract Data states it is in.”

In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.

Site Information is information about the Site at the time of tender upon which the tendering contractor bases his prices.  It is fixed and does not include anything about what happens on the Site after award; that is Works Information.

Site Information does not include weather data; that is included in the Contract Data.

If the Contractor subsequently encounters conditions which are different to those described here, he may be entitled to notify the Project Manager for a compensation event.

# General description

Provide a general description of the Site and its location.  Reference would probably be made to a drawing showing the Site and its surroundings and the boundaries of the site as required by the Contract Data. It is particularly important that details of surrounding buildings be provided where crane operation is likely to be affected, or the works involve deep foundations adjacent to existing buildings.

# Existing buildings, structures, and plant & machinery on the Site

Contractor must refer to Section 3 of the Works Information and existing drawings for integrating new works with existing buildings, structures etc requirements.

# Subsoil information

Not applicable

# Hidden services

Accurate details are not available Employers’ assumptions is that there are hidden services that may not be detailed in the existing drawings, the Contractor must scan, verify and detail existing services on the construction drawings prior to design freeze concerning such services as indicated in other sections of the Works Information. Any damages to existing services will be repaired at Contractor's own costs.

# Other reports and publicly available information

Not applicable

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see www.ecs.co.za