REQUEST FOR QUOTATIONS

SCOPE OF WORK

|  | COST ESTIMATE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | REPAIR AND MAINTENANCE RECOMMENDATIONS |  |  |  |  |  |
| 2 | Health and Safety | Description | QTY | Rate | Amount (Rand) |
|  |  |  | /M² |  |  |
|  |  | 5th Floor – Lift Lobby- Missing door to be replaced (smoke draft door) |  |  |  |
| 2,22 |  |  |  |  |  |
|  |  | 4th Floor – Lift Lobby- Missing double door to be replaced (smoke draft doors) |  |  |  |
| 2,27 |  |  |  |  |  |
|  |  | 3rd Floor – Room 308- Music Library- Shelving to be mounted to wall x36 |  |  |  |
| 2,32 |  |  |  |  |  |
|  |  | 1st Floor – Smoke draft doors to be installed x2 |  |  |  |
| 2,39 |  |  |  |  |  |
|  |  | Ground Floor – PAE System to be serviced |  |  |  |
| 2,45 |  |  |  |  |  |
|  |  | Ground Floor – Handrail to be installed 1,8m |  |  |  |
| 2,52 |  |  |  |  |  |
|  |  | 8th Floor – Room 801- Fire risk and area to be cleaned out |  |  |  |
| 2,63 |  |  |  |  |  |
|  |  | 8th Floor – Room 801- Shelves to be mounted to wall x11 |  |  |  |
| 2,64 |  |  |  |  |  |
|  |  | 8th Floor – Room 802- Fire risk and area to be cleaned out |  |  |  |
| 2,65 |  |  |  |  |  |
|  |  | 8th Floor – Room 802- Shelves to be mounted to wall x10 |  |  |  |
| 2,66 |  |  |  |  |  |
|  |  | 8th Floor – Room 808- Shelves to be mounted to wall x6 |  |  |  |
| 2,67 |  |  |  |  |  |
|  |  | 8th Floor – Room 808- Shelves to be mounted to wall x6 |  |  |  |
| 2,68 |  |  |  |  |  |
|  |  | 7th Floor – Room 704- Fire risk and room to be cleaned out |  |  |  |
| 2,69 |  |  |  |  |  |
|  |  | 6th Floor – Room 602- Shelves to be mounted to wall x5 |  |  |  |
| 2,71 |  |  |  |  |  |