[image: image1.png]OJBP

ONDERSTEPOORT

BIOLOGICAL PRODUCTS



BLUE RA4 paP—0-]Q
Enquiries:







ONDERSTEPOORT BIOLOGICAL PRODUCTS LTD

PRIVATE BAG X7, ONDERSTEPOORT 0110


Ms. Mr, Dr.………………….............................. .
Kindly provide the quotation for the following:  OBP 245/2022/2023 
Time Period 
Mandatory Site briefing: 7th July @ 13H00, 100 Soutpan Onderstepoort, Pretoria
	Electrical compliance repairs & Electrical Compliance Certificate (ECOC) for the OBP site:

· The Director of the company must be registered with the department of labor for Licensed Electrical Contractor with a Certificate of Compliance in accordance with regulation 7(1) of Electrical Installation Regulations, 2009
· CIDB Certificate grade 1 EB/EP or Higher
· CSD registration report must be attached, and it must be Tax compliant
· Site visit mandatory for all parties to assess scope of work 
Detailed quotation to include all offices, laboratories, and production areas for electrical repairs not limited to

	Qty. 
Description 
MV switchgear and Transformer’s oil analysis 
5 
Transformer Oil Analysis 
5 
Conservator Oil Analysis 
5 
Gas Analysis 
5 
Silica Gel Crystals - 0.5 kg 
5 
Infrared Scanning on Transformers 
5 
PCB Analysis 
5 
Furanic Analysis 
MV switchgear Analysis and report 
9 
Servicing of RM6 Switchgear Units - 
9 
Switching OFF/ON of HV Switchgear 
Infrared scanning panel ECOC names  
DB B testing, labeling, repairs issuing of CoC 
DB C testing, labeling, repairs issuing of CoC 
DB Q testing, labeling, repairs issuing of CoC 
DB L testing, labeling, repairs issuing of CoC 
DB M testing, labeling, repairs issuing of CoC 
DB MA, testing, labelling, repairs issuing of CoC

Clinic DB, testing, labelling, repairs issuing of CoC

Main Incomer 1 testing, labeling, repairs issuing of CoC 
PFC main incomer 1 testing, labeling, repairs issuing of CoC 
Main Incomer 2 testing, labeling, repairs issuing of CoC 
PFC main incomer 2 testing, labeling, repairs issuing of CoC 
Street light mini sub testing, labeling, repairs issuing of CoC 
Small animal EA DB testing, labeling, repairs issuing of CoC 
Boiler house normal power testing, labeling, repairs issuing of CoC 
DB H1 testing, labeling, repairs issuing of CoC 
DB H2 testing, labeling, repairs issuing of CoC 
MS3 cold storage testing, labeling, repairs issuing of CoC 
DB North EA testing, labeling, repairs issuing of CoC 
DB South EA testing, labeling, repairs issuing of CoC 
DB East EA testing, labeling, repairs issuing of CoC 
Basement DB2 testing, labeling, repairs issuing of CoC 
Main DB Basement testing, labeling, repairs issuing of CoC 
DB SC testing, labeling, repairs issuing of CoC 
DB JA testing, labeling, repairs issuing of CoC 
DB J testing, labeling, repairs issuing of CoC 
DB JB testing, labeling, repairs issuing of CoC 
DB P testing, labeling, repairs issuing of CoC 
DB R testing, labeling, repairs issuing of CoC 
DB R2 testing, labeling, repairs issuing of CoC 
DB X testing, labeling, repairs issuing of CoC 
DB Y testing, labeling, repairs issuing of CoC 
DB R panel testing, labeling, repairs issuing of CoC 
DB LB testing, labeling, repairs issuing of CoC 
Gray DB passage block L  
DB LA testing, labeling, repairs issuing of CoC 
DB KB testing, labeling, repairs issuing of CoC 
DB K testing, labeling, repairs issuing of CoC 
DB KA testing, labeling, repairs issuing of CoC 
DB P testing, labeling, repairs issuing of CoC 
DB IA testing, labeling, repairs issuing of CoC 
DB I am testing, labeling, repairs issuing of CoC 
DB E testing, labeling, repairs issuing of CoC 
DB D testing, labeling, repairs issuing of CoC 
DB Y packaging testing, labeling, repairs issuing of CoC 
DB EA packaging testing, labeling, repairs issuing of CoC 
Freeze dry DB testing, labeling, repairs issuing of CoC 
DB FDF testing, labeling, repairs issuing of CoC 
DB H QC testing, labeling, repairs issuing of CoC 
DB G8 testing, labeling, repairs issuing of CoC 
Main DB D/BB testing, labeling, repairs issuing of CoC 
DB E testing, labeling, repairs issuing of CoC 
DB SS testing, labeling, repairs issuing of CoC 
DB S testing, labeling, repairs issuing of CoC 
DB OB testing, labeling, repairs issuing of CoC 
DB O testing, labeling, repairs issuing of CoC 
DB OA testing, labeling, repairs issuing of CoC 
DB M testing, labeling, repairs issuing of CoC 


	NB: Points to Note

· DB testing certification includes certification of the circuit of interest.

· OBP reserves the right to select one contractor for the whole scope or more contractors for the whole scope where each contractor will be responsible for a specific section of the scope.  OBP will make this decision should the business deems it appropriate.  
· All quotations to be itemized per OBP process area – process areas will be communicated at mandatory site visit 

· Issuing of ECOC verifying electrical installation at OBP is compliant with all the legal and statutory requirements as stipulated in the Electrical Installation Regulations and in the Occupational Health and Safety at completion of work.
· A standard hard copy safety file must be allowed for and submitted before any on-site work commences

· Service providers to engage with department head on a daily basis before proceeding with work

· Service providers must ensure that jobcard/service report must be signed off by service representative and OBP personnel before leaving site

· All work areas to be cleaned and tidied after work is done (no parts, equipment, consumables lying around)
· Should service providers note that during the course of their repairs that equipment requires additional attention such as servicing, repairs or refurbishment, then this must be indicated as such on the jobcard/service report.  This must be reported to the head of department who will decide on the further course of action.

· All repairs, tasks and services must have a minimum 6 month guarantee on parts and labour/workmanship.

· All potential service providers must provide proof of previous supply of identical and/or similar materials/services as detailed on RFQ to other companies.  Proof of supply of materials/services must not be more than 6 months old.
· Please indicate the safety requirements to meet this scope of work. 

· Warranty of not less than 6 months is required on this scope. 



SBD 4
BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process. 

2. Bidder’s declaration

2.1 
Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest
 in the enterprise, 


employed by the state?





YES/NO


2.1.1
If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

	Full Name
	Identity Number
	Name of State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


2.2
Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO


                                          

2.2.1     If so, furnish particulars:

………………………………………………………………………………

………………………………………………………………………………

2.3 
Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?



YES/NO
2.3.1 If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

3 DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 
I have read, and I understand the contents of this disclosure.
3.2
I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect.

3.3 
The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement, or arrangement with any competitor. However, communication between partners in a joint venture or consortium
 will not be construed as collusive bidding.

3.4 
In addition, there have been no consultations, communications, agreements, or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4
The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 
There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT. 

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.  

………………………………
 ..…………………………………………… 



Signature
                          Date

………………………………
………………………………………………
---------------------------------                           ---------------------------------------

Position 
Name of bidder

Terms and Conditions:
-Submission should be no later than            (14 July 2022, 15H00)  
-Please indicate your offer validity and lead time:


-All prices must be VAT exclusive, (Vat vendor please indicate as such) if no indication, prices will be evaluated as exclusive
-Quotation must be on a company letter head and strictly on a PDF format    
-Quotations sent on Word or Excel format will not be accepted  
-Quotations must be emailed back to: purchasing@obpvaccines.co.za   
 If no reply after 14 days of closing date your RFQ was unsuccessfully  

-Orders above 30K will be BEE evaluated

-Please indicate if you are unable to quote and state the reason why

-Please note that fluctuations in the exchange rate (where applicable) will not be for the account of OBP.

-Payment terms:  30 days after statement
Bidders must be registered on CSD (Central Supplier Data base National Treasury) and be tax complaint 

I agree that the offer herein shall remain binding upon me and open for acceptance by OBP during the validity period indicated.
Signature                                                                                                     Date




REQUEST FOR QUOTATION FOR GOODS AND SERVICES





� 


























From:  


Date: 1st July 2022


Tel:   012 522 1500


Fax:


Email: purchasing @obpvaccines.co.za





To:   


Supplier:


Tel:  


Fax:


Email: 








� the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.








� Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.





PAGE  
DOC NO.: PM-ME-002-F001 (EDITION 05) Page 3 of 1

