NEC3 Term Service Contract (TSC3)

| Between | ESKOM HOLDINGS SOC LTD (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and |  |  |
| for | Supply deliver offload, sample, analyse and dosing of Ash and Cooling water chemicals and produce reports “AS AND WHEN REQUIRED” at Kriel Power Station for a period of 5 years |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 12 |
| Part C2 | Pricing Data | 6 |
| Part C3 | Scope of Work | 12 |
| CONTRACT No. |  |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance | 2 |
| C1.2a | Contract Data provided by the Employer | 8 |
| C1.2b | Contract Data provided by the Contractor | 2 |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply deliver offload, sample, analyse and dosing of Ash and Cooling water chemicals and produce reports “AS AND WHEN REQUIRED” at Kriel Power Station for a period of 5 years

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| The offered total of the Prices exclusive of VAT is | R |
| --- | --- |
| Value Added Tax @ 14% is | R |
| The offered total of the amount due inclusive of VAT is | R |
| (In words) Eleven Million Nine Hundred and Twenty One Thousand Eight Hundred and Eighty One Rand and Fourty Three Cents |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness |  |  | Date |  |
| Tenderer’s CIDB registration number: |  | Not applicable |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer | Eskom Holdings SOC Ltd (Reg No. 2002/015527/30), KRIEL POWER STATION, Bethal-Ogies Road, Kriel, 2271, Mpumalanga |  |  |  |
| Name & signature of witness |  |  | Date |  |

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of |  |  | Eskom Holdings SOC Ltd (Reg No. 2002/015527/30), KRIEL POWER STATION, Bethal-Ogies Road, Kriel, 2271, Mpumalanga |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

| Clause | ## Statement | ## Data |
| --- | --- | --- |
| 1 | ## General |  |
|  | The conditions of contract are the core clauses and the clauses for main Option: |  |
|  |  | B: Priced contract with price list: Bill of Quantities |
|  | dispute resolution Option | W1: Dispute resolution procedure |
|  | and secondary Options |  |
|  |  | X1: Price adjustment for inflation |
|  |  | X2 Changes in the law |
|  |  | X17 Low Service Damages |
|  |  | X18: Limitation of liability |
|  |  | X19: Task Order |
|  |  | Z: Additional conditions of contract |
|  | of the NEC3 Term Service Contract (June 2005) |  |
| 10.1 | The Employer is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a juristic person incorporated in terms of the company laws of the Republic of South Africa |
|  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |
| 10.1 | The Service Manager is (name): | Enock Dube |
|  | Address | Kriel Power Station |
|  | Tel | 017 615 2386 |
|  | Fax | 017 615 2973 |
|  | e-mail | DubeEB@eskom.co.za |
| 11.2(2) | The Affected Property is | Kriel Power Station |
| 11.2(13) | The service is | Supply, deliver offload, sample, analyse and dosing of Ash and Cooling water chemicals and produce reports “AS AND WHEN REQUIRED” at Kriel Power Station for a period of 5 years |
| 11.2(14) | The following matters will be included in the Risk Register | As stipulated in the Site information section of this contract. |
| 11.2(15) | The Service Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |
| 12.2 | The law of the contract is the law of | the Republic of South Africa |
| 13.1 | The language of this contract is | English |
| 13.3 | The period for reply is | 3 days |
| ## 2 | ## The Contractor’s main responsibilities | (If the optional statement for this section is not used, no data will be required for this section) |
| 21.1 | The Contractor submits a first plan for acceptance within | 2 weeks of the Contract Date |
| ## 3 | ## Time |  |
| 30.1 | The starting date is | 01 August 2025 |
| 30.1 | The service period is | 60 months |
| ## 4 | ## Testing and defects | ## No data is required for this section of the conditions of contract. |
| ## 5 | ## Payment |  |
| 50.1 | The assessment interval is | the 25th day of each successive month. |
| 51.1 | The currency of this contract is the | South African Rand |
| 51.2 | The period within which payments are made is | 30 days from receipt of valid tax invoice |
| 51.4 | The interest rate is | (i) zero percent above the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |

| ## 6 | ## Compensation events |  |
| --- | --- | --- |
| ## 7 | ## Use of Equipment Plant and Materials | ## No data is required for this section of the conditions of contract. |
| ## 8 | ## Risks and insurance |  |
| 83.1 | The Employer provides these insurances from the Insurance Table | as stated for “Format TSC3” available on http://www.eskom.co.za/live/content.php?Item_ID=9248 (See Annexure A for basic guidance). |
| 83.1 | The Employer provides these additional insurances | as stated for “Format TSC3” available on http://www.eskom.co.za/live/content.php?Item_ID=9248 (See Annexure A for basic guidance) |
| 83.1 | The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248 |
| 83.1 | The minimum amount of cover for loss of or damage to Plant and Materials provided by the Employer is: | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248 |
| 83.1 | The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is: | whatever the Contractor deems necessary in addition to that provided by the Employer. |
| 83.1 | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).. |
| ## 9 | ## Termination | There is no Contract Data required for this section of the conditions of contract. |

| ## 10 |  | ## Data for main Option clause |  |  |
| --- | --- | --- | --- | --- |
| A |  | Priced contract with price list |  |  |
| 20.5 |  | The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than | 4 weeks |  |
| ## 11 |  | ## Data for Option W1 |  |  |
| W1.1 |  | The Adjudicator is (Name) | Will be jointly appointed when the need arises from the Eskom Panel of Adjudicators listed in Annexure B to this Contract Data by the Party intending to refer a dispute to him. |  |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of the Joint Civils Division of the South African Institution of Civil Engineering. (See www.jointcivils.co.za) |  |
| W1.4(2) |  | The tribunal is: | arbitration |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |
|  |  | The place where arbitration is to be held is | South Africa |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |
| X1 |  | Price adjustment for inflation |  |  |
| X1.1 |  | The base date for indices is | 25 January 2018 (one month prior to tender closing date) |  |
|  |  | The proportions used to calculate the Price Adjustment Factor are: CPA will be applied annually after the first 12 months | proportion; linked to index for; Index prepared by. 0.85; CPI; Table B1. 0.15; non-adjustable. 1.00. |
| X2 |  | Changes in the law | No data is required for this Option |  |
| X17 |  | Low Service Damages |  |  |
| X17.1 |  | The service level table is in | As per Annexure “B” |  |
| X18 |  | Limitation of liability |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to | R0.0 (zero Rand) |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248 |  |
| X18.4 |  | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design, plan and specification, - Defects due to manufacture and fabrication outside the Affected Property, - loss of or damage to property (other than the Employer’s property, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |
| X18.5 |  | The end of liability date is | 1 month after the end of the service period. |  |
| X19 |  | Task Order |  |  |
| X19.5 |  | The Contractor submits a Task Order programme to the Service Manager within | 7 days of receiving the Task Order |  |
| Z |  | The additional conditions of contract are | Z1 to Z11 always apply. |  |
| Z1 | Cession delegation and assignment |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry and the Electricity Distribution Industry. |  |  |  |
| Z2 | Joint ventures |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |
| Z2.3 | The Contractor does not substantially alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |
| Z4 | Ethics |  |  |  |
| Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |  |
| Z4.2 | The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |  |
| Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |  |
| Z5 | Confidentiality |  |  |  |
| Z5.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |
| Z5.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |  |
| Z5.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |
| Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |
| Z5.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |
| Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |
| Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |
| Z7 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |
| Z7.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and - undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |
| Z7.2 |  | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |
| Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |
| Z8.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |
| Z8.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |
| Z8.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |
| Z9 | Notifying compensation events |  |  |  |
| Z9.1 | Delete from the last sentence in core clause 61.3, “unless the Service Manager should have notified the event to the Contractor but did not”. |  |  |  |
| Z10 | Employer’s limitation of liability |  |  |  |
| Z10.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |
| Z10.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for under the compensation events stated in this contract. |  |  |  |
| Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |
| Z11.1 | or had a judicial management order granted against it. |  |  |  |

Annexure B:  Table of low service damages (X17)

| Low Service Damage Description | Value of Low Service Damages | Limit of Low Service Damage |
| --- | --- | --- |
| Service delaying the submission of the monthly report for the authorities | 2% of Task Order per day | Limited to 10% of the Task Order value |
| Service delays not finishing as per agreed upon Programme submitted to the Service Manager | 2% of Task Order per day | Limited to 10% of the Task Order value |
| Non-compliance to Microbiological KPIs as per Table 4 and Table 5 | 2% of Task Order per day | Limited to 10% of the Task Order value |
| Non-compliance to Corrosion/Fouling/Scaling KPIs | 2% of Task Order per day | Limited to 10% of the Task Order value |

C1.2 Contract Data

# Part two - Data provided by the Contractor

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
|  | E-mail |  |
| 11.2(8) | The direct fee percentage is |  |
|  | The subcontracted fee percentage is |  |
| 11.2(14) | The following matters will be included in the Risk Register | - |
| 11.2(15) | The Service Information for the Contractor’s plan is in: | Part 3: Scope of Work |
| 21.1 | The plan identified in the Contract Data is contained in: |  |
| 24.1 | The key persons are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in | Part 2 Pricing Data |
| 11.2(19) | The total of the Prices is Excluding VAT & CPA | R |

Part 2: Pricing Data

TSC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A | 2 |
| C2.2 | The price list | 3 |

C2.1 Pricing assumptions: Option A

# The conditions of contract

## How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract, June 2005 (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of - the Price for each lump sum item in the Price List which the Contractor has completed and - where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

## Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.

## Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

## Preparing the price list

It will be assumed that the tendering contractor has read Pages 14, 15 and 73 of the TSC3 Guidance Notes before preparing the price list.  Items in the price list may have been inserted by the Employer and the tendering contractor should insert any additional items which he considers necessary.  Whichever party provides the items in the price list the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Service as described at the time of entering into this contract.

      - As the Contractor has an obligation to correct Defects (core clause 42.1) and there is no compensation event for this unless the Defect was due to an Employer’s risk, the lump sum Prices and rates must also include the correction of Defects.

      - If the Contractor has decided not to identify a particular item in the price list at the time of tender the cost to the Contractor of doing the work must be included in, or spread across, the other Prices and rates in the price list in order to fulfil the obligation to complete the service for the tendered total of the Prices.

      - There is no adjustment to lump sum prices in the price list if the amount, or quantity, of work within that lump sum item of service later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. See Clause 60.1.

      - Hence the Prices and rates tendered by the Contractor in the price list are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk.

      - The Contractor does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.  It should be noted that the list of compensation events includes those arising as a result of an Employer's risk event listed in core clause 80.1.

## Format of the price list

(From page 73 of the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor.

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list

| CHEMICAL SUPPLY FOR COOLING WATER (CCWS) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CHEMICALS and FREIGHT | PRODUCT | KG/MONTH | PRICE/KG | Price /KG/MONTH | 12 Month | 5 Years |
| Biocide |  |  |  |  |  |  |
| Oxidizing Biocide |  |  |  |  |  |  |
| Crystal Modifier CCWs |  |  |  |  |  |  |
| Scale inhibitor and Inorganic Dispersant |  |  |  |  |  |  |
| Organic Dispersant |  |  |  |  |  |  |
| Yellow metals protection |  |  |  |  |  |  |
| Sub Total excluding VAT |  |  |  | R0.00 | R0.00 | R0.00 |
| SITE SERVICE |  |  |  |  |  |  |
| Service fee personnel |  |  |  |  |  |  |
| Lab analysis for all bacteria once weekly |  |  |  |  |  |  |
| Chemistry analysis |  |  |  |  |  |  |
| Safety |  |  |  |  |  |  |
| CDA110 Copper coupons |  |  |  |  |  |  |
| 316 Stainless steel corrosion coupons |  |  |  |  |  |  |
| C1010 Mild steel corrosion coupons |  |  |  |  |  |  |
| Sub Total excluding VAT |  |  |  | R0.00 | R0.00 | R0.00 |
| MONTHLY: CHEMICALS, FREIGHT & SERVICE |  |  |  | R0.00 | R0.00 | R0.00 |
| ONCE OFF EQUIPMENT COST | Units | COST/ UNIT | TOTAL COST | 12 Month | 5 Years |  |
| Corrosion Rack with Rotameter |  |  |  |  |  |  |
| Dosing pumps |  |  |  |  |  |  |
| Timer |  |  |  |  |  |  |
| Consumables |  |  |  |  |  |  |
| Site establishment |  |  |  |  |  |  |
| Total excluding VAT |  |  | R0.00 | R0.00 | R0.00 | R0.00 |
| TOTAL AMOUNT FOR ALL THREE ABOVE |  |  |  |  |  |  |

| Ash Water Return (AWR) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CHEMICALS and FREIGHT | Description | QTY/MONTH | COST/ UNIT | Total cost | 12 Month | 5 Years |
| Antiscalant/Scale modifier |  |  | R | R | R | R |
| Coupon Rack with Rotameter | Coupon Rack |  | R | R | R | R |
| Coupon | Coupons |  | R | R | R | R |
| Total Summary |  |  |  | R | R | R |

Part 3: Scope of Work

Supply deliver offload of Ash and Cooling water chemicals, sample, conduct Jar Tests, lab analyses and produce reports “AS AND WHEN REQUIRED” at Kriel Power Station for a period of 5 years

Description of work to be done during the 5 year contract period:

# Chemical Supply Scope of work

  - Background.

The cooling water (CW) circulating system is probably the most important auxiliary system in a Power Station.

Because it is not practical to use all the heat energy in the steam passing through the turbine, the exhaust steam must be condensed and is thus recovered in a "closed loop" boiler feed system.  For condensation to take place, a large amount of heat has to be removed from the exhaust steam by using a heat exchanger (known as a condenser) and by large quantities of cooling water.

More than 60% of the total heat in the steam cannot be utilized in the production of electrical energy so it is rejected as turbine exhaust steam and has to be removed by the cooling water, which circulates through the condenser of the turbine.

The north and south CW plants consist of two cooling towers and a CW pump house each (Fig. 1A).  The cooling water is circulated between the station and the cooling towers via the pump house.  Note that the north and south CW ducts are not interconnected, i.e. they are two completely independent cooling water systems.

There is one ash Plant per Unit and the function of the ash Plant is, to remove the coarse ash from the respective hoppers as well as mill rejects, to the ash dams, which are large settling ponds especially built for this purpose.

The ash disposal lines from the boiler (coarse ash) discharge into the distribution box where the ash slurry can be further channeled in the required direction into the center of the ash dam area. Ash water needs to be treated to avoid the scale formation on the piping and pumps systems.

1.2   Introduction

This scope is compiled to direct the cooling water and ash dams Ash dam chemical requirements for Kriel power station. To be able to control  the cooling water to meet the requirements of 36-744 Chemistry standard for cooling water, various chemicals should be used in order to control fouling caused by the microbiological growth and scaling potential. Ash water dam’s treatment has also been included on this scope.

2. Abbreviations

Bio-dispersant	: Organic compounds with broad-spectrum properties that will create adverse conditions that effectively keep the microbial population in the lag phase.

Fouling	: The formation of deposits on equipment surfaces, which significantly decrease equipment performance and/or the useful life of the equipment:

Scale 	: Scale is a dense coating of predominantly inorganic material formed from the precipitation of water-soluble constituents.

Microbiological contaminants: The uncontrolled growth of micro-organisms that contribute to fouling.

Non oxidizing biocide: Organic compounds used in the destruction of micro-organism.

Oxidizing biocide	: are used to control microbiological activity. They are often used in combination with oxidizing biocides to provide complete system control

Crystal modification	: it is the property of anti-scalents. These compounds, such as complex phosphates, interfere with the crystal growth of the scale, preventing further growth to distort crystal shapes, resulting in soft non adherent scale. When treated with crystal modifiers, scale crystals appear distorted, generally more

3. The Works

3.1 Scope of work

- Supply, deliver and inject anti-scalent/Scale inhibitor (Crystal modifier) for cooling water, and ash water

- Supply, deliver and inject non-oxidizing biocide.

- Supply, deliver and inject oxidizing biocide.

- Supply, deliver, and inject bio-dispersant..

- Supply and deliver of dosing equipment

- Supply and deliver a coupons for scale determination

- Supply and delivery of corrosion racks

- The supplier must bring his own qualified technician

- Monthly reports to be submitted to Eskom.

- The supplier must supply dosing equipment, including fittings and all that is required to complete the dosing system, at the end of the contract it shall remain an Eskom property.

# 3.1.1 Cooling water Non oxidizing biocide and oxidizing biocide

The chemical should be dosed a once a month (slug dose), one tank on the North cooling tower and the other on the south cooling tower. The cooling tower dosing must be alternated monthly (e.g. if dosing on the North was done on cooling tower number 1, the following month it should be done on number

2). There should be a monthly alternation between the oxidising and non-oxidising

# 3.1.2 Crystal modifier

The contractor will supply and deliver the chemical. The contractor will also be responsible for dosing the chemical. The dosing equipment will also be provided by the contractor. The contractor to bring their own dosing equipment and they shall be responsible for dosing and maintenance of the equipment.

The dosing points will be the cooling water north and south centre well and the 6 ash pumps at the ash dams.

# 3.1.3 Bio-dispersant

The contractor will supply and deliver the chemical at the premises. The chemical should be dosed at cooling water north and south centre well. This chemical required continuous dosing. The contractor to bring their own dosing equipment and they shall be responsible for dosing and maintenance of the equipment.

3.1.4 Dosing equipment

The contractor is required to bring their own dosing equipment. The equipment will remain at Kriel premises at the end of the contract. For the monthly dosing chemicals, the contractor will be required to remove the empty dosing tanks immediately after dosing. The dosing pumps must be compatible for the chemical its being for. The following equipment will exclude the once off chemical dosing:

6 x dosing tanks 2500 L

11 x dosing pumps

4 x Corrosion racks and scale coupons to be installed

10% more than 2500l mobile bund wall.

Note: All the dosing and other equipment not belonging to Kriel must be supplied on loan and maintained by the supplier for the duration of the contract.

3.2		Specifications

Table 3: Ash water specifications

| Component | Value |
| --- | --- |
| Turbidity | 187 NTU |
| Conductivity | 2360 uS/cm |
| pH | 10.48 |
| P alkalinity | 28.25 mg/Las CaCO3 |
| M alkalinity | 11.18 mg/L as CaCO3 |
| Calcium as Ca | 200 mg/L |
| Magnesium as Mg | 0.41 mg/L |
| Reactive Silica as SiO2 | 2.48 mg/L |
| Sulphate as SO4 | 1000 mg/L |
| Phosphate (PO4) |  |
| COD |  |
| TOC | mg/L |
| Chlorides as Cl | 90.13 mg/L |
| Sodium as Na | 230 mg/L |
| Nitrate as N | 1.56 mg/L |
| Ammonia as N | 0.1 mg/L |
| Iron as Fe | < 0.005 mg/L |
| Manganese as Mn |  |
| Aluminium as Al | < 0.005 mg/L |
| Flouride as F | 0.39 mg/L |

Table 1: Required cooling water specifications according to 240-55864767 Eskom standard for Cooling water

| Parameter | Limit or Range |
| --- | --- |
| Turbidity | < 100 NTU |
| Clarifier turbidity | <15 NTU |
| Conductivity | < 4000 uS/cm |
| pH | 8.1 - 8.6 at 25 º C |
| P Alkalinity | < 7.5 mg/kg as CaCO3 |
| M Alkalinity | 80 - 120 mg/kg as CaCO3 without a crystal modifier 120 to 160 mg/kg as CaCO3 with a crystal modifier |
| Calcium | 200 - 500 mg/kg as CaCO3 |
| Magnesium | Mg (as CaCO3) x SiO2 <25 000 |
| Silica | <150 mg/kg as SiO2 |
| Permanent hardness only when Tot hard > M Alk | < 400 mg/kg as CaCO3 |
| Calcium carbonate precipitation potential at 38degC | > 10 but < 30 mg/kg as CaCO3 |
| Sulphate | < 1000 mg/kg if Na+ < 250mg/kg |
|  | < 750 mg/kg if Na+ > 250mg/kg |
| Phosphate | < 0.5 mg/kg as PO4 |
| OA and COD or TOC | As low as economically possible through application of suitable flocculants |
| Chloride | < 400 mg/kg as Cl |
| Nitrate and Nitrite | Not specified |
| Sodium | < 500 mg/kg |
| Potassium | Not specified |
| Copper, Zinc and Iron | Not specified |
| Ammonia | < 40 mg/kg as NH4 |

Table 2: Bacterial Quality (Planktonic)

| PARAMETER | UNIT | SPEC | TARGET |
| --- | --- | --- | --- |
| Total aerobic bacteria | CFUs/ml | <107 | <104 |
| Total anaerobic Bacteria | CFUs/ml | <106 | <103 |
| Total Coliforms (TC) When treated sewage is recovered to the CCW system(s). | TC per 100 ml | Not Specified | Not Specified |
| Faecal Coliforms (FC) When treated sewage is recovered to the CCW system(s). | FC per 100 ml | Not Specified | Not Specified |
| Faecal Streptococci (FS) When treated sewage is recovered to the CCW system(s). | FS per 100 ml | Not Specified | Not Specified |
| Legionella | Counts | < 103 | < 103 |
| H2S producers | CFUs/ml | < 100 | < 50 |
| Chlorophyll A | g/kg | < 25 | < 25 |

Table 3: Bacterial Quality (Sensile)

| PARAMETER | UNIT | SPEC | TARGET |
| --- | --- | --- | --- |
| Total aerobic bacteria | CFUs/cm2 | <106 | <105 |
| Total anaerobic Bacteria | CFUs/cm2 | <106 | <103 |
| H2S producers | CFUs/cm2 | < 100 | < 60 |

- 3.3 System Description

- 3.3.1 Cooling Tower

There are two cooling towers on the north and two on the south side of the station.  The north CW system supplies units 1, 2 and 3 and the south CW system supplies units 4, 5 and 6 with cooling water.

The piping that carries the supply of cooling water to the station is referred to as the cold ducts.  Those that carry the return water from the station to the cooling towers are referred to as the hot ducts.

The water from the hot ducts enters the tower via an inlet duct that runs underground up to the center of the pond, then up in a concrete riser to a height of 9.1 meters.  From here it is distributed evenly across the entire area at that height by distribution headers.  The water is then pumped through nozzles fitted to the top and along the length of the distribution pipe work at regular intervals.  These nozzles turn it into a spray which in turn falls down onto the splash packing, breaking it up further into an even "rain" of droplets that fall back into the pond below.

The cooling towers are of the "film" packing type.  Film packing spreads the water into a thin film on the packing elements, thus forming a large surface area exposed to the counter flow air up draught.

The packing in this case is approximately 1.5 meters deep and consists of asbestos cement sheet elements.

Table 4: Tower Data:

Tower height					136 meters

Shell diameter, bottom			91.38 meters

Shell diameter throat				58.3 meters

Shell diameter top				63.47 meters

Pond diameter					100 meters

Pond handling					12176 cubic meters capacity

Wetted surface				6250 square meters area of packing

# 3.3.2 Ash System returns pumps and discharge lines

The ash water is pumped to the high level ash water return reservoirs by six pumps. Ash water return pumps 1-4 discharge into a discharge manifold while pumps 5 & 6 have no manifold on the discharge side. The discharge lines from 5 & 6 have a 450mm diameter lines compared to that of 305mm of the smaller lines. All the discharge lines can be interconnected via a scour line passing back to the reservoirs, except for the piggyback line. The dosing will be required on Ash Water return and Ash water supply dams.

Table 5: Ash pumps technical data

Pumps 				1 - 4

Motor					261 kW

Amps					58, 5 (full load rating)

Speed					1 400 r/min

Supply					3, 3 kV

Pump type				Centrifugal

Manufacturer				APE

Drive					Direct coupling

Discharge capacity			9 m3/min

Discharge pressure			1050 kPa

Pumps 5 & 6Motor			484 kW

Amps					96 (full-load rating)

Speed					1482 r/min

Supply					3, 3 kV

4. Chemical requirements

The product must be proven to be effective to improve and keep the system stable and the conditions complying with the sets target values above. The supplier will be required to visit site and perform the test before the contract is awarded.

The product must be adaptable to system changes e.g. quality and temperature.

The cooling water chemicals must not have sulphates, high chloride content, magnesium and calcium.

Pre-treatment/Raw water chemicals for potable and filter water must be free of chlorides and sulphates.

The chemical should be delivered within 5 days after the purchase order have been placed.

5. Operation

The contractor is expected to perform the operation of the dosing system. All the dosing equipment’s to be supplied by the contractor. The technical representative must at least visit site two weekly bases.

6. Maintenance

The contractor must take ownership of the dosing equipment and apply maintenance where necessary. Dosing equipment must have sufficient turn down capacity to allow for the maximum operation of the plants. Repairing of leaks on equipment supplied must be completed by the Supplier within 24 hours of the leak being reported.

7. Communication

The contractor should maintain communication with the laboratory personnel and keep and report anything in relation to the plant operation. When visit site the contractor must report to chemical services before proceeding to the plant. Should there be any risk or deviation the contractor should notify the contracts manager immediately and bring the action plan than will be used to mitigate the risk. The contract should have at least one meeting per month with Eskom stakeholders to discuss the progress

8. Documentation

The contractor shall submit monthly reports that will stipulate all the activities happened for the whole month, the chemical quantity used, and the performance indicators/results. Provide documentation that verifies that the work performed meets the minimum standards established by the specifications. During the chemical delivery the supply must submit the chemical certificates to chemical services.

The material safety data sheet must also be submitted together with the tender documents.

9. Safety

The Supplier’s staff on site will be required to do the induction training provided by an Employer. The supplier must bring their own protective clothing/equipment when working on site. The supplier must provide all the MSDS’s for handling the chemicals. Offloading of chemicals should happen within the specified agreed times.

- Environmental

In case of a chemical spillage the contractor must ensure that the spillage is reported and investigated comply to the station procedures and the area must be cleaned accordingly. The supplier must comply with the chemical handling Legislations for the loading bay, handling, transportation and offloading to site. A proof will be requested by the contracts manager at any pint intime within the duration of the contract.

Other notes for environmental

In case of a chemical spillage the contractor must ensure that the spillage is reported, investigated and the area must be cleaned accordingly.

# The Supplier shall fulfil the following requirements:

- Supply, delivery, offloading, dosing and stock control of chemicals for ash dams and cooling water treatment and management of both North and South side cooling water systems.

- The supplier must provide monthly proof of the efficacy of the treatment regime on both ash dams, Cooling water North and South

- The dosing infrastructure applicable to the scope of work must include tanks, dosing pipes and injection nozzles, and a control panel at the dosing station.

- All equipment and storage tanks supplied under this scope must comply with Eskom safety standards and OHASA.

- Repairing of leaks on equipment supplied must be completed by the Supplier within 24 hours of the leak being reported.

- Material Safety Data Sheet and chemical names labelled on the tanks. The material of construction for the bund area must be of a compatible synthetic material e.g. plastic/HTP material.

- All chemicals supplied must be compatible with the materials of construction (i.e. Titanium, stainless steel and brass) of the dosing system on both North and South cooling water system.

- Provide performance and monitoring equipment i.e. online monitoring which will monitor the efficiency of the treatment continuously. The online monitor results should correspond with the results that will be obtained from any of the Eskom labs. A monthly report must be generated. The report should comprise the following results and information: (as per the Eskom Cooling water Chemistry Guideline):  Quantity of chemicals that was used, dosage rate in ppm,

- Carry out plant inspections during shutdowns/outages and compile reports that include the following criteria. Plant system photographs i.e. condenser tubes and plates, suggestions and recommendations, scale/corrosion analysis.

- Supplier must be able to provide technical advice to address the following:  On-going scale and corrosion control to maintain plant health. Additional analysis as and when plant problems arise: scale analysis.

- Supplier to perform weekly plant visits to check if dosing is effective, to check tank levels/consumption and report leaks or problems experienced with dosing equipment to the Employer.

- The Supplier staffs that are on site will be required to do the induction training provided by an Employer.

- Cooling Water Standard to be attached and with latest results

- Eskom will inform the supplier of any changes in plant operation which may affect the quality of the cooling water.

- Note: Dosing rates must be based on the Kriel power station system volume.

- Invoicing and payments

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  No invoices to be handed to an individual, only per the address arrangement below.

No invoices to be handed to an individual. There is no need for Service Manager to sign invoices as they perform Goods Receipt in the system.  The assessment certificate and Goods Receipt serves as the approval of payment.

Invoices must be delivered to the Eskom Documentation Centre (email to: Invoiceseskomlocal@eskom.co.za) as this will speed up the payment process and ensure that invoices are not lost and payments delayed.

Eskom Documentation Centre will review invoices according to a checklist and on completion scan the documentation into Accounts Payable processing system (Documentation can only be scanned where the Purchase order no. and Goods Receipt Note no. is reflected on the invoice, and the invoice complies with the VAT Act).

Invoices are processed and released for payment by Accounts Payable Section only where the source documentation is 100% correct

Invoices to be addressed to:

Eskom Holdings SOC Ltd

Reg. No. 2002/015527/30

Kriel Power Station

Accounts Payable

Private Bag X5009, Kriel 2271

Email to: Invoiceseskomlocal@eskom.co.za

The Contractor keeps records of all invoices submitted and paid up to the end of the project, as well as details of Actual Costs.

The following information to be reflected on each invoice:

Name and address of the Contractor and the Service Manager;

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT

Contractor is required to follow the correct process to ensure the payment is effected in accordance with contractual payment terms.

- Name and address of the Contractor and the Service Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT

Contractor is required to follow the correct process to ensure the payment is effected in accordance with contractual payment terms.

Contractor is required to follow the correct process to ensure payment is effected in accordance with contractual payment terms:

Service related invoices

- Once the service have been delivered/completed both parties have to agree that the service has been delivered/completed successfully prior to invoicing

- An assessment payment certificate must be completed between the Contractor and Service Manager according to the service performed. Both parties have to sign the assessment/certificate

- A copy of assessment/payment certificate must be obtained by the Contractor to enable the creation of an invoice and to prevent any discrepancies. A copy of the assessment/payment certificate must be attached to the original invoice

- Service Manager performs a service entry and Goods Receipt on the SAP system. (Assessment/Payment Certificate issued as a source document for Service Entry Goods Receipt)

- Service Manager will the forward the Service entry and Goods Receipt Note number to the Contractor within 3 working days after the service has been rendered and the Assessment/Payment certificate signed

- Contractor must forward the original invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre.

Goods Delivered Invoices

- Once the Goods are delivered, the Service Manager preforms a Goods Receipt on the SAP system. (The delivery note is used as source document for Goods Receipt. The invoice should not be used as a delivery note)

- Service Manager will then forward the Goods Receipt note to the Vendor immediately or within 3 working days after the Goods are delivered.

- Vendors must then forward the Invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre

Invoices linked to commodity prices

- The requirements are the same as for Goods Delivered Invoices.

- Invoices which are linked to commodity prices will result in CPA (Contract Price Adjustment).

- Attach a copy of the material invoice that has been previously paid to the CPA invoice, as well as the calculation sheet and all indices attached other than SEIFSA.

- The relevant Eskom Department will then complete the CPA calculation sheet and forwards it to the Eskom Documentation Centre.

Retention Invoices

Not applicable

Foreign exchange Invoices

Not applicable

General Information related to Eskom Invoices

- Contractor must ensure that the Service Entry and Goods Receipt Note number appears on the invoice.  (It can be printed or hand written on the invoice).

- Eskom Purchase Order number must appear on invoice.

- Invoices must be VAT compliant in line with the VAT Act requirements.

- Invoices submitted must reflect the bank account details.  A once off copy of the banking details may be forwarded to the Documentation Centre and it will be attached to each scanned invoice.

- Invoices must be original or certified as an original in line with the VAT Act.  No electronic invoices will be accepted.

- Eskom’s correct name “Eskom Holdings SOC Limited” must appear on the invoice.

- The Eskom VAT registration number: 4740 101 508 must appear on the invoice.

- No pro-forma invoices will be accepted.

- Contractor cannot be utilized by Eskom for more than 3 times without a contract being established.

Note:

Invoices must be delivered to the Eskom Documentation Centre, as this will speed up the payment process and ensure that invoices are not lost and payments delayed.  There is no need for Service Manager to sign invoices as they perform Goods Receipt in the system.  The assessment certificate and Goods Receipt serves as the approval of payment.

Eskom Documentation Centre will review invoices according to a checklist and on completion scan the documentation into Accounts Payable processing system (Documentation can only be scanned where the Purchase order no. and Goods Receipt Note no. is reflected on the invoice, and the invoice complies with the VAT Act).

Invoices are processed and released for payment by Accounts Payable Section only where the source documentation is 100% correct

# Contract change management

Any change of the Contractor’s company ownership should be communicated through to the Service Manager. Failing to do this may lead to contract termination with legal consequences.

The correct processes and procedures will be communicated through to the Contractor by the Service Manager.

If the Employer’s Service Manager change the Contractor will be notified by the Employer as soon as possible to ensure that the Contractor follow the correct communication channels.

- Records of Defined Cost to be kept by the Contractor

- In order to substantiate the Defined Cost of Compensation Events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment.

The Contractor’s Site Manager will complete the site daily log and this will be submitted to the Service Manager for his signature before 12 am of the following morning barring weekends. The Friday and weekend logs will be submitted before 12 am Mondays. The log will include but not be limited to the following:

- Date and day.

- Weather.

- Site Conditions.

- Work Done.

- People who are employed by the Contractor

- Work sub-contracted by the Contractor

- Any incidents during that period.

Any communication and documentation during this service agreement to be filed in the contract file. This file is in the possession of the Service Manager at all times.

- Insurance provided by the Employer

As stated in Contract Data and as per Annexure A within this Service Agreement.

- Training workshops and technology transfer

The Service Manager may request a detailed workshop or bar charts which fit into the logic and time span of the Accepted Programme, and reflects the required manufacturing completion dates.

The Contractor should create a programme for training on the plant for the Employer’s nominated employees if required from the Service Manager.

This training should be relevant for the Employer’s employees to perform front line fault finding or maintenance.

- Design and supply of Equipment

Details of the design of Equipment is shared with the Service Manager, not necessarily for his acceptance but, as an assurance that the Equipment will be able to allow the Contractor to Provide the Service efficiently and without delay.

Also the Employer may wish to exercise constraints or include witness and hold points during manufacture, assembly or delivery of such Equipment.

The Contractor submits particulars of the design of an item of equipment to the Service Manager for acceptance when the Service Manager instructs him to. A reason for not accepting is that the design of the item will not allow the Contractor to provide the service in accordance with the Service Information, accepted plan or the applicable law.

# Things provided at the end of the service period for the Employer’s use

### Equipment:

The contractor must submit a data pack after every outage and the clock cards must be handed to security for safe keeping

### Information and other things;

The Contractor has the right to use Equipment, Plant, and Materials as stated in this Service Information provided by the Employer to provide the service.

At the end of the service period the Contractor returns all Equipment and surplus materials to the Employer. Provides items of equipment for the Employer’s use as stated in the Service Information and provides information and other things as stated in the Service Information.

# Management of work done by Task Order:

A Task is work within the service which the Service Manger may instruct the Contractor to carry out within a stated period of time.

A signed Task Order is the Service Manager’s instruction to carry out a Task.

Task Completion is when the Contractor has done all the work in the Task and corrected Defects which would have prevented the Employer or Others from using the Affected Property and Others from doing their work.

Task Completion Date is the date for completion stated in the Task Order unless later changed in accordance with this contract.

A Task Order includes:

*A detailed description of the work in the Task

*A priced list of items of work in the Task in which items taken from the Price List are identified.

*The starting and completion dates for the Task

*Conditions of the service agreement is in accordance with the Task Order issued

The Service Manager consults the Contractor about the contents of a Task Order before he issues it.

The Prices for items in the Task price list which are not taken from the Price List are assessed in the same way as compensation events.

No Task Order is issued after the end of the service period.

Work will not commence on site without the Contractor receiving a signed detailed task order that has been agreed upon by the Service Manager and the Contractor.

It is the Contractors responsibility to provide the Service Manager a detailed Task Order programme for acceptance within the period stated in the Contract Data.

Only when the Task Order programme is accepted and agreed upon by the Service Manager and the Contractor will any work commence on site.

# When any emergencies do arise, it is required from the Contractor to adhere to the following terms:

- The Contractor will be informed of emergencies when the Service Manager first becomes aware of it.

- Response time within 2 hours for any communication when the Contractor acknowledges the emergency.

- Provide a programme within 8 hours after Task Order provided to the Contractor

- Mobilise within 5 hours after Task Order have been accepted by both parties.

# Health and safety, the environment and quality assurance

## Health And Safety Risk Management

The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

## Environmental constraints and management

All service providers appointed to render any services within Eskom Kriel Power Station are required to comply with the station’s Environmental Management System requirements.

NB: Before commencing with any work, the service providers are required to visit the station’s environmental section for evaluation. The station’s environmental practitioner will evaluate the services to be rendered by the service provider and therefore allocate relevant legal and other requirements documents which the Contractor shall comply with during the works. The service provider together with Eskom’s Environmental practitioner shall sign in the Environmental Agreement Register to indicate that the agreement is reached.

The service provider shall then commence with the works but paying inordinate attention towards implementing the relevant legal and other requirements measures as agreed in the register. Failure to comply with this agreement may ultimately lead to the termination of this contract. This requirement shall also be clearly stipulated in the NEC contracts between Eskom Kriel Power Station and any service providers.

It should always be noted that Kriel Power Station is ISO14001 certified and therefore promotes Integrated Environmental Management (IEM) philosophy which aims to achieve a desirable balance between conservation and development. All activities taking place within Kriel Power Station must consider section 28 of the National Environmental Management Act (107 of 1998) which makes provision for the duty of care approach. The contractor’s team must commit to review and to continually improve environmental management, with the objective of improving overall environmental performance. The Contractor must consult with Kriel Environmental section on a regular basis for on-going assistance and advices.

The EMS shall clearly cover the following areas as per ISO 14001;

- Environmental policy

- Environmental legal and other requirements

- Risk Assessments/Aspects & Impacts Register

- Improved management of monitoring and measurement documentation( e.g. devices calibration certificates)

- Provision of necessary resources (e.g. computers, adequate human resource) and allocation of roles and responsibility (through clear appointments) to achieve effective implementation of the EMS.

- Continuous commitment towards complying with operational controls such as work instructions, operational procedures, etc. (either provided by the Contractor or by Service Manager) as well as emergency preparedness and response procedures/plans.

- The contractor shall continually evaluate the compliance to legal requirements (e.g. sewage treatment plant permits and other applicable legislation); this should also be documented within the monthly environmental site inspections reports.

- Kriel Power Station’s procedure for non-conformity, corrective action and preventive actions shall be followed in case of the environmental incidents.

- Contingency plans.

Environmental Management Programmes

- Environmental Management Programmes shall be established and maintained to ensure that objectives and targets are achieved.

Audits

Audits covering various Environmental aspects, Safety, Operational, IBI and Maintenance Management at the plant shall be carried out within an acceptable interval to ensure compliance with statutory requirements and Eskom’s policies, Directives, procedures etc.

## QUALITY ASSURANCE REQUIREMENTS

The Contractor shall be required to demonstrate by means of a Contract Quality Plan (CQP) that this organisation is so structured that all the requirements of the specification will be properly monitored and controlled. The Contract Quality Plan (CQP), which must include the Quality Control Plan (QCP), is to be drafted in accordance with QM-58 and the Supplier Contract Quality Requirement Specification (QM58). The Quality documents are to be submitted for approval to the Project Manager within thirty (30) days after a contract has been awarded to the Contractor.

No work may commence unless the Contract Quality Plan and Quality Control Plan documents have been approved in writing and a copy submitted to the Project Manager. The Contractor, in conjunction with the Project Manager must sign off all Quality Control documents after completing all work as per the agreed scope. The Contractor to submit a copy of the final signed off documents/data packages to the Project Manager within one (1) week after completion of work.

The Contractor shall be required to read and fully understand the contents of the Supplier Contract Quality Requirement Specification (QM58) and a copy is to be kept in possession or on premises.

The Contractor shall comply with all Employer’s requirements as set out in QM-58 (Supplier Contract Quality Specification).  .

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Service Information.

The Contractor notifies the Service Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub contracts.

The Supplier Contract Quality Requirement Specification (QM58) shall remain applicable in the event of the contract being extended or modified for reasons permitted.

By signature and acceptance of this contract the Contractor acknowledges and agrees to comply with and adhere to Eskom’s policies and procedures (current and/or latest revisions) including the Supplier Contract Quality Requirement Specification (QM58).

Contract Quality Management Plan Requirement:

The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

- Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

- Establishes communication channels between the Contractor and the Service Manager in respect of quality and the integration of such with the prescribed contract communication channels

- Indicates how specific subcontractors will be monitored

- Identifies items or activities for which quality control plans will be prepared

- Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

- Identifies the areas or processes requiring special controls

- Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

- Identifies the documents which are to be submitted to the Service Manager

- Indicates the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Service Manager but will not be greater than one year.

- Quality Control Plan

The Contractor’s or Subcontractor’s quality control plans cover inspection and test proposals for items or activities to be supplied as part of the service.

The quality control plan indicates the following as appropriate:

- The identification of the item.

- A list of the sequence of operations including inspections and tests.

- The identification of the specification, drawings or procedures for each operation.

- The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number.

- The inspections and tests the Contractor has nominated for hold and witness points.

- Provision for inspections and tests nominated by the Service Manager.

- Provision for inspection status indication.

- Inspection and test records which are generated by the Contractor.

- Competence of the people-Level II welding inspector, Coded welders, N3 Fitters /Boiler makers

- Personnel qualifications from approved training and accredited institute

- ITPs and welding procedures

- Material certificates

- Organogram indicating the quality person and his/her duties

- Adhere to the QM58

- Follow the Eskom welding  rule book

The quality control plans are reviewed by the Service Manager to allow for insertion of his specific requirements, including hold and witness points, prior to commencement of work. The Contractor does not commence work until the Service Manager accepts.

The Contractor shall comply with:

a)	 The Occupational Health and Safety Act, 1993, and all Regulations made there under.

b)   All Employer Safety and Operating Procedures, which are attached hereto.

The Contractor acknowledges that he is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

a) Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

b) 	Supply the Employer Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

a)  Do safety audits at the Contractor's premises, its work places and on its employees.

b)	Refuse any employees, sub-Contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

c) Issue the Contractor with a work stoppage order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

List of minimum statutory appointments required (where applicable), as required by the OHS Act:

OHS Act, Section 16(2) - Employer

OHS Act, GMR 2(1) - Supervision of Machinery

OHS Act, GMR 2(7) - Assist the designated person

OHS Act, CR 6(1) – Construction Supervisor (Authorised Supervisors and Responsible Persons must be appointed as Construction Supervisor)

OHS Act, CR 6(2) – Assistant Construction Supervisor

OHS Act, Section 17 - Health and Safety Rep

OHS Act, GAR 9 – Incident investigation

OHS Act, CR 12 – Demolition work

OHS Act, CR 19 – Explosive Powered Tools

OHS Act, CR 22 – Electrical installations and machinery

OHS Act, GSR 3 – First Aiders

KRIEL PERMIT to Work System

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she at all times comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, shall be trained and on successful completion of Kriel’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

- The conditions of permits and cautionary notices are strictly adhered to

- The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

- The safe work procedures as laid down by Kriel Power Station and as determined by the Risk Assessment, shall be followed

- The workers register and cautionary notices are discussed daily with workers

PROCUREMENT

BBBEE

Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to provide the service.

Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination will be dealt with according to the NEC3 TSC penalty/termination clauses

CORPORATE SOCIAL INVESTMENT

1% of contract value will be contributed to Kriel/Ganala/Thubelihle area with the assistance of SD&L and the Kriel Power Station Local Forum.

## SUBCONTRACTING

### Preferred subcontractors

The Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.

If the Contractor subcontracts work, he is responsible for providing the Service as if he had not subcontracted. This contract applies as if a Subcontractor’s employees and equipment were the Contractor’s.

### Subcontract documentation, and assessment of subcontract tenders

When the Contractor uses a Subcontractor he needs to engage with him on a NEC basis. The Subcontractor needs adhere to all processes, policies and procedures of Eskom as service should be provided as if not subcontracted to Eskom.

All reporting will happen based on the NEC standard forms or as agreed upon in the Kick off meeting.

### Limitations on subcontracting

The Contractor submits the name of each proposed Subcontractor to the Service Manager for acceptance. A reason for not accepting the Subcontractor is that the appointment will not allow the Contractor to Provide the Service.

The Contractor does not appoint a Subcontractor until the Service Manager accepted them.

### Attendance on subcontractors

The Subcontractor should attend all morning feedback Outage meetings to provide accurate feedback on the progress of service. Assessment meetings between Service Manager and the Contractor should be avoided by the Subcontractor.

## Plant And Materials

### Specifications

Plant and Materials are defined as items intended to be included in the Affected Property.  This will refer to replacement of worn or defective parts, routine replacement as part of regular preventative maintenance and supply of spare parts.

### Contractor’s procurement of Plant and Materials

N/A

### Correction of defects

The Service Manager arranges for the Employer to allow the Contractor access if it is needed for correcting a Defect.

The Contractor needs to correct a Defect within one day or when the first available opportunity arises.

### Tests and inspections before delivery

The Contractor does not deliver those Plant and Materials which the Service Information states are to be tested or inspected before delivery until the Service Manager has notified the Contractor that they have passes the test or inspection.

All holding points on QCP should have been adhered to and signed off by both parties before accepting any material or goods on site.

### Plant & Materials provided “free issue” by the Employer

N/A

# Working on the Affected Property

## Employer’s site entry and security control, permits, and site regulations

- The Contractor applies for temporary access permits (Contractor’s Permit) at the Security gate, prior to the Possession Date.

- The Contractor personnel are required to be in possession of a Contractor’s Permit at all times.

- All Contractor personnel are issued with a temporary access permit (Contractor’s Permit) which contains the following information:

- Name

- ID Number

- Company

- Validity date

- All Contractors’ permits are submitted to Protective Services when the workers leave the site after completion of the works.

- In order to assist Protective Services with the issuing of permits and the identification of personnel on site, the Contractor supplies a list of all personnel that he intends using on site, at least 24 hours prior to entry of the Security Area.

- This list is delivered to Protective Services, or is faxed to (017) 615 2602

- The list, identified with the Contractor’s name, contains the following information:

- Employee Name

- Employee ID Number

- Eskom Safety Co-ordinator signature

- Service Manager signature

- Copy of the first page of the ID book of every employee of the Contractor, photocopied to reduce the size to 65%.

- To speed up the process of gaining access to the site, the Contractor compiles detailed lists of all tools and equipment to be taken on site before arriving at the Power Station Security gate.

- A special Tool List form is available at Protective Services.

- An authorised copy of this list is retained to be used again when the tools and equipment is removed from site after the completion of the works.

- The Contractor's visitors and all personnel conform at all times to the security arrangements in force at the site.

- Application forms for visitors are filled in by the Contractor's Site Manager and approved by the Employers Representative, one day before the visit and submitted to the Employer’s Protective Services office.

- Visitors are not allowed on site if the necessary forms are not in the possession of security staff.

- The Chief of Protective Services may, with valid cause, remove any of the Contractor's personnel from the site, either temporarily or permanently,without any prejudice. He may deny access to the site to any person whom, in the opinion of the said Chief of Protective Services, constitutes a security risk.

- No unauthorised vehicles are allowed on site.

- Only Contractor’s vehicles with displayed Contract Vehicle Permits disks  are allowed on site.

- Contract Vehicle Applications are directed to the Employers Representative.

- The Contractor is restricted to the working areas associated with his place of work.

- The Contractor is forbidden to enter any other areas, and must ensure that his employees abide by these regulations.

- Parking inside the power station is strictly forbidden, except for loading purposes.

- No recruiting of casual labour is done on Eskom premises, including the area outside the Power Station Security Gate.

- 5.1.2 Eskom Life Saving Rules:

Five Life Saving Rules have been developed that will apply to all Eskom employees, agents, consultants and contractors.

Rule 1:   Open, Isolate, Test, Earth, Bond, And / Or Insulate before touch - that is any plant operating above   1 000 V.

Rule 2:	Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3:	Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Rule 4:	Be sober (no person is allowed to work under the influence of drugs and alcohol.)

Rule 5:	Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

- Kriel Power Station Health and Safety Standards

- Specifications for Contractors attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderer to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

- Compliance with Eskom & Kriel No Smoking Policy

- Adhere to the OHS Act 85 of 1993

- All staff will undergo Safety Induction, presented by Kriel Risk Management Department

- Employer’s site regulations, covering the following:

- Clean lines

- Storage of material

- Safety precautions and fire prevention

- Permits to work

- Other Contractor's work

- Representation of sub-contractors

- Constant Supervision for hot work

- Handing over of works

- Contractor's Site

- Disposal of waste, oil residue and sludge

- Hot Work permit for welding

- Working at heights

- Working in and around an area that contains flammable substances

- Testing for combustible gases

- Availability of fire extinguishers when working in an area that contains flammable

- Substances

## People restrictions, hours of work, conduct and records

The Contractor provides the necessary resources to carry out the service as stated in the Service Information.

The Contractor provides everything to carry out the Service Information of this contract unless where otherwise stated in this Service Agreement. Everything that should be provided by the Employer is stated in this Service Agreement, anything not stated in the Service Agreement should be provided by the Contractor to execute the work as stated in the Service Information

It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  The Service Manager shall have access to all records of the Contractor and Subcontractor at any time when deemed necessary.

## Health and safety facilities on the Affected Property

Any emergency equipment or fire suppression systems to be utilized by the Contractor when an emergency arise

Please refer to SHE Requirements for Contractors – Refer to RSR0001 Heading 8.1

## Environmental controls, fauna & flora

General environmental requirements referred to in section 3 above, Kriel Power Station ISO14001

## Cooperating with and obtaining acceptance of Others

This sub-paragraph could be used to deal with two issues.

1) The cross reference from core clause 25.1 about cooperation generally as well as details about Others with whom the Contractor may be required to share the Affected Property. See clause 11.2(9) for the definition of Others.

2) Requirements for liaison with and acceptance from statutory authorities or inspection agencies.

## Records of Contractor’s Equipment

The Contractor will at all times keep record of his equipment on site with relevant inspections carried out. Inspection reports should be accessible by the Service Manager at any given time when he deems necessary.

All equipment or tools signed in by the Contractor should strictly adhere to the gate access rules and procedures.

All Equipment including hired should be inspected and approved before accepted on site.

The Contractor will keep records of all hired Equipment to execute the Service Information

## Equipment provided by the Employer

It is the responsibility of the Contractor to provide his Equipment list to the Service Manager with all calibration certificates etc.

The Employer provides Equipment as stated in the Service Information, anything not stated in the Service Information the Contractor have to provide and already accounted for in the Price List.

## Site services and facilities

### Provided by the Employer

The Employer will provide in the way of water, waste disposal, ablutions, fire protection and lighting (etc) on the Affected Property. Power will be provided by the Employer the Contractor needs to ensure his own cabling, connections, DB Boards and CoC certificates of installations and connections.

Refuse Disposal

The Employer provides special colour coded bins for refuse disposal.  These bins are emptied by the Employer free of charge.

The Contractor ensures that all workers under his control strictly adhere to the correct use of refuse bins as stated in the Plant.

Supply of Electricity

- Employer will make available to the Contractor 220/230-volt electrical supply free of charge from the closest existing point of supply.

- The Contractor is to make provision for the necessary extensions and plug points.

- All Electrical boards must be inspected and tested before connecting to a power supply and then a CoC must be issued by the Contractor

- The Contractor will adhere to the Electrical Installation Regulations of 1992

Medical Facilities

- The Contractor provides a First Aid service to his employees and subcontractor.  In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities are available.

- Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life threatening situations.

- The Employer is entitled, however, to recover the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

Toilet Facilities

The Employer provides the Contractor access to toilet facilities.

Temporary chemical toilets are provided by the Contractor where deemed necessary.

### Provided by the Contractor

- The Contractor shall provide, for his own use adequate size offices.

- A cleaning service must also be provided.

- Domestic rubbish will be removed free of charge.

- The Contractor shall dismantle and clear off site all such infrastructure at the discretion of the Service Manager on completion of the contract.

- No such dismantling and clearance work shall be carried out without prior approval by the Service Manager.

- Any electrical equipment or appliances used by the Contractor shall conform to the applicable South African Safety standards and Kriel standard PSR 010, and shall be maintained in safe and proper working condition.

- The Employer shall have the right to stop the Contractor’s use of any electrical equipment or appliance, which in the Employer’s opinion does not conform to the foregoing.

Site Location

- The boundary of the site is within the Power Station boundary fences.

- The Contractor is to mark the boundaries of his site clearly.

- The Contractor is to ensure that all his material and equipment is always within the boundaries of his site.

- A site for the Contractor will be provided if needed.  (The exact position will be determined on site).

- The Contractor will ensure further treatment of the yard area to keep all neat and tidy at all times.

- The Contractor shall also include for such items as security, watch and access arrangements to his yard area.

- The Contractor shall not occupy any site area other than that located to him

- On completion of the service on Site, all areas allocated to the Contractor shall be re-instated to their former condition to the satisfaction of Employer

Contractor’s site requirements

- The Contractor supplies, installs, properly maintains and removes all temporary construction facilities and utilities necessary for the complete performance of the service

Including the following:

- The Contractor’s yard should adhere to sound housekeeping, failing with this the Employer may use another Contractor to clean up the Contractor’s yard. These costs will be carried by the Contractor.

- Any damage to installed lighting is repaired at the Contractor’s expense.

- The reticulation of electricity, water and any other services required by the Contractor from a supplied central distribution point.

- Hazardous Substances to be contained as per Eskom requirements.

- Transportation on and off site

- Telephone connections may be available and the Contractor applies via the Services Manager for a connection. Connection fees and calls are for the Contractor’s account.

- Compressed air and gases

- Maintenance of lay-down and storage areas

- Electric panels and distribution wiring for erection and within Contractor's yard

- Security of Contractor's yard

- Temporary lighting to ensure safe working conditions.

Accommodation

The provision of accommodation for Contractor's personnel is the responsibility of the Contractor.

The Contractor or any of his employees or subcontractors is not allowed to use the Employer’s dining facilities. The shop next to the main office building may be utilized by the Contractors.

## Control of noise, dust, water and waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

No hazardous waste may be stored for a period of more than 90 days on the Kriel Power Station’s premises

Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate must be submitted to the Service Manager.

Ensure that the Contractor’s site does comply with the general good housekeeping practices. Redundant material will be removed to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap is to be cleared from Site daily.

## Hook ups to existing works

Any work performed at heights, must adhere to the correct safety standards, procedures and specifications stated in the Health and safety risk management of Kriel Power Station. Refer to RSR0001 heading 5.7

## Tests and inspections

### Description of tests and inspections

The Contractor gives at least 48 hours in advance notification to the Supervisor or the Authority for inspection/test and hold or witness points, which require their attendance. The Contractor confirms readiness for inspection at least 24 hours prior to the test.

The Contractor ensures that all work has been fully inspected, accepted and documented prior to requesting any inspection by the Supervisor.

The Contractor and the Employer provide materials, facilities and samples for tests and inspections as stated in the Service Information.

### Materials facilities and samples for tests and inspections

The Contractor shall ensure that surfaces to be protected are inspected in order to evaluate extent of surface preparation for which he will be responsible. All inspection arrangements with Kriel Power Station Engineering Department will be made 24 hours in advance.

# List of drawings

## Drawings issued by the Employer

Not applicable

C4:  Site Information

- Part 4: Site Information

|  | This cover page | 1 |
| --- | --- | --- |
| C4 | Site Information |  |

Part 4: Site Information

- General description

The Kriel Power Station is situated approximately half way between Bethal and Ogies on the R545, being just over 30 km from each town and 10 km north-west of Kriel town.

Kriel Power Station is situated in a summer rainfall area with an average annual precipitation of about 750 mm falling almost entirely during the months of October to April.  The average rainfall per month generally exceeds 40 mm during this period, although drought periods do occur which can last for 20 days or longer.  Drought periods occur most frequently during the months of October/November and March/April.  January is statistically the highest rainfall month with an average monthly rainfall of about 130 mm.  June has the lowest rainfall with an average monthly rainfall of about 7 mm.

Approximately 85% of the annual rainfall occurs in the summer months and heavy falls of 125 to 150 mm occasionally occur in a single day.  The annual average number of thunderstorms is about 75.  These storms are often violent with severe lightning and strong (but short-lived) gusty winds and are sometimes accompanied by hail.  This region has among the highest hail frequencies in South Africa; about 4 to 7 occurrences (depending mainly on altitude) may be expected annually.

January is normally the hottest month with an average daily maximum temperature of 27°C with a mean daily temperature in winter being about 16°C.  Winter average daily temperatures vary from 18, 5°C maximum to -1°C minimum.  The extreme temperatures recorded range from 34, 7°C to minus 12, 4°C for the period 1920 - 1984.  (Source: Weather Bureau, Pretoria)

Winds are generally light to moderate except during thunderstorms.  Generally the prevailing wind directions are from the North West during the day and from the east at night.  During daytime, the prevailing winds are from the north-western direction.  During night-time, the prevailing winds are from the north-eastern direction.  The highest recorded average wind speed is 17, 6 km/hour.  The average wind velocity over the year is 14, 5 km/hour.

- Hidden services

All known services will be brought to the attention of the Contractor by Employers Representative. Should the Contractor encounter any other services in the work area, he will immediately bring them to the attention of the Employers Representative who will issue instructions as to what actions are to be taken.

The protection of all pipes, gauges and plant is of extreme importance. Should any damage take place, which is due to the Contractors negligence, another Contractor will be brought onto site to affect repairs.  All costs will be to the account of the Contractor who caused damage.

- Other reports and publicly available information

The assumed 1 in 10 year rainfall figures are:

| - Month | Cumulative rain (mm) | No of days with rainfall > 10mm |
| --- | --- | --- |
| January | 200 | 6 |
| February | 150 | 6 |
| March | 120 | 5 |
| April | 110 | 4 |
| May | 40 | 3 |
| June | 20 | 2 |
| July | 30 | 2 |
| August | 30 | 2 |
| September | 60 | 3 |
| October | 140 | 6 |
| November | 160 | 7 |
| December | 170 | 6 |

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 011 803 3009