Eskom Holdings SOC Ltd

Contract No. _________

Calibration, Service, Maintenance and Repair of Analytical 
Laboratory Instruments




	[image: image1.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Calibration, Service, Maintenance and Repair of Analytical Laboratory Instruments

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Employer
	[●]

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter a contract for the procurement of:

Calibration, Service, Maintenance and Repair of Analytical Laboratory Instruments
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A or C
	The offered total of the Prices exclusive of VAT is 
	R [●]

	Option E
	The first forecast of the total Defined Cost plus the Fee exclusive of VAT is
	R [●]

	
	Sub total
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]




This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:


	Service Provider

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	Eskom Holdings SOC Ltd, Hendrina Power Station, Impala Street, Pullenshope, Private Bag

X1003, Pullenshope 1096, SA

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	Tebogo Lekalakala

General Manager Hendrina Power Station

	Capacity


	
	
	Eskom Holdings SOC Ltd, Hendrina Power Station, Impala Street, Pullenshope, Private Bag

X1003, Pullenshope 1096, SA

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	dispute resolution Option

and secondary Options


	W1:
Dispute resolution procedure

	
	
	X1:

Price adjustment for inflation

	
	
	X2:       Changes in Law 

	
	
	X17:     Low service damages 

	
	
	X18:     Limitation of liability

	
	
	X19:
Task Order

	
	
	Z:

Additional conditions of contract

	
	
	A:

Priced contract with price list

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	10.1
	The Service Manager is (name): 
	

	
	Address
	Private bag x1003

Pullenshope

1096

	
	Tel
	(013) 296 3119

	
	Fax
	N/A

	
	e-mail
	

	11.2(2)
	The Affected Property is
	Hendrina Power Station

	11.2(13)
	The service is 
	Calibration, Service, Maintenance and Repair of Analytical Laboratory Instruments

	11.2(14)
	The following matters will be included in the Risk Register
	[●]

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	one week

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	One week of the Contract Date

	3
	Time
	

	30.1
	The starting date is.
	[●]

	30.1
	The service period is
	[●] 5 years

	4
	Testing and defects
	The Contractor and Service Manager each notifies the other of each of the tests and inspections required. The Contractor notifies the Service manager in time for test or inspection to be arranged and done before doing work.

	5
	Payment
	Quality check will be done for every spare delivered and service performed.

	50.1
	The assessment interval is 
	End of each month 

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	14 or 30 days after receipt of an invoice

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and  if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. [●]

	
	
	2. [●]

	
	
	3. [●]

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	[●] weeks.

	C
	Target contract with price list
	

	20.4
	The Contractor prepares forecasts of the total Defined Cost for the whole of the service at intervals no longer than 
	[●] weeks.

	50.6
	The exchange rates are those published in
	[●] on [●] (date)

	53.1
	The Contractor's share percentages and the share ranges are
	share range
	Contractor’s share %-age

	
	
	less than [●] %
	[●]%

	
	
	from [●]% to [●]%
	[●]%

	
	
	from [●]% to [●]%
	[●]%

	
	
	greater than [●]%
	[●]%

	53.3
	The Contractor’s share is assessed on (dates)
	[●]

	E
	Cost reimbursable contract
	

	20.4
	The Contractor prepares forecasts of the total Defined Cost for the whole of the service at intervals no longer than 
	 weeks /months 

	
	The exchange rates are those published in
	[●] on [●] (date)

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	[●] South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	[●].

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	[●]
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X17
	Low service damages  

KPI 1. Equipment Availability and Reliability   

1.1 Equipment required to execute the scope of work must be always available and reliable.

1.2 Response time request: The amount of time taken to respond for breakdown must be limited to 24 hours.

1.3 Use of defective tools and expired materials, all tools to be suitable for use and no expired materials should be used.                                      
	

	X17.1
	The service level table is in
	[●]

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design, plan and specification,

· Defects due to manufacture and fabrication outside the Affected Property, 

· loss of or damage to property (other than the Employer’s property, Plant and Materials),

· death of or injury to a person and

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	[●] months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	5 days of receiving the Task Order

	Z
	The additional conditions of contract are
	Z1 to Z14 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z11.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z11.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z11.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z11.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


Z12

Insurance

Z _12_.1
Replace core clause 83 with the following:
	Insurance cover
	83
	

	
	83.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.



	
	83.2
	The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. 

INSURANCE TABLE A

Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage caused by the Contractor to the Employer’s property

The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Plant and Materials

The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.

Loss of or damage to Equipment
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service

Loss of or damage to property

The replacement cost

Bodily injury to or death of a person

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law



	
	
	

	
	
	


Z __12.2
Replace core clause 86 with the following:

	Insurance by the Employer
	86
	

	
	86.1
	The Employer provides the insurances stated in the Insurance Table B

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy

Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document

General and Public Liability

Per the insurance policy document

Transportation (Marine)

Per the insurance policy document

Motor Fleet and Mobile Plant

Per the insurance policy document

Terrorism

Per the insurance policy document

Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption

Per the insurance policy document

Nuclear Material Damage Terrorism

Per the insurance policy document




	
	

	
	

	
	

	
	

	
	

	
	

	
	

	Z14
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z14.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z14.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z14.3
	The Employer manages asbestos and ACM according to the Standard.

	Z14.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z14.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z14.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z14.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
[Instructions to the contract compiler: (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering contractor:

1. Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(15)
	The Service Information for the Contractor’s plan is in:
	     

	21.1
	The plan identified in the Contract Data is contained in:
	     

	24.1
	The key people are:
	

	
	1

Name:
	     

	
	

Job:
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	2

Name:
	     

	
	

Job
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	
	     

	
	
	CV's (and further key person's data including CVs) are in      .

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(19)
	The tendered total of the Prices is
	R     

	C
	Target contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(20)
	The tendered total of the Prices is
	R     

	E
	Cost reimbursable contract
	

	11.2(12)
	The price list is in
	     


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.
Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  
Link to the Contractor’s plan
Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 
Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively, the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

Part 2: Pricing Data

TSC3 Option C
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option C
	2

	C2.2
	The price list 
	[●]


C2.2 the price list
	Item nr
	Description
	Unit
	Expected Quantity
	Rate
	Price


	TOC analyzer
	Ea 
	2
	
	

	Siever 900 TOC analyzer Service and Repairs



	ATU 96200
	900 Sample Pump Tubing Sample pump tubing for the 900 Series analyzers
	Ea
	5
	
	

	ARK 35010-01
	UV Lamp Replacement, Lamp Only UV Lamp for Sievers M-Series, 900 Series, 500 Series, 860, and Checkpoint. This lamp is compatible with the Teflon mount. Lamp lifetime is 6 months of operation.
	Ea
	10
	
	

	APK 96004-01
	900 Resin Bed Replacement resin cartridge for 900 Series analyzers.
	Ea
	5
	
	

	APF 90310-02
	Acid Cartridge Acid reagent cartridge for Sievers M-Series, 900, 5310 C, and 800 Series. Replacement recommended after 6 months
	Ea
	10
	
	

	APF 90150-02
	Oxidizer Cartridge Low-capacity oxidizer reagent cartridge for Sievers M-Series, 900, 5310 C, and 800 Series. Replace after 3 months of use.
	Ea
	20
	
	

	STD 90019-01
	M-Series Cal & Ver Kit, 25 mg/L Single point calibration and verification standards set for Sievers M-Series and 900, 25 mg C/L. Includes: 1 TOC Calibration Set and 1 Verification Standards Set
	Ea
	5
	
	

	APK 96112-02
	Iwaki Pump Replacement Kit Iwaki pump replacement kit for Series 900 instruments. This pump contains rulon bearings and is designed for maximum operational life. Kit includes pump, grounding strap, and replacement instructions.
	Ea
	3
	
	

	
	Autosampler vials and caps
	Ea
	100
	
	

	Labour
	Service Labour Low End Labour
	
	80
	
	

	
	Travel Service Travel Charges Travel Zone 3
	
	5
	
	

	
	Accommodation Charges 

1 Night Accomodation
	Ea
	5
	
	

	
	
	
	
	
	

	Calibration, Service, Maintenance and Repair of Analytik Jena TOC analyzer


	
	Set of TC prefilter and water trap
	Ea
	5
	
	

	
	Halogen absorber filling for halogen absorber U-tube, I.D. 11 mm
	Ea
	5
	
	

	
	Pump hose for H3PO4 pump (perestaltic pump)
	Ea
	5
	
	

	
	Pump hose for waste pump (perestaltic pump)
	Ea
	5
	
	

	
	U-tube halogen absorber O.D. 11 mm
	Ea
	5
	
	

	
	Quartz wool
	Ea
	5
	
	

	
	Sample vials 40 mL with screw neck, 95 x 27.5 mm
	Ea
	5
	
	

	
	Labour
	Ea
	40
	
	

	
	Travel
	Ea
	25
	
	


	                                                                                           Total of the Prices 
	


	Item nr
	Description
	Unit
	Expected Quantity
	Rate
	Price

	MettlerToledo Coulometric KF Ttitrator
	Ea
	1
	
	

	MettlerToledo Coulometric KF Ttitrator analyser Service and Spares

	51108741
	Stopper forC20/30-PTFE
	Ea
	5
	
	

	51108740
	Septum, 12 pieces
	Ea
	5
	
	

	K8678P
	Molecular Sieve 3A Hi-Dry KF pellets 1.6mm (500g) ROMIL
	Ea
	5
	
	

	51108752
	Fastener Screw (for titration vessel)
	Ea
	5
	
	

	71300
	Tube of silicon grease
	Ea
	5
	
	

	23936
	Teflon tubing, 800 mm; Tubing 80cm-PTFE
	Ea
	5
	
	

	51105600
	Solvent Manager Set
	Ea
	5
	
	

	51105795
	External power supply 100-240 VAC
	Ea
	5
	
	

	51105549
	Cx Housing
	Ea
	5
	
	

	51105734
	SENSOR BOARD COULOMETER
	Ea
	5
	
	

	30298273
	Compact Titrator Mainboard C20S (SP)
	Ea
	5
	
	

	51105567
	Protective Cover for Cx VxGx 
	Ea
	5
	
	

	51108732
	Titration cell made of glass
	Ea
	5
	
	

	TOTAL
	
	
	

	Anton Paar SVM 3000 Viscometer
	Ea
	2
	
	

	A TOTAL nton Paar SVM 3000 Viscometer Service and Spares

	3000
	SVM 3000 STABINGER VISCOMETER
	Ea
	10
	
	

	P01127
	Anton Paar Preventive Maintenance In-House
	Ea
	10
	
	

	P00472
	TRAVEL AND EXPENSE COSTS
	Ea
	10
	
	

	TOTAL
	
	
	

	BAUR KV Oil Tester 
	Ea
	1
	
	

	BAUR KV Oil Tester Service and Spares

	R-K-KE-NX-Z-ZZ-ABR
	Calibration - L5
	Ea
	5
	
	


	Item nr
	Description
	Unit
	Expected Quantity
	Rate
	Price


	CO2 and H2 purity Nova 380K Service with spares
	Ea
	4
	
	

	CO2 and H2 purity Nova 380K Service and spares

	OIHF
	Service of Nova 380K analyser
	Ea
	20
	
	

	OIHL
	H2 Calibration gas
	Ea
	20
	
	

	OIHL
	CO2 Calibration gas
	Ea
	20
	
	

	OIHF
	Spare oil vapor filter - Part # TGI50672SUB
	Ea
	20
	
	

	OIHF
	Spare sample pump - Part # TGI3052PUMP
	Ea
	20
	
	

	OIHF
	Spare fine particulate filter - Part # TGI1008FILTER
	Ea
	20
	
	

	OIHF
	Spare liquid block - Part # TGI9014FILTER
	Ea
	20
	
	

	TOTAL
	
	
	


	Item nr
	Description
	Unit
	Expected Quantity
	Rate
	Price

	Merck Millipore System Service and Spares
	Ea
	1
	
	

	SPR00SIA2
	SMARTPAK R0DI
	Ea
	5
	
	

	SYPK0SIA1
	SYNERGYPAK 1
	PA
	5
	
	

	MPGP02001
	MILLIPAK(R) EXPRESS 20 FILTER (1/BOX)
	PA
	5
	
	

	SYN185UV1
	UV LAMP 185 nm - 6W
	Ea
	2
	
	

	ZLXUVLP01
	UV LAMP FOR ELIX UV
	Ea
	2
	
	

	TANKMPK01
	PE TANK MILLIPAK FILTER
	PA
	5
	
	

	ZF3000332
	SMT UPG 6W PCB
	EA
	2
	
	

	ZWAAZONE4
	TRAVEL ZONE 4
	Ea
	5
	
	

	ZWLABORBB
	Repair 1/2 Hour Labour
	Ea
	20
	
	

	
                                                                                                    TOTAL
	
	
	

	Fume hood 
	Ea
	1
	
	

	Fume hood Service and Repairs

	
	REPLACE THE RUSTED PLANES INSIDE THE UNIT
	Ea
	2
	
	

	
	REPAIR SACH.
	Ea
	4
	
	

	
	CHECK AND ADJUST COUNTER- WEIGHT
	Ea
	5
	
	

	
	ADJUST OVERLOAD PROTECTION
	Ea
	5
	
	

	
	CHECK THE EXTRACTION MOTOR
	Ea
	5
	
	

	
	POWDER COATING OF NEW PANELS
	Ea
	5
	
	

	
	DUCTING & FAN HOUSING
	Ea
	3
	
	

	
	MOTOR & FAN
	Ea
	4
	
	

	
	REPLACE THE BOTTOM CUPBOARD NEW CUPBOARD WITH 2 X DOORS
	Ea
	1
	
	

	
	LABOUR & TEST
	Ea
	5
	
	

	
	TRAVEL & CALL OUT
	Ea
	5
	
	

	                                                                                                         TOTAL
	
	
	

	Alutrap Panel Filter Hood
	Ea
	6
	
	

	
	CALIBRATE HOOD
	Ea
	30
	
	

	                                                                                                           TOTAL
	


	Hanna pH meter and conductivity meter 
	Ea
	4
	
	

	pH meter 

	CALIBRATION
	Service, Test & Calibration (Includes Letter of Calibration)
	Ea
	30
	
	

	HI7662-W
	Replacement temperature probe for HI5XXX research grade benchtops
	Ea
	10
	
	

	HI1131B
	Refillable Combination pH Electrode with BNC Connector
	Ea
	10
	
	

	HI7004L
	pH 4.01 @ 25°C Calibration Buffer, 500 mL bottle
	Ea
	80
	
	

	HI7007L
	pH 7.01 @ 25°C Calibration Buffer, 500 mL bottle
	Ea
	80
	
	

	HI7010L
	pH 10.01 @ 25°C Calibration Buffer, 500 mL bottle
	Ea
	80
	
	

	HI70300L
	Electrode storage solution 500 mL bottle
	Ea
	30
	
	

	SPARES
	INSTRUMENT SPARES
	Ea
	20
	
	

	TOTAL
	
	
	

	DR6000 Service and Spares
	Ea
	2
	
	

	Hach DR6000 UV Spectrophotometer

	A23778
	Replacement lamp for DR 6000, DR 5000 Country of Origin: Germany
	Ea
	10
	
	

	LZV915
	FILTER PAD FOR DR 6000 Country of Origin: Germany
	Ea
	10
	
	

	ZH2
	Cal Certificates (Hach)
	Ea
	10
	
	

	ZH4
	Labour
	Ea
	5
	
	

	ZH5
	All Items Repair, Service, Calibration & Verification (Sundry) Kit
	Ea
	10
	
	

	LZV885
	DISPLAY AND TOUCHSCREEN, DR 6000 - SPARE Country of Origin: Germany.
	Ea
	5
	
	

	YAB124
	Mainboard DR 6000 Country of Origin: Germany
	Ea
	6
	
	

	ZH5
	LZV912 - Sliding lid Cuvette Compartment
	Ea
	10
	
	

	2105569
	DPD 1 Free Chlorine 10mL, pk/100 Powder Pillows
	Ea
	200
	
	

	2742545
	Reactive Phosphate (Orthophosphate) Test N Tube Reagent Set, 50 tests 
	Ea
	250
	
	

	199553
	Molybdate 3 Reagent for silica, 1 L
	Ea
	200
	
	

	19449
	500 ml Silica standard 1000ppm

	Ea
	6
	
	

	2353011
	Amino Acid F Dilution Solvent
	Ea
	200
	
	

	2283355
	Amino Acid F Powder Reagent, 410 g
	Ea
	200
	
	

	2254249
	Citric Acid F Reagent
	Ea
	200
	
	

	
	TOTAL
	
	
	
	

	TL2300 Turbidity meter Service and Spares
	Ea
	2
	
	

	Hach TL2300.Turbidity meter

	4708900
	Lamp Replacement Assembly for 2100AN or 2100N Laboratory Turbidimeter Country of Origin: United States.
	Ea
	10
	
	

	4705100
	LENS, PLASTIC SMALL 2100N/2100AN UL94V-2 FLAME RATED Country of Origin: China.
	Ea
	10
	
	

	4705200
	LENS, PLASTIC LARGE 2100N/2100AN UL94V-2 FLAME RATED Country of Origin: China.
	Ea
	10
	
	

	ZH2
	Cal Certificates (Hach)
	Ea
	10
	
	

	ZH4
	Labour
	Ea
	10
	
	

	ZH5
	All items repair, service, calibration and verification kit (sundry)
	Ea
	10
	
	

	2659505
	StablCal Standards Calibration Kit, for 2100AN and 2100AN IS Laboratory Turbidimeters (includes 1 ampule each,
	Ea
	10
	
	

	9646200
	CKT BD ASSY, MAIN, TL2300 TURB Country of Origin: China
	Ea
	10
	
	

	LZV864
	DISPLAY WITH TOUCHSCREEN Country of Origin: Taiwan
	Ea
	10
	
	

	ZH4
	Travel
	Ea
	30
	
	

	
	TOTAL
	
	
	

	Hach Orbisphere 3100 Portable Oxygen analyser
	Ea
	1
	
	

	Hach Orbisphere 3100 Portable Oxygen analyser Service and Spares

	ZO1
	Total Labour time on all equipment listed above
	Ea
	30
	
	

	ZO2
	Calibration Certificate/s
	Ea
	5
	
	

	DG33232A
	3100 Keypad board main board v.1304
	Ea
	5
	
	

	ZO3
	Miscellaneous service/calibration/repair items (sundry
	Ea
	5
	
	

	TOTAL
	
	
	

	  Total of the Prices 
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	

	C3.2
	Contractor’s Service Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s service Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   

Otherwise insert list of contents manually.

2Part 3: Scope of Work

C3.1: Employer’s service Information
iii
1
Description of the service
v
1.1
Executive overview
v
1.2
Employer’s requirements for the service
v
1.3
Interpretation and terminology
viii
2
Management strategy and start up.
ix
2.1
The Contractor’s plan for the service
ix
2.2
Management meetings
ix
2.3
Contractor’s management, supervision and key people
x
2.4
Provision of bonds and guarantees
x
2.5
Documentation control
x
2.6
Invoicing and payment
x
2.7
Contract change management
xi
2.8
Records of Defined Cost to be kept by the Contractor
xi
2.9
Insurance provided by the Employer
xi
2.10
Training workshops and technology transfer
xi
2.11
Design and supply of Equipment
xi
2.12
Things provided at the end of the service period for the Employer’s use
xi
2.12.1
Equipment
xi
2.12.2
Information and other things
xi
2.13
Management of work done by Task Order
xi
3
Health and safety, the environment and quality assurance
xii
3.1
Health and safety risk management
xii
3.2
Environmental constraints and management
xiii
3.3
Quality assurance requirements
xiii
4
Procurement
xiv
4.1
People
xiv
4.1.1
Minimum requirements of people employed
xiv
4.1.2
BBBEE and preferencing scheme
xiv
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
xiv
4.2
Subcontracting
xiv
4.2.1
Preferred subcontractors
xiv
4.2.2
Subcontract documentation, and assessment of subcontract tenders
xiv
4.2.3
Limitations on subcontracting
xiv
4.2.4
Attendance on subcontractors
xv
4.3
Plant and Materials
xv
4.3.1
Specifications
xv
4.3.2
Correction of defects
xv
4.3.3
Contractor’s procurement of Plant and Materials
xv
4.3.4
Tests and inspections before delivery
xv
4.3.5
Plant & Materials provided “free issue” by the Employer
xv
4.3.6
Cataloguing requirements
xvi
5
Working on the Affected Property
xvii
5.1
Employer’s site entry and security control, permits, and site regulations
xvii
5.2
People restrictions, hours of work, conduct and records
xvii
5.3
Health and safety facilities on the Affected Property
xvii
5.4
Environmental controls, fauna & flora
xvii
5.5
Cooperating with and obtaining acceptance of Others
xvii
5.6
Records of Contractor’s Equipment
xvii
5.7
Equipment provided by the Employer
xvii
5.8
Site services and facilities
xvii
5.8.1
Provided by the Employer
xvii
5.8.2
Provided by the Contractor
xviii
5.9
Control of noise, dust, water and waste
xviii
5.10
Hook ups to existing works
xviii
5.11
Tests and inspections
xviii
5.11.1
Description of tests and inspections
xviii
5.11.2
Materials facilities and samples for tests and inspections
xviii
6
List of drawings
xix
6.1
Drawings issued by the Employer
xix


1 Description of the service
1.1 Executive overview 
       Calibrate, service, maintain and repair Analytical Laboratory Instruments for a period of 60 months (5 years), including provision of spares and consumables at Hendrina Power Station. Maintenance and instrument spares availability is of paramount importance to ensure instrument reliability and availability.
1.2. Employer’s requirements for the service of Laboratory equipment at Hendrina 
       Power Station  
a) The contractor shall have expertise, experience, and necessary resources to be able to provide   the service for all laboratory equipment.  The contractor must provide CV accompanied with competency certificate with Previous work experience with reference of key personnel (e.g Service technician/Engineer/Instrument Tech etc.) Preference in experience in service and calibration of laboratory equipment listed in the sow
b) The laboratory equipment shall be serviced, calibrated, and maintained in accordance with task order send to the supplier.

c) The spares and consumables shall be obtained and be readily available, as and when required basis.

d) Laboratory equipment repairs shall have a turnaround response time of 24 hours.

e) Calibration will be done on site. The instrument will only be taken to the service provider if diagnostics and other repairs cannot be done on site.  

f) Records to demonstrate the assurance of the calibration results i.e. participation in inter-laboratory comparisons or proficiency testing.

g) Analytical Instrument should be 100 % available and reliable, Analytical Instrument should be 100 % available and reliable, after calibration the instrument must maintain its accuracy and reliability for at least 12 months, ensuring continuous readiness for use.

h) The Documented requirements for environmental condition that may impact the accuracy and quality of calibration results include specified parameters such as temperature, humidity. Air cleanliness and vibration limits must be specified in the service report.

i) Spares, Consumables, Reagents, and special tools of analytical instrument should be provided by the supplier.
1.2.1 The scope of calibration, service, and maintenance


· Instrument cleaning

· Check or test hardware

· QC pass hardware

· All hardware to be replaced if broken and not functional

· Check or test software 

· QC pass software

· All software to be replaced if broken and not functional
· Check electronics

· Check and test sensor functionality where applicable
· Check and replacement of instrument components and consumables e.g., lamp, cartridges, resin bed.

· Replacement of normal wear parts

· Inspection of critical components and adjustments as needed
· Adjustments as needed

· Calibration of instrument components

· Run calibration standards on the instrument, followed by QC standard.

· Record the values and the measured deviation to the calibration and QC standard/s.

· Calibration standard or Chemical kit to be provided after use.
· The calibration standard or kit must be valid for a period of twelve months before expiry date

· Provide Calibration Certificate

· Provide Calibration Report/certificate (the report must contain minimum information as follows):

√ Name of requester

√ Unique number of the certificate

√ address of requester and supplier,

√ supplier company name,

√ accreditation number (if accredited)

√ Serial number of instruments being calibrated,

√ Summary of status,

√ Results,

√ Uncertainty of measurements,

√ Environmental conditions at the time of calibration,

√ Date calibrated.

√ Name and signature of the technician calibrated the instrument.

· Provide a calibration sticker on the instrument which must include date calibrated and the        
  next service date.

· Performance Verification of the instrument to be done

· Performance Verification Report 

· Recommendations to optimize performance

· Maintenance Report

· Bring own calibration standard, quality control standard and any other applicable standard.

· Replace UV Lamp 

· Replace Oxidizer Cartridge. 

· Replace Acid Cartridge.

· Remaining standards after calibration to be left behind.

NB: The scope of calibration, service and maintenance is not limited to the above stated points.

1.2.2 Calibration, Service and Maintenance frequency

1.2.2.1 Yearly calibrations and services

	Test Instrument
	Number of Analysers

	TOC analyzer
	2

	Karl Fischer Titrator
	1

	BAUR KV Oil Tester
	1

	Viscometer
	2

	CO2 and H2 Nova
	4

	Millipore System
	1

	Fume hood
	1

	Alutrap panel filter hood
	6

	Ph meter and conductivity meter
	4

	DR6000 UV Spectrophotometer
	4

	TL2300 Turbidity meter
	4

	Orbisphere 3100 Portable Oxygen analyser
	1


1.2.3 Repairs
a) Repairs for instrument breakdown shall be handled on a call out basis. As and when required.

b) Response turnaround time shall be 24 hours.

c) A loan unit will be provided at no additional cost to the client in cases where repairs are expected to take longer than two (2) weeks. 

1.4  Interpretation and terminology
None

The following abbreviations are used in this Service Information:

	Abbreviation
	Explanation

	ISO
	International Organisation for Standardization

	NEC TSC
	New Engineering Contract 

	QC
	Quality Control

	SANAS
	South African National Accreditation system

	SOW
	Scope of work

	TSC
	Term Service Contract

	TOC
	Total Organic Carbon

	SABS
	South African Bureau Standards

	UV
	Ultraviolet


2. Management strategy and start up.
2.1 
The Contractor’s plan for the service
The contractor shall:

a) Compile and submit the service report which will include the recommendations of all serviced instrument.

b) Provide the calibration reports of all calibrated instruments.

c) Be available 24 hours per day in case of emergency.
d) The contractor shall ensure their personnel is properly and adequately trained to calibrate, service, maintain and repair all equipment mentioned in the SOW.

e) The supplier shall provide training in the following years of the contract: the first year, the third year, and the final year of the five-year contract duration
f) All Assessments provided by the supplier, including written, oral, panel and troubleshooting evaluations, must be documented, and accompanied by a competency certificate. 
g) Ensure instruments are readily available and reliable after service.

h) Loan unit to be provided where repairs might take longer than 2 weeks.

2.2  Management meetings
The conditions of contract (e.g., Clause 16.2) and other sections of the Service Information (e.g. safety risk management) may require that a meeting shall be held.  However, the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the size and complexity of the service, it is probably beneficial for the Service Manager to hold a weekly risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as planning, and activities of a technical nature may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters discussed at such meetings.

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	
	
	
	

	Risk register 
	When it occurs
	Chemical Services Board room
	Employer, Contractor and Contract Manager, Lab Supervisor

	Overall contract progress and feedback
	Monthly
	Chemical Services Board room
	Employer, Contractor and Contract Manager, Lab Supervisor


Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.3  Contractor’s management, supervision and key people

Employer: Eskom

2.4   Provision of bonds and guarantees 
The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Service Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

2.5   Documentation control
All contractual communications will be in the form of properly compiled letters or forms attached to e-mails and not as a message in the e-mail itself.  

Every document or report should have the 4600 number; Task order should have both 4600 and 4500 number and the invoice should have both 4600 and 4500 numbers. 

The person representing the Employer at Hendrina Power Station will issue each Task Order to the Supplier. Each Task Order will be submitted at least one week prior to the starting date.
2.6  Invoicing and payment

The Z clauses make reference to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice. 

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to 

_________________________ 

and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

NB: The Tax invoice shall be sent to Finance Department and a copy to the Contract Manager.
2.7  Contract change management 
Shall be communicated to all parties affected in writing if and when it occurs
2.8  Records of Defined Cost to be kept by the Contractor
The Contractor to keep records of the of define cost of the company
2.9  Insurance provided by the Employer
None
2.10 Training workshops and technology transfer

a)   Supplier must provide qualified and certified personnel for all service requests, ensuring that they possess the necessary skills, training, and expertise to complete work effectively
b)   The supplier shall provide training in the following years of the contract: the first year, the third year, and the final year of the five-year contract duration 

c)   The supplier shall provide training to at least four chemistry personnel either on-stie or at the supplier’s facility. Training offered to personnel shall include, operational procedure, calibration, and maintenance practices, troubleshooting techniques, safety protocols, and data analysis methods to ensure optimal performance and accurate results.
d)    All Assessments provided by the supplier, including written, oral, panel and troubleshooting evaluations, must be documented and accompanied by a competency certificate. 
2.11 Design and supply of Equipment

      None 

2.12 Things provided at the end of the service period for the Employer’s use

             None

2.12.1 Equipment

              None

2.12.2 Information and other things
a) Contractor to supply the service and calibration reports. 

b) QCP should be signed by both parties.

2.13 Management of work done by Task Order

Task order will be sent to the Supplier when service is due as per the contract prescribed schedule. The Supplier must respond by sending a program on the job and duration of the job.

3 Health and safety, the environment and quality assurance

a. Health and safety risk management

In addition to the requirements of the laws governing health and safety, Eskom may have some additional requirements particular to the service and the Affected Property for this contract.  
The text below provides for these being attached as an Annexure to this Service Information. 
PLEASE ALSO READ CORE CLAUSE 27.4 TOGETHER WITH Z7 IN THE ADDITIONAL CONDITIONS OF CONTRACT TO MAKE SURE THAT WHATHEVER IS INCLUDED IN THE ANNEXURE FOLLOWS ON FROM THOSE CLAUSES.
The Divisional/Regional Safety Risk Manager or his representative having jurisdiction over the service must provide the relevant safety, health and environmental (SHE) criteria for incorporation into this Service Information. The SHE specification / scope must be signed off by the Divisional/Regional Safety Risk Manager or his representative confirming that the applicable safety criteria have been taken into account.

The Commodity Manager / Buyer must refer the tender to the Divisional/Regional Safety Risk Manager or his representative in order to evaluate against enquiry-specific safety criteria.

The Divisional Safety Risk Managers who will be responsible for the allocation of resources to assist P&SCM with the above processes are as follows:

·         Generation: Roley McIntyre

·         Transmission: Tony Patterson

·         Distribution: Alex Stramrood

·         Enterprises: Jace Naidoo

·         Corporate: Kerseri Pather

The Contractor shall comply with the health and safety requirements contained in Annexure ___________ to this Service Information.

Hendrina Power Station Safety Requirements

A.
Risks

	Number
	Hazard
	Risks
	Control

	1
	Noise (All over the plant)
	Noise Induce
	Ear Protection

	2
	Infectious diseases
	Severe illnesses
	Yearly Medical screening and Immunisation

	3.
	Explosion / gases
	Death / Injuries
	Gas tests / no smoking

	4
	Trenches and sumps
	Drowning
	Life jackets 

	5
	Working at heights
	Falling
	Safety Harness

	6
	Heat
	Heat Stroke
	Rotation of workers

Fluids


· The type of PPE needed for the project will be determined by the task risk assessment but taking into consideration the generic risk found at our plant

B.
 Procedures and legislations:

1.
Occupational health and safety act 85 of 1993 and Construction regulation


2.
Cardinal Rules Procedure


3.
Eskom Contractors Management procedure

C.
Road Safety


a.
Speed limit: 40km/h


b.
By passing Speed humps not allowed


c.
Transporting People at the back of the bakkie not allowed


d.
Buckle up always


e.
Park only at demarcated areas

D.
Sanitation


a.
Toilets for both genders are available at the plant 

E.
Emergency 


a.
The emergency number for Hendrina is 013 296 3485 / 3555 Pax:5485/5555


b.
Proto team is available for any type of Emergencies


c.
Emergency alarms are tested every Wednesday 07H30 

F.
Access


a.
Before access can be grated the following must be met:



i.
Safety file checked and approved 



ii.
SHE Induction attendance

b.  Environmental constraints and management

a) All spillages during delivery must be reported to the Employer immediately. The Contractor must respond to any chemical spillages which occurs in his/her absence within 24 hours of the incident. Where rehabilitation is needed the Contractor will be held responsible and will carry the cost.

The Contractor shall comply with the environmental criteria and constraints stated in Annexure ________ 

c.  Quality assurance requirements

a) Service and calibration report

b) Assurance of instrument availability and reliability till the next service

3. Procurement
a. People

i. Minimum requirements of people employed
1 service technician/engineer required

4.1.2 BBBEE and preferencing scheme

The Contractor shall provide the verification certificate
4.2.3 Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 

If the ASGI-SA requirements are to be included in this contract specify constraints which Contractor must comply with after contract award in regard to any ASGI-SA requirements.  The ASGI-SA Compliance Schedule completed in the returnable tender schedules is reproduced here.  If ASGI-SA does not apply, delete this paragraph.

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Service Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
b.  Subcontracting
i. Preferred subcontractors

            None 
ii. Subcontract documentation, and assessment of subcontract tenders

            None 
iii. Limitations on subcontracting

            N/A
iv. Attendance on subcontractors

            N/A
c.  Plant and Materials

i. Specifications

ii. Correction of defects

a) The contractor shall repair all defects before the service payment can be done.

b) The contractor shall repair all emerging defect before the next service or (1 year after the     service)

iii. Contractor’s procurement of Plant and Materials

Specify any constraints on how the Contractor is to order, codify, expedite, freight, import, transport to the Affected Property and any other requirements for delivery and storage before installation.  The Employer may require warranties from suppliers to be in favour of the Employer and not just to the Contractor.  The Employer may also need schedules of vendor data for his own use after the end of the service period.

iv. Tests and inspections before delivery

Core Clause 41.1 makes reference to the Service Information stating which Plant and Materials are to be inspected and tested before delivery.  Specify any requirements particularly if such tests and inspections are to be carried out by agents of the Employer overseas.  

v. Plant & Materials provided “free issue” by the Employer

List any Plant and Materials which are to be provided by the Employer.

State arrangements for collection by Contractor or delivery by others on behalf of the Employer, off loading, inspection, storage, care custody and control, return of unused Plant and Materials, etc.   Always include a statement to the effect that ‘all other Plant and Materials are to be provided by the Contractor’.

vi. Cataloguing requirements by the Contractor
State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Contractor (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

4. Working on the Affected Property

This part of the Service Information addresses constraints, facilities, services and rules applicable to the Contractor whilst he is doing work on the Affected Property. 

a. Employer’s site entry and security control, permits, and site regulations
The Supplier must get Temporary Gate Pass for the duration of the Contract as soon as they      attended Safety Induction.
b.  People restrictions, hours of work, conduct and records

Restrictions and hours of work may apply on some sites.  It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  State that the Service Manager shall have access to them at any time.  These records may be needed when assessing compensation events.

c.  Health and safety facilities on the Affected Property

If any Incident happens the Contractor must send the injured to the Medical Centre for Treatment and inform the Employer.

d.  Environmental controls, fauna & flora

All spillages during delivery and dosing must be reported to the Employer immediately. The Contractor must respond to any chemical spillages which occurs in his/her absence within 24 hours of the incident. 

e.  Cooperating with and obtaining acceptance of Others

This sub-paragraph could be used to deal with two issues. 

1) The cross reference from core clause 25.1 about cooperation generally as well as details about Others with whom the Contractor may be required to share the Affected Property. See clause 11.2(9) for the definition of Others. 

2) Requirements for liaison with and acceptance from statutory authorities or inspection agencies.

f.  Records of Contractor’s Equipment
This sub-paragraph is intended to address how records are to be kept of Equipment on Site including whether it is owned or hired.  Include any constraints about scaffolding, rigs, heavy lifts and cranes, including removal from the Affected Property. 

g.  Equipment provided by the Employer
Provide details of equipment (e.g. overhead cranes) made available for use by the employer and set out conditions relating thereto.

h.  Site services and facilities
i. Provided by the Employer
a) The Employer will arrange an access permit to Hendrina’s site for the Supplier’s personnel.

b) The Employer’s medical centre and facilities will be available for any minor and/ or major injuries to the Supplier’s personnel, during execution of his/her duties.

c) The Supplier will have access to the Employer’s staff in order to provide service.

d) The Employer will provide access to: electricity and water.

ii. Provided by the Contractor
The Supplier must provide his/her employees with appropriate PPE for execution of his/her duties

i.  Control of noise, dust, water and waste 

The Supplier must provide his/her employees with appropriate PPE for execution of his/her duties i.e. Hardheads, Ear protection, overalls, goggles, face shields, gloves and etc..

j. Hook ups to existing works

  Harness to be used when working at heights (climbing bio-filters, pre-settling tanks)     

k. Tests and inspections

i. Description of tests and inspections
Contract supervisor will verify the calibration, availability and reliability of the instruments with the contractor.

ii. Materials facilities and samples for tests and inspections 
State what materials facilities and samples for tests and inspections the Contractor and the Employer are to provide, per core clause 40.2.

5. List of drawings

a.  Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Annexture A: X17 Low Service Damaged
	Service Description
	Value of Low Service Damages
	Limit of Low Service Damage

	The supplier shall respond within a 24-hour turnaround time when called out for repairs.
	The supplier responds two or more hours later that the agreed time – 5% will be deducted from the total amount on the Task Order.
	

	The supplier is responsible for providing chemicals that are not expired and have a remaining shelf life of at least 12 months from the date of delivery
	The supplier provides chemicals that expire within 12 months of the delivery of the chemicals. – 10% will be deducted from the total amount on the Task Order.


	

	The Supplier must provide qualified and certified personnel for all service requests, ensuring that they possess the necessary skills, training, and expertise to complete work effectively by providing a competency certificate and cv of the service technician/engineer.


	Service technician/engineer/ Instrument Tech does not have the required qualifications and skill as stipulated on the contract – 10% will be deducted from the Task Order
	

	After calibration the instrument must maintain its accuracy and reliability for at least 12 months, ensuring continuous readiness for use.


	Instrument breakdown after 4 months or less after service and calibration – 10% will be deducted from the total amount on the Task Order.

Instrument breakdown after 6 months after of service and calibration – 7% will be deducted from the total amount on the Task Order.

Instrument breakdown after 10 months after calibration – 5% will be deducted from the total amount on the Task Order.
	


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: 
PAGE 1
C2 TSC3 Cover

