{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":96,"n_cols":4,"rows_kept":96,"merged":[[1,0,7,0],[1,1,7,1],[8,0,19,0],[8,1,19,1],[20,0,31,0],[20,1,31,1],[32,0,34,0],[32,1,34,1],[35,0,46,0],[35,1,46,1],[47,0,49,0],[47,1,49,1],[50,0,64,0],[50,1,64,1],[65,0,79,0],[65,1,79,1],[80,0,94,0],[80,1,94,1]]}
["Station","Technology","Scope per outage","Commitment"]
["Arnot","ABB/BBC","Main Turbine Brg 1"]
[null,null,"Main Turbine Brg 2"]
[null,null,"Main Turbine Brg 3"]
[null,null,"MOP Brg 1-6"]
[null,null,"CEP Brgs DE & NDE"]
[null,null,"Thrust Pads Brg#2"]
[null,null,"Surge pads Brg #1"]
["Camden","Siemens","Bearing 1"]
[null,null,"Bearing 2"]
[null,null,"Bearing3"]
[null,null,"Bearing 4"]
[null,null,"Bearing 5"]
[null,null,"Bearing 6"]
[null,null,"Bearing 7"]
[null,null,"CEP Bearings "]
[null,null,"CW Bearings"]
[null,null,"CEP Pads "]
[null,null,"CW Pads"]
[null,null,"H2 seals DE & NDE"]
["Hendrina","SIEMENS","H2 seals DE & NDE"]
[null,null,"Bearing 1"]
[null,null,"Bearing 2"]
[null,null,"Bearing3"]
[null,null,"Bearing 4"]
[null,null,"Bearing 5"]
[null,null,"Bearing 6"]
[null,null,"Exciter bearings"]
[null,null,"Bfpt bearings"]
[null,null,"MOP Bearings"]
[null,null,"Main Turbine pads"]
[null,null,"BFPT Pads"]
["Koeberg",null,"Gen bearings"]
[null,null,"LP bearings"]
[null,null,"HP bearing"]
["Kendal","SIEMENS","Kendal Brg 3"]
[null,null,"Kendal Brg4"]
[null,null,"Kendal Brg 5"]
[null,null,"Kendal Brg 6"]
[null,null,"Kendal Brg 7"]
[null,null,"Kendal Brg 8"]
[null,null,"Kendal Brg 1"]
[null,null,"Kendal Brg 2"]
[null,null,"H2 seals DE & NDE"]
[null,null,"CEP Bearings "]
[null,null,"GT Bearings"]
[null,null,"Main turbine Pads"]
["Kriel","ABB/BBC","Main Turbine Brg 1"]
[null,null,"Main Turbine Brg 2"]
[null,null,"Main Turbine Brg 3"]
["Lethabo ","MAN","Bearing 1"]
[null,null,"Bearing 2"]
[null,null,"Bearing 3"]
[null,null,"Bearing 4"]
[null,null,"Bearing 5"]
[null,null,"Bearing 6"]
[null,null,"Bearing 7"]
[null,null,"Bearing 8"]
[null,null,"Bearing 9"]
[null,null,"Bearing 10"]
[null,null,"CW Bearings "]
[null,null,"CW Pads"]
[null,null,"Main turbine Pads"]
[null,null,"BFPT bearings"]
[null,null,"BFPT Pads"]
["Matla","MAN","Bearing 1"]
[null,null,"Bearing 2"]
[null,null,"Bearing 3"]
[null,null,"Bearing 4"]
[null,null,"Bearing 5"]
[null,null,"Bearing 6"]
[null,null,"Bearing 7"]
[null,null,"Bearing 8"]
[null,null,"Bearing 9"]
[null,null,"Bearing 10"]
[null,null,"CW Bearings "]
[null,null,"CW Pads"]
[null,null,"Main turbine Pads"]
[null,null,"BFPT bearings"]
[null,null,"BFPT Pads"]
["Matimba ","MAN","Bearing 1"]
[null,null,"Bearing 2"]
[null,null,"Bearing 3"]
[null,null,"Bearing 4"]
[null,null,"Bearing 5"]
[null,null,"Bearing 6"]
[null,null,"Bearing 7"]
[null,null,"Bearing 8"]
[null,null,"Bearing 9"]
[null,null,"Bearing 10"]
[null,null,"CW Bearings "]
[null,null,"CW Pads"]
[null,null,"Main turbine Pads"]
[null,null,"BFPT bearings"]
[null,null,"BFPT Pads"]
[null,null,"GRAND TOTAL"]