# 1

ARC INFRUITEC - NIETVOORBIJ

Private Bag/Private X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3093. Fax: (021) 809 3400/3592

# Office of the Supply Chain Management

1.1 Description of Service: Refurbish freezer container BEHIND RAISIN LAB FOR FACILITIES DEPARTMENT (ON BEHALF OF Viticulture and Plant Protection)

Background:

Samples for Viticulture and plant protection projects need to be stored at minus 20 °C. Some of the hardware inside the unit are falling off due to rust. The freezer facilities in the smaller refrigerators are not sufficient to store raisins, grape samples as well as juice samples. This unit provides a valuable storage space for viticulture winegrape projects, table grape projects, as well as the national asset, the gene bank. Grapes from the gene bank are evaluated and samples need to be stored for biochemical analyses.

SPECIFICATIONS FOR REFURBISHMENT OF FREEZER CONTAINER REQUIRED:

| SPECIFICATION | Comply with specification. Please indicate (Yes or No) |  |  |
| --- | --- | --- | --- |
|  | Yes | No | If no, indicate deviation |
| Refurbishment of a freezer container according to the following specifications, characteristics and performance similar to or better than the specs below: |  |  |  |
| Remove existing evaporator coil (inside) and replace unit |  |  |  |
| Remove all shelving and clean or replace (indicate action) |  |  |  |
| Remove old wall panels on the inside and replace with chromadek paneling (walls 150 mm ceiling 150mm) |  |  |  |
| Repair rust on inside and outside |  |  |  |
| Service of condensing unit (outside) |  |  |  |
| Rerun condensate drain with new heater tape and insulation |  |  |  |
| Replace door gasket |  |  |  |
| Replace filter/dryer |  |  |  |
| Recommission unit |  |  |  |
| One year guarantee on workmanship and equipment |  |  |  |
| Install a light |  |  |  |
| GENERAL CONDITIONS FOR THE PURCHASE ORDER AGREEMENT |  |  |  |
| A Site visit is mandatory on 29/11/2021 at 10:00 |  |  |  |
| Supply technical backup service of qualified technicians and to supply maintenance in the Western Cape. |  |  |  |
| Service shall be delivered to the Facilities Department, Nietvoorbij Campus, ARC Infruitec-Nietvoorbij |  |  |  |

1.2 PRICING SCHEDULE FOR THE REFURBISHMENT FREEZER CONTAINER

| Item description | QTY | Unit price | Total Price |
| --- | --- | --- | --- |
| - Refurbishment of a freezer container (include rubble removal) | 1 |  |  |
| Other: Delivery | 1 |  |  |
| SUBTOTAL |  |  |  |
| VAT |  |  |  |
| GRANDTOTAL |  |  |  |

Delivery Address:  ARC Infruitec Nietvoorbij, Klapmutsroad, Stellenbosch

Supplier’s Details: ……………………………………………………………………..

Company Name:  ……………………………………………………………………….

Contact person:  …………………………………………………………………………

Contact number:  ……………………………………………………………………….

Date & Signature:  ………………………………………………………………………

Contact: Ms Christoline Beyers BeyersC@arc.agric.za , 021 809 3392 / Mr David Kloppers 021 809 3431 KloppersD@arc.agric.za Facilities Division (on Behalf of Viticulture Division)

NB: Bidders must complete the TABLE below as per the commitment of the RFQ.

AGREE WITH THE ABOVE SPECIFICATION: We the undersigned submit this RFQ in accordance with the conditions contained in the referenced above RFQ document and attach the documents required:

Bidders representative:…………………………………………………………………….

Capacity:………………………………………………………………………………………

Date and Signature:…………………………………………………………………………

| DISAGREE WITH THE ABOVE SPECIFICATION: |  |  |
| --- | --- | --- |
| PAGE NUMBER | CLAUSE NUMBER | DEVIATION |
| Bidders representative and Capacity ………………………………………………………………………….. |  |  |
| Date and signature ………………………………………………………………………………………………………………………… |  |  |

  - EVALUATION PROCESS & CRITERIA STAGE ONE FOR REFURBISHMENT OF FREEZER CONTAINER REQUIRED

ADMINISTRATIVE COMPLIANCE EVALUATION OF ALL PROPOSALS

|  | Comply with specification. Please indicate (Yes or No) |  |  |
| --- | --- | --- | --- |
|  | Yes | No | If no, indicate deviation |
| EVALUATION PROCESS: NB: It must be noted that ARC reserve the rights to request for clarification if all the below questions are not answered properly. |  |  |  |
| STAGE ONE: ADMINISTRATION COMPLIANCE |  |  |  |
| All suppliers are duly lodged will be examined to determine compliance with quoting requirements and conditions. Quotes with obvious deviations from the requirements/conditions, will be eliminated or disqualified from further adjudication. - Mandatory Quotes will only be compliant if supplier has submitted the following documents: |  |  |  |
| Administrative documents - According to National Treasury SCM Instruction number 4 of 2016/2017, only suppliers who are registered on Central Supplier Database (CSD) may be appointed. Suppliers is therefore encourage to register their entities on CSD, www.csd.gov.za and such information will be verified through Central Supply Database (CSD); |  |  |  |
| - All SBD documents must be submitted and completed; |  |  |  |
| - Non-Mandatory - Valid B-BBEE certificate or sworn affidavit certify by commissioner of oaths. |  |  |  |