eskom holdings SOC ltd

Contract No. _________
contract titleTHE SUPPLY AND DELIVERY OF DUST HANDLING PLANT SPARES ON AN "AS AND WHEN" REQUIRED BASIS FOR A PERIOD OF FIVE (5) YEARS AT KRIEL POWER STATION.



Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	This cover page

Pricing assumptions
	1
2

	C2.2
	The price schedule 
	17


C2.1 Pricing assumptions
1. How goods and services are priced and assessed for payment
Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.


	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is
· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,
· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.
2. Function of the Price Schedule
Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  
3. Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 
· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;
· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
3.1. Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.
If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	SUPPLY AND DELIVERY OF DUST HANDLING PLANT SPARES ON AN "AS AND WHEN" REQUIRED BASIS AT KRIEL POWER STATION FOR A PERIOD OF FIVE YEARS

	Item No
	Description
	Stock No
	Unit
	Qty
	Rate 
	Amount

	MACAWBER PLANT

	1
	CASTING: TYPE: DOME; DIMENSIONS: ID 100 X OD 250 X THK 115 MM; MATERIAL: CI; SUPPL P/N: P16789A-00; REFERENCE NO: SC 3291-0233-101; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69376
	Each 
	25
	 
	 

	2
	JOINT, EXPANSION: SIZE: 300 MM; LENGTH: 130 MM; CONNECTION: FLANGE FF; MATERIAL: RUBBER; SUPPL P/N: 10-16; DUST HANDLING PLANT; ELEFLEX RED BAND COMPENSATOR; COMPLETE WITH FLOATING MS FLANGES TO BS4504 TABLE 10/3; HOLES TO BE TAP M20; MOVEMENT FLEXIBLE
	54503
	Each 
	200
	 
	 

	3
	VALVE, BALL: VALVE SIZE: 1 IN; CONNECTION: BSP; BODY MATERIAL: STAINLESS STEEL; GRADE: 316; TYPE: DLM ONE PIECE BAR STOCK
	179544
	Each 
	360
	 
	 

	4
	VALVE, BALL: VALVE SIZE: 40 MM; DESIGN RATING: 5; TEMPERATURE RATING: 10-80 DEG C; CONNECTION: 1-1/2 IN-NPT; BODY MATERIAL: CI; FACE TO FACE LENGTH: 164 MM; OPERATED: MANUAL; APPLICATION: BLOWPOTS
	622607
	Each 
	360
	 
	 

	5
	VALVE, CHECK: VALVE SIZE: 4 IN; DESIGN RATING: 25 BAR; TEMPERATURE RATING: 12 BAR AT 110 DEG C; CONNECTION: BSP; BODY MATERIAL: BRASS; FACE TO FACE LENGTH: 160 MM; OPERATED: SPRING; TRIM: DISC BRS; SEAT RUBBER; SPRING SS; SUPPL P/N: EUR0PA4; TYPE ITAP; FOR DRY DUST PLANT
	69894
	Each 
	250
	 
	 

	6
	VALVE, CHECK: VALVE SIZE: 2 IN; DESIGN RATING: 25 BAR; TEMPERATURE RATING: 110 DEG C; CONNECTION: BSP; BODY MATERIAL: BRASS; FACE TO FACE LENGTH: 100 MM; OPERATED: SPRING; TRIM: DISC BRS; SPRING SS; SOFTGOODS: SEAT RUBBER; SUPPL P/N: EUR0PA2; ITAP; FOR DRY DUST PLANT
	69893
	Each 
	200
	 
	 

	7
	LUBRICATOR: TYPE: AIR FILTER IN LINE; CONNECTION: THD; CAPACITY: 37 DM3/S; MATERIAL: STL; PRESSURE RATING: 17 BAR; TYPE 64 SERIES SET WITH A BL64-408 BOX SET WHICH INCLUDE DOUBLE YOKE, AUTO DRAIN METAL BOWL, MICRO FOG, BRACKET KIT AND SHUT OFF VALVE, OPERATIONAL TEMPERATURE -20 TO 80 DEG C AND MAXIMUM FLOW AT 10BAR, TO BE USED AT DRY DUST PRECIPITATORS
	229243
	Each 
	200
	 
	 

	8
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 7 BAR; COMPLETE WITH LIMIT SWITCH ASSEMBLY; FOR DUST INLET VALVE; TYPE KINETROL 140-100; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	66552
	Each 
	150
	 
	 

	9
	KIT, ACTUATOR REPAIR: TYPE: SOFTGOODS; APPLICATION: ACTUATOR PNEUMATIC; COMPRISING: LIP SEAL; MODEL NO: 140-104
	97768
	Each 
	150
	 
	 

	10
	VALVE: TYPE: CHANGE OVER; DESIGN RATING: 0.7-10 BAR; TEMPERATURE RATING: 5-75 DEG C; CONNECTION: 1/4 IN-FBSP; OPERATED: AIR; BODY MATERIAL: BRASS; STYLE: 3 PORT; 2 POSITION; SUPPL P/N: S/1340/14
	70731
	Each 
	100
	 
	 

	11
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 50 MM; DESIGN RATING: 980 PA; TEMPERATURE RATING: -10 TO 80 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CI; OPERATED: HANDWHEEL; TRIM: DISC CR GR 45 HF; SEAT SS GR 403 NBR LINED; STEM SS; FIG NO: TOMOE 700K; REFERENCE NO: 700K; LEVER OPERATED; 12 MM SQ DRIVE
	66548
	Each 
	360
	 
	 

	12
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 80 MM; DESIGN RATING: 980 KPA; TEMPERATURE RATING: -10 TO 80 DEG C; BODY MATERIAL: CI; OPERATED: HANDWHEEL; TRIM: DISC SS; SEAT NBR; SUPPL P/N: 700KNBR; NOTE TOMOE BRAND ONLY
	66556
	Each 
	250
	 
	 

	13
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 150 MM; DESIGN RATING: 1 MPA; TEMPERATURE RATING: -10 TO 100 DEG C; CONNECTION: CLAMP; BODY MATERIAL: FCD450; OPERATED: LEVER; TRIM: DISC SS GR 316; SOFTGOODS: EPDM; MODEL NO: 615X; REFERENCE NO: 150615X6S
	70596
	Each 
	150
	 
	 

	14
	VALVE, DIAPHRAGM: VALVE SIZE: 25 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 225 LB AT 80 DEG F; CONNECTION: THD; BODY MATERIAL: BRZ; DIAPHRAGM MATERIAL: EPDM; NON RETURN; NORVAL; STAINLESS STEEL CONE
	70251
	Each 
	500
	 
	 

	15
	VALVE: TYPE: BLOW; VALVE SIZE: 4 IN; CONNECTION: FLANGE; OPERATED: PRESSURE, SPRING; BODY MATERIAL: STL; STYLE: 2 WAY; TRIM: SHAFT/SPRING STL; SUPPL P/N: P16583B-0; FOR DRY DUST
	69385
	Each 
	100
	 
	 

	16
	KIT, VALVE REPAIR: REFERENCE NO: P16581P; FOR BLOW SIZE 4 INCH, TYPE SC3291/0233/89, CONSIST OF: 2 X ALUMINIUM SEALING RINGS 138MM OD X 5.5MM WIDE X 0.3MM THICK; 1 X O RING 107MM OD X 10MM THICK; 1 X O RING 128MM OD X 3.5MM THICK; 1 X CILINDER SEAL SQUARE 127MM OD X 113MM ID X 7MM WIDE; 2 X SHAFT SEALS 40MM OD X 30MM ID X 5MM WIDE; 5 X NYLOC NUTS M16 X 2MM PITCH; 1 X COMPRESSION SPRING 95MM OD X 150MM HIGH X 9MM WIRE DIAMETER
	69387
	Each 
	100
	 
	 

	17
	VALVE: TYPE: BLOW; VALVE SIZE: 2 IN; CONNECTION: FLANGE; OPERATED: SPRING; BODY MATERIAL: STL; STYLE: CAP BOLTED; TRIM: DISC BRS; SPINDLE SS; SUPPL P/N: P4348B; REFERENCE NO: P4239A-2; X789; FOR MACAWBER PLANT; FLANGE DIA 155MM; 4 X 20MM HOLES DRILLED; 115MM PCD
	69384
	Each 
	100
	 
	 

	18
	KIT, VALVE REPAIR: REFERENCE NO: SC3291/0233/91; P4348B; 2 INCH BLOW, CONSIST OF: 1 X O RING 93MM OD X 3.4MM THICK, 1 X O RING 80MM OD X 3.5MM THICK, 1 X O RING 70MM X OD 6.0MM THICK, 1 X O RING 54.5MM X 5.2MM THICK, 2 X SHAFT SEALS 33MM OD X 25MM ID X 5.7MM WIDE, 1 X COMPRESSION SPRING 26.6MM OD X 166MM HIGH X 2.6MM WIRE DIAMETER, 1 X COMPRESSION SPRING 10MM OD X 162.5MM HIGH X 1.7MM WIRE DIAMETER
	69386
	Each 
	200
	 
	 

	19
	VALVE: TYPE: DOME; VALVE SIZE: 300 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; SUPPL P/N: P16612A; REFERENCE NO: SC3291-0233-81; OPARATED: ACTUATOR KINETROL COMPLETED WITH BRACKED
	69382
	Each 
	450
	 
	 

	20
	KIT, VALVE REPAIR: SUPPL P/N: M1298; REFERENCE NO: M1202; M1299; P3721C; P8013D; 300MM DOME CONSISTING OF: 2 BEARINGS; 4 VARI SEALS; 2 O RINGS; 2 V SEALS; 4 SEAL RETAING RINGS; NOTE - MUST BE PACKED AND SEALED PER KIT
	100113
	Each 
	200
	 
	 

	21
	DOME: TYPE: VALVE; DIMENSIONS: DIA 300 MM; MATERIAL: STL; REFERENCE NO: P2401A00; TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69363
	Each 
	150
	 
	 

	22
	RING: TYPE: INSERT; INSIDE DIAMETER: 335 MM; OUTSIDE DIAMETER: 378 MM; WIDTH: 20 MM; MATERIAL: STL; REFERENCE NO: P1825C-00; FOR 300MM DOME VALVE; TYPE SIMON CARVES
	113200
	Each 
	150
	 
	 

	23
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 363 MM; OUTSIDE DIAMETER: 440 MM; WIDTH: 30 MM; MATERIAL: STL; REFERENCE NO: P1824B-00; FOR 300MM DOME VALVE SIMON CARVES
	113196
	Each 
	150
	 
	 

	24
	VALVE, CHECK: TYPE: DIAPHRAGM; VALVE SIZE: 50 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 50 DEG C; CONNECTION: FLANGE; BODY MATERIAL: DI; FACE TO FACE LENGTH: 218 MM; OPERATED: NON OPERATED; SOFTGOODS: DIAPHRAGM EPDM; APPLICATION: DHP BLOWTANK NRV; GRADE: ASTM A126 CL B; NON RETURN VALVE.
	608642
	Each 
	50
	 
	 

	25
	VALVE, CHECK: TYPE: DIAPHRAGM; NON RETURN; VALVE SIZE: 80 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 50 DEG C; CONNECTION: FLANGE; BODY MATERIAL: DUCTILE IRON ASTMA 126 CLASS B; FACE TO FACE LENGTH: 280 MM; OPERATED: NON OPERATED; SOFTGOODS: DIAPHRAG
	608641
	Each 
	15
	 
	 

	26
	SEAL: TYPE: INSERT; DIMENSIONS: ID 315 X OD 405 X THK 44 MM; MATERIAL: RUBBER; SUPPL P/N: 1826C-2; REFERENCE NO: 3291/0233/103; FOR 300MM DOME VALVE, FOR NEW DRY DUST PLANT
	100102
	Each 
	750
	 
	 

	27
	PLATE: TYPE: TOP; DIMENSIONS: ID 295 X OD 555 X THK 60 MM; MATERIAL: STL; REFERENCE NO: P1823B; FOR 300MM DOME VALVE
	70259
	Each 
	150
	 
	 

	28
	VALVE: TYPE: DOME; VALVE SIZE: 200 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; TRIM: DOME SS; SUPPL P/N: P16613A; REFERENCE NO: SC3291/0233/82; ASSEMBLY; TYPE SIMON CARVES
	69381
	Each 
	200
	 
	 

	29
	VALVE, RELIEF: VALVE SIZE: 200 MM; SET PRESSURE: 16 BAR; TEMPERATURE RATING: -20 TO 100 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CI; TRIM: BODY-CI; SEALS-NEOPRENE; FACE TO FACE LENGTH: 206 MM; OPERATED: PNEUMATIC ACTUATOR; SPECIFICATION: DV200; APPLICATION: DRY DUST BLOW TANK; GRADE: BS4504; TABLE 6; SOFTGOODS: NEOPRENE SEAL; DESIGN RATING: 60 MPA; PRESSURE RANGE: 30-400 BAR; MANUF P/N: 001.9112; MODEL NO: TOCO; TYPE: DOME ASSEMBLY; MEDIUM: AIR; COMPLETE WITH ACTUATOR AND TOP ADAPTOR
	578892
	Each 
	75
	 
	 

	30
	SHAFT: TYPE: MAIN; LENGTH: 285 MM; MATERIAL: STL; APPLICATION: DUST HANDLING; SPECIFICATION: BS 970; END 1 SIZE: 70 MM; END 2 SIZE: 70 MM; MANUF P/N: ST1406-00-010; DRAWING NO: 001.0138 REV 0; DV300; 431529; END 1 SIZE TOLERANCE H6; END 2 SIZE TOLERANCE H7
	611833
	Each 
	110
	 
	 

	31
	KIT, VALVE REPAIR: REFERENCE NO: M1171M1008P8011D; 200MM DOME CONSISTING OF: 2 BEARINGS PART NUMBER P8011D; 4 VARI SEALS PART NUMBER M1171; 2 O RINGS PART NUMBER M1162; 2 V SEALS PART NUMBER M1008; 4 SEAL RETAING RINGS PART NUMBER P2147C; NOTE - MUST BE PACKED AND SEALED
	100101
	Each 
	200
	 
	 

	32
	RING: TYPE: VALVE INSERT; INSIDE DIAMETER: 226 MM; OUTSIDE DIAMETER: 258 MM; WIDTH: 15 MM; MATERIAL: STL; REFERENCE NO: P1643AA; FOR 200MM DOME VALVE, SIMON CARVES
	113195
	Each 
	300
	 
	 

	33
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 248 MM; OUTSIDE DIAMETER: 330 MM; WIDTH: 21 MM; MATERIAL: STL; SUPPL P/N: P1643A-B; FOR 200MM DOME VALVE
	113199
	Each 
	150
	 
	 

	34
	CASTING: TYPE: DOME VALVE; DIMENSIONS: 250 MM; MATERIAL: CI; REFERENCE NO: P1158B-00; 3291/0233/115; FOR 200 MM VALVE; NOTE: TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69364
	Each 
	150
	 
	 

	35
	SEAL: TYPE: INSERT; DIMENSIONS: ID 235 X OD 275 X THK 32 MM; MATERIAL: RUBBER; SUPPL P/N: P5524C-01; REFERENCE NO: 3291/0233/112; FOR 200MM DOME VALVE, FOR NEW DRY DUST PLANT
	100110
	Each 
	300
	 
	 

	36
	CASTING: TYPE: DOME; DIMENSIONS: DIA 200 X HT 130 MM; MATERIAL: CI; SUPPL P/N: P16793B; INLINE WITHOUT SEAL; FOR VALVE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69378
	Each 
	200
	 
	 

	37
	VALVE: TYPE: DOME; VALVE SIZE: 150 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; REFERENCE NO: P16614A; SC3291/0233/83; ASSEMBLY; SIMON CARVES
	69380
	Each 
	80
	 
	 

	38
	KIT, VALVE REPAIR: REFERENCE NO: M1365M1346P4673E; 150MM DOME CONSISTING OF: 2 BEARINGS PART NUMBER P8010D; 4 VARI SEALS PART NUMBER M1365; 2 O RINGS PART NUMBER M2085; 2 V SEALS PART NUMBER M1346; 4 SEAL RETAING RINGS PART NUMBER P5406D-02; NOTE - MUST BE PACKED AND SEALED
	100114
	Each 
	200
	 
	 

	39
	RING: TYPE: INSERT; INSIDE DIAMETER: 178 MM; OUTSIDE DIAMETER: 208 MM; WIDTH: 15.5 MM; MATERIAL: STL; REFERENCE NO: P4676AB; FOR 150MM DOME VALVE
	113194
	Each 
	200
	 
	 

	40
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 198 MM; OUTSIDE DIAMETER: 255.8 MM; WIDTH: 21 MM; MATERIAL: STL; REFERENCE NO: P4676A-C; FOR 150MM DOME VALVE, TYPE SIMON CARVES
	113198
	Each 
	200
	 
	 

	41
	CASTING: TYPE: DOME; DIMENSIONS: DIA 200 MM; MATERIAL: STL; REFERENCE NO: P4677B-00; FOR 150MM VALVE, NOTE TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69365
	Each 
	150
	 
	 

	42
	SEAL, RING: TYPE: DOME VALVE INSERT; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 225 MM; THICKNESS: 30 MM; MATERIAL: RUBBER; SUPPL P/N: P4665B; REFERENCE NO: SC 3291/0233/122; FOR 150MM DOME VALVE, NEW DRY DUST PLANT
	100111
	Each 
	300
	 
	 

	43
	CASTING: TYPE: DOME; DIMENSIONS: DIA 150 X WD 120 MM; MATERIAL: CI; SUPPL P/N: P16791A-00; REFERENCE NO: SC 3291-023399; TYPE: TOP ADAPTOR; SIZE: 150 MM DIA X 120 MM WD; FOR VALVE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69377
	Each 
	100
	 
	 

	44
	VALVE: TYPE: DOME; VALVE SIZE: 100 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; TRIM: BONNET CI; DOME STL; REFERENCE NO: SC3291/0233/84; P16615A; ASSEMBLY
	69379
	Each 
	100
	 
	 

	45
	KIT, VALVE REPAIR: REFERENCE NO: M1243M1006P3884E; 100MM DOME, CONSISTING OF: 2 BEARINGS PART NUMBER P3884E, 4 VARI SEALS PART NUMBER M1243, 2 O RINGS PART NUMBER M1242, 2 V SEAL PART NUMBER M1006, 4 SEAL RETAING RINGS PART NUMBER P2728C, NOTE - MUST BE PACKED AND SEAL
	100115
	Each 
	200
	 
	 

	46
	RING: TYPE: INSERT; INSIDE DIAMETER: 126.5 MM; OUTSIDE DIAMETER: 156 MM; WIDTH: 25 MM; MATERIAL: STL; REFERENCE NO: P1644BA; FOR 100MM DOME VALVE, SIMON CARVES
	113193
	Each 
	200
	 
	 

	47
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 146 MM; OUTSIDE DIAMETER: 198 MM; WIDTH: 21 MM; MATERIAL: STL; REFERENCE NO: P1644BB; FOR 100MM DOME VALVE, SIMON CARVES
	113197
	Each 
	200
	 
	 

	48
	CASTING: DIMENSIONS: DIA 155 MM; MATERIAL: STL; REFERENCE NO: P1165C; FOR 100MM DOME VALVE, NOTE DOME TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69366
	Each 
	200
	 
	 

	49
	SEAL: TYPE: INSERT; DIMENSIONS: ID 112 X OD 175 X THK 32 MM; MATERIAL: RUBBER; SUPPL P/N: P1586C-01; FOR 100MM DOME VALVE, SIMON CARVE
	100112
	Each 
	200
	 
	 

	50
	VESSEL: TYPE: ASH; MATERIAL: STL; REFERENCE NO: P16571A; 3291/0233/80; SIZE 1-5/12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38851
	Each 
	50
	 
	 

	51
	VESSEL: TYPE: ASH; MATERIAL: STL; SUPPL P/N: P16570A; REFERENCE NO: 3291/0233/79; TYPE SIMON CARVES; SIZE: 7/12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38850
	Each 
	50
	 
	 

	52
	CONTAINER: TYPE: ASH; DIMENSIONS: 12/12; MATERIAL: STL; REFERENCE NO: 3291/0233/78; P16569A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38849
	Each 
	50
	 
	 

	53
	BEND, PIPE: OUTSIDE DIAMETER: 100 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; REFERENCE NO: P16768C; S.C.NO:-3291/0233/87 FOR NEW DRY DUST PLANT
	58985
	Each 
	300
	 
	 

	54
	BEND, PIPE: OUTSIDE DIAMETER: 150 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; REFERENCE NO: P16768C; SC NO:- 3291/0233/86 FOR NEW DRY DUST PLANT
	58986
	Each 
	300
	 
	 

	55
	BEND, PIPE: OUTSIDE DIAMETER: 200 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; SUPPL P/N: P16568C; SC NUMBER 3291/0233/85; FOR NEW DRY DUST PLANT
	58987
	Each 
	240
	 
	 

	56
	SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: CORK/NEOPRENE; REFERENCE NO: GR53; IMPREGNATED; NEOLONGITE GRADE 53 COMPOSITION
	94320
	Each 
	300
	 
	 

	57
	SHEET, GASKET: THICKNESS: 6.5 MM; LENGTH: 1.27 M; WIDTH: 660 MM; MATERIAL: CORK NEOPRENE IMPREGNATED; GRADE: 53
	94322
	Each 
	300
	 
	 

	TRANSFER SILO

	58
	FAN: TYPE: REVERSED; DIMENSIONS: WD 980 MM X LG 1.125 M X HT 960 MM; VOLUME RATING: 120 M3/MIN; REFERENCE NO: 14313; TOTAL PRESSURE 2.1 PA; ABSORBED POWER 6.15KW; EFFICIENCY 73%; BOLTED INSPECTION DOOR; BASE IN CARBON STEEL SECTION BARS WITH VIBRATORS
	611875
	Each 
	15
	 
	 

	59
	V BELT SET: NUMBER OF BELTS: 3; TOP WIDTH: 13 MM; OUTSIDE CIRCUMFERENCE: 1.9 M; SUPPL P/N: SPA13NX1900; TO BE BUNDLED AND MARKED, THICKNESS: 10MM, MATCHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	28677
	Each 
	200
	 
	 

	60
	VALVE, RELIEF: VALVE SIZE: 250 MM; SET PRESSURE: -33 TO 33 MBAR; TEMPERATURE RATING: 100 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CS; FACE TO FACE LENGTH: FLAP; OPERATED: PRESSURE SWING; ORIFICE SIZE: 10 MM; SPECIFICATION: PROTEGO VD/SV-250; DESIGN RATING: 33 MBAR; PRESSURE RANGE: -33 TO 33 MBAR; FLOW CAPACITY AT DESIGN PRESSURE: 800 M3/HR; ALL FLOW RATES EXPRESSED IN 20 DEG C AIR; SUPPLY WITH 3.1 CERTIFICATE AND WITH CALIBRATION CERTIFICATE; DIN EN 1092-1; PN10 FORM B1; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571
	622612
	Each 
	60
	 
	 

	61
	STRAINER, PIPING: TYPE: Y; DIMENSIONS: DIA 51 X LG 70 MM; PRESSURE RATING: 12 BAR; MATERIAL: SS GR 316; CONNECTION: NPT 1/4 IN; MICRON: 800; MESH: 100 MM; SPECIFICATION: BS 4504; SUPPL P/N: 16HP
	622610
	Each 
	200
	 
	 

	62
	DRYER: TYPE: COMPRESSED; MANUF P/N: A-DRY-60; HEATLESS ADSORPTION COMPRESSED AIR DRYER; FOR USE ON THE TRANSFER SILO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	611928
	Each 
	5
	 
	 

	63
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 10 BAR; MODEL NO: AT05DA - F04-11; REFERENCE NO: E29-409; DOUBLE ACTION TTV; DN02-40-50MM COMPLETE WITH 50MM TTV BUTTERFLY VALVE; AIR TORQUE; FOR INLET ON DRY DUST BLOW TANK; TTV 50MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	66549
	Each 
	50
	 
	 

	64
	HOUSING, BEARING UNIT: TYPE: PLUMMER BLOCK; BORE: 150 MM; MATERIAL: CI; SUPPL P/N: SD3140; PLUMMER BLOCK WITHOUT BEARING; PART NO: SD3134; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	34576
	Each 
	50
	 
	 

	65
	PLUG, FUSIBLE: CORE MATERIAL: STEEL; SIZE: 18 MM; TEMPERATURE RATING: 160 DEG C; TYPE: UNIVERSAL; HEXAGON AND ALLEN KEY HEAD COMBINED; WITH SEALING RING FOR VOITH COUPLING 422.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	39247
	Each
	80
	 
	 

	66
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 1-10 BAR; TRAVEL: 1/4 TURN; MODEL NO: C 60 DA; FOR DRY DUST PLANT AT TRANSFER SILO OUTLET VALVE; SIZE 300MM OKUMURA BUTTERFLY VALVE; SUPPLY MOUNTING KIDS STAINLESS STEEL TO FIT ON VALVE; TYPE: DOUBLE ACTING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	220838
	Each 
	50
	 
	 

	67
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 300 MM; DESIGN RATING: 980 KPA; TEMPERATURE RATING: 0-120 DEG C; CONNECTION: FLANGE; OPERATED: HANDWHEEL, GEARBOX; TRIM: SCS13; DISC SS; SEAT EPDM; GRADE: FC250; MODEL NO: 615X; REFERENCE NO: 300615XGO4S
	66374
	Each 
	50
	 
	 

	68
	DEFLECTOR: TYPE: PLATE; DIMENSIONS: WD 300 X LG 590 X HT 335 MM; MATERIAL: CI; APPLICATION: DOME VALVE 200 MM; SUPPL P/N: P16633A; REFERENCE NO: SC3291/0233/94; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	36270
	Each 
	50
	 
	 

	69
	DEFLECTOR: TYPE: PLATE; DIMENSIONS: WD 185 X LG 270 X HT 175 MM; MATERIAL: CI; SUPPL P/N: P2183A; REFERENCE NO: 3291/0233/96; SIZE 100MM; FOR NEW DRY DUST PLANT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	36269
	Each 
	200
	 
	 

	BLOW TANK

	70
	DISC: TYPE: BOTTOM FLUIDIZING; DIMENSIONS: DIA 1.245 M; MATERIAL: STL; DRAWING NO: 190384 REV 1; 190384 REV C REV 1; FOR DRY DUST PNEUMATIC PLANT, TO ESKOM
	38537
	Each 
	50
	 
	 

	71
	JOINT, EXPANSION: TYPE: BELLOWS; SIZE: 17 MM; LENGTH: 18 MM; CONNECTION: FLANGE; MATERIAL: EPDM; DESIGN RATING: 10 BAR; APPLICATION: DUST HANDLING PLANT; FACE TO FACE LENGTH: 130 MM; PCD: 160 MM; HOLE: 8; HOLE DIA: M12; FLANGE MATERIAL: MS
	576017
	Each 
	100
	 
	 

	72
	COMPENSATOR: TYPE: AXIAL; REFERENCE NO: 307-221; NB 200; ND 16; LG 400MM; COMPRISING CONVOLUTION 11.212; INTERNAL SLEEVE MATERIAL SS 321; PIPE ENDS AND FLANGES TO BS 4504 TABLE 10/3 MS
	54504
	Each 
	100
	 
	 

	73
	DIAPHRAGM, VALVE: MATERIAL: EPDM; VALVE SIZE: 80 MM; FIG NO: 516; FOR RIENZI NON RETURN VALVE
	68012
	Each 
	70
	 
	 

	74
	DIAPHRAGM, VALVE: MATERIAL: EPDM; VALVE SIZE: 50 MM; FIG NO: 516; FOR RIENZI NON RETURN VALVE
	68013
	Each 
	50
	 
	 

	75
	VALVE, CHECK: TYPE: NON RETURN WAFER ,DUEL PLATE; VALVE SIZE: NB 100; DESIGN RATING: 16 BAR; TEMPERATURE RATING: -10 TO 100 DEG C; CONNECTION: FLANGE BS 4504, PN10 WAFER; BODY MATERIAL: DI; FACE TO FACE LENGTH: 64 MM; OPERATED: SPRING LOADED; SOFTGOODS: SEAL EPDM
	629433
	Each 
	150
	 
	 

	76
	NOZZLE: TYPE: REDUCER; SIZE: 500 MM; CONNECTION: FLANGE; MATERIAL: STEEL; DRAWING NO: WS0001 REV 1; BLOW TANK VENT PIPE, ROTEK
	58505
	Each 
	50
	 
	 

	77
	VALVE, RELIEF: VALVE SIZE: 50 MM; SET PRESSURE: 5 BAR; TEMPERATURE RATING: 232 DEG C; CONNECTION: BSP X FBSP; BODY MATERIAL: BRZ; TRIM: BRZ; OPERATED: AIR PRESSURE; DESIGN RATING: 24 BAR; PRESSURE RANGE: 0-5 BAR; REFERENCE NO: RA 2583; DLM-BAILEY BURKET POP TYPE SAFETY; COMPLETE WITH LIFTING LEVER; TO BE USED AT DRY DUST BLOW TANK UNIT 1 TO 6
	224691
	Each 
	80
	 
	 

	78
	VALVE, RELIEF: VALVE SIZE: 50 MM; SET PRESSURE: 4.8 BAR; TEMPERATURE RATING: 232 DEG C; CONNECTION: BSP X FBSP; BODY MATERIAL: BRZ; TRIM: BRZ; OPERATED: AIR PRESSURE; DESIGN RATING: 24 BAR; PRESSURE RANGE: 0-4.8 BAR; REFERENCE NO: RA 2585; DLM-BAILEY BURKET POP TYPE SAFETY VALVE, COMPLETE WITH LIFTING LEVER, TO BE USED AT DRY DUST BLOW TANK UNIT 1 TO 6
	224692
	Each 
	80
	 
	 

	79
	VALVE, GATE: VALVE SIZE: 200 MM; TYPE: KNIFE; CONNECTION: WAFER FLANGELESS; FACE TO FACE LENGTH: 68 MM; BODY MATERIAL: CI; TRIM: BLADE SS GR 316L; OPERATED: CYLINDER PNEUMATIC, DOUBLE ACTING; SOFTGOODS: VITON; STEM DESIGN: RISING SPINDLE; STYLE: PILLAR; TEMPERATURE RATING: 95 DEG C; DESIGN RATING: 600 KPA; SUPPL P/N: LDCCINWR; REFERENCE NO: LDC-CI-NWR; STAINLESS STEEL 304 L; TRIM NI-HARD WEAR RING; WITH 4 HOLES ON BOTH SIDE OF FLANGE TO BE TAPPED SIZE 20 MM; RUBBER LINED BORE; VITON MOULDED BODY SEAL; COMBINATION STUFFINGBOX AND TRANVERSE SEAL ARRANGEMENT; MOUTNING BETWEEN FLANGES TO BS450T10/3; PNEUMATIC; CYLINDER BARREL OF FIBER GLASS WITH END PLATES; TIE RODS; ADJUSTABLE CLEVIS OF 4PILLAR CONSTRUCTION OF MILD STEEL ELECTRO GALVANIZED; CYLINDER PROTECTION COVER OF PVC; CYLINDER SEAL OF NITRILE RUBBER; COMPLETE WITH 2 MOUNTING BRACKETS; WITH STRIKER ARM FOR PROXIMITY SWITCHES
	66546
	Each 
	70
	 
	 

	80
	DIVERTER: TYPE: DRY DUST; DRAWING NO: AA241 REV 0; BRANCH BALL: 200MM; 8BAR; FLANGE BS 4504; TABLE 10; 8INCH; 270 DEGREE CELCIUS; MATERIAL: ALLOY STEEL; BS 3100-BW2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	571082
	Each 
	50
	 
	 

	81
	BEND, PIPE: OUTSIDE DIAMETER: 227 MM; CONNECTION: FLANGE; MATERIAL: STL; DEGREE: 90; RADIUS: 247 MM; SPECIFICATION: BS3100-BW2; FOR DRY DUST PLANT; ID 200MM; FLANGE BS 4504
	571081
	Each 
	50
	 
	 

	82
	BEND, PIPE: OUTSIDE DIAMETER: 107 MM; CONNECTION: FLANGE; MATERIAL: BS3100-BW2; DEGREE: 90; RADIUS: 200 MM; MEDIA FOR WHICH DESIGNED: DRY DUST; DRAWING NO: AA298 REV 0; FLANGE BS4504 TABLE 10; ID: 80MM
	576010
	Each 
	25
	 
	 

	MAIN SILO COMPLEX

	83
	RING, RETAINING: DIMENSIONS: ID 241 X OD 251 X THK 5 MM; TYPE: INTERNAL; MATERIAL: ALUMINIUM; REFERENCE NO: FRB10-290; LOCATING
	32088
	Each 
	50
	 
	 

	84
	SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 150 MM; LENGTH: 122 MM; MATERIAL: STEEL; SUPPL P/N: H3134; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 220 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	30138
	Each 
	100
	 
	 

	85
	COLLAR: DIMENSIONS: ID 241 X OD 251 X THK 10 MM; MATERIAL: ALUMINIUM; TYPE: SEALING; SUPPL P/N: TS 34
	34932
	Each 
	50
	 
	 

	86
	OIL, INDUSTRIAL: CONTAINER: DRUM 210 L; FLASH POINT: 232 DEG C; TYPE: GEAR; TRADE NAME: GENGEAR 320; VISCOSITY RATING: 305 AT 40 DEG C; GRADE: ISO VG320; SUPPL P/N: GENGEAR 320; ESKOM SPECIFICATION GGSS 0862; LUBE CODE OGI-320; GENGEAR 320
	161550
	Each 
	50
	 
	 

	87
	COUPLING: TYPE: INPUT DRIVE; SIZE: OD 230 MM; SUPPL P/N: 422TVB; REFERENCE NO: VTK; ROUGH BORE; FOR VOITH TURBO FLUID
	26434
	Each 
	120
	 
	 

	88
	PADDLE: TYPE: ASH CONDITIONER; DIMENSIONS: WD 550 X LG 410 X THK 28 MM; MATERIAL: TIVAR CERAM P; DRAWING NO: 28-45/55240 REV 0; APPLICATION: ASH PLANT; HOLE: 4; HOLE DIA: 20MM; PADDLE CUT AND DRILLED IN ACCORDANCE TO KRIEL DRAWING NUMBER AND SHOULD BE CLEARLY MARKED ON THE MATERIAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576016
	Each 
	500
	 
	 

	89
	IMPELLER, FAN: DIAMETER: 700 MM; BORE: 320 MM; MATERIAL: STL; MODEL NO: HBC315-1.0; FOR USE WITH EVACUATING FAN ACE, CLASS 1V, VOLUME 100M3/MIN STATIC PRESSURE, MAX 3500PA, STATIC PRESSURE OPERATING 3000PA, ABSORBED POWER 5.9KW AT 20DEGREES CELSIUS, 2100RPM; WD 66.5MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	44489
	Each 
	25
	 
	 

	90
	BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; MODEL NO: 22211 CCK; NOTE - ITEM MUST BE ORIGINAL PACKED
	30059
	Each 
	50
	 
	 

	91
	SHAFT: TYPE: IMPELLER; LENGTH: 720 MM; MATERIAL HBC315-1 CLASS 1V, FOR USE WITH FAN TYPE ACE, 2100 RPM, AIR VOLUME 100 M3/MIN, 3500 KPA MAX STATIC PRESSURE, 5.9KW ABSORBED POWER AT 20 DEG C, NOTE: SIZE 50MM OD, ONLY ONE KEY WAY REQUIRE ON SHAFT, KEY WAY SIZE 14MM WD X 9MM THK X 100MM LG, TO BE SUPPLY WITH KEY
	29170
	Each 
	50
	 
	 

	92
	SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 50 MM; LENGTH: 45 MM; MATERIAL: STEEL; SUPPL P/N: H311; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	30043
	Each 
	72
	 
	 

	93
	HOUSING, BEARING UNIT: TYPE: PILLOW; BORE: ID 67 MM; MATERIAL: CI; SUPPL P/N: SNL511-609; SUPPLIER NOTE: THE ITEM MUST BE COMPLETE WITH A GREASE NIPPLE INSTALLED AND SHAFT SEALS.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	34581
	Each 
	72
	 
	 

	94
	VALVE, BUTTERFLY: VALVE SIZE: 300 MM; SOFTGOODS: LINER VITON; MANUF P/N: 300KTVPN16OK33N/300; TO FIT ACTUATOR KTV
	172944
	Each 
	30
	 
	 

	95
	RING: TYPE: FLEXIBLE; INSIDE DIAMETER: 115 MM; OUTSIDE DIAMETER: 202.6 MM; MATERIAL: RUBBER; SUPPL P/N: SC-07-230-0000; REFERENCE NO: SV230; FOR VOITH TURBO COUPLING
	104548
	Each 
	70
	 
	 

	96
	CARTRIDGE: TYPE: COOPER BEARING MAINTENANCE; MATERIAL: STL; DIMENSIONS: 150 MM; APPLICATION: ASH CONDITIONER; REFERENCE NO: 01 C 150; SERIES 01; WITH 150MM SHAFT SIZE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	230241
	Each 
	50
	 
	 

	97
	HOUSING, BEARING UNIT: TYPE: PEDESTAL; MATERIAL: STL; SIZE 181MM HT, P10 TYPE AND SERIES 01, SUITABLE FOR ASH CONDITIONERS, WITH 150MM SHAFT SIZE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	230239
	Each 
	50
	 
	 

	98
	PAD: TYPE: AERATION; DIMENSIONS: WD 270 X LG 800 X THK 4.5 MM; REFERENCE NO: E300; FLUITEX MEMBRANE CLOTH; 27 METRE LONG IN ROLL
	52910
	Each 
	50
	 
	 

	99
	DISTRIBUTOR: TYPE: ROTARY AIR; SUPPL P/N: 285249; 4 PART; TYPE MA; 10 VOLT; ITEM 26; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	177760
	Each 
	25
	 
	 

	100
	V BELT SET: NUMBER OF BELTS: 3; SUPPL P/N: VB17X11X2200; TO BE BUNDLED AND MARKED AS A SET, MATCHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	28772
	Each 
	50
	 
	 

	101
	PUMP, CENTRIFUGAL: NPSH: 4 M; CAPACITY: 19-35 CM/HR; TOTAL HEAD: 39-163 M; SIZE: 65 X 50 MM; SPEED: 1450 RPM; STAGE: 5; DRIVER: ELECTRIC MOTOR 30 KW; REFERENCE NO: 64584-431; MAIN SILO HIGH PRESSURE
	232761
	Each 
	15
	 
	 

	102
	IMPELLER, PUMP: DIAMETER: 165 MM; INLET: SINGLE; MATERIAL: CI; THICKNESS: 33 MM; SHAFT SIZE: 35 MM; SUPPL P/N: WKLN 50/5; SUPPLIER NOTE: THE ITEM MUST BE PROTECTIVE PACKED, SEALED AND CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	185371
	Each 
	10
	 
	 

	103
	SLEEVE, SHAFT: TYPE: PROTECTION; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45 MM; LENGTH: 93 MM; MATERIAL: STL; SUPPL P/N: 524-2; MODEL NO: WKLN 50-5; FOR KSB PUMP
	44211
	Each 
	50
	 
	 

	104
	SLEEVE, SHAFT: TYPE: PROTECTIVE; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45 MM; LENGTH: 118 MM; MATERIAL: STL; SUPPL P/N: 524-1; MODEL NO: WKLN 50-5; FOR KSB PUMP
	44210
	Each 
	50
	 
	 

	105
	SLEEVE, SHAFT: TYPE: STAGE; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45.7 MM; MATERIAL: STL; SUPPL P/N: 521; MODEL NO: WKLM50/5; FOR KSB PUMP WKLN 40/5,TO BE USED ON ASH PUMP SEAL WATER PUMP; 22MM WD
	44212
	Each 
	50
	 
	 

	106
	COVER: TYPE: DE; DIMENSIONS: ID 49 X OD 100 X THK 15 MM; MATERIAL: GG25; APPLICATION: BEARING; MANUF P/N: 20232; BUILD REF:360
	571087
	Each 
	50
	 
	 

	107
	COVER: TYPE: NON DRIVE END; DIMENSIONS: ID 95 X OD 95 X THK 28 MM; MATERIAL: GG55; APPLICATION: BEARING; BUILD REF:361
	571086
	Each 
	50
	 
	 

	108
	SHAFT, PUMP: LENGTH: 790 MM; MATERIAL: 080M40Q; NOMINAL DIAMETER: 35 MM; END STYLE 1: KEYWAY; END STYLE 2: THREADED; APPLICATION: PUMP; TYPE: MULTI STG; SUPPL P/N: ZA024310; KSB.WKIN; HORIZONTAL; HIGH PRESSURE; CENTRIFUGAL; SHAFT COMPLETE WITH KEYS; NUT WITH TWO FLATS 920.4, CIRCLIPS ½ AND KEYS 940.1/.3/.4/.5/.6; BUILD:210
	571084
	Each 
	25
	 
	 

	109
	CASING, PUMP: TYPE: SUCTION; PUMP SIZE: 50 MM; MATERIAL: GG25; PUMP TYPE: KSB WKLN 50/5; MANUF P/N: 20102; APPLICATION: MAIN SILO PUMPS; BUILD REF:106; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576009
	Each 
	25
	 
	 

	110
	CASING, PUMP: TYPE: DISCHARGE; PUMP SIZE: 50 MM; MATERIAL: GG25; PUMP TYPE: KSB WKLN 50/5; MANUF P/N: 20132; APPLICATION: MAIN SILO PUMPS; BUILD REF:107; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576008
	Each 
	50
	 
	 

	111
	DIFFUSER: TYPE: INTERMEDIATE STG; DIMENSIONS: ID 46 X OD 215 X LG 44 MM; MATERIAL: STL; SUPPL P/N: 171-1; MODEL NO: WKLN 50/5; FOR KSB PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	44209
	Each 
	50
	 
	 

	112
	KIT, PUMP REPAIR: TYPE: SEAL WATER; APPLICATION: PUMP; COMPRISING: GASKET; O-RING; MODEL NO: WKLN 65/3
	100258
	Each 
	50
	 
	 

	113
	RING, WEAR: INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 105 MM; THICKNESS: 8 MM; MATERIAL: STL; SUPPL P/N: 502; MODEL NO: WKLN 50/5; FOR KSB PUMP
	44206
	Each 
	50
	 
	 

	114
	HOUSING, BEARING UNIT: TYPE: MAIN SILO PUMP; BORE: ID 80 MM; MATERIAL: STL; BLOCK SIZE: ID 100 X OD 165 MM; BOLT MOUNTINGS: 4; BOLT DIAMETER: M12; MANUF P/N: 20211; BUILD REF 350.1/2; GG-25; KSB WKLN 50/5 PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	571083
	Each 
	50
	 
	 

	115
	GASKET SET: TYPE: PUMP; MANUF P/N: 24802; WKLN 50/5 PUMP; BUKD REF 400; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	572224
	Each 
	50
	 
	 

	TOTAL OF THE PRICES
	 




DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

